## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.297e-19 | 0 | -4.9284e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.297e-19 | 0 | -4.9284e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6698e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6698e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | 2.6053e-15 | 6.992e-22 | 5.2106e-15 | 1.3027e-14 | -5.2102e-15 | -1.5632e-14 | 5.7634e-09 | -5.7634e-09 | 2.0843e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.0649e-13 | 180 | -180 | 6.9792e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -7.8158e-15 | 1.0421e-14 | 5.2106e-15 | 2.3448e-14 | -1.5632e-14 | 1.0421e-14 | -1.9211e-09 | 1.9211e-09 | 6.3471e-29 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.865e-13 | -180 | 180 | 6.9792e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | -1.8237e-14 | 1.901e-19 | 1.5632e-14 | 2.3448e-14 | -5.2108e-15 | 1.5632e-14 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.9923e-13 | -180 | 180 | 6.9792e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | 2.6053e-15 | 6.992e-22 | 5.2106e-15 | 1.3027e-14 | -5.2102e-15 | -1.5632e-14 | 5.7634e-09 | -5.7634e-09 | 2.0843e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.0649e-13 | 180 | -180 | 6.9792e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -7.8158e-15 | 1.0421e-14 | 5.2106e-15 | 2.3448e-14 | -1.5632e-14 | 1.0421e-14 | -1.9211e-09 | 1.9211e-09 | 6.3471e-29 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.865e-13 | -180 | 180 | 6.9792e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | -1.8237e-14 | 1.901e-19 | 1.5632e-14 | 2.3448e-14 | -5.2108e-15 | 1.5632e-14 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.9923e-13 | -180 | 180 | 6.9792e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3027e-15 | -9.5547e-10 | -3.075e-09 | -1.3027e-15 | 9.5548e-10 | 3.075e-09 | -1.3027e-14 | 4.0277e-09 | -3.5664e-10 | 1.3027e-14 | -4.0277e-09 | 3.5664e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.5777e-13 | -140.8543 | 122.4159 | 2.4539e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 3.1849e-10 | 1.025e-09 | 5.2106e-15 | -3.1848e-10 | -1.025e-09 | -4.3634e-29 | -1.3426e-09 | 1.1888e-10 | 2.2317e-29 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.399e-13 | -140.8543 | 122.4159 | 2.4539e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.908e-15 | 3.1849e-10 | 1.025e-09 | -1.3027e-15 | -3.1848e-10 | -1.025e-09 | -5.2106e-15 | -1.3426e-09 | 1.1887e-10 | 2.6053e-15 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.4666e-13 | -140.8543 | 122.4159 | 2.4539e-13 | -140.8543 | 122.4159

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3027e-15 | -9.5547e-10 | -3.075e-09 | -1.3027e-15 | 9.5548e-10 | 3.075e-09 | -1.3027e-14 | 4.0277e-09 | -3.5664e-10 | 1.3027e-14 | -4.0277e-09 | 3.5664e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.5777e-13 | -140.8543 | 122.4159 | 2.4539e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 3.1849e-10 | 1.025e-09 | 5.2106e-15 | -3.1848e-10 | -1.025e-09 | -4.3634e-29 | -1.3426e-09 | 1.1888e-10 | 2.2317e-29 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.399e-13 | -140.8543 | 122.4159 | 2.4539e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.908e-15 | 3.1849e-10 | 1.025e-09 | -1.3027e-15 | -3.1848e-10 | -1.025e-09 | -5.2106e-15 | -1.3426e-09 | 1.1887e-10 | 2.6053e-15 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.4666e-13 | -140.8543 | 122.4159 | 2.4539e-13 | -140.8543 | 122.4159

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | -5.9212e-15 | -4.737e-15 | 2.1316e-14 | 7.1061e-15 | 7.1061e-15 | 2.3685e-14 | 4.7631e-09 | -4.7631e-09 | -1.8948e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.5886e-13 | -180 | 180 | 7.9867e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.1839e-15 | -4.7366e-15 | 2.3685e-15 | 7.1052e-15 | 7.1052e-15 | 1.8948e-14 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.0191e-13 | -180 | 180 | 7.9867e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | 3.553e-15 | 4.7373e-15 | -9.4739e-15 | -2.3687e-15 | -2.3687e-15 | 9.6666e-29 | -1.5877e-09 | 1.5877e-09 | -1.3206e-28 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.7949e-13 | -180 | 180 | 7.9867e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | -5.9212e-15 | -4.737e-15 | 2.1316e-14 | 7.1061e-15 | 7.1061e-15 | 2.3685e-14 | 4.7631e-09 | -4.7631e-09 | -1.8948e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.5886e-13 | -180 | 180 | 7.9867e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.1839e-15 | -4.7366e-15 | 2.3685e-15 | 7.1052e-15 | 7.1052e-15 | 1.8948e-14 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.0191e-13 | -180 | 180 | 7.9867e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | 3.553e-15 | 4.7373e-15 | -9.4739e-15 | -2.3687e-15 | -2.3687e-15 | 9.6666e-29 | -1.5877e-09 | 1.5877e-09 | -1.3206e-28 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.7949e-13 | -180 | 180 | 7.9867e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.033e-15 | -8.0023e-10 | -2.5674e-09 | 5.6251e-15 | 8.0024e-10 | 2.5674e-09 | -2.6435e-29 | 3.4014e-09 | -3.4065e-10 | -2.3685e-15 | -3.4014e-09 | 3.4064e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.0094e-13 | -141.4824 | 122.8363 | 3.2135e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3253e-29 | 2.6675e-10 | 8.558e-10 | -1.7764e-15 | -2.6675e-10 | -8.558e-10 | -2.3685e-15 | -1.1338e-09 | 1.1355e-10 | 2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.2059e-13 | -141.4824 | 122.8363 | 3.2135e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0724e-15 | 2.6675e-10 | 8.558e-10 | 1.7764e-15 | -2.6675e-10 | -8.558e-10 | 2.3685e-15 | -1.1338e-09 | 1.1355e-10 | 9.9628e-30 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.132e-13 | -141.4824 | 122.8363 | 3.2135e-13 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.033e-15 | -8.0023e-10 | -2.5674e-09 | 5.6251e-15 | 8.0024e-10 | 2.5674e-09 | -2.6435e-29 | 3.4014e-09 | -3.4065e-10 | -2.3685e-15 | -3.4014e-09 | 3.4064e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.0094e-13 | -141.4824 | 122.8363 | 3.2135e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3253e-29 | 2.6675e-10 | 8.558e-10 | -1.7764e-15 | -2.6675e-10 | -8.558e-10 | -2.3685e-15 | -1.1338e-09 | 1.1355e-10 | 2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.2059e-13 | -141.4824 | 122.8363 | 3.2135e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0724e-15 | 2.6675e-10 | 8.558e-10 | 1.7764e-15 | -2.6675e-10 | -8.558e-10 | 2.3685e-15 | -1.1338e-09 | 1.1355e-10 | 9.9628e-30 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.132e-13 | -141.4824 | 122.8363 | 3.2135e-13 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.002648 | 0.002648 | 0.002648 | 0.0017659 | 0.0017659 | 0.0017659 | 0.030576 | 0.030576 | 0.030576 | 0.020391 | 0.020391 | 0.020391 | -5.8077e-13 | 0.029157 | -0.029098 | 1.4402e-05 | -0.019434 | 0.019415 | 4.5101e-14 | -0.0080427 | -0.0082912 | 5.7309e-06 | 0.0053538 | 0.0055503 | -90.2445 | -90.2445 | -90.2445 | 89.7101 | 89.7102 | 89.7102 |  | 0 | 0.98919 | 0.98954 | 0.00076016 | 0.98858 | 0.9903 | 0 | -105.6656 | 105.6598 | 111.4091 | -105.6922 | 105.6642
Line_1 | 0 | 0 | 0 | 0.00088294 | 0.00088294 | 0.00088294 | 0 | 0 | 0 | 0.010195 | 0.010195 | 0.010195 | -1.3458e-12 | 2.8069e-10 | 2.7346e-10 | -7.2009e-06 | 0.0097169 | -0.0097075 | 3.4255e-12 | 9.8489e-10 | -9.8907e-10 | -2.8654e-06 | -0.0026769 | -0.0027752 | 0 | 0 | 0 | -90.2899 | -90.2899 | -90.2899 |  | 0.00091222 | 0.98846 | 0.99045 | 0.00076016 | 0.98858 | 0.9903 | 111.4045 | -105.6975 | 105.6651 | 111.4091 | -105.6922 | 105.6642
Line_2 | 0 | 0 | 0 | 0.00088294 | 0.00088294 | 0.00088294 | 0 | 0 | 0 | 0.010195 | 0.010195 | 0.010195 | -1.3458e-12 | 2.8071e-10 | 2.7347e-10 | -7.2009e-06 | 0.0097169 | -0.0097075 | 3.4255e-12 | 9.8487e-10 | -9.8908e-10 | -2.8654e-06 | -0.0026769 | -0.0027752 | 0 | 0 | 0 | -90.2899 | -90.2899 | -90.2899 |  | 0.00091222 | 0.98846 | 0.99045 | 0.00076016 | 0.98858 | 0.9903 | 111.4045 | -105.6975 | 105.6651 | 111.4091 | -105.6922 | 105.6642

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.002648 | 0.002648 | 0.002648 | 0.0017659 | 0.0017659 | 0.0017659 | 0.030576 | 0.030576 | 0.030576 | 0.020391 | 0.020391 | 0.020391 | -5.8077e-13 | 0.029157 | -0.029098 | 1.4402e-05 | -0.019434 | 0.019415 | 4.5101e-14 | -0.0080427 | -0.0082912 | 5.7309e-06 | 0.0053538 | 0.0055503 | -90.2445 | -90.2445 | -90.2445 | 89.7101 | 89.7102 | 89.7102 |  | 0 | 0.98919 | 0.98954 | 0.00076016 | 0.98858 | 0.9903 | 0 | -105.6656 | 105.6598 | 111.4091 | -105.6922 | 105.6642
Line_1 | 0 | 0 | 0 | 0.00088294 | 0.00088294 | 0.00088294 | 0 | 0 | 0 | 0.010195 | 0.010195 | 0.010195 | -1.3458e-12 | 2.8069e-10 | 2.7346e-10 | -7.2009e-06 | 0.0097169 | -0.0097075 | 3.4255e-12 | 9.8489e-10 | -9.8907e-10 | -2.8654e-06 | -0.0026769 | -0.0027752 | 0 | 0 | 0 | -90.2899 | -90.2899 | -90.2899 |  | 0.00091222 | 0.98846 | 0.99045 | 0.00076016 | 0.98858 | 0.9903 | 111.4045 | -105.6975 | 105.6651 | 111.4091 | -105.6922 | 105.6642
Line_2 | 0 | 0 | 0 | 0.00088294 | 0.00088294 | 0.00088294 | 0 | 0 | 0 | 0.010195 | 0.010195 | 0.010195 | -1.3458e-12 | 2.8071e-10 | 2.7347e-10 | -7.2009e-06 | 0.0097169 | -0.0097075 | 3.4255e-12 | 9.8487e-10 | -9.8908e-10 | -2.8654e-06 | -0.0026769 | -0.0027752 | 0 | 0 | 0 | -90.2899 | -90.2899 | -90.2899 |  | 0.00091222 | 0.98846 | 0.99045 | 0.00076016 | 0.98858 | 0.9903 | 111.4045 | -105.6975 | 105.6651 | 111.4091 | -105.6922 | 105.6642

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00057127 | 0.00057127 | 0.00057127 | 0.00038096 | 0.00038096 | 0.00038096 | 0.0065964 | 0.0065964 | 0.0065964 | 0.004399 | 0.004399 | 0.004399 | 0.0040352 | 0.0032102 | -0.0072427 | -0.0026879 | -0.0021434 | 0.0048311 | 0.0044696 | -0.0061037 | 0.00087388 | -0.0029826 | 0.004069 | -0.00057867 | -56.2759 | -56.2759 | -56.2759 | 123.6787 | 123.6787 | 123.6787 |  | 0.91287 | 1.0455 | 1.1059 | 0.91272 | 1.0455 | 1.1061 | -8.3518 | -118.5339 | 116.8443 | -8.3472 | -118.5429 | 116.8483
Line_1 | 0 | 0 | 0 | 0.00019048 | 0.00019048 | 0.00019048 | 0 | 0 | 0 | 0.0021995 | 0.0021995 | 0.0021995 | 5.8785e-10 | 2.077e-10 | -3.1544e-11 | 0.001344 | 0.0010717 | -0.0024156 | -5.3435e-10 | 1.0709e-10 | -2.4522e-10 | 0.0014913 | -0.0020345 | 0.00028934 | 0 | 0 | 0 | -56.3213 | -56.3213 | -56.3213 |  | 0.91269 | 1.0455 | 1.1061 | 0.91272 | 1.0455 | 1.1061 | -8.3463 | -118.5447 | 116.8491 | -8.3472 | -118.5429 | 116.8483
Line_2 | 0 | 0 | 0 | 0.00019048 | 0.00019048 | 0.00019048 | 0 | 0 | 0 | 0.0021995 | 0.0021995 | 0.0021995 | 5.8785e-10 | 2.077e-10 | -3.154e-11 | 0.001344 | 0.0010717 | -0.0024156 | -5.3434e-10 | 1.0709e-10 | -2.4522e-10 | 0.0014913 | -0.0020345 | 0.00028934 | 0 | 0 | 0 | -56.3213 | -56.3213 | -56.3213 |  | 0.91269 | 1.0455 | 1.1061 | 0.91272 | 1.0455 | 1.1061 | -8.3463 | -118.5447 | 116.8491 | -8.3472 | -118.5429 | 116.8483

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00057127 | 0.00057127 | 0.00057127 | 0.00038096 | 0.00038096 | 0.00038096 | 0.0065964 | 0.0065964 | 0.0065964 | 0.004399 | 0.004399 | 0.004399 | 0.0040352 | 0.0032102 | -0.0072427 | -0.0026879 | -0.0021434 | 0.0048311 | 0.0044696 | -0.0061037 | 0.00087388 | -0.0029826 | 0.004069 | -0.00057867 | -56.2759 | -56.2759 | -56.2759 | 123.6787 | 123.6787 | 123.6787 |  | 0.91287 | 1.0455 | 1.1059 | 0.91272 | 1.0455 | 1.1061 | -8.3518 | -118.5339 | 116.8443 | -8.3472 | -118.5429 | 116.8483
Line_1 | 0 | 0 | 0 | 0.00019048 | 0.00019048 | 0.00019048 | 0 | 0 | 0 | 0.0021995 | 0.0021995 | 0.0021995 | 5.8785e-10 | 2.077e-10 | -3.1544e-11 | 0.001344 | 0.0010717 | -0.0024156 | -5.3435e-10 | 1.0709e-10 | -2.4522e-10 | 0.0014913 | -0.0020345 | 0.00028934 | 0 | 0 | 0 | -56.3213 | -56.3213 | -56.3213 |  | 0.91269 | 1.0455 | 1.1061 | 0.91272 | 1.0455 | 1.1061 | -8.3463 | -118.5447 | 116.8491 | -8.3472 | -118.5429 | 116.8483
Line_2 | 0 | 0 | 0 | 0.00019048 | 0.00019048 | 0.00019048 | 0 | 0 | 0 | 0.0021995 | 0.0021995 | 0.0021995 | 5.8785e-10 | 2.077e-10 | -3.154e-11 | 0.001344 | 0.0010717 | -0.0024156 | -5.3434e-10 | 1.0709e-10 | -2.4522e-10 | 0.0014913 | -0.0020345 | 0.00028934 | 0 | 0 | 0 | -56.3213 | -56.3213 | -56.3213 |  | 0.91269 | 1.0455 | 1.1061 | 0.91272 | 1.0455 | 1.1061 | -8.3463 | -118.5447 | 116.8491 | -8.3472 | -118.5429 | 116.8483

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0024669 | 0.0024669 | 0.0024669 | 0.0016451 | 0.0016451 | 0.0016451 | 0.028485 | 0.028485 | 0.028485 | 0.018996 | 0.018996 | 0.018996 | 9.622e-14 | 0.024717 | -0.024619 | 2.3999e-05 | -0.016466 | 0.016435 | 1.9019e-13 | -0.0068736 | -0.0073027 | 4.9765e-06 | 0.0045638 | 0.0049 | -90.4983 | -90.4983 | -90.4983 | 89.4145 | 89.4145 | 89.4145 |  | 0 | 0.90063 | 0.90151 | 0.0012902 | 0.89948 | 0.90279 | 0 | -106.0395 | 106.0234 | 101.1296 | -106.077 | 106.0164
Line_1 | 0 | 0 | 0 | 0.00082256 | 0.00082256 | 0.00082256 | 0 | 0 | 0 | 0.0094981 | 0.0094981 | 0.0094981 | -1.1038e-12 | 2.3543e-10 | 2.2287e-10 | -1.1999e-05 | 0.0082329 | -0.0082173 | 5.5705e-12 | 7.9296e-10 | -8.002e-10 | -2.4883e-06 | -0.0022819 | -0.00245 | 0 | 0 | 0 | -90.5855 | -90.5855 | -90.5855 |  | 0.0015483 | 0.89925 | 0.90305 | 0.0012902 | 0.89948 | 0.90279 | 101.1209 | -106.0845 | 106.015 | 101.1296 | -106.077 | 106.0164
Line_2 | 0 | 0 | 0 | 0.00082256 | 0.00082256 | 0.00082256 | 0 | 0 | 0 | 0.0094981 | 0.0094981 | 0.0094981 | -1.1038e-12 | 2.3543e-10 | 2.2286e-10 | -1.1999e-05 | 0.0082329 | -0.0082173 | 5.5705e-12 | 7.9297e-10 | -8.0019e-10 | -2.4883e-06 | -0.0022819 | -0.00245 | 0 | 0 | 0 | -90.5855 | -90.5855 | -90.5855 |  | 0.0015483 | 0.89925 | 0.90305 | 0.0012902 | 0.89948 | 0.90279 | 101.1209 | -106.0845 | 106.015 | 101.1296 | -106.077 | 106.0164

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0024669 | 0.0024669 | 0.0024669 | 0.0016451 | 0.0016451 | 0.0016451 | 0.028485 | 0.028485 | 0.028485 | 0.018996 | 0.018996 | 0.018996 | 9.622e-14 | 0.024717 | -0.024619 | 2.3999e-05 | -0.016466 | 0.016435 | 1.9019e-13 | -0.0068736 | -0.0073027 | 4.9765e-06 | 0.0045638 | 0.0049 | -90.4983 | -90.4983 | -90.4983 | 89.4145 | 89.4145 | 89.4145 |  | 0 | 0.90063 | 0.90151 | 0.0012902 | 0.89948 | 0.90279 | 0 | -106.0395 | 106.0234 | 101.1296 | -106.077 | 106.0164
Line_1 | 0 | 0 | 0 | 0.00082256 | 0.00082256 | 0.00082256 | 0 | 0 | 0 | 0.0094981 | 0.0094981 | 0.0094981 | -1.1038e-12 | 2.3543e-10 | 2.2287e-10 | -1.1999e-05 | 0.0082329 | -0.0082173 | 5.5705e-12 | 7.9296e-10 | -8.002e-10 | -2.4883e-06 | -0.0022819 | -0.00245 | 0 | 0 | 0 | -90.5855 | -90.5855 | -90.5855 |  | 0.0015483 | 0.89925 | 0.90305 | 0.0012902 | 0.89948 | 0.90279 | 101.1209 | -106.0845 | 106.015 | 101.1296 | -106.077 | 106.0164
Line_2 | 0 | 0 | 0 | 0.00082256 | 0.00082256 | 0.00082256 | 0 | 0 | 0 | 0.0094981 | 0.0094981 | 0.0094981 | -1.1038e-12 | 2.3543e-10 | 2.2286e-10 | -1.1999e-05 | 0.0082329 | -0.0082173 | 5.5705e-12 | 7.9297e-10 | -8.0019e-10 | -2.4883e-06 | -0.0022819 | -0.00245 | 0 | 0 | 0 | -90.5855 | -90.5855 | -90.5855 |  | 0.0015483 | 0.89925 | 0.90305 | 0.0012902 | 0.89948 | 0.90279 | 101.1209 | -106.0845 | 106.015 | 101.1296 | -106.077 | 106.0164

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00055455 | 0.00055455 | 0.00055455 | 0.00036982 | 0.00036982 | 0.00036982 | 0.0064034 | 0.0064034 | 0.0064034 | 0.0042703 | 0.0042703 | 0.0042703 | 0.0035052 | 0.0028978 | -0.0063981 | -0.0023323 | -0.0019367 | 0.0042687 | 0.0039276 | -0.0053468 | 0.00070278 | -0.0026225 | 0.0035629 | -0.00046192 | -56.9451 | -56.945 | -56.945 | 122.9678 | 122.9678 | 122.9678 |  | 0.8221 | 0.94973 | 1.0052 | 0.82187 | 0.94965 | 1.0055 | -8.6927 | -118.4884 | 116.7866 | -8.6806 | -118.5052 | 116.7917
Line_1 | 0 | 0 | 0 | 0.00018491 | 0.00018491 | 0.00018491 | 0 | 0 | 0 | 0.0021351 | 0.0021351 | 0.0021351 | 5.024e-10 | 1.742e-10 | -2.6102e-11 | 0.0011662 | 0.00096835 | -0.0021343 | -4.5467e-10 | 9.0629e-11 | -2.0627e-10 | 0.0013113 | -0.0017815 | 0.00023096 | 0 | 0 | 0 | -57.0322 | -57.0322 | -57.0322 |  | 0.82182 | 0.94963 | 1.0055 | 0.82187 | 0.94965 | 1.0055 | -8.6782 | -118.5085 | 116.7927 | -8.6806 | -118.5052 | 116.7917
Line_2 | 0 | 0 | 0 | 0.00018491 | 0.00018491 | 0.00018491 | 0 | 0 | 0 | 0.0021351 | 0.0021351 | 0.0021351 | 5.0241e-10 | 1.742e-10 | -2.6104e-11 | 0.0011662 | 0.00096835 | -0.0021343 | -4.5467e-10 | 9.0631e-11 | -2.0627e-10 | 0.0013113 | -0.0017815 | 0.00023096 | 0 | 0 | 0 | -57.0322 | -57.0322 | -57.0322 |  | 0.82182 | 0.94963 | 1.0055 | 0.82187 | 0.94965 | 1.0055 | -8.6782 | -118.5085 | 116.7927 | -8.6806 | -118.5052 | 116.7917

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00055455 | 0.00055455 | 0.00055455 | 0.00036982 | 0.00036982 | 0.00036982 | 0.0064034 | 0.0064034 | 0.0064034 | 0.0042703 | 0.0042703 | 0.0042703 | 0.0035052 | 0.0028978 | -0.0063981 | -0.0023323 | -0.0019367 | 0.0042687 | 0.0039276 | -0.0053468 | 0.00070278 | -0.0026225 | 0.0035629 | -0.00046192 | -56.9451 | -56.945 | -56.945 | 122.9678 | 122.9678 | 122.9678 |  | 0.8221 | 0.94973 | 1.0052 | 0.82187 | 0.94965 | 1.0055 | -8.6927 | -118.4884 | 116.7866 | -8.6806 | -118.5052 | 116.7917
Line_1 | 0 | 0 | 0 | 0.00018491 | 0.00018491 | 0.00018491 | 0 | 0 | 0 | 0.0021351 | 0.0021351 | 0.0021351 | 5.024e-10 | 1.742e-10 | -2.6102e-11 | 0.0011662 | 0.00096835 | -0.0021343 | -4.5467e-10 | 9.0629e-11 | -2.0627e-10 | 0.0013113 | -0.0017815 | 0.00023096 | 0 | 0 | 0 | -57.0322 | -57.0322 | -57.0322 |  | 0.82182 | 0.94963 | 1.0055 | 0.82187 | 0.94965 | 1.0055 | -8.6782 | -118.5085 | 116.7927 | -8.6806 | -118.5052 | 116.7917
Line_2 | 0 | 0 | 0 | 0.00018491 | 0.00018491 | 0.00018491 | 0 | 0 | 0 | 0.0021351 | 0.0021351 | 0.0021351 | 5.0241e-10 | 1.742e-10 | -2.6104e-11 | 0.0011662 | 0.00096835 | -0.0021343 | -4.5467e-10 | 9.0631e-11 | -2.0627e-10 | 0.0013113 | -0.0017815 | 0.00023096 | 0 | 0 | 0 | -57.0322 | -57.0322 | -57.0322 |  | 0.82182 | 0.94963 | 1.0055 | 0.82187 | 0.94965 | 1.0055 | -8.6782 | -118.5085 | 116.7927 | -8.6806 | -118.5052 | 116.7917

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0035648 | 0.0035648 | 0.0035648 | 0.0023773 | 0.0023773 | 0.0023773 | 0.041162 | 0.041162 | 0.041162 | 0.02745 | 0.02745 | 0.02745 | 0.00010571 | -6.2012e-13 | 7.3815e-14 | -6.0031e-05 | 2.61e-05 | 2.61e-05 | -0.029602 | -2.7555e-13 | 6.7413e-13 | 0.019751 | 1.0386e-05 | 1.0386e-05 | 89.7686 | 89.7686 | 89.7686 | -90.2768 | -90.2768 | -90.2768 |  | 0.71916 | 0 | 0 | 0.71953 | 0.0010233 | 0.0010233 | -0.026833 | 0 | 0 | -0.10268 | -68.5779 | -68.5779
Line_1 | 0 | 0 | 0 | 0.0011886 | 0.0011886 | 0.0011886 | 0 | 0 | 0 | 0.013725 | 0.013725 | 0.013725 | 1.0037e-09 | 3.0835e-12 | -4.9032e-12 | 3.0016e-05 | -1.305e-05 | -1.305e-05 | -5.9776e-12 | 3.872e-12 | 7.3918e-13 | -0.0098756 | -5.193e-06 | -5.193e-06 | 0 | 0 | 0 | 89.7232 | 89.7232 | 89.7232 |  | 0.71961 | 0.0012281 | 0.0012281 | 0.71953 | 0.0010233 | 0.0010233 | -0.11784 | -68.5824 | -68.5824 | -0.10268 | -68.5779 | -68.5779
Line_2 | 0 | 0 | 0 | 0.0011886 | 0.0011886 | 0.0011886 | 0 | 0 | 0 | 0.013725 | 0.013725 | 0.013725 | 1.0037e-09 | 3.0835e-12 | -4.9032e-12 | 3.0016e-05 | -1.305e-05 | -1.305e-05 | -5.9708e-12 | 3.8719e-12 | 7.3917e-13 | -0.0098756 | -5.193e-06 | -5.193e-06 | 0 | 0 | 0 | 89.7232 | 89.7232 | 89.7232 |  | 0.71961 | 0.0012281 | 0.0012281 | 0.71953 | 0.0010233 | 0.0010233 | -0.11784 | -68.5824 | -68.5824 | -0.10268 | -68.5779 | -68.5779

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0035648 | 0.0035648 | 0.0035648 | 0.0023773 | 0.0023773 | 0.0023773 | 0.041162 | 0.041162 | 0.041162 | 0.02745 | 0.02745 | 0.02745 | 0.00010571 | -6.2012e-13 | 7.3815e-14 | -6.0031e-05 | 2.61e-05 | 2.61e-05 | -0.029602 | -2.7555e-13 | 6.7413e-13 | 0.019751 | 1.0386e-05 | 1.0386e-05 | 89.7686 | 89.7686 | 89.7686 | -90.2768 | -90.2768 | -90.2768 |  | 0.71916 | 0 | 0 | 0.71953 | 0.0010233 | 0.0010233 | -0.026833 | 0 | 0 | -0.10268 | -68.5779 | -68.5779
Line_1 | 0 | 0 | 0 | 0.0011886 | 0.0011886 | 0.0011886 | 0 | 0 | 0 | 0.013725 | 0.013725 | 0.013725 | 1.0037e-09 | 3.0835e-12 | -4.9032e-12 | 3.0016e-05 | -1.305e-05 | -1.305e-05 | -5.9776e-12 | 3.872e-12 | 7.3918e-13 | -0.0098756 | -5.193e-06 | -5.193e-06 | 0 | 0 | 0 | 89.7232 | 89.7232 | 89.7232 |  | 0.71961 | 0.0012281 | 0.0012281 | 0.71953 | 0.0010233 | 0.0010233 | -0.11784 | -68.5824 | -68.5824 | -0.10268 | -68.5779 | -68.5779
Line_2 | 0 | 0 | 0 | 0.0011886 | 0.0011886 | 0.0011886 | 0 | 0 | 0 | 0.013725 | 0.013725 | 0.013725 | 1.0037e-09 | 3.0835e-12 | -4.9032e-12 | 3.0016e-05 | -1.305e-05 | -1.305e-05 | -5.9708e-12 | 3.8719e-12 | 7.3917e-13 | -0.0098756 | -5.193e-06 | -5.193e-06 | 0 | 0 | 0 | 89.7232 | 89.7232 | 89.7232 |  | 0.71961 | 0.0012281 | 0.0012281 | 0.71953 | 0.0010233 | 0.0010233 | -0.11784 | -68.5824 | -68.5824 | -0.10268 | -68.5779 | -68.5779

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00059849 | 0.00059849 | 0.00059849 | 0.00039912 | 0.00039912 | 0.00039912 | 0.0069108 | 0.0069108 | 0.0069108 | 0.0046086 | 0.0046086 | 0.0046086 | -0.004426 | -0.0014359 | 0.0058649 | 0.0029493 | 0.00096158 | -0.0039111 | -0.0057402 | 0.0061855 | -0.0012797 | 0.0038306 | -0.0041239 | 0.00085061 | 125.5871 | 125.5871 | 125.5871 | -54.4583 | -54.4583 | -54.4583 |  | 1.0489 | 0.91885 | 0.86863 | 1.049 | 0.91883 | 0.86848 | -2.047 | -131.3438 | 113.278 | -2.0518 | -131.3332 | 113.2717
Line_1 | 0 | 0 | 0 | 0.00019956 | 0.00019956 | 0.00019956 | 0 | 0 | 0 | 0.0023043 | 0.0023043 | 0.0023043 | 1.9333e-10 | 5.3815e-10 | 7.1318e-10 | -0.0014746 | -0.00048079 | 0.0019555 | -1.5156e-10 | -7.2812e-10 | -4.1046e-10 | -0.0019153 | 0.002062 | -0.0004253 | 0 | 0 | 0 | 125.5417 | 125.5417 | 125.5417 |  | 1.049 | 0.91882 | 0.86845 | 1.049 | 0.91883 | 0.86848 | -2.0528 | -131.3311 | 113.2704 | -2.0518 | -131.3332 | 113.2717
Line_2 | 0 | 0 | 0 | 0.00019956 | 0.00019956 | 0.00019956 | 0 | 0 | 0 | 0.0023043 | 0.0023043 | 0.0023043 | 1.9333e-10 | 5.3814e-10 | 7.1319e-10 | -0.0014746 | -0.00048079 | 0.0019555 | -1.5155e-10 | -7.2813e-10 | -4.1047e-10 | -0.0019153 | 0.002062 | -0.0004253 | 0 | 0 | 0 | 125.5417 | 125.5417 | 125.5417 |  | 1.049 | 0.91882 | 0.86845 | 1.049 | 0.91883 | 0.86848 | -2.0528 | -131.3311 | 113.2704 | -2.0518 | -131.3332 | 113.2717

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00059849 | 0.00059849 | 0.00059849 | 0.00039912 | 0.00039912 | 0.00039912 | 0.0069108 | 0.0069108 | 0.0069108 | 0.0046086 | 0.0046086 | 0.0046086 | -0.004426 | -0.0014359 | 0.0058649 | 0.0029493 | 0.00096158 | -0.0039111 | -0.0057402 | 0.0061855 | -0.0012797 | 0.0038306 | -0.0041239 | 0.00085061 | 125.5871 | 125.5871 | 125.5871 | -54.4583 | -54.4583 | -54.4583 |  | 1.0489 | 0.91885 | 0.86863 | 1.049 | 0.91883 | 0.86848 | -2.047 | -131.3438 | 113.278 | -2.0518 | -131.3332 | 113.2717
Line_1 | 0 | 0 | 0 | 0.00019956 | 0.00019956 | 0.00019956 | 0 | 0 | 0 | 0.0023043 | 0.0023043 | 0.0023043 | 1.9333e-10 | 5.3815e-10 | 7.1318e-10 | -0.0014746 | -0.00048079 | 0.0019555 | -1.5156e-10 | -7.2812e-10 | -4.1046e-10 | -0.0019153 | 0.002062 | -0.0004253 | 0 | 0 | 0 | 125.5417 | 125.5417 | 125.5417 |  | 1.049 | 0.91882 | 0.86845 | 1.049 | 0.91883 | 0.86848 | -2.0528 | -131.3311 | 113.2704 | -2.0518 | -131.3332 | 113.2717
Line_2 | 0 | 0 | 0 | 0.00019956 | 0.00019956 | 0.00019956 | 0 | 0 | 0 | 0.0023043 | 0.0023043 | 0.0023043 | 1.9333e-10 | 5.3814e-10 | 7.1319e-10 | -0.0014746 | -0.00048079 | 0.0019555 | -1.5155e-10 | -7.2813e-10 | -4.1047e-10 | -0.0019153 | 0.002062 | -0.0004253 | 0 | 0 | 0 | 125.5417 | 125.5417 | 125.5417 |  | 1.049 | 0.91882 | 0.86845 | 1.049 | 0.91883 | 0.86848 | -2.0528 | -131.3311 | 113.2704 | -2.0518 | -131.3332 | 113.2717

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0032943 | 0.0032943 | 0.0032943 | 0.0021969 | 0.0021969 | 0.0021969 | 0.038039 | 0.038039 | 0.038039 | 0.025367 | 0.025367 | 0.025367 | 0.00017333 | 2.4733e-15 | 3.6595e-13 | -9.8434e-05 | 4.2797e-05 | 4.2796e-05 | -0.02528 | 4.217e-13 | -2.1352e-13 | 0.016868 | 8.8745e-06 | 8.8745e-06 | 89.5367 | 89.5367 | 89.5367 | -90.5504 | -90.5504 | -90.5504 |  | 0.66461 | 0 | 0 | 0.66495 | 0.001723 | 0.001723 | -0.070431 | 0 | 0 | -0.21605 | -78.8353 | -78.8354
Line_1 | 0 | 0 | 0 | 0.0010984 | 0.0010984 | 0.0010984 | 0 | 0 | 0 | 0.012684 | 0.012684 | 0.012684 | 8.168e-10 | 5.6924e-12 | -7.1906e-12 | 4.9218e-05 | -2.1398e-05 | -2.1398e-05 | -1.0432e-11 | 4.9893e-12 | 2.4487e-12 | -0.0084338 | -4.4372e-06 | -4.4372e-06 | 0 | 0 | 0 | 89.4496 | 89.4496 | 89.4496 |  | 0.66501 | 0.0020676 | 0.0020676 | 0.66495 | 0.001723 | 0.001723 | -0.24516 | -78.8441 | -78.8441 | -0.21605 | -78.8353 | -78.8354
Line_2 | 0 | 0 | 0 | 0.0010984 | 0.0010984 | 0.0010984 | 0 | 0 | 0 | 0.012684 | 0.012684 | 0.012684 | 8.168e-10 | 5.6924e-12 | -7.1906e-12 | 4.9218e-05 | -2.1398e-05 | -2.1398e-05 | -1.0438e-11 | 4.9893e-12 | 2.4487e-12 | -0.0084338 | -4.4372e-06 | -4.4372e-06 | 0 | 0 | 0 | 89.4496 | 89.4496 | 89.4496 |  | 0.66501 | 0.0020676 | 0.0020676 | 0.66495 | 0.001723 | 0.001723 | -0.24516 | -78.8441 | -78.8441 | -0.21605 | -78.8353 | -78.8354

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0032943 | 0.0032943 | 0.0032943 | 0.0021969 | 0.0021969 | 0.0021969 | 0.038039 | 0.038039 | 0.038039 | 0.025367 | 0.025367 | 0.025367 | 0.00017333 | 2.4733e-15 | 3.6595e-13 | -9.8434e-05 | 4.2797e-05 | 4.2796e-05 | -0.02528 | 4.217e-13 | -2.1352e-13 | 0.016868 | 8.8745e-06 | 8.8745e-06 | 89.5367 | 89.5367 | 89.5367 | -90.5504 | -90.5504 | -90.5504 |  | 0.66461 | 0 | 0 | 0.66495 | 0.001723 | 0.001723 | -0.070431 | 0 | 0 | -0.21605 | -78.8353 | -78.8354
Line_1 | 0 | 0 | 0 | 0.0010984 | 0.0010984 | 0.0010984 | 0 | 0 | 0 | 0.012684 | 0.012684 | 0.012684 | 8.168e-10 | 5.6924e-12 | -7.1906e-12 | 4.9218e-05 | -2.1398e-05 | -2.1398e-05 | -1.0432e-11 | 4.9893e-12 | 2.4487e-12 | -0.0084338 | -4.4372e-06 | -4.4372e-06 | 0 | 0 | 0 | 89.4496 | 89.4496 | 89.4496 |  | 0.66501 | 0.0020676 | 0.0020676 | 0.66495 | 0.001723 | 0.001723 | -0.24516 | -78.8441 | -78.8441 | -0.21605 | -78.8353 | -78.8354
Line_2 | 0 | 0 | 0 | 0.0010984 | 0.0010984 | 0.0010984 | 0 | 0 | 0 | 0.012684 | 0.012684 | 0.012684 | 8.168e-10 | 5.6924e-12 | -7.1906e-12 | 4.9218e-05 | -2.1398e-05 | -2.1398e-05 | -1.0438e-11 | 4.9893e-12 | 2.4487e-12 | -0.0084338 | -4.4372e-06 | -4.4372e-06 | 0 | 0 | 0 | 89.4496 | 89.4496 | 89.4496 |  | 0.66501 | 0.0020676 | 0.0020676 | 0.66495 | 0.001723 | 0.001723 | -0.24516 | -78.8441 | -78.8441 | -0.21605 | -78.8353 | -78.8354

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00058159 | 0.00058159 | 0.00058159 | 0.00038785 | 0.00038785 | 0.00038785 | 0.0067156 | 0.0067156 | 0.0067156 | 0.0044785 | 0.0044785 | 0.0044784 | -0.0038499 | -0.0012808 | 0.0051361 | 0.0025635 | 0.00086094 | -0.0034249 | -0.0051078 | 0.0054067 | -0.0010868 | 0.0034104 | -0.003604 | 0.00071985 | 124.9356 | 124.9356 | 124.9356 | -55.1516 | -55.1516 | -55.1516 |  | 0.95244 | 0.82738 | 0.78174 | 0.95267 | 0.82739 | 0.78146 | -2.0709 | -131.7373 | 112.9876 | -2.0829 | -131.7163 | 112.9787
Line_1 | 0 | 0 | 0 | 0.00019392 | 0.00019392 | 0.00019392 | 0 | 0 | 0 | 0.0022392 | 0.0022392 | 0.0022392 | 1.6287e-10 | 4.605e-10 | 6.0481e-10 | -0.0012818 | -0.00043047 | 0.0017124 | -1.2712e-10 | -6.1583e-10 | -3.5032e-10 | -0.0017052 | 0.001802 | -0.00035992 | 0 | 0 | 0 | 124.8484 | 124.8484 | 124.8484 |  | 0.95271 | 0.82739 | 0.7814 | 0.95267 | 0.82739 | 0.78146 | -2.0854 | -131.7121 | 112.9769 | -2.0829 | -131.7163 | 112.9787
Line_2 | 0 | 0 | 0 | 0.00019392 | 0.00019392 | 0.00019392 | 0 | 0 | 0 | 0.0022392 | 0.0022392 | 0.0022392 | 1.6287e-10 | 4.605e-10 | 6.0481e-10 | -0.0012818 | -0.00043047 | 0.0017124 | -1.2712e-10 | -6.1583e-10 | -3.5032e-10 | -0.0017052 | 0.001802 | -0.00035992 | 0 | 0 | 0 | 124.8484 | 124.8484 | 124.8484 |  | 0.95271 | 0.82739 | 0.7814 | 0.95267 | 0.82739 | 0.78146 | -2.0854 | -131.7121 | 112.9769 | -2.0829 | -131.7163 | 112.9787

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00058159 | 0.00058159 | 0.00058159 | 0.00038785 | 0.00038785 | 0.00038785 | 0.0067156 | 0.0067156 | 0.0067156 | 0.0044785 | 0.0044785 | 0.0044784 | -0.0038499 | -0.0012808 | 0.0051361 | 0.0025635 | 0.00086094 | -0.0034249 | -0.0051078 | 0.0054067 | -0.0010868 | 0.0034104 | -0.003604 | 0.00071985 | 124.9356 | 124.9356 | 124.9356 | -55.1516 | -55.1516 | -55.1516 |  | 0.95244 | 0.82738 | 0.78174 | 0.95267 | 0.82739 | 0.78146 | -2.0709 | -131.7373 | 112.9876 | -2.0829 | -131.7163 | 112.9787
Line_1 | 0 | 0 | 0 | 0.00019392 | 0.00019392 | 0.00019392 | 0 | 0 | 0 | 0.0022392 | 0.0022392 | 0.0022392 | 1.6287e-10 | 4.605e-10 | 6.0481e-10 | -0.0012818 | -0.00043047 | 0.0017124 | -1.2712e-10 | -6.1583e-10 | -3.5032e-10 | -0.0017052 | 0.001802 | -0.00035992 | 0 | 0 | 0 | 124.8484 | 124.8484 | 124.8484 |  | 0.95271 | 0.82739 | 0.7814 | 0.95267 | 0.82739 | 0.78146 | -2.0854 | -131.7121 | 112.9769 | -2.0829 | -131.7163 | 112.9787
Line_2 | 0 | 0 | 0 | 0.00019392 | 0.00019392 | 0.00019392 | 0 | 0 | 0 | 0.0022392 | 0.0022392 | 0.0022392 | 1.6287e-10 | 4.605e-10 | 6.0481e-10 | -0.0012818 | -0.00043047 | 0.0017124 | -1.2712e-10 | -6.1583e-10 | -3.5032e-10 | -0.0017052 | 0.001802 | -0.00035992 | 0 | 0 | 0 | 124.8484 | 124.8484 | 124.8484 |  | 0.95271 | 0.82739 | 0.7814 | 0.95267 | 0.82739 | 0.78146 | -2.0854 | -131.7121 | 112.9769 | -2.0829 | -131.7163 | 112.9787