## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -5.2106e-14 | 30.1766 | -15.8685 | 4.6896e-14 | -23.0225 | 23.0225 | -2.6053e-14 | 3.131 | 13.1032 | 2.6053e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 5.4506e-13 | -161.8563 | 152.6723 | 5.8404e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | -1.3027e-14 | 2.0843e-14 | -1.5632e-14 | 2.8659e-14 | -1.5632e-14 | -1.0421e-14 | -1.9211e-09 | 1.9211e-09 | 1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 5.8331e-13 | -180 | 180 | 5.8404e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5632e-14 | -1.3027e-14 | 3.1264e-14 | -2.6053e-14 | 2.8659e-14 | -2.6053e-14 | -1.0421e-14 | -1.9211e-09 | 1.9211e-09 | 1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 5.8666e-13 | -180 | 180 | 5.8404e-13 | 180 | -180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 1.5632e-14 | -5.2106e-15 | 0 | 2.6053e-15 | 5.2106e-15 | 5.2106e-15 | -1.0421e-14 | 1.0421e-14 | 0 | 2.6053e-15 | -1.0421e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 5.8331e-13 | -180 | 180 | 5.8666e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -5.2106e-14 | 30.1766 | -15.8685 | 4.6896e-14 | -23.0225 | 23.0225 | -2.6053e-14 | 3.131 | 13.1032 | 2.6053e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 5.4506e-13 | -161.8563 | 152.6723 | 5.8404e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | -1.3027e-14 | 2.0843e-14 | -1.5632e-14 | 2.8659e-14 | -1.5632e-14 | -1.0421e-14 | -1.9211e-09 | 1.9211e-09 | 1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 5.8331e-13 | -180 | 180 | 5.8404e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5632e-14 | -1.3027e-14 | 3.1264e-14 | -2.6053e-14 | 2.8659e-14 | -2.6053e-14 | -1.0421e-14 | -1.9211e-09 | 1.9211e-09 | 1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 5.8666e-13 | -180 | 180 | 5.8404e-13 | 180 | -180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 1.5632e-14 | -5.2106e-15 | 0 | 2.6053e-15 | 5.2106e-15 | 5.2106e-15 | -1.0421e-14 | 1.0421e-14 | 0 | 2.6053e-15 | -1.0421e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 5.8331e-13 | -180 | 180 | 5.8666e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -2.0843e-14 | 19.0761 | -0.30087 | 1.8237e-14 | -17.4596 | 1.9173 | -1.0421e-14 | 3.9919 | 15.2185 | 1.3027e-14 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 2.3151e-13 | -138.0936 | 121.2196 | 2.5065e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 4.7339e-10 | 1.0338e-09 | -7.816e-15 | -4.7339e-10 | -1.0337e-09 | 2.2853e-29 | -1.3544e-09 | 3.8387e-10 | 2.6053e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 2.5129e-13 | -142.8673 | 128.239 | 2.5065e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 4.734e-10 | 1.0338e-09 | -7.816e-15 | -4.734e-10 | -1.0337e-09 | 2.3088e-29 | -1.3544e-09 | 3.8387e-10 | 2.6053e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 2.5388e-13 | -142.8673 | 128.239 | 2.5065e-13 | -142.8673 | 128.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.3104e-15 | 1.9472e-15 | -5.2106e-15 | 3.6596e-15 | -6.8893e-15 | 0 | 7.7623e-15 | -2.471e-15 | -2.3088e-29 | 5.3383e-15 | -1.4234e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 2.5129e-13 | -142.8673 | 128.239 | 2.5388e-13 | -142.8673 | 128.239

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -2.0843e-14 | 19.0761 | -0.30087 | 1.8237e-14 | -17.4596 | 1.9173 | -1.0421e-14 | 3.9919 | 15.2185 | 1.3027e-14 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 2.3151e-13 | -138.0936 | 121.2196 | 2.5065e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 4.7339e-10 | 1.0338e-09 | -7.816e-15 | -4.7339e-10 | -1.0337e-09 | 2.2853e-29 | -1.3544e-09 | 3.8387e-10 | 2.6053e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 2.5129e-13 | -142.8673 | 128.239 | 2.5065e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 4.734e-10 | 1.0338e-09 | -7.816e-15 | -4.734e-10 | -1.0337e-09 | 2.3088e-29 | -1.3544e-09 | 3.8387e-10 | 2.6053e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 2.5388e-13 | -142.8673 | 128.239 | 2.5065e-13 | -142.8673 | 128.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.3104e-15 | 1.9472e-15 | -5.2106e-15 | 3.6596e-15 | -6.8893e-15 | 0 | 7.7623e-15 | -2.471e-15 | -2.3088e-29 | 5.3383e-15 | -1.4234e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 2.5129e-13 | -142.8673 | 128.239 | 2.5388e-13 | -142.8673 | 128.239

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | 1.4211e-14 | 26.5997 | -7.1734 | -1.6579e-14 | -16.8865 | 16.8865 | -3.3159e-14 | -0.51586 | 11.9957 | 3.3159e-14 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 5.2236e-13 | -160.7833 | 141.207 | 4.8148e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -3.5526e-15 | 2.3686e-15 | 7.9613e-29 | 9.4739e-15 | 2.3685e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.6894e-13 | -180 | 180 | 4.8148e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4211e-14 | -8.2896e-15 | -7.1053e-15 | 9.4739e-15 | 1.4211e-14 | 7.1054e-15 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.7051e-13 | -180 | 180 | 4.8148e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.4739e-15 | 5.9212e-15 | 0 | -1.1842e-14 | 1.1842e-15 | 4.737e-15 | -9.4739e-15 | 2.3685e-15 | 0 | 4.737e-15 | 6.698e-26 | -4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.6894e-13 | -180 | 180 | 4.7051e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | 1.4211e-14 | 26.5997 | -7.1734 | -1.6579e-14 | -16.8865 | 16.8865 | -3.3159e-14 | -0.51586 | 11.9957 | 3.3159e-14 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 5.2236e-13 | -160.7833 | 141.207 | 4.8148e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -3.5526e-15 | 2.3686e-15 | 7.9613e-29 | 9.4739e-15 | 2.3685e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.6894e-13 | -180 | 180 | 4.8148e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4211e-14 | -8.2896e-15 | -7.1053e-15 | 9.4739e-15 | 1.4211e-14 | 7.1054e-15 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.7051e-13 | -180 | 180 | 4.8148e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.4739e-15 | 5.9212e-15 | 0 | -1.1842e-14 | 1.1842e-15 | 4.737e-15 | -9.4739e-15 | 2.3685e-15 | 0 | 4.737e-15 | 6.698e-26 | -4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.6894e-13 | -180 | 180 | 4.7051e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | 3.5527e-15 | 15.3932 | 0.73601 | -3.5527e-15 | -13.0917 | 1.5655 | -1.6579e-14 | 2.3135 | 11.9328 | 1.4211e-14 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 2.3601e-13 | -138.1765 | 119.7467 | 2.1552e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.3291e-15 | 4.798e-10 | 8.2616e-10 | 5.3291e-15 | -4.798e-10 | -8.2616e-10 | 4.737e-15 | -1.0532e-09 | 4.5327e-10 | -7.1054e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.0874e-13 | -142.5584 | 131.6989 | 2.1552e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.1448e-15 | 4.798e-10 | 8.2616e-10 | 5.3291e-15 | -4.7979e-10 | -8.2616e-10 | -1.5112e-29 | -1.0532e-09 | 4.5326e-10 | 2.0045e-29 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.089e-13 | -142.5584 | 131.6989 | 2.1552e-13 | -142.5584 | 131.6989
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 7.4803e-15 | 6.7037e-15 | 1.1842e-15 | -1.056e-15 | 1.2056e-15 | 7.1054e-15 | -3.2062e-15 | 9.8403e-15 | -4.737e-15 | -8.0857e-16 | -5.6943e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.0874e-13 | -142.5584 | 131.6989 | 2.089e-13 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | 3.5527e-15 | 15.3932 | 0.73601 | -3.5527e-15 | -13.0917 | 1.5655 | -1.6579e-14 | 2.3135 | 11.9328 | 1.4211e-14 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 2.3601e-13 | -138.1765 | 119.7467 | 2.1552e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.3291e-15 | 4.798e-10 | 8.2616e-10 | 5.3291e-15 | -4.798e-10 | -8.2616e-10 | 4.737e-15 | -1.0532e-09 | 4.5327e-10 | -7.1054e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.0874e-13 | -142.5584 | 131.6989 | 2.1552e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.1448e-15 | 4.798e-10 | 8.2616e-10 | 5.3291e-15 | -4.7979e-10 | -8.2616e-10 | -1.5112e-29 | -1.0532e-09 | 4.5326e-10 | 2.0045e-29 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.089e-13 | -142.5584 | 131.6989 | 2.1552e-13 | -142.5584 | 131.6989
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 7.4803e-15 | 6.7037e-15 | 1.1842e-15 | -1.056e-15 | 1.2056e-15 | 7.1054e-15 | -3.2062e-15 | 9.8403e-15 | -4.737e-15 | -8.0857e-16 | -5.6943e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.0874e-13 | -142.5584 | 131.6989 | 2.089e-13 | -142.5584 | 131.6989

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 4.154 | 0.0087529 | 0.0087529 | 4.1532 | 0.0074469 | 0.0074469 | 47.9657 | 0.10107 | 0.10107 | 47.9575 | 0.085989 | 0.085989 | 27.2877 | 0.092123 | -0.076128 | 3.0918e-10 | -0.071067 | 0.07093 | 15.1836 | 0.0098764 | -0.083786 | -3.6798e-10 | 0.023799 | 0.10552 | -57.323 | -119.1039 | -119.1039 | 122.6921 | 60.0804 | 60.0804 |  | 0.65104 | 0.9167 | 1.1201 | 0 | 0.87157 | 1.4786 | -28.2303 | -112.9846 | 108.6377 | 0 | -138.434 | 116.1703
Line_1 | 0.0012414 | 0.0012414 | 0.0012414 | 0.0037234 | 0.0037234 | 0.0037234 | 0.014335 | 0.014335 | 0.014335 | 0.042995 | 0.042995 | 0.042995 | 1.1389e-05 | -0.011838 | 0.011826 | -4.2043e-13 | 0.035533 | -0.035465 | 4.5308e-06 | 0.0039655 | 0.0176 | -9.4354e-14 | -0.011899 | -0.052758 | 60.0502 | 60.0502 | 60.0502 | -119.9196 | -119.9196 | -119.9196 |  | 0.00085506 | 0.87092 | 1.4793 | 0 | 0.87157 | 1.4786 | 81.7446 | -138.4703 | 116.1516 | 0 | -138.434 | 116.1703
Line_2 | 0.0012414 | 0.0012414 | 0.0012414 | 0.0037234 | 0.0037234 | 0.0037234 | 0.014335 | 0.014335 | 0.014335 | 0.042995 | 0.042995 | 0.042995 | 1.1389e-05 | -0.011838 | 0.011826 | -4.2043e-13 | 0.035533 | -0.035465 | 4.5308e-06 | 0.0039655 | 0.0176 | -9.4354e-14 | -0.011899 | -0.052758 | 60.0502 | 60.0502 | 60.0502 | -119.9196 | -119.9196 | -119.9196 |  | 0.00085506 | 0.87092 | 1.4793 | 0 | 0.87157 | 1.4786 | 81.7446 | -138.4703 | 116.1516 | 0 | -138.434 | 116.1703
Line_3 | 0.0012414 | 0.0012414 | 0.0012414 | 0.0012414 | 0.0012414 | 0.0012414 | 0.014335 | 0.014335 | 0.014335 | 0.014335 | 0.014335 | 0.014335 | -1.1389e-05 | 0.011838 | -0.011826 | -1.1389e-05 | 0.011838 | -0.011826 | -4.5308e-06 | -0.0039655 | -0.0176 | -4.5308e-06 | -0.0039655 | -0.0176 | -119.9498 | -119.9498 | -119.9498 | -119.9498 | -119.9498 | -119.9498 |  | 0.00085506 | 0.87092 | 1.4793 | 0.00085506 | 0.87092 | 1.4793 | 81.7446 | -138.4703 | 116.1516 | 81.7446 | -138.4703 | 116.1516

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 4.154 | 0.0087529 | 0.0087529 | 4.1532 | 0.0074469 | 0.0074469 | 47.9657 | 0.10107 | 0.10107 | 47.9575 | 0.085989 | 0.085989 | 27.2877 | 0.092123 | -0.076128 | 3.0918e-10 | -0.071067 | 0.07093 | 15.1836 | 0.0098764 | -0.083786 | -3.6798e-10 | 0.023799 | 0.10552 | -57.323 | -119.1039 | -119.1039 | 122.6921 | 60.0804 | 60.0804 |  | 0.65104 | 0.9167 | 1.1201 | 0 | 0.87157 | 1.4786 | -28.2303 | -112.9846 | 108.6377 | 0 | -138.434 | 116.1703
Line_1 | 0.0012414 | 0.0012414 | 0.0012414 | 0.0037234 | 0.0037234 | 0.0037234 | 0.014335 | 0.014335 | 0.014335 | 0.042995 | 0.042995 | 0.042995 | 1.1389e-05 | -0.011838 | 0.011826 | -4.2043e-13 | 0.035533 | -0.035465 | 4.5308e-06 | 0.0039655 | 0.0176 | -9.4354e-14 | -0.011899 | -0.052758 | 60.0502 | 60.0502 | 60.0502 | -119.9196 | -119.9196 | -119.9196 |  | 0.00085506 | 0.87092 | 1.4793 | 0 | 0.87157 | 1.4786 | 81.7446 | -138.4703 | 116.1516 | 0 | -138.434 | 116.1703
Line_2 | 0.0012414 | 0.0012414 | 0.0012414 | 0.0037234 | 0.0037234 | 0.0037234 | 0.014335 | 0.014335 | 0.014335 | 0.042995 | 0.042995 | 0.042995 | 1.1389e-05 | -0.011838 | 0.011826 | -4.2043e-13 | 0.035533 | -0.035465 | 4.5308e-06 | 0.0039655 | 0.0176 | -9.4354e-14 | -0.011899 | -0.052758 | 60.0502 | 60.0502 | 60.0502 | -119.9196 | -119.9196 | -119.9196 |  | 0.00085506 | 0.87092 | 1.4793 | 0 | 0.87157 | 1.4786 | 81.7446 | -138.4703 | 116.1516 | 0 | -138.434 | 116.1703
Line_3 | 0.0012414 | 0.0012414 | 0.0012414 | 0.0012414 | 0.0012414 | 0.0012414 | 0.014335 | 0.014335 | 0.014335 | 0.014335 | 0.014335 | 0.014335 | -1.1389e-05 | 0.011838 | -0.011826 | -1.1389e-05 | 0.011838 | -0.011826 | -4.5308e-06 | -0.0039655 | -0.0176 | -4.5308e-06 | -0.0039655 | -0.0176 | -119.9498 | -119.9498 | -119.9498 | -119.9498 | -119.9498 | -119.9498 |  | 0.00085506 | 0.87092 | 1.4793 | 0.00085506 | 0.87092 | 1.4793 | 81.7446 | -138.4703 | 116.1516 | 81.7446 | -138.4703 | 116.1516

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2609 | 0.0026569 | 0.0026569 | 1.2607 | 0.0022605 | 0.0022605 | 14.5599 | 0.03068 | 0.03068 | 14.5574 | 0.026102 | 0.026102 | 10.4413 | 0.031537 | -0.023189 | -7.9277 | -0.026221 | 0.020086 | 9.3555 | -0.004459 | -0.024996 | -7.953 | 0.0064811 | 0.024615 | -48.7893 | -110.5701 | -110.5701 | 131.2259 | 68.6142 | 68.6142 |  | 0.96288 | 1.0382 | 1.1114 | 0.77139 | 1.0348 | 1.2172 | -6.9286 | -118.6177 | 116.5785 | -3.6828 | -125.2695 | 119.4002
Line_1 | 0.00037683 | 0.00037683 | 0.00037683 | 0.0011302 | 0.0011302 | 0.0011302 | 0.0043512 | 0.0043512 | 0.0043512 | 0.013051 | 0.013051 | 0.013051 | 0.0010234 | -0.0043706 | 0.0033472 | -0.0030613 | 0.01311 | -0.010043 | -0.0031966 | 0.0010785 | 0.0041056 | 0.0095906 | -0.0032405 | -0.012308 | 68.5839 | 68.5839 | 68.5839 | -111.3858 | -111.3858 | -111.3858 |  | 0.77137 | 1.0346 | 1.2174 | 0.77139 | 1.0348 | 1.2172 | -3.6636 | -125.2779 | 119.3942 | -3.6828 | -125.2695 | 119.4002
Line_2 | 0.00037683 | 0.00037683 | 0.00037683 | 0.0011302 | 0.0011302 | 0.0011302 | 0.0043512 | 0.0043512 | 0.0043512 | 0.013051 | 0.013051 | 0.013051 | 0.0010234 | -0.0043706 | 0.0033472 | -0.0030613 | 0.01311 | -0.010043 | -0.0031966 | 0.0010785 | 0.0041056 | 0.0095906 | -0.0032405 | -0.012308 | 68.5839 | 68.5839 | 68.5839 | -111.3858 | -111.3858 | -111.3858 |  | 0.77137 | 1.0346 | 1.2174 | 0.77139 | 1.0348 | 1.2172 | -3.6636 | -125.2779 | 119.3942 | -3.6828 | -125.2695 | 119.4002
Line_3 | 0.00037683 | 0.00037683 | 0.00037683 | 0.00037683 | 0.00037683 | 0.00037683 | 0.0043512 | 0.0043512 | 0.0043512 | 0.0043512 | 0.0043512 | 0.0043512 | -0.0010234 | 0.0043706 | -0.0033472 | -0.0010234 | 0.0043706 | -0.0033472 | 0.0031966 | -0.0010785 | -0.0041056 | 0.0031966 | -0.0010785 | -0.0041056 | -111.4161 | -111.4161 | -111.4161 | -111.4161 | -111.4161 | -111.4161 |  | 0.77137 | 1.0346 | 1.2174 | 0.77137 | 1.0346 | 1.2174 | -3.6636 | -125.2779 | 119.3942 | -3.6636 | -125.2779 | 119.3942

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2609 | 0.0026569 | 0.0026569 | 1.2607 | 0.0022605 | 0.0022605 | 14.5599 | 0.03068 | 0.03068 | 14.5574 | 0.026102 | 0.026102 | 10.4413 | 0.031537 | -0.023189 | -7.9277 | -0.026221 | 0.020086 | 9.3555 | -0.004459 | -0.024996 | -7.953 | 0.0064811 | 0.024615 | -48.7893 | -110.5701 | -110.5701 | 131.2259 | 68.6142 | 68.6142 |  | 0.96288 | 1.0382 | 1.1114 | 0.77139 | 1.0348 | 1.2172 | -6.9286 | -118.6177 | 116.5785 | -3.6828 | -125.2695 | 119.4002
Line_1 | 0.00037683 | 0.00037683 | 0.00037683 | 0.0011302 | 0.0011302 | 0.0011302 | 0.0043512 | 0.0043512 | 0.0043512 | 0.013051 | 0.013051 | 0.013051 | 0.0010234 | -0.0043706 | 0.0033472 | -0.0030613 | 0.01311 | -0.010043 | -0.0031966 | 0.0010785 | 0.0041056 | 0.0095906 | -0.0032405 | -0.012308 | 68.5839 | 68.5839 | 68.5839 | -111.3858 | -111.3858 | -111.3858 |  | 0.77137 | 1.0346 | 1.2174 | 0.77139 | 1.0348 | 1.2172 | -3.6636 | -125.2779 | 119.3942 | -3.6828 | -125.2695 | 119.4002
Line_2 | 0.00037683 | 0.00037683 | 0.00037683 | 0.0011302 | 0.0011302 | 0.0011302 | 0.0043512 | 0.0043512 | 0.0043512 | 0.013051 | 0.013051 | 0.013051 | 0.0010234 | -0.0043706 | 0.0033472 | -0.0030613 | 0.01311 | -0.010043 | -0.0031966 | 0.0010785 | 0.0041056 | 0.0095906 | -0.0032405 | -0.012308 | 68.5839 | 68.5839 | 68.5839 | -111.3858 | -111.3858 | -111.3858 |  | 0.77137 | 1.0346 | 1.2174 | 0.77139 | 1.0348 | 1.2172 | -3.6636 | -125.2779 | 119.3942 | -3.6828 | -125.2695 | 119.4002
Line_3 | 0.00037683 | 0.00037683 | 0.00037683 | 0.00037683 | 0.00037683 | 0.00037683 | 0.0043512 | 0.0043512 | 0.0043512 | 0.0043512 | 0.0043512 | 0.0043512 | -0.0010234 | 0.0043706 | -0.0033472 | -0.0010234 | 0.0043706 | -0.0033472 | 0.0031966 | -0.0010785 | -0.0041056 | 0.0031966 | -0.0010785 | -0.0041056 | -111.4161 | -111.4161 | -111.4161 | -111.4161 | -111.4161 | -111.4161 |  | 0.77137 | 1.0346 | 1.2174 | 0.77137 | 1.0346 | 1.2174 | -3.6636 | -125.2779 | 119.3942 | -3.6636 | -125.2779 | 119.3942

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.8317 | 0.010469 | 0.010469 | 2.8312 | 0.0089515 | 0.0089515 | 32.6974 | 0.12088 | 0.12088 | 32.6918 | 0.10336 | 0.10336 | 24.3456 | 0.10226 | -0.08756 | -9.7482e-11 | -0.080992 | 0.080613 | 6.971 | -0.0045749 | -0.092922 | 1.2566e-11 | 0.054903 | 0.13194 | -40.3338 | -114.958 | -114.958 | 139.6954 | 64.5117 | 64.5117 |  | 0.7745 | 0.84682 | 1.0562 | 0 | 0.94664 | 1.4959 | -24.3556 | -117.5194 | 111.7437 | 0 | -149.6208 | 123.0883
Line_1 | 0.0014922 | 0.0014922 | 0.0014922 | 0.0044758 | 0.0044758 | 0.0044758 | 0.017231 | 0.017231 | 0.017231 | 0.051682 | 0.051682 | 0.051682 | 3.1595e-05 | -0.013479 | 0.013448 | 5.8613e-14 | 0.040496 | -0.040307 | 6.5467e-06 | 0.0091453 | 0.022016 | 1.439e-13 | -0.027452 | -0.065972 | 64.4536 | 64.4536 | 64.4536 | -115.4883 | -115.4883 | -115.4883 |  | 0.0018726 | 0.94533 | 1.4972 | 0 | 0.94664 | 1.4959 | 76.16 | -149.7021 | 123.0359 | 0 | -149.6208 | 123.0883
Line_2 | 0.0014922 | 0.0014922 | 0.0014922 | 0.0044758 | 0.0044758 | 0.0044758 | 0.017231 | 0.017231 | 0.017231 | 0.051682 | 0.051682 | 0.051682 | 3.1595e-05 | -0.013479 | 0.013448 | 5.8613e-14 | 0.040496 | -0.040307 | 6.5467e-06 | 0.0091453 | 0.022016 | 1.439e-13 | -0.027452 | -0.065972 | 64.4536 | 64.4536 | 64.4536 | -115.4883 | -115.4883 | -115.4883 |  | 0.0018726 | 0.94533 | 1.4972 | 0 | 0.94664 | 1.4959 | 76.16 | -149.7021 | 123.0359 | 0 | -149.6208 | 123.0883
Line_3 | 0.0014922 | 0.0014922 | 0.0014922 | 0.0014922 | 0.0014922 | 0.0014922 | 0.017231 | 0.017231 | 0.017231 | 0.017231 | 0.017231 | 0.017231 | -3.1595e-05 | 0.013479 | -0.013448 | -3.1595e-05 | 0.013479 | -0.013448 | -6.5467e-06 | -0.0091453 | -0.022016 | -6.5467e-06 | -0.0091453 | -0.022016 | -115.5464 | -115.5464 | -115.5464 | -115.5464 | -115.5464 | -115.5464 |  | 0.0018726 | 0.94533 | 1.4972 | 0.0018726 | 0.94533 | 1.4972 | 76.16 | -149.7021 | 123.0359 | 76.16 | -149.7021 | 123.0359

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.8317 | 0.010469 | 0.010469 | 2.8312 | 0.0089515 | 0.0089515 | 32.6974 | 0.12088 | 0.12088 | 32.6918 | 0.10336 | 0.10336 | 24.3456 | 0.10226 | -0.08756 | -9.7482e-11 | -0.080992 | 0.080613 | 6.971 | -0.0045749 | -0.092922 | 1.2566e-11 | 0.054903 | 0.13194 | -40.3338 | -114.958 | -114.958 | 139.6954 | 64.5117 | 64.5117 |  | 0.7745 | 0.84682 | 1.0562 | 0 | 0.94664 | 1.4959 | -24.3556 | -117.5194 | 111.7437 | 0 | -149.6208 | 123.0883
Line_1 | 0.0014922 | 0.0014922 | 0.0014922 | 0.0044758 | 0.0044758 | 0.0044758 | 0.017231 | 0.017231 | 0.017231 | 0.051682 | 0.051682 | 0.051682 | 3.1595e-05 | -0.013479 | 0.013448 | 5.8613e-14 | 0.040496 | -0.040307 | 6.5467e-06 | 0.0091453 | 0.022016 | 1.439e-13 | -0.027452 | -0.065972 | 64.4536 | 64.4536 | 64.4536 | -115.4883 | -115.4883 | -115.4883 |  | 0.0018726 | 0.94533 | 1.4972 | 0 | 0.94664 | 1.4959 | 76.16 | -149.7021 | 123.0359 | 0 | -149.6208 | 123.0883
Line_2 | 0.0014922 | 0.0014922 | 0.0014922 | 0.0044758 | 0.0044758 | 0.0044758 | 0.017231 | 0.017231 | 0.017231 | 0.051682 | 0.051682 | 0.051682 | 3.1595e-05 | -0.013479 | 0.013448 | 5.8613e-14 | 0.040496 | -0.040307 | 6.5467e-06 | 0.0091453 | 0.022016 | 1.439e-13 | -0.027452 | -0.065972 | 64.4536 | 64.4536 | 64.4536 | -115.4883 | -115.4883 | -115.4883 |  | 0.0018726 | 0.94533 | 1.4972 | 0 | 0.94664 | 1.4959 | 76.16 | -149.7021 | 123.0359 | 0 | -149.6208 | 123.0883
Line_3 | 0.0014922 | 0.0014922 | 0.0014922 | 0.0014922 | 0.0014922 | 0.0014922 | 0.017231 | 0.017231 | 0.017231 | 0.017231 | 0.017231 | 0.017231 | -3.1595e-05 | 0.013479 | -0.013448 | -3.1595e-05 | 0.013479 | -0.013448 | -6.5467e-06 | -0.0091453 | -0.022016 | -6.5467e-06 | -0.0091453 | -0.022016 | -115.5464 | -115.5464 | -115.5464 | -115.5464 | -115.5464 | -115.5464 |  | 0.0018726 | 0.94533 | 1.4972 | 0.0018726 | 0.94533 | 1.4972 | 76.16 | -149.7021 | 123.0359 | 76.16 | -149.7021 | 123.0359

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0372 | 0.0038347 | 0.0038347 | 1.037 | 0.0032789 | 0.0032789 | 11.9768 | 0.044279 | 0.044279 | 11.9748 | 0.037861 | 0.037861 | 8.6211 | 0.041818 | -0.025869 | -5.3565 | -0.034891 | 0.022698 | 6.3283 | -0.00069785 | -0.036758 | -5.3894 | 0.0072158 | 0.038584 | -43.4222 | -118.0464 | -118.0464 | 136.607 | 61.4233 | 61.4233 |  | 0.89293 | 0.94455 | 1.0151 | 0.63455 | 0.94105 | 1.1823 | -7.1418 | -119.0025 | 116.8168 | 1.7822 | -130.2614 | 120.9563
Line_1 | 0.00054659 | 0.00054659 | 0.00054659 | 0.0016394 | 0.0016394 | 0.0016394 | 0.0063115 | 0.0063115 | 0.0063115 | 0.018931 | 0.018931 | 0.018931 | 0.0020319 | -0.0058134 | 0.0037814 | -0.0060712 | 0.017445 | -0.011349 | -0.0034528 | 0.0011979 | 0.0064367 | 0.010365 | -0.0036079 | -0.019292 | 61.3652 | 61.3652 | 61.3652 | -118.5767 | -118.5767 | -118.5767 |  | 0.63477 | 0.94042 | 1.1828 | 0.63455 | 0.94105 | 1.1823 | 1.8409 | -130.278 | 120.9317 | 1.7822 | -130.2614 | 120.9563
Line_2 | 0.00054659 | 0.00054659 | 0.00054659 | 0.0016394 | 0.0016394 | 0.0016394 | 0.0063115 | 0.0063115 | 0.0063115 | 0.018931 | 0.018931 | 0.018931 | 0.0020319 | -0.0058134 | 0.0037814 | -0.0060712 | 0.017445 | -0.011349 | -0.0034528 | 0.0011979 | 0.0064367 | 0.010365 | -0.0036079 | -0.019292 | 61.3652 | 61.3652 | 61.3652 | -118.5767 | -118.5767 | -118.5767 |  | 0.63477 | 0.94042 | 1.1828 | 0.63455 | 0.94105 | 1.1823 | 1.8409 | -130.278 | 120.9317 | 1.7822 | -130.2614 | 120.9563
Line_3 | 0.00054659 | 0.00054659 | 0.00054659 | 0.00054659 | 0.00054659 | 0.00054659 | 0.0063115 | 0.0063115 | 0.0063115 | 0.0063115 | 0.0063115 | 0.0063115 | -0.0020319 | 0.0058134 | -0.0037814 | -0.0020319 | 0.0058134 | -0.0037814 | 0.0034528 | -0.0011979 | -0.0064367 | 0.0034528 | -0.0011979 | -0.0064367 | -118.6348 | -118.6348 | -118.6348 | -118.6348 | -118.6348 | -118.6348 |  | 0.63477 | 0.94042 | 1.1828 | 0.63477 | 0.94042 | 1.1828 | 1.8409 | -130.278 | 120.9317 | 1.8409 | -130.278 | 120.9317

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0372 | 0.0038347 | 0.0038347 | 1.037 | 0.0032789 | 0.0032789 | 11.9768 | 0.044279 | 0.044279 | 11.9748 | 0.037861 | 0.037861 | 8.6211 | 0.041818 | -0.025869 | -5.3565 | -0.034891 | 0.022698 | 6.3283 | -0.00069785 | -0.036758 | -5.3894 | 0.0072158 | 0.038584 | -43.4222 | -118.0464 | -118.0464 | 136.607 | 61.4233 | 61.4233 |  | 0.89293 | 0.94455 | 1.0151 | 0.63455 | 0.94105 | 1.1823 | -7.1418 | -119.0025 | 116.8168 | 1.7822 | -130.2614 | 120.9563
Line_1 | 0.00054659 | 0.00054659 | 0.00054659 | 0.0016394 | 0.0016394 | 0.0016394 | 0.0063115 | 0.0063115 | 0.0063115 | 0.018931 | 0.018931 | 0.018931 | 0.0020319 | -0.0058134 | 0.0037814 | -0.0060712 | 0.017445 | -0.011349 | -0.0034528 | 0.0011979 | 0.0064367 | 0.010365 | -0.0036079 | -0.019292 | 61.3652 | 61.3652 | 61.3652 | -118.5767 | -118.5767 | -118.5767 |  | 0.63477 | 0.94042 | 1.1828 | 0.63455 | 0.94105 | 1.1823 | 1.8409 | -130.278 | 120.9317 | 1.7822 | -130.2614 | 120.9563
Line_2 | 0.00054659 | 0.00054659 | 0.00054659 | 0.0016394 | 0.0016394 | 0.0016394 | 0.0063115 | 0.0063115 | 0.0063115 | 0.018931 | 0.018931 | 0.018931 | 0.0020319 | -0.0058134 | 0.0037814 | -0.0060712 | 0.017445 | -0.011349 | -0.0034528 | 0.0011979 | 0.0064367 | 0.010365 | -0.0036079 | -0.019292 | 61.3652 | 61.3652 | 61.3652 | -118.5767 | -118.5767 | -118.5767 |  | 0.63477 | 0.94042 | 1.1828 | 0.63455 | 0.94105 | 1.1823 | 1.8409 | -130.278 | 120.9317 | 1.7822 | -130.2614 | 120.9563
Line_3 | 0.00054659 | 0.00054659 | 0.00054659 | 0.00054659 | 0.00054659 | 0.00054659 | 0.0063115 | 0.0063115 | 0.0063115 | 0.0063115 | 0.0063115 | 0.0063115 | -0.0020319 | 0.0058134 | -0.0037814 | -0.0020319 | 0.0058134 | -0.0037814 | 0.0034528 | -0.0011979 | -0.0064367 | 0.0034528 | -0.0011979 | -0.0064367 | -118.6348 | -118.6348 | -118.6348 | -118.6348 | -118.6348 | -118.6348 |  | 0.63477 | 0.94042 | 1.1828 | 0.63477 | 0.94042 | 1.1828 | 1.8409 | -130.278 | 120.9317 | 1.8409 | -130.278 | 120.9317

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0076472 | 5.0287 | 2.971 | 0.0065062 | 5.0287 | 2.9701 | 0.088303 | 58.0663 | 34.3059 | 0.075127 | 58.0669 | 34.296 | 0.0053399 | 31.9771 | -0.25071 | -0.00010432 | 2.3472e-10 | 1.5532e-10 | -0.086212 | 7.9371 | 16.0391 | 0.098707 | -1.5135e-10 | -5.2085e-11 | 78.1936 | 175.6016 | 41.1726 | -102.6221 | -4.3854 | -138.8421 |  | 0.9782 | 0.56741 | 0.46759 | 1.3139 | 0 | 0 | -8.262 | -170.4587 | 132.0681 | -12.5615 | 0 | 0
Line_1 | 0.0010846 | 0.0010846 | 0.0010846 | 0.0032531 | 0.0032531 | 0.0032531 | 0.012524 | 0.012524 | 0.012524 | 0.037563 | 0.037564 | 0.037563 | -1.7387e-05 | 8.6932e-06 | 8.6932e-06 | 5.216e-05 | -7.5148e-14 | -1.0353e-13 | 0.016458 | 3.4584e-06 | 3.4584e-06 | -0.049353 | -1.643e-13 | 1.4654e-13 | -102.6523 | -102.6523 | -102.6524 | 77.3779 | 77.3779 | 77.3779 |  | 1.3141 | 0.00074705 | 0.00074705 | 1.3139 | 0 | 0 | -12.5918 | -80.958 | -80.958 | -12.5615 | 0 | 0
Line_2 | 0.0010846 | 0.0010846 | 0.0010846 | 0.0032531 | 0.0032531 | 0.0032531 | 0.012524 | 0.012524 | 0.012524 | 0.037563 | 0.037564 | 0.037563 | -1.7387e-05 | 8.6932e-06 | 8.6932e-06 | 5.216e-05 | -7.5148e-14 | -1.0353e-13 | 0.016458 | 3.4584e-06 | 3.4584e-06 | -0.049353 | -1.643e-13 | 1.4654e-13 | -102.6523 | -102.6523 | -102.6524 | 77.3779 | 77.3779 | 77.3779 |  | 1.3141 | 0.00074705 | 0.00074705 | 1.3139 | 0 | 0 | -12.5918 | -80.958 | -80.958 | -12.5615 | 0 | 0
Line_3 | 0.0010846 | 0.0010846 | 0.0010846 | 0.0010846 | 0.0010846 | 0.0010846 | 0.012524 | 0.012524 | 0.012524 | 0.012524 | 0.012524 | 0.012524 | 1.7386e-05 | -8.6932e-06 | -8.6932e-06 | 1.7386e-05 | -8.6932e-06 | -8.6932e-06 | -0.016458 | -3.4584e-06 | -3.4584e-06 | -0.016458 | -3.4584e-06 | -3.4584e-06 | 77.3477 | 77.3477 | 77.3477 | 77.3477 | 77.3477 | 77.3477 |  | 1.3141 | 0.00074705 | 0.00074705 | 1.3141 | 0.00074705 | 0.00074705 | -12.5918 | -80.958 | -80.958 | -12.5918 | -80.958 | -80.958

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0076472 | 5.0287 | 2.971 | 0.0065062 | 5.0287 | 2.9701 | 0.088303 | 58.0663 | 34.3059 | 0.075127 | 58.0669 | 34.296 | 0.0053399 | 31.9771 | -0.25071 | -0.00010432 | 2.3472e-10 | 1.5532e-10 | -0.086212 | 7.9371 | 16.0391 | 0.098707 | -1.5135e-10 | -5.2085e-11 | 78.1936 | 175.6016 | 41.1726 | -102.6221 | -4.3854 | -138.8421 |  | 0.9782 | 0.56741 | 0.46759 | 1.3139 | 0 | 0 | -8.262 | -170.4587 | 132.0681 | -12.5615 | 0 | 0
Line_1 | 0.0010846 | 0.0010846 | 0.0010846 | 0.0032531 | 0.0032531 | 0.0032531 | 0.012524 | 0.012524 | 0.012524 | 0.037563 | 0.037564 | 0.037563 | -1.7387e-05 | 8.6932e-06 | 8.6932e-06 | 5.216e-05 | -7.5148e-14 | -1.0353e-13 | 0.016458 | 3.4584e-06 | 3.4584e-06 | -0.049353 | -1.643e-13 | 1.4654e-13 | -102.6523 | -102.6523 | -102.6524 | 77.3779 | 77.3779 | 77.3779 |  | 1.3141 | 0.00074705 | 0.00074705 | 1.3139 | 0 | 0 | -12.5918 | -80.958 | -80.958 | -12.5615 | 0 | 0
Line_2 | 0.0010846 | 0.0010846 | 0.0010846 | 0.0032531 | 0.0032531 | 0.0032531 | 0.012524 | 0.012524 | 0.012524 | 0.037563 | 0.037564 | 0.037563 | -1.7387e-05 | 8.6932e-06 | 8.6932e-06 | 5.216e-05 | -7.5148e-14 | -1.0353e-13 | 0.016458 | 3.4584e-06 | 3.4584e-06 | -0.049353 | -1.643e-13 | 1.4654e-13 | -102.6523 | -102.6523 | -102.6524 | 77.3779 | 77.3779 | 77.3779 |  | 1.3141 | 0.00074705 | 0.00074705 | 1.3139 | 0 | 0 | -12.5918 | -80.958 | -80.958 | -12.5615 | 0 | 0
Line_3 | 0.0010846 | 0.0010846 | 0.0010846 | 0.0010846 | 0.0010846 | 0.0010846 | 0.012524 | 0.012524 | 0.012524 | 0.012524 | 0.012524 | 0.012524 | 1.7386e-05 | -8.6932e-06 | -8.6932e-06 | 1.7386e-05 | -8.6932e-06 | -8.6932e-06 | -0.016458 | -3.4584e-06 | -3.4584e-06 | -0.016458 | -3.4584e-06 | -3.4584e-06 | 77.3477 | 77.3477 | 77.3477 | 77.3477 | 77.3477 | 77.3477 |  | 1.3141 | 0.00074705 | 0.00074705 | 1.3141 | 0.00074705 | 0.00074705 | -12.5918 | -80.958 | -80.958 | -12.5918 | -80.958 | -80.958

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0025358 | 1.382 | 1.1784 | 0.0021574 | 1.3821 | 1.178 | 0.02928 | 15.958 | 13.6066 | 0.024911 | 15.9596 | 13.6023 | 0.0068491 | 11.9709 | 7.7539 | -0.0055884 | -9.5447 | -6.9276 | -0.030106 | 9.566 | 9.3018 | 0.028325 | -9.5715 | -6.9239 | 74.7955 | -169.8588 | 65.5862 | -106.0202 | 10.1559 | -114.4182 |  | 1.0545 | 0.96024 | 0.88999 | 1.1589 | 0.84697 | 0.72006 | -2.388 | -131.23 | 115.7718 | -4.8593 | -124.7638 | 110.5665
Line_1 | 0.00035964 | 0.00035964 | 0.00035964 | 0.0010787 | 0.0010787 | 0.0010787 | 0.0041528 | 0.0041528 | 0.0041528 | 0.012456 | 0.012456 | 0.012456 | -0.00093313 | 0.0033323 | -0.0023992 | 0.0027942 | -0.0099901 | 0.0072017 | 0.0047217 | -0.0011281 | -0.0017832 | -0.014162 | 0.00339 | 0.0053458 | -106.0504 | -106.0504 | -106.0504 | 73.9798 | 73.9798 | 73.9798 |  | 1.159 | 0.84716 | 0.71982 | 1.1589 | 0.84697 | 0.72006 | -4.8713 | -124.753 | 110.5715 | -4.8593 | -124.7638 | 110.5665
Line_2 | 0.00035964 | 0.00035964 | 0.00035964 | 0.0010787 | 0.0010787 | 0.0010787 | 0.0041528 | 0.0041528 | 0.0041528 | 0.012456 | 0.012456 | 0.012456 | -0.00093313 | 0.0033323 | -0.0023992 | 0.0027942 | -0.0099901 | 0.0072017 | 0.0047217 | -0.0011281 | -0.0017832 | -0.014162 | 0.00339 | 0.0053458 | -106.0504 | -106.0504 | -106.0504 | 73.9798 | 73.9798 | 73.9798 |  | 1.159 | 0.84716 | 0.71982 | 1.1589 | 0.84697 | 0.72006 | -4.8713 | -124.753 | 110.5715 | -4.8593 | -124.7638 | 110.5665
Line_3 | 0.00035964 | 0.00035964 | 0.00035964 | 0.00035964 | 0.00035964 | 0.00035964 | 0.0041528 | 0.0041528 | 0.0041528 | 0.0041528 | 0.0041528 | 0.0041528 | 0.00093313 | -0.0033323 | 0.0023992 | 0.00093313 | -0.0033323 | 0.0023992 | -0.0047217 | 0.0011281 | 0.0017832 | -0.0047217 | 0.0011281 | 0.0017832 | 73.9496 | 73.9496 | 73.9496 | 73.9496 | 73.9496 | 73.9496 |  | 1.159 | 0.84716 | 0.71982 | 1.159 | 0.84716 | 0.71982 | -4.8713 | -124.753 | 110.5715 | -4.8713 | -124.753 | 110.5715

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0025358 | 1.382 | 1.1784 | 0.0021574 | 1.3821 | 1.178 | 0.02928 | 15.958 | 13.6066 | 0.024911 | 15.9596 | 13.6023 | 0.0068491 | 11.9709 | 7.7539 | -0.0055884 | -9.5447 | -6.9276 | -0.030106 | 9.566 | 9.3018 | 0.028325 | -9.5715 | -6.9239 | 74.7955 | -169.8588 | 65.5862 | -106.0202 | 10.1559 | -114.4182 |  | 1.0545 | 0.96024 | 0.88999 | 1.1589 | 0.84697 | 0.72006 | -2.388 | -131.23 | 115.7718 | -4.8593 | -124.7638 | 110.5665
Line_1 | 0.00035964 | 0.00035964 | 0.00035964 | 0.0010787 | 0.0010787 | 0.0010787 | 0.0041528 | 0.0041528 | 0.0041528 | 0.012456 | 0.012456 | 0.012456 | -0.00093313 | 0.0033323 | -0.0023992 | 0.0027942 | -0.0099901 | 0.0072017 | 0.0047217 | -0.0011281 | -0.0017832 | -0.014162 | 0.00339 | 0.0053458 | -106.0504 | -106.0504 | -106.0504 | 73.9798 | 73.9798 | 73.9798 |  | 1.159 | 0.84716 | 0.71982 | 1.1589 | 0.84697 | 0.72006 | -4.8713 | -124.753 | 110.5715 | -4.8593 | -124.7638 | 110.5665
Line_2 | 0.00035964 | 0.00035964 | 0.00035964 | 0.0010787 | 0.0010787 | 0.0010787 | 0.0041528 | 0.0041528 | 0.0041528 | 0.012456 | 0.012456 | 0.012456 | -0.00093313 | 0.0033323 | -0.0023992 | 0.0027942 | -0.0099901 | 0.0072017 | 0.0047217 | -0.0011281 | -0.0017832 | -0.014162 | 0.00339 | 0.0053458 | -106.0504 | -106.0504 | -106.0504 | 73.9798 | 73.9798 | 73.9798 |  | 1.159 | 0.84716 | 0.71982 | 1.1589 | 0.84697 | 0.72006 | -4.8713 | -124.753 | 110.5715 | -4.8593 | -124.7638 | 110.5665
Line_3 | 0.00035964 | 0.00035964 | 0.00035964 | 0.00035964 | 0.00035964 | 0.00035964 | 0.0041528 | 0.0041528 | 0.0041528 | 0.0041528 | 0.0041528 | 0.0041528 | 0.00093313 | -0.0033323 | 0.0023992 | 0.00093313 | -0.0033323 | 0.0023992 | -0.0047217 | 0.0011281 | 0.0017832 | -0.0047217 | 0.0011281 | 0.0017832 | 73.9496 | 73.9496 | 73.9496 | 73.9496 | 73.9496 | 73.9496 |  | 1.159 | 0.84716 | 0.71982 | 1.159 | 0.84716 | 0.71982 | -4.8713 | -124.753 | 110.5715 | -4.8713 | -124.753 | 110.5715

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0076279 | 3.9232 | 2.4897 | 0.0065223 | 3.9235 | 2.4889 | 0.088079 | 45.3014 | 28.7482 | 0.075313 | 45.3048 | 28.7395 | 0.003484 | 30.3522 | -0.11742 | -0.00020129 | -1.6973e-10 | -2.5749e-11 | -0.083885 | 1.8248 | 12.1348 | 0.099197 | -1.9373e-10 | -1.6144e-10 | 81.4331 | -170.2987 | 37.2206 | -99.0972 | 9.7169 | -142.7981 |  | 0.9532 | 0.67121 | 0.42213 | 1.3171 | 0 | 0 | -6.1886 | -166.8583 | 127.775 | -8.981 | 0 | 0
Line_1 | 0.0010873 | 0.0010873 | 0.0010873 | 0.0032612 | 0.0032612 | 0.0032612 | 0.012555 | 0.012555 | 0.012555 | 0.037657 | 0.037657 | 0.037657 | -3.3549e-05 | 1.6774e-05 | 1.6774e-05 | 0.00010064 | -1.9791e-13 | 1.7054e-13 | 0.01654 | 3.4756e-06 | 3.4756e-06 | -0.049599 | 8.1606e-14 | 1.2962e-13 | -99.1553 | -99.1553 | -99.1554 | 80.9028 | 80.9028 | 80.9028 |  | 1.3174 | 0.0013644 | 0.0013644 | 1.3171 | 0 | 0 | -9.0391 | -87.449 | -87.449 | -8.981 | 0 | 0
Line_2 | 0.0010873 | 0.0010873 | 0.0010873 | 0.0032612 | 0.0032612 | 0.0032612 | 0.012555 | 0.012555 | 0.012555 | 0.037657 | 0.037657 | 0.037657 | -3.3549e-05 | 1.6774e-05 | 1.6774e-05 | 0.00010064 | -1.9791e-13 | 1.7054e-13 | 0.01654 | 3.4756e-06 | 3.4756e-06 | -0.049599 | 8.1606e-14 | 1.2962e-13 | -99.1553 | -99.1553 | -99.1554 | 80.9028 | 80.9028 | 80.9028 |  | 1.3174 | 0.0013644 | 0.0013644 | 1.3171 | 0 | 0 | -9.0391 | -87.449 | -87.449 | -8.981 | 0 | 0
Line_3 | 0.0010873 | 0.0010873 | 0.0010873 | 0.0010873 | 0.0010873 | 0.0010873 | 0.012555 | 0.012555 | 0.012555 | 0.012555 | 0.012555 | 0.012555 | 3.3548e-05 | -1.6774e-05 | -1.6774e-05 | 3.3548e-05 | -1.6774e-05 | -1.6774e-05 | -0.01654 | -3.4756e-06 | -3.4756e-06 | -0.01654 | -3.4756e-06 | -3.4756e-06 | 80.8447 | 80.8447 | 80.8447 | 80.8447 | 80.8447 | 80.8447 |  | 1.3174 | 0.0013644 | 0.0013644 | 1.3174 | 0.0013644 | 0.0013644 | -9.0391 | -87.449 | -87.449 | -9.0391 | -87.449 | -87.449

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0076279 | 3.9232 | 2.4897 | 0.0065223 | 3.9235 | 2.4889 | 0.088079 | 45.3014 | 28.7482 | 0.075313 | 45.3048 | 28.7395 | 0.003484 | 30.3522 | -0.11742 | -0.00020129 | -1.6973e-10 | -2.5749e-11 | -0.083885 | 1.8248 | 12.1348 | 0.099197 | -1.9373e-10 | -1.6144e-10 | 81.4331 | -170.2987 | 37.2206 | -99.0972 | 9.7169 | -142.7981 |  | 0.9532 | 0.67121 | 0.42213 | 1.3171 | 0 | 0 | -6.1886 | -166.8583 | 127.775 | -8.981 | 0 | 0
Line_1 | 0.0010873 | 0.0010873 | 0.0010873 | 0.0032612 | 0.0032612 | 0.0032612 | 0.012555 | 0.012555 | 0.012555 | 0.037657 | 0.037657 | 0.037657 | -3.3549e-05 | 1.6774e-05 | 1.6774e-05 | 0.00010064 | -1.9791e-13 | 1.7054e-13 | 0.01654 | 3.4756e-06 | 3.4756e-06 | -0.049599 | 8.1606e-14 | 1.2962e-13 | -99.1553 | -99.1553 | -99.1554 | 80.9028 | 80.9028 | 80.9028 |  | 1.3174 | 0.0013644 | 0.0013644 | 1.3171 | 0 | 0 | -9.0391 | -87.449 | -87.449 | -8.981 | 0 | 0
Line_2 | 0.0010873 | 0.0010873 | 0.0010873 | 0.0032612 | 0.0032612 | 0.0032612 | 0.012555 | 0.012555 | 0.012555 | 0.037657 | 0.037657 | 0.037657 | -3.3549e-05 | 1.6774e-05 | 1.6774e-05 | 0.00010064 | -1.9791e-13 | 1.7054e-13 | 0.01654 | 3.4756e-06 | 3.4756e-06 | -0.049599 | 8.1606e-14 | 1.2962e-13 | -99.1553 | -99.1553 | -99.1554 | 80.9028 | 80.9028 | 80.9028 |  | 1.3174 | 0.0013644 | 0.0013644 | 1.3171 | 0 | 0 | -9.0391 | -87.449 | -87.449 | -8.981 | 0 | 0
Line_3 | 0.0010873 | 0.0010873 | 0.0010873 | 0.0010873 | 0.0010873 | 0.0010873 | 0.012555 | 0.012555 | 0.012555 | 0.012555 | 0.012555 | 0.012555 | 3.3548e-05 | -1.6774e-05 | -1.6774e-05 | 3.3548e-05 | -1.6774e-05 | -1.6774e-05 | -0.01654 | -3.4756e-06 | -3.4756e-06 | -0.01654 | -3.4756e-06 | -3.4756e-06 | 80.8447 | 80.8447 | 80.8447 | 80.8447 | 80.8447 | 80.8447 |  | 1.3174 | 0.0013644 | 0.0013644 | 1.3174 | 0.0013644 | 0.0013644 | -9.0391 | -87.449 | -87.449 | -9.0391 | -87.449 | -87.449

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0034299 | 1.2102 | 0.96824 | 0.0029328 | 1.2105 | 0.96775 | 0.039605 | 13.974 | 11.1803 | 0.033865 | 13.9771 | 11.1746 | 0.011886 | 10.447 | 5.6965 | -0.0097551 | -7.3224 | -4.6696 | -0.036461 | 6.6172 | 7.0682 | 0.036642 | -7.3508 | -4.6675 | 69.5557 | -164.2066 | 64.7236 | -110.9746 | 15.8131 | -115.2805 |  | 0.9683 | 0.88496 | 0.81196 | 1.1197 | 0.74232 | 0.59083 | -2.3895 | -131.8563 | 115.8568 | -6.0664 | -119.0759 | 109.7064
Line_1 | 0.0004889 | 0.0004889 | 0.0004889 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0056453 | 0.0056453 | 0.0056453 | 0.016932 | 0.016932 | 0.016932 | -0.001629 | 0.0041528 | -0.0025238 | 0.0048776 | -0.012444 | 0.0075867 | 0.0061073 | -0.00058565 | -0.0021761 | -0.018321 | 0.0017713 | 0.0065212 | -111.0327 | -111.0327 | -111.0327 | 69.0254 | 69.0254 | 69.0254 |  | 1.1196 | 0.7429 | 0.59029 | 1.1197 | 0.74232 | 0.59083 | -6.0978 | -119.0599 | 109.7353 | -6.0664 | -119.0759 | 109.7064
Line_2 | 0.0004889 | 0.0004889 | 0.0004889 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0056453 | 0.0056453 | 0.0056453 | 0.016932 | 0.016932 | 0.016932 | -0.001629 | 0.0041528 | -0.0025238 | 0.0048776 | -0.012444 | 0.0075867 | 0.0061073 | -0.00058565 | -0.0021761 | -0.018321 | 0.0017713 | 0.0065212 | -111.0327 | -111.0327 | -111.0327 | 69.0254 | 69.0254 | 69.0254 |  | 1.1196 | 0.7429 | 0.59029 | 1.1197 | 0.74232 | 0.59083 | -6.0978 | -119.0599 | 109.7353 | -6.0664 | -119.0759 | 109.7064
Line_3 | 0.0004889 | 0.0004889 | 0.0004889 | 0.0004889 | 0.0004889 | 0.0004889 | 0.0056453 | 0.0056453 | 0.0056453 | 0.0056453 | 0.0056453 | 0.0056453 | 0.001629 | -0.0041528 | 0.0025238 | 0.001629 | -0.0041528 | 0.0025238 | -0.0061073 | 0.00058565 | 0.0021761 | -0.0061073 | 0.00058565 | 0.0021761 | 68.9673 | 68.9673 | 68.9673 | 68.9673 | 68.9673 | 68.9673 |  | 1.1196 | 0.7429 | 0.59029 | 1.1196 | 0.7429 | 0.59029 | -6.0978 | -119.0599 | 109.7353 | -6.0978 | -119.0599 | 109.7353

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0034299 | 1.2102 | 0.96824 | 0.0029328 | 1.2105 | 0.96775 | 0.039605 | 13.974 | 11.1803 | 0.033865 | 13.9771 | 11.1746 | 0.011886 | 10.447 | 5.6965 | -0.0097551 | -7.3224 | -4.6696 | -0.036461 | 6.6172 | 7.0682 | 0.036642 | -7.3508 | -4.6675 | 69.5557 | -164.2066 | 64.7236 | -110.9746 | 15.8131 | -115.2805 |  | 0.9683 | 0.88496 | 0.81196 | 1.1197 | 0.74232 | 0.59083 | -2.3895 | -131.8563 | 115.8568 | -6.0664 | -119.0759 | 109.7064
Line_1 | 0.0004889 | 0.0004889 | 0.0004889 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0056453 | 0.0056453 | 0.0056453 | 0.016932 | 0.016932 | 0.016932 | -0.001629 | 0.0041528 | -0.0025238 | 0.0048776 | -0.012444 | 0.0075867 | 0.0061073 | -0.00058565 | -0.0021761 | -0.018321 | 0.0017713 | 0.0065212 | -111.0327 | -111.0327 | -111.0327 | 69.0254 | 69.0254 | 69.0254 |  | 1.1196 | 0.7429 | 0.59029 | 1.1197 | 0.74232 | 0.59083 | -6.0978 | -119.0599 | 109.7353 | -6.0664 | -119.0759 | 109.7064
Line_2 | 0.0004889 | 0.0004889 | 0.0004889 | 0.0014664 | 0.0014664 | 0.0014664 | 0.0056453 | 0.0056453 | 0.0056453 | 0.016932 | 0.016932 | 0.016932 | -0.001629 | 0.0041528 | -0.0025238 | 0.0048776 | -0.012444 | 0.0075867 | 0.0061073 | -0.00058565 | -0.0021761 | -0.018321 | 0.0017713 | 0.0065212 | -111.0327 | -111.0327 | -111.0327 | 69.0254 | 69.0254 | 69.0254 |  | 1.1196 | 0.7429 | 0.59029 | 1.1197 | 0.74232 | 0.59083 | -6.0978 | -119.0599 | 109.7353 | -6.0664 | -119.0759 | 109.7064
Line_3 | 0.0004889 | 0.0004889 | 0.0004889 | 0.0004889 | 0.0004889 | 0.0004889 | 0.0056453 | 0.0056453 | 0.0056453 | 0.0056453 | 0.0056453 | 0.0056453 | 0.001629 | -0.0041528 | 0.0025238 | 0.001629 | -0.0041528 | 0.0025238 | -0.0061073 | 0.00058565 | 0.0021761 | -0.0061073 | 0.00058565 | 0.0021761 | 68.9673 | 68.9673 | 68.9673 | 68.9673 | 68.9673 | 68.9673 |  | 1.1196 | 0.7429 | 0.59029 | 1.1196 | 0.7429 | 0.59029 | -6.0978 | -119.0599 | 109.7353 | -6.0978 | -119.0599 | 109.7353