## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2981e-19 | 0 | -4.929e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2981e-19 | 0 | -4.929e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6704e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6704e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1464e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1464e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.7738e-14 | 2.3448e-14 | -2.6053e-14 | 5.7317e-14 | -7.8155e-15 | 2.6054e-14 | -2.6053e-14 | 5.7634e-09 | -5.7634e-09 | 2.6053e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.4626e-13 | 180 | -180 | 7.4366e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.1264e-14 | 1.3027e-14 | 2.6053e-14 | -3.6475e-14 | 2.6052e-15 | -2.6053e-14 | 4.0876e-28 | -1.9211e-09 | 1.9211e-09 | -4.7342e-28 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.4911e-13 | -180 | 180 | 7.4366e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.1264e-14 | 1.3027e-14 | 2.6053e-14 | -3.6475e-14 | 2.6052e-15 | -2.6053e-14 | -1.0421e-14 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.4123e-13 | -180 | 180 | 7.4366e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.8126e-29 | 5.2106e-15 | -5.2106e-15 | -1.0421e-14 | 1.0421e-14 | 0 | 5.2106e-15 | 1.3027e-14 | 5.156e-25 | -1.0421e-14 | -1.5632e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.4911e-13 | -180 | 180 | 7.4123e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.7738e-14 | 2.3448e-14 | -2.6053e-14 | 5.7317e-14 | -7.8155e-15 | 2.6054e-14 | -2.6053e-14 | 5.7634e-09 | -5.7634e-09 | 2.6053e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.4626e-13 | 180 | -180 | 7.4366e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.1264e-14 | 1.3027e-14 | 2.6053e-14 | -3.6475e-14 | 2.6052e-15 | -2.6053e-14 | 4.0876e-28 | -1.9211e-09 | 1.9211e-09 | -4.7342e-28 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.4911e-13 | -180 | 180 | 7.4366e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.1264e-14 | 1.3027e-14 | 2.6053e-14 | -3.6475e-14 | 2.6052e-15 | -2.6053e-14 | -1.0421e-14 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.4123e-13 | -180 | 180 | 7.4366e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.8126e-29 | 5.2106e-15 | -5.2106e-15 | -1.0421e-14 | 1.0421e-14 | 0 | 5.2106e-15 | 1.3027e-14 | 5.156e-25 | -1.0421e-14 | -1.5632e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.4911e-13 | -180 | 180 | 7.4123e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | -9.5548e-10 | -3.075e-09 | 2.0843e-14 | 9.5549e-10 | 3.075e-09 | -1.8237e-14 | 4.0277e-09 | -3.5663e-10 | 2.3448e-14 | -4.0277e-09 | 3.5663e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.7745e-13 | -140.8543 | 122.4159 | 2.6614e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3027e-14 | 3.1851e-10 | 1.025e-09 | -1.5632e-14 | -3.1849e-10 | -1.025e-09 | 6.0592e-29 | -1.3426e-09 | 1.1888e-10 | -7.2611e-29 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.6651e-13 | -140.8543 | 122.4159 | 2.6614e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5632e-14 | 3.1852e-10 | 1.025e-09 | -2.0843e-14 | -3.1852e-10 | -1.025e-09 | 7.1294e-29 | -1.3426e-09 | 1.1887e-10 | 2.6053e-15 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.6131e-13 | -140.8543 | 122.4159 | 2.6614e-13 | -140.8543 | 122.4159
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | -4.9534e-15 | 1.1185e-14 | 2.6053e-15 | 1.7416e-14 | -4.7045e-15 | -1.2118e-29 | 1.3101e-14 | 7.1023e-15 | -2.6053e-15 | -1.4379e-14 | -4.9492e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.6651e-13 | -140.8543 | 122.4159 | 2.6131e-13 | -140.8543 | 122.4159

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | -9.5548e-10 | -3.075e-09 | 2.0843e-14 | 9.5549e-10 | 3.075e-09 | -1.8237e-14 | 4.0277e-09 | -3.5663e-10 | 2.3448e-14 | -4.0277e-09 | 3.5663e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.7745e-13 | -140.8543 | 122.4159 | 2.6614e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3027e-14 | 3.1851e-10 | 1.025e-09 | -1.5632e-14 | -3.1849e-10 | -1.025e-09 | 6.0592e-29 | -1.3426e-09 | 1.1888e-10 | -7.2611e-29 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.6651e-13 | -140.8543 | 122.4159 | 2.6614e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5632e-14 | 3.1852e-10 | 1.025e-09 | -2.0843e-14 | -3.1852e-10 | -1.025e-09 | 7.1294e-29 | -1.3426e-09 | 1.1887e-10 | 2.6053e-15 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.6131e-13 | -140.8543 | 122.4159 | 2.6614e-13 | -140.8543 | 122.4159
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | -4.9534e-15 | 1.1185e-14 | 2.6053e-15 | 1.7416e-14 | -4.7045e-15 | -1.2118e-29 | 1.3101e-14 | 7.1023e-15 | -2.6053e-15 | -1.4379e-14 | -4.9492e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.6651e-13 | -140.8543 | 122.4159 | 2.6131e-13 | -140.8543 | 122.4159

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6579e-14 | 1.7764e-14 | -8.1247e-21 | -2.1316e-14 | -1.1842e-14 | 4.7376e-15 | -1.8948e-14 | 4.7631e-09 | -4.7631e-09 | 1.8948e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.0916e-13 | -180 | 180 | 6.919e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4211e-14 | -5.9209e-15 | 4.7373e-15 | 1.1842e-14 | 7.1052e-15 | -2.2922e-19 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.6346e-13 | -180 | 180 | 6.919e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8948e-14 | -5.9209e-15 | -4.7366e-15 | 1.6579e-14 | 7.1052e-15 | 4.7367e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.6188e-13 | -180 | 180 | 6.919e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.737e-15 | 4.737e-15 | 7.1054e-15 | -4.737e-15 | -4.737e-15 | 0 | 5.4852e-29 | 9.0857e-25 | -1.3637e-24 | 4.737e-15 | 2.3685e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.6346e-13 | -180 | 180 | 6.6188e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6579e-14 | 1.7764e-14 | -8.1247e-21 | -2.1316e-14 | -1.1842e-14 | 4.7376e-15 | -1.8948e-14 | 4.7631e-09 | -4.7631e-09 | 1.8948e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.0916e-13 | -180 | 180 | 6.919e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4211e-14 | -5.9209e-15 | 4.7373e-15 | 1.1842e-14 | 7.1052e-15 | -2.2922e-19 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.6346e-13 | -180 | 180 | 6.919e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8948e-14 | -5.9209e-15 | -4.7366e-15 | 1.6579e-14 | 7.1052e-15 | 4.7367e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.6188e-13 | -180 | 180 | 6.919e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.737e-15 | 4.737e-15 | 7.1054e-15 | -4.737e-15 | -4.737e-15 | 0 | 5.4852e-29 | 9.0857e-25 | -1.3637e-24 | 4.737e-15 | 2.3685e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.6346e-13 | -180 | 180 | 6.6188e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.1778e-15 | -8.0024e-10 | -2.5674e-09 | -1.0362e-14 | 8.0025e-10 | 2.5674e-09 | -7.1054e-15 | 3.4014e-09 | -3.4065e-10 | 4.737e-15 | -3.4015e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.8317e-13 | -141.4824 | 122.8363 | 2.7213e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0066e-14 | 2.6675e-10 | 8.558e-10 | 1.0066e-14 | -2.6675e-10 | -8.558e-10 | 2.3685e-15 | -1.1338e-09 | 1.1354e-10 | -2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.5289e-13 | -141.4824 | 122.8363 | 2.7213e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 2.6676e-10 | 8.558e-10 | 7.1054e-15 | -2.6675e-10 | -8.558e-10 | -3.1295e-29 | -1.1338e-09 | 1.1355e-10 | -7.1054e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.5235e-13 | -141.4824 | 122.8363 | 2.7213e-13 | -141.4824 | 122.8363
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7764e-15 | -7.8237e-16 | -1.8881e-15 | 1.7764e-15 | 6.8658e-15 | -7.2716e-15 | -2.3685e-15 | -6.2271e-16 | -2.5416e-15 | 7.8237e-30 | -2.2033e-15 | -5.1338e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.5289e-13 | -141.4824 | 122.8363 | 2.5235e-13 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.1778e-15 | -8.0024e-10 | -2.5674e-09 | -1.0362e-14 | 8.0025e-10 | 2.5674e-09 | -7.1054e-15 | 3.4014e-09 | -3.4065e-10 | 4.737e-15 | -3.4015e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.8317e-13 | -141.4824 | 122.8363 | 2.7213e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0066e-14 | 2.6675e-10 | 8.558e-10 | 1.0066e-14 | -2.6675e-10 | -8.558e-10 | 2.3685e-15 | -1.1338e-09 | 1.1354e-10 | -2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.5289e-13 | -141.4824 | 122.8363 | 2.7213e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 2.6676e-10 | 8.558e-10 | 7.1054e-15 | -2.6675e-10 | -8.558e-10 | -3.1295e-29 | -1.1338e-09 | 1.1355e-10 | -7.1054e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.5235e-13 | -141.4824 | 122.8363 | 2.7213e-13 | -141.4824 | 122.8363
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7764e-15 | -7.8237e-16 | -1.8881e-15 | 1.7764e-15 | 6.8658e-15 | -7.2716e-15 | -2.3685e-15 | -6.2271e-16 | -2.5416e-15 | 7.8237e-30 | -2.2033e-15 | -5.1338e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.5289e-13 | -141.4824 | 122.8363 | 2.5235e-13 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0035347 | 0.0035347 | 0.0035347 | 0.002652 | 0.002652 | 0.002652 | 0.040815 | 0.040815 | 0.040815 | 0.030623 | 0.030623 | 0.030623 | -7.7534e-13 | 0.038942 | -0.038819 | 3.0315e-05 | -0.029195 | 0.029147 | 5.8498e-14 | -0.010657 | -0.011153 | 1.2066e-05 | 0.00798 | 0.0084078 | -90.3652 | -90.3652 | -90.3652 | 89.5799 | 89.5799 | 89.5799 |  | 0 | 0.9892 | 0.98957 | 0.0010655 | 0.98835 | 0.99063 | 0 | -105.6705 | 105.6645 | 111.283 | -105.7076 | 105.6706
Line_1 | 0.00044209 | 0.00044209 | 0.00044209 | 0.001326 | 0.001326 | 0.001326 | 0.0051048 | 0.0051048 | 0.0051048 | 0.015311 | 0.015311 | 0.015311 | 6.4968e-06 | -0.0048661 | 0.0048596 | -1.5157e-05 | 0.014598 | -0.014574 | 2.5886e-06 | 0.0013283 | 0.0014047 | -6.0328e-06 | -0.00399 | -0.0042039 | 89.5496 | 89.5497 | 89.5497 | -90.4201 | -90.4201 | -90.4201 |  | 0.00137 | 0.98811 | 0.99094 | 0.0010655 | 0.98835 | 0.99063 | 111.2743 | -105.7182 | 105.6723 | 111.283 | -105.7076 | 105.6706
Line_2 | 0.00044209 | 0.00044209 | 0.00044209 | 0.001326 | 0.001326 | 0.001326 | 0.0051048 | 0.0051048 | 0.0051048 | 0.015311 | 0.015311 | 0.015311 | 6.4968e-06 | -0.0048661 | 0.0048596 | -1.5157e-05 | 0.014598 | -0.014574 | 2.5886e-06 | 0.0013283 | 0.0014047 | -6.0328e-06 | -0.00399 | -0.0042039 | 89.5496 | 89.5497 | 89.5497 | -90.4201 | -90.4201 | -90.4201 |  | 0.00137 | 0.98811 | 0.99094 | 0.0010655 | 0.98835 | 0.99063 | 111.2743 | -105.7182 | 105.6723 | 111.283 | -105.7076 | 105.6706
Line_3 | 0.00044209 | 0.00044209 | 0.00044209 | 0.00044209 | 0.00044209 | 0.00044209 | 0.0051048 | 0.0051048 | 0.0051048 | 0.0051048 | 0.0051048 | 0.0051048 | -6.4968e-06 | 0.0048661 | -0.0048596 | -6.4968e-06 | 0.0048661 | -0.0048596 | -2.5886e-06 | -0.0013283 | -0.0014047 | -2.5886e-06 | -0.0013283 | -0.0014047 | -90.4503 | -90.4503 | -90.4503 | -90.4503 | -90.4503 | -90.4503 |  | 0.00137 | 0.98811 | 0.99094 | 0.00137 | 0.98811 | 0.99094 | 111.2743 | -105.7182 | 105.6723 | 111.2743 | -105.7182 | 105.6723

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0035347 | 0.0035347 | 0.0035347 | 0.002652 | 0.002652 | 0.002652 | 0.040815 | 0.040815 | 0.040815 | 0.030623 | 0.030623 | 0.030623 | -7.7534e-13 | 0.038942 | -0.038819 | 3.0315e-05 | -0.029195 | 0.029147 | 5.8498e-14 | -0.010657 | -0.011153 | 1.2066e-05 | 0.00798 | 0.0084078 | -90.3652 | -90.3652 | -90.3652 | 89.5799 | 89.5799 | 89.5799 |  | 0 | 0.9892 | 0.98957 | 0.0010655 | 0.98835 | 0.99063 | 0 | -105.6705 | 105.6645 | 111.283 | -105.7076 | 105.6706
Line_1 | 0.00044209 | 0.00044209 | 0.00044209 | 0.001326 | 0.001326 | 0.001326 | 0.0051048 | 0.0051048 | 0.0051048 | 0.015311 | 0.015311 | 0.015311 | 6.4968e-06 | -0.0048661 | 0.0048596 | -1.5157e-05 | 0.014598 | -0.014574 | 2.5886e-06 | 0.0013283 | 0.0014047 | -6.0328e-06 | -0.00399 | -0.0042039 | 89.5496 | 89.5497 | 89.5497 | -90.4201 | -90.4201 | -90.4201 |  | 0.00137 | 0.98811 | 0.99094 | 0.0010655 | 0.98835 | 0.99063 | 111.2743 | -105.7182 | 105.6723 | 111.283 | -105.7076 | 105.6706
Line_2 | 0.00044209 | 0.00044209 | 0.00044209 | 0.001326 | 0.001326 | 0.001326 | 0.0051048 | 0.0051048 | 0.0051048 | 0.015311 | 0.015311 | 0.015311 | 6.4968e-06 | -0.0048661 | 0.0048596 | -1.5157e-05 | 0.014598 | -0.014574 | 2.5886e-06 | 0.0013283 | 0.0014047 | -6.0328e-06 | -0.00399 | -0.0042039 | 89.5496 | 89.5497 | 89.5497 | -90.4201 | -90.4201 | -90.4201 |  | 0.00137 | 0.98811 | 0.99094 | 0.0010655 | 0.98835 | 0.99063 | 111.2743 | -105.7182 | 105.6723 | 111.283 | -105.7076 | 105.6706
Line_3 | 0.00044209 | 0.00044209 | 0.00044209 | 0.00044209 | 0.00044209 | 0.00044209 | 0.0051048 | 0.0051048 | 0.0051048 | 0.0051048 | 0.0051048 | 0.0051048 | -6.4968e-06 | 0.0048661 | -0.0048596 | -6.4968e-06 | 0.0048661 | -0.0048596 | -2.5886e-06 | -0.0013283 | -0.0014047 | -2.5886e-06 | -0.0013283 | -0.0014047 | -90.4503 | -90.4503 | -90.4503 | -90.4503 | -90.4503 | -90.4503 |  | 0.00137 | 0.98811 | 0.99094 | 0.00137 | 0.98811 | 0.99094 | 111.2743 | -105.7182 | 105.6723 | 111.2743 | -105.7182 | 105.6723

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00076259 | 0.00076259 | 0.00076259 | 0.00057216 | 0.00057216 | 0.00057216 | 0.0088057 | 0.0088057 | 0.0088057 | 0.0066068 | 0.0066068 | 0.0066068 | 0.005374 | 0.0043026 | -0.0096709 | -0.0040263 | -0.0032326 | 0.0072582 | 0.0059779 | -0.008139 | 0.0011459 | -0.0044884 | 0.0061041 | -0.00085227 | -56.3973 | -56.3973 | -56.3973 | 123.5479 | 123.5479 | 123.5479 |  | 0.91286 | 1.0455 | 1.1059 | 0.91265 | 1.0455 | 1.1061 | -8.3522 | -118.5344 | 116.8451 | -8.3457 | -118.5469 | 116.8507
Line_1 | 9.5381e-05 | 9.5381e-05 | 9.5381e-05 | 0.00028608 | 0.00028608 | 0.00028608 | 0.0011014 | 0.0011014 | 0.0011014 | 0.0033034 | 0.0033034 | 0.0033034 | -0.00067073 | -0.00053936 | 0.0012101 | 0.0020132 | 0.0016163 | -0.0036291 | -0.00074855 | 0.0010173 | -0.00014141 | 0.0022442 | -0.003052 | 0.00042614 | 123.5176 | 123.5176 | 123.5176 | -56.4521 | -56.4521 | -56.4521 |  | 0.91259 | 1.0455 | 1.1062 | 0.91265 | 1.0455 | 1.1061 | -8.3439 | -118.5505 | 116.8523 | -8.3457 | -118.5469 | 116.8507
Line_2 | 9.5381e-05 | 9.5381e-05 | 9.5381e-05 | 0.00028608 | 0.00028608 | 0.00028608 | 0.0011014 | 0.0011014 | 0.0011014 | 0.0033034 | 0.0033034 | 0.0033034 | -0.00067073 | -0.00053936 | 0.0012101 | 0.0020132 | 0.0016163 | -0.0036291 | -0.00074855 | 0.0010173 | -0.00014141 | 0.0022442 | -0.003052 | 0.00042614 | 123.5176 | 123.5176 | 123.5176 | -56.4521 | -56.4521 | -56.4521 |  | 0.91259 | 1.0455 | 1.1062 | 0.91265 | 1.0455 | 1.1061 | -8.3439 | -118.5505 | 116.8523 | -8.3457 | -118.5469 | 116.8507
Line_3 | 9.5381e-05 | 9.5381e-05 | 9.5381e-05 | 9.5381e-05 | 9.5381e-05 | 9.5381e-05 | 0.0011014 | 0.0011014 | 0.0011014 | 0.0011014 | 0.0011014 | 0.0011014 | 0.00067073 | 0.00053936 | -0.0012101 | 0.00067073 | 0.00053936 | -0.0012101 | 0.00074855 | -0.0010173 | 0.00014141 | 0.00074855 | -0.0010173 | 0.00014141 | -56.4824 | -56.4824 | -56.4824 | -56.4824 | -56.4824 | -56.4824 |  | 0.91259 | 1.0455 | 1.1062 | 0.91259 | 1.0455 | 1.1062 | -8.3439 | -118.5505 | 116.8523 | -8.3439 | -118.5505 | 116.8523

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00076259 | 0.00076259 | 0.00076259 | 0.00057216 | 0.00057216 | 0.00057216 | 0.0088057 | 0.0088057 | 0.0088057 | 0.0066068 | 0.0066068 | 0.0066068 | 0.005374 | 0.0043026 | -0.0096709 | -0.0040263 | -0.0032326 | 0.0072582 | 0.0059779 | -0.008139 | 0.0011459 | -0.0044884 | 0.0061041 | -0.00085227 | -56.3973 | -56.3973 | -56.3973 | 123.5479 | 123.5479 | 123.5479 |  | 0.91286 | 1.0455 | 1.1059 | 0.91265 | 1.0455 | 1.1061 | -8.3522 | -118.5344 | 116.8451 | -8.3457 | -118.5469 | 116.8507
Line_1 | 9.5381e-05 | 9.5381e-05 | 9.5381e-05 | 0.00028608 | 0.00028608 | 0.00028608 | 0.0011014 | 0.0011014 | 0.0011014 | 0.0033034 | 0.0033034 | 0.0033034 | -0.00067073 | -0.00053936 | 0.0012101 | 0.0020132 | 0.0016163 | -0.0036291 | -0.00074855 | 0.0010173 | -0.00014141 | 0.0022442 | -0.003052 | 0.00042614 | 123.5176 | 123.5176 | 123.5176 | -56.4521 | -56.4521 | -56.4521 |  | 0.91259 | 1.0455 | 1.1062 | 0.91265 | 1.0455 | 1.1061 | -8.3439 | -118.5505 | 116.8523 | -8.3457 | -118.5469 | 116.8507
Line_2 | 9.5381e-05 | 9.5381e-05 | 9.5381e-05 | 0.00028608 | 0.00028608 | 0.00028608 | 0.0011014 | 0.0011014 | 0.0011014 | 0.0033034 | 0.0033034 | 0.0033034 | -0.00067073 | -0.00053936 | 0.0012101 | 0.0020132 | 0.0016163 | -0.0036291 | -0.00074855 | 0.0010173 | -0.00014141 | 0.0022442 | -0.003052 | 0.00042614 | 123.5176 | 123.5176 | 123.5176 | -56.4521 | -56.4521 | -56.4521 |  | 0.91259 | 1.0455 | 1.1062 | 0.91265 | 1.0455 | 1.1061 | -8.3439 | -118.5505 | 116.8523 | -8.3457 | -118.5469 | 116.8507
Line_3 | 9.5381e-05 | 9.5381e-05 | 9.5381e-05 | 9.5381e-05 | 9.5381e-05 | 9.5381e-05 | 0.0011014 | 0.0011014 | 0.0011014 | 0.0011014 | 0.0011014 | 0.0011014 | 0.00067073 | 0.00053936 | -0.0012101 | 0.00067073 | 0.00053936 | -0.0012101 | 0.00074855 | -0.0010173 | 0.00014141 | 0.00074855 | -0.0010173 | 0.00014141 | -56.4824 | -56.4824 | -56.4824 | -56.4824 | -56.4824 | -56.4824 |  | 0.91259 | 1.0455 | 1.1062 | 0.91259 | 1.0455 | 1.1062 | -8.3439 | -118.5505 | 116.8523 | -8.3439 | -118.5505 | 116.8523

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0032929 | 0.0032929 | 0.0032929 | 0.0024706 | 0.0024706 | 0.0024706 | 0.038023 | 0.038023 | 0.038023 | 0.028528 | 0.028528 | 0.028528 | 1.2727e-13 | 0.033029 | -0.032824 | 5.0515e-05 | -0.024743 | 0.024664 | 2.5436e-13 | -0.0090453 | -0.0098838 | 1.0482e-05 | 0.0067515 | 0.0074714 | -90.7295 | -90.7295 | -90.7295 | 89.1652 | 89.1652 | 89.1652 |  | 0 | 0.90064 | 0.90154 | 0.0018084 | 0.89903 | 0.90334 | 0 | -106.0448 | 106.0285 | 100.8882 | -106.097 | 106.0182
Line_1 | 0.00041186 | 0.00041186 | 0.00041186 | 0.0012353 | 0.0012353 | 0.0012353 | 0.0047557 | 0.0047557 | 0.0047557 | 0.014264 | 0.014264 | 0.014264 | 1.0826e-05 | -0.0041235 | 0.0041126 | -2.5258e-05 | 0.012372 | -0.012332 | 2.2547e-06 | 0.0011218 | 0.0012502 | -5.2412e-06 | -0.0033757 | -0.0037357 | 89.1071 | 89.1071 | 89.1071 | -90.8348 | -90.8348 | -90.8348 |  | 0.0023253 | 0.89857 | 0.90385 | 0.0018084 | 0.89903 | 0.90334 | 100.8716 | -106.1119 | 106.0153 | 100.8882 | -106.097 | 106.0182
Line_2 | 0.00041186 | 0.00041186 | 0.00041186 | 0.0012353 | 0.0012353 | 0.0012353 | 0.0047557 | 0.0047557 | 0.0047557 | 0.014264 | 0.014264 | 0.014264 | 1.0826e-05 | -0.0041235 | 0.0041126 | -2.5258e-05 | 0.012372 | -0.012332 | 2.2547e-06 | 0.0011218 | 0.0012502 | -5.2412e-06 | -0.0033757 | -0.0037357 | 89.1071 | 89.1071 | 89.1071 | -90.8348 | -90.8348 | -90.8348 |  | 0.0023253 | 0.89857 | 0.90385 | 0.0018084 | 0.89903 | 0.90334 | 100.8716 | -106.1119 | 106.0153 | 100.8882 | -106.097 | 106.0182
Line_3 | 0.00041186 | 0.00041186 | 0.00041186 | 0.00041186 | 0.00041186 | 0.00041186 | 0.0047557 | 0.0047557 | 0.0047557 | 0.0047557 | 0.0047557 | 0.0047557 | -1.0826e-05 | 0.0041235 | -0.0041126 | -1.0826e-05 | 0.0041235 | -0.0041126 | -2.2546e-06 | -0.0011218 | -0.0012502 | -2.2546e-06 | -0.0011218 | -0.0012502 | -90.8929 | -90.8929 | -90.8929 | -90.8929 | -90.8929 | -90.8929 |  | 0.0023253 | 0.89857 | 0.90385 | 0.0023253 | 0.89857 | 0.90385 | 100.8716 | -106.1119 | 106.0153 | 100.8716 | -106.1119 | 106.0153

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0032929 | 0.0032929 | 0.0032929 | 0.0024706 | 0.0024706 | 0.0024706 | 0.038023 | 0.038023 | 0.038023 | 0.028528 | 0.028528 | 0.028528 | 1.2727e-13 | 0.033029 | -0.032824 | 5.0515e-05 | -0.024743 | 0.024664 | 2.5436e-13 | -0.0090453 | -0.0098838 | 1.0482e-05 | 0.0067515 | 0.0074714 | -90.7295 | -90.7295 | -90.7295 | 89.1652 | 89.1652 | 89.1652 |  | 0 | 0.90064 | 0.90154 | 0.0018084 | 0.89903 | 0.90334 | 0 | -106.0448 | 106.0285 | 100.8882 | -106.097 | 106.0182
Line_1 | 0.00041186 | 0.00041186 | 0.00041186 | 0.0012353 | 0.0012353 | 0.0012353 | 0.0047557 | 0.0047557 | 0.0047557 | 0.014264 | 0.014264 | 0.014264 | 1.0826e-05 | -0.0041235 | 0.0041126 | -2.5258e-05 | 0.012372 | -0.012332 | 2.2547e-06 | 0.0011218 | 0.0012502 | -5.2412e-06 | -0.0033757 | -0.0037357 | 89.1071 | 89.1071 | 89.1071 | -90.8348 | -90.8348 | -90.8348 |  | 0.0023253 | 0.89857 | 0.90385 | 0.0018084 | 0.89903 | 0.90334 | 100.8716 | -106.1119 | 106.0153 | 100.8882 | -106.097 | 106.0182
Line_2 | 0.00041186 | 0.00041186 | 0.00041186 | 0.0012353 | 0.0012353 | 0.0012353 | 0.0047557 | 0.0047557 | 0.0047557 | 0.014264 | 0.014264 | 0.014264 | 1.0826e-05 | -0.0041235 | 0.0041126 | -2.5258e-05 | 0.012372 | -0.012332 | 2.2547e-06 | 0.0011218 | 0.0012502 | -5.2412e-06 | -0.0033757 | -0.0037357 | 89.1071 | 89.1071 | 89.1071 | -90.8348 | -90.8348 | -90.8348 |  | 0.0023253 | 0.89857 | 0.90385 | 0.0018084 | 0.89903 | 0.90334 | 100.8716 | -106.1119 | 106.0153 | 100.8882 | -106.097 | 106.0182
Line_3 | 0.00041186 | 0.00041186 | 0.00041186 | 0.00041186 | 0.00041186 | 0.00041186 | 0.0047557 | 0.0047557 | 0.0047557 | 0.0047557 | 0.0047557 | 0.0047557 | -1.0826e-05 | 0.0041235 | -0.0041126 | -1.0826e-05 | 0.0041235 | -0.0041126 | -2.2546e-06 | -0.0011218 | -0.0012502 | -2.2546e-06 | -0.0011218 | -0.0012502 | -90.8929 | -90.8929 | -90.8929 | -90.8929 | -90.8929 | -90.8929 |  | 0.0023253 | 0.89857 | 0.90385 | 0.0023253 | 0.89857 | 0.90385 | 100.8716 | -106.1119 | 106.0153 | 100.8716 | -106.1119 | 106.0153

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00074028 | 0.00074028 | 0.00074028 | 0.00055542 | 0.00055542 | 0.00055542 | 0.008548 | 0.008548 | 0.008548 | 0.0064134 | 0.0064134 | 0.0064134 | 0.0046579 | 0.0038972 | -0.0085447 | -0.0034849 | -0.0029313 | 0.0064147 | 0.0052618 | -0.0071219 | 0.00090343 | -0.0039537 | 0.0053386 | -0.00066552 | -57.177 | -57.1769 | -57.1769 | 122.7177 | 122.7178 | 122.7178 |  | 0.82209 | 0.94975 | 1.0052 | 0.82177 | 0.94963 | 1.0056 | -8.6931 | -118.4889 | 116.7876 | -8.6761 | -118.5124 | 116.7946
Line_1 | 9.2589e-05 | 9.2589e-05 | 9.2589e-05 | 0.00027771 | 0.00027771 | 0.00027771 | 0.0010691 | 0.0010691 | 0.0010691 | 0.0032067 | 0.0032067 | 0.0032067 | -0.00058015 | -0.00048943 | 0.0010696 | 0.0017425 | 0.0014656 | -0.0032074 | -0.00065966 | 0.00088948 | -0.00010983 | 0.0019769 | -0.0026693 | 0.00033276 | 122.6596 | 122.6597 | 122.6597 | -57.2823 | -57.2822 | -57.2822 |  | 0.82167 | 0.94959 | 1.0057 | 0.82177 | 0.94963 | 1.0056 | -8.6713 | -118.5191 | 116.7966 | -8.6761 | -118.5124 | 116.7946
Line_2 | 9.2589e-05 | 9.2589e-05 | 9.2589e-05 | 0.00027771 | 0.00027771 | 0.00027771 | 0.0010691 | 0.0010691 | 0.0010691 | 0.0032067 | 0.0032067 | 0.0032067 | -0.00058015 | -0.00048943 | 0.0010696 | 0.0017425 | 0.0014656 | -0.0032074 | -0.00065966 | 0.00088948 | -0.00010983 | 0.0019769 | -0.0026693 | 0.00033276 | 122.6596 | 122.6597 | 122.6597 | -57.2823 | -57.2822 | -57.2822 |  | 0.82167 | 0.94959 | 1.0057 | 0.82177 | 0.94963 | 1.0056 | -8.6713 | -118.5191 | 116.7966 | -8.6761 | -118.5124 | 116.7946
Line_3 | 9.2589e-05 | 9.2589e-05 | 9.2589e-05 | 9.2589e-05 | 9.2589e-05 | 9.2589e-05 | 0.0010691 | 0.0010691 | 0.0010691 | 0.0010691 | 0.0010691 | 0.0010691 | 0.00058015 | 0.00048943 | -0.0010696 | 0.00058015 | 0.00048943 | -0.0010696 | 0.00065966 | -0.00088948 | 0.00010983 | 0.00065966 | -0.00088948 | 0.00010983 | -57.3403 | -57.3403 | -57.3403 | -57.3403 | -57.3403 | -57.3403 |  | 0.82167 | 0.94959 | 1.0057 | 0.82167 | 0.94959 | 1.0057 | -8.6713 | -118.5191 | 116.7966 | -8.6713 | -118.5191 | 116.7966

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00074028 | 0.00074028 | 0.00074028 | 0.00055542 | 0.00055542 | 0.00055542 | 0.008548 | 0.008548 | 0.008548 | 0.0064134 | 0.0064134 | 0.0064134 | 0.0046579 | 0.0038972 | -0.0085447 | -0.0034849 | -0.0029313 | 0.0064147 | 0.0052618 | -0.0071219 | 0.00090343 | -0.0039537 | 0.0053386 | -0.00066552 | -57.177 | -57.1769 | -57.1769 | 122.7177 | 122.7178 | 122.7178 |  | 0.82209 | 0.94975 | 1.0052 | 0.82177 | 0.94963 | 1.0056 | -8.6931 | -118.4889 | 116.7876 | -8.6761 | -118.5124 | 116.7946
Line_1 | 9.2589e-05 | 9.2589e-05 | 9.2589e-05 | 0.00027771 | 0.00027771 | 0.00027771 | 0.0010691 | 0.0010691 | 0.0010691 | 0.0032067 | 0.0032067 | 0.0032067 | -0.00058015 | -0.00048943 | 0.0010696 | 0.0017425 | 0.0014656 | -0.0032074 | -0.00065966 | 0.00088948 | -0.00010983 | 0.0019769 | -0.0026693 | 0.00033276 | 122.6596 | 122.6597 | 122.6597 | -57.2823 | -57.2822 | -57.2822 |  | 0.82167 | 0.94959 | 1.0057 | 0.82177 | 0.94963 | 1.0056 | -8.6713 | -118.5191 | 116.7966 | -8.6761 | -118.5124 | 116.7946
Line_2 | 9.2589e-05 | 9.2589e-05 | 9.2589e-05 | 0.00027771 | 0.00027771 | 0.00027771 | 0.0010691 | 0.0010691 | 0.0010691 | 0.0032067 | 0.0032067 | 0.0032067 | -0.00058015 | -0.00048943 | 0.0010696 | 0.0017425 | 0.0014656 | -0.0032074 | -0.00065966 | 0.00088948 | -0.00010983 | 0.0019769 | -0.0026693 | 0.00033276 | 122.6596 | 122.6597 | 122.6597 | -57.2823 | -57.2822 | -57.2822 |  | 0.82167 | 0.94959 | 1.0057 | 0.82177 | 0.94963 | 1.0056 | -8.6713 | -118.5191 | 116.7966 | -8.6761 | -118.5124 | 116.7946
Line_3 | 9.2589e-05 | 9.2589e-05 | 9.2589e-05 | 9.2589e-05 | 9.2589e-05 | 9.2589e-05 | 0.0010691 | 0.0010691 | 0.0010691 | 0.0010691 | 0.0010691 | 0.0010691 | 0.00058015 | 0.00048943 | -0.0010696 | 0.00058015 | 0.00048943 | -0.0010696 | 0.00065966 | -0.00088948 | 0.00010983 | 0.00065966 | -0.00088948 | 0.00010983 | -57.3403 | -57.3403 | -57.3403 | -57.3403 | -57.3403 | -57.3403 |  | 0.82167 | 0.94959 | 1.0057 | 0.82167 | 0.94959 | 1.0057 | -8.6713 | -118.5191 | 116.7966 | -8.6713 | -118.5191 | 116.7966

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0047579 | 0.0047579 | 0.0047579 | 0.0035698 | 0.0035698 | 0.0035698 | 0.05494 | 0.05494 | 0.05494 | 0.04122 | 0.04122 | 0.04122 | 0.00022365 | -8.2686e-13 | 9.6643e-14 | -0.00014126 | 5.4928e-05 | 5.4928e-05 | -0.039518 | -3.6937e-13 | 8.9994e-13 | 0.029672 | 2.1862e-05 | 2.1862e-05 | 89.6482 | 89.6482 | 89.6482 | -90.4067 | -90.4067 | -90.4067 |  | 0.71931 | 0 | 0 | 0.71984 | 0.0014342 | 0.0014342 | -0.027566 | 0 | 0 | -0.13391 | -68.7036 | -68.7036
Line_1 | 0.00059509 | 0.00059509 | 0.00059509 | 0.0017849 | 0.0017849 | 0.0017849 | 0.0068715 | 0.0068715 | 0.0068715 | 0.02061 | 0.02061 | 0.02061 | -2.3543e-05 | 1.1772e-05 | 1.1772e-05 | 7.063e-05 | -2.7464e-05 | -2.7464e-05 | 0.0049473 | 4.6904e-06 | 4.6904e-06 | -0.014836 | -1.0931e-05 | -1.0931e-05 | -90.4369 | -90.437 | -90.437 | 89.5933 | 89.5933 | 89.5933 |  | 0.71999 | 0.0018441 | 0.0018441 | 0.71984 | 0.0014342 | 0.0014342 | -0.16428 | -68.7123 | -68.7123 | -0.13391 | -68.7036 | -68.7036
Line_2 | 0.00059509 | 0.00059509 | 0.00059509 | 0.0017849 | 0.0017849 | 0.0017849 | 0.0068715 | 0.0068715 | 0.0068715 | 0.02061 | 0.02061 | 0.02061 | -2.3543e-05 | 1.1772e-05 | 1.1772e-05 | 7.063e-05 | -2.7464e-05 | -2.7464e-05 | 0.0049473 | 4.6904e-06 | 4.6904e-06 | -0.014836 | -1.0931e-05 | -1.0931e-05 | -90.4369 | -90.437 | -90.437 | 89.5933 | 89.5933 | 89.5933 |  | 0.71999 | 0.0018441 | 0.0018441 | 0.71984 | 0.0014342 | 0.0014342 | -0.16428 | -68.7123 | -68.7123 | -0.13391 | -68.7036 | -68.7036
Line_3 | 0.00059509 | 0.00059509 | 0.00059509 | 0.00059509 | 0.00059509 | 0.00059509 | 0.0068715 | 0.0068715 | 0.0068715 | 0.0068715 | 0.0068715 | 0.0068715 | 2.3544e-05 | -1.1772e-05 | -1.1772e-05 | 2.3544e-05 | -1.1772e-05 | -1.1772e-05 | -0.0049473 | -4.6904e-06 | -4.6904e-06 | -0.0049473 | -4.6904e-06 | -4.6904e-06 | 89.5631 | 89.5631 | 89.5631 | 89.5631 | 89.5631 | 89.5631 |  | 0.71999 | 0.0018441 | 0.0018441 | 0.71999 | 0.0018441 | 0.0018441 | -0.16428 | -68.7123 | -68.7123 | -0.16428 | -68.7123 | -68.7123

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0047579 | 0.0047579 | 0.0047579 | 0.0035698 | 0.0035698 | 0.0035698 | 0.05494 | 0.05494 | 0.05494 | 0.04122 | 0.04122 | 0.04122 | 0.00022365 | -8.2686e-13 | 9.6643e-14 | -0.00014126 | 5.4928e-05 | 5.4928e-05 | -0.039518 | -3.6937e-13 | 8.9994e-13 | 0.029672 | 2.1862e-05 | 2.1862e-05 | 89.6482 | 89.6482 | 89.6482 | -90.4067 | -90.4067 | -90.4067 |  | 0.71931 | 0 | 0 | 0.71984 | 0.0014342 | 0.0014342 | -0.027566 | 0 | 0 | -0.13391 | -68.7036 | -68.7036
Line_1 | 0.00059509 | 0.00059509 | 0.00059509 | 0.0017849 | 0.0017849 | 0.0017849 | 0.0068715 | 0.0068715 | 0.0068715 | 0.02061 | 0.02061 | 0.02061 | -2.3543e-05 | 1.1772e-05 | 1.1772e-05 | 7.063e-05 | -2.7464e-05 | -2.7464e-05 | 0.0049473 | 4.6904e-06 | 4.6904e-06 | -0.014836 | -1.0931e-05 | -1.0931e-05 | -90.4369 | -90.437 | -90.437 | 89.5933 | 89.5933 | 89.5933 |  | 0.71999 | 0.0018441 | 0.0018441 | 0.71984 | 0.0014342 | 0.0014342 | -0.16428 | -68.7123 | -68.7123 | -0.13391 | -68.7036 | -68.7036
Line_2 | 0.00059509 | 0.00059509 | 0.00059509 | 0.0017849 | 0.0017849 | 0.0017849 | 0.0068715 | 0.0068715 | 0.0068715 | 0.02061 | 0.02061 | 0.02061 | -2.3543e-05 | 1.1772e-05 | 1.1772e-05 | 7.063e-05 | -2.7464e-05 | -2.7464e-05 | 0.0049473 | 4.6904e-06 | 4.6904e-06 | -0.014836 | -1.0931e-05 | -1.0931e-05 | -90.4369 | -90.437 | -90.437 | 89.5933 | 89.5933 | 89.5933 |  | 0.71999 | 0.0018441 | 0.0018441 | 0.71984 | 0.0014342 | 0.0014342 | -0.16428 | -68.7123 | -68.7123 | -0.13391 | -68.7036 | -68.7036
Line_3 | 0.00059509 | 0.00059509 | 0.00059509 | 0.00059509 | 0.00059509 | 0.00059509 | 0.0068715 | 0.0068715 | 0.0068715 | 0.0068715 | 0.0068715 | 0.0068715 | 2.3544e-05 | -1.1772e-05 | -1.1772e-05 | 2.3544e-05 | -1.1772e-05 | -1.1772e-05 | -0.0049473 | -4.6904e-06 | -4.6904e-06 | -0.0049473 | -4.6904e-06 | -4.6904e-06 | 89.5631 | 89.5631 | 89.5631 | 89.5631 | 89.5631 | 89.5631 |  | 0.71999 | 0.0018441 | 0.0018441 | 0.71999 | 0.0018441 | 0.0018441 | -0.16428 | -68.7123 | -68.7123 | -0.16428 | -68.7123 | -68.7123

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00079893 | 0.00079893 | 0.00079893 | 0.00059942 | 0.00059942 | 0.00059942 | 0.0092252 | 0.0092252 | 0.0092252 | 0.0069215 | 0.0069215 | 0.0069215 | -0.005892 | -0.0019344 | 0.0078326 | 0.0044167 | 0.0014588 | -0.0058764 | -0.0076753 | 0.0082529 | -0.0016918 | 0.0057635 | -0.00619 | 0.0012643 | 125.4652 | 125.4652 | 125.4652 | -54.5896 | -54.5896 | -54.5896 |  | 1.0489 | 0.91884 | 0.86863 | 1.0491 | 0.91881 | 0.86843 | -2.0465 | -131.3434 | 113.2771 | -2.0532 | -131.3286 | 113.2683
Line_1 | 9.9925e-05 | 9.9925e-05 | 9.9925e-05 | 0.00029971 | 0.00029971 | 0.00029971 | 0.0011538 | 0.0011538 | 0.0011538 | 0.0034608 | 0.0034608 | 0.0034608 | 0.00073584 | 0.0002438 | -0.00097964 | -0.0022083 | -0.0007294 | 0.0029382 | 0.00096121 | -0.0010317 | 0.00021027 | -0.0028818 | 0.003095 | -0.00063215 | -54.6199 | -54.6199 | -54.6199 | 125.4104 | 125.4104 | 125.4104 |  | 1.0491 | 0.9188 | 0.86837 | 1.0491 | 0.91881 | 0.86843 | -2.0551 | -131.3243 | 113.2658 | -2.0532 | -131.3286 | 113.2683
Line_2 | 9.9925e-05 | 9.9925e-05 | 9.9925e-05 | 0.00029971 | 0.00029971 | 0.00029971 | 0.0011538 | 0.0011538 | 0.0011538 | 0.0034608 | 0.0034608 | 0.0034608 | 0.00073584 | 0.0002438 | -0.00097964 | -0.0022083 | -0.0007294 | 0.0029382 | 0.00096121 | -0.0010317 | 0.00021027 | -0.0028818 | 0.003095 | -0.00063215 | -54.6199 | -54.6199 | -54.6199 | 125.4104 | 125.4104 | 125.4104 |  | 1.0491 | 0.9188 | 0.86837 | 1.0491 | 0.91881 | 0.86843 | -2.0551 | -131.3243 | 113.2658 | -2.0532 | -131.3286 | 113.2683
Line_3 | 9.9925e-05 | 9.9925e-05 | 9.9925e-05 | 9.9925e-05 | 9.9925e-05 | 9.9925e-05 | 0.0011538 | 0.0011538 | 0.0011538 | 0.0011538 | 0.0011538 | 0.0011538 | -0.00073584 | -0.0002438 | 0.00097964 | -0.00073584 | -0.0002438 | 0.00097964 | -0.00096121 | 0.0010317 | -0.00021027 | -0.00096121 | 0.0010317 | -0.00021027 | 125.3801 | 125.3801 | 125.3801 | 125.3801 | 125.3801 | 125.3801 |  | 1.0491 | 0.9188 | 0.86837 | 1.0491 | 0.9188 | 0.86837 | -2.0551 | -131.3243 | 113.2658 | -2.0551 | -131.3243 | 113.2658

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00079893 | 0.00079893 | 0.00079893 | 0.00059942 | 0.00059942 | 0.00059942 | 0.0092252 | 0.0092252 | 0.0092252 | 0.0069215 | 0.0069215 | 0.0069215 | -0.005892 | -0.0019344 | 0.0078326 | 0.0044167 | 0.0014588 | -0.0058764 | -0.0076753 | 0.0082529 | -0.0016918 | 0.0057635 | -0.00619 | 0.0012643 | 125.4652 | 125.4652 | 125.4652 | -54.5896 | -54.5896 | -54.5896 |  | 1.0489 | 0.91884 | 0.86863 | 1.0491 | 0.91881 | 0.86843 | -2.0465 | -131.3434 | 113.2771 | -2.0532 | -131.3286 | 113.2683
Line_1 | 9.9925e-05 | 9.9925e-05 | 9.9925e-05 | 0.00029971 | 0.00029971 | 0.00029971 | 0.0011538 | 0.0011538 | 0.0011538 | 0.0034608 | 0.0034608 | 0.0034608 | 0.00073584 | 0.0002438 | -0.00097964 | -0.0022083 | -0.0007294 | 0.0029382 | 0.00096121 | -0.0010317 | 0.00021027 | -0.0028818 | 0.003095 | -0.00063215 | -54.6199 | -54.6199 | -54.6199 | 125.4104 | 125.4104 | 125.4104 |  | 1.0491 | 0.9188 | 0.86837 | 1.0491 | 0.91881 | 0.86843 | -2.0551 | -131.3243 | 113.2658 | -2.0532 | -131.3286 | 113.2683
Line_2 | 9.9925e-05 | 9.9925e-05 | 9.9925e-05 | 0.00029971 | 0.00029971 | 0.00029971 | 0.0011538 | 0.0011538 | 0.0011538 | 0.0034608 | 0.0034608 | 0.0034608 | 0.00073584 | 0.0002438 | -0.00097964 | -0.0022083 | -0.0007294 | 0.0029382 | 0.00096121 | -0.0010317 | 0.00021027 | -0.0028818 | 0.003095 | -0.00063215 | -54.6199 | -54.6199 | -54.6199 | 125.4104 | 125.4104 | 125.4104 |  | 1.0491 | 0.9188 | 0.86837 | 1.0491 | 0.91881 | 0.86843 | -2.0551 | -131.3243 | 113.2658 | -2.0532 | -131.3286 | 113.2683
Line_3 | 9.9925e-05 | 9.9925e-05 | 9.9925e-05 | 9.9925e-05 | 9.9925e-05 | 9.9925e-05 | 0.0011538 | 0.0011538 | 0.0011538 | 0.0011538 | 0.0011538 | 0.0011538 | -0.00073584 | -0.0002438 | 0.00097964 | -0.00073584 | -0.0002438 | 0.00097964 | -0.00096121 | 0.0010317 | -0.00021027 | -0.00096121 | 0.0010317 | -0.00021027 | 125.3801 | 125.3801 | 125.3801 | 125.3801 | 125.3801 | 125.3801 |  | 1.0491 | 0.9188 | 0.86837 | 1.0491 | 0.9188 | 0.86837 | -2.0551 | -131.3243 | 113.2658 | -2.0551 | -131.3243 | 113.2658

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0043968 | 0.0043968 | 0.0043968 | 0.0032989 | 0.0032989 | 0.0032989 | 0.05077 | 0.05077 | 0.05077 | 0.038092 | 0.038092 | 0.038092 | 0.00036671 | 1.1081e-15 | 4.8949e-13 | -0.00023161 | 9.0062e-05 | 9.0062e-05 | -0.033748 | 5.6287e-13 | -2.8307e-13 | 0.025339 | 1.8689e-05 | 1.8689e-05 | 89.3061 | 89.3061 | 89.3061 | -90.7992 | -90.7993 | -90.7993 |  | 0.66476 | 0 | 0 | 0.66523 | 0.0024147 | 0.0024147 | -0.071379 | 0 | 0 | -0.27554 | -79.0763 | -79.0763
Line_1 | 0.00054993 | 0.00054993 | 0.00054993 | 0.0016494 | 0.0016494 | 0.0016494 | 0.00635 | 0.00635 | 0.00635 | 0.019046 | 0.019046 | 0.019046 | -3.8602e-05 | 1.9301e-05 | 1.9301e-05 | 0.00011581 | -4.5031e-05 | -4.5031e-05 | 0.0042249 | 4.0197e-06 | 4.0197e-06 | -0.012669 | -9.3443e-06 | -9.3443e-06 | -90.8573 | -90.8574 | -90.8574 | 89.2008 | 89.2007 | 89.2007 |  | 0.66536 | 0.0031048 | 0.0031048 | 0.66523 | 0.0024147 | 0.0024147 | -0.33385 | -79.0929 | -79.0929 | -0.27554 | -79.0763 | -79.0763
Line_2 | 0.00054993 | 0.00054993 | 0.00054993 | 0.0016494 | 0.0016494 | 0.0016494 | 0.00635 | 0.00635 | 0.00635 | 0.019046 | 0.019046 | 0.019046 | -3.8602e-05 | 1.9301e-05 | 1.9301e-05 | 0.00011581 | -4.5031e-05 | -4.5031e-05 | 0.0042249 | 4.0197e-06 | 4.0197e-06 | -0.012669 | -9.3443e-06 | -9.3443e-06 | -90.8573 | -90.8574 | -90.8574 | 89.2008 | 89.2007 | 89.2007 |  | 0.66536 | 0.0031048 | 0.0031048 | 0.66523 | 0.0024147 | 0.0024147 | -0.33385 | -79.0929 | -79.0929 | -0.27554 | -79.0763 | -79.0763
Line_3 | 0.00054993 | 0.00054993 | 0.00054993 | 0.00054993 | 0.00054993 | 0.00054993 | 0.00635 | 0.00635 | 0.00635 | 0.00635 | 0.00635 | 0.00635 | 3.8602e-05 | -1.9301e-05 | -1.9301e-05 | 3.8602e-05 | -1.9301e-05 | -1.9301e-05 | -0.0042249 | -4.0197e-06 | -4.0197e-06 | -0.0042249 | -4.0197e-06 | -4.0197e-06 | 89.1427 | 89.1427 | 89.1427 | 89.1427 | 89.1427 | 89.1427 |  | 0.66536 | 0.0031048 | 0.0031048 | 0.66536 | 0.0031048 | 0.0031048 | -0.33385 | -79.0929 | -79.0929 | -0.33385 | -79.0929 | -79.0929

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0043968 | 0.0043968 | 0.0043968 | 0.0032989 | 0.0032989 | 0.0032989 | 0.05077 | 0.05077 | 0.05077 | 0.038092 | 0.038092 | 0.038092 | 0.00036671 | 1.1081e-15 | 4.8949e-13 | -0.00023161 | 9.0062e-05 | 9.0062e-05 | -0.033748 | 5.6287e-13 | -2.8307e-13 | 0.025339 | 1.8689e-05 | 1.8689e-05 | 89.3061 | 89.3061 | 89.3061 | -90.7992 | -90.7993 | -90.7993 |  | 0.66476 | 0 | 0 | 0.66523 | 0.0024147 | 0.0024147 | -0.071379 | 0 | 0 | -0.27554 | -79.0763 | -79.0763
Line_1 | 0.00054993 | 0.00054993 | 0.00054993 | 0.0016494 | 0.0016494 | 0.0016494 | 0.00635 | 0.00635 | 0.00635 | 0.019046 | 0.019046 | 0.019046 | -3.8602e-05 | 1.9301e-05 | 1.9301e-05 | 0.00011581 | -4.5031e-05 | -4.5031e-05 | 0.0042249 | 4.0197e-06 | 4.0197e-06 | -0.012669 | -9.3443e-06 | -9.3443e-06 | -90.8573 | -90.8574 | -90.8574 | 89.2008 | 89.2007 | 89.2007 |  | 0.66536 | 0.0031048 | 0.0031048 | 0.66523 | 0.0024147 | 0.0024147 | -0.33385 | -79.0929 | -79.0929 | -0.27554 | -79.0763 | -79.0763
Line_2 | 0.00054993 | 0.00054993 | 0.00054993 | 0.0016494 | 0.0016494 | 0.0016494 | 0.00635 | 0.00635 | 0.00635 | 0.019046 | 0.019046 | 0.019046 | -3.8602e-05 | 1.9301e-05 | 1.9301e-05 | 0.00011581 | -4.5031e-05 | -4.5031e-05 | 0.0042249 | 4.0197e-06 | 4.0197e-06 | -0.012669 | -9.3443e-06 | -9.3443e-06 | -90.8573 | -90.8574 | -90.8574 | 89.2008 | 89.2007 | 89.2007 |  | 0.66536 | 0.0031048 | 0.0031048 | 0.66523 | 0.0024147 | 0.0024147 | -0.33385 | -79.0929 | -79.0929 | -0.27554 | -79.0763 | -79.0763
Line_3 | 0.00054993 | 0.00054993 | 0.00054993 | 0.00054993 | 0.00054993 | 0.00054993 | 0.00635 | 0.00635 | 0.00635 | 0.00635 | 0.00635 | 0.00635 | 3.8602e-05 | -1.9301e-05 | -1.9301e-05 | 3.8602e-05 | -1.9301e-05 | -1.9301e-05 | -0.0042249 | -4.0197e-06 | -4.0197e-06 | -0.0042249 | -4.0197e-06 | -4.0197e-06 | 89.1427 | 89.1427 | 89.1427 | 89.1427 | 89.1427 | 89.1427 |  | 0.66536 | 0.0031048 | 0.0031048 | 0.66536 | 0.0031048 | 0.0031048 | -0.33385 | -79.0929 | -79.0929 | -0.33385 | -79.0929 | -79.0929

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00077635 | 0.00077636 | 0.00077635 | 0.00058249 | 0.00058249 | 0.00058249 | 0.0089646 | 0.0089646 | 0.0089646 | 0.006726 | 0.006726 | 0.006726 | -0.0051115 | -0.001739 | 0.0068619 | 0.0038284 | 0.0013175 | -0.0051475 | -0.0068393 | 0.0072102 | -0.0014231 | 0.005139 | -0.0054067 | 0.0010589 | 124.7032 | 124.7031 | 124.7031 | -55.4022 | -55.4022 | -55.4022 |  | 0.95245 | 0.82736 | 0.78174 | 0.95277 | 0.82738 | 0.78135 | -2.0702 | -131.7369 | 112.9866 | -2.0872 | -131.7074 | 112.9742
Line_1 | 9.7102e-05 | 9.7102e-05 | 9.7101e-05 | 0.00029124 | 0.00029124 | 0.00029124 | 0.0011212 | 0.0011212 | 0.0011212 | 0.003363 | 0.003363 | 0.003363 | 0.00063747 | 0.00022068 | -0.00085815 | -0.0019142 | -0.00065875 | 0.0025738 | 0.00085736 | -0.00090106 | 0.00017567 | -0.0025695 | 0.0027034 | -0.00052943 | -55.4602 | -55.4603 | -55.4603 | 124.5978 | 124.5978 | 124.5978 |  | 0.95286 | 0.82738 | 0.78123 | 0.95277 | 0.82738 | 0.78135 | -2.0921 | -131.699 | 112.9707 | -2.0872 | -131.7074 | 112.9742
Line_2 | 9.7102e-05 | 9.7102e-05 | 9.7101e-05 | 0.00029124 | 0.00029124 | 0.00029124 | 0.0011212 | 0.0011212 | 0.0011212 | 0.003363 | 0.003363 | 0.003363 | 0.00063747 | 0.00022068 | -0.00085815 | -0.0019142 | -0.00065875 | 0.0025738 | 0.00085736 | -0.00090106 | 0.00017567 | -0.0025695 | 0.0027034 | -0.00052943 | -55.4602 | -55.4603 | -55.4603 | 124.5978 | 124.5978 | 124.5978 |  | 0.95286 | 0.82738 | 0.78123 | 0.95277 | 0.82738 | 0.78135 | -2.0921 | -131.699 | 112.9707 | -2.0872 | -131.7074 | 112.9742
Line_3 | 9.7102e-05 | 9.7102e-05 | 9.7102e-05 | 9.7102e-05 | 9.7102e-05 | 9.7102e-05 | 0.0011212 | 0.0011212 | 0.0011212 | 0.0011212 | 0.0011212 | 0.0011212 | -0.00063747 | -0.00022068 | 0.00085815 | -0.00063747 | -0.00022068 | 0.00085815 | -0.00085736 | 0.00090106 | -0.00017567 | -0.00085736 | 0.00090106 | -0.00017567 | 124.5397 | 124.5397 | 124.5397 | 124.5397 | 124.5397 | 124.5397 |  | 0.95286 | 0.82738 | 0.78123 | 0.95286 | 0.82738 | 0.78123 | -2.0921 | -131.699 | 112.9707 | -2.0921 | -131.699 | 112.9707

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00077635 | 0.00077636 | 0.00077635 | 0.00058249 | 0.00058249 | 0.00058249 | 0.0089646 | 0.0089646 | 0.0089646 | 0.006726 | 0.006726 | 0.006726 | -0.0051115 | -0.001739 | 0.0068619 | 0.0038284 | 0.0013175 | -0.0051475 | -0.0068393 | 0.0072102 | -0.0014231 | 0.005139 | -0.0054067 | 0.0010589 | 124.7032 | 124.7031 | 124.7031 | -55.4022 | -55.4022 | -55.4022 |  | 0.95245 | 0.82736 | 0.78174 | 0.95277 | 0.82738 | 0.78135 | -2.0702 | -131.7369 | 112.9866 | -2.0872 | -131.7074 | 112.9742
Line_1 | 9.7102e-05 | 9.7102e-05 | 9.7101e-05 | 0.00029124 | 0.00029124 | 0.00029124 | 0.0011212 | 0.0011212 | 0.0011212 | 0.003363 | 0.003363 | 0.003363 | 0.00063747 | 0.00022068 | -0.00085815 | -0.0019142 | -0.00065875 | 0.0025738 | 0.00085736 | -0.00090106 | 0.00017567 | -0.0025695 | 0.0027034 | -0.00052943 | -55.4602 | -55.4603 | -55.4603 | 124.5978 | 124.5978 | 124.5978 |  | 0.95286 | 0.82738 | 0.78123 | 0.95277 | 0.82738 | 0.78135 | -2.0921 | -131.699 | 112.9707 | -2.0872 | -131.7074 | 112.9742
Line_2 | 9.7102e-05 | 9.7102e-05 | 9.7101e-05 | 0.00029124 | 0.00029124 | 0.00029124 | 0.0011212 | 0.0011212 | 0.0011212 | 0.003363 | 0.003363 | 0.003363 | 0.00063747 | 0.00022068 | -0.00085815 | -0.0019142 | -0.00065875 | 0.0025738 | 0.00085736 | -0.00090106 | 0.00017567 | -0.0025695 | 0.0027034 | -0.00052943 | -55.4602 | -55.4603 | -55.4603 | 124.5978 | 124.5978 | 124.5978 |  | 0.95286 | 0.82738 | 0.78123 | 0.95277 | 0.82738 | 0.78135 | -2.0921 | -131.699 | 112.9707 | -2.0872 | -131.7074 | 112.9742
Line_3 | 9.7102e-05 | 9.7102e-05 | 9.7102e-05 | 9.7102e-05 | 9.7102e-05 | 9.7102e-05 | 0.0011212 | 0.0011212 | 0.0011212 | 0.0011212 | 0.0011212 | 0.0011212 | -0.00063747 | -0.00022068 | 0.00085815 | -0.00063747 | -0.00022068 | 0.00085815 | -0.00085736 | 0.00090106 | -0.00017567 | -0.00085736 | 0.00090106 | -0.00017567 | 124.5397 | 124.5397 | 124.5397 | 124.5397 | 124.5397 | 124.5397 |  | 0.95286 | 0.82738 | 0.78123 | 0.95286 | 0.82738 | 0.78123 | -2.0921 | -131.699 | 112.9707 | -2.0921 | -131.699 | 112.9707