## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -9.3792e-14 | 30.1766 | -15.8685 | 7.816e-14 | -23.0225 | 23.0225 | 5.2106e-15 | 3.131 | 13.1032 | 5.2106e-15 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 1.3603e-12 | -161.8563 | 152.6723 | 1.445e-12 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6053e-14 | -3.3869e-14 | 2.0843e-14 | -3.6475e-14 | 3.908e-14 | -2.6053e-14 | 6.6402e-28 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.4603e-12 | -180 | 180 | 1.445e-12 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | -3.3869e-14 | 2.0843e-14 | -2.6053e-14 | 4.9501e-14 | -2.6053e-14 | 1.5632e-14 | -1.9211e-09 | 1.9211e-09 | -1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.4594e-12 | -180 | 180 | 1.445e-12 | 180 | -180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | 2.6053e-15 | -1.0421e-14 | -2.6053e-14 | 2.6053e-15 | -5.2106e-15 | -1.0421e-14 | 2.6053e-15 | 2.5236e-25 | 1.0421e-14 | 7.816e-15 | -5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.4603e-12 | -180 | 180 | 1.4594e-12 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -9.3792e-14 | 30.1766 | -15.8685 | 7.816e-14 | -23.0225 | 23.0225 | 5.2106e-15 | 3.131 | 13.1032 | 5.2106e-15 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 1.3603e-12 | -161.8563 | 152.6723 | 1.445e-12 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6053e-14 | -3.3869e-14 | 2.0843e-14 | -3.6475e-14 | 3.908e-14 | -2.6053e-14 | 6.6402e-28 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.4603e-12 | -180 | 180 | 1.445e-12 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | -3.3869e-14 | 2.0843e-14 | -2.6053e-14 | 4.9501e-14 | -2.6053e-14 | 1.5632e-14 | -1.9211e-09 | 1.9211e-09 | -1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.4594e-12 | -180 | 180 | 1.445e-12 | 180 | -180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | 2.6053e-15 | -1.0421e-14 | -2.6053e-14 | 2.6053e-15 | -5.2106e-15 | -1.0421e-14 | 2.6053e-15 | 2.5236e-25 | 1.0421e-14 | 7.816e-15 | -5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.4603e-12 | -180 | 180 | 1.4594e-12 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -3.3869e-14 | 19.0761 | -0.30087 | 3.1264e-14 | -17.4596 | 1.9173 | -7.816e-15 | 3.9919 | 15.2185 | 5.2106e-15 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 5.6168e-13 | -138.0936 | 121.2196 | 5.9691e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8237e-14 | 4.7339e-10 | 1.0338e-09 | -2.0843e-14 | -4.7339e-10 | -1.0338e-09 | -2.6053e-15 | -1.3544e-09 | 3.8387e-10 | -2.1714e-28 | 1.3544e-09 | -3.8387e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 6.027e-13 | -142.8673 | 128.239 | 5.9691e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | 4.7339e-10 | 1.0338e-09 | -1.5632e-14 | -4.7338e-10 | -1.0337e-09 | 2.6053e-15 | -1.3544e-09 | 3.8387e-10 | -5.2106e-15 | 1.3544e-09 | -3.8387e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 6.0274e-13 | -142.8673 | 128.239 | 5.9691e-13 | -142.8673 | 128.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.816e-15 | 8.5547e-15 | 1.9472e-15 | -1.0421e-14 | 3.2634e-15 | -4.9421e-15 | -5.2106e-15 | 9.0448e-15 | -2.471e-15 | 5.2106e-15 | 2.471e-15 | -3.8945e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 6.027e-13 | -142.8673 | 128.239 | 6.0274e-13 | -142.8673 | 128.239

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -3.3869e-14 | 19.0761 | -0.30087 | 3.1264e-14 | -17.4596 | 1.9173 | -7.816e-15 | 3.9919 | 15.2185 | 5.2106e-15 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 5.6168e-13 | -138.0936 | 121.2196 | 5.9691e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8237e-14 | 4.7339e-10 | 1.0338e-09 | -2.0843e-14 | -4.7339e-10 | -1.0338e-09 | -2.6053e-15 | -1.3544e-09 | 3.8387e-10 | -2.1714e-28 | 1.3544e-09 | -3.8387e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 6.027e-13 | -142.8673 | 128.239 | 5.9691e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | 4.7339e-10 | 1.0338e-09 | -1.5632e-14 | -4.7338e-10 | -1.0337e-09 | 2.6053e-15 | -1.3544e-09 | 3.8387e-10 | -5.2106e-15 | 1.3544e-09 | -3.8387e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 6.0274e-13 | -142.8673 | 128.239 | 5.9691e-13 | -142.8673 | 128.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.816e-15 | 8.5547e-15 | 1.9472e-15 | -1.0421e-14 | 3.2634e-15 | -4.9421e-15 | -5.2106e-15 | 9.0448e-15 | -2.471e-15 | 5.2106e-15 | 2.471e-15 | -3.8945e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 6.027e-13 | -142.8673 | 128.239 | 6.0274e-13 | -142.8673 | 128.239

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -2.6053e-14 | 26.5997 | -7.1734 | 2.6053e-14 | -16.8865 | 16.8865 | -1.4211e-14 | -0.51586 | 11.9957 | 9.4739e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 1.4228e-12 | -160.7833 | 141.207 | 1.4263e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.7369e-15 | 7.1055e-15 | -4.737e-15 | 1.1842e-14 | -4.737e-15 | 0 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.3921e-12 | -180 | 180 | 1.4263e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -4.7369e-15 | 2.3686e-15 | 2.3584e-28 | 1.1842e-14 | -1.4484e-20 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.4006e-12 | -180 | 180 | 1.4263e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.151e-28 | 7.1054e-15 | 2.3685e-15 | -4.737e-15 | -1.3389e-25 | -2.3685e-15 | -4.737e-15 | 4.737e-15 | 4.737e-15 | 4.737e-15 | 2.3685e-15 | 4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.3921e-12 | -180 | 180 | 1.4006e-12 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -2.6053e-14 | 26.5997 | -7.1734 | 2.6053e-14 | -16.8865 | 16.8865 | -1.4211e-14 | -0.51586 | 11.9957 | 9.4739e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 1.4228e-12 | -160.7833 | 141.207 | 1.4263e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.7369e-15 | 7.1055e-15 | -4.737e-15 | 1.1842e-14 | -4.737e-15 | 0 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.3921e-12 | -180 | 180 | 1.4263e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -4.7369e-15 | 2.3686e-15 | 2.3584e-28 | 1.1842e-14 | -1.4484e-20 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.4006e-12 | -180 | 180 | 1.4263e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.151e-28 | 7.1054e-15 | 2.3685e-15 | -4.737e-15 | -1.3389e-25 | -2.3685e-15 | -4.737e-15 | 4.737e-15 | 4.737e-15 | 4.737e-15 | 2.3685e-15 | 4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.3921e-12 | -180 | 180 | 1.4006e-12 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | -9.4739e-15 | 15.3932 | 0.73601 | 8.8818e-15 | -13.0917 | 1.5655 | -4.737e-15 | 2.3135 | 11.9328 | 4.737e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 6.7024e-13 | -138.1765 | 119.7467 | 6.722e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.9212e-16 | 4.798e-10 | 8.2616e-10 | 5.9212e-16 | -4.7979e-10 | -8.2616e-10 | 2.3685e-15 | -1.0532e-09 | 4.5325e-10 | -2.3685e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 6.5527e-13 | -142.5584 | 131.6989 | 6.722e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 4.798e-10 | 8.2616e-10 | 2.3685e-15 | -4.7979e-10 | -8.2616e-10 | 4.737e-15 | -1.0532e-09 | 4.5326e-10 | -4.737e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 6.5886e-13 | -142.5584 | 131.6989 | 6.722e-13 | -142.5584 | 131.6989
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7764e-15 | 4.6201e-15 | -9.5059e-16 | -2.9606e-15 | 3.2122e-15 | -9.6051e-16 | -2.3685e-15 | -9.2927e-16 | -7.6154e-15 | -3.4045e-29 | -2.0074e-15 | 1.0781e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 6.5527e-13 | -142.5584 | 131.6989 | 6.5886e-13 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | -9.4739e-15 | 15.3932 | 0.73601 | 8.8818e-15 | -13.0917 | 1.5655 | -4.737e-15 | 2.3135 | 11.9328 | 4.737e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 6.7024e-13 | -138.1765 | 119.7467 | 6.722e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.9212e-16 | 4.798e-10 | 8.2616e-10 | 5.9212e-16 | -4.7979e-10 | -8.2616e-10 | 2.3685e-15 | -1.0532e-09 | 4.5325e-10 | -2.3685e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 6.5527e-13 | -142.5584 | 131.6989 | 6.722e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 4.798e-10 | 8.2616e-10 | 2.3685e-15 | -4.7979e-10 | -8.2616e-10 | 4.737e-15 | -1.0532e-09 | 4.5326e-10 | -4.737e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 6.5886e-13 | -142.5584 | 131.6989 | 6.722e-13 | -142.5584 | 131.6989
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7764e-15 | 4.6201e-15 | -9.5059e-16 | -2.9606e-15 | 3.2122e-15 | -9.6051e-16 | -2.3685e-15 | -9.2927e-16 | -7.6154e-15 | -3.4045e-29 | -2.0074e-15 | 1.0781e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 6.5527e-13 | -142.5584 | 131.6989 | 6.5886e-13 | -142.5584 | 131.6989

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.64826 | 0.019588 | 0.019588 | 0.64343 | 0.014755 | 0.014755 | 7.4855 | 0.22618 | 0.22618 | 7.4297 | 0.17038 | 0.17038 | 0.6849 | 0.22669 | -0.20414 | 1.1741e-11 | -0.16256 | 0.16203 | 0.37455 | -0.3365 | -0.32738 | -4.8779e-12 | 0.25579 | 0.25188 | -84.8361 | -88.7874 | -88.7874 | 95.1815 | 90.6891 | 90.6891 |  | 0.10429 | 1.7939 | 1.7058 | 0 | 1.7788 | 1.7578 | -56.1634 | -144.821 | 149.2665 | 0 | -146.8732 | 147.9374
Line_1 | 0.0024597 | 0.0024597 | 0.0024597 | 0.0073776 | 0.0073776 | 0.0073776 | 0.028402 | 0.028402 | 0.028402 | 0.085189 | 0.085189 | 0.085189 | 4.471e-05 | -0.027077 | 0.027033 | -1.3859e-13 | 0.081281 | -0.081013 | 1.7787e-05 | 0.042643 | 0.042021 | 4.5214e-14 | -0.12789 | -0.12594 | 90.6588 | 90.6588 | 90.6588 | -89.3109 | -89.3109 | -89.3109 |  | 0.0016942 | 1.7785 | 1.7592 | 0 | 1.7788 | 1.7578 | 112.3532 | -146.9268 | 147.9053 | 0 | -146.8732 | 147.9374
Line_2 | 0.0024597 | 0.0024597 | 0.0024597 | 0.0073776 | 0.0073776 | 0.0073776 | 0.028402 | 0.028402 | 0.028402 | 0.085189 | 0.085189 | 0.085189 | 4.471e-05 | -0.027077 | 0.027033 | -1.3859e-13 | 0.081281 | -0.081013 | 1.7787e-05 | 0.042643 | 0.042021 | 4.5214e-14 | -0.12789 | -0.12594 | 90.6588 | 90.6588 | 90.6588 | -89.3109 | -89.3109 | -89.3109 |  | 0.0016942 | 1.7785 | 1.7592 | 0 | 1.7788 | 1.7578 | 112.3532 | -146.9268 | 147.9053 | 0 | -146.8732 | 147.9374
Line_3 | 0.0024597 | 0.0024597 | 0.0024597 | 0.0024597 | 0.0024597 | 0.0024597 | 0.028402 | 0.028402 | 0.028402 | 0.028402 | 0.028402 | 0.028402 | -4.471e-05 | 0.027077 | -0.027033 | -4.471e-05 | 0.027077 | -0.027033 | -1.7787e-05 | -0.042643 | -0.042021 | -1.7787e-05 | -0.042643 | -0.042021 | -89.3412 | -89.3412 | -89.3412 | -89.3412 | -89.3412 | -89.3412 |  | 0.0016942 | 1.7785 | 1.7592 | 0.0016942 | 1.7785 | 1.7592 | 112.3532 | -146.9268 | 147.9053 | 112.3532 | -146.9268 | 147.9053

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.64826 | 0.019588 | 0.019588 | 0.64343 | 0.014755 | 0.014755 | 7.4855 | 0.22618 | 0.22618 | 7.4297 | 0.17038 | 0.17038 | 0.6849 | 0.22669 | -0.20414 | 1.1741e-11 | -0.16256 | 0.16203 | 0.37455 | -0.3365 | -0.32738 | -4.8779e-12 | 0.25579 | 0.25188 | -84.8361 | -88.7874 | -88.7874 | 95.1815 | 90.6891 | 90.6891 |  | 0.10429 | 1.7939 | 1.7058 | 0 | 1.7788 | 1.7578 | -56.1634 | -144.821 | 149.2665 | 0 | -146.8732 | 147.9374
Line_1 | 0.0024597 | 0.0024597 | 0.0024597 | 0.0073776 | 0.0073776 | 0.0073776 | 0.028402 | 0.028402 | 0.028402 | 0.085189 | 0.085189 | 0.085189 | 4.471e-05 | -0.027077 | 0.027033 | -1.3859e-13 | 0.081281 | -0.081013 | 1.7787e-05 | 0.042643 | 0.042021 | 4.5214e-14 | -0.12789 | -0.12594 | 90.6588 | 90.6588 | 90.6588 | -89.3109 | -89.3109 | -89.3109 |  | 0.0016942 | 1.7785 | 1.7592 | 0 | 1.7788 | 1.7578 | 112.3532 | -146.9268 | 147.9053 | 0 | -146.8732 | 147.9374
Line_2 | 0.0024597 | 0.0024597 | 0.0024597 | 0.0073776 | 0.0073776 | 0.0073776 | 0.028402 | 0.028402 | 0.028402 | 0.085189 | 0.085189 | 0.085189 | 4.471e-05 | -0.027077 | 0.027033 | -1.3859e-13 | 0.081281 | -0.081013 | 1.7787e-05 | 0.042643 | 0.042021 | 4.5214e-14 | -0.12789 | -0.12594 | 90.6588 | 90.6588 | 90.6588 | -89.3109 | -89.3109 | -89.3109 |  | 0.0016942 | 1.7785 | 1.7592 | 0 | 1.7788 | 1.7578 | 112.3532 | -146.9268 | 147.9053 | 0 | -146.8732 | 147.9374
Line_3 | 0.0024597 | 0.0024597 | 0.0024597 | 0.0024597 | 0.0024597 | 0.0024597 | 0.028402 | 0.028402 | 0.028402 | 0.028402 | 0.028402 | 0.028402 | -4.471e-05 | 0.027077 | -0.027033 | -4.471e-05 | 0.027077 | -0.027033 | -1.7787e-05 | -0.042643 | -0.042021 | -1.7787e-05 | -0.042643 | -0.042021 | -89.3412 | -89.3412 | -89.3412 | -89.3412 | -89.3412 | -89.3412 |  | 0.0016942 | 1.7785 | 1.7592 | 0.0016942 | 1.7785 | 1.7592 | 112.3532 | -146.9268 | 147.9053 | 112.3532 | -146.9268 | 147.9053

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.503 | 0.015198 | 0.015198 | 0.49925 | 0.011449 | 0.011449 | 5.8081 | 0.1755 | 0.1755 | 5.7648 | 0.1322 | 0.1322 | 1.6366 | 0.15361 | -0.17438 | -1.2155 | -0.11112 | 0.13639 | 1.455 | -0.25214 | -0.18716 | -1.22 | 0.1912 | 0.14451 | -74.8434 | -78.7946 | -78.7946 | 105.1743 | 100.6819 | 100.6819 |  | 0.37704 | 1.6824 | 1.4576 | 0.29874 | 1.6728 | 1.5031 | -33.2046 | -137.4439 | 148.2302 | -29.7204 | -139.1549 | 147.3382
Line_1 | 0.0019085 | 0.0019085 | 0.0019085 | 0.0057244 | 0.0057244 | 0.0057244 | 0.022038 | 0.022038 | 0.022038 | 0.066099 | 0.066099 | 0.066099 | -0.0042375 | -0.018513 | 0.022751 | 0.012799 | 0.055558 | -0.068195 | -0.005005 | 0.031874 | 0.024113 | 0.015037 | -0.0956 | -0.072257 | 100.6516 | 100.6516 | 100.6516 | -79.3181 | -79.3181 | -79.3181 |  | 0.29758 | 1.6726 | 1.5043 | 0.29874 | 1.6728 | 1.5031 | -29.6018 | -139.1994 | 147.3171 | -29.7204 | -139.1549 | 147.3382
Line_2 | 0.0019085 | 0.0019085 | 0.0019085 | 0.0057244 | 0.0057244 | 0.0057244 | 0.022038 | 0.022038 | 0.022038 | 0.066099 | 0.066099 | 0.066099 | -0.0042375 | -0.018513 | 0.022751 | 0.012799 | 0.055558 | -0.068195 | -0.005005 | 0.031874 | 0.024113 | 0.015037 | -0.0956 | -0.072257 | 100.6516 | 100.6516 | 100.6516 | -79.3181 | -79.3181 | -79.3181 |  | 0.29758 | 1.6726 | 1.5043 | 0.29874 | 1.6728 | 1.5031 | -29.6018 | -139.1994 | 147.3171 | -29.7204 | -139.1549 | 147.3382
Line_3 | 0.0019085 | 0.0019085 | 0.0019085 | 0.0019085 | 0.0019085 | 0.0019085 | 0.022038 | 0.022038 | 0.022038 | 0.022038 | 0.022038 | 0.022038 | 0.0042375 | 0.018513 | -0.022751 | 0.0042375 | 0.018513 | -0.022751 | 0.005005 | -0.031874 | -0.024113 | 0.005005 | -0.031874 | -0.024113 | -79.3484 | -79.3484 | -79.3484 | -79.3484 | -79.3484 | -79.3484 |  | 0.29758 | 1.6726 | 1.5043 | 0.29758 | 1.6726 | 1.5043 | -29.6018 | -139.1994 | 147.3171 | -29.6018 | -139.1994 | 147.3171

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.503 | 0.015198 | 0.015198 | 0.49925 | 0.011449 | 0.011449 | 5.8081 | 0.1755 | 0.1755 | 5.7648 | 0.1322 | 0.1322 | 1.6366 | 0.15361 | -0.17438 | -1.2155 | -0.11112 | 0.13639 | 1.455 | -0.25214 | -0.18716 | -1.22 | 0.1912 | 0.14451 | -74.8434 | -78.7946 | -78.7946 | 105.1743 | 100.6819 | 100.6819 |  | 0.37704 | 1.6824 | 1.4576 | 0.29874 | 1.6728 | 1.5031 | -33.2046 | -137.4439 | 148.2302 | -29.7204 | -139.1549 | 147.3382
Line_1 | 0.0019085 | 0.0019085 | 0.0019085 | 0.0057244 | 0.0057244 | 0.0057244 | 0.022038 | 0.022038 | 0.022038 | 0.066099 | 0.066099 | 0.066099 | -0.0042375 | -0.018513 | 0.022751 | 0.012799 | 0.055558 | -0.068195 | -0.005005 | 0.031874 | 0.024113 | 0.015037 | -0.0956 | -0.072257 | 100.6516 | 100.6516 | 100.6516 | -79.3181 | -79.3181 | -79.3181 |  | 0.29758 | 1.6726 | 1.5043 | 0.29874 | 1.6728 | 1.5031 | -29.6018 | -139.1994 | 147.3171 | -29.7204 | -139.1549 | 147.3382
Line_2 | 0.0019085 | 0.0019085 | 0.0019085 | 0.0057244 | 0.0057244 | 0.0057244 | 0.022038 | 0.022038 | 0.022038 | 0.066099 | 0.066099 | 0.066099 | -0.0042375 | -0.018513 | 0.022751 | 0.012799 | 0.055558 | -0.068195 | -0.005005 | 0.031874 | 0.024113 | 0.015037 | -0.0956 | -0.072257 | 100.6516 | 100.6516 | 100.6516 | -79.3181 | -79.3181 | -79.3181 |  | 0.29758 | 1.6726 | 1.5043 | 0.29874 | 1.6728 | 1.5031 | -29.6018 | -139.1994 | 147.3171 | -29.7204 | -139.1549 | 147.3382
Line_3 | 0.0019085 | 0.0019085 | 0.0019085 | 0.0019085 | 0.0019085 | 0.0019085 | 0.022038 | 0.022038 | 0.022038 | 0.022038 | 0.022038 | 0.022038 | 0.0042375 | 0.018513 | -0.022751 | 0.0042375 | 0.018513 | -0.022751 | 0.005005 | -0.031874 | -0.024113 | 0.005005 | -0.031874 | -0.024113 | -79.3484 | -79.3484 | -79.3484 | -79.3484 | -79.3484 | -79.3484 |  | 0.29758 | 1.6726 | 1.5043 | 0.29758 | 1.6726 | 1.5043 | -29.6018 | -139.1994 | 147.3171 | -29.6018 | -139.1994 | 147.3171

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.58152 | 0.017672 | 0.017672 | 0.57719 | 0.013334 | 0.013334 | 6.7148 | 0.20405 | 0.20405 | 6.6648 | 0.15396 | 0.15396 | 1.0582 | 0.19402 | -0.15918 | -5.4346e-12 | -0.13373 | 0.13289 | 0.29744 | -0.2751 | -0.26224 | -2.978e-12 | 0.20982 | 0.20474 | -80.3562 | -87.915 | -87.915 | 99.6778 | 91.0924 | 91.0924 |  | 0.16369 | 1.6497 | 1.5034 | 0 | 1.6161 | 1.5853 | -64.6559 | -142.7204 | 150.8282 | 0 | -146.3957 | 148.1056
Line_1 | 0.0022227 | 0.0022227 | 0.0022227 | 0.0066668 | 0.0066668 | 0.0066668 | 0.025666 | 0.025666 | 0.025666 | 0.076981 | 0.076981 | 0.076981 | 7.0099e-05 | -0.022259 | 0.022188 | 5.6933e-14 | 0.066866 | -0.066445 | 1.4525e-05 | 0.034969 | 0.034167 | 4.3382e-14 | -0.10491 | -0.10237 | 91.0343 | 91.0343 | 91.0343 | -88.9076 | -88.9076 | -88.9076 |  | 0.0027893 | 1.6151 | 1.5873 | 0 | 1.6161 | 1.5853 | 102.7406 | -146.4882 | 148.0339 | 0 | -146.3957 | 148.1056
Line_2 | 0.0022227 | 0.0022227 | 0.0022227 | 0.0066668 | 0.0066668 | 0.0066668 | 0.025666 | 0.025666 | 0.025666 | 0.076981 | 0.076981 | 0.076981 | 7.0099e-05 | -0.022259 | 0.022188 | 5.6933e-14 | 0.066866 | -0.066445 | 1.4525e-05 | 0.034969 | 0.034167 | 4.3382e-14 | -0.10491 | -0.10237 | 91.0343 | 91.0343 | 91.0343 | -88.9076 | -88.9076 | -88.9076 |  | 0.0027893 | 1.6151 | 1.5873 | 0 | 1.6161 | 1.5853 | 102.7406 | -146.4882 | 148.0339 | 0 | -146.3957 | 148.1056
Line_3 | 0.0022227 | 0.0022227 | 0.0022227 | 0.0022227 | 0.0022227 | 0.0022227 | 0.025666 | 0.025666 | 0.025666 | 0.025666 | 0.025666 | 0.025666 | -7.0099e-05 | 0.022259 | -0.022188 | -7.0099e-05 | 0.022259 | -0.022188 | -1.4525e-05 | -0.034969 | -0.034167 | -1.4525e-05 | -0.034969 | -0.034167 | -88.9657 | -88.9657 | -88.9657 | -88.9657 | -88.9657 | -88.9657 |  | 0.0027893 | 1.6151 | 1.5873 | 0.0027893 | 1.6151 | 1.5873 | 102.7406 | -146.4882 | 148.0339 | 102.7406 | -146.4882 | 148.0339

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.58152 | 0.017672 | 0.017672 | 0.57719 | 0.013334 | 0.013334 | 6.7148 | 0.20405 | 0.20405 | 6.6648 | 0.15396 | 0.15396 | 1.0582 | 0.19402 | -0.15918 | -5.4346e-12 | -0.13373 | 0.13289 | 0.29744 | -0.2751 | -0.26224 | -2.978e-12 | 0.20982 | 0.20474 | -80.3562 | -87.915 | -87.915 | 99.6778 | 91.0924 | 91.0924 |  | 0.16369 | 1.6497 | 1.5034 | 0 | 1.6161 | 1.5853 | -64.6559 | -142.7204 | 150.8282 | 0 | -146.3957 | 148.1056
Line_1 | 0.0022227 | 0.0022227 | 0.0022227 | 0.0066668 | 0.0066668 | 0.0066668 | 0.025666 | 0.025666 | 0.025666 | 0.076981 | 0.076981 | 0.076981 | 7.0099e-05 | -0.022259 | 0.022188 | 5.6933e-14 | 0.066866 | -0.066445 | 1.4525e-05 | 0.034969 | 0.034167 | 4.3382e-14 | -0.10491 | -0.10237 | 91.0343 | 91.0343 | 91.0343 | -88.9076 | -88.9076 | -88.9076 |  | 0.0027893 | 1.6151 | 1.5873 | 0 | 1.6161 | 1.5853 | 102.7406 | -146.4882 | 148.0339 | 0 | -146.3957 | 148.1056
Line_2 | 0.0022227 | 0.0022227 | 0.0022227 | 0.0066668 | 0.0066668 | 0.0066668 | 0.025666 | 0.025666 | 0.025666 | 0.076981 | 0.076981 | 0.076981 | 7.0099e-05 | -0.022259 | 0.022188 | 5.6933e-14 | 0.066866 | -0.066445 | 1.4525e-05 | 0.034969 | 0.034167 | 4.3382e-14 | -0.10491 | -0.10237 | 91.0343 | 91.0343 | 91.0343 | -88.9076 | -88.9076 | -88.9076 |  | 0.0027893 | 1.6151 | 1.5873 | 0 | 1.6161 | 1.5853 | 102.7406 | -146.4882 | 148.0339 | 0 | -146.3957 | 148.1056
Line_3 | 0.0022227 | 0.0022227 | 0.0022227 | 0.0022227 | 0.0022227 | 0.0022227 | 0.025666 | 0.025666 | 0.025666 | 0.025666 | 0.025666 | 0.025666 | -7.0099e-05 | 0.022259 | -0.022188 | -7.0099e-05 | 0.022259 | -0.022188 | -1.4525e-05 | -0.034969 | -0.034167 | -1.4525e-05 | -0.034969 | -0.034167 | -88.9657 | -88.9657 | -88.9657 | -88.9657 | -88.9657 | -88.9657 |  | 0.0027893 | 1.6151 | 1.5873 | 0.0027893 | 1.6151 | 1.5873 | 102.7406 | -146.4882 | 148.0339 | 102.7406 | -146.4882 | 148.0339

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.44808 | 0.013617 | 0.013617 | 0.44474 | 0.010274 | 0.010274 | 5.174 | 0.15723 | 0.15723 | 5.1354 | 0.11863 | 0.11863 | 1.5979 | 0.13141 | -0.13602 | -0.96298 | -0.092133 | 0.11029 | 1.1542 | -0.20191 | -0.15045 | -0.9698 | 0.15346 | 0.11814 | -71.5495 | -79.1083 | -79.1083 | 108.4845 | 99.8991 | 99.8991 |  | 0.38098 | 1.5322 | 1.29 | 0.26613 | 1.5088 | 1.3623 | -35.7064 | -136.0511 | 148.7757 | -26.3133 | -139.1221 | 146.8682
Line_1 | 0.0017127 | 0.0017127 | 0.0017127 | 0.0051369 | 0.0051369 | 0.0051369 | 0.019776 | 0.019776 | 0.019776 | 0.059316 | 0.059316 | 0.059316 | -0.0030634 | -0.015343 | 0.018406 | 0.0093259 | 0.046066 | -0.055143 | -0.0042409 | 0.025576 | 0.019721 | 0.012736 | -0.076732 | -0.05907 | 99.841 | 99.841 | 99.841 | -80.1009 | -80.1009 | -80.1009 |  | 0.26454 | 1.5081 | 1.3641 | 0.26613 | 1.5088 | 1.3623 | -26.001 | -139.1991 | 146.816 | -26.3133 | -139.1221 | 146.8682
Line_2 | 0.0017127 | 0.0017127 | 0.0017127 | 0.0051369 | 0.0051369 | 0.0051369 | 0.019776 | 0.019776 | 0.019776 | 0.059316 | 0.059316 | 0.059316 | -0.0030634 | -0.015343 | 0.018406 | 0.0093259 | 0.046066 | -0.055143 | -0.0042409 | 0.025576 | 0.019721 | 0.012736 | -0.076732 | -0.05907 | 99.841 | 99.841 | 99.841 | -80.1009 | -80.1009 | -80.1009 |  | 0.26454 | 1.5081 | 1.3641 | 0.26613 | 1.5088 | 1.3623 | -26.001 | -139.1991 | 146.816 | -26.3133 | -139.1221 | 146.8682
Line_3 | 0.0017127 | 0.0017127 | 0.0017127 | 0.0017127 | 0.0017127 | 0.0017127 | 0.019776 | 0.019776 | 0.019776 | 0.019776 | 0.019776 | 0.019776 | 0.0030634 | 0.015343 | -0.018406 | 0.0030634 | 0.015343 | -0.018406 | 0.0042409 | -0.025576 | -0.019721 | 0.0042409 | -0.025576 | -0.019721 | -80.159 | -80.159 | -80.159 | -80.159 | -80.159 | -80.159 |  | 0.26454 | 1.5081 | 1.3641 | 0.26454 | 1.5081 | 1.3641 | -26.001 | -139.1991 | 146.816 | -26.001 | -139.1991 | 146.816

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.44808 | 0.013617 | 0.013617 | 0.44474 | 0.010274 | 0.010274 | 5.174 | 0.15723 | 0.15723 | 5.1354 | 0.11863 | 0.11863 | 1.5979 | 0.13141 | -0.13602 | -0.96298 | -0.092133 | 0.11029 | 1.1542 | -0.20191 | -0.15045 | -0.9698 | 0.15346 | 0.11814 | -71.5495 | -79.1083 | -79.1083 | 108.4845 | 99.8991 | 99.8991 |  | 0.38098 | 1.5322 | 1.29 | 0.26613 | 1.5088 | 1.3623 | -35.7064 | -136.0511 | 148.7757 | -26.3133 | -139.1221 | 146.8682
Line_1 | 0.0017127 | 0.0017127 | 0.0017127 | 0.0051369 | 0.0051369 | 0.0051369 | 0.019776 | 0.019776 | 0.019776 | 0.059316 | 0.059316 | 0.059316 | -0.0030634 | -0.015343 | 0.018406 | 0.0093259 | 0.046066 | -0.055143 | -0.0042409 | 0.025576 | 0.019721 | 0.012736 | -0.076732 | -0.05907 | 99.841 | 99.841 | 99.841 | -80.1009 | -80.1009 | -80.1009 |  | 0.26454 | 1.5081 | 1.3641 | 0.26613 | 1.5088 | 1.3623 | -26.001 | -139.1991 | 146.816 | -26.3133 | -139.1221 | 146.8682
Line_2 | 0.0017127 | 0.0017127 | 0.0017127 | 0.0051369 | 0.0051369 | 0.0051369 | 0.019776 | 0.019776 | 0.019776 | 0.059316 | 0.059316 | 0.059316 | -0.0030634 | -0.015343 | 0.018406 | 0.0093259 | 0.046066 | -0.055143 | -0.0042409 | 0.025576 | 0.019721 | 0.012736 | -0.076732 | -0.05907 | 99.841 | 99.841 | 99.841 | -80.1009 | -80.1009 | -80.1009 |  | 0.26454 | 1.5081 | 1.3641 | 0.26613 | 1.5088 | 1.3623 | -26.001 | -139.1991 | 146.816 | -26.3133 | -139.1221 | 146.8682
Line_3 | 0.0017127 | 0.0017127 | 0.0017127 | 0.0017127 | 0.0017127 | 0.0017127 | 0.019776 | 0.019776 | 0.019776 | 0.019776 | 0.019776 | 0.019776 | 0.0030634 | 0.015343 | -0.018406 | 0.0030634 | 0.015343 | -0.018406 | 0.0042409 | -0.025576 | -0.019721 | 0.0042409 | -0.025576 | -0.019721 | -80.159 | -80.159 | -80.159 | -80.159 | -80.159 | -80.159 |  | 0.26454 | 1.5081 | 1.3641 | 0.26454 | 1.5081 | 1.3641 | -26.001 | -139.1991 | 146.816 | -26.001 | -139.1991 | 146.816

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010563 | 3.6893 | 3.7376 | 0.007957 | 3.6896 | 3.737 | 0.12197 | 42.6002 | 43.1581 | 0.091879 | 42.604 | 43.1515 | 0.002486 | 7.3442 | 7.1373 | -0.00015604 | 7.7234e-11 | 8.2546e-11 | -0.19452 | 6.5714 | 9.7393 | 0.14764 | -4.7254e-11 | 3.3136e-11 | 90.6651 | -170.552 | 14.9565 | -89.8584 | 9.4882 | -165.0825 |  | 1.595 | 0.23134 | 0.27977 | 1.6068 | 0 | 0 | 1.3973 | -128.7307 | 68.7213 | 0.20213 | 0 | 0
Line_1 | 0.0013264 | 0.0013264 | 0.0013264 | 0.0039785 | 0.0039785 | 0.0039785 | 0.015316 | 0.015316 | 0.015316 | 0.04594 | 0.04594 | 0.04594 | -2.6008e-05 | 1.3002e-05 | 1.3002e-05 | 7.8017e-05 | -3.6752e-14 | -5.6523e-14 | 0.024616 | 5.1728e-06 | 5.1728e-06 | -0.073818 | -9.045e-14 | 7.5977e-14 | -89.8887 | -89.8887 | -89.8887 | 90.1416 | 90.1416 | 90.1416 |  | 1.6072 | 0.00091363 | 0.00091363 | 1.6068 | 0 | 0 | 0.17184 | -68.1943 | -68.1943 | 0.20213 | 0 | 0
Line_2 | 0.0013264 | 0.0013264 | 0.0013264 | 0.0039785 | 0.0039785 | 0.0039785 | 0.015316 | 0.015316 | 0.015316 | 0.04594 | 0.04594 | 0.04594 | -2.6008e-05 | 1.3002e-05 | 1.3002e-05 | 7.8017e-05 | -3.6752e-14 | -5.6523e-14 | 0.024616 | 5.1728e-06 | 5.1728e-06 | -0.073818 | -9.045e-14 | 7.5977e-14 | -89.8887 | -89.8887 | -89.8887 | 90.1416 | 90.1416 | 90.1416 |  | 1.6072 | 0.00091363 | 0.00091363 | 1.6068 | 0 | 0 | 0.17184 | -68.1943 | -68.1943 | 0.20213 | 0 | 0
Line_3 | 0.0013264 | 0.0013264 | 0.0013264 | 0.0013264 | 0.0013264 | 0.0013264 | 0.015316 | 0.015316 | 0.015316 | 0.015316 | 0.015316 | 0.015316 | 2.6005e-05 | -1.3002e-05 | -1.3002e-05 | 2.6005e-05 | -1.3002e-05 | -1.3002e-05 | -0.024616 | -5.1728e-06 | -5.1728e-06 | -0.024616 | -5.1728e-06 | -5.1728e-06 | 90.1113 | 90.1113 | 90.1113 | 90.1113 | 90.1113 | 90.1113 |  | 1.6072 | 0.00091363 | 0.00091363 | 1.6072 | 0.00091363 | 0.00091363 | 0.17184 | -68.1943 | -68.1943 | 0.17184 | -68.1943 | -68.1943

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010563 | 3.6893 | 3.7376 | 0.007957 | 3.6896 | 3.737 | 0.12197 | 42.6002 | 43.1581 | 0.091879 | 42.604 | 43.1515 | 0.002486 | 7.3442 | 7.1373 | -0.00015604 | 7.7234e-11 | 8.2546e-11 | -0.19452 | 6.5714 | 9.7393 | 0.14764 | -4.7254e-11 | 3.3136e-11 | 90.6651 | -170.552 | 14.9565 | -89.8584 | 9.4882 | -165.0825 |  | 1.595 | 0.23134 | 0.27977 | 1.6068 | 0 | 0 | 1.3973 | -128.7307 | 68.7213 | 0.20213 | 0 | 0
Line_1 | 0.0013264 | 0.0013264 | 0.0013264 | 0.0039785 | 0.0039785 | 0.0039785 | 0.015316 | 0.015316 | 0.015316 | 0.04594 | 0.04594 | 0.04594 | -2.6008e-05 | 1.3002e-05 | 1.3002e-05 | 7.8017e-05 | -3.6752e-14 | -5.6523e-14 | 0.024616 | 5.1728e-06 | 5.1728e-06 | -0.073818 | -9.045e-14 | 7.5977e-14 | -89.8887 | -89.8887 | -89.8887 | 90.1416 | 90.1416 | 90.1416 |  | 1.6072 | 0.00091363 | 0.00091363 | 1.6068 | 0 | 0 | 0.17184 | -68.1943 | -68.1943 | 0.20213 | 0 | 0
Line_2 | 0.0013264 | 0.0013264 | 0.0013264 | 0.0039785 | 0.0039785 | 0.0039785 | 0.015316 | 0.015316 | 0.015316 | 0.04594 | 0.04594 | 0.04594 | -2.6008e-05 | 1.3002e-05 | 1.3002e-05 | 7.8017e-05 | -3.6752e-14 | -5.6523e-14 | 0.024616 | 5.1728e-06 | 5.1728e-06 | -0.073818 | -9.045e-14 | 7.5977e-14 | -89.8887 | -89.8887 | -89.8887 | 90.1416 | 90.1416 | 90.1416 |  | 1.6072 | 0.00091363 | 0.00091363 | 1.6068 | 0 | 0 | 0.17184 | -68.1943 | -68.1943 | 0.20213 | 0 | 0
Line_3 | 0.0013264 | 0.0013264 | 0.0013264 | 0.0013264 | 0.0013264 | 0.0013264 | 0.015316 | 0.015316 | 0.015316 | 0.015316 | 0.015316 | 0.015316 | 2.6005e-05 | -1.3002e-05 | -1.3002e-05 | 2.6005e-05 | -1.3002e-05 | -1.3002e-05 | -0.024616 | -5.1728e-06 | -5.1728e-06 | -0.024616 | -5.1728e-06 | -5.1728e-06 | 90.1113 | 90.1113 | 90.1113 | 90.1113 | 90.1113 | 90.1113 |  | 1.6072 | 0.00091363 | 0.00091363 | 1.6072 | 0.00091363 | 0.00091363 | 0.17184 | -68.1943 | -68.1943 | 0.17184 | -68.1943 | -68.1943

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0091811 | 1.0778 | 1.2084 | 0.006916 | 1.0785 | 1.2072 | 0.10601 | 12.4449 | 13.9539 | 0.079859 | 12.4537 | 13.9393 | -0.010655 | 6.3703 | 8.1928 | 0.0092229 | -5.7952 | -7.2958 | -0.16141 | 6.1808 | 8.4911 | 0.12251 | -5.8645 | -7.2282 | 96.7513 | -152.0994 | 42.2174 | -83.7723 | 28.0141 | -137.8719 |  | 1.5258 | 0.71322 | 0.84558 | 1.5384 | 0.66204 | 0.73677 | 2.9747 | -107.9646 | 88.242 | 1.9223 | -106.6456 | 86.8613
Line_1 | 0.0011529 | 0.0011529 | 0.0011529 | 0.003458 | 0.003458 | 0.003458 | 0.013313 | 0.013313 | 0.013313 | 0.039929 | 0.039929 | 0.039929 | 0.0015365 | 0.0081321 | -0.0096686 | -0.0046114 | -0.024356 | 0.029027 | 0.020427 | -0.0034175 | 0.0015951 | -0.061253 | 0.010275 | -0.0047878 | -83.8025 | -83.8025 | -83.8025 | 96.2277 | 96.2277 | 96.2277 |  | 1.5387 | 0.66261 | 0.73609 | 1.5384 | 0.66204 | 0.73677 | 1.8958 | -106.5974 | 86.8294 | 1.9223 | -106.6456 | 86.8613
Line_2 | 0.0011529 | 0.0011529 | 0.0011529 | 0.003458 | 0.003458 | 0.003458 | 0.013313 | 0.013313 | 0.013313 | 0.039929 | 0.039929 | 0.039929 | 0.0015365 | 0.0081321 | -0.0096686 | -0.0046114 | -0.024356 | 0.029027 | 0.020427 | -0.0034175 | 0.0015951 | -0.061253 | 0.010275 | -0.0047878 | -83.8025 | -83.8025 | -83.8025 | 96.2277 | 96.2277 | 96.2277 |  | 1.5387 | 0.66261 | 0.73609 | 1.5384 | 0.66204 | 0.73677 | 1.8958 | -106.5974 | 86.8294 | 1.9223 | -106.6456 | 86.8613
Line_3 | 0.0011529 | 0.0011529 | 0.0011529 | 0.0011529 | 0.0011529 | 0.0011529 | 0.013313 | 0.013313 | 0.013313 | 0.013313 | 0.013313 | 0.013313 | -0.0015365 | -0.0081321 | 0.0096686 | -0.0015365 | -0.0081321 | 0.0096686 | -0.020427 | 0.0034175 | -0.0015951 | -0.020427 | 0.0034175 | -0.0015951 | 96.1975 | 96.1975 | 96.1975 | 96.1975 | 96.1975 | 96.1975 |  | 1.5387 | 0.66261 | 0.73609 | 1.5387 | 0.66261 | 0.73609 | 1.8958 | -106.5974 | 86.8294 | 1.8958 | -106.5974 | 86.8294

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0091811 | 1.0778 | 1.2084 | 0.006916 | 1.0785 | 1.2072 | 0.10601 | 12.4449 | 13.9539 | 0.079859 | 12.4537 | 13.9393 | -0.010655 | 6.3703 | 8.1928 | 0.0092229 | -5.7952 | -7.2958 | -0.16141 | 6.1808 | 8.4911 | 0.12251 | -5.8645 | -7.2282 | 96.7513 | -152.0994 | 42.2174 | -83.7723 | 28.0141 | -137.8719 |  | 1.5258 | 0.71322 | 0.84558 | 1.5384 | 0.66204 | 0.73677 | 2.9747 | -107.9646 | 88.242 | 1.9223 | -106.6456 | 86.8613
Line_1 | 0.0011529 | 0.0011529 | 0.0011529 | 0.003458 | 0.003458 | 0.003458 | 0.013313 | 0.013313 | 0.013313 | 0.039929 | 0.039929 | 0.039929 | 0.0015365 | 0.0081321 | -0.0096686 | -0.0046114 | -0.024356 | 0.029027 | 0.020427 | -0.0034175 | 0.0015951 | -0.061253 | 0.010275 | -0.0047878 | -83.8025 | -83.8025 | -83.8025 | 96.2277 | 96.2277 | 96.2277 |  | 1.5387 | 0.66261 | 0.73609 | 1.5384 | 0.66204 | 0.73677 | 1.8958 | -106.5974 | 86.8294 | 1.9223 | -106.6456 | 86.8613
Line_2 | 0.0011529 | 0.0011529 | 0.0011529 | 0.003458 | 0.003458 | 0.003458 | 0.013313 | 0.013313 | 0.013313 | 0.039929 | 0.039929 | 0.039929 | 0.0015365 | 0.0081321 | -0.0096686 | -0.0046114 | -0.024356 | 0.029027 | 0.020427 | -0.0034175 | 0.0015951 | -0.061253 | 0.010275 | -0.0047878 | -83.8025 | -83.8025 | -83.8025 | 96.2277 | 96.2277 | 96.2277 |  | 1.5387 | 0.66261 | 0.73609 | 1.5384 | 0.66204 | 0.73677 | 1.8958 | -106.5974 | 86.8294 | 1.9223 | -106.6456 | 86.8613
Line_3 | 0.0011529 | 0.0011529 | 0.0011529 | 0.0011529 | 0.0011529 | 0.0011529 | 0.013313 | 0.013313 | 0.013313 | 0.013313 | 0.013313 | 0.013313 | -0.0015365 | -0.0081321 | 0.0096686 | -0.0015365 | -0.0081321 | 0.0096686 | -0.020427 | 0.0034175 | -0.0015951 | -0.020427 | 0.0034175 | -0.0015951 | 96.1975 | 96.1975 | 96.1975 | 96.1975 | 96.1975 | 96.1975 |  | 1.5387 | 0.66261 | 0.73609 | 1.5387 | 0.66261 | 0.73609 | 1.8958 | -106.5974 | 86.8294 | 1.8958 | -106.5974 | 86.8294

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0095718 | 3.09 | 3.1562 | 0.0072221 | 3.0906 | 3.1555 | 0.11053 | 35.6806 | 36.445 | 0.083393 | 35.6868 | 36.4361 | 0.0038793 | 9.5009 | 10.1956 | -0.0002468 | -1.3471e-10 | 2.9463e-11 | -0.15941 | 3.5409 | 8.0005 | 0.12162 | -1.3572e-10 | -1.9408e-10 | 91.2036 | -162.6184 | 23.2119 | -89.789 | 17.4241 | -156.8285 |  | 1.4427 | 0.28417 | 0.3556 | 1.4584 | 0 | 0 | 2.5977 | -142.1784 | 61.3331 | 0.3273 | 0 | 0
Line_1 | 0.0012039 | 0.0012039 | 0.0012039 | 0.003611 | 0.003611 | 0.003611 | 0.013902 | 0.013902 | 0.013902 | 0.041697 | 0.041697 | 0.041697 | -4.1134e-05 | 2.0566e-05 | 2.0566e-05 | 0.0001234 | -1.9805e-13 | 1.9135e-13 | 0.020279 | 4.2614e-06 | 4.2614e-06 | -0.060812 | 1.0341e-13 | 1.1769e-13 | -89.8471 | -89.8471 | -89.8471 | 90.211 | 90.211 | 90.211 |  | 1.4587 | 0.0015108 | 0.0015108 | 1.4584 | 0 | 0 | 0.26916 | -78.1407 | -78.1407 | 0.3273 | 0 | 0
Line_2 | 0.0012039 | 0.0012039 | 0.0012039 | 0.003611 | 0.003611 | 0.003611 | 0.013902 | 0.013902 | 0.013902 | 0.041697 | 0.041697 | 0.041697 | -4.1134e-05 | 2.0566e-05 | 2.0566e-05 | 0.0001234 | -1.9805e-13 | 1.9135e-13 | 0.020279 | 4.2614e-06 | 4.2614e-06 | -0.060812 | 1.0341e-13 | 1.1769e-13 | -89.8471 | -89.8471 | -89.8471 | 90.211 | 90.211 | 90.211 |  | 1.4587 | 0.0015108 | 0.0015108 | 1.4584 | 0 | 0 | 0.26916 | -78.1407 | -78.1407 | 0.3273 | 0 | 0
Line_3 | 0.0012039 | 0.0012039 | 0.0012039 | 0.0012039 | 0.0012039 | 0.0012039 | 0.013902 | 0.013902 | 0.013902 | 0.013902 | 0.013902 | 0.013902 | 4.1132e-05 | -2.0566e-05 | -2.0566e-05 | 4.1132e-05 | -2.0566e-05 | -2.0566e-05 | -0.020279 | -4.2614e-06 | -4.2614e-06 | -0.020279 | -4.2614e-06 | -4.2614e-06 | 90.1529 | 90.1529 | 90.1529 | 90.1529 | 90.1529 | 90.1529 |  | 1.4587 | 0.0015108 | 0.0015108 | 1.4587 | 0.0015108 | 0.0015108 | 0.26916 | -78.1407 | -78.1407 | 0.26916 | -78.1407 | -78.1407

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0095718 | 3.09 | 3.1562 | 0.0072221 | 3.0906 | 3.1555 | 0.11053 | 35.6806 | 36.445 | 0.083393 | 35.6868 | 36.4361 | 0.0038793 | 9.5009 | 10.1956 | -0.0002468 | -1.3471e-10 | 2.9463e-11 | -0.15941 | 3.5409 | 8.0005 | 0.12162 | -1.3572e-10 | -1.9408e-10 | 91.2036 | -162.6184 | 23.2119 | -89.789 | 17.4241 | -156.8285 |  | 1.4427 | 0.28417 | 0.3556 | 1.4584 | 0 | 0 | 2.5977 | -142.1784 | 61.3331 | 0.3273 | 0 | 0
Line_1 | 0.0012039 | 0.0012039 | 0.0012039 | 0.003611 | 0.003611 | 0.003611 | 0.013902 | 0.013902 | 0.013902 | 0.041697 | 0.041697 | 0.041697 | -4.1134e-05 | 2.0566e-05 | 2.0566e-05 | 0.0001234 | -1.9805e-13 | 1.9135e-13 | 0.020279 | 4.2614e-06 | 4.2614e-06 | -0.060812 | 1.0341e-13 | 1.1769e-13 | -89.8471 | -89.8471 | -89.8471 | 90.211 | 90.211 | 90.211 |  | 1.4587 | 0.0015108 | 0.0015108 | 1.4584 | 0 | 0 | 0.26916 | -78.1407 | -78.1407 | 0.3273 | 0 | 0
Line_2 | 0.0012039 | 0.0012039 | 0.0012039 | 0.003611 | 0.003611 | 0.003611 | 0.013902 | 0.013902 | 0.013902 | 0.041697 | 0.041697 | 0.041697 | -4.1134e-05 | 2.0566e-05 | 2.0566e-05 | 0.0001234 | -1.9805e-13 | 1.9135e-13 | 0.020279 | 4.2614e-06 | 4.2614e-06 | -0.060812 | 1.0341e-13 | 1.1769e-13 | -89.8471 | -89.8471 | -89.8471 | 90.211 | 90.211 | 90.211 |  | 1.4587 | 0.0015108 | 0.0015108 | 1.4584 | 0 | 0 | 0.26916 | -78.1407 | -78.1407 | 0.3273 | 0 | 0
Line_3 | 0.0012039 | 0.0012039 | 0.0012039 | 0.0012039 | 0.0012039 | 0.0012039 | 0.013902 | 0.013902 | 0.013902 | 0.013902 | 0.013902 | 0.013902 | 4.1132e-05 | -2.0566e-05 | -2.0566e-05 | 4.1132e-05 | -2.0566e-05 | -2.0566e-05 | -0.020279 | -4.2614e-06 | -4.2614e-06 | -0.020279 | -4.2614e-06 | -4.2614e-06 | 90.1529 | 90.1529 | 90.1529 | 90.1529 | 90.1529 | 90.1529 |  | 1.4587 | 0.0015108 | 0.0015108 | 1.4587 | 0.0015108 | 0.0015108 | 0.26916 | -78.1407 | -78.1407 | 0.26916 | -78.1407 | -78.1407

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0082759 | 0.94584 | 1.0562 | 0.0062443 | 0.94654 | 1.055 | 0.095562 | 10.9217 | 12.1959 | 0.072103 | 10.9297 | 12.1826 | -0.0064465 | 5.2724 | 6.9352 | 0.0067055 | -4.4647 | -5.5708 | -0.13148 | 4.5032 | 6.7464 | 0.10033 | -4.5187 | -5.5193 | 96.6594 | -150.4587 | 44.3682 | -84.3332 | 29.6572 | -135.7227 |  | 1.3775 | 0.63486 | 0.79332 | 1.3946 | 0.5812 | 0.6437 | 3.8525 | -109.9577 | 88.5778 | 1.8431 | -104.9984 | 89.0113
Line_1 | 0.0010409 | 0.0010409 | 0.0010409 | 0.0031222 | 0.0031222 | 0.0031222 | 0.01202 | 0.01202 | 0.01202 | 0.036052 | 0.036052 | 0.036052 | 0.0011162 | 0.0065542 | -0.0076705 | -0.0033528 | -0.019605 | 0.02305 | 0.01673 | -0.0024555 | 0.00089211 | -0.050165 | 0.0073945 | -0.0026896 | -84.3913 | -84.3913 | -84.3913 | 95.6668 | 95.6668 | 95.6668 |  | 1.3949 | 0.5823 | 0.64246 | 1.3946 | 0.5812 | 0.6437 | 1.7914 | -104.9297 | 88.9747 | 1.8431 | -104.9984 | 89.0113
Line_2 | 0.0010409 | 0.0010409 | 0.0010409 | 0.0031222 | 0.0031222 | 0.0031222 | 0.01202 | 0.01202 | 0.01202 | 0.036052 | 0.036052 | 0.036052 | 0.0011162 | 0.0065542 | -0.0076705 | -0.0033528 | -0.019605 | 0.02305 | 0.01673 | -0.0024555 | 0.00089211 | -0.050165 | 0.0073945 | -0.0026896 | -84.3913 | -84.3913 | -84.3913 | 95.6668 | 95.6668 | 95.6668 |  | 1.3949 | 0.5823 | 0.64246 | 1.3946 | 0.5812 | 0.6437 | 1.7914 | -104.9297 | 88.9747 | 1.8431 | -104.9984 | 89.0113
Line_3 | 0.0010409 | 0.0010409 | 0.0010409 | 0.0010409 | 0.0010409 | 0.0010409 | 0.01202 | 0.01202 | 0.01202 | 0.01202 | 0.01202 | 0.01202 | -0.0011162 | -0.0065542 | 0.0076705 | -0.0011162 | -0.0065542 | 0.0076705 | -0.01673 | 0.0024555 | -0.00089211 | -0.01673 | 0.0024555 | -0.00089211 | 95.6087 | 95.6087 | 95.6087 | 95.6087 | 95.6087 | 95.6087 |  | 1.3949 | 0.5823 | 0.64246 | 1.3949 | 0.5823 | 0.64246 | 1.7914 | -104.9297 | 88.9747 | 1.7914 | -104.9297 | 88.9747

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0082759 | 0.94584 | 1.0562 | 0.0062443 | 0.94654 | 1.055 | 0.095562 | 10.9217 | 12.1959 | 0.072103 | 10.9297 | 12.1826 | -0.0064465 | 5.2724 | 6.9352 | 0.0067055 | -4.4647 | -5.5708 | -0.13148 | 4.5032 | 6.7464 | 0.10033 | -4.5187 | -5.5193 | 96.6594 | -150.4587 | 44.3682 | -84.3332 | 29.6572 | -135.7227 |  | 1.3775 | 0.63486 | 0.79332 | 1.3946 | 0.5812 | 0.6437 | 3.8525 | -109.9577 | 88.5778 | 1.8431 | -104.9984 | 89.0113
Line_1 | 0.0010409 | 0.0010409 | 0.0010409 | 0.0031222 | 0.0031222 | 0.0031222 | 0.01202 | 0.01202 | 0.01202 | 0.036052 | 0.036052 | 0.036052 | 0.0011162 | 0.0065542 | -0.0076705 | -0.0033528 | -0.019605 | 0.02305 | 0.01673 | -0.0024555 | 0.00089211 | -0.050165 | 0.0073945 | -0.0026896 | -84.3913 | -84.3913 | -84.3913 | 95.6668 | 95.6668 | 95.6668 |  | 1.3949 | 0.5823 | 0.64246 | 1.3946 | 0.5812 | 0.6437 | 1.7914 | -104.9297 | 88.9747 | 1.8431 | -104.9984 | 89.0113
Line_2 | 0.0010409 | 0.0010409 | 0.0010409 | 0.0031222 | 0.0031222 | 0.0031222 | 0.01202 | 0.01202 | 0.01202 | 0.036052 | 0.036052 | 0.036052 | 0.0011162 | 0.0065542 | -0.0076705 | -0.0033528 | -0.019605 | 0.02305 | 0.01673 | -0.0024555 | 0.00089211 | -0.050165 | 0.0073945 | -0.0026896 | -84.3913 | -84.3913 | -84.3913 | 95.6668 | 95.6668 | 95.6668 |  | 1.3949 | 0.5823 | 0.64246 | 1.3946 | 0.5812 | 0.6437 | 1.7914 | -104.9297 | 88.9747 | 1.8431 | -104.9984 | 89.0113
Line_3 | 0.0010409 | 0.0010409 | 0.0010409 | 0.0010409 | 0.0010409 | 0.0010409 | 0.01202 | 0.01202 | 0.01202 | 0.01202 | 0.01202 | 0.01202 | -0.0011162 | -0.0065542 | 0.0076705 | -0.0011162 | -0.0065542 | 0.0076705 | -0.01673 | 0.0024555 | -0.00089211 | -0.01673 | 0.0024555 | -0.00089211 | 95.6087 | 95.6087 | 95.6087 | 95.6087 | 95.6087 | 95.6087 |  | 1.3949 | 0.5823 | 0.64246 | 1.3949 | 0.5823 | 0.64246 | 1.7914 | -104.9297 | 88.9747 | 1.7914 | -104.9297 | 88.9747