## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.7738e-14 | 2.6053e-14 | -4.1685e-14 | 5.7317e-14 | -1.3026e-14 | 4.6896e-14 | -1.0421e-14 | 5.7634e-09 | -5.7634e-09 | 2.0843e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 7.6263e-13 | -180 | 180 | 7.7912e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5632e-14 | -5.2104e-15 | 1.0421e-14 | -2.0843e-14 | 7.8158e-15 | -1.5632e-14 | 1.5632e-14 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 7.8718e-13 | -180 | 180 | 7.7912e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.0843e-14 | -5.2104e-15 | 2.0843e-14 | -2.6053e-14 | 1.8237e-14 | -1.5632e-14 | 1.5632e-14 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 7.7743e-13 | -180 | 180 | 7.7912e-13 | -180 | 180
Line_4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1588e-29 | -5.5588e-25 | -1.5632e-14 | -7.0702e-29 | 5.2106e-15 | 5.2106e-15 | 5.2106e-15 | 5.2106e-15 | 1.5632e-14 | 5.2106e-15 | -2.6053e-15 | -5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 7.8718e-13 | -180 | 180 | 7.7743e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.7738e-14 | 2.6053e-14 | -4.1685e-14 | 5.7317e-14 | -1.3026e-14 | 4.6896e-14 | -1.0421e-14 | 5.7634e-09 | -5.7634e-09 | 2.0843e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 7.6263e-13 | -180 | 180 | 7.7912e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5632e-14 | -5.2104e-15 | 1.0421e-14 | -2.0843e-14 | 7.8158e-15 | -1.5632e-14 | 1.5632e-14 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 7.8718e-13 | -180 | 180 | 7.7912e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.0843e-14 | -5.2104e-15 | 2.0843e-14 | -2.6053e-14 | 1.8237e-14 | -1.5632e-14 | 1.5632e-14 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 7.7743e-13 | -180 | 180 | 7.7912e-13 | -180 | 180
Line_4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1588e-29 | -5.5588e-25 | -1.5632e-14 | -7.0702e-29 | 5.2106e-15 | 5.2106e-15 | 5.2106e-15 | 5.2106e-15 | 1.5632e-14 | 5.2106e-15 | -2.6053e-15 | -5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 7.8718e-13 | -180 | 180 | 7.7743e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.2528e-14 | -7.3078e-10 | -2.0393e-09 | 5.2106e-14 | 7.3078e-10 | 2.0393e-09 | -1.5632e-14 | 5.8225e-09 | -3.5561e-09 | 1.5632e-14 | -5.8225e-09 | 3.5561e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0202 | 0.24004 | 0.89607 | 1.0202 | 0.24004 | 0.89607 | 6.1712e-13 | -164.9034 | 158.1097 | 6.2762e-13 | -164.9034 | 158.1097
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.1264e-14 | 2.436e-10 | 6.7978e-10 | -2.6053e-14 | -2.4359e-10 | -6.7978e-10 | 3.445e-28 | -1.9408e-09 | 1.1854e-09 | -1.0421e-14 | 1.9408e-09 | -1.1854e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0202 | 0.24004 | 0.89607 | 1.0202 | 0.24004 | 0.89607 | 6.3135e-13 | -164.9034 | 158.1097 | 6.2762e-13 | -164.9034 | 158.1097
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 2.436e-10 | 6.7978e-10 | -2.0843e-14 | -2.436e-10 | -6.7978e-10 | 5.2106e-15 | -1.9408e-09 | 1.1854e-09 | -5.2106e-15 | 1.9409e-09 | -1.1854e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0202 | 0.24004 | 0.89607 | 1.0202 | 0.24004 | 0.89607 | 6.2365e-13 | -164.9034 | 158.1097 | 6.2762e-13 | -164.9034 | 158.1097
Line_4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5632e-14 | 3.7122e-15 | -8.2215e-16 | -2.0843e-14 | 1.682e-15 | 2.5041e-15 | 1.7225e-28 | 1.1035e-14 | 1.0054e-14 | -2.2686e-28 | -6.2352e-15 | -5.8681e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0202 | 0.24004 | 0.89607 | 1.0202 | 0.24004 | 0.89607 | 6.3135e-13 | -164.9034 | 158.1097 | 6.2365e-13 | -164.9034 | 158.1097

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.2528e-14 | -7.3078e-10 | -2.0393e-09 | 5.2106e-14 | 7.3078e-10 | 2.0393e-09 | -1.5632e-14 | 5.8225e-09 | -3.5561e-09 | 1.5632e-14 | -5.8225e-09 | 3.5561e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0202 | 0.24004 | 0.89607 | 1.0202 | 0.24004 | 0.89607 | 6.1712e-13 | -164.9034 | 158.1097 | 6.2762e-13 | -164.9034 | 158.1097
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.1264e-14 | 2.436e-10 | 6.7978e-10 | -2.6053e-14 | -2.4359e-10 | -6.7978e-10 | 3.445e-28 | -1.9408e-09 | 1.1854e-09 | -1.0421e-14 | 1.9408e-09 | -1.1854e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0202 | 0.24004 | 0.89607 | 1.0202 | 0.24004 | 0.89607 | 6.3135e-13 | -164.9034 | 158.1097 | 6.2762e-13 | -164.9034 | 158.1097
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 2.436e-10 | 6.7978e-10 | -2.0843e-14 | -2.436e-10 | -6.7978e-10 | 5.2106e-15 | -1.9408e-09 | 1.1854e-09 | -5.2106e-15 | 1.9409e-09 | -1.1854e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0202 | 0.24004 | 0.89607 | 1.0202 | 0.24004 | 0.89607 | 6.2365e-13 | -164.9034 | 158.1097 | 6.2762e-13 | -164.9034 | 158.1097
Line_4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5632e-14 | 3.7122e-15 | -8.2215e-16 | -2.0843e-14 | 1.682e-15 | 2.5041e-15 | 1.7225e-28 | 1.1035e-14 | 1.0054e-14 | -2.2686e-28 | -6.2352e-15 | -5.8681e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0202 | 0.24004 | 0.89607 | 1.0202 | 0.24004 | 0.89607 | 6.3135e-13 | -164.9034 | 158.1097 | 6.2365e-13 | -164.9034 | 158.1097

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | -1.5395e-14 | -1.0289e-19 | 2.3685e-14 | 1.5396e-14 | 7.8243e-19 | 2.3685e-14 | 4.7631e-09 | -4.7631e-09 | -2.3685e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 7.1354e-13 | -180 | 180 | 7.5253e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | 3.553e-15 | 9.4742e-15 | -9.4739e-15 | -3.553e-15 | -4.7372e-15 | 9.1663e-29 | -1.5877e-09 | 1.5877e-09 | -1.2443e-28 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 7.3914e-13 | -180 | 180 | 7.5253e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | 3.553e-15 | 4.7373e-15 | -7.1054e-15 | -3.553e-15 | -2.6081e-19 | -9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 7.4082e-13 | -180 | 180 | 7.5253e-13 | -180 | 180
Line_4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.1109e-29 | 4.737e-15 | 4.737e-15 | -2.3685e-15 | -4.737e-15 | 1.0034e-24 | 4.737e-15 | -2.3685e-15 | 4.737e-15 | -1.4211e-14 | 4.737e-15 | 4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 7.3914e-13 | -180 | 180 | 7.4082e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | -1.5395e-14 | -1.0289e-19 | 2.3685e-14 | 1.5396e-14 | 7.8243e-19 | 2.3685e-14 | 4.7631e-09 | -4.7631e-09 | -2.3685e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 7.1354e-13 | -180 | 180 | 7.5253e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | 3.553e-15 | 9.4742e-15 | -9.4739e-15 | -3.553e-15 | -4.7372e-15 | 9.1663e-29 | -1.5877e-09 | 1.5877e-09 | -1.2443e-28 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 7.3914e-13 | -180 | 180 | 7.5253e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | 3.553e-15 | 4.7373e-15 | -7.1054e-15 | -3.553e-15 | -2.6081e-19 | -9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 7.4082e-13 | -180 | 180 | 7.5253e-13 | -180 | 180
Line_4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.1109e-29 | 4.737e-15 | 4.737e-15 | -2.3685e-15 | -4.737e-15 | 1.0034e-24 | 4.737e-15 | -2.3685e-15 | 4.737e-15 | -1.4211e-14 | 4.737e-15 | 4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 7.3914e-13 | -180 | 180 | 7.4082e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6579e-14 | -5.5597e-10 | -1.5515e-09 | 1.1842e-14 | 5.5597e-10 | 1.5515e-09 | 1.4211e-14 | 4.8331e-09 | -3.1089e-09 | -1.1842e-14 | -4.8331e-09 | 3.1089e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.92203 | 0.19641 | 0.81801 | 0.92203 | 0.19641 | 0.81801 | 5.9976e-13 | -166.2936 | 160.6236 | 6.2869e-13 | -166.2936 | 160.6236
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.4739e-15 | 1.8533e-10 | 5.1716e-10 | -9.4739e-15 | -1.8533e-10 | -5.1716e-10 | -2.3685e-15 | -1.6111e-09 | 1.0363e-09 | 2.3685e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.92203 | 0.19641 | 0.81801 | 0.92203 | 0.19641 | 0.81801 | 6.1714e-13 | -166.2936 | 160.6236 | 6.2869e-13 | -166.2936 | 160.6236
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | 1.8533e-10 | 5.1716e-10 | -7.1054e-15 | -1.8533e-10 | -5.1715e-10 | -4.737e-15 | -1.6111e-09 | 1.0363e-09 | 4.737e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.92203 | 0.19641 | 0.81801 | 0.92203 | 0.19641 | 0.81801 | 6.182e-13 | -166.2936 | 160.6236 | 6.2869e-13 | -166.2936 | 160.6236
Line_4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | 4.2299e-15 | 1.3644e-15 | -4.737e-15 | -6.8221e-16 | 2.5151e-15 | 2.3685e-15 | 6.9588e-15 | 3.8796e-15 | -2.3685e-15 | 2.7972e-15 | -5.244e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.92203 | 0.19641 | 0.81801 | 0.92203 | 0.19641 | 0.81801 | 6.1714e-13 | -166.2936 | 160.6236 | 6.182e-13 | -166.2936 | 160.6236

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6579e-14 | -5.5597e-10 | -1.5515e-09 | 1.1842e-14 | 5.5597e-10 | 1.5515e-09 | 1.4211e-14 | 4.8331e-09 | -3.1089e-09 | -1.1842e-14 | -4.8331e-09 | 3.1089e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.92203 | 0.19641 | 0.81801 | 0.92203 | 0.19641 | 0.81801 | 5.9976e-13 | -166.2936 | 160.6236 | 6.2869e-13 | -166.2936 | 160.6236
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.4739e-15 | 1.8533e-10 | 5.1716e-10 | -9.4739e-15 | -1.8533e-10 | -5.1716e-10 | -2.3685e-15 | -1.6111e-09 | 1.0363e-09 | 2.3685e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.92203 | 0.19641 | 0.81801 | 0.92203 | 0.19641 | 0.81801 | 6.1714e-13 | -166.2936 | 160.6236 | 6.2869e-13 | -166.2936 | 160.6236
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | 1.8533e-10 | 5.1716e-10 | -7.1054e-15 | -1.8533e-10 | -5.1715e-10 | -4.737e-15 | -1.6111e-09 | 1.0363e-09 | 4.737e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.92203 | 0.19641 | 0.81801 | 0.92203 | 0.19641 | 0.81801 | 6.182e-13 | -166.2936 | 160.6236 | 6.2869e-13 | -166.2936 | 160.6236
Line_4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | 4.2299e-15 | 1.3644e-15 | -4.737e-15 | -6.8221e-16 | 2.5151e-15 | 2.3685e-15 | 6.9588e-15 | 3.8796e-15 | -2.3685e-15 | 2.7972e-15 | -5.244e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.92203 | 0.19641 | 0.81801 | 0.92203 | 0.19641 | 0.81801 | 6.1714e-13 | -166.2936 | 160.6236 | 6.182e-13 | -166.2936 | 160.6236

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0071787 | 0.0071787 | 0.0071787 | 0.0053861 | 0.0053861 | 0.0053861 | 0.082893 | 0.082893 | 0.082893 | 0.062193 | 0.062193 | 0.062193 | -1.4891e-06 | 0.07922 | -0.07871 | 0.00012633 | -0.059345 | 0.059147 | 0.00023896 | -0.044696 | -0.045504 | -0.00012952 | 0.033528 | 0.034248 | 0 | 0 | 0 | 89.652 | 89.652 | 89.652 | 0.63436 | 1.1 | 0.63406 | 0.63436 | 1.1 | 0.63406 | 0.063872 | -119.725 | 119.7403 | 43.9376 | -119.813 | 119.7239
Line_1 | 0.00089787 | 0.00089787 | 0.00089787 | 0.002693 | 0.002693 | 0.002693 | 0.010368 | 0.010368 | 0.010368 | 0.031097 | 0.031097 | 0.031097 | 2.7029e-05 | -0.0098899 | 0.0098628 | -6.3165e-05 | 0.029672 | -0.029573 | -1.921e-05 | 0.0055863 | 0.0057167 | 6.4761e-05 | -0.016764 | -0.017124 | 0 | 0 | 0 | -90.348 | -90.348 | -90.348 | 0.63436 | 1.1 | 0.63406 | 0.63436 | 1.1 | 0.63406 | 54.2191 | -119.8382 | 119.7192 | 43.9376 | -119.813 | 119.7239
Line_2 | 0.00089787 | 0.00089787 | 0.00089787 | 0.002693 | 0.002693 | 0.002693 | 0.010368 | 0.010368 | 0.010368 | 0.031097 | 0.031097 | 0.031097 | 2.7029e-05 | -0.0098899 | 0.0098628 | -6.3165e-05 | 0.029672 | -0.029573 | -1.921e-05 | 0.0055863 | 0.0057167 | 6.4761e-05 | -0.016764 | -0.017124 | 0 | 0 | 0 | -90.348 | -90.348 | -90.348 | 0.63436 | 1.1 | 0.63406 | 0.63436 | 1.1 | 0.63406 | 54.2191 | -119.8382 | 119.7192 | 43.9376 | -119.813 | 119.7239
Line_4 | 0.00089787 | 0.00089787 | 0.00089787 | 0.00089787 | 0.00089787 | 0.00089787 | 0.010368 | 0.010368 | 0.010368 | 0.010368 | 0.010368 | 0.010368 | -2.7029e-05 | 0.0098899 | -0.0098628 | -2.7029e-05 | 0.0098899 | -0.0098628 | 1.921e-05 | -0.0055863 | -0.0057167 | 1.921e-05 | -0.0055863 | -0.0057167 | 0 | 0 | 0 | -90.3783 | -90.3783 | -90.3783 | 0.63436 | 1.1 | 0.63406 | 0.63436 | 1.1 | 0.63406 | 54.2191 | -119.8382 | 119.7192 | 54.2191 | -119.8382 | 119.7192

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0071787 | 0.0071787 | 0.0071787 | 0.0053861 | 0.0053861 | 0.0053861 | 0.082893 | 0.082893 | 0.082893 | 0.062193 | 0.062193 | 0.062193 | -1.4891e-06 | 0.07922 | -0.07871 | 0.00012633 | -0.059345 | 0.059147 | 0.00023896 | -0.044696 | -0.045504 | -0.00012952 | 0.033528 | 0.034248 | 0 | 0 | 0 | 89.652 | 89.652 | 89.652 | 0.63436 | 1.1 | 0.63406 | 0.63436 | 1.1 | 0.63406 | 0.063872 | -119.725 | 119.7403 | 43.9376 | -119.813 | 119.7239
Line_1 | 0.00089787 | 0.00089787 | 0.00089787 | 0.002693 | 0.002693 | 0.002693 | 0.010368 | 0.010368 | 0.010368 | 0.031097 | 0.031097 | 0.031097 | 2.7029e-05 | -0.0098899 | 0.0098628 | -6.3165e-05 | 0.029672 | -0.029573 | -1.921e-05 | 0.0055863 | 0.0057167 | 6.4761e-05 | -0.016764 | -0.017124 | 0 | 0 | 0 | -90.348 | -90.348 | -90.348 | 0.63436 | 1.1 | 0.63406 | 0.63436 | 1.1 | 0.63406 | 54.2191 | -119.8382 | 119.7192 | 43.9376 | -119.813 | 119.7239
Line_2 | 0.00089787 | 0.00089787 | 0.00089787 | 0.002693 | 0.002693 | 0.002693 | 0.010368 | 0.010368 | 0.010368 | 0.031097 | 0.031097 | 0.031097 | 2.7029e-05 | -0.0098899 | 0.0098628 | -6.3165e-05 | 0.029672 | -0.029573 | -1.921e-05 | 0.0055863 | 0.0057167 | 6.4761e-05 | -0.016764 | -0.017124 | 0 | 0 | 0 | -90.348 | -90.348 | -90.348 | 0.63436 | 1.1 | 0.63406 | 0.63436 | 1.1 | 0.63406 | 54.2191 | -119.8382 | 119.7192 | 43.9376 | -119.813 | 119.7239
Line_4 | 0.00089787 | 0.00089787 | 0.00089787 | 0.00089787 | 0.00089787 | 0.00089787 | 0.010368 | 0.010368 | 0.010368 | 0.010368 | 0.010368 | 0.010368 | -2.7029e-05 | 0.0098899 | -0.0098628 | -2.7029e-05 | 0.0098899 | -0.0098628 | 1.921e-05 | -0.0055863 | -0.0057167 | 1.921e-05 | -0.0055863 | -0.0057167 | 0 | 0 | 0 | -90.3783 | -90.3783 | -90.3783 | 0.63436 | 1.1 | 0.63406 | 0.63436 | 1.1 | 0.63406 | 54.2191 | -119.8382 | 119.7192 | 54.2191 | -119.8382 | 119.7192

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0049441 | 0.0049441 | 0.0049441 | 0.0037095 | 0.0037095 | 0.0037095 | 0.05709 | 0.05709 | 0.05709 | 0.042834 | 0.042834 | 0.042834 | 0.014503 | 0.045829 | -0.060091 | -0.010809 | -0.034357 | 0.045132 | 0.018016 | -0.042713 | -0.017975 | -0.013504 | 0.032038 | 0.013553 | 0 | 0 | 0 | 103.091 | 103.091 | 103.091 | 0.69105 | 1.1 | 0.83759 | 0.69105 | 1.1 | 0.83759 | -25.6879 | -119.8383 | 119.7996 | -25.5837 | -119.9087 | 119.8063
Line_1 | 0.00061838 | 0.00061838 | 0.00061838 | 0.0018548 | 0.0018548 | 0.0018548 | 0.0071404 | 0.0071404 | 0.0071404 | 0.021417 | 0.021417 | 0.021417 | -0.0017979 | -0.0057273 | 0.0075252 | 0.0054045 | 0.017178 | -0.022566 | -0.002251 | 0.0053388 | 0.0022645 | 0.0067521 | -0.016019 | -0.0067767 | 0 | 0 | 0 | -76.909 | -76.909 | -76.909 | 0.69105 | 1.1 | 0.83759 | 0.69105 | 1.1 | 0.83759 | -25.5538 | -119.9288 | 119.8082 | -25.5837 | -119.9087 | 119.8063
Line_2 | 0.00061838 | 0.00061838 | 0.00061838 | 0.0018548 | 0.0018548 | 0.0018548 | 0.0071404 | 0.0071404 | 0.0071404 | 0.021417 | 0.021417 | 0.021417 | -0.0017979 | -0.0057273 | 0.0075252 | 0.0054045 | 0.017178 | -0.022566 | -0.002251 | 0.0053388 | 0.0022645 | 0.0067521 | -0.016019 | -0.0067767 | 0 | 0 | 0 | -76.909 | -76.909 | -76.909 | 0.69105 | 1.1 | 0.83759 | 0.69105 | 1.1 | 0.83759 | -25.5538 | -119.9288 | 119.8082 | -25.5837 | -119.9087 | 119.8063
Line_4 | 0.00061838 | 0.00061838 | 0.00061838 | 0.00061838 | 0.00061838 | 0.00061838 | 0.0071404 | 0.0071404 | 0.0071404 | 0.0071404 | 0.0071404 | 0.0071404 | 0.0017979 | 0.0057273 | -0.0075252 | 0.0017979 | 0.0057273 | -0.0075252 | 0.002251 | -0.0053388 | -0.0022645 | 0.002251 | -0.0053388 | -0.0022645 | 0 | 0 | 0 | -76.9393 | -76.9393 | -76.9393 | 0.69105 | 1.1 | 0.83759 | 0.69105 | 1.1 | 0.83759 | -25.5538 | -119.9288 | 119.8082 | -25.5538 | -119.9288 | 119.8082

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0049441 | 0.0049441 | 0.0049441 | 0.0037095 | 0.0037095 | 0.0037095 | 0.05709 | 0.05709 | 0.05709 | 0.042834 | 0.042834 | 0.042834 | 0.014503 | 0.045829 | -0.060091 | -0.010809 | -0.034357 | 0.045132 | 0.018016 | -0.042713 | -0.017975 | -0.013504 | 0.032038 | 0.013553 | 0 | 0 | 0 | 103.091 | 103.091 | 103.091 | 0.69105 | 1.1 | 0.83759 | 0.69105 | 1.1 | 0.83759 | -25.6879 | -119.8383 | 119.7996 | -25.5837 | -119.9087 | 119.8063
Line_1 | 0.00061838 | 0.00061838 | 0.00061838 | 0.0018548 | 0.0018548 | 0.0018548 | 0.0071404 | 0.0071404 | 0.0071404 | 0.021417 | 0.021417 | 0.021417 | -0.0017979 | -0.0057273 | 0.0075252 | 0.0054045 | 0.017178 | -0.022566 | -0.002251 | 0.0053388 | 0.0022645 | 0.0067521 | -0.016019 | -0.0067767 | 0 | 0 | 0 | -76.909 | -76.909 | -76.909 | 0.69105 | 1.1 | 0.83759 | 0.69105 | 1.1 | 0.83759 | -25.5538 | -119.9288 | 119.8082 | -25.5837 | -119.9087 | 119.8063
Line_2 | 0.00061838 | 0.00061838 | 0.00061838 | 0.0018548 | 0.0018548 | 0.0018548 | 0.0071404 | 0.0071404 | 0.0071404 | 0.021417 | 0.021417 | 0.021417 | -0.0017979 | -0.0057273 | 0.0075252 | 0.0054045 | 0.017178 | -0.022566 | -0.002251 | 0.0053388 | 0.0022645 | 0.0067521 | -0.016019 | -0.0067767 | 0 | 0 | 0 | -76.909 | -76.909 | -76.909 | 0.69105 | 1.1 | 0.83759 | 0.69105 | 1.1 | 0.83759 | -25.5538 | -119.9288 | 119.8082 | -25.5837 | -119.9087 | 119.8063
Line_4 | 0.00061838 | 0.00061838 | 0.00061838 | 0.00061838 | 0.00061838 | 0.00061838 | 0.0071404 | 0.0071404 | 0.0071404 | 0.0071404 | 0.0071404 | 0.0071404 | 0.0017979 | 0.0057273 | -0.0075252 | 0.0017979 | 0.0057273 | -0.0075252 | 0.002251 | -0.0053388 | -0.0022645 | 0.002251 | -0.0053388 | -0.0022645 | 0 | 0 | 0 | -76.9393 | -76.9393 | -76.9393 | 0.69105 | 1.1 | 0.83759 | 0.69105 | 1.1 | 0.83759 | -25.5538 | -119.9288 | 119.8082 | -25.5538 | -119.9288 | 119.8082

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0065195 | 0.0065195 | 0.0065195 | 0.0048915 | 0.0048915 | 0.0048915 | 0.075281 | 0.075281 | 0.075281 | 0.056482 | 0.056482 | 0.056482 | -2.4188e-06 | 0.065596 | -0.064787 | 0.00020011 | -0.049068 | 0.048755 | 0.00020218 | -0.036532 | -0.037869 | -0.0001106 | 0.02736 | 0.028543 | 0 | 0 | 0 | 89.3071 | 89.3071 | 89.3071 | 0.5766 | 1 | 0.5763 | 0.5766 | 1 | 0.5763 | 0.097822 | -119.7022 | 119.7195 | 60.3778 | -119.8368 | 119.6537
Line_1 | 0.00081542 | 0.00081542 | 0.00081542 | 0.0024457 | 0.0024457 | 0.0024457 | 0.0094157 | 0.0094157 | 0.0094157 | 0.028241 | 0.028241 | 0.028241 | 4.2811e-05 | -0.0081749 | 0.0081321 | -0.00010005 | 0.024534 | -0.024377 | -1.6448e-05 | 0.0045546 | 0.0047684 | 5.5299e-05 | -0.01368 | -0.014272 | 0 | 0 | 0 | -90.6929 | -90.6929 | -90.6929 | 0.5766 | 1 | 0.5763 | 0.5766 | 1 | 0.5763 | 68.2319 | -119.8753 | 119.635 | 60.3778 | -119.8368 | 119.6537
Line_2 | 0.00081542 | 0.00081542 | 0.00081542 | 0.0024457 | 0.0024457 | 0.0024457 | 0.0094157 | 0.0094157 | 0.0094157 | 0.028241 | 0.028241 | 0.028241 | 4.2811e-05 | -0.0081749 | 0.0081321 | -0.00010005 | 0.024534 | -0.024377 | -1.6448e-05 | 0.0045546 | 0.0047684 | 5.5299e-05 | -0.01368 | -0.014272 | 0 | 0 | 0 | -90.6929 | -90.6929 | -90.6929 | 0.5766 | 1 | 0.5763 | 0.5766 | 1 | 0.5763 | 68.2319 | -119.8753 | 119.635 | 60.3778 | -119.8368 | 119.6537
Line_4 | 0.00081542 | 0.00081542 | 0.00081542 | 0.00081542 | 0.00081542 | 0.00081542 | 0.0094157 | 0.0094157 | 0.0094157 | 0.0094157 | 0.0094157 | 0.0094157 | -4.2811e-05 | 0.0081749 | -0.0081321 | -4.2811e-05 | 0.0081749 | -0.0081321 | 1.6448e-05 | -0.0045546 | -0.0047684 | 1.6448e-05 | -0.0045546 | -0.0047684 | 0 | 0 | 0 | -90.751 | -90.751 | -90.751 | 0.5766 | 1 | 0.5763 | 0.5766 | 1 | 0.5763 | 68.2319 | -119.8753 | 119.635 | 68.2319 | -119.8753 | 119.635

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0065195 | 0.0065195 | 0.0065195 | 0.0048915 | 0.0048915 | 0.0048915 | 0.075281 | 0.075281 | 0.075281 | 0.056482 | 0.056482 | 0.056482 | -2.4188e-06 | 0.065596 | -0.064787 | 0.00020011 | -0.049068 | 0.048755 | 0.00020218 | -0.036532 | -0.037869 | -0.0001106 | 0.02736 | 0.028543 | 0 | 0 | 0 | 89.3071 | 89.3071 | 89.3071 | 0.5766 | 1 | 0.5763 | 0.5766 | 1 | 0.5763 | 0.097822 | -119.7022 | 119.7195 | 60.3778 | -119.8368 | 119.6537
Line_1 | 0.00081542 | 0.00081542 | 0.00081542 | 0.0024457 | 0.0024457 | 0.0024457 | 0.0094157 | 0.0094157 | 0.0094157 | 0.028241 | 0.028241 | 0.028241 | 4.2811e-05 | -0.0081749 | 0.0081321 | -0.00010005 | 0.024534 | -0.024377 | -1.6448e-05 | 0.0045546 | 0.0047684 | 5.5299e-05 | -0.01368 | -0.014272 | 0 | 0 | 0 | -90.6929 | -90.6929 | -90.6929 | 0.5766 | 1 | 0.5763 | 0.5766 | 1 | 0.5763 | 68.2319 | -119.8753 | 119.635 | 60.3778 | -119.8368 | 119.6537
Line_2 | 0.00081542 | 0.00081542 | 0.00081542 | 0.0024457 | 0.0024457 | 0.0024457 | 0.0094157 | 0.0094157 | 0.0094157 | 0.028241 | 0.028241 | 0.028241 | 4.2811e-05 | -0.0081749 | 0.0081321 | -0.00010005 | 0.024534 | -0.024377 | -1.6448e-05 | 0.0045546 | 0.0047684 | 5.5299e-05 | -0.01368 | -0.014272 | 0 | 0 | 0 | -90.6929 | -90.6929 | -90.6929 | 0.5766 | 1 | 0.5763 | 0.5766 | 1 | 0.5763 | 68.2319 | -119.8753 | 119.635 | 60.3778 | -119.8368 | 119.6537
Line_4 | 0.00081542 | 0.00081542 | 0.00081542 | 0.00081542 | 0.00081542 | 0.00081542 | 0.0094157 | 0.0094157 | 0.0094157 | 0.0094157 | 0.0094157 | 0.0094157 | -4.2811e-05 | 0.0081749 | -0.0081321 | -4.2811e-05 | 0.0081749 | -0.0081321 | 1.6448e-05 | -0.0045546 | -0.0047684 | 1.6448e-05 | -0.0045546 | -0.0047684 | 0 | 0 | 0 | -90.751 | -90.751 | -90.751 | 0.5766 | 1 | 0.5763 | 0.5766 | 1 | 0.5763 | 68.2319 | -119.8753 | 119.635 | 68.2319 | -119.8753 | 119.635

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0046739 | 0.0046739 | 0.0046739 | 0.0035068 | 0.0035068 | 0.0035068 | 0.05397 | 0.05397 | 0.05397 | 0.040493 | 0.040493 | 0.040493 | 0.011349 | 0.040299 | -0.051234 | -0.0083932 | -0.030183 | 0.038518 | 0.014261 | -0.035684 | -0.016713 | -0.010694 | 0.026739 | 0.012631 | 0 | 0 | 0 | 101.6041 | 101.6041 | 101.6041 | 0.61757 | 1 | 0.74699 | 0.61757 | 1 | 0.74699 | -26.8025 | -119.8146 | 119.7761 | -26.5217 | -119.9328 | 119.7596
Line_1 | 0.00058458 | 0.00058458 | 0.00058458 | 0.0017534 | 0.0017534 | 0.0017534 | 0.0067502 | 0.0067502 | 0.0067502 | 0.020246 | 0.020246 | 0.020246 | -0.0013925 | -0.0050313 | 0.0064238 | 0.0041966 | 0.015092 | -0.019259 | -0.0017832 | 0.0044533 | 0.0021131 | 0.0053472 | -0.013369 | -0.0063155 | 0 | 0 | 0 | -78.3959 | -78.3959 | -78.3959 | 0.61757 | 1 | 0.74699 | 0.61757 | 1 | 0.74699 | -26.4407 | -119.9666 | 119.7548 | -26.5217 | -119.9328 | 119.7596
Line_2 | 0.00058458 | 0.00058458 | 0.00058458 | 0.0017534 | 0.0017534 | 0.0017534 | 0.0067502 | 0.0067502 | 0.0067502 | 0.020246 | 0.020246 | 0.020246 | -0.0013925 | -0.0050313 | 0.0064238 | 0.0041966 | 0.015092 | -0.019259 | -0.0017832 | 0.0044533 | 0.0021131 | 0.0053472 | -0.013369 | -0.0063155 | 0 | 0 | 0 | -78.3959 | -78.3959 | -78.3959 | 0.61757 | 1 | 0.74699 | 0.61757 | 1 | 0.74699 | -26.4407 | -119.9666 | 119.7548 | -26.5217 | -119.9328 | 119.7596
Line_4 | 0.00058458 | 0.00058458 | 0.00058458 | 0.00058458 | 0.00058458 | 0.00058458 | 0.0067502 | 0.0067502 | 0.0067502 | 0.0067502 | 0.0067502 | 0.0067502 | 0.0013925 | 0.0050313 | -0.0064238 | 0.0013925 | 0.0050313 | -0.0064238 | 0.0017832 | -0.0044533 | -0.0021131 | 0.0017832 | -0.0044533 | -0.0021131 | 0 | 0 | 0 | -78.454 | -78.454 | -78.454 | 0.61757 | 1 | 0.74699 | 0.61757 | 1 | 0.74699 | -26.4407 | -119.9666 | 119.7548 | -26.4407 | -119.9666 | 119.7548

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0046739 | 0.0046739 | 0.0046739 | 0.0035068 | 0.0035068 | 0.0035068 | 0.05397 | 0.05397 | 0.05397 | 0.040493 | 0.040493 | 0.040493 | 0.011349 | 0.040299 | -0.051234 | -0.0083932 | -0.030183 | 0.038518 | 0.014261 | -0.035684 | -0.016713 | -0.010694 | 0.026739 | 0.012631 | 0 | 0 | 0 | 101.6041 | 101.6041 | 101.6041 | 0.61757 | 1 | 0.74699 | 0.61757 | 1 | 0.74699 | -26.8025 | -119.8146 | 119.7761 | -26.5217 | -119.9328 | 119.7596
Line_1 | 0.00058458 | 0.00058458 | 0.00058458 | 0.0017534 | 0.0017534 | 0.0017534 | 0.0067502 | 0.0067502 | 0.0067502 | 0.020246 | 0.020246 | 0.020246 | -0.0013925 | -0.0050313 | 0.0064238 | 0.0041966 | 0.015092 | -0.019259 | -0.0017832 | 0.0044533 | 0.0021131 | 0.0053472 | -0.013369 | -0.0063155 | 0 | 0 | 0 | -78.3959 | -78.3959 | -78.3959 | 0.61757 | 1 | 0.74699 | 0.61757 | 1 | 0.74699 | -26.4407 | -119.9666 | 119.7548 | -26.5217 | -119.9328 | 119.7596
Line_2 | 0.00058458 | 0.00058458 | 0.00058458 | 0.0017534 | 0.0017534 | 0.0017534 | 0.0067502 | 0.0067502 | 0.0067502 | 0.020246 | 0.020246 | 0.020246 | -0.0013925 | -0.0050313 | 0.0064238 | 0.0041966 | 0.015092 | -0.019259 | -0.0017832 | 0.0044533 | 0.0021131 | 0.0053472 | -0.013369 | -0.0063155 | 0 | 0 | 0 | -78.3959 | -78.3959 | -78.3959 | 0.61757 | 1 | 0.74699 | 0.61757 | 1 | 0.74699 | -26.4407 | -119.9666 | 119.7548 | -26.5217 | -119.9328 | 119.7596
Line_4 | 0.00058458 | 0.00058458 | 0.00058458 | 0.00058458 | 0.00058458 | 0.00058458 | 0.0067502 | 0.0067502 | 0.0067502 | 0.0067502 | 0.0067502 | 0.0067502 | 0.0013925 | 0.0050313 | -0.0064238 | 0.0013925 | 0.0050313 | -0.0064238 | 0.0017832 | -0.0044533 | -0.0021131 | 0.0017832 | -0.0044533 | -0.0021131 | 0 | 0 | 0 | -78.454 | -78.454 | -78.454 | 0.61757 | 1 | 0.74699 | 0.61757 | 1 | 0.74699 | -26.4407 | -119.9666 | 119.7548 | -26.4407 | -119.9666 | 119.7548

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0071985 | 0.0071985 | 0.0071985 | 0.005401 | 0.005401 | 0.005401 | 0.083122 | 0.083122 | 0.083122 | 0.062365 | 0.062365 | 0.062365 | 0.00051495 | -1.4973e-06 | -1.4973e-06 | -0.00032594 | 0.00012703 | 0.00012703 | -0.09094 | 0.00024028 | 0.00024028 | 0.06828 | -0.00013024 | -0.00013024 | 0 | 0 | 0 | -90.3636 | -90.3636 | -90.3636 | 0.63333 | 0 | 0.63333 | 0.63333 | 0 | 0.63333 | 0.015646 | -179.9518 | -179.9518 | -0.090135 | -136.078 | -136.078
Line_1 | 0.00090035 | 0.00090035 | 0.00090035 | 0.0027005 | 0.0027005 | 0.0027005 | 0.010396 | 0.010396 | 0.010396 | 0.031182 | 0.031182 | 0.031182 | -5.4356e-05 | 2.7178e-05 | 2.7178e-05 | 0.00016297 | -6.3515e-05 | -6.3515e-05 | 0.011385 | -1.9316e-05 | -1.9316e-05 | -0.03414 | 6.5118e-05 | 6.5118e-05 | 0 | 0 | 0 | 89.6364 | 89.6364 | 89.6364 | 0.63333 | 0 | 0.63333 | 0.63333 | 0 | 0.63333 | -0.12035 | -125.7966 | -125.7966 | -0.090135 | -136.078 | -136.078
Line_2 | 0.00090035 | 0.00090035 | 0.00090035 | 0.0027005 | 0.0027005 | 0.0027005 | 0.010396 | 0.010396 | 0.010396 | 0.031182 | 0.031182 | 0.031182 | -5.4356e-05 | 2.7178e-05 | 2.7178e-05 | 0.00016297 | -6.3515e-05 | -6.3515e-05 | 0.011385 | -1.9316e-05 | -1.9316e-05 | -0.03414 | 6.5118e-05 | 6.5118e-05 | 0 | 0 | 0 | 89.6364 | 89.6364 | 89.6364 | 0.63333 | 0 | 0.63333 | 0.63333 | 0 | 0.63333 | -0.12035 | -125.7966 | -125.7966 | -0.090135 | -136.078 | -136.078
Line_4 | 0.00090035 | 0.00090035 | 0.00090035 | 0.00090035 | 0.00090035 | 0.00090035 | 0.010396 | 0.010396 | 0.010396 | 0.010396 | 0.010396 | 0.010396 | 5.4356e-05 | -2.7178e-05 | -2.7178e-05 | 5.4356e-05 | -2.7178e-05 | -2.7178e-05 | -0.011385 | 1.9316e-05 | 1.9316e-05 | -0.011385 | 1.9316e-05 | 1.9316e-05 | 0 | 0 | 0 | 89.6061 | 89.6061 | 89.6061 | 0.63333 | 0 | 0.63333 | 0.63333 | 0 | 0.63333 | -0.12035 | -125.7966 | -125.7966 | -0.12035 | -125.7966 | -125.7966

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0071985 | 0.0071985 | 0.0071985 | 0.005401 | 0.005401 | 0.005401 | 0.083122 | 0.083122 | 0.083122 | 0.062365 | 0.062365 | 0.062365 | 0.00051495 | -1.4973e-06 | -1.4973e-06 | -0.00032594 | 0.00012703 | 0.00012703 | -0.09094 | 0.00024028 | 0.00024028 | 0.06828 | -0.00013024 | -0.00013024 | 0 | 0 | 0 | -90.3636 | -90.3636 | -90.3636 | 0.63333 | 0 | 0.63333 | 0.63333 | 0 | 0.63333 | 0.015646 | -179.9518 | -179.9518 | -0.090135 | -136.078 | -136.078
Line_1 | 0.00090035 | 0.00090035 | 0.00090035 | 0.0027005 | 0.0027005 | 0.0027005 | 0.010396 | 0.010396 | 0.010396 | 0.031182 | 0.031182 | 0.031182 | -5.4356e-05 | 2.7178e-05 | 2.7178e-05 | 0.00016297 | -6.3515e-05 | -6.3515e-05 | 0.011385 | -1.9316e-05 | -1.9316e-05 | -0.03414 | 6.5118e-05 | 6.5118e-05 | 0 | 0 | 0 | 89.6364 | 89.6364 | 89.6364 | 0.63333 | 0 | 0.63333 | 0.63333 | 0 | 0.63333 | -0.12035 | -125.7966 | -125.7966 | -0.090135 | -136.078 | -136.078
Line_2 | 0.00090035 | 0.00090035 | 0.00090035 | 0.0027005 | 0.0027005 | 0.0027005 | 0.010396 | 0.010396 | 0.010396 | 0.031182 | 0.031182 | 0.031182 | -5.4356e-05 | 2.7178e-05 | 2.7178e-05 | 0.00016297 | -6.3515e-05 | -6.3515e-05 | 0.011385 | -1.9316e-05 | -1.9316e-05 | -0.03414 | 6.5118e-05 | 6.5118e-05 | 0 | 0 | 0 | 89.6364 | 89.6364 | 89.6364 | 0.63333 | 0 | 0.63333 | 0.63333 | 0 | 0.63333 | -0.12035 | -125.7966 | -125.7966 | -0.090135 | -136.078 | -136.078
Line_4 | 0.00090035 | 0.00090035 | 0.00090035 | 0.00090035 | 0.00090035 | 0.00090035 | 0.010396 | 0.010396 | 0.010396 | 0.010396 | 0.010396 | 0.010396 | 5.4356e-05 | -2.7178e-05 | -2.7178e-05 | 5.4356e-05 | -2.7178e-05 | -2.7178e-05 | -0.011385 | 1.9316e-05 | 1.9316e-05 | -0.011385 | 1.9316e-05 | 1.9316e-05 | 0 | 0 | 0 | 89.6061 | 89.6061 | 89.6061 | 0.63333 | 0 | 0.63333 | 0.63333 | 0 | 0.63333 | -0.12035 | -125.7966 | -125.7966 | -0.12035 | -125.7966 | -125.7966

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0049535 | 0.0049535 | 0.0049535 | 0.0037165 | 0.0037165 | 0.0037165 | 0.057198 | 0.057198 | 0.057198 | 0.042915 | 0.042915 | 0.042915 | -0.014315 | -0.0082194 | 0.022777 | 0.010756 | 0.006242 | -0.017032 | -0.061032 | 0.021668 | -0.0034694 | 0.045825 | -0.016227 | 0.0026104 | 0 | 0 | 0 | -76.8942 | -76.8942 | -76.8942 | 0.83703 | 0.40283 | 0.69121 | 0.83703 | 0.40283 | 0.69121 | -0.039209 | -146.0656 | 94.4997 | -0.10322 | -145.8545 | 94.3921
Line_1 | 0.00061955 | 0.00061955 | 0.00061955 | 0.0018583 | 0.0018583 | 0.0018583 | 0.0071539 | 0.0071539 | 0.0071539 | 0.021457 | 0.021457 | 0.021457 | 0.0017918 | 0.0010448 | -0.0028366 | -0.0053779 | -0.003121 | 0.0085159 | 0.0076412 | -0.0027034 | 0.00043479 | -0.022913 | 0.0081137 | -0.0013052 | 0 | 0 | 0 | 103.1058 | 103.1058 | 103.1058 | 0.83703 | 0.40283 | 0.69121 | 0.83703 | 0.40283 | 0.69121 | -0.1215 | -145.7942 | 94.3613 | -0.10322 | -145.8545 | 94.3921
Line_2 | 0.00061955 | 0.00061955 | 0.00061955 | 0.0018583 | 0.0018583 | 0.0018583 | 0.0071539 | 0.0071539 | 0.0071539 | 0.021457 | 0.021457 | 0.021457 | 0.0017918 | 0.0010448 | -0.0028366 | -0.0053779 | -0.003121 | 0.0085159 | 0.0076412 | -0.0027034 | 0.00043479 | -0.022913 | 0.0081137 | -0.0013052 | 0 | 0 | 0 | 103.1058 | 103.1058 | 103.1058 | 0.83703 | 0.40283 | 0.69121 | 0.83703 | 0.40283 | 0.69121 | -0.1215 | -145.7942 | 94.3613 | -0.10322 | -145.8545 | 94.3921
Line_4 | 0.00061955 | 0.00061955 | 0.00061955 | 0.00061955 | 0.00061955 | 0.00061955 | 0.0071539 | 0.0071539 | 0.0071539 | 0.0071539 | 0.0071539 | 0.0071539 | -0.0017918 | -0.0010448 | 0.0028366 | -0.0017918 | -0.0010448 | 0.0028366 | -0.0076412 | 0.0027034 | -0.00043479 | -0.0076412 | 0.0027034 | -0.00043479 | 0 | 0 | 0 | 103.0755 | 103.0755 | 103.0755 | 0.83703 | 0.40283 | 0.69121 | 0.83703 | 0.40283 | 0.69121 | -0.1215 | -145.7942 | 94.3613 | -0.1215 | -145.7942 | 94.3613

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0049535 | 0.0049535 | 0.0049535 | 0.0037165 | 0.0037165 | 0.0037165 | 0.057198 | 0.057198 | 0.057198 | 0.042915 | 0.042915 | 0.042915 | -0.014315 | -0.0082194 | 0.022777 | 0.010756 | 0.006242 | -0.017032 | -0.061032 | 0.021668 | -0.0034694 | 0.045825 | -0.016227 | 0.0026104 | 0 | 0 | 0 | -76.8942 | -76.8942 | -76.8942 | 0.83703 | 0.40283 | 0.69121 | 0.83703 | 0.40283 | 0.69121 | -0.039209 | -146.0656 | 94.4997 | -0.10322 | -145.8545 | 94.3921
Line_1 | 0.00061955 | 0.00061955 | 0.00061955 | 0.0018583 | 0.0018583 | 0.0018583 | 0.0071539 | 0.0071539 | 0.0071539 | 0.021457 | 0.021457 | 0.021457 | 0.0017918 | 0.0010448 | -0.0028366 | -0.0053779 | -0.003121 | 0.0085159 | 0.0076412 | -0.0027034 | 0.00043479 | -0.022913 | 0.0081137 | -0.0013052 | 0 | 0 | 0 | 103.1058 | 103.1058 | 103.1058 | 0.83703 | 0.40283 | 0.69121 | 0.83703 | 0.40283 | 0.69121 | -0.1215 | -145.7942 | 94.3613 | -0.10322 | -145.8545 | 94.3921
Line_2 | 0.00061955 | 0.00061955 | 0.00061955 | 0.0018583 | 0.0018583 | 0.0018583 | 0.0071539 | 0.0071539 | 0.0071539 | 0.021457 | 0.021457 | 0.021457 | 0.0017918 | 0.0010448 | -0.0028366 | -0.0053779 | -0.003121 | 0.0085159 | 0.0076412 | -0.0027034 | 0.00043479 | -0.022913 | 0.0081137 | -0.0013052 | 0 | 0 | 0 | 103.1058 | 103.1058 | 103.1058 | 0.83703 | 0.40283 | 0.69121 | 0.83703 | 0.40283 | 0.69121 | -0.1215 | -145.7942 | 94.3613 | -0.10322 | -145.8545 | 94.3921
Line_4 | 0.00061955 | 0.00061955 | 0.00061955 | 0.00061955 | 0.00061955 | 0.00061955 | 0.0071539 | 0.0071539 | 0.0071539 | 0.0071539 | 0.0071539 | 0.0071539 | -0.0017918 | -0.0010448 | 0.0028366 | -0.0017918 | -0.0010448 | 0.0028366 | -0.0076412 | 0.0027034 | -0.00043479 | -0.0076412 | 0.0027034 | -0.00043479 | 0 | 0 | 0 | 103.0755 | 103.0755 | 103.0755 | 0.83703 | 0.40283 | 0.69121 | 0.83703 | 0.40283 | 0.69121 | -0.1215 | -145.7942 | 94.3613 | -0.1215 | -145.7942 | 94.3613

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00654 | 0.00654 | 0.00654 | 0.0049068 | 0.0049068 | 0.0049068 | 0.075517 | 0.075517 | 0.075517 | 0.056659 | 0.056659 | 0.056659 | 0.00081619 | -2.434e-06 | -2.434e-06 | -0.00051665 | 0.00020136 | 0.00020136 | -0.075072 | 0.00020345 | 0.00020345 | 0.056366 | -0.00011129 | -0.00011129 | 0 | 0 | 0 | -90.7106 | -90.7106 | -90.7106 | 0.57554 | 0 | 0.57554 | 0.57554 | 0 | 0.57554 | 0.017615 | -179.9199 | -179.9199 | -0.18544 | -119.6399 | -119.6399
Line_1 | 0.00081798 | 0.00081798 | 0.00081798 | 0.0024534 | 0.0024534 | 0.0024534 | 0.0094452 | 0.0094452 | 0.0094452 | 0.02833 | 0.02833 | 0.02833 | -8.616e-05 | 4.308e-05 | 4.308e-05 | 0.00025832 | -0.00010068 | -0.00010068 | 0.0093981 | -1.6552e-05 | -1.6552e-05 | -0.028183 | 5.5646e-05 | 5.5646e-05 | 0 | 0 | 0 | 89.2894 | 89.2894 | 89.2894 | 0.57554 | 0 | 0.57554 | 0.57554 | 0 | 0.57554 | -0.24343 | -111.7858 | -111.7858 | -0.18544 | -119.6399 | -119.6399
Line_2 | 0.00081798 | 0.00081798 | 0.00081798 | 0.0024534 | 0.0024534 | 0.0024534 | 0.0094452 | 0.0094452 | 0.0094452 | 0.02833 | 0.02833 | 0.02833 | -8.616e-05 | 4.308e-05 | 4.308e-05 | 0.00025832 | -0.00010068 | -0.00010068 | 0.0093981 | -1.6552e-05 | -1.6552e-05 | -0.028183 | 5.5646e-05 | 5.5646e-05 | 0 | 0 | 0 | 89.2894 | 89.2894 | 89.2894 | 0.57554 | 0 | 0.57554 | 0.57554 | 0 | 0.57554 | -0.24343 | -111.7858 | -111.7858 | -0.18544 | -119.6399 | -119.6399
Line_4 | 0.00081798 | 0.00081798 | 0.00081798 | 0.00081798 | 0.00081798 | 0.00081798 | 0.0094452 | 0.0094452 | 0.0094452 | 0.0094452 | 0.0094452 | 0.0094452 | 8.616e-05 | -4.308e-05 | -4.308e-05 | 8.616e-05 | -4.308e-05 | -4.308e-05 | -0.0093981 | 1.6552e-05 | 1.6552e-05 | -0.0093981 | 1.6552e-05 | 1.6552e-05 | 0 | 0 | 0 | 89.2313 | 89.2313 | 89.2313 | 0.57554 | 0 | 0.57554 | 0.57554 | 0 | 0.57554 | -0.24343 | -111.7858 | -111.7858 | -0.24343 | -111.7858 | -111.7858

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00654 | 0.00654 | 0.00654 | 0.0049068 | 0.0049068 | 0.0049068 | 0.075517 | 0.075517 | 0.075517 | 0.056659 | 0.056659 | 0.056659 | 0.00081619 | -2.434e-06 | -2.434e-06 | -0.00051665 | 0.00020136 | 0.00020136 | -0.075072 | 0.00020345 | 0.00020345 | 0.056366 | -0.00011129 | -0.00011129 | 0 | 0 | 0 | -90.7106 | -90.7106 | -90.7106 | 0.57554 | 0 | 0.57554 | 0.57554 | 0 | 0.57554 | 0.017615 | -179.9199 | -179.9199 | -0.18544 | -119.6399 | -119.6399
Line_1 | 0.00081798 | 0.00081798 | 0.00081798 | 0.0024534 | 0.0024534 | 0.0024534 | 0.0094452 | 0.0094452 | 0.0094452 | 0.02833 | 0.02833 | 0.02833 | -8.616e-05 | 4.308e-05 | 4.308e-05 | 0.00025832 | -0.00010068 | -0.00010068 | 0.0093981 | -1.6552e-05 | -1.6552e-05 | -0.028183 | 5.5646e-05 | 5.5646e-05 | 0 | 0 | 0 | 89.2894 | 89.2894 | 89.2894 | 0.57554 | 0 | 0.57554 | 0.57554 | 0 | 0.57554 | -0.24343 | -111.7858 | -111.7858 | -0.18544 | -119.6399 | -119.6399
Line_2 | 0.00081798 | 0.00081798 | 0.00081798 | 0.0024534 | 0.0024534 | 0.0024534 | 0.0094452 | 0.0094452 | 0.0094452 | 0.02833 | 0.02833 | 0.02833 | -8.616e-05 | 4.308e-05 | 4.308e-05 | 0.00025832 | -0.00010068 | -0.00010068 | 0.0093981 | -1.6552e-05 | -1.6552e-05 | -0.028183 | 5.5646e-05 | 5.5646e-05 | 0 | 0 | 0 | 89.2894 | 89.2894 | 89.2894 | 0.57554 | 0 | 0.57554 | 0.57554 | 0 | 0.57554 | -0.24343 | -111.7858 | -111.7858 | -0.18544 | -119.6399 | -119.6399
Line_4 | 0.00081798 | 0.00081798 | 0.00081798 | 0.00081798 | 0.00081798 | 0.00081798 | 0.0094452 | 0.0094452 | 0.0094452 | 0.0094452 | 0.0094452 | 0.0094452 | 8.616e-05 | -4.308e-05 | -4.308e-05 | 8.616e-05 | -4.308e-05 | -4.308e-05 | -0.0093981 | 1.6552e-05 | 1.6552e-05 | -0.0093981 | 1.6552e-05 | 1.6552e-05 | 0 | 0 | 0 | 89.2313 | 89.2313 | 89.2313 | 0.57554 | 0 | 0.57554 | 0.57554 | 0 | 0.57554 | -0.24343 | -111.7858 | -111.7858 | -0.24343 | -111.7858 | -111.7858

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0046844 | 0.0046844 | 0.0046844 | 0.0035146 | 0.0035146 | 0.0035146 | 0.054091 | 0.054091 | 0.054091 | 0.040583 | 0.040583 | 0.040583 | -0.010982 | -0.0065562 | 0.017955 | 0.0082691 | 0.0050448 | -0.013372 | -0.052736 | 0.01705 | -0.002621 | 0.039603 | -0.012762 | 0.001963 | 0 | 0 | 0 | -78.3808 | -78.3809 | -78.3809 | 0.74638 | 0.33546 | 0.61768 | 0.74638 | 0.33546 | 0.61768 | -0.038988 | -147.2429 | 93.419 | -0.1747 | -146.8128 | 93.2682
Line_1 | 0.00058589 | 0.00058589 | 0.00058589 | 0.0017573 | 0.0017573 | 0.0017573 | 0.0067653 | 0.0067653 | 0.0067653 | 0.020292 | 0.020292 | 0.020292 | 0.0013767 | 0.000848 | -0.0022247 | -0.0041346 | -0.0025224 | 0.0066862 | 0.0066044 | -0.0021257 | 0.00032598 | -0.019802 | 0.0063812 | -0.00098148 | 0 | 0 | 0 | 101.6192 | 101.6192 | 101.6192 | 0.74638 | 0.33546 | 0.61768 | 0.74638 | 0.33546 | 0.61768 | -0.21346 | -146.6902 | 93.2248 | -0.1747 | -146.8128 | 93.2682
Line_2 | 0.00058589 | 0.00058589 | 0.00058589 | 0.0017573 | 0.0017573 | 0.0017573 | 0.0067653 | 0.0067653 | 0.0067653 | 0.020292 | 0.020292 | 0.020292 | 0.0013767 | 0.000848 | -0.0022247 | -0.0041346 | -0.0025224 | 0.0066862 | 0.0066044 | -0.0021257 | 0.00032598 | -0.019802 | 0.0063812 | -0.00098148 | 0 | 0 | 0 | 101.6192 | 101.6192 | 101.6192 | 0.74638 | 0.33546 | 0.61768 | 0.74638 | 0.33546 | 0.61768 | -0.21346 | -146.6902 | 93.2248 | -0.1747 | -146.8128 | 93.2682
Line_4 | 0.00058589 | 0.00058589 | 0.00058589 | 0.00058589 | 0.00058589 | 0.00058589 | 0.0067653 | 0.0067653 | 0.0067653 | 0.0067653 | 0.0067653 | 0.0067653 | -0.0013767 | -0.000848 | 0.0022247 | -0.0013767 | -0.000848 | 0.0022247 | -0.0066044 | 0.0021257 | -0.00032598 | -0.0066044 | 0.0021257 | -0.00032598 | 0 | 0 | 0 | 101.5611 | 101.5611 | 101.5611 | 0.74638 | 0.33546 | 0.61768 | 0.74638 | 0.33546 | 0.61768 | -0.21346 | -146.6902 | 93.2248 | -0.21346 | -146.6902 | 93.2248

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0046844 | 0.0046844 | 0.0046844 | 0.0035146 | 0.0035146 | 0.0035146 | 0.054091 | 0.054091 | 0.054091 | 0.040583 | 0.040583 | 0.040583 | -0.010982 | -0.0065562 | 0.017955 | 0.0082691 | 0.0050448 | -0.013372 | -0.052736 | 0.01705 | -0.002621 | 0.039603 | -0.012762 | 0.001963 | 0 | 0 | 0 | -78.3808 | -78.3809 | -78.3809 | 0.74638 | 0.33546 | 0.61768 | 0.74638 | 0.33546 | 0.61768 | -0.038988 | -147.2429 | 93.419 | -0.1747 | -146.8128 | 93.2682
Line_1 | 0.00058589 | 0.00058589 | 0.00058589 | 0.0017573 | 0.0017573 | 0.0017573 | 0.0067653 | 0.0067653 | 0.0067653 | 0.020292 | 0.020292 | 0.020292 | 0.0013767 | 0.000848 | -0.0022247 | -0.0041346 | -0.0025224 | 0.0066862 | 0.0066044 | -0.0021257 | 0.00032598 | -0.019802 | 0.0063812 | -0.00098148 | 0 | 0 | 0 | 101.6192 | 101.6192 | 101.6192 | 0.74638 | 0.33546 | 0.61768 | 0.74638 | 0.33546 | 0.61768 | -0.21346 | -146.6902 | 93.2248 | -0.1747 | -146.8128 | 93.2682
Line_2 | 0.00058589 | 0.00058589 | 0.00058589 | 0.0017573 | 0.0017573 | 0.0017573 | 0.0067653 | 0.0067653 | 0.0067653 | 0.020292 | 0.020292 | 0.020292 | 0.0013767 | 0.000848 | -0.0022247 | -0.0041346 | -0.0025224 | 0.0066862 | 0.0066044 | -0.0021257 | 0.00032598 | -0.019802 | 0.0063812 | -0.00098148 | 0 | 0 | 0 | 101.6192 | 101.6192 | 101.6192 | 0.74638 | 0.33546 | 0.61768 | 0.74638 | 0.33546 | 0.61768 | -0.21346 | -146.6902 | 93.2248 | -0.1747 | -146.8128 | 93.2682
Line_4 | 0.00058589 | 0.00058589 | 0.00058589 | 0.00058589 | 0.00058589 | 0.00058589 | 0.0067653 | 0.0067653 | 0.0067653 | 0.0067653 | 0.0067653 | 0.0067653 | -0.0013767 | -0.000848 | 0.0022247 | -0.0013767 | -0.000848 | 0.0022247 | -0.0066044 | 0.0021257 | -0.00032598 | -0.0066044 | 0.0021257 | -0.00032598 | 0 | 0 | 0 | 101.5611 | 101.5611 | 101.5611 | 0.74638 | 0.33546 | 0.61768 | 0.74638 | 0.33546 | 0.61768 | -0.21346 | -146.6902 | 93.2248 | -0.21346 | -146.6902 | 93.2248