## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.63684 | 0.63684 | 0 | 0 | 22.0607 | 22.0607 | 6.1122 | -5.4795 | 16.8634 | -16.1455 | -73.3297 | 106.6703 | 0.81307 | 0.77287 | -3.2529 | -2.076
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.77287 | 0.77287 | -2.076 | -2.076
Line_2_3-2ph | 0.63684 | 0.63684 | 0 | 0 | 22.0607 | 22.0607 | 5.4795 | -1.4827 | 16.1455 | -14.7523 | -73.3297 | 106.6703 | 0.77287 | 0.67208 | -2.076 | 10.9311
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.77287 | 0.77287 | -2.076 | -2.076

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.64777 | 0.64777 | 0 | 0 | 22.4393 | 22.4393 | 6.3968 | -5.7422 | 18.174 | -17.4313 | -73.6512 | 106.3488 | 0.85862 | 0.81788 | -3.0421 | -1.8842
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.81788 | 0.81788 | -1.8842 | -1.8842
Line_2_3-2ph | 0.64777 | 0.64777 | 0 | 0 | 22.4393 | 22.4393 | 5.7422 | -1.607 | 17.4313 | -15.9898 | -73.6512 | 106.3488 | 0.81788 | 0.71617 | -1.8842 | 10.6096
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.81788 | 0.81788 | -1.8842 | -1.8842

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.00068521 | 0.00068521 | 0 | 0 | 0.023736 | 0.023736 | 0.017614 | -0.017613 | 0.017626 | -0.017625 | -45.0293 | 134.9707 | 1.0498 | 1.0498 | -0.0090182 | -0.0091776
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0498 | 1.0498 | -0.0091776 | -0.0091776
Line_2_3-2ph | 0.00068521 | 0.00068521 | 0 | 0 | 0.023736 | 0.023736 | 0.017613 | -0.017608 | 0.017625 | -0.017624 | -45.0293 | 134.9707 | 1.0498 | 1.0496 | -0.0091776 | -0.0042724
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0498 | 1.0498 | -0.0091776 | -0.0091776

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.00071782 | 0.00071782 | 0 | 0 | 0.024866 | 0.024866 | 0.01933 | -0.019329 | 0.019345 | -0.019344 | -45.0304 | 134.9696 | 1.0998 | 1.0997 | -0.0090177 | -0.0091771
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0997 | 1.0997 | -0.0091771 | -0.0091771
Line_2_3-2ph | 0.00071782 | 0.00071782 | 0 | 0 | 0.024866 | 0.024866 | 0.019329 | -0.019324 | 0.019344 | -0.019342 | -45.0304 | 134.9696 | 1.0997 | 1.0995 | -0.0091771 | -0.0042718
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0997 | 1.0997 | -0.0091771 | -0.0091771

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.5111 | 0.5111 | 0 | 0 | 17.705 | 17.705 | 6.7282 | -5.9458 | 11.3404 | -10.878 | -64.9631 | 115.0369 | 0.74477 | 0.7002 | -5.6437 | -3.6237
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7002 | 0.7002 | -3.6237 | -3.6237
Line_2_3-2ph | 0.5111 | 0.5111 | 0 | 0 | 17.705 | 17.705 | 5.9458 | -1.0031 | 10.878 | -9.9806 | -64.9631 | 115.0369 | 0.7002 | 0.56656 | -3.6237 | 19.2977
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7002 | 0.7002 | -3.6237 | -3.6237

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.4842 | 0.4842 | 0 | 0 | 16.7731 | 16.7731 | 6.0386 | -5.3364 | 10.1781 | -9.7631 | -64.9631 | 115.0369 | 0.70557 | 0.66334 | -5.6437 | -3.6237
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.66334 | 0.66334 | -3.6237 | -3.6237
Line_2_3-2ph | 0.4842 | 0.4842 | 0 | 0 | 16.7731 | 16.7731 | 5.3364 | -0.90028 | 9.7631 | -8.9577 | -64.9631 | 115.0369 | 0.66334 | 0.53674 | -3.6237 | 19.2977
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.66334 | 0.66334 | -3.6237 | -3.6237

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.00061983 | 0.00061983 | 0 | 0 | 0.021472 | 0.021472 | 0.014417 | -0.014416 | 0.014424 | -0.014423 | -45.0237 | 134.9763 | 0.94979 | 0.94973 | -0.010247 | -0.0093114
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.94973 | 0.94973 | -0.0093114 | -0.0093114
Line_2_3-2ph | 0.00061983 | 0.00061983 | 0 | 0 | 0.021472 | 0.021472 | 0.014416 | -0.014409 | 0.014423 | -0.014422 | -45.0237 | 134.9763 | 0.94973 | 0.94945 | -0.0093114 | 0.0025169
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.94973 | 0.94973 | -0.0093114 | -0.0093114

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.00058721 | 0.00058721 | 0 | 0 | 0.020341 | 0.020341 | 0.012939 | -0.012938 | 0.012945 | -0.012945 | -45.0237 | 134.9763 | 0.8998 | 0.89975 | -0.010247 | -0.0093114
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.89975 | 0.89975 | -0.0093114 | -0.0093114
Line_2_3-2ph | 0.00058721 | 0.00058721 | 0 | 0 | 0.020341 | 0.020341 | 0.012938 | -0.012932 | 0.012945 | -0.012944 | -45.0237 | 134.9763 | 0.89975 | 0.89948 | -0.0093114 | 0.0025169
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.89975 | 0.89975 | -0.0093114 | -0.0093114

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.55152 | 0.55152 | 0 | 0.55152 | 0.55152 | 0 | 6.3684 | 6.3684 | 0 | 6.3684 | 6.3684 | -1.2434e-15 | 4.7309 | -1.6748 | -3.7303e-15 | -4.5728 | 1.833 | -3.3005e-30 | 3.2567 | 5.1749 | -1.2434e-15 | -3.0773 | -4.9955 | 0 | -163.3297 | 16.6703 | 0 | 16.6703 | -163.3297 | 1.05 | 0.90188 | 0.8541 | 1.05 | 0.86549 | 0.83556 | 1.5208e-13 | -128.7864 | 124.6042 | 1.582e-13 | -129.3908 | 126.8201
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3315e-16 | -1.0818e-09 | -1.2684e-09 | -1.5543e-16 | 1.0818e-09 | 1.2684e-09 | -6.4376e-31 | 1.0874e-09 | -7.6403e-10 | -4.2636e-31 | -1.0874e-09 | 7.6403e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.05 | 0.86549 | 0.83556 | 1.05 | 0.86549 | 0.83556 | 1.582e-13 | -129.3908 | 126.8201 | 1.5717e-13 | -129.3908 | 126.8201
Line_2_3-2ph | 0 | 0.55152 | 0.55152 | 0 | 0.55152 | 0.55152 | 0 | 6.3684 | 6.3684 | 0 | 6.3684 | 6.3684 | 4.3521e-15 | 4.5728 | -1.833 | -4.6629e-15 | -3.5735 | 2.8322 | -2.4869e-15 | 3.0773 | 4.9955 | 2.4869e-15 | -2.729 | -4.6472 | 0 | -163.3297 | 16.6703 | 0 | 16.6703 | -163.3297 | 1.05 | 0.86549 | 0.83556 | 1.05 | 0.70605 | 0.85457 | 1.582e-13 | -129.3908 | 126.8201 | 1.5098e-13 | -125.9623 | 138.0305
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.3259e-16 | -1.0818e-09 | -1.2684e-09 | 4.6629e-16 | 1.0818e-09 | 1.2684e-09 | 6.2172e-16 | 1.0874e-09 | -7.6403e-10 | -3.1086e-16 | -1.0874e-09 | 7.6403e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.05 | 0.86549 | 0.83556 | 1.05 | 0.86549 | 0.83556 | 1.582e-13 | -129.3908 | 126.8201 | 1.5995e-13 | -129.3908 | 126.8201

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.56098 | 0.56098 | 0 | 0.56098 | 0.56098 | 0 | 6.4777 | 6.4777 | 0 | 6.4777 | 6.4777 | 1.0481e-29 | 5.0179 | -1.8195 | -2.6053e-15 | -4.8542 | 1.9831 | -3.908e-15 | 3.5406 | 5.5463 | 2.6053e-15 | -3.355 | -5.3607 | 0 | -163.6512 | 16.3488 | 0 | 16.3488 | -163.6512 | 1.1 | 0.94807 | 0.90112 | 1.1 | 0.91094 | 0.88237 | 1.5367e-13 | -128.4442 | 124.5108 | 1.5374e-13 | -129.0012 | 126.6501
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1398e-15 | -1.1725e-09 | -1.3603e-09 | 8.1416e-16 | 1.1725e-09 | 1.3603e-09 | 3.2567e-16 | 1.1497e-09 | -8.2428e-10 | -3.2567e-16 | -1.1497e-09 | 8.2428e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.91094 | 0.88237 | 1.1 | 0.91094 | 0.88237 | 1.5374e-13 | -129.0012 | 126.6501 | 1.5421e-13 | -129.0012 | 126.6501
Line_2_3-2ph | 0 | 0.56098 | 0.56098 | 0 | 0.56098 | 0.56098 | 0 | 6.4777 | 6.4777 | 0 | 6.4777 | 6.4777 | 2.6053e-15 | 4.8542 | -1.9831 | -3.5823e-15 | -3.8204 | 3.0169 | -3.908e-15 | 3.355 | 5.3607 | 4.2337e-15 | -2.9946 | -5.0003 | 0 | -163.6512 | 16.3488 | 0 | 16.3488 | -163.6512 | 1.1 | 0.91094 | 0.88237 | 1.1 | 0.74937 | 0.90155 | 1.5374e-13 | -129.0012 | 126.6501 | 1.398e-13 | -125.5605 | 137.4533
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4655e-15 | -1.1725e-09 | -1.3603e-09 | 1.0584e-15 | 1.1725e-09 | 1.3603e-09 | -3.9323e-30 | 1.1497e-09 | -8.2428e-10 | 2.8229e-30 | -1.1497e-09 | 8.2428e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.91094 | 0.88237 | 1.1 | 0.91094 | 0.88237 | 1.5374e-13 | -129.0012 | 126.6501 | 1.5282e-13 | -129.0012 | 126.6501

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.0011857 | 0.0011857 | 0 | 0.0011857 | 0.0011857 | 0 | 0.013691 | 0.013691 | 0 | 0.013691 | 0.013691 | 6.0715e-18 | 0.013881 | 0.0037059 | -1.0929e-17 | -0.013881 | -0.0037052 | -9.7145e-18 | 0.0037287 | 0.013884 | 4.8572e-18 | -0.0037279 | -0.013883 | 0 | -135.0585 | 44.9415 | 0 | 44.9415 | -135.0585 | 1.05 | 1.0498 | 1.0496 | 1.05 | 1.0498 | 1.0495 | 2.6806e-16 | -120.0231 | 119.996 | 2.7208e-16 | -120.0255 | 119.998
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.5894e-19 | -1.7499e-12 | -3.9886e-12 | 1.5179e-19 | 1.7499e-12 | 3.9886e-12 | -6.0715e-19 | 3.5965e-12 | 2.811e-13 | 6.0715e-19 | -3.5965e-12 | -2.811e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 1.05 | 1.0498 | 1.0495 | 1.05 | 1.0498 | 1.0495 | 2.7208e-16 | -120.0255 | 119.998 | 2.6745e-16 | -120.0255 | 119.998
Line_2_3-2ph | 0 | 0.0011857 | 0.0011857 | 0 | 0.0011857 | 0.0011857 | 0 | 0.013691 | 0.013691 | 0 | 0.013691 | 0.013691 | 2.7322e-18 | 0.013881 | 0.0037052 | -3.6429e-18 | -0.013876 | -0.0037006 | -4.8572e-18 | 0.0037279 | 0.013883 | 4.8572e-18 | -0.0037263 | -0.013881 | 0 | -135.0585 | 44.9415 | 0 | 44.9415 | -135.0585 | 1.05 | 1.0498 | 1.0495 | 1.05 | 1.0494 | 1.0493 | 2.7208e-16 | -120.0255 | 119.998 | 2.6181e-16 | -120.0269 | 120.0141
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8215e-18 | -1.7499e-12 | -3.9886e-12 | 1.2143e-18 | 1.7499e-12 | 3.9886e-12 | 1.2143e-18 | 3.5965e-12 | 2.811e-13 | 5.8133e-36 | -3.5965e-12 | -2.811e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 1.05 | 1.0498 | 1.0495 | 1.05 | 1.0498 | 1.0495 | 2.7208e-16 | -120.0255 | 119.998 | 2.743e-16 | -120.0255 | 119.998

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.0012421 | 0.0012421 | 0 | 0.0012421 | 0.0012421 | 0 | 0.014342 | 0.014342 | 0 | 0.014342 | 0.014342 | 1.0177e-17 | 0.015234 | 0.0040664 | -1.5266e-17 | -0.015233 | -0.0040656 | -2.0354e-17 | 0.0040927 | 0.015237 | 1.5266e-17 | -0.0040918 | -0.015236 | 0 | -135.0608 | 44.9392 | 0 | 44.9392 | -135.0608 | 1.1 | 1.0998 | 1.0995 | 1.1 | 1.0998 | 1.0995 | 2.5242e-16 | -120.0231 | 119.996 | 2.4359e-16 | -120.0255 | 119.998
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.1803e-18 | -1.9206e-12 | -4.3773e-12 | 2.3852e-18 | 1.9206e-12 | 4.3773e-12 | -1.2721e-18 | 3.9469e-12 | 3.0832e-13 | 1.2721e-18 | -3.9469e-12 | -3.0832e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 1.0998 | 1.0995 | 1.1 | 1.0998 | 1.0995 | 2.4359e-16 | -120.0255 | 119.998 | 2.4338e-16 | -120.0255 | 119.998
Line_2_3-2ph | 0 | 0.0012421 | 0.0012421 | 0 | 0.0012421 | 0.0012421 | 0 | 0.014342 | 0.014342 | 0 | 0.014342 | 0.014342 | 1.2403e-17 | 0.015233 | 0.0040656 | -1.3198e-17 | -0.015228 | -0.0040606 | -1.6538e-17 | 0.0040918 | 0.015236 | 1.781e-17 | -0.00409 | -0.015234 | 0 | -135.0608 | 44.9392 | 0 | 44.9392 | -135.0608 | 1.1 | 1.0998 | 1.0995 | 1.1 | 1.0994 | 1.0992 | 2.4359e-16 | -120.0255 | 119.998 | 1.9216e-16 | -120.0269 | 120.0141
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.7033e-18 | -1.9206e-12 | -4.3773e-12 | 2.2262e-18 | 1.9206e-12 | 4.3773e-12 | 1.9082e-18 | 3.9469e-12 | 3.0832e-13 | -1.2721e-18 | -3.9469e-12 | -3.0832e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 1.0998 | 1.0995 | 1.1 | 1.0998 | 1.0995 | 2.4359e-16 | -120.0255 | 119.998 | 2.4096e-16 | -120.0255 | 119.998

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.44262 | 0.44262 | 0 | 0.44262 | 0.44262 | 0 | 5.111 | 5.111 | 0 | 5.111 | 5.111 | -2.2501e-15 | 3.8817 | -0.51754 | 2.2501e-15 | -3.6861 | 0.71314 | -2.2501e-15 | 1.8077 | 3.8625 | 1.125e-15 | -1.6921 | -3.7469 | 0 | -154.9631 | 25.0369 | 0 | 25.0369 | -154.9631 | 0.95 | 0.83779 | 0.76248 | 0.95 | 0.79356 | 0.74627 | 1.5445e-13 | -129.9918 | 122.6685 | 1.5635e-13 | -130.3055 | 125.8129
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.9996e-16 | -8.212e-10 | -1.0882e-09 | -6.1745e-16 | 8.212e-10 | 1.0882e-09 | 5.4563e-31 | 9.8903e-10 | -5.2656e-10 | -2.8126e-16 | -9.8903e-10 | 5.2656e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95 | 0.79356 | 0.74627 | 0.95 | 0.79356 | 0.74627 | 1.5635e-13 | -130.3055 | 125.8129 | 1.5429e-13 | -130.3055 | 125.8129
Line_2_3-2ph | 0 | 0.44262 | 0.44262 | 0 | 0.44262 | 0.44262 | 0 | 5.111 | 5.111 | 0 | 5.111 | 5.111 | -1.2657e-15 | 3.6861 | -0.71314 | 8.4377e-16 | -2.4504 | 1.9488 | -2.8126e-16 | 1.6921 | 3.7469 | 2.3498e-30 | -1.4677 | -3.5226 | 0 | -154.9631 | 25.0369 | 0 | 25.0369 | -154.9631 | 0.95 | 0.79356 | 0.74627 | 0.95 | 0.55886 | 0.78766 | 1.5635e-13 | -130.3055 | 125.8129 | 1.5957e-13 | -124.042 | 143.99
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.0099e-16 | -8.212e-10 | -1.0882e-09 | 8.3498e-17 | 8.212e-10 | 1.0882e-09 | -2.8126e-16 | 9.8903e-10 | -5.2656e-10 | 2.319e-31 | -9.8903e-10 | 5.2656e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95 | 0.79356 | 0.74627 | 0.95 | 0.79356 | 0.74627 | 1.5635e-13 | -130.3055 | 125.8129 | 1.5913e-13 | -130.3055 | 125.8129

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.41933 | 0.41933 | 0 | 0.41933 | 0.41933 | 0 | 4.842 | 4.842 | 0 | 4.842 | 4.842 | -5.3291e-16 | 3.4838 | -0.4645 | 5.3291e-16 | -3.3083 | 0.64005 | -1.0658e-15 | 1.6224 | 3.4666 | 2.1316e-15 | -1.5187 | -3.3629 | 0 | -154.9631 | 25.0369 | 0 | 25.0369 | -154.9631 | 0.9 | 0.7937 | 0.72235 | 0.9 | 0.7518 | 0.70699 | 1.5582e-13 | -129.9918 | 122.6685 | 1.5635e-13 | -130.3055 | 125.8129
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.1593e-17 | -7.3703e-10 | -9.7667e-10 | -2.6749e-16 | 7.3703e-10 | 9.7667e-10 | -2.4995e-31 | 8.8766e-10 | -4.7259e-10 | -7.2708e-31 | -8.8766e-10 | 4.7259e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9 | 0.7518 | 0.70699 | 0.9 | 0.7518 | 0.70699 | 1.5635e-13 | -130.3055 | 125.8129 | 1.5574e-13 | -130.3055 | 125.8129
Line_2_3-2ph | 0 | 0.41933 | 0.41933 | 0 | 0.41933 | 0.41933 | 0 | 4.842 | 4.842 | 0 | 4.842 | 4.842 | -1.3323e-15 | 3.3083 | -0.64005 | 7.9936e-16 | -2.1992 | 1.7491 | -2.6645e-16 | 1.5187 | 3.3629 | -2.6645e-16 | -1.3173 | -3.1615 | 0 | -154.9631 | 25.0369 | 0 | 25.0369 | -154.9631 | 0.9 | 0.7518 | 0.70699 | 0.9 | 0.52945 | 0.74621 | 1.5635e-13 | -130.3055 | 125.8129 | 1.5955e-13 | -124.042 | 143.99
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2666e-16 | -7.3703e-10 | -9.7667e-10 | 1.6757e-16 | 7.3703e-10 | 9.7667e-10 | 2.6645e-16 | 8.8766e-10 | -4.7259e-10 | -2.6645e-16 | -8.8766e-10 | 4.7259e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9 | 0.7518 | 0.70699 | 0.9 | 0.7518 | 0.70699 | 1.5635e-13 | -130.3055 | 125.8129 | 1.5914e-13 | -130.3055 | 125.8129

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.0010724 | 0.0010724 | 0 | 0.0010724 | 0.0010724 | 0 | 0.012382 | 0.012382 | 0 | 0.012382 | 0.012382 | -1.0987e-18 | 0.011359 | 0.0030346 | -2.7466e-19 | -0.011358 | -0.0030335 | 2.1973e-18 | 0.0030483 | 0.011359 | -4.3946e-18 | -0.0030476 | -0.011359 | 0 | -135.0474 | 44.9526 | 0 | 44.9526 | -135.0474 | 0.95 | 0.94984 | 0.94954 | 0.95 | 0.94973 | 0.94946 | 3.0523e-16 | -120.0262 | 119.9955 | 3.2334e-16 | -120.0279 | 120.0001
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.4933e-19 | -1.8673e-12 | -3.7263e-12 | -1.3733e-18 | 1.8673e-12 | 3.7263e-12 | 3.1e-36 | 3.2259e-12 | -6.0423e-15 | 5.4933e-19 | -3.2259e-12 | 6.0409e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95 | 0.94973 | 0.94946 | 0.95 | 0.94973 | 0.94946 | 3.2334e-16 | -120.0279 | 120.0001 | 3.2828e-16 | -120.0279 | 120.0001
Line_2_3-2ph | 0 | 0.0010724 | 0.0010724 | 0 | 0.0010724 | 0.0010724 | 0 | 0.012382 | 0.012382 | 0 | 0.012382 | 0.012382 | -1.648e-18 | 0.011358 | 0.0030335 | 6.8666e-19 | -0.011351 | -0.0030262 | 2.1973e-18 | 0.0030476 | 0.011359 | -1.648e-18 | -0.0030463 | -0.011357 | 0 | -135.0474 | 44.9526 | 0 | 44.9526 | -135.0474 | 0.95 | 0.94973 | 0.94946 | 0.95 | 0.94914 | 0.94921 | 3.2334e-16 | -120.0279 | 120.0001 | 3.4357e-16 | -120.025 | 120.0326
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.8666e-19 | -1.8673e-12 | -3.7263e-12 | -1.585e-36 | 1.8673e-12 | 3.7263e-12 | -3.8751e-36 | 3.2259e-12 | -6.0415e-15 | 2.7466e-19 | -3.2259e-12 | 6.04e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95 | 0.94973 | 0.94946 | 0.95 | 0.94973 | 0.94946 | 3.2334e-16 | -120.0279 | 120.0001 | 3.3063e-16 | -120.0279 | 120.0001

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.0010159 | 0.0010159 | 0 | 0.0010159 | 0.0010159 | 0 | 0.011731 | 0.011731 | 0 | 0.011731 | 0.011731 | -2.9924e-18 | 0.010195 | 0.0027236 | 1.8215e-18 | -0.010194 | -0.0027226 | -2.0817e-18 | 0.0027358 | 0.010195 | 2.0817e-18 | -0.0027352 | -0.010194 | 0 | -135.0474 | 44.9526 | 0 | 44.9526 | -135.0474 | 0.9 | 0.89984 | 0.89957 | 0.9 | 0.89975 | 0.89949 | 3.0622e-16 | -120.0262 | 119.9955 | 3.2271e-16 | -120.0279 | 120.0001
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.301e-19 | -1.6759e-12 | -3.3444e-12 | -6.5052e-19 | 1.6759e-12 | 3.3444e-12 | 5.2042e-19 | 2.8952e-12 | -5.4215e-15 | -5.2042e-19 | -2.8952e-12 | 5.4211e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9 | 0.89975 | 0.89949 | 0.9 | 0.89975 | 0.89949 | 3.2271e-16 | -120.0279 | 120.0001 | 3.2151e-16 | -120.0279 | 120.0001
Line_2_3-2ph | 0 | 0.0010159 | 0.0010159 | 0 | 0.0010159 | 0.0010159 | 0 | 0.011731 | 0.011731 | 0 | 0.011731 | 0.011731 | -1.5613e-18 | 0.010194 | 0.0027226 | 5.2042e-19 | -0.010188 | -0.002716 | 4.6838e-18 | 0.0027352 | 0.010194 | -4.1633e-18 | -0.002734 | -0.010193 | 0 | -135.0474 | 44.9526 | 0 | 44.9526 | -135.0474 | 0.9 | 0.89975 | 0.89949 | 0.9 | 0.89918 | 0.89925 | 3.2271e-16 | -120.0279 | 120.0001 | 3.5382e-16 | -120.025 | 120.0326
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.8063e-19 | -1.6759e-12 | -3.3444e-12 | 1.4986e-36 | 1.6759e-12 | 3.3444e-12 | 2.6021e-19 | 2.8952e-12 | -5.4241e-15 | -2.6021e-19 | -2.8952e-12 | 5.4237e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9 | 0.89975 | 0.89949 | 0.9 | 0.89975 | 0.89949 | 3.2271e-16 | -120.0279 | 120.0001 | 3.2998e-16 | -120.0279 | 120.0001

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.8297e-08 | 7.0744e-09 | 7.0744e-09 | -2.8297e-08 | -7.0744e-09 | -7.0744e-09 | 9.3199e-16 | 1.2253e-08 | -1.2253e-08 | -9.2717e-16 | -1.2253e-08 | 1.2253e-08 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.05 | 1.05 | 1.05 | 1.05 | 1.05 | 1.05 | -4.8289e-08 | -120 | 120 | -5.4796e-08 | -120 | 120
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6559e-18 | -2.5085e-18 | 1.9283e-18 | 1.4907e-18 | 3.7208e-18 | -2.9755e-18 | 9.0368e-18 | 7.7834e-19 | 1.7833e-18 | -7.7323e-18 | -1.2876e-18 | -2.5786e-18 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.05 | 1.05 | 1.05 | 1.05 | 1.05 | 1.05 | -5.4796e-08 | -120 | 120 | -5.4796e-08 | -120 | 120
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.8297e-08 | 7.0744e-09 | 7.0744e-09 | -2.8297e-08 | -7.0744e-09 | -7.0744e-09 | 9.0523e-16 | 1.2253e-08 | -1.2253e-08 | -8.9699e-16 | -1.2253e-08 | 1.2253e-08 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.05 | 1.05 | 1.05 | 1.05 | 1.05 | 1.05 | -5.4796e-08 | -120 | 120 | -6.7426e-08 | -120 | 120
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6559e-18 | -2.5085e-18 | 1.9283e-18 | 1.4907e-18 | 3.7208e-18 | -2.9755e-18 | 9.0368e-18 | 7.7834e-19 | 1.7833e-18 | -7.7323e-18 | -1.2876e-18 | -2.5786e-18 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.05 | 1.05 | 1.05 | 1.05 | 1.05 | 1.05 | -5.4796e-08 | -120 | 120 | -5.4796e-08 | -120 | 120

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.1057e-08 | 7.7642e-09 | 7.7642e-09 | -3.1057e-08 | -7.7642e-09 | -7.7642e-09 | 4.8013e-15 | 1.3448e-08 | -1.3448e-08 | -4.7965e-15 | -1.3448e-08 | 1.3448e-08 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | -4.8289e-08 | -120 | 120 | -5.4796e-08 | -120 | 120
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5791e-18 | -2.8776e-18 | 3.0026e-18 | 1.6361e-18 | 4.0837e-18 | -3.2656e-18 | 9.3344e-18 | 1.8057e-18 | 1.5892e-18 | -8.4862e-18 | -1.4131e-18 | -2.83e-18 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | -5.4796e-08 | -120 | 120 | -5.4796e-08 | -120 | 120
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.1057e-08 | 7.7642e-09 | 7.7642e-09 | -3.1057e-08 | -7.7642e-09 | -7.7642e-09 | 4.7736e-15 | 1.3448e-08 | -1.3448e-08 | -4.7658e-15 | -1.3448e-08 | 1.3448e-08 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | -5.4796e-08 | -120 | 120 | -6.7426e-08 | -120 | 120
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5791e-18 | -2.8776e-18 | 3.0026e-18 | 1.6361e-18 | 4.0837e-18 | -3.2656e-18 | 9.3344e-18 | 1.8057e-18 | 1.5892e-18 | -8.4862e-18 | -1.4131e-18 | -2.83e-18 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | -5.4796e-08 | -120 | 120 | -5.4796e-08 | -120 | 120

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.8297e-08 | 7.0743e-09 | 7.0744e-09 | -2.8297e-08 | -7.0743e-09 | -7.0744e-09 | 1.0307e-13 | 1.2253e-08 | -1.2253e-08 | -1.0306e-13 | -1.2253e-08 | 1.2253e-08 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.05 | 1.05 | 1.05 | 1.05 | 1.05 | 1.05 | -4.8288e-08 | -120 | 120 | -5.4796e-08 | -120 | 120
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6559e-18 | -2.5085e-18 | 1.9283e-18 | 1.4907e-18 | 3.7208e-18 | -2.9755e-18 | 9.0368e-18 | 7.7831e-19 | 1.7833e-18 | -7.7322e-18 | -1.2876e-18 | -2.5786e-18 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.05 | 1.05 | 1.05 | 1.05 | 1.05 | 1.05 | -5.4796e-08 | -120 | 120 | -5.4796e-08 | -120 | 120
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.8297e-08 | 7.0743e-09 | 7.0744e-09 | -2.8297e-08 | -7.0743e-09 | -7.0744e-09 | 1.0304e-13 | 1.2253e-08 | -1.2253e-08 | -1.0303e-13 | -1.2253e-08 | 1.2253e-08 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.05 | 1.05 | 1.05 | 1.05 | 1.05 | 1.05 | -5.4796e-08 | -120 | 120 | -6.7426e-08 | -120 | 120
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6559e-18 | -2.5085e-18 | 1.9283e-18 | 1.4907e-18 | 3.7208e-18 | -2.9755e-18 | 9.0368e-18 | 7.7831e-19 | 1.7833e-18 | -7.7322e-18 | -1.2876e-18 | -2.5786e-18 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.05 | 1.05 | 1.05 | 1.05 | 1.05 | 1.05 | -5.4796e-08 | -120 | 120 | -5.4796e-08 | -120 | 120

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.1057e-08 | 7.7641e-09 | 7.7642e-09 | -3.1057e-08 | -7.7641e-09 | -7.7642e-09 | 1.169e-13 | 1.3448e-08 | -1.3448e-08 | -1.1689e-13 | -1.3448e-08 | 1.3448e-08 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | -4.8288e-08 | -120 | 120 | -5.4796e-08 | -120 | 120
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5791e-18 | -2.8776e-18 | 3.0026e-18 | 1.6361e-18 | 4.0836e-18 | -3.2656e-18 | 9.3344e-18 | 1.8057e-18 | 1.5893e-18 | -8.4862e-18 | -1.4131e-18 | -2.83e-18 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | -5.4796e-08 | -120 | 120 | -5.4796e-08 | -120 | 120
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.1057e-08 | 7.7641e-09 | 7.7642e-09 | -3.1057e-08 | -7.7641e-09 | -7.7642e-09 | 1.1687e-13 | 1.3448e-08 | -1.3448e-08 | -1.1686e-13 | -1.3448e-08 | 1.3448e-08 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | -5.4796e-08 | -120 | 120 | -6.7426e-08 | -120 | 120
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5791e-18 | -2.8776e-18 | 3.0026e-18 | 1.6361e-18 | 4.0836e-18 | -3.2656e-18 | 9.3343e-18 | 1.8057e-18 | 1.5892e-18 | -8.4862e-18 | -1.4131e-18 | -2.83e-18 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | -5.4796e-08 | -120 | 120 | -5.4796e-08 | -120 | 120

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3164e-08 | 5.791e-09 | 5.791e-09 | -2.3164e-08 | -5.791e-09 | -5.791e-09 | -1.5788e-15 | 1.003e-08 | -1.003e-08 | 1.5819e-15 | -1.003e-08 | 1.003e-08 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | -5.4874e-08 | -120 | 120 | -6.1381e-08 | -120 | 120
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4151e-18 | -3.3063e-18 | 1.8626e-18 | 1.9058e-18 | 3.5466e-18 | -2.5937e-18 | 7.651e-18 | 2.419e-19 | 2.7424e-18 | -7.0902e-18 | -9.473e-19 | -2.5978e-18 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | -6.1381e-08 | -120 | 120 | -6.1381e-08 | -120 | 120
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3164e-08 | 5.791e-09 | 5.791e-09 | -2.3164e-08 | -5.791e-09 | -5.791e-09 | -1.6008e-15 | 1.003e-08 | -1.003e-08 | 1.6071e-15 | -1.003e-08 | 1.003e-08 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | -6.1381e-08 | -120 | 120 | -7.4011e-08 | -120 | 120
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4151e-18 | -3.3063e-18 | 1.8626e-18 | 1.9058e-18 | 3.5466e-18 | -2.5937e-18 | 7.651e-18 | 2.419e-19 | 2.7424e-18 | -7.0902e-18 | -9.473e-19 | -2.5978e-18 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | -6.1381e-08 | -120 | 120 | -6.1381e-08 | -120 | 120

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.079e-08 | 5.1975e-09 | 5.1975e-09 | -2.079e-08 | -5.1975e-09 | -5.1975e-09 | -1.417e-15 | 9.0023e-09 | -9.0023e-09 | 1.4198e-15 | -9.0023e-09 | 9.0023e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | -5.4874e-08 | -120 | 120 | -6.1381e-08 | -120 | 120
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2701e-18 | -2.9674e-18 | 1.6717e-18 | 1.7105e-18 | 3.1831e-18 | -2.3279e-18 | 6.8668e-18 | 2.1711e-19 | 2.4613e-18 | -6.3635e-18 | -8.5021e-19 | -2.3315e-18 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | -6.1381e-08 | -120 | 120 | -6.1381e-08 | -120 | 120
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.079e-08 | 5.1975e-09 | 5.1975e-09 | -2.079e-08 | -5.1975e-09 | -5.1975e-09 | -1.4367e-15 | 9.0023e-09 | -9.0023e-09 | 1.4424e-15 | -9.0023e-09 | 9.0023e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | -6.1381e-08 | -120 | 120 | -7.4011e-08 | -120 | 120
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2701e-18 | -2.9674e-18 | 1.6717e-18 | 1.7105e-18 | 3.1831e-18 | -2.3279e-18 | 6.8668e-18 | 2.171e-19 | 2.4613e-18 | -6.3635e-18 | -8.5021e-19 | -2.3316e-18 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | -6.1381e-08 | -120 | 120 | -6.1381e-08 | -120 | 120

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3164e-08 | 5.791e-09 | 5.7911e-09 | -2.3164e-08 | -5.791e-09 | -5.7911e-09 | 8.2029e-14 | 1.003e-08 | -1.003e-08 | -8.2026e-14 | -1.003e-08 | 1.003e-08 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | -5.4873e-08 | -120 | 120 | -6.1381e-08 | -120 | 120
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4151e-18 | -3.3063e-18 | 1.8626e-18 | 1.9059e-18 | 3.5466e-18 | -2.5937e-18 | 7.651e-18 | 2.4188e-19 | 2.7424e-18 | -7.0902e-18 | -9.4728e-19 | -2.5978e-18 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | -6.1381e-08 | -120 | 120 | -6.1381e-08 | -120 | 120
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3164e-08 | 5.791e-09 | 5.7911e-09 | -2.3164e-08 | -5.791e-09 | -5.7911e-09 | 8.2007e-14 | 1.003e-08 | -1.003e-08 | -8.2e-14 | -1.003e-08 | 1.003e-08 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | -6.1381e-08 | -120 | 120 | -7.401e-08 | -120 | 120
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4151e-18 | -3.3063e-18 | 1.8626e-18 | 1.9059e-18 | 3.5466e-18 | -2.5937e-18 | 7.651e-18 | 2.4188e-19 | 2.7424e-18 | -7.0902e-18 | -9.4728e-19 | -2.5978e-18 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | -6.1381e-08 | -120 | 120 | -6.1381e-08 | -120 | 120

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.079e-08 | 5.1975e-09 | 5.1975e-09 | -2.079e-08 | -5.1975e-09 | -5.1975e-09 | 7.3621e-14 | 9.0023e-09 | -9.0023e-09 | -7.3619e-14 | -9.0023e-09 | 9.0023e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | -5.4873e-08 | -120 | 120 | -6.1381e-08 | -120 | 120
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2701e-18 | -2.9674e-18 | 1.6717e-18 | 1.7105e-18 | 3.1831e-18 | -2.3278e-18 | 6.8668e-18 | 2.1709e-19 | 2.4613e-18 | -6.3635e-18 | -8.5019e-19 | -2.3315e-18 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | -6.1381e-08 | -120 | 120 | -6.1381e-08 | -120 | 120
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.079e-08 | 5.1975e-09 | 5.1975e-09 | -2.079e-08 | -5.1975e-09 | -5.1975e-09 | 7.3602e-14 | 9.0023e-09 | -9.0023e-09 | -7.3596e-14 | -9.0023e-09 | 9.0023e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | -6.1381e-08 | -120 | 120 | -7.401e-08 | -120 | 120
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2701e-18 | -2.9674e-18 | 1.6717e-18 | 1.7105e-18 | 3.1831e-18 | -2.3278e-18 | 6.8668e-18 | 2.1709e-19 | 2.4613e-18 | -6.3635e-18 | -8.5019e-19 | -2.3316e-18 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | -6.1381e-08 | -120 | 120 | -6.1381e-08 | -120 | 120

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.55152 | 0.55152 | 0 | 0.55152 | 0.55152 | 0 | 6.3684 | 6.3684 | 0 | 6.3684 | 6.3684 | 7.0744e-09 | 4.7309 | -1.6748 | -7.0744e-09 | -4.5728 | 1.833 | -4.9753e-15 | 3.2567 | 5.1749 | 3.732e-15 | -3.0773 | -4.9955 | 0 | -163.3297 | 16.6703 | 0 | 16.6703 | -163.3297 |  | 1.05 | 0.90188 | 0.8541 | 1.05 | 0.86549 | 0.83556 | -1.2072e-08 | -128.7864 | 124.6042 | -1.3699e-08 | -129.3908 | 126.8201
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.1086e-16 | -1.0818e-09 | -1.2684e-09 | -1.5543e-16 | 1.0818e-09 | 1.2684e-09 | 7.4324e-26 | 1.0874e-09 | -7.6403e-10 | 3.7162e-26 | -1.0874e-09 | 7.6403e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.05 | 0.86549 | 0.83556 | 1.05 | 0.86549 | 0.83556 | -1.3699e-08 | -129.3908 | 126.8201 | -1.3699e-08 | -129.3908 | 126.8201
Line_2_3-2ph | 0 | 0.55152 | 0.55152 | 0 | 0.55152 | 0.55152 | 0 | 6.3684 | 6.3684 | 0 | 6.3684 | 6.3684 | 7.0744e-09 | 4.5728 | -1.833 | -7.0744e-09 | -3.5735 | 2.8322 | -3.732e-15 | 3.0773 | 4.9955 | 4.0433e-15 | -2.729 | -4.6472 | 0 | -163.3297 | 16.6703 | 0 | 16.6703 | -163.3297 |  | 1.05 | 0.86549 | 0.83556 | 1.05 | 0.70605 | 0.85457 | -1.3699e-08 | -129.3908 | 126.8201 | -1.6856e-08 | -125.9623 | 138.0305
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3212e-15 | -1.0818e-09 | -1.2684e-09 | 7.7716e-16 | 1.0818e-09 | 1.2684e-09 | 1.5543e-15 | 1.0874e-09 | -7.6403e-10 | -1.5543e-15 | -1.0874e-09 | 7.6403e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.05 | 0.86549 | 0.83556 | 1.05 | 0.86549 | 0.83556 | -1.3699e-08 | -129.3908 | 126.8201 | -1.3699e-08 | -129.3908 | 126.8201

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.56098 | 0.56098 | 0 | 0.56098 | 0.56098 | 0 | 6.4777 | 6.4777 | 0 | 6.4777 | 6.4777 | 7.7642e-09 | 5.0179 | -1.8195 | -7.7642e-09 | -4.8542 | 1.9831 | -6.5149e-15 | 3.5406 | 5.5463 | 3.9098e-15 | -3.355 | -5.3607 | 0 | -163.6512 | 16.3488 | 0 | 16.3488 | -163.6512 |  | 1.1 | 0.94807 | 0.90112 | 1.1 | 0.91094 | 0.88237 | -1.2072e-08 | -128.4442 | 124.5108 | -1.3699e-08 | -129.0012 | 126.6501
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.77e-16 | -1.1725e-09 | -1.3603e-09 | 4.885e-16 | 1.1725e-09 | 1.3603e-09 | -6.5133e-16 | 1.1497e-09 | -8.2428e-10 | 6.5133e-16 | -1.1497e-09 | 8.2428e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1 | 0.91094 | 0.88237 | 1.1 | 0.91094 | 0.88237 | -1.3699e-08 | -129.0012 | 126.6501 | -1.3699e-08 | -129.0012 | 126.6501
Line_2_3-2ph | 0 | 0.56098 | 0.56098 | 0 | 0.56098 | 0.56098 | 0 | 6.4777 | 6.4777 | 0 | 6.4777 | 6.4777 | 7.7642e-09 | 4.8542 | -1.9831 | -7.7642e-09 | -3.8204 | 3.0169 | -7.4922e-15 | 3.355 | 5.3607 | 7.4926e-15 | -2.9946 | -5.0003 | 0 | -163.6512 | 16.3488 | 0 | 16.3488 | -163.6512 |  | 1.1 | 0.91094 | 0.88237 | 1.1 | 0.74937 | 0.90155 | -1.3699e-08 | -129.0012 | 126.6501 | -1.6856e-08 | -125.5605 | 137.4533
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1398e-15 | -1.1725e-09 | -1.3603e-09 | 6.5133e-16 | 1.1725e-09 | 1.3603e-09 | -9.77e-16 | 1.1497e-09 | -8.2429e-10 | 1.3027e-15 | -1.1497e-09 | 8.2428e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1 | 0.91094 | 0.88237 | 1.1 | 0.91094 | 0.88237 | -1.3699e-08 | -129.0012 | 126.6501 | -1.3699e-08 | -129.0012 | 126.6501

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.00059341 | 0.00059341 | 0 | 0.00059341 | 0.00059341 | 0 | 0.0068521 | 0.0068521 | 0 | 0.0068521 | 0.0068521 | 7.0744e-09 | 0.0069484 | 0.0018584 | -7.0744e-09 | -0.0069482 | -0.0018582 | 1.1879e-14 | 0.0018641 | 0.0069489 | -1.1879e-14 | -0.0018639 | -0.0069487 | 0 | -135.0293 | 44.9708 | 0 | 44.9707 | -135.0292 |  | 1.05 | 1.0499 | 1.0498 | 1.05 | 1.0499 | 1.0497 | -1.2072e-08 | -120.0115 | 119.998 | -1.3699e-08 | -120.0128 | 119.999
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0715e-19 | -8.7535e-13 | -1.9966e-12 | 3.7947e-19 | 8.7535e-13 | 1.9966e-12 | 1.5179e-18 | 1.8004e-12 | 1.4171e-13 | -2.125e-18 | -1.8004e-12 | -1.417e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.05 | 1.0499 | 1.0497 | 1.05 | 1.0499 | 1.0497 | -1.3699e-08 | -120.0128 | 119.999 | -1.3699e-08 | -120.0128 | 119.999
Line_2_3-2ph | 0 | 0.00059341 | 0.00059341 | 0 | 0.00059341 | 0.00059341 | 0 | 0.0068521 | 0.0068521 | 0 | 0.0068521 | 0.0068521 | 7.0744e-09 | 0.0069482 | 0.0018582 | -7.0744e-09 | -0.0069471 | -0.0018571 | 1.1875e-14 | 0.0018639 | 0.0069487 | -1.1876e-14 | -0.0018635 | -0.0069483 | 0 | -135.0293 | 44.9708 | 0 | 44.9707 | -135.0292 |  | 1.05 | 1.0499 | 1.0497 | 1.05 | 1.0497 | 1.0496 | -1.3699e-08 | -120.0128 | 119.999 | -1.6856e-08 | -120.0135 | 120.0071
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1384e-18 | -8.7535e-13 | -1.9966e-12 | 9.1073e-19 | 8.7535e-13 | 1.9966e-12 | 2.4286e-18 | 1.8004e-12 | 1.417e-13 | -2.7322e-18 | -1.8004e-12 | -1.417e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.05 | 1.0499 | 1.0497 | 1.05 | 1.0499 | 1.0497 | -1.3699e-08 | -120.0128 | 119.999 | -1.3699e-08 | -120.0128 | 119.999

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.00062165 | 0.00062165 | 0 | 0.00062165 | 0.00062165 | 0 | 0.0071782 | 0.0071782 | 0 | 0.0071782 | 0.0071782 | 7.7642e-09 | 0.0076257 | 0.0020394 | -7.7642e-09 | -0.0076255 | -0.0020392 | 1.2557e-14 | 0.002046 | 0.0076263 | -1.2557e-14 | -0.0020458 | -0.0076261 | 0 | -135.0305 | 44.9696 | 0 | 44.9695 | -135.0304 |  | 1.1 | 1.0999 | 1.0998 | 1.1 | 1.0999 | 1.0997 | -1.2072e-08 | -120.0115 | 119.998 | -1.3699e-08 | -120.0128 | 119.999
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1131e-18 | -9.6072e-13 | -2.1913e-12 | 1.2721e-18 | 9.6071e-13 | 2.1913e-12 | 1.9082e-18 | 1.9759e-12 | 1.5547e-13 | -2.5443e-18 | -1.9759e-12 | -1.5547e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1 | 1.0999 | 1.0997 | 1.1 | 1.0999 | 1.0997 | -1.3699e-08 | -120.0128 | 119.999 | -1.3699e-08 | -120.0128 | 119.999
Line_2_3-2ph | 0 | 0.00062165 | 0.00062165 | 0 | 0.00062165 | 0.00062165 | 0 | 0.0071782 | 0.0071782 | 0 | 0.0071782 | 0.0071782 | 7.7642e-09 | 0.0076255 | 0.0020392 | -7.7642e-09 | -0.0076242 | -0.0020379 | 1.2552e-14 | 0.0020458 | 0.0076261 | -1.2552e-14 | -0.0020453 | -0.0076257 | 0 | -135.0305 | 44.9696 | 0 | 44.9695 | -135.0304 |  | 1.1 | 1.0999 | 1.0997 | 1.1 | 1.0997 | 1.0996 | -1.3699e-08 | -120.0128 | 119.999 | -1.6856e-08 | -120.0135 | 120.0071
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5902e-18 | -9.6072e-13 | -2.1913e-12 | 1.8287e-18 | 9.6072e-13 | 2.1913e-12 | 1.2721e-18 | 1.9759e-12 | 1.5547e-13 | -1.9082e-18 | -1.9759e-12 | -1.5547e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1 | 1.0999 | 1.0997 | 1.1 | 1.0999 | 1.0997 | -1.3699e-08 | -120.0128 | 119.999 | -1.3699e-08 | -120.0128 | 119.999

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.44262 | 0.44262 | 0 | 0.44262 | 0.44262 | 0 | 5.111 | 5.111 | 0 | 5.111 | 5.111 | 5.791e-09 | 3.8817 | -0.51754 | -5.791e-09 | -3.6861 | 0.71314 | -3.3765e-15 | 1.8077 | 3.8625 | 4.5017e-15 | -1.6921 | -3.7469 | 0 | -154.9631 | 25.0369 | 0 | 25.0369 | -154.9631 |  | 0.95 | 0.83779 | 0.76248 | 0.95 | 0.79356 | 0.74627 | -1.3718e-08 | -129.9918 | 122.6685 | -1.5345e-08 | -130.3055 | 125.8129
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.7018e-17 | -8.212e-10 | -1.0882e-09 | -4.9e-16 | 8.212e-10 | 1.0882e-09 | 4.2188e-16 | 9.8903e-10 | -5.2656e-10 | -4.2188e-16 | -9.8903e-10 | 5.2656e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.95 | 0.79356 | 0.74627 | 0.95 | 0.79356 | 0.74627 | -1.5345e-08 | -130.3055 | 125.8129 | -1.5345e-08 | -130.3055 | 125.8129
Line_2_3-2ph | 0 | 0.44262 | 0.44262 | 0 | 0.44262 | 0.44262 | 0 | 5.111 | 5.111 | 0 | 5.111 | 5.111 | 5.791e-09 | 3.6861 | -0.71314 | -5.791e-09 | -2.4504 | 1.9488 | -5.6406e-16 | 1.6921 | 3.7469 | 8.4564e-16 | -1.4677 | -3.5226 | 0 | -154.9631 | 25.0369 | 0 | 25.0369 | -154.9631 |  | 0.95 | 0.79356 | 0.74627 | 0.95 | 0.55886 | 0.78766 | -1.5345e-08 | -130.3055 | 125.8129 | -1.8503e-08 | -124.042 | 143.99
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.6027e-16 | -8.212e-10 | -1.0882e-09 | 3.3729e-16 | 8.212e-10 | 1.0882e-09 | 5.6251e-16 | 9.8903e-10 | -5.2656e-10 | -5.6251e-16 | -9.8903e-10 | 5.2656e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.95 | 0.79356 | 0.74627 | 0.95 | 0.79356 | 0.74627 | -1.5345e-08 | -130.3055 | 125.8129 | -1.5345e-08 | -130.3055 | 125.8129

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.41933 | 0.41933 | 0 | 0.41933 | 0.41933 | 0 | 4.842 | 4.842 | 0 | 4.842 | 4.842 | 5.1975e-09 | 3.4838 | -0.4645 | -5.1975e-09 | -3.3083 | 0.64005 | -2.1329e-15 | 1.6224 | 3.4666 | 2.133e-15 | -1.5187 | -3.3629 | 0 | -154.9631 | 25.0369 | 0 | 25.0369 | -154.9631 |  | 0.9 | 0.7937 | 0.72235 | 0.9 | 0.7518 | 0.70699 | -1.3718e-08 | -129.9918 | 122.6685 | -1.5345e-08 | -130.3055 | 125.8129
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6653e-17 | -7.3703e-10 | -9.7667e-10 | -3.7782e-16 | 7.3703e-10 | 9.7667e-10 | 1.3323e-16 | 8.8766e-10 | -4.7259e-10 | -2.6645e-16 | -8.8766e-10 | 4.7259e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.9 | 0.7518 | 0.70699 | 0.9 | 0.7518 | 0.70699 | -1.5345e-08 | -130.3055 | 125.8129 | -1.5345e-08 | -130.3055 | 125.8129
Line_2_3-2ph | 0 | 0.41933 | 0.41933 | 0 | 0.41933 | 0.41933 | 0 | 4.842 | 4.842 | 0 | 4.842 | 4.842 | 5.1975e-09 | 3.3083 | -0.64005 | -5.1975e-09 | -2.1992 | 1.7491 | -2.6785e-16 | 1.5187 | 3.3629 | 1.6784e-18 | -1.3173 | -3.1615 | 0 | -154.9631 | 25.0369 | 0 | 25.0369 | -154.9631 |  | 0.9 | 0.7518 | 0.70699 | 0.9 | 0.52945 | 0.74621 | -1.5345e-08 | -130.3055 | 125.8129 | -1.8503e-08 | -124.042 | 143.99
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2354e-16 | -7.3703e-10 | -9.7667e-10 | 1.6237e-16 | 7.3703e-10 | 9.7667e-10 | 2.6645e-16 | 8.8766e-10 | -4.7259e-10 | -3.9968e-16 | -8.8766e-10 | 4.7259e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.9 | 0.7518 | 0.70699 | 0.9 | 0.7518 | 0.70699 | -1.5345e-08 | -130.3055 | 125.8129 | -1.5345e-08 | -130.3055 | 125.8129

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.00053679 | 0.00053679 | 0 | 0.00053679 | 0.00053679 | 0 | 0.0061983 | 0.0061983 | 0 | 0.0061983 | 0.0061983 | 5.791e-09 | 0.005687 | 0.0015215 | -5.791e-09 | -0.0056867 | -0.0015212 | 1.0222e-14 | 0.001525 | 0.0056869 | -1.0223e-14 | -0.0015248 | -0.0056868 | 0 | -135.0237 | 44.9763 | 0 | 44.9763 | -135.0237 |  | 0.95 | 0.94992 | 0.94977 | 0.95 | 0.94987 | 0.94973 | -1.3718e-08 | -120.0131 | 119.9977 | -1.5345e-08 | -120.014 | 120
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12e-19 | -9.3459e-13 | -1.8658e-12 | -2.06e-19 | 9.3459e-13 | 1.8658e-12 | 1.5107e-18 | 1.6152e-12 | -2.2532e-15 | -1.7853e-18 | -1.6152e-12 | 2.2527e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.95 | 0.94987 | 0.94973 | 0.95 | 0.94987 | 0.94973 | -1.5345e-08 | -120.014 | 120 | -1.5345e-08 | -120.014 | 120
Line_2_3-2ph | 0 | 0.00053679 | 0.00053679 | 0 | 0.00053679 | 0.00053679 | 0 | 0.0061983 | 0.0061983 | 0 | 0.0061983 | 0.0061983 | 5.791e-09 | 0.0056867 | 0.0015212 | -5.791e-09 | -0.0056849 | -0.0015194 | 1.022e-14 | 0.0015248 | 0.0056868 | -1.022e-14 | -0.0015245 | -0.0056864 | 0 | -135.0237 | 44.9763 | 0 | 44.9763 | -135.0237 |  | 0.95 | 0.94987 | 0.94973 | 0.95 | 0.94957 | 0.9496 | -1.5345e-08 | -120.014 | 120 | -1.8503e-08 | -120.0125 | 120.0163
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3733e-18 | -9.3459e-13 | -1.8658e-12 | 6.18e-19 | 9.3459e-13 | 1.8658e-12 | 1.7853e-18 | 1.6152e-12 | -2.2533e-15 | -2.06e-18 | -1.6152e-12 | 2.2515e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.95 | 0.94987 | 0.94973 | 0.95 | 0.94987 | 0.94973 | -1.5345e-08 | -120.014 | 120 | -1.5345e-08 | -120.014 | 120

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.00050854 | 0.00050854 | 0 | 0.00050854 | 0.00050854 | 0 | 0.0058721 | 0.0058721 | 0 | 0.0058721 | 0.0058721 | 5.1975e-09 | 0.0051041 | 0.0013656 | -5.1975e-09 | -0.0051038 | -0.0013653 | 9.1737e-15 | 0.0013687 | 0.0051041 | -9.1746e-15 | -0.0013685 | -0.0051039 | 0 | -135.0237 | 44.9763 | 0 | 44.9763 | -135.0237 |  | 0.9 | 0.89992 | 0.89978 | 0.9 | 0.89987 | 0.89975 | -1.3718e-08 | -120.0131 | 119.9977 | -1.5345e-08 | -120.014 | 120
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.5536e-19 | -8.388e-13 | -1.6746e-12 | -1.9516e-19 | 8.388e-13 | 1.6746e-12 | 1.301e-18 | 1.4496e-12 | -2.0214e-15 | -1.5613e-18 | -1.4496e-12 | 2.0207e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.9 | 0.89987 | 0.89975 | 0.9 | 0.89987 | 0.89975 | -1.5345e-08 | -120.014 | 120 | -1.5345e-08 | -120.014 | 120
Line_2_3-2ph | 0 | 0.00050854 | 0.00050854 | 0 | 0.00050854 | 0.00050854 | 0 | 0.0058721 | 0.0058721 | 0 | 0.0058721 | 0.0058721 | 5.1975e-09 | 0.0051038 | 0.0013653 | -5.1975e-09 | -0.0051022 | -0.0013637 | 9.172e-15 | 0.0013685 | 0.0051039 | -9.1725e-15 | -0.0013682 | -0.0051036 | 0 | -135.0237 | 44.9763 | 0 | 44.9763 | -135.0237 |  | 0.9 | 0.89987 | 0.89975 | 0.9 | 0.89959 | 0.89963 | -1.5345e-08 | -120.014 | 120 | -1.8503e-08 | -120.0125 | 120.0163
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.7578e-19 | -8.388e-13 | -1.6746e-12 | 3.9031e-19 | 8.388e-13 | 1.6746e-12 | 1.4311e-18 | 1.4496e-12 | -2.0224e-15 | -1.8215e-18 | -1.4496e-12 | 2.021e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.9 | 0.89987 | 0.89975 | 0.9 | 0.89987 | 0.89975 | -1.5345e-08 | -120.014 | 120 | -1.5345e-08 | -120.014 | 120