## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.39214 | 0.39214 | 0 | 0.5722 | 0.27168 | 0.27168 | 0.23596 | -1e-07 | 0.15942 | -1e-07 | -34.1631 | 145.8369 | 1.0482 | 0 | -0.11967 | 0
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 2.9237e-22 | 0 | 3.7174e-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 2.9237e-22 | 0 | 3.7174e-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.41078 | 0.41078 | 0 | 0.5994 | 0.28459 | 0.28459 | 0.25893 | -1e-07 | 0.17493 | -1e-07 | -34.1688 | 145.8312 | 1.098 | 0 | -0.12536 | 0
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 1.2628e-22 | 0 | 3.4029e-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 1.2628e-22 | 0 | 3.4029e-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.031577 | 0.031577 | 0 | 0.046076 | 0.021877 | 0.021877 | 0.016486 | -0.014956 | 0.01599 | -0.014956 | -44.1325 | 135.8675 | 1.0498 | 0.96684 | -0.0080847 | 0.86748
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | -8.8318e-10 | 0 | -1.6907e-10 | 0 | 0 | 0 | 0.96684 | 0.96684 | 0.86748 | 0.86748
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | -8.8318e-10 | 0 | -1.6907e-10 | 0 | 0 | 0 | 0.96684 | 0.96684 | 0.86748 | 0.86748

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.03308 | 0.03308 | 0 | 0.04827 | 0.022919 | 0.022919 | 0.018094 | -0.016414 | 0.017549 | -0.016414 | -44.1329 | 135.8671 | 1.0998 | 1.0129 | -0.0084696 | 0.86709
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | -9.6938e-10 | 0 | -1.8547e-10 | 0 | 0 | 0 | 1.0129 | 1.0129 | 0.86709 | 0.86709
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | -9.6938e-10 | 0 | -1.8547e-10 | 0 | 0 | 0 | 1.0129 | 1.0129 | 0.86709 | 0.86709

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.21057 | 0.21057 | 0 | 0.3038 | 0.14589 | 0.14589 | 0.13063 | -1e-07 | 0.045967 | -1e-07 | -19.4806 | 160.5194 | 0.94926 | 0 | -0.094619 | 0
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 6.613e-23 | 0 | 1.7615e-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 6.613e-23 | 0 | 1.7615e-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.19949 | 0.19949 | 0 | 0.28783 | 0.13821 | 0.13821 | 0.11725 | -1e-07 | 0.041259 | -1e-07 | -19.4756 | 160.5244 | 0.89934 | 0 | -0.089643 | 0
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 7.2542e-23 | 0 | 1.5924e-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 7.2542e-23 | 0 | 1.5924e-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.027342 | 0.027342 | 0 | 0.039449 | 0.018943 | 0.018943 | 0.013417 | -0.011214 | 0.011989 | -0.011214 | -41.7931 | 138.2069 | 0.94983 | 0.83719 | -0.0091668 | 3.2069
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | -1.0252e-09 | 0 | -4.8942e-10 | 0 | 0 | 0 | 0.83719 | 0.83719 | 3.2069 | 3.2069
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | -1.0252e-09 | 0 | -4.8942e-10 | 0 | 0 | 0 | 0.83719 | 0.83719 | 3.2069 | 3.2069

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.025904 | 0.025904 | 0 | 0.037373 | 0.017947 | 0.017947 | 0.012042 | -0.010065 | 0.010761 | -0.010065 | -41.7926 | 138.2074 | 0.89985 | 0.79313 | -0.0086845 | 3.2074
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | -9.2006e-10 | 0 | -4.3932e-10 | 0 | 0 | 0 | 0.79313 | 0.79313 | 3.2074 | 3.2074
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | -9.2006e-10 | 0 | -4.3932e-10 | 0 | 0 | 0 | 0.79313 | 0.79313 | 3.2074 | 3.2074

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.3396 | 0.3396 | 0 | 0.3396 | 0.3396 | 0 | 0.078428 | 0.078428 | 0 | 0.078428 | 0.078428 | -1.8e-13 | 0.082112 | 0.035869 | 1.7995e-13 | -0.023122 | 0.023122 | 6.3717e-13 | 0.0057854 | 0.073924 | -6.3713e-13 | 0.03407 | -0.03407 | 0 | -124.1631 | 55.8369 | 0 | 55.8369 | -124.1631 | 1.05 | 1.0496 | 1.0477 | 1.05 | 0.525 | 0.525 | 3.9817e-13 | -120.1329 | 119.9535 | 4.9991e-10 | 180 | -180
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.1832e-13 | 3.4925e-20 | 1.5916e-13 | 3.1832e-13 | 1.0658e-16 | -1.5905e-13 | -2.7774e-24 | 1.7505e-09 | -1.7503e-09 | 2.5814e-24 | -1.7505e-09 | 1.7503e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.05 | 0.525 | 0.525 | 1.05 | 0.525 | 0.525 | 4.9991e-10 | 180 | -180 | 4.6463e-10 | -180 | 180
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.1832e-13 | 1.5916e-13 | 3.1832e-13 | 3.1832e-13 | -1.591e-13 | -3.1826e-13 | 1.2733e-12 | 1.7501e-09 | -1.7503e-09 | -1.2733e-12 | -1.7501e-09 | 1.7503e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.05 | 0.525 | 0.525 | 1.05 | 0.525 | 0.525 | 4.9991e-10 | 180 | -180 | 5.9441e-10 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.35574 | 0.35574 | 0 | 0.35574 | 0.35574 | 0 | 0.082155 | 0.082155 | 0 | 0.082155 | 0.082155 | -8.1126e-13 | 0.09011 | 0.039354 | 8.1125e-13 | -0.025378 | 0.025378 | 1.4233e-14 | 0.0063478 | 0.08112 | -1.4472e-14 | 0.037386 | -0.037386 | 0 | -124.1688 | 55.8312 | 0 | 55.8312 | -124.1688 | 1.1 | 1.0995 | 1.0975 | 1.1 | 0.55 | 0.55 | 1.2649e-12 | -120.1392 | 119.9513 | 2.6451e-10 | 180 | -180
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.6696e-13 | 2.7912e-20 | 4.3436e-20 | -6.6696e-13 | 1.1699e-16 | 1.1695e-16 | 3.079e-24 | 1.9214e-09 | -1.9209e-09 | -2.5571e-24 | -1.9214e-09 | 1.9209e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 2.6451e-10 | 180 | -180 | 2.1967e-10 | -180 | 180
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.079e-24 | -3.3348e-13 | 4.3444e-20 | 4.1791e-24 | 3.3355e-13 | 7.0153e-17 | 6.6696e-13 | 1.9205e-09 | -1.9212e-09 | -6.6696e-13 | -1.9205e-09 | 1.9212e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 2.6451e-10 | 180 | -180 | 3.5901e-10 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.050669 | 0.050669 | 0 | 0.050669 | 0.050669 | 0 | 0.011702 | 0.011702 | 0 | 0.011702 | 0.011702 | -3.4795e-14 | 0.011952 | 0.0035113 | 3.4789e-14 | -0.010639 | -0.0021981 | 8.8548e-14 | 0.0028416 | 0.01177 | -8.8544e-14 | -0.0019543 | -0.010883 | 0 | -133.3925 | 46.6075 | 0 | 46.6075 | -133.3925 | 1.05 | 1.0499 | 1.0496 | 1.05 | 0.9244 | 0.94879 | 7.1309e-14 | -120.019 | 119.9962 | 7.2754e-11 | -122.9835 | 125.1886
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.9581e-14 | -4.2091e-10 | -3.3703e-10 | 7.9581e-14 | 4.2091e-10 | 3.3703e-10 | -7.9581e-14 | 1.8526e-10 | -3.3039e-10 | 7.9581e-14 | -1.8526e-10 | 3.3039e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.05 | 0.9244 | 0.94879 | 1.05 | 0.9244 | 0.94879 | 7.2754e-11 | -122.9835 | 125.1886 | 6.7281e-11 | -122.9835 | 125.1886
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.9581e-14 | -4.2081e-10 | -3.3697e-10 | 7.9581e-14 | 4.2081e-10 | 3.3697e-10 | 1.1937e-13 | 1.8516e-10 | -3.3035e-10 | -1.1937e-13 | -1.8516e-10 | 3.3035e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.05 | 0.9244 | 0.94879 | 1.05 | 0.9244 | 0.94879 | 7.2754e-11 | -122.9835 | 125.1886 | 8.3781e-11 | -122.9835 | 125.1886

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.053082 | 0.053082 | 0 | 0.053082 | 0.053082 | 0 | 0.012259 | 0.012259 | 0 | 0.012259 | 0.012259 | -1.2346e-13 | 0.013117 | 0.0038534 | 1.2346e-13 | -0.011676 | -0.0024122 | 1.1019e-14 | 0.0031185 | 0.012917 | -1.1047e-14 | -0.0021448 | -0.011943 | 0 | -133.3932 | 46.6068 | 0 | 46.6068 | -133.3932 | 1.1 | 1.0999 | 1.0996 | 1.1 | 0.96841 | 0.99396 | 1.9389e-13 | -120.0199 | 119.996 | 4.7813e-11 | -122.9844 | 125.1885
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.337e-14 | -4.6183e-10 | -3.6999e-10 | 8.337e-14 | 4.6183e-10 | 3.6999e-10 | 4.1685e-14 | 2.0344e-10 | -3.6265e-10 | -4.1685e-14 | -2.0344e-10 | 3.6265e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.96841 | 0.99396 | 1.1 | 0.96841 | 0.99396 | 4.7813e-11 | -122.9844 | 125.1885 | 4.2001e-11 | -122.9844 | 125.1885
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.6179e-10 | -3.6993e-10 | 0 | 4.6179e-10 | 3.6993e-10 | 0 | 2.0337e-10 | -3.6261e-10 | 0 | -2.0337e-10 | 3.6261e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.96841 | 0.99396 | 1.1 | 0.96841 | 0.99396 | 4.7813e-11 | -122.9844 | 125.1885 | 5.8842e-11 | -122.9844 | 125.1885

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.18236 | 0.18236 | 0 | 0.18236 | 0.18236 | 0 | 0.042113 | 0.042113 | 0 | 0.042113 | 0.042113 | -2.0932e-13 | 0.039329 | 0.025987 | 2.0952e-13 | -0.0066711 | 0.0066711 | -5.1677e-13 | -0.007367 | 0.030351 | 5.1693e-13 | 0.018859 | -0.018859 | 0 | -109.4806 | 70.5194 | 0 | 70.5194 | -109.4806 | 0.95 | 0.95013 | 0.94877 | 0.95 | 0.475 | 0.475 | 3.5529e-13 | -120.0902 | 119.9483 | -1.1568e-09 | -180 | -180
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.44e-13 | 3.6001e-14 | 1.8153e-20 | 1.44e-13 | -3.5833e-14 | 1.676e-16 | 2.8801e-13 | 1.4328e-09 | -1.4332e-09 | -2.8801e-13 | -1.4328e-09 | 1.4332e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95 | 0.475 | 0.475 | 0.95 | 0.475 | 0.475 | -1.1568e-09 | -180 | -180 | -1.2342e-09 | -180 | 180
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.44e-13 | -1.44e-13 | -1.44e-13 | -1.44e-13 | 1.441e-13 | 1.441e-13 | -2.9075e-24 | 1.4333e-09 | -1.4331e-09 | 2.8776e-24 | -1.4333e-09 | 1.4331e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95 | 0.475 | 0.475 | 0.95 | 0.475 | 0.475 | -1.1568e-09 | -180 | -180 | -1.145e-09 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.17277 | 0.17277 | 0 | 0.17277 | 0.17277 | 0 | 0.039899 | 0.039899 | 0 | 0.039899 | 0.039899 | -6.5959e-14 | 0.035299 | 0.023327 | 6.5968e-14 | -0.0059861 | 0.0059861 | -1.8297e-13 | -0.0066123 | 0.027242 | 1.8308e-13 | 0.016927 | -0.016927 | 0 | -109.4756 | 70.5244 | 0 | 70.5244 | -109.4756 | 0.9 | 0.90011 | 0.89889 | 0.9 | 0.45 | 0.45 | 1.1373e-13 | -120.0854 | 119.951 | -2.3959e-10 | 180 | 180
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3642e-13 | -6.8212e-14 | -6.8212e-14 | -1.3642e-13 | 6.8362e-14 | 6.8362e-14 | -1.3642e-13 | 1.2861e-09 | -1.286e-09 | 1.3642e-13 | -1.2861e-09 | 1.286e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9 | 0.45 | 0.45 | 0.9 | 0.45 | 0.45 | -2.3959e-10 | 180 | 180 | -2.3624e-10 | -180 | 180
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.7285e-13 | -6.8212e-14 | -1.3642e-13 | -2.7285e-13 | 6.8302e-14 | 1.3651e-13 | -5.457e-13 | 1.2862e-09 | -1.2859e-09 | 5.457e-13 | -1.2862e-09 | 1.2859e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9 | 0.45 | 0.45 | 0.9 | 0.45 | 0.45 | -2.3959e-10 | 180 | 180 | -2.2769e-10 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.042239 | 0.042239 | 0 | 0.042239 | 0.042239 | 0 | 0.0097546 | 0.0097546 | 0 | 0.0097546 | 0.0097546 | -5.0941e-14 | 0.0091454 | 0.0032793 | 5.0996e-14 | -0.0073933 | -0.0015272 | -1.6459e-13 | 0.0014899 | 0.0086637 | 1.646e-13 | -0.00087334 | -0.0080472 | 0 | -129.273 | 50.727 | 0 | 50.727 | -129.273 | 0.95 | 0.94991 | 0.94966 | 0.95 | 0.7632 | 0.83969 | 7.7804e-14 | -120.0202 | 119.9946 | -3.3959e-10 | -122.5361 | 129.981
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.4012e-25 | -5.2017e-10 | -2.9547e-10 | 6.7739e-25 | 5.2017e-10 | 2.9547e-10 | -1.08e-13 | 1.1757e-10 | -5.0697e-10 | 1.08e-13 | -1.1757e-10 | 5.0697e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95 | 0.7632 | 0.83969 | 0.95 | 0.7632 | 0.83969 | -3.3959e-10 | -122.5361 | 129.981 | -3.5936e-10 | -122.5361 | 129.981
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.44e-13 | -5.2009e-10 | -2.9543e-10 | 1.44e-13 | 5.2009e-10 | 2.9543e-10 | 7.2002e-14 | 1.1765e-10 | -5.0702e-10 | -7.2002e-14 | -1.1765e-10 | 5.0702e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95 | 0.7632 | 0.83969 | 0.95 | 0.7632 | 0.83969 | -3.3959e-10 | -122.5361 | 129.981 | -3.424e-10 | -122.5361 | 129.981

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.040016 | 0.040016 | 0 | 0.040016 | 0.040016 | 0 | 0.0092413 | 0.0092413 | 0 | 0.0092413 | 0.0092413 | 2.4418e-15 | 0.0082082 | 0.0029434 | -2.4194e-15 | -0.0066356 | -0.0013708 | -8.5825e-14 | 0.0013372 | 0.007776 | 8.5837e-14 | -0.00078386 | -0.0072226 | 0 | -129.2721 | 50.7279 | 0 | 50.7279 | -129.2721 | 0.9 | 0.89992 | 0.8997 | 0.9 | 0.72303 | 0.79551 | -2.5992e-14 | -120.0192 | 119.9949 | -1.9164e-10 | -122.5351 | 129.9812
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.2816e-25 | -4.6686e-10 | -2.6507e-10 | 2.393e-25 | 4.6686e-10 | 2.6507e-10 | -6.8212e-14 | 1.0552e-10 | -4.5502e-10 | 6.8212e-14 | -1.0552e-10 | 4.5502e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9 | 0.72303 | 0.79551 | 0.9 | 0.72303 | 0.79551 | -1.9164e-10 | -122.5351 | 129.9812 | -2.01e-10 | -122.5351 | 129.9812
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3642e-13 | -4.6684e-10 | -2.6514e-10 | 1.3642e-13 | 4.6684e-10 | 2.6514e-10 | 1.0232e-13 | 1.0554e-10 | -4.5508e-10 | -1.0232e-13 | -1.0554e-10 | 4.5508e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9 | 0.72303 | 0.79551 | 0.9 | 0.72303 | 0.79551 | -1.9164e-10 | -122.5351 | 129.9812 | -1.9445e-10 | -122.5351 | 129.9812

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.19617 | 4.6684e-05 | 4.6684e-05 | 0.19614 | 0 | 0 | 0.045304 | 1.0781e-05 | 1.0781e-05 | 0.045297 | 0 | 0 | 0.039391 | 9.8082e-06 | -9.7991e-06 | -2.5355e-12 | -6.05e-09 | -6.0659e-09 | 0.026593 | -5.6522e-06 | -5.6681e-06 | 2.3916e-12 | -5.253e-09 | 5.2449e-09 | -34.0833 | -90.0463 | -90.0463 | 145.928 | 0 | 0 |  | 1.0491 | 1.05 | 1.05 | 0 | 1.3883 | 1.3894 | -0.059884 | -120 | 120 | 0 | -139.1272 | 139.0752
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.4628e-20 | 2.0177e-09 | 2.0209e-09 | 4.7445e-17 | -2.0177e-09 | -2.0209e-09 | 2.8917e-19 | 1.7517e-09 | -1.7474e-09 | 3.1825e-17 | -1.7517e-09 | 1.7474e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.3883 | 1.3894 | 0 | 1.3883 | 1.3894 | 0 | -139.1272 | 139.0752 | 0 | -139.1272 | 139.0752
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.4614e-20 | 2.0184e-09 | 2.0237e-09 | 2.8468e-17 | -2.0184e-09 | -2.0237e-09 | 2.8905e-19 | 1.7506e-09 | -1.749e-09 | 1.896e-17 | -1.7506e-09 | 1.749e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.3883 | 1.3894 | 0 | 1.3883 | 1.3894 | 0 | -139.1272 | 139.0752 | 0 | -139.1272 | 139.0752

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.2055 | 4.8907e-05 | 4.8907e-05 | 0.20548 | 0 | 0 | 0.047459 | 1.1295e-05 | 1.1295e-05 | 0.047453 | 0 | 0 | 0.043228 | 1.0765e-05 | -1.0755e-05 | -3.5401e-12 | -6.64e-09 | -6.6583e-09 | 0.029184 | -6.2033e-06 | -6.2207e-06 | 2.5224e-12 | -5.766e-09 | 5.7559e-09 | -34.0862 | -90.0463 | -90.0463 | 145.9251 | 0 | 0 |  | 1.099 | 1.1 | 1.1 | 0 | 1.4544 | 1.4556 | -0.062733 | -120 | 120 | 0 | -139.1275 | 139.0738
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2917e-19 | 2.2151e-09 | 2.2198e-09 | 5.2102e-17 | -2.2151e-09 | -2.2198e-09 | 3.4618e-19 | 1.9225e-09 | -1.9176e-09 | 3.4895e-17 | -1.9225e-09 | 1.9176e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.4544 | 1.4556 | 0 | 1.4544 | 1.4556 | 0 | -139.1275 | 139.0738 | 0 | -139.1275 | 139.0738
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2923e-19 | 2.212e-09 | 2.2197e-09 | 3.1304e-17 | -2.212e-09 | -2.2197e-09 | 3.4616e-19 | 1.92e-09 | -1.9181e-09 | 2.0797e-17 | -1.92e-09 | 1.9181e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.4544 | 1.4556 | 0 | 1.4544 | 1.4556 | 0 | -139.1275 | 139.0738 | 0 | -139.1275 | 139.0738

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.029261 | 6.9634e-06 | 6.9634e-06 | 0.029257 | 0 | 0 | 0.0067575 | 1.6081e-06 | 1.6081e-06 | 0.0067566 | 0 | 0 | 0.0051559 | 1.5801e-06 | -1.3056e-06 | -0.0042798 | -3.8531e-10 | -6.4095e-10 | 0.0048729 | -5.9537e-07 | -1.0707e-06 | -0.0042798 | -8.4609e-10 | 6.9861e-10 | -43.3909 | -99.3539 | -99.3539 | 136.6204 | 0 | 0 |  | 1.0498 | 1.05 | 1.05 | 0.8958 | 1.08 | 1.1013 | -0.0076059 | -120 | 120 | 1.6204 | -123.8901 | 123.1485
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.0517e-10 | 1.2855e-10 | 2.1366e-10 | 5.0517e-10 | -1.2855e-10 | -2.1366e-10 | -9.7579e-11 | 2.8221e-10 | -2.3278e-10 | 9.7579e-11 | -2.8221e-10 | 2.3278e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.8958 | 1.08 | 1.1013 | 0.8958 | 1.08 | 1.1013 | 1.6204 | -123.8901 | 123.1485 | 1.6204 | -123.8901 | 123.1485
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.0488e-10 | 1.2839e-10 | 2.1362e-10 | 5.0488e-10 | -1.2839e-10 | -2.1362e-10 | -9.752e-11 | 2.8172e-10 | -2.3275e-10 | 9.752e-11 | -2.8172e-10 | 2.3275e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.8958 | 1.08 | 1.1013 | 0.8958 | 1.08 | 1.1013 | 1.6204 | -123.8901 | 123.1485 | 1.6204 | -123.8901 | 123.1485

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.030654 | 7.2952e-06 | 7.2952e-06 | 0.03065 | 0 | 0 | 0.0070792 | 1.6848e-06 | 1.6848e-06 | 0.0070783 | 0 | 0 | 0.0056586 | 1.7342e-06 | -1.4331e-06 | -0.004697 | -4.2291e-10 | -7.0357e-10 | 0.0053479 | -6.5352e-07 | -1.1751e-06 | -0.004697 | -9.2876e-10 | 7.6677e-10 | -43.3913 | -99.3514 | -99.3514 | 136.62 | 0 | 0 |  | 1.0998 | 1.1 | 1.1 | 0.93845 | 1.1315 | 1.1538 | -0.007968 | -120 | 120 | 1.62 | -123.8901 | 123.1484
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.5442e-10 | 1.4094e-10 | 2.3456e-10 | 5.5442e-10 | -1.4094e-10 | -2.3456e-10 | -1.0704e-10 | 3.0964e-10 | -2.5556e-10 | 1.0704e-10 | -3.0964e-10 | 2.5556e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.93845 | 1.1315 | 1.1538 | 0.93845 | 1.1315 | 1.1538 | 1.62 | -123.8901 | 123.1484 | 1.62 | -123.8901 | 123.1484
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.5422e-10 | 1.4085e-10 | 2.3465e-10 | 5.5422e-10 | -1.4085e-10 | -2.3465e-10 | -1.0697e-10 | 3.0942e-10 | -2.5565e-10 | 1.0697e-10 | -3.0942e-10 | 2.5565e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.93845 | 1.1315 | 1.1538 | 0.93845 | 1.1315 | 1.1538 | 1.62 | -123.8901 | 123.1484 | 1.62 | -123.8901 | 123.1484

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.10528 | 4.2239e-05 | 4.2239e-05 | 0.10527 | 0 | 0 | 0.024313 | 9.7548e-06 | 9.7548e-06 | 0.02431 | 0 | 0 | 0.021783 | 8.0299e-06 | -8.021e-06 | -3.3864e-15 | -4.9572e-09 | -4.9722e-09 | 0.0076534 | -4.6258e-06 | -4.6413e-06 | -2.2474e-13 | -4.3028e-09 | 4.2951e-09 | -19.4058 | -90.0553 | -90.0553 | 160.6159 | 0 | 0 |  | 0.94963 | 0.95 | 0.95 | 0 | 1.2563 | 1.2573 | -0.047318 | -120 | 120 | 0 | -139.1366 | 139.0814
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1143e-20 | 1.6522e-09 | 1.6582e-09 | 7.4431e-17 | -1.6522e-09 | -1.6582e-09 | -3.022e-20 | 1.4351e-09 | -1.432e-09 | 2.6369e-17 | -1.4351e-09 | 1.432e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.2563 | 1.2573 | 0 | 1.2563 | 1.2573 | 0 | -139.1366 | 139.0814 | 0 | -139.1366 | 139.0814
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1145e-20 | 1.652e-09 | 1.6586e-09 | 4.4668e-17 | -1.652e-09 | -1.6586e-09 | -3.0223e-20 | 1.4341e-09 | -1.4331e-09 | 1.5825e-17 | -1.4341e-09 | 1.4331e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.2563 | 1.2573 | 0 | 1.2563 | 1.2573 | 0 | -139.1366 | 139.0814 | 0 | -139.1366 | 139.0814

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.099741 | 4.0016e-05 | 4.0016e-05 | 0.099728 | 0 | 0 | 0.023034 | 9.2414e-06 | 9.2414e-06 | 0.023031 | 0 | 0 | 0.019552 | 7.2069e-06 | -7.1989e-06 | 2.7596e-13 | -4.4505e-09 | -4.4632e-09 | 0.0068693 | -4.1517e-06 | -4.1656e-06 | -5.9205e-13 | -3.8629e-09 | 3.8554e-09 | -19.4033 | -90.0553 | -90.0553 | 160.6184 | 0 | 0 |  | 0.89967 | 0.9 | 0.9 | 0 | 1.1902 | 1.1911 | -0.044829 | -120 | 120 | 0 | -139.1362 | 139.0824
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.1461e-21 | 1.4834e-09 | 1.4867e-09 | 6.6798e-17 | -1.4834e-09 | -1.4867e-09 | -9.3145e-20 | 1.287e-09 | -1.2851e-09 | 2.3723e-17 | -1.287e-09 | 1.2851e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.1902 | 1.1911 | 0 | 1.1902 | 1.1911 | 0 | -139.1362 | 139.0824 | 0 | -139.1362 | 139.0824
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.1631e-21 | 1.483e-09 | 1.4886e-09 | 4.0072e-17 | -1.483e-09 | -1.4886e-09 | -9.3164e-20 | 1.2873e-09 | -1.2862e-09 | 1.4269e-17 | -1.2873e-09 | 1.2862e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 1.1902 | 1.1911 | 0 | 1.1902 | 1.1911 | 0 | -139.1362 | 139.0824 | 0 | -139.1362 | 139.0824

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.024392 | 9.7863e-06 | 9.7863e-06 | 0.024389 | 0 | 0 | 0.0056331 | 2.2601e-06 | 2.2601e-06 | 0.0056324 | 0 | 0 | 0.0041427 | 2.1139e-06 | -1.3823e-06 | -0.0029741 | -3.3372e-10 | -1.0139e-09 | 0.0033864 | -3.7569e-07 | -1.6429e-06 | -0.0029741 | -1.1325e-09 | 7.3989e-10 | -39.2729 | -109.9224 | -109.9224 | 140.7488 | 0 | 0 |  | 0.94986 | 0.95 | 0.95 | 0.74675 | 0.97522 | 1.0367 | -0.008562 | -120 | 120 | 5.7488 | -126.381 | 123.9163
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.4339e-10 | 1.1125e-10 | 3.3794e-10 | 5.4339e-10 | -1.1125e-10 | -3.3794e-10 | -2.6049e-10 | 3.7751e-10 | -2.4663e-10 | 2.6049e-10 | -3.7751e-10 | 2.4663e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.74675 | 0.97522 | 1.0367 | 0.74675 | 0.97522 | 1.0367 | 5.7488 | -126.381 | 123.9163 | 5.7488 | -126.381 | 123.9163
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.4349e-10 | 1.1126e-10 | 3.3812e-10 | 5.4349e-10 | -1.1126e-10 | -3.3812e-10 | -2.6049e-10 | 3.7743e-10 | -2.4701e-10 | 2.6049e-10 | -3.7743e-10 | 2.4701e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.74675 | 0.97522 | 1.0367 | 0.74675 | 0.97522 | 1.0367 | 5.7488 | -126.381 | 123.9163 | 5.7488 | -126.381 | 123.9163

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.023108 | 9.2711e-06 | 9.2711e-06 | 0.023105 | 0 | 0 | 0.0053367 | 2.1411e-06 | 2.1411e-06 | 0.005336 | 0 | 0 | 0.0037181 | 1.8973e-06 | -1.2406e-06 | -0.0026693 | -2.9962e-10 | -9.1013e-10 | 0.0030394 | -3.3712e-07 | -1.4745e-06 | -0.0026693 | -1.0167e-09 | 6.6408e-10 | -39.2725 | -109.9245 | -109.9245 | 140.7492 | 0 | 0 |  | 0.89987 | 0.9 | 0.9 | 0.70746 | 0.9239 | 0.98213 | -0.0081115 | -120 | 120 | 5.7492 | -126.381 | 123.9164
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.8775e-10 | 9.978e-11 | 3.0339e-10 | 4.8775e-10 | -9.978e-11 | -3.0339e-10 | -2.3395e-10 | 3.3893e-10 | -2.2136e-10 | 2.3395e-10 | -3.3893e-10 | 2.2136e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.70746 | 0.9239 | 0.98213 | 0.70746 | 0.9239 | 0.98213 | 5.7492 | -126.381 | 123.9164 | 5.7492 | -126.381 | 123.9164
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.8762e-10 | 9.9908e-11 | 3.0335e-10 | 4.8762e-10 | -9.9908e-11 | -3.0335e-10 | -2.3372e-10 | 3.3866e-10 | -2.2143e-10 | 2.3372e-10 | -3.3866e-10 | 2.2143e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.70746 | 0.9239 | 0.98213 | 0.70746 | 0.9239 | 0.98213 | 5.7492 | -126.381 | 123.9164 | 5.7492 | -126.381 | 123.9164

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 3.1127e-05 | 0.34595 | 0.34573 | 0 | 0.34598 | 0.3457 | 7.1884e-06 | 0.079895 | 0.079843 | 0 | 0.0799 | 0.079837 | 2.0974e-09 | 0.080988 | 0.050132 | -5.3858e-09 | 1.4601e-12 | -1.0753e-12 | -7.5478e-06 | 0.021599 | 0.066981 | -7.0698e-12 | 3.3739e-12 | -1.5016e-12 | 89.9841 | -135.0612 | 66.7421 | 0 | 44.9425 | -113.26 |  | 1.05 | 1.0491 | 1.0478 | 1.3999 | 0 | 0 | -1.2329e-06 | -120.1285 | 119.9291 | -0.015184 | 0 | 0
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7963e-09 | 1.1017e-19 | -8.9026e-20 | -1.7963e-09 | 7.3512e-17 | 1.4756e-16 | 7.9716e-13 | 1.3873e-19 | -1.7737e-21 | -7.9716e-13 | 1.2929e-16 | 1.9974e-17 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.3999 | 0 | 0 | 1.3999 | 0 | 0 | -0.015184 | 0 | 0 | -0.015184 | 0 | 0
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7961e-09 | 1.1021e-19 | -8.9036e-20 | -1.7961e-09 | 4.4067e-17 | 8.8569e-17 | 1.2216e-12 | 1.387e-19 | -1.7304e-21 | -1.2216e-12 | 7.7515e-17 | 1.1966e-17 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.3999 | 0 | 0 | 1.3999 | 0 | 0 | -0.015184 | 0 | 0 | -0.015184 | 0 | 0

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 3.2609e-05 | 0.3624 | 0.36216 | 0 | 0.36243 | 0.36213 | 7.5308e-06 | 0.083693 | 0.083638 | 0 | 0.083699 | 0.083631 | 2.1641e-09 | 0.088875 | 0.055007 | -5.91e-09 | 2.812e-12 | -2.0728e-12 | -8.2839e-06 | 0.023702 | 0.073499 | -6.3435e-12 | 3.7707e-12 | -1.5613e-12 | 89.985 | -135.0673 | 66.7371 | 0 | 44.9363 | -113.2649 |  | 1.1 | 1.099 | 1.0976 | 1.4666 | 0 | 0 | -1.2914e-06 | -120.1346 | 119.9257 | -0.015659 | 0 | 0
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.971e-09 | 1.7805e-19 | -1.2013e-19 | -1.971e-09 | 8.0584e-17 | 1.6199e-16 | 2.129e-12 | 1.4033e-19 | 3.5077e-20 | -2.129e-12 | 1.4195e-16 | 2.1883e-17 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.4666 | 0 | 0 | 1.4666 | 0 | 0 | -0.015659 | 0 | 0 | -0.015659 | 0 | 0
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.9714e-09 | 1.7809e-19 | -1.2009e-19 | -1.9714e-09 | 4.8305e-17 | 9.7206e-17 | 3.5043e-13 | 1.4018e-19 | 3.5097e-20 | -3.5043e-13 | 8.5064e-17 | 1.3104e-17 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.4666 | 0 | 0 | 1.4666 | 0 | 0 | -0.015659 | 0 | 0 | -0.015659 | 0 | 0

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 6.4859e-06 | 0.030847 | 0.030259 | 0 | 0.03085 | 0.030253 | 1.4979e-06 | 0.0071237 | 0.006988 | 0 | 0.0071244 | 0.0069866 | 2.3801e-07 | 0.0057007 | 0.0049691 | -8.9043e-10 | -0.0047585 | -0.0045761 | -1.5546e-06 | 0.0048408 | 0.005397 | -1.2852e-10 | -0.0047585 | -0.0045761 | 81.2958 | -160.3449 | 72.6289 | 0 | 19.6657 | -107.3729 |  | 1.05 | 1.0498 | 1.0498 | 1.1221 | 0.94458 | 0.9263 | -6.4092e-07 | -120.0085 | 119.9928 | -0.56628 | -115.3343 | 117.6271
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.9712e-10 | -3.5308e-10 | -4.17e-10 | -2.9712e-10 | 3.5308e-10 | 4.17e-10 | 4.2821e-11 | -2.9581e-10 | 1.4769e-10 | -4.2821e-11 | 2.9581e-10 | -1.4769e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1221 | 0.94458 | 0.9263 | 1.1221 | 0.94458 | 0.9263 | -0.56628 | -115.3343 | 117.6271 | -0.56628 | -115.3343 | 117.6271
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.967e-10 | -3.5318e-10 | -4.1702e-10 | -2.967e-10 | 3.5318e-10 | 4.1702e-10 | 4.2655e-11 | -2.9561e-10 | 1.4758e-10 | -4.2655e-11 | 2.9561e-10 | -1.4758e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1221 | 0.94458 | 0.9263 | 1.1221 | 0.94458 | 0.9263 | -0.56628 | -115.3343 | 117.6271 | -0.56628 | -115.3343 | 117.6271

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 6.795e-06 | 0.032315 | 0.0317 | 0 | 0.032319 | 0.031693 | 1.5692e-06 | 0.0074629 | 0.0073207 | 0 | 0.0074637 | 0.0073192 | 2.6115e-07 | 0.0062565 | 0.0054535 | -9.7724e-10 | -0.0052224 | -0.0050222 | -1.7063e-06 | 0.0053127 | 0.0059232 | -1.4091e-10 | -0.0052224 | -0.0050223 | 81.2983 | -160.3453 | 72.6286 | 0 | 19.6653 | -107.3733 |  | 1.1 | 1.0998 | 1.0998 | 1.1756 | 0.98955 | 0.9704 | -6.7135e-07 | -120.0089 | 119.9924 | -0.5663 | -115.3347 | 117.6267
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2588e-10 | -3.8758e-10 | -4.5772e-10 | -3.2588e-10 | 3.8758e-10 | 4.5772e-10 | 4.6943e-11 | -3.2474e-10 | 1.6209e-10 | -4.6943e-11 | 3.2474e-10 | -1.6209e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1756 | 0.98955 | 0.9704 | 1.1756 | 0.98955 | 0.9704 | -0.5663 | -115.3347 | 117.6267 | -0.5663 | -115.3347 | 117.6267
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2595e-10 | -3.8759e-10 | -4.5771e-10 | -3.2595e-10 | 3.8759e-10 | 4.5771e-10 | 4.7031e-11 | -3.2475e-10 | 1.6239e-10 | -4.7031e-11 | 3.2475e-10 | -1.6239e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1756 | 0.98955 | 0.9704 | 1.1756 | 0.98955 | 0.9704 | -0.5663 | -115.3347 | 117.6267 | -0.5663 | -115.3347 | 117.6267

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 2.8158e-05 | 0.18575 | 0.18565 | 0 | 0.18578 | 0.18562 | 6.5028e-06 | 0.042898 | 0.042874 | 0 | 0.042904 | 0.042868 | 2.4929e-09 | 0.040746 | 0.031833 | -4.4122e-09 | -1.7303e-12 | 1.268e-12 | -6.1777e-06 | 0.00019894 | 0.025337 | -2.7874e-12 | 3.2599e-13 | -1.1085e-12 | 89.9769 | -120.3714 | 81.4163 | 0 | 59.633 | -98.585 |  | 0.95 | 0.94984 | 0.94893 | 1.2667 | 0 | 0 | -1.3959e-06 | -120.0917 | 119.934 | -0.016083 | 0 | 0
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4704e-09 | -1.4033e-19 | 2.4358e-20 | -1.4704e-09 | 1.4373e-16 | 2.0399e-16 | 3.553e-13 | 2.7395e-20 | -1.3467e-19 | -3.5531e-13 | 1.4715e-16 | -2.4714e-17 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.2667 | 0 | 0 | 1.2667 | 0 | 0 | -0.016083 | 0 | 0 | -0.016082 | 0 | 0
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4698e-09 | -1.4031e-19 | 2.4372e-20 | -1.4698e-09 | 8.6283e-17 | 1.2239e-16 | 1.5075e-12 | 2.7392e-20 | -1.3467e-19 | -1.5075e-12 | 8.8273e-17 | -1.4756e-17 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.2667 | 0 | 0 | 1.2667 | 0 | 0 | -0.016083 | 0 | 0 | -0.016083 | 0 | 0

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 2.6676e-05 | 0.17598 | 0.17589 | 0 | 0.17601 | 0.17586 | 6.1605e-06 | 0.040642 | 0.04062 | 0 | 0.040647 | 0.040614 | 2.3184e-09 | 0.036571 | 0.028574 | -3.961e-09 | -6.8366e-13 | 3.6016e-13 | -5.5445e-06 | 0.00017835 | 0.022742 | -2.9636e-12 | 6.0452e-13 | -9.8185e-13 | 89.976 | -120.3663 | 81.4208 | 0 | 59.6381 | -98.5805 |  | 0.9 | 0.89986 | 0.89904 | 1.2 | 0 | 0 | -1.3226e-06 | -120.0868 | 119.9375 | -0.015668 | 0 | 0
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3202e-09 | -5.52e-20 | -2.6868e-20 | -1.3202e-09 | 1.289e-16 | 1.8312e-16 | 1.0942e-12 | 4.9435e-20 | -8.0615e-20 | -1.0942e-12 | 1.3205e-16 | -2.2216e-17 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.2 | 0 | 0 | 1.2 | 0 | 0 | -0.015668 | 0 | 0 | -0.015668 | 0 | 0
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3199e-09 | -5.5179e-20 | -2.6872e-20 | -1.3199e-09 | 7.7337e-17 | 1.099e-16 | 2.1857e-12 | 4.942e-20 | -8.0623e-20 | -2.1857e-12 | 7.919e-17 | -1.3285e-17 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.2 | 0 | 0 | 1.2 | 0 | 0 | -0.015668 | 0 | 0 | -0.015668 | 0 | 0

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 8.8196e-06 | 0.026884 | 0.025305 | 0 | 0.02689 | 0.025296 | 2.0368e-06 | 0.0062087 | 0.0058439 | 0 | 0.00621 | 0.0058418 | 5.9406e-07 | 0.0047809 | 0.0038472 | -1.0945e-09 | -0.0036154 | -0.0031994 | -1.8415e-06 | 0.0034528 | 0.0040012 | -3.187e-10 | -0.0036154 | -0.0031994 | 72.1207 | -155.8477 | 73.8684 | 0 | 24.1663 | -106.131 |  | 0.95 | 0.94985 | 0.94984 | 1.0448 | 0.82334 | 0.77452 | -1.7513e-06 | -120.01 | 119.9922 | -1.674 | -110.8337 | 118.869
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.6494e-10 | -3.457e-10 | -4.979e-10 | -3.6494e-10 | 3.457e-10 | 4.979e-10 | 1.0643e-10 | -4.5692e-10 | 5.335e-11 | -1.0643e-10 | 4.5692e-10 | -5.335e-11 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.0448 | 0.82334 | 0.77452 | 1.0448 | 0.82334 | 0.77452 | -1.674 | -110.8337 | 118.869 | -1.674 | -110.8337 | 118.869
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.6496e-10 | -3.457e-10 | -4.9795e-10 | -3.6496e-10 | 3.457e-10 | 4.9795e-10 | 1.0643e-10 | -4.5684e-10 | 5.3427e-11 | -1.0643e-10 | 4.5684e-10 | -5.3427e-11 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.0448 | 0.82334 | 0.77452 | 1.0448 | 0.82334 | 0.77452 | -1.674 | -110.8337 | 118.869 | -1.674 | -110.8337 | 118.869

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 8.3553e-06 | 0.02547 | 0.023973 | 0 | 0.025475 | 0.023965 | 1.9296e-06 | 0.005882 | 0.0055363 | 0 | 0.0058833 | 0.0055344 | 5.3323e-07 | 0.0042909 | 0.003453 | -9.8249e-10 | -0.0032449 | -0.0028715 | -1.6527e-06 | 0.003099 | 0.0035911 | -2.861e-10 | -0.0032449 | -0.0028715 | 72.1186 | -155.8471 | 73.8688 | 0 | 24.1668 | -106.1306 |  | 0.9 | 0.89987 | 0.89985 | 0.98984 | 0.78002 | 0.73377 | -1.6593e-06 | -120.0095 | 119.9926 | -1.674 | -110.8332 | 118.8694
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2756e-10 | -3.103e-10 | -4.4679e-10 | -3.2756e-10 | 3.103e-10 | 4.4679e-10 | 9.5426e-11 | -4.1011e-10 | 4.7796e-11 | -9.5426e-11 | 4.1011e-10 | -4.7796e-11 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.98984 | 0.78002 | 0.73377 | 0.98984 | 0.78002 | 0.73377 | -1.674 | -110.8332 | 118.8694 | -1.674 | -110.8332 | 118.8694
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2743e-10 | -3.1035e-10 | -4.4683e-10 | -3.2743e-10 | 3.1035e-10 | 4.4683e-10 | 9.5355e-11 | -4.0998e-10 | 4.7807e-11 | -9.5355e-11 | 4.0998e-10 | -4.7807e-11 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.98984 | 0.78002 | 0.73377 | 0.98984 | 0.78002 | 0.73377 | -1.674 | -110.8332 | 118.8694 | -1.674 | -110.8332 | 118.8694