## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 2.1058 | 2.1058 | 0 | 0 | 72.9481 | 72.9481 | 23.9464 | -17.0286 | 16.2707 | -8.4216 | -68.2221 | 111.7779 | 0.39687 | 0.26042 | -34.0275 | -41.9071
Line_1_3-1ph | 2.1058 | 2.1058 | 0 | 3.918 | 72.9481 | 72.9481 | 17.0286 | -1e-07 | 8.4216 | -1e-07 | -68.2221 | 111.7779 | 0.26042 | 0 | -41.9071 | 0
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.26042 | 0.26042 | -41.9071 | -41.9071
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.26042 | 0.26042 | -41.9071 | -41.9071

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 2.1058 | 2.1058 | 0 | 0 | 72.9481 | 72.9481 | 23.9464 | -17.0286 | 16.2707 | -8.4216 | -68.2221 | 111.7779 | 0.39687 | 0.26042 | -34.0275 | -41.9071
Line_1_3-1ph | 2.1058 | 2.1058 | 0 | 3.918 | 72.9481 | 72.9481 | 17.0286 | -1e-07 | 8.4216 | -1e-07 | -68.2221 | 111.7779 | 0.26042 | 0 | -41.9071 | 0
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.26042 | 0.26042 | -41.9071 | -41.9071
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.26042 | 0.26042 | -41.9071 | -41.9071

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.98951 | 0.98951 | 0 | 0 | 34.2777 | 34.2777 | 19.9744 | -18.4469 | 18.2796 | -16.5465 | -55.6772 | 124.3228 | 0.7899 | 0.72293 | -13.214 | -13.7858
Line_1_3-1ph | 0.98951 | 0.98951 | 0 | 1.841 | 34.2777 | 34.2777 | 18.4469 | -14.687 | 16.5465 | -14.687 | -55.6772 | 124.3228 | 0.72293 | 0.60595 | -13.7858 | -10.6772
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.72293 | 0.72293 | -13.7858 | -13.7858
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.72293 | 0.72293 | -13.7858 | -13.7858

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.98951 | 0.98951 | 0 | 0 | 34.2777 | 34.2777 | 19.9744 | -18.4469 | 18.2796 | -16.5465 | -55.6772 | 124.3228 | 0.7899 | 0.72293 | -13.214 | -13.7858
Line_1_3-1ph | 0.98951 | 0.98951 | 0 | 1.841 | 34.2777 | 34.2777 | 18.4469 | -14.687 | 16.5465 | -14.687 | -55.6772 | 124.3228 | 0.72293 | 0.60595 | -13.7858 | -10.6772
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.72293 | 0.72293 | -13.7858 | -13.7858
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.72293 | 0.72293 | -13.7858 | -13.7858

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 1.5706 | 1.5706 | 0 | 0 | 54.4088 | 54.4088 | 25.5772 | -18.1882 | 9.0514 | -4.6849 | -57.4683 | 122.5317 | 0.49866 | 0.3452 | -37.9802 | -43.024
Line_1_3-1ph | 1.5706 | 1.5706 | 0 | 2.5869 | 54.4088 | 54.4088 | 18.1882 | -1e-07 | 4.6849 | -1e-07 | -57.4683 | 122.5317 | 0.3452 | 0 | -43.024 | 0
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.3452 | 0.3452 | -43.024 | -43.024
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.3452 | 0.3452 | -43.024 | -43.024

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 1.5706 | 1.5706 | 0 | 0 | 54.4088 | 54.4088 | 25.5772 | -18.1882 | 9.0514 | -4.6849 | -57.4683 | 122.5317 | 0.49866 | 0.3452 | -37.9802 | -43.024
Line_1_3-1ph | 1.5706 | 1.5706 | 0 | 2.5869 | 54.4088 | 54.4088 | 18.1882 | -1e-07 | 4.6849 | -1e-07 | -57.4683 | 122.5317 | 0.3452 | 0 | -43.024 | 0
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.3452 | 0.3452 | -43.024 | -43.024
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.3452 | 0.3452 | -43.024 | -43.024

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.80537 | 0.80537 | 0 | 0 | 27.8988 | 27.8988 | 16.4541 | -14.5114 | 12.1091 | -10.961 | -51.356 | 128.644 | 0.73228 | 0.65185 | -15.0055 | -14.2907
Line_1_3-1ph | 0.80537 | 0.80537 | 0 | 1.3264 | 27.8988 | 27.8988 | 14.5114 | -9.7293 | 10.961 | -9.7293 | -51.356 | 128.644 | 0.65185 | 0.49318 | -14.2907 | -6.356
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.65185 | 0.65185 | -14.2907 | -14.2907
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.65185 | 0.65185 | -14.2907 | -14.2907

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.80537 | 0.80537 | 0 | 0 | 27.8988 | 27.8988 | 16.4541 | -14.5114 | 12.1091 | -10.961 | -51.356 | 128.644 | 0.73228 | 0.65185 | -15.0055 | -14.2907
Line_1_3-1ph | 0.80537 | 0.80537 | 0 | 1.3264 | 27.8988 | 27.8988 | 14.5114 | -9.7293 | 10.961 | -9.7293 | -51.356 | 128.644 | 0.65185 | 0.49318 | -14.2907 | -6.356
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.65185 | 0.65185 | -14.2907 | -14.2907
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.65185 | 0.65185 | -14.2907 | -14.2907

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 1.8237 | 1.8237 | 0 | 1.8237 | 1.8237 | 0 | 21.0583 | 21.0583 | 0 | 21.0583 | 21.0583 | -1.5632e-14 | 16.7421 | -4.7688 | 9.6854e-29 | -15.0126 | 6.4983 | 1.0421e-14 | -0.2294 | 8.3647 | -1.0421e-14 | 2.1917 | -6.4025 | 0 | -158.2221 | 21.7779 | 0 | 21.7779 | -158.2221 | 1.1 | 0.79511 | 0.45724 | 1.1 | 0.72046 | 0.4332 | 5.1409e-13 | -159.0071 | 141.4659 | 5.325e-13 | -166.5279 | 157.2036
Line_1_3-1ph | 0 | 1.8237 | 1.8237 | 0 | 1.8237 | 1.8237 | 0 | 21.0583 | 21.0583 | 0 | 21.0583 | 21.0583 | -5.7788e-15 | 15.0126 | -6.4983 | 5.7788e-15 | -10.7554 | 10.7554 | 2.2645e-14 | -2.1917 | 6.4025 | -2.2645e-14 | 4.2971 | -4.2971 | 0 | -158.2221 | 21.7779 | 0 | 21.7779 | -158.2221 | 1.1 | 0.72046 | 0.4332 | 1.1 | 0.55 | 0.55 | 5.325e-13 | -166.5279 | 157.2036 | 5.3983e-13 | 180 | 180
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.9256e-15 | -1.9199e-10 | -1.4071e-09 | 7.9256e-15 | 1.9199e-10 | 1.4071e-09 | 7.5786e-15 | 4.2176e-09 | -2.1129e-09 | -7.5786e-15 | -4.2176e-09 | 2.1129e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.72046 | 0.4332 | 1.1 | 0.72046 | 0.4332 | 5.325e-13 | -166.5279 | 157.2036 | 5.3096e-13 | -166.5279 | 157.2036
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7462e-14 | -1.9199e-10 | -1.4071e-09 | 1.7462e-14 | 1.9199e-10 | 1.4071e-09 | 1.7421e-14 | 4.2176e-09 | -2.1129e-09 | -1.7421e-14 | -4.2176e-09 | 2.1129e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.72046 | 0.4332 | 1.1 | 0.72046 | 0.4332 | 5.325e-13 | -166.5279 | 157.2036 | 5.3654e-13 | -166.5279 | 157.2036

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 1.8237 | 1.8237 | 0 | 1.8237 | 1.8237 | 0 | 21.0583 | 21.0583 | 0 | 21.0583 | 21.0583 | 1.5632e-14 | 16.7421 | -4.7688 | -2.0843e-14 | -15.0126 | 6.4983 | -1.5632e-14 | -0.2294 | 8.3647 | 1.0421e-14 | 2.1917 | -6.4025 | 0 | -158.2221 | 21.7779 | 0 | 21.7779 | -158.2221 | 1.1 | 0.79511 | 0.45724 | 1.1 | 0.72046 | 0.4332 | 4.7585e-13 | -159.0071 | 141.4659 | 5.2683e-13 | -166.5279 | 157.2036
Line_1_3-1ph | 0 | 1.8237 | 1.8237 | 0 | 1.8237 | 1.8237 | 0 | 21.0583 | 21.0583 | 0 | 21.0583 | 21.0583 | -1.7587e-15 | 15.0126 | -6.4983 | 1.7587e-15 | -10.7554 | 10.7554 | 1.5181e-14 | -2.1917 | 6.4025 | -1.5181e-14 | 4.2971 | -4.2971 | 0 | -158.2221 | 21.7779 | 0 | 21.7779 | -158.2221 | 1.1 | 0.72046 | 0.4332 | 1.1 | 0.55 | 0.55 | 5.2683e-13 | -166.5279 | 157.2036 | 5.2991e-13 | 180 | 180
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.4041e-15 | -1.9199e-10 | -1.4071e-09 | -8.4041e-15 | 1.9199e-10 | 1.4071e-09 | -1.0203e-14 | 4.2176e-09 | -2.1129e-09 | 1.0203e-14 | -4.2176e-09 | 2.1129e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.72046 | 0.4332 | 1.1 | 0.72046 | 0.4332 | 5.2683e-13 | -166.5279 | 157.2036 | 5.2555e-13 | -166.5279 | 157.2036
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.8631e-15 | -1.9199e-10 | -1.4071e-09 | -2.8631e-15 | 1.9199e-10 | 1.4071e-09 | 6.2489e-15 | 4.2176e-09 | -2.1129e-09 | -6.2489e-15 | -4.2176e-09 | 2.1129e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.72046 | 0.4332 | 1.1 | 0.72046 | 0.4332 | 5.2683e-13 | -166.5279 | 157.2036 | 5.3097e-13 | -166.5279 | 157.2036

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 1.1721 | 1.1721 | 0 | 1.1721 | 1.1721 | 0 | 13.5342 | 13.5342 | 0 | 13.5342 | 13.5342 | -7.816e-15 | 12.333 | -0.51824 | 2.9236e-29 | -11.6186 | 1.2326 | 2.6053e-15 | 1.3568 | 8.8726 | -5.2106e-15 | -0.5463 | -8.0621 | 0 | -149.6797 | 30.3203 | 0 | 30.3203 | -149.6797 | 1.1 | 0.91675 | 0.65669 | 1.1 | 0.85941 | 0.6026 | 3.059e-13 | -143.4014 | 123.6631 | 3.2148e-13 | -146.9876 | 129.013
Line_1_3-1ph | 0 | 1.1721 | 1.1721 | 0 | 1.1721 | 1.1721 | 0 | 13.5342 | 13.5342 | 0 | 13.5342 | 13.5342 | 3.1608e-15 | 11.6186 | -1.2326 | -3.1608e-15 | -9.8601 | 2.9911 | 9.1822e-15 | 0.5463 | 8.0621 | -9.1822e-15 | 0.32337 | -7.1924 | 0 | -149.6797 | 30.3203 | 0 | 30.3203 | -149.6797 | 1.1 | 0.85941 | 0.6026 | 1.1 | 0.72893 | 0.57555 | 3.2148e-13 | -146.9876 | 129.013 | 3.2457e-13 | -151.558 | 142.9012
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.0693e-15 | -7.6134e-10 | -2.138e-09 | 4.0693e-15 | 7.6134e-10 | 2.138e-09 | 3.3499e-15 | 3.146e-09 | -7.6153e-10 | -3.3499e-15 | -3.146e-09 | 7.6153e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.85941 | 0.6026 | 1.1 | 0.85941 | 0.6026 | 3.2148e-13 | -146.9876 | 129.013 | 3.2058e-13 | -146.9876 | 129.013
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.7292e-15 | -7.6134e-10 | -2.138e-09 | 2.7292e-15 | 7.6134e-10 | 2.138e-09 | -1.9178e-15 | 3.146e-09 | -7.6152e-10 | 1.9178e-15 | -3.146e-09 | 7.6152e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.85941 | 0.6026 | 1.1 | 0.85941 | 0.6026 | 3.2148e-13 | -146.9876 | 129.013 | 3.235e-13 | -146.9876 | 129.013

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 1.1721 | 1.1721 | 0 | 1.1721 | 1.1721 | 0 | 13.5342 | 13.5342 | 0 | 13.5342 | 13.5342 | 1.0421e-14 | 12.333 | -0.51824 | -1.5632e-14 | -11.6186 | 1.2326 | 5.1003e-29 | 1.3568 | 8.8726 | -2.6053e-15 | -0.5463 | -8.0621 | 0 | -149.6797 | 30.3203 | 0 | 30.3203 | -149.6797 | 1.1 | 0.91675 | 0.65669 | 1.1 | 0.85941 | 0.6026 | 2.8041e-13 | -143.4014 | 123.6631 | 3.0873e-13 | -146.9876 | 129.013
Line_1_3-1ph | 0 | 1.1721 | 1.1721 | 0 | 1.1721 | 1.1721 | 0 | 13.5342 | 13.5342 | 0 | 13.5342 | 13.5342 | -1.2927e-15 | 11.6186 | -1.2326 | 1.2927e-15 | -9.8601 | 2.9911 | 1.1385e-14 | 0.5463 | 8.0621 | -1.1385e-14 | 0.32337 | -7.1924 | 0 | -149.6797 | 30.3203 | 0 | 30.3203 | -149.6797 | 1.1 | 0.85941 | 0.6026 | 1.1 | 0.72893 | 0.57555 | 3.0873e-13 | -146.9876 | 129.013 | 3.1138e-13 | -151.558 | 142.9012
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.0669e-15 | -7.6134e-10 | -2.138e-09 | -4.0669e-15 | 7.6134e-10 | 2.138e-09 | -5.2477e-15 | 3.146e-09 | -7.6152e-10 | 5.2477e-15 | -3.146e-09 | 7.6152e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.85941 | 0.6026 | 1.1 | 0.85941 | 0.6026 | 3.0873e-13 | -146.9876 | 129.013 | 3.0785e-13 | -146.9876 | 129.013
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.7994e-15 | -7.6134e-10 | -2.138e-09 | -5.7994e-15 | 7.6134e-10 | 2.138e-09 | -1.4798e-15 | 3.146e-09 | -7.6152e-10 | 1.4798e-15 | -3.146e-09 | 7.6152e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.85941 | 0.6026 | 1.1 | 0.85941 | 0.6026 | 3.0873e-13 | -146.9876 | 129.013 | 3.0873e-13 | -146.9876 | 129.013

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 1.3602 | 1.3602 | 0 | 1.3602 | 1.3602 | 0 | 15.7065 | 15.7065 | 0 | 15.7065 | 15.7065 | -3.5527e-15 | 13.0153 | -0.22673 | 1.1842e-15 | -11.1681 | 2.074 | 3.5527e-14 | -1.9604 | 6.4861 | -3.5527e-14 | 3.052 | -5.3944 | 0 | -147.4683 | 32.5317 | 0 | 32.5317 | -147.4683 | 1 | 0.83801 | 0.41321 | 1 | 0.73712 | 0.36796 | 4.363e-13 | -156.0338 | 124.5337 | 4.5707e-13 | -162.7527 | 143.5616
Line_1_3-1ph | 0 | 1.3602 | 1.3602 | 0 | 1.3602 | 1.3602 | 0 | 15.7065 | 15.7065 | 0 | 15.7065 | 15.7065 | -1.2819e-16 | 11.1681 | -2.074 | 1.2819e-16 | -6.621 | 6.621 | 1.0156e-14 | -3.052 | 5.3944 | -1.0156e-14 | 4.2232 | -4.2232 | 0 | -147.4683 | 32.5317 | 0 | 32.5317 | -147.4683 | 1 | 0.73712 | 0.36796 | 1 | 0.5 | 0.5 | 4.5707e-13 | -162.7527 | 143.5616 | 4.6319e-13 | -180 | 180
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3108e-15 | 1.5303e-11 | -1.4805e-09 | -3.3108e-15 | -1.5303e-11 | 1.4805e-09 | -2.1481e-15 | 3.6695e-09 | -1.0786e-09 | 2.1481e-15 | -3.6695e-09 | 1.0786e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73712 | 0.36796 | 1 | 0.73712 | 0.36796 | 4.5707e-13 | -162.7527 | 143.5616 | 4.5924e-13 | -162.7527 | 143.5616
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0456e-15 | 1.5303e-11 | -1.4805e-09 | 1.0456e-15 | -1.5303e-11 | 1.4805e-09 | -6.139e-16 | 3.6695e-09 | -1.0786e-09 | 6.139e-16 | -3.6695e-09 | 1.0786e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73712 | 0.36796 | 1 | 0.73712 | 0.36796 | 4.5707e-13 | -162.7527 | 143.5616 | 4.5707e-13 | -162.7527 | 143.5616

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 1.3602 | 1.3602 | 0 | 1.3602 | 1.3602 | 0 | 15.7065 | 15.7065 | 0 | 15.7065 | 15.7065 | -3.5527e-15 | 13.0153 | -0.22673 | 1.1842e-15 | -11.1681 | 2.074 | 3.5527e-14 | -1.9604 | 6.4861 | -3.5527e-14 | 3.052 | -5.3944 | 0 | -147.4683 | 32.5317 | 0 | 32.5317 | -147.4683 | 1 | 0.83801 | 0.41321 | 1 | 0.73712 | 0.36796 | 4.363e-13 | -156.0338 | 124.5337 | 4.5707e-13 | -162.7527 | 143.5616
Line_1_3-1ph | 0 | 1.3602 | 1.3602 | 0 | 1.3602 | 1.3602 | 0 | 15.7065 | 15.7065 | 0 | 15.7065 | 15.7065 | -1.2819e-16 | 11.1681 | -2.074 | 1.2819e-16 | -6.621 | 6.621 | 1.0156e-14 | -3.052 | 5.3944 | -1.0156e-14 | 4.2232 | -4.2232 | 0 | -147.4683 | 32.5317 | 0 | 32.5317 | -147.4683 | 1 | 0.73712 | 0.36796 | 1 | 0.5 | 0.5 | 4.5707e-13 | -162.7527 | 143.5616 | 4.6319e-13 | -180 | 180
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3108e-15 | 1.5303e-11 | -1.4805e-09 | -3.3108e-15 | -1.5303e-11 | 1.4805e-09 | -2.1481e-15 | 3.6695e-09 | -1.0786e-09 | 2.1481e-15 | -3.6695e-09 | 1.0786e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73712 | 0.36796 | 1 | 0.73712 | 0.36796 | 4.5707e-13 | -162.7527 | 143.5616 | 4.5924e-13 | -162.7527 | 143.5616
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0456e-15 | 1.5303e-11 | -1.4805e-09 | 1.0456e-15 | -1.5303e-11 | 1.4805e-09 | -6.139e-16 | 3.6695e-09 | -1.0786e-09 | 6.139e-16 | -3.6695e-09 | 1.0786e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73712 | 0.36796 | 1 | 0.73712 | 0.36796 | 4.5707e-13 | -162.7527 | 143.5616 | 4.5707e-13 | -162.7527 | 143.5616

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.92329 | 0.92329 | 0 | 0.92329 | 0.92329 | 0 | 10.6612 | 10.6612 | 0 | 10.6612 | 10.6612 | -1.1842e-15 | 9.3583 | 0.79627 | 2.3685e-15 | -8.5072 | 0.054829 | 3.3159e-14 | -0.0024805 | 6.35 | -3.079e-14 | 0.50543 | -5.847 | 0 | -143.427 | 36.573 | 0 | 36.573 | -143.427 | 1 | 0.87779 | 0.60028 | 1 | 0.79936 | 0.54846 | 2.8048e-13 | -143.4421 | 119.4256 | 2.9952e-13 | -146.8271 | 127.1103
Line_1_3-1ph | 0 | 0.92329 | 0.92329 | 0 | 0.92329 | 0.92329 | 0 | 10.6612 | 10.6612 | 0 | 10.6612 | 10.6612 | 1.5386e-15 | 8.5072 | -0.054829 | -1.5386e-15 | -6.4122 | 2.1498 | 1.8332e-15 | -0.50543 | 5.847 | -1.8332e-15 | 1.0451 | -5.3074 | 0 | -143.427 | 36.573 | 0 | 36.573 | -143.427 | 1 | 0.79936 | 0.54846 | 1 | 0.60938 | 0.53711 | 2.9952e-13 | -146.8271 | 127.1103 | 2.9981e-13 | -152.6838 | 148.6242
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0556e-15 | -5.4523e-10 | -1.7852e-09 | -1.0556e-15 | 5.4523e-10 | 1.7852e-09 | 2.106e-15 | 2.6455e-09 | -4.9785e-10 | -2.106e-15 | -2.6455e-09 | 4.9785e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.79936 | 0.54846 | 1 | 0.79936 | 0.54846 | 2.9952e-13 | -146.8271 | 127.1103 | 3.0082e-13 | -146.8271 | 127.1103
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1315e-16 | -5.4523e-10 | -1.7852e-09 | -8.1315e-16 | 5.4523e-10 | 1.7852e-09 | 1.956e-16 | 2.6455e-09 | -4.9785e-10 | -1.956e-16 | -2.6455e-09 | 4.9785e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.79936 | 0.54846 | 1 | 0.79936 | 0.54846 | 2.9952e-13 | -146.8271 | 127.1103 | 2.9952e-13 | -146.8271 | 127.1103

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.92329 | 0.92329 | 0 | 0.92329 | 0.92329 | 0 | 10.6612 | 10.6612 | 0 | 10.6612 | 10.6612 | -1.1842e-15 | 9.3583 | 0.79627 | 2.3685e-15 | -8.5072 | 0.054829 | 3.3159e-14 | -0.0024805 | 6.35 | -3.079e-14 | 0.50543 | -5.847 | 0 | -143.427 | 36.573 | 0 | 36.573 | -143.427 | 1 | 0.87779 | 0.60028 | 1 | 0.79936 | 0.54846 | 2.8048e-13 | -143.4421 | 119.4256 | 2.9952e-13 | -146.8271 | 127.1103
Line_1_3-1ph | 0 | 0.92329 | 0.92329 | 0 | 0.92329 | 0.92329 | 0 | 10.6612 | 10.6612 | 0 | 10.6612 | 10.6612 | 1.5386e-15 | 8.5072 | -0.054829 | -1.5386e-15 | -6.4122 | 2.1498 | 1.8332e-15 | -0.50543 | 5.847 | -1.8332e-15 | 1.0451 | -5.3074 | 0 | -143.427 | 36.573 | 0 | 36.573 | -143.427 | 1 | 0.79936 | 0.54846 | 1 | 0.60938 | 0.53711 | 2.9952e-13 | -146.8271 | 127.1103 | 2.9981e-13 | -152.6838 | 148.6242
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0556e-15 | -5.4523e-10 | -1.7852e-09 | -1.0556e-15 | 5.4523e-10 | 1.7852e-09 | 2.106e-15 | 2.6455e-09 | -4.9785e-10 | -2.106e-15 | -2.6455e-09 | 4.9785e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.79936 | 0.54846 | 1 | 0.79936 | 0.54846 | 2.9952e-13 | -146.8271 | 127.1103 | 3.0082e-13 | -146.8271 | 127.1103
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1315e-16 | -5.4523e-10 | -1.7852e-09 | -8.1315e-16 | 5.4523e-10 | 1.7852e-09 | 1.956e-16 | 2.6455e-09 | -4.9785e-10 | -1.956e-16 | -2.6455e-09 | 4.9785e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.79936 | 0.54846 | 1 | 0.79936 | 0.54846 | 2.9952e-13 | -146.8271 | 127.1103 | 2.9952e-13 | -146.8271 | 127.1103

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 1.9952 | 0.0015987 | 0.0015987 | 1.9937 | 0 | 0 | 23.0385 | 0.01846 | 0.01846 | 23.0217 | 0 | 0 | 9.6791 | 0.01709 | -0.018043 | -3.392 | 7.3042e-10 | -5.4574e-09 | 5.1938 | -0.010977 | -0.0093296 | -1.6775 | -4.4856e-09 | 8.7025e-10 | -63.211 | -87.3159 | -87.3159 | 116.8077 | 0 | 0 |  | 0.47679 | 1.1003 | 1.1003 | 0.16437 | 1.058 | 1.2866 | -34.9929 | -120.0283 | 120.0266 | -36.8773 | -129.8738 | 121.8174
Line_1_3-1ph | 1.9937 | 0 | 0 | 1.9937 | 0 | 0 | 23.0217 | 0 | 0 | 23.0217 | 0 | 0 | 3.392 | -2.325e-10 | 1.0432e-09 | 1.372e-12 | 2.9569e-10 | -9.8004e-10 | 1.6775 | 8.2673e-10 | -4.7399e-11 | 6.1077e-11 | -8.0534e-10 | 6.8791e-11 | -63.1923 | 0 | 0 | 116.8077 | 0 | 0 |  | 0.16437 | 1.058 | 1.2866 | 0 | 1.0569 | 1.2104 | -36.8773 | -129.8738 | 121.8174 | 0 | -125.4201 | 120.4037
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.6252e-10 | -1.9917e-10 | 1.7657e-09 | 8.6252e-10 | 1.9917e-10 | -1.7657e-09 | 7.957e-10 | 1.4635e-09 | -3.2913e-10 | -7.957e-10 | -1.4635e-09 | 3.2913e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.16437 | 1.058 | 1.2866 | 0.16437 | 1.058 | 1.2866 | -36.8773 | -129.8738 | 121.8174 | -36.8773 | -129.8738 | 121.8174
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.6252e-10 | -1.9917e-10 | 1.7657e-09 | 8.6252e-10 | 1.9917e-10 | -1.7657e-09 | 7.957e-10 | 1.4635e-09 | -3.2912e-10 | -7.957e-10 | -1.4635e-09 | 3.2912e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.16437 | 1.058 | 1.2866 | 0.16437 | 1.058 | 1.2866 | -36.8773 | -129.8738 | 121.8174 | -36.8773 | -129.8738 | 121.8174

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 1.9952 | 0.0015987 | 0.0015987 | 1.9937 | 0 | 0 | 23.0385 | 0.01846 | 0.01846 | 23.0217 | 0 | 0 | 9.6791 | 0.01709 | -0.018043 | -3.392 | 7.3041e-10 | -5.4575e-09 | 5.1938 | -0.010977 | -0.0093296 | -1.6775 | -4.4856e-09 | 8.7027e-10 | -63.211 | -87.3159 | -87.3159 | 116.8077 | 0 | 0 |  | 0.47679 | 1.1003 | 1.1003 | 0.16437 | 1.058 | 1.2866 | -34.9929 | -120.0283 | 120.0266 | -36.8773 | -129.8738 | 121.8174
Line_1_3-1ph | 1.9937 | 0 | 0 | 1.9937 | 0 | 0 | 23.0217 | 0 | 0 | 23.0217 | 0 | 0 | 3.392 | -2.325e-10 | 1.0432e-09 | 1.0143e-12 | 2.9569e-10 | -9.8006e-10 | 1.6775 | 8.2673e-10 | -4.7397e-11 | 6.1555e-11 | -8.0534e-10 | 6.8789e-11 | -63.1923 | 0 | 0 | 116.8077 | 0 | 0 |  | 0.16437 | 1.058 | 1.2866 | 0 | 1.0569 | 1.2104 | -36.8773 | -129.8738 | 121.8174 | 0 | -125.4201 | 120.4037
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.6251e-10 | -1.9917e-10 | 1.7657e-09 | 8.6251e-10 | 1.9917e-10 | -1.7657e-09 | 7.957e-10 | 1.4635e-09 | -3.2916e-10 | -7.957e-10 | -1.4635e-09 | 3.2916e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.16437 | 1.058 | 1.2866 | 0.16437 | 1.058 | 1.2866 | -36.8773 | -129.8738 | 121.8174 | -36.8773 | -129.8738 | 121.8174
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.6251e-10 | -1.9917e-10 | 1.7657e-09 | 8.6251e-10 | 1.9917e-10 | -1.7657e-09 | 7.957e-10 | 1.4635e-09 | -3.2916e-10 | -7.957e-10 | -1.4635e-09 | 3.2916e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.16437 | 1.058 | 1.2866 | 0.16437 | 1.058 | 1.2866 | -36.8773 | -129.8738 | 121.8174 | -36.8773 | -129.8738 | 121.8174

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.95764 | 0.00076733 | 0.00076733 | 0.95694 | 0 | 0 | 11.0578 | 0.0088604 | 0.0088604 | 11.0498 | 0 | 0 | 6.8103 | 0.0072133 | -0.0092831 | -5.3601 | 1.8788e-10 | -2.3132e-09 | 5.78 | -0.0065567 | -0.0029726 | -4.9651 | -2.2413e-09 | 7.8748e-10 | -53.637 | -77.7419 | -77.7419 | 126.3818 | 0 | 0 |  | 0.80779 | 1.1002 | 1.1001 | 0.66122 | 1.091 | 1.1852 | -13.3152 | -120.0122 | 120.014 | -10.8089 | -124.7568 | 121.6513
Line_1_3-1ph | 0.95694 | 0 | 0 | 0.95694 | 0 | 0 | 11.0498 | 0 | 0 | 11.0498 | 0 | 0 | 5.3601 | -8.2922e-11 | 4.5108e-10 | -4.5786 | 9.7478e-11 | -4.3652e-10 | 4.9651 | 4.1686e-10 | -9.8683e-11 | -4.5786 | -4.1193e-10 | 1.0361e-10 | -53.6182 | 0 | 0 | 126.3818 | 0 | 0 |  | 0.66122 | 1.091 | 1.1852 | 0.586 | 1.0866 | 1.1516 | -10.8089 | -124.7568 | 121.6513 | -8.6182 | -122.6938 | 120.6391
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.033e-09 | -4.1984e-11 | 7.4484e-10 | 2.033e-09 | 4.1984e-11 | -7.4484e-10 | 1.0003e-09 | 7.2979e-10 | -2.7551e-10 | -1.0003e-09 | -7.2979e-10 | 2.7551e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66122 | 1.091 | 1.1852 | 0.66122 | 1.091 | 1.1852 | -10.8089 | -124.7568 | 121.6513 | -10.8089 | -124.7568 | 121.6513
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.033e-09 | -4.1984e-11 | 7.4483e-10 | 2.033e-09 | 4.1984e-11 | -7.4483e-10 | 1.0003e-09 | 7.2979e-10 | -2.755e-10 | -1.0003e-09 | -7.2979e-10 | 2.755e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66122 | 1.091 | 1.1852 | 0.66122 | 1.091 | 1.1852 | -10.8089 | -124.7568 | 121.6513 | -10.8089 | -124.7568 | 121.6513

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.95764 | 0.00076733 | 0.00076733 | 0.95694 | 0 | 0 | 11.0578 | 0.0088604 | 0.0088604 | 11.0498 | 0 | 0 | 6.8103 | 0.0072133 | -0.0092831 | -5.3601 | 1.8788e-10 | -2.3132e-09 | 5.78 | -0.0065567 | -0.0029726 | -4.9651 | -2.2413e-09 | 7.8749e-10 | -53.637 | -77.7419 | -77.7419 | 126.3818 | 0 | 0 |  | 0.80779 | 1.1002 | 1.1001 | 0.66122 | 1.091 | 1.1852 | -13.3152 | -120.0122 | 120.014 | -10.8089 | -124.7568 | 121.6513
Line_1_3-1ph | 0.95694 | 0 | 0 | 0.95694 | 0 | 0 | 11.0498 | 0 | 0 | 11.0498 | 0 | 0 | 5.3601 | -8.2922e-11 | 4.511e-10 | -4.5786 | 9.7478e-11 | -4.3655e-10 | 4.9651 | 4.1686e-10 | -9.8707e-11 | -4.5786 | -4.1193e-10 | 1.0364e-10 | -53.6182 | 0 | 0 | 126.3818 | 0 | 0 |  | 0.66122 | 1.091 | 1.1852 | 0.586 | 1.0866 | 1.1516 | -10.8089 | -124.7568 | 121.6513 | -8.6182 | -122.6938 | 120.6391
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.033e-09 | -4.1983e-11 | 7.4485e-10 | 2.033e-09 | 4.1983e-11 | -7.4485e-10 | 1.0003e-09 | 7.2979e-10 | -2.7553e-10 | -1.0003e-09 | -7.2979e-10 | 2.7553e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66122 | 1.091 | 1.1852 | 0.66122 | 1.091 | 1.1852 | -10.8089 | -124.7568 | 121.6513 | -10.8089 | -124.7568 | 121.6513
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.033e-09 | -4.1983e-11 | 7.4484e-10 | 2.033e-09 | 4.1983e-11 | -7.4484e-10 | 1.0003e-09 | 7.2979e-10 | -2.7553e-10 | -1.0003e-09 | -7.2979e-10 | 2.7553e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66122 | 1.091 | 1.1852 | 0.66122 | 1.091 | 1.1852 | -10.8089 | -124.7568 | 121.6513 | -10.8089 | -124.7568 | 121.6513

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 1.4201 | 0.0014218 | 0.0014218 | 1.419 | 0 | 0 | 16.3983 | 0.016417 | 0.016417 | 16.385 | 0 | 0 | 9.415 | 0.013595 | -0.014768 | -3.2989 | -1.4759e-10 | -6.9487e-09 | 2.6295 | -0.009212 | -0.0071835 | -0.84974 | -5.6121e-09 | 1.6435e-09 | -50.5554 | -85.9091 | -85.9091 | 129.4778 | 0 | 0 |  | 0.59612 | 1.0003 | 1.0003 | 0.20791 | 0.97778 | 1.2436 | -34.9508 | -120.031 | 120.03 | -36.0779 | -134.6546 | 123.5449
Line_1_3-1ph | 1.419 | 0 | 0 | 1.419 | 0 | 0 | 16.385 | 0 | 0 | 16.385 | 0 | 0 | 3.2989 | -3.7232e-11 | 1.3505e-09 | 2.7286e-11 | 1.4986e-10 | -1.2379e-09 | 0.84974 | 1.077e-09 | -2.3379e-10 | 1.7278e-11 | -1.056e-09 | 2.5478e-10 | -50.5222 | 0 | 0 | 129.4778 | 0 | 0 |  | 0.20791 | 0.97778 | 1.2436 | 0 | 0.96775 | 1.1467 | -36.0779 | -134.6546 | 123.5449 | 0 | -128.5572 | 121.7361
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.1527e-10 | 7.393e-11 | 2.2393e-09 | 9.1527e-10 | -7.393e-11 | -2.2393e-09 | 8.9786e-10 | 1.814e-09 | -5.6389e-10 | -8.9786e-10 | -1.814e-09 | 5.6389e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.20791 | 0.97778 | 1.2436 | 0.20791 | 0.97778 | 1.2436 | -36.0779 | -134.6546 | 123.5449 | -36.0779 | -134.6546 | 123.5449
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.1527e-10 | 7.393e-11 | 2.2393e-09 | 9.1527e-10 | -7.393e-11 | -2.2393e-09 | 8.9786e-10 | 1.814e-09 | -5.6388e-10 | -8.9786e-10 | -1.814e-09 | 5.6388e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.20791 | 0.97778 | 1.2436 | 0.20791 | 0.97778 | 1.2436 | -36.0779 | -134.6546 | 123.5449 | -36.0779 | -134.6546 | 123.5449

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 1.4201 | 0.0014218 | 0.0014218 | 1.419 | 0 | 0 | 16.3983 | 0.016417 | 0.016417 | 16.385 | 0 | 0 | 9.415 | 0.013595 | -0.014768 | -3.2989 | -1.4759e-10 | -6.9487e-09 | 2.6295 | -0.009212 | -0.0071835 | -0.84974 | -5.6121e-09 | 1.6435e-09 | -50.5554 | -85.9091 | -85.9091 | 129.4778 | 0 | 0 |  | 0.59612 | 1.0003 | 1.0003 | 0.20791 | 0.97778 | 1.2436 | -34.9508 | -120.031 | 120.03 | -36.0779 | -134.6546 | 123.5449
Line_1_3-1ph | 1.419 | 0 | 0 | 1.419 | 0 | 0 | 16.385 | 0 | 0 | 16.385 | 0 | 0 | 3.2989 | -3.7232e-11 | 1.3505e-09 | 2.7286e-11 | 1.4986e-10 | -1.2379e-09 | 0.84974 | 1.077e-09 | -2.3379e-10 | 1.7278e-11 | -1.056e-09 | 2.5478e-10 | -50.5222 | 0 | 0 | 129.4778 | 0 | 0 |  | 0.20791 | 0.97778 | 1.2436 | 0 | 0.96775 | 1.1467 | -36.0779 | -134.6546 | 123.5449 | 0 | -128.5572 | 121.7361
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.1527e-10 | 7.393e-11 | 2.2393e-09 | 9.1527e-10 | -7.393e-11 | -2.2393e-09 | 8.9786e-10 | 1.814e-09 | -5.6389e-10 | -8.9786e-10 | -1.814e-09 | 5.6389e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.20791 | 0.97778 | 1.2436 | 0.20791 | 0.97778 | 1.2436 | -36.0779 | -134.6546 | 123.5449 | -36.0779 | -134.6546 | 123.5449
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.1527e-10 | 7.393e-11 | 2.2393e-09 | 9.1527e-10 | -7.393e-11 | -2.2393e-09 | 8.9786e-10 | 1.814e-09 | -5.6388e-10 | -8.9786e-10 | -1.814e-09 | 5.6388e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.20791 | 0.97778 | 1.2436 | 0.20791 | 0.97778 | 1.2436 | -36.0779 | -134.6546 | 123.5449 | -36.0779 | -134.6546 | 123.5449

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.76074 | 0.00076162 | 0.00076162 | 0.76012 | 0 | 0 | 8.7843 | 0.0087944 | 0.0087944 | 8.7771 | 0 | 0 | 5.5913 | 0.0070547 | -0.0080749 | -3.8355 | 1.4763e-10 | -3.3178e-09 | 3.6475 | -0.0052535 | -0.0034873 | -3.1327 | -3.0294e-09 | 1.0166e-09 | -47.9881 | -83.3417 | -83.3417 | 132.0451 | 0 | 0 |  | 0.75997 | 1.0002 | 1.0002 | 0.56423 | 0.98612 | 1.1282 | -14.8694 | -120.0162 | 120.0165 | -8.7141 | -127.7907 | 122.3844
Line_1_3-1ph | 0.76012 | 0 | 0 | 0.76012 | 0 | 0 | 8.7771 | 0 | 0 | 8.7771 | 0 | 0 | 3.8355 | -6.3649e-11 | 6.4756e-10 | -2.8889 | 9.5969e-11 | -6.1524e-10 | 3.1327 | 5.787e-10 | -1.5605e-10 | -2.8889 | -5.7268e-10 | 1.6207e-10 | -47.9549 | 0 | 0 | 132.0451 | 0 | 0 |  | 0.56423 | 0.98612 | 1.1282 | 0.46548 | 0.98354 | 1.0776 | -8.7141 | -127.7907 | 122.3844 | -2.9549 | -124.554 | 121.1751
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7553e-09 | -3.3594e-11 | 1.0681e-09 | 1.7553e-09 | 3.3594e-11 | -1.0681e-09 | 6.2688e-10 | 9.8028e-10 | -3.4421e-10 | -6.2688e-10 | -9.8028e-10 | 3.4421e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.56423 | 0.98612 | 1.1282 | 0.56423 | 0.98612 | 1.1282 | -8.7141 | -127.7907 | 122.3844 | -8.7141 | -127.7907 | 122.3844
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7553e-09 | -3.3594e-11 | 1.0681e-09 | 1.7553e-09 | 3.3594e-11 | -1.0681e-09 | 6.2688e-10 | 9.8028e-10 | -3.4421e-10 | -6.2688e-10 | -9.8028e-10 | 3.4421e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.56423 | 0.98612 | 1.1282 | 0.56423 | 0.98612 | 1.1282 | -8.7141 | -127.7907 | 122.3844 | -8.7141 | -127.7907 | 122.3844

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.76074 | 0.00076162 | 0.00076162 | 0.76012 | 0 | 0 | 8.7843 | 0.0087944 | 0.0087944 | 8.7771 | 0 | 0 | 5.5913 | 0.0070547 | -0.0080749 | -3.8355 | 1.4763e-10 | -3.3178e-09 | 3.6475 | -0.0052535 | -0.0034873 | -3.1327 | -3.0294e-09 | 1.0166e-09 | -47.9881 | -83.3417 | -83.3417 | 132.0451 | 0 | 0 |  | 0.75997 | 1.0002 | 1.0002 | 0.56423 | 0.98612 | 1.1282 | -14.8694 | -120.0162 | 120.0165 | -8.7141 | -127.7907 | 122.3844
Line_1_3-1ph | 0.76012 | 0 | 0 | 0.76012 | 0 | 0 | 8.7771 | 0 | 0 | 8.7771 | 0 | 0 | 3.8355 | -6.3649e-11 | 6.4756e-10 | -2.8889 | 9.5969e-11 | -6.1524e-10 | 3.1327 | 5.787e-10 | -1.5605e-10 | -2.8889 | -5.7268e-10 | 1.6207e-10 | -47.9549 | 0 | 0 | 132.0451 | 0 | 0 |  | 0.56423 | 0.98612 | 1.1282 | 0.46548 | 0.98354 | 1.0776 | -8.7141 | -127.7907 | 122.3844 | -2.9549 | -124.554 | 121.1751
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7553e-09 | -3.3594e-11 | 1.0681e-09 | 1.7553e-09 | 3.3594e-11 | -1.0681e-09 | 6.2688e-10 | 9.8028e-10 | -3.4421e-10 | -6.2688e-10 | -9.8028e-10 | 3.4421e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.56423 | 0.98612 | 1.1282 | 0.56423 | 0.98612 | 1.1282 | -8.7141 | -127.7907 | 122.3844 | -8.7141 | -127.7907 | 122.3844
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7553e-09 | -3.3594e-11 | 1.0681e-09 | 1.7553e-09 | 3.3594e-11 | -1.0681e-09 | 6.2688e-10 | 9.8028e-10 | -3.4421e-10 | -6.2688e-10 | -9.8028e-10 | 3.4421e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.56423 | 0.98612 | 1.1282 | 0.56423 | 0.98612 | 1.1282 | -8.7141 | -127.7907 | 122.3844 | -8.7141 | -127.7907 | 122.3844

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.001508 | 2.186 | 1.9097 | 0 | 2.1857 | 1.9086 | 0.017413 | 25.2418 | 22.0508 | 0 | 25.2386 | 22.0388 | -0.0023933 | 10.3548 | 7.049 | -3.8991e-09 | -4.4048 | -4.8641 | -0.019014 | 3.8983 | 6.6965 | -3.1502e-09 | -3.9746 | -0.60937 | 97.1749 | 176.6336 | 50.8813 | 0 | -3.3276 | -129.1514 |  | 1.1006 | 0.43833 | 0.44092 | 1.2371 | 0.23507 | 0.22243 | 0.00076444 | -162.7367 | 94.4125 | -5.6951 | -141.2664 | 57.9894
Line_1_3-1ph | 0 | 2.1857 | 1.9086 | 0 | 2.1857 | 1.9086 | 0 | 25.2386 | 22.0388 | 0 | 25.2386 | 22.0388 | 6.6516e-10 | 4.4048 | 4.8641 | -6.0893e-10 | -2.3553e-11 | -2.5612e-11 | 6.744e-10 | 3.9746 | 0.60937 | -6.5537e-10 | 4.2211e-11 | 3.4512e-11 | 0 | 176.6724 | 50.8486 | 0 | -3.3276 | -129.1514 |  | 1.2371 | 0.23507 | 0.22243 | 1.1684 | 0 | 0 | -5.6951 | -141.2664 | 57.9894 | -3.9872 | 0 | 0
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2935e-09 | -1.3619e-09 | -4.7925e-10 | -1.2935e-09 | 1.3619e-09 | 4.7925e-10 | 9.9033e-10 | 6.8778e-10 | 1.5844e-09 | -9.9033e-10 | -6.8778e-10 | -1.5844e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.2371 | 0.23507 | 0.22243 | 1.2371 | 0.23507 | 0.22243 | -5.6951 | -141.2664 | 57.9894 | -5.6951 | -141.2664 | 57.9894
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2935e-09 | -1.3619e-09 | -4.7925e-10 | -1.2935e-09 | 1.3619e-09 | 4.7925e-10 | 9.9036e-10 | 6.8778e-10 | 1.5844e-09 | -9.9036e-10 | -6.8778e-10 | -1.5844e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.2371 | 0.23507 | 0.22243 | 1.2371 | 0.23507 | 0.22243 | -5.6951 | -141.2664 | 57.9894 | -5.6951 | -141.2664 | 57.9894

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.001508 | 2.186 | 1.9097 | 0 | 2.1857 | 1.9086 | 0.017413 | 25.2418 | 22.0508 | 0 | 25.2386 | 22.0388 | -0.0023933 | 10.3548 | 7.049 | -3.899e-09 | -4.4048 | -4.8641 | -0.019014 | 3.8983 | 6.6965 | -3.1502e-09 | -3.9746 | -0.60937 | 97.1749 | 176.6336 | 50.8813 | 0 | -3.3276 | -129.1514 |  | 1.1006 | 0.43833 | 0.44092 | 1.2371 | 0.23507 | 0.22243 | 0.00076444 | -162.7367 | 94.4125 | -5.6951 | -141.2664 | 57.9894
Line_1_3-1ph | 0 | 2.1857 | 1.9086 | 0 | 2.1857 | 1.9086 | 0 | 25.2386 | 22.0388 | 0 | 25.2386 | 22.0388 | 6.6516e-10 | 4.4048 | 4.8641 | -6.0894e-10 | -2.3516e-11 | -2.5796e-11 | 6.7439e-10 | 3.9746 | 0.60937 | -6.5536e-10 | 4.2247e-11 | 3.4428e-11 | 0 | 176.6724 | 50.8486 | 0 | -3.3276 | -129.1514 |  | 1.2371 | 0.23507 | 0.22243 | 1.1684 | 0 | 0 | -5.6951 | -141.2664 | 57.9894 | -3.9872 | 0 | 0
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2935e-09 | -1.3619e-09 | -4.7926e-10 | -1.2935e-09 | 1.3619e-09 | 4.7926e-10 | 9.9036e-10 | 6.8778e-10 | 1.5844e-09 | -9.9036e-10 | -6.8778e-10 | -1.5844e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.2371 | 0.23507 | 0.22243 | 1.2371 | 0.23507 | 0.22243 | -5.6951 | -141.2664 | 57.9894 | -5.6951 | -141.2664 | 57.9894
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2935e-09 | -1.3619e-09 | -4.7926e-10 | -1.2935e-09 | 1.3619e-09 | 4.7926e-10 | 9.9036e-10 | 6.8778e-10 | 1.5844e-09 | -9.9036e-10 | -6.8778e-10 | -1.5844e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.2371 | 0.23507 | 0.22243 | 1.2371 | 0.23507 | 0.22243 | -5.6951 | -141.2664 | 57.9894 | -5.6951 | -141.2664 | 57.9894

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.00074201 | 1.0019 | 0.94572 | 0 | 1.0018 | 0.94516 | 0.0085679 | 11.5684 | 10.9202 | 0 | 11.5673 | 10.9137 | -0.0023096 | 7.1913 | 6.2531 | -1.913e-09 | -5.929 | -5.6178 | -0.0091398 | 5.7891 | 6.0914 | -1.3433e-09 | -5.8884 | -4.6159 | 104.1835 | -173.1548 | 63.5837 | 0 | 6.8873 | -116.4456 |  | 1.1003 | 0.79803 | 0.7994 | 1.1725 | 0.7224 | 0.66622 | 0.0021694 | -134.3204 | 107.8334 | -2.5461 | -128.3095 | 102.9626
Line_1_3-1ph | 0 | 1.0018 | 0.94516 | 0 | 1.0018 | 0.94516 | 0 | 11.5673 | 10.9137 | 0 | 11.5673 | 10.9137 | 3.3065e-10 | 5.929 | 5.6178 | -3.1704e-10 | -5.0176 | -4.4666 | 2.9292e-10 | 5.8884 | 4.6159 | -2.8831e-10 | -5.0176 | -4.4666 | 0 | -173.1127 | 63.5544 | 0 | 6.8873 | -116.4456 |  | 1.1725 | 0.7224 | 0.66622 | 1.1375 | 0.61345 | 0.57879 | -2.5461 | -128.3095 | 102.9626 | -1.8005 | -128.1127 | 108.5544
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.3294e-10 | -1.9392e-09 | -1.8834e-09 | -6.3294e-10 | 1.9392e-09 | 1.8834e-09 | 4.2018e-10 | 8.4217e-10 | 1.5746e-09 | -4.2018e-10 | -8.4217e-10 | -1.5746e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1725 | 0.7224 | 0.66622 | 1.1725 | 0.7224 | 0.66622 | -2.5461 | -128.3095 | 102.9626 | -2.5461 | -128.3095 | 102.9626
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.3296e-10 | -1.9392e-09 | -1.8834e-09 | -6.3296e-10 | 1.9392e-09 | 1.8834e-09 | 4.2017e-10 | 8.4217e-10 | 1.5746e-09 | -4.2017e-10 | -8.4217e-10 | -1.5746e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1725 | 0.7224 | 0.66622 | 1.1725 | 0.7224 | 0.66622 | -2.5461 | -128.3095 | 102.9626 | -2.5461 | -128.3095 | 102.9626

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.00074201 | 1.0019 | 0.94572 | 0 | 1.0018 | 0.94516 | 0.0085679 | 11.5684 | 10.9202 | 0 | 11.5673 | 10.9137 | -0.0023096 | 7.1913 | 6.2531 | -1.913e-09 | -5.929 | -5.6178 | -0.0091398 | 5.7891 | 6.0914 | -1.3433e-09 | -5.8884 | -4.6159 | 104.1835 | -173.1548 | 63.5837 | 0 | 6.8873 | -116.4456 |  | 1.1003 | 0.79803 | 0.7994 | 1.1725 | 0.7224 | 0.66622 | 0.0021694 | -134.3204 | 107.8334 | -2.5461 | -128.3095 | 102.9626
Line_1_3-1ph | 0 | 1.0018 | 0.94516 | 0 | 1.0018 | 0.94516 | 0 | 11.5673 | 10.9137 | 0 | 11.5673 | 10.9137 | 3.3065e-10 | 5.929 | 5.6178 | -3.1704e-10 | -5.0176 | -4.4666 | 2.9291e-10 | 5.8884 | 4.6159 | -2.883e-10 | -5.0176 | -4.4666 | 0 | -173.1127 | 63.5544 | 0 | 6.8873 | -116.4456 |  | 1.1725 | 0.7224 | 0.66622 | 1.1375 | 0.61345 | 0.57879 | -2.5461 | -128.3095 | 102.9626 | -1.8005 | -128.1127 | 108.5544
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.3295e-10 | -1.9392e-09 | -1.8834e-09 | -6.3295e-10 | 1.9392e-09 | 1.8834e-09 | 4.2018e-10 | 8.4217e-10 | 1.5746e-09 | -4.2018e-10 | -8.4217e-10 | -1.5746e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1725 | 0.7224 | 0.66622 | 1.1725 | 0.7224 | 0.66622 | -2.5461 | -128.3095 | 102.9626 | -2.5461 | -128.3095 | 102.9626
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.3296e-10 | -1.9392e-09 | -1.8834e-09 | -6.3296e-10 | 1.9392e-09 | 1.8834e-09 | 4.2018e-10 | 8.4217e-10 | 1.5746e-09 | -4.2018e-10 | -8.4217e-10 | -1.5746e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1725 | 0.7224 | 0.66622 | 1.1725 | 0.7224 | 0.66622 | -2.5461 | -128.3095 | 102.9626 | -2.5461 | -128.3095 | 102.9626

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.0012825 | 1.6247 | 1.3721 | 0 | 1.6247 | 1.3711 | 0.014809 | 18.7604 | 15.8435 | 0 | 18.7604 | 15.8321 | -0.0025079 | 10.7152 | 6.9047 | -5.2922e-09 | -5.1464 | -4.6187 | -0.014603 | 1.2641 | 4.4006 | -3.1695e-09 | -2.8099 | 0.29456 | 99.7469 | -170.1215 | 59.6649 | 0 | 9.9237 | -120.3696 |  | 1.0006 | 0.57512 | 0.51679 | 1.191 | 0.31255 | 0.29233 | 0.0022385 | -163.3931 | 92.1754 | -6.5753 | -141.4423 | 55.9814
Line_1_3-1ph | 0 | 1.6247 | 1.3711 | 0 | 1.6247 | 1.3711 | 0 | 18.7604 | 15.8321 | 0 | 18.7604 | 15.8321 | 9.7697e-10 | 5.1464 | 4.6187 | -8.8532e-10 | -3.273e-11 | -2.548e-11 | 6.6902e-10 | 2.8099 | -0.29456 | -6.5194e-10 | -1.8264e-11 | -1.9912e-11 | 0 | -170.0763 | 59.6304 | 0 | 9.9237 | -120.3696 |  | 1.191 | 0.31255 | 0.29233 | 1.1059 | 0 | 0 | -6.5753 | -141.4423 | 55.9814 | -4.6108 | 0 | 0
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7261e-09 | -1.417e-09 | -3.1245e-10 | -1.7261e-09 | 1.417e-09 | 3.1245e-10 | 1.0001e-09 | 8.3788e-10 | 1.9271e-09 | -1.0001e-09 | -8.3788e-10 | -1.9271e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.191 | 0.31255 | 0.29233 | 1.191 | 0.31255 | 0.29233 | -6.5753 | -141.4423 | 55.9814 | -6.5753 | -141.4423 | 55.9814
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7261e-09 | -1.417e-09 | -3.1246e-10 | -1.7261e-09 | 1.417e-09 | 3.1246e-10 | 1.0001e-09 | 8.3788e-10 | 1.9271e-09 | -1.0001e-09 | -8.3788e-10 | -1.9271e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.191 | 0.31255 | 0.29233 | 1.191 | 0.31255 | 0.29233 | -6.5753 | -141.4423 | 55.9814 | -6.5753 | -141.4423 | 55.9814

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.0012825 | 1.6247 | 1.3721 | 0 | 1.6247 | 1.3711 | 0.014809 | 18.7604 | 15.8435 | 0 | 18.7604 | 15.8321 | -0.0025079 | 10.7152 | 6.9047 | -5.2922e-09 | -5.1464 | -4.6187 | -0.014603 | 1.2641 | 4.4006 | -3.1695e-09 | -2.8099 | 0.29456 | 99.7469 | -170.1215 | 59.6649 | 0 | 9.9237 | -120.3696 |  | 1.0006 | 0.57512 | 0.51679 | 1.191 | 0.31255 | 0.29233 | 0.0022385 | -163.3931 | 92.1754 | -6.5753 | -141.4423 | 55.9814
Line_1_3-1ph | 0 | 1.6247 | 1.3711 | 0 | 1.6247 | 1.3711 | 0 | 18.7604 | 15.8321 | 0 | 18.7604 | 15.8321 | 9.7697e-10 | 5.1464 | 4.6187 | -8.8532e-10 | -3.273e-11 | -2.548e-11 | 6.6902e-10 | 2.8099 | -0.29456 | -6.5194e-10 | -1.8264e-11 | -1.9912e-11 | 0 | -170.0763 | 59.6304 | 0 | 9.9237 | -120.3696 |  | 1.191 | 0.31255 | 0.29233 | 1.1059 | 0 | 0 | -6.5753 | -141.4423 | 55.9814 | -4.6108 | 0 | 0
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7261e-09 | -1.417e-09 | -3.1245e-10 | -1.7261e-09 | 1.417e-09 | 3.1245e-10 | 1.0001e-09 | 8.3788e-10 | 1.9271e-09 | -1.0001e-09 | -8.3788e-10 | -1.9271e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.191 | 0.31255 | 0.29233 | 1.191 | 0.31255 | 0.29233 | -6.5753 | -141.4423 | 55.9814 | -6.5753 | -141.4423 | 55.9814
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7261e-09 | -1.417e-09 | -3.1246e-10 | -1.7261e-09 | 1.417e-09 | 3.1246e-10 | 1.0001e-09 | 8.3788e-10 | 1.9271e-09 | -1.0001e-09 | -8.3788e-10 | -1.9271e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.191 | 0.31255 | 0.29233 | 1.191 | 0.31255 | 0.29233 | -6.5753 | -141.4423 | 55.9814 | -6.5753 | -141.4423 | 55.9814

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.00071896 | 0.81925 | 0.74835 | 0 | 0.81929 | 0.74775 | 0.0083019 | 9.4599 | 8.6412 | 0 | 9.4604 | 8.6342 | -0.0013973 | 6.0934 | 4.9398 | -2.6736e-09 | -4.6441 | -4.1097 | -0.008186 | 3.6019 | 4.1013 | -1.7749e-09 | -4.1224 | -2.6997 | 99.6882 | -167.2012 | 67.1495 | 0 | 12.849 | -112.8801 |  | 1.0003 | 0.74825 | 0.743 | 1.1053 | 0.6564 | 0.56949 | 0.0012369 | -136.6129 | 106.8512 | -3.972 | -125.5568 | 100.4209
Line_1_3-1ph | 0 | 0.81929 | 0.74775 | 0 | 0.81929 | 0.74775 | 0 | 9.4604 | 8.6342 | 0 | 9.4604 | 8.6342 | 4.9154e-10 | 4.6441 | 4.1097 | -4.6273e-10 | -3.3562 | -2.7956 | 3.7128e-10 | 4.1224 | 2.6997 | -3.6591e-10 | -3.3562 | -2.7956 | 0 | -167.151 | 67.1199 | 0 | 12.849 | -112.8801 |  | 1.1053 | 0.6564 | 0.56949 | 1.0585 | 0.50171 | 0.4579 | -3.972 | -125.5568 | 100.4209 | -2.7019 | -122.151 | 112.1199
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.7282e-10 | -1.6313e-09 | -1.5565e-09 | -8.7282e-10 | 1.6313e-09 | 1.5565e-09 | 5.6145e-10 | 4.6611e-10 | 1.3995e-09 | -5.6145e-10 | -4.6611e-10 | -1.3995e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1053 | 0.6564 | 0.56949 | 1.1053 | 0.6564 | 0.56949 | -3.972 | -125.5568 | 100.4209 | -3.972 | -125.5568 | 100.4209
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.7281e-10 | -1.6313e-09 | -1.5564e-09 | -8.7281e-10 | 1.6313e-09 | 1.5564e-09 | 5.6145e-10 | 4.6611e-10 | 1.3995e-09 | -5.6145e-10 | -4.6611e-10 | -1.3995e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1053 | 0.6564 | 0.56949 | 1.1053 | 0.6564 | 0.56949 | -3.972 | -125.5568 | 100.4209 | -3.972 | -125.5568 | 100.4209

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.00071896 | 0.81925 | 0.74835 | 0 | 0.81929 | 0.74775 | 0.0083019 | 9.4599 | 8.6412 | 0 | 9.4604 | 8.6342 | -0.0013973 | 6.0934 | 4.9398 | -2.6736e-09 | -4.6441 | -4.1097 | -0.008186 | 3.6019 | 4.1013 | -1.7749e-09 | -4.1224 | -2.6997 | 99.6882 | -167.2012 | 67.1495 | 0 | 12.849 | -112.8801 |  | 1.0003 | 0.74825 | 0.743 | 1.1053 | 0.6564 | 0.56949 | 0.0012369 | -136.6129 | 106.8512 | -3.972 | -125.5568 | 100.4209
Line_1_3-1ph | 0 | 0.81929 | 0.74775 | 0 | 0.81929 | 0.74775 | 0 | 9.4604 | 8.6342 | 0 | 9.4604 | 8.6342 | 4.9154e-10 | 4.6441 | 4.1097 | -4.6273e-10 | -3.3562 | -2.7956 | 3.7128e-10 | 4.1224 | 2.6997 | -3.6591e-10 | -3.3562 | -2.7956 | 0 | -167.151 | 67.1199 | 0 | 12.849 | -112.8801 |  | 1.1053 | 0.6564 | 0.56949 | 1.0585 | 0.50171 | 0.4579 | -3.972 | -125.5568 | 100.4209 | -2.7019 | -122.151 | 112.1199
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.7282e-10 | -1.6313e-09 | -1.5565e-09 | -8.7282e-10 | 1.6313e-09 | 1.5565e-09 | 5.6145e-10 | 4.6611e-10 | 1.3995e-09 | -5.6145e-10 | -4.6611e-10 | -1.3995e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1053 | 0.6564 | 0.56949 | 1.1053 | 0.6564 | 0.56949 | -3.972 | -125.5568 | 100.4209 | -3.972 | -125.5568 | 100.4209
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.7281e-10 | -1.6313e-09 | -1.5564e-09 | -8.7281e-10 | 1.6313e-09 | 1.5564e-09 | 5.6145e-10 | 4.6611e-10 | 1.3995e-09 | -5.6145e-10 | -4.6611e-10 | -1.3995e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1053 | 0.6564 | 0.56949 | 1.1053 | 0.6564 | 0.56949 | -3.972 | -125.5568 | 100.4209 | -3.972 | -125.5568 | 100.4209