## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | -4.4534e-19 | 0 | -4.1316e-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | -4.4539e-19 | 0 | -4.1423e-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | -1.9091e-08 | 0 | 1.562e-08 | 0 | 0 | 0 | 0.7175 | 0.7175 | -14.8932 | -14.8932
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7175 | 0.7175 | -14.8932 | -14.8932
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7175 | 0.7175 | -14.8932 | -14.8932
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7175 | 0.7175 | -14.8932 | -14.8932

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | -1.9091e-08 | 0 | 1.562e-08 | 0 | 0 | 0 | 0.7175 | 0.7175 | -14.8932 | -14.8932
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7175 | 0.7175 | -14.8932 | -14.8932
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7175 | 0.7175 | -14.8932 | -14.8932
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7175 | 0.7175 | -14.8932 | -14.8932

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 2.0433e-19 | 0 | -3.1272e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 2.0433e-19 | 0 | -3.1272e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | -1.6242e-08 | 0 | 1.3289e-08 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | -1.6242e-08 | 0 | 1.3289e-08 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -1.0421e-14 | -2.0843e-14 | 5.2106e-15 | 1.5634e-14 | 1.5634e-14 | 2.0843e-14 | 1.3448e-08 | -1.3448e-08 | -1.0421e-14 | -1.3448e-08 | 1.3448e-08 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.0248e-13 | 180 | 180 | 7.2844e-13 | -180 | 180
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.954e-15 | 2.7675e-15 | -6.52e-16 | 3.2567e-16 | -2.4406e-15 | 1.9559e-15 | -3.908e-15 | 3.8423e-09 | -3.8423e-09 | 2.6053e-15 | -3.8423e-09 | 3.8423e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.2844e-13 | -180 | 180 | 7.2636e-13 | -180 | 180
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.5133e-16 | 1.6277e-15 | -6.52e-16 | -9.77e-16 | -1.3008e-15 | 2.6072e-15 | 1.3027e-15 | 3.8423e-09 | -3.8423e-09 | -2.6053e-15 | -3.8423e-09 | 3.8423e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.2844e-13 | -180 | 180 | 7.3212e-13 | -180 | 180
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.5133e-16 | 1.6277e-15 | -6.52e-16 | -9.77e-16 | -1.3008e-15 | 2.6072e-15 | 1.3027e-15 | 3.8423e-09 | -3.8423e-09 | -2.6053e-15 | -3.8423e-09 | 3.8423e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.2844e-13 | -180 | 180 | 7.3212e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 5.2106e-15 | -1.0421e-14 | 6.7299e-29 | 1.3029e-14 | 5.213e-15 | -1.2983e-28 | 1.3448e-08 | -1.3448e-08 | -5.2106e-15 | -1.3448e-08 | 1.3448e-08 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.1381e-13 | 180 | 180 | 7.4002e-13 | -180 | 180
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.931e-15 | 3.25e-16 | 1.302e-15 | 1.3027e-15 | 1.3045e-15 | -1.3008e-15 | 3.908e-15 | 3.8423e-09 | -3.8423e-09 | -3.908e-15 | -3.8423e-09 | 3.8423e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.4002e-13 | -180 | 180 | 7.4131e-13 | -180 | 180
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.885e-15 | -3.2633e-16 | -6.52e-16 | 3.2567e-15 | 1.9559e-15 | 6.532e-16 | -3.908e-15 | 3.8423e-09 | -3.8423e-09 | 2.6053e-15 | -3.8423e-09 | 3.8423e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.4002e-13 | -180 | 180 | 7.3305e-13 | -180 | 180
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.885e-15 | -3.2633e-16 | -6.52e-16 | 3.2567e-15 | 1.9559e-15 | 6.532e-16 | -3.908e-15 | 3.8423e-09 | -3.8423e-09 | 2.6053e-15 | -3.8423e-09 | 3.8423e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.4002e-13 | -180 | 180 | 7.3305e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.816e-15 | -2.6451e-09 | -7.3814e-09 | -1.0421e-14 | 2.6451e-09 | 7.3814e-09 | -2.6053e-15 | 1.165e-08 | -3.4468e-09 | 2.6053e-15 | -1.165e-08 | 3.4468e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.83055 | 0.56635 | 1.1 | 0.83055 | 0.56635 | 3.9231e-13 | -149.7905 | 132.4483 | 4.0442e-13 | -149.7905 | 132.4483
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.3252e-16 | -7.5574e-10 | -2.109e-09 | -6.4624e-16 | 7.5574e-10 | 2.109e-09 | -3.053e-30 | 3.3287e-09 | -9.848e-10 | 6.5133e-16 | -3.3287e-09 | 9.848e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.83055 | 0.56635 | 1.1 | 0.83055 | 0.56635 | 4.0442e-13 | -149.7905 | 132.4483 | 4.0608e-13 | -149.7905 | 132.4483
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4248e-16 | -7.5574e-10 | -2.109e-09 | -9.4138e-16 | 7.5574e-10 | 2.109e-09 | 6.5133e-16 | 3.3286e-09 | -9.848e-10 | -6.6668e-30 | -3.3286e-09 | 9.848e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.83055 | 0.56635 | 1.1 | 0.83055 | 0.56635 | 4.0442e-13 | -149.7905 | 132.4483 | 4.0577e-13 | -149.7905 | 132.4483
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4248e-16 | -7.5574e-10 | -2.109e-09 | -9.4138e-16 | 7.5574e-10 | 2.109e-09 | 6.5133e-16 | 3.3286e-09 | -9.848e-10 | -6.6668e-30 | -3.3286e-09 | 9.848e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.83055 | 0.56635 | 1.1 | 0.83055 | 0.56635 | 4.0442e-13 | -149.7905 | 132.4483 | 4.0577e-13 | -149.7905 | 132.4483

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -2.6451e-09 | -7.3814e-09 | -2.6053e-15 | 2.6451e-09 | 7.3814e-09 | -2.6053e-15 | 1.165e-08 | -3.4468e-09 | 7.816e-15 | -1.165e-08 | 3.4468e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.83055 | 0.56635 | 1.1 | 0.83055 | 0.56635 | 4.0931e-13 | -149.7905 | 132.4483 | 4.1497e-13 | -149.7905 | 132.4483
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.1117e-15 | -7.5574e-10 | -2.109e-09 | 1.3485e-15 | 7.5574e-10 | 2.109e-09 | -1.3027e-15 | 3.3287e-09 | -9.848e-10 | 1.3027e-15 | -3.3287e-09 | 9.848e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.83055 | 0.56635 | 1.1 | 0.83055 | 0.56635 | 4.1497e-13 | -149.7905 | 132.4483 | 4.1278e-13 | -149.7905 | 132.4483
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.2847e-15 | -7.5575e-10 | -2.109e-09 | 1.5266e-15 | 7.5575e-10 | 2.109e-09 | -6.5133e-16 | 3.3287e-09 | -9.848e-10 | 1.0939e-29 | -3.3287e-09 | 9.848e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.83055 | 0.56635 | 1.1 | 0.83055 | 0.56635 | 4.1497e-13 | -149.7905 | 132.4483 | 4.1059e-13 | -149.7905 | 132.4483
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.2847e-15 | -7.5575e-10 | -2.109e-09 | 1.5266e-15 | 7.5575e-10 | 2.109e-09 | -6.5133e-16 | 3.3287e-09 | -9.848e-10 | 1.0939e-29 | -3.3287e-09 | 9.848e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.83055 | 0.56635 | 1.1 | 0.83055 | 0.56635 | 4.1497e-13 | -149.7905 | 132.4483 | 4.1059e-13 | -149.7905 | 132.4483

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | -4.0571e-21 | 4.7369e-15 | 4.737e-15 | 5.9249e-15 | 2.3722e-15 | -4.737e-15 | 1.1114e-08 | -1.1114e-08 | 4.737e-15 | -1.1114e-08 | 1.1114e-08 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.0639e-13 | -180 | 180 | 7.163e-13 | -180 | 180
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.4015e-16 | 1.4792e-15 | 2.95e-16 | -1.1842e-15 | -7.0018e-16 | 2.9903e-16 | -5.9212e-16 | 3.1754e-09 | -3.1754e-09 | 1.1842e-15 | -3.1754e-09 | 3.1754e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.163e-13 | -180 | 180 | 7.1997e-13 | -180 | 180
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.0346e-15 | 7.761e-16 | 5.9106e-16 | 1.1102e-15 | 2.9661e-18 | 2.9665e-18 | 2.9606e-15 | 3.1754e-09 | -3.1754e-09 | -2.3685e-15 | -3.1754e-09 | 3.1754e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.163e-13 | -180 | 180 | 7.3162e-13 | -180 | 180
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.0346e-15 | 7.761e-16 | 5.9106e-16 | 1.1102e-15 | 2.9661e-18 | 2.9665e-18 | 2.9606e-15 | 3.1754e-09 | -3.1754e-09 | -2.3685e-15 | -3.1754e-09 | 3.1754e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.163e-13 | -180 | 180 | 7.3162e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | -4.0571e-21 | 4.7369e-15 | 4.737e-15 | 5.9249e-15 | 2.3722e-15 | -4.737e-15 | 1.1114e-08 | -1.1114e-08 | 4.737e-15 | -1.1114e-08 | 1.1114e-08 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.0639e-13 | -180 | 180 | 7.163e-13 | -180 | 180
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.4015e-16 | 1.4792e-15 | 2.95e-16 | -1.1842e-15 | -7.0018e-16 | 2.9903e-16 | -5.9212e-16 | 3.1754e-09 | -3.1754e-09 | 1.1842e-15 | -3.1754e-09 | 3.1754e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.163e-13 | -180 | 180 | 7.1997e-13 | -180 | 180
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.0346e-15 | 7.761e-16 | 5.9106e-16 | 1.1102e-15 | 2.9661e-18 | 2.9665e-18 | 2.9606e-15 | 3.1754e-09 | -3.1754e-09 | -2.3685e-15 | -3.1754e-09 | 3.1754e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.163e-13 | -180 | 180 | 7.3162e-13 | -180 | 180
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.0346e-15 | 7.761e-16 | 5.9106e-16 | 1.1102e-15 | 2.9661e-18 | 2.9665e-18 | 2.9606e-15 | 3.1754e-09 | -3.1754e-09 | -2.3685e-15 | -3.1754e-09 | 3.1754e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.163e-13 | -180 | 180 | 7.3162e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.9212e-15 | -2.1424e-09 | -5.9785e-09 | 5.9212e-15 | 2.1424e-09 | 5.9785e-09 | -4.33e-29 | 9.9501e-09 | -3.3057e-09 | 2.3685e-15 | -9.9501e-09 | 3.3057e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73756 | 0.49505 | 1 | 0.73756 | 0.49505 | 4.1899e-13 | -151.709 | 135.0798 | 4.2596e-13 | -151.709 | 135.0798
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.9212e-16 | -6.1211e-10 | -1.7081e-09 | -5.9212e-16 | 6.1211e-10 | 1.7081e-09 | 5.9212e-16 | 2.8429e-09 | -9.4449e-10 | -2.9606e-16 | -2.8429e-09 | 9.4449e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73756 | 0.49505 | 1 | 0.73756 | 0.49505 | 4.2596e-13 | -151.709 | 135.0798 | 4.2613e-13 | -151.709 | 135.0798
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5543e-15 | -6.1211e-10 | -1.7081e-09 | 3.3307e-16 | 6.1211e-10 | 1.7081e-09 | 2.9606e-16 | 2.8429e-09 | -9.4449e-10 | -2.9606e-16 | -2.8429e-09 | 9.4449e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73756 | 0.49505 | 1 | 0.73756 | 0.49505 | 4.2596e-13 | -151.709 | 135.0798 | 4.3456e-13 | -151.709 | 135.0798
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5543e-15 | -6.1211e-10 | -1.7081e-09 | 3.3307e-16 | 6.1211e-10 | 1.7081e-09 | 2.9606e-16 | 2.8429e-09 | -9.4449e-10 | -2.9606e-16 | -2.8429e-09 | 9.4449e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73756 | 0.49505 | 1 | 0.73756 | 0.49505 | 4.2596e-13 | -151.709 | 135.0798 | 4.3456e-13 | -151.709 | 135.0798

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.9212e-15 | -2.1424e-09 | -5.9785e-09 | 5.9212e-15 | 2.1424e-09 | 5.9785e-09 | -4.33e-29 | 9.9501e-09 | -3.3057e-09 | 2.3685e-15 | -9.9501e-09 | 3.3057e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73756 | 0.49505 | 1 | 0.73756 | 0.49505 | 4.1899e-13 | -151.709 | 135.0798 | 4.2596e-13 | -151.709 | 135.0798
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.9212e-16 | -6.1211e-10 | -1.7081e-09 | -5.9212e-16 | 6.1211e-10 | 1.7081e-09 | 5.9212e-16 | 2.8429e-09 | -9.4449e-10 | -2.9606e-16 | -2.8429e-09 | 9.4449e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73756 | 0.49505 | 1 | 0.73756 | 0.49505 | 4.2596e-13 | -151.709 | 135.0798 | 4.2613e-13 | -151.709 | 135.0798
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5543e-15 | -6.1211e-10 | -1.7081e-09 | 3.3307e-16 | 6.1211e-10 | 1.7081e-09 | 2.9606e-16 | 2.8429e-09 | -9.4449e-10 | -2.9606e-16 | -2.8429e-09 | 9.4449e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73756 | 0.49505 | 1 | 0.73756 | 0.49505 | 4.2596e-13 | -151.709 | 135.0798 | 4.3456e-13 | -151.709 | 135.0798
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5543e-15 | -6.1211e-10 | -1.7081e-09 | 3.3307e-16 | 6.1211e-10 | 1.7081e-09 | 2.9606e-16 | 2.8429e-09 | -9.4449e-10 | -2.9606e-16 | -2.8429e-09 | 9.4449e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73756 | 0.49505 | 1 | 0.73756 | 0.49505 | 4.2596e-13 | -151.709 | 135.0798 | 4.3456e-13 | -151.709 | 135.0798

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.0053336 | 0.0053336 | 0.0053336 | 0.0035106 | 0.0035106 | 0.0035106 | 0.061587 | 0.061587 | 0.061587 | 0.040537 | 0.040537 | 0.040537 | 1.1322e-13 | 0.058792 | -0.058547 | 5.7369e-05 | -0.038659 | 0.038573 | -2.3628e-13 | -0.033763 | -0.034232 | 2.2832e-05 | 0.022212 | 0.022588 | -90.2287 | -90.2287 | -90.2287 | 89.7211 | 89.7212 | 89.7212 |  | 0 | 1.1008 | 1.1012 | 0.0015232 | 1.0999 | 1.1027 | 0 | -120.0966 | 120.0856 | 111.4231 | -120.1587 | 120.0737
Line_1_3-2ph | 0.0011702 | 0.0011702 | 0.0011702 | 0 | 0 | 0 | 0.013512 | 0.013512 | 0.013512 | 0 | 0 | 0 | -1.9123e-05 | 0.012886 | -0.012858 | -7.5549e-12 | -1.1071e-09 | -1.1577e-09 | -7.6107e-06 | -0.007404 | -0.0075293 | 1.9071e-11 | -1.9618e-09 | 1.941e-09 | -90.2789 | -90.2788 | -90.2788 | 0 | 0 | 0 |  | 0.0015232 | 1.0999 | 1.1027 | 0.0020309 | 1.0996 | 1.1032 | 111.4231 | -120.1587 | 120.0737 | 111.4693 | -120.1795 | 120.0698
Line_2_3-2ph | 0.0011702 | 0.0011702 | 0.0011702 | 0 | 0 | 0 | 0.013512 | 0.013512 | 0.013512 | 0 | 0 | 0 | -1.9123e-05 | 0.012886 | -0.012858 | -7.5549e-12 | -1.1071e-09 | -1.1577e-09 | -7.6107e-06 | -0.007404 | -0.0075293 | 1.9071e-11 | -1.9618e-09 | 1.941e-09 | -90.2789 | -90.2788 | -90.2788 | 0 | 0 | 0 |  | 0.0015232 | 1.0999 | 1.1027 | 0.0020309 | 1.0996 | 1.1032 | 111.4231 | -120.1587 | 120.0737 | 111.4693 | -120.1795 | 120.0698
Line_3_3-2ph | 0.0011702 | 0.0011702 | 0.0011702 | 0 | 0 | 0 | 0.013512 | 0.013512 | 0.013512 | 0 | 0 | 0 | -1.9123e-05 | 0.012886 | -0.012858 | -7.5549e-12 | -1.1071e-09 | -1.1577e-09 | -7.6107e-06 | -0.007404 | -0.0075293 | 1.9071e-11 | -1.9618e-09 | 1.941e-09 | -90.2789 | -90.2788 | -90.2788 | 0 | 0 | 0 |  | 0.0015232 | 1.0999 | 1.1027 | 0.0020309 | 1.0996 | 1.1032 | 111.4231 | -120.1587 | 120.0737 | 111.4693 | -120.1795 | 120.0698

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.0053336 | 0.0053336 | 0.0053336 | 0.0035106 | 0.0035106 | 0.0035106 | 0.061587 | 0.061587 | 0.061587 | 0.040537 | 0.040537 | 0.040537 | 1.1314e-13 | 0.058792 | -0.058547 | 5.7369e-05 | -0.038659 | 0.038573 | -2.3643e-13 | -0.033763 | -0.034232 | 2.2832e-05 | 0.022212 | 0.022588 | -90.2287 | -90.2287 | -90.2287 | 89.7211 | 89.7212 | 89.7212 |  | 0 | 1.1008 | 1.1012 | 0.0015232 | 1.0999 | 1.1027 | 0 | -120.0966 | 120.0856 | 111.4231 | -120.1587 | 120.0737
Line_1_3-2ph | 0.0011702 | 0.0011702 | 0.0011702 | 0 | 0 | 0 | 0.013512 | 0.013512 | 0.013512 | 0 | 0 | 0 | -1.9123e-05 | 0.012886 | -0.012858 | -7.5549e-12 | -1.1071e-09 | -1.1577e-09 | -7.6107e-06 | -0.007404 | -0.0075293 | 1.9071e-11 | -1.9618e-09 | 1.941e-09 | -90.2789 | -90.2788 | -90.2788 | 0 | 0 | 0 |  | 0.0015232 | 1.0999 | 1.1027 | 0.0020309 | 1.0996 | 1.1032 | 111.4231 | -120.1587 | 120.0737 | 111.4693 | -120.1795 | 120.0698
Line_2_3-2ph | 0.0011702 | 0.0011702 | 0.0011702 | 0 | 0 | 0 | 0.013512 | 0.013512 | 0.013512 | 0 | 0 | 0 | -1.9123e-05 | 0.012886 | -0.012858 | -7.5549e-12 | -1.1071e-09 | -1.1577e-09 | -7.6107e-06 | -0.007404 | -0.0075293 | 1.9071e-11 | -1.9618e-09 | 1.941e-09 | -90.2789 | -90.2788 | -90.2788 | 0 | 0 | 0 |  | 0.0015232 | 1.0999 | 1.1027 | 0.0020309 | 1.0996 | 1.1032 | 111.4231 | -120.1587 | 120.0737 | 111.4693 | -120.1795 | 120.0698
Line_3_3-2ph | 0.0011702 | 0.0011702 | 0.0011702 | 0 | 0 | 0 | 0.013512 | 0.013512 | 0.013512 | 0 | 0 | 0 | -1.9123e-05 | 0.012886 | -0.012858 | -7.5549e-12 | -1.1071e-09 | -1.1577e-09 | -7.6107e-06 | -0.007404 | -0.0075293 | 1.9071e-11 | -1.9618e-09 | 1.941e-09 | -90.2789 | -90.2788 | -90.2788 | 0 | 0 | 0 |  | 0.0015232 | 1.0999 | 1.1027 | 0.0020309 | 1.0996 | 1.1032 | 111.4231 | -120.1587 | 120.0737 | 111.4693 | -120.1795 | 120.0698

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.0021672 | 0.0021672 | 0.0021672 | 0.0014265 | 0.0014265 | 0.0014265 | 0.025025 | 0.025025 | 0.025025 | 0.016472 | 0.016472 | 0.016472 | 0.011304 | 0.016123 | -0.027386 | -0.0074228 | -0.010615 | 0.018034 | 0.013934 | -0.022331 | -0.0028297 | -0.0091745 | 0.014693 | 0.0018821 | -65.8571 | -65.8571 | -65.8571 | 114.0927 | 114.0928 | 114.0928 |  | 0.71699 | 1.1006 | 1.1002 | 0.71645 | 1.1005 | 1.1008 | -14.9068 | -120.0285 | 120.0421 | -14.8826 | -120.0598 | 120.0509
Line_1_3-2ph | 0.0004755 | 0.0004755 | 0.0004755 | 0 | 0 | 0 | 0.0054906 | 0.0054906 | 0.0054906 | 0 | 0 | 0 | 0.0024743 | 0.0035385 | -0.0060112 | 2.2812e-09 | -7.3823e-10 | -1.0256e-10 | 0.0030582 | -0.0048977 | -0.00062736 | -1.8541e-09 | -5.4231e-10 | 9.1071e-10 | -65.9073 | -65.9072 | -65.9072 | 0 | 0 | 0 |  | 0.71645 | 1.1005 | 1.1008 | 0.71627 | 1.1004 | 1.101 | -14.8826 | -120.0598 | 120.0509 | -14.8746 | -120.0702 | 120.0538
Line_2_3-2ph | 0.0004755 | 0.0004755 | 0.0004755 | 0 | 0 | 0 | 0.0054906 | 0.0054906 | 0.0054906 | 0 | 0 | 0 | 0.0024743 | 0.0035385 | -0.0060112 | 2.2812e-09 | -7.3823e-10 | -1.0256e-10 | 0.0030582 | -0.0048977 | -0.00062736 | -1.8541e-09 | -5.4231e-10 | 9.1071e-10 | -65.9073 | -65.9072 | -65.9072 | 0 | 0 | 0 |  | 0.71645 | 1.1005 | 1.1008 | 0.71627 | 1.1004 | 1.101 | -14.8826 | -120.0598 | 120.0509 | -14.8746 | -120.0702 | 120.0538
Line_3_3-2ph | 0.0004755 | 0.0004755 | 0.0004755 | 0 | 0 | 0 | 0.0054906 | 0.0054906 | 0.0054906 | 0 | 0 | 0 | 0.0024743 | 0.0035385 | -0.0060112 | 2.2812e-09 | -7.3823e-10 | -1.0256e-10 | 0.0030582 | -0.0048977 | -0.00062736 | -1.8541e-09 | -5.4231e-10 | 9.1071e-10 | -65.9073 | -65.9072 | -65.9072 | 0 | 0 | 0 |  | 0.71645 | 1.1005 | 1.1008 | 0.71627 | 1.1004 | 1.101 | -14.8826 | -120.0598 | 120.0509 | -14.8746 | -120.0702 | 120.0538

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.0021672 | 0.0021672 | 0.0021672 | 0.0014265 | 0.0014265 | 0.0014265 | 0.025025 | 0.025025 | 0.025025 | 0.016472 | 0.016472 | 0.016472 | 0.011304 | 0.016123 | -0.027386 | -0.0074228 | -0.010615 | 0.018034 | 0.013934 | -0.022331 | -0.0028297 | -0.0091745 | 0.014693 | 0.0018821 | -65.8571 | -65.8571 | -65.8571 | 114.0927 | 114.0928 | 114.0928 |  | 0.71699 | 1.1006 | 1.1002 | 0.71645 | 1.1005 | 1.1008 | -14.9068 | -120.0285 | 120.0421 | -14.8826 | -120.0598 | 120.0509
Line_1_3-2ph | 0.0004755 | 0.0004755 | 0.0004755 | 0 | 0 | 0 | 0.0054906 | 0.0054906 | 0.0054906 | 0 | 0 | 0 | 0.0024743 | 0.0035385 | -0.0060112 | 2.2812e-09 | -7.3823e-10 | -1.0256e-10 | 0.0030582 | -0.0048977 | -0.00062736 | -1.8541e-09 | -5.4231e-10 | 9.1071e-10 | -65.9073 | -65.9072 | -65.9072 | 0 | 0 | 0 |  | 0.71645 | 1.1005 | 1.1008 | 0.71627 | 1.1004 | 1.101 | -14.8826 | -120.0598 | 120.0509 | -14.8746 | -120.0702 | 120.0538
Line_2_3-2ph | 0.0004755 | 0.0004755 | 0.0004755 | 0 | 0 | 0 | 0.0054906 | 0.0054906 | 0.0054906 | 0 | 0 | 0 | 0.0024743 | 0.0035385 | -0.0060112 | 2.2812e-09 | -7.3823e-10 | -1.0256e-10 | 0.0030582 | -0.0048977 | -0.00062736 | -1.8541e-09 | -5.4231e-10 | 9.1071e-10 | -65.9073 | -65.9072 | -65.9072 | 0 | 0 | 0 |  | 0.71645 | 1.1005 | 1.1008 | 0.71627 | 1.1004 | 1.101 | -14.8826 | -120.0598 | 120.0509 | -14.8746 | -120.0702 | 120.0538
Line_3_3-2ph | 0.0004755 | 0.0004755 | 0.0004755 | 0 | 0 | 0 | 0.0054906 | 0.0054906 | 0.0054906 | 0 | 0 | 0 | 0.0024743 | 0.0035385 | -0.0060112 | 2.2812e-09 | -7.3823e-10 | -1.0256e-10 | 0.0030582 | -0.0048977 | -0.00062736 | -1.8541e-09 | -5.4231e-10 | 9.1071e-10 | -65.9073 | -65.9072 | -65.9072 | 0 | 0 | 0 |  | 0.71645 | 1.1005 | 1.1008 | 0.71627 | 1.1004 | 1.101 | -14.8826 | -120.0598 | 120.0509 | -14.8746 | -120.0702 | 120.0538

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.004851 | 0.004851 | 0.004851 | 0.003193 | 0.003193 | 0.003193 | 0.056015 | 0.056015 | 0.056015 | 0.036869 | 0.036869 | 0.036869 | -7.3356e-14 | 0.048704 | -0.048314 | 9.1118e-05 | -0.031997 | 0.03186 | -2.1983e-13 | -0.027766 | -0.028482 | 1.8904e-05 | 0.018241 | 0.018819 | -90.4228 | -90.4228 | -90.4228 | 89.4809 | 89.4809 | 89.4809 |  | 0 | 1.0009 | 1.0012 | 0.002524 | 0.99896 | 1.0036 | 0 | -120.11 | 120.0971 | 101.2018 | -120.2055 | 120.0504
Line_1_3-2ph | 0.0010643 | 0.0010643 | 0.0010643 | 0 | 0 | 0 | 0.01229 | 0.01229 | 0.01229 | 0 | 0 | 0 | -3.0373e-05 | 0.010666 | -0.01062 | -6.1503e-12 | -8.9881e-10 | -9.7644e-10 | -6.3014e-06 | -0.0060802 | -0.0062731 | 3.0276e-11 | -1.6308e-09 | 1.5989e-09 | -90.5191 | -90.5191 | -90.5191 | 0 | 0 | 0 |  | 0.002524 | 0.99896 | 1.0036 | 0.0033643 | 0.99833 | 1.0044 | 101.2018 | -120.2055 | 120.0504 | 101.2137 | -120.2375 | 120.035
Line_2_3-2ph | 0.0010643 | 0.0010643 | 0.0010643 | 0 | 0 | 0 | 0.01229 | 0.01229 | 0.01229 | 0 | 0 | 0 | -3.0373e-05 | 0.010666 | -0.01062 | -6.1503e-12 | -8.9881e-10 | -9.7644e-10 | -6.3014e-06 | -0.0060802 | -0.0062731 | 3.0276e-11 | -1.6308e-09 | 1.5989e-09 | -90.5191 | -90.5191 | -90.5191 | 0 | 0 | 0 |  | 0.002524 | 0.99896 | 1.0036 | 0.0033643 | 0.99833 | 1.0044 | 101.2018 | -120.2055 | 120.0504 | 101.2137 | -120.2375 | 120.035
Line_3_3-2ph | 0.0010643 | 0.0010643 | 0.0010643 | 0 | 0 | 0 | 0.01229 | 0.01229 | 0.01229 | 0 | 0 | 0 | -3.0373e-05 | 0.010666 | -0.01062 | -6.1503e-12 | -8.9881e-10 | -9.7644e-10 | -6.3014e-06 | -0.0060802 | -0.0062731 | 3.0276e-11 | -1.6308e-09 | 1.5989e-09 | -90.5191 | -90.5191 | -90.5191 | 0 | 0 | 0 |  | 0.002524 | 0.99896 | 1.0036 | 0.0033643 | 0.99833 | 1.0044 | 101.2018 | -120.2055 | 120.0504 | 101.2137 | -120.2375 | 120.035

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.004851 | 0.004851 | 0.004851 | 0.003193 | 0.003193 | 0.003193 | 0.056015 | 0.056015 | 0.056015 | 0.036869 | 0.036869 | 0.036869 | -7.3356e-14 | 0.048704 | -0.048314 | 9.1118e-05 | -0.031997 | 0.03186 | -2.1983e-13 | -0.027766 | -0.028482 | 1.8904e-05 | 0.018241 | 0.018819 | -90.4228 | -90.4228 | -90.4228 | 89.4809 | 89.4809 | 89.4809 |  | 0 | 1.0009 | 1.0012 | 0.002524 | 0.99896 | 1.0036 | 0 | -120.11 | 120.0971 | 101.2018 | -120.2055 | 120.0504
Line_1_3-2ph | 0.0010643 | 0.0010643 | 0.0010643 | 0 | 0 | 0 | 0.01229 | 0.01229 | 0.01229 | 0 | 0 | 0 | -3.0373e-05 | 0.010666 | -0.01062 | -6.1503e-12 | -8.9881e-10 | -9.7644e-10 | -6.3014e-06 | -0.0060802 | -0.0062731 | 3.0276e-11 | -1.6308e-09 | 1.5989e-09 | -90.5191 | -90.5191 | -90.5191 | 0 | 0 | 0 |  | 0.002524 | 0.99896 | 1.0036 | 0.0033643 | 0.99833 | 1.0044 | 101.2018 | -120.2055 | 120.0504 | 101.2137 | -120.2375 | 120.035
Line_2_3-2ph | 0.0010643 | 0.0010643 | 0.0010643 | 0 | 0 | 0 | 0.01229 | 0.01229 | 0.01229 | 0 | 0 | 0 | -3.0373e-05 | 0.010666 | -0.01062 | -6.1503e-12 | -8.9881e-10 | -9.7644e-10 | -6.3014e-06 | -0.0060802 | -0.0062731 | 3.0276e-11 | -1.6308e-09 | 1.5989e-09 | -90.5191 | -90.5191 | -90.5191 | 0 | 0 | 0 |  | 0.002524 | 0.99896 | 1.0036 | 0.0033643 | 0.99833 | 1.0044 | 101.2018 | -120.2055 | 120.0504 | 101.2137 | -120.2375 | 120.035
Line_3_3-2ph | 0.0010643 | 0.0010643 | 0.0010643 | 0 | 0 | 0 | 0.01229 | 0.01229 | 0.01229 | 0 | 0 | 0 | -3.0373e-05 | 0.010666 | -0.01062 | -6.1503e-12 | -8.9881e-10 | -9.7644e-10 | -6.3014e-06 | -0.0060802 | -0.0062731 | 3.0276e-11 | -1.6308e-09 | 1.5989e-09 | -90.5191 | -90.5191 | -90.5191 | 0 | 0 | 0 |  | 0.002524 | 0.99896 | 1.0036 | 0.0033643 | 0.99833 | 1.0044 | 101.2018 | -120.2055 | 120.0504 | 101.2137 | -120.2375 | 120.035

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.0021321 | 0.0021321 | 0.0021321 | 0.0014034 | 0.0014034 | 0.0014034 | 0.02462 | 0.02462 | 0.02462 | 0.016205 | 0.016205 | 0.016205 | 0.0095801 | 0.014918 | -0.024422 | -0.0062749 | -0.0098229 | 0.016089 | 0.011892 | -0.019607 | -0.0031516 | -0.0078346 | 0.012892 | 0.0021051 | -67.3017 | -67.3017 | -67.3017 | 112.602 | 112.602 | 112.602 |  | 0.62028 | 1.0007 | 1.0002 | 0.61942 | 1.0002 | 1.0013 | -16.1555 | -120.0361 | 120.0515 | -16.0902 | -120.0934 | 120.0563
Line_1_3-2ph | 0.00046779 | 0.00046779 | 0.00046779 | 0 | 0 | 0 | 0.0054016 | 0.0054016 | 0.0054016 | 0 | 0 | 0 | 0.0020916 | 0.0032743 | -0.005363 | 1.9442e-09 | -6.4478e-10 | -1.1874e-10 | 0.0026115 | -0.0042974 | -0.0007017 | -1.5699e-09 | -5.0636e-10 | 8.1256e-10 | -67.398 | -67.398 | -67.398 | 0 | 0 | 0 |  | 0.61942 | 1.0002 | 1.0013 | 0.61914 | 1 | 1.0017 | -16.0902 | -120.0934 | 120.0563 | -16.0684 | -120.1124 | 120.0578
Line_2_3-2ph | 0.00046779 | 0.00046779 | 0.00046779 | 0 | 0 | 0 | 0.0054016 | 0.0054016 | 0.0054016 | 0 | 0 | 0 | 0.0020916 | 0.0032743 | -0.005363 | 1.9442e-09 | -6.4478e-10 | -1.1874e-10 | 0.0026115 | -0.0042974 | -0.0007017 | -1.5699e-09 | -5.0636e-10 | 8.1256e-10 | -67.398 | -67.398 | -67.398 | 0 | 0 | 0 |  | 0.61942 | 1.0002 | 1.0013 | 0.61914 | 1 | 1.0017 | -16.0902 | -120.0934 | 120.0563 | -16.0684 | -120.1124 | 120.0578
Line_3_3-2ph | 0.00046779 | 0.00046779 | 0.00046779 | 0 | 0 | 0 | 0.0054016 | 0.0054016 | 0.0054016 | 0 | 0 | 0 | 0.0020916 | 0.0032743 | -0.005363 | 1.9442e-09 | -6.4478e-10 | -1.1874e-10 | 0.0026115 | -0.0042974 | -0.0007017 | -1.5699e-09 | -5.0636e-10 | 8.1256e-10 | -67.398 | -67.398 | -67.398 | 0 | 0 | 0 |  | 0.61942 | 1.0002 | 1.0013 | 0.61914 | 1 | 1.0017 | -16.0902 | -120.0934 | 120.0563 | -16.0684 | -120.1124 | 120.0578

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.0021321 | 0.0021321 | 0.0021321 | 0.0014034 | 0.0014034 | 0.0014034 | 0.02462 | 0.02462 | 0.02462 | 0.016205 | 0.016205 | 0.016205 | 0.0095801 | 0.014918 | -0.024422 | -0.0062749 | -0.0098229 | 0.016089 | 0.011892 | -0.019607 | -0.0031516 | -0.0078346 | 0.012892 | 0.0021051 | -67.3017 | -67.3017 | -67.3017 | 112.602 | 112.602 | 112.602 |  | 0.62028 | 1.0007 | 1.0002 | 0.61942 | 1.0002 | 1.0013 | -16.1555 | -120.0361 | 120.0515 | -16.0902 | -120.0934 | 120.0563
Line_1_3-2ph | 0.00046779 | 0.00046779 | 0.00046779 | 0 | 0 | 0 | 0.0054016 | 0.0054016 | 0.0054016 | 0 | 0 | 0 | 0.0020916 | 0.0032743 | -0.005363 | 1.9442e-09 | -6.4478e-10 | -1.1874e-10 | 0.0026115 | -0.0042974 | -0.0007017 | -1.5699e-09 | -5.0636e-10 | 8.1256e-10 | -67.398 | -67.398 | -67.398 | 0 | 0 | 0 |  | 0.61942 | 1.0002 | 1.0013 | 0.61914 | 1 | 1.0017 | -16.0902 | -120.0934 | 120.0563 | -16.0684 | -120.1124 | 120.0578
Line_2_3-2ph | 0.00046779 | 0.00046779 | 0.00046779 | 0 | 0 | 0 | 0.0054016 | 0.0054016 | 0.0054016 | 0 | 0 | 0 | 0.0020916 | 0.0032743 | -0.005363 | 1.9442e-09 | -6.4478e-10 | -1.1874e-10 | 0.0026115 | -0.0042974 | -0.0007017 | -1.5699e-09 | -5.0636e-10 | 8.1256e-10 | -67.398 | -67.398 | -67.398 | 0 | 0 | 0 |  | 0.61942 | 1.0002 | 1.0013 | 0.61914 | 1 | 1.0017 | -16.0902 | -120.0934 | 120.0563 | -16.0684 | -120.1124 | 120.0578
Line_3_3-2ph | 0.00046779 | 0.00046779 | 0.00046779 | 0 | 0 | 0 | 0.0054016 | 0.0054016 | 0.0054016 | 0 | 0 | 0 | 0.0020916 | 0.0032743 | -0.005363 | 1.9442e-09 | -6.4478e-10 | -1.1874e-10 | 0.0026115 | -0.0042974 | -0.0007017 | -1.5699e-09 | -5.0636e-10 | 8.1256e-10 | -67.398 | -67.398 | -67.398 | 0 | 0 | 0 |  | 0.61942 | 1.0002 | 1.0013 | 0.61914 | 1 | 1.0017 | -16.0902 | -120.0934 | 120.0563 | -16.0684 | -120.1124 | 120.0578

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.0053238 | 0.0053238 | 0.0053238 | 0.0035042 | 0.0035042 | 0.0035042 | 0.061474 | 0.061474 | 0.061474 | 0.040463 | 0.040463 | 0.040463 | 0.00024459 | 2.0677e-13 | 7.9308e-15 | -0.00014286 | 5.7159e-05 | 5.7158e-05 | -0.067745 | 1.2427e-13 | -2.4244e-13 | 0.044613 | 2.2748e-05 | 2.2748e-05 | 89.7822 | 89.7822 | 89.7822 | -90.2679 | -90.2679 | -90.2679 |  | 1.102 | 0 | 0 | 1.1026 | 0.0015204 | 0.0015204 | -0.010894 | 0 | 0 | -0.084431 | -68.566 | -68.566
Line_1_3-2ph | 0.0011681 | 0.0011681 | 0.0011681 | 0 | 0 | 0 | 0.013488 | 0.013488 | 0.013488 | 0 | 0 | 0 | 4.7622e-05 | -1.9053e-05 | -1.9053e-05 | -2.2549e-09 | 8.6308e-12 | -1.7725e-11 | -0.014871 | -7.5828e-06 | -7.5828e-06 | -2.4523e-11 | 1.6605e-11 | 6.2335e-12 | 89.7321 | 89.7321 | 89.7321 | 0 | 0 | 0 |  | 1.1026 | 0.0015204 | 0.0015204 | 1.1028 | 0.0020271 | 0.0020271 | -0.084431 | -68.566 | -68.566 | -0.10889 | -68.5198 | -68.5198
Line_2_3-2ph | 0.0011681 | 0.0011681 | 0.0011681 | 0 | 0 | 0 | 0.013488 | 0.013488 | 0.013488 | 0 | 0 | 0 | 4.7622e-05 | -1.9053e-05 | -1.9053e-05 | -2.2549e-09 | 8.6308e-12 | -1.7725e-11 | -0.014871 | -7.5828e-06 | -7.5828e-06 | -2.4526e-11 | 1.6605e-11 | 6.2334e-12 | 89.7321 | 89.7321 | 89.7321 | 0 | 0 | 0 |  | 1.1026 | 0.0015204 | 0.0015204 | 1.1028 | 0.0020271 | 0.0020271 | -0.084431 | -68.566 | -68.566 | -0.10889 | -68.5198 | -68.5198
Line_3_3-2ph | 0.0011681 | 0.0011681 | 0.0011681 | 0 | 0 | 0 | 0.013488 | 0.013488 | 0.013488 | 0 | 0 | 0 | 4.7622e-05 | -1.9053e-05 | -1.9053e-05 | -2.2549e-09 | 8.6308e-12 | -1.7725e-11 | -0.014871 | -7.5828e-06 | -7.5828e-06 | -2.4526e-11 | 1.6605e-11 | 6.2334e-12 | 89.7321 | 89.7321 | 89.7321 | 0 | 0 | 0 |  | 1.1026 | 0.0015204 | 0.0015204 | 1.1028 | 0.0020271 | 0.0020271 | -0.084431 | -68.566 | -68.566 | -0.10889 | -68.5198 | -68.5198

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.0053238 | 0.0053238 | 0.0053238 | 0.0035042 | 0.0035042 | 0.0035042 | 0.061474 | 0.061474 | 0.061474 | 0.040463 | 0.040463 | 0.040463 | 0.00024459 | 2.0678e-13 | 7.965e-15 | -0.00014286 | 5.7159e-05 | 5.7158e-05 | -0.067745 | 1.2425e-13 | -2.4245e-13 | 0.044613 | 2.2748e-05 | 2.2748e-05 | 89.7822 | 89.7822 | 89.7822 | -90.2679 | -90.2679 | -90.2679 |  | 1.102 | 0 | 0 | 1.1026 | 0.0015204 | 0.0015204 | -0.010894 | 0 | 0 | -0.084431 | -68.566 | -68.566
Line_1_3-2ph | 0.0011681 | 0.0011681 | 0.0011681 | 0 | 0 | 0 | 0.013488 | 0.013488 | 0.013488 | 0 | 0 | 0 | 4.7622e-05 | -1.9053e-05 | -1.9053e-05 | -2.2549e-09 | 8.6308e-12 | -1.7725e-11 | -0.014871 | -7.5828e-06 | -7.5828e-06 | -2.453e-11 | 1.6605e-11 | 6.2335e-12 | 89.7321 | 89.7321 | 89.7321 | 0 | 0 | 0 |  | 1.1026 | 0.0015204 | 0.0015204 | 1.1028 | 0.0020271 | 0.0020271 | -0.084431 | -68.566 | -68.566 | -0.10889 | -68.5198 | -68.5198
Line_2_3-2ph | 0.0011681 | 0.0011681 | 0.0011681 | 0 | 0 | 0 | 0.013488 | 0.013488 | 0.013488 | 0 | 0 | 0 | 4.7622e-05 | -1.9053e-05 | -1.9053e-05 | -2.2549e-09 | 8.6308e-12 | -1.7725e-11 | -0.014871 | -7.5828e-06 | -7.5828e-06 | -2.4529e-11 | 1.6605e-11 | 6.2335e-12 | 89.7321 | 89.7321 | 89.7321 | 0 | 0 | 0 |  | 1.1026 | 0.0015204 | 0.0015204 | 1.1028 | 0.0020271 | 0.0020271 | -0.084431 | -68.566 | -68.566 | -0.10889 | -68.5198 | -68.5198
Line_3_3-2ph | 0.0011681 | 0.0011681 | 0.0011681 | 0 | 0 | 0 | 0.013488 | 0.013488 | 0.013488 | 0 | 0 | 0 | 4.7622e-05 | -1.9053e-05 | -1.9053e-05 | -2.2549e-09 | 8.6308e-12 | -1.7725e-11 | -0.014871 | -7.5828e-06 | -7.5828e-06 | -2.4529e-11 | 1.6605e-11 | 6.2335e-12 | 89.7321 | 89.7321 | 89.7321 | 0 | 0 | 0 |  | 1.1026 | 0.0015204 | 0.0015204 | 1.1028 | 0.0020271 | 0.0020271 | -0.084431 | -68.566 | -68.566 | -0.10889 | -68.5198 | -68.5198

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.0021657 | 0.0021657 | 0.0021657 | 0.0014255 | 0.0014255 | 0.0014255 | 0.025007 | 0.025007 | 0.025007 | 0.01646 | 0.01646 | 0.01646 | -0.011247 | -0.0064283 | 0.017716 | 0.007398 | 0.0042502 | -0.011653 | -0.025125 | 0.016741 | -0.0028264 | 0.016548 | -0.011012 | 0.0018539 | 114.1293 | 114.1293 | 114.1293 | -65.9208 | -65.9208 | -65.9208 |  | 1.1008 | 0.7171 | 0.71739 | 1.1012 | 0.71709 | 0.71686 | 0.013572 | -134.8647 | 105.0647 | -0.0088754 | -134.8153 | 105.0394
Line_1_3-2ph | 0.00047516 | 0.00047516 | 0.00047516 | 0 | 0 | 0 | 0.0054867 | 0.0054867 | 0.0054867 | 0 | 0 | 0 | -0.002466 | -0.0014167 | 0.0038843 | -8.3934e-10 | 2.3725e-09 | 1.726e-09 | -0.0055159 | 0.0036705 | -0.00061798 | 3.6725e-10 | -1.2643e-09 | -2.0762e-09 | 114.0792 | 114.0792 | 114.0792 | 0 | 0 | 0 |  | 1.1012 | 0.71709 | 0.71686 | 1.1014 | 0.71709 | 0.71668 | -0.0088754 | -134.8153 | 105.0394 | -0.016329 | -134.7988 | 105.031
Line_2_3-2ph | 0.00047516 | 0.00047516 | 0.00047516 | 0 | 0 | 0 | 0.0054867 | 0.0054867 | 0.0054867 | 0 | 0 | 0 | -0.002466 | -0.0014167 | 0.0038843 | -8.3934e-10 | 2.3725e-09 | 1.726e-09 | -0.0055159 | 0.0036705 | -0.00061798 | 3.6724e-10 | -1.2643e-09 | -2.0762e-09 | 114.0792 | 114.0792 | 114.0792 | 0 | 0 | 0 |  | 1.1012 | 0.71709 | 0.71686 | 1.1014 | 0.71709 | 0.71668 | -0.0088754 | -134.8153 | 105.0394 | -0.016329 | -134.7988 | 105.031
Line_3_3-2ph | 0.00047516 | 0.00047516 | 0.00047516 | 0 | 0 | 0 | 0.0054867 | 0.0054867 | 0.0054867 | 0 | 0 | 0 | -0.002466 | -0.0014167 | 0.0038843 | -8.3934e-10 | 2.3725e-09 | 1.726e-09 | -0.0055159 | 0.0036705 | -0.00061798 | 3.6724e-10 | -1.2643e-09 | -2.0762e-09 | 114.0792 | 114.0792 | 114.0792 | 0 | 0 | 0 |  | 1.1012 | 0.71709 | 0.71686 | 1.1014 | 0.71709 | 0.71668 | -0.0088754 | -134.8153 | 105.0394 | -0.016329 | -134.7988 | 105.031

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.0021657 | 0.0021657 | 0.0021657 | 0.0014255 | 0.0014255 | 0.0014255 | 0.025007 | 0.025007 | 0.025007 | 0.01646 | 0.01646 | 0.01646 | -0.011247 | -0.0064283 | 0.017716 | 0.007398 | 0.0042502 | -0.011653 | -0.025125 | 0.016741 | -0.0028264 | 0.016548 | -0.011012 | 0.0018539 | 114.1293 | 114.1293 | 114.1293 | -65.9208 | -65.9208 | -65.9208 |  | 1.1008 | 0.7171 | 0.71739 | 1.1012 | 0.71709 | 0.71686 | 0.013572 | -134.8647 | 105.0647 | -0.0088754 | -134.8153 | 105.0394
Line_1_3-2ph | 0.00047516 | 0.00047516 | 0.00047516 | 0 | 0 | 0 | 0.0054867 | 0.0054867 | 0.0054867 | 0 | 0 | 0 | -0.002466 | -0.0014167 | 0.0038843 | -8.3934e-10 | 2.3725e-09 | 1.726e-09 | -0.0055159 | 0.0036705 | -0.00061798 | 3.6724e-10 | -1.2643e-09 | -2.0762e-09 | 114.0792 | 114.0792 | 114.0792 | 0 | 0 | 0 |  | 1.1012 | 0.71709 | 0.71686 | 1.1014 | 0.71709 | 0.71668 | -0.0088754 | -134.8153 | 105.0394 | -0.016329 | -134.7988 | 105.031
Line_2_3-2ph | 0.00047516 | 0.00047516 | 0.00047516 | 0 | 0 | 0 | 0.0054867 | 0.0054867 | 0.0054867 | 0 | 0 | 0 | -0.002466 | -0.0014167 | 0.0038843 | -8.3934e-10 | 2.3725e-09 | 1.726e-09 | -0.0055159 | 0.0036705 | -0.00061798 | 3.6724e-10 | -1.2644e-09 | -2.0762e-09 | 114.0792 | 114.0792 | 114.0792 | 0 | 0 | 0 |  | 1.1012 | 0.71709 | 0.71686 | 1.1014 | 0.71709 | 0.71668 | -0.0088754 | -134.8153 | 105.0394 | -0.016329 | -134.7988 | 105.031
Line_3_3-2ph | 0.00047516 | 0.00047516 | 0.00047516 | 0 | 0 | 0 | 0.0054867 | 0.0054867 | 0.0054867 | 0 | 0 | 0 | -0.002466 | -0.0014167 | 0.0038843 | -8.3934e-10 | 2.3725e-09 | 1.726e-09 | -0.0055159 | 0.0036705 | -0.00061798 | 3.6724e-10 | -1.2644e-09 | -2.0762e-09 | 114.0792 | 114.0792 | 114.0792 | 0 | 0 | 0 |  | 1.1012 | 0.71709 | 0.71686 | 1.1014 | 0.71709 | 0.71668 | -0.0088754 | -134.8153 | 105.0394 | -0.016329 | -134.7988 | 105.031

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.0048409 | 0.0048409 | 0.0048409 | 0.0031863 | 0.0031863 | 0.0031863 | 0.055898 | 0.055898 | 0.055898 | 0.036793 | 0.036793 | 0.036793 | 0.00038828 | -1.4551e-13 | 1.2064e-13 | -0.00022679 | 9.0738e-05 | 9.0738e-05 | -0.056013 | 5.1714e-14 | 9.9181e-14 | 0.036887 | 1.8825e-05 | 1.8825e-05 | 89.5901 | 89.59 | 89.59 | -90.5062 | -90.5063 | -90.5063 |  | 1.0021 | 0 | 0 | 1.0026 | 0.0025187 | 0.0025187 | -0.012779 | 0 | 0 | -0.15397 | -78.7854 | -78.7854
Line_1_3-2ph | 0.0010621 | 0.0010621 | 0.0010621 | 0 | 0 | 0 | 0.012264 | 0.012264 | 0.012264 | 0 | 0 | 0 | 7.5597e-05 | -3.0246e-05 | -3.0246e-05 | -1.8661e-09 | 1.717e-11 | -2.4657e-11 | -0.012296 | -6.2751e-06 | -6.2751e-06 | -3.7888e-11 | 2.2275e-11 | 1.3973e-11 | 89.4938 | 89.4938 | 89.4938 | 0 | 0 | 0 |  | 1.0026 | 0.0025187 | 0.0025187 | 1.0027 | 0.0033573 | 0.0033573 | -0.15397 | -78.7854 | -78.7854 | -0.20093 | -78.7735 | -78.7735
Line_2_3-2ph | 0.0010621 | 0.0010621 | 0.0010621 | 0 | 0 | 0 | 0.012264 | 0.012264 | 0.012264 | 0 | 0 | 0 | 7.5597e-05 | -3.0246e-05 | -3.0246e-05 | -1.8661e-09 | 1.717e-11 | -2.4657e-11 | -0.012296 | -6.2751e-06 | -6.2751e-06 | -3.7889e-11 | 2.2275e-11 | 1.3973e-11 | 89.4938 | 89.4938 | 89.4938 | 0 | 0 | 0 |  | 1.0026 | 0.0025187 | 0.0025187 | 1.0027 | 0.0033573 | 0.0033573 | -0.15397 | -78.7854 | -78.7854 | -0.20093 | -78.7735 | -78.7735
Line_3_3-2ph | 0.0010621 | 0.0010621 | 0.0010621 | 0 | 0 | 0 | 0.012264 | 0.012264 | 0.012264 | 0 | 0 | 0 | 7.5597e-05 | -3.0246e-05 | -3.0246e-05 | -1.8661e-09 | 1.717e-11 | -2.4657e-11 | -0.012296 | -6.2751e-06 | -6.2751e-06 | -3.7889e-11 | 2.2275e-11 | 1.3973e-11 | 89.4938 | 89.4938 | 89.4938 | 0 | 0 | 0 |  | 1.0026 | 0.0025187 | 0.0025187 | 1.0027 | 0.0033573 | 0.0033573 | -0.15397 | -78.7854 | -78.7854 | -0.20093 | -78.7735 | -78.7735

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.0048409 | 0.0048409 | 0.0048409 | 0.0031863 | 0.0031863 | 0.0031863 | 0.055898 | 0.055898 | 0.055898 | 0.036793 | 0.036793 | 0.036793 | 0.00038828 | -1.4551e-13 | 1.2064e-13 | -0.00022679 | 9.0738e-05 | 9.0738e-05 | -0.056013 | 5.1714e-14 | 9.9181e-14 | 0.036887 | 1.8825e-05 | 1.8825e-05 | 89.5901 | 89.59 | 89.59 | -90.5062 | -90.5063 | -90.5063 |  | 1.0021 | 0 | 0 | 1.0026 | 0.0025187 | 0.0025187 | -0.012779 | 0 | 0 | -0.15397 | -78.7854 | -78.7854
Line_1_3-2ph | 0.0010621 | 0.0010621 | 0.0010621 | 0 | 0 | 0 | 0.012264 | 0.012264 | 0.012264 | 0 | 0 | 0 | 7.5597e-05 | -3.0246e-05 | -3.0246e-05 | -1.8661e-09 | 1.717e-11 | -2.4657e-11 | -0.012296 | -6.2751e-06 | -6.2751e-06 | -3.7888e-11 | 2.2275e-11 | 1.3973e-11 | 89.4938 | 89.4938 | 89.4938 | 0 | 0 | 0 |  | 1.0026 | 0.0025187 | 0.0025187 | 1.0027 | 0.0033573 | 0.0033573 | -0.15397 | -78.7854 | -78.7854 | -0.20093 | -78.7735 | -78.7735
Line_2_3-2ph | 0.0010621 | 0.0010621 | 0.0010621 | 0 | 0 | 0 | 0.012264 | 0.012264 | 0.012264 | 0 | 0 | 0 | 7.5597e-05 | -3.0246e-05 | -3.0246e-05 | -1.8661e-09 | 1.717e-11 | -2.4657e-11 | -0.012296 | -6.2751e-06 | -6.2751e-06 | -3.7889e-11 | 2.2275e-11 | 1.3973e-11 | 89.4938 | 89.4938 | 89.4938 | 0 | 0 | 0 |  | 1.0026 | 0.0025187 | 0.0025187 | 1.0027 | 0.0033573 | 0.0033573 | -0.15397 | -78.7854 | -78.7854 | -0.20093 | -78.7735 | -78.7735
Line_3_3-2ph | 0.0010621 | 0.0010621 | 0.0010621 | 0 | 0 | 0 | 0.012264 | 0.012264 | 0.012264 | 0 | 0 | 0 | 7.5597e-05 | -3.0246e-05 | -3.0246e-05 | -1.8661e-09 | 1.717e-11 | -2.4657e-11 | -0.012296 | -6.2751e-06 | -6.2751e-06 | -3.7889e-11 | 2.2275e-11 | 1.3973e-11 | 89.4938 | 89.4938 | 89.4938 | 0 | 0 | 0 |  | 1.0026 | 0.0025187 | 0.0025187 | 1.0027 | 0.0033573 | 0.0033573 | -0.15397 | -78.7854 | -78.7854 | -0.20093 | -78.7735 | -78.7735

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.0021303 | 0.0021303 | 0.0021303 | 0.0014021 | 0.0014021 | 0.0014021 | 0.024598 | 0.024598 | 0.024598 | 0.016191 | 0.016191 | 0.016191 | -0.009488 | -0.005522 | 0.015085 | 0.0062375 | 0.0036679 | -0.0099142 | -0.022718 | 0.014227 | -0.0023553 | 0.014967 | -0.0093544 | 0.0015373 | 112.6829 | 112.6828 | 112.6828 | -67.4134 | -67.4135 | -67.4135 |  | 1.0009 | 0.62041 | 0.6207 | 1.0015 | 0.62059 | 0.61966 | 0.015414 | -136.1039 | 103.8085 | -0.036973 | -136.003 | 103.7726
Line_1_3-2ph | 0.00046738 | 0.00046738 | 0.00046738 | 0 | 0 | 0 | 0.0053969 | 0.0053969 | 0.0053969 | 0 | 0 | 0 | -0.0020792 | -0.0012226 | 0.0033047 | -7.6191e-10 | 2.0187e-09 | 1.4714e-09 | -0.0049891 | 0.0031181 | -0.00051242 | 3.0448e-10 | -1.0678e-09 | -1.7659e-09 | 112.5866 | 112.5865 | 112.5865 | 0 | 0 | 0 |  | 1.0015 | 0.62059 | 0.61966 | 1.0017 | 0.62065 | 0.61931 | -0.036973 | -136.003 | 103.7726 | -0.054391 | -135.9694 | 103.7606
Line_2_3-2ph | 0.00046738 | 0.00046738 | 0.00046738 | 0 | 0 | 0 | 0.0053969 | 0.0053969 | 0.0053969 | 0 | 0 | 0 | -0.0020792 | -0.0012226 | 0.0033047 | -7.6191e-10 | 2.0187e-09 | 1.4714e-09 | -0.0049891 | 0.0031181 | -0.00051242 | 3.0448e-10 | -1.0678e-09 | -1.7659e-09 | 112.5866 | 112.5865 | 112.5865 | 0 | 0 | 0 |  | 1.0015 | 0.62059 | 0.61966 | 1.0017 | 0.62065 | 0.61931 | -0.036973 | -136.003 | 103.7726 | -0.054391 | -135.9694 | 103.7606
Line_3_3-2ph | 0.00046738 | 0.00046738 | 0.00046738 | 0 | 0 | 0 | 0.0053969 | 0.0053969 | 0.0053969 | 0 | 0 | 0 | -0.0020792 | -0.0012226 | 0.0033047 | -7.6191e-10 | 2.0187e-09 | 1.4714e-09 | -0.0049891 | 0.0031181 | -0.00051242 | 3.0448e-10 | -1.0678e-09 | -1.7659e-09 | 112.5866 | 112.5865 | 112.5865 | 0 | 0 | 0 |  | 1.0015 | 0.62059 | 0.61966 | 1.0017 | 0.62065 | 0.61931 | -0.036973 | -136.003 | 103.7726 | -0.054391 | -135.9694 | 103.7606

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.0021303 | 0.0021303 | 0.0021303 | 0.0014021 | 0.0014021 | 0.0014021 | 0.024598 | 0.024598 | 0.024598 | 0.016191 | 0.016191 | 0.016191 | -0.009488 | -0.005522 | 0.015085 | 0.0062375 | 0.0036679 | -0.0099142 | -0.022718 | 0.014227 | -0.0023553 | 0.014967 | -0.0093544 | 0.0015373 | 112.6829 | 112.6828 | 112.6828 | -67.4134 | -67.4135 | -67.4135 |  | 1.0009 | 0.62041 | 0.6207 | 1.0015 | 0.62059 | 0.61966 | 0.015414 | -136.1039 | 103.8085 | -0.036973 | -136.003 | 103.7726
Line_1_3-2ph | 0.00046738 | 0.00046738 | 0.00046738 | 0 | 0 | 0 | 0.0053969 | 0.0053969 | 0.0053969 | 0 | 0 | 0 | -0.0020792 | -0.0012226 | 0.0033047 | -7.6191e-10 | 2.0187e-09 | 1.4714e-09 | -0.0049891 | 0.0031181 | -0.00051242 | 3.0448e-10 | -1.0678e-09 | -1.7659e-09 | 112.5866 | 112.5865 | 112.5865 | 0 | 0 | 0 |  | 1.0015 | 0.62059 | 0.61966 | 1.0017 | 0.62065 | 0.61931 | -0.036973 | -136.003 | 103.7726 | -0.054391 | -135.9694 | 103.7606
Line_2_3-2ph | 0.00046738 | 0.00046738 | 0.00046738 | 0 | 0 | 0 | 0.0053969 | 0.0053969 | 0.0053969 | 0 | 0 | 0 | -0.0020792 | -0.0012226 | 0.0033047 | -7.6191e-10 | 2.0187e-09 | 1.4714e-09 | -0.0049891 | 0.0031181 | -0.00051242 | 3.0448e-10 | -1.0678e-09 | -1.7659e-09 | 112.5866 | 112.5865 | 112.5865 | 0 | 0 | 0 |  | 1.0015 | 0.62059 | 0.61966 | 1.0017 | 0.62065 | 0.61931 | -0.036973 | -136.003 | 103.7726 | -0.054391 | -135.9694 | 103.7606
Line_3_3-2ph | 0.00046738 | 0.00046738 | 0.00046738 | 0 | 0 | 0 | 0.0053969 | 0.0053969 | 0.0053969 | 0 | 0 | 0 | -0.0020792 | -0.0012226 | 0.0033047 | -7.6191e-10 | 2.0187e-09 | 1.4714e-09 | -0.0049891 | 0.0031181 | -0.00051242 | 3.0448e-10 | -1.0678e-09 | -1.7659e-09 | 112.5866 | 112.5865 | 112.5865 | 0 | 0 | 0 |  | 1.0015 | 0.62059 | 0.61966 | 1.0017 | 0.62065 | 0.61931 | -0.036973 | -136.003 | 103.7726 | -0.054391 | -135.9694 | 103.7606