## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4264 | 3.4264 | 0 | 0 | 118.6925 | 118.6925 | 37.6639 | -19.3497 | 42.5019 | -21.7223 | -71.4859 | 108.5141 | 0.47845 | 0.24509 | -23.0323 | -23.1798
Line_1 | 3.5986 | 3.5986 | 6.9734 | 0 | 124.6581 | 124.6581 | -1e-07 | 20.2015 | -1e-07 | 22.921 | 108.2117 | -71.7883 | 0 | 0.24509 | 0 | -23.1798
Line_2 | 0.17321 | 0.17321 | 0 | 0 | 6 | 6 | 0.89866 | -0.85186 | 1.2518 | -1.1987 | -77.7798 | 102.2202 | 0.25683 | 0.24509 | -23.4545 | -23.1798

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4264 | 3.4264 | 0 | 0 | 118.6925 | 118.6925 | 37.6639 | -19.3497 | 42.5019 | -21.7223 | -71.4859 | 108.5141 | 0.47845 | 0.24509 | -23.0323 | -23.1798
Line_1 | 3.5986 | 3.5986 | 6.9734 | 0 | 124.6581 | 124.6581 | -1e-07 | 20.2015 | -1e-07 | 22.921 | 108.2117 | -71.7883 | 0 | 0.24509 | 0 | -23.1798
Line_2 | 0.17321 | 0.17321 | 0 | 0 | 6 | 6 | 0.89866 | -0.85186 | 1.2518 | -1.1987 | -77.7798 | 102.2202 | 0.25683 | 0.24509 | -23.4545 | -23.1798

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0054 | 1.0054 | 0 | 0 | 34.8298 | 34.8298 | 25.7529 | -24.1758 | 21.0654 | -19.276 | -47.1014 | 132.8986 | 0.95525 | 0.88774 | -7.8189 | -8.5351
Line_1 | 1.1578 | 1.1578 | 2.2969 | 0 | 40.107 | 40.107 | -23.9723 | 26.0634 | -21.8842 | 24.2568 | 128.521 | -51.479 | 0.80931 | 0.88774 | -9.0862 | -8.5351
Line_2 | 0.1732 | 0.1732 | 0 | 0 | 6 | 6 | 1.9344 | -1.8876 | 5.0339 | -4.9808 | -77.7798 | 102.2202 | 0.89879 | 0.88774 | -8.8001 | -8.5351

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0054 | 1.0054 | 0 | 0 | 34.8298 | 34.8298 | 25.7529 | -24.1758 | 21.0654 | -19.276 | -47.1014 | 132.8986 | 0.95525 | 0.88774 | -7.8189 | -8.5351
Line_1 | 1.1578 | 1.1578 | 2.2969 | 0 | 40.107 | 40.107 | -23.9723 | 26.0634 | -21.8842 | 24.2568 | 128.521 | -51.479 | 0.80931 | 0.88774 | -9.0862 | -8.5351
Line_2 | 0.1732 | 0.1732 | 0 | 0 | 6 | 6 | 1.9344 | -1.8876 | 5.0339 | -4.9808 | -77.7798 | 102.2202 | 0.89879 | 0.88774 | -8.8001 | -8.5351

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | -59.5744 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 120.4256 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | -59.5744 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 120.4256 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0349 | 1.0349 | 0 | 0 | 35.8516 | 35.8516 | 22.4832 | -19.2749 | 19.8585 | -17.9626 | -50.3977 | 129.6023 | 0.83671 | 0.7349 | -8.9447 | -7.416
Line_1 | 1.0349 | 1.0349 | 1.7392 | 0 | 35.8516 | 35.8516 | -16.0667 | 19.2749 | -16.0667 | 17.9626 | 129.6023 | -50.3977 | 0.63377 | 0.7349 | -5.3977 | -7.416
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7349 | 0.7349 | -7.416 | -7.416

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0349 | 1.0349 | 0 | 0 | 35.8516 | 35.8516 | 22.4832 | -19.2749 | 19.8585 | -17.9626 | -50.3977 | 129.6023 | 0.83671 | 0.7349 | -8.9447 | -7.416
Line_1 | 1.0349 | 1.0349 | 1.7392 | 0 | 35.8516 | 35.8516 | -16.0667 | 19.2749 | -16.0667 | 17.9626 | 129.6023 | -50.3977 | 0.63377 | 0.7349 | -5.3977 | -7.416
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7349 | 0.7349 | -7.416 | -7.416

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34594 | 2.9823 | 2.9624 | 0.34594 | 2.9823 | 2.9624 | 3.9945 | 34.4363 | 34.2068 | 3.9945 | 34.4363 | 34.2068 | -1.1661 | 28.8237 | -10.5748 | 1.2283 | -24.1989 | 15.1382 | -4.5162 | 2.8768 | 16.1161 | 4.5868 | 2.3706 | -10.9384 | 105.2158 | -158.1665 | 15.1723 | -74.7842 | 21.8335 | -164.8277 | 1.1677 | 0.84117 | 0.56351 | 1.1887 | 0.70608 | 0.54599 | 0.73784 | -152.4669 | 138.4437 | 0.2238 | -163.7616 | 159.3217
Line_1 | 0.1732 | 3.1177 | 3.1177 | 0.1732 | 3.1177 | 3.1177 | 2 | 35.9996 | 35.9996 | 2 | 35.9996 | 35.9996 | 0.7498 | -20.3151 | 20.69 | -0.7342 | 25.3693 | -15.6357 | 2.279 | 7.3153 | -6.1758 | -2.2613 | -1.5806 | 11.9105 | -71.7884 | 19.8035 | -163.38 | 108.2116 | -160.1965 | 16.62 | 1.1996 | 0.59979 | 0.59979 | 1.1887 | 0.70608 | 0.54599 | -7.9887e-06 | 180 | 180 | 0.2238 | -163.7616 | 159.3217
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.50975 | 1.1861 | -0.48187 | -0.49415 | -1.1705 | 0.49747 | 2.3432 | 0.80774 | 0.98978 | -2.3255 | -0.79004 | -0.97208 | -77.7799 | 162.2203 | 42.2201 | 102.2201 | -17.7797 | -137.7799 | 1.199 | 0.7175 | 0.55042 | 1.1887 | 0.70608 | 0.54599 | -0.052887 | -163.5243 | 158.1791 | 0.2238 | -163.7616 | 159.3217

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34594 | 2.9823 | 2.9624 | 0.34594 | 2.9823 | 2.9624 | 3.9945 | 34.4363 | 34.2068 | 3.9945 | 34.4363 | 34.2068 | -1.1661 | 28.8237 | -10.5748 | 1.2283 | -24.1989 | 15.1382 | -4.5162 | 2.8768 | 16.1161 | 4.5868 | 2.3706 | -10.9384 | 105.2158 | -158.1665 | 15.1723 | -74.7842 | 21.8335 | -164.8277 | 1.1677 | 0.84117 | 0.56351 | 1.1887 | 0.70608 | 0.54599 | 0.73784 | -152.4669 | 138.4437 | 0.2238 | -163.7616 | 159.3217
Line_1 | 0.1732 | 3.1177 | 3.1177 | 0.1732 | 3.1177 | 3.1177 | 2 | 35.9996 | 35.9996 | 2 | 35.9996 | 35.9996 | 0.7498 | -20.3151 | 20.69 | -0.7342 | 25.3693 | -15.6357 | 2.279 | 7.3153 | -6.1758 | -2.2613 | -1.5806 | 11.9105 | -71.7884 | 19.8035 | -163.38 | 108.2116 | -160.1965 | 16.62 | 1.1996 | 0.59979 | 0.59979 | 1.1887 | 0.70608 | 0.54599 | -7.9887e-06 | 180 | 180 | 0.2238 | -163.7616 | 159.3217
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.50975 | 1.1861 | -0.48187 | -0.49415 | -1.1705 | 0.49747 | 2.3432 | 0.80774 | 0.98978 | -2.3255 | -0.79004 | -0.97208 | -77.7799 | 162.2203 | 42.2201 | 102.2201 | -17.7797 | -137.7799 | 1.199 | 0.7175 | 0.55042 | 1.1887 | 0.70608 | 0.54599 | -0.052887 | -163.5243 | 158.1791 | 0.2238 | -163.7616 | 159.3217

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34594 | 1.492 | 1.3774 | 0.34594 | 1.492 | 1.3774 | 3.9945 | 17.2282 | 15.9048 | 3.9945 | 17.2282 | 15.9048 | -1.1661 | 17.6754 | -0.84689 | 1.2284 | -16.5178 | 1.8335 | -4.5162 | 1.0407 | 13.1039 | 4.5868 | 0.27267 | -11.9845 | 105.2159 | -139.0308 | 27.8954 | -74.7841 | 40.9692 | -152.1046 | 1.1677 | 1.0277 | 0.82561 | 1.1887 | 0.9589 | 0.76228 | 0.73784 | -135.6612 | 121.5932 | 0.2238 | -139.9766 | 126.5934
Line_1 | 0.1732 | 1.5888 | 1.5458 | 0.1732 | 1.5888 | 1.5458 | 2 | 18.3456 | 17.8495 | 2 | 18.3456 | 17.8495 | 0.7498 | -16.2271 | 2.9265 | -0.7342 | 17.5397 | -1.684 | 2.279 | 0.13907 | -12.0919 | -2.2613 | 1.3502 | 13.5017 | -71.7883 | 35.6215 | -150.516 | 108.2117 | -144.3785 | 29.484 | 1.1996 | 0.88455 | 0.69699 | 1.1887 | 0.9589 | 0.76228 | -5.6252e-06 | -144.8696 | 133.0893 | 0.2238 | -139.9766 | 126.5934
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.50975 | 1.0375 | 0.16508 | -0.49415 | -1.0219 | -0.14948 | 2.3432 | 1.6406 | 1.5349 | -2.3255 | -1.6229 | -1.5172 | -77.7799 | 162.2202 | 42.2201 | 102.2201 | -17.7798 | -137.7799 | 1.199 | 0.97054 | 0.77188 | 1.1887 | 0.9589 | 0.76228 | -0.052885 | -140.0878 | 126.0816 | 0.2238 | -139.9766 | 126.5934

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34594 | 1.492 | 1.3774 | 0.34594 | 1.492 | 1.3774 | 3.9945 | 17.2282 | 15.9048 | 3.9945 | 17.2282 | 15.9048 | -1.1661 | 17.6754 | -0.84689 | 1.2284 | -16.5178 | 1.8335 | -4.5162 | 1.0407 | 13.1039 | 4.5868 | 0.27267 | -11.9845 | 105.2159 | -139.0308 | 27.8954 | -74.7841 | 40.9692 | -152.1046 | 1.1677 | 1.0277 | 0.82561 | 1.1887 | 0.9589 | 0.76228 | 0.73784 | -135.6612 | 121.5932 | 0.2238 | -139.9766 | 126.5934
Line_1 | 0.1732 | 1.5888 | 1.5458 | 0.1732 | 1.5888 | 1.5458 | 2 | 18.3456 | 17.8495 | 2 | 18.3456 | 17.8495 | 0.7498 | -16.2271 | 2.9265 | -0.7342 | 17.5397 | -1.684 | 2.279 | 0.13907 | -12.0919 | -2.2613 | 1.3502 | 13.5017 | -71.7883 | 35.6215 | -150.516 | 108.2117 | -144.3785 | 29.484 | 1.1996 | 0.88455 | 0.69699 | 1.1887 | 0.9589 | 0.76228 | -5.6252e-06 | -144.8696 | 133.0893 | 0.2238 | -139.9766 | 126.5934
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.50975 | 1.0375 | 0.16508 | -0.49415 | -1.0219 | -0.14948 | 2.3432 | 1.6406 | 1.5349 | -2.3255 | -1.6229 | -1.5172 | -77.7799 | 162.2202 | 42.2201 | 102.2201 | -17.7798 | -137.7799 | 1.199 | 0.97054 | 0.77188 | 1.1887 | 0.9589 | 0.76228 | -0.052885 | -140.0878 | 126.0816 | 0.2238 | -139.9766 | 126.5934

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -1.8948e-14 | 23.4155 | -0.45749 | 1.8948e-14 | -17.676 | 6.197 | 2.3685e-15 | -0.22679 | 13.7937 | -2.3685e-15 | 3.6185 | -10.402 | 0 | -149.5744 | 30.4256 | 0 | 30.4256 | -149.5744 | 1 | 0.8458 | 0.4985 | 1 | 0.65169 | 0.43734 | 7.1552e-13 | -150.1294 | 122.3252 | 7.5004e-13 | -161.1438 | 151.2099
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -9.2932e-29 | -11.9365 | 11.9365 | 2.3685e-15 | 17.676 | -6.197 | 7.1054e-15 | 7.0103 | -7.0103 | -2.3685e-15 | -3.6185 | 10.402 | 0 | 30.4256 | -149.5744 | 0 | -149.5744 | 30.4256 | 1 | 0.5 | 0.5 | 1 | 0.65169 | 0.43734 | 7.4937e-13 | -180 | 180 | 7.5004e-13 | -161.1438 | 151.2099
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5527e-15 | 2.4222e-10 | 6.7019e-10 | 1.1842e-15 | -2.4221e-10 | -6.7019e-10 | 7.1054e-15 | -1.5722e-09 | 8.3093e-10 | -7.1054e-15 | 1.5722e-09 | -8.3093e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.65169 | 0.43734 | 1 | 0.65169 | 0.43734 | 7.3536e-13 | -161.1438 | 151.2099 | 7.5004e-13 | -161.1438 | 151.2099

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -1.8948e-14 | 23.4155 | -0.45749 | 1.8948e-14 | -17.676 | 6.197 | 2.3685e-15 | -0.22679 | 13.7937 | -2.3685e-15 | 3.6185 | -10.402 | 0 | -149.5744 | 30.4256 | 0 | 30.4256 | -149.5744 | 1 | 0.8458 | 0.4985 | 1 | 0.65169 | 0.43734 | 7.1552e-13 | -150.1294 | 122.3252 | 7.5004e-13 | -161.1438 | 151.2099
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -9.2932e-29 | -11.9365 | 11.9365 | 2.3685e-15 | 17.676 | -6.197 | 7.1054e-15 | 7.0103 | -7.0103 | -2.3685e-15 | -3.6185 | 10.402 | 0 | 30.4256 | -149.5744 | 0 | -149.5744 | 30.4256 | 1 | 0.5 | 0.5 | 1 | 0.65169 | 0.43734 | 7.4937e-13 | -180 | 180 | 7.5004e-13 | -161.1438 | 151.2099
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5527e-15 | 2.4222e-10 | 6.7019e-10 | 1.1842e-15 | -2.4221e-10 | -6.7019e-10 | 7.1054e-15 | -1.5722e-09 | 8.3093e-10 | -7.1054e-15 | 1.5722e-09 | -8.3093e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.65169 | 0.43734 | 1 | 0.65169 | 0.43734 | 7.3536e-13 | -161.1438 | 151.2099 | 7.5004e-13 | -161.1438 | 151.2099

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -1.4211e-14 | 13.7181 | 1.6719 | 1.3619e-14 | -12.0096 | 0.036546 | -4.737e-15 | 1.7406 | 10.8539 | 2.3685e-15 | -0.73098 | -9.8443 | 0 | -142.8911 | 37.1089 | 0 | 37.1089 | -142.8911 | 1 | 0.91546 | 0.72704 | 1 | 0.79654 | 0.65173 | 4.0225e-13 | -135.6599 | 118.3519 | 4.2311e-13 | -139.408 | 127.3216
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | 1.7764e-15 | -10.3011 | 1.745 | -2.9606e-15 | 12.0096 | -0.036546 | 2.3685e-15 | 0.27863 | -8.8347 | -2.3685e-15 | 0.73098 | 9.8443 | 0 | 37.1089 | -142.8911 | 0 | -142.8911 | 37.1089 | 1 | 0.68221 | 0.59619 | 1 | 0.79654 | 0.65173 | 4.2167e-13 | -144.4405 | 138.2821 | 4.2311e-13 | -139.408 | 127.3216
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.9212e-16 | 4.2827e-10 | 8.1276e-10 | -1.7764e-15 | -4.2826e-10 | -8.1277e-10 | 4.2908e-30 | -9.7051e-10 | 3.0453e-10 | -1.3118e-29 | 9.7051e-10 | -3.0453e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.79654 | 0.65173 | 1 | 0.79654 | 0.65173 | 4.1519e-13 | -139.408 | 127.3216 | 4.2311e-13 | -139.408 | 127.3216

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -1.4211e-14 | 13.7181 | 1.6719 | 1.3619e-14 | -12.0096 | 0.036546 | -4.737e-15 | 1.7406 | 10.8539 | 2.3685e-15 | -0.73098 | -9.8443 | 0 | -142.8911 | 37.1089 | 0 | 37.1089 | -142.8911 | 1 | 0.91546 | 0.72704 | 1 | 0.79654 | 0.65173 | 4.0225e-13 | -135.6599 | 118.3519 | 4.2311e-13 | -139.408 | 127.3216
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | 1.7764e-15 | -10.3011 | 1.745 | -2.9606e-15 | 12.0096 | -0.036546 | 2.3685e-15 | 0.27863 | -8.8347 | -2.3685e-15 | 0.73098 | 9.8443 | 0 | 37.1089 | -142.8911 | 0 | -142.8911 | 37.1089 | 1 | 0.68221 | 0.59619 | 1 | 0.79654 | 0.65173 | 4.2167e-13 | -144.4405 | 138.2821 | 4.2311e-13 | -139.408 | 127.3216
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.9212e-16 | 4.2827e-10 | 8.1276e-10 | -1.7764e-15 | -4.2826e-10 | -8.1277e-10 | 4.2908e-30 | -9.7051e-10 | 3.0453e-10 | -1.3118e-29 | 9.7051e-10 | -3.0453e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.79654 | 0.65173 | 1 | 0.79654 | 0.65173 | 4.1519e-13 | -139.408 | 127.3216 | 4.2311e-13 | -139.408 | 127.3216

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.33656 | 0.35136 | 0.35596 | 0.33158 | 0.34935 | 0.35277 | 3.8863 | 4.0572 | 4.1103 | 3.8288 | 4.034 | 4.0734 | 0.61209 | -4.4432 | 1.7246 | -0.30728 | 4.7402 | -1.6181 | 0.35524 | -6.3371 | -6.9975 | -0.19172 | 6.1113 | 7.2422 | -86.8138 | -17.12 | -132.9158 | 93.1294 | 163.6268 | 46.4647 | 0.1821 | 1.9076 | 1.7534 | 0.094594 | 1.9173 | 1.8218 | -56.6845 | -142.156 | 150.9292 | -54.9099 | -144.1722 | 149.0589
Line_1 | 0.49314 | 0.1732 | 0.1732 | 0.49829 | 0.17459 | 0.1769 | 5.6942 | 2 | 2 | 5.7537 | 2.016 | 2.0427 | 9.9168e-13 | 2.6768 | -0.6193 | 0.47681 | -2.5229 | 0.62508 | -8.1027e-13 | 2.7473 | 3.7136 | 0.26246 | -2.9283 | -3.6684 | 96.2938 | 168.2117 | 48.2117 | -83.7402 | -13.4252 | -130.6111 | 0 | 1.9179 | 1.8825 | 0.094594 | 1.9173 | 1.8218 | 0 | -146.0439 | 147.6794 | -54.9099 | -144.1722 | 149.0589
Line_2 | 0.17321 | 0.1732 | 0.1732 | 0.16818 | 0.17522 | 0.17633 | 2 | 2 | 2 | 1.9419 | 2.0233 | 2.0361 | 0.18822 | 2.2919 | -1.0394 | -0.16953 | -2.2173 | 0.99299 | 0.090794 | 3.1031 | 3.5067 | -0.070739 | -3.183 | -3.5738 | -77.7798 | 162.2201 | 42.2202 | 102.4408 | -19.3106 | -136.4692 | 0.10449 | 1.9289 | 1.8287 | 0.094594 | 1.9173 | 1.8218 | -52.0285 | -144.2283 | 148.73 | -54.9099 | -144.1722 | 149.0589

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.33656 | 0.35136 | 0.35596 | 0.33158 | 0.34935 | 0.35277 | 3.8863 | 4.0572 | 4.1103 | 3.8288 | 4.034 | 4.0734 | 0.61209 | -4.4432 | 1.7246 | -0.30728 | 4.7402 | -1.6181 | 0.35524 | -6.3371 | -6.9975 | -0.19172 | 6.1113 | 7.2422 | -86.8138 | -17.12 | -132.9158 | 93.1294 | 163.6268 | 46.4647 | 0.1821 | 1.9076 | 1.7534 | 0.094594 | 1.9173 | 1.8218 | -56.6845 | -142.156 | 150.9292 | -54.9099 | -144.1722 | 149.0589
Line_1 | 0.49314 | 0.1732 | 0.1732 | 0.49829 | 0.17459 | 0.1769 | 5.6942 | 2 | 2 | 5.7537 | 2.016 | 2.0427 | 9.9168e-13 | 2.6768 | -0.6193 | 0.47681 | -2.5229 | 0.62508 | -8.1027e-13 | 2.7473 | 3.7136 | 0.26246 | -2.9283 | -3.6684 | 96.2938 | 168.2117 | 48.2117 | -83.7402 | -13.4252 | -130.6111 | 0 | 1.9179 | 1.8825 | 0.094594 | 1.9173 | 1.8218 | 0 | -146.0439 | 147.6794 | -54.9099 | -144.1722 | 149.0589
Line_2 | 0.17321 | 0.1732 | 0.1732 | 0.16818 | 0.17522 | 0.17633 | 2 | 2 | 2 | 1.9419 | 2.0233 | 2.0361 | 0.18822 | 2.2919 | -1.0394 | -0.16953 | -2.2173 | 0.99299 | 0.090794 | 3.1031 | 3.5067 | -0.070739 | -3.183 | -3.5738 | -77.7798 | 162.2201 | 42.2202 | 102.4408 | -19.3106 | -136.4692 | 0.10449 | 1.9289 | 1.8287 | 0.094594 | 1.9173 | 1.8218 | -52.0285 | -144.2283 | 148.73 | -54.9099 | -144.1722 | 149.0589

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.18125 | 0.35172 | 0.35224 | 0.17742 | 0.34967 | 0.35026 | 2.0929 | 4.0613 | 4.0673 | 2.0487 | 4.0376 | 4.0444 | 0.76866 | -3.5089 | 1.2985 | -0.63287 | 3.7695 | -1.2371 | 0.50953 | -6.313 | -6.0041 | -0.46001 | 6.1793 | 6.2347 | -66.4573 | -16.4718 | -133.1488 | 113.7117 | 164.0639 | 46.3098 | 0.44064 | 1.7784 | 1.5103 | 0.3819 | 1.7927 | 1.5716 | -32.9176 | -135.5385 | 149.0542 | -30.2763 | -137.3204 | 147.5327
Line_1 | 0.34097 | 0.1732 | 0.1732 | 0.34495 | 0.17484 | 0.17561 | 3.9372 | 2 | 2 | 3.9831 | 2.0189 | 2.0277 | -0.87633 | 2.17 | -0.46853 | 1.1368 | -2.0412 | 0.45846 | -0.87688 | 2.8658 | 3.2154 | 1.0107 | -2.9888 | -3.1536 | 108.1584 | 168.2117 | 48.2117 | -71.9151 | -12.9888 | -130.7387 | 0.31487 | 1.7973 | 1.6247 | 0.3819 | 1.7927 | 1.5716 | -26.8236 | -138.9206 | 146.5022 | -30.2763 | -137.3204 | 147.5327
Line_2 | 0.17321 | 0.17321 | 0.1732 | 0.16928 | 0.17529 | 0.17512 | 2 | 2 | 2 | 1.9546 | 2.0241 | 2.0221 | 0.53033 | 1.7844 | -0.81431 | -0.50395 | -1.7283 | 0.77864 | 0.58033 | 3.1362 | 3.0507 | -0.55068 | -3.1905 | -3.081 | -77.7798 | 162.2201 | 42.2202 | 102.1863 | -18.8759 | -136.65 | 0.39308 | 1.8042 | 1.5787 | 0.3819 | 1.7927 | 1.5716 | -30.2024 | -137.4186 | 147.1656 | -30.2763 | -137.3204 | 147.5327

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.18125 | 0.35172 | 0.35224 | 0.17742 | 0.34967 | 0.35026 | 2.0929 | 4.0613 | 4.0673 | 2.0487 | 4.0376 | 4.0444 | 0.76866 | -3.5089 | 1.2985 | -0.63287 | 3.7695 | -1.2371 | 0.50953 | -6.313 | -6.0041 | -0.46001 | 6.1793 | 6.2347 | -66.4573 | -16.4718 | -133.1488 | 113.7117 | 164.0639 | 46.3098 | 0.44064 | 1.7784 | 1.5103 | 0.3819 | 1.7927 | 1.5716 | -32.9176 | -135.5385 | 149.0542 | -30.2763 | -137.3204 | 147.5327
Line_1 | 0.34097 | 0.1732 | 0.1732 | 0.34495 | 0.17484 | 0.17561 | 3.9372 | 2 | 2 | 3.9831 | 2.0189 | 2.0277 | -0.87633 | 2.17 | -0.46853 | 1.1368 | -2.0412 | 0.45846 | -0.87688 | 2.8658 | 3.2154 | 1.0107 | -2.9888 | -3.1536 | 108.1584 | 168.2117 | 48.2117 | -71.9151 | -12.9888 | -130.7387 | 0.31487 | 1.7973 | 1.6247 | 0.3819 | 1.7927 | 1.5716 | -26.8236 | -138.9206 | 146.5022 | -30.2763 | -137.3204 | 147.5327
Line_2 | 0.17321 | 0.17321 | 0.1732 | 0.16928 | 0.17529 | 0.17512 | 2 | 2 | 2 | 1.9546 | 2.0241 | 2.0221 | 0.53033 | 1.7844 | -0.81431 | -0.50395 | -1.7283 | 0.77864 | 0.58033 | 3.1362 | 3.0507 | -0.55068 | -3.1905 | -3.081 | -77.7798 | 162.2201 | 42.2202 | 102.1863 | -18.8759 | -136.65 | 0.39308 | 1.8042 | 1.5787 | 0.3819 | 1.7927 | 1.5716 | -30.2024 | -137.4186 | 147.1656 | -30.2763 | -137.3204 | 147.5327

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.54583 | 0.012324 | 0.012324 | 0.54183 | 0.0083183 | 0.0083183 | 6.3027 | 0.14231 | 0.14231 | 6.2565 | 0.096051 | 0.096051 | 1.8132 | 0.12595 | -0.11757 | -0.88399 | -0.08005 | 0.085067 | 0.52129 | -0.19656 | -0.15843 | -0.25729 | 0.13285 | 0.11251 | -72.7837 | -81.1016 | -81.1016 | 107.2492 | 97.025 | 97.025 | 0.29934 | 1.6404 | 1.3864 | 0.14716 | 1.6148 | 1.4685 | -56.7438 | -138.4517 | 152.3191 | -56.5228 | -141.9045 | 149.9322
Line_1 | 0.53364 | 0 | 0 | 0.53776 | 0.0042128 | 0.0042128 | 6.162 | 0 | 0 | 6.2095 | 0.048646 | 0.048646 | -5.134e-12 | -4.0526e-09 | -3.7769e-09 | 0.87764 | 0.042569 | -0.04133 | -1.8783e-12 | -2.4995e-09 | 2.6587e-09 | 0.25438 | -0.066021 | -0.058264 | 107.4077 | 0 | 0 | -72.6865 | -84.7174 | -84.7174 | 0 | 1.5965 | 1.5487 | 0.14716 | 1.6148 | 1.4685 | 0 | -145.2755 | 147.9168 | -56.5228 | -141.9045 | 149.9322
Line_2 | 0 | 0 | 0 | 0.0041094 | 0.0041094 | 0.0041094 | 0 | 0 | 0 | 0.047451 | 0.047451 | 0.047451 | 2.1792e-10 | -4.0664e-09 | -3.2466e-09 | 0.0063455 | 0.037481 | -0.043737 | -4.4563e-10 | -2.2126e-09 | 2.6859e-09 | 0.002914 | -0.066833 | -0.054244 | 0 | 0 | 0 | -81.1887 | -81.1887 | -81.1887 | 0.1459 | 1.6145 | 1.4695 | 0.14716 | 1.6148 | 1.4685 | -56.4089 | -141.9481 | 149.9002 | -56.5228 | -141.9045 | 149.9322

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.54583 | 0.012324 | 0.012324 | 0.54183 | 0.0083183 | 0.0083183 | 6.3027 | 0.14231 | 0.14231 | 6.2565 | 0.096051 | 0.096051 | 1.8132 | 0.12595 | -0.11757 | -0.88399 | -0.08005 | 0.085067 | 0.52129 | -0.19656 | -0.15843 | -0.25729 | 0.13285 | 0.11251 | -72.7837 | -81.1016 | -81.1016 | 107.2492 | 97.025 | 97.025 | 0.29934 | 1.6404 | 1.3864 | 0.14716 | 1.6148 | 1.4685 | -56.7438 | -138.4517 | 152.3191 | -56.5228 | -141.9045 | 149.9322
Line_1 | 0.53364 | 0 | 0 | 0.53776 | 0.0042128 | 0.0042128 | 6.162 | 0 | 0 | 6.2095 | 0.048646 | 0.048646 | -5.134e-12 | -4.0526e-09 | -3.7769e-09 | 0.87764 | 0.042569 | -0.04133 | -1.8783e-12 | -2.4995e-09 | 2.6587e-09 | 0.25438 | -0.066021 | -0.058264 | 107.4077 | 0 | 0 | -72.6865 | -84.7174 | -84.7174 | 0 | 1.5965 | 1.5487 | 0.14716 | 1.6148 | 1.4685 | 0 | -145.2755 | 147.9168 | -56.5228 | -141.9045 | 149.9322
Line_2 | 0 | 0 | 0 | 0.0041094 | 0.0041094 | 0.0041094 | 0 | 0 | 0 | 0.047451 | 0.047451 | 0.047451 | 2.1792e-10 | -4.0664e-09 | -3.2466e-09 | 0.0063455 | 0.037481 | -0.043737 | -4.4563e-10 | -2.2126e-09 | 2.6859e-09 | 0.002914 | -0.066833 | -0.054244 | 0 | 0 | 0 | -81.1887 | -81.1887 | -81.1887 | 0.1459 | 1.6145 | 1.4695 | 0.14716 | 1.6148 | 1.4685 | -56.4089 | -141.9481 | 149.9002 | -56.5228 | -141.9045 | 149.9322

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.42037 | 0.0094914 | 0.0094914 | 0.41728 | 0.0064062 | 0.0064062 | 4.854 | 0.1096 | 0.1096 | 4.8183 | 0.073973 | 0.073973 | 1.9363 | 0.085702 | -0.097139 | -1.3794 | -0.055459 | 0.06901 | 1.1759 | -0.14187 | -0.090849 | -1.0124 | 0.095617 | 0.065231 | -66.0896 | -74.4075 | -74.4075 | 113.9433 | 103.7191 | 103.7191 | 0.46671 | 1.5124 | 1.2136 | 0.35511 | 1.4943 | 1.2837 | -34.8208 | -133.2725 | 148.6761 | -29.7791 | -136.1668 | 147.1064
Line_1 | 0.41098 | 0 | 0 | 0.41415 | 0.0032445 | 0.0032445 | 4.7455 | 0 | 0 | 4.7822 | 0.037464 | 0.037464 | -0.84451 | -2.9075e-09 | -2.2335e-09 | 1.3702 | 0.029547 | -0.03393 | -0.84451 | -1.7657e-09 | 2.1549e-09 | 1.0033 | -0.047549 | -0.034084 | 114.1018 | 0 | 0 | -65.9925 | -78.0233 | -78.0233 | 0.25167 | 1.4811 | 1.3513 | 0.35511 | 1.4943 | 1.2837 | -20.8982 | -138.975 | 145.7805 | -29.7791 | -136.1668 | 147.1064
Line_2 | 0 | 0 | 0 | 0.0031648 | 0.0031648 | 0.0031648 | 0 | 0 | 0 | 0.036544 | 0.036544 | 0.036544 | 6.6825e-10 | -2.9237e-09 | -1.8569e-09 | 0.0092217 | 0.025912 | -0.03508 | -6.4345e-10 | -1.5286e-09 | 2.1445e-09 | 0.0091306 | -0.048067 | -0.031147 | 0 | 0 | 0 | -74.4946 | -74.4946 | -74.4946 | 0.35428 | 1.494 | 1.2846 | 0.35511 | 1.4943 | 1.2837 | -29.6915 | -136.2033 | 147.0843 | -29.7791 | -136.1668 | 147.1064

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.42037 | 0.0094914 | 0.0094914 | 0.41728 | 0.0064062 | 0.0064062 | 4.854 | 0.1096 | 0.1096 | 4.8183 | 0.073973 | 0.073973 | 1.9363 | 0.085702 | -0.097139 | -1.3794 | -0.055459 | 0.06901 | 1.1759 | -0.14187 | -0.090849 | -1.0124 | 0.095617 | 0.065231 | -66.0896 | -74.4075 | -74.4075 | 113.9433 | 103.7191 | 103.7191 | 0.46671 | 1.5124 | 1.2136 | 0.35511 | 1.4943 | 1.2837 | -34.8208 | -133.2725 | 148.6761 | -29.7791 | -136.1668 | 147.1064
Line_1 | 0.41098 | 0 | 0 | 0.41415 | 0.0032445 | 0.0032445 | 4.7455 | 0 | 0 | 4.7822 | 0.037464 | 0.037464 | -0.84451 | -2.9075e-09 | -2.2335e-09 | 1.3702 | 0.029547 | -0.03393 | -0.84451 | -1.7657e-09 | 2.1549e-09 | 1.0033 | -0.047549 | -0.034084 | 114.1018 | 0 | 0 | -65.9925 | -78.0233 | -78.0233 | 0.25167 | 1.4811 | 1.3513 | 0.35511 | 1.4943 | 1.2837 | -20.8982 | -138.975 | 145.7805 | -29.7791 | -136.1668 | 147.1064
Line_2 | 0 | 0 | 0 | 0.0031648 | 0.0031648 | 0.0031648 | 0 | 0 | 0 | 0.036544 | 0.036544 | 0.036544 | 6.6825e-10 | -2.9237e-09 | -1.8569e-09 | 0.0092217 | 0.025912 | -0.03508 | -6.4345e-10 | -1.5286e-09 | 2.1445e-09 | 0.0091306 | -0.048067 | -0.031147 | 0 | 0 | 0 | -74.4946 | -74.4946 | -74.4946 | 0.35428 | 1.494 | 1.2846 | 0.35511 | 1.4943 | 1.2837 | -29.6915 | -136.2033 | 147.0843 | -29.7791 | -136.1668 | 147.1064

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35411 | 2.9437 | 2.9909 | 0.35141 | 2.9443 | 2.9903 | 4.0889 | 33.9915 | 34.5365 | 4.0578 | 33.9981 | 34.5296 | -1.4164 | 9.6296 | 9.2232 | 1.6246 | -5.0109 | -4.6713 | -6.7364 | 7.9094 | 13.3877 | 6.779 | -4.0269 | -6.8576 | 104.9556 | -161.7643 | 18.7881 | -74.976 | 18.2876 | -161.263 | 1.6835 | 0.36661 | 0.47073 | 1.7179 | 0.18908 | 0.2403 | 3.0819 | -122.366 | 74.224 | 1.5468 | -122.9259 | 74.4748
Line_1 | 0.1732 | 3.0873 | 3.1483 | 0.17592 | 3.0866 | 3.1492 | 2 | 35.6491 | 36.3539 | 2.0314 | 35.6411 | 36.3639 | 1.0706 | 4.7101e-11 | 3.1104e-11 | -0.9859 | 5.1145 | 5.0705 | 3.3163 | -8.338e-12 | 3.3761e-11 | -3.3476 | 4.3883 | 7.1167 | -71.7884 | 16.4952 | -160.105 | 107.9573 | -163.5556 | 19.9439 | 1.7424 | 0 | 0 | 1.7179 | 0.18908 | 0.2403 | 0.31929 | 0 | 0 | 1.5468 | -122.9259 | 74.4748
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.17595 | 0.17219 | 0.1715 | 2 | 2 | 2 | 2.0317 | 1.9883 | 1.9803 | 0.65287 | 0.11375 | 0.42177 | -0.63874 | -0.10365 | -0.39918 | 3.3943 | 0.38342 | 0.27327 | -3.4314 | -0.36138 | -0.25907 | -77.7799 | 162.2203 | 42.2201 | 102.0913 | -16.9217 | -138.5093 | 1.7283 | 0.19997 | 0.25128 | 1.7179 | 0.18908 | 0.2403 | 1.3326 | -124.3037 | 75.1603 | 1.5468 | -122.9259 | 74.4748

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35411 | 2.9437 | 2.9909 | 0.35141 | 2.9443 | 2.9903 | 4.0889 | 33.9915 | 34.5365 | 4.0578 | 33.9981 | 34.5296 | -1.4164 | 9.6296 | 9.2232 | 1.6246 | -5.0109 | -4.6713 | -6.7364 | 7.9094 | 13.3877 | 6.779 | -4.0269 | -6.8576 | 104.9556 | -161.7643 | 18.7881 | -74.976 | 18.2876 | -161.263 | 1.6835 | 0.36661 | 0.47073 | 1.7179 | 0.18908 | 0.2403 | 3.0819 | -122.366 | 74.224 | 1.5468 | -122.9259 | 74.4748
Line_1 | 0.1732 | 3.0873 | 3.1483 | 0.17592 | 3.0866 | 3.1492 | 2 | 35.6491 | 36.3539 | 2.0314 | 35.6411 | 36.3639 | 1.0706 | 4.7101e-11 | 3.1104e-11 | -0.9859 | 5.1145 | 5.0705 | 3.3163 | -8.338e-12 | 3.3761e-11 | -3.3476 | 4.3883 | 7.1167 | -71.7884 | 16.4952 | -160.105 | 107.9573 | -163.5556 | 19.9439 | 1.7424 | 0 | 0 | 1.7179 | 0.18908 | 0.2403 | 0.31929 | 0 | 0 | 1.5468 | -122.9259 | 74.4748
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.17595 | 0.17219 | 0.1715 | 2 | 2 | 2 | 2.0317 | 1.9883 | 1.9803 | 0.65287 | 0.11375 | 0.42177 | -0.63874 | -0.10365 | -0.39918 | 3.3943 | 0.38342 | 0.27327 | -3.4314 | -0.36138 | -0.25907 | -77.7799 | 162.2203 | 42.2201 | 102.0913 | -16.9217 | -138.5093 | 1.7283 | 0.19997 | 0.25128 | 1.7179 | 0.18908 | 0.2403 | 1.3326 | -124.3037 | 75.1603 | 1.5468 | -122.9259 | 74.4748

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35312 | 0.87118 | 0.87041 | 0.35076 | 0.87243 | 0.86921 | 4.0774 | 10.0595 | 10.0506 | 4.0502 | 10.074 | 10.0367 | -1.2213 | 6.611 | 6.2316 | 1.4044 | -6.3123 | -5.7431 | -6.445 | 3.6184 | 6.9101 | 6.5054 | -3.4689 | -6.1589 | 105.1006 | -136.4863 | 42.2829 | -74.8758 | 43.6456 | -137.8512 | 1.6088 | 0.74919 | 0.92581 | 1.6432 | 0.71498 | 0.83903 | 4.3701 | -107.7932 | 90.2384 | 2.9422 | -107.5635 | 89.1496
Line_1 | 0.1732 | 0.96945 | 1.0397 | 0.17561 | 0.96833 | 1.0411 | 2 | 11.1942 | 12.0058 | 2.0278 | 11.1813 | 12.0218 | 0.94066 | -5.886 | -6.2019 | -0.8693 | 6.3246 | 6.8661 | 3.2 | -4.6651 | -6.3987 | -3.2167 | 4.8898 | 7.389 | -71.7883 | 34.8561 | -138.062 | 108.0652 | -145.2727 | 42.0492 | 1.6677 | 0.67093 | 0.74223 | 1.6432 | 0.71498 | 0.83903 | 1.8305 | -106.7445 | 87.8327 | 2.9422 | -107.5635 | 89.1496
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.17561 | 0.17211 | 0.17192 | 2 | 2 | 2 | 2.0277 | 1.9874 | 1.9851 | 0.54623 | 0.0095772 | 1.1614 | -0.53507 | -0.012287 | -1.123 | 3.2614 | 1.4482 | 1.2427 | -3.2888 | -1.4209 | -1.23 | -77.7799 | 162.2202 | 42.2202 | 102.1831 | -17.0681 | -138.4546 | 1.6534 | 0.72411 | 0.85047 | 1.6432 | 0.71498 | 0.83903 | 2.7123 | -108.1587 | 89.1581 | 2.9422 | -107.5635 | 89.1496

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35312 | 0.87118 | 0.87041 | 0.35076 | 0.87243 | 0.86921 | 4.0774 | 10.0595 | 10.0506 | 4.0502 | 10.074 | 10.0367 | -1.2213 | 6.611 | 6.2316 | 1.4044 | -6.3123 | -5.7431 | -6.445 | 3.6184 | 6.9101 | 6.5054 | -3.4689 | -6.1589 | 105.1006 | -136.4863 | 42.2829 | -74.8758 | 43.6456 | -137.8512 | 1.6088 | 0.74919 | 0.92581 | 1.6432 | 0.71498 | 0.83903 | 4.3701 | -107.7932 | 90.2384 | 2.9422 | -107.5635 | 89.1496
Line_1 | 0.1732 | 0.96945 | 1.0397 | 0.17561 | 0.96833 | 1.0411 | 2 | 11.1942 | 12.0058 | 2.0278 | 11.1813 | 12.0218 | 0.94066 | -5.886 | -6.2019 | -0.8693 | 6.3246 | 6.8661 | 3.2 | -4.6651 | -6.3987 | -3.2167 | 4.8898 | 7.389 | -71.7883 | 34.8561 | -138.062 | 108.0652 | -145.2727 | 42.0492 | 1.6677 | 0.67093 | 0.74223 | 1.6432 | 0.71498 | 0.83903 | 1.8305 | -106.7445 | 87.8327 | 2.9422 | -107.5635 | 89.1496
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.17561 | 0.17211 | 0.17192 | 2 | 2 | 2 | 2.0277 | 1.9874 | 1.9851 | 0.54623 | 0.0095772 | 1.1614 | -0.53507 | -0.012287 | -1.123 | 3.2614 | 1.4482 | 1.2427 | -3.2888 | -1.4209 | -1.23 | -77.7799 | 162.2202 | 42.2202 | 102.1831 | -17.0681 | -138.4546 | 1.6534 | 0.72411 | 0.85047 | 1.6432 | 0.71498 | 0.83903 | 2.7123 | -108.1587 | 89.1581 | 2.9422 | -107.5635 | 89.1496

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0067988 | 2.3631 | 2.4414 | 0.0045888 | 2.3637 | 2.4406 | 0.078505 | 27.2868 | 28.191 | 0.052987 | 27.2936 | 28.1812 | -0.0056588 | 10.9949 | 12.4365 | 0.0041949 | -5.5057 | -6.2017 | -0.11045 | 3.6558 | 10.021 | 0.075559 | -1.8619 | -4.9752 | 97.526 | -153.1855 | 33.9207 | -84.3475 | 26.8663 | -146.1274 | 1.4088 | 0.42463 | 0.56655 | 1.4282 | 0.21294 | 0.28213 | 4.5931 | -134.7935 | 72.7816 | 2.4748 | -134.4497 | 72.6103
Line_1 | 0 | 2.3654 | 2.4384 | 0.002324 | 2.3645 | 2.4396 | 0 | 27.3129 | 28.1562 | 0.026836 | 27.3024 | 28.1695 | -2.3827e-09 | -1.3245e-10 | -5.2444e-12 | -0.00096001 | 5.5091 | 6.195 | 4.845e-11 | -9.5123e-11 | -1.6965e-10 | -0.038314 | 1.8575 | 4.9783 | 0 | 26.9699 | -146.2224 | 93.9102 | -153.0819 | 33.825 | 1.4486 | 0 | 0 | 1.4282 | 0.21294 | 0.28213 | 0.52263 | 0 | 0 | 2.4748 | -134.4497 | 72.6103
Line_2 | 0 | 0 | 0 | 0.002267 | 0.002267 | 0.002267 | 0 | 0 | 0 | 0.026177 | 0.026177 | 0.026177 | -2.2484e-09 | 5.9104e-10 | 4.071e-10 | -0.0032349 | -0.0034403 | 0.0067026 | 2.2363e-10 | -1.9286e-10 | -7.6085e-10 | -0.037245 | 0.0043858 | -0.0031011 | 0 | 0 | 0 | 97.4388 | 97.4388 | 97.4388 | 1.4284 | 0.21326 | 0.28156 | 1.4282 | 0.21294 | 0.28213 | 2.4475 | -134.2786 | 72.5242 | 2.4748 | -134.4497 | 72.6103

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0067988 | 2.3631 | 2.4414 | 0.0045888 | 2.3637 | 2.4406 | 0.078505 | 27.2868 | 28.191 | 0.052987 | 27.2936 | 28.1812 | -0.0056588 | 10.9949 | 12.4365 | 0.0041949 | -5.5057 | -6.2017 | -0.11045 | 3.6558 | 10.021 | 0.075559 | -1.8619 | -4.9752 | 97.526 | -153.1855 | 33.9207 | -84.3475 | 26.8663 | -146.1274 | 1.4088 | 0.42463 | 0.56655 | 1.4282 | 0.21294 | 0.28213 | 4.5931 | -134.7935 | 72.7816 | 2.4748 | -134.4497 | 72.6103
Line_1 | 0 | 2.3654 | 2.4384 | 0.002324 | 2.3645 | 2.4396 | 0 | 27.3129 | 28.1562 | 0.026836 | 27.3024 | 28.1695 | -2.3827e-09 | -1.3245e-10 | -5.2444e-12 | -0.00096001 | 5.5091 | 6.195 | 4.845e-11 | -9.5123e-11 | -1.6965e-10 | -0.038314 | 1.8575 | 4.9783 | 0 | 26.9699 | -146.2224 | 93.9102 | -153.0819 | 33.825 | 1.4486 | 0 | 0 | 1.4282 | 0.21294 | 0.28213 | 0.52263 | 0 | 0 | 2.4748 | -134.4497 | 72.6103
Line_2 | 0 | 0 | 0 | 0.002267 | 0.002267 | 0.002267 | 0 | 0 | 0 | 0.026177 | 0.026177 | 0.026177 | -2.2484e-09 | 5.9104e-10 | 4.071e-10 | -0.0032349 | -0.0034403 | 0.0067026 | 2.2363e-10 | -1.9286e-10 | -7.6085e-10 | -0.037245 | 0.0043858 | -0.0031011 | 0 | 0 | 0 | 97.4388 | 97.4388 | 97.4388 | 1.4284 | 0.21326 | 0.28156 | 1.4282 | 0.21294 | 0.28213 | 2.4475 | -134.2786 | 72.5242 | 2.4748 | -134.4497 | 72.6103

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0058559 | 0.86086 | 0.94908 | 0.0039524 | 0.86137 | 0.94808 | 0.067618 | 9.9403 | 10.959 | 0.045639 | 9.9463 | 10.9475 | -0.010442 | 5.1187 | 6.6411 | 0.0071378 | -4.4166 | -5.5551 | -0.090382 | 3.6917 | 6.4883 | 0.061887 | -3.7195 | -5.4682 | 101.8384 | -148.738 | 47.1627 | -80.0351 | 31.3844 | -132.9358 | 1.3455 | 0.6349 | 0.8472 | 1.365 | 0.58053 | 0.71202 | 5.2481 | -112.9388 | 91.4961 | 3.3857 | -108.5131 | 91.6126
Line_1 | 0 | 0.86282 | 0.9457 | 0.0020017 | 0.86203 | 0.94695 | 0 | 9.963 | 10.92 | 0.023114 | 9.9539 | 10.9345 | -1.957e-09 | -3.7223 | -4.4718 | -0.0026603 | 4.4279 | 5.5393 | 1.4811e-10 | -3.7223 | -4.4718 | -0.031438 | 3.7129 | 5.471 | 0 | 31.6287 | -133.1268 | 98.2225 | -148.4934 | 46.9678 | 1.3849 | 0.52837 | 0.57912 | 1.365 | 0.58053 | 0.71202 | 1.6715 | -103.3713 | 91.8732 | 3.3857 | -108.5131 | 91.6126
Line_2 | 0 | 0 | 0 | 0.0019526 | 0.0019526 | 0.0019526 | 0 | 0 | 0 | 0.022546 | 0.022546 | 0.022546 | -1.8367e-09 | 8.4965e-10 | 4.3864e-10 | -0.0044775 | -0.011305 | 0.015803 | 2.9351e-10 | 4.2571e-10 | -1.241e-09 | -0.030448 | 0.0065967 | -0.0028259 | 0 | 0 | 0 | 101.7512 | 101.7512 | 101.7512 | 1.3652 | 0.58099 | 0.71145 | 1.365 | 0.58053 | 0.71202 | 3.3615 | -108.4727 | 91.5942 | 3.3857 | -108.5131 | 91.6126

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0058559 | 0.86086 | 0.94908 | 0.0039524 | 0.86137 | 0.94808 | 0.067618 | 9.9403 | 10.959 | 0.045639 | 9.9463 | 10.9475 | -0.010442 | 5.1187 | 6.6411 | 0.0071378 | -4.4166 | -5.5551 | -0.090382 | 3.6917 | 6.4883 | 0.061887 | -3.7195 | -5.4682 | 101.8384 | -148.738 | 47.1627 | -80.0351 | 31.3844 | -132.9358 | 1.3455 | 0.6349 | 0.8472 | 1.365 | 0.58053 | 0.71202 | 5.2481 | -112.9388 | 91.4961 | 3.3857 | -108.5131 | 91.6126
Line_1 | 0 | 0.86282 | 0.9457 | 0.0020017 | 0.86203 | 0.94695 | 0 | 9.963 | 10.92 | 0.023114 | 9.9539 | 10.9345 | -1.957e-09 | -3.7223 | -4.4718 | -0.0026603 | 4.4279 | 5.5393 | 1.4811e-10 | -3.7223 | -4.4718 | -0.031438 | 3.7129 | 5.471 | 0 | 31.6287 | -133.1268 | 98.2225 | -148.4934 | 46.9678 | 1.3849 | 0.52837 | 0.57912 | 1.365 | 0.58053 | 0.71202 | 1.6715 | -103.3713 | 91.8732 | 3.3857 | -108.5131 | 91.6126
Line_2 | 0 | 0 | 0 | 0.0019526 | 0.0019526 | 0.0019526 | 0 | 0 | 0 | 0.022546 | 0.022546 | 0.022546 | -1.8367e-09 | 8.4965e-10 | 4.3864e-10 | -0.0044775 | -0.011305 | 0.015803 | 2.9351e-10 | 4.2571e-10 | -1.241e-09 | -0.030448 | 0.0065967 | -0.0028259 | 0 | 0 | 0 | 101.7512 | 101.7512 | 101.7512 | 1.3652 | 0.58099 | 0.71145 | 1.365 | 0.58053 | 0.71202 | 3.3615 | -108.4727 | 91.5942 | 3.3857 | -108.5131 | 91.6126