## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.34641 | 0.34641 | 0.4899 | 0 | 12 | 12 | -1e-07 | 0.1872 | -1e-07 | 0.2124 | 92.672 | -87.328 | 0 | 0.023593 | 0 | -38.7195
Line_1 | 0.17321 | 0.17321 | 0 | 0 | 6 | 6 | 0.1404 | -0.0936 | 0.1593 | -0.1062 | -87.328 | 92.672 | 0.03539 | 0.023593 | -38.7195 | -38.7195
Line_2 | 0.17321 | 0.17321 | 0 | 0 | 6 | 6 | 0.1404 | -0.0936 | 0.1593 | -0.1062 | -87.328 | 92.672 | 0.03539 | 0.023593 | -38.7195 | -38.7195
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.03539 | 0.03539 | -38.7195 | -38.7195

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.34641 | 0.34641 | 0.4899 | 0 | 12 | 12 | -1e-07 | 0.1872 | -1e-07 | 0.2124 | 92.672 | -87.328 | 0 | 0.023593 | 0 | -38.7195
Line_1 | 0.17321 | 0.17321 | 0 | 0 | 6 | 6 | 0.1404 | -0.0936 | 0.1593 | -0.1062 | -87.328 | 92.672 | 0.03539 | 0.023593 | -38.7195 | -38.7195
Line_2 | 0.17321 | 0.17321 | 0 | 0 | 6 | 6 | 0.1404 | -0.0936 | 0.1593 | -0.1062 | -87.328 | 92.672 | 0.03539 | 0.023593 | -38.7195 | -38.7195
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.03539 | 0.03539 | -38.7195 | -38.7195

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.34641 | 0.34641 | 0.4899 | 0 | 12 | 12 | -2.4508 | 2.638 | -10.8547 | 11.0671 | 92.672 | -87.328 | 0.92733 | 0.94809 | -10.051 | -10.7351
Line_1 | 0.1732 | 0.1732 | 0 | 0 | 6 | 6 | 1.3658 | -1.319 | 5.5866 | -5.5335 | -87.328 | 92.672 | 0.95853 | 0.94809 | -11.0659 | -10.7351
Line_2 | 0.1732 | 0.1732 | 0 | 0 | 6 | 6 | 1.3658 | -1.319 | 5.5866 | -5.5335 | -87.328 | 92.672 | 0.95853 | 0.94809 | -11.0659 | -10.7351
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95853 | 0.95853 | -11.0659 | -11.0659

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.34641 | 0.34641 | 0.4899 | 0 | 12 | 12 | -2.4508 | 2.638 | -10.8547 | 11.0671 | 92.672 | -87.328 | 0.92733 | 0.94809 | -10.051 | -10.7351
Line_1 | 0.1732 | 0.1732 | 0 | 0 | 6 | 6 | 1.3658 | -1.319 | 5.5866 | -5.5335 | -87.328 | 92.672 | 0.95853 | 0.94809 | -11.0659 | -10.7351
Line_2 | 0.1732 | 0.1732 | 0 | 0 | 6 | 6 | 1.3658 | -1.319 | 5.5866 | -5.5335 | -87.328 | 92.672 | 0.95853 | 0.94809 | -11.0659 | -10.7351
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95853 | 0.95853 | -11.0659 | -11.0659

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2813e-20 | 0 | 2.6704e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2813e-20 | 0 | 2.6704e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 4 | 4 | 4 | 4 | 4 | 4 | -0.21804 | -2.0776 | 1.9686 | 0.28044 | 2.14 | -1.9062 | -4.6722 | -1.0736 | -1.2625 | 4.743 | 1.1444 | 1.3333 | 92.6718 | -27.3278 | -147.3281 | -87.3282 | 152.6722 | 32.6719 | 1.1693 | 0.58466 | 0.58466 | 1.1878 | 0.60671 | 0.58156 | -7.8808e-06 | 180 | 180 | -0.71188 | -179.1913 | 177.7018
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.15582 | 1.0856 | -0.93751 | -0.14022 | -1.07 | 0.95311 | 2.3892 | 0.58992 | 0.68434 | -2.3715 | -0.57222 | -0.66664 | -87.3282 | 152.6722 | 32.6719 | 92.6718 | -27.3278 | -147.3281 | 1.1971 | 0.61777 | 0.58035 | 1.1878 | 0.60671 | 0.58156 | -1.0595 | -178.8087 | 176.5444 | -0.71188 | -179.1913 | 177.7018
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.15582 | 1.0856 | -0.93751 | -0.14022 | -1.07 | 0.95311 | 2.3892 | 0.58992 | 0.68434 | -2.3715 | -0.57222 | -0.66664 | -87.3282 | 152.6722 | 32.6719 | 92.6718 | -27.3278 | -147.3281 | 1.1971 | 0.61777 | 0.58035 | 1.1878 | 0.60671 | 0.58156 | -1.0595 | -178.8087 | 176.5444 | -0.71188 | -179.1913 | 177.7018
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1025e-14 | -2.3893e-14 | 2.1621e-14 | -2.247e-14 | 2.3832e-14 | -3.2267e-14 | -1.7219e-14 | 2.2919e-14 | -6.8139e-15 | 1.1759e-14 | -1.9993e-14 | 1.2965e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1971 | 0.61777 | 0.58035 | 1.1971 | 0.61777 | 0.58035 | -1.0595 | -178.8087 | 176.5444 | -1.0595 | -178.8087 | 176.5444

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 4 | 4 | 4 | 4 | 4 | 4 | -0.21804 | -2.0776 | 1.9686 | 0.28044 | 2.14 | -1.9062 | -4.6722 | -1.0736 | -1.2625 | 4.743 | 1.1444 | 1.3333 | 92.6718 | -27.3278 | -147.3281 | -87.3282 | 152.6722 | 32.6719 | 1.1693 | 0.58466 | 0.58466 | 1.1878 | 0.60671 | 0.58156 | -7.8808e-06 | 180 | 180 | -0.71188 | -179.1913 | 177.7018
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.15582 | 1.0856 | -0.93751 | -0.14022 | -1.07 | 0.95311 | 2.3892 | 0.58992 | 0.68434 | -2.3715 | -0.57222 | -0.66664 | -87.3282 | 152.6722 | 32.6719 | 92.6718 | -27.3278 | -147.3281 | 1.1971 | 0.61777 | 0.58035 | 1.1878 | 0.60671 | 0.58156 | -1.0595 | -178.8087 | 176.5444 | -0.71188 | -179.1913 | 177.7018
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.15582 | 1.0856 | -0.93751 | -0.14022 | -1.07 | 0.95311 | 2.3892 | 0.58992 | 0.68434 | -2.3715 | -0.57222 | -0.66664 | -87.3282 | 152.6722 | 32.6719 | 92.6718 | -27.3278 | -147.3281 | 1.1971 | 0.61777 | 0.58035 | 1.1878 | 0.60671 | 0.58156 | -1.0595 | -178.8087 | 176.5444 | -0.71188 | -179.1913 | 177.7018
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1025e-14 | -2.3893e-14 | 2.1621e-14 | -2.247e-14 | 2.3832e-14 | -3.2267e-14 | -1.7219e-14 | 2.2919e-14 | -6.8139e-15 | 1.1759e-14 | -1.9993e-14 | 1.2965e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1971 | 0.61777 | 0.58035 | 1.1971 | 0.61777 | 0.58035 | -1.0595 | -178.8087 | 176.5444 | -1.0595 | -178.8087 | 176.5444

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 4 | 4 | 4 | 4 | 4 | 4 | -0.21804 | -1.5871 | -0.013289 | 0.28044 | 1.6495 | 0.07569 | -4.6722 | -3.6454 | -2.9732 | 4.743 | 3.7162 | 3.044 | 92.6719 | -27.328 | -147.328 | -87.3281 | 152.672 | 32.672 | 1.1693 | 0.99397 | 0.74331 | 1.1878 | 1.0165 | 0.76124 | -4.5886e-06 | -140.8543 | 122.4159 | -0.71188 | -141.2623 | 121.2476
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.15582 | 0.84033 | 0.053445 | -0.14022 | -0.82473 | -0.037845 | 2.3892 | 1.8758 | 1.5397 | -2.3715 | -1.8581 | -1.522 | -87.3281 | 152.672 | 32.672 | 92.6719 | -27.328 | -147.328 | 1.1971 | 1.0277 | 0.77032 | 1.1878 | 1.0165 | 0.76124 | -1.0595 | -141.4596 | 120.684 | -0.71188 | -141.2623 | 121.2476
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.15582 | 0.84033 | 0.053445 | -0.14022 | -0.82473 | -0.037845 | 2.3892 | 1.8758 | 1.5397 | -2.3715 | -1.8581 | -1.522 | -87.3281 | 152.672 | 32.672 | 92.6719 | -27.328 | -147.328 | 1.1971 | 1.0277 | 0.77032 | 1.1878 | 1.0165 | 0.76124 | -1.0595 | -141.4596 | 120.684 | -0.71188 | -141.2623 | 121.2476
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.9747e-15 | -1.1778e-14 | -1.8621e-15 | 1.4175e-15 | 1.7877e-14 | -1.276e-15 | -2.6514e-15 | 3.0657e-15 | 3.1381e-15 | -2.6215e-17 | 4.9046e-15 | -5.0002e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1971 | 1.0277 | 0.77032 | 1.1971 | 1.0277 | 0.77032 | -1.0595 | -141.4596 | 120.684 | -1.0595 | -141.4596 | 120.684

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 0.34641 | 4 | 4 | 4 | 4 | 4 | 4 | -0.21804 | -1.5871 | -0.013289 | 0.28044 | 1.6495 | 0.07569 | -4.6722 | -3.6454 | -2.9732 | 4.743 | 3.7162 | 3.044 | 92.6719 | -27.328 | -147.328 | -87.3281 | 152.672 | 32.672 | 1.1693 | 0.99397 | 0.74331 | 1.1878 | 1.0165 | 0.76124 | -4.5886e-06 | -140.8543 | 122.4159 | -0.71188 | -141.2623 | 121.2476
Line_1 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.15582 | 0.84033 | 0.053445 | -0.14022 | -0.82473 | -0.037845 | 2.3892 | 1.8758 | 1.5397 | -2.3715 | -1.8581 | -1.522 | -87.3281 | 152.672 | 32.672 | 92.6719 | -27.328 | -147.328 | 1.1971 | 1.0277 | 0.77032 | 1.1878 | 1.0165 | 0.76124 | -1.0595 | -141.4596 | 120.684 | -0.71188 | -141.2623 | 121.2476
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | 0.15582 | 0.84033 | 0.053445 | -0.14022 | -0.82473 | -0.037845 | 2.3892 | 1.8758 | 1.5397 | -2.3715 | -1.8581 | -1.522 | -87.3281 | 152.672 | 32.672 | 92.6719 | -27.328 | -147.328 | 1.1971 | 1.0277 | 0.77032 | 1.1878 | 1.0165 | 0.76124 | -1.0595 | -141.4596 | 120.684 | -0.71188 | -141.2623 | 121.2476
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.9747e-15 | -1.1778e-14 | -1.8621e-15 | 1.4175e-15 | 1.7877e-14 | -1.276e-15 | -2.6514e-15 | 3.0657e-15 | 3.1381e-15 | -2.6215e-17 | 4.9046e-15 | -5.0002e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1971 | 1.0277 | 0.77032 | 1.1971 | 1.0277 | 0.77032 | -1.0595 | -141.4596 | 120.684 | -1.0595 | -141.4596 | 120.684

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6579e-14 | 1.7764e-14 | -8.1247e-21 | -2.1316e-14 | -1.1842e-14 | 4.7376e-15 | -1.8948e-14 | 4.7631e-09 | -4.7631e-09 | 1.8948e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.0916e-13 | -180 | 180 | 6.919e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4211e-14 | -5.9209e-15 | 4.7373e-15 | 1.1842e-14 | 7.1052e-15 | -2.2922e-19 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.6346e-13 | -180 | 180 | 6.919e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8948e-14 | -5.9209e-15 | -4.7366e-15 | 1.6579e-14 | 7.1052e-15 | 4.7367e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.6188e-13 | -180 | 180 | 6.919e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.737e-15 | 4.737e-15 | 7.1054e-15 | -4.737e-15 | -4.737e-15 | 0 | 5.4852e-29 | 9.0857e-25 | -1.3637e-24 | 4.737e-15 | 2.3685e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.6346e-13 | -180 | 180 | 6.6188e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6579e-14 | 1.7764e-14 | -8.1247e-21 | -2.1316e-14 | -1.1842e-14 | 4.7376e-15 | -1.8948e-14 | 4.7631e-09 | -4.7631e-09 | 1.8948e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.0916e-13 | -180 | 180 | 6.919e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4211e-14 | -5.9209e-15 | 4.7373e-15 | 1.1842e-14 | 7.1052e-15 | -2.2922e-19 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.6346e-13 | -180 | 180 | 6.919e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8948e-14 | -5.9209e-15 | -4.7366e-15 | 1.6579e-14 | 7.1052e-15 | 4.7367e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.6188e-13 | -180 | 180 | 6.919e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.737e-15 | 4.737e-15 | 7.1054e-15 | -4.737e-15 | -4.737e-15 | 0 | 5.4852e-29 | 9.0857e-25 | -1.3637e-24 | 4.737e-15 | 2.3685e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.6346e-13 | -180 | 180 | 6.6188e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.1778e-15 | -8.0024e-10 | -2.5674e-09 | -1.0362e-14 | 8.0025e-10 | 2.5674e-09 | -7.1054e-15 | 3.4014e-09 | -3.4065e-10 | 4.737e-15 | -3.4015e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.8317e-13 | -141.4824 | 122.8363 | 2.7213e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0066e-14 | 2.6675e-10 | 8.558e-10 | 1.0066e-14 | -2.6675e-10 | -8.558e-10 | 2.3685e-15 | -1.1338e-09 | 1.1354e-10 | -2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.5289e-13 | -141.4824 | 122.8363 | 2.7213e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 2.6676e-10 | 8.558e-10 | 7.1054e-15 | -2.6675e-10 | -8.558e-10 | -3.1295e-29 | -1.1338e-09 | 1.1355e-10 | -7.1054e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.5235e-13 | -141.4824 | 122.8363 | 2.7213e-13 | -141.4824 | 122.8363
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7764e-15 | -7.8237e-16 | -1.8881e-15 | 1.7764e-15 | 6.8658e-15 | -7.2716e-15 | -2.3685e-15 | -6.2271e-16 | -2.5416e-15 | 7.8237e-30 | -2.2033e-15 | -5.1338e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.5289e-13 | -141.4824 | 122.8363 | 2.5235e-13 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.1778e-15 | -8.0024e-10 | -2.5674e-09 | -1.0362e-14 | 8.0025e-10 | 2.5674e-09 | -7.1054e-15 | 3.4014e-09 | -3.4065e-10 | 4.737e-15 | -3.4015e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.8317e-13 | -141.4824 | 122.8363 | 2.7213e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0066e-14 | 2.6675e-10 | 8.558e-10 | 1.0066e-14 | -2.6675e-10 | -8.558e-10 | 2.3685e-15 | -1.1338e-09 | 1.1354e-10 | -2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.5289e-13 | -141.4824 | 122.8363 | 2.7213e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 2.6676e-10 | 8.558e-10 | 7.1054e-15 | -2.6675e-10 | -8.558e-10 | -3.1295e-29 | -1.1338e-09 | 1.1355e-10 | -7.1054e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.5235e-13 | -141.4824 | 122.8363 | 2.7213e-13 | -141.4824 | 122.8363
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7764e-15 | -7.8237e-16 | -1.8881e-15 | 1.7764e-15 | 6.8658e-15 | -7.2716e-15 | -2.3685e-15 | -6.2271e-16 | -2.5416e-15 | 7.8237e-30 | -2.2033e-15 | -5.1338e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.5289e-13 | -141.4824 | 122.8363 | 2.5235e-13 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34266 | 0.34813 | 0.34847 | 0.3436 | 0.3477 | 0.34796 | 3.9567 | 4.0199 | 4.0238 | 3.9675 | 4.0148 | 4.0179 | 7.3784e-11 | 0.89393 | -1.2746 | 0.057665 | -0.8174 | 1.3277 | -8.2967e-12 | -4.1315 | -4.0363 | 0.068765 | 4.197 | 4.1084 | 92.7054 | -27.8794 | -146.8101 | -87.3025 | 152.2576 | 33.0609 | 0 | 1.0516 | 1.0519 | 0.02262 | 1.065 | 1.0746 | 0 | -105.6705 | 105.6645 | -37.2849 | -106.7215 | 105.1511
Line_1 | 0.17274 | 0.17342 | 0.17346 | 0.1718 | 0.17385 | 0.17398 | 1.9946 | 2.0025 | 2.003 | 1.9838 | 2.0074 | 2.0089 | 0.043928 | -0.38155 | 0.66843 | -0.028832 | 0.4087 | -0.66387 | 0.052023 | 2.1126 | 2.0694 | -0.034383 | -2.0985 | -2.0542 | -87.3194 | 152.5333 | 32.802 | 92.6975 | -27.7424 | -146.9391 | 0.034137 | 1.0721 | 1.0857 | 0.02262 | 1.065 | 1.0746 | -37.497 | -107.229 | 104.901 | -37.2849 | -106.7215 | 105.1511
Line_2 | 0.17274 | 0.17342 | 0.17346 | 0.1718 | 0.17385 | 0.17398 | 1.9946 | 2.0025 | 2.003 | 1.9838 | 2.0074 | 2.0089 | 0.043928 | -0.38155 | 0.66843 | -0.028832 | 0.4087 | -0.66387 | 0.052023 | 2.1126 | 2.0694 | -0.034383 | -2.0985 | -2.0542 | -87.3194 | 152.5333 | 32.802 | 92.6975 | -27.7424 | -146.9391 | 0.034137 | 1.0721 | 1.0857 | 0.02262 | 1.065 | 1.0746 | -37.497 | -107.229 | 104.901 | -37.2849 | -106.7215 | 105.1511
Line_3 | 0.00046996 | 0.00046996 | 0.00046996 | 0.00046996 | 0.00046996 | 0.00046996 | 0.0054266 | 0.0054266 | 0.0054266 | 0.0054266 | 0.0054266 | 0.0054266 | 0.0001116 | 0.0055699 | -0.0056815 | 0.0001116 | 0.0055699 | -0.0056815 | 0.00014785 | -0.0016794 | -0.0015598 | 0.00014785 | -0.0016794 | -0.0015598 | -90.4503 | -90.4503 | -90.4503 | -90.4503 | -90.4503 | -90.4503 | 0.034137 | 1.0721 | 1.0857 | 0.034137 | 1.0721 | 1.0857 | -37.497 | -107.229 | 104.901 | -37.497 | -107.229 | 104.901

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34266 | 0.34813 | 0.34847 | 0.3436 | 0.3477 | 0.34796 | 3.9567 | 4.0199 | 4.0238 | 3.9675 | 4.0148 | 4.0179 | 7.3784e-11 | 0.89393 | -1.2746 | 0.057665 | -0.8174 | 1.3277 | -8.2967e-12 | -4.1315 | -4.0363 | 0.068765 | 4.197 | 4.1084 | 92.7054 | -27.8794 | -146.8101 | -87.3025 | 152.2576 | 33.0609 | 0 | 1.0516 | 1.0519 | 0.02262 | 1.065 | 1.0746 | 0 | -105.6705 | 105.6645 | -37.2849 | -106.7215 | 105.1511
Line_1 | 0.17274 | 0.17342 | 0.17346 | 0.1718 | 0.17385 | 0.17398 | 1.9946 | 2.0025 | 2.003 | 1.9838 | 2.0074 | 2.0089 | 0.043928 | -0.38155 | 0.66843 | -0.028832 | 0.4087 | -0.66387 | 0.052023 | 2.1126 | 2.0694 | -0.034383 | -2.0985 | -2.0542 | -87.3194 | 152.5333 | 32.802 | 92.6975 | -27.7424 | -146.9391 | 0.034137 | 1.0721 | 1.0857 | 0.02262 | 1.065 | 1.0746 | -37.497 | -107.229 | 104.901 | -37.2849 | -106.7215 | 105.1511
Line_2 | 0.17274 | 0.17342 | 0.17346 | 0.1718 | 0.17385 | 0.17398 | 1.9946 | 2.0025 | 2.003 | 1.9838 | 2.0074 | 2.0089 | 0.043928 | -0.38155 | 0.66843 | -0.028832 | 0.4087 | -0.66387 | 0.052023 | 2.1126 | 2.0694 | -0.034383 | -2.0985 | -2.0542 | -87.3194 | 152.5333 | 32.802 | 92.6975 | -27.7424 | -146.9391 | 0.034137 | 1.0721 | 1.0857 | 0.02262 | 1.065 | 1.0746 | -37.497 | -107.229 | 104.901 | -37.2849 | -106.7215 | 105.1511
Line_3 | 0.00046996 | 0.00046996 | 0.00046996 | 0.00046996 | 0.00046996 | 0.00046996 | 0.0054266 | 0.0054266 | 0.0054266 | 0.0054266 | 0.0054266 | 0.0054266 | 0.0001116 | 0.0055699 | -0.0056815 | 0.0001116 | 0.0055699 | -0.0056815 | 0.00014785 | -0.0016794 | -0.0015598 | 0.00014785 | -0.0016794 | -0.0015598 | -90.4503 | -90.4503 | -90.4503 | -90.4503 | -90.4503 | -90.4503 | 0.034137 | 1.0721 | 1.0857 | 0.034137 | 1.0721 | 1.0857 | -37.497 | -107.229 | 104.901 | -37.497 | -107.229 | 104.901

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34571 | 0.34712 | 0.3464 | 0.34589 | 0.34694 | 0.3464 | 3.992 | 4.0082 | 3.9999 | 3.994 | 4.0061 | 3.9999 | -0.73617 | -0.088729 | -0.48835 | 0.79934 | 0.15334 | 0.54777 | -3.8032 | -4.4538 | -4.677 | 3.8748 | 4.5223 | 4.7489 | 92.603 | -27.3931 | -147.194 | -87.3797 | 152.6231 | 32.7726 | 0.97039 | 1.1114 | 1.1756 | 0.9906 | 1.1295 | 1.1951 | -8.3522 | -118.5344 | 116.8451 | -9.0358 | -119.319 | 116.1928
Line_1 | 0.17312 | 0.17329 | 0.1732 | 0.17294 | 0.17347 | 0.1732 | 1.999 | 2.001 | 2 | 1.997 | 2.0031 | 1.9999 | 0.41674 | 0.093618 | 0.28667 | -0.39967 | -0.076671 | -0.27389 | 1.9567 | 2.2765 | 2.3926 | -1.9374 | -2.2612 | -2.3744 | -87.3452 | 152.6556 | 32.7055 | 92.6203 | -27.3769 | -147.2274 | 1.0008 | 1.1386 | 1.2049 | 0.9906 | 1.1295 | 1.1951 | -9.3685 | -119.6993 | 115.8733 | -9.0358 | -119.319 | 116.1928
Line_2 | 0.17312 | 0.17329 | 0.1732 | 0.17294 | 0.17347 | 0.1732 | 1.999 | 2.001 | 2 | 1.997 | 2.0031 | 1.9999 | 0.41674 | 0.093618 | 0.28667 | -0.39967 | -0.076671 | -0.27389 | 1.9567 | 2.2765 | 2.3926 | -1.9374 | -2.2612 | -2.3744 | -87.3452 | 152.6556 | 32.7055 | 92.6203 | -27.3769 | -147.2274 | 1.0008 | 1.1386 | 1.2049 | 0.9906 | 1.1295 | 1.1951 | -9.3685 | -119.6993 | 115.8733 | -9.0358 | -119.319 | 116.1928
Line_3 | 0.00010139 | 0.00010139 | 0.00010139 | 0.00010139 | 0.00010139 | 0.00010139 | 0.0011708 | 0.0011708 | 0.0011708 | 0.0011708 | 0.0011708 | 0.0011708 | 0.0007974 | 0.0006007 | -0.0013981 | 0.0007974 | 0.0006007 | -0.0013981 | 0.00085852 | -0.0011901 | 0.00018765 | 0.00085852 | -0.0011901 | 0.00018765 | -56.4824 | -56.4824 | -56.4824 | -56.4824 | -56.4824 | -56.4824 | 1.0008 | 1.1386 | 1.2049 | 1.0008 | 1.1386 | 1.2049 | -9.3685 | -119.6993 | 115.8733 | -9.3685 | -119.6993 | 115.8733

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34571 | 0.34712 | 0.3464 | 0.34589 | 0.34694 | 0.3464 | 3.992 | 4.0082 | 3.9999 | 3.994 | 4.0061 | 3.9999 | -0.73617 | -0.088729 | -0.48835 | 0.79934 | 0.15334 | 0.54777 | -3.8032 | -4.4538 | -4.677 | 3.8748 | 4.5223 | 4.7489 | 92.603 | -27.3931 | -147.194 | -87.3797 | 152.6231 | 32.7726 | 0.97039 | 1.1114 | 1.1756 | 0.9906 | 1.1295 | 1.1951 | -8.3522 | -118.5344 | 116.8451 | -9.0358 | -119.319 | 116.1928
Line_1 | 0.17312 | 0.17329 | 0.1732 | 0.17294 | 0.17347 | 0.1732 | 1.999 | 2.001 | 2 | 1.997 | 2.0031 | 1.9999 | 0.41674 | 0.093618 | 0.28667 | -0.39967 | -0.076671 | -0.27389 | 1.9567 | 2.2765 | 2.3926 | -1.9374 | -2.2612 | -2.3744 | -87.3452 | 152.6556 | 32.7055 | 92.6203 | -27.3769 | -147.2274 | 1.0008 | 1.1386 | 1.2049 | 0.9906 | 1.1295 | 1.1951 | -9.3685 | -119.6993 | 115.8733 | -9.0358 | -119.319 | 116.1928
Line_2 | 0.17312 | 0.17329 | 0.1732 | 0.17294 | 0.17347 | 0.1732 | 1.999 | 2.001 | 2 | 1.997 | 2.0031 | 1.9999 | 0.41674 | 0.093618 | 0.28667 | -0.39967 | -0.076671 | -0.27389 | 1.9567 | 2.2765 | 2.3926 | -1.9374 | -2.2612 | -2.3744 | -87.3452 | 152.6556 | 32.7055 | 92.6203 | -27.3769 | -147.2274 | 1.0008 | 1.1386 | 1.2049 | 0.9906 | 1.1295 | 1.1951 | -9.3685 | -119.6993 | 115.8733 | -9.0358 | -119.319 | 116.1928
Line_3 | 0.00010139 | 0.00010139 | 0.00010139 | 0.00010139 | 0.00010139 | 0.00010139 | 0.0011708 | 0.0011708 | 0.0011708 | 0.0011708 | 0.0011708 | 0.0011708 | 0.0007974 | 0.0006007 | -0.0013981 | 0.0007974 | 0.0006007 | -0.0013981 | 0.00085852 | -0.0011901 | 0.00018765 | 0.00085852 | -0.0011901 | 0.00018765 | -56.4824 | -56.4824 | -56.4824 | -56.4824 | -56.4824 | -56.4824 | 1.0008 | 1.1386 | 1.2049 | 1.0008 | 1.1386 | 1.2049 | -9.3685 | -119.6993 | 115.8733 | -9.3685 | -119.6993 | 115.8733

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0032929 | 0.0032929 | 0.0032929 | 0.0024706 | 0.0024706 | 0.0024706 | 0.038023 | 0.038023 | 0.038023 | 0.028528 | 0.028528 | 0.028528 | 1.2727e-13 | 0.033029 | -0.032824 | 5.0515e-05 | -0.024743 | 0.024664 | 2.5436e-13 | -0.0090453 | -0.0098838 | 1.0482e-05 | 0.0067515 | 0.0074714 | -90.7295 | -90.7295 | -90.7295 | 89.1652 | 89.1652 | 89.1652 | 0 | 0.90064 | 0.90154 | 0.0018084 | 0.89903 | 0.90334 | 0 | -106.0448 | 106.0285 | 100.8882 | -106.097 | 106.0182
Line_1 | 0.00041186 | 0.00041186 | 0.00041186 | 0.0012353 | 0.0012353 | 0.0012353 | 0.0047557 | 0.0047557 | 0.0047557 | 0.014264 | 0.014264 | 0.014264 | 1.0826e-05 | -0.0041235 | 0.0041126 | -2.5258e-05 | 0.012372 | -0.012332 | 2.2547e-06 | 0.0011218 | 0.0012502 | -5.2412e-06 | -0.0033757 | -0.0037357 | 89.1071 | 89.1071 | 89.1071 | -90.8348 | -90.8348 | -90.8348 | 0.0023253 | 0.89857 | 0.90385 | 0.0018084 | 0.89903 | 0.90334 | 100.8716 | -106.1119 | 106.0153 | 100.8882 | -106.097 | 106.0182
Line_2 | 0.00041186 | 0.00041186 | 0.00041186 | 0.0012353 | 0.0012353 | 0.0012353 | 0.0047557 | 0.0047557 | 0.0047557 | 0.014264 | 0.014264 | 0.014264 | 1.0826e-05 | -0.0041235 | 0.0041126 | -2.5258e-05 | 0.012372 | -0.012332 | 2.2547e-06 | 0.0011218 | 0.0012502 | -5.2412e-06 | -0.0033757 | -0.0037357 | 89.1071 | 89.1071 | 89.1071 | -90.8348 | -90.8348 | -90.8348 | 0.0023253 | 0.89857 | 0.90385 | 0.0018084 | 0.89903 | 0.90334 | 100.8716 | -106.1119 | 106.0153 | 100.8882 | -106.097 | 106.0182
Line_3 | 0.00041186 | 0.00041186 | 0.00041186 | 0.00041186 | 0.00041186 | 0.00041186 | 0.0047557 | 0.0047557 | 0.0047557 | 0.0047557 | 0.0047557 | 0.0047557 | -1.0826e-05 | 0.0041235 | -0.0041126 | -1.0826e-05 | 0.0041235 | -0.0041126 | -2.2546e-06 | -0.0011218 | -0.0012502 | -2.2546e-06 | -0.0011218 | -0.0012502 | -90.8929 | -90.8929 | -90.8929 | -90.8929 | -90.8929 | -90.8929 | 0.0023253 | 0.89857 | 0.90385 | 0.0023253 | 0.89857 | 0.90385 | 100.8716 | -106.1119 | 106.0153 | 100.8716 | -106.1119 | 106.0153

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0032929 | 0.0032929 | 0.0032929 | 0.0024706 | 0.0024706 | 0.0024706 | 0.038023 | 0.038023 | 0.038023 | 0.028528 | 0.028528 | 0.028528 | 1.2727e-13 | 0.033029 | -0.032824 | 5.0515e-05 | -0.024743 | 0.024664 | 2.5436e-13 | -0.0090453 | -0.0098838 | 1.0482e-05 | 0.0067515 | 0.0074714 | -90.7295 | -90.7295 | -90.7295 | 89.1652 | 89.1652 | 89.1652 | 0 | 0.90064 | 0.90154 | 0.0018084 | 0.89903 | 0.90334 | 0 | -106.0448 | 106.0285 | 100.8882 | -106.097 | 106.0182
Line_1 | 0.00041186 | 0.00041186 | 0.00041186 | 0.0012353 | 0.0012353 | 0.0012353 | 0.0047557 | 0.0047557 | 0.0047557 | 0.014264 | 0.014264 | 0.014264 | 1.0826e-05 | -0.0041235 | 0.0041126 | -2.5258e-05 | 0.012372 | -0.012332 | 2.2547e-06 | 0.0011218 | 0.0012502 | -5.2412e-06 | -0.0033757 | -0.0037357 | 89.1071 | 89.1071 | 89.1071 | -90.8348 | -90.8348 | -90.8348 | 0.0023253 | 0.89857 | 0.90385 | 0.0018084 | 0.89903 | 0.90334 | 100.8716 | -106.1119 | 106.0153 | 100.8882 | -106.097 | 106.0182
Line_2 | 0.00041186 | 0.00041186 | 0.00041186 | 0.0012353 | 0.0012353 | 0.0012353 | 0.0047557 | 0.0047557 | 0.0047557 | 0.014264 | 0.014264 | 0.014264 | 1.0826e-05 | -0.0041235 | 0.0041126 | -2.5258e-05 | 0.012372 | -0.012332 | 2.2547e-06 | 0.0011218 | 0.0012502 | -5.2412e-06 | -0.0033757 | -0.0037357 | 89.1071 | 89.1071 | 89.1071 | -90.8348 | -90.8348 | -90.8348 | 0.0023253 | 0.89857 | 0.90385 | 0.0018084 | 0.89903 | 0.90334 | 100.8716 | -106.1119 | 106.0153 | 100.8882 | -106.097 | 106.0182
Line_3 | 0.00041186 | 0.00041186 | 0.00041186 | 0.00041186 | 0.00041186 | 0.00041186 | 0.0047557 | 0.0047557 | 0.0047557 | 0.0047557 | 0.0047557 | 0.0047557 | -1.0826e-05 | 0.0041235 | -0.0041126 | -1.0826e-05 | 0.0041235 | -0.0041126 | -2.2546e-06 | -0.0011218 | -0.0012502 | -2.2546e-06 | -0.0011218 | -0.0012502 | -90.8929 | -90.8929 | -90.8929 | -90.8929 | -90.8929 | -90.8929 | 0.0023253 | 0.89857 | 0.90385 | 0.0023253 | 0.89857 | 0.90385 | 100.8716 | -106.1119 | 106.0153 | 100.8716 | -106.1119 | 106.0153

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00074028 | 0.00074028 | 0.00074028 | 0.00055542 | 0.00055542 | 0.00055542 | 0.008548 | 0.008548 | 0.008548 | 0.0064134 | 0.0064134 | 0.0064134 | 0.0046579 | 0.0038972 | -0.0085447 | -0.0034849 | -0.0029313 | 0.0064147 | 0.0052618 | -0.0071219 | 0.00090343 | -0.0039537 | 0.0053386 | -0.00066552 | -57.177 | -57.1769 | -57.1769 | 122.7177 | 122.7178 | 122.7178 | 0.82209 | 0.94975 | 1.0052 | 0.82177 | 0.94963 | 1.0056 | -8.6931 | -118.4889 | 116.7876 | -8.6761 | -118.5124 | 116.7946
Line_1 | 9.2589e-05 | 9.2589e-05 | 9.2589e-05 | 0.00027771 | 0.00027771 | 0.00027771 | 0.0010691 | 0.0010691 | 0.0010691 | 0.0032067 | 0.0032067 | 0.0032067 | -0.00058015 | -0.00048943 | 0.0010696 | 0.0017425 | 0.0014656 | -0.0032074 | -0.00065966 | 0.00088948 | -0.00010983 | 0.0019769 | -0.0026693 | 0.00033276 | 122.6596 | 122.6597 | 122.6597 | -57.2823 | -57.2822 | -57.2822 | 0.82167 | 0.94959 | 1.0057 | 0.82177 | 0.94963 | 1.0056 | -8.6713 | -118.5191 | 116.7966 | -8.6761 | -118.5124 | 116.7946
Line_2 | 9.2589e-05 | 9.2589e-05 | 9.2589e-05 | 0.00027771 | 0.00027771 | 0.00027771 | 0.0010691 | 0.0010691 | 0.0010691 | 0.0032067 | 0.0032067 | 0.0032067 | -0.00058015 | -0.00048943 | 0.0010696 | 0.0017425 | 0.0014656 | -0.0032074 | -0.00065966 | 0.00088948 | -0.00010983 | 0.0019769 | -0.0026693 | 0.00033276 | 122.6596 | 122.6597 | 122.6597 | -57.2823 | -57.2822 | -57.2822 | 0.82167 | 0.94959 | 1.0057 | 0.82177 | 0.94963 | 1.0056 | -8.6713 | -118.5191 | 116.7966 | -8.6761 | -118.5124 | 116.7946
Line_3 | 9.2589e-05 | 9.2589e-05 | 9.2589e-05 | 9.2589e-05 | 9.2589e-05 | 9.2589e-05 | 0.0010691 | 0.0010691 | 0.0010691 | 0.0010691 | 0.0010691 | 0.0010691 | 0.00058015 | 0.00048943 | -0.0010696 | 0.00058015 | 0.00048943 | -0.0010696 | 0.00065966 | -0.00088948 | 0.00010983 | 0.00065966 | -0.00088948 | 0.00010983 | -57.3403 | -57.3403 | -57.3403 | -57.3403 | -57.3403 | -57.3403 | 0.82167 | 0.94959 | 1.0057 | 0.82167 | 0.94959 | 1.0057 | -8.6713 | -118.5191 | 116.7966 | -8.6713 | -118.5191 | 116.7966

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00074028 | 0.00074028 | 0.00074028 | 0.00055542 | 0.00055542 | 0.00055542 | 0.008548 | 0.008548 | 0.008548 | 0.0064134 | 0.0064134 | 0.0064134 | 0.0046579 | 0.0038972 | -0.0085447 | -0.0034849 | -0.0029313 | 0.0064147 | 0.0052618 | -0.0071219 | 0.00090343 | -0.0039537 | 0.0053386 | -0.00066552 | -57.177 | -57.1769 | -57.1769 | 122.7177 | 122.7178 | 122.7178 | 0.82209 | 0.94975 | 1.0052 | 0.82177 | 0.94963 | 1.0056 | -8.6931 | -118.4889 | 116.7876 | -8.6761 | -118.5124 | 116.7946
Line_1 | 9.2589e-05 | 9.2589e-05 | 9.2589e-05 | 0.00027771 | 0.00027771 | 0.00027771 | 0.0010691 | 0.0010691 | 0.0010691 | 0.0032067 | 0.0032067 | 0.0032067 | -0.00058015 | -0.00048943 | 0.0010696 | 0.0017425 | 0.0014656 | -0.0032074 | -0.00065966 | 0.00088948 | -0.00010983 | 0.0019769 | -0.0026693 | 0.00033276 | 122.6596 | 122.6597 | 122.6597 | -57.2823 | -57.2822 | -57.2822 | 0.82167 | 0.94959 | 1.0057 | 0.82177 | 0.94963 | 1.0056 | -8.6713 | -118.5191 | 116.7966 | -8.6761 | -118.5124 | 116.7946
Line_2 | 9.2589e-05 | 9.2589e-05 | 9.2589e-05 | 0.00027771 | 0.00027771 | 0.00027771 | 0.0010691 | 0.0010691 | 0.0010691 | 0.0032067 | 0.0032067 | 0.0032067 | -0.00058015 | -0.00048943 | 0.0010696 | 0.0017425 | 0.0014656 | -0.0032074 | -0.00065966 | 0.00088948 | -0.00010983 | 0.0019769 | -0.0026693 | 0.00033276 | 122.6596 | 122.6597 | 122.6597 | -57.2823 | -57.2822 | -57.2822 | 0.82167 | 0.94959 | 1.0057 | 0.82177 | 0.94963 | 1.0056 | -8.6713 | -118.5191 | 116.7966 | -8.6761 | -118.5124 | 116.7946
Line_3 | 9.2589e-05 | 9.2589e-05 | 9.2589e-05 | 9.2589e-05 | 9.2589e-05 | 9.2589e-05 | 0.0010691 | 0.0010691 | 0.0010691 | 0.0010691 | 0.0010691 | 0.0010691 | 0.00058015 | 0.00048943 | -0.0010696 | 0.00058015 | 0.00048943 | -0.0010696 | 0.00065966 | -0.00088948 | 0.00010983 | 0.00065966 | -0.00088948 | 0.00010983 | -57.3403 | -57.3403 | -57.3403 | -57.3403 | -57.3403 | -57.3403 | 0.82167 | 0.94959 | 1.0057 | 0.82167 | 0.94959 | 1.0057 | -8.6713 | -118.5191 | 116.7966 | -8.6713 | -118.5191 | 116.7966

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35146 | 0.34415 | 0.34368 | 0.3502 | 0.34471 | 0.34435 | 4.0583 | 3.9738 | 3.9685 | 4.0437 | 3.9803 | 3.9763 | -0.1438 | 4.789e-11 | 4.871e-11 | 0.21271 | 0.058268 | 0.060236 | -3.0999 | -4.2381e-11 | -4.1252e-11 | 3.1623 | 0.073895 | 0.064996 | 92.6284 | -26.5775 | -148.035 | -87.3614 | 153.2345 | 32.1429 | 0.76465 | 0 | 0 | 0.78379 | 0.023642 | 0.022286 | -0.027569 | 0 | 0 | -1.2096 | -155.0221 | 79.3193
Line_1 | 0.17384 | 0.17292 | 0.17286 | 0.1751 | 0.17235 | 0.17218 | 2.0073 | 1.9967 | 1.996 | 2.0219 | 1.9902 | 1.9881 | 0.12268 | 0.043967 | 0.045784 | -0.10636 | -0.029134 | -0.030118 | 1.5877 | 0.055457 | 0.049299 | -1.5811 | -0.036947 | -0.032498 | -87.3394 | 152.859 | 32.4963 | 92.6386 | -26.7655 | -147.8571 | 0.79335 | 0.035444 | 0.033707 | 0.78379 | 0.023642 | 0.022286 | -1.7575 | -155.549 | 79.6137 | -1.2096 | -155.0221 | 79.3193
Line_2 | 0.17384 | 0.17292 | 0.17286 | 0.1751 | 0.17235 | 0.17218 | 2.0073 | 1.9967 | 1.996 | 2.0219 | 1.9902 | 1.9881 | 0.12268 | 0.043967 | 0.045784 | -0.10636 | -0.029134 | -0.030118 | 1.5877 | 0.055457 | 0.049299 | -1.5811 | -0.036947 | -0.032498 | -87.3394 | 152.859 | 32.4963 | 92.6386 | -26.7655 | -147.8571 | 0.79335 | 0.035444 | 0.033707 | 0.78379 | 0.023642 | 0.022286 | -1.7575 | -155.549 | 79.6137 | -1.2096 | -155.0221 | 79.3193
Line_3 | 0.0006326 | 0.0006326 | 0.0006326 | 0.0006326 | 0.0006326 | 0.0006326 | 0.0073046 | 0.0073046 | 0.0073046 | 0.0073046 | 0.0073046 | 0.0073046 | -0.00013355 | -0.00010896 | 0.00024251 | -0.00013355 | -0.00010896 | 0.00024251 | -0.0057935 | 0.00023486 | -4.254e-05 | -0.0057935 | 0.00023486 | -4.254e-05 | 89.5631 | 89.5631 | 89.5631 | 89.5631 | 89.5631 | 89.5631 | 0.79335 | 0.035444 | 0.033707 | 0.79335 | 0.035444 | 0.033707 | -1.7575 | -155.549 | 79.6137 | -1.7575 | -155.549 | 79.6137

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35146 | 0.34415 | 0.34368 | 0.3502 | 0.34471 | 0.34435 | 4.0583 | 3.9738 | 3.9685 | 4.0437 | 3.9803 | 3.9763 | -0.1438 | 4.789e-11 | 4.871e-11 | 0.21271 | 0.058268 | 0.060236 | -3.0999 | -4.2381e-11 | -4.1252e-11 | 3.1623 | 0.073895 | 0.064996 | 92.6284 | -26.5775 | -148.035 | -87.3614 | 153.2345 | 32.1429 | 0.76465 | 0 | 0 | 0.78379 | 0.023642 | 0.022286 | -0.027569 | 0 | 0 | -1.2096 | -155.0221 | 79.3193
Line_1 | 0.17384 | 0.17292 | 0.17286 | 0.1751 | 0.17235 | 0.17218 | 2.0073 | 1.9967 | 1.996 | 2.0219 | 1.9902 | 1.9881 | 0.12268 | 0.043967 | 0.045784 | -0.10636 | -0.029134 | -0.030118 | 1.5877 | 0.055457 | 0.049299 | -1.5811 | -0.036947 | -0.032498 | -87.3394 | 152.859 | 32.4963 | 92.6386 | -26.7655 | -147.8571 | 0.79335 | 0.035444 | 0.033707 | 0.78379 | 0.023642 | 0.022286 | -1.7575 | -155.549 | 79.6137 | -1.2096 | -155.0221 | 79.3193
Line_2 | 0.17384 | 0.17292 | 0.17286 | 0.1751 | 0.17235 | 0.17218 | 2.0073 | 1.9967 | 1.996 | 2.0219 | 1.9902 | 1.9881 | 0.12268 | 0.043967 | 0.045784 | -0.10636 | -0.029134 | -0.030118 | 1.5877 | 0.055457 | 0.049299 | -1.5811 | -0.036947 | -0.032498 | -87.3394 | 152.859 | 32.4963 | 92.6386 | -26.7655 | -147.8571 | 0.79335 | 0.035444 | 0.033707 | 0.78379 | 0.023642 | 0.022286 | -1.7575 | -155.549 | 79.6137 | -1.2096 | -155.0221 | 79.3193
Line_3 | 0.0006326 | 0.0006326 | 0.0006326 | 0.0006326 | 0.0006326 | 0.0006326 | 0.0073046 | 0.0073046 | 0.0073046 | 0.0073046 | 0.0073046 | 0.0073046 | -0.00013355 | -0.00010896 | 0.00024251 | -0.00013355 | -0.00010896 | 0.00024251 | -0.0057935 | 0.00023486 | -4.254e-05 | -0.0057935 | 0.00023486 | -4.254e-05 | 89.5631 | 89.5631 | 89.5631 | 89.5631 | 89.5631 | 89.5631 | 0.79335 | 0.035444 | 0.033707 | 0.79335 | 0.035444 | 0.033707 | -1.7575 | -155.549 | 79.6137 | -1.7575 | -155.549 | 79.6137

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34712 | 0.34565 | 0.34645 | 0.34695 | 0.34584 | 0.34644 | 4.0082 | 3.9913 | 4.0005 | 4.0062 | 3.9935 | 4.0004 | -0.37352 | -0.9484 | -0.59406 | 0.43502 | 1.0092 | 0.65897 | -4.4535 | -3.7814 | -3.6459 | 4.523 | 3.8544 | 3.7154 | 92.7479 | -27.2636 | -147.4683 | -87.2711 | 152.7204 | 32.5667 | 1.115 | 0.97675 | 0.92337 | 1.1342 | 0.99772 | 0.94325 | -2.0465 | -131.3434 | 113.2771 | -2.7649 | -131.9519 | 112.5091
Line_1 | 0.17329 | 0.17311 | 0.17321 | 0.17347 | 0.17292 | 0.17322 | 2.001 | 1.9989 | 2.0001 | 2.0031 | 1.9967 | 2.0002 | 0.23149 | 0.51952 | 0.34739 | -0.21751 | -0.5046 | -0.32949 | 2.2771 | 1.9473 | 1.8747 | -2.2615 | -1.9272 | -1.8577 | -87.3091 | 152.6881 | 32.6369 | 92.7289 | -27.2796 | -147.4333 | 1.1438 | 1.0083 | 0.9533 | 1.1342 | 0.99772 | 0.94325 | -3.1137 | -132.2497 | 112.139 | -2.7649 | -131.9519 | 112.5091
Line_2 | 0.17329 | 0.17311 | 0.17321 | 0.17347 | 0.17292 | 0.17322 | 2.001 | 1.9989 | 2.0001 | 2.0031 | 1.9967 | 2.0002 | 0.23149 | 0.51952 | 0.34739 | -0.21751 | -0.5046 | -0.32949 | 2.2771 | 1.9473 | 1.8747 | -2.2615 | -1.9272 | -1.8577 | -87.3091 | 152.6881 | 32.6369 | 92.7289 | -27.2796 | -147.4333 | 1.1438 | 1.0083 | 0.9533 | 1.1342 | 0.99772 | 0.94325 | -3.1137 | -132.2497 | 112.139 | -2.7649 | -131.9519 | 112.5091
Line_3 | 0.00010622 | 0.00010622 | 0.00010622 | 0.00010622 | 0.00010622 | 0.00010622 | 0.0012266 | 0.0012266 | 0.0012266 | 0.0012266 | 0.0012266 | 0.0012266 | -0.00087326 | -0.00026493 | 0.0011382 | -0.00087326 | -0.00026493 | 0.0011382 | -0.0010981 | 0.001208 | -0.00026782 | -0.0010981 | 0.001208 | -0.00026782 | 125.3801 | 125.3801 | 125.3801 | 125.3801 | 125.3801 | 125.3801 | 1.1438 | 1.0083 | 0.9533 | 1.1438 | 1.0083 | 0.9533 | -3.1137 | -132.2497 | 112.139 | -3.1137 | -132.2497 | 112.139

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34712 | 0.34565 | 0.34645 | 0.34695 | 0.34584 | 0.34644 | 4.0082 | 3.9913 | 4.0005 | 4.0062 | 3.9935 | 4.0004 | -0.37352 | -0.9484 | -0.59406 | 0.43502 | 1.0092 | 0.65897 | -4.4535 | -3.7814 | -3.6459 | 4.523 | 3.8544 | 3.7154 | 92.7479 | -27.2636 | -147.4683 | -87.2711 | 152.7204 | 32.5667 | 1.115 | 0.97675 | 0.92337 | 1.1342 | 0.99772 | 0.94325 | -2.0465 | -131.3434 | 113.2771 | -2.7649 | -131.9519 | 112.5091
Line_1 | 0.17329 | 0.17311 | 0.17321 | 0.17347 | 0.17292 | 0.17322 | 2.001 | 1.9989 | 2.0001 | 2.0031 | 1.9967 | 2.0002 | 0.23149 | 0.51952 | 0.34739 | -0.21751 | -0.5046 | -0.32949 | 2.2771 | 1.9473 | 1.8747 | -2.2615 | -1.9272 | -1.8577 | -87.3091 | 152.6881 | 32.6369 | 92.7289 | -27.2796 | -147.4333 | 1.1438 | 1.0083 | 0.9533 | 1.1342 | 0.99772 | 0.94325 | -3.1137 | -132.2497 | 112.139 | -2.7649 | -131.9519 | 112.5091
Line_2 | 0.17329 | 0.17311 | 0.17321 | 0.17347 | 0.17292 | 0.17322 | 2.001 | 1.9989 | 2.0001 | 2.0031 | 1.9967 | 2.0002 | 0.23149 | 0.51952 | 0.34739 | -0.21751 | -0.5046 | -0.32949 | 2.2771 | 1.9473 | 1.8747 | -2.2615 | -1.9272 | -1.8577 | -87.3091 | 152.6881 | 32.6369 | 92.7289 | -27.2796 | -147.4333 | 1.1438 | 1.0083 | 0.9533 | 1.1342 | 0.99772 | 0.94325 | -3.1137 | -132.2497 | 112.139 | -2.7649 | -131.9519 | 112.5091
Line_3 | 0.00010622 | 0.00010622 | 0.00010622 | 0.00010622 | 0.00010622 | 0.00010622 | 0.0012266 | 0.0012266 | 0.0012266 | 0.0012266 | 0.0012266 | 0.0012266 | -0.00087326 | -0.00026493 | 0.0011382 | -0.00087326 | -0.00026493 | 0.0011382 | -0.0010981 | 0.001208 | -0.00026782 | -0.0010981 | 0.001208 | -0.00026782 | 125.3801 | 125.3801 | 125.3801 | 125.3801 | 125.3801 | 125.3801 | 1.1438 | 1.0083 | 0.9533 | 1.1438 | 1.0083 | 0.9533 | -3.1137 | -132.2497 | 112.139 | -3.1137 | -132.2497 | 112.139

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0043968 | 0.0043968 | 0.0043968 | 0.0032989 | 0.0032989 | 0.0032989 | 0.05077 | 0.05077 | 0.05077 | 0.038092 | 0.038092 | 0.038092 | 0.00036671 | 1.1081e-15 | 4.8949e-13 | -0.00023161 | 9.0062e-05 | 9.0062e-05 | -0.033748 | 5.6287e-13 | -2.8307e-13 | 0.025339 | 1.8689e-05 | 1.8689e-05 | 89.3061 | 89.3061 | 89.3061 | -90.7992 | -90.7993 | -90.7993 | 0.66476 | 0 | 0 | 0.66523 | 0.0024147 | 0.0024147 | -0.071379 | 0 | 0 | -0.27554 | -79.0763 | -79.0763
Line_1 | 0.00054993 | 0.00054993 | 0.00054993 | 0.0016494 | 0.0016494 | 0.0016494 | 0.00635 | 0.00635 | 0.00635 | 0.019046 | 0.019046 | 0.019046 | -3.8602e-05 | 1.9301e-05 | 1.9301e-05 | 0.00011581 | -4.5031e-05 | -4.5031e-05 | 0.0042249 | 4.0197e-06 | 4.0197e-06 | -0.012669 | -9.3443e-06 | -9.3443e-06 | -90.8573 | -90.8574 | -90.8574 | 89.2008 | 89.2007 | 89.2007 | 0.66536 | 0.0031048 | 0.0031048 | 0.66523 | 0.0024147 | 0.0024147 | -0.33385 | -79.0929 | -79.0929 | -0.27554 | -79.0763 | -79.0763
Line_2 | 0.00054993 | 0.00054993 | 0.00054993 | 0.0016494 | 0.0016494 | 0.0016494 | 0.00635 | 0.00635 | 0.00635 | 0.019046 | 0.019046 | 0.019046 | -3.8602e-05 | 1.9301e-05 | 1.9301e-05 | 0.00011581 | -4.5031e-05 | -4.5031e-05 | 0.0042249 | 4.0197e-06 | 4.0197e-06 | -0.012669 | -9.3443e-06 | -9.3443e-06 | -90.8573 | -90.8574 | -90.8574 | 89.2008 | 89.2007 | 89.2007 | 0.66536 | 0.0031048 | 0.0031048 | 0.66523 | 0.0024147 | 0.0024147 | -0.33385 | -79.0929 | -79.0929 | -0.27554 | -79.0763 | -79.0763
Line_3 | 0.00054993 | 0.00054993 | 0.00054993 | 0.00054993 | 0.00054993 | 0.00054993 | 0.00635 | 0.00635 | 0.00635 | 0.00635 | 0.00635 | 0.00635 | 3.8602e-05 | -1.9301e-05 | -1.9301e-05 | 3.8602e-05 | -1.9301e-05 | -1.9301e-05 | -0.0042249 | -4.0197e-06 | -4.0197e-06 | -0.0042249 | -4.0197e-06 | -4.0197e-06 | 89.1427 | 89.1427 | 89.1427 | 89.1427 | 89.1427 | 89.1427 | 0.66536 | 0.0031048 | 0.0031048 | 0.66536 | 0.0031048 | 0.0031048 | -0.33385 | -79.0929 | -79.0929 | -0.33385 | -79.0929 | -79.0929

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0043968 | 0.0043968 | 0.0043968 | 0.0032989 | 0.0032989 | 0.0032989 | 0.05077 | 0.05077 | 0.05077 | 0.038092 | 0.038092 | 0.038092 | 0.00036671 | 1.1081e-15 | 4.8949e-13 | -0.00023161 | 9.0062e-05 | 9.0062e-05 | -0.033748 | 5.6287e-13 | -2.8307e-13 | 0.025339 | 1.8689e-05 | 1.8689e-05 | 89.3061 | 89.3061 | 89.3061 | -90.7992 | -90.7993 | -90.7993 | 0.66476 | 0 | 0 | 0.66523 | 0.0024147 | 0.0024147 | -0.071379 | 0 | 0 | -0.27554 | -79.0763 | -79.0763
Line_1 | 0.00054993 | 0.00054993 | 0.00054993 | 0.0016494 | 0.0016494 | 0.0016494 | 0.00635 | 0.00635 | 0.00635 | 0.019046 | 0.019046 | 0.019046 | -3.8602e-05 | 1.9301e-05 | 1.9301e-05 | 0.00011581 | -4.5031e-05 | -4.5031e-05 | 0.0042249 | 4.0197e-06 | 4.0197e-06 | -0.012669 | -9.3443e-06 | -9.3443e-06 | -90.8573 | -90.8574 | -90.8574 | 89.2008 | 89.2007 | 89.2007 | 0.66536 | 0.0031048 | 0.0031048 | 0.66523 | 0.0024147 | 0.0024147 | -0.33385 | -79.0929 | -79.0929 | -0.27554 | -79.0763 | -79.0763
Line_2 | 0.00054993 | 0.00054993 | 0.00054993 | 0.0016494 | 0.0016494 | 0.0016494 | 0.00635 | 0.00635 | 0.00635 | 0.019046 | 0.019046 | 0.019046 | -3.8602e-05 | 1.9301e-05 | 1.9301e-05 | 0.00011581 | -4.5031e-05 | -4.5031e-05 | 0.0042249 | 4.0197e-06 | 4.0197e-06 | -0.012669 | -9.3443e-06 | -9.3443e-06 | -90.8573 | -90.8574 | -90.8574 | 89.2008 | 89.2007 | 89.2007 | 0.66536 | 0.0031048 | 0.0031048 | 0.66523 | 0.0024147 | 0.0024147 | -0.33385 | -79.0929 | -79.0929 | -0.27554 | -79.0763 | -79.0763
Line_3 | 0.00054993 | 0.00054993 | 0.00054993 | 0.00054993 | 0.00054993 | 0.00054993 | 0.00635 | 0.00635 | 0.00635 | 0.00635 | 0.00635 | 0.00635 | 3.8602e-05 | -1.9301e-05 | -1.9301e-05 | 3.8602e-05 | -1.9301e-05 | -1.9301e-05 | -0.0042249 | -4.0197e-06 | -4.0197e-06 | -0.0042249 | -4.0197e-06 | -4.0197e-06 | 89.1427 | 89.1427 | 89.1427 | 89.1427 | 89.1427 | 89.1427 | 0.66536 | 0.0031048 | 0.0031048 | 0.66536 | 0.0031048 | 0.0031048 | -0.33385 | -79.0929 | -79.0929 | -0.33385 | -79.0929 | -79.0929

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00077635 | 0.00077636 | 0.00077635 | 0.00058249 | 0.00058249 | 0.00058249 | 0.0089646 | 0.0089646 | 0.0089646 | 0.006726 | 0.006726 | 0.006726 | -0.0051115 | -0.001739 | 0.0068619 | 0.0038284 | 0.0013175 | -0.0051475 | -0.0068393 | 0.0072102 | -0.0014231 | 0.005139 | -0.0054067 | 0.0010589 | 124.7032 | 124.7031 | 124.7031 | -55.4022 | -55.4022 | -55.4022 | 0.95245 | 0.82736 | 0.78174 | 0.95277 | 0.82738 | 0.78135 | -2.0702 | -131.7369 | 112.9866 | -2.0872 | -131.7074 | 112.9742
Line_1 | 9.7102e-05 | 9.7102e-05 | 9.7101e-05 | 0.00029124 | 0.00029124 | 0.00029124 | 0.0011212 | 0.0011212 | 0.0011212 | 0.003363 | 0.003363 | 0.003363 | 0.00063747 | 0.00022068 | -0.00085815 | -0.0019142 | -0.00065875 | 0.0025738 | 0.00085736 | -0.00090106 | 0.00017567 | -0.0025695 | 0.0027034 | -0.00052943 | -55.4602 | -55.4603 | -55.4603 | 124.5978 | 124.5978 | 124.5978 | 0.95286 | 0.82738 | 0.78123 | 0.95277 | 0.82738 | 0.78135 | -2.0921 | -131.699 | 112.9707 | -2.0872 | -131.7074 | 112.9742
Line_2 | 9.7102e-05 | 9.7102e-05 | 9.7101e-05 | 0.00029124 | 0.00029124 | 0.00029124 | 0.0011212 | 0.0011212 | 0.0011212 | 0.003363 | 0.003363 | 0.003363 | 0.00063747 | 0.00022068 | -0.00085815 | -0.0019142 | -0.00065875 | 0.0025738 | 0.00085736 | -0.00090106 | 0.00017567 | -0.0025695 | 0.0027034 | -0.00052943 | -55.4602 | -55.4603 | -55.4603 | 124.5978 | 124.5978 | 124.5978 | 0.95286 | 0.82738 | 0.78123 | 0.95277 | 0.82738 | 0.78135 | -2.0921 | -131.699 | 112.9707 | -2.0872 | -131.7074 | 112.9742
Line_3 | 9.7102e-05 | 9.7102e-05 | 9.7102e-05 | 9.7102e-05 | 9.7102e-05 | 9.7102e-05 | 0.0011212 | 0.0011212 | 0.0011212 | 0.0011212 | 0.0011212 | 0.0011212 | -0.00063747 | -0.00022068 | 0.00085815 | -0.00063747 | -0.00022068 | 0.00085815 | -0.00085736 | 0.00090106 | -0.00017567 | -0.00085736 | 0.00090106 | -0.00017567 | 124.5397 | 124.5397 | 124.5397 | 124.5397 | 124.5397 | 124.5397 | 0.95286 | 0.82738 | 0.78123 | 0.95286 | 0.82738 | 0.78123 | -2.0921 | -131.699 | 112.9707 | -2.0921 | -131.699 | 112.9707

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00077635 | 0.00077636 | 0.00077635 | 0.00058249 | 0.00058249 | 0.00058249 | 0.0089646 | 0.0089646 | 0.0089646 | 0.006726 | 0.006726 | 0.006726 | -0.0051115 | -0.001739 | 0.0068619 | 0.0038284 | 0.0013175 | -0.0051475 | -0.0068393 | 0.0072102 | -0.0014231 | 0.005139 | -0.0054067 | 0.0010589 | 124.7032 | 124.7031 | 124.7031 | -55.4022 | -55.4022 | -55.4022 | 0.95245 | 0.82736 | 0.78174 | 0.95277 | 0.82738 | 0.78135 | -2.0702 | -131.7369 | 112.9866 | -2.0872 | -131.7074 | 112.9742
Line_1 | 9.7102e-05 | 9.7102e-05 | 9.7101e-05 | 0.00029124 | 0.00029124 | 0.00029124 | 0.0011212 | 0.0011212 | 0.0011212 | 0.003363 | 0.003363 | 0.003363 | 0.00063747 | 0.00022068 | -0.00085815 | -0.0019142 | -0.00065875 | 0.0025738 | 0.00085736 | -0.00090106 | 0.00017567 | -0.0025695 | 0.0027034 | -0.00052943 | -55.4602 | -55.4603 | -55.4603 | 124.5978 | 124.5978 | 124.5978 | 0.95286 | 0.82738 | 0.78123 | 0.95277 | 0.82738 | 0.78135 | -2.0921 | -131.699 | 112.9707 | -2.0872 | -131.7074 | 112.9742
Line_2 | 9.7102e-05 | 9.7102e-05 | 9.7101e-05 | 0.00029124 | 0.00029124 | 0.00029124 | 0.0011212 | 0.0011212 | 0.0011212 | 0.003363 | 0.003363 | 0.003363 | 0.00063747 | 0.00022068 | -0.00085815 | -0.0019142 | -0.00065875 | 0.0025738 | 0.00085736 | -0.00090106 | 0.00017567 | -0.0025695 | 0.0027034 | -0.00052943 | -55.4602 | -55.4603 | -55.4603 | 124.5978 | 124.5978 | 124.5978 | 0.95286 | 0.82738 | 0.78123 | 0.95277 | 0.82738 | 0.78135 | -2.0921 | -131.699 | 112.9707 | -2.0872 | -131.7074 | 112.9742
Line_3 | 9.7102e-05 | 9.7102e-05 | 9.7102e-05 | 9.7102e-05 | 9.7102e-05 | 9.7102e-05 | 0.0011212 | 0.0011212 | 0.0011212 | 0.0011212 | 0.0011212 | 0.0011212 | -0.00063747 | -0.00022068 | 0.00085815 | -0.00063747 | -0.00022068 | 0.00085815 | -0.00085736 | 0.00090106 | -0.00017567 | -0.00085736 | 0.00090106 | -0.00017567 | 124.5397 | 124.5397 | 124.5397 | 124.5397 | 124.5397 | 124.5397 | 0.95286 | 0.82738 | 0.78123 | 0.95286 | 0.82738 | 0.78123 | -2.0921 | -131.699 | 112.9707 | -2.0921 | -131.699 | 112.9707