## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6881 | 3.6881 | 0 | 0 | 127.7608 | 127.7608 | 35.7117 | -14.492 | 40.4916 | -16.4154 | -73.4178 | 106.5822 | 0.42258 | 0.17139 | -24.8286 | -24.8568
Line_1 | 2.5165 | 2.5165 | 5.0352 | 0 | 87.1726 | 87.1726 | -1e-07 | 9.8788 | -1e-07 | 11.2086 | 106.5347 | -73.4653 | 0 | 0.17139 | 0 | -24.8568
Line_2 | 1.1717 | 1.1717 | 0 | 0 | 40.5883 | 40.5883 | -2.4716 | 4.6132 | -2.7769 | 5.2068 | 106.6843 | -73.3157 | 0.091591 | 0.17139 | -24.9872 | -24.8568
Line_3 | 1.3448 | 1.3448 | 2.64 | 0 | 46.5845 | 46.5845 | -1e-07 | 2.8212 | -1e-07 | 3.2009 | 106.4044 | -73.5956 | 0 | 0.091591 | 0 | -24.9872

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6881 | 3.6881 | 0 | 0 | 127.7608 | 127.7608 | 35.7117 | -14.492 | 40.4916 | -16.4154 | -73.4178 | 106.5822 | 0.42258 | 0.17139 | -24.8286 | -24.8568
Line_1 | 2.5165 | 2.5165 | 5.0352 | 0 | 87.1726 | 87.1726 | -1e-07 | 9.8788 | -1e-07 | 11.2086 | 106.5347 | -73.4653 | 0 | 0.17139 | 0 | -24.8568
Line_2 | 1.1717 | 1.1717 | 0 | 0 | 40.5883 | 40.5883 | -2.4716 | 4.6132 | -2.7769 | 5.2068 | 106.6843 | -73.3157 | 0.091591 | 0.17139 | -24.9872 | -24.8568
Line_3 | 1.3448 | 1.3448 | 2.64 | 0 | 46.5845 | 46.5845 | -1e-07 | 2.8212 | -1e-07 | 3.2009 | 106.4044 | -73.5956 | 0 | 0.091591 | 0 | -24.9872

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0373 | 1.0373 | 0 | 0 | 35.932 | 35.932 | 26.3132 | -24.6348 | 21.7282 | -19.8239 | -47.5823 | 132.4177 | 0.94971 | 0.88001 | -8.034 | -8.7583
Line_1 | 0.74302 | 0.74302 | 1.5452 | 0 | 25.7391 | 25.7391 | -16.2572 | 17.1185 | -13.8556 | 14.8328 | 130.3335 | -49.6665 | 0.82989 | 0.88001 | -9.2264 | -8.7583
Line_2 | 0.29597 | 0.29597 | 0 | 0 | 10.2527 | 10.2527 | -7.3796 | 7.5163 | -4.836 | 4.9911 | 137.6561 | -42.3439 | 0.86056 | 0.88001 | -9.1062 | -8.7583
Line_3 | 0.45105 | 0.45105 | 0.88584 | 0 | 15.6247 | 15.6247 | -9.1308 | 9.4482 | -9.2068 | 9.5669 | 125.536 | -54.464 | 0.82989 | 0.86056 | -9.2264 | -9.1062

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0373 | 1.0373 | 0 | 0 | 35.932 | 35.932 | 26.3132 | -24.6348 | 21.7282 | -19.8239 | -47.5823 | 132.4177 | 0.94971 | 0.88001 | -8.034 | -8.7583
Line_1 | 0.74302 | 0.74302 | 1.5452 | 0 | 25.7391 | 25.7391 | -16.2572 | 17.1185 | -13.8556 | 14.8328 | 130.3335 | -49.6665 | 0.82989 | 0.88001 | -9.2264 | -8.7583
Line_2 | 0.29597 | 0.29597 | 0 | 0 | 10.2527 | 10.2527 | -7.3796 | 7.5163 | -4.836 | 4.9911 | 137.6561 | -42.3439 | 0.86056 | 0.88001 | -9.1062 | -8.7583
Line_3 | 0.45105 | 0.45105 | 0.88584 | 0 | 15.6247 | 15.6247 | -9.1308 | 9.4482 | -9.2068 | 9.5669 | 125.536 | -54.464 | 0.82989 | 0.86056 | -9.2264 | -9.1062

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.0092 | 3.0092 | 0 | 0 | 104.2421 | 104.2421 | 45.2043 | -18.0817 | 26.7133 | -10.6853 | -62.3733 | 117.6267 | 0.50371 | 0.20148 | -31.7926 | -31.7926
Line_1 | 2.0061 | 2.0061 | 3.4722 | 0 | 69.4947 | 69.4947 | -1e-07 | 12.0545 | -1e-07 | 7.1235 | 117.6267 | -62.3733 | 0 | 0.20148 | 0 | -31.7926
Line_2 | 1.0031 | 1.0031 | 0 | 0 | 34.7474 | 34.7474 | -3.0136 | 6.0272 | -1.7809 | 3.5618 | 117.6267 | -62.3733 | 0.10074 | 0.20148 | -31.7926 | -31.7926
Line_3 | 1.0031 | 1.0031 | 1.7361 | 0 | 34.7474 | 34.7474 | -1e-07 | 3.0136 | -1e-07 | 1.7809 | 117.6267 | -62.3733 | 0 | 0.10074 | 0 | -31.7926

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.0092 | 3.0092 | 0 | 0 | 104.2421 | 104.2421 | 45.2043 | -18.0817 | 26.7133 | -10.6853 | -62.3733 | 117.6267 | 0.50371 | 0.20148 | -31.7926 | -31.7926
Line_1 | 2.0061 | 2.0061 | 3.4722 | 0 | 69.4947 | 69.4947 | -1e-07 | 12.0545 | -1e-07 | 7.1235 | 117.6267 | -62.3733 | 0 | 0.20148 | 0 | -31.7926
Line_2 | 1.0031 | 1.0031 | 0 | 0 | 34.7474 | 34.7474 | -3.0136 | 6.0272 | -1.7809 | 3.5618 | 117.6267 | -62.3733 | 0.10074 | 0.20148 | -31.7926 | -31.7926
Line_3 | 1.0031 | 1.0031 | 1.7361 | 0 | 34.7474 | 34.7474 | -1e-07 | 3.0136 | -1e-07 | 1.7809 | 117.6267 | -62.3733 | 0 | 0.10074 | 0 | -31.7926

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0697 | 1.0697 | 0 | 0 | 37.0569 | 37.0569 | 22.8777 | -19.4502 | 20.541 | -18.5155 | -51.0933 | 128.9067 | 0.8297 | 0.72467 | -9.1739 | -7.5036
Line_1 | 0.71316 | 0.71316 | 1.2343 | 0 | 24.7046 | 24.7046 | -11.4434 | 12.9668 | -11.4434 | 12.3437 | 128.9067 | -51.0933 | 0.65508 | 0.72467 | -6.0933 | -7.5036
Line_2 | 0.35658 | 0.35658 | 0 | 0 | 12.3523 | 12.3523 | -6.1026 | 6.4834 | -5.9468 | 6.1718 | 128.9067 | -51.0933 | 0.68982 | 0.72467 | -6.834 | -7.5036
Line_3 | 0.35658 | 0.35658 | 0.61717 | 0 | 12.3523 | 12.3523 | -5.7217 | 6.1026 | -5.7217 | 5.9468 | 128.9067 | -51.0933 | 0.65508 | 0.68982 | -6.0933 | -6.834

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0697 | 1.0697 | 0 | 0 | 37.0569 | 37.0569 | 22.8777 | -19.4502 | 20.541 | -18.5155 | -51.0933 | 128.9067 | 0.8297 | 0.72467 | -9.1739 | -7.5036
Line_1 | 0.71316 | 0.71316 | 1.2343 | 0 | 24.7046 | 24.7046 | -11.4434 | 12.9668 | -11.4434 | 12.3437 | 128.9067 | -51.0933 | 0.65508 | 0.72467 | -6.0933 | -7.5036
Line_2 | 0.35658 | 0.35658 | 0 | 0 | 12.3523 | 12.3523 | -6.1026 | 6.4834 | -5.9468 | 6.1718 | 128.9067 | -51.0933 | 0.68982 | 0.72467 | -6.834 | -7.5036
Line_3 | 0.35658 | 0.35658 | 0.61717 | 0 | 12.3523 | 12.3523 | -5.7217 | 6.1026 | -5.7217 | 5.9468 | 128.9067 | -51.0933 | 0.65508 | 0.68982 | -6.0933 | -6.834

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34636 | 3.202 | 3.1954 | 0.34636 | 3.202 | 3.1954 | 3.9994 | 36.9732 | 36.8978 | 3.9994 | 36.9732 | 36.8978 | -1.1886 | 29.9053 | -12.6438 | 1.251 | -24.574 | 17.9534 | -4.5163 | 2.6474 | 15.3402 | 4.587 | 3.4016 | -9.3158 | 105.4999 | -160.318 | 13.4761 | -74.5001 | 19.682 | -166.5239 | 1.1677 | 0.812 | 0.53877 | 1.1888 | 0.67098 | 0.54818 | 0.75518 | -155.259 | 142.9723 | 0.24528 | -168.199 | 166.0518
Line_1 | 0.17318 | 2.1821 | 2.18 | 0.17318 | 2.1821 | 2.18 | 1.9997 | 25.1967 | 25.1721 | 1.9997 | 25.1967 | 25.1721 | 0.65428 | -14.3042 | 14.6313 | -0.63869 | 16.7802 | -12.1601 | 2.3076 | 4.872 | -3.7182 | -2.2899 | -2.0627 | 6.522 | -74.1703 | 18.8087 | -165.7416 | 105.8297 | -161.1913 | 14.2584 | 1.1995 | 0.59973 | 0.59973 | 1.1888 | 0.67098 | 0.54818 | -8.1967e-06 | 180 | 180 | 0.24528 | -168.199 | 166.0518
Line_2 | 0.17318 | 1.0207 | 1.0161 | 0.17318 | 1.0207 | 1.0161 | 1.9997 | 11.7857 | 11.7331 | 1.9997 | 11.7857 | 11.7331 | 0.62788 | -7.2521 | 6.3302 | -0.61228 | 7.7938 | -5.7933 | 2.3148 | 1.9536 | -2.1846 | -2.2971 | -1.339 | 2.7938 | -74.8299 | 21.5492 | -168.2026 | 105.1701 | -158.4508 | 11.7974 | 1.1994 | 0.63726 | 0.57074 | 1.1888 | 0.67098 | 0.54818 | -0.0058437 | -173.5277 | 172.7571 | 0.24528 | -168.199 | 166.0518
Line_3 | 0.0019937 | 1.1636 | 1.1656 | 0.0019937 | 1.1636 | 1.1656 | 0.023021 | 13.4363 | 13.4593 | 0.023021 | 13.4363 | 13.4593 | 0.026608 | -7.73 | 7.7433 | -0.026606 | 8.4341 | -7.0368 | -0.0073793 | 2.2758 | -2.2795 | 0.0073817 | -1.477 | 3.0811 | 15.5004 | 16.4052 | -163.5964 | -164.4996 | -163.5948 | 16.4036 | 1.1995 | 0.59973 | 0.59973 | 1.1994 | 0.63726 | 0.57074 | -8.1967e-06 | 180 | 180 | -0.0058437 | -173.5277 | 172.7571

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34636 | 3.202 | 3.1954 | 0.34636 | 3.202 | 3.1954 | 3.9994 | 36.9732 | 36.8978 | 3.9994 | 36.9732 | 36.8978 | -1.1886 | 29.9053 | -12.6438 | 1.251 | -24.574 | 17.9534 | -4.5163 | 2.6474 | 15.3402 | 4.587 | 3.4016 | -9.3158 | 105.4999 | -160.318 | 13.4761 | -74.5001 | 19.682 | -166.5239 | 1.1677 | 0.812 | 0.53877 | 1.1888 | 0.67098 | 0.54818 | 0.75518 | -155.259 | 142.9723 | 0.24528 | -168.199 | 166.0518
Line_1 | 0.17318 | 2.1821 | 2.18 | 0.17318 | 2.1821 | 2.18 | 1.9997 | 25.1967 | 25.1721 | 1.9997 | 25.1967 | 25.1721 | 0.65428 | -14.3042 | 14.6313 | -0.63869 | 16.7802 | -12.1601 | 2.3076 | 4.872 | -3.7182 | -2.2899 | -2.0627 | 6.522 | -74.1703 | 18.8087 | -165.7416 | 105.8297 | -161.1913 | 14.2584 | 1.1995 | 0.59973 | 0.59973 | 1.1888 | 0.67098 | 0.54818 | -8.1967e-06 | 180 | 180 | 0.24528 | -168.199 | 166.0518
Line_2 | 0.17318 | 1.0207 | 1.0161 | 0.17318 | 1.0207 | 1.0161 | 1.9997 | 11.7857 | 11.7331 | 1.9997 | 11.7857 | 11.7331 | 0.62788 | -7.2521 | 6.3302 | -0.61228 | 7.7938 | -5.7933 | 2.3148 | 1.9536 | -2.1846 | -2.2971 | -1.339 | 2.7938 | -74.8299 | 21.5492 | -168.2026 | 105.1701 | -158.4508 | 11.7974 | 1.1994 | 0.63726 | 0.57074 | 1.1888 | 0.67098 | 0.54818 | -0.0058437 | -173.5277 | 172.7571 | 0.24528 | -168.199 | 166.0518
Line_3 | 0.0019937 | 1.1636 | 1.1656 | 0.0019937 | 1.1636 | 1.1656 | 0.023021 | 13.4363 | 13.4593 | 0.023021 | 13.4363 | 13.4593 | 0.026608 | -7.73 | 7.7433 | -0.026606 | 8.4341 | -7.0368 | -0.0073793 | 2.2758 | -2.2795 | 0.0073817 | -1.477 | 3.0811 | 15.5004 | 16.4052 | -163.5964 | -164.4996 | -163.5948 | 16.4036 | 1.1995 | 0.59973 | 0.59973 | 1.1994 | 0.63726 | 0.57074 | -8.1967e-06 | 180 | 180 | -0.0058437 | -173.5277 | 172.7571

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34636 | 1.5527 | 1.4433 | 0.34636 | 1.5527 | 1.4433 | 3.9994 | 17.9294 | 16.6655 | 3.9994 | 17.9294 | 16.6655 | -1.1886 | 18.2857 | -1.0226 | 1.251 | -17.032 | 2.1058 | -4.5163 | 1.1452 | 13.5061 | 4.587 | 0.27727 | -12.2771 | 105.4999 | -139.8929 | 27.5046 | -74.5001 | 40.1071 | -152.4954 | 1.1677 | 1.0219 | 0.81274 | 1.1888 | 0.95008 | 0.74743 | 0.75519 | -136.3092 | 121.8343 | 0.24528 | -140.8255 | 127.2372
Line_1 | 0.17318 | 1.0688 | 1.0175 | 0.17318 | 1.0688 | 1.0175 | 1.9997 | 12.3418 | 11.7495 | 1.9997 | 12.3418 | 11.7495 | 0.65428 | -11.127 | 1.8792 | -0.63869 | 11.721 | -1.3408 | 2.3076 | 0.34217 | -8.0681 | -2.2899 | 0.33185 | 8.679 | -74.1703 | 37.5527 | -151.5445 | 105.8297 | -142.4473 | 28.4555 | 1.1995 | 0.90199 | 0.70506 | 1.1888 | 0.95008 | 0.74743 | -5.8121e-06 | -144.2086 | 131.5665 | 0.24528 | -140.8255 | 127.2372
Line_2 | 0.17318 | 0.48729 | 0.42622 | 0.17318 | 0.48729 | 0.42622 | 1.9997 | 5.6267 | 4.9215 | 1.9997 | 5.6267 | 4.9215 | 0.62788 | -5.1875 | 0.85947 | -0.61228 | 5.311 | -0.76501 | 2.3148 | 0.74921 | -3.4909 | -2.2971 | -0.60912 | 3.5981 | -74.8299 | 45.7171 | -154.7659 | 105.1701 | -134.2829 | 25.2341 | 1.1994 | 0.93151 | 0.7305 | 1.1888 | 0.95008 | 0.74743 | -0.0058413 | -142.501 | 129.0653 | 0.24528 | -140.8255 | 127.2372
Line_3 | 0.0019937 | 0.59055 | 0.59248 | 0.0019937 | 0.59055 | 0.59248 | 0.023021 | 6.8191 | 6.8413 | 0.023021 | 6.8191 | 6.8413 | 0.026608 | -6.1277 | 0.90336 | -0.026606 | 6.309 | -0.72083 | -0.0073792 | -0.53266 | -4.7382 | 0.0073815 | 0.73843 | 4.9453 | 15.5002 | 30.8233 | -149.2277 | -164.4998 | -149.1767 | 30.7723 | 1.1995 | 0.90199 | 0.70506 | 1.1994 | 0.93151 | 0.7305 | -5.8121e-06 | -144.2086 | 131.5665 | -0.0058413 | -142.501 | 129.0653

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34636 | 1.5527 | 1.4433 | 0.34636 | 1.5527 | 1.4433 | 3.9994 | 17.9294 | 16.6655 | 3.9994 | 17.9294 | 16.6655 | -1.1886 | 18.2857 | -1.0226 | 1.251 | -17.032 | 2.1058 | -4.5163 | 1.1452 | 13.5061 | 4.587 | 0.27727 | -12.2771 | 105.4999 | -139.8929 | 27.5046 | -74.5001 | 40.1071 | -152.4954 | 1.1677 | 1.0219 | 0.81274 | 1.1888 | 0.95008 | 0.74743 | 0.75519 | -136.3092 | 121.8343 | 0.24528 | -140.8255 | 127.2372
Line_1 | 0.17318 | 1.0688 | 1.0175 | 0.17318 | 1.0688 | 1.0175 | 1.9997 | 12.3418 | 11.7495 | 1.9997 | 12.3418 | 11.7495 | 0.65428 | -11.127 | 1.8792 | -0.63869 | 11.721 | -1.3408 | 2.3076 | 0.34217 | -8.0681 | -2.2899 | 0.33185 | 8.679 | -74.1703 | 37.5527 | -151.5445 | 105.8297 | -142.4473 | 28.4555 | 1.1995 | 0.90199 | 0.70506 | 1.1888 | 0.95008 | 0.74743 | -5.8121e-06 | -144.2086 | 131.5665 | 0.24528 | -140.8255 | 127.2372
Line_2 | 0.17318 | 0.48729 | 0.42622 | 0.17318 | 0.48729 | 0.42622 | 1.9997 | 5.6267 | 4.9215 | 1.9997 | 5.6267 | 4.9215 | 0.62788 | -5.1875 | 0.85947 | -0.61228 | 5.311 | -0.76501 | 2.3148 | 0.74921 | -3.4909 | -2.2971 | -0.60912 | 3.5981 | -74.8299 | 45.7171 | -154.7659 | 105.1701 | -134.2829 | 25.2341 | 1.1994 | 0.93151 | 0.7305 | 1.1888 | 0.95008 | 0.74743 | -0.0058413 | -142.501 | 129.0653 | 0.24528 | -140.8255 | 127.2372
Line_3 | 0.0019937 | 0.59055 | 0.59248 | 0.0019937 | 0.59055 | 0.59248 | 0.023021 | 6.8191 | 6.8413 | 0.023021 | 6.8191 | 6.8413 | 0.026608 | -6.1277 | 0.90336 | -0.026606 | 6.309 | -0.72083 | -0.0073792 | -0.53266 | -4.7382 | 0.0073815 | 0.73843 | 4.9453 | 15.5002 | 30.8233 | -149.2277 | -164.4998 | -149.1767 | 30.7723 | 1.1995 | 0.90199 | 0.70506 | 1.1994 | 0.93151 | 0.7305 | -5.8121e-06 | -144.2086 | 131.5665 | -0.0058413 | -142.501 | 129.0653

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.6061 | 2.6061 | 0 | 2.6061 | 2.6061 | 0 | 30.0921 | 30.0921 | 0 | 30.0921 | 30.0921 | 2.8422e-14 | 24.6317 | -2.0295 | -2.8422e-14 | -17.851 | 8.8102 | -1.6579e-14 | -0.29866 | 13.6553 | 1.6579e-14 | 4.3057 | -9.6483 | 0 | -152.3733 | 27.6267 | 0 | 27.6267 | -152.3733 | 1 | 0.8186 | 0.45877 | 1 | 0.61023 | 0.43419 | 4.0053e-13 | -153.068 | 126.0805 | 3.7042e-13 | -165.934 | 160.0269
Line_1 | 0 | 1.7374 | 1.7374 | 0 | 1.7374 | 1.7374 | 0 | 20.0614 | 20.0614 | 0 | 20.0614 | 20.0614 | -1.5395e-14 | -8.8871 | 8.8871 | 1.5395e-14 | 11.9007 | -5.8735 | 9.4739e-15 | 4.6513 | -4.6513 | -9.4739e-15 | -2.8704 | 6.4322 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.61023 | 0.43419 | 3.3989e-13 | -180 | 180 | 3.7042e-13 | -165.934 | 160.0269
Line_2 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -8.2897e-15 | -5.1969 | 3.6901 | 1.0658e-14 | 5.9503 | -2.9367 | -4.737e-15 | 1.8804 | -2.7709 | 6.8905e-29 | -1.4352 | 3.2161 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.55098 | 0.46005 | 1 | 0.61023 | 0.43419 | 3.3888e-13 | -172.2653 | 170.7242 | 3.7042e-13 | -165.934 | 160.0269
Line_3 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -4.737e-15 | -4.4435 | 4.4435 | 7.1054e-15 | 5.1969 | -3.6901 | 9.4739e-15 | 2.3257 | -2.3257 | -1.4211e-14 | -1.8804 | 2.7709 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.55098 | 0.46005 | 3.3989e-13 | -180 | 180 | 3.3888e-13 | -172.2653 | 170.7242

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.6061 | 2.6061 | 0 | 2.6061 | 2.6061 | 0 | 30.0921 | 30.0921 | 0 | 30.0921 | 30.0921 | 2.8422e-14 | 24.6317 | -2.0295 | -2.8422e-14 | -17.851 | 8.8102 | -1.6579e-14 | -0.29866 | 13.6553 | 1.6579e-14 | 4.3057 | -9.6483 | 0 | -152.3733 | 27.6267 | 0 | 27.6267 | -152.3733 | 1 | 0.8186 | 0.45877 | 1 | 0.61023 | 0.43419 | 4.0053e-13 | -153.068 | 126.0805 | 3.7042e-13 | -165.934 | 160.0269
Line_1 | 0 | 1.7374 | 1.7374 | 0 | 1.7374 | 1.7374 | 0 | 20.0614 | 20.0614 | 0 | 20.0614 | 20.0614 | -1.5395e-14 | -8.8871 | 8.8871 | 1.5395e-14 | 11.9007 | -5.8735 | 9.4739e-15 | 4.6513 | -4.6513 | -9.4739e-15 | -2.8704 | 6.4322 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.61023 | 0.43419 | 3.3989e-13 | -180 | 180 | 3.7042e-13 | -165.934 | 160.0269
Line_2 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -8.2897e-15 | -5.1969 | 3.6901 | 1.0658e-14 | 5.9503 | -2.9367 | -4.737e-15 | 1.8804 | -2.7709 | 6.8905e-29 | -1.4352 | 3.2161 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.55098 | 0.46005 | 1 | 0.61023 | 0.43419 | 3.3888e-13 | -172.2653 | 170.7242 | 3.7042e-13 | -165.934 | 160.0269
Line_3 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -4.737e-15 | -4.4435 | 4.4435 | 7.1054e-15 | 5.1969 | -3.6901 | 9.4739e-15 | 2.3257 | -2.3257 | -1.4211e-14 | -1.8804 | 2.7709 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.55098 | 0.46005 | 3.3989e-13 | -180 | 180 | 3.3888e-13 | -172.2653 | 170.7242

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3721 | 1.3721 | 0 | 1.3721 | 1.3721 | 0 | 15.8432 | 15.8432 | 0 | 15.8432 | 15.8432 | 1.4803e-14 | 14.2512 | 1.4266 | -1.4803e-14 | -12.3717 | 0.45296 | -9.4739e-15 | 1.9064 | 11.2087 | 9.4739e-15 | -0.79565 | -10.098 | 0 | -144.0449 | 35.9551 | 0 | 35.9551 | -144.0449 | 1 | 0.90753 | 0.71319 | 1 | 0.7825 | 0.63801 | 1.9755e-13 | -136.4258 | 118.7019 | 1.795e-13 | -140.3651 | 128.5235
Line_1 | 0 | 0.9147 | 0.9147 | 0 | 0.9147 | 0.9147 | 0 | 10.5621 | 10.5621 | 0 | 10.5621 | 10.5621 | -1.125e-14 | -7.4125 | 1.1373 | 1.2434e-14 | 8.2478 | -0.30197 | 9.4739e-15 | -0.036791 | -6.2383 | -7.1054e-15 | 0.53044 | 6.732 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.7825 | 0.63801 | 1.6214e-13 | -143.7605 | 136.2873 | 1.795e-13 | -140.3651 | 128.5235
Line_2 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -1.125e-14 | -3.9151 | 0.35982 | 9.4739e-15 | 4.1239 | -0.15099 | 9.4739e-15 | -0.14181 | -3.2426 | -4.737e-15 | 0.26522 | 3.366 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.74183 | 0.61777 | 1 | 0.7825 | 0.63801 | 1.6103e-13 | -141.9705 | 132.2872 | 1.795e-13 | -140.3651 | 128.5235
Line_3 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | 0 | -3.7062 | 0.56866 | 5.9212e-16 | 3.9151 | -0.35982 | 0 | -0.018396 | -3.1192 | 1.6642e-30 | 0.14181 | 3.2426 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.74183 | 0.61777 | 1.6214e-13 | -143.7605 | 136.2873 | 1.6103e-13 | -141.9705 | 132.2872

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3721 | 1.3721 | 0 | 1.3721 | 1.3721 | 0 | 15.8432 | 15.8432 | 0 | 15.8432 | 15.8432 | 1.4803e-14 | 14.2512 | 1.4266 | -1.4803e-14 | -12.3717 | 0.45296 | -9.4739e-15 | 1.9064 | 11.2087 | 9.4739e-15 | -0.79565 | -10.098 | 0 | -144.0449 | 35.9551 | 0 | 35.9551 | -144.0449 | 1 | 0.90753 | 0.71319 | 1 | 0.7825 | 0.63801 | 1.9755e-13 | -136.4258 | 118.7019 | 1.795e-13 | -140.3651 | 128.5235
Line_1 | 0 | 0.9147 | 0.9147 | 0 | 0.9147 | 0.9147 | 0 | 10.5621 | 10.5621 | 0 | 10.5621 | 10.5621 | -1.125e-14 | -7.4125 | 1.1373 | 1.2434e-14 | 8.2478 | -0.30197 | 9.4739e-15 | -0.036791 | -6.2383 | -7.1054e-15 | 0.53044 | 6.732 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.7825 | 0.63801 | 1.6214e-13 | -143.7605 | 136.2873 | 1.795e-13 | -140.3651 | 128.5235
Line_2 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -1.125e-14 | -3.9151 | 0.35982 | 9.4739e-15 | 4.1239 | -0.15099 | 9.4739e-15 | -0.14181 | -3.2426 | -4.737e-15 | 0.26522 | 3.366 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.74183 | 0.61777 | 1 | 0.7825 | 0.63801 | 1.6103e-13 | -141.9705 | 132.2872 | 1.795e-13 | -140.3651 | 128.5235
Line_3 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | 0 | -3.7062 | 0.56866 | 5.9212e-16 | 3.9151 | -0.35982 | 0 | -0.018396 | -3.1192 | 1.6642e-30 | 0.14181 | 3.2426 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.74183 | 0.61777 | 1.6214e-13 | -143.7605 | 136.2873 | 1.6103e-13 | -141.9705 | 132.2872

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.9253 | 0.34567 | 0.35464 | 2.9246 | 0.34556 | 0.35368 | 33.7787 | 3.9915 | 4.095 | 33.7706 | 3.9901 | 4.0839 | 24.4915 | -0.75176 | -1.8016 | -9.8545 | 1.9891 | 1.6636 | 12.235 | -4.1145 | -4.5271 | -4.9313 | 3.7694 | 5.8391 | -47.7792 | -16.0045 | -133.8794 | 132.2387 | 164.1863 | 46.0164 | 0.8105 | 1.0479 | 1.1898 | 0.3263 | 1.0681 | 1.4867 | -21.2342 | -116.3588 | 114.4201 | -21.1774 | -133.6344 | 120.1135
Line_1 | 1.9992 | 0.17301 | 0.1745 | 2.0004 | 0.17273 | 0.17695 | 23.085 | 1.9977 | 2.015 | 23.0992 | 1.9946 | 2.0432 | 8.8762e-11 | 1.4345 | 0.77261 | 6.6965 | -1.0041 | -0.84922 | -8.3473e-11 | 1.7402 | 3.3083 | 3.4596 | -1.879 | -2.9165 | 131.568 | 165.3599 | 46.0107 | -48.4995 | -15.5162 | -133.6521 | 0 | 1.1289 | 1.686 | 0.3263 | 1.0681 | 1.4867 | 0 | -144.1393 | 122.8654 | -21.1774 | -133.6344 | 120.1135
Line_2 | 0.92365 | 0.173 | 0.17459 | 0.92469 | 0.17283 | 0.17674 | 10.6654 | 1.9976 | 2.016 | 10.6774 | 1.9956 | 2.0408 | -1.6348 | 1.2205 | 0.7707 | 3.158 | -0.98502 | -0.8144 | -0.7554 | 1.826 | 3.1145 | 1.4717 | -1.8903 | -2.9226 | 133.9668 | 164.6668 | 45.3653 | -46.1641 | -16.1111 | -134.3155 | 0.16885 | 1.0995 | 1.5915 | 0.3263 | 1.0681 | 1.4867 | -21.2322 | -139.0928 | 121.4663 | -21.1774 | -133.6344 | 120.1135
Line_3 | 1.0764 | 0.0034176 | 0.0019477 | 1.0778 | 0.00051548 | 0.0029424 | 12.4294 | 0.039463 | 0.02249 | 12.4458 | 0.0059523 | 0.033976 | 4.9327e-11 | 0.035716 | 0.021658 | 1.832 | -0.0035263 | -0.0523 | -4.3252e-11 | -0.026631 | -0.031124 | 1.0295 | 0.0055131 | -0.013729 | 129.5725 | -107.4297 | 178.0335 | -50.5656 | 98.3029 | -73.2421 | 0 | 1.1289 | 1.686 | 0.16885 | 1.0995 | 1.5915 | 0 | -144.1393 | 122.8654 | -21.2322 | -139.0928 | 121.4663

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.9253 | 0.34567 | 0.35464 | 2.9246 | 0.34556 | 0.35368 | 33.7787 | 3.9915 | 4.095 | 33.7706 | 3.9901 | 4.0839 | 24.4915 | -0.75176 | -1.8016 | -9.8545 | 1.9891 | 1.6636 | 12.235 | -4.1145 | -4.5271 | -4.9313 | 3.7694 | 5.8391 | -47.7792 | -16.0045 | -133.8794 | 132.2387 | 164.1863 | 46.0164 | 0.8105 | 1.0479 | 1.1898 | 0.3263 | 1.0681 | 1.4867 | -21.2342 | -116.3588 | 114.4201 | -21.1774 | -133.6344 | 120.1135
Line_1 | 1.9992 | 0.17301 | 0.1745 | 2.0004 | 0.17273 | 0.17695 | 23.085 | 1.9977 | 2.015 | 23.0992 | 1.9946 | 2.0432 | 8.8762e-11 | 1.4345 | 0.77261 | 6.6965 | -1.0041 | -0.84922 | -8.3473e-11 | 1.7402 | 3.3083 | 3.4596 | -1.879 | -2.9165 | 131.568 | 165.3599 | 46.0107 | -48.4995 | -15.5162 | -133.6521 | 0 | 1.1289 | 1.686 | 0.3263 | 1.0681 | 1.4867 | 0 | -144.1393 | 122.8654 | -21.1774 | -133.6344 | 120.1135
Line_2 | 0.92365 | 0.173 | 0.17459 | 0.92469 | 0.17283 | 0.17674 | 10.6654 | 1.9976 | 2.016 | 10.6774 | 1.9956 | 2.0408 | -1.6348 | 1.2205 | 0.7707 | 3.158 | -0.98502 | -0.8144 | -0.7554 | 1.826 | 3.1145 | 1.4717 | -1.8903 | -2.9226 | 133.9668 | 164.6668 | 45.3653 | -46.1641 | -16.1111 | -134.3155 | 0.16885 | 1.0995 | 1.5915 | 0.3263 | 1.0681 | 1.4867 | -21.2322 | -139.0928 | 121.4663 | -21.1774 | -133.6344 | 120.1135
Line_3 | 1.0764 | 0.0034176 | 0.0019477 | 1.0778 | 0.00051548 | 0.0029424 | 12.4294 | 0.039463 | 0.02249 | 12.4458 | 0.0059523 | 0.033976 | 4.9327e-11 | 0.035716 | 0.021658 | 1.832 | -0.0035263 | -0.0523 | -4.3252e-11 | -0.026631 | -0.031124 | 1.0295 | 0.0055131 | -0.013729 | 129.5725 | -107.4297 | 178.0335 | -50.5656 | 98.3029 | -73.2421 | 0 | 1.1289 | 1.686 | 0.16885 | 1.0995 | 1.5915 | 0 | -144.1393 | 122.8654 | -21.2322 | -139.0928 | 121.4663

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.92888 | 0.34627 | 0.34939 | 0.92866 | 0.34621 | 0.34904 | 10.7258 | 3.9984 | 4.0344 | 10.7232 | 3.9977 | 4.0304 | 9.4092 | -1.0308 | -1.4207 | -7.7154 | 1.5445 | 1.379 | 5.6864 | -4.362 | -4.532 | -5.0562 | 4.2946 | 5.0598 | -37.318 | -15.0691 | -134.2326 | 142.7052 | 165.0025 | 45.7238 | 1.025 | 1.121 | 1.1772 | 0.86025 | 1.1416 | 1.3012 | -6.1714 | -118.3653 | 118.3618 | -4.0564 | -124.7775 | 120.4789
Line_1 | 0.66486 | 0.17315 | 0.17367 | 0.66525 | 0.17309 | 0.17457 | 7.6772 | 1.9993 | 2.0053 | 7.6817 | 1.9987 | 2.0157 | -4.5103 | 0.96034 | 0.67667 | 5.3273 | -0.78405 | -0.70427 | -3.5516 | 2.1101 | 2.6851 | 3.91 | -2.1428 | -2.5265 | 139.7463 | 165.6515 | 45.908 | -40.3334 | -14.6801 | -133.9449 | 0.74777 | 1.1596 | 1.3809 | 0.86025 | 1.1416 | 1.3012 | -2.0355 | -128.8193 | 121.7637 | -4.0564 | -124.7775 | 120.4789
Line_2 | 0.26648 | 0.17314 | 0.1737 | 0.26668 | 0.17312 | 0.17448 | 3.077 | 1.9993 | 2.0057 | 3.0794 | 1.9991 | 2.0148 | -2.2336 | 0.8615 | 0.66402 | 2.3882 | -0.7604 | -0.67469 | -1.1009 | 2.1431 | 2.6174 | 1.1462 | -2.1518 | -2.5333 | 150.4902 | 164.9792 | 45.2544 | -29.6959 | -15.3149 | -134.6076 | 0.80927 | 1.1553 | 1.3463 | 0.86025 | 1.1416 | 1.3012 | -3.2727 | -126.9201 | 121.0191 | -4.0564 | -124.7775 | 120.4789
Line_3 | 0.40586 | 0.0025329 | 0.0018195 | 0.4064 | 0.0014175 | 0.0023055 | 4.6864 | 0.029247 | 0.02101 | 4.6927 | 0.016367 | 0.026621 | -2.4701 | 0.031092 | 0.025335 | 2.7279 | -0.01726 | -0.035829 | -2.4859 | -0.013546 | -0.014137 | 2.6421 | 0.0077228 | 0.00089802 | 132.7815 | -105.2785 | 150.9254 | -47.3566 | 77.1853 | -57.5451 | 0.74777 | 1.1596 | 1.3809 | 0.80927 | 1.1553 | 1.3463 | -2.0355 | -128.8193 | 121.7637 | -3.2727 | -126.9201 | 121.0191

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.92888 | 0.34627 | 0.34939 | 0.92866 | 0.34621 | 0.34904 | 10.7258 | 3.9984 | 4.0344 | 10.7232 | 3.9977 | 4.0304 | 9.4092 | -1.0308 | -1.4207 | -7.7154 | 1.5445 | 1.379 | 5.6864 | -4.362 | -4.532 | -5.0562 | 4.2946 | 5.0598 | -37.318 | -15.0691 | -134.2326 | 142.7052 | 165.0025 | 45.7238 | 1.025 | 1.121 | 1.1772 | 0.86025 | 1.1416 | 1.3012 | -6.1714 | -118.3653 | 118.3618 | -4.0564 | -124.7775 | 120.4789
Line_1 | 0.66486 | 0.17315 | 0.17367 | 0.66525 | 0.17309 | 0.17457 | 7.6772 | 1.9993 | 2.0053 | 7.6817 | 1.9987 | 2.0157 | -4.5103 | 0.96034 | 0.67667 | 5.3273 | -0.78405 | -0.70427 | -3.5516 | 2.1101 | 2.6851 | 3.91 | -2.1428 | -2.5265 | 139.7463 | 165.6515 | 45.908 | -40.3334 | -14.6801 | -133.9449 | 0.74777 | 1.1596 | 1.3809 | 0.86025 | 1.1416 | 1.3012 | -2.0355 | -128.8193 | 121.7637 | -4.0564 | -124.7775 | 120.4789
Line_2 | 0.26648 | 0.17314 | 0.1737 | 0.26668 | 0.17312 | 0.17448 | 3.077 | 1.9993 | 2.0057 | 3.0794 | 1.9991 | 2.0148 | -2.2336 | 0.8615 | 0.66402 | 2.3882 | -0.7604 | -0.67469 | -1.1009 | 2.1431 | 2.6174 | 1.1462 | -2.1518 | -2.5333 | 150.4902 | 164.9792 | 45.2544 | -29.6959 | -15.3149 | -134.6076 | 0.80927 | 1.1553 | 1.3463 | 0.86025 | 1.1416 | 1.3012 | -3.2727 | -126.9201 | 121.0191 | -4.0564 | -124.7775 | 120.4789
Line_3 | 0.40586 | 0.0025329 | 0.0018195 | 0.4064 | 0.0014175 | 0.0023055 | 4.6864 | 0.029247 | 0.02101 | 4.6927 | 0.016367 | 0.026621 | -2.4701 | 0.031092 | 0.025335 | 2.7279 | -0.01726 | -0.035829 | -2.4859 | -0.013546 | -0.014137 | 2.6421 | 0.0077228 | 0.00089802 | 132.7815 | -105.2785 | 150.9254 | -47.3566 | 77.1853 | -57.5451 | 0.74777 | 1.1596 | 1.3809 | 0.80927 | 1.1553 | 1.3463 | -2.0355 | -128.8193 | 121.7637 | -3.2727 | -126.9201 | 121.0191

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.8749 | 0.0090717 | 0.0090717 | 1.8745 | 0.0080133 | 0.0080133 | 21.65 | 0.10475 | 0.10475 | 21.6448 | 0.09253 | 0.09253 | 17.7834 | 0.093761 | -0.080868 | -7.101 | -0.078278 | 0.075235 | 5.1047 | -0.023061 | -0.072286 | -2.0584 | 0.049593 | 0.095628 | -33.3065 | -105.7421 | -105.7421 | 146.7232 | 73.3071 | 73.3071 | 0.85458 | 0.92176 | 1.0355 | 0.34158 | 1.0015 | 1.315 | -17.2903 | -119.56 | 116.0506 | -17.1112 | -139.0493 | 125.1135
Line_1 | 1.2485 | 0.0014432 | 0.0014432 | 1.2493 | 0.004114 | 0.004114 | 14.417 | 0.016665 | 0.016665 | 14.4257 | 0.047504 | 0.047504 | -1.8362e-11 | -0.013631 | 0.013957 | 4.734 | 0.040242 | -0.03852 | -1.461e-12 | 0.012503 | 0.020989 | 1.3674 | -0.025375 | -0.049178 | 146.8945 | 72.9029 | 72.9029 | -33.223 | -106.8158 | -106.8158 | 0 | 1.11 | 1.5125 | 0.34158 | 1.0015 | 1.315 | 0 | -149.6253 | 129.2797 | -17.1112 | -139.0493 | 125.1135
Line_2 | 0.62449 | 0.0015506 | 0.0015506 | 0.62519 | 0.0038993 | 0.0038993 | 7.211 | 0.017905 | 0.017905 | 7.2191 | 0.045026 | 0.045026 | -1.1806 | -0.014975 | 0.014619 | 2.3671 | 0.038036 | -0.036715 | -0.34619 | 0.011387 | 0.020659 | 0.69099 | -0.024218 | -0.04645 | 146.8212 | 72.6048 | 72.6048 | -33.3845 | -106.5632 | -106.5632 | 0.17062 | 1.0507 | 1.4135 | 0.34158 | 1.0015 | 1.315 | -16.8359 | -144.6446 | 127.3193 | -17.1112 | -139.0493 | 125.1135
Line_3 | 0.62368 | 0.0014432 | 0.0014432 | 0.62449 | 0.0015506 | 0.0015506 | 7.2016 | 0.016665 | 0.016665 | 7.211 | 0.017905 | 0.017905 | -9.1745e-12 | 0.013631 | -0.013957 | 1.1806 | 0.014975 | -0.014619 | -6.9921e-13 | -0.012503 | -0.020989 | 0.34619 | -0.011387 | -0.020659 | 147.0857 | -107.0971 | -107.0971 | -33.1788 | -107.3952 | -107.3952 | 0 | 1.11 | 1.5125 | 0.17062 | 1.0507 | 1.4135 | 0 | -149.6253 | 129.2797 | -16.8359 | -144.6446 | 127.3193

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.8749 | 0.0090717 | 0.0090717 | 1.8745 | 0.0080133 | 0.0080133 | 21.65 | 0.10475 | 0.10475 | 21.6448 | 0.09253 | 0.09253 | 17.7834 | 0.093761 | -0.080868 | -7.101 | -0.078278 | 0.075235 | 5.1047 | -0.023061 | -0.072286 | -2.0584 | 0.049593 | 0.095628 | -33.3065 | -105.7421 | -105.7421 | 146.7232 | 73.3071 | 73.3071 | 0.85458 | 0.92176 | 1.0355 | 0.34158 | 1.0015 | 1.315 | -17.2903 | -119.56 | 116.0506 | -17.1112 | -139.0493 | 125.1135
Line_1 | 1.2485 | 0.0014432 | 0.0014432 | 1.2493 | 0.004114 | 0.004114 | 14.417 | 0.016665 | 0.016665 | 14.4257 | 0.047504 | 0.047504 | -1.8362e-11 | -0.013631 | 0.013957 | 4.734 | 0.040242 | -0.03852 | -1.461e-12 | 0.012503 | 0.020989 | 1.3674 | -0.025375 | -0.049178 | 146.8945 | 72.9029 | 72.9029 | -33.223 | -106.8158 | -106.8158 | 0 | 1.11 | 1.5125 | 0.34158 | 1.0015 | 1.315 | 0 | -149.6253 | 129.2797 | -17.1112 | -139.0493 | 125.1135
Line_2 | 0.62449 | 0.0015506 | 0.0015506 | 0.62519 | 0.0038993 | 0.0038993 | 7.211 | 0.017905 | 0.017905 | 7.2191 | 0.045026 | 0.045026 | -1.1806 | -0.014975 | 0.014619 | 2.3671 | 0.038036 | -0.036715 | -0.34619 | 0.011387 | 0.020659 | 0.69099 | -0.024218 | -0.04645 | 146.8212 | 72.6048 | 72.6048 | -33.3845 | -106.5632 | -106.5632 | 0.17062 | 1.0507 | 1.4135 | 0.34158 | 1.0015 | 1.315 | -16.8359 | -144.6446 | 127.3193 | -17.1112 | -139.0493 | 125.1135
Line_3 | 0.62368 | 0.0014432 | 0.0014432 | 0.62449 | 0.0015506 | 0.0015506 | 7.2016 | 0.016665 | 0.016665 | 7.211 | 0.017905 | 0.017905 | -9.1745e-12 | 0.013631 | -0.013957 | 1.1806 | 0.014975 | -0.014619 | -6.9921e-13 | -0.012503 | -0.020989 | 0.34619 | -0.011387 | -0.020659 | 147.0857 | -107.0971 | -107.0971 | -33.1788 | -107.3952 | -107.3952 | 0 | 1.11 | 1.5125 | 0.17062 | 1.0507 | 1.4135 | 0 | -149.6253 | 129.2797 | -16.8359 | -144.6446 | 127.3193

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.87824 | 0.0042493 | 0.0042493 | 0.87803 | 0.0037535 | 0.0037535 | 10.1411 | 0.049067 | 0.049067 | 10.1387 | 0.043342 | 0.043342 | 7.735 | 0.046901 | -0.031823 | -5.3923 | -0.040444 | 0.028617 | 4.9887 | -0.0061171 | -0.038133 | -4.3175 | 0.011429 | 0.04086 | -39.6951 | -112.1308 | -112.1308 | 140.3345 | 66.9184 | 66.9184 | 0.90762 | 0.96396 | 1.0122 | 0.68133 | 0.96969 | 1.1509 | -6.8748 | -119.5617 | 118.0231 | -0.98208 | -128.8612 | 121.9126
Line_1 | 0.58483 | 0.00067601 | 0.00067601 | 0.58519 | 0.001927 | 0.001927 | 6.7531 | 0.0078059 | 0.0078059 | 6.7572 | 0.022252 | 0.022252 | -2.5616 | -0.0071823 | 0.005218 | 3.5965 | 0.020777 | -0.014647 | -2.5673 | 0.0028124 | 0.0082005 | 2.8741 | -0.0058231 | -0.021009 | 140.5059 | 66.5143 | 66.5143 | -39.6116 | -113.2045 | -113.2045 | 0.53703 | 0.98813 | 1.2452 | 0.68133 | 0.96969 | 1.1509 | 5.5695 | -134.8699 | 124.0459 | -0.98208 | -128.8612 | 121.9126
Line_2 | 0.29252 | 0.00072633 | 0.00072633 | 0.29285 | 0.0018265 | 0.0018265 | 3.3777 | 0.008387 | 0.008387 | 3.3815 | 0.02109 | 0.02109 | -1.5386 | -0.0077894 | 0.0055035 | 1.7957 | 0.019668 | -0.01397 | -1.3617 | 0.0025492 | 0.0084076 | 1.4434 | -0.005606 | -0.019851 | 140.4326 | 66.2161 | 66.2161 | -39.7731 | -112.9519 | -112.9519 | 0.60829 | 0.97723 | 1.1981 | 0.68133 | 0.96969 | 1.1509 | 1.9413 | -131.9055 | 123.0081 | -0.98208 | -128.8612 | 121.9126
Line_3 | 0.29214 | 0.00067601 | 0.00067601 | 0.29252 | 0.00072633 | 0.00072633 | 3.3733 | 0.0078059 | 0.0078059 | 3.3777 | 0.008387 | 0.008387 | -1.2838 | 0.0071823 | -0.005218 | 1.5386 | 0.0077894 | -0.0055035 | -1.2781 | -0.0028124 | -0.0082005 | 1.3617 | -0.0025492 | -0.0084076 | 140.697 | -113.4857 | -113.4857 | -39.5674 | -113.7839 | -113.7839 | 0.53703 | 0.98813 | 1.2452 | 0.60829 | 0.97723 | 1.1981 | 5.5695 | -134.8699 | 124.0459 | 1.9413 | -131.9055 | 123.0081

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.87824 | 0.0042493 | 0.0042493 | 0.87803 | 0.0037535 | 0.0037535 | 10.1411 | 0.049067 | 0.049067 | 10.1387 | 0.043342 | 0.043342 | 7.735 | 0.046901 | -0.031823 | -5.3923 | -0.040444 | 0.028617 | 4.9887 | -0.0061171 | -0.038133 | -4.3175 | 0.011429 | 0.04086 | -39.6951 | -112.1308 | -112.1308 | 140.3345 | 66.9184 | 66.9184 | 0.90762 | 0.96396 | 1.0122 | 0.68133 | 0.96969 | 1.1509 | -6.8748 | -119.5617 | 118.0231 | -0.98208 | -128.8612 | 121.9126
Line_1 | 0.58483 | 0.00067601 | 0.00067601 | 0.58519 | 0.001927 | 0.001927 | 6.7531 | 0.0078059 | 0.0078059 | 6.7572 | 0.022252 | 0.022252 | -2.5616 | -0.0071823 | 0.005218 | 3.5965 | 0.020777 | -0.014647 | -2.5673 | 0.0028124 | 0.0082005 | 2.8741 | -0.0058231 | -0.021009 | 140.5059 | 66.5143 | 66.5143 | -39.6116 | -113.2045 | -113.2045 | 0.53703 | 0.98813 | 1.2452 | 0.68133 | 0.96969 | 1.1509 | 5.5695 | -134.8699 | 124.0459 | -0.98208 | -128.8612 | 121.9126
Line_2 | 0.29252 | 0.00072633 | 0.00072633 | 0.29285 | 0.0018265 | 0.0018265 | 3.3777 | 0.008387 | 0.008387 | 3.3815 | 0.02109 | 0.02109 | -1.5386 | -0.0077894 | 0.0055035 | 1.7957 | 0.019668 | -0.01397 | -1.3617 | 0.0025492 | 0.0084076 | 1.4434 | -0.005606 | -0.019851 | 140.4326 | 66.2161 | 66.2161 | -39.7731 | -112.9519 | -112.9519 | 0.60829 | 0.97723 | 1.1981 | 0.68133 | 0.96969 | 1.1509 | 1.9413 | -131.9055 | 123.0081 | -0.98208 | -128.8612 | 121.9126
Line_3 | 0.29214 | 0.00067601 | 0.00067601 | 0.29252 | 0.00072633 | 0.00072633 | 3.3733 | 0.0078059 | 0.0078059 | 3.3777 | 0.008387 | 0.008387 | -1.2838 | 0.0071823 | -0.005218 | 1.5386 | 0.0077894 | -0.0055035 | -1.2781 | -0.0028124 | -0.0082005 | 1.3617 | -0.0025492 | -0.0084076 | 140.697 | -113.4857 | -113.4857 | -39.5674 | -113.7839 | -113.7839 | 0.53703 | 0.98813 | 1.2452 | 0.60829 | 0.97723 | 1.1981 | 5.5695 | -134.8699 | 124.0459 | 1.9413 | -131.9055 | 123.0081

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3529 | 4.028 | 2.581 | 0.35203 | 4.028 | 2.5806 | 4.0749 | 46.5117 | 29.8031 | 4.0649 | 46.5118 | 29.7978 | -1.4221 | 30.7371 | -0.66689 | 2.0584 | -12.3878 | 0.23577 | -4.2759 | 7.9877 | 16.4644 | 5.1138 | -3.2657 | -6.6309 | 105.0912 | -175.2424 | 35.233 | -74.8807 | 4.7702 | -144.7838 | 1.1058 | 0.6828 | 0.55289 | 1.3561 | 0.27544 | 0.22267 | -3.3048 | -160.6752 | 127.5525 | -6.806 | -160.4613 | 127.2525
Line_1 | 0.17419 | 2.7402 | 1.7754 | 0.17608 | 2.7398 | 1.7767 | 2.0114 | 31.6408 | 20.5002 | 2.0332 | 31.6362 | 20.5161 | 1.2497 | 5.259e-11 | 4.8463e-11 | -1.0435 | 8.4102 | -0.14018 | 2.7924 | -6.1608e-11 | -1.8482e-11 | -2.5522 | 2.2798 | 4.5662 | -74.3136 | 4.4133 | -144.5546 | 105.431 | -175.6285 | 35.4941 | 1.521 | 0 | 0 | 1.3561 | 0.27544 | 0.22267 | -8.4244 | 0 | 0 | -6.806 | -160.4613 | 127.2525
Line_2 | 0.17426 | 1.2888 | 0.80271 | 0.17595 | 1.2885 | 0.80388 | 2.0122 | 14.8823 | 9.2689 | 2.0318 | 14.8781 | 9.2824 | 1.1247 | -2.0671 | 0.02212 | -1.0149 | 3.9776 | -0.095585 | 2.6795 | -0.53594 | -1.0744 | -2.5616 | 0.98587 | 2.0647 | -74.9821 | 5.6968 | -145.4963 | 104.8075 | -174.3819 | 34.6019 | 1.4441 | 0.14349 | 0.11594 | 1.3561 | 0.27544 | 0.22267 | -7.7515 | -159.7683 | 125.6832 | -6.806 | -160.4613 | 127.2525
Line_3 | 0.0026261 | 1.4521 | 0.97216 | 0.0018677 | 1.4517 | 0.97374 | 0.030323 | 16.7677 | 11.2256 | 0.021566 | 16.7627 | 11.2438 | 0.031703 | 2.8491e-11 | 2.6406e-11 | -0.030459 | 2.3001 | 0.013463 | -0.033498 | -3.2108e-11 | -1.0459e-11 | -0.0064998 | 0.70349 | 1.3035 | 38.153 | 3.3137 | -143.8214 | 160.2025 | -176.7745 | 36.275 | 1.521 | 0 | 0 | 1.4441 | 0.14349 | 0.11594 | -8.4244 | 0 | 0 | -7.7515 | -159.7683 | 125.6832

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3529 | 4.028 | 2.581 | 0.35203 | 4.028 | 2.5806 | 4.0749 | 46.5117 | 29.8031 | 4.0649 | 46.5118 | 29.7978 | -1.4221 | 30.7371 | -0.66689 | 2.0584 | -12.3878 | 0.23577 | -4.2759 | 7.9877 | 16.4644 | 5.1138 | -3.2657 | -6.6309 | 105.0912 | -175.2424 | 35.233 | -74.8807 | 4.7702 | -144.7838 | 1.1058 | 0.6828 | 0.55289 | 1.3561 | 0.27544 | 0.22267 | -3.3048 | -160.6752 | 127.5525 | -6.806 | -160.4613 | 127.2525
Line_1 | 0.17419 | 2.7402 | 1.7754 | 0.17608 | 2.7398 | 1.7767 | 2.0114 | 31.6408 | 20.5002 | 2.0332 | 31.6362 | 20.5161 | 1.2497 | 5.259e-11 | 4.8463e-11 | -1.0435 | 8.4102 | -0.14018 | 2.7924 | -6.1608e-11 | -1.8482e-11 | -2.5522 | 2.2798 | 4.5662 | -74.3136 | 4.4133 | -144.5546 | 105.431 | -175.6285 | 35.4941 | 1.521 | 0 | 0 | 1.3561 | 0.27544 | 0.22267 | -8.4244 | 0 | 0 | -6.806 | -160.4613 | 127.2525
Line_2 | 0.17426 | 1.2888 | 0.80271 | 0.17595 | 1.2885 | 0.80388 | 2.0122 | 14.8823 | 9.2689 | 2.0318 | 14.8781 | 9.2824 | 1.1247 | -2.0671 | 0.02212 | -1.0149 | 3.9776 | -0.095585 | 2.6795 | -0.53594 | -1.0744 | -2.5616 | 0.98587 | 2.0647 | -74.9821 | 5.6968 | -145.4963 | 104.8075 | -174.3819 | 34.6019 | 1.4441 | 0.14349 | 0.11594 | 1.3561 | 0.27544 | 0.22267 | -7.7515 | -159.7683 | 125.6832 | -6.806 | -160.4613 | 127.2525
Line_3 | 0.0026261 | 1.4521 | 0.97216 | 0.0018677 | 1.4517 | 0.97374 | 0.030323 | 16.7677 | 11.2256 | 0.021566 | 16.7627 | 11.2438 | 0.031703 | 2.8491e-11 | 2.6406e-11 | -0.030459 | 2.3001 | 0.013463 | -0.033498 | -3.2108e-11 | -1.0459e-11 | -0.0064998 | 0.70349 | 1.3035 | 38.153 | 3.3137 | -143.8214 | 160.2025 | -176.7745 | 36.275 | 1.521 | 0 | 0 | 1.4441 | 0.14349 | 0.11594 | -8.4244 | 0 | 0 | -7.7515 | -159.7683 | 125.6832

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34914 | 1.1073 | 0.85699 | 0.34877 | 1.1075 | 0.85661 | 4.0316 | 12.7864 | 9.8956 | 4.0272 | 12.7882 | 9.8913 | -1.2741 | 11.4206 | 6.47 | 1.617 | -9.8847 | -5.9786 | -4.4023 | 6.1387 | 6.8578 | 4.7857 | -6.4058 | -5.3905 | 105.2783 | -158.3832 | 69.7314 | -74.7037 | 21.6356 | -110.2773 | 1.1368 | 1.014 | 0.95276 | 1.2543 | 0.92107 | 0.81383 | -0.86252 | -130.1246 | 116.398 | -3.3723 | -125.4193 | 111.7616
Line_1 | 0.17361 | 0.7858 | 0.6225 | 0.17441 | 0.78534 | 0.62339 | 2.0047 | 9.0737 | 7.188 | 2.0139 | 9.0683 | 7.1983 | 0.93269 | -6.0439 | -3.954 | -0.822 | 6.8032 | 4.1922 | 2.498 | -4.9267 | -3.3576 | -2.3887 | 4.846 | 4.0919 | -74.2459 | 19.1746 | -112.56 | 105.6173 | -160.8819 | 67.4556 | 1.3301 | 0.85935 | 0.72165 | 1.2543 | 0.92107 | 0.81383 | -4.7201 | -121.64 | 107.777 | -3.3723 | -125.4193 | 111.7616
Line_2 | 0.17364 | 0.32524 | 0.23421 | 0.17436 | 0.32474 | 0.23501 | 2.005 | 3.7555 | 2.7045 | 2.0134 | 3.7498 | 2.7137 | 0.85835 | -2.957 | -1.732 | -0.79495 | 3.0816 | 1.7863 | 2.4561 | -1.6001 | -1.1696 | -2.397 | 1.5598 | 1.2986 | -74.9104 | 27.8436 | -104.2662 | 104.9753 | -152.2667 | 75.7458 | 1.2976 | 0.89526 | 0.77278 | 1.2543 | 0.92107 | 0.81383 | -4.1736 | -123.7375 | 109.7648 | -3.3723 | -125.4193 | 111.7616
Line_3 | 0.0022616 | 0.46705 | 0.39176 | 0.001806 | 0.46662 | 0.39273 | 0.026115 | 5.3931 | 4.5237 | 0.020854 | 5.388 | 4.5349 | 0.029721 | -3.2678 | -2.2964 | -0.026958 | 3.5177 | 2.379 | -0.017978 | -3.2864 | -2.3203 | 0.002351 | 3.3006 | 2.5733 | 26.4495 | 13.1975 | -117.5196 | -179.1896 | -166.9137 | 62.5182 | 1.3301 | 0.85935 | 0.72165 | 1.2976 | 0.89526 | 0.77278 | -4.7201 | -121.64 | 107.777 | -4.1736 | -123.7375 | 109.7648

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34914 | 1.1073 | 0.85699 | 0.34877 | 1.1075 | 0.85661 | 4.0316 | 12.7864 | 9.8956 | 4.0272 | 12.7882 | 9.8913 | -1.2741 | 11.4206 | 6.47 | 1.617 | -9.8847 | -5.9786 | -4.4023 | 6.1387 | 6.8578 | 4.7857 | -6.4058 | -5.3905 | 105.2783 | -158.3832 | 69.7314 | -74.7037 | 21.6356 | -110.2773 | 1.1368 | 1.014 | 0.95276 | 1.2543 | 0.92107 | 0.81383 | -0.86252 | -130.1246 | 116.398 | -3.3723 | -125.4193 | 111.7616
Line_1 | 0.17361 | 0.7858 | 0.6225 | 0.17441 | 0.78534 | 0.62339 | 2.0047 | 9.0737 | 7.188 | 2.0139 | 9.0683 | 7.1983 | 0.93269 | -6.0439 | -3.954 | -0.822 | 6.8032 | 4.1922 | 2.498 | -4.9267 | -3.3576 | -2.3887 | 4.846 | 4.0919 | -74.2459 | 19.1746 | -112.56 | 105.6173 | -160.8819 | 67.4556 | 1.3301 | 0.85935 | 0.72165 | 1.2543 | 0.92107 | 0.81383 | -4.7201 | -121.64 | 107.777 | -3.3723 | -125.4193 | 111.7616
Line_2 | 0.17364 | 0.32524 | 0.23421 | 0.17436 | 0.32474 | 0.23501 | 2.005 | 3.7555 | 2.7045 | 2.0134 | 3.7498 | 2.7137 | 0.85835 | -2.957 | -1.732 | -0.79495 | 3.0816 | 1.7863 | 2.4561 | -1.6001 | -1.1696 | -2.397 | 1.5598 | 1.2986 | -74.9104 | 27.8436 | -104.2662 | 104.9753 | -152.2667 | 75.7458 | 1.2976 | 0.89526 | 0.77278 | 1.2543 | 0.92107 | 0.81383 | -4.1736 | -123.7375 | 109.7648 | -3.3723 | -125.4193 | 111.7616
Line_3 | 0.0022616 | 0.46705 | 0.39176 | 0.001806 | 0.46662 | 0.39273 | 0.026115 | 5.3931 | 4.5237 | 0.020854 | 5.388 | 4.5349 | 0.029721 | -3.2678 | -2.2964 | -0.026958 | 3.5177 | 2.379 | -0.017978 | -3.2864 | -2.3203 | 0.002351 | 3.3006 | 2.5733 | 26.4495 | 13.1975 | -117.5196 | -179.1896 | -166.9137 | 62.5182 | 1.3301 | 0.85935 | 0.72165 | 1.2976 | 0.89526 | 0.77278 | -4.7201 | -121.64 | 107.777 | -4.1736 | -123.7375 | 109.7648

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.006092 | 3.0542 | 2.2472 | 0.0053812 | 3.0544 | 2.2468 | 0.070344 | 35.2667 | 25.9485 | 0.062137 | 35.2689 | 25.9436 | 0.0013229 | 26.6677 | 2.6434 | 1.7766e-05 | -10.6728 | -1.0457 | -0.068944 | 2.1414 | 12.766 | 0.074672 | -0.87977 | -5.0895 | 86.0679 | -161.389 | 39.9236 | -94.8829 | 18.6239 | -140.091 | 0.98028 | 0.75861 | 0.50241 | 1.2017 | 0.30364 | 0.20027 | -2.8328 | -156.798 | 118.2249 | -4.8965 | -156.6637 | 118.298
Line_1 | 0.00096917 | 2.0373 | 1.496 | 0.0027627 | 2.0366 | 1.4973 | 0.011191 | 23.5246 | 17.2745 | 0.031901 | 23.5164 | 17.289 | 0.000147 | -1.1007e-10 | -2.1587e-11 | 7.3124e-05 | 7.1165 | 0.69555 | 0.015104 | -9.1311e-11 | -1.0284e-10 | -0.038336 | 0.58396 | 3.3919 | -95.287 | 18.6916 | -140.1624 | 84.9942 | -161.3547 | 39.8864 | 1.3497 | 0 | 0 | 1.2017 | 0.30364 | 0.20027 | -5.8447 | 0 | 0 | -4.8965 | -156.6637 | 118.298
Line_2 | 0.0010413 | 1.0184 | 0.74841 | 0.0026185 | 1.0178 | 0.7495 | 0.012024 | 11.7596 | 8.6418 | 0.030236 | 11.7526 | 8.6545 | -4.3476e-05 | -1.7808 | -0.1709 | -9.0891e-05 | 3.5562 | 0.35018 | 0.01534 | -0.15193 | -0.84371 | -0.036336 | 0.29581 | 1.6975 | -95.5852 | 18.6631 | -140.1326 | 85.2468 | -161.4188 | 39.954 | 1.2758 | 0.15198 | 0.099613 | 1.2017 | 0.30364 | 0.20027 | -5.4228 | -156.4603 | 118.4168 | -4.8965 | -156.6637 | 118.298
Line_3 | 0.00096917 | 1.0192 | 0.74698 | 0.0010413 | 1.0184 | 0.74841 | 0.011191 | 11.7691 | 8.6254 | 0.012024 | 11.7596 | 8.6418 | -0.000147 | -5.5124e-11 | -1.0708e-11 | 4.3475e-05 | 1.7808 | 0.1709 | -0.015104 | -4.561e-11 | -5.1366e-11 | -0.01534 | 0.15193 | 0.84371 | 84.713 | 18.7662 | -140.2411 | 84.4148 | -161.3369 | 39.8674 | 1.3497 | 0 | 0 | 1.2758 | 0.15198 | 0.099613 | -5.8447 | 0 | 0 | -5.4228 | -156.4603 | 118.4168

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.006092 | 3.0542 | 2.2472 | 0.0053812 | 3.0544 | 2.2468 | 0.070344 | 35.2667 | 25.9485 | 0.062137 | 35.2689 | 25.9436 | 0.0013229 | 26.6677 | 2.6434 | 1.7766e-05 | -10.6728 | -1.0457 | -0.068944 | 2.1414 | 12.766 | 0.074672 | -0.87977 | -5.0895 | 86.0679 | -161.389 | 39.9236 | -94.8829 | 18.6239 | -140.091 | 0.98028 | 0.75861 | 0.50241 | 1.2017 | 0.30364 | 0.20027 | -2.8328 | -156.798 | 118.2249 | -4.8965 | -156.6637 | 118.298
Line_1 | 0.00096917 | 2.0373 | 1.496 | 0.0027627 | 2.0366 | 1.4973 | 0.011191 | 23.5246 | 17.2745 | 0.031901 | 23.5164 | 17.289 | 0.000147 | -1.1007e-10 | -2.1587e-11 | 7.3124e-05 | 7.1165 | 0.69555 | 0.015104 | -9.1311e-11 | -1.0284e-10 | -0.038336 | 0.58396 | 3.3919 | -95.287 | 18.6916 | -140.1624 | 84.9942 | -161.3547 | 39.8864 | 1.3497 | 0 | 0 | 1.2017 | 0.30364 | 0.20027 | -5.8447 | 0 | 0 | -4.8965 | -156.6637 | 118.298
Line_2 | 0.0010413 | 1.0184 | 0.74841 | 0.0026185 | 1.0178 | 0.7495 | 0.012024 | 11.7596 | 8.6418 | 0.030236 | 11.7526 | 8.6545 | -4.3476e-05 | -1.7808 | -0.1709 | -9.0891e-05 | 3.5562 | 0.35018 | 0.01534 | -0.15193 | -0.84371 | -0.036336 | 0.29581 | 1.6975 | -95.5852 | 18.6631 | -140.1326 | 85.2468 | -161.4188 | 39.954 | 1.2758 | 0.15198 | 0.099613 | 1.2017 | 0.30364 | 0.20027 | -5.4228 | -156.4603 | 118.4168 | -4.8965 | -156.6637 | 118.298
Line_3 | 0.00096917 | 1.0192 | 0.74698 | 0.0010413 | 1.0184 | 0.74841 | 0.011191 | 11.7691 | 8.6254 | 0.012024 | 11.7596 | 8.6418 | -0.000147 | -5.5124e-11 | -1.0708e-11 | 4.3475e-05 | 1.7808 | 0.1709 | -0.015104 | -4.561e-11 | -5.1366e-11 | -0.01534 | 0.15193 | 0.84371 | 84.713 | 18.7662 | -140.2411 | 84.4148 | -161.3369 | 39.8674 | 1.3497 | 0 | 0 | 1.2758 | 0.15198 | 0.099613 | -5.8447 | 0 | 0 | -5.4228 | -156.4603 | 118.4168

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.003516 | 1.1002 | 0.87806 | 0.0031058 | 1.1004 | 0.87767 | 0.0406 | 12.7035 | 10.139 | 0.035863 | 12.7058 | 10.1345 | 0.008827 | 10.0106 | 4.9711 | -0.0076351 | -7.6378 | -4.288 | -0.038939 | 5.3439 | 6.7755 | 0.038859 | -5.7882 | -5.0086 | 75.7508 | -159.3156 | 61.9733 | -105.1999 | 20.7035 | -118.0363 | 0.98344 | 0.89326 | 0.82884 | 1.1043 | 0.75425 | 0.65059 | -1.4769 | -131.2211 | 115.7062 | -4.0839 | -122.1402 | 111.396
Line_1 | 0.00055936 | 0.73445 | 0.58364 | 0.0015945 | 0.73384 | 0.58465 | 0.006459 | 8.4807 | 6.7393 | 0.018412 | 8.4737 | 6.751 | -0.0013449 | -4.045 | -2.5529 | 0.0039626 | 5.0958 | 2.8558 | 0.0075401 | -4.05 | -2.5519 | -0.019942 | 3.8576 | 3.337 | -105.6041 | 20.7992 | -118.0697 | 74.6771 | -159.2663 | 61.953 | 1.1858 | 0.67494 | 0.53561 | 1.1043 | 0.75425 | 0.65059 | -5.4907 | -114.1657 | 106.9185 | -4.0839 | -122.1402 | 111.396
Line_2 | 0.000601 | 0.36703 | 0.29214 | 0.0015113 | 0.36651 | 0.29302 | 0.0069397 | 4.2381 | 3.3733 | 0.017451 | 4.2321 | 3.3835 | -0.0015261 | -2.2853 | -1.3514 | 0.0036725 | 2.542 | 1.4322 | 0.0077977 | -1.978 | -1.4719 | -0.018917 | 1.9306 | 1.6717 | -105.9023 | 20.7591 | -118.0567 | 74.9297 | -159.3571 | 61.985 | 1.145 | 0.71316 | 0.59235 | 1.1043 | 0.75425 | 0.65059 | -4.8286 | -118.3636 | 109.3866 | -4.0839 | -122.1402 | 111.396
Line_3 | 0.00055936 | 0.36772 | 0.291 | 0.000601 | 0.36703 | 0.29214 | 0.006459 | 4.2461 | 3.3602 | 0.0069397 | 4.2381 | 3.3733 | 0.0013449 | -2.029 | -1.2721 | 0.0015261 | 2.2853 | 1.3514 | -0.0075401 | -2.024 | -1.2731 | -0.0077977 | 1.978 | 1.4719 | 74.3959 | 20.9044 | -118.1053 | 74.0977 | -159.2409 | 61.9433 | 1.1858 | 0.67494 | 0.53561 | 1.145 | 0.71316 | 0.59235 | -5.4907 | -114.1657 | 106.9185 | -4.8286 | -118.3636 | 109.3866

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.003516 | 1.1002 | 0.87806 | 0.0031058 | 1.1004 | 0.87767 | 0.0406 | 12.7035 | 10.139 | 0.035863 | 12.7058 | 10.1345 | 0.008827 | 10.0106 | 4.9711 | -0.0076351 | -7.6378 | -4.288 | -0.038939 | 5.3439 | 6.7755 | 0.038859 | -5.7882 | -5.0086 | 75.7508 | -159.3156 | 61.9733 | -105.1999 | 20.7035 | -118.0363 | 0.98344 | 0.89326 | 0.82884 | 1.1043 | 0.75425 | 0.65059 | -1.4769 | -131.2211 | 115.7062 | -4.0839 | -122.1402 | 111.396
Line_1 | 0.00055936 | 0.73445 | 0.58364 | 0.0015945 | 0.73384 | 0.58465 | 0.006459 | 8.4807 | 6.7393 | 0.018412 | 8.4737 | 6.751 | -0.0013449 | -4.045 | -2.5529 | 0.0039626 | 5.0958 | 2.8558 | 0.0075401 | -4.05 | -2.5519 | -0.019942 | 3.8576 | 3.337 | -105.6041 | 20.7992 | -118.0697 | 74.6771 | -159.2663 | 61.953 | 1.1858 | 0.67494 | 0.53561 | 1.1043 | 0.75425 | 0.65059 | -5.4907 | -114.1657 | 106.9185 | -4.0839 | -122.1402 | 111.396
Line_2 | 0.000601 | 0.36703 | 0.29214 | 0.0015113 | 0.36651 | 0.29302 | 0.0069397 | 4.2381 | 3.3733 | 0.017451 | 4.2321 | 3.3835 | -0.0015261 | -2.2853 | -1.3514 | 0.0036725 | 2.542 | 1.4322 | 0.0077977 | -1.978 | -1.4719 | -0.018917 | 1.9306 | 1.6717 | -105.9023 | 20.7591 | -118.0567 | 74.9297 | -159.3571 | 61.985 | 1.145 | 0.71316 | 0.59235 | 1.1043 | 0.75425 | 0.65059 | -4.8286 | -118.3636 | 109.3866 | -4.0839 | -122.1402 | 111.396
Line_3 | 0.00055936 | 0.36772 | 0.291 | 0.000601 | 0.36703 | 0.29214 | 0.006459 | 4.2461 | 3.3602 | 0.0069397 | 4.2381 | 3.3733 | 0.0013449 | -2.029 | -1.2721 | 0.0015261 | 2.2853 | 1.3514 | -0.0075401 | -2.024 | -1.2731 | -0.0077977 | 1.978 | 1.4719 | 74.3959 | 20.9044 | -118.1053 | 74.0977 | -159.2409 | 61.9433 | 1.1858 | 0.67494 | 0.53561 | 1.145 | 0.71316 | 0.59235 | -5.4907 | -114.1657 | 106.9185 | -4.8286 | -118.3636 | 109.3866