## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.24525 | 0.24525 | 0 | 0 | 0.16991 | 0.16991 | 0.14767 | -0.055376 | 0.099767 | -0.037413 | -34.1183 | 145.8817 | 1.0489 | 0.39332 | -0.074844 | -0.074842
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.39332 | 0.39332 | -0.074842 | -0.07484
Line_2_3-2ph | 0.24525 | 0.24525 | 0 | 0.35783 | 0.16991 | 0.16991 | 0.055376 | -1e-07 | 0.037413 | -1e-07 | -34.1182 | 145.8818 | 0.39332 | 0 | -0.074842 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.25691 | 0.25691 | 0 | 0 | 0.17799 | 0.17799 | 0.16205 | -0.060769 | 0.10948 | -0.041057 | -34.1218 | 145.8782 | 1.0987 | 0.41203 | -0.078404 | -0.078402
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.41203 | 0.41203 | -0.078402 | -0.0784
Line_2_3-2ph | 0.25691 | 0.25691 | 0 | 0.37485 | 0.17799 | 0.17799 | 0.060769 | -1e-07 | 0.041057 | -1e-07 | -34.1218 | 145.8782 | 0.41203 | 0 | -0.078402 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.030144 | 0.030144 | 0 | 0 | 0.020885 | 0.020885 | 0.015861 | -0.014467 | 0.015137 | -0.014195 | -43.6704 | 136.3296 | 1.0498 | 0.97048 | -0.0077914 | 0.78712
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.97048 | 0.97048 | 0.78712 | 0.78712
Line_2_3-2ph | 0.030144 | 0.030144 | 0 | 0.043982 | 0.020885 | 0.020885 | 0.014467 | -0.01363 | 0.014195 | -0.01363 | -43.6704 | 136.3296 | 0.97048 | 0.92298 | 0.78712 | 1.3296

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.03158 | 0.03158 | 0 | 0 | 0.021879 | 0.021879 | 0.017407 | -0.015877 | 0.016613 | -0.015579 | -43.6708 | 136.3292 | 1.0998 | 1.0167 | -0.0081624 | 0.78675
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0167 | 1.0167 | 0.78675 | 0.78675
Line_2_3-2ph | 0.03158 | 0.03158 | 0 | 0.046076 | 0.021879 | 0.021879 | 0.015877 | -0.014959 | 0.015579 | -0.014959 | -43.6708 | 136.3292 | 1.0167 | 0.96692 | 0.78675 | 1.3292

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.13164 | 0.13164 | 0 | 0 | 0.091205 | 0.091205 | 0.081693 | -0.030635 | 0.028746 | -0.01078 | -19.4452 | 160.5548 | 0.94954 | 0.35608 | -0.059154 | -0.059152
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.35608 | 0.35608 | -0.059152 | -0.05915
Line_2_3-2ph | 0.13164 | 0.13164 | 0 | 0.18993 | 0.091205 | 0.091205 | 0.030635 | -1e-07 | 0.01078 | -1e-07 | -19.4451 | 160.5549 | 0.35608 | 0 | -0.059152 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.12472 | 0.12472 | 0 | 0 | 0.086407 | 0.086407 | 0.073323 | -0.027496 | 0.025801 | -0.0096754 | -19.442 | 160.558 | 0.89959 | 0.33735 | -0.056042 | -0.05604
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33735 | 0.33735 | -0.05604 | -0.056038
Line_2_3-2ph | 0.12472 | 0.12472 | 0 | 0.17994 | 0.086407 | 0.086407 | 0.027496 | -1e-07 | 0.0096754 | -1e-07 | -19.442 | 160.558 | 0.33735 | 0 | -0.05604 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.025497 | 0.025497 | 0 | 0 | 0.017665 | 0.017665 | 0.012816 | -0.010901 | 0.01083 | -0.010156 | -40.2074 | 139.7926 | 0.94985 | 0.8434 | -0.0088029 | 2.7668
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.8434 | 0.8434 | 2.7668 | 2.7668
Line_2_3-2ph | 0.025497 | 0.025497 | 0 | 0.036786 | 0.017665 | 0.017665 | 0.010901 | -0.0097514 | 0.010156 | -0.0097514 | -40.2074 | 139.7926 | 0.8434 | 0.78068 | 2.7668 | 4.7926

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.024155 | 0.024155 | 0 | 0 | 0.016735 | 0.016735 | 0.011503 | -0.0097835 | 0.0097199 | -0.009115 | -40.2069 | 139.7931 | 0.89986 | 0.79901 | -0.0083396 | 2.7672
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.79901 | 0.79901 | 2.7672 | 2.7672
Line_2_3-2ph | 0.024155 | 0.024155 | 0 | 0.034851 | 0.016735 | 0.016735 | 0.0097835 | -0.0087521 | 0.009115 | -0.0087521 | -40.2069 | 139.7931 | 0.79901 | 0.7396 | 2.7672 | 4.7931

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.21239 | 0.21239 | 0 | 0.21239 | 0.21239 | 0 | 0.049049 | 0.049049 | 0 | 0.049049 | 0.049049 | -3.6429e-18 | 0.051361 | 0.022474 | 3.6429e-18 | -0.028288 | 0.00059968 | -9.7145e-18 | 0.0036232 | 0.046261 | 8.5001e-18 | 0.011965 | -0.030672 | 0 | -124.1183 | 55.8817 | 0 | 55.8817 | -124.1183 | 1.05 | 1.0497 | 1.0485 | 1.05 | 0.62619 | 0.62545 | 7.3815e-16 | -120.0831 | 119.9709 | 9.0237e-15 | -147.0462 | 147.0018
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2143e-18 | -7.0943e-10 | -7.1114e-10 | -2.3e-34 | 7.0943e-10 | 7.1114e-10 | -7.2858e-18 | 1.0962e-09 | -1.0933e-09 | 7.2858e-18 | -1.0962e-09 | 1.0933e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.05 | 0.62619 | 0.62545 | 1.05 | 0.62619 | 0.62545 | 9.0237e-15 | -147.0462 | 147.0018 | 1.8087e-15 | -147.0462 | 147.0018
Line_2_3-2ph | 0 | 0.21239 | 0.21239 | 0 | 0.21239 | 0.21239 | 0 | 0.049049 | 0.049049 | 0 | 0.049049 | 0.049049 | -4.8572e-18 | 0.028288 | -0.00059967 | 2.4286e-18 | -0.014444 | 0.014444 | 9.7145e-18 | -0.011965 | 0.030672 | -1.4572e-17 | 0.021319 | -0.021319 | 0 | -124.1182 | 55.8818 | 0 | 55.8818 | -124.1182 | 1.05 | 0.62619 | 0.62545 | 1.05 | 0.525 | 0.525 | 9.0237e-15 | -147.0462 | 147.0018 | 5.1958e-15 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.22249 | 0.22249 | 0 | 0.22249 | 0.22249 | 0 | 0.051382 | 0.051382 | 0 | 0.051382 | 0.051382 | -5.0885e-18 | 0.056366 | 0.02466 | 5.0885e-18 | -0.031045 | 0.00066036 | -7.006e-35 | 0.0039758 | 0.050766 | 2.5443e-18 | 0.013131 | -0.033659 | 0 | -124.1218 | 55.8782 | 0 | 55.8782 | -124.1218 | 1.1 | 1.0997 | 1.0984 | 1.1 | 0.65602 | 0.6552 | 7.8887e-16 | -120.087 | 119.9695 | 1.6115e-14 | -147.0486 | 147.0021
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2721e-18 | -7.7854e-10 | -7.8051e-10 | -1.2721e-18 | 7.7854e-10 | 7.8051e-10 | -2.5443e-18 | 1.2032e-09 | -1.1998e-09 | 5.0885e-18 | -1.2032e-09 | 1.1998e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.65602 | 0.6552 | 1.1 | 0.65602 | 0.6552 | 1.6115e-14 | -147.0486 | 147.0021 | 9.3347e-15 | -147.0486 | 147.0021
Line_2_3-2ph | 0 | 0.22249 | 0.22249 | 0 | 0.22249 | 0.22249 | 0 | 0.051382 | 0.051382 | 0 | 0.051382 | 0.051382 | -5.0885e-18 | 0.031045 | -0.00066035 | 1.68e-33 | -0.015853 | 0.015853 | 5.0885e-18 | -0.013131 | 0.033659 | -5.0885e-18 | 0.023395 | -0.023395 | 0 | -124.1218 | 55.8782 | 0 | 55.8782 | -124.1218 | 1.1 | 0.65602 | 0.6552 | 1.1 | 0.55 | 0.55 | 1.6115e-14 | -147.0486 | 147.0021 | 1.8917e-14 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.046559 | 0.046559 | 0 | 0.046559 | 0.046559 | 0 | 0.010752 | 0.010752 | 0 | 0.010752 | 0.010752 | -3.0358e-19 | 0.011017 | 0.0033705 | 3.0358e-19 | -0.0099078 | -0.0022617 | -2.4286e-18 | 0.0024646 | 0.010771 | 2.125e-18 | -0.0017155 | -0.010022 | 0 | -132.6282 | 47.3718 | 0 | 47.3718 | -132.6282 | 1.05 | 1.0499 | 1.0497 | 1.05 | 0.93515 | 0.95554 | 1.8816e-16 | -120.0175 | 119.9963 | 2.47e-15 | -122.8049 | 124.6551
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.0358e-19 | -3.8948e-10 | -3.1883e-10 | 6.0715e-19 | 3.8948e-10 | 3.1883e-10 | -1.3087e-35 | 1.7618e-10 | -2.9856e-10 | 7.5393e-36 | -1.7618e-10 | 2.9856e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.05 | 0.93515 | 0.95554 | 1.05 | 0.93515 | 0.95554 | 2.47e-15 | -122.8049 | 124.6551 | 7.1147e-16 | -122.8049 | 124.6551
Line_2_3-2ph | 0 | 0.046559 | 0.046559 | 0 | 0.046559 | 0.046559 | 0 | 0.010752 | 0.010752 | 0 | 0.010752 | 0.010752 | -2.4286e-18 | 0.0099078 | 0.0022617 | 2.4286e-18 | -0.0092425 | -0.0015964 | 3.6429e-18 | 0.0017155 | 0.010022 | -3.6429e-18 | -0.001266 | -0.0095729 | 0 | -132.6282 | 47.3718 | 0 | 47.3718 | -132.6282 | 1.05 | 0.93515 | 0.95554 | 1.05 | 0.8676 | 0.90259 | 2.47e-15 | -122.8049 | 124.6551 | 1.6497e-15 | -124.8283 | 127.904

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.048776 | 0.048776 | 0 | 0.048776 | 0.048776 | 0 | 0.011264 | 0.011264 | 0 | 0.011264 | 0.011264 | 3.1803e-19 | 0.012091 | 0.003699 | -3.1803e-19 | -0.010874 | -0.0024821 | 6.3607e-19 | 0.0027049 | 0.011821 | -6.3607e-19 | -0.0018827 | -0.010999 | 0 | -132.6289 | 47.3711 | 0 | 47.3711 | -132.6289 | 1.1 | 1.0999 | 1.0996 | 1.1 | 0.97968 | 1.001 | 1.9955e-16 | -120.0184 | 119.9961 | 3.8764e-15 | -122.8057 | 124.655
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.1517e-35 | -4.2747e-10 | -3.4996e-10 | 3.1803e-19 | 4.2747e-10 | 3.4996e-10 | 3.1803e-19 | 1.9342e-10 | -3.2766e-10 | -3.1803e-19 | -1.9342e-10 | 3.2766e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.97968 | 1.001 | 1.1 | 0.97968 | 1.001 | 3.8764e-15 | -122.8057 | 124.655 | 2.2542e-15 | -122.8057 | 124.655
Line_2_3-2ph | 0 | 0.048776 | 0.048776 | 0 | 0.048776 | 0.048776 | 0 | 0.011264 | 0.011264 | 0 | 0.011264 | 0.011264 | -1.2721e-18 | 0.010874 | 0.0024821 | 1.2721e-18 | -0.010144 | -0.0017519 | 1.2721e-18 | 0.0018827 | 0.010999 | -1.2721e-18 | -0.0013894 | -0.010506 | 0 | -132.6289 | 47.3711 | 0 | 47.3711 | -132.6289 | 1.1 | 0.97968 | 1.001 | 1.1 | 0.90891 | 0.94556 | 3.8764e-15 | -122.8057 | 124.655 | 4.5426e-15 | -124.8292 | 127.9039

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.11401 | 0.11401 | 0 | 0.11401 | 0.11401 | 0 | 0.026329 | 0.026329 | 0 | 0.026329 | 0.026329 | -1.9227e-18 | 0.024586 | 0.01626 | 1.9227e-18 | -0.011822 | -0.0034954 | -1.0987e-18 | -0.0046062 | 0.018979 | 1.0987e-18 | 0.0090978 | -0.014488 | 0 | -109.4452 | 70.5548 | 0 | 70.5548 | -109.4452 | 0.95 | 0.95008 | 0.94923 | 0.95 | 0.56659 | 0.56605 | 3.2957e-16 | -120.0564 | 119.9677 | 2.4932e-15 | -147.0257 | 146.9906
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.4933e-19 | -5.8102e-10 | -5.8213e-10 | -5.4933e-19 | 5.8102e-10 | 5.8213e-10 | -2.1973e-18 | 8.9679e-10 | -8.9487e-10 | 3.296e-18 | -8.9679e-10 | 8.9487e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95 | 0.56659 | 0.56605 | 0.95 | 0.56659 | 0.56605 | 2.4932e-15 | -147.0257 | 146.9906 | -5.6149e-15 | -147.0257 | 146.9906
Line_2_3-2ph | 0 | 0.11401 | 0.11401 | 0 | 0.11401 | 0.11401 | 0 | 0.026329 | 0.026329 | 0 | 0.026329 | 0.026329 | 9.5615e-35 | 0.011822 | 0.0034954 | 1.0987e-18 | -0.0041633 | 0.0041633 | -2.1973e-18 | -0.0090978 | 0.014488 | 2.1973e-18 | 0.011793 | -0.011793 | 0 | -109.4451 | 70.5549 | 0 | 70.5549 | -109.4451 | 0.95 | 0.56659 | 0.56605 | 0.95 | 0.475 | 0.475 | 2.4932e-15 | -147.0257 | 146.9906 | 6.3835e-15 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.10801 | 0.10801 | 0 | 0.10801 | 0.10801 | 0 | 0.024943 | 0.024943 | 0 | 0.024943 | 0.024943 | 2.6021e-19 | 0.022067 | 0.014595 | -2.6021e-19 | -0.01061 | -0.0031379 | -5.2042e-18 | -0.0041343 | 0.017035 | 6.245e-18 | 0.0081657 | -0.013003 | 0 | -109.442 | 70.558 | 0 | 70.558 | -109.442 | 0.9 | 0.90007 | 0.89931 | 0.9 | 0.53676 | 0.53628 | 3.174e-16 | -120.0534 | 119.9694 | -1.8244e-14 | -147.0241 | 146.9909
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6021e-19 | -5.215e-10 | -5.2245e-10 | -5.2042e-19 | 5.215e-10 | 5.2245e-10 | -2.0817e-18 | 8.0482e-10 | -8.0318e-10 | 2.0817e-18 | -8.0482e-10 | 8.0318e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9 | 0.53676 | 0.53628 | 0.9 | 0.53676 | 0.53628 | -1.8244e-14 | -147.0241 | 146.9909 | -3.2021e-14 | -147.0241 | 146.9909
Line_2_3-2ph | 0 | 0.10801 | 0.10801 | 0 | 0.10801 | 0.10801 | 0 | 0.024944 | 0.024944 | 0 | 0.024944 | 0.024944 | 1.0408e-18 | 0.01061 | 0.0031379 | 1.0408e-18 | -0.0037361 | 0.0037361 | 4.1633e-18 | -0.0081657 | 0.013003 | -4.1633e-18 | 0.010585 | -0.010585 | 0 | -109.442 | 70.558 | 0 | 70.558 | -109.442 | 0.9 | 0.53676 | 0.53628 | 0.9 | 0.45 | 0.45 | -1.8244e-14 | -147.0241 | 146.9909 | -2.2694e-14 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.037327 | 0.037327 | 0 | 0.037327 | 0.037327 | 0 | 0.0086204 | 0.0086204 | 0 | 0.0086204 | 0.0086204 | -4.12e-19 | 0.0081301 | 0.0032153 | 5.4933e-19 | -0.0067618 | -0.0018469 | 8.2399e-19 | 0.00097844 | 0.007529 | -8.2399e-19 | -0.00049694 | -0.0070475 | 0 | -126.8805 | 53.1195 | 0 | 53.1195 | -126.8805 | 0.95 | 0.94993 | 0.94971 | 0.95 | 0.78651 | 0.84515 | 1.7278e-16 | -120.0181 | 119.9945 | 2.4375e-15 | -122.6772 | 128.4344
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.7466e-19 | -4.685e-10 | -2.9308e-10 | -2.7466e-19 | 4.685e-10 | 2.9308e-10 | 5.4933e-19 | 1.2797e-10 | -4.3181e-10 | -5.4933e-19 | -1.2797e-10 | 4.3181e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95 | 0.78651 | 0.84515 | 0.95 | 0.78651 | 0.84515 | 2.4375e-15 | -122.6772 | 128.4344 | 4.7799e-16 | -122.6772 | 128.4344
Line_2_3-2ph | 0 | 0.037327 | 0.037327 | 0 | 0.037327 | 0.037327 | 0 | 0.0086204 | 0.0086204 | 0 | 0.0086204 | 0.0086204 | -5.4933e-19 | 0.0067618 | 0.0018469 | 5.4933e-19 | -0.0059407 | -0.0010259 | 1.0987e-18 | 0.00049694 | 0.0070475 | -5.4933e-19 | -0.00020804 | -0.0067586 | 0 | -126.8805 | 53.1195 | 0 | 53.1195 | -126.8805 | 0.95 | 0.78651 | 0.84515 | 0.95 | 0.68957 | 0.79301 | 2.4375e-15 | -122.6772 | 128.4344 | 3.5733e-15 | -124.8749 | 134.4883

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.035363 | 0.035363 | 0 | 0.035363 | 0.035363 | 0 | 0.0081668 | 0.0081668 | 0 | 0.0081668 | 0.0081668 | -9.1073e-19 | 0.007297 | 0.0028859 | 9.1073e-19 | -0.0060688 | -0.0016578 | -1.5613e-18 | 0.00087819 | 0.0067575 | 1.5613e-18 | -0.00044602 | -0.0063254 | 0 | -126.8796 | 53.1204 | 0 | 53.1204 | -126.8796 | 0.9 | 0.89994 | 0.89974 | 0.9 | 0.74511 | 0.80068 | 1.6728e-16 | -120.0171 | 119.9947 | -6.8876e-15 | -122.6763 | 128.4346
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6021e-19 | -4.2048e-10 | -2.6301e-10 | 1.0745e-34 | 4.2048e-10 | 2.6301e-10 | -2.6021e-19 | 1.1481e-10 | -3.8756e-10 | 5.2042e-19 | -1.1481e-10 | 3.8756e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9 | 0.74511 | 0.80068 | 0.9 | 0.74511 | 0.80068 | -6.8876e-15 | -122.6763 | 128.4346 | -1.183e-14 | -122.6763 | 128.4346
Line_2_3-2ph | 0 | 0.035363 | 0.035363 | 0 | 0.035363 | 0.035363 | 0 | 0.0081668 | 0.0081668 | 0 | 0.0081668 | 0.0081668 | 5.2042e-19 | 0.0060688 | 0.0016578 | -5.2042e-19 | -0.0053319 | -0.00092086 | 1.5613e-18 | 0.00044602 | 0.0063254 | -1.0408e-18 | -0.00018673 | -0.0060661 | 0 | -126.8796 | 53.1204 | 0 | 53.1204 | -126.8796 | 0.9 | 0.74511 | 0.80068 | 0.9 | 0.65328 | 0.75128 | -6.8876e-15 | -122.6763 | 128.4346 | -6.7341e-15 | -124.8739 | 134.4884

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.1121 | 0.00023353 | 0.00023353 | 0.11209 | 0.0002068 | 0.0002068 | 0.025889 | 5.3931e-05 | 5.3931e-05 | 0.025885 | 4.7757e-05 | 4.7757e-05 | 0.022526 | 4.9124e-05 | -4.8957e-05 | -0.009636 | -4.3471e-05 | 4.3383e-05 | 0.015191 | -2.8169e-05 | -2.8459e-05 | -0.0065152 | 3.9308e-05 | 3.9571e-05 | -34.0296 | -90.1693 | -90.1693 | 145.9817 | 89.8265 | 89.8265 |  | 1.0495 | 1.05 | 1.05 | 0.44936 | 1.2272 | 1.2295 | -0.034235 | -120.0001 | 120.0001 | 0.045415 | -132.2941 | 132.1954
Line_1_3-2ph | 0.00011201 | 0.00011201 | 0.00011201 | 0 | 0 | 0 | 2.5867e-05 | 2.5867e-05 | 2.5867e-05 | 0 | 0 | 0 | -5.3991e-08 | 2.3562e-05 | -2.3481e-05 | 9.8939e-10 | -9.0527e-10 | -9.2034e-10 | 1.1624e-05 | -2.1272e-05 | -2.1451e-05 | 4.0092e-12 | -1.0089e-09 | 1.0002e-09 | -90.2207 | -90.2183 | -90.2183 | 0 | 0 | 0 |  | 0.44936 | 1.2272 | 1.2295 | 0.44891 | 1.227 | 1.2303 | 0.045415 | -132.2941 | 132.1954 | 0.13291 | -132.3315 | 132.1898
Line_2_3-2ph | 0.11202 | 9.4789e-05 | 9.4789e-05 | 0.11197 | 0 | 0 | 0.025871 | 2.1891e-05 | 2.1891e-05 | 0.025859 | 0 | 0 | 0.0096361 | 1.9908e-05 | -1.9903e-05 | 5.1334e-18 | -2.287e-09 | -2.2975e-09 | 0.0065035 | -1.8037e-05 | -1.8119e-05 | 8.7701e-16 | -1.9055e-09 | 1.8995e-09 | -33.9706 | -90.1177 | -90.1177 | 146.0696 | 0 | 0 |  | 0.44936 | 1.2272 | 1.2295 | 0 | 1.4228 | 1.4248 | 0.045415 | -132.2941 | 132.1954 | 0 | -140.3569 | 140.2596

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.11744 | 0.00024465 | 0.00024465 | 0.11742 | 0.00021664 | 0.00021664 | 0.027121 | 5.6499e-05 | 5.6499e-05 | 0.027117 | 5.0031e-05 | 5.0031e-05 | 0.024721 | 5.3914e-05 | -5.373e-05 | -0.010575 | -4.771e-05 | 4.7613e-05 | 0.016672 | -3.0915e-05 | -3.1234e-05 | -0.0071501 | 4.314e-05 | 4.3429e-05 | -34.0312 | -90.1696 | -90.1696 | 145.9801 | 89.8261 | 89.8261 |  | 1.0994 | 1.1 | 1.1 | 0.47075 | 1.2856 | 1.2881 | -0.035864 | -120.0001 | 120.0001 | 0.043786 | -132.2942 | 132.1949
Line_1_3-2ph | 0.00011734 | 0.00011734 | 0.00011734 | 0 | 0 | 0 | 2.7099e-05 | 2.7099e-05 | 2.7099e-05 | 0 | 0 | 0 | -5.8937e-08 | 2.5859e-05 | -2.577e-05 | 1.0859e-09 | -9.9348e-10 | -1.0101e-09 | 1.2757e-05 | -2.3346e-05 | -2.3543e-05 | 4.346e-12 | -1.1072e-09 | 1.0977e-09 | -90.2209 | -90.2185 | -90.2185 | 0 | 0 | 0 |  | 0.47075 | 1.2856 | 1.2881 | 0.47027 | 1.2854 | 1.2889 | 0.043786 | -132.2942 | 132.1949 | 0.13128 | -132.3315 | 132.1893
Line_2_3-2ph | 0.11736 | 9.9302e-05 | 9.9302e-05 | 0.1173 | 0 | 0 | 0.027102 | 2.2933e-05 | 2.2933e-05 | 0.027089 | 0 | 0 | 0.010575 | 2.1849e-05 | -2.1843e-05 | 3.5404e-17 | -2.5099e-09 | -2.5215e-09 | 0.0071373 | -1.9795e-05 | -1.9885e-05 | 9.4951e-16 | -2.0913e-09 | 2.0846e-09 | -33.9723 | -90.1183 | -90.1183 | 146.068 | 0 | 0 |  | 0.47075 | 1.2856 | 1.2881 | 0 | 1.4905 | 1.4927 | 0.043786 | -132.2942 | 132.1949 | 0 | -140.3571 | 140.2587

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.026371 | 5.4937e-05 | 5.4937e-05 | 0.026368 | 4.8648e-05 | 4.8648e-05 | 0.0060902 | 1.2687e-05 | 1.2687e-05 | 0.0060894 | 1.1235e-05 | 1.1235e-05 | 0.0047138 | 1.2407e-05 | -1.0404e-05 | -0.0040007 | -1.0986e-05 | 9.214e-06 | 0.0043199 | -4.8498e-06 | -8.3201e-06 | -0.0038386 | 5.0889e-06 | 8.1634e-06 | -42.5104 | -98.6502 | -98.6502 | 137.5009 | 81.3456 | 81.3456 |  | 1.0499 | 1.05 | 1.05 | 0.9105 | 1.0776 | 1.0957 | -0.0069755 | -120 | 120 | 1.3166 | -123.5097 | 122.886
Line_1_3-2ph | 2.6349e-05 | 2.6349e-05 | 2.6349e-05 | 0 | 0 | 0 | 6.0851e-06 | 6.0851e-06 | 6.0851e-06 | 0 | 0 | 0 | -9.6383e-07 | 5.9522e-06 | -4.9871e-06 | 4.65e-10 | -1.1661e-10 | -1.8981e-10 | 5.456e-06 | -2.7517e-06 | -4.4254e-06 | 8.1221e-11 | -2.546e-10 | 2.1233e-10 | -98.7016 | -98.6991 | -98.6991 | 0 | 0 | 0 |  | 0.9105 | 1.0776 | 1.0957 | 0.91042 | 1.0775 | 1.0959 | 1.3166 | -123.5097 | 122.886 | 1.3278 | -123.5185 | 122.8846
Line_2_3-2ph | 0.026353 | 2.2299e-05 | 2.2299e-05 | 0.026341 | 0 | 0 | 0.006086 | 5.1497e-06 | 5.1497e-06 | 0.0060831 | 0 | 0 | 0.0040016 | 5.0332e-06 | -4.227e-06 | -0.0034692 | -2.5431e-10 | -3.8876e-10 | 0.0038331 | -2.3375e-06 | -3.7377e-06 | -0.0034692 | -4.813e-10 | 4.0367e-10 | -42.4515 | -98.5986 | -98.5986 | 137.5888 | 0 | 0 |  | 0.9105 | 1.0776 | 1.0957 | 0.80652 | 1.106 | 1.1387 | 1.3166 | -123.5097 | 122.886 | 2.5888 | -126.4902 | 125.2834

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.027627 | 5.7553e-05 | 5.7553e-05 | 0.027623 | 5.0965e-05 | 5.0965e-05 | 0.0063802 | 1.3291e-05 | 1.3291e-05 | 0.0063793 | 1.177e-05 | 1.177e-05 | 0.0051733 | 1.3617e-05 | -1.1418e-05 | -0.0043907 | -1.2057e-05 | 1.0113e-05 | 0.004741 | -5.323e-06 | -9.1313e-06 | -0.0042128 | 5.5853e-06 | 8.9593e-06 | -42.5108 | -98.6491 | -98.6491 | 137.5006 | 81.3465 | 81.3465 |  | 1.0998 | 1.1 | 1.1 | 0.95385 | 1.129 | 1.1479 | -0.0073076 | -120 | 120 | 1.3163 | -123.5097 | 122.8859
Line_1_3-2ph | 2.7604e-05 | 2.7604e-05 | 2.7604e-05 | 0 | 0 | 0 | 6.3749e-06 | 6.3749e-06 | 6.3749e-06 | 0 | 0 | 0 | -1.0577e-06 | 6.5327e-06 | -5.4736e-06 | 5.1036e-10 | -1.2797e-10 | -2.0832e-10 | 5.9881e-06 | -3.0201e-06 | -4.8569e-06 | 8.9118e-11 | -2.7942e-10 | 2.3303e-10 | -98.7005 | -98.698 | -98.698 | 0 | 0 | 0 |  | 0.95385 | 1.129 | 1.1479 | 0.95377 | 1.1288 | 1.1481 | 1.3163 | -123.5097 | 122.8859 | 1.3275 | -123.5185 | 122.8846
Line_2_3-2ph | 0.027608 | 2.3361e-05 | 2.3361e-05 | 0.027595 | 0 | 0 | 0.0063758 | 5.3949e-06 | 5.3949e-06 | 0.0063728 | 0 | 0 | 0.0043917 | 5.5239e-06 | -4.6393e-06 | -0.0038074 | -2.791e-10 | -4.2667e-10 | 0.0042068 | -2.5655e-06 | -4.1022e-06 | -0.0038074 | -5.2822e-10 | 4.4303e-10 | -42.4518 | -98.5979 | -98.5979 | 137.5885 | 0 | 0 |  | 0.95385 | 1.129 | 1.1479 | 0.84492 | 1.1586 | 1.1929 | 1.3163 | -123.5097 | 122.8859 | 2.5885 | -126.4902 | 125.2834

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.060149 | 0.0002113 | 0.0002113 | 0.060142 | 0.00018712 | 0.00018712 | 0.013891 | 4.8797e-05 | 4.8797e-05 | 0.013889 | 4.3213e-05 | 4.3213e-05 | 0.012452 | 4.0272e-05 | -4.002e-05 | -0.0053266 | -3.5621e-05 | 3.5483e-05 | 0.0043618 | -2.296e-05 | -2.3397e-05 | -0.0018798 | 3.2096e-05 | 3.2486e-05 | -19.3325 | -90.3113 | -90.3113 | 160.6893 | 89.6856 | 89.6856 |  | 0.94979 | 0.95 | 0.95 | 0.40669 | 1.1096 | 1.1133 | -0.027046 | -120.0001 | 120.0001 | 0.12713 | -132.3348 | 132.1612
Line_1_3-2ph | 0.00010134 | 0.00010134 | 0.00010134 | 0 | 0 | 0 | 2.3405e-05 | 2.3404e-05 | 2.3404e-05 | 0 | 0 | 0 | -8.9228e-08 | 1.9321e-05 | -1.9189e-05 | 8.0996e-10 | -7.3638e-10 | -7.5867e-10 | 9.5179e-06 | -1.7352e-05 | -1.7626e-05 | 7.2888e-12 | -8.2896e-10 | 8.1609e-10 | -90.41 | -90.4076 | -90.4076 | 0 | 0 | 0 |  | 0.40669 | 1.1096 | 1.1133 | 0.40629 | 1.109 | 1.1144 | 0.12713 | -132.3348 | 132.1612 | 0.29509 | -132.3918 | 132.1356
Line_2_3-2ph | 0.060109 | 8.5772e-05 | 8.5772e-05 | 0.060081 | 0 | 0 | 0.013882 | 1.9808e-05 | 1.9808e-05 | 0.013875 | 0 | 0 | 0.0053267 | 1.6299e-05 | -1.6294e-05 | 4.1958e-18 | -1.8705e-09 | -1.8843e-09 | 0.0018702 | -1.4745e-05 | -1.4859e-05 | 2.275e-16 | -1.5619e-09 | 1.5539e-09 | -19.2194 | -90.2014 | -90.2014 | 160.858 | 0 | 0 |  | 0.40669 | 1.1096 | 1.1133 | 0 | 1.2869 | 1.2898 | 0.12713 | -132.3348 | 132.1612 | 0 | -140.3916 | 140.2345

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.056984 | 0.00020018 | 0.00020018 | 0.056977 | 0.00017727 | 0.00017727 | 0.01316 | 4.6229e-05 | 4.6229e-05 | 0.013158 | 4.0938e-05 | 4.0938e-05 | 0.011176 | 3.6144e-05 | -3.5919e-05 | -0.0047808 | -3.197e-05 | 3.1846e-05 | 0.0039149 | -2.0607e-05 | -2.0999e-05 | -0.0016871 | 2.8807e-05 | 2.9156e-05 | -19.3311 | -90.3111 | -90.3111 | 160.6907 | 89.686 | 89.686 |  | 0.89981 | 0.9 | 0.9 | 0.38529 | 1.0512 | 1.0547 | -0.025623 | -120.0001 | 120.0001 | 0.12855 | -132.3347 | 132.1616
Line_1_3-2ph | 9.6011e-05 | 9.6011e-05 | 9.6011e-05 | 0 | 0 | 0 | 2.2173e-05 | 2.2173e-05 | 2.2173e-05 | 0 | 0 | 0 | -8.027e-08 | 1.7341e-05 | -1.7222e-05 | 7.2695e-10 | -6.6094e-10 | -6.8091e-10 | 8.5425e-06 | -1.5574e-05 | -1.582e-05 | 6.5733e-12 | -7.4399e-10 | 7.3246e-10 | -90.4098 | -90.4074 | -90.4074 | 0 | 0 | 0 |  | 0.38529 | 1.0512 | 1.0547 | 0.38491 | 1.0506 | 1.0558 | 0.12855 | -132.3347 | 132.1616 | 0.29651 | -132.3916 | 132.136
Line_2_3-2ph | 0.056946 | 8.1258e-05 | 8.1258e-05 | 0.056919 | 0 | 0 | 0.013151 | 1.8766e-05 | 1.8766e-05 | 0.013145 | 0 | 0 | 0.0047809 | 1.4629e-05 | -1.4624e-05 | -4.412e-18 | -1.6788e-09 | -1.6912e-09 | 0.0016786 | -1.3234e-05 | -1.3336e-05 | 2.1745e-16 | -1.4018e-09 | 1.3947e-09 | -19.2179 | -90.2008 | -90.2008 | 160.8594 | 0 | 0 |  | 0.38529 | 1.0512 | 1.0547 | 0 | 1.2192 | 1.2219 | 0.12855 | -132.3347 | 132.1616 | 0 | -140.3913 | 140.2351

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.020961 | 7.3633e-05 | 7.3633e-05 | 0.020958 | 6.5206e-05 | 6.5206e-05 | 0.0048407 | 1.7005e-05 | 1.7005e-05 | 0.00484 | 1.5059e-05 | 1.5059e-05 | 0.003699 | 1.5767e-05 | -1.0929e-05 | -0.0028343 | -1.3958e-05 | 9.6829e-06 | 0.0027312 | -3.5165e-06 | -1.1896e-05 | -0.0024287 | 4.542e-06 | 1.1964e-05 | -36.4485 | -107.4273 | -107.4273 | 143.5733 | 72.5696 | 72.5696 |  | 0.94988 | 0.95 | 0.95 | 0.77118 | 0.97472 | 1.0221 | -0.0077107 | -120 | 120 | 4.1659 | -125.4561 | 123.5857
Line_1_3-2ph | 3.5316e-05 | 3.5316e-05 | 3.5316e-05 | 0 | 0 | 0 | 8.1559e-06 | 8.1559e-06 | 8.1559e-06 | 0 | 0 | 0 | -2.3248e-06 | 7.5635e-06 | -5.2338e-06 | 4.9838e-10 | -1.0254e-10 | -2.7867e-10 | 5.8443e-06 | -2.4477e-06 | -6.4885e-06 | 1.9667e-10 | -3.2364e-10 | 2.2195e-10 | -107.526 | -107.5235 | -107.5235 | 0 | 0 | 0 |  | 0.77118 | 0.97472 | 1.0221 | 0.7712 | 0.97437 | 1.0225 | 4.1659 | -125.4561 | 123.5857 | 4.1984 | -125.4717 | 123.5727
Line_2_3-2ph | 0.020947 | 2.989e-05 | 2.989e-05 | 0.020937 | 0 | 0 | 0.0048374 | 6.9027e-06 | 6.9027e-06 | 0.0048352 | 0 | 0 | 0.0028367 | 6.3939e-06 | -4.4494e-06 | -0.0021918 | -2.5582e-10 | -5.7998e-10 | 0.0024228 | -2.0946e-06 | -5.4755e-06 | -0.0021918 | -6.1171e-10 | 4.2456e-10 | -36.3353 | -107.3174 | -107.3174 | 143.742 | 0 | 0 |  | 0.77118 | 0.97472 | 1.0221 | 0.64106 | 1.0048 | 1.0893 | 4.1659 | -125.4561 | 123.5857 | 8.742 | -130.0653 | 126.4246

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.019858 | 6.9757e-05 | 6.9757e-05 | 0.019855 | 6.1774e-05 | 6.1774e-05 | 0.0045859 | 1.611e-05 | 1.611e-05 | 0.0045853 | 1.4266e-05 | 1.4266e-05 | 0.0033199 | 1.4151e-05 | -9.8086e-06 | -0.0025439 | -1.2527e-05 | 8.6903e-06 | 0.0024513 | -3.1559e-06 | -1.0677e-05 | -0.0021798 | 4.0763e-06 | 1.0738e-05 | -36.4481 | -107.4281 | -107.4281 | 143.5737 | 72.569 | 72.569 |  | 0.8999 | 0.9 | 0.9 | 0.7306 | 0.92342 | 0.96832 | -0.007305 | -120 | 120 | 4.1663 | -125.4562 | 123.5857
Line_1_3-2ph | 3.3457e-05 | 3.3457e-05 | 3.3457e-05 | 0 | 0 | 0 | 7.7266e-06 | 7.7266e-06 | 7.7266e-06 | 0 | 0 | 0 | -2.0866e-06 | 6.7883e-06 | -4.6973e-06 | 4.4729e-10 | -9.203e-11 | -2.5011e-10 | 5.2453e-06 | -2.1967e-06 | -5.8235e-06 | 1.7653e-10 | -2.9047e-10 | 1.992e-10 | -107.5268 | -107.5244 | -107.5244 | 0 | 0 | 0 |  | 0.7306 | 0.92342 | 0.96832 | 0.73062 | 0.92309 | 0.96867 | 4.1663 | -125.4562 | 123.5857 | 4.1988 | -125.4717 | 123.5728
Line_2_3-2ph | 0.019844 | 2.8317e-05 | 2.8317e-05 | 0.019835 | 0 | 0 | 0.0045828 | 6.5394e-06 | 6.5394e-06 | 0.0045807 | 0 | 0 | 0.002546 | 5.7386e-06 | -3.9933e-06 | -0.0019671 | -2.2961e-10 | -5.2054e-10 | 0.0021745 | -1.8799e-06 | -4.9144e-06 | -0.0019671 | -5.4902e-10 | 3.8105e-10 | -36.3349 | -107.3178 | -107.3178 | 143.7424 | 0 | 0 |  | 0.7306 | 0.92342 | 0.96832 | 0.60732 | 0.95193 | 1.0319 | 4.1663 | -125.4562 | 123.5857 | 8.7424 | -130.0653 | 126.4247

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.0001513 | 0.21551 | 0.21545 | 0.00013398 | 0.21552 | 0.21543 | 3.4942e-05 | 0.049769 | 0.049756 | 3.0942e-05 | 0.049772 | 0.049753 | 7.2844e-08 | 0.050735 | 0.030402 | -5.3586e-08 | -0.020288 | -0.010637 | -3.6689e-05 | 0.012415 | 0.042404 | 3.852e-05 | -0.0033709 | -0.01753 | 89.8862 | -133.8309 | 65.597 | -90.1179 | 46.1723 | -114.4049 |  | 1.05 | 1.0495 | 1.0486 | 1.2449 | 0.41321 | 0.41214 | -6.095e-06 | -120.0807 | 119.9573 | -0.038232 | -124.3942 | 124.3458
Line_1_3-2ph | 7.257e-05 | 7.2579e-05 | 7.2561e-05 | 0 | 0 | 0 | 1.6759e-05 | 1.6761e-05 | 1.6757e-05 | 0 | 0 | 0 | 4.5327e-08 | -5.7263e-06 | 5.691e-06 | -8.9125e-10 | 9.6043e-10 | 9.5892e-10 | -2.0864e-05 | 3.896e-06 | 3.9128e-06 | -4.9061e-12 | -1.2004e-10 | 1.201e-10 | 89.8373 | 89.8361 | 89.836 | 0 | 0 | 0 |  | 1.2449 | 0.41321 | 0.41214 | 1.2452 | 0.41341 | 0.41161 | -0.038232 | -124.3942 | 124.3458 | -0.058635 | -124.3255 | 124.3465
Line_2_3-2ph | 6.1414e-05 | 0.21557 | 0.21537 | 0 | 0.21562 | 0.21531 | 1.4183e-05 | 0.049784 | 0.049737 | 0 | 0.049795 | 0.049724 | 7.3689e-09 | 0.020294 | 0.010632 | -1.9245e-09 | -5.5528e-16 | -2.1583e-15 | -1.7657e-05 | 0.003367 | 0.017526 | -2.5406e-12 | 3.7132e-16 | 9.3207e-17 | 89.9379 | -133.8144 | 65.5871 | 0 | 46.1969 | -114.4196 |  | 1.2449 | 0.41321 | 0.41214 | 1.4197 | 0 | 0 | -0.038232 | -124.3942 | 124.3458 | -0.026632 | 0 | 0

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.00015851 | 0.22576 | 0.2257 | 0.00014036 | 0.22577 | 0.22568 | 3.6606e-05 | 0.052137 | 0.052123 | 3.2416e-05 | 0.05214 | 0.052119 | 7.9692e-08 | 0.055678 | 0.033362 | -5.8557e-08 | -0.022265 | -0.011673 | -4.0267e-05 | 0.013625 | 0.046533 | 4.2276e-05 | -0.0036994 | -0.019238 | 89.8866 | -133.8347 | 65.5938 | -90.1178 | 46.1685 | -114.4081 |  | 1.1 | 1.0994 | 1.0985 | 1.3042 | 0.43288 | 0.43174 | -6.3848e-06 | -120.0845 | 119.9553 | -0.038397 | -124.3979 | 124.344
Line_1_3-2ph | 7.6026e-05 | 7.6035e-05 | 7.6017e-05 | 0 | 0 | 0 | 1.7557e-05 | 1.756e-05 | 1.7555e-05 | 0 | 0 | 0 | 4.9533e-08 | -6.2842e-06 | 6.2458e-06 | -9.7813e-10 | 1.0541e-09 | 1.0524e-09 | -2.2898e-05 | 4.2763e-06 | 4.2938e-06 | -5.3996e-12 | -1.3186e-10 | 1.3175e-10 | 89.8377 | 89.8365 | 89.8364 | 0 | 0 | 0 |  | 1.3042 | 0.43288 | 0.43174 | 1.3045 | 0.43309 | 0.43118 | -0.038397 | -124.3979 | 124.344 | -0.0588 | -124.3292 | 124.3447
Line_2_3-2ph | 6.4339e-05 | 0.22583 | 0.22561 | 0 | 0.22587 | 0.22555 | 1.4858e-05 | 0.052153 | 0.052103 | 0 | 0.052163 | 0.052089 | 8.0473e-09 | 0.022271 | 0.011666 | -2.1121e-09 | 4.7936e-17 | -1.6009e-15 | -1.9378e-05 | 0.0036951 | 0.019233 | -2.8172e-12 | -5.8342e-17 | 2.3846e-16 | 89.9378 | -133.8182 | 65.584 | 0 | 46.1931 | -114.4227 |  | 1.3042 | 0.43288 | 0.43174 | 1.4873 | 0 | 0 | -0.038397 | -124.3979 | 124.344 | -0.026907 | 0 | 0

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 4.8765e-05 | 0.028993 | 0.028232 | 4.3183e-05 | 0.028995 | 0.028227 | 1.1262e-05 | 0.0066956 | 0.00652 | 9.9727e-06 | 0.0066962 | 0.0065187 | 1.579e-06 | 0.0055779 | 0.0044764 | -1.3976e-06 | -0.0047861 | -0.004149 | -1.1719e-05 | 0.0042778 | 0.0051782 | 1.1004e-05 | -0.0041983 | -0.0045012 | 82.3265 | -157.4936 | 70.8358 | -97.6777 | 22.516 | -109.1664 |  | 1.05 | 1.0499 | 1.0498 | 1.1123 | 0.95076 | 0.93909 | -4.4809e-06 | -120.0084 | 119.9936 | -0.43939 | -116.2269 | 118.1648
Line_1_3-2ph | 2.3389e-05 | 2.339e-05 | 2.3388e-05 | 0 | 0 | 0 | 5.4015e-06 | 5.4018e-06 | 5.4012e-06 | 0 | 0 | 0 | 7.6163e-07 | -4.8703e-06 | 4.1093e-06 | -2.5442e-10 | 3.3768e-10 | 3.8058e-10 | -5.9594e-06 | 1.6299e-06 | 2.9734e-06 | -3.3433e-11 | 2.4142e-10 | -1.1574e-10 | 82.2775 | 82.2762 | 82.2764 | 0 | 0 | 0 |  | 1.1123 | 0.95076 | 0.93909 | 1.1123 | 0.95086 | 0.93892 | -0.43939 | -116.2269 | 118.1648 | -0.44731 | -116.2187 | 118.1651
Line_2_3-2ph | 1.9794e-05 | 0.029007 | 0.028204 | 0 | 0.029017 | 0.028185 | 4.5712e-06 | 0.0066989 | 0.0065134 | 0 | 0.0067012 | 0.006509 | 6.357e-07 | 0.0047909 | 0.0041449 | -5.0671e-10 | -0.00421 | -0.0039719 | -5.0445e-06 | 0.0041967 | 0.0044982 | -6.1164e-11 | -0.00421 | -0.0039719 | 82.3781 | -157.4441 | 70.8242 | 0 | 22.5897 | -109.1839 |  | 1.1123 | 0.95076 | 0.93909 | 1.1682 | 0.88847 | 0.86297 | -0.43939 | -116.2269 | 118.1648 | -0.77921 | -112.4103 | 115.8161

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 5.1088e-05 | 0.030373 | 0.029577 | 4.524e-05 | 0.030376 | 0.029571 | 1.1798e-05 | 0.0070144 | 0.0068304 | 1.0448e-05 | 0.007015 | 0.0068291 | 1.7327e-06 | 0.0061217 | 0.0049128 | -1.5337e-06 | -0.0052526 | -0.0045535 | -1.2862e-05 | 0.0046948 | 0.0056831 | 1.2077e-05 | -0.0046076 | -0.00494 | 82.3276 | -157.494 | 70.8355 | -97.6768 | 22.5156 | -109.1667 |  | 1.1 | 1.0998 | 1.0998 | 1.1652 | 0.99602 | 0.9838 | -4.6939e-06 | -120.0088 | 119.9932 | -0.4394 | -116.2273 | 118.1645
Line_1_3-2ph | 2.4503e-05 | 2.4504e-05 | 2.4502e-05 | 0 | 0 | 0 | 5.6588e-06 | 5.6591e-06 | 5.6585e-06 | 0 | 0 | 0 | 8.3578e-07 | -5.3451e-06 | 4.5101e-06 | -2.7922e-10 | 3.7062e-10 | 4.1771e-10 | -6.5406e-06 | 1.7889e-06 | 3.2632e-06 | -3.6695e-11 | 2.6493e-10 | -1.2705e-10 | 82.2787 | 82.2774 | 82.2775 | 0 | 0 | 0 |  | 1.1652 | 0.99602 | 0.9838 | 1.1653 | 0.99613 | 0.98362 | -0.4394 | -116.2273 | 118.1645 | -0.44732 | -116.2191 | 118.1648
Line_2_3-2ph | 2.0736e-05 | 0.030388 | 0.029547 | 0 | 0.030399 | 0.029527 | 4.7889e-06 | 0.0070179 | 0.0068235 | 0 | 0.0070203 | 0.0068189 | 6.9762e-07 | 0.005258 | 0.004549 | -5.5611e-10 | -0.0046204 | -0.0043591 | -5.5364e-06 | 0.0046058 | 0.0049367 | -6.713e-11 | -0.0046204 | -0.0043591 | 82.3788 | -157.4445 | 70.8238 | 0 | 22.5893 | -109.1842 |  | 1.1652 | 0.99602 | 0.9838 | 1.2238 | 0.93077 | 0.90406 | -0.4394 | -116.2273 | 118.1645 | -0.77924 | -112.4107 | 115.8158

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.00013689 | 0.11567 | 0.11566 | 0.00012122 | 0.11568 | 0.11564 | 3.1612e-05 | 0.026712 | 0.02671 | 2.7994e-05 | 0.026715 | 0.026707 | 1.1619e-07 | 0.025371 | 0.019511 | -8.5994e-08 | -0.0099585 | -0.0071479 | -3.0032e-05 | -0.00040009 | 0.016195 | 3.1532e-05 | 0.00090452 | -0.0069307 | 89.7783 | -119.1538 | 80.2641 | -90.2247 | 60.85 | -99.7371 |  | 0.95 | 0.94992 | 0.94932 | 1.1264 | 0.3743 | 0.3728 | -7.0199e-06 | -120.0572 | 119.9597 | -0.068488 | -124.3398 | 124.3787
Line_1_3-2ph | 6.5654e-05 | 6.5662e-05 | 6.5646e-05 | 0 | 0 | 0 | 1.5162e-05 | 1.5164e-05 | 1.516e-05 | 0 | 0 | 0 | 7.4353e-08 | -4.7044e-06 | 4.6467e-06 | -7.2973e-10 | 7.869e-10 | 7.8456e-10 | -1.7078e-05 | 3.1756e-06 | 3.2173e-06 | -7.3741e-12 | -9.6521e-11 | 9.9689e-11 | 89.6821 | 89.6809 | 89.6808 | 0 | 0 | 0 |  | 1.1264 | 0.3743 | 0.3728 | 1.1266 | 0.37479 | 0.37202 | -0.068488 | -124.3398 | 124.3787 | -0.10766 | -124.24 | 124.4121
Line_2_3-2ph | 5.5566e-05 | 0.11574 | 0.11558 | 0 | 0.11579 | 0.11552 | 1.2832e-05 | 0.026729 | 0.026692 | 0 | 0.02674 | 0.026679 | 1.0912e-08 | 0.0099632 | 0.0071433 | -1.5758e-09 | 1.9053e-16 | -4.4594e-16 | -1.4454e-05 | -0.00090769 | 0.0069275 | -3.3534e-12 | -1.8951e-16 | 7.667e-17 | 89.8883 | -119.1343 | 80.2575 | 0 | 60.879 | -99.7471 |  | 1.1264 | 0.3743 | 0.3728 | 1.2846 | 0 | 0 | -0.068488 | -124.3398 | 124.3787 | -0.042939 | 0 | 0

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.00012968 | 0.10958 | 0.10957 | 0.00011484 | 0.10959 | 0.10956 | 2.9948e-05 | 0.025307 | 0.025305 | 2.6521e-05 | 0.02531 | 0.025302 | 1.0443e-07 | 0.022771 | 0.017512 | -7.7328e-08 | -0.008938 | -0.0064159 | -2.6953e-05 | -0.00035917 | 0.014536 | 2.83e-05 | 0.00081188 | -0.0062207 | 89.778 | -119.1505 | 80.267 | -90.2249 | 60.8532 | -99.7343 |  | 0.9 | 0.89993 | 0.89939 | 1.0671 | 0.3546 | 0.35319 | -6.6508e-06 | -120.0542 | 119.9618 | -0.068343 | -124.3369 | 124.3806
Line_1_3-2ph | 6.2198e-05 | 6.2206e-05 | 6.2191e-05 | 0 | 0 | 0 | 1.4364e-05 | 1.4366e-05 | 1.4362e-05 | 0 | 0 | 0 | 6.6857e-08 | -4.2224e-06 | 4.1705e-06 | -6.5494e-10 | 7.0625e-10 | 7.0416e-10 | -1.5328e-05 | 2.8499e-06 | 2.8878e-06 | -6.6095e-12 | -8.657e-11 | 8.9514e-11 | 89.6817 | 89.6806 | 89.6805 | 0 | 0 | 0 |  | 1.0671 | 0.3546 | 0.35319 | 1.0673 | 0.35506 | 0.35245 | -0.068343 | -124.3369 | 124.3806 | -0.10752 | -124.2371 | 124.414
Line_2_3-2ph | 5.2641e-05 | 0.10965 | 0.1095 | 0 | 0.10969 | 0.10945 | 1.2157e-05 | 0.025322 | 0.025288 | 0 | 0.025333 | 0.025276 | 9.8169e-09 | 0.0089423 | 0.0064117 | -1.4143e-09 | 1.6541e-16 | -4.0156e-16 | -1.2973e-05 | -0.00081473 | 0.0062178 | -2.9929e-12 | -1.2357e-16 | 1.332e-16 | 89.8883 | -119.1311 | 80.2604 | 0 | 60.8822 | -99.7442 |  | 1.0671 | 0.3546 | 0.35319 | 1.217 | 0 | 0 | -0.068343 | -124.3369 | 124.3806 | -0.042699 | 0 | 0

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 6.2287e-05 | 0.024687 | 0.022875 | 5.5158e-05 | 0.024692 | 0.022868 | 1.4385e-05 | 0.0057012 | 0.0052827 | 1.2738e-05 | 0.0057023 | 0.0052811 | 3.4642e-06 | 0.0046353 | 0.0033889 | -3.0646e-06 | -0.003707 | -0.0028949 | -1.3219e-05 | 0.0028001 | 0.0037004 | 1.2728e-05 | -0.0029043 | -0.0030957 | 75.3149 | -151.1451 | 72.4773 | -104.6882 | 28.8668 | -107.5236 |  | 0.95 | 0.94988 | 0.94985 | 1.0278 | 0.82584 | 0.80256 | -1.0771e-05 | -120.0098 | 119.9932 | -1.1506 | -113.0558 | 119.3966
Line_1_3-2ph | 2.9874e-05 | 2.9876e-05 | 2.9873e-05 | 0 | 0 | 0 | 6.8992e-06 | 6.8996e-06 | 6.8989e-06 | 0 | 0 | 0 | 1.671e-06 | -5.6387e-06 | 3.9708e-06 | -2.9396e-10 | 3.5393e-10 | 4.3454e-10 | -6.8911e-06 | 8.1988e-07 | 3.8586e-06 | -7.3177e-11 | 3.4853e-10 | -2.8884e-11 | 75.2186 | 75.2171 | 75.2177 | 0 | 0 | 0 |  | 1.0278 | 0.82584 | 0.80256 | 1.0278 | 0.82617 | 0.80222 | -1.1506 | -113.0558 | 119.3966 | -1.1712 | -113.044 | 119.4078
Line_2_3-2ph | 2.5284e-05 | 0.024712 | 0.022838 | 0 | 0.02473 | 0.022813 | 5.8391e-06 | 0.0057071 | 0.0052742 | 0 | 0.0057111 | 0.0052684 | 1.3933e-06 | 0.0037126 | 0.0028909 | -5.9808e-10 | -0.0030578 | -0.0026021 | -5.8373e-06 | 0.0029035 | 0.0030919 | -1.3392e-10 | -0.0030578 | -0.0026021 | 75.4248 | -151.083 | 72.4728 | 0 | 28.9595 | -107.5305 |  | 1.0278 | 0.82584 | 0.80256 | 1.098 | 0.75719 | 0.69849 | -1.1506 | -113.0558 | 119.3966 | -2.0067 | -106.0405 | 117.4695

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 5.9008e-05 | 0.023388 | 0.021671 | 5.2255e-05 | 0.023392 | 0.021664 | 1.3627e-05 | 0.0054011 | 0.0050047 | 1.2068e-05 | 0.0054022 | 0.0050032 | 3.1093e-06 | 0.0041603 | 0.0030417 | -2.7506e-06 | -0.0033271 | -0.0025982 | -1.1864e-05 | 0.0025131 | 0.0033212 | 1.1424e-05 | -0.0026066 | -0.0027785 | 75.314 | -151.1446 | 72.4776 | -104.6889 | 28.8674 | -107.5232 |  | 0.9 | 0.89989 | 0.89986 | 0.97367 | 0.78238 | 0.76033 | -1.0204e-05 | -120.0093 | 119.9936 | -1.1506 | -113.0553 | 119.397
Line_1_3-2ph | 2.8302e-05 | 2.8303e-05 | 2.83e-05 | 0 | 0 | 0 | 6.5361e-06 | 6.5364e-06 | 6.5357e-06 | 0 | 0 | 0 | 1.4999e-06 | -5.0608e-06 | 3.5637e-06 | -2.6383e-10 | 3.1764e-10 | 3.8998e-10 | -6.1847e-06 | 7.3572e-07 | 3.4632e-06 | -6.5676e-11 | 3.1283e-10 | -2.5908e-11 | 75.2178 | 75.2162 | 75.2169 | 0 | 0 | 0 |  | 0.97367 | 0.78238 | 0.76033 | 0.97371 | 0.78269 | 0.76001 | -1.1506 | -113.0553 | 119.397 | -1.1712 | -113.0434 | 119.4081
Line_2_3-2ph | 2.3953e-05 | 0.023412 | 0.021636 | 0 | 0.023428 | 0.021612 | 5.5318e-06 | 0.0054067 | 0.0049966 | 0 | 0.0054105 | 0.0049911 | 1.2505e-06 | 0.0033322 | 0.0025947 | -5.3678e-10 | -0.0027444 | -0.0023354 | -5.239e-06 | 0.0026059 | 0.002775 | -1.2019e-10 | -0.0027444 | -0.0023354 | 75.4243 | -151.0825 | 72.4732 | 0 | 28.96 | -107.5301 |  | 0.97367 | 0.78238 | 0.76033 | 1.0402 | 0.71734 | 0.66174 | -1.1506 | -113.0553 | 119.397 | -2.0066 | -106.04 | 117.4699