## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7283e-20 | 0 | 6.3218e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7283e-20 | 0 | 6.3218e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7283e-20 | 0 | 6.3218e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7283e-20 | 0 | 6.3218e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -6.2528e-14 | 30.1766 | -15.8685 | 4.1685e-14 | -23.0225 | 23.0225 | 5.2106e-15 | 3.131 | 13.1032 | -1.0421e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.0316 | 0.29171 | 0.89069 | 0.95263 | 0 | 0.95263 | 4.9693e-13 | -161.8563 | 152.6723 | 5.0462e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | 2.6054e-15 | 4.6455e-20 | 5.2106e-15 | 1.3027e-14 | -5.2106e-15 | 5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 5.0461e-13 | -180 | 180 | 5.0462e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 2.6054e-15 | 4.6455e-20 | 0 | 1.3027e-14 | -5.2106e-15 | -9.1964e-29 | -1.9211e-09 | 1.9211e-09 | 0 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 5.0561e-13 | -180 | 180 | 5.0462e-13 | 180 | -180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -6.2528e-14 | 30.1766 | -15.8685 | 4.1685e-14 | -23.0225 | 23.0225 | 5.2106e-15 | 3.131 | 13.1032 | -1.0421e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.0316 | 0.29171 | 0.89069 | 0.95263 | 0 | 0.95263 | 4.9693e-13 | -161.8563 | 152.6723 | 5.0462e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | 2.6054e-15 | 4.6455e-20 | 5.2106e-15 | 1.3027e-14 | -5.2106e-15 | 5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 5.0461e-13 | -180 | 180 | 5.0462e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 2.6054e-15 | 4.6455e-20 | 0 | 1.3027e-14 | -5.2106e-15 | -9.1964e-29 | -1.9211e-09 | 1.9211e-09 | 0 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 5.0561e-13 | -180 | 180 | 5.0462e-13 | 180 | -180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -1.5632e-14 | 19.0761 | -0.30087 | 1.3027e-14 | -17.4596 | 1.9173 | -2.6053e-15 | 3.9919 | 15.2185 | 7.816e-15 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1096 | 0.76178 | 0.93481 | 1.0759 | 0.62335 | 0.92294 | 2.8323e-13 | -138.0936 | 121.2196 | 2.8282e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.816e-15 | 4.734e-10 | 1.0337e-09 | 5.2106e-15 | -4.7339e-10 | -1.0337e-09 | -5.2106e-15 | -1.3544e-09 | 3.8387e-10 | 2.6053e-15 | 1.3544e-09 | -3.8387e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0759 | 0.62335 | 0.92294 | 1.0759 | 0.62335 | 0.92294 | 2.8188e-13 | -142.8673 | 128.239 | 2.8282e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 4.7339e-10 | 1.0337e-09 | -1.286e-29 | -4.7338e-10 | -1.0337e-09 | -2.5814e-29 | -1.3544e-09 | 3.8387e-10 | 2.6053e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0759 | 0.62335 | 0.92294 | 1.0759 | 0.62335 | 0.92294 | 2.8385e-13 | -142.8673 | 128.239 | 2.8282e-13 | -142.8673 | 128.239

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -1.5632e-14 | 19.0761 | -0.30087 | 1.3027e-14 | -17.4596 | 1.9173 | -2.6053e-15 | 3.9919 | 15.2185 | 7.816e-15 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1096 | 0.76178 | 0.93481 | 1.0759 | 0.62335 | 0.92294 | 2.8323e-13 | -138.0936 | 121.2196 | 2.8282e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.816e-15 | 4.734e-10 | 1.0337e-09 | 5.2106e-15 | -4.7339e-10 | -1.0337e-09 | -5.2106e-15 | -1.3544e-09 | 3.8387e-10 | 2.6053e-15 | 1.3544e-09 | -3.8387e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0759 | 0.62335 | 0.92294 | 1.0759 | 0.62335 | 0.92294 | 2.8188e-13 | -142.8673 | 128.239 | 2.8282e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 4.7339e-10 | 1.0337e-09 | -1.286e-29 | -4.7338e-10 | -1.0337e-09 | -2.5814e-29 | -1.3544e-09 | 3.8387e-10 | 2.6053e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0759 | 0.62335 | 0.92294 | 1.0759 | 0.62335 | 0.92294 | 2.8385e-13 | -142.8673 | 128.239 | 2.8282e-13 | -142.8673 | 128.239

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -4.737e-15 | 26.5997 | -7.1734 | 2.3685e-15 | -16.8865 | 16.8865 | -5.3122e-29 | -0.51586 | 11.9957 | 4.737e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 0.99007 | 0.36172 | 0.76497 | 0.86603 | 0 | 0.86603 | 6.4254e-13 | -160.7833 | 141.207 | 6.1738e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4211e-14 | -5.9211e-15 | 2.3686e-15 | -1.6579e-14 | 7.1054e-15 | 2.3685e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 6.1597e-13 | -180 | 180 | 6.1738e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -5.9211e-15 | -2.3684e-15 | 1.5313e-28 | 7.1054e-15 | 7.1054e-15 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 5.9923e-13 | -180 | 180 | 6.1738e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -4.737e-15 | 26.5997 | -7.1734 | 2.3685e-15 | -16.8865 | 16.8865 | -5.3122e-29 | -0.51586 | 11.9957 | 4.737e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 0.99007 | 0.36172 | 0.76497 | 0.86603 | 0 | 0.86603 | 6.4254e-13 | -160.7833 | 141.207 | 6.1738e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4211e-14 | -5.9211e-15 | 2.3686e-15 | -1.6579e-14 | 7.1054e-15 | 2.3685e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 6.1597e-13 | -180 | 180 | 6.1738e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -5.9211e-15 | -2.3684e-15 | 1.5313e-28 | 7.1054e-15 | 7.1054e-15 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 5.9923e-13 | -180 | 180 | 6.1738e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | -6.5133e-15 | 15.3932 | 0.73601 | 5.3291e-15 | -13.0917 | 1.5655 | -3.3493e-29 | 2.3135 | 11.9328 | 2.3685e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1.0184 | 0.70869 | 0.84493 | 0.95734 | 0.5368 | 0.85298 | 2.9463e-13 | -138.1765 | 119.7467 | 2.7408e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5527e-15 | 4.798e-10 | 8.2616e-10 | -3.5527e-15 | -4.798e-10 | -8.2616e-10 | -2.3685e-15 | -1.0532e-09 | 4.5326e-10 | -1.6995e-29 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95734 | 0.5368 | 0.85298 | 0.95734 | 0.5368 | 0.85298 | 2.7547e-13 | -142.5584 | 131.6989 | 2.7408e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.9212e-16 | 4.7979e-10 | 8.2616e-10 | 5.9212e-16 | -4.798e-10 | -8.2616e-10 | -2.7398e-30 | -1.0532e-09 | 4.5325e-10 | 2.8325e-30 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95734 | 0.5368 | 0.85298 | 0.95734 | 0.5368 | 0.85298 | 2.6511e-13 | -142.5584 | 131.6989 | 2.7408e-13 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | -6.5133e-15 | 15.3932 | 0.73601 | 5.3291e-15 | -13.0917 | 1.5655 | -3.3493e-29 | 2.3135 | 11.9328 | 2.3685e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1.0184 | 0.70869 | 0.84493 | 0.95734 | 0.5368 | 0.85298 | 2.9463e-13 | -138.1765 | 119.7467 | 2.7408e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5527e-15 | 4.798e-10 | 8.2616e-10 | -3.5527e-15 | -4.798e-10 | -8.2616e-10 | -2.3685e-15 | -1.0532e-09 | 4.5326e-10 | -1.6995e-29 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95734 | 0.5368 | 0.85298 | 0.95734 | 0.5368 | 0.85298 | 2.7547e-13 | -142.5584 | 131.6989 | 2.7408e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.9212e-16 | 4.7979e-10 | 8.2616e-10 | 5.9212e-16 | -4.798e-10 | -8.2616e-10 | -2.7398e-30 | -1.0532e-09 | 4.5325e-10 | 2.8325e-30 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95734 | 0.5368 | 0.85298 | 0.95734 | 0.5368 | 0.85298 | 2.6511e-13 | -142.5584 | 131.6989 | 2.7408e-13 | -142.5584 | 131.6989

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.65659 | 0.014634 | 0.014634 | 0.65177 | 0.0098121 | 0.0098121 | 7.5817 | 0.16898 | 0.16898 | 7.526 | 0.1133 | 0.1133 | 0.69534 | 0.16842 | -0.15343 | 1.2354e-11 | -0.10799 | 0.10786 | 0.38286 | -0.25156 | -0.24347 | -4.836e-12 | 0.16984 | 0.167 | -84.8777 | -88.5599 | -88.5599 | 95.1392 | 90.7534 | 90.7534 | 1.0347 | 1.1 | 1.0382 | 1.0256 | 1.1 | 1.013 | -56.0399 | -144.7571 | 149.2215 | 0 | -146.7967 | 147.897
Line_1 | 0 | 0 | 0 | 0.004906 | 0.004906 | 0.004906 | 0 | 0 | 0 | 0.05665 | 0.05665 | 0.05665 | -1.3026e-12 | -5.1749e-09 | -5.0397e-09 | -9.5506e-14 | 0.053995 | -0.053928 | 3.1502e-12 | -3.2328e-09 | 3.3108e-09 | 2.9183e-14 | -0.084919 | -0.0835 | 0 | 0 | 0 | -89.2466 | -89.2466 | -89.2466 | 1.0256 | 1.1 | 1.013 | 1.0256 | 1.1 | 1.013 | 112.4251 | -146.8235 | 147.881 | 0 | -146.7967 | 147.897
Line_2 | 0 | 0 | 0 | 0.004906 | 0.004906 | 0.004906 | 0 | 0 | 0 | 0.05665 | 0.05665 | 0.05665 | -1.3026e-12 | -5.1749e-09 | -5.0397e-09 | -9.5506e-14 | 0.053995 | -0.053928 | 3.1502e-12 | -3.2327e-09 | 3.3108e-09 | 2.9183e-14 | -0.084919 | -0.0835 | 0 | 0 | 0 | -89.2466 | -89.2466 | -89.2466 | 1.0256 | 1.1 | 1.013 | 1.0256 | 1.1 | 1.013 | 112.4251 | -146.8235 | 147.881 | 0 | -146.7967 | 147.897

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.65659 | 0.014634 | 0.014634 | 0.65177 | 0.0098121 | 0.0098121 | 7.5817 | 0.16898 | 0.16898 | 7.526 | 0.1133 | 0.1133 | 0.69534 | 0.16842 | -0.15343 | 1.2354e-11 | -0.10799 | 0.10786 | 0.38286 | -0.25156 | -0.24347 | -4.836e-12 | 0.16984 | 0.167 | -84.8777 | -88.5599 | -88.5599 | 95.1392 | 90.7534 | 90.7534 | 1.0347 | 1.1 | 1.0382 | 1.0256 | 1.1 | 1.013 | -56.0399 | -144.7571 | 149.2215 | 0 | -146.7967 | 147.897
Line_1 | 0 | 0 | 0 | 0.004906 | 0.004906 | 0.004906 | 0 | 0 | 0 | 0.05665 | 0.05665 | 0.05665 | -1.3026e-12 | -5.1749e-09 | -5.0397e-09 | -9.5506e-14 | 0.053995 | -0.053928 | 3.1502e-12 | -3.2328e-09 | 3.3108e-09 | 2.9183e-14 | -0.084919 | -0.0835 | 0 | 0 | 0 | -89.2466 | -89.2466 | -89.2466 | 1.0256 | 1.1 | 1.013 | 1.0256 | 1.1 | 1.013 | 112.4251 | -146.8235 | 147.881 | 0 | -146.7967 | 147.897
Line_2 | 0 | 0 | 0 | 0.004906 | 0.004906 | 0.004906 | 0 | 0 | 0 | 0.05665 | 0.05665 | 0.05665 | -1.3026e-12 | -5.1749e-09 | -5.0397e-09 | -9.5506e-14 | 0.053995 | -0.053928 | 3.1502e-12 | -3.2327e-09 | 3.3108e-09 | 2.9183e-14 | -0.084919 | -0.0835 | 0 | 0 | 0 | -89.2466 | -89.2466 | -89.2466 | 1.0256 | 1.1 | 1.013 | 1.0256 | 1.1 | 1.013 | 112.4251 | -146.8235 | 147.881 | 0 | -146.7967 | 147.897

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.50703 | 0.011301 | 0.011301 | 0.50331 | 0.0075771 | 0.0075771 | 5.8547 | 0.13049 | 0.13049 | 5.8117 | 0.087492 | 0.087492 | 1.6696 | 0.11318 | -0.13035 | -1.2461 | -0.073243 | 0.09043 | 1.487 | -0.18752 | -0.13747 | -1.2491 | 0.12632 | 0.094724 | -74.7036 | -78.3858 | -78.3858 | 105.3134 | 100.9275 | 100.9275 | 1.0454 | 1.1 | 1.0586 | 1.0349 | 1.1 | 1.0392 | -33.0152 | -137.2725 | 148.1365 | -29.6197 | -138.9672 | 147.2559
Line_1 | 0 | 0 | 0 | 0.0037885 | 0.0037885 | 0.0037885 | 0 | 0 | 0 | 0.043746 | 0.043746 | 0.043746 | 7.2638e-10 | -3.8473e-09 | -2.8519e-09 | 0.0086335 | 0.036621 | -0.045215 | -6.0297e-10 | -2.1903e-09 | 2.7649e-09 | 0.010092 | -0.063162 | -0.047362 | 0 | 0 | 0 | -79.0725 | -79.0725 | -79.0725 | 1.0349 | 1.1 | 1.0392 | 1.0349 | 1.1 | 1.0392 | -29.5622 | -138.9894 | 147.2455 | -29.6197 | -138.9672 | 147.2559
Line_2 | 0 | 0 | 0 | 0.0037885 | 0.0037885 | 0.0037885 | 0 | 0 | 0 | 0.043746 | 0.043746 | 0.043746 | 7.2639e-10 | -3.8473e-09 | -2.8519e-09 | 0.0086335 | 0.036621 | -0.045215 | -6.0296e-10 | -2.1902e-09 | 2.7649e-09 | 0.010092 | -0.063162 | -0.047362 | 0 | 0 | 0 | -79.0725 | -79.0725 | -79.0725 | 1.0349 | 1.1 | 1.0392 | 1.0349 | 1.1 | 1.0392 | -29.5622 | -138.9894 | 147.2455 | -29.6197 | -138.9672 | 147.2559

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.50703 | 0.011301 | 0.011301 | 0.50331 | 0.0075771 | 0.0075771 | 5.8547 | 0.13049 | 0.13049 | 5.8117 | 0.087492 | 0.087492 | 1.6696 | 0.11318 | -0.13035 | -1.2461 | -0.073243 | 0.09043 | 1.487 | -0.18752 | -0.13747 | -1.2491 | 0.12632 | 0.094724 | -74.7036 | -78.3858 | -78.3858 | 105.3134 | 100.9275 | 100.9275 | 1.0454 | 1.1 | 1.0586 | 1.0349 | 1.1 | 1.0392 | -33.0152 | -137.2725 | 148.1365 | -29.6197 | -138.9672 | 147.2559
Line_1 | 0 | 0 | 0 | 0.0037885 | 0.0037885 | 0.0037885 | 0 | 0 | 0 | 0.043746 | 0.043746 | 0.043746 | 7.2638e-10 | -3.8473e-09 | -2.8519e-09 | 0.0086335 | 0.036621 | -0.045215 | -6.0297e-10 | -2.1903e-09 | 2.7649e-09 | 0.010092 | -0.063162 | -0.047362 | 0 | 0 | 0 | -79.0725 | -79.0725 | -79.0725 | 1.0349 | 1.1 | 1.0392 | 1.0349 | 1.1 | 1.0392 | -29.5622 | -138.9894 | 147.2455 | -29.6197 | -138.9672 | 147.2559
Line_2 | 0 | 0 | 0 | 0.0037885 | 0.0037885 | 0.0037885 | 0 | 0 | 0 | 0.043746 | 0.043746 | 0.043746 | 7.2639e-10 | -3.8473e-09 | -2.8519e-09 | 0.0086335 | 0.036621 | -0.045215 | -6.0296e-10 | -2.1902e-09 | 2.7649e-09 | 0.010092 | -0.063162 | -0.047362 | 0 | 0 | 0 | -79.0725 | -79.0725 | -79.0725 | 1.0349 | 1.1 | 1.0392 | 1.0349 | 1.1 | 1.0392 | -29.5622 | -138.9894 | 147.2455 | -29.6197 | -138.9672 | 147.2559

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.58894 | 0.013195 | 0.013195 | 0.58462 | 0.008866 | 0.008866 | 6.8005 | 0.15237 | 0.15237 | 6.7506 | 0.10238 | 0.10238 | 1.0741 | 0.14341 | -0.12024 | -5.5861e-12 | -0.088745 | 0.088536 | 0.30524 | -0.20605 | -0.19448 | -3.1878e-12 | 0.13938 | 0.13563 | -80.4398 | -87.4856 | -87.4856 | 99.5926 | 91.2119 | 91.2119 | 0.93629 | 1 | 0.94529 | 0.93186 | 1 | 0.91344 | -64.5756 | -142.6482 | 150.7864 | 0 | -146.3033 | 148.077
Line_1 | 0 | 0 | 0 | 0.004433 | 0.004433 | 0.004433 | 0 | 0 | 0 | 0.051188 | 0.051188 | 0.051188 | -1.1435e-12 | -4.2445e-09 | -4.0662e-09 | 3.8383e-14 | 0.044373 | -0.044268 | 4.972e-12 | -2.6259e-09 | 2.7288e-09 | 3.0088e-14 | -0.069692 | -0.067817 | 0 | 0 | 0 | -88.7881 | -88.7881 | -88.7881 | 0.93186 | 1 | 0.91344 | 0.93186 | 1 | 0.91344 | 102.8747 | -146.3495 | 148.0413 | 0 | -146.3033 | 148.077
Line_2 | 0 | 0 | 0 | 0.004433 | 0.004433 | 0.004433 | 0 | 0 | 0 | 0.051188 | 0.051188 | 0.051188 | -1.1435e-12 | -4.2445e-09 | -4.0662e-09 | 3.8383e-14 | 0.044373 | -0.044268 | 4.9719e-12 | -2.6259e-09 | 2.7288e-09 | 3.0088e-14 | -0.069692 | -0.067817 | 0 | 0 | 0 | -88.7881 | -88.7881 | -88.7881 | 0.93186 | 1 | 0.91344 | 0.93186 | 1 | 0.91344 | 102.8747 | -146.3495 | 148.0413 | 0 | -146.3033 | 148.077

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.58894 | 0.013195 | 0.013195 | 0.58462 | 0.008866 | 0.008866 | 6.8005 | 0.15237 | 0.15237 | 6.7506 | 0.10238 | 0.10238 | 1.0741 | 0.14341 | -0.12024 | -5.5861e-12 | -0.088745 | 0.088536 | 0.30524 | -0.20605 | -0.19448 | -3.1878e-12 | 0.13938 | 0.13563 | -80.4398 | -87.4856 | -87.4856 | 99.5926 | 91.2119 | 91.2119 | 0.93629 | 1 | 0.94529 | 0.93186 | 1 | 0.91344 | -64.5756 | -142.6482 | 150.7864 | 0 | -146.3033 | 148.077
Line_1 | 0 | 0 | 0 | 0.004433 | 0.004433 | 0.004433 | 0 | 0 | 0 | 0.051188 | 0.051188 | 0.051188 | -1.1435e-12 | -4.2445e-09 | -4.0662e-09 | 3.8383e-14 | 0.044373 | -0.044268 | 4.972e-12 | -2.6259e-09 | 2.7288e-09 | 3.0088e-14 | -0.069692 | -0.067817 | 0 | 0 | 0 | -88.7881 | -88.7881 | -88.7881 | 0.93186 | 1 | 0.91344 | 0.93186 | 1 | 0.91344 | 102.8747 | -146.3495 | 148.0413 | 0 | -146.3033 | 148.077
Line_2 | 0 | 0 | 0 | 0.004433 | 0.004433 | 0.004433 | 0 | 0 | 0 | 0.051188 | 0.051188 | 0.051188 | -1.1435e-12 | -4.2445e-09 | -4.0662e-09 | 3.8383e-14 | 0.044373 | -0.044268 | 4.9719e-12 | -2.6259e-09 | 2.7288e-09 | 3.0088e-14 | -0.069692 | -0.067817 | 0 | 0 | 0 | -88.7881 | -88.7881 | -88.7881 | 0.93186 | 1 | 0.91344 | 0.93186 | 1 | 0.91344 | 102.8747 | -146.3495 | 148.0413 | 0 | -146.3033 | 148.077

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.45169 | 0.01012 | 0.01012 | 0.44837 | 0.0067997 | 0.0067997 | 5.2156 | 0.11686 | 0.11686 | 5.1773 | 0.078517 | 0.078517 | 1.6264 | 0.096299 | -0.10204 | -0.98788 | -0.060671 | 0.073176 | 1.1798 | -0.15046 | -0.11011 | -0.99232 | 0.10146 | 0.077379 | -71.4534 | -78.4992 | -78.4992 | 108.579 | 100.1983 | 100.1983 | 0.94826 | 1 | 0.96364 | 0.94045 | 1 | 0.93832 | -35.4969 | -135.8788 | 148.6785 | -26.2924 | -138.9228 | 146.7976
Line_1 | 0 | 0 | 0 | 0.0033999 | 0.0033999 | 0.0033999 | 0 | 0 | 0 | 0.039258 | 0.039258 | 0.039258 | 6.2099e-10 | -3.088e-09 | -2.3115e-09 | 0.0063141 | 0.030335 | -0.036588 | -4.3562e-10 | -1.7934e-09 | 2.2417e-09 | 0.0085359 | -0.050729 | -0.03869 | 0 | 0 | 0 | -79.8017 | -79.8017 | -79.8017 | 0.94045 | 1 | 0.93832 | 0.94045 | 1 | 0.93832 | -26.1412 | -138.9611 | 146.7718 | -26.2924 | -138.9228 | 146.7976
Line_2 | 0 | 0 | 0 | 0.0033999 | 0.0033999 | 0.0033999 | 0 | 0 | 0 | 0.039258 | 0.039258 | 0.039258 | 6.2098e-10 | -3.088e-09 | -2.3115e-09 | 0.0063141 | 0.030335 | -0.036588 | -4.3562e-10 | -1.7933e-09 | 2.2417e-09 | 0.0085359 | -0.050729 | -0.03869 | 0 | 0 | 0 | -79.8017 | -79.8017 | -79.8017 | 0.94045 | 1 | 0.93832 | 0.94045 | 1 | 0.93832 | -26.1412 | -138.9611 | 146.7718 | -26.2924 | -138.9228 | 146.7976

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.45169 | 0.01012 | 0.01012 | 0.44837 | 0.0067997 | 0.0067997 | 5.2156 | 0.11686 | 0.11686 | 5.1773 | 0.078517 | 0.078517 | 1.6264 | 0.096299 | -0.10204 | -0.98788 | -0.060671 | 0.073176 | 1.1798 | -0.15046 | -0.11011 | -0.99232 | 0.10146 | 0.077379 | -71.4534 | -78.4992 | -78.4992 | 108.579 | 100.1983 | 100.1983 | 0.94826 | 1 | 0.96364 | 0.94045 | 1 | 0.93832 | -35.4969 | -135.8788 | 148.6785 | -26.2924 | -138.9228 | 146.7976
Line_1 | 0 | 0 | 0 | 0.0033999 | 0.0033999 | 0.0033999 | 0 | 0 | 0 | 0.039258 | 0.039258 | 0.039258 | 6.2099e-10 | -3.088e-09 | -2.3115e-09 | 0.0063141 | 0.030335 | -0.036588 | -4.3562e-10 | -1.7934e-09 | 2.2417e-09 | 0.0085359 | -0.050729 | -0.03869 | 0 | 0 | 0 | -79.8017 | -79.8017 | -79.8017 | 0.94045 | 1 | 0.93832 | 0.94045 | 1 | 0.93832 | -26.1412 | -138.9611 | 146.7718 | -26.2924 | -138.9228 | 146.7976
Line_2 | 0 | 0 | 0 | 0.0033999 | 0.0033999 | 0.0033999 | 0 | 0 | 0 | 0.039258 | 0.039258 | 0.039258 | 6.2098e-10 | -3.088e-09 | -2.3115e-09 | 0.0063141 | 0.030335 | -0.036588 | -4.3562e-10 | -1.7933e-09 | 2.2417e-09 | 0.0085359 | -0.050729 | -0.03869 | 0 | 0 | 0 | -79.8017 | -79.8017 | -79.8017 | 0.94045 | 1 | 0.93832 | 0.94045 | 1 | 0.93832 | -26.1412 | -138.9611 | 146.7718 | -26.2924 | -138.9228 | 146.7976

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0079047 | 3.6891 | 3.7379 | 0.0053 | 3.6894 | 3.7373 | 0.091276 | 42.5981 | 43.1616 | 0.0612 | 42.6018 | 43.155 | 0.0013377 | 7.344 | 7.1388 | -3.8944e-05 | 7.8029e-11 | 8.2548e-11 | -0.1455 | 6.5717 | 9.7398 | 0.098279 | -4.8019e-11 | 3.3593e-11 | 90.8736 | -170.5707 | 14.9745 | -89.8131 | 9.4695 | -165.0644 | 1.0117 | 0.29171 | 0.87098 | 0.92715 | 0 | 0.92715 | 1.4004 | -128.7473 | 68.7351 | 0.2096 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.00265 | 0.00265 | 0.00265 | 0 | 0 | 0 | 0.0306 | 0.0306 | 0.0306 | -2.98e-09 | 1.1361e-12 | -1.823e-12 | 1.9471e-05 | -2.4999e-14 | -3.7936e-14 | 2.199e-11 | 1.4478e-12 | 2.607e-13 | -0.049139 | -6.0876e-14 | 5.0539e-14 | 0 | 0 | 0 | 90.1869 | 90.1869 | 90.1869 | 0.92715 | 0 | 0.92715 | 0.92715 | 0 | 0.92715 | 0.19446 | -68.1414 | -68.1414 | 0.2096 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.00265 | 0.00265 | 0.00265 | 0 | 0 | 0 | 0.0306 | 0.0306 | 0.0306 | -2.98e-09 | 1.1361e-12 | -1.823e-12 | 1.9471e-05 | -2.4999e-14 | -3.7936e-14 | 2.199e-11 | 1.4477e-12 | 2.6069e-13 | -0.049139 | -6.0876e-14 | 5.0539e-14 | 0 | 0 | 0 | 90.1869 | 90.1869 | 90.1869 | 0.92715 | 0 | 0.92715 | 0.92715 | 0 | 0.92715 | 0.19446 | -68.1414 | -68.1414 | 0.2096 | 0 | 0

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0079047 | 3.6891 | 3.7379 | 0.0053 | 3.6894 | 3.7373 | 0.091276 | 42.5981 | 43.1616 | 0.0612 | 42.6018 | 43.155 | 0.0013377 | 7.344 | 7.1388 | -3.8944e-05 | 7.8029e-11 | 8.2548e-11 | -0.1455 | 6.5717 | 9.7398 | 0.098279 | -4.8019e-11 | 3.3593e-11 | 90.8736 | -170.5707 | 14.9745 | -89.8131 | 9.4695 | -165.0644 | 1.0117 | 0.29171 | 0.87098 | 0.92715 | 0 | 0.92715 | 1.4004 | -128.7473 | 68.7351 | 0.2096 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.00265 | 0.00265 | 0.00265 | 0 | 0 | 0 | 0.0306 | 0.0306 | 0.0306 | -2.98e-09 | 1.1361e-12 | -1.823e-12 | 1.9471e-05 | -2.4999e-14 | -3.7936e-14 | 2.199e-11 | 1.4478e-12 | 2.607e-13 | -0.049139 | -6.0876e-14 | 5.0539e-14 | 0 | 0 | 0 | 90.1869 | 90.1869 | 90.1869 | 0.92715 | 0 | 0.92715 | 0.92715 | 0 | 0.92715 | 0.19446 | -68.1414 | -68.1414 | 0.2096 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.00265 | 0.00265 | 0.00265 | 0 | 0 | 0 | 0.0306 | 0.0306 | 0.0306 | -2.98e-09 | 1.1361e-12 | -1.823e-12 | 1.9471e-05 | -2.4999e-14 | -3.7936e-14 | 2.199e-11 | 1.4477e-12 | 2.6069e-13 | -0.049139 | -6.0876e-14 | 5.0539e-14 | 0 | 0 | 0 | 90.1869 | 90.1869 | 90.1869 | 0.92715 | 0 | 0.92715 | 0.92715 | 0 | 0.92715 | 0.19446 | -68.1414 | -68.1414 | 0.2096 | 0 | 0

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0068505 | 1.0779 | 1.2085 | 0.0045932 | 1.0786 | 1.2072 | 0.079102 | 12.4461 | 13.9546 | 0.053038 | 12.4548 | 13.9401 | -0.0085907 | 6.3797 | 8.1894 | 0.0063159 | -5.8032 | -7.2935 | -0.12022 | 6.167 | 8.5104 | 0.081229 | -5.8492 | -7.2485 | 97.0935 | -152.1342 | 42.2488 | -83.5932 | 27.9789 | -137.8403 | 1.0974 | 0.89106 | 0.97104 | 1.0725 | 0.80202 | 0.94995 | 3.0064 | -108.1056 | 88.3502 | 1.9607 | -106.7945 | 86.9824
Line_1 | 0 | 0 | 0 | 0.0022966 | 0.0022966 | 0.0022966 | 0 | 0 | 0 | 0.026519 | 0.026519 | 0.026519 | -2.4616e-09 | 9.9246e-10 | 4.9981e-10 | -0.003158 | -0.016125 | 0.019297 | 2.1058e-10 | 6.1091e-10 | -1.6211e-09 | -0.040614 | 0.0069115 | -0.0032031 | 0 | 0 | 0 | 96.4068 | 96.4068 | 96.4068 | 1.0725 | 0.80202 | 0.94995 | 1.0725 | 0.80202 | 0.94995 | 1.9475 | -106.7704 | 86.9665 | 1.9607 | -106.7945 | 86.9824
Line_2 | 0 | 0 | 0 | 0.0022966 | 0.0022966 | 0.0022966 | 0 | 0 | 0 | 0.026519 | 0.026519 | 0.026519 | -2.4615e-09 | 9.9246e-10 | 4.9981e-10 | -0.003158 | -0.016125 | 0.019297 | 2.1058e-10 | 6.1091e-10 | -1.6211e-09 | -0.040614 | 0.0069115 | -0.0032031 | 0 | 0 | 0 | 96.4068 | 96.4068 | 96.4068 | 1.0725 | 0.80202 | 0.94995 | 1.0725 | 0.80202 | 0.94995 | 1.9475 | -106.7704 | 86.9665 | 1.9607 | -106.7945 | 86.9824

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0068505 | 1.0779 | 1.2085 | 0.0045932 | 1.0786 | 1.2072 | 0.079102 | 12.4461 | 13.9546 | 0.053038 | 12.4548 | 13.9401 | -0.0085907 | 6.3797 | 8.1894 | 0.0063159 | -5.8032 | -7.2935 | -0.12022 | 6.167 | 8.5104 | 0.081229 | -5.8492 | -7.2485 | 97.0935 | -152.1342 | 42.2488 | -83.5932 | 27.9789 | -137.8403 | 1.0974 | 0.89106 | 0.97104 | 1.0725 | 0.80202 | 0.94995 | 3.0064 | -108.1056 | 88.3502 | 1.9607 | -106.7945 | 86.9824
Line_1 | 0 | 0 | 0 | 0.0022966 | 0.0022966 | 0.0022966 | 0 | 0 | 0 | 0.026519 | 0.026519 | 0.026519 | -2.4616e-09 | 9.9246e-10 | 4.9981e-10 | -0.003158 | -0.016125 | 0.019297 | 2.1058e-10 | 6.1091e-10 | -1.6211e-09 | -0.040614 | 0.0069115 | -0.0032031 | 0 | 0 | 0 | 96.4068 | 96.4068 | 96.4068 | 1.0725 | 0.80202 | 0.94995 | 1.0725 | 0.80202 | 0.94995 | 1.9475 | -106.7704 | 86.9665 | 1.9607 | -106.7945 | 86.9824
Line_2 | 0 | 0 | 0 | 0.0022966 | 0.0022966 | 0.0022966 | 0 | 0 | 0 | 0.026519 | 0.026519 | 0.026519 | -2.4615e-09 | 9.9246e-10 | 4.9981e-10 | -0.003158 | -0.016125 | 0.019297 | 2.1058e-10 | 6.1091e-10 | -1.6211e-09 | -0.040614 | 0.0069115 | -0.0032031 | 0 | 0 | 0 | 96.4068 | 96.4068 | 96.4068 | 1.0725 | 0.80202 | 0.94995 | 1.0725 | 0.80202 | 0.94995 | 1.9475 | -106.7704 | 86.9665 | 1.9607 | -106.7945 | 86.9824

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0071594 | 3.0897 | 3.1566 | 0.0048104 | 3.0903 | 3.1559 | 0.082669 | 35.677 | 36.4497 | 0.055546 | 35.6832 | 36.4409 | 0.0020866 | 9.5002 | 10.1983 | -6.1589e-05 | -1.3521e-10 | 2.9691e-11 | -0.11919 | 3.5413 | 8.0009 | 0.08096 | -1.3613e-10 | -1.9404e-10 | 91.5995 | -162.6379 | 23.2304 | -89.703 | 17.4046 | -156.81 | 0.97119 | 0.36172 | 0.74689 | 0.8415 | 0 | 0.8415 | 2.6024 | -142.1946 | 61.3459 | 0.34056 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0024052 | 0.0024052 | 0.0024052 | 0 | 0 | 0 | 0.027773 | 0.027773 | 0.027773 | -2.4463e-09 | 2.0556e-12 | -2.6332e-12 | 3.0794e-05 | -1.3222e-13 | 1.2744e-13 | 2.9048e-11 | 1.8502e-12 | 8.5695e-13 | -0.04048 | 6.9415e-14 | 7.8377e-14 | 0 | 0 | 0 | 90.297 | 90.297 | 90.297 | 0.8415 | 0 | 0.8415 | 0.8415 | 0 | 0.8415 | 0.31151 | -78.0402 | -78.0402 | 0.34056 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0024052 | 0.0024052 | 0.0024052 | 0 | 0 | 0 | 0.027773 | 0.027773 | 0.027773 | -2.4463e-09 | 2.0556e-12 | -2.6332e-12 | 3.0794e-05 | -1.3222e-13 | 1.2744e-13 | 2.9062e-11 | 1.8502e-12 | 8.5694e-13 | -0.04048 | 6.9415e-14 | 7.8377e-14 | 0 | 0 | 0 | 90.297 | 90.297 | 90.297 | 0.8415 | 0 | 0.8415 | 0.8415 | 0 | 0.8415 | 0.31151 | -78.0402 | -78.0402 | 0.34056 | 0 | 0

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0071594 | 3.0897 | 3.1566 | 0.0048104 | 3.0903 | 3.1559 | 0.082669 | 35.677 | 36.4497 | 0.055546 | 35.6832 | 36.4409 | 0.0020866 | 9.5002 | 10.1983 | -6.1589e-05 | -1.3521e-10 | 2.9691e-11 | -0.11919 | 3.5413 | 8.0009 | 0.08096 | -1.3613e-10 | -1.9404e-10 | 91.5995 | -162.6379 | 23.2304 | -89.703 | 17.4046 | -156.81 | 0.97119 | 0.36172 | 0.74689 | 0.8415 | 0 | 0.8415 | 2.6024 | -142.1946 | 61.3459 | 0.34056 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0024052 | 0.0024052 | 0.0024052 | 0 | 0 | 0 | 0.027773 | 0.027773 | 0.027773 | -2.4463e-09 | 2.0556e-12 | -2.6332e-12 | 3.0794e-05 | -1.3222e-13 | 1.2744e-13 | 2.9048e-11 | 1.8502e-12 | 8.5695e-13 | -0.04048 | 6.9415e-14 | 7.8377e-14 | 0 | 0 | 0 | 90.297 | 90.297 | 90.297 | 0.8415 | 0 | 0.8415 | 0.8415 | 0 | 0.8415 | 0.31151 | -78.0402 | -78.0402 | 0.34056 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0024052 | 0.0024052 | 0.0024052 | 0 | 0 | 0 | 0.027773 | 0.027773 | 0.027773 | -2.4463e-09 | 2.0556e-12 | -2.6332e-12 | 3.0794e-05 | -1.3222e-13 | 1.2744e-13 | 2.9062e-11 | 1.8502e-12 | 8.5694e-13 | -0.04048 | 6.9415e-14 | 7.8377e-14 | 0 | 0 | 0 | 90.297 | 90.297 | 90.297 | 0.8415 | 0 | 0.8415 | 0.8415 | 0 | 0.8415 | 0.31151 | -78.0402 | -78.0402 | 0.34056 | 0 | 0

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0061723 | 0.9459 | 1.0563 | 0.0041472 | 0.94659 | 1.0551 | 0.071271 | 10.9223 | 12.197 | 0.047888 | 10.9302 | 12.1837 | -0.0056534 | 5.2799 | 6.9328 | 0.0046518 | -4.4701 | -5.5701 | -0.097876 | 4.4923 | 6.7617 | 0.066525 | -4.506 | -5.5359 | 97.1893 | -150.4933 | 44.3989 | -84.1132 | 29.6223 | -135.6918 | 1.0008 | 0.81393 | 0.88027 | 0.95747 | 0.70193 | 0.86956 | 3.8835 | -110.1015 | 88.683 | 1.8869 | -105.1483 | 89.1314
Line_1 | 0 | 0 | 0 | 0.0020736 | 0.0020736 | 0.0020736 | 0 | 0 | 0 | 0.023944 | 0.023944 | 0.023944 | -2.0084e-09 | 8.2094e-10 | 5.0584e-10 | -0.0023259 | -0.012977 | 0.015326 | 1.6585e-10 | 5.4751e-10 | -1.2121e-09 | -0.033262 | 0.0049907 | -0.0018155 | 0 | 0 | 0 | 95.8868 | 95.8868 | 95.8868 | 0.95747 | 0.70193 | 0.86956 | 0.95747 | 0.70193 | 0.86956 | 1.8611 | -105.1137 | 89.1131 | 1.8869 | -105.1483 | 89.1314
Line_2 | 0 | 0 | 0 | 0.0020736 | 0.0020736 | 0.0020736 | 0 | 0 | 0 | 0.023944 | 0.023944 | 0.023944 | -2.0084e-09 | 8.2094e-10 | 5.0584e-10 | -0.0023259 | -0.012977 | 0.015326 | 1.6585e-10 | 5.4751e-10 | -1.2121e-09 | -0.033262 | 0.0049907 | -0.0018155 | 0 | 0 | 0 | 95.8868 | 95.8868 | 95.8868 | 0.95747 | 0.70193 | 0.86956 | 0.95747 | 0.70193 | 0.86956 | 1.8611 | -105.1137 | 89.1131 | 1.8869 | -105.1483 | 89.1314

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0061723 | 0.9459 | 1.0563 | 0.0041472 | 0.94659 | 1.0551 | 0.071271 | 10.9223 | 12.197 | 0.047888 | 10.9302 | 12.1837 | -0.0056534 | 5.2799 | 6.9328 | 0.0046518 | -4.4701 | -5.5701 | -0.097876 | 4.4923 | 6.7617 | 0.066525 | -4.506 | -5.5359 | 97.1893 | -150.4933 | 44.3989 | -84.1132 | 29.6223 | -135.6918 | 1.0008 | 0.81393 | 0.88027 | 0.95747 | 0.70193 | 0.86956 | 3.8835 | -110.1015 | 88.683 | 1.8869 | -105.1483 | 89.1314
Line_1 | 0 | 0 | 0 | 0.0020736 | 0.0020736 | 0.0020736 | 0 | 0 | 0 | 0.023944 | 0.023944 | 0.023944 | -2.0084e-09 | 8.2094e-10 | 5.0584e-10 | -0.0023259 | -0.012977 | 0.015326 | 1.6585e-10 | 5.4751e-10 | -1.2121e-09 | -0.033262 | 0.0049907 | -0.0018155 | 0 | 0 | 0 | 95.8868 | 95.8868 | 95.8868 | 0.95747 | 0.70193 | 0.86956 | 0.95747 | 0.70193 | 0.86956 | 1.8611 | -105.1137 | 89.1131 | 1.8869 | -105.1483 | 89.1314
Line_2 | 0 | 0 | 0 | 0.0020736 | 0.0020736 | 0.0020736 | 0 | 0 | 0 | 0.023944 | 0.023944 | 0.023944 | -2.0084e-09 | 8.2094e-10 | 5.0584e-10 | -0.0023259 | -0.012977 | 0.015326 | 1.6585e-10 | 5.4751e-10 | -1.2121e-09 | -0.033262 | 0.0049907 | -0.0018155 | 0 | 0 | 0 | 95.8868 | 95.8868 | 95.8868 | 0.95747 | 0.70193 | 0.86956 | 0.95747 | 0.70193 | 0.86956 | 1.8611 | -105.1137 | 89.1131 | 1.8869 | -105.1483 | 89.1314