## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4587 | 3.4587 | 0 | 0 | 119.8128 | 119.8128 | 37.3233 | -18.6616 | 42.3476 | -21.1738 | -71.7883 | 108.2117 | 0.47113 | 0.23557 | -23.1798 | -23.1798
Line_1 | 3.4587 | 3.4587 | 6.7756 | 0 | 119.8128 | 119.8128 | -1e-07 | 18.6616 | -1e-07 | 21.1738 | 108.2117 | -71.7883 | 0 | 0.23557 | 0 | -23.1798
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23557 | 0.23557 | -23.1798 | -23.1798

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4587 | 3.4587 | 0 | 0 | 119.8128 | 119.8128 | 37.3233 | -18.6616 | 42.3476 | -21.1738 | -71.7883 | 108.2117 | 0.47113 | 0.23557 | -23.1798 | -23.1798
Line_1 | 3.4587 | 3.4587 | 6.7756 | 0 | 119.8128 | 119.8128 | -1e-07 | 18.6616 | -1e-07 | 21.1738 | 108.2117 | -71.7883 | 0 | 0.23557 | 0 | -23.1798
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23557 | 0.23557 | -23.1798 | -23.1798

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2119 | 1.2119 | 0 | 0 | 41.9813 | 41.9813 | 26.6127 | -24.3216 | 27.2296 | -24.63 | -54.0862 | 125.9138 | 0.90694 | 0.82453 | -8.4298 | -8.7252
Line_1 | 1.2119 | 1.2119 | 2.3741 | 0 | 41.9813 | 41.9813 | -22.0304 | 24.3216 | -22.0304 | 24.63 | 125.9138 | -54.0862 | 0.74213 | 0.82453 | -9.0862 | -8.7252
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.82453 | 0.82453 | -8.7252 | -8.7252

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2119 | 1.2119 | 0 | 0 | 41.9813 | 41.9813 | 26.6127 | -24.3216 | 27.2296 | -24.63 | -54.0862 | 125.9138 | 0.90694 | 0.82453 | -8.4298 | -8.7252
Line_1 | 1.2119 | 1.2119 | 2.3741 | 0 | 41.9813 | 41.9813 | -22.0304 | 24.3216 | -22.0304 | 24.63 | 125.9138 | -54.0862 | 0.74213 | 0.82453 | -9.0862 | -8.7252
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.82453 | 0.82453 | -8.7252 | -8.7252

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | -59.5744 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 120.4256 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | -59.5744 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 120.4256 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0349 | 1.0349 | 0 | 0 | 35.8516 | 35.8516 | 22.4832 | -19.2749 | 19.8585 | -17.9626 | -50.3977 | 129.6023 | 0.83671 | 0.7349 | -8.9447 | -7.416
Line_1 | 1.0349 | 1.0349 | 1.7392 | 0 | 35.8516 | 35.8516 | -16.0667 | 19.2749 | -16.0667 | 17.9626 | 129.6023 | -50.3977 | 0.63377 | 0.7349 | -5.3977 | -7.416
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7349 | 0.7349 | -7.416 | -7.416

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0349 | 1.0349 | 0 | 0 | 35.8516 | 35.8516 | 22.4832 | -19.2749 | 19.8585 | -17.9626 | -50.3977 | 129.6023 | 0.83671 | 0.7349 | -8.9447 | -7.416
Line_1 | 1.0349 | 1.0349 | 1.7392 | 0 | 35.8516 | 35.8516 | -16.0667 | 19.2749 | -16.0667 | 17.9626 | 129.6023 | -50.3977 | 0.63377 | 0.7349 | -5.3977 | -7.416
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7349 | 0.7349 | -7.416 | -7.416

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | -4.1685e-14 | 27.4008 | -8.7391 | 2.6053e-14 | -22.7354 | 13.4045 | -5.2106e-15 | 4.6417 | 16.5321 | 5.2106e-15 | 0.65175 | -11.2386 | 0 | -161.7883 | 18.2117 | 0 | 18.2117 | -161.7883 | 1.0675 | 0.47113 | 0.88675 | 1.0048 | 0.23557 | 0.91271 | 4.6046e-13 | -152.1736 | 136.0734 | 4.6296e-13 | -163.4303 | 158.2346
Line_1 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | -1.0421e-14 | -18.0699 | 18.0699 | -5.2106e-15 | 22.7354 | -13.4045 | -1.0421e-14 | 5.9452 | -5.9452 | 1.0421e-14 | -0.65175 | 11.2386 | 0 | 18.2117 | -161.7883 | 0 | -161.7883 | 18.2117 | 0.95263 | 0 | 0.95263 | 1.0048 | 0.23557 | 0.91271 | 4.6338e-13 | 180 | -180 | 4.6296e-13 | -163.4303 | 158.2346
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 3.405e-10 | 6.644e-10 | -5.2106e-15 | -3.405e-10 | -6.644e-10 | -5.2106e-15 | -1.8234e-09 | 1.2624e-09 | -5.2106e-15 | 1.8234e-09 | -1.2624e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0048 | 0.23557 | 0.91271 | 1.0048 | 0.23557 | 0.91271 | 4.6408e-13 | -163.4303 | 158.2346 | 4.6296e-13 | -163.4303 | 158.2346

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | -4.1685e-14 | 27.4008 | -8.7391 | 2.6053e-14 | -22.7354 | 13.4045 | -5.2106e-15 | 4.6417 | 16.5321 | 5.2106e-15 | 0.65175 | -11.2386 | 0 | -161.7883 | 18.2117 | 0 | 18.2117 | -161.7883 | 1.0675 | 0.47113 | 0.88675 | 1.0048 | 0.23557 | 0.91271 | 4.6046e-13 | -152.1736 | 136.0734 | 4.6296e-13 | -163.4303 | 158.2346
Line_1 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | -1.0421e-14 | -18.0699 | 18.0699 | -5.2106e-15 | 22.7354 | -13.4045 | -1.0421e-14 | 5.9452 | -5.9452 | 1.0421e-14 | -0.65175 | 11.2386 | 0 | 18.2117 | -161.7883 | 0 | -161.7883 | 18.2117 | 0.95263 | 0 | 0.95263 | 1.0048 | 0.23557 | 0.91271 | 4.6338e-13 | 180 | -180 | 4.6296e-13 | -163.4303 | 158.2346
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 3.405e-10 | 6.644e-10 | -5.2106e-15 | -3.405e-10 | -6.644e-10 | -5.2106e-15 | -1.8234e-09 | 1.2624e-09 | -5.2106e-15 | 1.8234e-09 | -1.2624e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0048 | 0.23557 | 0.91271 | 1.0048 | 0.23557 | 0.91271 | 4.6408e-13 | -163.4303 | 158.2346 | 4.6296e-13 | -163.4303 | 158.2346

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | -2.0843e-14 | 17.2205 | 0.20321 | 2.0843e-14 | -15.9408 | 1.0765 | -8.3855e-29 | 3.8735 | 14.2393 | -5.2106e-15 | -2.4216 | -12.7873 | 0 | -148.6532 | 31.3468 | 0 | 31.3468 | -148.6532 | 1.1107 | 0.80105 | 0.94984 | 1.0805 | 0.67781 | 0.93656 | 2.3052e-13 | -135.9762 | 120.5292 | 2.3091e-13 | -140.0155 | 126.1589
Line_1 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | -7.816e-15 | -14.6611 | 2.3562 | 5.2106e-15 | 15.9408 | -1.0765 | -2.6053e-15 | -0.96958 | -11.3353 | -2.6053e-15 | 2.4216 | 12.7873 | 0 | 31.3468 | -148.6532 | 0 | -148.6532 | 31.3468 | 1.0531 | 0.55464 | 0.92719 | 1.0805 | 0.67781 | 0.93656 | 2.3188e-13 | -144.8696 | 133.0893 | 2.3091e-13 | -140.0155 | 126.1589
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0544e-29 | 4.6819e-10 | 1.0007e-09 | 1.05e-29 | -4.6819e-10 | -1.0007e-09 | -2.6053e-15 | -1.2288e-09 | 3.0655e-10 | -2.6053e-15 | 1.2288e-09 | -3.0654e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0805 | 0.67781 | 0.93656 | 1.0805 | 0.67781 | 0.93656 | 2.3188e-13 | -140.0155 | 126.1589 | 2.3091e-13 | -140.0155 | 126.1589

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | -2.0843e-14 | 17.2205 | 0.20321 | 2.0843e-14 | -15.9408 | 1.0765 | -8.3855e-29 | 3.8735 | 14.2393 | -5.2106e-15 | -2.4216 | -12.7873 | 0 | -148.6532 | 31.3468 | 0 | 31.3468 | -148.6532 | 1.1107 | 0.80105 | 0.94984 | 1.0805 | 0.67781 | 0.93656 | 2.3052e-13 | -135.9762 | 120.5292 | 2.3091e-13 | -140.0155 | 126.1589
Line_1 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | -7.816e-15 | -14.6611 | 2.3562 | 5.2106e-15 | 15.9408 | -1.0765 | -2.6053e-15 | -0.96958 | -11.3353 | -2.6053e-15 | 2.4216 | 12.7873 | 0 | 31.3468 | -148.6532 | 0 | -148.6532 | 31.3468 | 1.0531 | 0.55464 | 0.92719 | 1.0805 | 0.67781 | 0.93656 | 2.3188e-13 | -144.8696 | 133.0893 | 2.3091e-13 | -140.0155 | 126.1589
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0544e-29 | 4.6819e-10 | 1.0007e-09 | 1.05e-29 | -4.6819e-10 | -1.0007e-09 | -2.6053e-15 | -1.2288e-09 | 3.0655e-10 | -2.6053e-15 | 1.2288e-09 | -3.0654e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0805 | 0.67781 | 0.93656 | 1.0805 | 0.67781 | 0.93656 | 2.3188e-13 | -140.0155 | 126.1589 | 2.3091e-13 | -140.0155 | 126.1589

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -8.2897e-15 | 23.4155 | -0.45749 | 8.2897e-15 | -17.676 | 6.197 | -7.7455e-29 | -0.22679 | 13.7937 | 7.3502e-29 | 3.6185 | -10.402 | 0 | -149.5744 | 30.4256 | 0 | 30.4256 | -149.5744 | 1.0299 | 0.55611 | 0.77063 | 0.9413 | 0.27805 | 0.80784 | 5.3534e-13 | -150.1294 | 122.3252 | 5.0802e-13 | -161.1438 | 151.2099
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | 2.3685e-15 | -11.9365 | 11.9365 | -4.737e-15 | 17.676 | -6.197 | 2.3685e-15 | 7.0103 | -7.0103 | -4.2001e-29 | -3.6185 | 10.402 | 0 | 30.4256 | -149.5744 | 0 | -149.5744 | 30.4256 | 0.86603 | 0 | 0.86603 | 0.9413 | 0.27805 | 0.80784 | 5.0963e-13 | -180 | 180 | 5.0802e-13 | -161.1438 | 151.2099
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1842e-15 | 2.4222e-10 | 6.7019e-10 | 1.1842e-15 | -2.4221e-10 | -6.7019e-10 | 2.3685e-15 | -1.5722e-09 | 8.3093e-10 | -4.737e-15 | 1.5722e-09 | -8.3093e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9413 | 0.27805 | 0.80784 | 0.9413 | 0.27805 | 0.80784 | 4.9387e-13 | -161.1438 | 151.2099 | 5.0802e-13 | -161.1438 | 151.2099

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -8.2897e-15 | 23.4155 | -0.45749 | 8.2897e-15 | -17.676 | 6.197 | -7.7455e-29 | -0.22679 | 13.7937 | 7.3502e-29 | 3.6185 | -10.402 | 0 | -149.5744 | 30.4256 | 0 | 30.4256 | -149.5744 | 1.0299 | 0.55611 | 0.77063 | 0.9413 | 0.27805 | 0.80784 | 5.3534e-13 | -150.1294 | 122.3252 | 5.0802e-13 | -161.1438 | 151.2099
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | 2.3685e-15 | -11.9365 | 11.9365 | -4.737e-15 | 17.676 | -6.197 | 2.3685e-15 | 7.0103 | -7.0103 | -4.2001e-29 | -3.6185 | 10.402 | 0 | 30.4256 | -149.5744 | 0 | -149.5744 | 30.4256 | 0.86603 | 0 | 0.86603 | 0.9413 | 0.27805 | 0.80784 | 5.0963e-13 | -180 | 180 | 5.0802e-13 | -161.1438 | 151.2099
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1842e-15 | 2.4222e-10 | 6.7019e-10 | 1.1842e-15 | -2.4221e-10 | -6.7019e-10 | 2.3685e-15 | -1.5722e-09 | 8.3093e-10 | -4.737e-15 | 1.5722e-09 | -8.3093e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9413 | 0.27805 | 0.80784 | 0.9413 | 0.27805 | 0.80784 | 4.9387e-13 | -161.1438 | 151.2099 | 5.0802e-13 | -161.1438 | 151.2099

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -4.1448e-15 | 13.7181 | 1.6719 | 4.1448e-15 | -12.0096 | 0.036546 | -1.6801e-29 | 1.7406 | 10.8539 | 1.5609e-29 | -0.73098 | -9.8443 | 0 | -142.8911 | 37.1089 | 0 | 37.1089 | -142.8911 | 1.0243 | 0.76011 | 0.86006 | 0.97369 | 0.61059 | 0.85927 | 2.3225e-13 | -135.6599 | 118.3519 | 2.1577e-13 | -139.408 | 127.3216
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -5.9212e-16 | -10.3011 | 1.745 | -5.9212e-16 | 12.0096 | -0.036546 | -2.2446e-30 | 0.27863 | -8.8347 | -2.2299e-30 | 0.73098 | 9.8443 | 0 | 37.1089 | -142.8911 | 0 | -142.8911 | 37.1089 | 0.92653 | 0.4625 | 0.86515 | 0.97369 | 0.61059 | 0.85927 | 2.1719e-13 | -144.4405 | 138.2821 | 2.1577e-13 | -139.408 | 127.3216
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7764e-15 | 4.2827e-10 | 8.1276e-10 | 1.7764e-15 | -4.2826e-10 | -8.1276e-10 | -2.3685e-15 | -9.7051e-10 | 3.0453e-10 | 2.3685e-15 | 9.7051e-10 | -3.0454e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.97369 | 0.61059 | 0.85927 | 0.97369 | 0.61059 | 0.85927 | 2.0812e-13 | -139.408 | 127.3216 | 2.1577e-13 | -139.408 | 127.3216

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -4.1448e-15 | 13.7181 | 1.6719 | 4.1448e-15 | -12.0096 | 0.036546 | -1.6801e-29 | 1.7406 | 10.8539 | 1.5609e-29 | -0.73098 | -9.8443 | 0 | -142.8911 | 37.1089 | 0 | 37.1089 | -142.8911 | 1.0243 | 0.76011 | 0.86006 | 0.97369 | 0.61059 | 0.85927 | 2.3225e-13 | -135.6599 | 118.3519 | 2.1577e-13 | -139.408 | 127.3216
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -5.9212e-16 | -10.3011 | 1.745 | -5.9212e-16 | 12.0096 | -0.036546 | -2.2446e-30 | 0.27863 | -8.8347 | -2.2299e-30 | 0.73098 | 9.8443 | 0 | 37.1089 | -142.8911 | 0 | -142.8911 | 37.1089 | 0.92653 | 0.4625 | 0.86515 | 0.97369 | 0.61059 | 0.85927 | 2.1719e-13 | -144.4405 | 138.2821 | 2.1577e-13 | -139.408 | 127.3216
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7764e-15 | 4.2827e-10 | 8.1276e-10 | 1.7764e-15 | -4.2826e-10 | -8.1276e-10 | -2.3685e-15 | -9.7051e-10 | 3.0453e-10 | 2.3685e-15 | 9.7051e-10 | -3.0454e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.97369 | 0.61059 | 0.85927 | 0.97369 | 0.61059 | 0.85927 | 2.0812e-13 | -139.408 | 127.3216 | 2.1577e-13 | -139.408 | 127.3216

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.6224 | 0.01395 | 0.01395 | 0.61783 | 0.0093805 | 0.0093805 | 7.1869 | 0.16108 | 0.16108 | 7.1341 | 0.10832 | 0.10832 | 1.2279 | 0.15571 | -0.15005 | -0.59864 | -0.10124 | 0.10464 | 0.68081 | -0.24108 | -0.2147 | -0.33433 | 0.16267 | 0.1485 | -80.716 | -85.0691 | -85.0691 | 99.3012 | 93.9373 | 93.9373 | 1.0358 | 1.1 | 1.0445 | 1.0254 | 1.1 | 1.0206 | -51.71 | -142.2109 | 149.9812 | -51.5164 | -144.1661 | 148.7668
Line_1 | 0.60849 | 0 | 0 | 0.61319 | 0.0047303 | 0.0047303 | 7.0263 | 0 | 0 | 7.0806 | 0.05462 | 0.05462 | 1.0461e-11 | -4.9678e-09 | -4.7603e-09 | 0.59434 | 0.052381 | -0.051542 | -5.0004e-12 | -3.1144e-09 | 3.2342e-09 | 0.33147 | -0.081189 | -0.075733 | 99.3837 | 0 | 0 | -80.6654 | -86.9951 | -86.9951 | 1.0154 | 1.1 | 0.99663 | 1.0254 | 1.1 | 1.0206 | 0 | -146.0439 | 147.6794 | -51.5164 | -144.1661 | 148.7668
Line_2 | 0 | 0 | 0 | 0.0046515 | 0.0046515 | 0.0046515 | 0 | 0 | 0 | 0.053711 | 0.053711 | 0.053711 | 2.0647e-10 | -4.9641e-09 | -4.3895e-09 | 0.0042998 | 0.048861 | -0.053101 | -3.0056e-10 | -2.9235e-09 | 3.2553e-09 | 0.0028566 | -0.081484 | -0.072769 | 0 | 0 | 0 | -85.1145 | -85.1145 | -85.1145 | 1.0254 | 1.1 | 1.0206 | 1.0254 | 1.1 | 1.0206 | -51.4169 | -144.1917 | 148.7522 | -51.5164 | -144.1661 | 148.7668

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.6224 | 0.01395 | 0.01395 | 0.61783 | 0.0093805 | 0.0093805 | 7.1869 | 0.16108 | 0.16108 | 7.1341 | 0.10832 | 0.10832 | 1.2279 | 0.15571 | -0.15005 | -0.59864 | -0.10124 | 0.10464 | 0.68081 | -0.24108 | -0.2147 | -0.33433 | 0.16267 | 0.1485 | -80.716 | -85.0691 | -85.0691 | 99.3012 | 93.9373 | 93.9373 | 1.0358 | 1.1 | 1.0445 | 1.0254 | 1.1 | 1.0206 | -51.71 | -142.2109 | 149.9812 | -51.5164 | -144.1661 | 148.7668
Line_1 | 0.60849 | 0 | 0 | 0.61319 | 0.0047303 | 0.0047303 | 7.0263 | 0 | 0 | 7.0806 | 0.05462 | 0.05462 | 1.0461e-11 | -4.9678e-09 | -4.7603e-09 | 0.59434 | 0.052381 | -0.051542 | -5.0004e-12 | -3.1144e-09 | 3.2342e-09 | 0.33147 | -0.081189 | -0.075733 | 99.3837 | 0 | 0 | -80.6654 | -86.9951 | -86.9951 | 1.0154 | 1.1 | 0.99663 | 1.0254 | 1.1 | 1.0206 | 0 | -146.0439 | 147.6794 | -51.5164 | -144.1661 | 148.7668
Line_2 | 0 | 0 | 0 | 0.0046515 | 0.0046515 | 0.0046515 | 0 | 0 | 0 | 0.053711 | 0.053711 | 0.053711 | 2.0647e-10 | -4.9641e-09 | -4.3895e-09 | 0.0042998 | 0.048861 | -0.053101 | -3.0056e-10 | -2.9235e-09 | 3.2553e-09 | 0.0028566 | -0.081484 | -0.072769 | 0 | 0 | 0 | -85.1145 | -85.1145 | -85.1145 | 1.0254 | 1.1 | 1.0206 | 1.0254 | 1.1 | 1.0206 | -51.4169 | -144.1917 | 148.7522 | -51.5164 | -144.1661 | 148.7668

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.48228 | 0.010809 | 0.010809 | 0.47874 | 0.0072686 | 0.0072686 | 5.5689 | 0.12482 | 0.12482 | 5.528 | 0.083931 | 0.083931 | 1.8722 | 0.10549 | -0.12552 | -1.4864 | -0.069252 | 0.086727 | 1.5477 | -0.17873 | -0.12231 | -1.331 | 0.12038 | 0.085141 | -71.9233 | -76.2764 | -76.2764 | 108.0938 | 102.73 | 102.73 | 1.0473 | 1.1 | 1.0625 | 1.0365 | 1.1 | 1.0442 | -32.3441 | -135.7255 | 147.981 | -30.0642 | -137.3586 | 147.2014
Line_1 | 0.4715 | 0 | 0 | 0.47514 | 0.0036653 | 0.0036653 | 5.4444 | 0 | 0 | 5.4865 | 0.042323 | 0.042323 | -1.1116 | -3.6718e-09 | -2.761e-09 | 1.476 | 0.035905 | -0.043029 | -1.1116 | -2.1555e-09 | 2.6814e-09 | 1.3201 | -0.060126 | -0.04364 | 108.1764 | 0 | 0 | -71.8727 | -78.2025 | -78.2025 | 1.026 | 1.1 | 1.0259 | 1.0365 | 1.1 | 1.0442 | -26.8236 | -138.9206 | 146.5022 | -30.0642 | -137.3586 | 147.2014
Line_2 | 0 | 0 | 0 | 0.0036043 | 0.0036043 | 0.0036043 | 0 | 0 | 0 | 0.041619 | 0.041619 | 0.041619 | 7.8229e-10 | -3.6692e-09 | -2.4973e-09 | 0.010386 | 0.033348 | -0.043698 | -7.2725e-10 | -1.9934e-09 | 2.67e-09 | 0.010852 | -0.060252 | -0.041501 | 0 | 0 | 0 | -76.3218 | -76.3218 | -76.3218 | 1.0365 | 1.1 | 1.0442 | 1.0365 | 1.1 | 1.0442 | -30.0231 | -137.3799 | 147.1923 | -30.0642 | -137.3586 | 147.2014

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.48228 | 0.010809 | 0.010809 | 0.47874 | 0.0072686 | 0.0072686 | 5.5689 | 0.12482 | 0.12482 | 5.528 | 0.083931 | 0.083931 | 1.8722 | 0.10549 | -0.12552 | -1.4864 | -0.069252 | 0.086727 | 1.5477 | -0.17873 | -0.12231 | -1.331 | 0.12038 | 0.085141 | -71.9233 | -76.2764 | -76.2764 | 108.0938 | 102.73 | 102.73 | 1.0473 | 1.1 | 1.0625 | 1.0365 | 1.1 | 1.0442 | -32.3441 | -135.7255 | 147.981 | -30.0642 | -137.3586 | 147.2014
Line_1 | 0.4715 | 0 | 0 | 0.47514 | 0.0036653 | 0.0036653 | 5.4444 | 0 | 0 | 5.4865 | 0.042323 | 0.042323 | -1.1116 | -3.6718e-09 | -2.761e-09 | 1.476 | 0.035905 | -0.043029 | -1.1116 | -2.1555e-09 | 2.6814e-09 | 1.3201 | -0.060126 | -0.04364 | 108.1764 | 0 | 0 | -71.8727 | -78.2025 | -78.2025 | 1.026 | 1.1 | 1.0259 | 1.0365 | 1.1 | 1.0442 | -26.8236 | -138.9206 | 146.5022 | -30.0642 | -137.3586 | 147.2014
Line_2 | 0 | 0 | 0 | 0.0036043 | 0.0036043 | 0.0036043 | 0 | 0 | 0 | 0.041619 | 0.041619 | 0.041619 | 7.8229e-10 | -3.6692e-09 | -2.4973e-09 | 0.010386 | 0.033348 | -0.043698 | -7.2725e-10 | -1.9934e-09 | 2.67e-09 | 0.010852 | -0.060252 | -0.041501 | 0 | 0 | 0 | -76.3218 | -76.3218 | -76.3218 | 1.0365 | 1.1 | 1.0442 | 1.0365 | 1.1 | 1.0442 | -30.0231 | -137.3799 | 147.1923 | -30.0642 | -137.3586 | 147.2014

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.54583 | 0.012324 | 0.012324 | 0.54183 | 0.0083183 | 0.0083183 | 6.3027 | 0.14231 | 0.14231 | 6.2565 | 0.096051 | 0.096051 | 1.8132 | 0.12595 | -0.11757 | -0.88399 | -0.08005 | 0.085067 | 0.52129 | -0.19656 | -0.15843 | -0.25729 | 0.13285 | 0.11251 | -72.7837 | -81.1016 | -81.1016 | 107.2492 | 97.025 | 97.025 | 0.9379 | 1 | 0.95518 | 0.92935 | 1 | 0.92465 | -56.7438 | -138.4517 | 152.3191 | -56.5228 | -141.9045 | 149.9322
Line_1 | 0.53364 | 0 | 0 | 0.53776 | 0.0042128 | 0.0042128 | 6.162 | 0 | 0 | 6.2095 | 0.048646 | 0.048646 | -4.9218e-12 | -4.0526e-09 | -3.7769e-09 | 0.87764 | 0.042569 | -0.04133 | -1.9406e-12 | -2.4995e-09 | 2.6587e-09 | 0.25438 | -0.066021 | -0.058264 | 107.4077 | 0 | 0 | -72.6865 | -84.7174 | -84.7174 | 0.92177 | 1 | 0.89416 | 0.92935 | 1 | 0.92465 | 0 | -145.2755 | 147.9168 | -56.5228 | -141.9045 | 149.9322
Line_2 | 0 | 0 | 0 | 0.0041094 | 0.0041094 | 0.0041094 | 0 | 0 | 0 | 0.047451 | 0.047451 | 0.047451 | 2.1792e-10 | -4.0664e-09 | -3.2466e-09 | 0.0063455 | 0.037481 | -0.043737 | -4.4563e-10 | -2.2126e-09 | 2.6859e-09 | 0.002914 | -0.066833 | -0.054244 | 0 | 0 | 0 | -81.1887 | -81.1887 | -81.1887 | 0.92935 | 1 | 0.92465 | 0.92935 | 1 | 0.92465 | -56.4089 | -141.9481 | 149.9002 | -56.5228 | -141.9045 | 149.9322

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.54583 | 0.012324 | 0.012324 | 0.54183 | 0.0083183 | 0.0083183 | 6.3027 | 0.14231 | 0.14231 | 6.2565 | 0.096051 | 0.096051 | 1.8132 | 0.12595 | -0.11757 | -0.88399 | -0.08005 | 0.085067 | 0.52129 | -0.19656 | -0.15843 | -0.25729 | 0.13285 | 0.11251 | -72.7837 | -81.1016 | -81.1016 | 107.2492 | 97.025 | 97.025 | 0.9379 | 1 | 0.95518 | 0.92935 | 1 | 0.92465 | -56.7438 | -138.4517 | 152.3191 | -56.5228 | -141.9045 | 149.9322
Line_1 | 0.53364 | 0 | 0 | 0.53776 | 0.0042128 | 0.0042128 | 6.162 | 0 | 0 | 6.2095 | 0.048646 | 0.048646 | -4.9218e-12 | -4.0526e-09 | -3.7769e-09 | 0.87764 | 0.042569 | -0.04133 | -1.9406e-12 | -2.4995e-09 | 2.6587e-09 | 0.25438 | -0.066021 | -0.058264 | 107.4077 | 0 | 0 | -72.6865 | -84.7174 | -84.7174 | 0.92177 | 1 | 0.89416 | 0.92935 | 1 | 0.92465 | 0 | -145.2755 | 147.9168 | -56.5228 | -141.9045 | 149.9322
Line_2 | 0 | 0 | 0 | 0.0041094 | 0.0041094 | 0.0041094 | 0 | 0 | 0 | 0.047451 | 0.047451 | 0.047451 | 2.1792e-10 | -4.0664e-09 | -3.2466e-09 | 0.0063455 | 0.037481 | -0.043737 | -4.4563e-10 | -2.2126e-09 | 2.6859e-09 | 0.002914 | -0.066833 | -0.054244 | 0 | 0 | 0 | -81.1887 | -81.1887 | -81.1887 | 0.92935 | 1 | 0.92465 | 0.92935 | 1 | 0.92465 | -56.4089 | -141.9481 | 149.9002 | -56.5228 | -141.9045 | 149.9322

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.42037 | 0.0094914 | 0.0094914 | 0.41728 | 0.0064062 | 0.0064062 | 4.854 | 0.1096 | 0.1096 | 4.8183 | 0.073973 | 0.073973 | 1.9363 | 0.085702 | -0.097139 | -1.3794 | -0.055459 | 0.06901 | 1.1759 | -0.14187 | -0.090849 | -1.0124 | 0.095617 | 0.065231 | -66.0896 | -74.4075 | -74.4075 | 113.9433 | 103.7191 | 103.7191 | 0.95088 | 1 | 0.96974 | 0.94135 | 1 | 0.94595 | -34.8208 | -133.2725 | 148.6761 | -29.7791 | -136.1668 | 147.1064
Line_1 | 0.41098 | 0 | 0 | 0.41415 | 0.0032445 | 0.0032445 | 4.7455 | 0 | 0 | 4.7822 | 0.037464 | 0.037464 | -0.84451 | -2.9075e-09 | -2.2335e-09 | 1.3702 | 0.029547 | -0.03393 | -0.84451 | -1.7658e-09 | 2.1549e-09 | 1.0033 | -0.047549 | -0.034084 | 114.1018 | 0 | 0 | -65.9925 | -78.0233 | -78.0233 | 0.93233 | 1 | 0.92215 | 0.94135 | 1 | 0.94595 | -20.8982 | -138.975 | 145.7805 | -29.7791 | -136.1668 | 147.1064
Line_2 | 0 | 0 | 0 | 0.0031648 | 0.0031648 | 0.0031648 | 0 | 0 | 0 | 0.036544 | 0.036544 | 0.036544 | 6.6825e-10 | -2.9238e-09 | -1.8569e-09 | 0.0092217 | 0.025912 | -0.03508 | -6.4345e-10 | -1.5286e-09 | 2.1445e-09 | 0.0091306 | -0.048067 | -0.031147 | 0 | 0 | 0 | -74.4946 | -74.4946 | -74.4946 | 0.94135 | 1 | 0.94595 | 0.94135 | 1 | 0.94595 | -29.6915 | -136.2033 | 147.0843 | -29.7791 | -136.1668 | 147.1064

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.42037 | 0.0094914 | 0.0094914 | 0.41728 | 0.0064062 | 0.0064062 | 4.854 | 0.1096 | 0.1096 | 4.8183 | 0.073973 | 0.073973 | 1.9363 | 0.085702 | -0.097139 | -1.3794 | -0.055459 | 0.06901 | 1.1759 | -0.14187 | -0.090849 | -1.0124 | 0.095617 | 0.065231 | -66.0896 | -74.4075 | -74.4075 | 113.9433 | 103.7191 | 103.7191 | 0.95088 | 1 | 0.96974 | 0.94135 | 1 | 0.94595 | -34.8208 | -133.2725 | 148.6761 | -29.7791 | -136.1668 | 147.1064
Line_1 | 0.41098 | 0 | 0 | 0.41415 | 0.0032445 | 0.0032445 | 4.7455 | 0 | 0 | 4.7822 | 0.037464 | 0.037464 | -0.84451 | -2.9075e-09 | -2.2335e-09 | 1.3702 | 0.029547 | -0.03393 | -0.84451 | -1.7658e-09 | 2.1549e-09 | 1.0033 | -0.047549 | -0.034084 | 114.1018 | 0 | 0 | -65.9925 | -78.0233 | -78.0233 | 0.93233 | 1 | 0.92215 | 0.94135 | 1 | 0.94595 | -20.8982 | -138.975 | 145.7805 | -29.7791 | -136.1668 | 147.1064
Line_2 | 0 | 0 | 0 | 0.0031648 | 0.0031648 | 0.0031648 | 0 | 0 | 0 | 0.036544 | 0.036544 | 0.036544 | 6.6825e-10 | -2.9238e-09 | -1.8569e-09 | 0.0092217 | 0.025912 | -0.03508 | -6.4345e-10 | -1.5286e-09 | 2.1445e-09 | 0.0091306 | -0.048067 | -0.031147 | 0 | 0 | 0 | -74.4946 | -74.4946 | -74.4946 | 0.94135 | 1 | 0.94595 | 0.94135 | 1 | 0.94595 | -29.6915 | -136.2033 | 147.0843 | -29.7791 | -136.1668 | 147.1064

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0076382 | 2.9704 | 3.03 | 0.0051362 | 2.9708 | 3.0294 | 0.088199 | 34.2995 | 34.9879 | 0.059308 | 34.3039 | 34.9803 | -0.0037782 | 9.5145 | 9.463 | 0.0028004 | -4.7557 | -4.7276 | -0.13863 | 8.2036 | 13.1108 | 0.093971 | -4.1279 | -6.5271 | 94.0839 | -165.1005 | 21.4588 | -86.9098 | 14.9472 | -158.5869 | 1.0484 | 0.47113 | 0.86869 | 0.98051 | 0.23557 | 0.88805 | 2.5227 | -124.332 | 75.6381 | 1.3833 | -124.0948 | 75.4976
Line_1 | 0 | 2.9719 | 3.0278 | 0.00259 | 2.9713 | 3.0286 | 0 | 34.3161 | 34.9617 | 0.029907 | 34.3095 | 34.9715 | -2.9165e-09 | 6.7408e-11 | 7.8364e-11 | -0.00064081 | 4.7599 | 4.7211 | 3.5896e-11 | -4.9295e-11 | 2.3969e-11 | -0.047403 | 4.1246 | 6.5293 | 0 | 15.0441 | -158.6792 | 92.1578 | -165.0046 | 21.3671 | 0.92249 | 0 | 0.92249 | 0.98051 | 0.23557 | 0.88805 | 0.31929 | 0 | 0 | 1.3833 | -124.0948 | 75.4976
Line_2 | 0 | 0 | 0 | 0.0025469 | 0.0025469 | 0.0025469 | 0 | 0 | 0 | 0.029409 | 0.029409 | 0.029409 | -2.8231e-09 | 6.1566e-10 | 4.6693e-10 | -0.0021596 | -0.0042465 | 0.006424 | 1.5273e-10 | -5.141e-11 | -6.5124e-10 | -0.046568 | 0.0033337 | -0.0021546 | 0 | 0 | 0 | 94.0385 | 94.0385 | 94.0385 | 0.98051 | 0.23557 | 0.88805 | 0.98051 | 0.23557 | 0.88805 | 1.3689 | -123.9766 | 75.427 | 1.3833 | -124.0948 | 75.4976

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0076382 | 2.9704 | 3.03 | 0.0051362 | 2.9708 | 3.0294 | 0.088199 | 34.2995 | 34.9879 | 0.059308 | 34.3039 | 34.9803 | -0.0037782 | 9.5145 | 9.463 | 0.0028004 | -4.7557 | -4.7276 | -0.13863 | 8.2036 | 13.1108 | 0.093971 | -4.1279 | -6.5271 | 94.0839 | -165.1005 | 21.4588 | -86.9098 | 14.9472 | -158.5869 | 1.0484 | 0.47113 | 0.86869 | 0.98051 | 0.23557 | 0.88805 | 2.5227 | -124.332 | 75.6381 | 1.3833 | -124.0948 | 75.4976
Line_1 | 0 | 2.9719 | 3.0278 | 0.00259 | 2.9713 | 3.0286 | 0 | 34.3161 | 34.9617 | 0.029907 | 34.3095 | 34.9715 | -2.9165e-09 | 6.7408e-11 | 7.8364e-11 | -0.00064081 | 4.7599 | 4.7211 | 3.5896e-11 | -4.9295e-11 | 2.3969e-11 | -0.047403 | 4.1246 | 6.5293 | 0 | 15.0441 | -158.6792 | 92.1578 | -165.0046 | 21.3671 | 0.92249 | 0 | 0.92249 | 0.98051 | 0.23557 | 0.88805 | 0.31929 | 0 | 0 | 1.3833 | -124.0948 | 75.4976
Line_2 | 0 | 0 | 0 | 0.0025469 | 0.0025469 | 0.0025469 | 0 | 0 | 0 | 0.029409 | 0.029409 | 0.029409 | -2.8231e-09 | 6.1566e-10 | 4.6693e-10 | -0.0021596 | -0.0042465 | 0.006424 | 1.5273e-10 | -5.141e-11 | -6.5124e-10 | -0.046568 | 0.0033337 | -0.0021546 | 0 | 0 | 0 | 94.0385 | 94.0385 | 94.0385 | 0.98051 | 0.23557 | 0.88805 | 0.98051 | 0.23557 | 0.88805 | 1.3689 | -123.9766 | 75.427 | 1.3833 | -124.0948 | 75.4976

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0066164 | 1.0026 | 1.1151 | 0.0044491 | 1.0032 | 1.114 | 0.076399 | 11.5768 | 12.8759 | 0.051373 | 11.5838 | 12.8629 | -0.011612 | 6.0637 | 7.6967 | 0.0078829 | -5.5482 | -6.941 | -0.11428 | 5.6009 | 8.3379 | 0.07751 | -5.3348 | -7.2466 | 99.5631 | -152.1027 | 43.117 | -81.4306 | 28.0162 | -136.9781 | 1.0972 | 0.90694 | 0.98017 | 1.0738 | 0.82453 | 0.95981 | 3.761 | -109.3748 | 90.4069 | 2.7623 | -108.1068 | 89.2557
Line_1 | 0 | 1.0047 | 1.1114 | 0.0022435 | 1.0039 | 1.1127 | 0 | 11.601 | 12.8339 | 0.025906 | 11.5919 | 12.8488 | -2.4101e-09 | -5.0469 | -6.1765 | -0.0033385 | 5.5631 | 6.9214 | 1.97e-10 | -5.0469 | -6.1765 | -0.039145 | 5.327 | 7.2501 | 0 | 28.2555 | -137.1673 | 97.637 | -151.8644 | 42.9271 | 1.0514 | 0.74213 | 0.94105 | 1.0738 | 0.82453 | 0.95981 | 1.8305 | -106.7445 | 87.8327 | 2.7623 | -108.1068 | 89.2557
Line_2 | 0 | 0 | 0 | 0.0022062 | 0.0022062 | 0.0022062 | 0 | 0 | 0 | 0.025474 | 0.025474 | 0.025474 | -2.3245e-09 | 1.0031e-09 | 4.7311e-10 | -0.0045444 | -0.014997 | 0.019555 | 2.9345e-10 | 5.5366e-10 | -1.6085e-09 | -0.038365 | 0.0078484 | -0.0035403 | 0 | 0 | 0 | 99.5177 | 99.5177 | 99.5177 | 1.0738 | 0.82453 | 0.95981 | 1.0738 | 0.82453 | 0.95981 | 2.7497 | -108.0819 | 89.2409 | 2.7623 | -108.1068 | 89.2557

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0066164 | 1.0026 | 1.1151 | 0.0044491 | 1.0032 | 1.114 | 0.076399 | 11.5768 | 12.8759 | 0.051373 | 11.5838 | 12.8629 | -0.011612 | 6.0637 | 7.6967 | 0.0078829 | -5.5482 | -6.941 | -0.11428 | 5.6009 | 8.3379 | 0.07751 | -5.3348 | -7.2466 | 99.5631 | -152.1027 | 43.117 | -81.4306 | 28.0162 | -136.9781 | 1.0972 | 0.90694 | 0.98017 | 1.0738 | 0.82453 | 0.95981 | 3.761 | -109.3748 | 90.4069 | 2.7623 | -108.1068 | 89.2557
Line_1 | 0 | 1.0047 | 1.1114 | 0.0022435 | 1.0039 | 1.1127 | 0 | 11.601 | 12.8339 | 0.025906 | 11.5919 | 12.8488 | -2.4101e-09 | -5.0469 | -6.1765 | -0.0033385 | 5.5631 | 6.9214 | 1.97e-10 | -5.0469 | -6.1765 | -0.039145 | 5.327 | 7.2501 | 0 | 28.2555 | -137.1673 | 97.637 | -151.8644 | 42.9271 | 1.0514 | 0.74213 | 0.94105 | 1.0738 | 0.82453 | 0.95981 | 1.8305 | -106.7445 | 87.8327 | 2.7623 | -108.1068 | 89.2557
Line_2 | 0 | 0 | 0 | 0.0022062 | 0.0022062 | 0.0022062 | 0 | 0 | 0 | 0.025474 | 0.025474 | 0.025474 | -2.3245e-09 | 1.0031e-09 | 4.7311e-10 | -0.0045444 | -0.014997 | 0.019555 | 2.9345e-10 | 5.5366e-10 | -1.6085e-09 | -0.038365 | 0.0078484 | -0.0035403 | 0 | 0 | 0 | 99.5177 | 99.5177 | 99.5177 | 1.0738 | 0.82453 | 0.95981 | 1.0738 | 0.82453 | 0.95981 | 2.7497 | -108.0819 | 89.2409 | 2.7623 | -108.1068 | 89.2557

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0067988 | 2.3631 | 2.4414 | 0.0045888 | 2.3637 | 2.4406 | 0.078505 | 27.2868 | 28.191 | 0.052987 | 27.2936 | 28.1812 | -0.0056588 | 10.9949 | 12.4365 | 0.0041949 | -5.5057 | -6.2017 | -0.11045 | 3.6558 | 10.021 | 0.075559 | -1.8619 | -4.9752 | 97.526 | -153.1855 | 33.9207 | -84.3475 | 26.8663 | -146.1274 | 1.0121 | 0.55611 | 0.75554 | 0.91821 | 0.27805 | 0.78432 | 4.5931 | -134.7935 | 72.7816 | 2.4748 | -134.4497 | 72.6103
Line_1 | 0 | 2.3654 | 2.4384 | 0.002324 | 2.3645 | 2.4396 | 0 | 27.3129 | 28.1562 | 0.026836 | 27.3024 | 28.1695 | -2.3827e-09 | -1.3268e-10 | -4.9288e-12 | -0.00096001 | 5.5091 | 6.195 | 4.8436e-11 | -9.5779e-11 | -1.6903e-10 | -0.038314 | 1.8575 | 4.9783 | 0 | 26.9699 | -146.2224 | 93.9102 | -153.0819 | 33.825 | 0.83633 | 0 | 0.83633 | 0.91821 | 0.27805 | 0.78432 | 0.52263 | 0 | 0 | 2.4748 | -134.4497 | 72.6103
Line_2 | 0 | 0 | 0 | 0.002267 | 0.002267 | 0.002267 | 0 | 0 | 0 | 0.026177 | 0.026177 | 0.026177 | -2.2484e-09 | 5.9104e-10 | 4.0711e-10 | -0.0032349 | -0.0034403 | 0.0067026 | 2.2365e-10 | -1.9286e-10 | -7.6085e-10 | -0.037245 | 0.0043858 | -0.0031011 | 0 | 0 | 0 | 97.4388 | 97.4388 | 97.4388 | 0.91821 | 0.27805 | 0.78432 | 0.91821 | 0.27805 | 0.78432 | 2.4475 | -134.2786 | 72.5242 | 2.4748 | -134.4497 | 72.6103

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0067988 | 2.3631 | 2.4414 | 0.0045888 | 2.3637 | 2.4406 | 0.078505 | 27.2868 | 28.191 | 0.052987 | 27.2936 | 28.1812 | -0.0056588 | 10.9949 | 12.4365 | 0.0041949 | -5.5057 | -6.2017 | -0.11045 | 3.6558 | 10.021 | 0.075559 | -1.8619 | -4.9752 | 97.526 | -153.1855 | 33.9207 | -84.3475 | 26.8663 | -146.1274 | 1.0121 | 0.55611 | 0.75554 | 0.91821 | 0.27805 | 0.78432 | 4.5931 | -134.7935 | 72.7816 | 2.4748 | -134.4497 | 72.6103
Line_1 | 0 | 2.3654 | 2.4384 | 0.002324 | 2.3645 | 2.4396 | 0 | 27.3129 | 28.1562 | 0.026836 | 27.3024 | 28.1695 | -2.3827e-09 | -1.3268e-10 | -4.9288e-12 | -0.00096001 | 5.5091 | 6.195 | 4.8436e-11 | -9.5779e-11 | -1.6903e-10 | -0.038314 | 1.8575 | 4.9783 | 0 | 26.9699 | -146.2224 | 93.9102 | -153.0819 | 33.825 | 0.83633 | 0 | 0.83633 | 0.91821 | 0.27805 | 0.78432 | 0.52263 | 0 | 0 | 2.4748 | -134.4497 | 72.6103
Line_2 | 0 | 0 | 0 | 0.002267 | 0.002267 | 0.002267 | 0 | 0 | 0 | 0.026177 | 0.026177 | 0.026177 | -2.2484e-09 | 5.9104e-10 | 4.0711e-10 | -0.0032349 | -0.0034403 | 0.0067026 | 2.2365e-10 | -1.9286e-10 | -7.6085e-10 | -0.037245 | 0.0043858 | -0.0031011 | 0 | 0 | 0 | 97.4388 | 97.4388 | 97.4388 | 0.91821 | 0.27805 | 0.78432 | 0.91821 | 0.27805 | 0.78432 | 2.4475 | -134.2786 | 72.5242 | 2.4748 | -134.4497 | 72.6103

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0058559 | 0.86086 | 0.94908 | 0.0039524 | 0.86137 | 0.94808 | 0.067618 | 9.9403 | 10.959 | 0.045639 | 9.9463 | 10.9475 | -0.010442 | 5.1187 | 6.6411 | 0.0071378 | -4.4166 | -5.5551 | -0.090382 | 3.6917 | 6.4883 | 0.061887 | -3.7195 | -5.4682 | 101.8384 | -148.738 | 47.1627 | -80.0351 | 31.3844 | -132.9358 | 1.0034 | 0.83671 | 0.89051 | 0.9646 | 0.7349 | 0.87751 | 5.2481 | -112.9388 | 91.4961 | 3.3857 | -108.5131 | 91.6126
Line_1 | 0 | 0.86282 | 0.9457 | 0.0020017 | 0.86203 | 0.94695 | 0 | 9.963 | 10.92 | 0.023114 | 9.9539 | 10.9345 | -1.957e-09 | -3.7223 | -4.4718 | -0.0026603 | 4.4279 | 5.5393 | 1.4811e-10 | -3.7223 | -4.4718 | -0.031438 | 3.7129 | 5.471 | 0 | 31.6287 | -133.1268 | 98.2225 | -148.4934 | 46.9678 | 0.92684 | 0.63377 | 0.86777 | 0.9646 | 0.7349 | 0.87751 | 1.6715 | -103.3713 | 91.8732 | 3.3857 | -108.5131 | 91.6126
Line_2 | 0 | 0 | 0 | 0.0019526 | 0.0019526 | 0.0019526 | 0 | 0 | 0 | 0.022546 | 0.022546 | 0.022546 | -1.8368e-09 | 8.4965e-10 | 4.3864e-10 | -0.0044775 | -0.011305 | 0.015803 | 2.9351e-10 | 4.2571e-10 | -1.241e-09 | -0.030448 | 0.0065967 | -0.0028259 | 0 | 0 | 0 | 101.7512 | 101.7512 | 101.7512 | 0.9646 | 0.7349 | 0.87751 | 0.9646 | 0.7349 | 0.87751 | 3.3615 | -108.4727 | 91.5942 | 3.3857 | -108.5131 | 91.6126

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0058559 | 0.86086 | 0.94908 | 0.0039524 | 0.86137 | 0.94808 | 0.067618 | 9.9403 | 10.959 | 0.045639 | 9.9463 | 10.9475 | -0.010442 | 5.1187 | 6.6411 | 0.0071378 | -4.4166 | -5.5551 | -0.090382 | 3.6917 | 6.4883 | 0.061887 | -3.7195 | -5.4682 | 101.8384 | -148.738 | 47.1627 | -80.0351 | 31.3844 | -132.9358 | 1.0034 | 0.83671 | 0.89051 | 0.9646 | 0.7349 | 0.87751 | 5.2481 | -112.9388 | 91.4961 | 3.3857 | -108.5131 | 91.6126
Line_1 | 0 | 0.86282 | 0.9457 | 0.0020017 | 0.86203 | 0.94695 | 0 | 9.963 | 10.92 | 0.023114 | 9.9539 | 10.9345 | -1.957e-09 | -3.7223 | -4.4718 | -0.0026603 | 4.4279 | 5.5393 | 1.4811e-10 | -3.7223 | -4.4718 | -0.031438 | 3.7129 | 5.471 | 0 | 31.6287 | -133.1268 | 98.2225 | -148.4934 | 46.9678 | 0.92684 | 0.63377 | 0.86777 | 0.9646 | 0.7349 | 0.87751 | 1.6715 | -103.3713 | 91.8732 | 3.3857 | -108.5131 | 91.6126
Line_2 | 0 | 0 | 0 | 0.0019526 | 0.0019526 | 0.0019526 | 0 | 0 | 0 | 0.022546 | 0.022546 | 0.022546 | -1.8368e-09 | 8.4965e-10 | 4.3864e-10 | -0.0044775 | -0.011305 | 0.015803 | 2.9351e-10 | 4.2571e-10 | -1.241e-09 | -0.030448 | 0.0065967 | -0.0028259 | 0 | 0 | 0 | 101.7512 | 101.7512 | 101.7512 | 0.9646 | 0.7349 | 0.87751 | 0.9646 | 0.7349 | 0.87751 | 3.3615 | -108.4727 | 91.5942 | 3.3857 | -108.5131 | 91.6126