## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.297e-19 | 0 | -4.9284e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.297e-19 | 0 | -4.9284e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6698e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6698e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.7868e-28 | 1.5632e-14 | -2.0843e-14 | -1.0421e-14 | 2.6058e-15 | 2.0843e-14 | 1.5632e-14 | 5.7634e-09 | -5.7634e-09 | -1.0421e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -1.0214e-12 | 180 | -180 | -1.0123e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -5.2105e-15 | 1.9004e-19 | -1.5632e-14 | 1.3026e-14 | -1.4246e-19 | 5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -1.0083e-12 | -180 | 180 | -1.0123e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -5.2105e-15 | -1.0421e-14 | -5.2106e-15 | 2.3448e-14 | 1.0421e-14 | 2.7508e-28 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -1.0083e-12 | -180 | 180 | -1.0123e-12 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.7868e-28 | 1.5632e-14 | -2.0843e-14 | -1.0421e-14 | 2.6058e-15 | 2.0843e-14 | 1.5632e-14 | 5.7634e-09 | -5.7634e-09 | -1.0421e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -1.0214e-12 | 180 | -180 | -1.0123e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -5.2105e-15 | 1.9004e-19 | -1.5632e-14 | 1.3026e-14 | -1.4246e-19 | 5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -1.0083e-12 | -180 | 180 | -1.0123e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -5.2105e-15 | -1.0421e-14 | -5.2106e-15 | 2.3448e-14 | 1.0421e-14 | 2.7508e-28 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -1.0083e-12 | -180 | 180 | -1.0123e-12 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | -9.5546e-10 | -3.075e-09 | -1.0421e-14 | 9.5547e-10 | 3.075e-09 | 2.6053e-15 | 4.0277e-09 | -3.5663e-10 | 2.3056e-28 | -4.0277e-09 | 3.5663e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | -1.2719e-12 | -140.8543 | 122.4159 | -1.2676e-12 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | 3.1849e-10 | 1.025e-09 | -5.764e-29 | -3.1849e-10 | -1.025e-09 | 2.6053e-15 | -1.3426e-09 | 1.1889e-10 | -2.6053e-15 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | -1.2673e-12 | -140.8543 | 122.4159 | -1.2676e-12 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.816e-15 | 3.1849e-10 | 1.025e-09 | 5.2106e-15 | -3.1847e-10 | -1.025e-09 | 2.6053e-15 | -1.3426e-09 | 1.1889e-10 | -2.6053e-15 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | -1.2648e-12 | -140.8543 | 122.4159 | -1.2676e-12 | -140.8543 | 122.4159

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | -9.5546e-10 | -3.075e-09 | -1.0421e-14 | 9.5547e-10 | 3.075e-09 | 2.6053e-15 | 4.0277e-09 | -3.5663e-10 | 2.3056e-28 | -4.0277e-09 | 3.5663e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | -1.2719e-12 | -140.8543 | 122.4159 | -1.2676e-12 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | 3.1849e-10 | 1.025e-09 | -5.764e-29 | -3.1849e-10 | -1.025e-09 | 2.6053e-15 | -1.3426e-09 | 1.1889e-10 | -2.6053e-15 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | -1.2673e-12 | -140.8543 | 122.4159 | -1.2676e-12 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.816e-15 | 3.1849e-10 | 1.025e-09 | 5.2106e-15 | -3.1847e-10 | -1.025e-09 | 2.6053e-15 | -1.3426e-09 | 1.1889e-10 | -2.6053e-15 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | -1.2648e-12 | -140.8543 | 122.4159 | -1.2676e-12 | -140.8543 | 122.4159

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8948e-14 | -1.1842e-14 | -7.1054e-15 | 2.1316e-14 | 1.4212e-14 | 9.4746e-15 | 4.4114e-28 | 4.7631e-09 | -4.7631e-09 | -4.8752e-28 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -1.334e-12 | -180 | 180 | -1.3104e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -2.3682e-15 | 2.3688e-15 | 4.737e-15 | 4.7367e-15 | -2.2911e-19 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -1.3216e-12 | -180 | 180 | -1.3104e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 7.1057e-15 | 2.3688e-15 | 2.3685e-15 | -2.2915e-19 | -2.2911e-19 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -1.3336e-12 | -180 | 180 | -1.3104e-12 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8948e-14 | -1.1842e-14 | -7.1054e-15 | 2.1316e-14 | 1.4212e-14 | 9.4746e-15 | 4.4114e-28 | 4.7631e-09 | -4.7631e-09 | -4.8752e-28 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -1.334e-12 | -180 | 180 | -1.3104e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -2.3682e-15 | 2.3688e-15 | 4.737e-15 | 4.7367e-15 | -2.2911e-19 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -1.3216e-12 | -180 | 180 | -1.3104e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 7.1057e-15 | 2.3688e-15 | 2.3685e-15 | -2.2915e-19 | -2.2911e-19 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -1.3336e-12 | -180 | 180 | -1.3104e-12 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9606e-15 | -8.0025e-10 | -2.5674e-09 | 4.4409e-15 | 8.0024e-10 | 2.5674e-09 | 9.0864e-29 | 3.4014e-09 | -3.4064e-10 | 2.3685e-15 | -3.4014e-09 | 3.4064e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | -1.7585e-12 | -141.4824 | 122.8363 | -1.7489e-12 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4502e-28 | 2.6675e-10 | 8.558e-10 | 2.9606e-16 | -2.6676e-10 | -8.558e-10 | 4.737e-15 | -1.1338e-09 | 1.1355e-10 | -4.737e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | -1.7541e-12 | -141.4824 | 122.8363 | -1.7489e-12 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 2.6675e-10 | 8.5579e-10 | 2.6645e-15 | -2.6675e-10 | -8.5579e-10 | 2.3685e-15 | -1.1338e-09 | 1.1355e-10 | -8.1331e-29 | 1.1338e-09 | -1.1354e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | -1.7586e-12 | -141.4824 | 122.8363 | -1.7489e-12 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9606e-15 | -8.0025e-10 | -2.5674e-09 | 4.4409e-15 | 8.0024e-10 | 2.5674e-09 | 9.0864e-29 | 3.4014e-09 | -3.4064e-10 | 2.3685e-15 | -3.4014e-09 | 3.4064e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | -1.7585e-12 | -141.4824 | 122.8363 | -1.7489e-12 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4502e-28 | 2.6675e-10 | 8.558e-10 | 2.9606e-16 | -2.6676e-10 | -8.558e-10 | 4.737e-15 | -1.1338e-09 | 1.1355e-10 | -4.737e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | -1.7541e-12 | -141.4824 | 122.8363 | -1.7489e-12 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 2.6675e-10 | 8.5579e-10 | 2.6645e-15 | -2.6675e-10 | -8.5579e-10 | 2.3685e-15 | -1.1338e-09 | 1.1355e-10 | -8.1331e-29 | 1.1338e-09 | -1.1354e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | -1.7586e-12 | -141.4824 | 122.8363 | -1.7489e-12 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.016455 | 0.016455 | 0.016455 | 0.010974 | 0.010974 | 0.010974 | 0.19001 | 0.19001 | 0.19001 | 0.12671 | 0.12671 | 0.12671 | 7.9094e-14 | 0.18213 | -0.17988 | 0.00055617 | -0.12107 | 0.12035 | -2.0452e-14 | -0.31469 | -0.31609 | 0.00022131 | 0.20998 | 0.21111 | -90.2218 | -90.2218 | -90.2218 | 89.7328 | 89.7328 | 89.7328 | 0 | 1.9136 | 1.9141 | 0.0047239 | 1.9129 | 1.9177 | 0 | -150.1607 | 150.1348 | 111.4317 | -150.3006 | 150.0465
Line_1 | 0 | 0 | 0 | 0.0054869 | 0.0054869 | 0.0054869 | 0 | 0 | 0 | 0.063357 | 0.063357 | 0.063357 | -8.4707e-12 | -6.7559e-09 | -6.7962e-09 | -0.00027808 | 0.060536 | -0.060174 | 2.1284e-11 | -3.8956e-09 | 3.8723e-09 | -0.00011066 | -0.10499 | -0.10556 | 0 | 0 | 0 | -90.2672 | -90.2672 | -90.2672 | 0.0056689 | 1.9127 | 1.9185 | 0.0047239 | 1.9129 | 1.9177 | 111.4272 | -150.3286 | 150.0289 | 111.4317 | -150.3006 | 150.0465
Line_2 | 0 | 0 | 0 | 0.0054869 | 0.0054869 | 0.0054869 | 0 | 0 | 0 | 0.063357 | 0.063357 | 0.063357 | -8.4706e-12 | -6.7559e-09 | -6.7962e-09 | -0.00027808 | 0.060536 | -0.060174 | 2.1284e-11 | -3.8955e-09 | 3.8723e-09 | -0.00011066 | -0.10499 | -0.10556 | 0 | 0 | 0 | -90.2672 | -90.2672 | -90.2672 | 0.0056689 | 1.9127 | 1.9185 | 0.0047239 | 1.9129 | 1.9177 | 111.4272 | -150.3286 | 150.0289 | 111.4317 | -150.3006 | 150.0465

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.016455 | 0.016455 | 0.016455 | 0.010974 | 0.010974 | 0.010974 | 0.19001 | 0.19001 | 0.19001 | 0.12671 | 0.12671 | 0.12671 | 7.9094e-14 | 0.18213 | -0.17988 | 0.00055617 | -0.12107 | 0.12035 | -2.0452e-14 | -0.31469 | -0.31609 | 0.00022131 | 0.20998 | 0.21111 | -90.2218 | -90.2218 | -90.2218 | 89.7328 | 89.7328 | 89.7328 | 0 | 1.9136 | 1.9141 | 0.0047239 | 1.9129 | 1.9177 | 0 | -150.1607 | 150.1348 | 111.4317 | -150.3006 | 150.0465
Line_1 | 0 | 0 | 0 | 0.0054869 | 0.0054869 | 0.0054869 | 0 | 0 | 0 | 0.063357 | 0.063357 | 0.063357 | -8.4707e-12 | -6.7559e-09 | -6.7962e-09 | -0.00027808 | 0.060536 | -0.060174 | 2.1284e-11 | -3.8956e-09 | 3.8723e-09 | -0.00011066 | -0.10499 | -0.10556 | 0 | 0 | 0 | -90.2672 | -90.2672 | -90.2672 | 0.0056689 | 1.9127 | 1.9185 | 0.0047239 | 1.9129 | 1.9177 | 111.4272 | -150.3286 | 150.0289 | 111.4317 | -150.3006 | 150.0465
Line_2 | 0 | 0 | 0 | 0.0054869 | 0.0054869 | 0.0054869 | 0 | 0 | 0 | 0.063357 | 0.063357 | 0.063357 | -8.4706e-12 | -6.7559e-09 | -6.7962e-09 | -0.00027808 | 0.060536 | -0.060174 | 2.1284e-11 | -3.8955e-09 | 3.8723e-09 | -0.00011066 | -0.10499 | -0.10556 | 0 | 0 | 0 | -90.2672 | -90.2672 | -90.2672 | 0.0056689 | 1.9127 | 1.9185 | 0.0047239 | 1.9129 | 1.9177 | 111.4272 | -150.3286 | 150.0289 | 111.4317 | -150.3006 | 150.0465

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.016777 | 0.016777 | 0.016777 | 0.011188 | 0.011188 | 0.011188 | 0.19372 | 0.19372 | 0.19372 | 0.12919 | 0.12919 | 0.12919 | -0.004222 | 0.18778 | -0.18121 | 0.0033914 | -0.12481 | 0.12125 | -0.004222 | -0.32134 | -0.33011 | 0.0030478 | 0.21442 | 0.22047 | -91.3615 | -91.3615 | -91.3615 | 88.5931 | 88.5931 | 88.5931 | 0.030821 | 1.9212 | 1.9439 | 0.035295 | 1.9205 | 1.9476 | 133.6385 | -151.0614 | 149.8741 | 130.5386 | -151.2035 | 149.7838
Line_1 | 0 | 0 | 0 | 0.0055941 | 0.0055941 | 0.0055941 | 0 | 0 | 0 | 0.064595 | 0.064595 | 0.064595 | -9.8677e-11 | -6.8988e-09 | -7.0974e-09 | -0.0016957 | 0.062407 | -0.060625 | 1.1183e-10 | -4.016e-09 | 3.9013e-09 | -0.0015239 | -0.10721 | -0.11023 | 0 | 0 | 0 | -91.4069 | -91.4069 | -91.4069 | 0.0362 | 1.9203 | 1.9483 | 0.035295 | 1.9205 | 1.9476 | 130.0103 | -151.2319 | 149.7658 | 130.5386 | -151.2035 | 149.7838
Line_2 | 0 | 0 | 0 | 0.0055941 | 0.0055941 | 0.0055941 | 0 | 0 | 0 | 0.064595 | 0.064595 | 0.064595 | -9.8677e-11 | -6.8987e-09 | -7.0974e-09 | -0.0016957 | 0.062407 | -0.060625 | 1.1183e-10 | -4.0159e-09 | 3.9013e-09 | -0.0015239 | -0.10721 | -0.11023 | 0 | 0 | 0 | -91.4069 | -91.4069 | -91.4069 | 0.0362 | 1.9203 | 1.9483 | 0.035295 | 1.9205 | 1.9476 | 130.0103 | -151.2319 | 149.7658 | 130.5386 | -151.2035 | 149.7838

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.016777 | 0.016777 | 0.016777 | 0.011188 | 0.011188 | 0.011188 | 0.19372 | 0.19372 | 0.19372 | 0.12919 | 0.12919 | 0.12919 | -0.004222 | 0.18778 | -0.18121 | 0.0033914 | -0.12481 | 0.12125 | -0.004222 | -0.32134 | -0.33011 | 0.0030478 | 0.21442 | 0.22047 | -91.3615 | -91.3615 | -91.3615 | 88.5931 | 88.5931 | 88.5931 | 0.030821 | 1.9212 | 1.9439 | 0.035295 | 1.9205 | 1.9476 | 133.6385 | -151.0614 | 149.8741 | 130.5386 | -151.2035 | 149.7838
Line_1 | 0 | 0 | 0 | 0.0055941 | 0.0055941 | 0.0055941 | 0 | 0 | 0 | 0.064595 | 0.064595 | 0.064595 | -9.8677e-11 | -6.8988e-09 | -7.0974e-09 | -0.0016957 | 0.062407 | -0.060625 | 1.1183e-10 | -4.016e-09 | 3.9013e-09 | -0.0015239 | -0.10721 | -0.11023 | 0 | 0 | 0 | -91.4069 | -91.4069 | -91.4069 | 0.0362 | 1.9203 | 1.9483 | 0.035295 | 1.9205 | 1.9476 | 130.0103 | -151.2319 | 149.7658 | 130.5386 | -151.2035 | 149.7838
Line_2 | 0 | 0 | 0 | 0.0055941 | 0.0055941 | 0.0055941 | 0 | 0 | 0 | 0.064595 | 0.064595 | 0.064595 | -9.8677e-11 | -6.8987e-09 | -7.0974e-09 | -0.0016957 | 0.062407 | -0.060625 | 1.1183e-10 | -4.0159e-09 | 3.9013e-09 | -0.0015239 | -0.10721 | -0.11023 | 0 | 0 | 0 | -91.4069 | -91.4069 | -91.4069 | 0.0362 | 1.9203 | 1.9483 | 0.035295 | 1.9205 | 1.9476 | 130.0103 | -151.2319 | 149.7658 | 130.5386 | -151.2035 | 149.7838

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.014963 | 0.014963 | 0.014963 | 0.0099786 | 0.0099786 | 0.0099786 | 0.17278 | 0.17278 | 0.17278 | 0.11522 | 0.11522 | 0.11522 | -2.7006e-14 | 0.15142 | -0.14784 | 0.00088296 | -0.10036 | 0.099209 | -4.3241e-14 | -0.25971 | -0.26186 | 0.00018309 | 0.17322 | 0.17496 | -90.4124 | -90.4124 | -90.4124 | 89.5004 | 89.5004 | 89.5004 | 0 | 1.7399 | 1.7404 | 0.007826 | 1.7375 | 1.7456 | 0 | -150.1693 | 150.1399 | 101.2155 | -150.4139 | 149.9462
Line_1 | 0 | 0 | 0 | 0.0049893 | 0.0049893 | 0.0049893 | 0 | 0 | 0 | 0.057612 | 0.057612 | 0.057612 | -7.0161e-12 | -5.5727e-09 | -5.6345e-09 | -0.00044148 | 0.050178 | -0.049604 | 3.3779e-11 | -3.2289e-09 | 3.1932e-09 | -9.1547e-05 | -0.086612 | -0.087482 | 0 | 0 | 0 | -90.4996 | -90.4996 | -90.4996 | 0.0093916 | 1.737 | 1.7466 | 0.007826 | 1.7375 | 1.7456 | 101.2068 | -150.4629 | 149.9076 | 101.2155 | -150.4139 | 149.9462
Line_2 | 0 | 0 | 0 | 0.0049893 | 0.0049893 | 0.0049893 | 0 | 0 | 0 | 0.057612 | 0.057612 | 0.057612 | -7.0162e-12 | -5.5727e-09 | -5.6345e-09 | -0.00044148 | 0.050178 | -0.049604 | 3.3779e-11 | -3.2288e-09 | 3.1932e-09 | -9.1547e-05 | -0.086612 | -0.087482 | 0 | 0 | 0 | -90.4996 | -90.4996 | -90.4996 | 0.0093916 | 1.737 | 1.7466 | 0.007826 | 1.7375 | 1.7456 | 101.2068 | -150.4629 | 149.9076 | 101.2155 | -150.4139 | 149.9462

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.014963 | 0.014963 | 0.014963 | 0.0099786 | 0.0099786 | 0.0099786 | 0.17278 | 0.17278 | 0.17278 | 0.11522 | 0.11522 | 0.11522 | -2.7006e-14 | 0.15142 | -0.14784 | 0.00088296 | -0.10036 | 0.099209 | -4.3241e-14 | -0.25971 | -0.26186 | 0.00018309 | 0.17322 | 0.17496 | -90.4124 | -90.4124 | -90.4124 | 89.5004 | 89.5004 | 89.5004 | 0 | 1.7399 | 1.7404 | 0.007826 | 1.7375 | 1.7456 | 0 | -150.1693 | 150.1399 | 101.2155 | -150.4139 | 149.9462
Line_1 | 0 | 0 | 0 | 0.0049893 | 0.0049893 | 0.0049893 | 0 | 0 | 0 | 0.057612 | 0.057612 | 0.057612 | -7.0161e-12 | -5.5727e-09 | -5.6345e-09 | -0.00044148 | 0.050178 | -0.049604 | 3.3779e-11 | -3.2289e-09 | 3.1932e-09 | -9.1547e-05 | -0.086612 | -0.087482 | 0 | 0 | 0 | -90.4996 | -90.4996 | -90.4996 | 0.0093916 | 1.737 | 1.7466 | 0.007826 | 1.7375 | 1.7456 | 101.2068 | -150.4629 | 149.9076 | 101.2155 | -150.4139 | 149.9462
Line_2 | 0 | 0 | 0 | 0.0049893 | 0.0049893 | 0.0049893 | 0 | 0 | 0 | 0.057612 | 0.057612 | 0.057612 | -7.0162e-12 | -5.5727e-09 | -5.6345e-09 | -0.00044148 | 0.050178 | -0.049604 | 3.3779e-11 | -3.2288e-09 | 3.1932e-09 | -9.1547e-05 | -0.086612 | -0.087482 | 0 | 0 | 0 | -90.4996 | -90.4996 | -90.4996 | 0.0093916 | 1.737 | 1.7466 | 0.007826 | 1.7375 | 1.7456 | 101.2068 | -150.4629 | 149.9076 | 101.2155 | -150.4139 | 149.9462

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.015255 | 0.015255 | 0.015255 | 0.010173 | 0.010173 | 0.010173 | 0.17615 | 0.17615 | 0.17615 | 0.11747 | 0.11747 | 0.11747 | -0.0034906 | 0.15609 | -0.14889 | 0.0032419 | -0.10345 | 0.099929 | -0.0034906 | -0.26516 | -0.27344 | 0.0025216 | 0.17686 | 0.18269 | -91.556 | -91.556 | -91.556 | 88.3568 | 88.3568 | 88.3568 | 0.028025 | 1.7468 | 1.7676 | 0.034964 | 1.7442 | 1.7727 | 133.4439 | -151.0713 | 149.876 | 126.2331 | -151.3193 | 149.679
Line_1 | 0 | 0 | 0 | 0.0050865 | 0.0050865 | 0.0050865 | 0 | 0 | 0 | 0.058734 | 0.058734 | 0.058734 | -8.1653e-11 | -5.6896e-09 | -5.8832e-09 | -0.001621 | 0.051723 | -0.049965 | 1.0917e-10 | -3.3282e-09 | 3.2164e-09 | -0.0012608 | -0.088429 | -0.091346 | 0 | 0 | 0 | -91.6432 | -91.6432 | -91.6432 | 0.036403 | 1.7437 | 1.7737 | 0.034964 | 1.7442 | 1.7727 | 125.1234 | -151.369 | 149.6397 | 126.2331 | -151.3193 | 149.679
Line_2 | 0 | 0 | 0 | 0.0050865 | 0.0050865 | 0.0050865 | 0 | 0 | 0 | 0.058734 | 0.058734 | 0.058734 | -8.1653e-11 | -5.6896e-09 | -5.8832e-09 | -0.001621 | 0.051723 | -0.049965 | 1.0917e-10 | -3.3282e-09 | 3.2164e-09 | -0.0012608 | -0.088429 | -0.091346 | 0 | 0 | 0 | -91.6432 | -91.6432 | -91.6432 | 0.036403 | 1.7437 | 1.7737 | 0.034964 | 1.7442 | 1.7727 | 125.1234 | -151.369 | 149.6397 | 126.2331 | -151.3193 | 149.679

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.015255 | 0.015255 | 0.015255 | 0.010173 | 0.010173 | 0.010173 | 0.17615 | 0.17615 | 0.17615 | 0.11747 | 0.11747 | 0.11747 | -0.0034906 | 0.15609 | -0.14889 | 0.0032419 | -0.10345 | 0.099929 | -0.0034906 | -0.26516 | -0.27344 | 0.0025216 | 0.17686 | 0.18269 | -91.556 | -91.556 | -91.556 | 88.3568 | 88.3568 | 88.3568 | 0.028025 | 1.7468 | 1.7676 | 0.034964 | 1.7442 | 1.7727 | 133.4439 | -151.0713 | 149.876 | 126.2331 | -151.3193 | 149.679
Line_1 | 0 | 0 | 0 | 0.0050865 | 0.0050865 | 0.0050865 | 0 | 0 | 0 | 0.058734 | 0.058734 | 0.058734 | -8.1653e-11 | -5.6896e-09 | -5.8832e-09 | -0.001621 | 0.051723 | -0.049965 | 1.0917e-10 | -3.3282e-09 | 3.2164e-09 | -0.0012608 | -0.088429 | -0.091346 | 0 | 0 | 0 | -91.6432 | -91.6432 | -91.6432 | 0.036403 | 1.7437 | 1.7737 | 0.034964 | 1.7442 | 1.7727 | 125.1234 | -151.369 | 149.6397 | 126.2331 | -151.3193 | 149.679
Line_2 | 0 | 0 | 0 | 0.0050865 | 0.0050865 | 0.0050865 | 0 | 0 | 0 | 0.058734 | 0.058734 | 0.058734 | -8.1653e-11 | -5.6896e-09 | -5.8832e-09 | -0.001621 | 0.051723 | -0.049965 | 1.0917e-10 | -3.3282e-09 | 3.2164e-09 | -0.0012608 | -0.088429 | -0.091346 | 0 | 0 | 0 | -91.6432 | -91.6432 | -91.6432 | 0.036403 | 1.7437 | 1.7737 | 0.034964 | 1.7442 | 1.7727 | 125.1234 | -151.369 | 149.6397 | 126.2331 | -151.3193 | 149.679

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.008191 | 0.008191 | 0.008191 | 0.0054624 | 0.0054624 | 0.0054624 | 0.094581 | 0.094581 | 0.094581 | 0.063074 | 0.063074 | 0.063074 | 0.00055813 | -4.0226e-15 | -2.0886e-14 | -0.00031697 | 0.0001378 | 0.0001378 | -0.15629 | -5.1626e-14 | 2.8727e-14 | 0.10428 | 5.4835e-05 | 5.4835e-05 | 89.7911 | 89.7911 | 89.7911 | -90.2543 | -90.2543 | -90.2543 | 1.6525 | 0 | 0 | 1.6533 | 0.0023514 | 0.0023514 | -0.0042851 | 0 | 0 | -0.08013 | -68.5554 | -68.5554
Line_1 | 0 | 0 | 0 | 0.0027312 | 0.0027312 | 0.0027312 | 0 | 0 | 0 | 0.031537 | 0.031537 | 0.031537 | -3.3557e-09 | 7.0651e-12 | -1.1284e-11 | 0.00015848 | -6.8901e-05 | -6.8901e-05 | -1.1118e-11 | 8.8995e-12 | 1.694e-12 | -0.05214 | -2.7418e-05 | -2.7418e-05 | 0 | 0 | 0 | 89.7457 | 89.7457 | 89.7457 | 1.6535 | 0.0028218 | 0.0028218 | 1.6533 | 0.0023514 | 0.0023514 | -0.095295 | -68.5599 | -68.5599 | -0.08013 | -68.5554 | -68.5554
Line_2 | 0 | 0 | 0 | 0.0027312 | 0.0027312 | 0.0027312 | 0 | 0 | 0 | 0.031537 | 0.031537 | 0.031537 | -3.3557e-09 | 7.0651e-12 | -1.1283e-11 | 0.00015848 | -6.8901e-05 | -6.8901e-05 | -1.1133e-11 | 8.8995e-12 | 1.6941e-12 | -0.05214 | -2.7418e-05 | -2.7418e-05 | 0 | 0 | 0 | 89.7457 | 89.7457 | 89.7457 | 1.6535 | 0.0028218 | 0.0028218 | 1.6533 | 0.0023514 | 0.0023514 | -0.095295 | -68.5599 | -68.5599 | -0.08013 | -68.5554 | -68.5554

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.008191 | 0.008191 | 0.008191 | 0.0054624 | 0.0054624 | 0.0054624 | 0.094581 | 0.094581 | 0.094581 | 0.063074 | 0.063074 | 0.063074 | 0.00055813 | -4.0226e-15 | -2.0886e-14 | -0.00031697 | 0.0001378 | 0.0001378 | -0.15629 | -5.1626e-14 | 2.8727e-14 | 0.10428 | 5.4835e-05 | 5.4835e-05 | 89.7911 | 89.7911 | 89.7911 | -90.2543 | -90.2543 | -90.2543 | 1.6525 | 0 | 0 | 1.6533 | 0.0023514 | 0.0023514 | -0.0042851 | 0 | 0 | -0.08013 | -68.5554 | -68.5554
Line_1 | 0 | 0 | 0 | 0.0027312 | 0.0027312 | 0.0027312 | 0 | 0 | 0 | 0.031537 | 0.031537 | 0.031537 | -3.3557e-09 | 7.0651e-12 | -1.1284e-11 | 0.00015848 | -6.8901e-05 | -6.8901e-05 | -1.1118e-11 | 8.8995e-12 | 1.694e-12 | -0.05214 | -2.7418e-05 | -2.7418e-05 | 0 | 0 | 0 | 89.7457 | 89.7457 | 89.7457 | 1.6535 | 0.0028218 | 0.0028218 | 1.6533 | 0.0023514 | 0.0023514 | -0.095295 | -68.5599 | -68.5599 | -0.08013 | -68.5554 | -68.5554
Line_2 | 0 | 0 | 0 | 0.0027312 | 0.0027312 | 0.0027312 | 0 | 0 | 0 | 0.031537 | 0.031537 | 0.031537 | -3.3557e-09 | 7.0651e-12 | -1.1283e-11 | 0.00015848 | -6.8901e-05 | -6.8901e-05 | -1.1133e-11 | 8.8995e-12 | 1.6941e-12 | -0.05214 | -2.7418e-05 | -2.7418e-05 | 0 | 0 | 0 | 89.7457 | 89.7457 | 89.7457 | 1.6535 | 0.0028218 | 0.0028218 | 1.6533 | 0.0023514 | 0.0023514 | -0.095295 | -68.5599 | -68.5599 | -0.08013 | -68.5554 | -68.5554

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0082703 | 0.0082703 | 0.0082703 | 0.0055153 | 0.0055153 | 0.0055153 | 0.095497 | 0.095497 | 0.095497 | 0.063685 | 0.063685 | 0.063685 | 0.001595 | -0.071714 | 0.070688 | -0.0010068 | 0.047971 | -0.047006 | -0.15831 | 0.011122 | -0.012148 | 0.10563 | -0.007323 | 0.0081196 | 89.2295 | 89.2295 | 89.2295 | -90.8159 | -90.8159 | -90.8159 | 1.6578 | 0.75993 | 0.75106 | 1.6586 | 0.76198 | 0.74904 | -0.19329 | -99.586 | 79.4785 | -0.26981 | -99.4955 | 79.3838
Line_1 | 0 | 0 | 0 | 0.0027576 | 0.0027576 | 0.0027576 | 0 | 0 | 0 | 0.031842 | 0.031842 | 0.031842 | -3.399e-09 | 7.4861e-10 | 2.3641e-10 | 0.00050339 | -0.023985 | 0.023503 | -3.3337e-11 | 1.078e-09 | -1.9664e-09 | -0.052813 | 0.0036615 | -0.0040598 | 0 | 0 | 0 | 89.1841 | 89.1841 | 89.1841 | 1.6588 | 0.76239 | 0.74863 | 1.6586 | 0.76198 | 0.74904 | -0.28512 | -99.4774 | 79.3649 | -0.26981 | -99.4955 | 79.3838
Line_2 | 0 | 0 | 0 | 0.0027576 | 0.0027576 | 0.0027576 | 0 | 0 | 0 | 0.031842 | 0.031842 | 0.031842 | -3.399e-09 | 7.4861e-10 | 2.3641e-10 | 0.00050339 | -0.023985 | 0.023503 | -3.3321e-11 | 1.078e-09 | -1.9664e-09 | -0.052813 | 0.0036615 | -0.0040598 | 0 | 0 | 0 | 89.1841 | 89.1841 | 89.1841 | 1.6588 | 0.76239 | 0.74863 | 1.6586 | 0.76198 | 0.74904 | -0.28512 | -99.4774 | 79.3649 | -0.26981 | -99.4955 | 79.3838

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0082703 | 0.0082703 | 0.0082703 | 0.0055153 | 0.0055153 | 0.0055153 | 0.095497 | 0.095497 | 0.095497 | 0.063685 | 0.063685 | 0.063685 | 0.001595 | -0.071714 | 0.070688 | -0.0010068 | 0.047971 | -0.047006 | -0.15831 | 0.011122 | -0.012148 | 0.10563 | -0.007323 | 0.0081196 | 89.2295 | 89.2295 | 89.2295 | -90.8159 | -90.8159 | -90.8159 | 1.6578 | 0.75993 | 0.75106 | 1.6586 | 0.76198 | 0.74904 | -0.19329 | -99.586 | 79.4785 | -0.26981 | -99.4955 | 79.3838
Line_1 | 0 | 0 | 0 | 0.0027576 | 0.0027576 | 0.0027576 | 0 | 0 | 0 | 0.031842 | 0.031842 | 0.031842 | -3.399e-09 | 7.4861e-10 | 2.3641e-10 | 0.00050339 | -0.023985 | 0.023503 | -3.3337e-11 | 1.078e-09 | -1.9664e-09 | -0.052813 | 0.0036615 | -0.0040598 | 0 | 0 | 0 | 89.1841 | 89.1841 | 89.1841 | 1.6588 | 0.76239 | 0.74863 | 1.6586 | 0.76198 | 0.74904 | -0.28512 | -99.4774 | 79.3649 | -0.26981 | -99.4955 | 79.3838
Line_2 | 0 | 0 | 0 | 0.0027576 | 0.0027576 | 0.0027576 | 0 | 0 | 0 | 0.031842 | 0.031842 | 0.031842 | -3.399e-09 | 7.4861e-10 | 2.3641e-10 | 0.00050339 | -0.023985 | 0.023503 | -3.3321e-11 | 1.078e-09 | -1.9664e-09 | -0.052813 | 0.0036615 | -0.0040598 | 0 | 0 | 0 | 89.1841 | 89.1841 | 89.1841 | 1.6588 | 0.76239 | 0.74863 | 1.6586 | 0.76198 | 0.74904 | -0.28512 | -99.4774 | 79.3649 | -0.26981 | -99.4955 | 79.3838

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0074467 | 0.0074467 | 0.0074467 | 0.004966 | 0.004966 | 0.004966 | 0.085987 | 0.085987 | 0.085987 | 0.057342 | 0.057342 | 0.057342 | 0.00088569 | -8.5228e-14 | 5.3159e-14 | -0.000503 | 0.00021868 | 0.00021868 | -0.12918 | 2.002e-14 | 4.3558e-14 | 0.08619 | 4.5347e-05 | 4.5347e-05 | 89.6023 | 89.6023 | 89.6023 | -90.4849 | -90.4849 | -90.4849 | 1.5023 | 0 | 0 | 1.5031 | 0.0038947 | 0.0038947 | -0.0048744 | 0 | 0 | -0.15049 | -78.7698 | -78.7698
Line_1 | 0 | 0 | 0 | 0.002483 | 0.002483 | 0.002483 | 0 | 0 | 0 | 0.028671 | 0.028671 | 0.028671 | -2.7739e-09 | 1.281e-11 | -1.6305e-11 | 0.0002515 | -0.00010934 | -0.00010934 | -1.7289e-11 | 1.1293e-11 | 5.5168e-12 | -0.043095 | -2.2673e-05 | -2.2673e-05 | 0 | 0 | 0 | 89.5151 | 89.5151 | 89.5151 | 1.5033 | 0.0046738 | 0.0046738 | 1.5031 | 0.0038947 | 0.0038947 | -0.17961 | -78.7785 | -78.7785 | -0.15049 | -78.7698 | -78.7698
Line_2 | 0 | 0 | 0 | 0.002483 | 0.002483 | 0.002483 | 0 | 0 | 0 | 0.028671 | 0.028671 | 0.028671 | -2.7739e-09 | 1.281e-11 | -1.6305e-11 | 0.0002515 | -0.00010934 | -0.00010934 | -1.7281e-11 | 1.1293e-11 | 5.5167e-12 | -0.043095 | -2.2673e-05 | -2.2673e-05 | 0 | 0 | 0 | 89.5151 | 89.5151 | 89.5151 | 1.5033 | 0.0046738 | 0.0046738 | 1.5031 | 0.0038947 | 0.0038947 | -0.17961 | -78.7785 | -78.7785 | -0.15049 | -78.7698 | -78.7698

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0074467 | 0.0074467 | 0.0074467 | 0.004966 | 0.004966 | 0.004966 | 0.085987 | 0.085987 | 0.085987 | 0.057342 | 0.057342 | 0.057342 | 0.00088569 | -8.5228e-14 | 5.3159e-14 | -0.000503 | 0.00021868 | 0.00021868 | -0.12918 | 2.002e-14 | 4.3558e-14 | 0.08619 | 4.5347e-05 | 4.5347e-05 | 89.6023 | 89.6023 | 89.6023 | -90.4849 | -90.4849 | -90.4849 | 1.5023 | 0 | 0 | 1.5031 | 0.0038947 | 0.0038947 | -0.0048744 | 0 | 0 | -0.15049 | -78.7698 | -78.7698
Line_1 | 0 | 0 | 0 | 0.002483 | 0.002483 | 0.002483 | 0 | 0 | 0 | 0.028671 | 0.028671 | 0.028671 | -2.7739e-09 | 1.281e-11 | -1.6305e-11 | 0.0002515 | -0.00010934 | -0.00010934 | -1.7289e-11 | 1.1293e-11 | 5.5168e-12 | -0.043095 | -2.2673e-05 | -2.2673e-05 | 0 | 0 | 0 | 89.5151 | 89.5151 | 89.5151 | 1.5033 | 0.0046738 | 0.0046738 | 1.5031 | 0.0038947 | 0.0038947 | -0.17961 | -78.7785 | -78.7785 | -0.15049 | -78.7698 | -78.7698
Line_2 | 0 | 0 | 0 | 0.002483 | 0.002483 | 0.002483 | 0 | 0 | 0 | 0.028671 | 0.028671 | 0.028671 | -2.7739e-09 | 1.281e-11 | -1.6305e-11 | 0.0002515 | -0.00010934 | -0.00010934 | -1.7281e-11 | 1.1293e-11 | 5.5167e-12 | -0.043095 | -2.2673e-05 | -2.2673e-05 | 0 | 0 | 0 | 89.5151 | 89.5151 | 89.5151 | 1.5033 | 0.0046738 | 0.0046738 | 1.5031 | 0.0038947 | 0.0038947 | -0.17961 | -78.7785 | -78.7785 | -0.15049 | -78.7698 | -78.7698

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0075185 | 0.0075185 | 0.0075185 | 0.0050139 | 0.0050139 | 0.0050139 | 0.086817 | 0.086817 | 0.086817 | 0.057896 | 0.057896 | 0.057896 | 0.0017508 | -0.058634 | 0.057786 | -0.0010774 | 0.039334 | -0.038323 | -0.13084 | 0.0092579 | -0.010106 | 0.087295 | -0.0060682 | 0.0067269 | 89.0388 | 89.0388 | 89.0388 | -91.0483 | -91.0483 | -91.0483 | 1.5072 | 0.68374 | 0.67571 | 1.5079 | 0.68742 | 0.67205 | -0.19452 | -99.9338 | 79.119 | -0.34126 | -99.8185 | 78.9959
Line_1 | 0 | 0 | 0 | 0.002507 | 0.002507 | 0.002507 | 0 | 0 | 0 | 0.028948 | 0.028948 | 0.028948 | -2.8095e-09 | 6.3158e-10 | 2.0445e-10 | 0.00053868 | -0.019667 | 0.019162 | -3.5777e-11 | 8.7146e-10 | -1.6158e-09 | -0.043648 | 0.0030341 | -0.0033635 | 0 | 0 | 0 | 88.9517 | 88.9517 | 88.9517 | 1.5081 | 0.68816 | 0.67132 | 1.5079 | 0.68742 | 0.67205 | -0.3706 | -99.7956 | 78.9711 | -0.34126 | -99.8185 | 78.9959
Line_2 | 0 | 0 | 0 | 0.002507 | 0.002507 | 0.002507 | 0 | 0 | 0 | 0.028948 | 0.028948 | 0.028948 | -2.8095e-09 | 6.3159e-10 | 2.0444e-10 | 0.00053868 | -0.019667 | 0.019162 | -3.5766e-11 | 8.7145e-10 | -1.6158e-09 | -0.043648 | 0.0030341 | -0.0033635 | 0 | 0 | 0 | 88.9517 | 88.9517 | 88.9517 | 1.5081 | 0.68816 | 0.67132 | 1.5079 | 0.68742 | 0.67205 | -0.3706 | -99.7956 | 78.9711 | -0.34126 | -99.8185 | 78.9959

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0075185 | 0.0075185 | 0.0075185 | 0.0050139 | 0.0050139 | 0.0050139 | 0.086817 | 0.086817 | 0.086817 | 0.057896 | 0.057896 | 0.057896 | 0.0017508 | -0.058634 | 0.057786 | -0.0010774 | 0.039334 | -0.038323 | -0.13084 | 0.0092579 | -0.010106 | 0.087295 | -0.0060682 | 0.0067269 | 89.0388 | 89.0388 | 89.0388 | -91.0483 | -91.0483 | -91.0483 | 1.5072 | 0.68374 | 0.67571 | 1.5079 | 0.68742 | 0.67205 | -0.19452 | -99.9338 | 79.119 | -0.34126 | -99.8185 | 78.9959
Line_1 | 0 | 0 | 0 | 0.002507 | 0.002507 | 0.002507 | 0 | 0 | 0 | 0.028948 | 0.028948 | 0.028948 | -2.8095e-09 | 6.3158e-10 | 2.0445e-10 | 0.00053868 | -0.019667 | 0.019162 | -3.5777e-11 | 8.7146e-10 | -1.6158e-09 | -0.043648 | 0.0030341 | -0.0033635 | 0 | 0 | 0 | 88.9517 | 88.9517 | 88.9517 | 1.5081 | 0.68816 | 0.67132 | 1.5079 | 0.68742 | 0.67205 | -0.3706 | -99.7956 | 78.9711 | -0.34126 | -99.8185 | 78.9959
Line_2 | 0 | 0 | 0 | 0.002507 | 0.002507 | 0.002507 | 0 | 0 | 0 | 0.028948 | 0.028948 | 0.028948 | -2.8095e-09 | 6.3159e-10 | 2.0444e-10 | 0.00053868 | -0.019667 | 0.019162 | -3.5766e-11 | 8.7145e-10 | -1.6158e-09 | -0.043648 | 0.0030341 | -0.0033635 | 0 | 0 | 0 | 88.9517 | 88.9517 | 88.9517 | 1.5081 | 0.68816 | 0.67132 | 1.5079 | 0.68742 | 0.67205 | -0.3706 | -99.7956 | 78.9711 | -0.34126 | -99.8185 | 78.9959