## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2981e-19 | 0 | -4.929e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2981e-19 | 0 | -4.929e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6704e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6704e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1464e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1464e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.7738e-14 | 3.1264e-14 | -5.7317e-14 | 5.7317e-14 | -2.6053e-14 | 5.7318e-14 | 2.0843e-14 | 5.7634e-09 | -5.7634e-09 | -2.0843e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -3.7293e-12 | 180 | -180 | -3.7014e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -3.1264e-14 | 3.6475e-14 | -5.2106e-15 | 3.6474e-14 | -4.6896e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -3.7065e-12 | -180 | 180 | -3.7014e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | -1.0421e-14 | 3.6475e-14 | -2.6053e-14 | 2.6053e-14 | -4.6896e-14 | -1.0421e-14 | -1.9211e-09 | 1.9211e-09 | 1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -3.7045e-12 | -180 | 180 | -3.7014e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0843e-14 | -1.3027e-14 | -1.0421e-14 | 5.2106e-15 | 1.8237e-14 | -5.2106e-15 | 5.2106e-15 | -2.6053e-15 | 5.2106e-15 | -5.2106e-15 | -2.6053e-15 | 5.147e-25 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -3.7065e-12 | -180 | 180 | -3.7045e-12 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.7738e-14 | 3.1264e-14 | -5.7317e-14 | 5.7317e-14 | -2.6053e-14 | 5.7318e-14 | 2.0843e-14 | 5.7634e-09 | -5.7634e-09 | -2.0843e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -3.7293e-12 | 180 | -180 | -3.7014e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -3.1264e-14 | 3.6475e-14 | -5.2106e-15 | 3.6474e-14 | -4.6896e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -3.7065e-12 | -180 | 180 | -3.7014e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | -1.0421e-14 | 3.6475e-14 | -2.6053e-14 | 2.6053e-14 | -4.6896e-14 | -1.0421e-14 | -1.9211e-09 | 1.9211e-09 | 1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -3.7045e-12 | -180 | 180 | -3.7014e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0843e-14 | -1.3027e-14 | -1.0421e-14 | 5.2106e-15 | 1.8237e-14 | -5.2106e-15 | 5.2106e-15 | -2.6053e-15 | 5.2106e-15 | -5.2106e-15 | -2.6053e-15 | 5.147e-25 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -3.7065e-12 | -180 | 180 | -3.7045e-12 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.954e-14 | -9.5547e-10 | -3.075e-09 | 1.8237e-14 | 9.5546e-10 | 3.075e-09 | -5.2106e-15 | 4.0277e-09 | -3.5662e-10 | -6.5114e-28 | -4.0277e-09 | 3.5662e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | -2.0533e-12 | -140.8543 | 122.4159 | -2.0457e-12 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 3.1849e-10 | 1.025e-09 | 6.5133e-15 | -3.1848e-10 | -1.025e-09 | -2.6053e-15 | -1.3426e-09 | 1.1888e-10 | -2.3255e-28 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | -2.0484e-12 | -140.8543 | 122.4159 | -2.0457e-12 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | 3.1851e-10 | 1.025e-09 | -1.8604e-28 | -3.185e-10 | -1.025e-09 | 9.3159e-29 | -1.3426e-09 | 1.1888e-10 | -5.2106e-15 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | -2.0487e-12 | -140.8543 | 122.4159 | -2.0457e-12 | -140.8543 | 122.4159
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.5133e-15 | -1.9013e-14 | 1.296e-14 | 2.6053e-15 | 1.7615e-14 | -5.3267e-15 | -5.2106e-15 | -1.1989e-15 | 4.3062e-15 | 2.6053e-15 | 2.9164e-15 | 8.3885e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | -2.0484e-12 | -140.8543 | 122.4159 | -2.0487e-12 | -140.8543 | 122.4159

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.954e-14 | -9.5547e-10 | -3.075e-09 | 1.8237e-14 | 9.5546e-10 | 3.075e-09 | -5.2106e-15 | 4.0277e-09 | -3.5662e-10 | -6.5114e-28 | -4.0277e-09 | 3.5662e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | -2.0533e-12 | -140.8543 | 122.4159 | -2.0457e-12 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 3.1849e-10 | 1.025e-09 | 6.5133e-15 | -3.1848e-10 | -1.025e-09 | -2.6053e-15 | -1.3426e-09 | 1.1888e-10 | -2.3255e-28 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | -2.0484e-12 | -140.8543 | 122.4159 | -2.0457e-12 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | 3.1851e-10 | 1.025e-09 | -1.8604e-28 | -3.185e-10 | -1.025e-09 | 9.3159e-29 | -1.3426e-09 | 1.1888e-10 | -5.2106e-15 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | -2.0487e-12 | -140.8543 | 122.4159 | -2.0457e-12 | -140.8543 | 122.4159
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.5133e-15 | -1.9013e-14 | 1.296e-14 | 2.6053e-15 | 1.7615e-14 | -5.3267e-15 | -5.2106e-15 | -1.1989e-15 | 4.3062e-15 | 2.6053e-15 | 2.9164e-15 | 8.3885e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | -2.0484e-12 | -140.8543 | 122.4159 | -2.0487e-12 | -140.8543 | 122.4159

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6579e-14 | -1.1842e-14 | -4.737e-15 | -1.1842e-14 | 1.1843e-14 | 4.7376e-15 | 9.4739e-15 | 4.7631e-09 | -4.7631e-09 | -1.4211e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -2.3292e-12 | -180 | 180 | -2.3153e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | -2.3682e-15 | 4.7373e-15 | 9.4739e-15 | 2.3682e-15 | -2.29e-19 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -2.3451e-12 | -180 | 180 | -2.3153e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | -7.1051e-15 | 3.045e-19 | 1.1842e-14 | 7.1052e-15 | -2.29e-19 | -9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -2.3428e-12 | -180 | 180 | -2.3153e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 3.5527e-15 | -2.3685e-15 | -2.3685e-15 | -3.5527e-15 | 7.1054e-15 | 4.737e-15 | 7.1054e-15 | 4.737e-15 | 9.6845e-29 | -4.737e-15 | -4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -2.3451e-12 | -180 | 180 | -2.3428e-12 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6579e-14 | -1.1842e-14 | -4.737e-15 | -1.1842e-14 | 1.1843e-14 | 4.7376e-15 | 9.4739e-15 | 4.7631e-09 | -4.7631e-09 | -1.4211e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -2.3292e-12 | -180 | 180 | -2.3153e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | -2.3682e-15 | 4.7373e-15 | 9.4739e-15 | 2.3682e-15 | -2.29e-19 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -2.3451e-12 | -180 | 180 | -2.3153e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | -7.1051e-15 | 3.045e-19 | 1.1842e-14 | 7.1052e-15 | -2.29e-19 | -9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -2.3428e-12 | -180 | 180 | -2.3153e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 3.5527e-15 | -2.3685e-15 | -2.3685e-15 | -3.5527e-15 | 7.1054e-15 | 4.737e-15 | 7.1054e-15 | 4.737e-15 | 9.6845e-29 | -4.737e-15 | -4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -2.3451e-12 | -180 | 180 | -2.3428e-12 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7764e-15 | -8.0027e-10 | -2.5674e-09 | -2.9606e-16 | 8.0026e-10 | 2.5674e-09 | 1.1842e-14 | 3.4014e-09 | -3.4064e-10 | -9.4739e-15 | -3.4014e-09 | 3.4064e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | -7.4562e-13 | -141.4824 | 122.8363 | -7.3981e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 2.6675e-10 | 8.558e-10 | 3.5527e-15 | -2.6676e-10 | -8.558e-10 | -4.737e-15 | -1.1338e-09 | 1.1355e-10 | 4.737e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | -7.562e-13 | -141.4824 | 122.8363 | -7.3981e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.2172e-15 | 2.6676e-10 | 8.558e-10 | 6.2172e-15 | -2.6675e-10 | -8.558e-10 | 8.1689e-29 | -1.1338e-09 | 1.1355e-10 | -8.0278e-29 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | -7.5281e-13 | -141.4824 | 122.8363 | -7.3981e-13 | -141.4824 | 122.8363
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4409e-15 | -3.9118e-16 | 5.103e-15 | -3.2567e-15 | -3.417e-15 | -2.6122e-15 | -4.737e-15 | -3.1136e-16 | -2.4402e-15 | 4.737e-15 | 7.5044e-15 | 4.0476e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | -7.562e-13 | -141.4824 | 122.8363 | -7.5281e-13 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7764e-15 | -8.0027e-10 | -2.5674e-09 | -2.9606e-16 | 8.0026e-10 | 2.5674e-09 | 1.1842e-14 | 3.4014e-09 | -3.4064e-10 | -9.4739e-15 | -3.4014e-09 | 3.4064e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | -7.4562e-13 | -141.4824 | 122.8363 | -7.3981e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 2.6675e-10 | 8.558e-10 | 3.5527e-15 | -2.6676e-10 | -8.558e-10 | -4.737e-15 | -1.1338e-09 | 1.1355e-10 | 4.737e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | -7.562e-13 | -141.4824 | 122.8363 | -7.3981e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.2172e-15 | 2.6676e-10 | 8.558e-10 | 6.2172e-15 | -2.6675e-10 | -8.558e-10 | 8.1689e-29 | -1.1338e-09 | 1.1355e-10 | -8.0278e-29 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | -7.5281e-13 | -141.4824 | 122.8363 | -7.3981e-13 | -141.4824 | 122.8363
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4409e-15 | -3.9118e-16 | 5.103e-15 | -3.2567e-15 | -3.417e-15 | -2.6122e-15 | -4.737e-15 | -3.1136e-16 | -2.4402e-15 | 4.737e-15 | 7.5044e-15 | 4.0476e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | -7.562e-13 | -141.4824 | 122.8363 | -7.5281e-13 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.022002 | 0.022002 | 0.022002 | 0.016508 | 0.016508 | 0.016508 | 0.25406 | 0.25406 | 0.25406 | 0.19062 | 0.19062 | 0.19062 | 1.6107e-14 | 0.24441 | -0.23963 | 0.0011746 | -0.18251 | 0.18066 | -7.8036e-14 | -0.42108 | -0.42402 | 0.00046752 | 0.31622 | 0.31877 | -90.3482 | -90.3482 | -90.3482 | 89.5969 | 89.5969 | 89.5969 | 0 | 1.9163 | 1.917 | 0.0066324 | 1.9154 | 1.9222 | 0 | -150.2152 | 150.1791 | 111.2999 | -150.4115 | 150.055
Line_1 | 0.0027519 | 0.0027519 | 0.0027519 | 0.0082541 | 0.0082541 | 0.0082541 | 0.031777 | 0.031777 | 0.031777 | 0.09531 | 0.09531 | 0.09531 | 0.00025174 | -0.030396 | 0.030144 | -0.00058732 | 0.091254 | -0.090331 | 0.0001003 | 0.052721 | 0.053178 | -0.00023376 | -0.15811 | -0.15939 | 89.5666 | 89.5666 | 89.5666 | -90.4031 | -90.4031 | -90.4031 | 0.0085278 | 1.9151 | 1.9237 | 0.0066324 | 1.9154 | 1.9222 | 111.2913 | -150.4676 | 150.0197 | 111.2999 | -150.4115 | 150.055
Line_2 | 0.0027519 | 0.0027519 | 0.0027519 | 0.0082541 | 0.0082541 | 0.0082541 | 0.031777 | 0.031777 | 0.031777 | 0.09531 | 0.09531 | 0.09531 | 0.00025174 | -0.030396 | 0.030144 | -0.00058732 | 0.091254 | -0.090331 | 0.0001003 | 0.052721 | 0.053178 | -0.00023376 | -0.15811 | -0.15939 | 89.5666 | 89.5666 | 89.5666 | -90.4031 | -90.4031 | -90.4031 | 0.0085278 | 1.9151 | 1.9237 | 0.0066324 | 1.9154 | 1.9222 | 111.2913 | -150.4676 | 150.0197 | 111.2999 | -150.4115 | 150.055
Line_3 | 0.0027519 | 0.0027519 | 0.0027519 | 0.0027519 | 0.0027519 | 0.0027519 | 0.031777 | 0.031777 | 0.031777 | 0.031777 | 0.031777 | 0.031777 | -0.00025174 | 0.030396 | -0.030145 | -0.00025174 | 0.030396 | -0.030145 | -0.0001003 | -0.052721 | -0.053178 | -0.0001003 | -0.052721 | -0.053178 | -90.4333 | -90.4333 | -90.4333 | -90.4333 | -90.4333 | -90.4333 | 0.0085278 | 1.9151 | 1.9237 | 0.0085278 | 1.9151 | 1.9237 | 111.2913 | -150.4676 | 150.0197 | 111.2913 | -150.4676 | 150.0197

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.022002 | 0.022002 | 0.022002 | 0.016508 | 0.016508 | 0.016508 | 0.25406 | 0.25406 | 0.25406 | 0.19062 | 0.19062 | 0.19062 | 1.6107e-14 | 0.24441 | -0.23963 | 0.0011746 | -0.18251 | 0.18066 | -7.8036e-14 | -0.42108 | -0.42402 | 0.00046752 | 0.31622 | 0.31877 | -90.3482 | -90.3482 | -90.3482 | 89.5969 | 89.5969 | 89.5969 | 0 | 1.9163 | 1.917 | 0.0066324 | 1.9154 | 1.9222 | 0 | -150.2152 | 150.1791 | 111.2999 | -150.4115 | 150.055
Line_1 | 0.0027519 | 0.0027519 | 0.0027519 | 0.0082541 | 0.0082541 | 0.0082541 | 0.031777 | 0.031777 | 0.031777 | 0.09531 | 0.09531 | 0.09531 | 0.00025174 | -0.030396 | 0.030144 | -0.00058732 | 0.091254 | -0.090331 | 0.0001003 | 0.052721 | 0.053178 | -0.00023376 | -0.15811 | -0.15939 | 89.5666 | 89.5666 | 89.5666 | -90.4031 | -90.4031 | -90.4031 | 0.0085278 | 1.9151 | 1.9237 | 0.0066324 | 1.9154 | 1.9222 | 111.2913 | -150.4676 | 150.0197 | 111.2999 | -150.4115 | 150.055
Line_2 | 0.0027519 | 0.0027519 | 0.0027519 | 0.0082541 | 0.0082541 | 0.0082541 | 0.031777 | 0.031777 | 0.031777 | 0.09531 | 0.09531 | 0.09531 | 0.00025174 | -0.030396 | 0.030144 | -0.00058732 | 0.091254 | -0.090331 | 0.0001003 | 0.052721 | 0.053178 | -0.00023376 | -0.15811 | -0.15939 | 89.5666 | 89.5666 | 89.5666 | -90.4031 | -90.4031 | -90.4031 | 0.0085278 | 1.9151 | 1.9237 | 0.0066324 | 1.9154 | 1.9222 | 111.2913 | -150.4676 | 150.0197 | 111.2999 | -150.4115 | 150.055
Line_3 | 0.0027519 | 0.0027519 | 0.0027519 | 0.0027519 | 0.0027519 | 0.0027519 | 0.031777 | 0.031777 | 0.031777 | 0.031777 | 0.031777 | 0.031777 | -0.00025174 | 0.030396 | -0.030145 | -0.00025174 | 0.030396 | -0.030145 | -0.0001003 | -0.052721 | -0.053178 | -0.0001003 | -0.052721 | -0.053178 | -90.4333 | -90.4333 | -90.4333 | -90.4333 | -90.4333 | -90.4333 | 0.0085278 | 1.9151 | 1.9237 | 0.0085278 | 1.9151 | 1.9237 | 111.2913 | -150.4676 | 150.0197 | 111.2913 | -150.4676 | 150.0197

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.022578 | 0.022578 | 0.022578 | 0.01694 | 0.01694 | 0.01694 | 0.2607 | 0.2607 | 0.2607 | 0.1956 | 0.1956 | 0.1956 | -0.0076462 | 0.25456 | -0.24188 | 0.0069682 | -0.19007 | 0.18239 | -0.0076462 | -0.43293 | -0.44928 | 0.0062346 | 0.32513 | 0.33775 | -91.8854 | -91.8854 | -91.8854 | 88.0598 | 88.0598 | 88.0598 | 0.041478 | 1.9264 | 1.9572 | 0.047802 | 1.9254 | 1.9624 | 133.1146 | -151.4303 | 149.8178 | 129.8795 | -151.6304 | 149.6899
Line_1 | 0.0028239 | 0.0028239 | 0.0028239 | 0.0084698 | 0.0084698 | 0.0084698 | 0.032607 | 0.032607 | 0.032607 | 0.097801 | 0.097801 | 0.097801 | 0.00122 | -0.031654 | 0.030434 | -0.0034841 | 0.095034 | -0.091196 | 0.0010634 | 0.054207 | 0.056343 | -0.0031173 | -0.16257 | -0.16888 | 88.0295 | 88.0295 | 88.0295 | -91.9402 | -91.9402 | -91.9402 | 0.049633 | 1.9251 | 1.9639 | 0.047802 | 1.9254 | 1.9624 | 129.1058 | -151.6877 | 149.6535 | 129.8795 | -151.6304 | 149.6899
Line_2 | 0.0028239 | 0.0028239 | 0.0028239 | 0.0084698 | 0.0084698 | 0.0084698 | 0.032607 | 0.032607 | 0.032607 | 0.097801 | 0.097801 | 0.097801 | 0.00122 | -0.031654 | 0.030434 | -0.0034841 | 0.095034 | -0.091196 | 0.0010634 | 0.054207 | 0.056343 | -0.0031173 | -0.16257 | -0.16888 | 88.0295 | 88.0295 | 88.0295 | -91.9402 | -91.9402 | -91.9402 | 0.049633 | 1.9251 | 1.9639 | 0.047802 | 1.9254 | 1.9624 | 129.1058 | -151.6877 | 149.6535 | 129.8795 | -151.6304 | 149.6899
Line_3 | 0.0028239 | 0.0028239 | 0.0028239 | 0.0028239 | 0.0028239 | 0.0028239 | 0.032607 | 0.032607 | 0.032607 | 0.032607 | 0.032607 | 0.032607 | -0.00122 | 0.031654 | -0.030434 | -0.00122 | 0.031654 | -0.030434 | -0.0010634 | -0.054207 | -0.056343 | -0.0010634 | -0.054207 | -0.056343 | -91.9705 | -91.9705 | -91.9705 | -91.9705 | -91.9705 | -91.9705 | 0.049633 | 1.9251 | 1.9639 | 0.049633 | 1.9251 | 1.9639 | 129.1058 | -151.6877 | 149.6535 | 129.1058 | -151.6877 | 149.6535

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.022578 | 0.022578 | 0.022578 | 0.01694 | 0.01694 | 0.01694 | 0.2607 | 0.2607 | 0.2607 | 0.1956 | 0.1956 | 0.1956 | -0.0076462 | 0.25456 | -0.24188 | 0.0069682 | -0.19007 | 0.18239 | -0.0076462 | -0.43293 | -0.44928 | 0.0062346 | 0.32513 | 0.33775 | -91.8854 | -91.8854 | -91.8854 | 88.0598 | 88.0598 | 88.0598 | 0.041478 | 1.9264 | 1.9572 | 0.047802 | 1.9254 | 1.9624 | 133.1146 | -151.4303 | 149.8178 | 129.8795 | -151.6304 | 149.6899
Line_1 | 0.0028239 | 0.0028239 | 0.0028239 | 0.0084698 | 0.0084698 | 0.0084698 | 0.032607 | 0.032607 | 0.032607 | 0.097801 | 0.097801 | 0.097801 | 0.00122 | -0.031654 | 0.030434 | -0.0034841 | 0.095034 | -0.091196 | 0.0010634 | 0.054207 | 0.056343 | -0.0031173 | -0.16257 | -0.16888 | 88.0295 | 88.0295 | 88.0295 | -91.9402 | -91.9402 | -91.9402 | 0.049633 | 1.9251 | 1.9639 | 0.047802 | 1.9254 | 1.9624 | 129.1058 | -151.6877 | 149.6535 | 129.8795 | -151.6304 | 149.6899
Line_2 | 0.0028239 | 0.0028239 | 0.0028239 | 0.0084698 | 0.0084698 | 0.0084698 | 0.032607 | 0.032607 | 0.032607 | 0.097801 | 0.097801 | 0.097801 | 0.00122 | -0.031654 | 0.030434 | -0.0034841 | 0.095034 | -0.091196 | 0.0010634 | 0.054207 | 0.056343 | -0.0031173 | -0.16257 | -0.16888 | 88.0295 | 88.0295 | 88.0295 | -91.9402 | -91.9402 | -91.9402 | 0.049633 | 1.9251 | 1.9639 | 0.047802 | 1.9254 | 1.9624 | 129.1058 | -151.6877 | 149.6535 | 129.8795 | -151.6304 | 149.6899
Line_3 | 0.0028239 | 0.0028239 | 0.0028239 | 0.0028239 | 0.0028239 | 0.0028239 | 0.032607 | 0.032607 | 0.032607 | 0.032607 | 0.032607 | 0.032607 | -0.00122 | 0.031654 | -0.030434 | -0.00122 | 0.031654 | -0.030434 | -0.0010634 | -0.054207 | -0.056343 | -0.0010634 | -0.054207 | -0.056343 | -91.9705 | -91.9705 | -91.9705 | -91.9705 | -91.9705 | -91.9705 | 0.049633 | 1.9251 | 1.9639 | 0.049633 | 1.9251 | 1.9639 | 129.1058 | -151.6877 | 149.6535 | 129.1058 | -151.6877 | 149.6535

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.020009 | 0.020009 | 0.020009 | 0.015012 | 0.015012 | 0.015012 | 0.23104 | 0.23104 | 0.23104 | 0.17334 | 0.17334 | 0.17334 | -1.405e-15 | 0.20387 | -0.19628 | 0.0018651 | -0.15157 | 0.14864 | -6.0247e-14 | -0.34717 | -0.35171 | 0.00038701 | 0.26058 | 0.26454 | -90.6507 | -90.6507 | -90.6507 | 89.244 | 89.244 | 89.244 | 0 | 1.7426 | 1.7433 | 0.010988 | 1.7391 | 1.7505 | 0 | -150.2275 | 150.1852 | 100.967 | -150.5702 | 149.9128
Line_1 | 0.0025025 | 0.0025025 | 0.0025025 | 0.007506 | 0.007506 | 0.007506 | 0.028897 | 0.028897 | 0.028897 | 0.086672 | 0.086672 | 0.086672 | 0.0003997 | -0.025223 | 0.024823 | -0.00093253 | 0.075787 | -0.074321 | 8.3243e-05 | 0.043432 | 0.044143 | -0.00019351 | -0.13029 | -0.13227 | 89.1859 | 89.1859 | 89.1859 | -90.756 | -90.756 | -90.756 | 0.014129 | 1.7381 | 1.7526 | 0.010988 | 1.7391 | 1.7505 | 100.9504 | -150.6684 | 149.8353 | 100.967 | -150.5702 | 149.9128
Line_2 | 0.0025025 | 0.0025025 | 0.0025025 | 0.007506 | 0.007506 | 0.007506 | 0.028897 | 0.028897 | 0.028897 | 0.086672 | 0.086672 | 0.086672 | 0.0003997 | -0.025223 | 0.024823 | -0.00093253 | 0.075787 | -0.074321 | 8.3243e-05 | 0.043432 | 0.044143 | -0.00019351 | -0.13029 | -0.13227 | 89.1859 | 89.1859 | 89.1859 | -90.756 | -90.756 | -90.756 | 0.014129 | 1.7381 | 1.7526 | 0.010988 | 1.7391 | 1.7505 | 100.9504 | -150.6684 | 149.8353 | 100.967 | -150.5702 | 149.9128
Line_3 | 0.0025025 | 0.0025025 | 0.0025025 | 0.0025025 | 0.0025025 | 0.0025025 | 0.028897 | 0.028897 | 0.028897 | 0.028897 | 0.028897 | 0.028897 | -0.0003997 | 0.025223 | -0.024823 | -0.0003997 | 0.025223 | -0.024823 | -8.3243e-05 | -0.043432 | -0.044143 | -8.3243e-05 | -0.043432 | -0.044143 | -90.8141 | -90.8141 | -90.8141 | -90.8141 | -90.8141 | -90.8141 | 0.014129 | 1.7381 | 1.7526 | 0.014129 | 1.7381 | 1.7526 | 100.9504 | -150.6684 | 149.8353 | 100.9504 | -150.6684 | 149.8353

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.020009 | 0.020009 | 0.020009 | 0.015012 | 0.015012 | 0.015012 | 0.23104 | 0.23104 | 0.23104 | 0.17334 | 0.17334 | 0.17334 | -1.405e-15 | 0.20387 | -0.19628 | 0.0018651 | -0.15157 | 0.14864 | -6.0247e-14 | -0.34717 | -0.35171 | 0.00038701 | 0.26058 | 0.26454 | -90.6507 | -90.6507 | -90.6507 | 89.244 | 89.244 | 89.244 | 0 | 1.7426 | 1.7433 | 0.010988 | 1.7391 | 1.7505 | 0 | -150.2275 | 150.1852 | 100.967 | -150.5702 | 149.9128
Line_1 | 0.0025025 | 0.0025025 | 0.0025025 | 0.007506 | 0.007506 | 0.007506 | 0.028897 | 0.028897 | 0.028897 | 0.086672 | 0.086672 | 0.086672 | 0.0003997 | -0.025223 | 0.024823 | -0.00093253 | 0.075787 | -0.074321 | 8.3243e-05 | 0.043432 | 0.044143 | -0.00019351 | -0.13029 | -0.13227 | 89.1859 | 89.1859 | 89.1859 | -90.756 | -90.756 | -90.756 | 0.014129 | 1.7381 | 1.7526 | 0.010988 | 1.7391 | 1.7505 | 100.9504 | -150.6684 | 149.8353 | 100.967 | -150.5702 | 149.9128
Line_2 | 0.0025025 | 0.0025025 | 0.0025025 | 0.007506 | 0.007506 | 0.007506 | 0.028897 | 0.028897 | 0.028897 | 0.086672 | 0.086672 | 0.086672 | 0.0003997 | -0.025223 | 0.024823 | -0.00093253 | 0.075787 | -0.074321 | 8.3243e-05 | 0.043432 | 0.044143 | -0.00019351 | -0.13029 | -0.13227 | 89.1859 | 89.1859 | 89.1859 | -90.756 | -90.756 | -90.756 | 0.014129 | 1.7381 | 1.7526 | 0.010988 | 1.7391 | 1.7505 | 100.9504 | -150.6684 | 149.8353 | 100.967 | -150.5702 | 149.9128
Line_3 | 0.0025025 | 0.0025025 | 0.0025025 | 0.0025025 | 0.0025025 | 0.0025025 | 0.028897 | 0.028897 | 0.028897 | 0.028897 | 0.028897 | 0.028897 | -0.0003997 | 0.025223 | -0.024823 | -0.0003997 | 0.025223 | -0.024823 | -8.3243e-05 | -0.043432 | -0.044143 | -8.3243e-05 | -0.043432 | -0.044143 | -90.8141 | -90.8141 | -90.8141 | -90.8141 | -90.8141 | -90.8141 | 0.014129 | 1.7381 | 1.7526 | 0.014129 | 1.7381 | 1.7526 | 100.9504 | -150.6684 | 149.8353 | 100.9504 | -150.6684 | 149.8353

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.020529 | 0.020529 | 0.020529 | 0.015402 | 0.015402 | 0.015402 | 0.23705 | 0.23705 | 0.23705 | 0.17785 | 0.17785 | 0.17785 | -0.0063214 | 0.21229 | -0.19798 | 0.0066974 | -0.15781 | 0.14999 | -0.0063214 | -0.35682 | -0.37255 | 0.005159 | 0.26783 | 0.2802 | -92.1961 | -92.1961 | -92.1961 | 87.6986 | 87.6986 | 87.6986 | 0.037714 | 1.7515 | 1.7798 | 0.047534 | 1.7479 | 1.787 | 132.8039 | -151.4448 | 149.8171 | 125.3053 | -151.794 | 149.5386
Line_1 | 0.0025676 | 0.0025676 | 0.0025676 | 0.0077012 | 0.0077012 | 0.0077012 | 0.029648 | 0.029648 | 0.029648 | 0.088926 | 0.088926 | 0.088926 | 0.0012091 | -0.026259 | 0.02505 | -0.0033487 | 0.078905 | -0.074995 | 0.00088052 | 0.04464 | 0.046754 | -0.0025795 | -0.13391 | -0.1401 | 87.6405 | 87.6405 | 87.6405 | -92.3014 | -92.3014 | -92.3014 | 0.050451 | 1.7468 | 1.789 | 0.047534 | 1.7479 | 1.787 | 123.7034 | -151.894 | 149.4593 | 125.3053 | -151.794 | 149.5386
Line_2 | 0.0025676 | 0.0025676 | 0.0025676 | 0.0077012 | 0.0077012 | 0.0077012 | 0.029648 | 0.029648 | 0.029648 | 0.088926 | 0.088926 | 0.088926 | 0.0012091 | -0.026259 | 0.02505 | -0.0033487 | 0.078905 | -0.074995 | 0.00088052 | 0.04464 | 0.046754 | -0.0025795 | -0.13391 | -0.1401 | 87.6405 | 87.6405 | 87.6405 | -92.3014 | -92.3014 | -92.3014 | 0.050451 | 1.7468 | 1.789 | 0.047534 | 1.7479 | 1.787 | 123.7034 | -151.894 | 149.4593 | 125.3053 | -151.794 | 149.5386
Line_3 | 0.0025676 | 0.0025676 | 0.0025676 | 0.0025676 | 0.0025676 | 0.0025676 | 0.029648 | 0.029648 | 0.029648 | 0.029648 | 0.029648 | 0.029648 | -0.0012091 | 0.026259 | -0.02505 | -0.0012091 | 0.026259 | -0.02505 | -0.00088052 | -0.04464 | -0.046754 | -0.00088052 | -0.04464 | -0.046754 | -92.3595 | -92.3595 | -92.3595 | -92.3595 | -92.3595 | -92.3595 | 0.050451 | 1.7468 | 1.789 | 0.050451 | 1.7468 | 1.789 | 123.7034 | -151.894 | 149.4593 | 123.7034 | -151.894 | 149.4593

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.020529 | 0.020529 | 0.020529 | 0.015402 | 0.015402 | 0.015402 | 0.23705 | 0.23705 | 0.23705 | 0.17785 | 0.17785 | 0.17785 | -0.0063214 | 0.21229 | -0.19798 | 0.0066974 | -0.15781 | 0.14999 | -0.0063214 | -0.35682 | -0.37255 | 0.005159 | 0.26783 | 0.2802 | -92.1961 | -92.1961 | -92.1961 | 87.6986 | 87.6986 | 87.6986 | 0.037714 | 1.7515 | 1.7798 | 0.047534 | 1.7479 | 1.787 | 132.8039 | -151.4448 | 149.8171 | 125.3053 | -151.794 | 149.5386
Line_1 | 0.0025676 | 0.0025676 | 0.0025676 | 0.0077012 | 0.0077012 | 0.0077012 | 0.029648 | 0.029648 | 0.029648 | 0.088926 | 0.088926 | 0.088926 | 0.0012091 | -0.026259 | 0.02505 | -0.0033487 | 0.078905 | -0.074995 | 0.00088052 | 0.04464 | 0.046754 | -0.0025795 | -0.13391 | -0.1401 | 87.6405 | 87.6405 | 87.6405 | -92.3014 | -92.3014 | -92.3014 | 0.050451 | 1.7468 | 1.789 | 0.047534 | 1.7479 | 1.787 | 123.7034 | -151.894 | 149.4593 | 125.3053 | -151.794 | 149.5386
Line_2 | 0.0025676 | 0.0025676 | 0.0025676 | 0.0077012 | 0.0077012 | 0.0077012 | 0.029648 | 0.029648 | 0.029648 | 0.088926 | 0.088926 | 0.088926 | 0.0012091 | -0.026259 | 0.02505 | -0.0033487 | 0.078905 | -0.074995 | 0.00088052 | 0.04464 | 0.046754 | -0.0025795 | -0.13391 | -0.1401 | 87.6405 | 87.6405 | 87.6405 | -92.3014 | -92.3014 | -92.3014 | 0.050451 | 1.7468 | 1.789 | 0.047534 | 1.7479 | 1.787 | 123.7034 | -151.894 | 149.4593 | 125.3053 | -151.794 | 149.5386
Line_3 | 0.0025676 | 0.0025676 | 0.0025676 | 0.0025676 | 0.0025676 | 0.0025676 | 0.029648 | 0.029648 | 0.029648 | 0.029648 | 0.029648 | 0.029648 | -0.0012091 | 0.026259 | -0.02505 | -0.0012091 | 0.026259 | -0.02505 | -0.00088052 | -0.04464 | -0.046754 | -0.00088052 | -0.04464 | -0.046754 | -92.3595 | -92.3595 | -92.3595 | -92.3595 | -92.3595 | -92.3595 | 0.050451 | 1.7468 | 1.789 | 0.050451 | 1.7468 | 1.789 | 123.7034 | -151.894 | 149.4593 | 123.7034 | -151.894 | 149.4593

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010936 | 0.010936 | 0.010936 | 0.0082049 | 0.0082049 | 0.0082049 | 0.12627 | 0.12627 | 0.12627 | 0.094742 | 0.094742 | 0.094742 | 0.0011815 | -2.5761e-14 | -5.3826e-14 | -0.00074625 | 0.00029017 | 0.00029017 | -0.20876 | -7.6583e-14 | 2.7743e-14 | 0.15675 | 0.00011549 | 0.00011549 | 89.6698 | 89.6698 | 89.6698 | -90.3851 | -90.3851 | -90.3851 | 1.6533 | 0 | 0 | 1.6545 | 0.0032964 | 0.0032964 | -0.0059588 | 0 | 0 | -0.1123 | -68.682 | -68.682
Line_1 | 0.0013678 | 0.0013678 | 0.0013678 | 0.0041024 | 0.0041024 | 0.0041024 | 0.015794 | 0.015794 | 0.015794 | 0.047371 | 0.047371 | 0.047371 | -0.00012438 | 6.2187e-05 | 6.2187e-05 | 0.00037312 | -0.00014508 | -0.00014508 | 0.026135 | 2.4778e-05 | 2.4778e-05 | -0.078373 | -5.7745e-05 | -5.7745e-05 | -90.4153 | -90.4153 | -90.4153 | 89.6149 | 89.6149 | 89.6149 | 1.6548 | 0.0042385 | 0.0042385 | 1.6545 | 0.0032964 | 0.0032964 | -0.14267 | -68.6907 | -68.6907 | -0.1123 | -68.682 | -68.682
Line_2 | 0.0013678 | 0.0013678 | 0.0013678 | 0.0041024 | 0.0041024 | 0.0041024 | 0.015794 | 0.015794 | 0.015794 | 0.047371 | 0.047371 | 0.047371 | -0.00012438 | 6.2187e-05 | 6.2187e-05 | 0.00037312 | -0.00014508 | -0.00014508 | 0.026135 | 2.4778e-05 | 2.4778e-05 | -0.078373 | -5.7745e-05 | -5.7745e-05 | -90.4153 | -90.4153 | -90.4153 | 89.6149 | 89.6149 | 89.6149 | 1.6548 | 0.0042385 | 0.0042385 | 1.6545 | 0.0032964 | 0.0032964 | -0.14267 | -68.6907 | -68.6907 | -0.1123 | -68.682 | -68.682
Line_3 | 0.0013678 | 0.0013678 | 0.0013678 | 0.0013678 | 0.0013678 | 0.0013678 | 0.015794 | 0.015794 | 0.015794 | 0.015794 | 0.015794 | 0.015794 | 0.00012437 | -6.2187e-05 | -6.2187e-05 | 0.00012437 | -6.2187e-05 | -6.2187e-05 | -0.026135 | -2.4778e-05 | -2.4778e-05 | -0.026135 | -2.4778e-05 | -2.4778e-05 | 89.5847 | 89.5847 | 89.5847 | 89.5847 | 89.5847 | 89.5847 | 1.6548 | 0.0042385 | 0.0042385 | 1.6548 | 0.0042385 | 0.0042385 | -0.14267 | -68.6907 | -68.6907 | -0.14267 | -68.6907 | -68.6907

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010936 | 0.010936 | 0.010936 | 0.0082049 | 0.0082049 | 0.0082049 | 0.12627 | 0.12627 | 0.12627 | 0.094742 | 0.094742 | 0.094742 | 0.0011815 | -2.5761e-14 | -5.3826e-14 | -0.00074625 | 0.00029017 | 0.00029017 | -0.20876 | -7.6583e-14 | 2.7743e-14 | 0.15675 | 0.00011549 | 0.00011549 | 89.6698 | 89.6698 | 89.6698 | -90.3851 | -90.3851 | -90.3851 | 1.6533 | 0 | 0 | 1.6545 | 0.0032964 | 0.0032964 | -0.0059588 | 0 | 0 | -0.1123 | -68.682 | -68.682
Line_1 | 0.0013678 | 0.0013678 | 0.0013678 | 0.0041024 | 0.0041024 | 0.0041024 | 0.015794 | 0.015794 | 0.015794 | 0.047371 | 0.047371 | 0.047371 | -0.00012438 | 6.2187e-05 | 6.2187e-05 | 0.00037312 | -0.00014508 | -0.00014508 | 0.026135 | 2.4778e-05 | 2.4778e-05 | -0.078373 | -5.7745e-05 | -5.7745e-05 | -90.4153 | -90.4153 | -90.4153 | 89.6149 | 89.6149 | 89.6149 | 1.6548 | 0.0042385 | 0.0042385 | 1.6545 | 0.0032964 | 0.0032964 | -0.14267 | -68.6907 | -68.6907 | -0.1123 | -68.682 | -68.682
Line_2 | 0.0013678 | 0.0013678 | 0.0013678 | 0.0041024 | 0.0041024 | 0.0041024 | 0.015794 | 0.015794 | 0.015794 | 0.047371 | 0.047371 | 0.047371 | -0.00012438 | 6.2187e-05 | 6.2187e-05 | 0.00037312 | -0.00014508 | -0.00014508 | 0.026135 | 2.4778e-05 | 2.4778e-05 | -0.078373 | -5.7745e-05 | -5.7745e-05 | -90.4153 | -90.4153 | -90.4153 | 89.6149 | 89.6149 | 89.6149 | 1.6548 | 0.0042385 | 0.0042385 | 1.6545 | 0.0032964 | 0.0032964 | -0.14267 | -68.6907 | -68.6907 | -0.1123 | -68.682 | -68.682
Line_3 | 0.0013678 | 0.0013678 | 0.0013678 | 0.0013678 | 0.0013678 | 0.0013678 | 0.015794 | 0.015794 | 0.015794 | 0.015794 | 0.015794 | 0.015794 | 0.00012437 | -6.2187e-05 | -6.2187e-05 | 0.00012437 | -6.2187e-05 | -6.2187e-05 | -0.026135 | -2.4778e-05 | -2.4778e-05 | -0.026135 | -2.4778e-05 | -2.4778e-05 | 89.5847 | 89.5847 | 89.5847 | 89.5847 | 89.5847 | 89.5847 | 1.6548 | 0.0042385 | 0.0042385 | 1.6548 | 0.0042385 | 0.0042385 | -0.14267 | -68.6907 | -68.6907 | -0.14267 | -68.6907 | -68.6907

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.011077 | 0.011077 | 0.011077 | 0.0083109 | 0.0083109 | 0.0083109 | 0.12791 | 0.12791 | 0.12791 | 0.095966 | 0.095966 | 0.095966 | 0.0030527 | -0.096368 | 0.094528 | -0.0021452 | 0.072612 | -0.070637 | -0.21235 | 0.014141 | -0.015981 | 0.15944 | -0.010422 | 0.012041 | 88.9159 | 88.9159 | 88.9159 | -91.1389 | -91.1389 | -91.1389 | 1.6604 | 0.7615 | 0.74953 | 1.6616 | 0.7644 | 0.74668 | -0.26044 | -99.4319 | 79.32 | -0.36806 | -99.3068 | 79.1871
Line_1 | 0.0013854 | 0.0013854 | 0.0013854 | 0.0041554 | 0.0041554 | 0.0041554 | 0.015998 | 0.015998 | 0.015998 | 0.047983 | 0.047983 | 0.047983 | -0.00035746 | 0.01212 | -0.011762 | 0.0010726 | -0.036306 | 0.035318 | 0.026584 | -0.0017253 | 0.0020067 | -0.07972 | 0.005211 | -0.0060206 | -91.1692 | -91.1692 | -91.1692 | 88.8611 | 88.8611 | 88.8611 | 1.6619 | 0.76522 | 0.74586 | 1.6616 | 0.7644 | 0.74668 | -0.39879 | -99.2712 | 79.149 | -0.36806 | -99.3068 | 79.1871
Line_2 | 0.0013854 | 0.0013854 | 0.0013854 | 0.0041554 | 0.0041554 | 0.0041554 | 0.015998 | 0.015998 | 0.015998 | 0.047983 | 0.047983 | 0.047983 | -0.00035746 | 0.01212 | -0.011762 | 0.0010726 | -0.036306 | 0.035318 | 0.026584 | -0.0017253 | 0.0020067 | -0.07972 | 0.005211 | -0.0060206 | -91.1692 | -91.1692 | -91.1692 | 88.8611 | 88.8611 | 88.8611 | 1.6619 | 0.76522 | 0.74586 | 1.6616 | 0.7644 | 0.74668 | -0.39879 | -99.2712 | 79.149 | -0.36806 | -99.3068 | 79.1871
Line_3 | 0.0013854 | 0.0013854 | 0.0013854 | 0.0013854 | 0.0013854 | 0.0013854 | 0.015998 | 0.015998 | 0.015998 | 0.015998 | 0.015998 | 0.015998 | 0.00035746 | -0.01212 | 0.011762 | 0.00035746 | -0.01212 | 0.011762 | -0.026584 | 0.0017253 | -0.0020067 | -0.026584 | 0.0017253 | -0.0020067 | 88.8308 | 88.8308 | 88.8308 | 88.8308 | 88.8308 | 88.8308 | 1.6619 | 0.76522 | 0.74586 | 1.6619 | 0.76522 | 0.74586 | -0.39879 | -99.2712 | 79.149 | -0.39879 | -99.2712 | 79.149

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.011077 | 0.011077 | 0.011077 | 0.0083109 | 0.0083109 | 0.0083109 | 0.12791 | 0.12791 | 0.12791 | 0.095966 | 0.095966 | 0.095966 | 0.0030527 | -0.096368 | 0.094528 | -0.0021452 | 0.072612 | -0.070637 | -0.21235 | 0.014141 | -0.015981 | 0.15944 | -0.010422 | 0.012041 | 88.9159 | 88.9159 | 88.9159 | -91.1389 | -91.1389 | -91.1389 | 1.6604 | 0.7615 | 0.74953 | 1.6616 | 0.7644 | 0.74668 | -0.26044 | -99.4319 | 79.32 | -0.36806 | -99.3068 | 79.1871
Line_1 | 0.0013854 | 0.0013854 | 0.0013854 | 0.0041554 | 0.0041554 | 0.0041554 | 0.015998 | 0.015998 | 0.015998 | 0.047983 | 0.047983 | 0.047983 | -0.00035746 | 0.01212 | -0.011762 | 0.0010726 | -0.036306 | 0.035318 | 0.026584 | -0.0017253 | 0.0020067 | -0.07972 | 0.005211 | -0.0060206 | -91.1692 | -91.1692 | -91.1692 | 88.8611 | 88.8611 | 88.8611 | 1.6619 | 0.76522 | 0.74586 | 1.6616 | 0.7644 | 0.74668 | -0.39879 | -99.2712 | 79.149 | -0.36806 | -99.3068 | 79.1871
Line_2 | 0.0013854 | 0.0013854 | 0.0013854 | 0.0041554 | 0.0041554 | 0.0041554 | 0.015998 | 0.015998 | 0.015998 | 0.047983 | 0.047983 | 0.047983 | -0.00035746 | 0.01212 | -0.011762 | 0.0010726 | -0.036306 | 0.035318 | 0.026584 | -0.0017253 | 0.0020067 | -0.07972 | 0.005211 | -0.0060206 | -91.1692 | -91.1692 | -91.1692 | 88.8611 | 88.8611 | 88.8611 | 1.6619 | 0.76522 | 0.74586 | 1.6616 | 0.7644 | 0.74668 | -0.39879 | -99.2712 | 79.149 | -0.36806 | -99.3068 | 79.1871
Line_3 | 0.0013854 | 0.0013854 | 0.0013854 | 0.0013854 | 0.0013854 | 0.0013854 | 0.015998 | 0.015998 | 0.015998 | 0.015998 | 0.015998 | 0.015998 | 0.00035746 | -0.01212 | 0.011762 | 0.00035746 | -0.01212 | 0.011762 | -0.026584 | 0.0017253 | -0.0020067 | -0.026584 | 0.0017253 | -0.0020067 | 88.8308 | 88.8308 | 88.8308 | 88.8308 | 88.8308 | 88.8308 | 1.6619 | 0.76522 | 0.74586 | 1.6619 | 0.76522 | 0.74586 | -0.39879 | -99.2712 | 79.149 | -0.39879 | -99.2712 | 79.149

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0099419 | 0.0099419 | 0.0099419 | 0.0074592 | 0.0074592 | 0.0074592 | 0.1148 | 0.1148 | 0.1148 | 0.086132 | 0.086132 | 0.086132 | 0.0018749 | -9.8818e-14 | 8.5727e-14 | -0.0011842 | 0.00046047 | 0.00046047 | -0.17255 | 2.5394e-14 | 5.7069e-14 | 0.12955 | 9.555e-05 | 9.555e-05 | 89.3705 | 89.3705 | 89.3705 | -90.7349 | -90.7349 | -90.7349 | 1.5031 | 0 | 0 | 1.5042 | 0.00546 | 0.00546 | -0.0069853 | 0 | 0 | -0.21114 | -79.0119 | -79.0119
Line_1 | 0.0012435 | 0.0012435 | 0.0012435 | 0.0037296 | 0.0037296 | 0.0037296 | 0.014358 | 0.014358 | 0.014358 | 0.043066 | 0.043066 | 0.043066 | -0.00019737 | 9.8683e-05 | 9.8683e-05 | 0.0005921 | -0.00023023 | -0.00023023 | 0.021601 | 2.0552e-05 | 2.0552e-05 | -0.064776 | -4.7775e-05 | -4.7775e-05 | -90.793 | -90.793 | -90.793 | 89.2651 | 89.2651 | 89.2651 | 1.5045 | 0.0070204 | 0.0070204 | 1.5042 | 0.00546 | 0.00546 | -0.26945 | -79.0285 | -79.0285 | -0.21114 | -79.0119 | -79.0119
Line_2 | 0.0012435 | 0.0012435 | 0.0012435 | 0.0037296 | 0.0037296 | 0.0037296 | 0.014358 | 0.014358 | 0.014358 | 0.043066 | 0.043066 | 0.043066 | -0.00019737 | 9.8683e-05 | 9.8683e-05 | 0.0005921 | -0.00023023 | -0.00023023 | 0.021601 | 2.0552e-05 | 2.0552e-05 | -0.064776 | -4.7775e-05 | -4.7775e-05 | -90.793 | -90.793 | -90.793 | 89.2651 | 89.2651 | 89.2651 | 1.5045 | 0.0070204 | 0.0070204 | 1.5042 | 0.00546 | 0.00546 | -0.26945 | -79.0285 | -79.0285 | -0.21114 | -79.0119 | -79.0119
Line_3 | 0.0012435 | 0.0012435 | 0.0012435 | 0.0012435 | 0.0012435 | 0.0012435 | 0.014358 | 0.014358 | 0.014358 | 0.014358 | 0.014358 | 0.014358 | 0.00019737 | -9.8683e-05 | -9.8683e-05 | 0.00019737 | -9.8683e-05 | -9.8683e-05 | -0.021601 | -2.0552e-05 | -2.0552e-05 | -0.021601 | -2.0552e-05 | -2.0552e-05 | 89.207 | 89.207 | 89.207 | 89.207 | 89.207 | 89.207 | 1.5045 | 0.0070204 | 0.0070204 | 1.5045 | 0.0070204 | 0.0070204 | -0.26945 | -79.0285 | -79.0285 | -0.26945 | -79.0285 | -79.0285

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0099419 | 0.0099419 | 0.0099419 | 0.0074592 | 0.0074592 | 0.0074592 | 0.1148 | 0.1148 | 0.1148 | 0.086132 | 0.086132 | 0.086132 | 0.0018749 | -9.8818e-14 | 8.5727e-14 | -0.0011842 | 0.00046047 | 0.00046047 | -0.17255 | 2.5394e-14 | 5.7069e-14 | 0.12955 | 9.555e-05 | 9.555e-05 | 89.3705 | 89.3705 | 89.3705 | -90.7349 | -90.7349 | -90.7349 | 1.5031 | 0 | 0 | 1.5042 | 0.00546 | 0.00546 | -0.0069853 | 0 | 0 | -0.21114 | -79.0119 | -79.0119
Line_1 | 0.0012435 | 0.0012435 | 0.0012435 | 0.0037296 | 0.0037296 | 0.0037296 | 0.014358 | 0.014358 | 0.014358 | 0.043066 | 0.043066 | 0.043066 | -0.00019737 | 9.8683e-05 | 9.8683e-05 | 0.0005921 | -0.00023023 | -0.00023023 | 0.021601 | 2.0552e-05 | 2.0552e-05 | -0.064776 | -4.7775e-05 | -4.7775e-05 | -90.793 | -90.793 | -90.793 | 89.2651 | 89.2651 | 89.2651 | 1.5045 | 0.0070204 | 0.0070204 | 1.5042 | 0.00546 | 0.00546 | -0.26945 | -79.0285 | -79.0285 | -0.21114 | -79.0119 | -79.0119
Line_2 | 0.0012435 | 0.0012435 | 0.0012435 | 0.0037296 | 0.0037296 | 0.0037296 | 0.014358 | 0.014358 | 0.014358 | 0.043066 | 0.043066 | 0.043066 | -0.00019737 | 9.8683e-05 | 9.8683e-05 | 0.0005921 | -0.00023023 | -0.00023023 | 0.021601 | 2.0552e-05 | 2.0552e-05 | -0.064776 | -4.7775e-05 | -4.7775e-05 | -90.793 | -90.793 | -90.793 | 89.2651 | 89.2651 | 89.2651 | 1.5045 | 0.0070204 | 0.0070204 | 1.5042 | 0.00546 | 0.00546 | -0.26945 | -79.0285 | -79.0285 | -0.21114 | -79.0119 | -79.0119
Line_3 | 0.0012435 | 0.0012435 | 0.0012435 | 0.0012435 | 0.0012435 | 0.0012435 | 0.014358 | 0.014358 | 0.014358 | 0.014358 | 0.014358 | 0.014358 | 0.00019737 | -9.8683e-05 | -9.8683e-05 | 0.00019737 | -9.8683e-05 | -9.8683e-05 | -0.021601 | -2.0552e-05 | -2.0552e-05 | -0.021601 | -2.0552e-05 | -2.0552e-05 | 89.207 | 89.207 | 89.207 | 89.207 | 89.207 | 89.207 | 1.5045 | 0.0070204 | 0.0070204 | 1.5045 | 0.0070204 | 0.0070204 | -0.26945 | -79.0285 | -79.0285 | -0.26945 | -79.0285 | -79.0285

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.01007 | 0.01007 | 0.01007 | 0.0075551 | 0.0075551 | 0.0075551 | 0.11627 | 0.11627 | 0.11627 | 0.087238 | 0.087238 | 0.087238 | 0.0034443 | -0.078815 | 0.077294 | -0.0023539 | 0.059622 | -0.057538 | -0.17549 | 0.011626 | -0.013147 | 0.13176 | -0.0085164 | 0.0098557 | 88.6128 | 88.6128 | 88.6128 | -91.4925 | -91.4925 | -91.4925 | 1.5096 | 0.68518 | 0.67431 | 1.5106 | 0.69038 | 0.66916 | -0.26281 | -99.7787 | 78.9594 | -0.46906 | -99.6217 | 78.7876
Line_1 | 0.0012594 | 0.0012594 | 0.0012594 | 0.0037775 | 0.0037775 | 0.0037775 | 0.014543 | 0.014543 | 0.014543 | 0.043619 | 0.043619 | 0.043619 | -0.00039216 | 0.009963 | -0.0095709 | 0.0011769 | -0.029811 | 0.028769 | 0.021969 | -0.001405 | 0.0016379 | -0.065879 | 0.0042582 | -0.0049278 | -91.5506 | -91.5506 | -91.5506 | 88.5075 | 88.5075 | 88.5075 | 1.5109 | 0.69186 | 0.66769 | 1.5106 | 0.69038 | 0.66916 | -0.52797 | -99.5774 | 78.7382 | -0.46906 | -99.6217 | 78.7876
Line_2 | 0.0012594 | 0.0012594 | 0.0012594 | 0.0037775 | 0.0037775 | 0.0037775 | 0.014543 | 0.014543 | 0.014543 | 0.043619 | 0.043619 | 0.043619 | -0.00039216 | 0.009963 | -0.0095709 | 0.0011769 | -0.029811 | 0.028769 | 0.021969 | -0.001405 | 0.0016379 | -0.065879 | 0.0042582 | -0.0049278 | -91.5506 | -91.5506 | -91.5506 | 88.5075 | 88.5075 | 88.5075 | 1.5109 | 0.69186 | 0.66769 | 1.5106 | 0.69038 | 0.66916 | -0.52797 | -99.5774 | 78.7382 | -0.46906 | -99.6217 | 78.7876
Line_3 | 0.0012594 | 0.0012594 | 0.0012594 | 0.0012594 | 0.0012594 | 0.0012594 | 0.014543 | 0.014543 | 0.014543 | 0.014543 | 0.014543 | 0.014543 | 0.00039216 | -0.009963 | 0.0095709 | 0.00039216 | -0.009963 | 0.0095709 | -0.021969 | 0.001405 | -0.0016379 | -0.021969 | 0.001405 | -0.0016379 | 88.4494 | 88.4494 | 88.4494 | 88.4494 | 88.4494 | 88.4494 | 1.5109 | 0.69186 | 0.66769 | 1.5109 | 0.69186 | 0.66769 | -0.52797 | -99.5774 | 78.7382 | -0.52797 | -99.5774 | 78.7382

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.01007 | 0.01007 | 0.01007 | 0.0075551 | 0.0075551 | 0.0075551 | 0.11627 | 0.11627 | 0.11627 | 0.087238 | 0.087238 | 0.087238 | 0.0034443 | -0.078815 | 0.077294 | -0.0023539 | 0.059622 | -0.057538 | -0.17549 | 0.011626 | -0.013147 | 0.13176 | -0.0085164 | 0.0098557 | 88.6128 | 88.6128 | 88.6128 | -91.4925 | -91.4925 | -91.4925 | 1.5096 | 0.68518 | 0.67431 | 1.5106 | 0.69038 | 0.66916 | -0.26281 | -99.7787 | 78.9594 | -0.46906 | -99.6217 | 78.7876
Line_1 | 0.0012594 | 0.0012594 | 0.0012594 | 0.0037775 | 0.0037775 | 0.0037775 | 0.014543 | 0.014543 | 0.014543 | 0.043619 | 0.043619 | 0.043619 | -0.00039216 | 0.009963 | -0.0095709 | 0.0011769 | -0.029811 | 0.028769 | 0.021969 | -0.001405 | 0.0016379 | -0.065879 | 0.0042582 | -0.0049278 | -91.5506 | -91.5506 | -91.5506 | 88.5075 | 88.5075 | 88.5075 | 1.5109 | 0.69186 | 0.66769 | 1.5106 | 0.69038 | 0.66916 | -0.52797 | -99.5774 | 78.7382 | -0.46906 | -99.6217 | 78.7876
Line_2 | 0.0012594 | 0.0012594 | 0.0012594 | 0.0037775 | 0.0037775 | 0.0037775 | 0.014543 | 0.014543 | 0.014543 | 0.043619 | 0.043619 | 0.043619 | -0.00039216 | 0.009963 | -0.0095709 | 0.0011769 | -0.029811 | 0.028769 | 0.021969 | -0.001405 | 0.0016379 | -0.065879 | 0.0042582 | -0.0049278 | -91.5506 | -91.5506 | -91.5506 | 88.5075 | 88.5075 | 88.5075 | 1.5109 | 0.69186 | 0.66769 | 1.5106 | 0.69038 | 0.66916 | -0.52797 | -99.5774 | 78.7382 | -0.46906 | -99.6217 | 78.7876
Line_3 | 0.0012594 | 0.0012594 | 0.0012594 | 0.0012594 | 0.0012594 | 0.0012594 | 0.014543 | 0.014543 | 0.014543 | 0.014543 | 0.014543 | 0.014543 | 0.00039216 | -0.009963 | 0.0095709 | 0.00039216 | -0.009963 | 0.0095709 | -0.021969 | 0.001405 | -0.0016379 | -0.021969 | 0.001405 | -0.0016379 | 88.4494 | 88.4494 | 88.4494 | 88.4494 | 88.4494 | 88.4494 | 1.5109 | 0.69186 | 0.66769 | 1.5109 | 0.69186 | 0.66769 | -0.52797 | -99.5774 | 78.7382 | -0.52797 | -99.5774 | 78.7382