## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -6.2528e-14 | 30.1766 | -15.8685 | 4.1685e-14 | -23.0225 | 23.0225 | 4.4106e-27 | 3.131 | 13.1032 | -2.9231e-27 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | -4.0415e-12 | -161.8563 | 152.6723 | -4.0177e-12 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0979e-27 | -1.0421e-14 | 3.1264e-14 | -5.2106e-15 | 1.5632e-14 | -2.6053e-14 | -1.5632e-14 | -1.9212e-09 | 1.9211e-09 | 1.0421e-14 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -4.024e-12 | -180 | 180 | -4.0177e-12 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 4.6636e-20 | 1.0421e-14 | -5.2106e-15 | 5.2106e-15 | -5.2106e-15 | 3.6579e-28 | -1.9212e-09 | 1.9212e-09 | 3.6539e-28 | 1.9212e-09 | -1.9212e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -4.0222e-12 | -180 | 180 | -4.0177e-12 | 180 | -180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | -1.0421e-14 | 1.5632e-14 | -5.2106e-15 | 1.3027e-14 | -1.5632e-14 | -1.5632e-14 | -1.0421e-14 | -5.2106e-15 | 1.0421e-14 | 1.0421e-14 | 1.5632e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -4.024e-12 | -180 | 180 | -4.0222e-12 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -6.2528e-14 | 30.1766 | -15.8685 | 4.1685e-14 | -23.0225 | 23.0225 | 4.4106e-27 | 3.131 | 13.1032 | -2.9231e-27 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | -4.0415e-12 | -161.8563 | 152.6723 | -4.0177e-12 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0979e-27 | -1.0421e-14 | 3.1264e-14 | -5.2106e-15 | 1.5632e-14 | -2.6053e-14 | -1.5632e-14 | -1.9212e-09 | 1.9211e-09 | 1.0421e-14 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -4.024e-12 | -180 | 180 | -4.0177e-12 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 4.6636e-20 | 1.0421e-14 | -5.2106e-15 | 5.2106e-15 | -5.2106e-15 | 3.6579e-28 | -1.9212e-09 | 1.9212e-09 | 3.6539e-28 | 1.9212e-09 | -1.9212e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -4.0222e-12 | -180 | 180 | -4.0177e-12 | 180 | -180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | -1.0421e-14 | 1.5632e-14 | -5.2106e-15 | 1.3027e-14 | -1.5632e-14 | -1.5632e-14 | -1.0421e-14 | -5.2106e-15 | 1.0421e-14 | 1.0421e-14 | 1.5632e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -4.024e-12 | -180 | 180 | -4.0222e-12 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -2.3448e-14 | 19.0761 | -0.30087 | 2.0843e-14 | -17.4596 | 1.9173 | -7.816e-15 | 3.9919 | 15.2185 | 5.2106e-15 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | -1.4962e-12 | -138.0936 | 121.2196 | -1.4873e-12 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6053e-15 | 4.7339e-10 | 1.0338e-09 | -2.6053e-15 | -4.734e-10 | -1.0337e-09 | -7.816e-15 | -1.3544e-09 | 3.8387e-10 | 2.6053e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | -1.4907e-12 | -142.8673 | 128.239 | -1.4873e-12 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | 4.734e-10 | 1.0338e-09 | -1.3027e-14 | -4.734e-10 | -1.0338e-09 | -5.2106e-15 | -1.3544e-09 | 3.8387e-10 | 3.3814e-28 | 1.3544e-09 | -3.8387e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | -1.4908e-12 | -142.8673 | 128.239 | -1.4873e-12 | -142.8673 | 128.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -6.1306e-15 | 3.8945e-15 | 7.816e-15 | 5.2913e-15 | 5.9897e-15 | -5.2106e-15 | -2.0748e-15 | -4.9421e-15 | -2.0336e-28 | 6.5738e-15 | 1.2731e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | -1.4907e-12 | -142.8673 | 128.239 | -1.4908e-12 | -142.8673 | 128.239

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -2.3448e-14 | 19.0761 | -0.30087 | 2.0843e-14 | -17.4596 | 1.9173 | -7.816e-15 | 3.9919 | 15.2185 | 5.2106e-15 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | -1.4962e-12 | -138.0936 | 121.2196 | -1.4873e-12 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6053e-15 | 4.7339e-10 | 1.0338e-09 | -2.6053e-15 | -4.734e-10 | -1.0337e-09 | -7.816e-15 | -1.3544e-09 | 3.8387e-10 | 2.6053e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | -1.4907e-12 | -142.8673 | 128.239 | -1.4873e-12 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | 4.734e-10 | 1.0338e-09 | -1.3027e-14 | -4.734e-10 | -1.0338e-09 | -5.2106e-15 | -1.3544e-09 | 3.8387e-10 | 3.3814e-28 | 1.3544e-09 | -3.8387e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | -1.4908e-12 | -142.8673 | 128.239 | -1.4873e-12 | -142.8673 | 128.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -6.1306e-15 | 3.8945e-15 | 7.816e-15 | 5.2913e-15 | 5.9897e-15 | -5.2106e-15 | -2.0748e-15 | -4.9421e-15 | -2.0336e-28 | 6.5738e-15 | 1.2731e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | -1.4907e-12 | -142.8673 | 128.239 | -1.4908e-12 | -142.8673 | 128.239

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | 1.1842e-14 | 26.5997 | -7.1734 | -1.1842e-14 | -16.8865 | 16.8865 | 1.8948e-14 | -0.51586 | 11.9957 | -1.4211e-14 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | -5.2649e-13 | -160.7833 | 141.207 | -5.1651e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -2.3684e-15 | 2.3686e-15 | 4.737e-15 | 2.3685e-15 | -1.4365e-20 | -9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -5.4657e-13 | -180 | 180 | -5.1651e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | -2.3684e-15 | 2.3686e-15 | 4.737e-15 | 2.3685e-15 | -1.4365e-20 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -5.4428e-13 | -180 | 180 | -5.1651e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.737e-15 | -2.3685e-15 | -2.3685e-15 | -4.737e-15 | 4.737e-15 | 0 | -9.4739e-15 | 9.4739e-15 | 4.737e-15 | 4.737e-15 | -1.4211e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -5.4657e-13 | -180 | 180 | -5.4428e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | 1.1842e-14 | 26.5997 | -7.1734 | -1.1842e-14 | -16.8865 | 16.8865 | 1.8948e-14 | -0.51586 | 11.9957 | -1.4211e-14 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | -5.2649e-13 | -160.7833 | 141.207 | -5.1651e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -2.3684e-15 | 2.3686e-15 | 4.737e-15 | 2.3685e-15 | -1.4365e-20 | -9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -5.4657e-13 | -180 | 180 | -5.1651e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | -2.3684e-15 | 2.3686e-15 | 4.737e-15 | 2.3685e-15 | -1.4365e-20 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -5.4428e-13 | -180 | 180 | -5.1651e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.737e-15 | -2.3685e-15 | -2.3685e-15 | -4.737e-15 | 4.737e-15 | 0 | -9.4739e-15 | 9.4739e-15 | 4.737e-15 | 4.737e-15 | -1.4211e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -5.4657e-13 | -180 | 180 | -5.4428e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | 5.3291e-15 | 15.3932 | 0.73601 | -5.9212e-15 | -13.0917 | 1.5655 | 1.1842e-14 | 2.3135 | 11.9328 | -9.4739e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | -5.7285e-13 | -138.1765 | 119.7467 | -5.6821e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.5133e-15 | 4.7981e-10 | 8.2616e-10 | 5.3291e-15 | -4.798e-10 | -8.2616e-10 | 6.6526e-29 | -1.0532e-09 | 4.5326e-10 | 4.737e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | -5.8521e-13 | -142.5584 | 131.6989 | -5.6821e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 4.798e-10 | 8.2616e-10 | 5.9212e-15 | -4.798e-10 | -8.2615e-10 | 7.222e-29 | -1.0532e-09 | 4.5326e-10 | 2.3685e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | -5.8236e-13 | -142.5584 | 131.6989 | -5.6821e-13 | -142.5584 | 131.6989
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.9212e-16 | 6.4464e-15 | 1.6759e-15 | 5.9212e-16 | -2.8381e-15 | -2.8716e-15 | -2.3685e-15 | -6.2313e-15 | 2.4601e-15 | 2.3685e-15 | 6.0352e-17 | -5.4592e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | -5.8521e-13 | -142.5584 | 131.6989 | -5.8236e-13 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | 5.3291e-15 | 15.3932 | 0.73601 | -5.9212e-15 | -13.0917 | 1.5655 | 1.1842e-14 | 2.3135 | 11.9328 | -9.4739e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | -5.7285e-13 | -138.1765 | 119.7467 | -5.6821e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.5133e-15 | 4.7981e-10 | 8.2616e-10 | 5.3291e-15 | -4.798e-10 | -8.2616e-10 | 6.6526e-29 | -1.0532e-09 | 4.5326e-10 | 4.737e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | -5.8521e-13 | -142.5584 | 131.6989 | -5.6821e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 4.798e-10 | 8.2616e-10 | 5.9212e-15 | -4.798e-10 | -8.2615e-10 | 7.222e-29 | -1.0532e-09 | 4.5326e-10 | 2.3685e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | -5.8236e-13 | -142.5584 | 131.6989 | -5.6821e-13 | -142.5584 | 131.6989
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.9212e-16 | 6.4464e-15 | 1.6759e-15 | 5.9212e-16 | -2.8381e-15 | -2.8716e-15 | -2.3685e-15 | -6.2313e-15 | 2.4601e-15 | 2.3685e-15 | 6.0352e-17 | -5.4592e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | -5.8521e-13 | -142.5584 | 131.6989 | -5.8236e-13 | -142.5584 | 131.6989

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.044012 | 0.022006 | 0.022006 | 0.049512 | 0.016505 | 0.016505 | 0.5082 | 0.2541 | 0.2541 | 0.57171 | 0.19059 | 0.19059 | 0.0014545 | 0.24247 | -0.24166 | 3.5803e-14 | -0.18189 | 0.18122 | 0.0013208 | -0.42253 | -0.42402 | -1.7533e-13 | 0.31704 | 0.31822 | 89.8237 | -90.1762 | -90.1762 | -90.1731 | 89.8143 | 89.8143 | 0.0038661 | 1.9172 | 1.9207 | 0 | 1.9178 | 1.9214 | 132.0656 | -150.3272 | 150.1443 | 0 | -150.3415 | 150.1529
Line_1 | 0.0027515 | 0.0027515 | 0.0027515 | 0.0082527 | 0.0082527 | 0.0082527 | 0.031771 | 0.031771 | 0.031771 | 0.095294 | 0.095294 | 0.095294 | 5.5947e-05 | -0.030294 | 0.030238 | 5.9741e-15 | 0.090947 | -0.090612 | 2.2258e-05 | 0.052857 | 0.053085 | -2.9223e-14 | -0.15852 | -0.15911 | 89.784 | 89.784 | 89.784 | -90.1857 | -90.1857 | -90.1857 | 0.0018952 | 1.9175 | 1.9229 | 0 | 1.9178 | 1.9214 | 111.4784 | -150.3976 | 150.1176 | 0 | -150.3415 | 150.1529
Line_2 | 0.0027515 | 0.0027515 | 0.0027515 | 0.0082527 | 0.0082527 | 0.0082527 | 0.031771 | 0.031771 | 0.031771 | 0.095294 | 0.095294 | 0.095294 | 5.5947e-05 | -0.030294 | 0.030238 | 5.9741e-15 | 0.090947 | -0.090612 | 2.2258e-05 | 0.052857 | 0.053085 | -2.9223e-14 | -0.15852 | -0.15911 | 89.784 | 89.784 | 89.784 | -90.1857 | -90.1857 | -90.1857 | 0.0018952 | 1.9175 | 1.9229 | 0 | 1.9178 | 1.9214 | 111.4784 | -150.3976 | 150.1176 | 0 | -150.3415 | 150.1529
Line_3 | 0.0027515 | 0.0027515 | 0.0027515 | 0.0027515 | 0.0027515 | 0.0027515 | 0.031771 | 0.031771 | 0.031771 | 0.031771 | 0.031771 | 0.031771 | -5.5947e-05 | 0.030294 | -0.030238 | -5.5947e-05 | 0.030294 | -0.030238 | -2.2258e-05 | -0.052857 | -0.053085 | -2.2258e-05 | -0.052857 | -0.053085 | -90.2159 | -90.2159 | -90.2159 | -90.2159 | -90.2159 | -90.2159 | 0.0018952 | 1.9175 | 1.9229 | 0.0018952 | 1.9175 | 1.9229 | 111.4784 | -150.3976 | 150.1176 | 111.4784 | -150.3976 | 150.1176

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.044012 | 0.022006 | 0.022006 | 0.049512 | 0.016505 | 0.016505 | 0.5082 | 0.2541 | 0.2541 | 0.57171 | 0.19059 | 0.19059 | 0.0014545 | 0.24247 | -0.24166 | 3.5803e-14 | -0.18189 | 0.18122 | 0.0013208 | -0.42253 | -0.42402 | -1.7533e-13 | 0.31704 | 0.31822 | 89.8237 | -90.1762 | -90.1762 | -90.1731 | 89.8143 | 89.8143 | 0.0038661 | 1.9172 | 1.9207 | 0 | 1.9178 | 1.9214 | 132.0656 | -150.3272 | 150.1443 | 0 | -150.3415 | 150.1529
Line_1 | 0.0027515 | 0.0027515 | 0.0027515 | 0.0082527 | 0.0082527 | 0.0082527 | 0.031771 | 0.031771 | 0.031771 | 0.095294 | 0.095294 | 0.095294 | 5.5947e-05 | -0.030294 | 0.030238 | 5.9741e-15 | 0.090947 | -0.090612 | 2.2258e-05 | 0.052857 | 0.053085 | -2.9223e-14 | -0.15852 | -0.15911 | 89.784 | 89.784 | 89.784 | -90.1857 | -90.1857 | -90.1857 | 0.0018952 | 1.9175 | 1.9229 | 0 | 1.9178 | 1.9214 | 111.4784 | -150.3976 | 150.1176 | 0 | -150.3415 | 150.1529
Line_2 | 0.0027515 | 0.0027515 | 0.0027515 | 0.0082527 | 0.0082527 | 0.0082527 | 0.031771 | 0.031771 | 0.031771 | 0.095294 | 0.095294 | 0.095294 | 5.5947e-05 | -0.030294 | 0.030238 | 5.9741e-15 | 0.090947 | -0.090612 | 2.2258e-05 | 0.052857 | 0.053085 | -2.9223e-14 | -0.15852 | -0.15911 | 89.784 | 89.784 | 89.784 | -90.1857 | -90.1857 | -90.1857 | 0.0018952 | 1.9175 | 1.9229 | 0 | 1.9178 | 1.9214 | 111.4784 | -150.3976 | 150.1176 | 0 | -150.3415 | 150.1529
Line_3 | 0.0027515 | 0.0027515 | 0.0027515 | 0.0027515 | 0.0027515 | 0.0027515 | 0.031771 | 0.031771 | 0.031771 | 0.031771 | 0.031771 | 0.031771 | -5.5947e-05 | 0.030294 | -0.030238 | -5.5947e-05 | 0.030294 | -0.030238 | -2.2258e-05 | -0.052857 | -0.053085 | -2.2258e-05 | -0.052857 | -0.053085 | -90.2159 | -90.2159 | -90.2159 | -90.2159 | -90.2159 | -90.2159 | 0.0018952 | 1.9175 | 1.9229 | 0.0018952 | 1.9175 | 1.9229 | 111.4784 | -150.3976 | 150.1176 | 111.4784 | -150.3976 | 150.1176

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.045166 | 0.022583 | 0.022583 | 0.050811 | 0.016938 | 0.016938 | 0.52153 | 0.26077 | 0.26077 | 0.58671 | 0.19559 | 0.19559 | 0.016832 | 0.25255 | -0.24405 | -0.017213 | -0.18946 | 0.18302 | 0.016691 | -0.43454 | -0.44936 | -0.017211 | 0.32605 | 0.33723 | 88.2908 | -91.7091 | -91.7091 | -91.706 | 88.2814 | 88.2814 | 0.045451 | 1.9274 | 1.961 | 0.041488 | 1.928 | 1.9617 | 133.0502 | -151.544 | 149.7841 | 133.2908 | -151.5588 | 149.7923
Line_1 | 0.0028237 | 0.0028237 | 0.0028237 | 0.0084692 | 0.0084692 | 0.0084692 | 0.032605 | 0.032605 | 0.032605 | 0.097794 | 0.097794 | 0.097794 | 0.0010148 | -0.031553 | 0.030538 | -0.0028684 | 0.09473 | -0.091508 | 0.0009806 | 0.05436 | 0.056256 | -0.0028694 | -0.16303 | -0.16861 | 88.2511 | 88.2511 | 88.2511 | -91.7186 | -91.7186 | -91.7186 | 0.04328 | 1.9278 | 1.9632 | 0.041488 | 1.928 | 1.9617 | 132.2705 | -151.616 | 149.7559 | 133.2908 | -151.5588 | 149.7923
Line_2 | 0.0028237 | 0.0028237 | 0.0028237 | 0.0084692 | 0.0084692 | 0.0084692 | 0.032605 | 0.032605 | 0.032605 | 0.097794 | 0.097794 | 0.097794 | 0.0010148 | -0.031553 | 0.030538 | -0.0028684 | 0.09473 | -0.091508 | 0.0009806 | 0.05436 | 0.056256 | -0.0028694 | -0.16303 | -0.16861 | 88.2511 | 88.2511 | 88.2511 | -91.7186 | -91.7186 | -91.7186 | 0.04328 | 1.9278 | 1.9632 | 0.041488 | 1.928 | 1.9617 | 132.2705 | -151.616 | 149.7559 | 133.2908 | -151.5588 | 149.7923
Line_3 | 0.0028237 | 0.0028237 | 0.0028237 | 0.0028237 | 0.0028237 | 0.0028237 | 0.032605 | 0.032605 | 0.032605 | 0.032605 | 0.032605 | 0.032605 | -0.0010148 | 0.031553 | -0.030538 | -0.0010148 | 0.031553 | -0.030538 | -0.0009806 | -0.05436 | -0.056256 | -0.0009806 | -0.05436 | -0.056256 | -91.7489 | -91.7489 | -91.7489 | -91.7489 | -91.7489 | -91.7489 | 0.04328 | 1.9278 | 1.9632 | 0.04328 | 1.9278 | 1.9632 | 132.2705 | -151.616 | 149.7559 | 132.2705 | -151.616 | 149.7559

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.045166 | 0.022583 | 0.022583 | 0.050811 | 0.016938 | 0.016938 | 0.52153 | 0.26077 | 0.26077 | 0.58671 | 0.19559 | 0.19559 | 0.016832 | 0.25255 | -0.24405 | -0.017213 | -0.18946 | 0.18302 | 0.016691 | -0.43454 | -0.44936 | -0.017211 | 0.32605 | 0.33723 | 88.2908 | -91.7091 | -91.7091 | -91.706 | 88.2814 | 88.2814 | 0.045451 | 1.9274 | 1.961 | 0.041488 | 1.928 | 1.9617 | 133.0502 | -151.544 | 149.7841 | 133.2908 | -151.5588 | 149.7923
Line_1 | 0.0028237 | 0.0028237 | 0.0028237 | 0.0084692 | 0.0084692 | 0.0084692 | 0.032605 | 0.032605 | 0.032605 | 0.097794 | 0.097794 | 0.097794 | 0.0010148 | -0.031553 | 0.030538 | -0.0028684 | 0.09473 | -0.091508 | 0.0009806 | 0.05436 | 0.056256 | -0.0028694 | -0.16303 | -0.16861 | 88.2511 | 88.2511 | 88.2511 | -91.7186 | -91.7186 | -91.7186 | 0.04328 | 1.9278 | 1.9632 | 0.041488 | 1.928 | 1.9617 | 132.2705 | -151.616 | 149.7559 | 133.2908 | -151.5588 | 149.7923
Line_2 | 0.0028237 | 0.0028237 | 0.0028237 | 0.0084692 | 0.0084692 | 0.0084692 | 0.032605 | 0.032605 | 0.032605 | 0.097794 | 0.097794 | 0.097794 | 0.0010148 | -0.031553 | 0.030538 | -0.0028684 | 0.09473 | -0.091508 | 0.0009806 | 0.05436 | 0.056256 | -0.0028694 | -0.16303 | -0.16861 | 88.2511 | 88.2511 | 88.2511 | -91.7186 | -91.7186 | -91.7186 | 0.04328 | 1.9278 | 1.9632 | 0.041488 | 1.928 | 1.9617 | 132.2705 | -151.616 | 149.7559 | 133.2908 | -151.5588 | 149.7923
Line_3 | 0.0028237 | 0.0028237 | 0.0028237 | 0.0028237 | 0.0028237 | 0.0028237 | 0.032605 | 0.032605 | 0.032605 | 0.032605 | 0.032605 | 0.032605 | -0.0010148 | 0.031553 | -0.030538 | -0.0010148 | 0.031553 | -0.030538 | -0.0009806 | -0.05436 | -0.056256 | -0.0009806 | -0.05436 | -0.056256 | -91.7489 | -91.7489 | -91.7489 | -91.7489 | -91.7489 | -91.7489 | 0.04328 | 1.9278 | 1.9632 | 0.04328 | 1.9278 | 1.9632 | 132.2705 | -151.616 | 149.7559 | 132.2705 | -151.616 | 149.7559

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.040025 | 0.020013 | 0.020013 | 0.045027 | 0.01501 | 0.01501 | 0.46217 | 0.23108 | 0.23108 | 0.51993 | 0.17332 | 0.17332 | 0.0023097 | 0.20077 | -0.19948 | -3.9141e-15 | -0.15063 | 0.14957 | 0.0010925 | -0.34895 | -0.35119 | -1.3487e-13 | 0.26181 | 0.26358 | 89.6797 | -90.3203 | -90.3203 | -90.3143 | 89.6615 | 89.6615 | 0.0055284 | 1.7422 | 1.7478 | 0 | 1.7427 | 1.7485 | 114.9938 | -150.4068 | 150.0829 | 0 | -150.4238 | 150.0888
Line_1 | 0.0025023 | 0.0025023 | 0.0025023 | 0.0075052 | 0.0075052 | 0.0075052 | 0.028894 | 0.028894 | 0.028894 | 0.086662 | 0.086662 | 0.086662 | 8.884e-05 | -0.025066 | 0.024977 | -6.4292e-16 | 0.075317 | -0.074784 | 1.8408e-05 | 0.043636 | 0.043983 | -2.248e-14 | -0.1309 | -0.13179 | 89.6034 | 89.6034 | 89.6034 | -90.3385 | -90.3385 | -90.3385 | 0.00314 | 1.7417 | 1.7506 | 0 | 1.7427 | 1.7485 | 101.3098 | -150.5219 | 150.0115 | 0 | -150.4238 | 150.0888
Line_2 | 0.0025023 | 0.0025023 | 0.0025023 | 0.0075052 | 0.0075052 | 0.0075052 | 0.028894 | 0.028894 | 0.028894 | 0.086662 | 0.086662 | 0.086662 | 8.884e-05 | -0.025066 | 0.024977 | -6.4292e-16 | 0.075317 | -0.074784 | 1.8408e-05 | 0.043636 | 0.043983 | -2.248e-14 | -0.1309 | -0.13179 | 89.6034 | 89.6034 | 89.6034 | -90.3385 | -90.3385 | -90.3385 | 0.00314 | 1.7417 | 1.7506 | 0 | 1.7427 | 1.7485 | 101.3098 | -150.5219 | 150.0115 | 0 | -150.4238 | 150.0888
Line_3 | 0.0025023 | 0.0025023 | 0.0025023 | 0.0025023 | 0.0025023 | 0.0025023 | 0.028894 | 0.028894 | 0.028894 | 0.028894 | 0.028894 | 0.028894 | -8.884e-05 | 0.025066 | -0.024977 | -8.884e-05 | 0.025066 | -0.024977 | -1.8408e-05 | -0.043636 | -0.043983 | -1.8408e-05 | -0.043636 | -0.043983 | -90.3966 | -90.3966 | -90.3966 | -90.3966 | -90.3966 | -90.3966 | 0.00314 | 1.7417 | 1.7506 | 0.00314 | 1.7417 | 1.7506 | 101.3098 | -150.5219 | 150.0115 | 101.3098 | -150.5219 | 150.0115

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.040025 | 0.020013 | 0.020013 | 0.045027 | 0.01501 | 0.01501 | 0.46217 | 0.23108 | 0.23108 | 0.51993 | 0.17332 | 0.17332 | 0.0023097 | 0.20077 | -0.19948 | -3.9141e-15 | -0.15063 | 0.14957 | 0.0010925 | -0.34895 | -0.35119 | -1.3487e-13 | 0.26181 | 0.26358 | 89.6797 | -90.3203 | -90.3203 | -90.3143 | 89.6615 | 89.6615 | 0.0055284 | 1.7422 | 1.7478 | 0 | 1.7427 | 1.7485 | 114.9938 | -150.4068 | 150.0829 | 0 | -150.4238 | 150.0888
Line_1 | 0.0025023 | 0.0025023 | 0.0025023 | 0.0075052 | 0.0075052 | 0.0075052 | 0.028894 | 0.028894 | 0.028894 | 0.086662 | 0.086662 | 0.086662 | 8.884e-05 | -0.025066 | 0.024977 | -6.4292e-16 | 0.075317 | -0.074784 | 1.8408e-05 | 0.043636 | 0.043983 | -2.248e-14 | -0.1309 | -0.13179 | 89.6034 | 89.6034 | 89.6034 | -90.3385 | -90.3385 | -90.3385 | 0.00314 | 1.7417 | 1.7506 | 0 | 1.7427 | 1.7485 | 101.3098 | -150.5219 | 150.0115 | 0 | -150.4238 | 150.0888
Line_2 | 0.0025023 | 0.0025023 | 0.0025023 | 0.0075052 | 0.0075052 | 0.0075052 | 0.028894 | 0.028894 | 0.028894 | 0.086662 | 0.086662 | 0.086662 | 8.884e-05 | -0.025066 | 0.024977 | -6.4292e-16 | 0.075317 | -0.074784 | 1.8408e-05 | 0.043636 | 0.043983 | -2.248e-14 | -0.1309 | -0.13179 | 89.6034 | 89.6034 | 89.6034 | -90.3385 | -90.3385 | -90.3385 | 0.00314 | 1.7417 | 1.7506 | 0 | 1.7427 | 1.7485 | 101.3098 | -150.5219 | 150.0115 | 0 | -150.4238 | 150.0888
Line_3 | 0.0025023 | 0.0025023 | 0.0025023 | 0.0025023 | 0.0025023 | 0.0025023 | 0.028894 | 0.028894 | 0.028894 | 0.028894 | 0.028894 | 0.028894 | -8.884e-05 | 0.025066 | -0.024977 | -8.884e-05 | 0.025066 | -0.024977 | -1.8408e-05 | -0.043636 | -0.043983 | -1.8408e-05 | -0.043636 | -0.043983 | -90.3966 | -90.3966 | -90.3966 | -90.3966 | -90.3966 | -90.3966 | 0.00314 | 1.7417 | 1.7506 | 0.00314 | 1.7417 | 1.7506 | 101.3098 | -150.5219 | 150.0115 | 101.3098 | -150.5219 | 150.0115

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.041072 | 0.020536 | 0.020536 | 0.046205 | 0.015403 | 0.015403 | 0.47426 | 0.23713 | 0.23713 | 0.53353 | 0.17786 | 0.17786 | 0.015084 | 0.2091 | -0.20141 | -0.014235 | -0.15688 | 0.15102 | 0.013802 | -0.35881 | -0.37213 | -0.014232 | 0.26921 | 0.27929 | 88.1424 | -91.8575 | -91.8575 | -91.8515 | 88.1243 | 88.1243 | 0.043111 | 1.7513 | 1.7844 | 0.037727 | 1.7518 | 1.7851 | 130.6018 | -151.6263 | 149.7181 | 133.1425 | -151.6438 | 149.7235
Line_1 | 0.0025677 | 0.0025677 | 0.0025677 | 0.0077016 | 0.0077016 | 0.0077016 | 0.02965 | 0.02965 | 0.02965 | 0.08893 | 0.08893 | 0.08893 | 0.00088347 | -0.026104 | 0.025221 | -0.0023717 | 0.078441 | -0.075508 | 0.00081141 | 0.04487 | 0.046603 | -0.0023732 | -0.1346 | -0.13964 | 88.0662 | 88.0662 | 88.0662 | -91.8757 | -91.8757 | -91.8757 | 0.040457 | 1.7508 | 1.7872 | 0.037727 | 1.7518 | 1.7851 | 130.6316 | -151.7437 | 149.6444 | 133.1425 | -151.6438 | 149.7235
Line_2 | 0.0025677 | 0.0025677 | 0.0025677 | 0.0077016 | 0.0077016 | 0.0077016 | 0.02965 | 0.02965 | 0.02965 | 0.08893 | 0.08893 | 0.08893 | 0.00088347 | -0.026104 | 0.025221 | -0.0023717 | 0.078441 | -0.075508 | 0.00081141 | 0.04487 | 0.046603 | -0.0023732 | -0.1346 | -0.13964 | 88.0662 | 88.0662 | 88.0662 | -91.8757 | -91.8757 | -91.8757 | 0.040457 | 1.7508 | 1.7872 | 0.037727 | 1.7518 | 1.7851 | 130.6316 | -151.7437 | 149.6444 | 133.1425 | -151.6438 | 149.7235
Line_3 | 0.0025677 | 0.0025677 | 0.0025677 | 0.0025677 | 0.0025677 | 0.0025677 | 0.02965 | 0.02965 | 0.02965 | 0.02965 | 0.02965 | 0.02965 | -0.00088347 | 0.026104 | -0.025221 | -0.00088347 | 0.026104 | -0.025221 | -0.00081141 | -0.04487 | -0.046603 | -0.00081141 | -0.04487 | -0.046603 | -91.9338 | -91.9338 | -91.9338 | -91.9338 | -91.9338 | -91.9338 | 0.040457 | 1.7508 | 1.7872 | 0.040457 | 1.7508 | 1.7872 | 130.6316 | -151.7437 | 149.6444 | 130.6316 | -151.7437 | 149.6444

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.041072 | 0.020536 | 0.020536 | 0.046205 | 0.015403 | 0.015403 | 0.47426 | 0.23713 | 0.23713 | 0.53353 | 0.17786 | 0.17786 | 0.015084 | 0.2091 | -0.20141 | -0.014235 | -0.15688 | 0.15102 | 0.013802 | -0.35881 | -0.37213 | -0.014232 | 0.26921 | 0.27929 | 88.1424 | -91.8575 | -91.8575 | -91.8515 | 88.1243 | 88.1243 | 0.043111 | 1.7513 | 1.7844 | 0.037727 | 1.7518 | 1.7851 | 130.6018 | -151.6263 | 149.7181 | 133.1425 | -151.6438 | 149.7235
Line_1 | 0.0025677 | 0.0025677 | 0.0025677 | 0.0077016 | 0.0077016 | 0.0077016 | 0.02965 | 0.02965 | 0.02965 | 0.08893 | 0.08893 | 0.08893 | 0.00088347 | -0.026104 | 0.025221 | -0.0023717 | 0.078441 | -0.075508 | 0.00081141 | 0.04487 | 0.046603 | -0.0023732 | -0.1346 | -0.13964 | 88.0662 | 88.0662 | 88.0662 | -91.8757 | -91.8757 | -91.8757 | 0.040457 | 1.7508 | 1.7872 | 0.037727 | 1.7518 | 1.7851 | 130.6316 | -151.7437 | 149.6444 | 133.1425 | -151.6438 | 149.7235
Line_2 | 0.0025677 | 0.0025677 | 0.0025677 | 0.0077016 | 0.0077016 | 0.0077016 | 0.02965 | 0.02965 | 0.02965 | 0.08893 | 0.08893 | 0.08893 | 0.00088347 | -0.026104 | 0.025221 | -0.0023717 | 0.078441 | -0.075508 | 0.00081141 | 0.04487 | 0.046603 | -0.0023732 | -0.1346 | -0.13964 | 88.0662 | 88.0662 | 88.0662 | -91.8757 | -91.8757 | -91.8757 | 0.040457 | 1.7508 | 1.7872 | 0.037727 | 1.7518 | 1.7851 | 130.6316 | -151.7437 | 149.6444 | 133.1425 | -151.6438 | 149.7235
Line_3 | 0.0025677 | 0.0025677 | 0.0025677 | 0.0025677 | 0.0025677 | 0.0025677 | 0.02965 | 0.02965 | 0.02965 | 0.02965 | 0.02965 | 0.02965 | -0.00088347 | 0.026104 | -0.025221 | -0.00088347 | 0.026104 | -0.025221 | -0.00081141 | -0.04487 | -0.046603 | -0.00081141 | -0.04487 | -0.046603 | -91.9338 | -91.9338 | -91.9338 | -91.9338 | -91.9338 | -91.9338 | 0.040457 | 1.7508 | 1.7872 | 0.040457 | 1.7508 | 1.7872 | 130.6316 | -151.7437 | 149.6444 | 130.6316 | -151.7437 | 149.6444

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010921 | 3.7103 | 3.708 | 0.008191 | 3.7109 | 3.7074 | 0.1261 | 42.8431 | 42.8162 | 0.094582 | 42.8499 | 42.8096 | 0.00019294 | 7.1553 | 7.1529 | -0.00016535 | 6.637e-11 | 5.4963e-11 | -0.20854 | 8.1421 | 8.0922 | 0.15645 | -3.9638e-11 | 4.3648e-11 | 89.9179 | -167.6975 | 12.1377 | -90.0916 | 12.3437 | -167.9035 | 1.6537 | 0.253 | 0.25225 | 1.6541 | 0 | 0 | -0.029133 | -119.0066 | 60.6634 | -0.031051 | 0 | 0
Line_1 | 0.0013655 | 0.0013655 | 0.0013655 | 0.0040955 | 0.0040955 | 0.0040955 | 0.015767 | 0.015767 | 0.015767 | 0.047291 | 0.047291 | 0.047291 | -2.756e-05 | 1.3779e-05 | 1.3779e-05 | 8.2675e-05 | -2.6947e-14 | -5.9949e-14 | 0.026086 | 5.4816e-06 | 5.4816e-06 | -0.078225 | -8.0951e-14 | 4.9168e-14 | -90.1219 | -90.1219 | -90.1219 | 89.9084 | 89.9084 | 89.9084 | 1.6545 | 0.0009405 | 0.0009405 | 1.6541 | 0 | 0 | -0.061333 | -68.4275 | -68.4275 | -0.031051 | 0 | 0
Line_2 | 0.0013655 | 0.0013655 | 0.0013655 | 0.0040955 | 0.0040955 | 0.0040955 | 0.015767 | 0.015767 | 0.015767 | 0.047291 | 0.047291 | 0.047291 | -2.756e-05 | 1.3779e-05 | 1.3779e-05 | 8.2675e-05 | -2.6947e-14 | -5.9949e-14 | 0.026086 | 5.4816e-06 | 5.4816e-06 | -0.078225 | -8.0951e-14 | 4.9168e-14 | -90.1219 | -90.1219 | -90.1219 | 89.9084 | 89.9084 | 89.9084 | 1.6545 | 0.0009405 | 0.0009405 | 1.6541 | 0 | 0 | -0.061333 | -68.4275 | -68.4275 | -0.031051 | 0 | 0
Line_3 | 0.0013655 | 0.0013655 | 0.0013655 | 0.0013655 | 0.0013655 | 0.0013655 | 0.015767 | 0.015767 | 0.015767 | 0.015767 | 0.015767 | 0.015767 | 2.7557e-05 | -1.3779e-05 | -1.3779e-05 | 2.7557e-05 | -1.3779e-05 | -1.3779e-05 | -0.026086 | -5.4816e-06 | -5.4816e-06 | -0.026086 | -5.4816e-06 | -5.4816e-06 | 89.8781 | 89.8781 | 89.8781 | 89.8781 | 89.8781 | 89.8781 | 1.6545 | 0.0009405 | 0.0009405 | 1.6545 | 0.0009405 | 0.0009405 | -0.061333 | -68.4275 | -68.4275 | -0.061333 | -68.4275 | -68.4275

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010921 | 3.7103 | 3.708 | 0.008191 | 3.7109 | 3.7074 | 0.1261 | 42.8431 | 42.8162 | 0.094582 | 42.8499 | 42.8096 | 0.00019294 | 7.1553 | 7.1529 | -0.00016535 | 6.637e-11 | 5.4963e-11 | -0.20854 | 8.1421 | 8.0922 | 0.15645 | -3.9638e-11 | 4.3648e-11 | 89.9179 | -167.6975 | 12.1377 | -90.0916 | 12.3437 | -167.9035 | 1.6537 | 0.253 | 0.25225 | 1.6541 | 0 | 0 | -0.029133 | -119.0066 | 60.6634 | -0.031051 | 0 | 0
Line_1 | 0.0013655 | 0.0013655 | 0.0013655 | 0.0040955 | 0.0040955 | 0.0040955 | 0.015767 | 0.015767 | 0.015767 | 0.047291 | 0.047291 | 0.047291 | -2.756e-05 | 1.3779e-05 | 1.3779e-05 | 8.2675e-05 | -2.6947e-14 | -5.9949e-14 | 0.026086 | 5.4816e-06 | 5.4816e-06 | -0.078225 | -8.0951e-14 | 4.9168e-14 | -90.1219 | -90.1219 | -90.1219 | 89.9084 | 89.9084 | 89.9084 | 1.6545 | 0.0009405 | 0.0009405 | 1.6541 | 0 | 0 | -0.061333 | -68.4275 | -68.4275 | -0.031051 | 0 | 0
Line_2 | 0.0013655 | 0.0013655 | 0.0013655 | 0.0040955 | 0.0040955 | 0.0040955 | 0.015767 | 0.015767 | 0.015767 | 0.047291 | 0.047291 | 0.047291 | -2.756e-05 | 1.3779e-05 | 1.3779e-05 | 8.2675e-05 | -2.6947e-14 | -5.9949e-14 | 0.026086 | 5.4816e-06 | 5.4816e-06 | -0.078225 | -8.0951e-14 | 4.9168e-14 | -90.1219 | -90.1219 | -90.1219 | 89.9084 | 89.9084 | 89.9084 | 1.6545 | 0.0009405 | 0.0009405 | 1.6541 | 0 | 0 | -0.061333 | -68.4275 | -68.4275 | -0.031051 | 0 | 0
Line_3 | 0.0013655 | 0.0013655 | 0.0013655 | 0.0013655 | 0.0013655 | 0.0013655 | 0.015767 | 0.015767 | 0.015767 | 0.015767 | 0.015767 | 0.015767 | 2.7557e-05 | -1.3779e-05 | -1.3779e-05 | 2.7557e-05 | -1.3779e-05 | -1.3779e-05 | -0.026086 | -5.4816e-06 | -5.4816e-06 | -0.026086 | -5.4816e-06 | -5.4816e-06 | 89.8781 | 89.8781 | 89.8781 | 89.8781 | 89.8781 | 89.8781 | 1.6545 | 0.0009405 | 0.0009405 | 1.6545 | 0.0009405 | 0.0009405 | -0.061333 | -68.4275 | -68.4275 | -0.061333 | -68.4275 | -68.4275

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.011062 | 1.1375 | 1.131 | 0.0082972 | 1.1392 | 1.1293 | 0.12774 | 13.1348 | 13.0591 | 0.095808 | 13.1538 | 13.0404 | 0.0020336 | 7.1309 | 7.0726 | -0.0015462 | -6.4786 | -6.3873 | -0.21214 | 7.327 | 7.0565 | 0.15915 | -6.5545 | -6.3115 | 89.1683 | -144.3051 | 35.2445 | -90.8412 | 35.8066 | -144.8689 | 1.6609 | 0.77841 | 0.76504 | 1.6613 | 0.70063 | 0.6886 | -0.28253 | -98.5279 | 80.1794 | -0.28458 | -98.86 | 79.7889
Line_1 | 0.0013832 | 0.0013832 | 0.0013832 | 0.0041486 | 0.0041486 | 0.0041486 | 0.015971 | 0.015971 | 0.015971 | 0.047904 | 0.047904 | 0.047904 | -0.00025763 | 0.011096 | -0.010838 | 0.00077311 | -0.033235 | 0.032546 | 0.026537 | -0.0015495 | 0.0017904 | -0.079577 | 0.0046819 | -0.0053704 | -90.8715 | -90.8715 | -90.8715 | 89.1588 | 89.1588 | 89.1588 | 1.6616 | 0.70146 | 0.68778 | 1.6613 | 0.70063 | 0.6886 | -0.31522 | -98.8214 | 79.748 | -0.28458 | -98.86 | 79.7889
Line_2 | 0.0013832 | 0.0013832 | 0.0013832 | 0.0041486 | 0.0041486 | 0.0041486 | 0.015971 | 0.015971 | 0.015971 | 0.047904 | 0.047904 | 0.047904 | -0.00025763 | 0.011096 | -0.010838 | 0.00077311 | -0.033235 | 0.032546 | 0.026537 | -0.0015495 | 0.0017904 | -0.079577 | 0.0046819 | -0.0053704 | -90.8715 | -90.8715 | -90.8715 | 89.1588 | 89.1588 | 89.1588 | 1.6616 | 0.70146 | 0.68778 | 1.6613 | 0.70063 | 0.6886 | -0.31522 | -98.8214 | 79.748 | -0.28458 | -98.86 | 79.7889
Line_3 | 0.0013832 | 0.0013832 | 0.0013832 | 0.0013832 | 0.0013832 | 0.0013832 | 0.015971 | 0.015971 | 0.015971 | 0.015971 | 0.015971 | 0.015971 | 0.00025763 | -0.011096 | 0.010838 | 0.00025763 | -0.011096 | 0.010838 | -0.026537 | 0.0015495 | -0.0017904 | -0.026537 | 0.0015495 | -0.0017904 | 89.1285 | 89.1285 | 89.1285 | 89.1285 | 89.1285 | 89.1285 | 1.6616 | 0.70146 | 0.68778 | 1.6616 | 0.70146 | 0.68778 | -0.31522 | -98.8214 | 79.748 | -0.31522 | -98.8214 | 79.748

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.011062 | 1.1375 | 1.131 | 0.0082972 | 1.1392 | 1.1293 | 0.12774 | 13.1348 | 13.0591 | 0.095808 | 13.1538 | 13.0404 | 0.0020336 | 7.1309 | 7.0726 | -0.0015462 | -6.4786 | -6.3873 | -0.21214 | 7.327 | 7.0565 | 0.15915 | -6.5545 | -6.3115 | 89.1683 | -144.3051 | 35.2445 | -90.8412 | 35.8066 | -144.8689 | 1.6609 | 0.77841 | 0.76504 | 1.6613 | 0.70063 | 0.6886 | -0.28253 | -98.5279 | 80.1794 | -0.28458 | -98.86 | 79.7889
Line_1 | 0.0013832 | 0.0013832 | 0.0013832 | 0.0041486 | 0.0041486 | 0.0041486 | 0.015971 | 0.015971 | 0.015971 | 0.047904 | 0.047904 | 0.047904 | -0.00025763 | 0.011096 | -0.010838 | 0.00077311 | -0.033235 | 0.032546 | 0.026537 | -0.0015495 | 0.0017904 | -0.079577 | 0.0046819 | -0.0053704 | -90.8715 | -90.8715 | -90.8715 | 89.1588 | 89.1588 | 89.1588 | 1.6616 | 0.70146 | 0.68778 | 1.6613 | 0.70063 | 0.6886 | -0.31522 | -98.8214 | 79.748 | -0.28458 | -98.86 | 79.7889
Line_2 | 0.0013832 | 0.0013832 | 0.0013832 | 0.0041486 | 0.0041486 | 0.0041486 | 0.015971 | 0.015971 | 0.015971 | 0.047904 | 0.047904 | 0.047904 | -0.00025763 | 0.011096 | -0.010838 | 0.00077311 | -0.033235 | 0.032546 | 0.026537 | -0.0015495 | 0.0017904 | -0.079577 | 0.0046819 | -0.0053704 | -90.8715 | -90.8715 | -90.8715 | 89.1588 | 89.1588 | 89.1588 | 1.6616 | 0.70146 | 0.68778 | 1.6613 | 0.70063 | 0.6886 | -0.31522 | -98.8214 | 79.748 | -0.28458 | -98.86 | 79.7889
Line_3 | 0.0013832 | 0.0013832 | 0.0013832 | 0.0013832 | 0.0013832 | 0.0013832 | 0.015971 | 0.015971 | 0.015971 | 0.015971 | 0.015971 | 0.015971 | 0.00025763 | -0.011096 | 0.010838 | 0.00025763 | -0.011096 | 0.010838 | -0.026537 | 0.0015495 | -0.0017904 | -0.026537 | 0.0015495 | -0.0017904 | 89.1285 | 89.1285 | 89.1285 | 89.1285 | 89.1285 | 89.1285 | 1.6616 | 0.70146 | 0.68778 | 1.6616 | 0.70146 | 0.68778 | -0.31522 | -98.8214 | 79.748 | -0.31522 | -98.8214 | 79.748

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0099288 | 3.1208 | 3.1174 | 0.0074471 | 3.1217 | 3.1165 | 0.11465 | 36.0362 | 35.9961 | 0.085991 | 36.0462 | 35.9861 | 0.0003062 | 9.7283 | 9.6981 | -0.00026242 | -1.3161e-10 | 4.3543e-11 | -0.17238 | 5.7741 | 5.7058 | 0.12932 | -1.3079e-10 | -1.8136e-10 | 89.8468 | -159.5869 | 20.2422 | -90.1714 | 20.4557 | -159.8006 | 1.5035 | 0.31393 | 0.31259 | 1.5039 | 0 | 0 | -0.051442 | -128.8964 | 50.7125 | -0.055124 | 0 | 0
Line_1 | 0.0012414 | 0.0012414 | 0.0012414 | 0.0037235 | 0.0037235 | 0.0037235 | 0.014335 | 0.014335 | 0.014335 | 0.042996 | 0.042996 | 0.042996 | -4.3737e-05 | 2.1867e-05 | 2.1867e-05 | 0.00013121 | -2.013e-13 | 1.8503e-13 | 0.021562 | 4.531e-06 | 4.531e-06 | -0.06466 | 9.1958e-14 | 1.242e-13 | -90.2295 | -90.2295 | -90.2295 | 89.8286 | 89.8286 | 89.8286 | 1.5042 | 0.0015579 | 0.0015579 | 1.5039 | 0 | 0 | -0.11327 | -78.5231 | -78.5231 | -0.055124 | 0 | 0
Line_2 | 0.0012414 | 0.0012414 | 0.0012414 | 0.0037235 | 0.0037235 | 0.0037235 | 0.014335 | 0.014335 | 0.014335 | 0.042996 | 0.042996 | 0.042996 | -4.3737e-05 | 2.1867e-05 | 2.1867e-05 | 0.00013121 | -2.013e-13 | 1.8503e-13 | 0.021562 | 4.531e-06 | 4.531e-06 | -0.06466 | 9.1958e-14 | 1.242e-13 | -90.2295 | -90.2295 | -90.2295 | 89.8286 | 89.8286 | 89.8286 | 1.5042 | 0.0015579 | 0.0015579 | 1.5039 | 0 | 0 | -0.11327 | -78.5231 | -78.5231 | -0.055124 | 0 | 0
Line_3 | 0.0012414 | 0.0012414 | 0.0012414 | 0.0012414 | 0.0012414 | 0.0012414 | 0.014335 | 0.014335 | 0.014335 | 0.014335 | 0.014335 | 0.014335 | 4.3735e-05 | -2.1867e-05 | -2.1867e-05 | 4.3735e-05 | -2.1867e-05 | -2.1867e-05 | -0.021562 | -4.531e-06 | -4.531e-06 | -0.021562 | -4.531e-06 | -4.531e-06 | 89.7705 | 89.7705 | 89.7705 | 89.7705 | 89.7705 | 89.7705 | 1.5042 | 0.0015579 | 0.0015579 | 1.5042 | 0.0015579 | 0.0015579 | -0.11327 | -78.5231 | -78.5231 | -0.11327 | -78.5231 | -78.5231

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0099288 | 3.1208 | 3.1174 | 0.0074471 | 3.1217 | 3.1165 | 0.11465 | 36.0362 | 35.9961 | 0.085991 | 36.0462 | 35.9861 | 0.0003062 | 9.7283 | 9.6981 | -0.00026242 | -1.3161e-10 | 4.3543e-11 | -0.17238 | 5.7741 | 5.7058 | 0.12932 | -1.3079e-10 | -1.8136e-10 | 89.8468 | -159.5869 | 20.2422 | -90.1714 | 20.4557 | -159.8006 | 1.5035 | 0.31393 | 0.31259 | 1.5039 | 0 | 0 | -0.051442 | -128.8964 | 50.7125 | -0.055124 | 0 | 0
Line_1 | 0.0012414 | 0.0012414 | 0.0012414 | 0.0037235 | 0.0037235 | 0.0037235 | 0.014335 | 0.014335 | 0.014335 | 0.042996 | 0.042996 | 0.042996 | -4.3737e-05 | 2.1867e-05 | 2.1867e-05 | 0.00013121 | -2.013e-13 | 1.8503e-13 | 0.021562 | 4.531e-06 | 4.531e-06 | -0.06466 | 9.1958e-14 | 1.242e-13 | -90.2295 | -90.2295 | -90.2295 | 89.8286 | 89.8286 | 89.8286 | 1.5042 | 0.0015579 | 0.0015579 | 1.5039 | 0 | 0 | -0.11327 | -78.5231 | -78.5231 | -0.055124 | 0 | 0
Line_2 | 0.0012414 | 0.0012414 | 0.0012414 | 0.0037235 | 0.0037235 | 0.0037235 | 0.014335 | 0.014335 | 0.014335 | 0.042996 | 0.042996 | 0.042996 | -4.3737e-05 | 2.1867e-05 | 2.1867e-05 | 0.00013121 | -2.013e-13 | 1.8503e-13 | 0.021562 | 4.531e-06 | 4.531e-06 | -0.06466 | 9.1958e-14 | 1.242e-13 | -90.2295 | -90.2295 | -90.2295 | 89.8286 | 89.8286 | 89.8286 | 1.5042 | 0.0015579 | 0.0015579 | 1.5039 | 0 | 0 | -0.11327 | -78.5231 | -78.5231 | -0.055124 | 0 | 0
Line_3 | 0.0012414 | 0.0012414 | 0.0012414 | 0.0012414 | 0.0012414 | 0.0012414 | 0.014335 | 0.014335 | 0.014335 | 0.014335 | 0.014335 | 0.014335 | 4.3735e-05 | -2.1867e-05 | -2.1867e-05 | 4.3735e-05 | -2.1867e-05 | -2.1867e-05 | -0.021562 | -4.531e-06 | -4.531e-06 | -0.021562 | -4.531e-06 | -4.531e-06 | 89.7705 | 89.7705 | 89.7705 | 89.7705 | 89.7705 | 89.7705 | 1.5042 | 0.0015579 | 0.0015579 | 1.5042 | 0.0015579 | 0.0015579 | -0.11327 | -78.5231 | -78.5231 | -0.11327 | -78.5231 | -78.5231

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010057 | 0.9958 | 0.98957 | 0.0075435 | 0.99737 | 0.98803 | 0.11613 | 11.4985 | 11.4266 | 0.087104 | 11.5166 | 11.4088 | 0.0018314 | 5.9442 | 5.8785 | -0.0014069 | -4.9678 | -4.8875 | -0.17535 | 5.6216 | 5.3961 | 0.13155 | -5.0266 | -4.8287 | 89.0962 | -142.4072 | 37.1371 | -90.922 | 37.7059 | -142.9778 | 1.51 | 0.71152 | 0.69834 | 1.5104 | 0.61365 | 0.60221 | -0.3054 | -99.0048 | 79.6871 | -0.30923 | -96.9571 | 81.6756
Line_1 | 0.0012575 | 0.0012575 | 0.0012575 | 0.0037717 | 0.0037717 | 0.0037717 | 0.01452 | 0.01452 | 0.01452 | 0.043552 | 0.043552 | 0.043552 | -0.00023433 | 0.0088845 | -0.0086502 | 0.00070345 | -0.026578 | 0.026009 | 0.021934 | -0.00092321 | 0.0011225 | -0.065775 | 0.0028099 | -0.0033791 | -90.9801 | -90.9801 | -90.9801 | 89.078 | 89.078 | 89.078 | 1.5107 | 0.61516 | 0.60072 | 1.5104 | 0.61365 | 0.60221 | -0.36798 | -96.9125 | 81.6264 | -0.30923 | -96.9571 | 81.6756
Line_2 | 0.0012575 | 0.0012575 | 0.0012575 | 0.0037717 | 0.0037717 | 0.0037717 | 0.01452 | 0.01452 | 0.01452 | 0.043552 | 0.043552 | 0.043552 | -0.00023433 | 0.0088845 | -0.0086502 | 0.00070345 | -0.026578 | 0.026009 | 0.021934 | -0.00092321 | 0.0011225 | -0.065775 | 0.0028099 | -0.0033791 | -90.9801 | -90.9801 | -90.9801 | 89.078 | 89.078 | 89.078 | 1.5107 | 0.61516 | 0.60072 | 1.5104 | 0.61365 | 0.60221 | -0.36798 | -96.9125 | 81.6264 | -0.30923 | -96.9571 | 81.6756
Line_3 | 0.0012575 | 0.0012575 | 0.0012575 | 0.0012575 | 0.0012575 | 0.0012575 | 0.01452 | 0.01452 | 0.01452 | 0.01452 | 0.01452 | 0.01452 | 0.00023433 | -0.0088845 | 0.0086502 | 0.00023433 | -0.0088845 | 0.0086502 | -0.021934 | 0.00092321 | -0.0011225 | -0.021934 | 0.00092321 | -0.0011225 | 89.0199 | 89.0199 | 89.0199 | 89.0199 | 89.0199 | 89.0199 | 1.5107 | 0.61516 | 0.60072 | 1.5107 | 0.61516 | 0.60072 | -0.36798 | -96.9125 | 81.6264 | -0.36798 | -96.9125 | 81.6264

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010057 | 0.9958 | 0.98957 | 0.0075435 | 0.99737 | 0.98803 | 0.11613 | 11.4985 | 11.4266 | 0.087104 | 11.5166 | 11.4088 | 0.0018314 | 5.9442 | 5.8785 | -0.0014069 | -4.9678 | -4.8875 | -0.17535 | 5.6216 | 5.3961 | 0.13155 | -5.0266 | -4.8287 | 89.0962 | -142.4072 | 37.1371 | -90.922 | 37.7059 | -142.9778 | 1.51 | 0.71152 | 0.69834 | 1.5104 | 0.61365 | 0.60221 | -0.3054 | -99.0048 | 79.6871 | -0.30923 | -96.9571 | 81.6756
Line_1 | 0.0012575 | 0.0012575 | 0.0012575 | 0.0037717 | 0.0037717 | 0.0037717 | 0.01452 | 0.01452 | 0.01452 | 0.043552 | 0.043552 | 0.043552 | -0.00023433 | 0.0088845 | -0.0086502 | 0.00070345 | -0.026578 | 0.026009 | 0.021934 | -0.00092321 | 0.0011225 | -0.065775 | 0.0028099 | -0.0033791 | -90.9801 | -90.9801 | -90.9801 | 89.078 | 89.078 | 89.078 | 1.5107 | 0.61516 | 0.60072 | 1.5104 | 0.61365 | 0.60221 | -0.36798 | -96.9125 | 81.6264 | -0.30923 | -96.9571 | 81.6756
Line_2 | 0.0012575 | 0.0012575 | 0.0012575 | 0.0037717 | 0.0037717 | 0.0037717 | 0.01452 | 0.01452 | 0.01452 | 0.043552 | 0.043552 | 0.043552 | -0.00023433 | 0.0088845 | -0.0086502 | 0.00070345 | -0.026578 | 0.026009 | 0.021934 | -0.00092321 | 0.0011225 | -0.065775 | 0.0028099 | -0.0033791 | -90.9801 | -90.9801 | -90.9801 | 89.078 | 89.078 | 89.078 | 1.5107 | 0.61516 | 0.60072 | 1.5104 | 0.61365 | 0.60221 | -0.36798 | -96.9125 | 81.6264 | -0.30923 | -96.9571 | 81.6756
Line_3 | 0.0012575 | 0.0012575 | 0.0012575 | 0.0012575 | 0.0012575 | 0.0012575 | 0.01452 | 0.01452 | 0.01452 | 0.01452 | 0.01452 | 0.01452 | 0.00023433 | -0.0088845 | 0.0086502 | 0.00023433 | -0.0088845 | 0.0086502 | -0.021934 | 0.00092321 | -0.0011225 | -0.021934 | 0.00092321 | -0.0011225 | 89.0199 | 89.0199 | 89.0199 | 89.0199 | 89.0199 | 89.0199 | 1.5107 | 0.61516 | 0.60072 | 1.5107 | 0.61516 | 0.60072 | -0.36798 | -96.9125 | 81.6264 | -0.36798 | -96.9125 | 81.6264