## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6999 | 3.6999 | 0 | 0 | 128.1693 | 128.1693 | 35.5926 | -14.237 | 40.3839 | -16.1536 | -73.5107 | 106.4893 | 0.41999 | 0.168 | -24.9022 | -24.9022
Line_1 | 2.4666 | 2.4666 | 4.9647 | 0 | 85.4462 | 85.4462 | -1e-07 | 9.4914 | -1e-07 | 10.769 | 106.4893 | -73.5107 | 0 | 0.168 | 0 | -24.9022
Line_2 | 1.2333 | 1.2333 | 0 | 0 | 42.7231 | 42.7231 | -2.3728 | 4.7457 | -2.6923 | 5.3845 | 106.4893 | -73.5107 | 0.083999 | 0.168 | -24.9022 | -24.9022
Line_3 | 1.2333 | 1.2333 | 2.4824 | 0 | 42.7231 | 42.7231 | -1e-07 | 2.3728 | -1e-07 | 2.6923 | 106.4893 | -73.5107 | 0 | 0.083999 | 0 | -24.9022

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6999 | 3.6999 | 0 | 0 | 128.1693 | 128.1693 | 35.5926 | -14.237 | 40.3839 | -16.1536 | -73.5107 | 106.4893 | 0.41999 | 0.168 | -24.9022 | -24.9022
Line_1 | 2.4666 | 2.4666 | 4.9647 | 0 | 85.4462 | 85.4462 | -1e-07 | 9.4914 | -1e-07 | 10.769 | 106.4893 | -73.5107 | 0 | 0.168 | 0 | -24.9022
Line_2 | 1.2333 | 1.2333 | 0 | 0 | 42.7231 | 42.7231 | -2.3728 | 4.7457 | -2.6923 | 5.3845 | 106.4893 | -73.5107 | 0.083999 | 0.168 | -24.9022 | -24.9022
Line_3 | 1.2333 | 1.2333 | 2.4824 | 0 | 42.7231 | 42.7231 | -1e-07 | 2.3728 | -1e-07 | 2.6923 | 106.4893 | -73.5107 | 0 | 0.083999 | 0 | -24.9022

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2428 | 1.2428 | 0 | 0 | 43.0531 | 43.0531 | 27.1857 | -24.7761 | 27.7264 | -24.9923 | -54.2264 | 125.7736 | 0.90192 | 0.81741 | -8.6624 | -8.9775
Line_1 | 0.82856 | 0.82856 | 1.6677 | 0 | 28.7021 | 28.7021 | -15.4464 | 16.5174 | -15.4464 | 16.6616 | 125.7736 | -54.2264 | 0.76108 | 0.81741 | -9.2264 | -8.9775
Line_2 | 0.41428 | 0.41428 | 0 | 0 | 14.351 | 14.351 | -7.991 | 8.2587 | -8.027 | 8.3308 | 125.7736 | -54.2264 | 0.78924 | 0.81741 | -9.0975 | -8.9775
Line_3 | 0.41428 | 0.41428 | 0.83384 | 0 | 14.351 | 14.351 | -7.7232 | 7.991 | -7.7232 | 8.027 | 125.7736 | -54.2264 | 0.76108 | 0.78924 | -9.2264 | -9.0975

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2428 | 1.2428 | 0 | 0 | 43.0531 | 43.0531 | 27.1857 | -24.7761 | 27.7264 | -24.9923 | -54.2264 | 125.7736 | 0.90192 | 0.81741 | -8.6624 | -8.9775
Line_1 | 0.82856 | 0.82856 | 1.6677 | 0 | 28.7021 | 28.7021 | -15.4464 | 16.5174 | -15.4464 | 16.6616 | 125.7736 | -54.2264 | 0.76108 | 0.81741 | -9.2264 | -8.9775
Line_2 | 0.41428 | 0.41428 | 0 | 0 | 14.351 | 14.351 | -7.991 | 8.2587 | -8.027 | 8.3308 | 125.7736 | -54.2264 | 0.78924 | 0.81741 | -9.0975 | -8.9775
Line_3 | 0.41428 | 0.41428 | 0.83384 | 0 | 14.351 | 14.351 | -7.7232 | 7.991 | -7.7232 | 8.027 | 125.7736 | -54.2264 | 0.76108 | 0.78924 | -9.2264 | -9.0975

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.0092 | 3.0092 | 0 | 0 | 104.2421 | 104.2421 | 45.2043 | -18.0817 | 26.7133 | -10.6853 | -62.3733 | 117.6267 | 0.50371 | 0.20148 | -31.7926 | -31.7926
Line_1 | 2.0061 | 2.0061 | 3.4722 | 0 | 69.4947 | 69.4947 | -1e-07 | 12.0545 | -1e-07 | 7.1235 | 117.6267 | -62.3733 | 0 | 0.20148 | 0 | -31.7926
Line_2 | 1.0031 | 1.0031 | 0 | 0 | 34.7474 | 34.7474 | -3.0136 | 6.0272 | -1.7809 | 3.5618 | 117.6267 | -62.3733 | 0.10074 | 0.20148 | -31.7926 | -31.7926
Line_3 | 1.0031 | 1.0031 | 1.7361 | 0 | 34.7474 | 34.7474 | -1e-07 | 3.0136 | -1e-07 | 1.7809 | 117.6267 | -62.3733 | 0 | 0.10074 | 0 | -31.7926

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.0092 | 3.0092 | 0 | 0 | 104.2421 | 104.2421 | 45.2043 | -18.0817 | 26.7133 | -10.6853 | -62.3733 | 117.6267 | 0.50371 | 0.20148 | -31.7926 | -31.7926
Line_1 | 2.0061 | 2.0061 | 3.4722 | 0 | 69.4947 | 69.4947 | -1e-07 | 12.0545 | -1e-07 | 7.1235 | 117.6267 | -62.3733 | 0 | 0.20148 | 0 | -31.7926
Line_2 | 1.0031 | 1.0031 | 0 | 0 | 34.7474 | 34.7474 | -3.0136 | 6.0272 | -1.7809 | 3.5618 | 117.6267 | -62.3733 | 0.10074 | 0.20148 | -31.7926 | -31.7926
Line_3 | 1.0031 | 1.0031 | 1.7361 | 0 | 34.7474 | 34.7474 | -1e-07 | 3.0136 | -1e-07 | 1.7809 | 117.6267 | -62.3733 | 0 | 0.10074 | 0 | -31.7926

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0697 | 1.0697 | 0 | 0 | 37.0569 | 37.0569 | 22.8777 | -19.4502 | 20.541 | -18.5155 | -51.0933 | 128.9067 | 0.8297 | 0.72467 | -9.1739 | -7.5036
Line_1 | 0.71316 | 0.71316 | 1.2343 | 0 | 24.7046 | 24.7046 | -11.4434 | 12.9668 | -11.4434 | 12.3437 | 128.9067 | -51.0933 | 0.65508 | 0.72467 | -6.0933 | -7.5036
Line_2 | 0.35658 | 0.35658 | 0 | 0 | 12.3523 | 12.3523 | -6.1026 | 6.4834 | -5.9468 | 6.1718 | 128.9067 | -51.0933 | 0.68982 | 0.72467 | -6.834 | -7.5036
Line_3 | 0.35658 | 0.35658 | 0.61717 | 0 | 12.3523 | 12.3523 | -5.7217 | 6.1026 | -5.7217 | 5.9468 | 128.9067 | -51.0933 | 0.65508 | 0.68982 | -6.0933 | -6.834

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0697 | 1.0697 | 0 | 0 | 37.0569 | 37.0569 | 22.8777 | -19.4502 | 20.541 | -18.5155 | -51.0933 | 128.9067 | 0.8297 | 0.72467 | -9.1739 | -7.5036
Line_1 | 0.71316 | 0.71316 | 1.2343 | 0 | 24.7046 | 24.7046 | -11.4434 | 12.9668 | -11.4434 | 12.3437 | 128.9067 | -51.0933 | 0.65508 | 0.72467 | -6.0933 | -7.5036
Line_2 | 0.35658 | 0.35658 | 0 | 0 | 12.3523 | 12.3523 | -6.1026 | 6.4834 | -5.9468 | 6.1718 | 128.9067 | -51.0933 | 0.68982 | 0.72467 | -6.834 | -7.5036
Line_3 | 0.35658 | 0.35658 | 0.61717 | 0 | 12.3523 | 12.3523 | -5.7217 | 6.1026 | -5.7217 | 5.9468 | 128.9067 | -51.0933 | 0.65508 | 0.68982 | -6.0933 | -6.834

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.2042 | 3.2042 | 0 | 3.2042 | 3.2042 | 0 | 36.9993 | 36.9993 | 0 | 36.9993 | 36.9993 | -6.8315e-28 | 28.4108 | -10.6145 | -5.2106e-15 | -23.0719 | 15.9534 | -5.2106e-15 | 4.32 | 15.8719 | 1.0421e-14 | 1.7376 | -9.8143 | 0 | -163.5107 | 16.4893 | 0 | 16.4893 | -163.5107 | 1.1 | 0.7767 | 0.51607 | 1.1 | 0.62534 | 0.50624 | -7.5119e-12 | -154.8648 | 140.2623 | -7.499e-12 | -167.8176 | 164.89
Line_1 | 0 | 2.1362 | 2.1362 | 0 | 2.1362 | 2.1362 | 0 | 24.6662 | 24.6662 | 0 | 24.6662 | 24.6662 | -5.2106e-15 | -13.0085 | 13.0085 | 6.8198e-28 | 15.3813 | -10.6356 | -5.2106e-15 | 3.8506 | -3.8506 | 5.2106e-15 | -1.1584 | 6.5429 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.62534 | 0.50624 | -7.5015e-12 | 180 | -180 | -7.499e-12 | -167.8176 | 164.89
Line_2 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | -1.5632e-14 | -7.0974 | 5.911 | 1.0421e-14 | 7.6906 | -5.3178 | 5.2106e-15 | 1.2523 | -2.5984 | -5.2106e-15 | -0.57919 | 3.2714 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.58437 | 0.52354 | 1.1 | 0.62534 | 0.50624 | -7.5031e-12 | -173.5168 | 172.7598 | -7.499e-12 | -167.8176 | 164.89
Line_3 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | 1.5632e-14 | -6.5042 | 6.5042 | -1.5632e-14 | 7.0974 | -5.911 | -1.5632e-14 | 1.9253 | -1.9253 | 5.2106e-15 | -1.2523 | 2.5984 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.58437 | 0.52354 | -7.5015e-12 | 180 | -180 | -7.5031e-12 | -173.5168 | 172.7598

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.2042 | 3.2042 | 0 | 3.2042 | 3.2042 | 0 | 36.9993 | 36.9993 | 0 | 36.9993 | 36.9993 | -6.8315e-28 | 28.4108 | -10.6145 | -5.2106e-15 | -23.0719 | 15.9534 | -5.2106e-15 | 4.32 | 15.8719 | 1.0421e-14 | 1.7376 | -9.8143 | 0 | -163.5107 | 16.4893 | 0 | 16.4893 | -163.5107 | 1.1 | 0.7767 | 0.51607 | 1.1 | 0.62534 | 0.50624 | -7.5119e-12 | -154.8648 | 140.2623 | -7.499e-12 | -167.8176 | 164.89
Line_1 | 0 | 2.1362 | 2.1362 | 0 | 2.1362 | 2.1362 | 0 | 24.6662 | 24.6662 | 0 | 24.6662 | 24.6662 | -5.2106e-15 | -13.0085 | 13.0085 | 6.8198e-28 | 15.3813 | -10.6356 | -5.2106e-15 | 3.8506 | -3.8506 | 5.2106e-15 | -1.1584 | 6.5429 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.62534 | 0.50624 | -7.5015e-12 | 180 | -180 | -7.499e-12 | -167.8176 | 164.89
Line_2 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | -1.5632e-14 | -7.0974 | 5.911 | 1.0421e-14 | 7.6906 | -5.3178 | 5.2106e-15 | 1.2523 | -2.5984 | -5.2106e-15 | -0.57919 | 3.2714 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.58437 | 0.52354 | 1.1 | 0.62534 | 0.50624 | -7.5031e-12 | -173.5168 | 172.7598 | -7.499e-12 | -167.8176 | 164.89
Line_3 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | 1.5632e-14 | -6.5042 | 6.5042 | -1.5632e-14 | 7.0974 | -5.911 | -1.5632e-14 | 1.9253 | -1.9253 | 5.2106e-15 | -1.2523 | 2.5984 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.58437 | 0.52354 | -7.5015e-12 | 180 | -180 | -7.5031e-12 | -173.5168 | 172.7598

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.6287 | 1.6287 | 0 | 1.6287 | 1.6287 | 0 | 18.8063 | 18.8063 | 0 | 18.8063 | 18.8063 | -1.9161e-28 | 17.8002 | 0.06044 | 2.6053e-15 | -16.4209 | 1.3189 | -2.6053e-15 | 3.9189 | 14.5607 | -1.914e-28 | -2.3539 | -12.9957 | 0 | -149.0411 | 30.9589 | 0 | 30.9589 | -149.0411 | 1.1 | 0.96917 | 0.77425 | 1.1 | 0.88208 | 0.69458 | -4.2139e-12 | -136.625 | 120.7211 | -4.2093e-12 | -140.8835 | 126.7539
Line_1 | 0 | 1.0858 | 1.0858 | 0 | 1.0858 | 1.0858 | 0 | 12.5375 | 12.5375 | 0 | 12.5375 | 12.5375 | -1.0421e-14 | -10.3342 | 1.4923 | 1.3027e-14 | 10.9473 | -0.87927 | 7.816e-15 | -0.87368 | -7.9682 | -7.816e-15 | 1.5692 | 8.6638 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.88208 | 0.69458 | -4.2117e-12 | -144.2087 | 131.5665 | -4.2093e-12 | -140.8835 | 126.7539
Line_2 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | -2.6053e-15 | -5.3204 | 0.59289 | 2.6053e-15 | 5.4736 | -0.43963 | 1.9159e-28 | -0.61073 | -4.158 | -2.6053e-15 | 0.78462 | 4.3319 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.85428 | 0.67 | 1.1 | 0.88208 | 0.69458 | -4.2134e-12 | -142.4927 | 129.0741 | -4.2093e-12 | -140.8835 | 126.7539
Line_3 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | -5.2106e-15 | -5.1671 | 0.74615 | 7.816e-15 | 5.3204 | -0.59289 | 5.2106e-15 | -0.43684 | -3.9841 | -7.816e-15 | 0.61073 | 4.158 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.85428 | 0.67 | -4.2117e-12 | -144.2087 | 131.5665 | -4.2134e-12 | -142.4927 | 129.0741

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.6287 | 1.6287 | 0 | 1.6287 | 1.6287 | 0 | 18.8063 | 18.8063 | 0 | 18.8063 | 18.8063 | -1.9161e-28 | 17.8002 | 0.06044 | 2.6053e-15 | -16.4209 | 1.3189 | -2.6053e-15 | 3.9189 | 14.5607 | -1.914e-28 | -2.3539 | -12.9957 | 0 | -149.0411 | 30.9589 | 0 | 30.9589 | -149.0411 | 1.1 | 0.96917 | 0.77425 | 1.1 | 0.88208 | 0.69458 | -4.2139e-12 | -136.625 | 120.7211 | -4.2093e-12 | -140.8835 | 126.7539
Line_1 | 0 | 1.0858 | 1.0858 | 0 | 1.0858 | 1.0858 | 0 | 12.5375 | 12.5375 | 0 | 12.5375 | 12.5375 | -1.0421e-14 | -10.3342 | 1.4923 | 1.3027e-14 | 10.9473 | -0.87927 | 7.816e-15 | -0.87368 | -7.9682 | -7.816e-15 | 1.5692 | 8.6638 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.88208 | 0.69458 | -4.2117e-12 | -144.2087 | 131.5665 | -4.2093e-12 | -140.8835 | 126.7539
Line_2 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | -2.6053e-15 | -5.3204 | 0.59289 | 2.6053e-15 | 5.4736 | -0.43963 | 1.9159e-28 | -0.61073 | -4.158 | -2.6053e-15 | 0.78462 | 4.3319 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.85428 | 0.67 | 1.1 | 0.88208 | 0.69458 | -4.2134e-12 | -142.4927 | 129.0741 | -4.2093e-12 | -140.8835 | 126.7539
Line_3 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | -5.2106e-15 | -5.1671 | 0.74615 | 7.816e-15 | 5.3204 | -0.59289 | 5.2106e-15 | -0.43684 | -3.9841 | -7.816e-15 | 0.61073 | 4.158 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.85428 | 0.67 | -4.2117e-12 | -144.2087 | 131.5665 | -4.2134e-12 | -142.4927 | 129.0741

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.6061 | 2.6061 | 0 | 2.6061 | 2.6061 | 0 | 30.0921 | 30.0921 | 0 | 30.0921 | 30.0921 | 1.1842e-15 | 24.6317 | -2.0295 | -1.1842e-15 | -17.851 | 8.8102 | 2.3685e-15 | -0.29866 | 13.6553 | 2.0503e-30 | 4.3057 | -9.6483 | 0 | -152.3733 | 27.6267 | 0 | 27.6267 | -152.3733 | 1 | 0.8186 | 0.45877 | 1 | 0.61023 | 0.43419 | -1.0695e-13 | -153.068 | 126.0805 | -9.9196e-14 | -165.934 | 160.0269
Line_1 | 0 | 1.7374 | 1.7374 | 0 | 1.7374 | 1.7374 | 0 | 20.0614 | 20.0614 | 0 | 20.0614 | 20.0614 | -1.1842e-14 | -8.8871 | 8.8871 | 1.4211e-14 | 11.9007 | -5.8735 | 2.7484e-29 | 4.6513 | -4.6513 | 4.737e-15 | -2.8704 | 6.4322 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.61023 | 0.43419 | -1.3297e-13 | -180 | 180 | -9.9196e-14 | -165.934 | 160.0269
Line_2 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -1.1842e-14 | -5.1969 | 3.6901 | 1.1842e-14 | 5.9503 | -2.9367 | 2.662e-29 | 1.8804 | -2.7709 | 4.737e-15 | -1.4352 | 3.2161 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.55098 | 0.46005 | 1 | 0.61023 | 0.43419 | -1.2879e-13 | -172.2653 | 170.7242 | -9.9196e-14 | -165.934 | 160.0269
Line_3 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | 1.0994e-29 | -4.4435 | 4.4435 | 4.737e-15 | 5.1969 | -3.6901 | 4.737e-15 | 2.3257 | -2.3257 | 4.737e-15 | -1.8804 | 2.7709 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.55098 | 0.46005 | -1.3297e-13 | -180 | 180 | -1.2879e-13 | -172.2653 | 170.7242

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.6061 | 2.6061 | 0 | 2.6061 | 2.6061 | 0 | 30.0921 | 30.0921 | 0 | 30.0921 | 30.0921 | 1.1842e-15 | 24.6317 | -2.0295 | -1.1842e-15 | -17.851 | 8.8102 | 2.3685e-15 | -0.29866 | 13.6553 | 2.0503e-30 | 4.3057 | -9.6483 | 0 | -152.3733 | 27.6267 | 0 | 27.6267 | -152.3733 | 1 | 0.8186 | 0.45877 | 1 | 0.61023 | 0.43419 | -1.0695e-13 | -153.068 | 126.0805 | -9.9196e-14 | -165.934 | 160.0269
Line_1 | 0 | 1.7374 | 1.7374 | 0 | 1.7374 | 1.7374 | 0 | 20.0614 | 20.0614 | 0 | 20.0614 | 20.0614 | -1.1842e-14 | -8.8871 | 8.8871 | 1.4211e-14 | 11.9007 | -5.8735 | 2.7484e-29 | 4.6513 | -4.6513 | 4.737e-15 | -2.8704 | 6.4322 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.61023 | 0.43419 | -1.3297e-13 | -180 | 180 | -9.9196e-14 | -165.934 | 160.0269
Line_2 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -1.1842e-14 | -5.1969 | 3.6901 | 1.1842e-14 | 5.9503 | -2.9367 | 2.662e-29 | 1.8804 | -2.7709 | 4.737e-15 | -1.4352 | 3.2161 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.55098 | 0.46005 | 1 | 0.61023 | 0.43419 | -1.2879e-13 | -172.2653 | 170.7242 | -9.9196e-14 | -165.934 | 160.0269
Line_3 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | 1.0994e-29 | -4.4435 | 4.4435 | 4.737e-15 | 5.1969 | -3.6901 | 4.737e-15 | 2.3257 | -2.3257 | 4.737e-15 | -1.8804 | 2.7709 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.55098 | 0.46005 | -1.3297e-13 | -180 | 180 | -1.2879e-13 | -172.2653 | 170.7242

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3721 | 1.3721 | 0 | 1.3721 | 1.3721 | 0 | 15.8432 | 15.8432 | 0 | 15.8432 | 15.8432 | -4.1448e-15 | 14.2512 | 1.4266 | 2.3685e-15 | -12.3717 | 0.45296 | 4.737e-15 | 1.9064 | 11.2087 | -4.737e-15 | -0.79565 | -10.098 | 0 | -144.0449 | 35.9551 | 0 | 35.9551 | -144.0449 | 1 | 0.90753 | 0.71319 | 1 | 0.7825 | 0.63801 | 1.8359e-13 | -136.4258 | 118.7019 | 1.8704e-13 | -140.3651 | 128.5235
Line_1 | 0 | 0.9147 | 0.9147 | 0 | 0.9147 | 0.9147 | 0 | 10.5621 | 10.5621 | 0 | 10.5621 | 10.5621 | -8.8818e-15 | -7.4125 | 1.1373 | 7.6975e-15 | 8.2478 | -0.30197 | -2.6135e-29 | -0.036791 | -6.2383 | 2.5128e-29 | 0.53044 | 6.732 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.7825 | 0.63801 | 1.686e-13 | -143.7605 | 136.2873 | 1.8704e-13 | -140.3651 | 128.5235
Line_2 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -8.2897e-15 | -3.9151 | 0.35982 | 8.2897e-15 | 4.1239 | -0.15099 | 4.737e-15 | -0.14181 | -3.2426 | -2.3685e-15 | 0.26522 | 3.366 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.74183 | 0.61777 | 1 | 0.7825 | 0.63801 | 1.7108e-13 | -141.9705 | 132.2872 | 1.8704e-13 | -140.3651 | 128.5235
Line_3 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | 1.1842e-15 | -3.7062 | 0.56866 | -1.1842e-15 | 3.9151 | -0.35982 | 3.4847e-30 | -0.018396 | -3.1192 | 4.737e-15 | 0.14181 | 3.2426 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.74183 | 0.61777 | 1.686e-13 | -143.7605 | 136.2873 | 1.7108e-13 | -141.9705 | 132.2872

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3721 | 1.3721 | 0 | 1.3721 | 1.3721 | 0 | 15.8432 | 15.8432 | 0 | 15.8432 | 15.8432 | -4.1448e-15 | 14.2512 | 1.4266 | 2.3685e-15 | -12.3717 | 0.45296 | 4.737e-15 | 1.9064 | 11.2087 | -4.737e-15 | -0.79565 | -10.098 | 0 | -144.0449 | 35.9551 | 0 | 35.9551 | -144.0449 | 1 | 0.90753 | 0.71319 | 1 | 0.7825 | 0.63801 | 1.8359e-13 | -136.4258 | 118.7019 | 1.8704e-13 | -140.3651 | 128.5235
Line_1 | 0 | 0.9147 | 0.9147 | 0 | 0.9147 | 0.9147 | 0 | 10.5621 | 10.5621 | 0 | 10.5621 | 10.5621 | -8.8818e-15 | -7.4125 | 1.1373 | 7.6975e-15 | 8.2478 | -0.30197 | -2.6135e-29 | -0.036791 | -6.2383 | 2.5128e-29 | 0.53044 | 6.732 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.7825 | 0.63801 | 1.686e-13 | -143.7605 | 136.2873 | 1.8704e-13 | -140.3651 | 128.5235
Line_2 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -8.2897e-15 | -3.9151 | 0.35982 | 8.2897e-15 | 4.1239 | -0.15099 | 4.737e-15 | -0.14181 | -3.2426 | -2.3685e-15 | 0.26522 | 3.366 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.74183 | 0.61777 | 1 | 0.7825 | 0.63801 | 1.7108e-13 | -141.9705 | 132.2872 | 1.8704e-13 | -140.3651 | 128.5235
Line_3 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | 1.1842e-15 | -3.7062 | 0.56866 | -1.1842e-15 | 3.9151 | -0.35982 | 3.4847e-30 | -0.018396 | -3.1192 | 4.737e-15 | 0.14181 | 3.2426 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.74183 | 0.61777 | 1.686e-13 | -143.7605 | 136.2873 | 1.7108e-13 | -141.9705 | 132.2872

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.04409 | 0.022045 | 0.022045 | 0.049604 | 0.016531 | 0.016531 | 0.50911 | 0.25455 | 0.25455 | 0.57277 | 0.19089 | 0.19089 | 0.0036315 | 0.24277 | -0.24222 | -0.0024425 | -0.18191 | 0.18177 | 0.0026839 | -0.42342 | -0.42601 | -0.0015292 | 0.31773 | 0.31955 | 89.6932 | -90.3068 | -90.3068 | -90.3137 | 89.714 | 89.714 | 0.0088698 | 1.9174 | 1.9252 | 0.0050312 | 1.918 | 1.9259 | 126.1604 | -150.4788 | 150.0723 | 121.7365 | -150.4932 | 150.0808
Line_1 | 0.041335 | 0.002755 | 0.002755 | 0.035825 | 0.0082649 | 0.0082649 | 0.47729 | 0.031812 | 0.031812 | 0.41367 | 0.095435 | 0.095435 | 8.3785e-14 | -0.03038 | 0.03023 | 0.001764 | 0.090911 | -0.090915 | -1.7728e-13 | 0.052944 | 0.053235 | 0.0011045 | -0.15887 | -0.15974 | -90.3089 | 89.7241 | 89.7241 | 89.6853 | -90.2725 | -90.2725 | 0 | 1.9188 | 1.9244 | 0.0050312 | 1.918 | 1.9259 | 0 | -150.428 | 150.1337 | 121.7365 | -150.4932 | 150.0808
Line_2 | 0.019291 | 0.0027543 | 0.0027543 | 0.013779 | 0.0082664 | 0.0082664 | 0.22275 | 0.031803 | 0.031803 | 0.1591 | 0.095453 | 0.095453 | -0.00067136 | -0.03027 | 0.030324 | 0.00067849 | 0.091002 | -0.090857 | -0.00037554 | 0.052968 | 0.053217 | 0.00042475 | -0.15886 | -0.15981 | -90.317 | 89.7645 | 89.7645 | 89.6888 | -90.2994 | -90.2994 | 0.0034534 | 1.9182 | 1.9259 | 0.0050312 | 1.918 | 1.9259 | 118.9041 | -150.4886 | 150.0896 | 121.7365 | -150.4932 | 150.0808
Line_3 | 0.0248 | 0.002755 | 0.002755 | 0.019291 | 0.0027543 | 0.0027543 | 0.28637 | 0.031812 | 0.031812 | 0.22275 | 0.031803 | 0.031803 | 5.0259e-14 | 0.03038 | -0.03023 | 0.00067136 | 0.03027 | -0.030324 | -1.0637e-13 | -0.052944 | -0.053235 | 0.00037554 | -0.052968 | -0.053217 | -90.3034 | -90.2759 | -90.2759 | 89.683 | -90.2355 | -90.2355 | 0 | 1.9188 | 1.9244 | 0.0034534 | 1.9182 | 1.9259 | 0 | -150.428 | 150.1337 | 118.9041 | -150.4886 | 150.0896

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.04409 | 0.022045 | 0.022045 | 0.049604 | 0.016531 | 0.016531 | 0.50911 | 0.25455 | 0.25455 | 0.57277 | 0.19089 | 0.19089 | 0.0036315 | 0.24277 | -0.24222 | -0.0024425 | -0.18191 | 0.18177 | 0.0026839 | -0.42342 | -0.42601 | -0.0015292 | 0.31773 | 0.31955 | 89.6932 | -90.3068 | -90.3068 | -90.3137 | 89.714 | 89.714 | 0.0088698 | 1.9174 | 1.9252 | 0.0050312 | 1.918 | 1.9259 | 126.1604 | -150.4788 | 150.0723 | 121.7365 | -150.4932 | 150.0808
Line_1 | 0.041335 | 0.002755 | 0.002755 | 0.035825 | 0.0082649 | 0.0082649 | 0.47729 | 0.031812 | 0.031812 | 0.41367 | 0.095435 | 0.095435 | 8.3785e-14 | -0.03038 | 0.03023 | 0.001764 | 0.090911 | -0.090915 | -1.7728e-13 | 0.052944 | 0.053235 | 0.0011045 | -0.15887 | -0.15974 | -90.3089 | 89.7241 | 89.7241 | 89.6853 | -90.2725 | -90.2725 | 0 | 1.9188 | 1.9244 | 0.0050312 | 1.918 | 1.9259 | 0 | -150.428 | 150.1337 | 121.7365 | -150.4932 | 150.0808
Line_2 | 0.019291 | 0.0027543 | 0.0027543 | 0.013779 | 0.0082664 | 0.0082664 | 0.22275 | 0.031803 | 0.031803 | 0.1591 | 0.095453 | 0.095453 | -0.00067136 | -0.03027 | 0.030324 | 0.00067849 | 0.091002 | -0.090857 | -0.00037554 | 0.052968 | 0.053217 | 0.00042475 | -0.15886 | -0.15981 | -90.317 | 89.7645 | 89.7645 | 89.6888 | -90.2994 | -90.2994 | 0.0034534 | 1.9182 | 1.9259 | 0.0050312 | 1.918 | 1.9259 | 118.9041 | -150.4886 | 150.0896 | 121.7365 | -150.4932 | 150.0808
Line_3 | 0.0248 | 0.002755 | 0.002755 | 0.019291 | 0.0027543 | 0.0027543 | 0.28637 | 0.031812 | 0.031812 | 0.22275 | 0.031803 | 0.031803 | 5.0259e-14 | 0.03038 | -0.03023 | 0.00067136 | 0.03027 | -0.030324 | -1.0637e-13 | -0.052944 | -0.053235 | 0.00037554 | -0.052968 | -0.053217 | -90.3034 | -90.2759 | -90.2759 | 89.683 | -90.2355 | -90.2355 | 0 | 1.9188 | 1.9244 | 0.0034534 | 1.9182 | 1.9259 | 0 | -150.428 | 150.1337 | 118.9041 | -150.4886 | 150.0896

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.045246 | 0.022623 | 0.022623 | 0.050904 | 0.016965 | 0.016965 | 0.52245 | 0.26123 | 0.26123 | 0.58779 | 0.19589 | 0.19589 | 0.019178 | 0.25285 | -0.24459 | -0.019844 | -0.18947 | 0.18356 | 0.01818 | -0.43542 | -0.45145 | -0.018886 | 0.32674 | 0.33863 | 88.1541 | -91.8459 | -91.8459 | -91.8528 | 88.175 | 88.175 | 0.05058 | 1.9275 | 1.9655 | 0.046607 | 1.9281 | 1.9663 | 131.6241 | -151.7017 | 149.7055 | 131.7308 | -151.7165 | 149.7137
Line_1 | 0.042418 | 0.0028272 | 0.0028272 | 0.036764 | 0.0084815 | 0.0084815 | 0.48981 | 0.032646 | 0.032646 | 0.42452 | 0.097936 | 0.097936 | -0.014394 | -0.031643 | 0.030525 | 0.014332 | 0.094688 | -0.091813 | -0.014395 | 0.054445 | 0.056415 | 0.01364 | -0.16338 | -0.16928 | -91.8479 | 88.1851 | 88.1851 | 88.1462 | -91.8116 | -91.8116 | 0.041561 | 1.9289 | 1.9648 | 0.046607 | 1.9281 | 1.9663 | 133.1541 | -151.6501 | 149.7677 | 131.7308 | -151.7165 | 149.7137
Line_2 | 0.019796 | 0.0028265 | 0.0028265 | 0.01414 | 0.0084831 | 0.0084831 | 0.22859 | 0.032637 | 0.032637 | 0.16327 | 0.097955 | 0.097955 | -0.0074236 | -0.031528 | 0.030624 | 0.0055123 | 0.094782 | -0.09175 | -0.0071144 | 0.05447 | 0.056396 | 0.0052459 | -0.16336 | -0.16935 | -91.8561 | 88.2254 | 88.2254 | 88.1497 | -91.8385 | -91.8385 | 0.044981 | 1.9284 | 1.9663 | 0.046607 | 1.9281 | 1.9663 | 131.9257 | -151.7119 | 149.7225 | 131.7308 | -151.7165 | 149.7137
Line_3 | 0.02545 | 0.0028272 | 0.0028272 | 0.019796 | 0.0028265 | 0.0028265 | 0.29387 | 0.032646 | 0.032646 | 0.22859 | 0.032637 | 0.032637 | -0.0086368 | 0.031643 | -0.030525 | 0.0074236 | 0.031528 | -0.030624 | -0.0086358 | -0.054445 | -0.056415 | 0.0071144 | -0.05447 | -0.056396 | -91.8424 | -91.8149 | -91.8149 | 88.1439 | -91.7746 | -91.7746 | 0.041561 | 1.9289 | 1.9648 | 0.044981 | 1.9284 | 1.9663 | 133.1541 | -151.6501 | 149.7677 | 131.9257 | -151.7119 | 149.7225

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.045246 | 0.022623 | 0.022623 | 0.050904 | 0.016965 | 0.016965 | 0.52245 | 0.26123 | 0.26123 | 0.58779 | 0.19589 | 0.19589 | 0.019178 | 0.25285 | -0.24459 | -0.019844 | -0.18947 | 0.18356 | 0.01818 | -0.43542 | -0.45145 | -0.018886 | 0.32674 | 0.33863 | 88.1541 | -91.8459 | -91.8459 | -91.8528 | 88.175 | 88.175 | 0.05058 | 1.9275 | 1.9655 | 0.046607 | 1.9281 | 1.9663 | 131.6241 | -151.7017 | 149.7055 | 131.7308 | -151.7165 | 149.7137
Line_1 | 0.042418 | 0.0028272 | 0.0028272 | 0.036764 | 0.0084815 | 0.0084815 | 0.48981 | 0.032646 | 0.032646 | 0.42452 | 0.097936 | 0.097936 | -0.014394 | -0.031643 | 0.030525 | 0.014332 | 0.094688 | -0.091813 | -0.014395 | 0.054445 | 0.056415 | 0.01364 | -0.16338 | -0.16928 | -91.8479 | 88.1851 | 88.1851 | 88.1462 | -91.8116 | -91.8116 | 0.041561 | 1.9289 | 1.9648 | 0.046607 | 1.9281 | 1.9663 | 133.1541 | -151.6501 | 149.7677 | 131.7308 | -151.7165 | 149.7137
Line_2 | 0.019796 | 0.0028265 | 0.0028265 | 0.01414 | 0.0084831 | 0.0084831 | 0.22859 | 0.032637 | 0.032637 | 0.16327 | 0.097955 | 0.097955 | -0.0074236 | -0.031528 | 0.030624 | 0.0055123 | 0.094782 | -0.09175 | -0.0071144 | 0.05447 | 0.056396 | 0.0052459 | -0.16336 | -0.16935 | -91.8561 | 88.2254 | 88.2254 | 88.1497 | -91.8385 | -91.8385 | 0.044981 | 1.9284 | 1.9663 | 0.046607 | 1.9281 | 1.9663 | 131.9257 | -151.7119 | 149.7225 | 131.7308 | -151.7165 | 149.7137
Line_3 | 0.02545 | 0.0028272 | 0.0028272 | 0.019796 | 0.0028265 | 0.0028265 | 0.29387 | 0.032646 | 0.032646 | 0.22859 | 0.032637 | 0.032637 | -0.0086368 | 0.031643 | -0.030525 | 0.0074236 | 0.031528 | -0.030624 | -0.0086358 | -0.054445 | -0.056415 | 0.0071144 | -0.05447 | -0.056396 | -91.8424 | -91.8149 | -91.8149 | 88.1439 | -91.7746 | -91.7746 | 0.041561 | 1.9289 | 1.9648 | 0.044981 | 1.9284 | 1.9663 | 133.1541 | -151.6501 | 149.7677 | 131.9257 | -151.7119 | 149.7225

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.040095 | 0.020048 | 0.020048 | 0.045109 | 0.015034 | 0.015034 | 0.46298 | 0.23149 | 0.23149 | 0.52088 | 0.17359 | 0.17359 | 0.0057662 | 0.2009 | -0.20003 | -0.0038783 | -0.15044 | 0.15022 | 0.0022157 | -0.34924 | -0.35324 | -0.0012625 | 0.26212 | 0.26491 | 89.429 | -90.571 | -90.571 | -90.5844 | 89.469 | 89.469 | 0.013342 | 1.7405 | 1.7536 | 0.0078304 | 1.741 | 1.7543 | 110.4481 | -150.6609 | 149.9074 | 107.4477 | -150.678 | 149.9133
Line_1 | 0.03759 | 0.0025054 | 0.0025054 | 0.032579 | 0.0075161 | 0.0075161 | 0.43405 | 0.02893 | 0.02893 | 0.37619 | 0.086788 | 0.086788 | 1.4243e-14 | -0.025172 | 0.024934 | 0.002801 | 0.075154 | -0.075162 | -2.029e-14 | 0.043682 | 0.044129 | 0.00091194 | -0.13108 | -0.13241 | -90.575 | 89.4884 | 89.4884 | 89.4138 | -90.5052 | -90.5052 | 0 | 1.7427 | 1.752 | 0.0078304 | 1.741 | 1.7543 | 0 | -150.5585 | 150.0206 | 107.4477 | -150.678 | 149.9133
Line_2 | 0.017543 | 0.0025047 | 0.0025047 | 0.01253 | 0.0075175 | 0.0075175 | 0.20257 | 0.028922 | 0.028922 | 0.14469 | 0.086804 | 0.086804 | -0.001066 | -0.025004 | 0.025089 | 0.0010773 | 0.075286 | -0.075056 | -0.00031022 | 0.043718 | 0.044098 | 0.00035061 | -0.13104 | -0.1325 | -90.5906 | 89.5659 | 89.5659 | 89.4205 | -90.5569 | -90.5569 | 0.0054808 | 1.7413 | 1.7542 | 0.0078304 | 1.741 | 1.7543 | 105.6348 | -150.6674 | 149.9282 | 107.4477 | -150.678 | 149.9133
Line_3 | 0.022553 | 0.0025054 | 0.0025054 | 0.017543 | 0.0025047 | 0.0025047 | 0.26042 | 0.02893 | 0.02893 | 0.20257 | 0.028922 | 0.028922 | 8.5435e-15 | 0.025172 | -0.024934 | 0.001066 | 0.025004 | -0.025089 | -1.2175e-14 | -0.043682 | -0.044129 | 0.00031022 | -0.043718 | -0.044098 | -90.5644 | -90.5116 | -90.5116 | 89.4094 | -90.4341 | -90.4341 | 0 | 1.7427 | 1.752 | 0.0054808 | 1.7413 | 1.7542 | 0 | -150.5585 | 150.0206 | 105.6348 | -150.6674 | 149.9282

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.040095 | 0.020048 | 0.020048 | 0.045109 | 0.015034 | 0.015034 | 0.46298 | 0.23149 | 0.23149 | 0.52088 | 0.17359 | 0.17359 | 0.0057662 | 0.2009 | -0.20003 | -0.0038783 | -0.15044 | 0.15022 | 0.0022157 | -0.34924 | -0.35324 | -0.0012625 | 0.26212 | 0.26491 | 89.429 | -90.571 | -90.571 | -90.5844 | 89.469 | 89.469 | 0.013342 | 1.7405 | 1.7536 | 0.0078304 | 1.741 | 1.7543 | 110.4481 | -150.6609 | 149.9074 | 107.4477 | -150.678 | 149.9133
Line_1 | 0.03759 | 0.0025054 | 0.0025054 | 0.032579 | 0.0075161 | 0.0075161 | 0.43405 | 0.02893 | 0.02893 | 0.37619 | 0.086788 | 0.086788 | 1.4243e-14 | -0.025172 | 0.024934 | 0.002801 | 0.075154 | -0.075162 | -2.029e-14 | 0.043682 | 0.044129 | 0.00091194 | -0.13108 | -0.13241 | -90.575 | 89.4884 | 89.4884 | 89.4138 | -90.5052 | -90.5052 | 0 | 1.7427 | 1.752 | 0.0078304 | 1.741 | 1.7543 | 0 | -150.5585 | 150.0206 | 107.4477 | -150.678 | 149.9133
Line_2 | 0.017543 | 0.0025047 | 0.0025047 | 0.01253 | 0.0075175 | 0.0075175 | 0.20257 | 0.028922 | 0.028922 | 0.14469 | 0.086804 | 0.086804 | -0.001066 | -0.025004 | 0.025089 | 0.0010773 | 0.075286 | -0.075056 | -0.00031022 | 0.043718 | 0.044098 | 0.00035061 | -0.13104 | -0.1325 | -90.5906 | 89.5659 | 89.5659 | 89.4205 | -90.5569 | -90.5569 | 0.0054808 | 1.7413 | 1.7542 | 0.0078304 | 1.741 | 1.7543 | 105.6348 | -150.6674 | 149.9282 | 107.4477 | -150.678 | 149.9133
Line_3 | 0.022553 | 0.0025054 | 0.0025054 | 0.017543 | 0.0025047 | 0.0025047 | 0.26042 | 0.02893 | 0.02893 | 0.20257 | 0.028922 | 0.028922 | 8.5435e-15 | 0.025172 | -0.024934 | 0.001066 | 0.025004 | -0.025089 | -1.2175e-14 | -0.043682 | -0.044129 | 0.00031022 | -0.043718 | -0.044098 | -90.5644 | -90.5116 | -90.5116 | 89.4094 | -90.4341 | -90.4341 | 0 | 1.7427 | 1.752 | 0.0054808 | 1.7413 | 1.7542 | 0 | -150.5585 | 150.0206 | 105.6348 | -150.6674 | 149.9282

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.041141 | 0.020571 | 0.020571 | 0.046286 | 0.015426 | 0.015426 | 0.47506 | 0.23753 | 0.23753 | 0.53447 | 0.17812 | 0.17812 | 0.018766 | 0.2092 | -0.20193 | -0.018362 | -0.15666 | 0.15166 | 0.015027 | -0.35903 | -0.37423 | -0.015615 | 0.26947 | 0.28066 | 87.8825 | -92.1174 | -92.1174 | -92.1308 | 87.9225 | 87.9225 | 0.050606 | 1.7494 | 1.7902 | 0.045098 | 1.7499 | 1.791 | 126.57 | -151.8889 | 149.5318 | 128.2462 | -151.9064 | 149.5374
Line_1 | 0.038571 | 0.0025708 | 0.0025708 | 0.033429 | 0.0077122 | 0.0077122 | 0.44537 | 0.029685 | 0.029685 | 0.38601 | 0.089053 | 0.089053 | -0.0119 | -0.026213 | 0.025169 | 0.013261 | 0.07826 | -0.075885 | -0.011902 | 0.044907 | 0.046753 | 0.011278 | -0.13476 | -0.14028 | -92.1214 | 87.9419 | 87.9419 | 87.8674 | -92.0516 | -92.0516 | 0.037791 | 1.7517 | 1.7887 | 0.045098 | 1.7499 | 1.791 | 132.8825 | -151.7847 | 149.6466 | 128.2462 | -151.9064 | 149.5374
Line_2 | 0.018001 | 0.0025701 | 0.0025701 | 0.012857 | 0.0077136 | 0.0077136 | 0.20785 | 0.029677 | 0.029677 | 0.14846 | 0.089069 | 0.089069 | -0.0066747 | -0.026038 | 0.025333 | 0.0051009 | 0.078396 | -0.075773 | -0.0058828 | 0.044945 | 0.046721 | 0.0043369 | -0.13471 | -0.14038 | -92.137 | 88.0195 | 88.0195 | 87.874 | -92.1033 | -92.1033 | 0.042805 | 1.7503 | 1.7909 | 0.045098 | 1.7499 | 1.791 | 129.2543 | -151.8956 | 149.5524 | 128.2462 | -151.9064 | 149.5374
Line_3 | 0.023141 | 0.0025708 | 0.0025708 | 0.018001 | 0.0025701 | 0.0025701 | 0.26721 | 0.029685 | 0.029685 | 0.20785 | 0.029677 | 0.029677 | -0.0071413 | 0.026213 | -0.025169 | 0.0066747 | 0.026038 | -0.025333 | -0.0071397 | -0.044907 | -0.046753 | 0.0058828 | -0.044945 | -0.046721 | -92.1109 | -92.0581 | -92.0581 | 87.863 | -91.9805 | -91.9805 | 0.037791 | 1.7517 | 1.7887 | 0.042805 | 1.7503 | 1.7909 | 132.8825 | -151.7847 | 149.6466 | 129.2543 | -151.8956 | 149.5524

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.041141 | 0.020571 | 0.020571 | 0.046286 | 0.015426 | 0.015426 | 0.47506 | 0.23753 | 0.23753 | 0.53447 | 0.17812 | 0.17812 | 0.018766 | 0.2092 | -0.20193 | -0.018362 | -0.15666 | 0.15166 | 0.015027 | -0.35903 | -0.37423 | -0.015615 | 0.26947 | 0.28066 | 87.8825 | -92.1174 | -92.1174 | -92.1308 | 87.9225 | 87.9225 | 0.050606 | 1.7494 | 1.7902 | 0.045098 | 1.7499 | 1.791 | 126.57 | -151.8889 | 149.5318 | 128.2462 | -151.9064 | 149.5374
Line_1 | 0.038571 | 0.0025708 | 0.0025708 | 0.033429 | 0.0077122 | 0.0077122 | 0.44537 | 0.029685 | 0.029685 | 0.38601 | 0.089053 | 0.089053 | -0.0119 | -0.026213 | 0.025169 | 0.013261 | 0.07826 | -0.075885 | -0.011902 | 0.044907 | 0.046753 | 0.011278 | -0.13476 | -0.14028 | -92.1214 | 87.9419 | 87.9419 | 87.8674 | -92.0516 | -92.0516 | 0.037791 | 1.7517 | 1.7887 | 0.045098 | 1.7499 | 1.791 | 132.8825 | -151.7847 | 149.6466 | 128.2462 | -151.9064 | 149.5374
Line_2 | 0.018001 | 0.0025701 | 0.0025701 | 0.012857 | 0.0077136 | 0.0077136 | 0.20785 | 0.029677 | 0.029677 | 0.14846 | 0.089069 | 0.089069 | -0.0066747 | -0.026038 | 0.025333 | 0.0051009 | 0.078396 | -0.075773 | -0.0058828 | 0.044945 | 0.046721 | 0.0043369 | -0.13471 | -0.14038 | -92.137 | 88.0195 | 88.0195 | 87.874 | -92.1033 | -92.1033 | 0.042805 | 1.7503 | 1.7909 | 0.045098 | 1.7499 | 1.791 | 129.2543 | -151.8956 | 149.5524 | 128.2462 | -151.9064 | 149.5374
Line_3 | 0.023141 | 0.0025708 | 0.0025708 | 0.018001 | 0.0025701 | 0.0025701 | 0.26721 | 0.029685 | 0.029685 | 0.20785 | 0.029677 | 0.029677 | -0.0071413 | 0.026213 | -0.025169 | 0.0066747 | 0.026038 | -0.025333 | -0.0071397 | -0.044907 | -0.046753 | 0.0058828 | -0.044945 | -0.046721 | -92.1109 | -92.0581 | -92.0581 | 87.863 | -91.9805 | -91.9805 | 0.037791 | 1.7517 | 1.7887 | 0.042805 | 1.7503 | 1.7909 | 132.8825 | -151.7847 | 149.6466 | 129.2543 | -151.8956 | 149.5524

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010929 | 3.2058 | 3.2027 | 0.0081955 | 3.2066 | 3.2019 | 0.1262 | 37.0174 | 36.9813 | 0.094634 | 37.0265 | 36.9722 | 0.00027139 | 8.9004 | 8.8962 | -0.00014145 | -3.562 | -3.5568 | -0.20879 | 10.1811 | 10.011 | 0.15661 | -4.0983 | -3.9786 | 89.8399 | -163.4171 | 16.3956 | -90.1392 | 16.6296 | -163.6512 | 1.6545 | 0.36532 | 0.36215 | 1.6549 | 0.14665 | 0.14434 | -0.085584 | -114.5774 | 64.7701 | -0.087488 | -114.3656 | 64.5525
Line_1 | 0.0013658 | 2.1389 | 2.1334 | 0.0040974 | 2.1381 | 2.1342 | 0.015771 | 24.6981 | 24.6348 | 0.047312 | 24.6889 | 24.6437 | -3.6797e-05 | 4.2195e-11 | 3.839e-11 | 5.2331e-05 | 2.3768 | 2.3692 | 0.026096 | -2.7135e-11 | 2.4553e-11 | -0.078296 | 2.7313 | 2.6534 | -90.1291 | 16.7347 | -163.7568 | 89.8742 | -163.3353 | 16.3136 | 1.6547 | 0 | 0 | 1.6549 | 0.14665 | 0.14434 | -0.048353 | 0 | 0 | -0.087488 | -114.3656 | 64.5525
Line_2 | 0.0013654 | 1.0693 | 1.0669 | 0.0040981 | 1.0685 | 1.0677 | 0.015767 | 12.3468 | 12.3196 | 0.047321 | 12.3376 | 12.3286 | -2.5936e-06 | -0.59423 | -0.5923 | 8.9119e-05 | 1.1852 | 1.1877 | 0.026093 | -0.68837 | -0.65782 | -0.078311 | 1.3671 | 1.3252 | -90.0888 | 16.6997 | -163.7216 | 89.8473 | -163.4405 | 16.4191 | 1.6549 | 0.073653 | 0.071852 | 1.6549 | 0.14665 | 0.14434 | -0.083068 | -114.1027 | 64.2782 | -0.087488 | -114.3656 | 64.5525
Line_3 | 0.0013658 | 1.0701 | 1.0661 | 0.0013654 | 1.0693 | 1.0669 | 0.015771 | 12.3559 | 12.3107 | 0.015767 | 12.3468 | 12.3196 | 3.6794e-05 | 2.1084e-11 | 1.9162e-11 | 2.5903e-06 | 0.59423 | 0.5923 | -0.026096 | -1.3614e-11 | 1.2305e-11 | -0.026093 | 0.68837 | 0.65782 | 89.8709 | 16.8397 | -163.8624 | 89.9112 | -163.3003 | 16.2784 | 1.6547 | 0 | 0 | 1.6549 | 0.073653 | 0.071852 | -0.048353 | 0 | 0 | -0.083068 | -114.1027 | 64.2782

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010929 | 3.2058 | 3.2027 | 0.0081955 | 3.2066 | 3.2019 | 0.1262 | 37.0174 | 36.9813 | 0.094634 | 37.0265 | 36.9722 | 0.00027139 | 8.9004 | 8.8962 | -0.00014145 | -3.562 | -3.5568 | -0.20879 | 10.1811 | 10.011 | 0.15661 | -4.0983 | -3.9786 | 89.8399 | -163.4171 | 16.3956 | -90.1392 | 16.6296 | -163.6512 | 1.6545 | 0.36532 | 0.36215 | 1.6549 | 0.14665 | 0.14434 | -0.085584 | -114.5774 | 64.7701 | -0.087488 | -114.3656 | 64.5525
Line_1 | 0.0013658 | 2.1389 | 2.1334 | 0.0040974 | 2.1381 | 2.1342 | 0.015771 | 24.6981 | 24.6348 | 0.047312 | 24.6889 | 24.6437 | -3.6797e-05 | 4.2195e-11 | 3.839e-11 | 5.2331e-05 | 2.3768 | 2.3692 | 0.026096 | -2.7135e-11 | 2.4553e-11 | -0.078296 | 2.7313 | 2.6534 | -90.1291 | 16.7347 | -163.7568 | 89.8742 | -163.3353 | 16.3136 | 1.6547 | 0 | 0 | 1.6549 | 0.14665 | 0.14434 | -0.048353 | 0 | 0 | -0.087488 | -114.3656 | 64.5525
Line_2 | 0.0013654 | 1.0693 | 1.0669 | 0.0040981 | 1.0685 | 1.0677 | 0.015767 | 12.3468 | 12.3196 | 0.047321 | 12.3376 | 12.3286 | -2.5936e-06 | -0.59423 | -0.5923 | 8.9119e-05 | 1.1852 | 1.1877 | 0.026093 | -0.68837 | -0.65782 | -0.078311 | 1.3671 | 1.3252 | -90.0888 | 16.6997 | -163.7216 | 89.8473 | -163.4405 | 16.4191 | 1.6549 | 0.073653 | 0.071852 | 1.6549 | 0.14665 | 0.14434 | -0.083068 | -114.1027 | 64.2782 | -0.087488 | -114.3656 | 64.5525
Line_3 | 0.0013658 | 1.0701 | 1.0661 | 0.0013654 | 1.0693 | 1.0669 | 0.015771 | 12.3559 | 12.3107 | 0.015767 | 12.3468 | 12.3196 | 3.6794e-05 | 2.1084e-11 | 1.9162e-11 | 2.5903e-06 | 0.59423 | 0.5923 | -0.026096 | -1.3614e-11 | 1.2305e-11 | -0.026093 | 0.68837 | 0.65782 | 89.8709 | 16.8397 | -163.8624 | 89.9112 | -163.3003 | 16.2784 | 1.6547 | 0 | 0 | 1.6549 | 0.073653 | 0.071852 | -0.048353 | 0 | 0 | -0.083068 | -114.1027 | 64.2782

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.01107 | 1.0796 | 1.073 | 0.0083017 | 1.0813 | 1.0714 | 0.12783 | 12.4667 | 12.3903 | 0.095859 | 12.4859 | 12.3713 | 0.0021168 | 6.8333 | 6.7608 | -0.0015242 | -6.2483 | -6.1415 | -0.2124 | 7.0829 | 6.7814 | 0.15931 | -6.3865 | -6.1112 | 89.0888 | -143.9909 | 35.5365 | -90.8904 | 36.1263 | -144.5825 | 1.6616 | 0.78945 | 0.77284 | 1.662 | 0.71558 | 0.70033 | -0.34022 | -97.9633 | 80.6236 | -0.34226 | -98.2468 | 80.2759
Line_1 | 0.0013835 | 0.72338 | 0.71181 | 0.0041504 | 0.72171 | 0.71344 | 0.015975 | 8.3529 | 8.2192 | 0.047925 | 8.3336 | 8.2381 | -0.00026762 | -3.9232 | -3.8016 | 0.00074332 | 4.1769 | 4.0832 | 0.026547 | -3.9351 | -3.7897 | -0.079649 | 4.2562 | 4.0758 | -90.8803 | 36.3888 | -144.8517 | 89.123 | -143.786 | 35.328 | 1.6618 | 0.66524 | 0.65309 | 1.662 | 0.71558 | 0.70033 | -0.30273 | -98.5241 | 80.0581 | -0.34226 | -98.2468 | 80.2759
Line_2 | 0.0013831 | 0.36127 | 0.35631 | 0.0041512 | 0.35961 | 0.35795 | 0.015971 | 4.1716 | 4.1143 | 0.047934 | 4.1524 | 4.1333 | -0.00023263 | -2.0257 | -1.9705 | 0.00078087 | 2.0714 | 2.0582 | 0.026544 | -2.0497 | -1.9645 | -0.079663 | 2.1303 | 2.0353 | -90.8399 | 36.3015 | -144.7617 | 89.0961 | -144.0497 | 35.5959 | 1.6621 | 0.69082 | 0.6763 | 1.662 | 0.71558 | 0.70033 | -0.33782 | -98.3611 | 80.1502 | -0.34226 | -98.2468 | 80.2759
Line_3 | 0.0013835 | 0.36295 | 0.35469 | 0.0013831 | 0.36127 | 0.35631 | 0.015975 | 4.191 | 4.0956 | 0.015971 | 4.1716 | 4.1143 | 0.00026762 | -1.9774 | -1.8854 | 0.00023262 | 2.0257 | 1.9705 | -0.026547 | -1.9654 | -1.8973 | -0.026544 | 2.0497 | 1.9645 | 89.1197 | 36.6495 | -145.1228 | 89.1601 | -143.6985 | 35.2383 | 1.6618 | 0.66524 | 0.65309 | 1.6621 | 0.69082 | 0.6763 | -0.30273 | -98.5241 | 80.0581 | -0.33782 | -98.3611 | 80.1502

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.01107 | 1.0796 | 1.073 | 0.0083017 | 1.0813 | 1.0714 | 0.12783 | 12.4667 | 12.3903 | 0.095859 | 12.4859 | 12.3713 | 0.0021168 | 6.8333 | 6.7608 | -0.0015242 | -6.2483 | -6.1415 | -0.2124 | 7.0829 | 6.7814 | 0.15931 | -6.3865 | -6.1112 | 89.0888 | -143.9909 | 35.5365 | -90.8904 | 36.1263 | -144.5825 | 1.6616 | 0.78945 | 0.77284 | 1.662 | 0.71558 | 0.70033 | -0.34022 | -97.9633 | 80.6236 | -0.34226 | -98.2468 | 80.2759
Line_1 | 0.0013835 | 0.72338 | 0.71181 | 0.0041504 | 0.72171 | 0.71344 | 0.015975 | 8.3529 | 8.2192 | 0.047925 | 8.3336 | 8.2381 | -0.00026762 | -3.9232 | -3.8016 | 0.00074332 | 4.1769 | 4.0832 | 0.026547 | -3.9351 | -3.7897 | -0.079649 | 4.2562 | 4.0758 | -90.8803 | 36.3888 | -144.8517 | 89.123 | -143.786 | 35.328 | 1.6618 | 0.66524 | 0.65309 | 1.662 | 0.71558 | 0.70033 | -0.30273 | -98.5241 | 80.0581 | -0.34226 | -98.2468 | 80.2759
Line_2 | 0.0013831 | 0.36127 | 0.35631 | 0.0041512 | 0.35961 | 0.35795 | 0.015971 | 4.1716 | 4.1143 | 0.047934 | 4.1524 | 4.1333 | -0.00023263 | -2.0257 | -1.9705 | 0.00078087 | 2.0714 | 2.0582 | 0.026544 | -2.0497 | -1.9645 | -0.079663 | 2.1303 | 2.0353 | -90.8399 | 36.3015 | -144.7617 | 89.0961 | -144.0497 | 35.5959 | 1.6621 | 0.69082 | 0.6763 | 1.662 | 0.71558 | 0.70033 | -0.33782 | -98.3611 | 80.1502 | -0.34226 | -98.2468 | 80.2759
Line_3 | 0.0013835 | 0.36295 | 0.35469 | 0.0013831 | 0.36127 | 0.35631 | 0.015975 | 4.191 | 4.0956 | 0.015971 | 4.1716 | 4.1143 | 0.00026762 | -1.9774 | -1.8854 | 0.00023262 | 2.0257 | 1.9705 | -0.026547 | -1.9654 | -1.8973 | -0.026544 | 2.0497 | 1.9645 | 89.1197 | 36.6495 | -145.1228 | 89.1601 | -143.6985 | 35.2383 | 1.6618 | 0.66524 | 0.65309 | 1.6621 | 0.69082 | 0.6763 | -0.30273 | -98.5241 | 80.0581 | -0.33782 | -98.3611 | 80.1502

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0099362 | 2.6084 | 2.6037 | 0.0074511 | 2.6096 | 2.6026 | 0.11473 | 30.119 | 30.0653 | 0.086038 | 30.1326 | 30.0518 | 0.00043069 | 11.3501 | 11.2526 | -0.00022448 | -4.555 | -4.4864 | -0.17258 | 6.7879 | 6.5689 | 0.12945 | -2.7486 | -2.5942 | 89.6972 | -152.2769 | 27.5301 | -90.2629 | 27.7712 | -152.5182 | 1.5042 | 0.43909 | 0.43338 | 1.5046 | 0.17655 | 0.17245 | -0.15984 | -121.3955 | 57.8052 | -0.16349 | -121.1208 | 57.5197
Line_1 | 0.0012418 | 1.7415 | 1.7333 | 0.0037252 | 1.7403 | 1.7345 | 0.014339 | 20.1086 | 20.0146 | 0.043015 | 20.0951 | 20.0279 | -5.8395e-05 | -9.3513e-11 | 1.4117e-11 | 8.3049e-05 | 3.0388 | 2.9888 | 0.021571 | -6.8203e-11 | -1.1728e-10 | -0.064718 | 1.8311 | 1.7308 | -90.2435 | 27.8794 | -152.6272 | 89.763 | -152.1927 | 27.4455 | 1.5044 | 0 | 0 | 1.5046 | 0.17655 | 0.17245 | -0.088354 | 0 | 0 | -0.16349 | -121.1208 | 57.5197
Line_2 | 0.0012414 | 0.87044 | 0.86694 | 0.0037259 | 0.86927 | 0.8681 | 0.014335 | 10.051 | 10.0106 | 0.043023 | 10.0374 | 10.024 | -4.1136e-06 | -0.76247 | -0.74453 | 0.00014143 | 1.5161 | 1.4976 | 0.021568 | -0.46496 | -0.42552 | -0.06473 | 0.9175 | 0.86341 | -90.1659 | 27.8433 | -152.5908 | 89.7113 | -152.301 | 27.5543 | 1.5046 | 0.088853 | 0.085664 | 1.5046 | 0.17655 | 0.17245 | -0.15501 | -120.7813 | 57.1585 | -0.16349 | -121.1208 | 57.5197
Line_3 | 0.0012418 | 0.87161 | 0.86579 | 0.0012414 | 0.87044 | 0.86694 | 0.014339 | 10.0645 | 9.9973 | 0.014335 | 10.051 | 10.0106 | 5.8392e-05 | -4.6868e-11 | 7.163e-12 | 4.1109e-06 | 0.76247 | 0.74453 | -0.021571 | -3.4048e-11 | -5.8568e-11 | -0.021568 | 0.46496 | 0.42552 | 89.7565 | 27.9874 | -152.7365 | 89.8341 | -152.1567 | 27.4092 | 1.5044 | 0 | 0 | 1.5046 | 0.088853 | 0.085664 | -0.088354 | 0 | 0 | -0.15501 | -120.7813 | 57.1585

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0099362 | 2.6084 | 2.6037 | 0.0074511 | 2.6096 | 2.6026 | 0.11473 | 30.119 | 30.0653 | 0.086038 | 30.1326 | 30.0518 | 0.00043069 | 11.3501 | 11.2526 | -0.00022448 | -4.555 | -4.4864 | -0.17258 | 6.7879 | 6.5689 | 0.12945 | -2.7486 | -2.5942 | 89.6972 | -152.2769 | 27.5301 | -90.2629 | 27.7712 | -152.5182 | 1.5042 | 0.43909 | 0.43338 | 1.5046 | 0.17655 | 0.17245 | -0.15984 | -121.3955 | 57.8052 | -0.16349 | -121.1208 | 57.5197
Line_1 | 0.0012418 | 1.7415 | 1.7333 | 0.0037252 | 1.7403 | 1.7345 | 0.014339 | 20.1086 | 20.0146 | 0.043015 | 20.0951 | 20.0279 | -5.8395e-05 | -9.3513e-11 | 1.4117e-11 | 8.3049e-05 | 3.0388 | 2.9888 | 0.021571 | -6.8203e-11 | -1.1728e-10 | -0.064718 | 1.8311 | 1.7308 | -90.2435 | 27.8794 | -152.6272 | 89.763 | -152.1927 | 27.4455 | 1.5044 | 0 | 0 | 1.5046 | 0.17655 | 0.17245 | -0.088354 | 0 | 0 | -0.16349 | -121.1208 | 57.5197
Line_2 | 0.0012414 | 0.87044 | 0.86694 | 0.0037259 | 0.86927 | 0.8681 | 0.014335 | 10.051 | 10.0106 | 0.043023 | 10.0374 | 10.024 | -4.1136e-06 | -0.76247 | -0.74453 | 0.00014143 | 1.5161 | 1.4976 | 0.021568 | -0.46496 | -0.42552 | -0.06473 | 0.9175 | 0.86341 | -90.1659 | 27.8433 | -152.5908 | 89.7113 | -152.301 | 27.5543 | 1.5046 | 0.088853 | 0.085664 | 1.5046 | 0.17655 | 0.17245 | -0.15501 | -120.7813 | 57.1585 | -0.16349 | -121.1208 | 57.5197
Line_3 | 0.0012418 | 0.87161 | 0.86579 | 0.0012414 | 0.87044 | 0.86694 | 0.014339 | 10.0645 | 9.9973 | 0.014335 | 10.051 | 10.0106 | 5.8392e-05 | -4.6868e-11 | 7.163e-12 | 4.1109e-06 | 0.76247 | 0.74453 | -0.021571 | -3.4048e-11 | -5.8568e-11 | -0.021568 | 0.46496 | 0.42552 | 89.7565 | 27.9874 | -152.7365 | 89.8341 | -152.1567 | 27.4092 | 1.5044 | 0 | 0 | 1.5046 | 0.088853 | 0.085664 | -0.088354 | 0 | 0 | -0.15501 | -120.7813 | 57.1585

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010065 | 0.92966 | 0.9232 | 0.0075473 | 0.93129 | 0.92159 | 0.11622 | 10.7348 | 10.6602 | 0.087149 | 10.7536 | 10.6416 | 0.0019613 | 5.7716 | 5.6685 | -0.0013705 | -4.923 | -4.8037 | -0.17555 | 5.2694 | 5.002 | 0.13168 | -4.7502 | -4.5088 | 88.9441 | -140.8556 | 38.6673 | -91.0159 | 39.2625 | -141.4528 | 1.5107 | 0.72802 | 0.70917 | 1.511 | 0.63617 | 0.6191 | -0.41578 | -98.4596 | 80.0928 | -0.41959 | -96.7606 | 81.7329
Line_1 | 0.0012578 | 0.62331 | 0.61199 | 0.0037733 | 0.62168 | 0.61359 | 0.014524 | 7.1973 | 7.0667 | 0.043571 | 7.1785 | 7.0851 | -0.00025 | -2.9132 | -2.8098 | 0.00065551 | 3.2912 | 3.1936 | 0.021942 | -2.9221 | -2.8009 | -0.065832 | 3.1659 | 3.007 | -90.9965 | 39.5271 | -141.7252 | 89.0099 | -140.6491 | 38.4567 | 1.5108 | 0.5733 | 0.56142 | 1.511 | 0.63617 | 0.6191 | -0.34375 | -95.3851 | 83.1835 | -0.41959 | -96.7606 | 81.7329
Line_2 | 0.0012575 | 0.31125 | 0.30639 | 0.003774 | 0.30962 | 0.308 | 0.01452 | 3.594 | 3.5379 | 0.043579 | 3.5752 | 3.5565 | -0.00019451 | -1.5527 | -1.4993 | 0.00071501 | 1.6318 | 1.6102 | 0.02194 | -1.5244 | -1.4496 | -0.065844 | 1.5843 | 1.5018 | -90.919 | 39.439 | -141.634 | 88.9583 | -140.9149 | 38.7274 | 1.5111 | 0.60544 | 0.58947 | 1.511 | 0.63617 | 0.6191 | -0.41105 | -96.0871 | 82.3988 | -0.41959 | -96.7606 | 81.7329
Line_3 | 0.0012578 | 0.31288 | 0.30481 | 0.0012575 | 0.31125 | 0.30639 | 0.014524 | 3.6129 | 3.5196 | 0.01452 | 3.594 | 3.5379 | 0.00025 | -1.4691 | -1.3928 | 0.00019451 | 1.5527 | 1.4993 | -0.021942 | -1.4601 | -1.4017 | -0.02194 | 1.5244 | 1.4496 | 89.0035 | 39.7897 | -141.9997 | 89.081 | -140.561 | 38.366 | 1.5108 | 0.5733 | 0.56142 | 1.5111 | 0.60544 | 0.58947 | -0.34375 | -95.3851 | 83.1835 | -0.41105 | -96.0871 | 82.3988

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010065 | 0.92966 | 0.9232 | 0.0075473 | 0.93129 | 0.92159 | 0.11622 | 10.7348 | 10.6602 | 0.087149 | 10.7536 | 10.6416 | 0.0019613 | 5.7716 | 5.6685 | -0.0013705 | -4.923 | -4.8037 | -0.17555 | 5.2694 | 5.002 | 0.13168 | -4.7502 | -4.5088 | 88.9441 | -140.8556 | 38.6673 | -91.0159 | 39.2625 | -141.4528 | 1.5107 | 0.72802 | 0.70917 | 1.511 | 0.63617 | 0.6191 | -0.41578 | -98.4596 | 80.0928 | -0.41959 | -96.7606 | 81.7329
Line_1 | 0.0012578 | 0.62331 | 0.61199 | 0.0037733 | 0.62168 | 0.61359 | 0.014524 | 7.1973 | 7.0667 | 0.043571 | 7.1785 | 7.0851 | -0.00025 | -2.9132 | -2.8098 | 0.00065551 | 3.2912 | 3.1936 | 0.021942 | -2.9221 | -2.8009 | -0.065832 | 3.1659 | 3.007 | -90.9965 | 39.5271 | -141.7252 | 89.0099 | -140.6491 | 38.4567 | 1.5108 | 0.5733 | 0.56142 | 1.511 | 0.63617 | 0.6191 | -0.34375 | -95.3851 | 83.1835 | -0.41959 | -96.7606 | 81.7329
Line_2 | 0.0012575 | 0.31125 | 0.30639 | 0.003774 | 0.30962 | 0.308 | 0.01452 | 3.594 | 3.5379 | 0.043579 | 3.5752 | 3.5565 | -0.00019451 | -1.5527 | -1.4993 | 0.00071501 | 1.6318 | 1.6102 | 0.02194 | -1.5244 | -1.4496 | -0.065844 | 1.5843 | 1.5018 | -90.919 | 39.439 | -141.634 | 88.9583 | -140.9149 | 38.7274 | 1.5111 | 0.60544 | 0.58947 | 1.511 | 0.63617 | 0.6191 | -0.41105 | -96.0871 | 82.3988 | -0.41959 | -96.7606 | 81.7329
Line_3 | 0.0012578 | 0.31288 | 0.30481 | 0.0012575 | 0.31125 | 0.30639 | 0.014524 | 3.6129 | 3.5196 | 0.01452 | 3.594 | 3.5379 | 0.00025 | -1.4691 | -1.3928 | 0.00019451 | 1.5527 | 1.4993 | -0.021942 | -1.4601 | -1.4017 | -0.02194 | 1.5244 | 1.4496 | 89.0035 | 39.7897 | -141.9997 | 89.081 | -140.561 | 38.366 | 1.5108 | 0.5733 | 0.56142 | 1.5111 | 0.60544 | 0.58947 | -0.34375 | -95.3851 | 83.1835 | -0.41105 | -96.0871 | 82.3988