## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.5104 | 2.5104 | 0 | 5.5724 | 86.9625 | 86.9625 | 9.8312 | -1e-07 | 11.1547 | -1e-07 | -79.0878 | 100.9122 | 0.17098 | 0 | -30.4793 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -4.5164e-20 | 0 | -4.7826e-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | -4.5164e-20 | 0 | -4.7824e-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.5104 | 2.5104 | 0 | 5.5724 | 86.9625 | 86.9625 | 9.8312 | -1e-07 | 11.1547 | -1e-07 | -79.0878 | 100.9122 | 0.17098 | 0 | -30.4793 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -4.5164e-20 | 0 | -4.7826e-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | -4.5164e-20 | 0 | -4.7824e-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.84033 | 0.84033 | 0 | 1.8653 | 29.1099 | 29.1099 | 17.6642 | -16.5626 | 16.7958 | -15.5459 | -54.5065 | 125.4935 | 0.83733 | 0.78034 | -10.95 | -11.32
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5602e-09 | 0 | 1.8534e-09 | 0 | 0 | 0 | 0.78034 | 0.78034 | -11.32 | -11.32
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5602e-09 | 0 | 1.8534e-09 | 0 | 0 | 0 | 0.78034 | 0.78034 | -11.32 | -11.32

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.84033 | 0.84033 | 0 | 1.8653 | 29.1099 | 29.1099 | 17.6642 | -16.5626 | 16.7958 | -15.5459 | -54.5065 | 125.4935 | 0.83733 | 0.78034 | -10.95 | -11.32
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5602e-09 | 0 | 1.8534e-09 | 0 | 0 | 0 | 0.78034 | 0.78034 | -11.32 | -11.32
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5602e-09 | 0 | 1.8534e-09 | 0 | 0 | 0 | 0.78034 | 0.78034 | -11.32 | -11.32

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.0037 | 2.0037 | 0 | 4.1302 | 69.4115 | 69.4115 | 12.0256 | -1e-07 | 7.1065 | -1e-07 | -74.9546 | 105.0454 | 0.20124 | 0 | -44.3738 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 2.1694e-20 | 0 | -2.555e-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 2.1694e-20 | 0 | -2.555e-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.0037 | 2.0037 | 0 | 4.1302 | 69.4115 | 69.4115 | 12.0256 | -1e-07 | 7.1065 | -1e-07 | -74.9546 | 105.0454 | 0.20124 | 0 | -44.3738 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 2.1694e-20 | 0 | -2.555e-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 2.1694e-20 | 0 | -2.555e-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.75683 | 0.75683 | 0 | 1.56 | 26.2175 | 26.2175 | 13.733 | -12.0173 | 13.2349 | -12.221 | -56.1915 | 123.8085 | 0.72747 | 0.65375 | -12.2497 | -10.7101
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3647e-09 | 0 | 1.3364e-09 | 0 | 0 | 0 | 0.65375 | 0.65375 | -10.7101 | -10.7101
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3647e-09 | 0 | 1.3364e-09 | 0 | 0 | 0 | 0.65375 | 0.65375 | -10.7101 | -10.7101

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.75683 | 0.75683 | 0 | 1.56 | 26.2175 | 26.2175 | 13.733 | -12.0173 | 13.2349 | -12.221 | -56.1915 | 123.8085 | 0.72747 | 0.65375 | -12.2497 | -10.7101
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3647e-09 | 0 | 1.3364e-09 | 0 | 0 | 0 | 0.65375 | 0.65375 | -10.7101 | -10.7101
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3647e-09 | 0 | 1.3364e-09 | 0 | 0 | 0 | 0.65375 | 0.65375 | -10.7101 | -10.7101

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.19562 | 2.1314 | 2.2202 | 0.19562 | 2.1314 | 2.2202 | 2.2588 | 24.6111 | 25.6371 | 2.2588 | 24.6111 | 25.6371 | -1.5448 | 16.5622 | -12.4189 | 1.5647 | -14.1999 | 14.9822 | -2.1268 | -0.17205 | 4.686 | 2.1494 | 2.8523 | -1.7776 | 127.9498 | -166.7452 | 8.6634 | -52.0502 | 13.2548 | -171.3366 | 1.1637 | 0.67299 | 0.51775 | 1.177 | 0.5885 | 0.5885 | 1.9582 | -167.3403 | 167.9907 | 1.8971 | -178.1029 | -178.1029
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3486e-10 | 1.5706e-11 | 1.5178e-10 | -3.3487e-10 | -1.5681e-11 | -1.5176e-10 | -1.5716e-10 | 2.0152e-09 | -2.0938e-09 | 1.5717e-10 | -2.0152e-09 | 2.0938e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.177 | 0.5885 | 0.5885 | 1.177 | 0.5885 | 0.5885 | 1.8971 | -178.1029 | -178.1029 | 1.8971 | -178.1029 | -178.1029
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3486e-10 | 1.5689e-11 | 1.5176e-10 | -3.3487e-10 | -1.5681e-11 | -1.5176e-10 | -1.5716e-10 | 2.0152e-09 | -2.0938e-09 | 1.5716e-10 | -2.0152e-09 | 2.0938e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.177 | 0.5885 | 0.5885 | 1.177 | 0.5885 | 0.5885 | 1.8971 | -178.1029 | -178.1029 | 1.8971 | -178.1029 | -178.1029

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.19562 | 2.1314 | 2.2202 | 0.19562 | 2.1314 | 2.2202 | 2.2588 | 24.6111 | 25.6371 | 2.2588 | 24.6111 | 25.6371 | -1.5448 | 16.5622 | -12.4189 | 1.5647 | -14.1999 | 14.9822 | -2.1268 | -0.17205 | 4.686 | 2.1494 | 2.8523 | -1.7776 | 127.9498 | -166.7452 | 8.6634 | -52.0502 | 13.2548 | -171.3366 | 1.1637 | 0.67299 | 0.51775 | 1.177 | 0.5885 | 0.5885 | 1.9582 | -167.3403 | 167.9907 | 1.8971 | -178.1029 | -178.1029
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3486e-10 | 1.5706e-11 | 1.5178e-10 | -3.3487e-10 | -1.5681e-11 | -1.5176e-10 | -1.5716e-10 | 2.0152e-09 | -2.0938e-09 | 1.5717e-10 | -2.0152e-09 | 2.0938e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.177 | 0.5885 | 0.5885 | 1.177 | 0.5885 | 0.5885 | 1.8971 | -178.1029 | -178.1029 | 1.8971 | -178.1029 | -178.1029
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3486e-10 | 1.5689e-11 | 1.5176e-10 | -3.3487e-10 | -1.5681e-11 | -1.5176e-10 | -1.5716e-10 | 2.0152e-09 | -2.0938e-09 | 1.5716e-10 | -2.0152e-09 | 2.0938e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.177 | 0.5885 | 0.5885 | 1.177 | 0.5885 | 0.5885 | 1.8971 | -178.1029 | -178.1029 | 1.8971 | -178.1029 | -178.1029

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14957 | 1.1435 | 1.1509 | 0.14957 | 1.1435 | 1.1509 | 1.7271 | 13.2035 | 13.2895 | 1.7271 | 13.2035 | 13.2895 | -1.0128 | 12.3401 | -1.7808 | 1.0244 | -11.6602 | 2.4696 | -1.7114 | 0.92467 | 8.7698 | 1.7246 | -0.15325 | -7.9883 | 121.8671 | -147.2456 | 25.288 | -58.1329 | 32.7544 | -154.712 | 1.1514 | 0.93722 | 0.67337 | 1.1614 | 0.88318 | 0.62917 | 1.2503 | -142.9603 | 126.7663 | 1.1564 | -146.4926 | 132.4669
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6259e-10 | -3.2804e-10 | -1.0264e-09 | -2.6259e-10 | 3.2805e-10 | 1.0264e-09 | -9.4537e-11 | 1.589e-09 | -5.478e-10 | 9.4543e-11 | -1.589e-09 | 5.478e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1614 | 0.88318 | 0.62917 | 1.1614 | 0.88318 | 0.62917 | 1.1564 | -146.4926 | 132.4669 | 1.1564 | -146.4926 | 132.4669
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6259e-10 | -3.2805e-10 | -1.0264e-09 | -2.626e-10 | 3.2807e-10 | 1.0264e-09 | -9.4537e-11 | 1.589e-09 | -5.4781e-10 | 9.4534e-11 | -1.589e-09 | 5.4781e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1614 | 0.88318 | 0.62917 | 1.1614 | 0.88318 | 0.62917 | 1.1564 | -146.4926 | 132.4669 | 1.1564 | -146.4926 | 132.4669

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14957 | 1.1435 | 1.1509 | 0.14957 | 1.1435 | 1.1509 | 1.7271 | 13.2035 | 13.2895 | 1.7271 | 13.2035 | 13.2895 | -1.0128 | 12.3401 | -1.7808 | 1.0244 | -11.6602 | 2.4696 | -1.7114 | 0.92467 | 8.7698 | 1.7246 | -0.15325 | -7.9883 | 121.8671 | -147.2456 | 25.288 | -58.1329 | 32.7544 | -154.712 | 1.1514 | 0.93722 | 0.67337 | 1.1614 | 0.88318 | 0.62917 | 1.2503 | -142.9603 | 126.7663 | 1.1564 | -146.4926 | 132.4669
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6259e-10 | -3.2804e-10 | -1.0264e-09 | -2.6259e-10 | 3.2805e-10 | 1.0264e-09 | -9.4537e-11 | 1.589e-09 | -5.478e-10 | 9.4543e-11 | -1.589e-09 | 5.478e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1614 | 0.88318 | 0.62917 | 1.1614 | 0.88318 | 0.62917 | 1.1564 | -146.4926 | 132.4669 | 1.1564 | -146.4926 | 132.4669
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6259e-10 | -3.2805e-10 | -1.0264e-09 | -2.626e-10 | 3.2807e-10 | 1.0264e-09 | -9.4537e-11 | 1.589e-09 | -5.4781e-10 | 9.4534e-11 | -1.589e-09 | 5.4781e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1614 | 0.88318 | 0.62917 | 1.1614 | 0.88318 | 0.62917 | 1.1564 | -146.4926 | 132.4669 | 1.1564 | -146.4926 | 132.4669

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.089016 | 1.6965 | 1.7743 | 0.089016 | 1.6965 | 1.7743 | 1.0279 | 19.5898 | 20.4881 | 1.0279 | 19.5898 | 20.4881 | -1.0012 | 12.6063 | -7.0941 | 1.0091 | -9.7328 | 10.2373 | -0.28839 | -0.65626 | 4.0653 | 0.29307 | 2.3544 | -2.2079 | 165.9823 | -164.2244 | 14.3473 | -14.0177 | 15.7756 | -165.6527 | 1.0137 | 0.64439 | 0.39908 | 1.0223 | 0.51116 | 0.51116 | 2.0513 | -167.2044 | 164.5323 | 2.1768 | -177.8232 | -177.8232
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.636e-11 | -4.0062e-11 | 8.3246e-11 | -8.6362e-11 | 4.0065e-11 | -8.3241e-11 | -1.4238e-10 | 1.5864e-09 | -1.6576e-09 | 1.4237e-10 | -1.5864e-09 | 1.6576e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0223 | 0.51116 | 0.51116 | 1.0223 | 0.51116 | 0.51116 | 2.1768 | -177.8232 | -177.8232 | 2.1768 | -177.8232 | -177.8232
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.6363e-11 | -4.0066e-11 | 8.3241e-11 | -8.6363e-11 | 4.0068e-11 | -8.3241e-11 | -1.4239e-10 | 1.5864e-09 | -1.6576e-09 | 1.4239e-10 | -1.5864e-09 | 1.6576e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0223 | 0.51116 | 0.51116 | 1.0223 | 0.51116 | 0.51116 | 2.1768 | -177.8232 | -177.8232 | 2.1768 | -177.8232 | -177.8232

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.089016 | 1.6965 | 1.7743 | 0.089016 | 1.6965 | 1.7743 | 1.0279 | 19.5898 | 20.4881 | 1.0279 | 19.5898 | 20.4881 | -1.0012 | 12.6063 | -7.0941 | 1.0091 | -9.7328 | 10.2373 | -0.28839 | -0.65626 | 4.0653 | 0.29307 | 2.3544 | -2.2079 | 165.9823 | -164.2244 | 14.3473 | -14.0177 | 15.7756 | -165.6527 | 1.0137 | 0.64439 | 0.39908 | 1.0223 | 0.51116 | 0.51116 | 2.0513 | -167.2044 | 164.5323 | 2.1768 | -177.8232 | -177.8232
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.636e-11 | -4.0062e-11 | 8.3246e-11 | -8.6362e-11 | 4.0065e-11 | -8.3241e-11 | -1.4238e-10 | 1.5864e-09 | -1.6576e-09 | 1.4237e-10 | -1.5864e-09 | 1.6576e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0223 | 0.51116 | 0.51116 | 1.0223 | 0.51116 | 0.51116 | 2.1768 | -177.8232 | -177.8232 | 2.1768 | -177.8232 | -177.8232
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.6363e-11 | -4.0066e-11 | 8.3241e-11 | -8.6363e-11 | 4.0068e-11 | -8.3241e-11 | -1.4239e-10 | 1.5864e-09 | -1.6576e-09 | 1.4239e-10 | -1.5864e-09 | 1.6576e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0223 | 0.51116 | 0.51116 | 1.0223 | 0.51116 | 0.51116 | 2.1768 | -177.8232 | -177.8232 | 2.1768 | -177.8232 | -177.8232

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.050081 | 0.95447 | 0.99824 | 0.050081 | 0.95447 | 0.99824 | 0.57828 | 11.0213 | 11.5267 | 0.57828 | 11.0213 | 11.5267 | -0.57951 | 9.1205 | -0.72215 | 0.58201 | -8.2109 | 1.717 | -0.0073337 | 0.92761 | 6.5668 | 0.0088134 | -0.39011 | -5.9788 | -179.4903 | -149.6969 | 28.8747 | 0.50971 | 30.3031 | -151.1253 | 1.0022 | 0.8318 | 0.57314 | 1.0066 | 0.74585 | 0.53966 | 1.2348 | -143.8895 | 125.1503 | 1.3773 | -146.9768 | 134.898
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.5289e-11 | -3.9748e-10 | -8.4438e-10 | -2.5288e-11 | 3.9748e-10 | 8.4438e-10 | -8.8707e-11 | 1.2406e-09 | -5.0873e-10 | 8.8704e-11 | -1.2406e-09 | 5.0873e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0066 | 0.74585 | 0.53966 | 1.0066 | 0.74585 | 0.53966 | 1.3773 | -146.9768 | 134.898 | 1.3773 | -146.9768 | 134.898
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.529e-11 | -3.9748e-10 | -8.4438e-10 | -2.5291e-11 | 3.9749e-10 | 8.4438e-10 | -8.8714e-11 | 1.2406e-09 | -5.0873e-10 | 8.8714e-11 | -1.2406e-09 | 5.0873e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0066 | 0.74585 | 0.53966 | 1.0066 | 0.74585 | 0.53966 | 1.3773 | -146.9768 | 134.898 | 1.3773 | -146.9768 | 134.898

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.050081 | 0.95447 | 0.99824 | 0.050081 | 0.95447 | 0.99824 | 0.57828 | 11.0213 | 11.5267 | 0.57828 | 11.0213 | 11.5267 | -0.57951 | 9.1205 | -0.72215 | 0.58201 | -8.2109 | 1.717 | -0.0073337 | 0.92761 | 6.5668 | 0.0088134 | -0.39011 | -5.9788 | -179.4903 | -149.6969 | 28.8747 | 0.50971 | 30.3031 | -151.1253 | 1.0022 | 0.8318 | 0.57314 | 1.0066 | 0.74585 | 0.53966 | 1.2348 | -143.8895 | 125.1503 | 1.3773 | -146.9768 | 134.898
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.5289e-11 | -3.9748e-10 | -8.4438e-10 | -2.5288e-11 | 3.9748e-10 | 8.4438e-10 | -8.8707e-11 | 1.2406e-09 | -5.0873e-10 | 8.8704e-11 | -1.2406e-09 | 5.0873e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0066 | 0.74585 | 0.53966 | 1.0066 | 0.74585 | 0.53966 | 1.3773 | -146.9768 | 134.898 | 1.3773 | -146.9768 | 134.898
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.529e-11 | -3.9748e-10 | -8.4438e-10 | -2.5291e-11 | 3.9749e-10 | 8.4438e-10 | -8.8714e-11 | 1.2406e-09 | -5.0873e-10 | 8.8714e-11 | -1.2406e-09 | 5.0873e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0066 | 0.74585 | 0.53966 | 1.0066 | 0.74585 | 0.53966 | 1.3773 | -146.9768 | 134.898 | 1.3773 | -146.9768 | 134.898

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.2316 | 0.36975 | 0.12525 | 2.2301 | 0.37083 | 0.12682 | 25.7688 | 4.2695 | 1.4463 | 25.7512 | 4.282 | 1.4644 | 6.903 | -4.6646 | 1.3784 | -1.0179e-11 | 4.6975 | -1.5838 | 5.0466 | -1.5222 | 0.71371 | 5.7461e-11 | 0.7972 | -0.90186 | -71.3097 | 48.6581 | 90.5421 | 108.6997 | -131.166 | -89.4006 | 0.33184 | 1.1492 | 1.0732 | 0 | 1.1127 | 1.2446 | -35.1402 | -113.269 | 117.9166 | 0 | -121.5342 | 120.2571
Line_1 | 0.0020062 | 0.0020062 | 0.0020062 | 0 | 0 | 0 | 0.023166 | 0.023166 | 0.023166 | 0 | 0 | 0 | 2.9923e-14 | 0.02326 | -0.023249 | -3.7678e-13 | -5.2528e-11 | -6.6185e-10 | -4.3134e-14 | -0.011109 | -0.017054 | 1.3418e-12 | -1.2116e-10 | 2.2173e-11 | -96.0042 | -96.0042 | -96.0042 | 0 | 0 | 0 | 0 | 1.1127 | 1.2446 | 0.00034551 | 1.1125 | 1.245 | 0 | -121.5342 | 120.2571 | 105.6675 | -121.5473 | 120.2531
Line_2 | 0.0020062 | 0.0020062 | 0.0020062 | 0 | 0 | 0 | 0.023166 | 0.023166 | 0.023166 | 0 | 0 | 0 | 2.9923e-14 | 0.02326 | -0.023249 | -3.7678e-13 | -5.2552e-11 | -6.6187e-10 | -4.3134e-14 | -0.011109 | -0.017054 | 1.3418e-12 | -1.2114e-10 | 2.2178e-11 | -96.0042 | -96.0042 | -96.0042 | 0 | 0 | 0 | 0 | 1.1127 | 1.2446 | 0.00034551 | 1.1125 | 1.245 | 0 | -121.5342 | 120.2571 | 105.6675 | -121.5473 | 120.2531

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.2316 | 0.36975 | 0.12525 | 2.2301 | 0.37083 | 0.12682 | 25.7688 | 4.2695 | 1.4463 | 25.7512 | 4.282 | 1.4644 | 6.903 | -4.6646 | 1.3784 | -1.0179e-11 | 4.6975 | -1.5838 | 5.0466 | -1.5222 | 0.71371 | 5.7461e-11 | 0.7972 | -0.90186 | -71.3097 | 48.6581 | 90.5421 | 108.6997 | -131.166 | -89.4006 | 0.33184 | 1.1492 | 1.0732 | 0 | 1.1127 | 1.2446 | -35.1402 | -113.269 | 117.9166 | 0 | -121.5342 | 120.2571
Line_1 | 0.0020062 | 0.0020062 | 0.0020062 | 0 | 0 | 0 | 0.023166 | 0.023166 | 0.023166 | 0 | 0 | 0 | 2.9923e-14 | 0.02326 | -0.023249 | -3.7678e-13 | -5.2528e-11 | -6.6185e-10 | -4.3134e-14 | -0.011109 | -0.017054 | 1.3418e-12 | -1.2116e-10 | 2.2173e-11 | -96.0042 | -96.0042 | -96.0042 | 0 | 0 | 0 | 0 | 1.1127 | 1.2446 | 0.00034551 | 1.1125 | 1.245 | 0 | -121.5342 | 120.2571 | 105.6675 | -121.5473 | 120.2531
Line_2 | 0.0020062 | 0.0020062 | 0.0020062 | 0 | 0 | 0 | 0.023166 | 0.023166 | 0.023166 | 0 | 0 | 0 | 2.9923e-14 | 0.02326 | -0.023249 | -3.7678e-13 | -5.2552e-11 | -6.6187e-10 | -4.3134e-14 | -0.011109 | -0.017054 | 1.3418e-12 | -1.2114e-10 | 2.2178e-11 | -96.0042 | -96.0042 | -96.0042 | 0 | 0 | 0 | 0 | 1.1127 | 1.2446 | 0.00034551 | 1.1125 | 1.245 | 0 | -121.5342 | 120.2571 | 105.6675 | -121.5473 | 120.2531

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.76422 | 0.15035 | 0.091786 | 0.76366 | 0.15044 | 0.09204 | 8.8244 | 1.7361 | 1.0598 | 8.818 | 1.7371 | 1.0628 | 6.3701 | -1.7294 | 0.58495 | -5.4965 | 1.807 | -0.65521 | 4.5368 | -0.9298 | -1.0432 | -3.9598 | 0.83343 | 1.0781 | -46.9539 | 34.2113 | 179.6748 | 133.0593 | -145.5692 | -0.65221 | 0.88624 | 1.131 | 1.1285 | 0.76824 | 1.1455 | 1.1871 | -11.4949 | -117.5245 | 118.9553 | -11.1706 | -120.8084 | 120.6367
Line_1 | 0.00074564 | 0.00074564 | 0.00074564 | 0 | 0 | 0 | 0.00861 | 0.00861 | 0.00861 | 0 | 0 | 0 | 0.0028384 | 0.006968 | -0.0098048 | 8.7606e-10 | -1.9136e-10 | -3.7978e-10 | 0.0059745 | -0.00698 | -0.0028849 | -5.9987e-10 | -6.5663e-11 | 5.3258e-11 | -75.7588 | -75.7588 | -75.7588 | 0 | 0 | 0 | 0.76824 | 1.1455 | 1.1871 | 0.76815 | 1.1455 | 1.1872 | -11.1706 | -120.8084 | 120.6367 | -11.1641 | -120.8143 | 120.6373
Line_2 | 0.00074564 | 0.00074564 | 0.00074564 | 0 | 0 | 0 | 0.00861 | 0.00861 | 0.00861 | 0 | 0 | 0 | 0.0028384 | 0.006968 | -0.0098048 | 8.7606e-10 | -1.9137e-10 | -3.7978e-10 | 0.0059745 | -0.00698 | -0.0028849 | -5.9987e-10 | -6.5666e-11 | 5.3258e-11 | -75.7588 | -75.7588 | -75.7588 | 0 | 0 | 0 | 0.76824 | 1.1455 | 1.1871 | 0.76815 | 1.1455 | 1.1872 | -11.1706 | -120.8084 | 120.6367 | -11.1641 | -120.8143 | 120.6373

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.76422 | 0.15035 | 0.091786 | 0.76366 | 0.15044 | 0.09204 | 8.8244 | 1.7361 | 1.0598 | 8.818 | 1.7371 | 1.0628 | 6.3701 | -1.7294 | 0.58495 | -5.4965 | 1.807 | -0.65521 | 4.5368 | -0.9298 | -1.0432 | -3.9598 | 0.83343 | 1.0781 | -46.9539 | 34.2113 | 179.6748 | 133.0593 | -145.5692 | -0.65221 | 0.88624 | 1.131 | 1.1285 | 0.76824 | 1.1455 | 1.1871 | -11.4949 | -117.5245 | 118.9553 | -11.1706 | -120.8084 | 120.6367
Line_1 | 0.00074564 | 0.00074564 | 0.00074564 | 0 | 0 | 0 | 0.00861 | 0.00861 | 0.00861 | 0 | 0 | 0 | 0.0028384 | 0.006968 | -0.0098048 | 8.7606e-10 | -1.9136e-10 | -3.7978e-10 | 0.0059745 | -0.00698 | -0.0028849 | -5.9987e-10 | -6.5663e-11 | 5.3258e-11 | -75.7588 | -75.7588 | -75.7588 | 0 | 0 | 0 | 0.76824 | 1.1455 | 1.1871 | 0.76815 | 1.1455 | 1.1872 | -11.1706 | -120.8084 | 120.6367 | -11.1641 | -120.8143 | 120.6373
Line_2 | 0.00074564 | 0.00074564 | 0.00074564 | 0 | 0 | 0 | 0.00861 | 0.00861 | 0.00861 | 0 | 0 | 0 | 0.0028384 | 0.006968 | -0.0098048 | 8.7606e-10 | -1.9137e-10 | -3.7978e-10 | 0.0059745 | -0.00698 | -0.0028849 | -5.9987e-10 | -6.5666e-11 | 5.3258e-11 | -75.7588 | -75.7588 | -75.7588 | 0 | 0 | 0 | 0.76824 | 1.1455 | 1.1871 | 0.76815 | 1.1455 | 1.1872 | -11.1706 | -120.8084 | 120.6367 | -11.1641 | -120.8143 | 120.6373

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6637 | 0.35664 | 0.26035 | 1.6624 | 0.35779 | 0.26147 | 19.2107 | 4.1181 | 3.0063 | 19.1963 | 4.1314 | 3.0192 | 6.6721 | -4.0916 | 1.8696 | 3.5612e-11 | 3.9116 | -2.0181 | 3.6724 | 0.22233 | 1.9898 | 2.5328e-11 | -1.047 | -2.6161 | -65.2289 | 71.9847 | 69.2797 | 114.7833 | -107.9219 | -110.5807 | 0.39645 | 0.99503 | 0.90821 | 0 | 0.98011 | 1.0943 | -36.3999 | -111.1255 | 116.0644 | 0 | -122.9068 | 121.7721
Line_1 | 0.0018381 | 0.0018381 | 0.0018381 | 0 | 0 | 0 | 0.021225 | 0.021225 | 0.021225 | 0 | 0 | 0 | -1.9818e-14 | 0.018482 | -0.018464 | -2.2527e-13 | 6.8347e-11 | -3.8266e-10 | -4.4067e-14 | -0.0095495 | -0.014092 | 2.1029e-12 | -1.8348e-10 | 1.2322e-10 | -95.581 | -95.581 | -95.581 | 0 | 0 | 0 | 0 | 0.98011 | 1.0943 | 0.00057675 | 0.97967 | 1.0949 | 0 | -122.9068 | 121.7721 | 96.0818 | -122.928 | 121.759
Line_2 | 0.0018381 | 0.0018381 | 0.0018381 | 0 | 0 | 0 | 0.021225 | 0.021225 | 0.021225 | 0 | 0 | 0 | -1.9818e-14 | 0.018482 | -0.018464 | -2.2527e-13 | 6.8355e-11 | -3.8266e-10 | -4.4067e-14 | -0.0095495 | -0.014092 | 2.1029e-12 | -1.8348e-10 | 1.2322e-10 | -95.581 | -95.581 | -95.581 | 0 | 0 | 0 | 0 | 0.98011 | 1.0943 | 0.00057675 | 0.97967 | 1.0949 | 0 | -122.9068 | 121.7721 | 96.0818 | -122.928 | 121.759

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6637 | 0.35664 | 0.26035 | 1.6624 | 0.35779 | 0.26147 | 19.2107 | 4.1181 | 3.0063 | 19.1963 | 4.1314 | 3.0192 | 6.6721 | -4.0916 | 1.8696 | 3.5612e-11 | 3.9116 | -2.0181 | 3.6724 | 0.22233 | 1.9898 | 2.5328e-11 | -1.047 | -2.6161 | -65.2289 | 71.9847 | 69.2797 | 114.7833 | -107.9219 | -110.5807 | 0.39645 | 0.99503 | 0.90821 | 0 | 0.98011 | 1.0943 | -36.3999 | -111.1255 | 116.0644 | 0 | -122.9068 | 121.7721
Line_1 | 0.0018381 | 0.0018381 | 0.0018381 | 0 | 0 | 0 | 0.021225 | 0.021225 | 0.021225 | 0 | 0 | 0 | -1.9818e-14 | 0.018482 | -0.018464 | -2.2527e-13 | 6.8347e-11 | -3.8266e-10 | -4.4067e-14 | -0.0095495 | -0.014092 | 2.1029e-12 | -1.8348e-10 | 1.2322e-10 | -95.581 | -95.581 | -95.581 | 0 | 0 | 0 | 0 | 0.98011 | 1.0943 | 0.00057675 | 0.97967 | 1.0949 | 0 | -122.9068 | 121.7721 | 96.0818 | -122.928 | 121.759
Line_2 | 0.0018381 | 0.0018381 | 0.0018381 | 0 | 0 | 0 | 0.021225 | 0.021225 | 0.021225 | 0 | 0 | 0 | -1.9818e-14 | 0.018482 | -0.018464 | -2.2527e-13 | 6.8355e-11 | -3.8266e-10 | -4.4067e-14 | -0.0095495 | -0.014092 | 2.1029e-12 | -1.8348e-10 | 1.2322e-10 | -95.581 | -95.581 | -95.581 | 0 | 0 | 0 | 0 | 0.98011 | 1.0943 | 0.00057675 | 0.97967 | 1.0949 | 0 | -122.9068 | 121.7721 | 96.0818 | -122.928 | 121.759

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.6577 | 0.14099 | 0.10292 | 0.65721 | 0.14144 | 0.10337 | 7.5945 | 1.628 | 1.1885 | 7.5888 | 1.6333 | 1.1936 | 4.9051 | -1.4253 | 0.99034 | -3.8601 | 1.3986 | -1.0173 | 3.4566 | 0.70542 | 0.59627 | -2.8797 | -0.83775 | -0.69368 | -47.6064 | 89.6073 | 86.9023 | 132.4058 | -90.2993 | -92.9582 | 0.79014 | 0.97687 | 0.97269 | 0.63461 | 0.99821 | 1.0316 | -12.4342 | -116.7244 | 117.9539 | -10.8706 | -121.2202 | 121.3319
Line_1 | 0.00072666 | 0.00072666 | 0.00072666 | 0 | 0 | 0 | 0.0083908 | 0.0083908 | 0.0083908 | 0 | 0 | 0 | 0.0020731 | 0.0060995 | -0.0081698 | 8.0874e-10 | 6.1933e-12 | -1.2132e-10 | 0.0049048 | -0.0057402 | -0.0028595 | -4.3807e-10 | -7.8617e-11 | 8.7827e-11 | -77.9585 | -77.9585 | -77.9585 | 0 | 0 | 0 | 0.63461 | 0.99821 | 1.0316 | 0.63448 | 0.99808 | 1.0318 | -10.8706 | -121.2202 | 121.3319 | -10.8537 | -121.231 | 121.3302
Line_2 | 0.00072666 | 0.00072666 | 0.00072666 | 0 | 0 | 0 | 0.0083908 | 0.0083908 | 0.0083908 | 0 | 0 | 0 | 0.0020731 | 0.0060995 | -0.0081698 | 8.0874e-10 | 6.1962e-12 | -1.2132e-10 | 0.0049048 | -0.0057402 | -0.0028595 | -4.3807e-10 | -7.8615e-11 | 8.7827e-11 | -77.9585 | -77.9585 | -77.9585 | 0 | 0 | 0 | 0.63461 | 0.99821 | 1.0316 | 0.63448 | 0.99808 | 1.0318 | -10.8706 | -121.2202 | 121.3319 | -10.8537 | -121.231 | 121.3302

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.6577 | 0.14099 | 0.10292 | 0.65721 | 0.14144 | 0.10337 | 7.5945 | 1.628 | 1.1885 | 7.5888 | 1.6333 | 1.1936 | 4.9051 | -1.4253 | 0.99034 | -3.8601 | 1.3986 | -1.0173 | 3.4566 | 0.70542 | 0.59627 | -2.8797 | -0.83775 | -0.69368 | -47.6064 | 89.6073 | 86.9023 | 132.4058 | -90.2993 | -92.9582 | 0.79014 | 0.97687 | 0.97269 | 0.63461 | 0.99821 | 1.0316 | -12.4342 | -116.7244 | 117.9539 | -10.8706 | -121.2202 | 121.3319
Line_1 | 0.00072666 | 0.00072666 | 0.00072666 | 0 | 0 | 0 | 0.0083908 | 0.0083908 | 0.0083908 | 0 | 0 | 0 | 0.0020731 | 0.0060995 | -0.0081698 | 8.0874e-10 | 6.1933e-12 | -1.2132e-10 | 0.0049048 | -0.0057402 | -0.0028595 | -4.3807e-10 | -7.8617e-11 | 8.7827e-11 | -77.9585 | -77.9585 | -77.9585 | 0 | 0 | 0 | 0.63461 | 0.99821 | 1.0316 | 0.63448 | 0.99808 | 1.0318 | -10.8706 | -121.2202 | 121.3319 | -10.8537 | -121.231 | 121.3302
Line_2 | 0.00072666 | 0.00072666 | 0.00072666 | 0 | 0 | 0 | 0.0083908 | 0.0083908 | 0.0083908 | 0 | 0 | 0 | 0.0020731 | 0.0060995 | -0.0081698 | 8.0874e-10 | 6.1962e-12 | -1.2132e-10 | 0.0049048 | -0.0057402 | -0.0028595 | -4.3807e-10 | -7.8615e-11 | 8.7827e-11 | -77.9585 | -77.9585 | -77.9585 | 0 | 0 | 0 | 0.63461 | 0.99821 | 1.0316 | 0.63448 | 0.99808 | 1.0318 | -10.8706 | -121.2202 | 121.3319 | -10.8537 | -121.231 | 121.3302

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23789 | 2.6189 | 2.1177 | 0.23842 | 2.6184 | 2.117 | 2.7469 | 30.2406 | 24.4532 | 2.753 | 30.2344 | 24.4451 | -2.6422 | 8.3962 | 1.3402 | 2.8391 | -2.9991e-11 | -3.4699e-11 | 1.2619 | 1.2221 | 7.0601 | -1.7281 | 5.3207e-11 | 3.5803e-11 | -150.0253 | 170.0401 | 37.0548 | 30.327 | -9.9279 | -142.9828 | 1.066 | 0.28057 | 0.29388 | 1.2073 | 0 | 0 | 4.4464 | 178.3212 | 116.3068 | -1.0013 | 0 | 0
Line_1 | 0.0019923 | 0.0019923 | 0.0019923 | 0 | 0 | 0 | 0.023005 | 0.023005 | 0.023005 | 0 | 0 | 0 | 1.1004e-05 | 4.3528e-14 | -6.4136e-15 | -4.7629e-10 | 8.7708e-13 | -1.3659e-12 | -0.027773 | 1.6279e-14 | -4.6481e-14 | -8.6404e-11 | 1.0701e-12 | 2.2489e-13 | 88.976 | 88.976 | 88.976 | 0 | 0 | 0 | 1.2073 | 0 | 0 | 1.2074 | 0.00034311 | 0.00034311 | -1.0013 | 0 | 0 | -1.0165 | -69.3523 | -69.3523
Line_2 | 0.0019923 | 0.0019923 | 0.0019923 | 0 | 0 | 0 | 0.023005 | 0.023005 | 0.023005 | 0 | 0 | 0 | 1.1004e-05 | 4.3528e-14 | -6.4136e-15 | -4.7631e-10 | 8.7708e-13 | -1.3659e-12 | -0.027773 | 1.6279e-14 | -4.6481e-14 | -8.6393e-11 | 1.0701e-12 | 2.2489e-13 | 88.976 | 88.976 | 88.976 | 0 | 0 | 0 | 1.2073 | 0 | 0 | 1.2074 | 0.00034311 | 0.00034311 | -1.0013 | 0 | 0 | -1.0165 | -69.3523 | -69.3523

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23789 | 2.6189 | 2.1177 | 0.23842 | 2.6184 | 2.117 | 2.7469 | 30.2406 | 24.4532 | 2.753 | 30.2344 | 24.4451 | -2.6422 | 8.3962 | 1.3402 | 2.8391 | -2.9991e-11 | -3.4699e-11 | 1.2619 | 1.2221 | 7.0601 | -1.7281 | 5.3207e-11 | 3.5803e-11 | -150.0253 | 170.0401 | 37.0548 | 30.327 | -9.9279 | -142.9828 | 1.066 | 0.28057 | 0.29388 | 1.2073 | 0 | 0 | 4.4464 | 178.3212 | 116.3068 | -1.0013 | 0 | 0
Line_1 | 0.0019923 | 0.0019923 | 0.0019923 | 0 | 0 | 0 | 0.023005 | 0.023005 | 0.023005 | 0 | 0 | 0 | 1.1004e-05 | 4.3528e-14 | -6.4136e-15 | -4.7629e-10 | 8.7708e-13 | -1.3659e-12 | -0.027773 | 1.6279e-14 | -4.6481e-14 | -8.6404e-11 | 1.0701e-12 | 2.2489e-13 | 88.976 | 88.976 | 88.976 | 0 | 0 | 0 | 1.2073 | 0 | 0 | 1.2074 | 0.00034311 | 0.00034311 | -1.0013 | 0 | 0 | -1.0165 | -69.3523 | -69.3523
Line_2 | 0.0019923 | 0.0019923 | 0.0019923 | 0 | 0 | 0 | 0.023005 | 0.023005 | 0.023005 | 0 | 0 | 0 | 1.1004e-05 | 4.3528e-14 | -6.4136e-15 | -4.7631e-10 | 8.7708e-13 | -1.3659e-12 | -0.027773 | 1.6279e-14 | -4.6481e-14 | -8.6393e-11 | 1.0701e-12 | 2.2489e-13 | 88.976 | 88.976 | 88.976 | 0 | 0 | 0 | 1.2073 | 0 | 0 | 1.2074 | 0.00034311 | 0.00034311 | -1.0013 | 0 | 0 | -1.0165 | -69.3523 | -69.3523

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064351 | 0.87144 | 0.73836 | 0.063956 | 0.87131 | 0.73803 | 0.74307 | 10.0625 | 8.5258 | 0.7385 | 10.061 | 8.522 | -0.78583 | 7.4505 | 4.7566 | 0.83478 | -6.5161 | -4.5139 | -0.24925 | 4.5455 | 5.5505 | 0.23867 | -4.5156 | -4.6492 | 163.5747 | -165.3196 | 62.184 | -16.052 | 14.7174 | -117.8525 | 1.1095 | 0.86735 | 0.85737 | 1.1757 | 0.78797 | 0.76039 | 1.1731 | -133.9324 | 111.5883 | -0.096085 | -130.5612 | 107.9937
Line_1 | 0.00073531 | 0.00073531 | 0.0007353 | 0 | 0 | 0 | 0.0084906 | 0.0084906 | 0.0084906 | 0 | 0 | 0 | -0.0027588 | -0.0036918 | 0.006452 | -3.2652e-10 | 8.4772e-10 | 8.7993e-10 | -0.0095933 | 0.0055795 | 0.0002305 | -8.358e-12 | -5.8203e-10 | -6.3804e-10 | 105.9477 | 105.9477 | 105.9477 | 0 | 0 | 0 | 1.1757 | 0.78797 | 0.76039 | 1.1757 | 0.78799 | 0.76027 | -0.096085 | -130.5612 | 107.9937 | -0.10097 | -130.5521 | 107.9905
Line_2 | 0.00073531 | 0.00073531 | 0.0007353 | 0 | 0 | 0 | 0.0084906 | 0.0084906 | 0.0084906 | 0 | 0 | 0 | -0.0027588 | -0.0036918 | 0.006452 | -3.2652e-10 | 8.4773e-10 | 8.7993e-10 | -0.0095933 | 0.0055795 | 0.0002305 | -8.3608e-12 | -5.8203e-10 | -6.3804e-10 | 105.9477 | 105.9477 | 105.9477 | 0 | 0 | 0 | 1.1757 | 0.78797 | 0.76039 | 1.1757 | 0.78799 | 0.76027 | -0.096085 | -130.5612 | 107.9937 | -0.10097 | -130.5521 | 107.9905

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064351 | 0.87144 | 0.73836 | 0.063956 | 0.87131 | 0.73803 | 0.74307 | 10.0625 | 8.5258 | 0.7385 | 10.061 | 8.522 | -0.78583 | 7.4505 | 4.7566 | 0.83478 | -6.5161 | -4.5139 | -0.24925 | 4.5455 | 5.5505 | 0.23867 | -4.5156 | -4.6492 | 163.5747 | -165.3196 | 62.184 | -16.052 | 14.7174 | -117.8525 | 1.1095 | 0.86735 | 0.85737 | 1.1757 | 0.78797 | 0.76039 | 1.1731 | -133.9324 | 111.5883 | -0.096085 | -130.5612 | 107.9937
Line_1 | 0.00073531 | 0.00073531 | 0.0007353 | 0 | 0 | 0 | 0.0084906 | 0.0084906 | 0.0084906 | 0 | 0 | 0 | -0.0027588 | -0.0036918 | 0.006452 | -3.2652e-10 | 8.4772e-10 | 8.7993e-10 | -0.0095933 | 0.0055795 | 0.0002305 | -8.358e-12 | -5.8203e-10 | -6.3804e-10 | 105.9477 | 105.9477 | 105.9477 | 0 | 0 | 0 | 1.1757 | 0.78797 | 0.76039 | 1.1757 | 0.78799 | 0.76027 | -0.096085 | -130.5612 | 107.9937 | -0.10097 | -130.5521 | 107.9905
Line_2 | 0.00073531 | 0.00073531 | 0.0007353 | 0 | 0 | 0 | 0.0084906 | 0.0084906 | 0.0084906 | 0 | 0 | 0 | -0.0027588 | -0.0036918 | 0.006452 | -3.2652e-10 | 8.4773e-10 | 8.7993e-10 | -0.0095933 | 0.0055795 | 0.0002305 | -8.3608e-12 | -5.8203e-10 | -6.3804e-10 | 105.9477 | 105.9477 | 105.9477 | 0 | 0 | 0 | 1.1757 | 0.78797 | 0.76039 | 1.1757 | 0.78799 | 0.76027 | -0.096085 | -130.5612 | 107.9937 | -0.10097 | -130.5521 | 107.9905

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.31277 | 2.0719 | 1.6217 | 0.31366 | 2.0715 | 1.6212 | 3.6115 | 23.9238 | 18.7262 | 3.6218 | 23.9197 | 18.7204 | -1.8899 | 8.8887 | 1.2256 | 1.9571 | -1.8524e-11 | -1.1985e-11 | 2.6202 | -0.12418 | 5.4691 | -3.3795 | -1.0294e-11 | -1.2759e-11 | -120.6522 | 177.4395 | 37.7774 | 59.5082 | -2.5273 | -142.263 | 0.89455 | 0.37158 | 0.2993 | 1.0783 | 0 | 0 | 5.1499 | 176.6391 | 115.146 | -0.41601 | 0 | 0
Line_1 | 0.0017793 | 0.0017793 | 0.0017793 | 0 | 0 | 0 | 0.020546 | 0.020546 | 0.020546 | 0 | 0 | 0 | 1.6852e-05 | -8.2624e-15 | 1.9139e-14 | -3.0999e-10 | 1.5391e-12 | -1.9391e-12 | -0.022154 | 1.622e-14 | -1.6782e-15 | -3.0714e-11 | 1.3485e-12 | 6.5962e-13 | 89.5404 | 89.5404 | 89.5404 | 0 | 0 | 0 | 1.0783 | 0 | 0 | 1.0784 | 0.00055831 | 0.00055831 | -0.41601 | 0 | 0 | -0.44507 | -78.7968 | -78.7968
Line_2 | 0.0017793 | 0.0017793 | 0.0017793 | 0 | 0 | 0 | 0.020546 | 0.020546 | 0.020546 | 0 | 0 | 0 | 1.6852e-05 | -8.2624e-15 | 1.9139e-14 | -3.0999e-10 | 1.5391e-12 | -1.9391e-12 | -0.022154 | 1.622e-14 | -1.6782e-15 | -3.0709e-11 | 1.3485e-12 | 6.5962e-13 | 89.5404 | 89.5404 | 89.5404 | 0 | 0 | 0 | 1.0783 | 0 | 0 | 1.0784 | 0.00055831 | 0.00055831 | -0.41601 | 0 | 0 | -0.44507 | -78.7968 | -78.7968

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.31277 | 2.0719 | 1.6217 | 0.31366 | 2.0715 | 1.6212 | 3.6115 | 23.9238 | 18.7262 | 3.6218 | 23.9197 | 18.7204 | -1.8899 | 8.8887 | 1.2256 | 1.9571 | -1.8524e-11 | -1.1985e-11 | 2.6202 | -0.12418 | 5.4691 | -3.3795 | -1.0294e-11 | -1.2759e-11 | -120.6522 | 177.4395 | 37.7774 | 59.5082 | -2.5273 | -142.263 | 0.89455 | 0.37158 | 0.2993 | 1.0783 | 0 | 0 | 5.1499 | 176.6391 | 115.146 | -0.41601 | 0 | 0
Line_1 | 0.0017793 | 0.0017793 | 0.0017793 | 0 | 0 | 0 | 0.020546 | 0.020546 | 0.020546 | 0 | 0 | 0 | 1.6852e-05 | -8.2624e-15 | 1.9139e-14 | -3.0999e-10 | 1.5391e-12 | -1.9391e-12 | -0.022154 | 1.622e-14 | -1.6782e-15 | -3.0714e-11 | 1.3485e-12 | 6.5962e-13 | 89.5404 | 89.5404 | 89.5404 | 0 | 0 | 0 | 1.0783 | 0 | 0 | 1.0784 | 0.00055831 | 0.00055831 | -0.41601 | 0 | 0 | -0.44507 | -78.7968 | -78.7968
Line_2 | 0.0017793 | 0.0017793 | 0.0017793 | 0 | 0 | 0 | 0.020546 | 0.020546 | 0.020546 | 0 | 0 | 0 | 1.6852e-05 | -8.2624e-15 | 1.9139e-14 | -3.0999e-10 | 1.5391e-12 | -1.9391e-12 | -0.022154 | 1.622e-14 | -1.6782e-15 | -3.0709e-11 | 1.3485e-12 | 6.5962e-13 | 89.5404 | 89.5404 | 89.5404 | 0 | 0 | 0 | 1.0783 | 0 | 0 | 1.0784 | 0.00055831 | 0.00055831 | -0.41601 | 0 | 0 | -0.44507 | -78.7968 | -78.7968

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12736 | 0.77962 | 0.64701 | 0.12772 | 0.7795 | 0.64676 | 1.4706 | 9.0022 | 7.471 | 1.4748 | 9.0009 | 7.4681 | -0.3966 | 6.0908 | 3.339 | 0.4032 | -4.821 | -3.07 | 1.3377 | 3.3138 | 4.4925 | -1.4634 | -3.3926 | -3.6022 | -105.3189 | -164.7503 | 58.3464 | 74.835 | 15.2854 | -121.6918 | 0.94873 | 0.77025 | 0.74922 | 1.0293 | 0.65494 | 0.63376 | 1.1952 | -136.2012 | 111.7253 | 0.23868 | -129.5797 | 107.8682
Line_1 | 0.00070949 | 0.00070949 | 0.00070949 | 0 | 0 | 0 | 0.0081925 | 0.0081925 | 0.0081925 | 0 | 0 | 0 | -0.0019736 | -0.0032026 | 0.0051788 | -1.1081e-10 | 7.9517e-10 | 7.9938e-10 | -0.008198 | 0.004305 | 0.00037065 | 1.4978e-11 | -3.9898e-10 | -4.8831e-10 | 103.7745 | 103.7745 | 103.7745 | 0 | 0 | 0 | 1.0293 | 0.65494 | 0.63376 | 1.0294 | 0.65504 | 0.63354 | 0.23868 | -129.5797 | 107.8682 | 0.22747 | -129.562 | 107.8656
Line_2 | 0.00070949 | 0.00070949 | 0.00070949 | 0 | 0 | 0 | 0.0081925 | 0.0081925 | 0.0081925 | 0 | 0 | 0 | -0.0019736 | -0.0032026 | 0.0051788 | -1.1082e-10 | 7.9516e-10 | 7.9937e-10 | -0.008198 | 0.004305 | 0.00037065 | 1.499e-11 | -3.9897e-10 | -4.8831e-10 | 103.7745 | 103.7745 | 103.7745 | 0 | 0 | 0 | 1.0293 | 0.65494 | 0.63376 | 1.0294 | 0.65504 | 0.63354 | 0.23868 | -129.5797 | 107.8682 | 0.22747 | -129.562 | 107.8656

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12736 | 0.77962 | 0.64701 | 0.12772 | 0.7795 | 0.64676 | 1.4706 | 9.0022 | 7.471 | 1.4748 | 9.0009 | 7.4681 | -0.3966 | 6.0908 | 3.339 | 0.4032 | -4.821 | -3.07 | 1.3377 | 3.3138 | 4.4925 | -1.4634 | -3.3926 | -3.6022 | -105.3189 | -164.7503 | 58.3464 | 74.835 | 15.2854 | -121.6918 | 0.94873 | 0.77025 | 0.74922 | 1.0293 | 0.65494 | 0.63376 | 1.1952 | -136.2012 | 111.7253 | 0.23868 | -129.5797 | 107.8682
Line_1 | 0.00070949 | 0.00070949 | 0.00070949 | 0 | 0 | 0 | 0.0081925 | 0.0081925 | 0.0081925 | 0 | 0 | 0 | -0.0019736 | -0.0032026 | 0.0051788 | -1.1081e-10 | 7.9517e-10 | 7.9938e-10 | -0.008198 | 0.004305 | 0.00037065 | 1.4978e-11 | -3.9898e-10 | -4.8831e-10 | 103.7745 | 103.7745 | 103.7745 | 0 | 0 | 0 | 1.0293 | 0.65494 | 0.63376 | 1.0294 | 0.65504 | 0.63354 | 0.23868 | -129.5797 | 107.8682 | 0.22747 | -129.562 | 107.8656
Line_2 | 0.00070949 | 0.00070949 | 0.00070949 | 0 | 0 | 0 | 0.0081925 | 0.0081925 | 0.0081925 | 0 | 0 | 0 | -0.0019736 | -0.0032026 | 0.0051788 | -1.1082e-10 | 7.9516e-10 | 7.9937e-10 | -0.008198 | 0.004305 | 0.00037065 | 1.499e-11 | -3.9897e-10 | -4.8831e-10 | 103.7745 | 103.7745 | 103.7745 | 0 | 0 | 0 | 1.0293 | 0.65494 | 0.63376 | 1.0294 | 0.65504 | 0.63354 | 0.23868 | -129.5797 | 107.8682 | 0.22747 | -129.562 | 107.8656