## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.0995 | 2.0995 | 0 | 0 | 72.7305 | 72.7305 | 16.346 | -9.4693 | 18.9821 | -11.1797 | -73.9375 | 106.0625 | 0.34442 | 0.20144 | -24.6702 | -24.2025
Line_1 | 2.9577 | 2.9577 | 0 | 5.8195 | 102.4575 | 102.4575 | 13.6468 | -1e-07 | 15.4839 | -1e-07 | -72.811 | 107.189 | 0.20144 | 0 | -24.2025 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.20144 | 0.20144 | -24.2025 | -24.2025

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.0995 | 2.0995 | 0 | 0 | 72.7305 | 72.7305 | 16.346 | -9.4693 | 18.9821 | -11.1797 | -73.9375 | 106.0625 | 0.34442 | 0.20144 | -24.6702 | -24.2025
Line_1 | 2.9577 | 2.9577 | 0 | 5.8195 | 102.4575 | 102.4575 | 13.6468 | -1e-07 | 15.4839 | -1e-07 | -72.811 | 107.189 | 0.20144 | 0 | -24.2025 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.20144 | 0.20144 | -24.2025 | -24.2025

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.77447 | 0.77447 | 0 | 0 | 26.8286 | 26.8286 | 16.7209 | -15.7852 | 15.8783 | -14.8166 | -53.6095 | 126.3905 | 0.85949 | 0.80696 | -10.0901 | -10.4223
Line_1 | 1.1861 | 1.1861 | 0 | 2.3337 | 41.087 | 41.087 | 23.2963 | -21.1017 | 23.5917 | -21.1017 | -55.7833 | 124.2167 | 0.80696 | 0.72632 | -10.4223 | -10.7833
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80696 | 0.80696 | -10.4223 | -10.4223

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.77447 | 0.77447 | 0 | 0 | 26.8286 | 26.8286 | 16.7209 | -15.7852 | 15.8783 | -14.8166 | -53.6095 | 126.3905 | 0.85949 | 0.80696 | -10.0901 | -10.4223
Line_1 | 1.1861 | 1.1861 | 0 | 2.3337 | 41.087 | 41.087 | 23.2963 | -21.1017 | 23.5917 | -21.1017 | -55.7833 | 124.2167 | 0.80696 | 0.72632 | -10.4223 | -10.7833
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80696 | 0.80696 | -10.4223 | -10.4223

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.6417 | 1.6417 | 0 | 0 | 56.8697 | 56.8697 | 19.4023 | -11.3298 | 11.5948 | -6.8244 | -65.6754 | 114.3246 | 0.39745 | 0.23257 | -34.8129 | -34.6132
Line_1 | 2.3157 | 2.3157 | 0 | 4.1435 | 80.2187 | 80.2187 | 16.0618 | -1e-07 | 9.4917 | -1e-07 | -65.194 | 114.806 | 0.23257 | 0 | -34.6132 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23257 | 0.23257 | -34.6132 | -34.6132

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.6417 | 1.6417 | 0 | 0 | 56.8697 | 56.8697 | 19.4023 | -11.3298 | 11.5948 | -6.8244 | -65.6754 | 114.3246 | 0.39745 | 0.23257 | -34.8129 | -34.6132
Line_1 | 2.3157 | 2.3157 | 0 | 4.1435 | 80.2187 | 80.2187 | 16.0618 | -1e-07 | 9.4917 | -1e-07 | -65.194 | 114.806 | 0.23257 | 0 | -34.6132 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23257 | 0.23257 | -34.6132 | -34.6132

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.68928 | 0.68928 | 0 | 0 | 23.8772 | 23.8772 | 13.3879 | -11.9648 | 12.1805 | -11.3396 | -53.8149 | 126.1851 | 0.75803 | 0.69039 | -11.5185 | -10.3519
Line_1 | 0.97227 | 0.97227 | 0 | 1.7397 | 33.6805 | 33.6805 | 17.0111 | -14.1797 | 15.8529 | -14.1797 | -53.3335 | 126.6665 | 0.69039 | 0.59539 | -10.3519 | -8.3335
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.69039 | 0.69039 | -10.3519 | -10.3519

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.68928 | 0.68928 | 0 | 0 | 23.8772 | 23.8772 | 13.3879 | -11.9648 | 12.1805 | -11.3396 | -53.8149 | 126.1851 | 0.75803 | 0.69039 | -11.5185 | -10.3519
Line_1 | 0.97227 | 0.97227 | 0 | 1.7397 | 33.6805 | 33.6805 | 17.0111 | -14.1797 | 15.8529 | -14.1797 | -53.3335 | 126.6665 | 0.69039 | 0.59539 | -10.3519 | -8.3335
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.69039 | 0.69039 | -10.3519 | -10.3519

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1789 | 1.7985 | 1.8614 | 0.1789 | 1.7985 | 1.8614 | 2.0657 | 20.7675 | 21.4937 | 2.0657 | 20.7675 | 21.4937 | -1.3789 | 15.8204 | -8.1379 | 1.3956 | -14.1383 | 9.9397 | -1.9568 | 0.83011 | 7.5274 | 1.9757 | 1.0783 | -5.4832 | 126.9184 | -161.0161 | 13.7375 | -53.0816 | 18.9839 | -166.2625 | 1.1588 | 0.76283 | 0.51576 | 1.171 | 0.68277 | 0.52814 | 1.7466 | -158.0125 | 150.9692 | 1.6821 | -165.3777 | 164.8543
Line_1 | 0 | 2.5333 | 2.5333 | 0 | 2.5333 | 2.5333 | 0 | 29.2517 | 29.2517 | 0 | 29.2517 | 29.2517 | 3.0668e-10 | 19.97 | -13.2958 | -3.0668e-10 | -16.6329 | 16.6329 | -1.3864e-10 | -0.29481 | 7.8674 | 1.3863e-10 | 4.0811 | -4.0811 | 0 | -164.5319 | 15.4681 | 0 | 15.4681 | -164.5319 | 1.171 | 0.68277 | 0.52814 | 1.171 | 0.58548 | 0.58548 | 1.6821 | -165.3777 | 164.8543 | 1.6821 | -178.3179 | -178.3179
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.0669e-10 | -2.2505e-10 | -4.8733e-10 | -3.067e-10 | 2.2508e-10 | 4.8733e-10 | -1.3865e-10 | 1.96e-09 | -1.5024e-09 | 1.3863e-10 | -1.96e-09 | 1.5024e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.171 | 0.68277 | 0.52814 | 1.171 | 0.68277 | 0.52814 | 1.6821 | -165.3777 | 164.8543 | 1.6821 | -165.3777 | 164.8543

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1789 | 1.7985 | 1.8614 | 0.1789 | 1.7985 | 1.8614 | 2.0657 | 20.7675 | 21.4937 | 2.0657 | 20.7675 | 21.4937 | -1.3789 | 15.8204 | -8.1379 | 1.3956 | -14.1383 | 9.9397 | -1.9568 | 0.83011 | 7.5274 | 1.9757 | 1.0783 | -5.4832 | 126.9184 | -161.0161 | 13.7375 | -53.0816 | 18.9839 | -166.2625 | 1.1588 | 0.76283 | 0.51576 | 1.171 | 0.68277 | 0.52814 | 1.7466 | -158.0125 | 150.9692 | 1.6821 | -165.3777 | 164.8543
Line_1 | 0 | 2.5333 | 2.5333 | 0 | 2.5333 | 2.5333 | 0 | 29.2517 | 29.2517 | 0 | 29.2517 | 29.2517 | 3.0668e-10 | 19.97 | -13.2958 | -3.0668e-10 | -16.6329 | 16.6329 | -1.3864e-10 | -0.29481 | 7.8674 | 1.3863e-10 | 4.0811 | -4.0811 | 0 | -164.5319 | 15.4681 | 0 | 15.4681 | -164.5319 | 1.171 | 0.68277 | 0.52814 | 1.171 | 0.58548 | 0.58548 | 1.6821 | -165.3777 | 164.8543 | 1.6821 | -178.3179 | -178.3179
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.0669e-10 | -2.2505e-10 | -4.8733e-10 | -3.067e-10 | 2.2508e-10 | 4.8733e-10 | -1.3865e-10 | 1.96e-09 | -1.5024e-09 | 1.3863e-10 | -1.96e-09 | 1.5024e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.171 | 0.68277 | 0.52814 | 1.171 | 0.68277 | 0.52814 | 1.6821 | -165.3777 | 164.8543 | 1.6821 | -165.3777 | 164.8543

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14586 | 1.0269 | 1.0257 | 0.14586 | 1.0269 | 1.0257 | 1.6843 | 11.8574 | 11.8436 | 1.6843 | 11.8574 | 11.8436 | -0.94466 | 11.3465 | -1.2071 | 0.95572 | -10.7981 | 1.7541 | -1.6924 | 0.92336 | 8.4006 | 1.705 | -0.30121 | -7.7799 | 120.3213 | -145.1349 | 26.7152 | -59.6787 | 34.8651 | -153.2848 | 1.1508 | 0.96007 | 0.71658 | 1.1605 | 0.91102 | 0.67338 | 1.1525 | -140.4825 | 124.8921 | 1.0487 | -143.537 | 129.4213
Line_1 | 0 | 1.476 | 1.476 | 0 | 1.476 | 1.476 | 0 | 17.043 | 17.043 | 0 | 17.043 | 17.043 | 2.581e-10 | 15.3695 | -2.2116 | -2.581e-10 | -14.2367 | 3.3444 | -8.5661e-11 | 2.2017 | 11.2612 | 8.5663e-11 | -0.91645 | -9.9759 | 0 | -151.6894 | 28.3106 | 0 | 28.3106 | -151.6894 | 1.1605 | 0.91102 | 0.67338 | 1.1605 | 0.83707 | 0.61736 | 1.0487 | -143.537 | 129.4213 | 1.0487 | -148.0063 | 136.844
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.5811e-10 | -3.2556e-10 | -1.0167e-09 | -2.5812e-10 | 3.2557e-10 | 1.0167e-09 | -8.5671e-11 | 1.4673e-09 | -4.4458e-10 | 8.5671e-11 | -1.4673e-09 | 4.4458e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1605 | 0.91102 | 0.67338 | 1.1605 | 0.91102 | 0.67338 | 1.0487 | -143.537 | 129.4213 | 1.0487 | -143.537 | 129.4213

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14586 | 1.0269 | 1.0257 | 0.14586 | 1.0269 | 1.0257 | 1.6843 | 11.8574 | 11.8436 | 1.6843 | 11.8574 | 11.8436 | -0.94466 | 11.3465 | -1.2071 | 0.95572 | -10.7981 | 1.7541 | -1.6924 | 0.92336 | 8.4006 | 1.705 | -0.30121 | -7.7799 | 120.3213 | -145.1349 | 26.7152 | -59.6787 | 34.8651 | -153.2848 | 1.1508 | 0.96007 | 0.71658 | 1.1605 | 0.91102 | 0.67338 | 1.1525 | -140.4825 | 124.8921 | 1.0487 | -143.537 | 129.4213
Line_1 | 0 | 1.476 | 1.476 | 0 | 1.476 | 1.476 | 0 | 17.043 | 17.043 | 0 | 17.043 | 17.043 | 2.581e-10 | 15.3695 | -2.2116 | -2.581e-10 | -14.2367 | 3.3444 | -8.5661e-11 | 2.2017 | 11.2612 | 8.5663e-11 | -0.91645 | -9.9759 | 0 | -151.6894 | 28.3106 | 0 | 28.3106 | -151.6894 | 1.1605 | 0.91102 | 0.67338 | 1.1605 | 0.83707 | 0.61736 | 1.0487 | -143.537 | 129.4213 | 1.0487 | -148.0063 | 136.844
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.5811e-10 | -3.2556e-10 | -1.0167e-09 | -2.5812e-10 | 3.2557e-10 | 1.0167e-09 | -8.5671e-11 | 1.4673e-09 | -4.4458e-10 | 8.5671e-11 | -1.4673e-09 | 4.4458e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1605 | 0.91102 | 0.67338 | 1.1605 | 0.91102 | 0.67338 | 1.0487 | -143.537 | 129.4213 | 1.0487 | -143.537 | 129.4213

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.073613 | 1.403 | 1.4673 | 0.073613 | 1.403 | 1.4673 | 0.85 | 16.2 | 16.9429 | 0.85 | 16.2 | 16.9429 | -0.85011 | 12.3426 | -2.8741 | 0.85552 | -10.3775 | 5.0236 | -0.09326 | -0.5749 | 6.1353 | 0.096457 | 1.7362 | -4.8651 | 175.5264 | -154.6802 | 23.8914 | -4.4736 | 25.3198 | -156.1086 | 1.0061 | 0.76272 | 0.39988 | 1.0129 | 0.64949 | 0.41275 | 1.7869 | -157.3471 | 138.9922 | 1.9591 | -164.1781 | 159.8099
Line_1 | 0 | 1.9821 | 1.9821 | 0 | 1.9821 | 1.9821 | 0 | 22.8869 | 22.8869 | 0 | 22.8869 | 22.8869 | 4.9957e-11 | 14.7548 | -6.9102 | -4.9957e-11 | -10.8325 | 10.8325 | -1.2697e-10 | -1.8055 | 6.4412 | 1.2696e-10 | 4.1233 | -4.1233 | 0 | -157.2017 | 22.7983 | 0 | 22.7983 | -157.2017 | 1.0129 | 0.64949 | 0.41275 | 1.0129 | 0.50643 | 0.50643 | 1.9591 | -164.1781 | 159.8099 | 1.9591 | -178.0409 | -178.0409
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.9956e-11 | -1.612e-10 | -5.379e-10 | -4.9956e-11 | 1.612e-10 | 5.379e-10 | -1.2696e-10 | 1.6596e-09 | -9.6895e-10 | 1.2696e-10 | -1.6596e-09 | 9.6896e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0129 | 0.64949 | 0.41275 | 1.0129 | 0.64949 | 0.41275 | 1.9591 | -164.1781 | 159.8099 | 1.9591 | -164.1781 | 159.8099

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.073613 | 1.403 | 1.4673 | 0.073613 | 1.403 | 1.4673 | 0.85 | 16.2 | 16.9429 | 0.85 | 16.2 | 16.9429 | -0.85011 | 12.3426 | -2.8741 | 0.85552 | -10.3775 | 5.0236 | -0.09326 | -0.5749 | 6.1353 | 0.096457 | 1.7362 | -4.8651 | 175.5264 | -154.6802 | 23.8914 | -4.4736 | 25.3198 | -156.1086 | 1.0061 | 0.76272 | 0.39988 | 1.0129 | 0.64949 | 0.41275 | 1.7869 | -157.3471 | 138.9922 | 1.9591 | -164.1781 | 159.8099
Line_1 | 0 | 1.9821 | 1.9821 | 0 | 1.9821 | 1.9821 | 0 | 22.8869 | 22.8869 | 0 | 22.8869 | 22.8869 | 4.9957e-11 | 14.7548 | -6.9102 | -4.9957e-11 | -10.8325 | 10.8325 | -1.2697e-10 | -1.8055 | 6.4412 | 1.2696e-10 | 4.1233 | -4.1233 | 0 | -157.2017 | 22.7983 | 0 | 22.7983 | -157.2017 | 1.0129 | 0.64949 | 0.41275 | 1.0129 | 0.50643 | 0.50643 | 1.9591 | -164.1781 | 159.8099 | 1.9591 | -178.0409 | -178.0409
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.9956e-11 | -1.612e-10 | -5.379e-10 | -4.9956e-11 | 1.612e-10 | 5.379e-10 | -1.2696e-10 | 1.6596e-09 | -9.6895e-10 | 1.2696e-10 | -1.6596e-09 | 9.6896e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0129 | 0.64949 | 0.41275 | 1.0129 | 0.64949 | 0.41275 | 1.9591 | -164.1781 | 159.8099 | 1.9591 | -164.1781 | 159.8099

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.044081 | 0.84013 | 0.87865 | 0.044081 | 0.84013 | 0.87865 | 0.509 | 9.7009 | 10.1458 | 0.509 | 9.7009 | 10.1458 | -0.50829 | 8.4006 | 0.14956 | 0.51023 | -7.696 | 0.62123 | 0.031598 | 0.67345 | 6.2908 | -0.030452 | -0.25702 | -5.8353 | -175.3498 | -145.5565 | 33.0151 | 4.6502 | 34.4435 | -146.9849 | 1.0005 | 0.86874 | 0.62021 | 1.0042 | 0.79376 | 0.57839 | 1.0929 | -140.9731 | 121.6532 | 1.2347 | -143.6437 | 129.092
Line_1 | 0 | 1.1869 | 1.1869 | 0 | 1.1869 | 1.1869 | 0 | 13.7053 | 13.7053 | 0 | 13.7053 | 13.7053 | 1.6329e-11 | 10.8462 | -0.9894 | -1.6329e-11 | -9.4397 | 2.3959 | -7.9339e-11 | 0.8411 | 7.865 | 7.9339e-11 | -0.0099328 | -7.0338 | 0 | -148.078 | 31.922 | 0 | 31.922 | -148.078 | 1.0042 | 0.79376 | 0.57839 | 1.0042 | 0.68876 | 0.54218 | 1.2347 | -143.6437 | 129.092 | 1.2347 | -148.0177 | 140.7321
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6328e-11 | -3.5593e-10 | -8.6749e-10 | -1.6328e-11 | 3.5593e-10 | 8.6749e-10 | -7.9339e-11 | 1.1672e-09 | -3.3512e-10 | 7.9342e-11 | -1.1672e-09 | 3.3512e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0042 | 0.79376 | 0.57839 | 1.0042 | 0.79376 | 0.57839 | 1.2347 | -143.6437 | 129.092 | 1.2347 | -143.6437 | 129.092

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.044081 | 0.84013 | 0.87865 | 0.044081 | 0.84013 | 0.87865 | 0.509 | 9.7009 | 10.1458 | 0.509 | 9.7009 | 10.1458 | -0.50829 | 8.4006 | 0.14956 | 0.51023 | -7.696 | 0.62123 | 0.031598 | 0.67345 | 6.2908 | -0.030452 | -0.25702 | -5.8353 | -175.3498 | -145.5565 | 33.0151 | 4.6502 | 34.4435 | -146.9849 | 1.0005 | 0.86874 | 0.62021 | 1.0042 | 0.79376 | 0.57839 | 1.0929 | -140.9731 | 121.6532 | 1.2347 | -143.6437 | 129.092
Line_1 | 0 | 1.1869 | 1.1869 | 0 | 1.1869 | 1.1869 | 0 | 13.7053 | 13.7053 | 0 | 13.7053 | 13.7053 | 1.6329e-11 | 10.8462 | -0.9894 | -1.6329e-11 | -9.4397 | 2.3959 | -7.9339e-11 | 0.8411 | 7.865 | 7.9339e-11 | -0.0099328 | -7.0338 | 0 | -148.078 | 31.922 | 0 | 31.922 | -148.078 | 1.0042 | 0.79376 | 0.57839 | 1.0042 | 0.68876 | 0.54218 | 1.2347 | -143.6437 | 129.092 | 1.2347 | -148.0177 | 140.7321
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6328e-11 | -3.5593e-10 | -8.6749e-10 | -1.6328e-11 | 3.5593e-10 | 8.6749e-10 | -7.9339e-11 | 1.1672e-09 | -3.3512e-10 | 7.9342e-11 | -1.1672e-09 | 3.3512e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0042 | 0.79376 | 0.57839 | 1.0042 | 0.79376 | 0.57839 | 1.2347 | -143.6437 | 129.092 | 1.2347 | -143.6437 | 129.092

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6248 | 0.25736 | 0.10706 | 1.6237 | 0.25802 | 0.10815 | 18.7617 | 2.9718 | 1.2362 | 18.7488 | 2.9794 | 1.2488 | 10.4836 | -3.2805 | 1.3371 | -6.7594 | 3.3601 | -1.5074 | 5.484 | -0.62673 | -0.26863 | -2.8416 | 0.24621 | 0.21439 | -55.6682 | 54.0873 | 129.2444 | 124.3423 | -125.7006 | -50.9631 | 0.63061 | 1.1239 | 1.1033 | 0.39109 | 1.1308 | 1.2192 | -28.0538 | -115.097 | 117.885 | -32.8558 | -121.5097 | 120.942
Line_1 | 2.4966 | 0.0020226 | 0.0020226 | 2.4949 | 0 | 0 | 28.828 | 0.023355 | 0.023355 | 28.8088 | 0 | 0 | 9.8407 | 0.02402 | -0.022472 | -4.207e-13 | -9.6931e-11 | -1.883e-09 | 5.5018 | -0.010979 | -0.017487 | 4.2004e-11 | -1.0387e-09 | 3.0279e-10 | -62.0647 | -96.9459 | -96.9459 | 117.9619 | 0 | 0 | 0.39109 | 1.1308 | 1.2192 | 0 | 1.0932 | 1.4522 | -32.8558 | -121.5097 | 120.942 | 0 | -133.6249 | 122.9631
Line_2 | 0.0014833 | 0.0014833 | 0.0014833 | 0 | 0 | 0 | 0.017128 | 0.017128 | 0.017128 | 0 | 0 | 0 | 0.0044109 | 0.014872 | -0.019277 | 7.6439e-10 | -1.2881e-10 | -5.3478e-10 | 0.0050414 | -0.012408 | -0.0080297 | -8.5489e-10 | -1.2106e-10 | 8.0846e-11 | -81.6717 | -81.6717 | -81.6717 | 0 | 0 | 0 | 0.39109 | 1.1308 | 1.2192 | 0.39086 | 1.1307 | 1.2195 | -32.8558 | -121.5097 | 120.942 | -32.8387 | -121.5211 | 120.9418

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6248 | 0.25736 | 0.10706 | 1.6237 | 0.25802 | 0.10815 | 18.7617 | 2.9718 | 1.2362 | 18.7488 | 2.9794 | 1.2488 | 10.4836 | -3.2805 | 1.3371 | -6.7594 | 3.3601 | -1.5074 | 5.484 | -0.62673 | -0.26863 | -2.8416 | 0.24621 | 0.21439 | -55.6682 | 54.0873 | 129.2444 | 124.3423 | -125.7006 | -50.9631 | 0.63061 | 1.1239 | 1.1033 | 0.39109 | 1.1308 | 1.2192 | -28.0538 | -115.097 | 117.885 | -32.8558 | -121.5097 | 120.942
Line_1 | 2.4966 | 0.0020226 | 0.0020226 | 2.4949 | 0 | 0 | 28.828 | 0.023355 | 0.023355 | 28.8088 | 0 | 0 | 9.8407 | 0.02402 | -0.022472 | -4.207e-13 | -9.6931e-11 | -1.883e-09 | 5.5018 | -0.010979 | -0.017487 | 4.2004e-11 | -1.0387e-09 | 3.0279e-10 | -62.0647 | -96.9459 | -96.9459 | 117.9619 | 0 | 0 | 0.39109 | 1.1308 | 1.2192 | 0 | 1.0932 | 1.4522 | -32.8558 | -121.5097 | 120.942 | 0 | -133.6249 | 122.9631
Line_2 | 0.0014833 | 0.0014833 | 0.0014833 | 0 | 0 | 0 | 0.017128 | 0.017128 | 0.017128 | 0 | 0 | 0 | 0.0044109 | 0.014872 | -0.019277 | 7.6439e-10 | -1.2881e-10 | -5.3478e-10 | 0.0050414 | -0.012408 | -0.0080297 | -8.5489e-10 | -1.2106e-10 | 8.0846e-11 | -81.6717 | -81.6717 | -81.6717 | 0 | 0 | 0 | 0.39109 | 1.1308 | 1.2192 | 0.39086 | 1.1307 | 1.2195 | -32.8558 | -121.5097 | 120.942 | -32.8387 | -121.5211 | 120.9418

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.65261 | 0.13473 | 0.098357 | 0.65213 | 0.13474 | 0.098555 | 7.5357 | 1.5557 | 1.1357 | 7.5301 | 1.5558 | 1.138 | 6.0043 | -1.4886 | 0.4966 | -5.356 | 1.56 | -0.55888 | 3.6476 | -0.93745 | -1.1869 | -3.2346 | 0.86966 | 1.224 | -41.6819 | 29.9101 | -173.6339 | 138.3326 | -149.8749 | 6.0953 | 0.9323 | 1.1308 | 1.1328 | 0.83092 | 1.148 | 1.1824 | -10.4031 | -117.8897 | 119.071 | -10.539 | -120.7368 | 120.6372
Line_1 | 1.0878 | 0.00088126 | 0.00088126 | 1.087 | 0 | 0 | 12.5604 | 0.010176 | 0.010176 | 12.5521 | 0 | 0 | 7.7776 | 0.0097419 | -0.010635 | -5.9083 | -1.9818e-10 | -8.4225e-10 | 6.9594 | -0.0064466 | -0.0056262 | -5.9083 | -4.7415e-10 | 2.1682e-10 | -52.3612 | -87.2424 | -87.2424 | 127.6654 | 0 | 0 | 0.83092 | 1.148 | 1.1824 | 0.66567 | 1.1415 | 1.2787 | -10.539 | -120.7368 | 120.6372 | -7.3346 | -125.9111 | 122.4095
Line_2 | 0.0006463 | 0.0006463 | 0.0006463 | 0 | 0 | 0 | 0.0074628 | 0.0074628 | 0.0074628 | 0 | 0 | 0 | 0.0029656 | 0.0056466 | -0.0086111 | 7.6351e-10 | -2.022e-10 | -3.5789e-10 | 0.0054459 | -0.006443 | -0.0019256 | -6.1264e-10 | -5.9968e-11 | 5.3109e-11 | -71.9682 | -71.9682 | -71.9682 | 0 | 0 | 0 | 0.83092 | 1.148 | 1.1824 | 0.83083 | 1.1479 | 1.1825 | -10.539 | -120.7368 | 120.6372 | -10.5341 | -120.7421 | 120.638

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.65261 | 0.13473 | 0.098357 | 0.65213 | 0.13474 | 0.098555 | 7.5357 | 1.5557 | 1.1357 | 7.5301 | 1.5558 | 1.138 | 6.0043 | -1.4886 | 0.4966 | -5.356 | 1.56 | -0.55888 | 3.6476 | -0.93745 | -1.1869 | -3.2346 | 0.86966 | 1.224 | -41.6819 | 29.9101 | -173.6339 | 138.3326 | -149.8749 | 6.0953 | 0.9323 | 1.1308 | 1.1328 | 0.83092 | 1.148 | 1.1824 | -10.4031 | -117.8897 | 119.071 | -10.539 | -120.7368 | 120.6372
Line_1 | 1.0878 | 0.00088126 | 0.00088126 | 1.087 | 0 | 0 | 12.5604 | 0.010176 | 0.010176 | 12.5521 | 0 | 0 | 7.7776 | 0.0097419 | -0.010635 | -5.9083 | -1.9818e-10 | -8.4225e-10 | 6.9594 | -0.0064466 | -0.0056262 | -5.9083 | -4.7415e-10 | 2.1682e-10 | -52.3612 | -87.2424 | -87.2424 | 127.6654 | 0 | 0 | 0.83092 | 1.148 | 1.1824 | 0.66567 | 1.1415 | 1.2787 | -10.539 | -120.7368 | 120.6372 | -7.3346 | -125.9111 | 122.4095
Line_2 | 0.0006463 | 0.0006463 | 0.0006463 | 0 | 0 | 0 | 0.0074628 | 0.0074628 | 0.0074628 | 0 | 0 | 0 | 0.0029656 | 0.0056466 | -0.0086111 | 7.6351e-10 | -2.022e-10 | -3.5789e-10 | 0.0054459 | -0.006443 | -0.0019256 | -6.1264e-10 | -5.9968e-11 | 5.3109e-11 | -71.9682 | -71.9682 | -71.9682 | 0 | 0 | 0 | 0.83092 | 1.148 | 1.1824 | 0.83083 | 1.1479 | 1.1825 | -10.539 | -120.7368 | 120.6372 | -10.5341 | -120.7421 | 120.638

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0997 | 0.23527 | 0.17163 | 1.0989 | 0.23603 | 0.17237 | 12.6986 | 2.7167 | 1.9818 | 12.6891 | 2.7255 | 1.9904 | 8.8783 | -2.2377 | 1.7489 | -5.9574 | 2.1578 | -1.8181 | 2.4319 | 1.3043 | 0.75766 | -0.82728 | -1.6684 | -1.0277 | -41.7087 | 95.5549 | 92.8543 | 138.3036 | -84.3519 | -87.0062 | 0.72491 | 0.95341 | 0.96171 | 0.474 | 1.0008 | 1.0493 | -26.3902 | -114.682 | 116.278 | -33.7905 | -122.0629 | 122.4723
Line_1 | 1.7338 | 0.0018692 | 0.0018692 | 1.7325 | 0 | 0 | 20.0197 | 0.021584 | 0.021584 | 20.0046 | 0 | 0 | 9.1122 | 0.019342 | -0.017821 | 2.2333e-11 | -2.014e-10 | -1.753e-09 | 2.6485 | -0.0096144 | -0.013976 | 8.6347e-12 | -1.2392e-09 | 5.1814e-10 | -49.9974 | -95.6327 | -95.6327 | 130.0468 | 0 | 0 | 0.474 | 1.0008 | 1.0493 | 0 | 0.9958 | 1.3489 | -33.7905 | -122.0629 | 122.4723 | 0 | -139.8404 | 126.0132
Line_2 | 0.0012152 | 0.0012152 | 0.0012152 | 0 | 0 | 0 | 0.014032 | 0.014032 | 0.014032 | 0 | 0 | 0 | 0.0052168 | 0.0090384 | -0.014247 | 6.2109e-10 | -4.5539e-12 | -1.9465e-10 | 0.0041255 | -0.010747 | -0.0037113 | -9.6539e-10 | -1.3329e-10 | 1.6595e-10 | -72.1282 | -72.1281 | -72.1281 | 0 | 0 | 0 | 0.474 | 1.0008 | 1.0493 | 0.47366 | 1.0006 | 1.0496 | -33.7905 | -122.0629 | 122.4723 | -33.7698 | -122.0821 | 122.4712

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0997 | 0.23527 | 0.17163 | 1.0989 | 0.23603 | 0.17237 | 12.6986 | 2.7167 | 1.9818 | 12.6891 | 2.7255 | 1.9904 | 8.8783 | -2.2377 | 1.7489 | -5.9574 | 2.1578 | -1.8181 | 2.4319 | 1.3043 | 0.75766 | -0.82728 | -1.6684 | -1.0277 | -41.7087 | 95.5549 | 92.8543 | 138.3036 | -84.3519 | -87.0062 | 0.72491 | 0.95341 | 0.96171 | 0.474 | 1.0008 | 1.0493 | -26.3902 | -114.682 | 116.278 | -33.7905 | -122.0629 | 122.4723
Line_1 | 1.7338 | 0.0018692 | 0.0018692 | 1.7325 | 0 | 0 | 20.0197 | 0.021584 | 0.021584 | 20.0046 | 0 | 0 | 9.1122 | 0.019342 | -0.017821 | 2.2333e-11 | -2.014e-10 | -1.753e-09 | 2.6485 | -0.0096144 | -0.013976 | 8.6347e-12 | -1.2392e-09 | 5.1814e-10 | -49.9974 | -95.6327 | -95.6327 | 130.0468 | 0 | 0 | 0.474 | 1.0008 | 1.0493 | 0 | 0.9958 | 1.3489 | -33.7905 | -122.0629 | 122.4723 | 0 | -139.8404 | 126.0132
Line_2 | 0.0012152 | 0.0012152 | 0.0012152 | 0 | 0 | 0 | 0.014032 | 0.014032 | 0.014032 | 0 | 0 | 0 | 0.0052168 | 0.0090384 | -0.014247 | 6.2109e-10 | -4.5539e-12 | -1.9465e-10 | 0.0041255 | -0.010747 | -0.0037113 | -9.6539e-10 | -1.3329e-10 | 1.6595e-10 | -72.1282 | -72.1281 | -72.1281 | 0 | 0 | 0 | 0.474 | 1.0008 | 1.0493 | 0.47366 | 1.0006 | 1.0496 | -33.7905 | -122.0629 | 122.4723 | -33.7698 | -122.0821 | 122.4712

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.53411 | 0.11427 | 0.083357 | 0.53371 | 0.11464 | 0.083718 | 6.1674 | 1.3194 | 0.96252 | 6.1628 | 1.3237 | 0.9667 | 4.6403 | -1.0447 | 0.87173 | -3.9498 | 1.0268 | -0.89051 | 2.4752 | 0.74926 | 0.36605 | -2.0948 | -0.83742 | -0.42944 | -39.1589 | 98.1047 | 95.4042 | 140.8534 | -81.8021 | -84.4564 | 0.85274 | 0.97439 | 0.98228 | 0.72547 | 1.001 | 1.0227 | -11.0822 | -117.5426 | 118.182 | -11.2073 | -121.0004 | 121.2889
Line_1 | 0.84205 | 0.00090783 | 0.00090783 | 0.84141 | 0 | 0 | 9.7231 | 0.010483 | 0.010483 | 9.7158 | 0 | 0 | 5.6892 | 0.0092719 | -0.0088488 | -3.5399 | -1.6408e-11 | -7.1448e-10 | 4.17 | -0.0049129 | -0.0060525 | -3.5399 | -6.0629e-10 | 2.7845e-10 | -47.4475 | -93.0829 | -93.0829 | 132.5966 | 0 | 0 | 0.72547 | 1.001 | 1.0227 | 0.51526 | 0.99048 | 1.1651 | -11.2073 | -121.0004 | 121.2889 | -2.4034 | -129.61 | 123.7371
Line_2 | 0.00059018 | 0.00059018 | 0.00059018 | 0 | 0 | 0 | 0.0068148 | 0.0068148 | 0.0068148 | 0 | 0 | 0 | 0.0025927 | 0.0042538 | -0.0068446 | 6.7986e-10 | -3.8827e-12 | -8.6816e-11 | 0.0042096 | -0.0053328 | -0.001314 | -5.1643e-10 | -6.468e-11 | 8.4374e-11 | -69.5783 | -69.5783 | -69.5783 | 0 | 0 | 0 | 0.72547 | 1.001 | 1.0227 | 0.72534 | 1.0009 | 1.0229 | -11.2073 | -121.0004 | 121.2889 | -11.1967 | -121.0098 | 121.289

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.53411 | 0.11427 | 0.083357 | 0.53371 | 0.11464 | 0.083718 | 6.1674 | 1.3194 | 0.96252 | 6.1628 | 1.3237 | 0.9667 | 4.6403 | -1.0447 | 0.87173 | -3.9498 | 1.0268 | -0.89051 | 2.4752 | 0.74926 | 0.36605 | -2.0948 | -0.83742 | -0.42944 | -39.1589 | 98.1047 | 95.4042 | 140.8534 | -81.8021 | -84.4564 | 0.85274 | 0.97439 | 0.98228 | 0.72547 | 1.001 | 1.0227 | -11.0822 | -117.5426 | 118.182 | -11.2073 | -121.0004 | 121.2889
Line_1 | 0.84205 | 0.00090783 | 0.00090783 | 0.84141 | 0 | 0 | 9.7231 | 0.010483 | 0.010483 | 9.7158 | 0 | 0 | 5.6892 | 0.0092719 | -0.0088488 | -3.5399 | -1.6408e-11 | -7.1448e-10 | 4.17 | -0.0049129 | -0.0060525 | -3.5399 | -6.0629e-10 | 2.7845e-10 | -47.4475 | -93.0829 | -93.0829 | 132.5966 | 0 | 0 | 0.72547 | 1.001 | 1.0227 | 0.51526 | 0.99048 | 1.1651 | -11.2073 | -121.0004 | 121.2889 | -2.4034 | -129.61 | 123.7371
Line_2 | 0.00059018 | 0.00059018 | 0.00059018 | 0 | 0 | 0 | 0.0068148 | 0.0068148 | 0.0068148 | 0 | 0 | 0 | 0.0025927 | 0.0042538 | -0.0068446 | 6.7986e-10 | -3.8827e-12 | -8.6816e-11 | 0.0042096 | -0.0053328 | -0.001314 | -5.1643e-10 | -6.468e-11 | 8.4374e-11 | -69.5783 | -69.5783 | -69.5783 | 0 | 0 | 0 | 0.72547 | 1.001 | 1.0227 | 0.72534 | 1.0009 | 1.0229 | -11.2073 | -121.0004 | 121.2889 | -11.1967 | -121.0098 | 121.289

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.10623 | 2.2117 | 1.5765 | 0.10608 | 2.2113 | 1.5764 | 1.2266 | 25.5388 | 18.2039 | 1.2249 | 25.5336 | 18.2031 | -1.2613 | 13.2956 | 0.47679 | 1.3684 | -7.9905 | -0.41988 | 0.44251 | 2.0543 | 9.0817 | -0.5439 | -0.37023 | -5.8625 | -158.6182 | -176.6665 | 34.4823 | 21.9119 | 3.3565 | -145.5537 | 1.0898 | 0.52678 | 0.49957 | 1.2022 | 0.31328 | 0.32288 | 2.0495 | -167.8832 | 121.477 | 0.23538 | -173.9907 | 120.3497
Line_1 | 0.0017314 | 3.1056 | 2.3389 | 0 | 3.1054 | 2.3378 | 0.019993 | 35.8606 | 27.0071 | 0 | 35.8584 | 26.995 | -0.0014623 | 11.1074 | 1.5913 | -1.3856e-09 | -1.0125e-11 | -1.5374e-11 | -0.023991 | 1.6843 | 8.5737 | -4.6173e-10 | 3.1349e-11 | 2.0153e-11 | 93.7235 | 177.3869 | 40.8644 | 0 | -2.5814 | -139.1694 | 1.2022 | 0.31328 | 0.32288 | 1.3717 | 0 | 0 | 0.23538 | -173.9907 | 120.3497 | -4.7875 | 0 | 0
Line_2 | 0.0012698 | 0.0012698 | 0.0012698 | 0 | 0 | 0 | 0.014662 | 0.014662 | 0.014662 | 0 | 0 | 0 | -0.0056696 | 0.0010324 | 0.0046416 | -4.5113e-10 | 3.8358e-10 | 9.1966e-10 | -0.01669 | 0.0044759 | 0.00093187 | 1.9254e-11 | -1.0213e-09 | 7.7843e-12 | 108.9978 | 108.9978 | 108.9978 | 0 | 0 | 0 | 1.2022 | 0.31328 | 0.32288 | 1.2023 | 0.31315 | 0.32267 | 0.23538 | -173.9907 | 120.3497 | 0.22745 | -173.9578 | 120.3428

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.10623 | 2.2117 | 1.5765 | 0.10608 | 2.2113 | 1.5764 | 1.2266 | 25.5388 | 18.2039 | 1.2249 | 25.5336 | 18.2031 | -1.2613 | 13.2956 | 0.47679 | 1.3684 | -7.9905 | -0.41988 | 0.44251 | 2.0543 | 9.0817 | -0.5439 | -0.37023 | -5.8625 | -158.6182 | -176.6665 | 34.4823 | 21.9119 | 3.3565 | -145.5537 | 1.0898 | 0.52678 | 0.49957 | 1.2022 | 0.31328 | 0.32288 | 2.0495 | -167.8832 | 121.477 | 0.23538 | -173.9907 | 120.3497
Line_1 | 0.0017314 | 3.1056 | 2.3389 | 0 | 3.1054 | 2.3378 | 0.019993 | 35.8606 | 27.0071 | 0 | 35.8584 | 26.995 | -0.0014623 | 11.1074 | 1.5913 | -1.3856e-09 | -1.0125e-11 | -1.5374e-11 | -0.023991 | 1.6843 | 8.5737 | -4.6173e-10 | 3.1349e-11 | 2.0153e-11 | 93.7235 | 177.3869 | 40.8644 | 0 | -2.5814 | -139.1694 | 1.2022 | 0.31328 | 0.32288 | 1.3717 | 0 | 0 | 0.23538 | -173.9907 | 120.3497 | -4.7875 | 0 | 0
Line_2 | 0.0012698 | 0.0012698 | 0.0012698 | 0 | 0 | 0 | 0.014662 | 0.014662 | 0.014662 | 0 | 0 | 0 | -0.0056696 | 0.0010324 | 0.0046416 | -4.5113e-10 | 3.8358e-10 | 9.1966e-10 | -0.01669 | 0.0044759 | 0.00093187 | 1.9254e-11 | -1.0213e-09 | 7.7843e-12 | 108.9978 | 108.9978 | 108.9978 | 0 | 0 | 0 | 1.2022 | 0.31328 | 0.32288 | 1.2023 | 0.31315 | 0.32267 | 0.23538 | -173.9907 | 120.3497 | 0.22745 | -173.9578 | 120.3428

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.06301 | 0.81044 | 0.63603 | 0.062569 | 0.81033 | 0.63582 | 0.72758 | 9.3582 | 7.3442 | 0.72248 | 9.3569 | 7.3419 | -0.63058 | 7.5898 | 3.8266 | 0.66663 | -6.836 | -3.7056 | -0.51245 | 3.7511 | 5.2456 | 0.5241 | -3.6695 | -4.6132 | 141.7877 | -160.0716 | 59.709 | -38.0785 | 19.9604 | -120.3286 | 1.1168 | 0.90468 | 0.8841 | 1.1737 | 0.82918 | 0.80595 | 0.88728 | -133.772 | 113.5987 | 0.095634 | -131.8134 | 110.8979
Line_1 | 0.00081097 | 1.2043 | 1.0758 | 0 | 1.2044 | 1.0752 | 0.0093643 | 13.9066 | 12.4227 | 0 | 13.907 | 12.4151 | -0.001326 | 8.9857 | 6.4657 | -7.1677e-10 | -7.2527 | -5.7801 | -0.010911 | 7.2266 | 7.6444 | -1.994e-10 | -7.2527 | -5.7801 | 97.025 | -170.6208 | 61.1226 | 0 | 9.4178 | -118.9028 | 1.1737 | 0.82918 | 0.80595 | 1.2549 | 0.73753 | 0.65841 | 0.095634 | -131.8134 | 110.8979 | -2.2578 | -125.5822 | 106.0972
Line_2 | 0.00059475 | 0.00059475 | 0.00059475 | 0 | 0 | 0 | 0.0068676 | 0.0068676 | 0.0068676 | 0 | 0 | 0 | -0.0030461 | -0.0024862 | 0.0055333 | -3.1754e-10 | 7.5261e-10 | 8.2818e-10 | -0.0074628 | 0.0051231 | -0.00013536 | 7.605e-12 | -6.8427e-10 | -5.1434e-10 | 112.2992 | 112.2992 | 112.2992 | 0 | 0 | 0 | 1.1737 | 0.82918 | 0.80595 | 1.1738 | 0.82919 | 0.80586 | 0.095634 | -131.8134 | 110.8979 | 0.09203 | -131.8063 | 110.895

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.06301 | 0.81044 | 0.63603 | 0.062569 | 0.81033 | 0.63582 | 0.72758 | 9.3582 | 7.3442 | 0.72248 | 9.3569 | 7.3419 | -0.63058 | 7.5898 | 3.8266 | 0.66663 | -6.836 | -3.7056 | -0.51245 | 3.7511 | 5.2456 | 0.5241 | -3.6695 | -4.6132 | 141.7877 | -160.0716 | 59.709 | -38.0785 | 19.9604 | -120.3286 | 1.1168 | 0.90468 | 0.8841 | 1.1737 | 0.82918 | 0.80595 | 0.88728 | -133.772 | 113.5987 | 0.095634 | -131.8134 | 110.8979
Line_1 | 0.00081097 | 1.2043 | 1.0758 | 0 | 1.2044 | 1.0752 | 0.0093643 | 13.9066 | 12.4227 | 0 | 13.907 | 12.4151 | -0.001326 | 8.9857 | 6.4657 | -7.1677e-10 | -7.2527 | -5.7801 | -0.010911 | 7.2266 | 7.6444 | -1.994e-10 | -7.2527 | -5.7801 | 97.025 | -170.6208 | 61.1226 | 0 | 9.4178 | -118.9028 | 1.1737 | 0.82918 | 0.80595 | 1.2549 | 0.73753 | 0.65841 | 0.095634 | -131.8134 | 110.8979 | -2.2578 | -125.5822 | 106.0972
Line_2 | 0.00059475 | 0.00059475 | 0.00059475 | 0 | 0 | 0 | 0.0068676 | 0.0068676 | 0.0068676 | 0 | 0 | 0 | -0.0030461 | -0.0024862 | 0.0055333 | -3.1754e-10 | 7.5261e-10 | 8.2818e-10 | -0.0074628 | 0.0051231 | -0.00013536 | 7.605e-12 | -6.8427e-10 | -5.1434e-10 | 112.2992 | 112.2992 | 112.2992 | 0 | 0 | 0 | 1.1737 | 0.82918 | 0.80595 | 1.1738 | 0.82919 | 0.80586 | 0.095634 | -131.8134 | 110.8979 | 0.09203 | -131.8063 | 110.895

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14997 | 1.682 | 1.2298 | 0.15035 | 1.6817 | 1.2299 | 1.7317 | 19.4226 | 14.2003 | 1.7361 | 19.419 | 14.2014 | -0.34185 | 12.5323 | 0.81593 | 0.38991 | -7.519 | -0.61779 | 1.5879 | -0.55153 | 6.5891 | -1.7834 | 1.506 | -4.6471 | -101.0083 | -164.1338 | 36.341 | 79.2004 | 15.8861 | -143.6898 | 0.93799 | 0.64587 | 0.46756 | 1.0515 | 0.39489 | 0.33011 | 1.1412 | -166.6537 | 119.282 | 1.5332 | -175.44 | 118.7377
Line_1 | 0.0014597 | 2.3803 | 1.7581 | 0 | 2.3803 | 1.7572 | 0.016856 | 27.4849 | 20.3005 | 0 | 27.4856 | 20.2905 | -0.0014722 | 10.8245 | 1.6473 | -1.2321e-09 | -1.956e-11 | -1.328e-11 | -0.017663 | -0.79254 | 6.4958 | -3.3768e-10 | -2.2612e-12 | -7.8075e-12 | 96.2977 | -171.2524 | 42.9673 | 0 | 8.7827 | -137.0709 | 1.0515 | 0.39489 | 0.33011 | 1.2633 | 0 | 0 | 1.5332 | -175.44 | 118.7377 | -4.1805 | 0 | 0
Line_2 | 0.00094897 | 0.00094897 | 0.00094897 | 0 | 0 | 0 | 0.010958 | 0.010958 | 0.010958 | 0 | 0 | 0 | -0.0054571 | 0.0018453 | 0.0036166 | -2.0079e-10 | 2.5046e-10 | 8.1017e-10 | -0.010148 | 0.0039139 | -6.7201e-05 | 1.0235e-10 | -1.1914e-09 | -2.6885e-11 | 119.8022 | 119.8022 | 119.8022 | 0 | 0 | 0 | 1.0515 | 0.39489 | 0.33011 | 1.0517 | 0.39471 | 0.32982 | 1.5332 | -175.44 | 118.7377 | 1.5207 | -175.4054 | 118.7263

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14997 | 1.682 | 1.2298 | 0.15035 | 1.6817 | 1.2299 | 1.7317 | 19.4226 | 14.2003 | 1.7361 | 19.419 | 14.2014 | -0.34185 | 12.5323 | 0.81593 | 0.38991 | -7.519 | -0.61779 | 1.5879 | -0.55153 | 6.5891 | -1.7834 | 1.506 | -4.6471 | -101.0083 | -164.1338 | 36.341 | 79.2004 | 15.8861 | -143.6898 | 0.93799 | 0.64587 | 0.46756 | 1.0515 | 0.39489 | 0.33011 | 1.1412 | -166.6537 | 119.282 | 1.5332 | -175.44 | 118.7377
Line_1 | 0.0014597 | 2.3803 | 1.7581 | 0 | 2.3803 | 1.7572 | 0.016856 | 27.4849 | 20.3005 | 0 | 27.4856 | 20.2905 | -0.0014722 | 10.8245 | 1.6473 | -1.2321e-09 | -1.956e-11 | -1.328e-11 | -0.017663 | -0.79254 | 6.4958 | -3.3768e-10 | -2.2612e-12 | -7.8075e-12 | 96.2977 | -171.2524 | 42.9673 | 0 | 8.7827 | -137.0709 | 1.0515 | 0.39489 | 0.33011 | 1.2633 | 0 | 0 | 1.5332 | -175.44 | 118.7377 | -4.1805 | 0 | 0
Line_2 | 0.00094897 | 0.00094897 | 0.00094897 | 0 | 0 | 0 | 0.010958 | 0.010958 | 0.010958 | 0 | 0 | 0 | -0.0054571 | 0.0018453 | 0.0036166 | -2.0079e-10 | 2.5046e-10 | 8.1017e-10 | -0.010148 | 0.0039139 | -6.7201e-05 | 1.0235e-10 | -1.1914e-09 | -2.6885e-11 | 119.8022 | 119.8022 | 119.8022 | 0 | 0 | 0 | 1.0515 | 0.39489 | 0.33011 | 1.0517 | 0.39471 | 0.32982 | 1.5332 | -175.44 | 118.7377 | 1.5207 | -175.4054 | 118.7263

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.089752 | 0.71077 | 0.5515 | 0.089994 | 0.71066 | 0.5514 | 1.0364 | 8.2073 | 6.3681 | 1.0392 | 8.206 | 6.3671 | -0.13524 | 6.3088 | 2.5888 | 0.14243 | -5.3401 | -2.4809 | 0.98794 | 2.4185 | 4.2353 | -1.0533 | -2.3717 | -3.697 | -97.2747 | -156.9361 | 55.486 | 82.8976 | 23.0918 | -124.5505 | 0.96217 | 0.82323 | 0.77948 | 1.0228 | 0.71205 | 0.69926 | 0.52002 | -135.9616 | 114.0504 | 0.59857 | -132.9607 | 111.5851
Line_1 | 0.00079506 | 0.98842 | 0.84109 | 0 | 0.98858 | 0.84041 | 0.0091806 | 11.4133 | 9.712 | 0 | 11.4152 | 9.7042 | -0.0003876 | 6.8612 | 4.3447 | -5.6406e-10 | -4.8865 | -3.5314 | -0.0093823 | 4.3555 | 5.2196 | -2.2477e-10 | -4.8865 | -3.5314 | 92.9642 | -165.3681 | 61.3583 | 0 | 14.677 | -118.6701 | 1.0228 | 0.71205 | 0.69926 | 1.1342 | 0.60538 | 0.51464 | 0.59857 | -132.9607 | 111.5851 | -3.0983 | -120.323 | 106.3299
Line_2 | 0.00051687 | 0.00051687 | 0.00051687 | 0 | 0 | 0 | 0.0059683 | 0.0059683 | 0.0059683 | 0 | 0 | 0 | -0.0026636 | -0.0014932 | 0.0041583 | -8.6238e-11 | 6.8537e-10 | 7.4368e-10 | -0.0054928 | 0.0039788 | -0.00035529 | 3.8713e-11 | -5.8502e-10 | -3.753e-10 | 116.4688 | 116.4688 | 116.4688 | 0 | 0 | 0 | 1.0228 | 0.71205 | 0.69926 | 1.0229 | 0.71208 | 0.69911 | 0.59857 | -132.9607 | 111.5851 | 0.59137 | -132.9478 | 111.5813

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.089752 | 0.71077 | 0.5515 | 0.089994 | 0.71066 | 0.5514 | 1.0364 | 8.2073 | 6.3681 | 1.0392 | 8.206 | 6.3671 | -0.13524 | 6.3088 | 2.5888 | 0.14243 | -5.3401 | -2.4809 | 0.98794 | 2.4185 | 4.2353 | -1.0533 | -2.3717 | -3.697 | -97.2747 | -156.9361 | 55.486 | 82.8976 | 23.0918 | -124.5505 | 0.96217 | 0.82323 | 0.77948 | 1.0228 | 0.71205 | 0.69926 | 0.52002 | -135.9616 | 114.0504 | 0.59857 | -132.9607 | 111.5851
Line_1 | 0.00079506 | 0.98842 | 0.84109 | 0 | 0.98858 | 0.84041 | 0.0091806 | 11.4133 | 9.712 | 0 | 11.4152 | 9.7042 | -0.0003876 | 6.8612 | 4.3447 | -5.6406e-10 | -4.8865 | -3.5314 | -0.0093823 | 4.3555 | 5.2196 | -2.2477e-10 | -4.8865 | -3.5314 | 92.9642 | -165.3681 | 61.3583 | 0 | 14.677 | -118.6701 | 1.0228 | 0.71205 | 0.69926 | 1.1342 | 0.60538 | 0.51464 | 0.59857 | -132.9607 | 111.5851 | -3.0983 | -120.323 | 106.3299
Line_2 | 0.00051687 | 0.00051687 | 0.00051687 | 0 | 0 | 0 | 0.0059683 | 0.0059683 | 0.0059683 | 0 | 0 | 0 | -0.0026636 | -0.0014932 | 0.0041583 | -8.6238e-11 | 6.8537e-10 | 7.4368e-10 | -0.0054928 | 0.0039788 | -0.00035529 | 3.8713e-11 | -5.8502e-10 | -3.753e-10 | 116.4688 | 116.4688 | 116.4688 | 0 | 0 | 0 | 1.0228 | 0.71205 | 0.69926 | 1.0229 | 0.71208 | 0.69911 | 0.59857 | -132.9607 | 111.5851 | 0.59137 | -132.9478 | 111.5813