## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | 1.3027e-14 | -5.2107e-15 | 1.0421e-14 | 5.2111e-15 | -5.2102e-15 | -2.0843e-14 | 5.7634e-09 | -5.7634e-09 | 2.0843e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.6872e-13 | -180 | 180 | 6.6855e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 2.6055e-15 | 5.2109e-15 | -5.2106e-15 | 1.5632e-14 | -5.2108e-15 | 1.0421e-14 | -1.9211e-09 | 1.9211e-09 | -1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.6726e-13 | -180 | 180 | 6.6855e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 2.6055e-15 | -5.2104e-15 | -5.2106e-15 | 1.5632e-14 | -5.2108e-15 | 5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.6989e-13 | -180 | 180 | 6.6855e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | 1.3027e-14 | -5.2107e-15 | 1.0421e-14 | 5.2111e-15 | -5.2102e-15 | -2.0843e-14 | 5.7634e-09 | -5.7634e-09 | 2.0843e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.6872e-13 | -180 | 180 | 6.6855e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 2.6055e-15 | 5.2109e-15 | -5.2106e-15 | 1.5632e-14 | -5.2108e-15 | 1.0421e-14 | -1.9211e-09 | 1.9211e-09 | -1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.6726e-13 | -180 | 180 | 6.6855e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 2.6055e-15 | -5.2104e-15 | -5.2106e-15 | 1.5632e-14 | -5.2108e-15 | 5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.6989e-13 | -180 | 180 | 6.6855e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | -7.3074e-10 | -2.0393e-09 | 1.0421e-14 | 7.3076e-10 | 2.0393e-09 | -2.0843e-14 | 5.8225e-09 | -3.5561e-09 | 2.0843e-14 | -5.8225e-09 | 3.5561e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 5.3988e-13 | -164.9034 | 158.1097 | 5.4169e-13 | -164.9034 | 158.1097
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4359e-10 | 6.7977e-10 | -1.0421e-14 | -2.4357e-10 | -6.7978e-10 | 0 | -1.9408e-09 | 1.1854e-09 | -9.8525e-29 | 1.9409e-09 | -1.1854e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 5.3947e-13 | -164.9034 | 158.1097 | 5.4169e-13 | -164.9034 | 158.1097
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 2.4358e-10 | 6.7977e-10 | 0 | -2.4357e-10 | -6.7977e-10 | -5.2106e-15 | -1.9408e-09 | 1.1854e-09 | 0 | 1.9408e-09 | -1.1853e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 5.4325e-13 | -164.9034 | 158.1097 | 5.4169e-13 | -164.9034 | 158.1097

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | -7.3074e-10 | -2.0393e-09 | 1.0421e-14 | 7.3076e-10 | 2.0393e-09 | -2.0843e-14 | 5.8225e-09 | -3.5561e-09 | 2.0843e-14 | -5.8225e-09 | 3.5561e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 5.3988e-13 | -164.9034 | 158.1097 | 5.4169e-13 | -164.9034 | 158.1097
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4359e-10 | 6.7977e-10 | -1.0421e-14 | -2.4357e-10 | -6.7978e-10 | 0 | -1.9408e-09 | 1.1854e-09 | -9.8525e-29 | 1.9409e-09 | -1.1854e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 5.3947e-13 | -164.9034 | 158.1097 | 5.4169e-13 | -164.9034 | 158.1097
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 2.4358e-10 | 6.7977e-10 | 0 | -2.4357e-10 | -6.7977e-10 | -5.2106e-15 | -1.9408e-09 | 1.1854e-09 | 0 | 1.9408e-09 | -1.1853e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 5.4325e-13 | -164.9034 | 158.1097 | 5.4169e-13 | -164.9034 | 158.1097

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | -1.1843e-15 | -1.0288e-19 | 2.6053e-14 | 1.185e-15 | 7.8243e-19 | -2.3685e-14 | 4.7631e-09 | -4.7631e-09 | 2.3685e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.2149e-13 | -180 | 180 | 7.7129e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.1839e-15 | -4.7366e-15 | 2.3685e-15 | 1.184e-15 | 4.7367e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.9032e-13 | -180 | 180 | 7.7129e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 3.553e-15 | 3.3631e-19 | 6.3767e-29 | 1.184e-15 | -2.6081e-19 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.521e-13 | -180 | 180 | 7.7129e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | -1.1843e-15 | -1.0288e-19 | 2.6053e-14 | 1.185e-15 | 7.8243e-19 | -2.3685e-14 | 4.7631e-09 | -4.7631e-09 | 2.3685e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.2149e-13 | -180 | 180 | 7.7129e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.1839e-15 | -4.7366e-15 | 2.3685e-15 | 1.184e-15 | 4.7367e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.9032e-13 | -180 | 180 | 7.7129e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 3.553e-15 | 3.3631e-19 | 6.3767e-29 | 1.184e-15 | -2.6081e-19 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.521e-13 | -180 | 180 | 7.7129e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6579e-14 | -5.5596e-10 | -1.5515e-09 | 1.8948e-14 | 5.5596e-10 | 1.5515e-09 | -2.3685e-15 | 4.8331e-09 | -3.1089e-09 | 2.1025e-28 | -4.8331e-09 | 3.1089e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 5.9392e-13 | -166.2936 | 160.6236 | 6.3577e-13 | -166.2936 | 160.6236
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | 1.8532e-10 | 5.1715e-10 | -4.737e-15 | -1.8532e-10 | -5.1715e-10 | -4.737e-15 | -1.611e-09 | 1.0363e-09 | 4.737e-15 | 1.611e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 6.5243e-13 | -166.2936 | 160.6236 | 6.3577e-13 | -166.2936 | 160.6236
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5607e-29 | 1.8532e-10 | 5.1716e-10 | 2.3685e-15 | -1.8532e-10 | -5.1715e-10 | 2.3685e-15 | -1.6111e-09 | 1.0363e-09 | -4.737e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 6.1945e-13 | -166.2936 | 160.6236 | 6.3577e-13 | -166.2936 | 160.6236

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6579e-14 | -5.5596e-10 | -1.5515e-09 | 1.8948e-14 | 5.5596e-10 | 1.5515e-09 | -2.3685e-15 | 4.8331e-09 | -3.1089e-09 | 2.1025e-28 | -4.8331e-09 | 3.1089e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 5.9392e-13 | -166.2936 | 160.6236 | 6.3577e-13 | -166.2936 | 160.6236
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | 1.8532e-10 | 5.1715e-10 | -4.737e-15 | -1.8532e-10 | -5.1715e-10 | -4.737e-15 | -1.611e-09 | 1.0363e-09 | 4.737e-15 | 1.611e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 6.5243e-13 | -166.2936 | 160.6236 | 6.3577e-13 | -166.2936 | 160.6236
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5607e-29 | 1.8532e-10 | 5.1716e-10 | 2.3685e-15 | -1.8532e-10 | -5.1715e-10 | 2.3685e-15 | -1.6111e-09 | 1.0363e-09 | -4.737e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 6.1945e-13 | -166.2936 | 160.6236 | 6.3577e-13 | -166.2936 | 160.6236

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9578e-09 | -7.3949e-10 | -7.394e-10 | 2.9578e-09 | 7.3948e-10 | 7.394e-10 | 7.8151e-15 | -3.8422e-09 | 3.8422e-09 | -4.3411e-15 | 3.8423e-09 | -3.8422e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.36667 | 0.97011 | 0.97011 | 0.36667 | 0.97011 | 0.97011 | 1.6606e-08 | -100.8934 | 100.8934 | 2.2184e-08 | -100.8934 | 100.8934
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8593e-10 | 2.4649e-10 | 2.4648e-10 | -9.8593e-10 | -2.4649e-10 | -2.4648e-10 | -6.0787e-15 | 1.2808e-09 | -1.2808e-09 | 9.5525e-15 | -1.2807e-09 | 1.2808e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.36667 | 0.97011 | 0.97011 | 0.36667 | 0.97011 | 0.97011 | 2.4043e-08 | -100.8934 | 100.8934 | 2.2184e-08 | -100.8934 | 100.8934
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8593e-10 | 2.4647e-10 | 2.4646e-10 | -9.8593e-10 | -2.4649e-10 | -2.4646e-10 | 8.6885e-16 | 1.2808e-09 | -1.2808e-09 | 2.6049e-15 | -1.2808e-09 | 1.2808e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.36667 | 0.97011 | 0.97011 | 0.36667 | 0.97011 | 0.97011 | 2.4043e-08 | -100.8934 | 100.8934 | 2.2184e-08 | -100.8934 | 100.8934

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9578e-09 | -7.3949e-10 | -7.394e-10 | 2.9578e-09 | 7.3948e-10 | 7.394e-10 | 7.8151e-15 | -3.8422e-09 | 3.8422e-09 | -4.3411e-15 | 3.8423e-09 | -3.8422e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.36667 | 0.97011 | 0.97011 | 0.36667 | 0.97011 | 0.97011 | 1.6606e-08 | -100.8934 | 100.8934 | 2.2184e-08 | -100.8934 | 100.8934
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8593e-10 | 2.4649e-10 | 2.4648e-10 | -9.8593e-10 | -2.4649e-10 | -2.4648e-10 | -6.0787e-15 | 1.2808e-09 | -1.2808e-09 | 9.5525e-15 | -1.2807e-09 | 1.2808e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.36667 | 0.97011 | 0.97011 | 0.36667 | 0.97011 | 0.97011 | 2.4043e-08 | -100.8934 | 100.8934 | 2.2184e-08 | -100.8934 | 100.8934
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8593e-10 | 2.4647e-10 | 2.4646e-10 | -9.8593e-10 | -2.4649e-10 | -2.4646e-10 | 8.6885e-16 | 1.2808e-09 | -1.2808e-09 | 2.6049e-15 | -1.2808e-09 | 1.2808e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.36667 | 0.97011 | 0.97011 | 0.36667 | 0.97011 | 0.97011 | 2.4043e-08 | -100.8934 | 100.8934 | 2.2184e-08 | -100.8934 | 100.8934

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.139e-09 | -1.399e-09 | -1.7054e-10 | 3.139e-09 | 1.399e-09 | 1.7053e-10 | 1.4184e-09 | -2.2217e-09 | 2.9309e-09 | -1.4184e-09 | 2.2217e-09 | -2.9309e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.61947 | 0.94433 | 1.056 | 0.61947 | 0.94433 | 1.056 | -10.9078 | -108.7881 | 106.7392 | -10.9078 | -108.7881 | 106.7392
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0463e-09 | 4.663e-10 | 5.6851e-11 | -1.0463e-09 | -4.6631e-10 | -5.6851e-11 | -4.728e-10 | 7.4058e-10 | -9.7697e-10 | 4.728e-10 | -7.4057e-10 | 9.7697e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.61947 | 0.94433 | 1.056 | 0.61947 | 0.94433 | 1.056 | -10.9078 | -108.7881 | 106.7392 | -10.9078 | -108.7881 | 106.7392
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0463e-09 | 4.663e-10 | 5.6851e-11 | -1.0463e-09 | -4.6632e-10 | -5.6852e-11 | -4.728e-10 | 7.4057e-10 | -9.7697e-10 | 4.728e-10 | -7.4057e-10 | 9.7698e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.61947 | 0.94433 | 1.056 | 0.61947 | 0.94433 | 1.056 | -10.9078 | -108.7881 | 106.7392 | -10.9078 | -108.7881 | 106.7392

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.139e-09 | -1.399e-09 | -1.7054e-10 | 3.139e-09 | 1.399e-09 | 1.7053e-10 | 1.4184e-09 | -2.2217e-09 | 2.9309e-09 | -1.4184e-09 | 2.2217e-09 | -2.9309e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.61947 | 0.94433 | 1.056 | 0.61947 | 0.94433 | 1.056 | -10.9078 | -108.7881 | 106.7392 | -10.9078 | -108.7881 | 106.7392
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0463e-09 | 4.663e-10 | 5.6851e-11 | -1.0463e-09 | -4.6631e-10 | -5.6851e-11 | -4.728e-10 | 7.4058e-10 | -9.7697e-10 | 4.728e-10 | -7.4057e-10 | 9.7697e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.61947 | 0.94433 | 1.056 | 0.61947 | 0.94433 | 1.056 | -10.9078 | -108.7881 | 106.7392 | -10.9078 | -108.7881 | 106.7392
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0463e-09 | 4.663e-10 | 5.6851e-11 | -1.0463e-09 | -4.6632e-10 | -5.6852e-11 | -4.728e-10 | 7.4057e-10 | -9.7697e-10 | 4.728e-10 | -7.4057e-10 | 9.7698e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.61947 | 0.94433 | 1.056 | 0.61947 | 0.94433 | 1.056 | -10.9078 | -108.7881 | 106.7392 | -10.9078 | -108.7881 | 106.7392

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4444e-09 | -6.1112e-10 | -6.1112e-10 | 2.4444e-09 | 6.1112e-10 | 6.1112e-10 | -8.6848e-15 | -3.1754e-09 | 3.1754e-09 | 1.0264e-14 | 3.1754e-09 | -3.1754e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33333 | 0.88192 | 0.88192 | 0.33333 | 0.88192 | 0.88192 | 8.3018e-09 | -100.8934 | 100.8934 | 1.3879e-08 | -100.8934 | 100.8934
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1481e-10 | 2.0371e-10 | 2.037e-10 | -8.1481e-10 | -2.037e-10 | -2.037e-10 | 2.3687e-15 | 1.0585e-09 | -1.0585e-09 | -2.3687e-15 | -1.0585e-09 | 1.0585e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33333 | 0.88192 | 0.88192 | 0.33333 | 0.88192 | 0.88192 | 1.5739e-08 | -100.8934 | 100.8934 | 1.3879e-08 | -100.8934 | 100.8934
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1481e-10 | 2.0371e-10 | 2.037e-10 | -8.1481e-10 | -2.037e-10 | -2.0371e-10 | 3.9477e-15 | 1.0585e-09 | -1.0585e-09 | -3.9477e-15 | -1.0585e-09 | 1.0585e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33333 | 0.88192 | 0.88192 | 0.33333 | 0.88192 | 0.88192 | 1.5739e-08 | -100.8934 | 100.8934 | 1.3879e-08 | -100.8934 | 100.8934

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4444e-09 | -6.1112e-10 | -6.1112e-10 | 2.4444e-09 | 6.1112e-10 | 6.1112e-10 | -8.6848e-15 | -3.1754e-09 | 3.1754e-09 | 1.0264e-14 | 3.1754e-09 | -3.1754e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33333 | 0.88192 | 0.88192 | 0.33333 | 0.88192 | 0.88192 | 8.3018e-09 | -100.8934 | 100.8934 | 1.3879e-08 | -100.8934 | 100.8934
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1481e-10 | 2.0371e-10 | 2.037e-10 | -8.1481e-10 | -2.037e-10 | -2.037e-10 | 2.3687e-15 | 1.0585e-09 | -1.0585e-09 | -2.3687e-15 | -1.0585e-09 | 1.0585e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33333 | 0.88192 | 0.88192 | 0.33333 | 0.88192 | 0.88192 | 1.5739e-08 | -100.8934 | 100.8934 | 1.3879e-08 | -100.8934 | 100.8934
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1481e-10 | 2.0371e-10 | 2.037e-10 | -8.1481e-10 | -2.037e-10 | -2.0371e-10 | 3.9477e-15 | 1.0585e-09 | -1.0585e-09 | -3.9477e-15 | -1.0585e-09 | 1.0585e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33333 | 0.88192 | 0.88192 | 0.33333 | 0.88192 | 0.88192 | 1.5739e-08 | -100.8934 | 100.8934 | 1.3879e-08 | -100.8934 | 100.8934

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6247e-09 | -1.1402e-09 | -1.7218e-10 | 2.6247e-09 | 1.1402e-09 | 1.7218e-10 | 1.1178e-09 | -1.9471e-09 | 2.506e-09 | -1.1178e-09 | 1.9471e-09 | -2.506e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.54216 | 0.8576 | 0.95472 | 0.54216 | 0.8576 | 0.95472 | -10.8028 | -108.0887 | 106.1949 | -10.8028 | -108.0887 | 106.1949
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.7492e-10 | 3.8006e-10 | 5.7391e-11 | -8.7492e-10 | -3.8007e-10 | -5.7393e-11 | -3.7259e-10 | 6.4901e-10 | -8.3531e-10 | 3.7259e-10 | -6.4902e-10 | 8.3531e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.54216 | 0.8576 | 0.95472 | 0.54216 | 0.8576 | 0.95472 | -10.8028 | -108.0887 | 106.1949 | -10.8028 | -108.0887 | 106.1949
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.7491e-10 | 3.8007e-10 | 5.7391e-11 | -8.7492e-10 | -3.8007e-10 | -5.7391e-11 | -3.7259e-10 | 6.4902e-10 | -8.3531e-10 | 3.7259e-10 | -6.4903e-10 | 8.3531e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.54216 | 0.8576 | 0.95472 | 0.54216 | 0.8576 | 0.95472 | -10.8028 | -108.0887 | 106.1949 | -10.8028 | -108.0887 | 106.1949

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6247e-09 | -1.1402e-09 | -1.7218e-10 | 2.6247e-09 | 1.1402e-09 | 1.7218e-10 | 1.1178e-09 | -1.9471e-09 | 2.506e-09 | -1.1178e-09 | 1.9471e-09 | -2.506e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.54216 | 0.8576 | 0.95472 | 0.54216 | 0.8576 | 0.95472 | -10.8028 | -108.0887 | 106.1949 | -10.8028 | -108.0887 | 106.1949
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.7492e-10 | 3.8006e-10 | 5.7391e-11 | -8.7492e-10 | -3.8007e-10 | -5.7393e-11 | -3.7259e-10 | 6.4901e-10 | -8.3531e-10 | 3.7259e-10 | -6.4902e-10 | 8.3531e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.54216 | 0.8576 | 0.95472 | 0.54216 | 0.8576 | 0.95472 | -10.8028 | -108.0887 | 106.1949 | -10.8028 | -108.0887 | 106.1949
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.7491e-10 | 3.8007e-10 | 5.7391e-11 | -8.7492e-10 | -3.8007e-10 | -5.7391e-11 | -3.7259e-10 | 6.4902e-10 | -8.3531e-10 | 3.7259e-10 | -6.4903e-10 | 8.3531e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.54216 | 0.8576 | 0.95472 | 0.54216 | 0.8576 | 0.95472 | -10.8028 | -108.0887 | 106.1949 | -10.8028 | -108.0887 | 106.1949

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9578e-09 | -7.3944e-10 | -7.3943e-10 | 2.9578e-09 | 7.3944e-10 | 7.3943e-10 | -3.4738e-15 | 3.8423e-09 | -3.8423e-09 | 6.9477e-15 | -3.8423e-09 | 3.8423e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.73333 | 0.36667 | 0.36667 | 0.73333 | 0.36667 | 0.36667 | 1.4841e-09 | -180 | -180 | 2.8786e-09 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8593e-10 | 2.4646e-10 | 2.4648e-10 | -9.8592e-10 | -2.4647e-10 | -2.4649e-10 | 1.0421e-14 | -1.2807e-09 | 1.2807e-09 | -4.9533e-20 | 1.2808e-09 | -1.2807e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.73333 | 0.36667 | 0.36667 | 0.73333 | 0.36667 | 0.36667 | 3.3434e-09 | -180 | 180 | 2.8786e-09 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8592e-10 | 2.4647e-10 | 2.4648e-10 | -9.8593e-10 | -2.4648e-10 | -2.4648e-10 | 1.0421e-14 | -1.2807e-09 | 1.2808e-09 | -4.9533e-20 | 1.2808e-09 | -1.2808e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.73333 | 0.36667 | 0.36667 | 0.73333 | 0.36667 | 0.36667 | 3.3434e-09 | -180 | 180 | 2.8786e-09 | -180 | 180

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9578e-09 | -7.3944e-10 | -7.3943e-10 | 2.9578e-09 | 7.3944e-10 | 7.3943e-10 | -3.4738e-15 | 3.8423e-09 | -3.8423e-09 | 6.9477e-15 | -3.8423e-09 | 3.8423e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.73333 | 0.36667 | 0.36667 | 0.73333 | 0.36667 | 0.36667 | 1.4841e-09 | -180 | -180 | 2.8786e-09 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8593e-10 | 2.4646e-10 | 2.4648e-10 | -9.8592e-10 | -2.4647e-10 | -2.4649e-10 | 1.0421e-14 | -1.2807e-09 | 1.2807e-09 | -4.9533e-20 | 1.2808e-09 | -1.2807e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.73333 | 0.36667 | 0.36667 | 0.73333 | 0.36667 | 0.36667 | 3.3434e-09 | -180 | 180 | 2.8786e-09 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8592e-10 | 2.4647e-10 | 2.4648e-10 | -9.8593e-10 | -2.4648e-10 | -2.4648e-10 | 1.0421e-14 | -1.2807e-09 | 1.2808e-09 | -4.9533e-20 | 1.2808e-09 | -1.2808e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.73333 | 0.36667 | 0.36667 | 0.73333 | 0.36667 | 0.36667 | 3.3434e-09 | -180 | 180 | 2.8786e-09 | -180 | 180

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.2722e-09 | -1.9041e-09 | -3.1325e-09 | 2.2722e-09 | 1.9041e-09 | 3.1325e-09 | 7.0917e-10 | 4.3493e-09 | -8.0335e-10 | -7.0917e-10 | -4.3493e-09 | 8.0335e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.85615 | 0.64546 | 0.43964 | 0.85615 | 0.64546 | 0.43964 | -3.9255 | -153.8407 | 128.6858 | -3.9255 | -153.8407 | 128.6858
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.5738e-10 | 6.3471e-10 | 1.0442e-09 | -7.5739e-10 | -6.3471e-10 | -1.0442e-09 | -2.3639e-10 | -1.4498e-09 | 2.6779e-10 | 2.364e-10 | 1.4498e-09 | -2.6779e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.85615 | 0.64546 | 0.43964 | 0.85615 | 0.64546 | 0.43964 | -3.9255 | -153.8407 | 128.6858 | -3.9255 | -153.8407 | 128.6858
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.574e-10 | 6.3472e-10 | 1.0442e-09 | -7.574e-10 | -6.3471e-10 | -1.0442e-09 | -2.3639e-10 | -1.4498e-09 | 2.6778e-10 | 2.3641e-10 | 1.4498e-09 | -2.6778e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.85615 | 0.64546 | 0.43964 | 0.85615 | 0.64546 | 0.43964 | -3.9255 | -153.8407 | 128.6858 | -3.9255 | -153.8407 | 128.6858

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.2722e-09 | -1.9041e-09 | -3.1325e-09 | 2.2722e-09 | 1.9041e-09 | 3.1325e-09 | 7.0917e-10 | 4.3493e-09 | -8.0335e-10 | -7.0917e-10 | -4.3493e-09 | 8.0335e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.85615 | 0.64546 | 0.43964 | 0.85615 | 0.64546 | 0.43964 | -3.9255 | -153.8407 | 128.6858 | -3.9255 | -153.8407 | 128.6858
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.5738e-10 | 6.3471e-10 | 1.0442e-09 | -7.5739e-10 | -6.3471e-10 | -1.0442e-09 | -2.3639e-10 | -1.4498e-09 | 2.6779e-10 | 2.364e-10 | 1.4498e-09 | -2.6779e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.85615 | 0.64546 | 0.43964 | 0.85615 | 0.64546 | 0.43964 | -3.9255 | -153.8407 | 128.6858 | -3.9255 | -153.8407 | 128.6858
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.574e-10 | 6.3472e-10 | 1.0442e-09 | -7.574e-10 | -6.3471e-10 | -1.0442e-09 | -2.3639e-10 | -1.4498e-09 | 2.6778e-10 | 2.3641e-10 | 1.4498e-09 | -2.6778e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.85615 | 0.64546 | 0.43964 | 0.85615 | 0.64546 | 0.43964 | -3.9255 | -153.8407 | 128.6858 | -3.9255 | -153.8407 | 128.6858

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4444e-09 | -6.1112e-10 | -6.1111e-10 | 2.4444e-09 | 6.1112e-10 | 6.1111e-10 | -1.579e-14 | 3.1754e-09 | -3.1754e-09 | 1.2632e-14 | -3.1754e-09 | 3.1754e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.66667 | 0.33333 | 0.33333 | 0.66667 | 0.33333 | 0.33333 | -3.6496e-11 | -180 | 180 | 1.3579e-09 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1482e-10 | 2.0371e-10 | 2.037e-10 | -8.1481e-10 | -2.037e-10 | -2.037e-10 | 2.5922e-20 | -1.0585e-09 | 1.0585e-09 | -1.9312e-20 | 1.0585e-09 | -1.0585e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.66667 | 0.33333 | 0.33333 | 0.66667 | 0.33333 | 0.33333 | 1.8228e-09 | -180 | 180 | 1.3579e-09 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1481e-10 | 2.0371e-10 | 2.0371e-10 | -8.1481e-10 | -2.037e-10 | -2.037e-10 | 6.316e-15 | -1.0585e-09 | 1.0585e-09 | -9.4739e-15 | 1.0585e-09 | -1.0585e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.66667 | 0.33333 | 0.33333 | 0.66667 | 0.33333 | 0.33333 | 1.8227e-09 | -180 | 180 | 1.3579e-09 | -180 | 180

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4444e-09 | -6.1112e-10 | -6.1111e-10 | 2.4444e-09 | 6.1112e-10 | 6.1111e-10 | -1.579e-14 | 3.1754e-09 | -3.1754e-09 | 1.2632e-14 | -3.1754e-09 | 3.1754e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.66667 | 0.33333 | 0.33333 | 0.66667 | 0.33333 | 0.33333 | -3.6496e-11 | -180 | 180 | 1.3579e-09 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1482e-10 | 2.0371e-10 | 2.037e-10 | -8.1481e-10 | -2.037e-10 | -2.037e-10 | 2.5922e-20 | -1.0585e-09 | 1.0585e-09 | -1.9312e-20 | 1.0585e-09 | -1.0585e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.66667 | 0.33333 | 0.33333 | 0.66667 | 0.33333 | 0.33333 | 1.8228e-09 | -180 | 180 | 1.3579e-09 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1481e-10 | 2.0371e-10 | 2.0371e-10 | -8.1481e-10 | -2.037e-10 | -2.037e-10 | 6.316e-15 | -1.0585e-09 | 1.0585e-09 | -9.4739e-15 | 1.0585e-09 | -1.0585e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.66667 | 0.33333 | 0.33333 | 0.66667 | 0.33333 | 0.33333 | 1.8227e-09 | -180 | 180 | 1.3579e-09 | -180 | 180

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.9417e-09 | -1.5383e-09 | -2.5064e-09 | 1.9417e-09 | 1.5383e-09 | 2.5064e-09 | 5.5889e-10 | 3.6237e-09 | -8.2928e-10 | -5.5889e-10 | -3.6237e-09 | 8.2928e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.76796 | 0.56555 | 0.37926 | 0.76796 | 0.56555 | 0.37926 | -3.7935 | -155.6266 | 131.4657 | -3.7935 | -155.6266 | 131.4657
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4722e-10 | 5.1278e-10 | 8.3546e-10 | -6.4722e-10 | -5.1278e-10 | -8.3546e-10 | -1.863e-10 | -1.2079e-09 | 2.7643e-10 | 1.863e-10 | 1.2079e-09 | -2.7643e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.76796 | 0.56555 | 0.37926 | 0.76796 | 0.56555 | 0.37926 | -3.7935 | -155.6266 | 131.4657 | -3.7935 | -155.6266 | 131.4657
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4722e-10 | 5.1279e-10 | 8.3546e-10 | -6.4722e-10 | -5.1279e-10 | -8.3546e-10 | -1.863e-10 | -1.2079e-09 | 2.7642e-10 | 1.863e-10 | 1.2079e-09 | -2.7643e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.76796 | 0.56555 | 0.37926 | 0.76796 | 0.56555 | 0.37926 | -3.7935 | -155.6266 | 131.4657 | -3.7935 | -155.6266 | 131.4657

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.9417e-09 | -1.5383e-09 | -2.5064e-09 | 1.9417e-09 | 1.5383e-09 | 2.5064e-09 | 5.5889e-10 | 3.6237e-09 | -8.2928e-10 | -5.5889e-10 | -3.6237e-09 | 8.2928e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.76796 | 0.56555 | 0.37926 | 0.76796 | 0.56555 | 0.37926 | -3.7935 | -155.6266 | 131.4657 | -3.7935 | -155.6266 | 131.4657
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4722e-10 | 5.1278e-10 | 8.3546e-10 | -6.4722e-10 | -5.1278e-10 | -8.3546e-10 | -1.863e-10 | -1.2079e-09 | 2.7643e-10 | 1.863e-10 | 1.2079e-09 | -2.7643e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.76796 | 0.56555 | 0.37926 | 0.76796 | 0.56555 | 0.37926 | -3.7935 | -155.6266 | 131.4657 | -3.7935 | -155.6266 | 131.4657
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4722e-10 | 5.1279e-10 | 8.3546e-10 | -6.4722e-10 | -5.1279e-10 | -8.3546e-10 | -1.863e-10 | -1.2079e-09 | 2.7642e-10 | 1.863e-10 | 1.2079e-09 | -2.7643e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.76796 | 0.56555 | 0.37926 | 0.76796 | 0.56555 | 0.37926 | -3.7935 | -155.6266 | 131.4657 | -3.7935 | -155.6266 | 131.4657