## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.297e-19 | 0 | -4.9284e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.297e-19 | 0 | -4.9284e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6698e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6698e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4218e-29 | 2.0843e-14 | 2.0843e-14 | -1.5632e-14 | -1.3026e-14 | -3.6474e-14 | -5.2106e-15 | 5.7634e-09 | -5.7634e-09 | 5.2106e-15 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 4.8621e-13 | 180 | -180 | 4.8811e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5632e-14 | 1.0421e-14 | 3.1264e-14 | -3.1264e-14 | 7.8158e-15 | -3.6475e-14 | -1.5632e-14 | -1.9211e-09 | 1.9211e-09 | 2.0843e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 4.9313e-13 | -180 | 180 | 4.8811e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 1.8989e-19 | 1.0421e-14 | -1.0421e-14 | 2.8658e-14 | -1.5632e-14 | -1.0421e-14 | -1.9211e-09 | 1.9211e-09 | -8.878e-29 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 4.8928e-13 | -180 | 180 | 4.8811e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4218e-29 | 2.0843e-14 | 2.0843e-14 | -1.5632e-14 | -1.3026e-14 | -3.6474e-14 | -5.2106e-15 | 5.7634e-09 | -5.7634e-09 | 5.2106e-15 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 4.8621e-13 | 180 | -180 | 4.8811e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5632e-14 | 1.0421e-14 | 3.1264e-14 | -3.1264e-14 | 7.8158e-15 | -3.6475e-14 | -1.5632e-14 | -1.9211e-09 | 1.9211e-09 | 2.0843e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 4.9313e-13 | -180 | 180 | 4.8811e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 1.8989e-19 | 1.0421e-14 | -1.0421e-14 | 2.8658e-14 | -1.5632e-14 | -1.0421e-14 | -1.9211e-09 | 1.9211e-09 | -8.878e-29 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 4.8928e-13 | -180 | 180 | 4.8811e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.816e-15 | -9.5548e-10 | -3.0749e-09 | -1.0421e-14 | 9.5548e-10 | 3.075e-09 | 5.2106e-15 | 4.0277e-09 | -3.5664e-10 | -7.816e-15 | -4.0277e-09 | 3.5664e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 1.5475e-13 | -140.8543 | 122.4159 | 1.5324e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.908e-15 | 3.185e-10 | 1.025e-09 | -7.816e-15 | -3.1849e-10 | -1.025e-09 | -7.816e-15 | -1.3426e-09 | 1.1888e-10 | 2.6053e-15 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 1.5374e-13 | -140.8543 | 122.4159 | 1.5324e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 3.1848e-10 | 1.025e-09 | -5.2106e-15 | -3.1848e-10 | -1.025e-09 | -5.2106e-15 | -1.3426e-09 | 1.1887e-10 | 2.6053e-15 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 1.5447e-13 | -140.8543 | 122.4159 | 1.5324e-13 | -140.8543 | 122.4159

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.816e-15 | -9.5548e-10 | -3.0749e-09 | -1.0421e-14 | 9.5548e-10 | 3.075e-09 | 5.2106e-15 | 4.0277e-09 | -3.5664e-10 | -7.816e-15 | -4.0277e-09 | 3.5664e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 1.5475e-13 | -140.8543 | 122.4159 | 1.5324e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.908e-15 | 3.185e-10 | 1.025e-09 | -7.816e-15 | -3.1849e-10 | -1.025e-09 | -7.816e-15 | -1.3426e-09 | 1.1888e-10 | 2.6053e-15 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 1.5374e-13 | -140.8543 | 122.4159 | 1.5324e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 3.1848e-10 | 1.025e-09 | -5.2106e-15 | -3.1848e-10 | -1.025e-09 | -5.2106e-15 | -1.3426e-09 | 1.1887e-10 | 2.6053e-15 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 1.5447e-13 | -140.8543 | 122.4159 | 1.5324e-13 | -140.8543 | 122.4159

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4211e-14 | -1.0658e-14 | -8.1903e-21 | 1.1842e-14 | 1.0659e-14 | 6.8773e-19 | 1.4211e-14 | 4.7631e-09 | -4.7631e-09 | -9.4739e-15 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.1943e-12 | -180 | 180 | 1.2603e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0413e-28 | 3.553e-15 | 4.7373e-15 | -2.3685e-15 | 1.184e-15 | -2.2924e-19 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | -5.2097e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.2595e-12 | -180 | 180 | 1.2603e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 3.553e-15 | 9.4742e-15 | -4.737e-15 | 1.184e-15 | -4.7372e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.2414e-12 | -180 | 180 | 1.2603e-12 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4211e-14 | -1.0658e-14 | -8.1903e-21 | 1.1842e-14 | 1.0659e-14 | 6.8773e-19 | 1.4211e-14 | 4.7631e-09 | -4.7631e-09 | -9.4739e-15 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.1943e-12 | -180 | 180 | 1.2603e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0413e-28 | 3.553e-15 | 4.7373e-15 | -2.3685e-15 | 1.184e-15 | -2.2924e-19 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | -5.2097e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.2595e-12 | -180 | 180 | 1.2603e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 3.553e-15 | 9.4742e-15 | -4.737e-15 | 1.184e-15 | -4.7372e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.2414e-12 | -180 | 180 | 1.2603e-12 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5987e-14 | -8.0023e-10 | -2.5674e-09 | 1.4507e-14 | 8.0024e-10 | 2.5674e-09 | 7.1054e-15 | 3.4014e-09 | -3.4064e-10 | -7.1054e-15 | -3.4014e-09 | 3.4064e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 5.2587e-13 | -141.4824 | 122.8363 | 5.5967e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6645e-15 | 2.6675e-10 | 8.5581e-10 | 1.1842e-15 | -2.6675e-10 | -8.5581e-10 | -2.6006e-29 | -1.1338e-09 | 1.1356e-10 | -2.3685e-15 | 1.1338e-09 | -1.1356e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 5.5922e-13 | -141.4824 | 122.8363 | 5.5967e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.8818e-16 | 2.6675e-10 | 8.558e-10 | 2.0724e-15 | -2.6675e-10 | -8.5579e-10 | -8.5512e-30 | -1.1338e-09 | 1.1355e-10 | 2.0244e-29 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 5.5163e-13 | -141.4824 | 122.8363 | 5.5967e-13 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5987e-14 | -8.0023e-10 | -2.5674e-09 | 1.4507e-14 | 8.0024e-10 | 2.5674e-09 | 7.1054e-15 | 3.4014e-09 | -3.4064e-10 | -7.1054e-15 | -3.4014e-09 | 3.4064e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 5.2587e-13 | -141.4824 | 122.8363 | 5.5967e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6645e-15 | 2.6675e-10 | 8.5581e-10 | 1.1842e-15 | -2.6675e-10 | -8.5581e-10 | -2.6006e-29 | -1.1338e-09 | 1.1356e-10 | -2.3685e-15 | 1.1338e-09 | -1.1356e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 5.5922e-13 | -141.4824 | 122.8363 | 5.5967e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.8818e-16 | 2.6675e-10 | 8.558e-10 | 2.0724e-15 | -2.6675e-10 | -8.5579e-10 | -8.5512e-30 | -1.1338e-09 | 1.1355e-10 | 2.0244e-29 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 5.5163e-13 | -141.4824 | 122.8363 | 5.5967e-13 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.014058 | 0.014058 | 0.014058 | 0.009375 | 0.009375 | 0.009375 | 0.16233 | 0.16233 | 0.16233 | 0.10825 | 0.10825 | 0.10825 | -5.3099e-13 | 0.15423 | -0.15259 | 0.00040592 | -0.10256 | 0.10203 | 9.9564e-14 | -0.21073 | -0.24965 | 0.00016153 | 0.14061 | 0.16673 | -97.2287 | -97.2287 | -97.2287 | 82.7259 | 82.7259 | 82.7259 | 0 | 1.6087 | 1.8024 | 0.0040357 | 1.6077 | 1.8057 | 0 | -151.0286 | 141.3374 | 104.4248 | -151.1678 | 141.2604
Line_1 | 0 | 0 | 0 | 0.0046875 | 0.0046875 | 0.0046875 | 0 | 0 | 0 | 0.054127 | 0.054127 | 0.054127 | -4.9504e-12 | -3.9288e-09 | -5.173e-09 | -0.00020296 | 0.051279 | -0.051016 | 1.8918e-11 | -3.3583e-09 | 2.6399e-09 | -8.0763e-05 | -0.070305 | -0.083363 | 0 | 0 | 0 | -97.2741 | -97.2741 | -97.2741 | 0.004843 | 1.6075 | 1.8063 | 0.0040357 | 1.6077 | 1.8057 | 104.4203 | -151.1956 | 141.2451 | 104.4248 | -151.1678 | 141.2604
Line_2 | 0 | 0 | 0 | 0.0046875 | 0.0046875 | 0.0046875 | 0 | 0 | 0 | 0.054127 | 0.054127 | 0.054127 | -4.9504e-12 | -3.9289e-09 | -5.173e-09 | -0.00020296 | 0.051279 | -0.051016 | 1.8918e-11 | -3.3583e-09 | 2.6399e-09 | -8.0763e-05 | -0.070305 | -0.083363 | 0 | 0 | 0 | -97.2741 | -97.2741 | -97.2741 | 0.004843 | 1.6075 | 1.8063 | 0.0040357 | 1.6077 | 1.8057 | 104.4203 | -151.1956 | 141.2451 | 104.4248 | -151.1678 | 141.2604

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.014058 | 0.014058 | 0.014058 | 0.009375 | 0.009375 | 0.009375 | 0.16233 | 0.16233 | 0.16233 | 0.10825 | 0.10825 | 0.10825 | -5.3099e-13 | 0.15423 | -0.15259 | 0.00040592 | -0.10256 | 0.10203 | 9.9564e-14 | -0.21073 | -0.24965 | 0.00016153 | 0.14061 | 0.16673 | -97.2287 | -97.2287 | -97.2287 | 82.7259 | 82.7259 | 82.7259 | 0 | 1.6087 | 1.8024 | 0.0040357 | 1.6077 | 1.8057 | 0 | -151.0286 | 141.3374 | 104.4248 | -151.1678 | 141.2604
Line_1 | 0 | 0 | 0 | 0.0046875 | 0.0046875 | 0.0046875 | 0 | 0 | 0 | 0.054127 | 0.054127 | 0.054127 | -4.9504e-12 | -3.9288e-09 | -5.173e-09 | -0.00020296 | 0.051279 | -0.051016 | 1.8918e-11 | -3.3583e-09 | 2.6399e-09 | -8.0763e-05 | -0.070305 | -0.083363 | 0 | 0 | 0 | -97.2741 | -97.2741 | -97.2741 | 0.004843 | 1.6075 | 1.8063 | 0.0040357 | 1.6077 | 1.8057 | 104.4203 | -151.1956 | 141.2451 | 104.4248 | -151.1678 | 141.2604
Line_2 | 0 | 0 | 0 | 0.0046875 | 0.0046875 | 0.0046875 | 0 | 0 | 0 | 0.054127 | 0.054127 | 0.054127 | -4.9504e-12 | -3.9289e-09 | -5.173e-09 | -0.00020296 | 0.051279 | -0.051016 | 1.8918e-11 | -3.3583e-09 | 2.6399e-09 | -8.0763e-05 | -0.070305 | -0.083363 | 0 | 0 | 0 | -97.2741 | -97.2741 | -97.2741 | 0.004843 | 1.6075 | 1.8063 | 0.0040357 | 1.6077 | 1.8057 | 104.4203 | -151.1956 | 141.2451 | 104.4248 | -151.1678 | 141.2604

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0076975 | 0.0076975 | 0.0076975 | 0.0051333 | 0.0051333 | 0.0051333 | 0.088883 | 0.088883 | 0.088883 | 0.059274 | 0.059274 | 0.059274 | -0.00035492 | 0.084873 | -0.084025 | 0.00038185 | -0.056523 | 0.056105 | 0.044405 | -0.085074 | -0.097356 | -0.029564 | 0.056737 | 0.065017 | -94.1592 | -94.1592 | -94.1592 | 85.7954 | 85.7954 | 85.7954 | 0.4996 | 1.352 | 1.4469 | 0.49881 | 1.3511 | 1.4488 | -3.7013 | -139.2268 | 135.0442 | -3.4646 | -139.3129 | 135.0038
Line_1 | 0 | 0 | 0 | 0.0025666 | 0.0025666 | 0.0025666 | 0 | 0 | 0 | 0.029637 | 0.029637 | 0.029637 | 1.0959e-09 | -1.5503e-09 | -2.0548e-09 | -0.00019092 | 0.028262 | -0.028052 | -1.1989e-10 | -1.8036e-09 | 1.5124e-09 | 0.014782 | -0.028369 | -0.032509 | 0 | 0 | 0 | -94.2046 | -94.2046 | -94.2046 | 0.49865 | 1.351 | 1.4492 | 0.49881 | 1.3511 | 1.4488 | -3.4172 | -139.3301 | 134.9957 | -3.4646 | -139.3129 | 135.0038
Line_2 | 0 | 0 | 0 | 0.0025666 | 0.0025666 | 0.0025666 | 0 | 0 | 0 | 0.029637 | 0.029637 | 0.029637 | 1.0959e-09 | -1.5504e-09 | -2.0547e-09 | -0.00019092 | 0.028262 | -0.028052 | -1.1988e-10 | -1.8037e-09 | 1.5124e-09 | 0.014782 | -0.028369 | -0.032509 | 0 | 0 | 0 | -94.2046 | -94.2046 | -94.2046 | 0.49865 | 1.351 | 1.4492 | 0.49881 | 1.3511 | 1.4488 | -3.4172 | -139.3301 | 134.9957 | -3.4646 | -139.3129 | 135.0038

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0076975 | 0.0076975 | 0.0076975 | 0.0051333 | 0.0051333 | 0.0051333 | 0.088883 | 0.088883 | 0.088883 | 0.059274 | 0.059274 | 0.059274 | -0.00035492 | 0.084873 | -0.084025 | 0.00038185 | -0.056523 | 0.056105 | 0.044405 | -0.085074 | -0.097356 | -0.029564 | 0.056737 | 0.065017 | -94.1592 | -94.1592 | -94.1592 | 85.7954 | 85.7954 | 85.7954 | 0.4996 | 1.352 | 1.4469 | 0.49881 | 1.3511 | 1.4488 | -3.7013 | -139.2268 | 135.0442 | -3.4646 | -139.3129 | 135.0038
Line_1 | 0 | 0 | 0 | 0.0025666 | 0.0025666 | 0.0025666 | 0 | 0 | 0 | 0.029637 | 0.029637 | 0.029637 | 1.0959e-09 | -1.5503e-09 | -2.0548e-09 | -0.00019092 | 0.028262 | -0.028052 | -1.1989e-10 | -1.8036e-09 | 1.5124e-09 | 0.014782 | -0.028369 | -0.032509 | 0 | 0 | 0 | -94.2046 | -94.2046 | -94.2046 | 0.49865 | 1.351 | 1.4492 | 0.49881 | 1.3511 | 1.4488 | -3.4172 | -139.3301 | 134.9957 | -3.4646 | -139.3129 | 135.0038
Line_2 | 0 | 0 | 0 | 0.0025666 | 0.0025666 | 0.0025666 | 0 | 0 | 0 | 0.029637 | 0.029637 | 0.029637 | 1.0959e-09 | -1.5504e-09 | -2.0547e-09 | -0.00019092 | 0.028262 | -0.028052 | -1.1988e-10 | -1.8037e-09 | 1.5124e-09 | 0.014782 | -0.028369 | -0.032509 | 0 | 0 | 0 | -94.2046 | -94.2046 | -94.2046 | 0.49865 | 1.351 | 1.4492 | 0.49881 | 1.3511 | 1.4488 | -3.4172 | -139.3301 | 134.9957 | -3.4646 | -139.3129 | 135.0038

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.012691 | 0.012691 | 0.012691 | 0.0084633 | 0.0084633 | 0.0084633 | 0.14654 | 0.14654 | 0.14654 | 0.097726 | 0.097726 | 0.097726 | 1.6938e-13 | 0.12706 | -0.12448 | 0.00063516 | -0.084269 | 0.083443 | 2.0017e-13 | -0.17063 | -0.20456 | 0.00013171 | 0.11379 | 0.13668 | -97.6825 | -97.6825 | -97.6825 | 82.2303 | 82.2303 | 82.2303 | 0 | 1.4517 | 1.6341 | 0.0066376 | 1.4489 | 1.6386 | 0 | -151.0101 | 140.9953 | 93.9454 | -151.2479 | 140.8254
Line_1 | 0 | 0 | 0 | 0.0042317 | 0.0042317 | 0.0042317 | 0 | 0 | 0 | 0.048863 | 0.048863 | 0.048863 | -2.2379e-12 | -3.1539e-09 | -4.236e-09 | -0.00031758 | 0.042135 | -0.041722 | 2.9137e-11 | -2.7586e-09 | 2.1339e-09 | -6.5854e-05 | -0.056896 | -0.068338 | 0 | 0 | 0 | -97.7697 | -97.7697 | -97.7697 | 0.0079654 | 1.4484 | 1.6395 | 0.0066376 | 1.4489 | 1.6386 | 93.9367 | -151.2955 | 140.7915 | 93.9454 | -151.2479 | 140.8254
Line_2 | 0 | 0 | 0 | 0.0042317 | 0.0042317 | 0.0042317 | 0 | 0 | 0 | 0.048863 | 0.048863 | 0.048863 | -2.238e-12 | -3.1539e-09 | -4.2359e-09 | -0.00031758 | 0.042135 | -0.041722 | 2.9137e-11 | -2.7586e-09 | 2.1339e-09 | -6.5854e-05 | -0.056896 | -0.068338 | 0 | 0 | 0 | -97.7697 | -97.7697 | -97.7697 | 0.0079654 | 1.4484 | 1.6395 | 0.0066376 | 1.4489 | 1.6386 | 93.9367 | -151.2955 | 140.7915 | 93.9454 | -151.2479 | 140.8254

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.012691 | 0.012691 | 0.012691 | 0.0084633 | 0.0084633 | 0.0084633 | 0.14654 | 0.14654 | 0.14654 | 0.097726 | 0.097726 | 0.097726 | 1.6938e-13 | 0.12706 | -0.12448 | 0.00063516 | -0.084269 | 0.083443 | 2.0017e-13 | -0.17063 | -0.20456 | 0.00013171 | 0.11379 | 0.13668 | -97.6825 | -97.6825 | -97.6825 | 82.2303 | 82.2303 | 82.2303 | 0 | 1.4517 | 1.6341 | 0.0066376 | 1.4489 | 1.6386 | 0 | -151.0101 | 140.9953 | 93.9454 | -151.2479 | 140.8254
Line_1 | 0 | 0 | 0 | 0.0042317 | 0.0042317 | 0.0042317 | 0 | 0 | 0 | 0.048863 | 0.048863 | 0.048863 | -2.2379e-12 | -3.1539e-09 | -4.236e-09 | -0.00031758 | 0.042135 | -0.041722 | 2.9137e-11 | -2.7586e-09 | 2.1339e-09 | -6.5854e-05 | -0.056896 | -0.068338 | 0 | 0 | 0 | -97.7697 | -97.7697 | -97.7697 | 0.0079654 | 1.4484 | 1.6395 | 0.0066376 | 1.4489 | 1.6386 | 93.9367 | -151.2955 | 140.7915 | 93.9454 | -151.2479 | 140.8254
Line_2 | 0 | 0 | 0 | 0.0042317 | 0.0042317 | 0.0042317 | 0 | 0 | 0 | 0.048863 | 0.048863 | 0.048863 | -2.238e-12 | -3.1539e-09 | -4.2359e-09 | -0.00031758 | 0.042135 | -0.041722 | 2.9137e-11 | -2.7586e-09 | 2.1339e-09 | -6.5854e-05 | -0.056896 | -0.068338 | 0 | 0 | 0 | -97.7697 | -97.7697 | -97.7697 | 0.0079654 | 1.4484 | 1.6395 | 0.0066376 | 1.4489 | 1.6386 | 93.9367 | -151.2955 | 140.7915 | 93.9454 | -151.2479 | 140.8254

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.006973 | 0.006973 | 0.006973 | 0.0046501 | 0.0046501 | 0.0046501 | 0.080517 | 0.080517 | 0.080517 | 0.053695 | 0.053695 | 0.053695 | -0.000399 | 0.070103 | -0.068928 | 0.00049478 | -0.046629 | 0.046076 | 0.036427 | -0.06938 | -0.080314 | -0.024252 | 0.046236 | 0.053669 | -94.497 | -94.497 | -94.497 | 85.4158 | 85.4158 | 85.4158 | 0.45243 | 1.225 | 1.3145 | 0.45175 | 1.2229 | 1.3173 | -3.8695 | -139.1998 | 134.866 | -3.4154 | -139.342 | 134.769
Line_1 | 0 | 0 | 0 | 0.0023251 | 0.0023251 | 0.0023251 | 0 | 0 | 0 | 0.026848 | 0.026848 | 0.026848 | 9.0529e-10 | -1.2513e-09 | -1.6956e-09 | -0.00024739 | 0.023314 | -0.023038 | -9.6025e-11 | -1.4868e-09 | 1.2303e-09 | 0.012126 | -0.023118 | -0.026835 | 0 | 0 | 0 | -94.5842 | -94.5842 | -94.5842 | 0.45162 | 1.2225 | 1.3179 | 0.45175 | 1.2229 | 1.3173 | -3.3244 | -139.3705 | 134.7496 | -3.4154 | -139.342 | 134.769
Line_2 | 0 | 0 | 0 | 0.0023251 | 0.0023251 | 0.0023251 | 0 | 0 | 0 | 0.026848 | 0.026848 | 0.026848 | 9.0529e-10 | -1.2513e-09 | -1.6956e-09 | -0.00024739 | 0.023314 | -0.023038 | -9.6023e-11 | -1.4868e-09 | 1.2303e-09 | 0.012126 | -0.023118 | -0.026835 | 0 | 0 | 0 | -94.5842 | -94.5842 | -94.5842 | 0.45162 | 1.2225 | 1.3179 | 0.45175 | 1.2229 | 1.3173 | -3.3244 | -139.3705 | 134.7496 | -3.4154 | -139.342 | 134.769

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.006973 | 0.006973 | 0.006973 | 0.0046501 | 0.0046501 | 0.0046501 | 0.080517 | 0.080517 | 0.080517 | 0.053695 | 0.053695 | 0.053695 | -0.000399 | 0.070103 | -0.068928 | 0.00049478 | -0.046629 | 0.046076 | 0.036427 | -0.06938 | -0.080314 | -0.024252 | 0.046236 | 0.053669 | -94.497 | -94.497 | -94.497 | 85.4158 | 85.4158 | 85.4158 | 0.45243 | 1.225 | 1.3145 | 0.45175 | 1.2229 | 1.3173 | -3.8695 | -139.1998 | 134.866 | -3.4154 | -139.342 | 134.769
Line_1 | 0 | 0 | 0 | 0.0023251 | 0.0023251 | 0.0023251 | 0 | 0 | 0 | 0.026848 | 0.026848 | 0.026848 | 9.0529e-10 | -1.2513e-09 | -1.6956e-09 | -0.00024739 | 0.023314 | -0.023038 | -9.6025e-11 | -1.4868e-09 | 1.2303e-09 | 0.012126 | -0.023118 | -0.026835 | 0 | 0 | 0 | -94.5842 | -94.5842 | -94.5842 | 0.45162 | 1.2225 | 1.3179 | 0.45175 | 1.2229 | 1.3173 | -3.3244 | -139.3705 | 134.7496 | -3.4154 | -139.342 | 134.769
Line_2 | 0 | 0 | 0 | 0.0023251 | 0.0023251 | 0.0023251 | 0 | 0 | 0 | 0.026848 | 0.026848 | 0.026848 | 9.0529e-10 | -1.2513e-09 | -1.6956e-09 | -0.00024739 | 0.023314 | -0.023038 | -9.6023e-11 | -1.4868e-09 | 1.2303e-09 | 0.012126 | -0.023118 | -0.026835 | 0 | 0 | 0 | -94.5842 | -94.5842 | -94.5842 | 0.45162 | 1.2225 | 1.3179 | 0.45175 | 1.2229 | 1.3173 | -3.3244 | -139.3705 | 134.7496 | -3.4154 | -139.342 | 134.769

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0078694 | 0.0078694 | 0.0078694 | 0.0052479 | 0.0052479 | 0.0052479 | 0.090868 | 0.090868 | 0.090868 | 0.060598 | 0.060598 | 0.060598 | 0.00051516 | -6.2417e-14 | -5.3102e-14 | -0.00029257 | 0.00012719 | 0.00012719 | -0.14426 | -1.0126e-13 | 1.0594e-13 | 0.096253 | 5.0614e-05 | 5.0614e-05 | 87.834 | 87.834 | 87.834 | -92.2114 | -92.2114 | -92.2114 | 1.5876 | 0 | 0 | 1.5884 | 0.0022591 | 0.0022591 | -1.9614 | 0 | 0 | -2.0373 | -70.5125 | -70.5125
Line_1 | 0 | 0 | 0 | 0.002624 | 0.002624 | 0.002624 | 0 | 0 | 0 | 0.030299 | 0.030299 | 0.030299 | -2.8499e-09 | 7.0768e-12 | -1.0778e-11 | 0.00014628 | -6.3597e-05 | -6.3597e-05 | -2.2948e-10 | 8.3124e-12 | 1.9959e-12 | -0.048127 | -2.5307e-05 | -2.5307e-05 | 0 | 0 | 0 | 87.7886 | 87.7886 | 87.7886 | 1.5886 | 0.002711 | 0.002711 | 1.5884 | 0.0022591 | 0.0022591 | -2.0524 | -70.517 | -70.517 | -2.0373 | -70.5125 | -70.5125
Line_2 | 0 | 0 | 0 | 0.002624 | 0.002624 | 0.002624 | 0 | 0 | 0 | 0.030299 | 0.030299 | 0.030299 | -2.85e-09 | 7.0769e-12 | -1.0778e-11 | 0.00014628 | -6.3597e-05 | -6.3597e-05 | -2.2949e-10 | 8.3124e-12 | 1.9959e-12 | -0.048127 | -2.5307e-05 | -2.5307e-05 | 0 | 0 | 0 | 87.7886 | 87.7886 | 87.7886 | 1.5886 | 0.002711 | 0.002711 | 1.5884 | 0.0022591 | 0.0022591 | -2.0524 | -70.517 | -70.517 | -2.0373 | -70.5125 | -70.5125

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0078694 | 0.0078694 | 0.0078694 | 0.0052479 | 0.0052479 | 0.0052479 | 0.090868 | 0.090868 | 0.090868 | 0.060598 | 0.060598 | 0.060598 | 0.00051516 | -6.2417e-14 | -5.3102e-14 | -0.00029257 | 0.00012719 | 0.00012719 | -0.14426 | -1.0126e-13 | 1.0594e-13 | 0.096253 | 5.0614e-05 | 5.0614e-05 | 87.834 | 87.834 | 87.834 | -92.2114 | -92.2114 | -92.2114 | 1.5876 | 0 | 0 | 1.5884 | 0.0022591 | 0.0022591 | -1.9614 | 0 | 0 | -2.0373 | -70.5125 | -70.5125
Line_1 | 0 | 0 | 0 | 0.002624 | 0.002624 | 0.002624 | 0 | 0 | 0 | 0.030299 | 0.030299 | 0.030299 | -2.8499e-09 | 7.0768e-12 | -1.0778e-11 | 0.00014628 | -6.3597e-05 | -6.3597e-05 | -2.2948e-10 | 8.3124e-12 | 1.9959e-12 | -0.048127 | -2.5307e-05 | -2.5307e-05 | 0 | 0 | 0 | 87.7886 | 87.7886 | 87.7886 | 1.5886 | 0.002711 | 0.002711 | 1.5884 | 0.0022591 | 0.0022591 | -2.0524 | -70.517 | -70.517 | -2.0373 | -70.5125 | -70.5125
Line_2 | 0 | 0 | 0 | 0.002624 | 0.002624 | 0.002624 | 0 | 0 | 0 | 0.030299 | 0.030299 | 0.030299 | -2.85e-09 | 7.0769e-12 | -1.0778e-11 | 0.00014628 | -6.3597e-05 | -6.3597e-05 | -2.2949e-10 | 8.3124e-12 | 1.9959e-12 | -0.048127 | -2.5307e-05 | -2.5307e-05 | 0 | 0 | 0 | 87.7886 | 87.7886 | 87.7886 | 1.5886 | 0.002711 | 0.002711 | 1.5884 | 0.0022591 | 0.0022591 | -2.0524 | -70.517 | -70.517 | -2.0373 | -70.5125 | -70.5125

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0053746 | 0.0053746 | 0.0053746 | 0.0035842 | 0.0035842 | 0.0035842 | 0.06206 | 0.06206 | 0.06206 | 0.041386 | 0.041386 | 0.041386 | 0.00041333 | -0.046465 | 0.046292 | -0.0002633 | 0.031055 | -0.03081 | -0.088938 | 0.017695 | 0.0039535 | 0.059334 | -0.011752 | -0.0026373 | 88.3756 | 88.3756 | 88.3756 | -91.6698 | -91.6698 | -91.6698 | 1.4331 | 0.80116 | 0.74864 | 1.4337 | 0.8023 | 0.74716 | -1.3582 | -112.4721 | 93.2569 | -1.4156 | -112.3976 | 93.2228
Line_1 | 0 | 0 | 0 | 0.0017921 | 0.0017921 | 0.0017921 | 0 | 0 | 0 | 0.020693 | 0.020693 | 0.020693 | -1.7566e-09 | 8.4678e-10 | 6.4386e-10 | 0.00013165 | -0.015528 | 0.015405 | -1.4404e-10 | 4.2906e-10 | -1.3575e-09 | -0.029667 | 0.005876 | 0.0013187 | 0 | 0 | 0 | 88.3302 | 88.3302 | 88.3302 | 1.4338 | 0.80253 | 0.74687 | 1.4337 | 0.8023 | 0.74716 | -1.4271 | -112.3828 | 93.216 | -1.4156 | -112.3976 | 93.2228
Line_2 | 0 | 0 | 0 | 0.0017921 | 0.0017921 | 0.0017921 | 0 | 0 | 0 | 0.020693 | 0.020693 | 0.020693 | -1.7566e-09 | 8.4678e-10 | 6.4386e-10 | 0.00013165 | -0.015528 | 0.015405 | -1.4404e-10 | 4.2906e-10 | -1.3574e-09 | -0.029667 | 0.005876 | 0.0013187 | 0 | 0 | 0 | 88.3302 | 88.3302 | 88.3302 | 1.4338 | 0.80253 | 0.74687 | 1.4337 | 0.8023 | 0.74716 | -1.4271 | -112.3828 | 93.216 | -1.4156 | -112.3976 | 93.2228

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0053746 | 0.0053746 | 0.0053746 | 0.0035842 | 0.0035842 | 0.0035842 | 0.06206 | 0.06206 | 0.06206 | 0.041386 | 0.041386 | 0.041386 | 0.00041333 | -0.046465 | 0.046292 | -0.0002633 | 0.031055 | -0.03081 | -0.088938 | 0.017695 | 0.0039535 | 0.059334 | -0.011752 | -0.0026373 | 88.3756 | 88.3756 | 88.3756 | -91.6698 | -91.6698 | -91.6698 | 1.4331 | 0.80116 | 0.74864 | 1.4337 | 0.8023 | 0.74716 | -1.3582 | -112.4721 | 93.2569 | -1.4156 | -112.3976 | 93.2228
Line_1 | 0 | 0 | 0 | 0.0017921 | 0.0017921 | 0.0017921 | 0 | 0 | 0 | 0.020693 | 0.020693 | 0.020693 | -1.7566e-09 | 8.4678e-10 | 6.4386e-10 | 0.00013165 | -0.015528 | 0.015405 | -1.4404e-10 | 4.2906e-10 | -1.3575e-09 | -0.029667 | 0.005876 | 0.0013187 | 0 | 0 | 0 | 88.3302 | 88.3302 | 88.3302 | 1.4338 | 0.80253 | 0.74687 | 1.4337 | 0.8023 | 0.74716 | -1.4271 | -112.3828 | 93.216 | -1.4156 | -112.3976 | 93.2228
Line_2 | 0 | 0 | 0 | 0.0017921 | 0.0017921 | 0.0017921 | 0 | 0 | 0 | 0.020693 | 0.020693 | 0.020693 | -1.7566e-09 | 8.4678e-10 | 6.4386e-10 | 0.00013165 | -0.015528 | 0.015405 | -1.4404e-10 | 4.2906e-10 | -1.3574e-09 | -0.029667 | 0.005876 | 0.0013187 | 0 | 0 | 0 | 88.3302 | 88.3302 | 88.3302 | 1.4338 | 0.80253 | 0.74687 | 1.4337 | 0.8023 | 0.74716 | -1.4271 | -112.3828 | 93.216 | -1.4156 | -112.3976 | 93.2228

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0071407 | 0.0071407 | 0.0071407 | 0.004762 | 0.004762 | 0.004762 | 0.082454 | 0.082454 | 0.082454 | 0.054987 | 0.054987 | 0.054987 | 0.00081441 | -7.8853e-14 | 9.697e-14 | -0.00046252 | 0.00020108 | 0.00020108 | -0.11878 | 6.3469e-14 | 3.7582e-14 | 0.079253 | 4.1697e-05 | 4.1697e-05 | 87.5614 | 87.5614 | 87.5614 | -92.5257 | -92.5257 | -92.5257 | 1.4406 | 0 | 0 | 1.4413 | 0.0037347 | 0.0037347 | -2.0457 | 0 | 0 | -2.1913 | -80.8106 | -80.8106
Line_1 | 0 | 0 | 0 | 0.002381 | 0.002381 | 0.002381 | 0 | 0 | 0 | 0.027493 | 0.027493 | 0.027493 | -2.3375e-09 | 1.2665e-11 | -1.5434e-11 | 0.00023126 | -0.00010054 | -0.00010054 | -2.0479e-10 | 1.0382e-11 | 5.8408e-12 | -0.039627 | -2.0849e-05 | -2.0849e-05 | 0 | 0 | 0 | 87.4743 | 87.4743 | 87.4743 | 1.4415 | 0.0044818 | 0.0044818 | 1.4413 | 0.0037347 | 0.0037347 | -2.2205 | -80.8194 | -80.8194 | -2.1913 | -80.8106 | -80.8106
Line_2 | 0 | 0 | 0 | 0.002381 | 0.002381 | 0.002381 | 0 | 0 | 0 | 0.027493 | 0.027493 | 0.027493 | -2.3375e-09 | 1.2665e-11 | -1.5434e-11 | 0.00023126 | -0.00010054 | -0.00010054 | -2.0478e-10 | 1.0382e-11 | 5.8407e-12 | -0.039627 | -2.0849e-05 | -2.0849e-05 | 0 | 0 | 0 | 87.4743 | 87.4743 | 87.4743 | 1.4415 | 0.0044818 | 0.0044818 | 1.4413 | 0.0037347 | 0.0037347 | -2.2205 | -80.8194 | -80.8194 | -2.1913 | -80.8106 | -80.8106

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0071407 | 0.0071407 | 0.0071407 | 0.004762 | 0.004762 | 0.004762 | 0.082454 | 0.082454 | 0.082454 | 0.054987 | 0.054987 | 0.054987 | 0.00081441 | -7.8853e-14 | 9.697e-14 | -0.00046252 | 0.00020108 | 0.00020108 | -0.11878 | 6.3469e-14 | 3.7582e-14 | 0.079253 | 4.1697e-05 | 4.1697e-05 | 87.5614 | 87.5614 | 87.5614 | -92.5257 | -92.5257 | -92.5257 | 1.4406 | 0 | 0 | 1.4413 | 0.0037347 | 0.0037347 | -2.0457 | 0 | 0 | -2.1913 | -80.8106 | -80.8106
Line_1 | 0 | 0 | 0 | 0.002381 | 0.002381 | 0.002381 | 0 | 0 | 0 | 0.027493 | 0.027493 | 0.027493 | -2.3375e-09 | 1.2665e-11 | -1.5434e-11 | 0.00023126 | -0.00010054 | -0.00010054 | -2.0479e-10 | 1.0382e-11 | 5.8408e-12 | -0.039627 | -2.0849e-05 | -2.0849e-05 | 0 | 0 | 0 | 87.4743 | 87.4743 | 87.4743 | 1.4415 | 0.0044818 | 0.0044818 | 1.4413 | 0.0037347 | 0.0037347 | -2.2205 | -80.8194 | -80.8194 | -2.1913 | -80.8106 | -80.8106
Line_2 | 0 | 0 | 0 | 0.002381 | 0.002381 | 0.002381 | 0 | 0 | 0 | 0.027493 | 0.027493 | 0.027493 | -2.3375e-09 | 1.2665e-11 | -1.5434e-11 | 0.00023126 | -0.00010054 | -0.00010054 | -2.0478e-10 | 1.0382e-11 | 5.8407e-12 | -0.039627 | -2.0849e-05 | -2.0849e-05 | 0 | 0 | 0 | 87.4743 | 87.4743 | 87.4743 | 1.4415 | 0.0044818 | 0.0044818 | 1.4413 | 0.0037347 | 0.0037347 | -2.2205 | -80.8194 | -80.8194 | -2.1913 | -80.8106 | -80.8106

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0048803 | 0.0048803 | 0.0048803 | 0.0032546 | 0.0032546 | 0.0032546 | 0.056353 | 0.056353 | 0.056353 | 0.037581 | 0.037581 | 0.037581 | 0.00057587 | -0.037977 | 0.037781 | -0.00036449 | 0.025434 | -0.025098 | -0.073327 | 0.014609 | 0.0032341 | 0.048919 | -0.0096847 | -0.0021756 | 88.1348 | 88.1348 | 88.1348 | -91.9523 | -91.9523 | -91.9523 | 1.3012 | 0.72205 | 0.67288 | 1.3017 | 0.7242 | 0.67035 | -1.4152 | -112.9067 | 93.0274 | -1.5254 | -112.7977 | 93.0018
Line_1 | 0 | 0 | 0 | 0.0016273 | 0.0016273 | 0.0016273 | 0 | 0 | 0 | 0.01879 | 0.01879 | 0.01879 | -1.4426e-09 | 7.1057e-10 | 5.4313e-10 | 0.00018224 | -0.012717 | 0.012549 | -1.2892e-10 | 3.3411e-10 | -1.1152e-09 | -0.02446 | 0.0048423 | 0.0010878 | 0 | 0 | 0 | 88.0477 | 88.0477 | 88.0477 | 1.3018 | 0.72463 | 0.66984 | 1.3017 | 0.7242 | 0.67035 | -1.5475 | -112.776 | 92.9967 | -1.5254 | -112.7977 | 93.0018
Line_2 | 0 | 0 | 0 | 0.0016273 | 0.0016273 | 0.0016273 | 0 | 0 | 0 | 0.01879 | 0.01879 | 0.01879 | -1.4425e-09 | 7.1057e-10 | 5.4313e-10 | 0.00018224 | -0.012717 | 0.012549 | -1.2891e-10 | 3.341e-10 | -1.1152e-09 | -0.02446 | 0.0048423 | 0.0010878 | 0 | 0 | 0 | 88.0477 | 88.0477 | 88.0477 | 1.3018 | 0.72463 | 0.66984 | 1.3017 | 0.7242 | 0.67035 | -1.5475 | -112.776 | 92.9967 | -1.5254 | -112.7977 | 93.0018

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0048803 | 0.0048803 | 0.0048803 | 0.0032546 | 0.0032546 | 0.0032546 | 0.056353 | 0.056353 | 0.056353 | 0.037581 | 0.037581 | 0.037581 | 0.00057587 | -0.037977 | 0.037781 | -0.00036449 | 0.025434 | -0.025098 | -0.073327 | 0.014609 | 0.0032341 | 0.048919 | -0.0096847 | -0.0021756 | 88.1348 | 88.1348 | 88.1348 | -91.9523 | -91.9523 | -91.9523 | 1.3012 | 0.72205 | 0.67288 | 1.3017 | 0.7242 | 0.67035 | -1.4152 | -112.9067 | 93.0274 | -1.5254 | -112.7977 | 93.0018
Line_1 | 0 | 0 | 0 | 0.0016273 | 0.0016273 | 0.0016273 | 0 | 0 | 0 | 0.01879 | 0.01879 | 0.01879 | -1.4426e-09 | 7.1057e-10 | 5.4313e-10 | 0.00018224 | -0.012717 | 0.012549 | -1.2892e-10 | 3.3411e-10 | -1.1152e-09 | -0.02446 | 0.0048423 | 0.0010878 | 0 | 0 | 0 | 88.0477 | 88.0477 | 88.0477 | 1.3018 | 0.72463 | 0.66984 | 1.3017 | 0.7242 | 0.67035 | -1.5475 | -112.776 | 92.9967 | -1.5254 | -112.7977 | 93.0018
Line_2 | 0 | 0 | 0 | 0.0016273 | 0.0016273 | 0.0016273 | 0 | 0 | 0 | 0.01879 | 0.01879 | 0.01879 | -1.4425e-09 | 7.1057e-10 | 5.4313e-10 | 0.00018224 | -0.012717 | 0.012549 | -1.2891e-10 | 3.341e-10 | -1.1152e-09 | -0.02446 | 0.0048423 | 0.0010878 | 0 | 0 | 0 | 88.0477 | 88.0477 | 88.0477 | 1.3018 | 0.72463 | 0.66984 | 1.3017 | 0.7242 | 0.67035 | -1.5475 | -112.776 | 92.9967 | -1.5254 | -112.7977 | 93.0018