## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.297e-19 | 0 | -4.9284e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.297e-19 | 0 | -4.9284e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6698e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6698e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.6475e-14 | 2.3448e-14 | 5.2106e-15 | 2.6053e-14 | -7.8155e-15 | -1.0421e-14 | -5.8304e-28 | 5.7634e-09 | -5.7634e-09 | 4.2288e-28 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.1587e-13 | 180 | -180 | 9.3e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | -1.8237e-14 | 5.2108e-15 | -2.0843e-14 | 2.3448e-14 | -1.0421e-14 | 1.706e-28 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.3793e-13 | -180 | 180 | 9.3e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -1.8237e-14 | 5.2108e-15 | 0 | 2.3448e-14 | -1.0421e-14 | 1.0421e-14 | -1.9211e-09 | 1.9211e-09 | 0 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.3123e-13 | -180 | 180 | 9.3e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.6475e-14 | 2.3448e-14 | 5.2106e-15 | 2.6053e-14 | -7.8155e-15 | -1.0421e-14 | -5.8304e-28 | 5.7634e-09 | -5.7634e-09 | 4.2288e-28 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.1587e-13 | 180 | -180 | 9.3e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | -1.8237e-14 | 5.2108e-15 | -2.0843e-14 | 2.3448e-14 | -1.0421e-14 | 1.706e-28 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.3793e-13 | -180 | 180 | 9.3e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -1.8237e-14 | 5.2108e-15 | 0 | 2.3448e-14 | -1.0421e-14 | 1.0421e-14 | -1.9211e-09 | 1.9211e-09 | 0 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.3123e-13 | -180 | 180 | 9.3e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3027e-14 | -9.5546e-10 | -3.075e-09 | 7.816e-15 | 9.5547e-10 | 3.075e-09 | 2.6053e-15 | 4.0277e-09 | -3.5665e-10 | -1.0421e-14 | -4.0277e-09 | 3.5665e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 3.6137e-13 | -140.8543 | 122.4159 | 3.7215e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6053e-15 | 3.185e-10 | 1.025e-09 | -7.816e-15 | -3.1849e-10 | -1.025e-09 | -2.6053e-15 | -1.3426e-09 | 1.1888e-10 | -5.0767e-29 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 3.7305e-13 | -140.8543 | 122.4159 | 3.7215e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.698e-29 | 3.1849e-10 | 1.025e-09 | -2.6053e-15 | -3.1849e-10 | -1.025e-09 | -2.6053e-15 | -1.3426e-09 | 1.1888e-10 | 2.6053e-15 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 3.7342e-13 | -140.8543 | 122.4159 | 3.7215e-13 | -140.8543 | 122.4159

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3027e-14 | -9.5546e-10 | -3.075e-09 | 7.816e-15 | 9.5547e-10 | 3.075e-09 | 2.6053e-15 | 4.0277e-09 | -3.5665e-10 | -1.0421e-14 | -4.0277e-09 | 3.5665e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 3.6137e-13 | -140.8543 | 122.4159 | 3.7215e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6053e-15 | 3.185e-10 | 1.025e-09 | -7.816e-15 | -3.1849e-10 | -1.025e-09 | -2.6053e-15 | -1.3426e-09 | 1.1888e-10 | -5.0767e-29 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 3.7305e-13 | -140.8543 | 122.4159 | 3.7215e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.698e-29 | 3.1849e-10 | 1.025e-09 | -2.6053e-15 | -3.1849e-10 | -1.025e-09 | -2.6053e-15 | -1.3426e-09 | 1.1888e-10 | 2.6053e-15 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 3.7342e-13 | -140.8543 | 122.4159 | 3.7215e-13 | -140.8543 | 122.4159

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | -4.737e-15 | -4.737e-15 | 9.4739e-15 | 5.9219e-15 | 4.7376e-15 | -4.737e-15 | 4.7631e-09 | -4.7631e-09 | 4.737e-15 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.5538e-13 | -180 | 180 | 6.8705e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.7327e-29 | 4.7373e-15 | 3.0472e-19 | 1.7041e-28 | 1.184e-15 | -2.2922e-19 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.934e-13 | -180 | 180 | 6.8705e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 4.7373e-15 | 4.7373e-15 | 4.737e-15 | -3.5529e-15 | -4.7372e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.68e-13 | -180 | 180 | 6.8705e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | -4.737e-15 | -4.737e-15 | 9.4739e-15 | 5.9219e-15 | 4.7376e-15 | -4.737e-15 | 4.7631e-09 | -4.7631e-09 | 4.737e-15 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.5538e-13 | -180 | 180 | 6.8705e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.7327e-29 | 4.7373e-15 | 3.0472e-19 | 1.7041e-28 | 1.184e-15 | -2.2922e-19 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.934e-13 | -180 | 180 | 6.8705e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 4.7373e-15 | 4.7373e-15 | 4.737e-15 | -3.5529e-15 | -4.7372e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.68e-13 | -180 | 180 | 6.8705e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3323e-14 | -8.0024e-10 | -2.5674e-09 | 1.4211e-14 | 8.0024e-10 | 2.5674e-09 | -2.3685e-15 | 3.4014e-09 | -3.4064e-10 | 4.737e-15 | -3.4014e-09 | 3.4064e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.2546e-13 | -141.4824 | 122.8363 | 3.3352e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 2.6675e-10 | 8.558e-10 | -2.6645e-15 | -2.6675e-10 | -8.558e-10 | 2.3685e-15 | -1.1338e-09 | 1.1355e-10 | -2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.3133e-13 | -141.4824 | 122.8363 | 3.3352e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.8818e-16 | 2.6676e-10 | 8.558e-10 | -1.1842e-15 | -2.6676e-10 | -8.558e-10 | -2.3685e-15 | -1.1338e-09 | 1.1355e-10 | 2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.254e-13 | -141.4824 | 122.8363 | 3.3352e-13 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3323e-14 | -8.0024e-10 | -2.5674e-09 | 1.4211e-14 | 8.0024e-10 | 2.5674e-09 | -2.3685e-15 | 3.4014e-09 | -3.4064e-10 | 4.737e-15 | -3.4014e-09 | 3.4064e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.2546e-13 | -141.4824 | 122.8363 | 3.3352e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 2.6675e-10 | 8.558e-10 | -2.6645e-15 | -2.6675e-10 | -8.558e-10 | 2.3685e-15 | -1.1338e-09 | 1.1355e-10 | -2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.3133e-13 | -141.4824 | 122.8363 | 3.3352e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.8818e-16 | 2.6676e-10 | 8.558e-10 | -1.1842e-15 | -2.6676e-10 | -8.558e-10 | -2.3685e-15 | -1.1338e-09 | 1.1355e-10 | 2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.254e-13 | -141.4824 | 122.8363 | 3.3352e-13 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.012655 | 0.012655 | 0.012655 | 0.0084391 | 0.0084391 | 0.0084391 | 0.14612 | 0.14612 | 0.14612 | 0.097447 | 0.097447 | 0.097447 | -7.4115e-13 | 0.13986 | -0.13853 | 0.00032892 | -0.093043 | 0.092615 | 2.3467e-13 | -0.1875 | -0.18555 | 0.00013089 | 0.12509 | 0.12395 | -89.6004 | -89.6004 | -89.6004 | 90.3542 | 90.3542 | 90.3542 | 0 | 1.6008 | 1.5847 | 0.0036328 | 1.5999 | 1.5878 | 0 | -142.8788 | 143.655 | 112.0531 | -143.0045 | 143.5863
Line_1 | 0 | 0 | 0 | 0.0042196 | 0.0042196 | 0.0042196 | 0 | 0 | 0 | 0.048723 | 0.048723 | 0.048723 | -6.6703e-12 | -3.4451e-09 | -3.3792e-09 | -0.00016446 | 0.046521 | -0.046307 | 1.6298e-11 | -2.5241e-09 | 2.5621e-09 | -6.5443e-05 | -0.062547 | -0.061973 | 0 | 0 | 0 | -89.6458 | -89.6458 | -89.6458 | 0.0043595 | 1.5997 | 1.5884 | 0.0036328 | 1.5999 | 1.5878 | 112.0486 | -143.0296 | 143.5726 | 112.0531 | -143.0045 | 143.5863
Line_2 | 0 | 0 | 0 | 0.0042196 | 0.0042196 | 0.0042196 | 0 | 0 | 0 | 0.048723 | 0.048723 | 0.048723 | -6.6704e-12 | -3.4451e-09 | -3.3792e-09 | -0.00016446 | 0.046521 | -0.046307 | 1.6297e-11 | -2.524e-09 | 2.5621e-09 | -6.5443e-05 | -0.062547 | -0.061973 | 0 | 0 | 0 | -89.6458 | -89.6458 | -89.6458 | 0.0043595 | 1.5997 | 1.5884 | 0.0036328 | 1.5999 | 1.5878 | 112.0486 | -143.0296 | 143.5726 | 112.0531 | -143.0045 | 143.5863

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.012655 | 0.012655 | 0.012655 | 0.0084391 | 0.0084391 | 0.0084391 | 0.14612 | 0.14612 | 0.14612 | 0.097447 | 0.097447 | 0.097447 | -7.4115e-13 | 0.13986 | -0.13853 | 0.00032892 | -0.093043 | 0.092615 | 2.3467e-13 | -0.1875 | -0.18555 | 0.00013089 | 0.12509 | 0.12395 | -89.6004 | -89.6004 | -89.6004 | 90.3542 | 90.3542 | 90.3542 | 0 | 1.6008 | 1.5847 | 0.0036328 | 1.5999 | 1.5878 | 0 | -142.8788 | 143.655 | 112.0531 | -143.0045 | 143.5863
Line_1 | 0 | 0 | 0 | 0.0042196 | 0.0042196 | 0.0042196 | 0 | 0 | 0 | 0.048723 | 0.048723 | 0.048723 | -6.6703e-12 | -3.4451e-09 | -3.3792e-09 | -0.00016446 | 0.046521 | -0.046307 | 1.6298e-11 | -2.5241e-09 | 2.5621e-09 | -6.5443e-05 | -0.062547 | -0.061973 | 0 | 0 | 0 | -89.6458 | -89.6458 | -89.6458 | 0.0043595 | 1.5997 | 1.5884 | 0.0036328 | 1.5999 | 1.5878 | 112.0486 | -143.0296 | 143.5726 | 112.0531 | -143.0045 | 143.5863
Line_2 | 0 | 0 | 0 | 0.0042196 | 0.0042196 | 0.0042196 | 0 | 0 | 0 | 0.048723 | 0.048723 | 0.048723 | -6.6704e-12 | -3.4451e-09 | -3.3792e-09 | -0.00016446 | 0.046521 | -0.046307 | 1.6297e-11 | -2.524e-09 | 2.5621e-09 | -6.5443e-05 | -0.062547 | -0.061973 | 0 | 0 | 0 | -89.6458 | -89.6458 | -89.6458 | 0.0043595 | 1.5997 | 1.5884 | 0.0036328 | 1.5999 | 1.5878 | 112.0486 | -143.0296 | 143.5726 | 112.0531 | -143.0045 | 143.5863

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0067001 | 0.0067001 | 0.0067001 | 0.0044681 | 0.0044681 | 0.0044681 | 0.077366 | 0.077366 | 0.077366 | 0.051593 | 0.051593 | 0.051593 | 0.033009 | 0.051498 | -0.084133 | -0.021903 | -0.034302 | 0.056178 | 0.03325 | -0.09777 | -0.040053 | -0.022155 | 0.06521 | 0.026791 | -66.9479 | -66.9479 | -66.9479 | 113.0067 | 113.0067 | 113.0067 | 0.6056 | 1.4283 | 1.2044 | 0.60384 | 1.4281 | 1.2063 | -21.7392 | -129.1711 | 138.5094 | -21.6662 | -129.2479 | 138.5034
Line_1 | 0 | 0 | 0 | 0.0022341 | 0.0022341 | 0.0022341 | 0 | 0 | 0 | 0.025797 | 0.025797 | 0.025797 | 9.2694e-10 | -1.7931e-09 | -7.238e-10 | 0.010952 | 0.017151 | -0.028089 | -8.9808e-10 | -9.2721e-10 | 1.5445e-09 | 0.011077 | -0.032605 | -0.013396 | 0 | 0 | 0 | -66.9933 | -66.9933 | -66.9933 | 0.60349 | 1.4281 | 1.2067 | 0.60384 | 1.4281 | 1.2063 | -21.6516 | -129.2632 | 138.5021 | -21.6662 | -129.2479 | 138.5034
Line_2 | 0 | 0 | 0 | 0.0022341 | 0.0022341 | 0.0022341 | 0 | 0 | 0 | 0.025797 | 0.025797 | 0.025797 | 9.2695e-10 | -1.7931e-09 | -7.2379e-10 | 0.010952 | 0.017151 | -0.028089 | -8.9808e-10 | -9.2718e-10 | 1.5445e-09 | 0.011077 | -0.032605 | -0.013396 | 0 | 0 | 0 | -66.9933 | -66.9933 | -66.9933 | 0.60349 | 1.4281 | 1.2067 | 0.60384 | 1.4281 | 1.2063 | -21.6516 | -129.2632 | 138.5021 | -21.6662 | -129.2479 | 138.5034

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0067001 | 0.0067001 | 0.0067001 | 0.0044681 | 0.0044681 | 0.0044681 | 0.077366 | 0.077366 | 0.077366 | 0.051593 | 0.051593 | 0.051593 | 0.033009 | 0.051498 | -0.084133 | -0.021903 | -0.034302 | 0.056178 | 0.03325 | -0.09777 | -0.040053 | -0.022155 | 0.06521 | 0.026791 | -66.9479 | -66.9479 | -66.9479 | 113.0067 | 113.0067 | 113.0067 | 0.6056 | 1.4283 | 1.2044 | 0.60384 | 1.4281 | 1.2063 | -21.7392 | -129.1711 | 138.5094 | -21.6662 | -129.2479 | 138.5034
Line_1 | 0 | 0 | 0 | 0.0022341 | 0.0022341 | 0.0022341 | 0 | 0 | 0 | 0.025797 | 0.025797 | 0.025797 | 9.2694e-10 | -1.7931e-09 | -7.238e-10 | 0.010952 | 0.017151 | -0.028089 | -8.9808e-10 | -9.2721e-10 | 1.5445e-09 | 0.011077 | -0.032605 | -0.013396 | 0 | 0 | 0 | -66.9933 | -66.9933 | -66.9933 | 0.60349 | 1.4281 | 1.2067 | 0.60384 | 1.4281 | 1.2063 | -21.6516 | -129.2632 | 138.5021 | -21.6662 | -129.2479 | 138.5034
Line_2 | 0 | 0 | 0 | 0.0022341 | 0.0022341 | 0.0022341 | 0 | 0 | 0 | 0.025797 | 0.025797 | 0.025797 | 9.2695e-10 | -1.7931e-09 | -7.2379e-10 | 0.010952 | 0.017151 | -0.028089 | -8.9808e-10 | -9.2718e-10 | 1.5445e-09 | 0.011077 | -0.032605 | -0.013396 | 0 | 0 | 0 | -66.9933 | -66.9933 | -66.9933 | 0.60349 | 1.4281 | 1.2067 | 0.60384 | 1.4281 | 1.2063 | -21.6516 | -129.2632 | 138.5021 | -21.6662 | -129.2479 | 138.5034

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.011386 | 0.011386 | 0.011386 | 0.0075928 | 0.0075928 | 0.0075928 | 0.13147 | 0.13147 | 0.13147 | 0.087674 | 0.087674 | 0.087674 | 2.7426e-13 | 0.11489 | -0.11282 | 0.00051121 | -0.07626 | 0.075595 | 2.4145e-13 | -0.15148 | -0.1505 | 0.00010601 | 0.10101 | 0.10058 | -89.7539 | -89.7539 | -89.7539 | 90.1589 | 90.1589 | 90.1589 | 0 | 1.4461 | 1.4307 | 0.0059548 | 1.4435 | 1.4351 | 0 | -142.575 | 143.3896 | 101.874 | -142.7882 | 143.232
Line_1 | 0 | 0 | 0 | 0.0037964 | 0.0037964 | 0.0037964 | 0 | 0 | 0 | 0.043837 | 0.043837 | 0.043837 | -5.5749e-12 | -2.7587e-09 | -2.7218e-09 | -0.0002556 | 0.03813 | -0.037797 | 2.5642e-11 | -2.053e-09 | 2.0744e-09 | -5.3003e-05 | -0.050503 | -0.050292 | 0 | 0 | 0 | -89.8411 | -89.8411 | -89.8411 | 0.007146 | 1.443 | 1.436 | 0.0059548 | 1.4435 | 1.4351 | 101.8653 | -142.8309 | 143.2006 | 101.874 | -142.7882 | 143.232
Line_2 | 0 | 0 | 0 | 0.0037964 | 0.0037964 | 0.0037964 | 0 | 0 | 0 | 0.043837 | 0.043837 | 0.043837 | -5.5748e-12 | -2.7587e-09 | -2.7218e-09 | -0.0002556 | 0.03813 | -0.037797 | 2.5642e-11 | -2.053e-09 | 2.0744e-09 | -5.3003e-05 | -0.050503 | -0.050292 | 0 | 0 | 0 | -89.8411 | -89.8411 | -89.8411 | 0.007146 | 1.443 | 1.436 | 0.0059548 | 1.4435 | 1.4351 | 101.8653 | -142.8309 | 143.2006 | 101.874 | -142.7882 | 143.232

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.011386 | 0.011386 | 0.011386 | 0.0075928 | 0.0075928 | 0.0075928 | 0.13147 | 0.13147 | 0.13147 | 0.087674 | 0.087674 | 0.087674 | 2.7426e-13 | 0.11489 | -0.11282 | 0.00051121 | -0.07626 | 0.075595 | 2.4145e-13 | -0.15148 | -0.1505 | 0.00010601 | 0.10101 | 0.10058 | -89.7539 | -89.7539 | -89.7539 | 90.1589 | 90.1589 | 90.1589 | 0 | 1.4461 | 1.4307 | 0.0059548 | 1.4435 | 1.4351 | 0 | -142.575 | 143.3896 | 101.874 | -142.7882 | 143.232
Line_1 | 0 | 0 | 0 | 0.0037964 | 0.0037964 | 0.0037964 | 0 | 0 | 0 | 0.043837 | 0.043837 | 0.043837 | -5.5749e-12 | -2.7587e-09 | -2.7218e-09 | -0.0002556 | 0.03813 | -0.037797 | 2.5642e-11 | -2.053e-09 | 2.0744e-09 | -5.3003e-05 | -0.050503 | -0.050292 | 0 | 0 | 0 | -89.8411 | -89.8411 | -89.8411 | 0.007146 | 1.443 | 1.436 | 0.0059548 | 1.4435 | 1.4351 | 101.8653 | -142.8309 | 143.2006 | 101.874 | -142.7882 | 143.232
Line_2 | 0 | 0 | 0 | 0.0037964 | 0.0037964 | 0.0037964 | 0 | 0 | 0 | 0.043837 | 0.043837 | 0.043837 | -5.5748e-12 | -2.7587e-09 | -2.7218e-09 | -0.0002556 | 0.03813 | -0.037797 | 2.5642e-11 | -2.053e-09 | 2.0744e-09 | -5.3003e-05 | -0.050503 | -0.050292 | 0 | 0 | 0 | -89.8411 | -89.8411 | -89.8411 | 0.007146 | 1.443 | 1.436 | 0.0059548 | 1.4435 | 1.4351 | 101.8653 | -142.8309 | 143.2006 | 101.874 | -142.7882 | 143.232

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0060616 | 0.0060616 | 0.0060616 | 0.0040423 | 0.0040423 | 0.0040423 | 0.069993 | 0.069993 | 0.069993 | 0.046677 | 0.046677 | 0.046677 | 0.026906 | 0.042741 | -0.06906 | -0.01777 | -0.028439 | 0.046166 | 0.027285 | -0.079879 | -0.032999 | -0.018193 | 0.053256 | 0.022107 | -67.2513 | -67.2513 | -67.2513 | 112.6616 | 112.6616 | 112.6616 | 0.54747 | 1.2943 | 1.0935 | 0.54484 | 1.2934 | 1.0966 | -21.8505 | -129.1011 | 138.2889 | -21.6651 | -129.2357 | 138.249
Line_1 | 0 | 0 | 0 | 0.0020212 | 0.0020212 | 0.0020212 | 0 | 0 | 0 | 0.023338 | 0.023338 | 0.023338 | 7.6895e-10 | -1.4524e-09 | -5.9327e-10 | 0.0088851 | 0.01422 | -0.023083 | -7.3561e-10 | -7.6327e-10 | 1.2593e-09 | 0.0090964 | -0.026628 | -0.011053 | 0 | 0 | 0 | -67.3384 | -67.3384 | -67.3384 | 0.54431 | 1.2933 | 1.0972 | 0.54484 | 1.2934 | 1.0966 | -21.6278 | -129.2627 | 138.2411 | -21.6651 | -129.2357 | 138.249
Line_2 | 0 | 0 | 0 | 0.0020212 | 0.0020212 | 0.0020212 | 0 | 0 | 0 | 0.023338 | 0.023338 | 0.023338 | 7.6895e-10 | -1.4524e-09 | -5.9327e-10 | 0.0088851 | 0.01422 | -0.023083 | -7.3561e-10 | -7.6326e-10 | 1.2593e-09 | 0.0090964 | -0.026628 | -0.011053 | 0 | 0 | 0 | -67.3384 | -67.3384 | -67.3384 | 0.54431 | 1.2933 | 1.0972 | 0.54484 | 1.2934 | 1.0966 | -21.6278 | -129.2627 | 138.2411 | -21.6651 | -129.2357 | 138.249

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0060616 | 0.0060616 | 0.0060616 | 0.0040423 | 0.0040423 | 0.0040423 | 0.069993 | 0.069993 | 0.069993 | 0.046677 | 0.046677 | 0.046677 | 0.026906 | 0.042741 | -0.06906 | -0.01777 | -0.028439 | 0.046166 | 0.027285 | -0.079879 | -0.032999 | -0.018193 | 0.053256 | 0.022107 | -67.2513 | -67.2513 | -67.2513 | 112.6616 | 112.6616 | 112.6616 | 0.54747 | 1.2943 | 1.0935 | 0.54484 | 1.2934 | 1.0966 | -21.8505 | -129.1011 | 138.2889 | -21.6651 | -129.2357 | 138.249
Line_1 | 0 | 0 | 0 | 0.0020212 | 0.0020212 | 0.0020212 | 0 | 0 | 0 | 0.023338 | 0.023338 | 0.023338 | 7.6895e-10 | -1.4524e-09 | -5.9327e-10 | 0.0088851 | 0.01422 | -0.023083 | -7.3561e-10 | -7.6327e-10 | 1.2593e-09 | 0.0090964 | -0.026628 | -0.011053 | 0 | 0 | 0 | -67.3384 | -67.3384 | -67.3384 | 0.54431 | 1.2933 | 1.0972 | 0.54484 | 1.2934 | 1.0966 | -21.6278 | -129.2627 | 138.2411 | -21.6651 | -129.2357 | 138.249
Line_2 | 0 | 0 | 0 | 0.0020212 | 0.0020212 | 0.0020212 | 0 | 0 | 0 | 0.023338 | 0.023338 | 0.023338 | 7.6895e-10 | -1.4524e-09 | -5.9327e-10 | 0.0088851 | 0.01422 | -0.023083 | -7.3561e-10 | -7.6326e-10 | 1.2593e-09 | 0.0090964 | -0.026628 | -0.011053 | 0 | 0 | 0 | -67.3384 | -67.3384 | -67.3384 | 0.54431 | 1.2933 | 1.0972 | 0.54484 | 1.2934 | 1.0966 | -21.6278 | -129.2627 | 138.2411 | -21.6651 | -129.2357 | 138.249

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0076214 | 0.0076214 | 0.0076214 | 0.0050825 | 0.0050825 | 0.0050825 | 0.088004 | 0.088004 | 0.088004 | 0.058688 | 0.058688 | 0.058688 | 0.0004832 | -1.1761e-13 | -6.0625e-14 | -0.00027442 | 0.0001193 | 0.0001193 | -0.13531 | -1.434e-13 | 1.7171e-13 | 0.090282 | 4.7474e-05 | 4.7474e-05 | 89.9773 | 89.9773 | 89.9773 | -90.0681 | -90.0681 | -90.0681 | 1.5375 | 0 | 0 | 1.5383 | 0.0021879 | 0.0021879 | 0.18194 | 0 | 0 | 0.1061 | -68.3691 | -68.3691
Line_1 | 0 | 0 | 0 | 0.0025413 | 0.0025413 | 0.0025413 | 0 | 0 | 0 | 0.029344 | 0.029344 | 0.029344 | -2.4737e-09 | 6.5486e-12 | -1.0502e-11 | 0.00013721 | -5.9652e-05 | -5.9652e-05 | 9.8481e-12 | 8.3022e-12 | 1.5422e-12 | -0.045141 | -2.3737e-05 | -2.3737e-05 | 0 | 0 | 0 | 89.9319 | 89.9319 | 89.9319 | 1.5385 | 0.0026255 | 0.0026255 | 1.5383 | 0.0021879 | 0.0021879 | 0.090933 | -68.3737 | -68.3737 | 0.1061 | -68.3691 | -68.3691
Line_2 | 0 | 0 | 0 | 0.0025413 | 0.0025413 | 0.0025413 | 0 | 0 | 0 | 0.029344 | 0.029344 | 0.029344 | -2.4737e-09 | 6.5487e-12 | -1.0502e-11 | 0.00013721 | -5.9652e-05 | -5.9652e-05 | 9.848e-12 | 8.3021e-12 | 1.5422e-12 | -0.045141 | -2.3737e-05 | -2.3737e-05 | 0 | 0 | 0 | 89.9319 | 89.9319 | 89.9319 | 1.5385 | 0.0026255 | 0.0026255 | 1.5383 | 0.0021879 | 0.0021879 | 0.090933 | -68.3737 | -68.3737 | 0.1061 | -68.3691 | -68.3691

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0076214 | 0.0076214 | 0.0076214 | 0.0050825 | 0.0050825 | 0.0050825 | 0.088004 | 0.088004 | 0.088004 | 0.058688 | 0.058688 | 0.058688 | 0.0004832 | -1.1761e-13 | -6.0625e-14 | -0.00027442 | 0.0001193 | 0.0001193 | -0.13531 | -1.434e-13 | 1.7171e-13 | 0.090282 | 4.7474e-05 | 4.7474e-05 | 89.9773 | 89.9773 | 89.9773 | -90.0681 | -90.0681 | -90.0681 | 1.5375 | 0 | 0 | 1.5383 | 0.0021879 | 0.0021879 | 0.18194 | 0 | 0 | 0.1061 | -68.3691 | -68.3691
Line_1 | 0 | 0 | 0 | 0.0025413 | 0.0025413 | 0.0025413 | 0 | 0 | 0 | 0.029344 | 0.029344 | 0.029344 | -2.4737e-09 | 6.5486e-12 | -1.0502e-11 | 0.00013721 | -5.9652e-05 | -5.9652e-05 | 9.8481e-12 | 8.3022e-12 | 1.5422e-12 | -0.045141 | -2.3737e-05 | -2.3737e-05 | 0 | 0 | 0 | 89.9319 | 89.9319 | 89.9319 | 1.5385 | 0.0026255 | 0.0026255 | 1.5383 | 0.0021879 | 0.0021879 | 0.090933 | -68.3737 | -68.3737 | 0.1061 | -68.3691 | -68.3691
Line_2 | 0 | 0 | 0 | 0.0025413 | 0.0025413 | 0.0025413 | 0 | 0 | 0 | 0.029344 | 0.029344 | 0.029344 | -2.4737e-09 | 6.5487e-12 | -1.0502e-11 | 0.00013721 | -5.9652e-05 | -5.9652e-05 | 9.848e-12 | 8.3021e-12 | 1.5422e-12 | -0.045141 | -2.3737e-05 | -2.3737e-05 | 0 | 0 | 0 | 89.9319 | 89.9319 | 89.9319 | 1.5385 | 0.0026255 | 0.0026255 | 1.5383 | 0.0021879 | 0.0021879 | 0.090933 | -68.3737 | -68.3737 | 0.1061 | -68.3691 | -68.3691

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0050466 | 0.0050466 | 0.0050466 | 0.0033654 | 0.0033654 | 0.0033654 | 0.058273 | 0.058273 | 0.058273 | 0.038861 | 0.038861 | 0.038861 | -0.018515 | -0.029854 | 0.048581 | 0.012358 | 0.019977 | -0.032351 | -0.078191 | 0.029434 | -0.010569 | 0.052175 | -0.019592 | 0.0070437 | 106.9712 | 106.9712 | 106.9712 | -73.0742 | -73.0742 | -73.0742 | 1.3789 | 0.71944 | 0.85318 | 1.3798 | 0.72002 | 0.85198 | 3.6493 | -117.6224 | 94.697 | 3.6 | -117.5169 | 94.6426
Line_1 | 0 | 0 | 0 | 0.0016827 | 0.0016827 | 0.0016827 | 0 | 0 | 0 | 0.01943 | 0.01943 | 0.01943 | -1.4272e-09 | 1.0003e-09 | 4.4406e-10 | -0.0061792 | -0.0099884 | 0.016175 | 3.4852e-10 | 1.2691e-10 | -1.4718e-09 | -0.026087 | 0.009796 | -0.0035218 | 0 | 0 | 0 | 106.9258 | 106.9258 | 106.9258 | 1.3799 | 0.72014 | 0.85174 | 1.3798 | 0.72002 | 0.85198 | 3.5902 | -117.4958 | 94.6317 | 3.6 | -117.5169 | 94.6426
Line_2 | 0 | 0 | 0 | 0.0016827 | 0.0016827 | 0.0016827 | 0 | 0 | 0 | 0.01943 | 0.01943 | 0.01943 | -1.4272e-09 | 1.0003e-09 | 4.4404e-10 | -0.0061792 | -0.0099884 | 0.016175 | 3.4851e-10 | 1.269e-10 | -1.4718e-09 | -0.026087 | 0.009796 | -0.0035218 | 0 | 0 | 0 | 106.9258 | 106.9258 | 106.9258 | 1.3799 | 0.72014 | 0.85174 | 1.3798 | 0.72002 | 0.85198 | 3.5902 | -117.4958 | 94.6317 | 3.6 | -117.5169 | 94.6426

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0050466 | 0.0050466 | 0.0050466 | 0.0033654 | 0.0033654 | 0.0033654 | 0.058273 | 0.058273 | 0.058273 | 0.038861 | 0.038861 | 0.038861 | -0.018515 | -0.029854 | 0.048581 | 0.012358 | 0.019977 | -0.032351 | -0.078191 | 0.029434 | -0.010569 | 0.052175 | -0.019592 | 0.0070437 | 106.9712 | 106.9712 | 106.9712 | -73.0742 | -73.0742 | -73.0742 | 1.3789 | 0.71944 | 0.85318 | 1.3798 | 0.72002 | 0.85198 | 3.6493 | -117.6224 | 94.697 | 3.6 | -117.5169 | 94.6426
Line_1 | 0 | 0 | 0 | 0.0016827 | 0.0016827 | 0.0016827 | 0 | 0 | 0 | 0.01943 | 0.01943 | 0.01943 | -1.4272e-09 | 1.0003e-09 | 4.4406e-10 | -0.0061792 | -0.0099884 | 0.016175 | 3.4852e-10 | 1.2691e-10 | -1.4718e-09 | -0.026087 | 0.009796 | -0.0035218 | 0 | 0 | 0 | 106.9258 | 106.9258 | 106.9258 | 1.3799 | 0.72014 | 0.85174 | 1.3798 | 0.72002 | 0.85198 | 3.5902 | -117.4958 | 94.6317 | 3.6 | -117.5169 | 94.6426
Line_2 | 0 | 0 | 0 | 0.0016827 | 0.0016827 | 0.0016827 | 0 | 0 | 0 | 0.01943 | 0.01943 | 0.01943 | -1.4272e-09 | 1.0003e-09 | 4.4404e-10 | -0.0061792 | -0.0099884 | 0.016175 | 3.4851e-10 | 1.269e-10 | -1.4718e-09 | -0.026087 | 0.009796 | -0.0035218 | 0 | 0 | 0 | 106.9258 | 106.9258 | 106.9258 | 1.3799 | 0.72014 | 0.85174 | 1.3798 | 0.72002 | 0.85198 | 3.5902 | -117.4958 | 94.6317 | 3.6 | -117.5169 | 94.6426

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0069067 | 0.0069067 | 0.0069067 | 0.0046059 | 0.0046059 | 0.0046059 | 0.079752 | 0.079752 | 0.079752 | 0.053185 | 0.053185 | 0.053185 | 0.00076191 | -8.4718e-14 | 1.2585e-13 | -0.0004327 | 0.00018812 | 0.00018812 | -0.11112 | 9.1684e-14 | 2.6318e-14 | 0.074144 | 3.9009e-05 | 3.9009e-05 | 89.8009 | 89.8009 | 89.8009 | -90.2862 | -90.2862 | -90.2862 | 1.3934 | 0 | 0 | 1.3941 | 0.0036123 | 0.0036123 | 0.19378 | 0 | 0 | 0.048168 | -78.5711 | -78.5711
Line_1 | 0 | 0 | 0 | 0.002303 | 0.002303 | 0.002303 | 0 | 0 | 0 | 0.026592 | 0.026592 | 0.026592 | -2.0155e-09 | 1.185e-11 | -1.5135e-11 | 0.00021635 | -9.4059e-05 | -9.4059e-05 | 1.6942e-12 | 1.0516e-11 | 5.0645e-12 | -0.037072 | -1.9505e-05 | -1.9505e-05 | 0 | 0 | 0 | 89.7138 | 89.7138 | 89.7138 | 1.3943 | 0.0043349 | 0.0043349 | 1.3941 | 0.0036123 | 0.0036123 | 0.019051 | -78.5799 | -78.5799 | 0.048168 | -78.5711 | -78.5711
Line_2 | 0 | 0 | 0 | 0.002303 | 0.002303 | 0.002303 | 0 | 0 | 0 | 0.026592 | 0.026592 | 0.026592 | -2.0155e-09 | 1.185e-11 | -1.5135e-11 | 0.00021635 | -9.4059e-05 | -9.4059e-05 | 1.7074e-12 | 1.0516e-11 | 5.0645e-12 | -0.037072 | -1.9505e-05 | -1.9505e-05 | 0 | 0 | 0 | 89.7138 | 89.7138 | 89.7138 | 1.3943 | 0.0043349 | 0.0043349 | 1.3941 | 0.0036123 | 0.0036123 | 0.019051 | -78.5799 | -78.5799 | 0.048168 | -78.5711 | -78.5711

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0069067 | 0.0069067 | 0.0069067 | 0.0046059 | 0.0046059 | 0.0046059 | 0.079752 | 0.079752 | 0.079752 | 0.053185 | 0.053185 | 0.053185 | 0.00076191 | -8.4718e-14 | 1.2585e-13 | -0.0004327 | 0.00018812 | 0.00018812 | -0.11112 | 9.1684e-14 | 2.6318e-14 | 0.074144 | 3.9009e-05 | 3.9009e-05 | 89.8009 | 89.8009 | 89.8009 | -90.2862 | -90.2862 | -90.2862 | 1.3934 | 0 | 0 | 1.3941 | 0.0036123 | 0.0036123 | 0.19378 | 0 | 0 | 0.048168 | -78.5711 | -78.5711
Line_1 | 0 | 0 | 0 | 0.002303 | 0.002303 | 0.002303 | 0 | 0 | 0 | 0.026592 | 0.026592 | 0.026592 | -2.0155e-09 | 1.185e-11 | -1.5135e-11 | 0.00021635 | -9.4059e-05 | -9.4059e-05 | 1.6942e-12 | 1.0516e-11 | 5.0645e-12 | -0.037072 | -1.9505e-05 | -1.9505e-05 | 0 | 0 | 0 | 89.7138 | 89.7138 | 89.7138 | 1.3943 | 0.0043349 | 0.0043349 | 1.3941 | 0.0036123 | 0.0036123 | 0.019051 | -78.5799 | -78.5799 | 0.048168 | -78.5711 | -78.5711
Line_2 | 0 | 0 | 0 | 0.002303 | 0.002303 | 0.002303 | 0 | 0 | 0 | 0.026592 | 0.026592 | 0.026592 | -2.0155e-09 | 1.185e-11 | -1.5135e-11 | 0.00021635 | -9.4059e-05 | -9.4059e-05 | 1.7074e-12 | 1.0516e-11 | 5.0645e-12 | -0.037072 | -1.9505e-05 | -1.9505e-05 | 0 | 0 | 0 | 89.7138 | 89.7138 | 89.7138 | 1.3943 | 0.0043349 | 0.0043349 | 1.3941 | 0.0036123 | 0.0036123 | 0.019051 | -78.5799 | -78.5799 | 0.048168 | -78.5711 | -78.5711

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0045797 | 0.0045797 | 0.0045797 | 0.0030541 | 0.0030541 | 0.0030541 | 0.052882 | 0.052882 | 0.052882 | 0.035266 | 0.035266 | 0.035266 | -0.015023 | -0.024304 | 0.039662 | 0.010036 | 0.016315 | -0.026376 | -0.064433 | 0.024189 | -0.0086147 | 0.043001 | -0.01609 | 0.0057219 | 106.7456 | 106.7456 | 106.7456 | -73.3415 | -73.3415 | -73.3415 | 1.2511 | 0.64843 | 0.76751 | 1.2521 | 0.64976 | 0.76532 | 3.6209 | -118.1188 | 94.4913 | 3.5214 | -117.9427 | 94.4187
Line_1 | 0 | 0 | 0 | 0.001527 | 0.001527 | 0.001527 | 0 | 0 | 0 | 0.017633 | 0.017633 | 0.017633 | -1.1672e-09 | 8.3255e-10 | 3.8417e-10 | -0.005018 | -0.0081575 | 0.013188 | 2.8044e-10 | 8.7026e-11 | -1.2116e-09 | -0.021501 | 0.0080448 | -0.0028609 | 0 | 0 | 0 | 106.6585 | 106.6585 | 106.6585 | 1.2523 | 0.65002 | 0.76488 | 1.2521 | 0.64976 | 0.76532 | 3.5015 | -117.9076 | 94.4041 | 3.5214 | -117.9427 | 94.4187
Line_2 | 0 | 0 | 0 | 0.001527 | 0.001527 | 0.001527 | 0 | 0 | 0 | 0.017633 | 0.017633 | 0.017633 | -1.1672e-09 | 8.3255e-10 | 3.8417e-10 | -0.005018 | -0.0081575 | 0.013188 | 2.8044e-10 | 8.7026e-11 | -1.2116e-09 | -0.021501 | 0.0080448 | -0.0028609 | 0 | 0 | 0 | 106.6585 | 106.6585 | 106.6585 | 1.2523 | 0.65002 | 0.76488 | 1.2521 | 0.64976 | 0.76532 | 3.5015 | -117.9076 | 94.4041 | 3.5214 | -117.9427 | 94.4187

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0045797 | 0.0045797 | 0.0045797 | 0.0030541 | 0.0030541 | 0.0030541 | 0.052882 | 0.052882 | 0.052882 | 0.035266 | 0.035266 | 0.035266 | -0.015023 | -0.024304 | 0.039662 | 0.010036 | 0.016315 | -0.026376 | -0.064433 | 0.024189 | -0.0086147 | 0.043001 | -0.01609 | 0.0057219 | 106.7456 | 106.7456 | 106.7456 | -73.3415 | -73.3415 | -73.3415 | 1.2511 | 0.64843 | 0.76751 | 1.2521 | 0.64976 | 0.76532 | 3.6209 | -118.1188 | 94.4913 | 3.5214 | -117.9427 | 94.4187
Line_1 | 0 | 0 | 0 | 0.001527 | 0.001527 | 0.001527 | 0 | 0 | 0 | 0.017633 | 0.017633 | 0.017633 | -1.1672e-09 | 8.3255e-10 | 3.8417e-10 | -0.005018 | -0.0081575 | 0.013188 | 2.8044e-10 | 8.7026e-11 | -1.2116e-09 | -0.021501 | 0.0080448 | -0.0028609 | 0 | 0 | 0 | 106.6585 | 106.6585 | 106.6585 | 1.2523 | 0.65002 | 0.76488 | 1.2521 | 0.64976 | 0.76532 | 3.5015 | -117.9076 | 94.4041 | 3.5214 | -117.9427 | 94.4187
Line_2 | 0 | 0 | 0 | 0.001527 | 0.001527 | 0.001527 | 0 | 0 | 0 | 0.017633 | 0.017633 | 0.017633 | -1.1672e-09 | 8.3255e-10 | 3.8417e-10 | -0.005018 | -0.0081575 | 0.013188 | 2.8044e-10 | 8.7026e-11 | -1.2116e-09 | -0.021501 | 0.0080448 | -0.0028609 | 0 | 0 | 0 | 106.6585 | 106.6585 | 106.6585 | 1.2523 | 0.65002 | 0.76488 | 1.2521 | 0.64976 | 0.76532 | 3.5015 | -117.9076 | 94.4041 | 3.5214 | -117.9427 | 94.4187