## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -4.1685e-14 | 30.1766 | -15.8685 | 3.6475e-14 | -23.0225 | 23.0225 | -5.3012e-28 | 3.131 | 13.1032 | 4.7303e-28 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 7.2865e-13 | -161.8563 | 152.6723 | 7.4306e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | -5.2106e-15 | 1.0421e-14 | -1.5632e-14 | 7.816e-15 | -1.0421e-14 | -1.0421e-14 | -1.9211e-09 | 1.9211e-09 | 1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.5161e-13 | -180 | 180 | 7.4306e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 5.2107e-15 | -1.0421e-14 | -5.2106e-15 | 7.816e-15 | 1.0421e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -6.7576e-29 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.4419e-13 | -180 | 180 | 7.4306e-13 | 180 | -180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -4.1685e-14 | 30.1766 | -15.8685 | 3.6475e-14 | -23.0225 | 23.0225 | -5.3012e-28 | 3.131 | 13.1032 | 4.7303e-28 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 7.2865e-13 | -161.8563 | 152.6723 | 7.4306e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | -5.2106e-15 | 1.0421e-14 | -1.5632e-14 | 7.816e-15 | -1.0421e-14 | -1.0421e-14 | -1.9211e-09 | 1.9211e-09 | 1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.5161e-13 | -180 | 180 | 7.4306e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 5.2107e-15 | -1.0421e-14 | -5.2106e-15 | 7.816e-15 | 1.0421e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -6.7576e-29 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.4419e-13 | -180 | 180 | 7.4306e-13 | 180 | -180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -1.0421e-14 | 19.0761 | -0.30087 | 7.816e-15 | -17.4596 | 1.9173 | -2.6053e-15 | 3.9919 | 15.2185 | 2.6053e-15 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 3.2426e-13 | -138.0936 | 121.2196 | 3.3323e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 4.7339e-10 | 1.0337e-09 | -1.3027e-14 | -4.7339e-10 | -1.0337e-09 | 3.0531e-29 | -1.3544e-09 | 3.8388e-10 | -7.5761e-29 | 1.3544e-09 | -3.8387e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.3572e-13 | -142.8673 | 128.239 | 3.3323e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | 4.7339e-10 | 1.0337e-09 | 0 | -4.7338e-10 | -1.0337e-09 | 2.6053e-15 | -1.3544e-09 | 3.8387e-10 | 0 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.3437e-13 | -142.8673 | 128.239 | 3.3323e-13 | -142.8673 | 128.239

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -1.0421e-14 | 19.0761 | -0.30087 | 7.816e-15 | -17.4596 | 1.9173 | -2.6053e-15 | 3.9919 | 15.2185 | 2.6053e-15 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 3.2426e-13 | -138.0936 | 121.2196 | 3.3323e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 4.7339e-10 | 1.0337e-09 | -1.3027e-14 | -4.7339e-10 | -1.0337e-09 | 3.0531e-29 | -1.3544e-09 | 3.8388e-10 | -7.5761e-29 | 1.3544e-09 | -3.8387e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.3572e-13 | -142.8673 | 128.239 | 3.3323e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | 4.7339e-10 | 1.0337e-09 | 0 | -4.7338e-10 | -1.0337e-09 | 2.6053e-15 | -1.3544e-09 | 3.8387e-10 | 0 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.3437e-13 | -142.8673 | 128.239 | 3.3323e-13 | -142.8673 | 128.239

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -7.1054e-15 | 26.5997 | -7.1734 | 4.737e-15 | -16.8865 | 16.8865 | -4.737e-15 | -0.51586 | 11.9957 | 4.737e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 5.0022e-13 | -160.7833 | 141.207 | 5.2934e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | -1.1841e-15 | 8.9933e-20 | -4.737e-15 | 4.7369e-15 | 2.3685e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 5.3259e-13 | -180 | 180 | 5.2934e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.1841e-15 | 4.737e-15 | 4.3764e-29 | 4.7369e-15 | -2.3685e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 5.1007e-13 | -180 | 180 | 5.2934e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -7.1054e-15 | 26.5997 | -7.1734 | 4.737e-15 | -16.8865 | 16.8865 | -4.737e-15 | -0.51586 | 11.9957 | 4.737e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 5.0022e-13 | -160.7833 | 141.207 | 5.2934e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | -1.1841e-15 | 8.9933e-20 | -4.737e-15 | 4.7369e-15 | 2.3685e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 5.3259e-13 | -180 | 180 | 5.2934e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.1841e-15 | 4.737e-15 | 4.3764e-29 | 4.7369e-15 | -2.3685e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 5.1007e-13 | -180 | 180 | 5.2934e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | -2.9606e-15 | 15.3932 | 0.73601 | 2.3685e-15 | -13.0917 | 1.5655 | -4.737e-15 | 2.3135 | 11.9328 | 2.3685e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 2.4132e-13 | -138.1765 | 119.7467 | 2.5404e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.9212e-16 | 4.7979e-10 | 8.2616e-10 | -1.7764e-15 | -4.7979e-10 | -8.2615e-10 | 2.3685e-15 | -1.0532e-09 | 4.5325e-10 | -2.3685e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.5371e-13 | -142.5584 | 131.6989 | 2.5404e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0109e-29 | 4.798e-10 | 8.2615e-10 | 5.9212e-16 | -4.798e-10 | -8.2615e-10 | 2.3685e-15 | -1.0532e-09 | 4.5325e-10 | -4.737e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.4455e-13 | -142.5584 | 131.6989 | 2.5404e-13 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | -2.9606e-15 | 15.3932 | 0.73601 | 2.3685e-15 | -13.0917 | 1.5655 | -4.737e-15 | 2.3135 | 11.9328 | 2.3685e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 2.4132e-13 | -138.1765 | 119.7467 | 2.5404e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.9212e-16 | 4.7979e-10 | 8.2616e-10 | -1.7764e-15 | -4.7979e-10 | -8.2615e-10 | 2.3685e-15 | -1.0532e-09 | 4.5325e-10 | -2.3685e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.5371e-13 | -142.5584 | 131.6989 | 2.5404e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0109e-29 | 4.798e-10 | 8.2615e-10 | 5.9212e-16 | -4.798e-10 | -8.2615e-10 | 2.3685e-15 | -1.0532e-09 | 4.5325e-10 | -4.737e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.4455e-13 | -142.5584 | 131.6989 | 2.5404e-13 | -142.5584 | 131.6989

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6237 | 0.011983 | 0.011983 | 1.6199 | 0.0081588 | 0.0081588 | 18.7485 | 0.13837 | 0.13837 | 18.7044 | 0.09421 | 0.09421 | 4.1926 | 0.14577 | -0.11773 | 7.277e-11 | -0.089793 | 0.0897 | 2.3281 | -0.16548 | -0.15736 | -4.118e-11 | 0.1163 | 0.11659 | -77.6473 | -88.236 | -88.236 | 102.3684 | 89.9067 | 89.9067 | 0.25579 | 1.5938 | 1.4203 | 0 | 1.5596 | 1.5615 | -48.6048 | -136.8587 | 144.9626 | 0 | -142.4221 | 142.3335
Line_1 | 0 | 0 | 0 | 0.0040794 | 0.0040794 | 0.0040794 | 0 | 0 | 0 | 0.047105 | 0.047105 | 0.047105 | -1.044e-12 | -3.1033e-09 | -3.1185e-09 | -2.0132e-13 | 0.044896 | -0.04485 | 2.6351e-12 | -2.4015e-09 | 2.3928e-09 | 6.1717e-14 | -0.058149 | -0.058296 | 0 | 0 | 0 | -90.0933 | -90.0933 | -90.0933 | 0.00070256 | 1.5594 | 1.5621 | 0 | 1.5596 | 1.5615 | 111.5784 | -142.4469 | 142.3203 | 0 | -142.4221 | 142.3335
Line_2 | 0 | 0 | 0 | 0.0040794 | 0.0040794 | 0.0040794 | 0 | 0 | 0 | 0.047105 | 0.047105 | 0.047105 | -1.044e-12 | -3.1033e-09 | -3.1185e-09 | -2.0132e-13 | 0.044896 | -0.04485 | 2.6351e-12 | -2.4015e-09 | 2.3928e-09 | 6.1717e-14 | -0.058149 | -0.058296 | 0 | 0 | 0 | -90.0933 | -90.0933 | -90.0933 | 0.00070256 | 1.5594 | 1.5621 | 0 | 1.5596 | 1.5615 | 111.5784 | -142.4469 | 142.3203 | 0 | -142.4221 | 142.3335

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6237 | 0.011983 | 0.011983 | 1.6199 | 0.0081588 | 0.0081588 | 18.7485 | 0.13837 | 0.13837 | 18.7044 | 0.09421 | 0.09421 | 4.1926 | 0.14577 | -0.11773 | 7.277e-11 | -0.089793 | 0.0897 | 2.3281 | -0.16548 | -0.15736 | -4.118e-11 | 0.1163 | 0.11659 | -77.6473 | -88.236 | -88.236 | 102.3684 | 89.9067 | 89.9067 | 0.25579 | 1.5938 | 1.4203 | 0 | 1.5596 | 1.5615 | -48.6048 | -136.8587 | 144.9626 | 0 | -142.4221 | 142.3335
Line_1 | 0 | 0 | 0 | 0.0040794 | 0.0040794 | 0.0040794 | 0 | 0 | 0 | 0.047105 | 0.047105 | 0.047105 | -1.044e-12 | -3.1033e-09 | -3.1185e-09 | -2.0132e-13 | 0.044896 | -0.04485 | 2.6351e-12 | -2.4015e-09 | 2.3928e-09 | 6.1717e-14 | -0.058149 | -0.058296 | 0 | 0 | 0 | -90.0933 | -90.0933 | -90.0933 | 0.00070256 | 1.5594 | 1.5621 | 0 | 1.5596 | 1.5615 | 111.5784 | -142.4469 | 142.3203 | 0 | -142.4221 | 142.3335
Line_2 | 0 | 0 | 0 | 0.0040794 | 0.0040794 | 0.0040794 | 0 | 0 | 0 | 0.047105 | 0.047105 | 0.047105 | -1.044e-12 | -3.1033e-09 | -3.1185e-09 | -2.0132e-13 | 0.044896 | -0.04485 | 2.6351e-12 | -2.4015e-09 | 2.3928e-09 | 6.1717e-14 | -0.058149 | -0.058296 | 0 | 0 | 0 | -90.0933 | -90.0933 | -90.0933 | 0.00070256 | 1.5594 | 1.5621 | 0 | 1.5596 | 1.5615 | 111.5784 | -142.4469 | 142.3203 | 0 | -142.4221 | 142.3335

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.89141 | 0.0065789 | 0.0065789 | 0.88932 | 0.0044793 | 0.0044793 | 10.2932 | 0.075966 | 0.075966 | 10.269 | 0.051722 | 0.051722 | 5.2026 | 0.06177 | -0.076535 | -3.9307 | -0.040018 | 0.05504 | 4.6514 | -0.086984 | -0.044322 | -3.9393 | 0.059911 | 0.033932 | -62.2683 | -72.857 | -72.857 | 117.7474 | 105.2857 | 105.2857 | 0.67799 | 1.4044 | 1.1642 | 0.54192 | 1.393 | 1.2501 | -20.4701 | -127.4773 | 137.2182 | -17.1901 | -130.9732 | 136.939
Line_1 | 0 | 0 | 0 | 0.0022396 | 0.0022396 | 0.0022396 | 0 | 0 | 0 | 0.025861 | 0.025861 | 0.025861 | 1.0116e-09 | -1.5988e-09 | -9.0879e-10 | 0.007525 | 0.020009 | -0.02752 | -6.4473e-10 | -1.0709e-09 | 1.4692e-09 | 0.011823 | -0.029955 | -0.016966 | 0 | 0 | 0 | -74.7143 | -74.7143 | -74.7143 | 0.5416 | 1.3929 | 1.2505 | 0.54192 | 1.393 | 1.2501 | -17.1662 | -130.9887 | 136.936 | -17.1901 | -130.9732 | 136.939
Line_2 | 0 | 0 | 0 | 0.0022396 | 0.0022396 | 0.0022396 | 0 | 0 | 0 | 0.025861 | 0.025861 | 0.025861 | 1.0116e-09 | -1.5988e-09 | -9.0881e-10 | 0.007525 | 0.020009 | -0.02752 | -6.4473e-10 | -1.0708e-09 | 1.4692e-09 | 0.011823 | -0.029955 | -0.016966 | 0 | 0 | 0 | -74.7143 | -74.7143 | -74.7143 | 0.5416 | 1.3929 | 1.2505 | 0.54192 | 1.393 | 1.2501 | -17.1662 | -130.9887 | 136.936 | -17.1901 | -130.9732 | 136.939

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.89141 | 0.0065789 | 0.0065789 | 0.88932 | 0.0044793 | 0.0044793 | 10.2932 | 0.075966 | 0.075966 | 10.269 | 0.051722 | 0.051722 | 5.2026 | 0.06177 | -0.076535 | -3.9307 | -0.040018 | 0.05504 | 4.6514 | -0.086984 | -0.044322 | -3.9393 | 0.059911 | 0.033932 | -62.2683 | -72.857 | -72.857 | 117.7474 | 105.2857 | 105.2857 | 0.67799 | 1.4044 | 1.1642 | 0.54192 | 1.393 | 1.2501 | -20.4701 | -127.4773 | 137.2182 | -17.1901 | -130.9732 | 136.939
Line_1 | 0 | 0 | 0 | 0.0022396 | 0.0022396 | 0.0022396 | 0 | 0 | 0 | 0.025861 | 0.025861 | 0.025861 | 1.0116e-09 | -1.5988e-09 | -9.0879e-10 | 0.007525 | 0.020009 | -0.02752 | -6.4473e-10 | -1.0709e-09 | 1.4692e-09 | 0.011823 | -0.029955 | -0.016966 | 0 | 0 | 0 | -74.7143 | -74.7143 | -74.7143 | 0.5416 | 1.3929 | 1.2505 | 0.54192 | 1.393 | 1.2501 | -17.1662 | -130.9887 | 136.936 | -17.1901 | -130.9732 | 136.939
Line_2 | 0 | 0 | 0 | 0.0022396 | 0.0022396 | 0.0022396 | 0 | 0 | 0 | 0.025861 | 0.025861 | 0.025861 | 1.0116e-09 | -1.5988e-09 | -9.0881e-10 | 0.007525 | 0.020009 | -0.02752 | -6.4473e-10 | -1.0708e-09 | 1.4692e-09 | 0.011823 | -0.029955 | -0.016966 | 0 | 0 | 0 | -74.7143 | -74.7143 | -74.7143 | 0.5416 | 1.3929 | 1.2505 | 0.54192 | 1.393 | 1.2501 | -17.1662 | -130.9887 | 136.936 | -17.1901 | -130.9732 | 136.939

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.3863 | 0.010678 | 0.010678 | 1.3831 | 0.0073811 | 0.0073811 | 16.0078 | 0.1233 | 0.1233 | 15.9702 | 0.08523 | 0.08523 | 5.8683 | 0.12633 | -0.087027 | -3.2017e-11 | -0.073877 | 0.073732 | 1.6824 | -0.12796 | -0.11871 | -1.095e-11 | 0.09434 | 0.096268 | -67.7606 | -87.5189 | -87.5189 | 112.2695 | 89.2519 | 89.2519 | 0.38136 | 1.4584 | 1.1938 | 0 | 1.4059 | 1.4227 | -51.7633 | -132.8844 | 146.2362 | 0 | -142.6839 | 141.8031
Line_1 | 0 | 0 | 0 | 0.0036905 | 0.0036905 | 0.0036905 | 0 | 0 | 0 | 0.042615 | 0.042615 | 0.042615 | -8.0889e-13 | -2.4891e-09 | -2.5836e-09 | 6.7207e-14 | 0.036939 | -0.036866 | 4.1691e-12 | -1.9908e-09 | 1.9362e-09 | 6.0297e-14 | -0.04717 | -0.048134 | 0 | 0 | 0 | -90.7481 | -90.7481 | -90.7481 | 0.001158 | 1.4054 | 1.4236 | 0 | 1.4059 | 1.4227 | 100.9147 | -142.7262 | 141.7726 | 0 | -142.6839 | 141.8031
Line_2 | 0 | 0 | 0 | 0.0036905 | 0.0036905 | 0.0036905 | 0 | 0 | 0 | 0.042615 | 0.042615 | 0.042615 | -8.089e-13 | -2.4891e-09 | -2.5836e-09 | 6.7207e-14 | 0.036939 | -0.036866 | 4.1691e-12 | -1.9908e-09 | 1.9362e-09 | 6.0297e-14 | -0.04717 | -0.048134 | 0 | 0 | 0 | -90.7481 | -90.7481 | -90.7481 | 0.001158 | 1.4054 | 1.4236 | 0 | 1.4059 | 1.4227 | 100.9147 | -142.7262 | 141.7726 | 0 | -142.6839 | 141.8031

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.3863 | 0.010678 | 0.010678 | 1.3831 | 0.0073811 | 0.0073811 | 16.0078 | 0.1233 | 0.1233 | 15.9702 | 0.08523 | 0.08523 | 5.8683 | 0.12633 | -0.087027 | -3.2017e-11 | -0.073877 | 0.073732 | 1.6824 | -0.12796 | -0.11871 | -1.095e-11 | 0.09434 | 0.096268 | -67.7606 | -87.5189 | -87.5189 | 112.2695 | 89.2519 | 89.2519 | 0.38136 | 1.4584 | 1.1938 | 0 | 1.4059 | 1.4227 | -51.7633 | -132.8844 | 146.2362 | 0 | -142.6839 | 141.8031
Line_1 | 0 | 0 | 0 | 0.0036905 | 0.0036905 | 0.0036905 | 0 | 0 | 0 | 0.042615 | 0.042615 | 0.042615 | -8.0889e-13 | -2.4891e-09 | -2.5836e-09 | 6.7207e-14 | 0.036939 | -0.036866 | 4.1691e-12 | -1.9908e-09 | 1.9362e-09 | 6.0297e-14 | -0.04717 | -0.048134 | 0 | 0 | 0 | -90.7481 | -90.7481 | -90.7481 | 0.001158 | 1.4054 | 1.4236 | 0 | 1.4059 | 1.4227 | 100.9147 | -142.7262 | 141.7726 | 0 | -142.6839 | 141.8031
Line_2 | 0 | 0 | 0 | 0.0036905 | 0.0036905 | 0.0036905 | 0 | 0 | 0 | 0.042615 | 0.042615 | 0.042615 | -8.089e-13 | -2.4891e-09 | -2.5836e-09 | 6.7207e-14 | 0.036939 | -0.036866 | 4.1691e-12 | -1.9908e-09 | 1.9362e-09 | 6.0297e-14 | -0.04717 | -0.048134 | 0 | 0 | 0 | -90.7481 | -90.7481 | -90.7481 | 0.001158 | 1.4054 | 1.4236 | 0 | 1.4059 | 1.4227 | 100.9147 | -142.7262 | 141.7726 | 0 | -142.6839 | 141.8031

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.76707 | 0.0059083 | 0.0059083 | 0.76527 | 0.0040841 | 0.0040841 | 8.8573 | 0.068223 | 0.068223 | 8.8365 | 0.047159 | 0.047159 | 4.7096 | 0.056884 | -0.058341 | -2.9077 | -0.036199 | 0.044343 | 3.4434 | -0.065264 | -0.039066 | -2.9199 | 0.046179 | 0.032586 | -57.4325 | -77.1908 | -77.1908 | 122.5976 | 99.58 | 99.58 | 0.65868 | 1.269 | 1.0292 | 0.46633 | 1.2442 | 1.1669 | -21.2604 | -126.1155 | 136.6161 | -12.2822 | -132.3282 | 135.8904
Line_1 | 0 | 0 | 0 | 0.002042 | 0.002042 | 0.002042 | 0 | 0 | 0 | 0.023579 | 0.023579 | 0.023579 | 8.7373e-10 | -1.2183e-09 | -8.802e-10 | 0.0040945 | 0.018099 | -0.022172 | -3.6155e-10 | -9.7592e-10 | 1.1711e-09 | 0.010205 | -0.02309 | -0.016293 | 0 | 0 | 0 | -80.42 | -80.42 | -80.42 | 0.46597 | 1.2439 | 1.1675 | 0.46633 | 1.2442 | 1.1669 | -12.2165 | -132.3547 | 135.8773 | -12.2822 | -132.3282 | 135.8904
Line_2 | 0 | 0 | 0 | 0.002042 | 0.002042 | 0.002042 | 0 | 0 | 0 | 0.023579 | 0.023579 | 0.023579 | 8.7373e-10 | -1.2183e-09 | -8.802e-10 | 0.0040945 | 0.018099 | -0.022172 | -3.6154e-10 | -9.759e-10 | 1.1711e-09 | 0.010205 | -0.02309 | -0.016293 | 0 | 0 | 0 | -80.42 | -80.42 | -80.42 | 0.46597 | 1.2439 | 1.1675 | 0.46633 | 1.2442 | 1.1669 | -12.2165 | -132.3547 | 135.8773 | -12.2822 | -132.3282 | 135.8904

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.76707 | 0.0059083 | 0.0059083 | 0.76527 | 0.0040841 | 0.0040841 | 8.8573 | 0.068223 | 0.068223 | 8.8365 | 0.047159 | 0.047159 | 4.7096 | 0.056884 | -0.058341 | -2.9077 | -0.036199 | 0.044343 | 3.4434 | -0.065264 | -0.039066 | -2.9199 | 0.046179 | 0.032586 | -57.4325 | -77.1908 | -77.1908 | 122.5976 | 99.58 | 99.58 | 0.65868 | 1.269 | 1.0292 | 0.46633 | 1.2442 | 1.1669 | -21.2604 | -126.1155 | 136.6161 | -12.2822 | -132.3282 | 135.8904
Line_1 | 0 | 0 | 0 | 0.002042 | 0.002042 | 0.002042 | 0 | 0 | 0 | 0.023579 | 0.023579 | 0.023579 | 8.7373e-10 | -1.2183e-09 | -8.802e-10 | 0.0040945 | 0.018099 | -0.022172 | -3.6155e-10 | -9.7592e-10 | 1.1711e-09 | 0.010205 | -0.02309 | -0.016293 | 0 | 0 | 0 | -80.42 | -80.42 | -80.42 | 0.46597 | 1.2439 | 1.1675 | 0.46633 | 1.2442 | 1.1669 | -12.2165 | -132.3547 | 135.8773 | -12.2822 | -132.3282 | 135.8904
Line_2 | 0 | 0 | 0 | 0.002042 | 0.002042 | 0.002042 | 0 | 0 | 0 | 0.023579 | 0.023579 | 0.023579 | 8.7373e-10 | -1.2183e-09 | -8.802e-10 | 0.0040945 | 0.018099 | -0.022172 | -3.6154e-10 | -9.759e-10 | 1.1711e-09 | 0.010205 | -0.02309 | -0.016293 | 0 | 0 | 0 | -80.42 | -80.42 | -80.42 | 0.46597 | 1.2439 | 1.1675 | 0.46633 | 1.2442 | 1.1669 | -12.2165 | -132.3547 | 135.8773 | -12.2822 | -132.3282 | 135.8904

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0073803 | 3.7441 | 3.7423 | 0.005025 | 3.744 | 3.7417 | 0.085221 | 43.2331 | 43.2121 | 0.058023 | 43.2325 | 43.2055 | 0.0032419 | 8.928 | 6.7216 | -3.5005e-05 | 1.0608e-10 | 1.2402e-10 | -0.12607 | 4.4525 | 12.3777 | 0.088341 | -7.2438e-11 | 2.1099e-11 | 91.8129 | -175.5103 | 19.9544 | -90.0444 | 4.5259 | -160.0807 | 1.4799 | 0.23076 | 0.32595 | 1.5225 | 0 | 0 | 3.2859 | -149.0044 | 81.4505 | -0.021743 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0025125 | 0.0025125 | 0.0025125 | 0 | 0 | 0 | 0.029012 | 0.029012 | 0.029012 | -2.3598e-09 | 1.0827e-12 | -1.7273e-12 | 1.7501e-05 | -4.2784e-14 | -4.1749e-14 | -3.9341e-12 | 1.3682e-12 | 2.5413e-13 | -0.044171 | -7.483e-14 | 7.3434e-14 | 0 | 0 | 0 | 89.9556 | 89.9556 | 89.9556 | 1.5227 | 0.0004327 | 0.0004327 | 1.5225 | 0 | 0 | -0.036876 | -68.3728 | -68.3728 | -0.021743 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0025125 | 0.0025125 | 0.0025125 | 0 | 0 | 0 | 0.029012 | 0.029012 | 0.029012 | -2.3599e-09 | 1.0827e-12 | -1.7273e-12 | 1.7501e-05 | -4.2784e-14 | -4.1749e-14 | -3.9485e-12 | 1.3682e-12 | 2.5414e-13 | -0.044171 | -7.483e-14 | 7.3434e-14 | 0 | 0 | 0 | 89.9556 | 89.9556 | 89.9556 | 1.5227 | 0.0004327 | 0.0004327 | 1.5225 | 0 | 0 | -0.036876 | -68.3728 | -68.3728 | -0.021743 | 0 | 0

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0073803 | 3.7441 | 3.7423 | 0.005025 | 3.744 | 3.7417 | 0.085221 | 43.2331 | 43.2121 | 0.058023 | 43.2325 | 43.2055 | 0.0032419 | 8.928 | 6.7216 | -3.5005e-05 | 1.0608e-10 | 1.2402e-10 | -0.12607 | 4.4525 | 12.3777 | 0.088341 | -7.2438e-11 | 2.1099e-11 | 91.8129 | -175.5103 | 19.9544 | -90.0444 | 4.5259 | -160.0807 | 1.4799 | 0.23076 | 0.32595 | 1.5225 | 0 | 0 | 3.2859 | -149.0044 | 81.4505 | -0.021743 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0025125 | 0.0025125 | 0.0025125 | 0 | 0 | 0 | 0.029012 | 0.029012 | 0.029012 | -2.3598e-09 | 1.0827e-12 | -1.7273e-12 | 1.7501e-05 | -4.2784e-14 | -4.1749e-14 | -3.9341e-12 | 1.3682e-12 | 2.5413e-13 | -0.044171 | -7.483e-14 | 7.3434e-14 | 0 | 0 | 0 | 89.9556 | 89.9556 | 89.9556 | 1.5227 | 0.0004327 | 0.0004327 | 1.5225 | 0 | 0 | -0.036876 | -68.3728 | -68.3728 | -0.021743 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0025125 | 0.0025125 | 0.0025125 | 0 | 0 | 0 | 0.029012 | 0.029012 | 0.029012 | -2.3599e-09 | 1.0827e-12 | -1.7273e-12 | 1.7501e-05 | -4.2784e-14 | -4.1749e-14 | -3.9485e-12 | 1.3682e-12 | 2.5414e-13 | -0.044171 | -7.483e-14 | 7.3434e-14 | 0 | 0 | 0 | 89.9556 | 89.9556 | 89.9556 | 1.5227 | 0.0004327 | 0.0004327 | 1.5225 | 0 | 0 | -0.036876 | -68.3728 | -68.3728 | -0.021743 | 0 | 0

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.004934 | 1.1158 | 1.2468 | 0.0033593 | 1.1159 | 1.2459 | 0.056973 | 12.8845 | 14.397 | 0.03879 | 12.8849 | 14.387 | -0.011611 | 7.143 | 8.7733 | 0.0084494 | -6.2094 | -7.7648 | -0.075467 | 6.2164 | 9.5529 | 0.052783 | -6.2466 | -7.7325 | 103.2697 | -161.7163 | 50.8041 | -78.5877 | 18.3649 | -129.2565 | 1.3402 | 0.73493 | 0.9009 | 1.378 | 0.68358 | 0.76168 | 4.5234 | -120.6839 | 98.2398 | 2.3176 | -116.464 | 95.6238
Line_1 | 0 | 0 | 0 | 0.0016797 | 0.0016797 | 0.0016797 | 0 | 0 | 0 | 0.019395 | 0.019395 | 0.019395 | -1.4103e-09 | 1.0383e-09 | 6.7126e-10 | -0.0042247 | -0.010465 | 0.014698 | 2.2379e-10 | 1.7109e-10 | -1.268e-09 | -0.026391 | 0.0081399 | -0.0014899 | 0 | 0 | 0 | 101.4124 | 101.4124 | 101.4123 | 1.3782 | 0.68372 | 0.76142 | 1.378 | 0.68358 | 0.76168 | 2.3073 | -116.4431 | 95.6138 | 2.3176 | -116.464 | 95.6238
Line_2 | 0 | 0 | 0 | 0.0016797 | 0.0016797 | 0.0016797 | 0 | 0 | 0 | 0.019395 | 0.019395 | 0.019395 | -1.4103e-09 | 1.0383e-09 | 6.7127e-10 | -0.0042247 | -0.010465 | 0.014698 | 2.2379e-10 | 1.7108e-10 | -1.268e-09 | -0.026391 | 0.0081399 | -0.0014899 | 0 | 0 | 0 | 101.4124 | 101.4124 | 101.4123 | 1.3782 | 0.68372 | 0.76142 | 1.378 | 0.68358 | 0.76168 | 2.3073 | -116.4431 | 95.6138 | 2.3176 | -116.464 | 95.6238

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.004934 | 1.1158 | 1.2468 | 0.0033593 | 1.1159 | 1.2459 | 0.056973 | 12.8845 | 14.397 | 0.03879 | 12.8849 | 14.387 | -0.011611 | 7.143 | 8.7733 | 0.0084494 | -6.2094 | -7.7648 | -0.075467 | 6.2164 | 9.5529 | 0.052783 | -6.2466 | -7.7325 | 103.2697 | -161.7163 | 50.8041 | -78.5877 | 18.3649 | -129.2565 | 1.3402 | 0.73493 | 0.9009 | 1.378 | 0.68358 | 0.76168 | 4.5234 | -120.6839 | 98.2398 | 2.3176 | -116.464 | 95.6238
Line_1 | 0 | 0 | 0 | 0.0016797 | 0.0016797 | 0.0016797 | 0 | 0 | 0 | 0.019395 | 0.019395 | 0.019395 | -1.4103e-09 | 1.0383e-09 | 6.7126e-10 | -0.0042247 | -0.010465 | 0.014698 | 2.2379e-10 | 1.7109e-10 | -1.268e-09 | -0.026391 | 0.0081399 | -0.0014899 | 0 | 0 | 0 | 101.4124 | 101.4124 | 101.4123 | 1.3782 | 0.68372 | 0.76142 | 1.378 | 0.68358 | 0.76168 | 2.3073 | -116.4431 | 95.6138 | 2.3176 | -116.464 | 95.6238
Line_2 | 0 | 0 | 0 | 0.0016797 | 0.0016797 | 0.0016797 | 0 | 0 | 0 | 0.019395 | 0.019395 | 0.019395 | -1.4103e-09 | 1.0383e-09 | 6.7127e-10 | -0.0042247 | -0.010465 | 0.014698 | 2.2379e-10 | 1.7108e-10 | -1.268e-09 | -0.026391 | 0.0081399 | -0.0014899 | 0 | 0 | 0 | 101.4124 | 101.4124 | 101.4123 | 1.3782 | 0.68372 | 0.76142 | 1.378 | 0.68358 | 0.76168 | 2.3073 | -116.4431 | 95.6138 | 2.3176 | -116.464 | 95.6238

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0065988 | 3.1655 | 3.132 | 0.0045614 | 3.1656 | 3.1313 | 0.076197 | 36.5523 | 36.1647 | 0.05267 | 36.5533 | 36.1574 | 0.0045797 | 11.7556 | 9.561 | -5.5376e-05 | -1.4098e-10 | 1.8894e-12 | -0.099674 | 0.56496 | 11.3495 | 0.072793 | -1.5007e-10 | -2.0493e-10 | 92.968 | -167.5001 | 28.2399 | -90.2613 | 12.5372 | -151.796 | 1.3095 | 0.32198 | 0.41034 | 1.3821 | 0 | 0 | 5.5986 | -164.7487 | 78.1284 | -0.21768 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0022807 | 0.0022807 | 0.0022807 | 0 | 0 | 0 | 0.026335 | 0.026335 | 0.026335 | -1.9371e-09 | 1.9663e-12 | -2.4888e-12 | 2.7687e-05 | -1.2793e-13 | 1.3056e-13 | -2.1835e-11 | 1.7353e-12 | 8.3685e-13 | -0.036396 | 7.5096e-14 | 7.2351e-14 | 0 | 0 | 0 | 89.7387 | 89.7387 | 89.7387 | 1.3822 | 0.00071561 | 0.00071561 | 1.3821 | 0 | 0 | -0.24674 | -78.5985 | -78.5985 | -0.21768 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0022807 | 0.0022807 | 0.0022807 | 0 | 0 | 0 | 0.026335 | 0.026335 | 0.026335 | -1.937e-09 | 1.9663e-12 | -2.4888e-12 | 2.7687e-05 | -1.2793e-13 | 1.3056e-13 | -2.1822e-11 | 1.7353e-12 | 8.3685e-13 | -0.036396 | 7.5096e-14 | 7.2351e-14 | 0 | 0 | 0 | 89.7387 | 89.7387 | 89.7387 | 1.3822 | 0.00071561 | 0.00071561 | 1.3821 | 0 | 0 | -0.24674 | -78.5985 | -78.5985 | -0.21768 | 0 | 0

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0065988 | 3.1655 | 3.132 | 0.0045614 | 3.1656 | 3.1313 | 0.076197 | 36.5523 | 36.1647 | 0.05267 | 36.5533 | 36.1574 | 0.0045797 | 11.7556 | 9.561 | -5.5376e-05 | -1.4098e-10 | 1.8894e-12 | -0.099674 | 0.56496 | 11.3495 | 0.072793 | -1.5007e-10 | -2.0493e-10 | 92.968 | -167.5001 | 28.2399 | -90.2613 | 12.5372 | -151.796 | 1.3095 | 0.32198 | 0.41034 | 1.3821 | 0 | 0 | 5.5986 | -164.7487 | 78.1284 | -0.21768 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0022807 | 0.0022807 | 0.0022807 | 0 | 0 | 0 | 0.026335 | 0.026335 | 0.026335 | -1.9371e-09 | 1.9663e-12 | -2.4888e-12 | 2.7687e-05 | -1.2793e-13 | 1.3056e-13 | -2.1835e-11 | 1.7353e-12 | 8.3685e-13 | -0.036396 | 7.5096e-14 | 7.2351e-14 | 0 | 0 | 0 | 89.7387 | 89.7387 | 89.7387 | 1.3822 | 0.00071561 | 0.00071561 | 1.3821 | 0 | 0 | -0.24674 | -78.5985 | -78.5985 | -0.21768 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0022807 | 0.0022807 | 0.0022807 | 0 | 0 | 0 | 0.026335 | 0.026335 | 0.026335 | -1.937e-09 | 1.9663e-12 | -2.4888e-12 | 2.7687e-05 | -1.2793e-13 | 1.3056e-13 | -2.1822e-11 | 1.7353e-12 | 8.3685e-13 | -0.036396 | 7.5096e-14 | 7.2351e-14 | 0 | 0 | 0 | 89.7387 | 89.7387 | 89.7387 | 1.3822 | 0.00071561 | 0.00071561 | 1.3821 | 0 | 0 | -0.24674 | -78.5985 | -78.5985 | -0.21768 | 0 | 0

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0044128 | 0.99818 | 1.0682 | 0.0030503 | 0.99825 | 1.0674 | 0.050954 | 11.526 | 12.334 | 0.035221 | 11.5268 | 12.3248 | -0.0054777 | 6.3149 | 7.1684 | 0.0045432 | -4.9713 | -5.6961 | -0.060644 | 4.4635 | 7.5725 | 0.043937 | -5.0009 | -5.6733 | 100.5049 | -159.2973 | 52.9084 | -82.7243 | 20.7816 | -127.152 | 1.195 | 0.67093 | 0.84541 | 1.2541 | 0.61174 | 0.65229 | 5.3436 | -124.044 | 99.4786 | 1.3721 | -114.0482 | 97.7331
Line_1 | 0 | 0 | 0 | 0.0015251 | 0.0015251 | 0.0015251 | 0 | 0 | 0 | 0.017611 | 0.017611 | 0.017611 | -1.1705e-09 | 8.5836e-10 | 6.538e-10 | -0.0022716 | -0.0092029 | 0.011487 | 1.0844e-10 | 2.339e-10 | -9.0594e-10 | -0.021968 | 0.0056007 | 9.171e-05 | 0 | 0 | 0 | 97.2757 | 97.2757 | 97.2757 | 1.2542 | 0.61209 | 0.65182 | 1.2541 | 0.61174 | 0.65229 | 1.3512 | -114.0177 | 97.725 | 1.3721 | -114.0482 | 97.7331
Line_2 | 0 | 0 | 0 | 0.0015251 | 0.0015251 | 0.0015251 | 0 | 0 | 0 | 0.017611 | 0.017611 | 0.017611 | -1.1705e-09 | 8.5837e-10 | 6.5379e-10 | -0.0022716 | -0.0092029 | 0.011487 | 1.0844e-10 | 2.3391e-10 | -9.0593e-10 | -0.021968 | 0.0056007 | 9.171e-05 | 0 | 0 | 0 | 97.2757 | 97.2757 | 97.2757 | 1.2542 | 0.61209 | 0.65182 | 1.2541 | 0.61174 | 0.65229 | 1.3512 | -114.0177 | 97.725 | 1.3721 | -114.0482 | 97.7331

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0044128 | 0.99818 | 1.0682 | 0.0030503 | 0.99825 | 1.0674 | 0.050954 | 11.526 | 12.334 | 0.035221 | 11.5268 | 12.3248 | -0.0054777 | 6.3149 | 7.1684 | 0.0045432 | -4.9713 | -5.6961 | -0.060644 | 4.4635 | 7.5725 | 0.043937 | -5.0009 | -5.6733 | 100.5049 | -159.2973 | 52.9084 | -82.7243 | 20.7816 | -127.152 | 1.195 | 0.67093 | 0.84541 | 1.2541 | 0.61174 | 0.65229 | 5.3436 | -124.044 | 99.4786 | 1.3721 | -114.0482 | 97.7331
Line_1 | 0 | 0 | 0 | 0.0015251 | 0.0015251 | 0.0015251 | 0 | 0 | 0 | 0.017611 | 0.017611 | 0.017611 | -1.1705e-09 | 8.5836e-10 | 6.538e-10 | -0.0022716 | -0.0092029 | 0.011487 | 1.0844e-10 | 2.339e-10 | -9.0594e-10 | -0.021968 | 0.0056007 | 9.171e-05 | 0 | 0 | 0 | 97.2757 | 97.2757 | 97.2757 | 1.2542 | 0.61209 | 0.65182 | 1.2541 | 0.61174 | 0.65229 | 1.3512 | -114.0177 | 97.725 | 1.3721 | -114.0482 | 97.7331
Line_2 | 0 | 0 | 0 | 0.0015251 | 0.0015251 | 0.0015251 | 0 | 0 | 0 | 0.017611 | 0.017611 | 0.017611 | -1.1705e-09 | 8.5837e-10 | 6.5379e-10 | -0.0022716 | -0.0092029 | 0.011487 | 1.0844e-10 | 2.3391e-10 | -9.0593e-10 | -0.021968 | 0.0056007 | 9.171e-05 | 0 | 0 | 0 | 97.2757 | 97.2757 | 97.2757 | 1.2542 | 0.61209 | 0.65182 | 1.2541 | 0.61174 | 0.65229 | 1.3512 | -114.0177 | 97.725 | 1.3721 | -114.0482 | 97.7331