## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | 2.8659e-14 | 3.1264e-14 | 1.5632e-14 | -1.0421e-14 | -3.1263e-14 | -1.0421e-14 | 5.7634e-09 | -5.7634e-09 | 1.5632e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.468e-13 | -180 | 180 | 9.7946e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 7.8162e-15 | 2.052e-19 | -1.0421e-14 | 1.0421e-14 | -1.5762e-19 | 2.0843e-14 | -1.9211e-09 | 1.9211e-09 | -2.0843e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.8108e-13 | -180 | 180 | 9.7946e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -1.3026e-14 | 1.0421e-14 | -1.0421e-14 | 2.0842e-14 | -2.0843e-14 | -8.9203e-29 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.8087e-13 | -180 | 180 | 9.7946e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | 2.8659e-14 | 3.1264e-14 | 1.5632e-14 | -1.0421e-14 | -3.1263e-14 | -1.0421e-14 | 5.7634e-09 | -5.7634e-09 | 1.5632e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.468e-13 | -180 | 180 | 9.7946e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 7.8162e-15 | 2.052e-19 | -1.0421e-14 | 1.0421e-14 | -1.5762e-19 | 2.0843e-14 | -1.9211e-09 | 1.9211e-09 | -2.0843e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.8108e-13 | -180 | 180 | 9.7946e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -1.3026e-14 | 1.0421e-14 | -1.0421e-14 | 2.0842e-14 | -2.0843e-14 | -8.9203e-29 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.8087e-13 | -180 | 180 | 9.7946e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.6475e-14 | -7.3074e-10 | -2.0393e-09 | 2.6053e-14 | 7.3076e-10 | 2.0393e-09 | -1.0421e-14 | 5.8225e-09 | -3.5561e-09 | 1.0421e-14 | -5.8225e-09 | 3.5561e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 8.0375e-13 | -164.9034 | 158.1097 | 8.2849e-13 | -164.9034 | 158.1097
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4357e-10 | 6.7977e-10 | -1.0421e-14 | -2.4357e-10 | -6.7977e-10 | 0 | -1.9408e-09 | 1.1853e-09 | -1.5069e-28 | 1.9408e-09 | -1.1853e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 8.2915e-13 | -164.9034 | 158.1097 | 8.2849e-13 | -164.9034 | 158.1097
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 2.4359e-10 | 6.7977e-10 | -5.2106e-15 | -2.4358e-10 | -6.7977e-10 | -1.0421e-14 | -1.9408e-09 | 1.1854e-09 | 5.2106e-15 | 1.9409e-09 | -1.1854e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 8.3012e-13 | -164.9034 | 158.1097 | 8.2849e-13 | -164.9034 | 158.1097

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.6475e-14 | -7.3074e-10 | -2.0393e-09 | 2.6053e-14 | 7.3076e-10 | 2.0393e-09 | -1.0421e-14 | 5.8225e-09 | -3.5561e-09 | 1.0421e-14 | -5.8225e-09 | 3.5561e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 8.0375e-13 | -164.9034 | 158.1097 | 8.2849e-13 | -164.9034 | 158.1097
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4357e-10 | 6.7977e-10 | -1.0421e-14 | -2.4357e-10 | -6.7977e-10 | 0 | -1.9408e-09 | 1.1853e-09 | -1.5069e-28 | 1.9408e-09 | -1.1853e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 8.2915e-13 | -164.9034 | 158.1097 | 8.2849e-13 | -164.9034 | 158.1097
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 2.4359e-10 | 6.7977e-10 | -5.2106e-15 | -2.4358e-10 | -6.7977e-10 | -1.0421e-14 | -1.9408e-09 | 1.1854e-09 | 5.2106e-15 | 1.9409e-09 | -1.1854e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 8.3012e-13 | -164.9034 | 158.1097 | 8.2849e-13 | -164.9034 | 158.1097

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | 3.5526e-15 | -4.7371e-15 | 2.3685e-14 | 4.7377e-15 | 7.1062e-15 | 4.737e-15 | 4.7631e-09 | -4.7631e-09 | 3.3396e-28 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.3851e-13 | -180 | 180 | 8.0789e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 3.553e-15 | -4.7366e-15 | 2.3685e-15 | -2.6061e-19 | 7.1052e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | 3.3396e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.3126e-13 | -180 | 180 | 8.0789e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -1.1839e-15 | 9.4742e-15 | 4.737e-15 | 4.7367e-15 | -2.3687e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | 6.6793e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.8903e-13 | -180 | 180 | 8.0789e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | 3.5526e-15 | -4.7371e-15 | 2.3685e-14 | 4.7377e-15 | 7.1062e-15 | 4.737e-15 | 4.7631e-09 | -4.7631e-09 | 3.3396e-28 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.3851e-13 | -180 | 180 | 8.0789e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 3.553e-15 | -4.7366e-15 | 2.3685e-15 | -2.6061e-19 | 7.1052e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | 3.3396e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.3126e-13 | -180 | 180 | 8.0789e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -1.1839e-15 | 9.4742e-15 | 4.737e-15 | 4.7367e-15 | -2.3687e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | 6.6793e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.8903e-13 | -180 | 180 | 8.0789e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4211e-14 | -5.5595e-10 | -1.5515e-09 | 1.6579e-14 | 5.5596e-10 | 1.5515e-09 | -7.1054e-15 | 4.8331e-09 | -3.1089e-09 | 7.1054e-15 | -4.8331e-09 | 3.1089e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 6.3613e-13 | -166.2936 | 160.6236 | 6.9149e-13 | -166.2936 | 160.6236
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 1.8532e-10 | 5.1715e-10 | -2.8585e-29 | -1.8531e-10 | -5.1715e-10 | -2.3685e-15 | -1.611e-09 | 1.0363e-09 | 2.3685e-15 | 1.611e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 7.0772e-13 | -166.2936 | 160.6236 | 6.9149e-13 | -166.2936 | 160.6236
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 1.8533e-10 | 5.1715e-10 | 4.737e-15 | -1.8533e-10 | -5.1715e-10 | 7.1054e-15 | -1.6111e-09 | 1.0363e-09 | -9.4739e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 6.754e-13 | -166.2936 | 160.6236 | 6.9149e-13 | -166.2936 | 160.6236

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4211e-14 | -5.5595e-10 | -1.5515e-09 | 1.6579e-14 | 5.5596e-10 | 1.5515e-09 | -7.1054e-15 | 4.8331e-09 | -3.1089e-09 | 7.1054e-15 | -4.8331e-09 | 3.1089e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 6.3613e-13 | -166.2936 | 160.6236 | 6.9149e-13 | -166.2936 | 160.6236
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 1.8532e-10 | 5.1715e-10 | -2.8585e-29 | -1.8531e-10 | -5.1715e-10 | -2.3685e-15 | -1.611e-09 | 1.0363e-09 | 2.3685e-15 | 1.611e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 7.0772e-13 | -166.2936 | 160.6236 | 6.9149e-13 | -166.2936 | 160.6236
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 1.8533e-10 | 5.1715e-10 | 4.737e-15 | -1.8533e-10 | -5.1715e-10 | 7.1054e-15 | -1.6111e-09 | 1.0363e-09 | -9.4739e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 6.754e-13 | -166.2936 | 160.6236 | 6.9149e-13 | -166.2936 | 160.6236

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0054839 | 0.0054839 | 0.0054839 | 0.0036571 | 0.0036571 | 0.0036571 | 0.063323 | 0.063323 | 0.063323 | 0.042229 | 0.042229 | 0.042229 | -7.3165e-07 | 0.060449 | -0.060198 | 6.2118e-05 | -0.040268 | 0.040188 | -0.00026426 | -0.03471 | -0.035082 | 0.00020081 | 0.02314 | 0.023452 | -90.1767 | -90.1766 | -90.1766 | 89.7779 | 89.778 | 89.778 | 0.0041733 | 1.1008 | 1.1003 | 0.0049776 | 1.0998 | 1.1019 | 179.6647 | -120.0414 | 120.0562 | 162.5893 | -120.1056 | 120.0439
Line_1 | 0 | 0 | 0 | 0.0018286 | 0.0018286 | 0.0018286 | 0 | 0 | 0 | 0.021114 | 0.021114 | 0.021114 | -1.972e-11 | 1.5671e-12 | -8.7533e-12 | -3.1059e-05 | 0.020134 | -0.020094 | 7.1894e-12 | -9.2002e-12 | 3.2171e-12 | -0.00010041 | -0.01157 | -0.011726 | 0 | 0 | 0 | -90.222 | -90.222 | -90.222 | 0.005181 | 1.0996 | 1.1022 | 0.0049776 | 1.0998 | 1.1019 | 159.8765 | -120.1185 | 120.0415 | 162.5893 | -120.1056 | 120.0439
Line_2 | 0 | 0 | 0 | 0.0018286 | 0.0018286 | 0.0018286 | 0 | 0 | 0 | 0.021114 | 0.021114 | 0.021114 | -1.972e-11 | 1.5588e-12 | -8.7462e-12 | -3.1059e-05 | 0.020134 | -0.020094 | 7.1894e-12 | -9.1833e-12 | 3.2152e-12 | -0.00010041 | -0.01157 | -0.011726 | 0 | 0 | 0 | -90.222 | -90.222 | -90.222 | 0.005181 | 1.0996 | 1.1022 | 0.0049776 | 1.0998 | 1.1019 | 159.8765 | -120.1185 | 120.0415 | 162.5893 | -120.1056 | 120.0439

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0054839 | 0.0054839 | 0.0054839 | 0.0036571 | 0.0036571 | 0.0036571 | 0.063323 | 0.063323 | 0.063323 | 0.042229 | 0.042229 | 0.042229 | -7.3165e-07 | 0.060449 | -0.060198 | 6.2118e-05 | -0.040268 | 0.040188 | -0.00026426 | -0.03471 | -0.035082 | 0.00020081 | 0.02314 | 0.023452 | -90.1767 | -90.1766 | -90.1766 | 89.7779 | 89.778 | 89.778 | 0.0041733 | 1.1008 | 1.1003 | 0.0049776 | 1.0998 | 1.1019 | 179.6647 | -120.0414 | 120.0562 | 162.5893 | -120.1056 | 120.0439
Line_1 | 0 | 0 | 0 | 0.0018286 | 0.0018286 | 0.0018286 | 0 | 0 | 0 | 0.021114 | 0.021114 | 0.021114 | -1.972e-11 | 1.5671e-12 | -8.7533e-12 | -3.1059e-05 | 0.020134 | -0.020094 | 7.1894e-12 | -9.2002e-12 | 3.2171e-12 | -0.00010041 | -0.01157 | -0.011726 | 0 | 0 | 0 | -90.222 | -90.222 | -90.222 | 0.005181 | 1.0996 | 1.1022 | 0.0049776 | 1.0998 | 1.1019 | 159.8765 | -120.1185 | 120.0415 | 162.5893 | -120.1056 | 120.0439
Line_2 | 0 | 0 | 0 | 0.0018286 | 0.0018286 | 0.0018286 | 0 | 0 | 0 | 0.021114 | 0.021114 | 0.021114 | -1.972e-11 | 1.5588e-12 | -8.7462e-12 | -3.1059e-05 | 0.020134 | -0.020094 | 7.1894e-12 | -9.1833e-12 | 3.2152e-12 | -0.00010041 | -0.01157 | -0.011726 | 0 | 0 | 0 | -90.222 | -90.222 | -90.222 | 0.005181 | 1.0996 | 1.1022 | 0.0049776 | 1.0998 | 1.1019 | 159.8765 | -120.1185 | 120.0415 | 162.5893 | -120.1056 | 120.0439

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0037768 | 0.0037768 | 0.0037768 | 0.0025187 | 0.0025187 | 0.0025187 | 0.043611 | 0.043611 | 0.043611 | 0.029083 | 0.029083 | 0.029083 | 0.011107 | 0.034943 | -0.045931 | -0.0073708 | -0.023291 | 0.030653 | 0.013529 | -0.03291 | -0.013847 | -0.0090162 | 0.02194 | 0.0092705 | -76.737 | -76.737 | -76.737 | 103.2176 | 103.2176 | 103.2176 | 0.40137 | 1.1007 | 1.1 | 0.40042 | 1.1002 | 1.1011 | -26.1238 | -120.0212 | 120.0401 | -26.0486 | -120.0724 | 120.0449
Line_1 | 0 | 0 | 0 | 0.0012593 | 0.0012593 | 0.0012593 | 0 | 0 | 0 | 0.014542 | 0.014542 | 0.014542 | 8.6314e-10 | -4.1545e-13 | -5.3402e-12 | 0.0036854 | 0.011645 | -0.015326 | -7.0849e-10 | -6.4027e-12 | 3.5565e-12 | 0.0045081 | -0.01097 | -0.0046352 | 0 | 0 | 0 | -76.7824 | -76.7824 | -76.7824 | 0.40023 | 1.1001 | 1.1013 | 0.40042 | 1.1002 | 1.1011 | -26.0336 | -120.0826 | 120.0458 | -26.0486 | -120.0724 | 120.0449
Line_2 | 0 | 0 | 0 | 0.0012593 | 0.0012593 | 0.0012593 | 0 | 0 | 0 | 0.014542 | 0.014542 | 0.014542 | 8.6313e-10 | -4.2637e-13 | -5.3421e-12 | 0.0036854 | 0.011645 | -0.015326 | -7.0849e-10 | -6.3903e-12 | 3.5493e-12 | 0.0045081 | -0.01097 | -0.0046352 | 0 | 0 | 0 | -76.7824 | -76.7824 | -76.7824 | 0.40023 | 1.1001 | 1.1013 | 0.40042 | 1.1002 | 1.1011 | -26.0336 | -120.0826 | 120.0458 | -26.0486 | -120.0724 | 120.0449

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0037768 | 0.0037768 | 0.0037768 | 0.0025187 | 0.0025187 | 0.0025187 | 0.043611 | 0.043611 | 0.043611 | 0.029083 | 0.029083 | 0.029083 | 0.011107 | 0.034943 | -0.045931 | -0.0073708 | -0.023291 | 0.030653 | 0.013529 | -0.03291 | -0.013847 | -0.0090162 | 0.02194 | 0.0092705 | -76.737 | -76.737 | -76.737 | 103.2176 | 103.2176 | 103.2176 | 0.40137 | 1.1007 | 1.1 | 0.40042 | 1.1002 | 1.1011 | -26.1238 | -120.0212 | 120.0401 | -26.0486 | -120.0724 | 120.0449
Line_1 | 0 | 0 | 0 | 0.0012593 | 0.0012593 | 0.0012593 | 0 | 0 | 0 | 0.014542 | 0.014542 | 0.014542 | 8.6314e-10 | -4.1545e-13 | -5.3402e-12 | 0.0036854 | 0.011645 | -0.015326 | -7.0849e-10 | -6.4027e-12 | 3.5565e-12 | 0.0045081 | -0.01097 | -0.0046352 | 0 | 0 | 0 | -76.7824 | -76.7824 | -76.7824 | 0.40023 | 1.1001 | 1.1013 | 0.40042 | 1.1002 | 1.1011 | -26.0336 | -120.0826 | 120.0458 | -26.0486 | -120.0724 | 120.0449
Line_2 | 0 | 0 | 0 | 0.0012593 | 0.0012593 | 0.0012593 | 0 | 0 | 0 | 0.014542 | 0.014542 | 0.014542 | 8.6313e-10 | -4.2637e-13 | -5.3421e-12 | 0.0036854 | 0.011645 | -0.015326 | -7.0849e-10 | -6.3903e-12 | 3.5493e-12 | 0.0045081 | -0.01097 | -0.0046352 | 0 | 0 | 0 | -76.7824 | -76.7824 | -76.7824 | 0.40023 | 1.1001 | 1.1013 | 0.40042 | 1.1002 | 1.1011 | -26.0336 | -120.0826 | 120.0458 | -26.0486 | -120.0724 | 120.0449

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0049804 | 0.0049804 | 0.0049804 | 0.0033213 | 0.0033213 | 0.0033213 | 0.057509 | 0.057509 | 0.057509 | 0.038351 | 0.038351 | 0.038351 | -1.1885e-06 | 0.050002 | -0.049605 | 9.8394e-05 | -0.033276 | 0.033148 | -0.00021399 | -0.028468 | -0.029101 | 0.00016299 | 0.018954 | 0.019477 | -90.3645 | -90.3644 | -90.3644 | 89.5484 | 89.5484 | 89.5484 | 0.003721 | 1.0005 | 1 | 0.0049642 | 0.99854 | 1.0025 | 179.3173 | -120.0186 | 120.0341 | 148.4295 | -120.1172 | 119.9862
Line_1 | 0 | 0 | 0 | 0.0016607 | 0.0016607 | 0.0016607 | 0 | 0 | 0 | 0.019176 | 0.019176 | 0.019176 | -1.5984e-11 | 6.7506e-12 | -1.1009e-11 | -4.9197e-05 | 0.016638 | -0.016574 | 1.1404e-11 | -8.7404e-12 | -1.4938e-12 | -8.1494e-05 | -0.0094769 | -0.0097387 | 0 | 0 | 0 | -90.4516 | -90.4516 | -90.4516 | 0.0053319 | 0.99815 | 1.003 | 0.0049642 | 0.99854 | 1.0025 | 144.3163 | -120.1369 | 119.9766 | 148.4295 | -120.1172 | 119.9862
Line_2 | 0 | 0 | 0 | 0.0016607 | 0.0016607 | 0.0016607 | 0 | 0 | 0 | 0.019176 | 0.019176 | 0.019176 | -1.5984e-11 | 6.7492e-12 | -1.1004e-11 | -4.9197e-05 | 0.016638 | -0.016574 | 1.1404e-11 | -8.7287e-12 | -1.4967e-12 | -8.1494e-05 | -0.0094769 | -0.0097387 | 0 | 0 | 0 | -90.4516 | -90.4516 | -90.4516 | 0.0053319 | 0.99815 | 1.003 | 0.0049642 | 0.99854 | 1.0025 | 144.3163 | -120.1369 | 119.9766 | 148.4295 | -120.1172 | 119.9862

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0049804 | 0.0049804 | 0.0049804 | 0.0033213 | 0.0033213 | 0.0033213 | 0.057509 | 0.057509 | 0.057509 | 0.038351 | 0.038351 | 0.038351 | -1.1885e-06 | 0.050002 | -0.049605 | 9.8394e-05 | -0.033276 | 0.033148 | -0.00021399 | -0.028468 | -0.029101 | 0.00016299 | 0.018954 | 0.019477 | -90.3645 | -90.3644 | -90.3644 | 89.5484 | 89.5484 | 89.5484 | 0.003721 | 1.0005 | 1 | 0.0049642 | 0.99854 | 1.0025 | 179.3173 | -120.0186 | 120.0341 | 148.4295 | -120.1172 | 119.9862
Line_1 | 0 | 0 | 0 | 0.0016607 | 0.0016607 | 0.0016607 | 0 | 0 | 0 | 0.019176 | 0.019176 | 0.019176 | -1.5984e-11 | 6.7506e-12 | -1.1009e-11 | -4.9197e-05 | 0.016638 | -0.016574 | 1.1404e-11 | -8.7404e-12 | -1.4938e-12 | -8.1494e-05 | -0.0094769 | -0.0097387 | 0 | 0 | 0 | -90.4516 | -90.4516 | -90.4516 | 0.0053319 | 0.99815 | 1.003 | 0.0049642 | 0.99854 | 1.0025 | 144.3163 | -120.1369 | 119.9766 | 148.4295 | -120.1172 | 119.9862
Line_2 | 0 | 0 | 0 | 0.0016607 | 0.0016607 | 0.0016607 | 0 | 0 | 0 | 0.019176 | 0.019176 | 0.019176 | -1.5984e-11 | 6.7492e-12 | -1.1004e-11 | -4.9197e-05 | 0.016638 | -0.016574 | 1.1404e-11 | -8.7287e-12 | -1.4967e-12 | -8.1494e-05 | -0.0094769 | -0.0097387 | 0 | 0 | 0 | -90.4516 | -90.4516 | -90.4516 | 0.0053319 | 0.99815 | 1.003 | 0.0049642 | 0.99854 | 1.0025 | 144.3163 | -120.1369 | 119.9766 | 148.4295 | -120.1172 | 119.9862

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0035705 | 0.0035705 | 0.0035705 | 0.0023811 | 0.0023811 | 0.0023811 | 0.041228 | 0.041228 | 0.041228 | 0.027494 | 0.027494 | 0.027494 | 0.0087122 | 0.030679 | -0.039187 | -0.0057489 | -0.020437 | 0.02617 | 0.010671 | -0.027567 | -0.012801 | -0.0071149 | 0.018363 | 0.0085871 | -78.0667 | -78.0667 | -78.0667 | 101.8461 | 101.8462 | 101.8462 | 0.33414 | 1.0004 | 0.99993 | 0.3327 | 0.99929 | 1.0018 | -27.2952 | -120.0086 | 120.0242 | -27.0922 | -120.0948 | 120.0121
Line_1 | 0 | 0 | 0 | 0.0011905 | 0.0011905 | 0.0011905 | 0 | 0 | 0 | 0.013747 | 0.013747 | 0.013747 | 6.8034e-10 | 3.3913e-12 | -7.9269e-12 | 0.0028744 | 0.010218 | -0.013085 | -5.5431e-10 | -7.1641e-12 | 6.2576e-13 | 0.0035575 | -0.0091815 | -0.0042936 | 0 | 0 | 0 | -78.1538 | -78.1538 | -78.1538 | 0.33241 | 0.99907 | 1.0022 | 0.3327 | 0.99929 | 1.0018 | -27.0513 | -120.112 | 120.0097 | -27.0922 | -120.0948 | 120.0121
Line_2 | 0 | 0 | 0 | 0.0011905 | 0.0011905 | 0.0011905 | 0 | 0 | 0 | 0.013747 | 0.013747 | 0.013747 | 6.8034e-10 | 3.3981e-12 | -7.9225e-12 | 0.0028744 | 0.010218 | -0.013085 | -5.5431e-10 | -7.1571e-12 | 6.2283e-13 | 0.0035575 | -0.0091815 | -0.0042936 | 0 | 0 | 0 | -78.1538 | -78.1538 | -78.1538 | 0.33241 | 0.99907 | 1.0022 | 0.3327 | 0.99929 | 1.0018 | -27.0513 | -120.112 | 120.0097 | -27.0922 | -120.0948 | 120.0121

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0035705 | 0.0035705 | 0.0035705 | 0.0023811 | 0.0023811 | 0.0023811 | 0.041228 | 0.041228 | 0.041228 | 0.027494 | 0.027494 | 0.027494 | 0.0087122 | 0.030679 | -0.039187 | -0.0057489 | -0.020437 | 0.02617 | 0.010671 | -0.027567 | -0.012801 | -0.0071149 | 0.018363 | 0.0085871 | -78.0667 | -78.0667 | -78.0667 | 101.8461 | 101.8462 | 101.8462 | 0.33414 | 1.0004 | 0.99993 | 0.3327 | 0.99929 | 1.0018 | -27.2952 | -120.0086 | 120.0242 | -27.0922 | -120.0948 | 120.0121
Line_1 | 0 | 0 | 0 | 0.0011905 | 0.0011905 | 0.0011905 | 0 | 0 | 0 | 0.013747 | 0.013747 | 0.013747 | 6.8034e-10 | 3.3913e-12 | -7.9269e-12 | 0.0028744 | 0.010218 | -0.013085 | -5.5431e-10 | -7.1641e-12 | 6.2576e-13 | 0.0035575 | -0.0091815 | -0.0042936 | 0 | 0 | 0 | -78.1538 | -78.1538 | -78.1538 | 0.33241 | 0.99907 | 1.0022 | 0.3327 | 0.99929 | 1.0018 | -27.0513 | -120.112 | 120.0097 | -27.0922 | -120.0948 | 120.0121
Line_2 | 0 | 0 | 0 | 0.0011905 | 0.0011905 | 0.0011905 | 0 | 0 | 0 | 0.013747 | 0.013747 | 0.013747 | 6.8034e-10 | 3.3981e-12 | -7.9225e-12 | 0.0028744 | 0.010218 | -0.013085 | -5.5431e-10 | -7.1571e-12 | 6.2283e-13 | 0.0035575 | -0.0091815 | -0.0042936 | 0 | 0 | 0 | -78.1538 | -78.1538 | -78.1538 | 0.33241 | 0.99907 | 1.0022 | 0.3327 | 0.99929 | 1.0018 | -27.0513 | -120.112 | 120.0097 | -27.0922 | -120.0948 | 120.0121

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0054994 | 0.0054994 | 0.0054994 | 0.0036674 | 0.0036674 | 0.0036674 | 0.063502 | 0.063502 | 0.063502 | 0.042348 | 0.042348 | 0.042348 | 0.00025306 | -7.3579e-07 | -7.3579e-07 | -0.00014358 | 6.2468e-05 | 6.2468e-05 | -0.06992 | -0.00026576 | -0.00026575 | 0.046653 | 0.00020194 | 0.00020194 | 89.8073 | 89.8073 | 89.8073 | -90.238 | -90.2381 | -90.2381 | 1.1011 | 0.004185 | 0.004185 | 1.1017 | 0.0049917 | 0.0049917 | 0.014708 | -0.3513 | -0.3513 | -0.061714 | -17.4267 | -17.4267
Line_1 | 0 | 0 | 0 | 0.0018337 | 0.0018337 | 0.0018337 | 0 | 0 | 0 | 0.021174 | 0.021174 | 0.021174 | -7.1738e-12 | -3.6877e-12 | -1.6185e-11 | 7.179e-05 | -3.1234e-05 | -3.1234e-05 | -5.961e-12 | 2.0646e-11 | -1.3431e-11 | -0.023326 | -0.00010097 | -0.00010097 | 0 | 0 | 0 | 89.762 | 89.7619 | 89.7619 | 1.1018 | 0.0051956 | 0.0051956 | 1.1017 | 0.0049917 | 0.0049917 | -0.076995 | -20.1395 | -20.1395 | -0.061714 | -17.4267 | -17.4267
Line_2 | 0 | 0 | 0 | 0.0018337 | 0.0018337 | 0.0018337 | 0 | 0 | 0 | 0.021174 | 0.021174 | 0.021174 | -7.2104e-12 | -3.6875e-12 | -1.6185e-11 | 7.179e-05 | -3.1234e-05 | -3.1234e-05 | -5.9714e-12 | 2.0646e-11 | -1.3431e-11 | -0.023326 | -0.00010097 | -0.00010097 | 0 | 0 | 0 | 89.762 | 89.7619 | 89.7619 | 1.1018 | 0.0051956 | 0.0051956 | 1.1017 | 0.0049917 | 0.0049917 | -0.076995 | -20.1395 | -20.1395 | -0.061714 | -17.4267 | -17.4267

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0054994 | 0.0054994 | 0.0054994 | 0.0036674 | 0.0036674 | 0.0036674 | 0.063502 | 0.063502 | 0.063502 | 0.042348 | 0.042348 | 0.042348 | 0.00025306 | -7.3579e-07 | -7.3579e-07 | -0.00014358 | 6.2468e-05 | 6.2468e-05 | -0.06992 | -0.00026576 | -0.00026575 | 0.046653 | 0.00020194 | 0.00020194 | 89.8073 | 89.8073 | 89.8073 | -90.238 | -90.2381 | -90.2381 | 1.1011 | 0.004185 | 0.004185 | 1.1017 | 0.0049917 | 0.0049917 | 0.014708 | -0.3513 | -0.3513 | -0.061714 | -17.4267 | -17.4267
Line_1 | 0 | 0 | 0 | 0.0018337 | 0.0018337 | 0.0018337 | 0 | 0 | 0 | 0.021174 | 0.021174 | 0.021174 | -7.1738e-12 | -3.6877e-12 | -1.6185e-11 | 7.179e-05 | -3.1234e-05 | -3.1234e-05 | -5.961e-12 | 2.0646e-11 | -1.3431e-11 | -0.023326 | -0.00010097 | -0.00010097 | 0 | 0 | 0 | 89.762 | 89.7619 | 89.7619 | 1.1018 | 0.0051956 | 0.0051956 | 1.1017 | 0.0049917 | 0.0049917 | -0.076995 | -20.1395 | -20.1395 | -0.061714 | -17.4267 | -17.4267
Line_2 | 0 | 0 | 0 | 0.0018337 | 0.0018337 | 0.0018337 | 0 | 0 | 0 | 0.021174 | 0.021174 | 0.021174 | -7.2104e-12 | -3.6875e-12 | -1.6185e-11 | 7.179e-05 | -3.1234e-05 | -3.1234e-05 | -5.9714e-12 | 2.0646e-11 | -1.3431e-11 | -0.023326 | -0.00010097 | -0.00010097 | 0 | 0 | 0 | 89.762 | 89.7619 | 89.7619 | 1.1018 | 0.0051956 | 0.0051956 | 1.1017 | 0.0049917 | 0.0049917 | -0.076995 | -20.1395 | -20.1395 | -0.061714 | -17.4267 | -17.4267

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0037841 | 0.0037841 | 0.0037841 | 0.0025235 | 0.0025235 | 0.0025235 | 0.043695 | 0.043695 | 0.043695 | 0.029139 | 0.029139 | 0.029139 | -0.011031 | -0.0062448 | 0.017395 | 0.0073609 | 0.0042025 | -0.011572 | -0.046812 | 0.016353 | -0.0028982 | 0.031236 | -0.010891 | 0.0019353 | 103.2781 | 103.2781 | 103.2781 | -76.7673 | -76.7673 | -76.7673 | 1.1007 | 0.40062 | 0.40358 | 1.1013 | 0.40061 | 0.40265 | 0.018903 | -145.8219 | 93.8186 | -0.027442 | -145.6665 | 93.7387
Line_1 | 0 | 0 | 0 | 0.0012618 | 0.0012618 | 0.0012618 | 0 | 0 | 0 | 0.01457 | 0.01457 | 0.01457 | -5.7592e-12 | 8.6827e-10 | 8.616e-10 | -0.0036804 | -0.0021013 | 0.0057861 | -2.8502e-12 | -6.9905e-10 | -7.1864e-10 | -0.015618 | 0.0054453 | -0.00096763 | 0 | 0 | 0 | 103.2327 | 103.2327 | 103.2327 | 1.1014 | 0.4006 | 0.40246 | 1.1013 | 0.40061 | 0.40265 | -0.036709 | -145.6354 | 93.7227 | -0.027442 | -145.6665 | 93.7387
Line_2 | 0 | 0 | 0 | 0.0012618 | 0.0012618 | 0.0012618 | 0 | 0 | 0 | 0.01457 | 0.01457 | 0.01457 | -5.7645e-12 | 8.6827e-10 | 8.616e-10 | -0.0036804 | -0.0021013 | 0.0057861 | -2.8502e-12 | -6.9905e-10 | -7.1865e-10 | -0.015618 | 0.0054453 | -0.00096763 | 0 | 0 | 0 | 103.2327 | 103.2327 | 103.2327 | 1.1014 | 0.4006 | 0.40246 | 1.1013 | 0.40061 | 0.40265 | -0.036709 | -145.6354 | 93.7227 | -0.027442 | -145.6665 | 93.7387

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0037841 | 0.0037841 | 0.0037841 | 0.0025235 | 0.0025235 | 0.0025235 | 0.043695 | 0.043695 | 0.043695 | 0.029139 | 0.029139 | 0.029139 | -0.011031 | -0.0062448 | 0.017395 | 0.0073609 | 0.0042025 | -0.011572 | -0.046812 | 0.016353 | -0.0028982 | 0.031236 | -0.010891 | 0.0019353 | 103.2781 | 103.2781 | 103.2781 | -76.7673 | -76.7673 | -76.7673 | 1.1007 | 0.40062 | 0.40358 | 1.1013 | 0.40061 | 0.40265 | 0.018903 | -145.8219 | 93.8186 | -0.027442 | -145.6665 | 93.7387
Line_1 | 0 | 0 | 0 | 0.0012618 | 0.0012618 | 0.0012618 | 0 | 0 | 0 | 0.01457 | 0.01457 | 0.01457 | -5.7592e-12 | 8.6827e-10 | 8.616e-10 | -0.0036804 | -0.0021013 | 0.0057861 | -2.8502e-12 | -6.9905e-10 | -7.1864e-10 | -0.015618 | 0.0054453 | -0.00096763 | 0 | 0 | 0 | 103.2327 | 103.2327 | 103.2327 | 1.1014 | 0.4006 | 0.40246 | 1.1013 | 0.40061 | 0.40265 | -0.036709 | -145.6354 | 93.7227 | -0.027442 | -145.6665 | 93.7387
Line_2 | 0 | 0 | 0 | 0.0012618 | 0.0012618 | 0.0012618 | 0 | 0 | 0 | 0.01457 | 0.01457 | 0.01457 | -5.7645e-12 | 8.6827e-10 | 8.616e-10 | -0.0036804 | -0.0021013 | 0.0057861 | -2.8502e-12 | -6.9905e-10 | -7.1865e-10 | -0.015618 | 0.0054453 | -0.00096763 | 0 | 0 | 0 | 103.2327 | 103.2327 | 103.2327 | 1.1014 | 0.4006 | 0.40246 | 1.1013 | 0.40061 | 0.40265 | -0.036709 | -145.6354 | 93.7227 | -0.027442 | -145.6665 | 93.7387

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0049964 | 0.0049964 | 0.0049964 | 0.003332 | 0.003332 | 0.003332 | 0.057693 | 0.057693 | 0.057693 | 0.038474 | 0.038474 | 0.038474 | 0.00040111 | -1.1962e-06 | -1.1962e-06 | -0.00022759 | 9.9025e-05 | 9.9025e-05 | -0.057722 | -0.00021536 | -0.00021536 | 0.038514 | 0.00016403 | 0.00016403 | 89.6174 | 89.6174 | 89.6174 | -90.4697 | -90.4697 | -90.4697 | 1.0005 | 0.0037329 | 0.0037329 | 1.001 | 0.0049801 | 0.0049801 | 0.015566 | -0.70081 | -0.70081 | -0.13114 | -31.5887 | -31.5887
Line_1 | 0 | 0 | 0 | 0.001666 | 0.001666 | 0.001666 | 0 | 0 | 0 | 0.019237 | 0.019237 | 0.019237 | -4.2306e-12 | 1.8435e-12 | -1.798e-11 | 0.0001138 | -4.9513e-05 | -4.9512e-05 | -1.0289e-11 | 1.9516e-11 | -8.0704e-12 | -0.019257 | -8.2017e-05 | -8.2017e-05 | 0 | 0 | 0 | 89.5303 | 89.5303 | 89.5303 | 1.0011 | 0.0053489 | 0.0053489 | 1.001 | 0.0049801 | 0.0049801 | -0.16047 | -35.7018 | -35.7018 | -0.13114 | -31.5887 | -31.5887
Line_2 | 0 | 0 | 0 | 0.001666 | 0.001666 | 0.001666 | 0 | 0 | 0 | 0.019237 | 0.019237 | 0.019237 | -4.2306e-12 | 1.8436e-12 | -1.798e-11 | 0.0001138 | -4.9513e-05 | -4.9512e-05 | -1.0284e-11 | 1.9516e-11 | -8.0703e-12 | -0.019257 | -8.2017e-05 | -8.2017e-05 | 0 | 0 | 0 | 89.5303 | 89.5303 | 89.5303 | 1.0011 | 0.0053489 | 0.0053489 | 1.001 | 0.0049801 | 0.0049801 | -0.16047 | -35.7018 | -35.7018 | -0.13114 | -31.5887 | -31.5887

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0049964 | 0.0049964 | 0.0049964 | 0.003332 | 0.003332 | 0.003332 | 0.057693 | 0.057693 | 0.057693 | 0.038474 | 0.038474 | 0.038474 | 0.00040111 | -1.1962e-06 | -1.1962e-06 | -0.00022759 | 9.9025e-05 | 9.9025e-05 | -0.057722 | -0.00021536 | -0.00021536 | 0.038514 | 0.00016403 | 0.00016403 | 89.6174 | 89.6174 | 89.6174 | -90.4697 | -90.4697 | -90.4697 | 1.0005 | 0.0037329 | 0.0037329 | 1.001 | 0.0049801 | 0.0049801 | 0.015566 | -0.70081 | -0.70081 | -0.13114 | -31.5887 | -31.5887
Line_1 | 0 | 0 | 0 | 0.001666 | 0.001666 | 0.001666 | 0 | 0 | 0 | 0.019237 | 0.019237 | 0.019237 | -4.2306e-12 | 1.8435e-12 | -1.798e-11 | 0.0001138 | -4.9513e-05 | -4.9512e-05 | -1.0289e-11 | 1.9516e-11 | -8.0704e-12 | -0.019257 | -8.2017e-05 | -8.2017e-05 | 0 | 0 | 0 | 89.5303 | 89.5303 | 89.5303 | 1.0011 | 0.0053489 | 0.0053489 | 1.001 | 0.0049801 | 0.0049801 | -0.16047 | -35.7018 | -35.7018 | -0.13114 | -31.5887 | -31.5887
Line_2 | 0 | 0 | 0 | 0.001666 | 0.001666 | 0.001666 | 0 | 0 | 0 | 0.019237 | 0.019237 | 0.019237 | -4.2306e-12 | 1.8436e-12 | -1.798e-11 | 0.0001138 | -4.9513e-05 | -4.9512e-05 | -1.0284e-11 | 1.9516e-11 | -8.0703e-12 | -0.019257 | -8.2017e-05 | -8.2017e-05 | 0 | 0 | 0 | 89.5303 | 89.5303 | 89.5303 | 1.0011 | 0.0053489 | 0.0053489 | 1.001 | 0.0049801 | 0.0049801 | -0.16047 | -35.7018 | -35.7018 | -0.13114 | -31.5887 | -31.5887

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0035786 | 0.0035786 | 0.0035786 | 0.0023865 | 0.0023865 | 0.0023865 | 0.041322 | 0.041322 | 0.041322 | 0.027557 | 0.027557 | 0.027557 | -0.008547 | -0.0049572 | 0.013709 | 0.0057093 | 0.0033694 | -0.0090938 | -0.040443 | 0.012855 | -0.0022456 | 0.026989 | -0.0085575 | 0.0014941 | 101.9486 | 101.9486 | 101.9486 | -78.1386 | -78.1386 | -78.1386 | 1.0003 | 0.33343 | 0.33617 | 1.0011 | 0.33374 | 0.33443 | 0.015559 | -146.9642 | 92.6455 | -0.082634 | -146.6472 | 92.531
Line_1 | 0 | 0 | 0 | 0.0011932 | 0.0011932 | 0.0011932 | 0 | 0 | 0 | 0.013778 | 0.013778 | 0.013778 | -4.5209e-12 | 6.8599e-10 | 6.7739e-10 | -0.0028546 | -0.0016847 | 0.0045469 | -6.556e-12 | -5.4773e-10 | -5.6546e-10 | -0.013495 | 0.0042787 | -0.00074707 | 0 | 0 | 0 | 101.8614 | 101.8614 | 101.8614 | 1.0012 | 0.33381 | 0.33408 | 1.0011 | 0.33374 | 0.33443 | -0.10227 | -146.5839 | 92.508 | -0.082634 | -146.6472 | 92.531
Line_2 | 0 | 0 | 0 | 0.0011932 | 0.0011932 | 0.0011932 | 0 | 0 | 0 | 0.013778 | 0.013778 | 0.013778 | -4.5256e-12 | 6.86e-10 | 6.7739e-10 | -0.0028546 | -0.0016847 | 0.0045469 | -6.5465e-12 | -5.4773e-10 | -5.6546e-10 | -0.013495 | 0.0042787 | -0.00074707 | 0 | 0 | 0 | 101.8614 | 101.8614 | 101.8614 | 1.0012 | 0.33381 | 0.33408 | 1.0011 | 0.33374 | 0.33443 | -0.10227 | -146.5839 | 92.508 | -0.082634 | -146.6472 | 92.531

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0035786 | 0.0035786 | 0.0035786 | 0.0023865 | 0.0023865 | 0.0023865 | 0.041322 | 0.041322 | 0.041322 | 0.027557 | 0.027557 | 0.027557 | -0.008547 | -0.0049572 | 0.013709 | 0.0057093 | 0.0033694 | -0.0090938 | -0.040443 | 0.012855 | -0.0022456 | 0.026989 | -0.0085575 | 0.0014941 | 101.9486 | 101.9486 | 101.9486 | -78.1386 | -78.1386 | -78.1386 | 1.0003 | 0.33343 | 0.33617 | 1.0011 | 0.33374 | 0.33443 | 0.015559 | -146.9642 | 92.6455 | -0.082634 | -146.6472 | 92.531
Line_1 | 0 | 0 | 0 | 0.0011932 | 0.0011932 | 0.0011932 | 0 | 0 | 0 | 0.013778 | 0.013778 | 0.013778 | -4.5209e-12 | 6.8599e-10 | 6.7739e-10 | -0.0028546 | -0.0016847 | 0.0045469 | -6.556e-12 | -5.4773e-10 | -5.6546e-10 | -0.013495 | 0.0042787 | -0.00074707 | 0 | 0 | 0 | 101.8614 | 101.8614 | 101.8614 | 1.0012 | 0.33381 | 0.33408 | 1.0011 | 0.33374 | 0.33443 | -0.10227 | -146.5839 | 92.508 | -0.082634 | -146.6472 | 92.531
Line_2 | 0 | 0 | 0 | 0.0011932 | 0.0011932 | 0.0011932 | 0 | 0 | 0 | 0.013778 | 0.013778 | 0.013778 | -4.5256e-12 | 6.86e-10 | 6.7739e-10 | -0.0028546 | -0.0016847 | 0.0045469 | -6.5465e-12 | -5.4773e-10 | -5.6546e-10 | -0.013495 | 0.0042787 | -0.00074707 | 0 | 0 | 0 | 101.8614 | 101.8614 | 101.8614 | 1.0012 | 0.33381 | 0.33408 | 1.0011 | 0.33374 | 0.33443 | -0.10227 | -146.5839 | 92.508 | -0.082634 | -146.6472 | 92.531