## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | 7.8159e-15 | -4.4521e-20 | 1.0421e-14 | 4.7212e-19 | 5.2111e-15 | -2.0843e-14 | 5.7634e-09 | -5.7634e-09 | 1.5632e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.2135e-13 | -180 | 180 | 6.0669e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6051e-15 | 2.0517e-19 | -1.5632e-14 | 2.0842e-14 | 5.2105e-15 | 0 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.0222e-13 | -180 | 180 | 6.0669e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -2.6051e-15 | 2.0517e-19 | -5.2106e-15 | 2.0842e-14 | -5.2108e-15 | -1.0421e-14 | -1.9211e-09 | 1.9211e-09 | -5.5175e-29 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.0787e-13 | -180 | 180 | 6.0669e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | 7.8159e-15 | -4.4521e-20 | 1.0421e-14 | 4.7212e-19 | 5.2111e-15 | -2.0843e-14 | 5.7634e-09 | -5.7634e-09 | 1.5632e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.2135e-13 | -180 | 180 | 6.0669e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6051e-15 | 2.0517e-19 | -1.5632e-14 | 2.0842e-14 | 5.2105e-15 | 0 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.0222e-13 | -180 | 180 | 6.0669e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -2.6051e-15 | 2.0517e-19 | -5.2106e-15 | 2.0842e-14 | -5.2108e-15 | -1.0421e-14 | -1.9211e-09 | 1.9211e-09 | -5.5175e-29 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.0787e-13 | -180 | 180 | 6.0669e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -7.3077e-10 | -2.0393e-09 | 5.2106e-15 | 7.3078e-10 | 2.0393e-09 | -1.5632e-14 | 5.8225e-09 | -3.5561e-09 | 2.6053e-14 | -5.8225e-09 | 3.5561e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 4.5157e-13 | -164.9034 | 158.1097 | 4.3439e-13 | -164.9034 | 158.1097
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5632e-14 | 2.4361e-10 | 6.7978e-10 | -2.6053e-14 | -2.436e-10 | -6.7978e-10 | -1.0421e-14 | -1.9408e-09 | 1.1853e-09 | 1.5632e-14 | 1.9409e-09 | -1.1854e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 4.2776e-13 | -164.9034 | 158.1097 | 4.3439e-13 | -164.9034 | 158.1097
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 2.436e-10 | 6.7977e-10 | -1.0421e-14 | -2.4357e-10 | -6.7978e-10 | -3.9634e-29 | -1.9408e-09 | 1.1854e-09 | 1.0421e-14 | 1.9408e-09 | -1.1854e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 4.3581e-13 | -164.9034 | 158.1097 | 4.3439e-13 | -164.9034 | 158.1097

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -7.3077e-10 | -2.0393e-09 | 5.2106e-15 | 7.3078e-10 | 2.0393e-09 | -1.5632e-14 | 5.8225e-09 | -3.5561e-09 | 2.6053e-14 | -5.8225e-09 | 3.5561e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 4.5157e-13 | -164.9034 | 158.1097 | 4.3439e-13 | -164.9034 | 158.1097
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5632e-14 | 2.4361e-10 | 6.7978e-10 | -2.6053e-14 | -2.436e-10 | -6.7978e-10 | -1.0421e-14 | -1.9408e-09 | 1.1853e-09 | 1.5632e-14 | 1.9409e-09 | -1.1854e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 4.2776e-13 | -164.9034 | 158.1097 | 4.3439e-13 | -164.9034 | 158.1097
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 2.436e-10 | 6.7977e-10 | -1.0421e-14 | -2.4357e-10 | -6.7978e-10 | -3.9634e-29 | -1.9408e-09 | 1.1854e-09 | 1.0421e-14 | 1.9408e-09 | -1.1854e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 4.3581e-13 | -164.9034 | 158.1097 | 4.3439e-13 | -164.9034 | 158.1097

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.1316e-14 | -1.3027e-14 | 7.1053e-15 | 1.6579e-14 | 2.0133e-14 | 7.8242e-19 | -2.6085e-28 | 4.7631e-09 | -4.7631e-09 | 4.737e-15 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.0114e-13 | -180 | 180 | 7.1366e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 1.1846e-15 | -2.3681e-15 | 4.737e-15 | 1.184e-15 | 4.7367e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 5.9002e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.0643e-13 | -180 | 180 | 7.1366e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 1.1846e-15 | 7.1058e-15 | 5.9002e-29 | 5.9209e-15 | -2.608e-19 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.9448e-13 | -180 | 180 | 7.1366e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.1316e-14 | -1.3027e-14 | 7.1053e-15 | 1.6579e-14 | 2.0133e-14 | 7.8242e-19 | -2.6085e-28 | 4.7631e-09 | -4.7631e-09 | 4.737e-15 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.0114e-13 | -180 | 180 | 7.1366e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 1.1846e-15 | -2.3681e-15 | 4.737e-15 | 1.184e-15 | 4.7367e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 5.9002e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.0643e-13 | -180 | 180 | 7.1366e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 1.1846e-15 | 7.1058e-15 | 5.9002e-29 | 5.9209e-15 | -2.608e-19 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.9448e-13 | -180 | 180 | 7.1366e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6579e-14 | -5.5596e-10 | -1.5515e-09 | 1.4211e-14 | 5.5596e-10 | 1.5515e-09 | -9.4739e-15 | 4.8331e-09 | -3.1089e-09 | 7.1054e-15 | -4.8331e-09 | 3.1089e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 5.8986e-13 | -166.2936 | 160.6236 | 6.0528e-13 | -166.2936 | 160.6236
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 1.8533e-10 | 5.1715e-10 | 4.737e-15 | -1.8533e-10 | -5.1715e-10 | -5.015e-29 | -1.6111e-09 | 1.0363e-09 | -2.3685e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 6.0659e-13 | -166.2936 | 160.6236 | 6.0528e-13 | -166.2936 | 160.6236
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8532e-10 | 5.1716e-10 | 2.3685e-15 | -1.8532e-10 | -5.1715e-10 | 0 | -1.6111e-09 | 1.0363e-09 | -4.737e-15 | 1.611e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 5.889e-13 | -166.2936 | 160.6236 | 6.0528e-13 | -166.2936 | 160.6236

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6579e-14 | -5.5596e-10 | -1.5515e-09 | 1.4211e-14 | 5.5596e-10 | 1.5515e-09 | -9.4739e-15 | 4.8331e-09 | -3.1089e-09 | 7.1054e-15 | -4.8331e-09 | 3.1089e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 5.8986e-13 | -166.2936 | 160.6236 | 6.0528e-13 | -166.2936 | 160.6236
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 1.8533e-10 | 5.1715e-10 | 4.737e-15 | -1.8533e-10 | -5.1715e-10 | -5.015e-29 | -1.6111e-09 | 1.0363e-09 | -2.3685e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 6.0659e-13 | -166.2936 | 160.6236 | 6.0528e-13 | -166.2936 | 160.6236
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8532e-10 | 5.1716e-10 | 2.3685e-15 | -1.8532e-10 | -5.1715e-10 | 0 | -1.6111e-09 | 1.0363e-09 | -4.737e-15 | 1.611e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 5.889e-13 | -166.2936 | 160.6236 | 6.0528e-13 | -166.2936 | 160.6236

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0053765 | 0.0053765 | 0.0053765 | 0.0035855 | 0.0035855 | 0.0035855 | 0.062083 | 0.062083 | 0.062083 | 0.041402 | 0.041402 | 0.041402 | -0.00043811 | 0.059466 | -0.058788 | 0.00035164 | -0.039614 | 0.039245 | 0.0001834 | -0.03244 | -0.035082 | -9.8446e-05 | 0.021625 | 0.02345 | -91.2802 | -91.2802 | -91.2802 | 88.6744 | 88.6744 | 88.6744 | 0.0076503 | 1.0911 | 1.1027 | 0.0088199 | 1.0901 | 1.1042 | 66.0052 | -119.8933 | 119.547 | 73.0341 | -119.9557 | 119.5343
Line_1 | 0 | 0 | 0 | 0.0017927 | 0.0017927 | 0.0017927 | 0 | 0 | 0 | 0.020701 | 0.020701 | 0.020701 | 9.6458e-12 | 4.0259e-11 | -1.8585e-11 | -0.00017582 | 0.019807 | -0.019622 | 3.5193e-11 | 2.4243e-12 | -3.6413e-11 | 4.9223e-05 | -0.010813 | -0.011725 | 0 | 0 | 0 | -91.3256 | -91.3256 | -91.3256 | 0.0090674 | 1.0899 | 1.1046 | 0.0088199 | 1.0901 | 1.1042 | 74.2167 | -119.9682 | 119.5317 | 73.0341 | -119.9557 | 119.5343
Line_2 | 0 | 0 | 0 | 0.0017927 | 0.0017927 | 0.0017927 | 0 | 0 | 0 | 0.020701 | 0.020701 | 0.020701 | 9.6457e-12 | 4.0256e-11 | -1.858e-11 | -0.00017582 | 0.019807 | -0.019622 | 3.5193e-11 | 2.4499e-12 | -3.6411e-11 | 4.9223e-05 | -0.010813 | -0.011725 | 0 | 0 | 0 | -91.3256 | -91.3256 | -91.3256 | 0.0090674 | 1.0899 | 1.1046 | 0.0088199 | 1.0901 | 1.1042 | 74.2167 | -119.9682 | 119.5317 | 73.0341 | -119.9557 | 119.5343

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0053765 | 0.0053765 | 0.0053765 | 0.0035855 | 0.0035855 | 0.0035855 | 0.062083 | 0.062083 | 0.062083 | 0.041402 | 0.041402 | 0.041402 | -0.00043811 | 0.059466 | -0.058788 | 0.00035164 | -0.039614 | 0.039245 | 0.0001834 | -0.03244 | -0.035082 | -9.8446e-05 | 0.021625 | 0.02345 | -91.2802 | -91.2802 | -91.2802 | 88.6744 | 88.6744 | 88.6744 | 0.0076503 | 1.0911 | 1.1027 | 0.0088199 | 1.0901 | 1.1042 | 66.0052 | -119.8933 | 119.547 | 73.0341 | -119.9557 | 119.5343
Line_1 | 0 | 0 | 0 | 0.0017927 | 0.0017927 | 0.0017927 | 0 | 0 | 0 | 0.020701 | 0.020701 | 0.020701 | 9.6458e-12 | 4.0259e-11 | -1.8585e-11 | -0.00017582 | 0.019807 | -0.019622 | 3.5193e-11 | 2.4243e-12 | -3.6413e-11 | 4.9223e-05 | -0.010813 | -0.011725 | 0 | 0 | 0 | -91.3256 | -91.3256 | -91.3256 | 0.0090674 | 1.0899 | 1.1046 | 0.0088199 | 1.0901 | 1.1042 | 74.2167 | -119.9682 | 119.5317 | 73.0341 | -119.9557 | 119.5343
Line_2 | 0 | 0 | 0 | 0.0017927 | 0.0017927 | 0.0017927 | 0 | 0 | 0 | 0.020701 | 0.020701 | 0.020701 | 9.6457e-12 | 4.0256e-11 | -1.858e-11 | -0.00017582 | 0.019807 | -0.019622 | 3.5193e-11 | 2.4499e-12 | -3.6411e-11 | 4.9223e-05 | -0.010813 | -0.011725 | 0 | 0 | 0 | -91.3256 | -91.3256 | -91.3256 | 0.0090674 | 1.0899 | 1.1046 | 0.0088199 | 1.0901 | 1.1042 | 74.2167 | -119.9682 | 119.5317 | 73.0341 | -119.9557 | 119.5343

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0037028 | 0.0037028 | 0.0037028 | 0.0024693 | 0.0024693 | 0.0024693 | 0.042757 | 0.042757 | 0.042757 | 0.028513 | 0.028513 | 0.028513 | 0.010422 | 0.034663 | -0.044972 | -0.0069151 | -0.023105 | 0.030011 | 0.013681 | -0.03139 | -0.014231 | -0.0091177 | 0.020926 | 0.0095253 | -77.8406 | -77.8406 | -77.8406 | 102.114 | 102.114 | 102.114 | 0.40224 | 1.0937 | 1.1032 | 0.40133 | 1.0932 | 1.1043 | -25.1417 | -120.0033 | 119.7191 | -25.0634 | -120.0533 | 119.723
Line_1 | 0 | 0 | 0 | 0.0012347 | 0.0012347 | 0.0012347 | 0 | 0 | 0 | 0.014257 | 0.014257 | 0.014257 | 8.7577e-10 | 2.7426e-11 | -1.8206e-11 | 0.0034575 | 0.011552 | -0.015006 | -6.85e-10 | -4.8673e-12 | -2.1477e-11 | 0.0045589 | -0.010463 | -0.0047627 | 0 | 0 | 0 | -77.886 | -77.886 | -77.886 | 0.40115 | 1.0932 | 1.1045 | 0.40133 | 1.0932 | 1.1043 | -25.0477 | -120.0633 | 119.7238 | -25.0634 | -120.0533 | 119.723
Line_2 | 0 | 0 | 0 | 0.0012347 | 0.0012347 | 0.0012347 | 0 | 0 | 0 | 0.014257 | 0.014257 | 0.014257 | 8.7577e-10 | 2.7435e-11 | -1.8188e-11 | 0.0034575 | 0.011552 | -0.015006 | -6.85e-10 | -4.8725e-12 | -2.1478e-11 | 0.0045589 | -0.010463 | -0.0047627 | 0 | 0 | 0 | -77.886 | -77.886 | -77.886 | 0.40115 | 1.0932 | 1.1045 | 0.40133 | 1.0932 | 1.1043 | -25.0477 | -120.0633 | 119.7238 | -25.0634 | -120.0533 | 119.723

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0037028 | 0.0037028 | 0.0037028 | 0.0024693 | 0.0024693 | 0.0024693 | 0.042757 | 0.042757 | 0.042757 | 0.028513 | 0.028513 | 0.028513 | 0.010422 | 0.034663 | -0.044972 | -0.0069151 | -0.023105 | 0.030011 | 0.013681 | -0.03139 | -0.014231 | -0.0091177 | 0.020926 | 0.0095253 | -77.8406 | -77.8406 | -77.8406 | 102.114 | 102.114 | 102.114 | 0.40224 | 1.0937 | 1.1032 | 0.40133 | 1.0932 | 1.1043 | -25.1417 | -120.0033 | 119.7191 | -25.0634 | -120.0533 | 119.723
Line_1 | 0 | 0 | 0 | 0.0012347 | 0.0012347 | 0.0012347 | 0 | 0 | 0 | 0.014257 | 0.014257 | 0.014257 | 8.7577e-10 | 2.7426e-11 | -1.8206e-11 | 0.0034575 | 0.011552 | -0.015006 | -6.85e-10 | -4.8673e-12 | -2.1477e-11 | 0.0045589 | -0.010463 | -0.0047627 | 0 | 0 | 0 | -77.886 | -77.886 | -77.886 | 0.40115 | 1.0932 | 1.1045 | 0.40133 | 1.0932 | 1.1043 | -25.0477 | -120.0633 | 119.7238 | -25.0634 | -120.0533 | 119.723
Line_2 | 0 | 0 | 0 | 0.0012347 | 0.0012347 | 0.0012347 | 0 | 0 | 0 | 0.014257 | 0.014257 | 0.014257 | 8.7577e-10 | 2.7435e-11 | -1.8188e-11 | 0.0034575 | 0.011552 | -0.015006 | -6.85e-10 | -4.8725e-12 | -2.1478e-11 | 0.0045589 | -0.010463 | -0.0047627 | 0 | 0 | 0 | -77.886 | -77.886 | -77.886 | 0.40115 | 1.0932 | 1.1045 | 0.40133 | 1.0932 | 1.1043 | -25.0477 | -120.0633 | 119.7238 | -25.0634 | -120.0533 | 119.723

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0048826 | 0.0048826 | 0.0048826 | 0.0032561 | 0.0032561 | 0.0032561 | 0.056379 | 0.056379 | 0.056379 | 0.037598 | 0.037598 | 0.037598 | -0.00036195 | 0.049181 | -0.048438 | 0.00033555 | -0.032731 | 0.032367 | 0.00015515 | -0.026597 | -0.029092 | -8.3603e-05 | 0.017706 | 0.01947 | -91.4643 | -91.4642 | -91.4642 | 88.4486 | 88.4486 | 88.4486 | 0.0069849 | 0.99172 | 1.0022 | 0.0091975 | 0.98977 | 1.0046 | 65.3335 | -119.8687 | 119.525 | 74.4579 | -119.9637 | 119.4767
Line_1 | 0 | 0 | 0 | 0.001628 | 0.001628 | 0.001628 | 0 | 0 | 0 | 0.018799 | 0.018799 | 0.018799 | 8.3652e-12 | 3.8548e-11 | -1.8944e-11 | -0.00016777 | 0.016365 | -0.016183 | 3.4335e-11 | 1.0963e-12 | -3.4282e-11 | 4.1802e-05 | -0.0088532 | -0.0097348 | 0 | 0 | 0 | -91.5514 | -91.5514 | -91.5514 | 0.0096605 | 0.98938 | 1.0051 | 0.0091975 | 0.98977 | 1.0046 | 75.7697 | -119.9828 | 119.467 | 74.4579 | -119.9637 | 119.4767
Line_2 | 0 | 0 | 0 | 0.001628 | 0.001628 | 0.001628 | 0 | 0 | 0 | 0.018799 | 0.018799 | 0.018799 | 8.3652e-12 | 3.8548e-11 | -1.8946e-11 | -0.00016777 | 0.016365 | -0.016183 | 3.4335e-11 | 1.0963e-12 | -3.4284e-11 | 4.1802e-05 | -0.0088532 | -0.0097348 | 0 | 0 | 0 | -91.5514 | -91.5514 | -91.5514 | 0.0096605 | 0.98938 | 1.0051 | 0.0091975 | 0.98977 | 1.0046 | 75.7697 | -119.9828 | 119.467 | 74.4579 | -119.9637 | 119.4767

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0048826 | 0.0048826 | 0.0048826 | 0.0032561 | 0.0032561 | 0.0032561 | 0.056379 | 0.056379 | 0.056379 | 0.037598 | 0.037598 | 0.037598 | -0.00036195 | 0.049181 | -0.048438 | 0.00033555 | -0.032731 | 0.032367 | 0.00015515 | -0.026597 | -0.029092 | -8.3603e-05 | 0.017706 | 0.01947 | -91.4643 | -91.4642 | -91.4642 | 88.4486 | 88.4486 | 88.4486 | 0.0069849 | 0.99172 | 1.0022 | 0.0091975 | 0.98977 | 1.0046 | 65.3335 | -119.8687 | 119.525 | 74.4579 | -119.9637 | 119.4767
Line_1 | 0 | 0 | 0 | 0.001628 | 0.001628 | 0.001628 | 0 | 0 | 0 | 0.018799 | 0.018799 | 0.018799 | 8.3652e-12 | 3.8548e-11 | -1.8944e-11 | -0.00016777 | 0.016365 | -0.016183 | 3.4335e-11 | 1.0963e-12 | -3.4282e-11 | 4.1802e-05 | -0.0088532 | -0.0097348 | 0 | 0 | 0 | -91.5514 | -91.5514 | -91.5514 | 0.0096605 | 0.98938 | 1.0051 | 0.0091975 | 0.98977 | 1.0046 | 75.7697 | -119.9828 | 119.467 | 74.4579 | -119.9637 | 119.4767
Line_2 | 0 | 0 | 0 | 0.001628 | 0.001628 | 0.001628 | 0 | 0 | 0 | 0.018799 | 0.018799 | 0.018799 | 8.3652e-12 | 3.8548e-11 | -1.8946e-11 | -0.00016777 | 0.016365 | -0.016183 | 3.4335e-11 | 1.0963e-12 | -3.4284e-11 | 4.1802e-05 | -0.0088532 | -0.0097348 | 0 | 0 | 0 | -91.5514 | -91.5514 | -91.5514 | 0.0096605 | 0.98938 | 1.0051 | 0.0091975 | 0.98977 | 1.0046 | 75.7697 | -119.9828 | 119.467 | 74.4579 | -119.9637 | 119.4767

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0035003 | 0.0035003 | 0.0035003 | 0.0023343 | 0.0023343 | 0.0023343 | 0.040418 | 0.040418 | 0.040418 | 0.026954 | 0.026954 | 0.026954 | 0.0081511 | 0.030401 | -0.038357 | -0.0053765 | -0.020252 | 0.025614 | 0.010811 | -0.026255 | -0.013097 | -0.007208 | 0.017488 | 0.0087832 | -79.1665 | -79.1665 | -79.1665 | 100.7463 | 100.7463 | 100.7463 | 0.335 | 0.99385 | 1.0028 | 0.33362 | 0.99274 | 1.0046 | -26.1808 | -119.9811 | 119.6864 | -25.9731 | -120.0649 | 119.6733
Line_1 | 0 | 0 | 0 | 0.0011671 | 0.0011671 | 0.0011671 | 0 | 0 | 0 | 0.013477 | 0.013477 | 0.013477 | 6.9177e-10 | 2.7239e-11 | -1.8429e-11 | 0.0026883 | 0.010126 | -0.012807 | -5.3449e-10 | -5.1954e-12 | -2.1177e-11 | 0.003604 | -0.0087441 | -0.0043916 | 0 | 0 | 0 | -79.2537 | -79.2537 | -79.2537 | 0.33335 | 0.99251 | 1.005 | 0.33362 | 0.99274 | 1.0046 | -25.9313 | -120.0816 | 119.6707 | -25.9731 | -120.0649 | 119.6733
Line_2 | 0 | 0 | 0 | 0.0011671 | 0.0011671 | 0.0011671 | 0 | 0 | 0 | 0.013477 | 0.013477 | 0.013477 | 6.9177e-10 | 2.7242e-11 | -1.843e-11 | 0.0026883 | 0.010126 | -0.012807 | -5.3449e-10 | -5.175e-12 | -2.1177e-11 | 0.003604 | -0.0087441 | -0.0043916 | 0 | 0 | 0 | -79.2537 | -79.2537 | -79.2537 | 0.33335 | 0.99251 | 1.005 | 0.33362 | 0.99274 | 1.0046 | -25.9313 | -120.0816 | 119.6707 | -25.9731 | -120.0649 | 119.6733

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0035003 | 0.0035003 | 0.0035003 | 0.0023343 | 0.0023343 | 0.0023343 | 0.040418 | 0.040418 | 0.040418 | 0.026954 | 0.026954 | 0.026954 | 0.0081511 | 0.030401 | -0.038357 | -0.0053765 | -0.020252 | 0.025614 | 0.010811 | -0.026255 | -0.013097 | -0.007208 | 0.017488 | 0.0087832 | -79.1665 | -79.1665 | -79.1665 | 100.7463 | 100.7463 | 100.7463 | 0.335 | 0.99385 | 1.0028 | 0.33362 | 0.99274 | 1.0046 | -26.1808 | -119.9811 | 119.6864 | -25.9731 | -120.0649 | 119.6733
Line_1 | 0 | 0 | 0 | 0.0011671 | 0.0011671 | 0.0011671 | 0 | 0 | 0 | 0.013477 | 0.013477 | 0.013477 | 6.9177e-10 | 2.7239e-11 | -1.8429e-11 | 0.0026883 | 0.010126 | -0.012807 | -5.3449e-10 | -5.1954e-12 | -2.1177e-11 | 0.003604 | -0.0087441 | -0.0043916 | 0 | 0 | 0 | -79.2537 | -79.2537 | -79.2537 | 0.33335 | 0.99251 | 1.005 | 0.33362 | 0.99274 | 1.0046 | -25.9313 | -120.0816 | 119.6707 | -25.9731 | -120.0649 | 119.6733
Line_2 | 0 | 0 | 0 | 0.0011671 | 0.0011671 | 0.0011671 | 0 | 0 | 0 | 0.013477 | 0.013477 | 0.013477 | 6.9177e-10 | 2.7242e-11 | -1.843e-11 | 0.0026883 | 0.010126 | -0.012807 | -5.3449e-10 | -5.175e-12 | -2.1177e-11 | 0.003604 | -0.0087441 | -0.0043916 | 0 | 0 | 0 | -79.2537 | -79.2537 | -79.2537 | 0.33335 | 0.99251 | 1.005 | 0.33362 | 0.99274 | 1.0046 | -25.9313 | -120.0816 | 119.6707 | -25.9731 | -120.0649 | 119.6733

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0053917 | 0.0053917 | 0.0053917 | 0.0035956 | 0.0035956 | 0.0035956 | 0.062258 | 0.062258 | 0.062258 | 0.041518 | 0.041518 | 0.041518 | 0.001123 | -0.00044059 | -0.00044059 | -0.00072517 | 0.00035363 | 0.00035362 | -0.068088 | 0.00018443 | 0.00018443 | 0.04543 | -9.9002e-05 | -9.9002e-05 | 88.704 | 88.7039 | 88.7039 | -91.3414 | -91.3414 | -91.3414 | 1.0938 | 0.0076719 | 0.0076719 | 1.0943 | 0.0088448 | 0.0088448 | -0.35113 | -114.0106 | -114.0106 | -0.42693 | -106.9818 | -106.9818
Line_1 | 0 | 0 | 0 | 0.0017978 | 0.0017978 | 0.0017978 | 0 | 0 | 0 | 0.020759 | 0.020759 | 0.020759 | 2.2155e-11 | 3.5252e-11 | -2.5872e-11 | 0.00036258 | -0.00017681 | -0.00017681 | -3.4078e-11 | 8.9971e-12 | 2.6292e-11 | -0.022715 | 4.9501e-05 | 4.9501e-05 | 0 | 0 | 0 | 88.6586 | 88.6586 | 88.6586 | 1.0945 | 0.009093 | 0.009093 | 1.0943 | 0.0088448 | 0.0088448 | -0.44209 | -105.7991 | -105.7991 | -0.42693 | -106.9818 | -106.9818
Line_2 | 0 | 0 | 0 | 0.0017978 | 0.0017978 | 0.0017978 | 0 | 0 | 0 | 0.020759 | 0.020759 | 0.020759 | 2.2124e-11 | 3.5251e-11 | -2.5872e-11 | 0.00036258 | -0.00017681 | -0.00017681 | -3.4067e-11 | 8.9972e-12 | 2.6292e-11 | -0.022715 | 4.9501e-05 | 4.9501e-05 | 0 | 0 | 0 | 88.6586 | 88.6586 | 88.6586 | 1.0945 | 0.009093 | 0.009093 | 1.0943 | 0.0088448 | 0.0088448 | -0.44209 | -105.7991 | -105.7991 | -0.42693 | -106.9818 | -106.9818

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0053917 | 0.0053917 | 0.0053917 | 0.0035956 | 0.0035956 | 0.0035956 | 0.062258 | 0.062258 | 0.062258 | 0.041518 | 0.041518 | 0.041518 | 0.001123 | -0.00044059 | -0.00044059 | -0.00072517 | 0.00035363 | 0.00035362 | -0.068088 | 0.00018443 | 0.00018443 | 0.04543 | -9.9002e-05 | -9.9002e-05 | 88.704 | 88.7039 | 88.7039 | -91.3414 | -91.3414 | -91.3414 | 1.0938 | 0.0076719 | 0.0076719 | 1.0943 | 0.0088448 | 0.0088448 | -0.35113 | -114.0106 | -114.0106 | -0.42693 | -106.9818 | -106.9818
Line_1 | 0 | 0 | 0 | 0.0017978 | 0.0017978 | 0.0017978 | 0 | 0 | 0 | 0.020759 | 0.020759 | 0.020759 | 2.2155e-11 | 3.5252e-11 | -2.5872e-11 | 0.00036258 | -0.00017681 | -0.00017681 | -3.4078e-11 | 8.9971e-12 | 2.6292e-11 | -0.022715 | 4.9501e-05 | 4.9501e-05 | 0 | 0 | 0 | 88.6586 | 88.6586 | 88.6586 | 1.0945 | 0.009093 | 0.009093 | 1.0943 | 0.0088448 | 0.0088448 | -0.44209 | -105.7991 | -105.7991 | -0.42693 | -106.9818 | -106.9818
Line_2 | 0 | 0 | 0 | 0.0017978 | 0.0017978 | 0.0017978 | 0 | 0 | 0 | 0.020759 | 0.020759 | 0.020759 | 2.2124e-11 | 3.5251e-11 | -2.5872e-11 | 0.00036258 | -0.00017681 | -0.00017681 | -3.4067e-11 | 8.9972e-12 | 2.6292e-11 | -0.022715 | 4.9501e-05 | 4.9501e-05 | 0 | 0 | 0 | 88.6586 | 88.6586 | 88.6586 | 1.0945 | 0.009093 | 0.009093 | 1.0943 | 0.0088448 | 0.0088448 | -0.44209 | -105.7991 | -105.7991 | -0.42693 | -106.9818 | -106.9818

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00371 | 0.00371 | 0.00371 | 0.0024741 | 0.0024741 | 0.0024741 | 0.042839 | 0.042839 | 0.042839 | 0.028569 | 0.028569 | 0.028569 | -0.01014 | -0.0066407 | 0.016895 | 0.0067659 | 0.0044653 | -0.01124 | -0.045885 | 0.016123 | -0.0023018 | 0.030616 | -0.010737 | 0.0015373 | 102.1746 | 102.1746 | 102.1746 | -77.8708 | -77.8708 | -77.8708 | 1.0969 | 0.40703 | 0.39802 | 1.0975 | 0.40705 | 0.39709 | -0.28642 | -145.4395 | 94.4163 | -0.33245 | -145.2896 | 94.3409
Line_1 | 0 | 0 | 0 | 0.0012371 | 0.0012371 | 0.0012371 | 0 | 0 | 0 | 0.014284 | 0.014284 | 0.014284 | 9.4383e-12 | 8.7727e-10 | 8.6518e-10 | -0.003383 | -0.0022327 | 0.0056199 | -2.6413e-11 | -7.0058e-10 | -6.9358e-10 | -0.015308 | 0.0053686 | -0.00076866 | 0 | 0 | 0 | 102.1292 | 102.1292 | 102.1292 | 1.0976 | 0.40705 | 0.39691 | 1.0975 | 0.40705 | 0.39709 | -0.34166 | -145.2596 | 94.3258 | -0.33245 | -145.2896 | 94.3409
Line_2 | 0 | 0 | 0 | 0.0012371 | 0.0012371 | 0.0012371 | 0 | 0 | 0 | 0.014284 | 0.014284 | 0.014284 | 9.4227e-12 | 8.7725e-10 | 8.6517e-10 | -0.003383 | -0.0022327 | 0.0056199 | -2.6408e-11 | -7.0058e-10 | -6.9358e-10 | -0.015308 | 0.0053686 | -0.00076866 | 0 | 0 | 0 | 102.1292 | 102.1292 | 102.1292 | 1.0976 | 0.40705 | 0.39691 | 1.0975 | 0.40705 | 0.39709 | -0.34166 | -145.2596 | 94.3258 | -0.33245 | -145.2896 | 94.3409

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00371 | 0.00371 | 0.00371 | 0.0024741 | 0.0024741 | 0.0024741 | 0.042839 | 0.042839 | 0.042839 | 0.028569 | 0.028569 | 0.028569 | -0.01014 | -0.0066407 | 0.016895 | 0.0067659 | 0.0044653 | -0.01124 | -0.045885 | 0.016123 | -0.0023018 | 0.030616 | -0.010737 | 0.0015373 | 102.1746 | 102.1746 | 102.1746 | -77.8708 | -77.8708 | -77.8708 | 1.0969 | 0.40703 | 0.39802 | 1.0975 | 0.40705 | 0.39709 | -0.28642 | -145.4395 | 94.4163 | -0.33245 | -145.2896 | 94.3409
Line_1 | 0 | 0 | 0 | 0.0012371 | 0.0012371 | 0.0012371 | 0 | 0 | 0 | 0.014284 | 0.014284 | 0.014284 | 9.4383e-12 | 8.7727e-10 | 8.6518e-10 | -0.003383 | -0.0022327 | 0.0056199 | -2.6413e-11 | -7.0058e-10 | -6.9358e-10 | -0.015308 | 0.0053686 | -0.00076866 | 0 | 0 | 0 | 102.1292 | 102.1292 | 102.1292 | 1.0976 | 0.40705 | 0.39691 | 1.0975 | 0.40705 | 0.39709 | -0.34166 | -145.2596 | 94.3258 | -0.33245 | -145.2896 | 94.3409
Line_2 | 0 | 0 | 0 | 0.0012371 | 0.0012371 | 0.0012371 | 0 | 0 | 0 | 0.014284 | 0.014284 | 0.014284 | 9.4227e-12 | 8.7725e-10 | 8.6517e-10 | -0.003383 | -0.0022327 | 0.0056199 | -2.6408e-11 | -7.0058e-10 | -6.9358e-10 | -0.015308 | 0.0053686 | -0.00076866 | 0 | 0 | 0 | 102.1292 | 102.1292 | 102.1292 | 1.0976 | 0.40705 | 0.39691 | 1.0975 | 0.40705 | 0.39709 | -0.34166 | -145.2596 | 94.3258 | -0.33245 | -145.2896 | 94.3409

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0048982 | 0.0048982 | 0.0048982 | 0.0032665 | 0.0032665 | 0.0032665 | 0.05656 | 0.05656 | 0.05656 | 0.037718 | 0.037718 | 0.037718 | 0.0011118 | -0.00036428 | -0.00036428 | -0.0007038 | 0.0003377 | 0.0003377 | -0.056203 | 0.00015615 | 0.00015615 | 0.037499 | -8.414e-05 | -8.414e-05 | 88.5178 | 88.5178 | 88.5178 | -91.5693 | -91.5693 | -91.5693 | 0.99389 | 0.0070073 | 0.0070073 | 0.99436 | 0.0092269 | 0.0092269 | -0.34895 | -114.6844 | -114.6844 | -0.4941 | -105.56 | -105.56
Line_1 | 0 | 0 | 0 | 0.0016332 | 0.0016332 | 0.0016332 | 0 | 0 | 0 | 0.018859 | 0.018859 | 0.018859 | 2.0071e-11 | 3.3856e-11 | -2.5799e-11 | 0.0003519 | -0.00016885 | -0.00016885 | -3.3286e-11 | 9.6467e-12 | 2.4795e-11 | -0.018749 | 4.207e-05 | 4.207e-05 | 0 | 0 | 0 | 88.4307 | 88.4307 | 88.4307 | 0.99445 | 0.0096914 | 0.0096914 | 0.99436 | 0.0092269 | 0.0092269 | -0.52312 | -104.2483 | -104.2483 | -0.4941 | -105.56 | -105.56
Line_2 | 0 | 0 | 0 | 0.0016332 | 0.0016332 | 0.0016332 | 0 | 0 | 0 | 0.018859 | 0.018859 | 0.018859 | 2.008e-11 | 3.3856e-11 | -2.5799e-11 | 0.0003519 | -0.00016885 | -0.00016885 | -3.3291e-11 | 9.6469e-12 | 2.4795e-11 | -0.018749 | 4.207e-05 | 4.207e-05 | 0 | 0 | 0 | 88.4307 | 88.4307 | 88.4307 | 0.99445 | 0.0096914 | 0.0096914 | 0.99436 | 0.0092269 | 0.0092269 | -0.52312 | -104.2483 | -104.2483 | -0.4941 | -105.56 | -105.56

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0048982 | 0.0048982 | 0.0048982 | 0.0032665 | 0.0032665 | 0.0032665 | 0.05656 | 0.05656 | 0.05656 | 0.037718 | 0.037718 | 0.037718 | 0.0011118 | -0.00036428 | -0.00036428 | -0.0007038 | 0.0003377 | 0.0003377 | -0.056203 | 0.00015615 | 0.00015615 | 0.037499 | -8.414e-05 | -8.414e-05 | 88.5178 | 88.5178 | 88.5178 | -91.5693 | -91.5693 | -91.5693 | 0.99389 | 0.0070073 | 0.0070073 | 0.99436 | 0.0092269 | 0.0092269 | -0.34895 | -114.6844 | -114.6844 | -0.4941 | -105.56 | -105.56
Line_1 | 0 | 0 | 0 | 0.0016332 | 0.0016332 | 0.0016332 | 0 | 0 | 0 | 0.018859 | 0.018859 | 0.018859 | 2.0071e-11 | 3.3856e-11 | -2.5799e-11 | 0.0003519 | -0.00016885 | -0.00016885 | -3.3286e-11 | 9.6467e-12 | 2.4795e-11 | -0.018749 | 4.207e-05 | 4.207e-05 | 0 | 0 | 0 | 88.4307 | 88.4307 | 88.4307 | 0.99445 | 0.0096914 | 0.0096914 | 0.99436 | 0.0092269 | 0.0092269 | -0.52312 | -104.2483 | -104.2483 | -0.4941 | -105.56 | -105.56
Line_2 | 0 | 0 | 0 | 0.0016332 | 0.0016332 | 0.0016332 | 0 | 0 | 0 | 0.018859 | 0.018859 | 0.018859 | 2.008e-11 | 3.3856e-11 | -2.5799e-11 | 0.0003519 | -0.00016885 | -0.00016885 | -3.3291e-11 | 9.6469e-12 | 2.4795e-11 | -0.018749 | 4.207e-05 | 4.207e-05 | 0 | 0 | 0 | 88.4307 | 88.4307 | 88.4307 | 0.99445 | 0.0096914 | 0.0096914 | 0.99436 | 0.0092269 | 0.0092269 | -0.52312 | -104.2483 | -104.2483 | -0.4941 | -105.56 | -105.56

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0035083 | 0.0035083 | 0.0035083 | 0.0023396 | 0.0023396 | 0.0023396 | 0.04051 | 0.04051 | 0.04051 | 0.027015 | 0.027015 | 0.027015 | -0.0078051 | -0.0052892 | 0.013291 | 0.0052134 | 0.0035886 | -0.0088165 | -0.039613 | 0.012696 | -0.0017547 | 0.026435 | -0.008451 | 0.0011668 | 100.849 | 100.8489 | 100.8489 | -79.2382 | -79.2382 | -79.2382 | 0.99665 | 0.3395 | 0.33093 | 0.99736 | 0.33986 | 0.3292 | -0.2974 | -146.534 | 93.3279 | -0.3946 | -146.2304 | 93.2231
Line_1 | 0 | 0 | 0 | 0.0011698 | 0.0011698 | 0.0011698 | 0 | 0 | 0 | 0.013508 | 0.013508 | 0.013508 | 9.0327e-12 | 6.9495e-10 | 6.7977e-10 | -0.0026067 | -0.0017943 | 0.0044083 | -2.6427e-11 | -5.497e-10 | -5.4363e-10 | -0.013217 | 0.0042255 | -0.00058339 | 0 | 0 | 0 | 100.7618 | 100.7618 | 100.7618 | 0.9975 | 0.33993 | 0.32885 | 0.99736 | 0.33986 | 0.3292 | -0.41403 | -146.1697 | 93.2021 | -0.3946 | -146.2304 | 93.2231
Line_2 | 0 | 0 | 0 | 0.0011698 | 0.0011698 | 0.0011698 | 0 | 0 | 0 | 0.013508 | 0.013508 | 0.013508 | 9.0374e-12 | 6.9495e-10 | 6.7976e-10 | -0.0026067 | -0.0017943 | 0.0044083 | -2.6432e-11 | -5.4971e-10 | -5.4362e-10 | -0.013217 | 0.0042255 | -0.00058339 | 0 | 0 | 0 | 100.7618 | 100.7618 | 100.7618 | 0.9975 | 0.33993 | 0.32885 | 0.99736 | 0.33986 | 0.3292 | -0.41403 | -146.1697 | 93.2021 | -0.3946 | -146.2304 | 93.2231

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0035083 | 0.0035083 | 0.0035083 | 0.0023396 | 0.0023396 | 0.0023396 | 0.04051 | 0.04051 | 0.04051 | 0.027015 | 0.027015 | 0.027015 | -0.0078051 | -0.0052892 | 0.013291 | 0.0052134 | 0.0035886 | -0.0088165 | -0.039613 | 0.012696 | -0.0017547 | 0.026435 | -0.008451 | 0.0011668 | 100.849 | 100.8489 | 100.8489 | -79.2382 | -79.2382 | -79.2382 | 0.99665 | 0.3395 | 0.33093 | 0.99736 | 0.33986 | 0.3292 | -0.2974 | -146.534 | 93.3279 | -0.3946 | -146.2304 | 93.2231
Line_1 | 0 | 0 | 0 | 0.0011698 | 0.0011698 | 0.0011698 | 0 | 0 | 0 | 0.013508 | 0.013508 | 0.013508 | 9.0327e-12 | 6.9495e-10 | 6.7977e-10 | -0.0026067 | -0.0017943 | 0.0044083 | -2.6427e-11 | -5.497e-10 | -5.4363e-10 | -0.013217 | 0.0042255 | -0.00058339 | 0 | 0 | 0 | 100.7618 | 100.7618 | 100.7618 | 0.9975 | 0.33993 | 0.32885 | 0.99736 | 0.33986 | 0.3292 | -0.41403 | -146.1697 | 93.2021 | -0.3946 | -146.2304 | 93.2231
Line_2 | 0 | 0 | 0 | 0.0011698 | 0.0011698 | 0.0011698 | 0 | 0 | 0 | 0.013508 | 0.013508 | 0.013508 | 9.0374e-12 | 6.9495e-10 | 6.7976e-10 | -0.0026067 | -0.0017943 | 0.0044083 | -2.6432e-11 | -5.4971e-10 | -5.4362e-10 | -0.013217 | 0.0042255 | -0.00058339 | 0 | 0 | 0 | 100.7618 | 100.7618 | 100.7618 | 0.9975 | 0.33993 | 0.32885 | 0.99736 | 0.33986 | 0.3292 | -0.41403 | -146.1697 | 93.2021 | -0.3946 | -146.2304 | 93.2231