## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.297e-19 | 0 | -4.9284e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.297e-19 | 0 | -4.9284e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6698e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6698e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 1.0421e-14 | 1.0421e-14 | -1.0421e-14 | 2.6058e-15 | -1.0421e-14 | -1.5632e-14 | 5.7634e-09 | -5.7634e-09 | 1.0421e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.0142e-12 | 180 | -180 | 1.0048e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 2.0843e-14 | -1.0421e-14 | -5.2106e-15 | -7.8161e-15 | 1.0421e-14 | -1.0421e-14 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.0017e-12 | -180 | 180 | 1.0048e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -1.0421e-14 | 1.9013e-19 | -1.0421e-14 | 1.3026e-14 | -1.4254e-19 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -1.8276e-28 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.0062e-12 | -180 | 180 | 1.0048e-12 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 1.0421e-14 | 1.0421e-14 | -1.0421e-14 | 2.6058e-15 | -1.0421e-14 | -1.5632e-14 | 5.7634e-09 | -5.7634e-09 | 1.0421e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.0142e-12 | 180 | -180 | 1.0048e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 2.0843e-14 | -1.0421e-14 | -5.2106e-15 | -7.8161e-15 | 1.0421e-14 | -1.0421e-14 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.0017e-12 | -180 | 180 | 1.0048e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -1.0421e-14 | 1.9013e-19 | -1.0421e-14 | 1.3026e-14 | -1.4254e-19 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -1.8276e-28 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.0062e-12 | -180 | 180 | 1.0048e-12 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3027e-15 | -9.5547e-10 | -3.0749e-09 | -6.5133e-15 | 9.5549e-10 | 3.0749e-09 | -5.2106e-15 | 4.0277e-09 | -3.5664e-10 | 7.816e-15 | -4.0277e-09 | 3.5664e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.8418e-13 | -140.8543 | 122.4159 | 2.7622e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 3.185e-10 | 1.025e-09 | -2.6053e-15 | -3.1849e-10 | -1.025e-09 | -5.2106e-15 | -1.3426e-09 | 1.1888e-10 | 7.816e-15 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.738e-13 | -140.8543 | 122.4159 | 2.7622e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | 3.1849e-10 | 1.025e-09 | -5.2106e-15 | -3.1848e-10 | -1.025e-09 | -5.2106e-15 | -1.3426e-09 | 1.1888e-10 | 5.2106e-15 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.7745e-13 | -140.8543 | 122.4159 | 2.7622e-13 | -140.8543 | 122.4159

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3027e-15 | -9.5547e-10 | -3.0749e-09 | -6.5133e-15 | 9.5549e-10 | 3.0749e-09 | -5.2106e-15 | 4.0277e-09 | -3.5664e-10 | 7.816e-15 | -4.0277e-09 | 3.5664e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.8418e-13 | -140.8543 | 122.4159 | 2.7622e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 3.185e-10 | 1.025e-09 | -2.6053e-15 | -3.1849e-10 | -1.025e-09 | -5.2106e-15 | -1.3426e-09 | 1.1888e-10 | 7.816e-15 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.738e-13 | -140.8543 | 122.4159 | 2.7622e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | 3.1849e-10 | 1.025e-09 | -5.2106e-15 | -3.1848e-10 | -1.025e-09 | -5.2106e-15 | -1.3426e-09 | 1.1888e-10 | 5.2106e-15 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.7745e-13 | -140.8543 | 122.4159 | 2.7622e-13 | -140.8543 | 122.4159

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.8422e-14 | -2.3685e-15 | -2.3685e-15 | 2.6053e-14 | 4.7376e-15 | 4.7376e-15 | 2.3685e-14 | 4.7631e-09 | -4.7631e-09 | -2.3685e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.9116e-13 | -180 | 180 | 1.0814e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 2.3688e-15 | -7.1051e-15 | 2.3685e-15 | -2.2902e-19 | 9.4737e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.0931e-12 | -180 | 180 | 1.0814e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -2.3682e-15 | 7.1057e-15 | 2.3685e-15 | 4.7367e-15 | -2.2923e-19 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.0624e-12 | -180 | 180 | 1.0814e-12 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.8422e-14 | -2.3685e-15 | -2.3685e-15 | 2.6053e-14 | 4.7376e-15 | 4.7376e-15 | 2.3685e-14 | 4.7631e-09 | -4.7631e-09 | -2.3685e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.9116e-13 | -180 | 180 | 1.0814e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 2.3688e-15 | -7.1051e-15 | 2.3685e-15 | -2.2902e-19 | 9.4737e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.0931e-12 | -180 | 180 | 1.0814e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -2.3682e-15 | 7.1057e-15 | 2.3685e-15 | 4.7367e-15 | -2.2923e-19 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.0624e-12 | -180 | 180 | 1.0814e-12 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4507e-14 | -8.0024e-10 | -2.5674e-09 | 1.3323e-14 | 8.0024e-10 | 2.5674e-09 | 4.737e-15 | 3.4014e-09 | -3.4064e-10 | -7.1054e-15 | -3.4014e-09 | 3.4064e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 4.0581e-13 | -141.4824 | 122.8363 | 4.386e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9606e-16 | 2.6674e-10 | 8.558e-10 | -2.3685e-15 | -2.6675e-10 | -8.558e-10 | -2.3685e-15 | -1.1338e-09 | 1.1354e-10 | -1.8131e-29 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 4.4169e-13 | -141.4824 | 122.8363 | 4.386e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 2.6675e-10 | 8.558e-10 | 0 | -2.6675e-10 | -8.558e-10 | 2.3685e-15 | -1.1338e-09 | 1.1355e-10 | 0 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 4.3043e-13 | -141.4824 | 122.8363 | 4.386e-13 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4507e-14 | -8.0024e-10 | -2.5674e-09 | 1.3323e-14 | 8.0024e-10 | 2.5674e-09 | 4.737e-15 | 3.4014e-09 | -3.4064e-10 | -7.1054e-15 | -3.4014e-09 | 3.4064e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 4.0581e-13 | -141.4824 | 122.8363 | 4.386e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9606e-16 | 2.6674e-10 | 8.558e-10 | -2.3685e-15 | -2.6675e-10 | -8.558e-10 | -2.3685e-15 | -1.1338e-09 | 1.1354e-10 | -1.8131e-29 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 4.4169e-13 | -141.4824 | 122.8363 | 4.386e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 2.6675e-10 | 8.558e-10 | 0 | -2.6675e-10 | -8.558e-10 | 2.3685e-15 | -1.1338e-09 | 1.1355e-10 | 0 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 4.3043e-13 | -141.4824 | 122.8363 | 4.386e-13 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.014073 | 0.014073 | 0.014073 | 0.0093852 | 0.0093852 | 0.0093852 | 0.16251 | 0.16251 | 0.16251 | 0.10837 | 0.10837 | 0.10837 | -5.0952e-13 | 0.15447 | -0.15282 | 0.00040681 | -0.10272 | 0.10219 | -2.0724e-14 | -0.21174 | -0.24965 | 0.00016188 | 0.14128 | 0.16673 | -97.0333 | -97.0333 | -97.0333 | 82.9213 | 82.9213 | 82.9213 | 0 | 1.6128 | 1.8012 | 0.0040401 | 1.6118 | 1.8044 | 0 | -150.9216 | 141.4942 | 104.6202 | -151.0606 | 141.4172
Line_1 | 0 | 0 | 0 | 0.0046926 | 0.0046926 | 0.0046926 | 0 | 0 | 0 | 0.054186 | 0.054186 | 0.054186 | -5.0205e-12 | -3.9569e-09 | -5.1687e-09 | -0.0002034 | 0.051358 | -0.051093 | 1.8922e-11 | -3.3564e-09 | 2.6567e-09 | -8.094e-05 | -0.070641 | -0.083363 | 0 | 0 | 0 | -97.0787 | -97.0787 | -97.0787 | 0.0048483 | 1.6116 | 1.8051 | 0.0040401 | 1.6118 | 1.8044 | 104.6157 | -151.0885 | 141.4019 | 104.6202 | -151.0606 | 141.4172
Line_2 | 0 | 0 | 0 | 0.0046926 | 0.0046926 | 0.0046926 | 0 | 0 | 0 | 0.054186 | 0.054186 | 0.054186 | -5.0204e-12 | -3.9568e-09 | -5.1687e-09 | -0.0002034 | 0.051358 | -0.051093 | 1.8922e-11 | -3.3564e-09 | 2.6567e-09 | -8.094e-05 | -0.070641 | -0.083363 | 0 | 0 | 0 | -97.0787 | -97.0787 | -97.0787 | 0.0048483 | 1.6116 | 1.8051 | 0.0040401 | 1.6118 | 1.8044 | 104.6157 | -151.0885 | 141.4019 | 104.6202 | -151.0606 | 141.4172

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.014073 | 0.014073 | 0.014073 | 0.0093852 | 0.0093852 | 0.0093852 | 0.16251 | 0.16251 | 0.16251 | 0.10837 | 0.10837 | 0.10837 | -5.0952e-13 | 0.15447 | -0.15282 | 0.00040681 | -0.10272 | 0.10219 | -2.0724e-14 | -0.21174 | -0.24965 | 0.00016188 | 0.14128 | 0.16673 | -97.0333 | -97.0333 | -97.0333 | 82.9213 | 82.9213 | 82.9213 | 0 | 1.6128 | 1.8012 | 0.0040401 | 1.6118 | 1.8044 | 0 | -150.9216 | 141.4942 | 104.6202 | -151.0606 | 141.4172
Line_1 | 0 | 0 | 0 | 0.0046926 | 0.0046926 | 0.0046926 | 0 | 0 | 0 | 0.054186 | 0.054186 | 0.054186 | -5.0205e-12 | -3.9569e-09 | -5.1687e-09 | -0.0002034 | 0.051358 | -0.051093 | 1.8922e-11 | -3.3564e-09 | 2.6567e-09 | -8.094e-05 | -0.070641 | -0.083363 | 0 | 0 | 0 | -97.0787 | -97.0787 | -97.0787 | 0.0048483 | 1.6116 | 1.8051 | 0.0040401 | 1.6118 | 1.8044 | 104.6157 | -151.0885 | 141.4019 | 104.6202 | -151.0606 | 141.4172
Line_2 | 0 | 0 | 0 | 0.0046926 | 0.0046926 | 0.0046926 | 0 | 0 | 0 | 0.054186 | 0.054186 | 0.054186 | -5.0204e-12 | -3.9568e-09 | -5.1687e-09 | -0.0002034 | 0.051358 | -0.051093 | 1.8922e-11 | -3.3564e-09 | 2.6567e-09 | -8.094e-05 | -0.070641 | -0.083363 | 0 | 0 | 0 | -97.0787 | -97.0787 | -97.0787 | 0.0048483 | 1.6116 | 1.8051 | 0.0040401 | 1.6118 | 1.8044 | 104.6157 | -151.0885 | 141.4019 | 104.6202 | -151.0606 | 141.4172

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0077598 | 0.0077598 | 0.0077598 | 0.0051748 | 0.0051748 | 0.0051748 | 0.089602 | 0.089602 | 0.089602 | 0.059754 | 0.059754 | 0.059754 | 0.00017779 | 0.085335 | -0.085012 | 2.858e-05 | -0.05683 | 0.056764 | 0.044413 | -0.086732 | -0.09795 | -0.029569 | 0.057844 | 0.065415 | -93.7676 | -93.7676 | -93.7676 | 86.187 | 86.187 | 86.187 | 0.49567 | 1.3579 | 1.4475 | 0.49485 | 1.3571 | 1.4494 | -3.997 | -139.2329 | 135.2773 | -3.7577 | -139.3196 | 135.2368
Line_1 | 0 | 0 | 0 | 0.0025874 | 0.0025874 | 0.0025874 | 0 | 0 | 0 | 0.029877 | 0.029877 | 0.029877 | 1.0938e-09 | -1.5869e-09 | -2.0651e-09 | -1.429e-05 | 0.028415 | -0.028382 | -1.2909e-10 | -1.8121e-09 | 1.536e-09 | 0.014784 | -0.028922 | -0.032707 | 0 | 0 | 0 | -93.813 | -93.813 | -93.813 | 0.49468 | 1.3569 | 1.4498 | 0.49485 | 1.3571 | 1.4494 | -3.7097 | -139.3369 | 135.2287 | -3.7577 | -139.3196 | 135.2368
Line_2 | 0 | 0 | 0 | 0.0025874 | 0.0025874 | 0.0025874 | 0 | 0 | 0 | 0.029877 | 0.029877 | 0.029877 | 1.0938e-09 | -1.5868e-09 | -2.0651e-09 | -1.429e-05 | 0.028415 | -0.028382 | -1.2909e-10 | -1.8121e-09 | 1.536e-09 | 0.014784 | -0.028922 | -0.032707 | 0 | 0 | 0 | -93.813 | -93.813 | -93.813 | 0.49468 | 1.3569 | 1.4498 | 0.49485 | 1.3571 | 1.4494 | -3.7097 | -139.3369 | 135.2287 | -3.7577 | -139.3196 | 135.2368

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0077598 | 0.0077598 | 0.0077598 | 0.0051748 | 0.0051748 | 0.0051748 | 0.089602 | 0.089602 | 0.089602 | 0.059754 | 0.059754 | 0.059754 | 0.00017779 | 0.085335 | -0.085012 | 2.858e-05 | -0.05683 | 0.056764 | 0.044413 | -0.086732 | -0.09795 | -0.029569 | 0.057844 | 0.065415 | -93.7676 | -93.7676 | -93.7676 | 86.187 | 86.187 | 86.187 | 0.49567 | 1.3579 | 1.4475 | 0.49485 | 1.3571 | 1.4494 | -3.997 | -139.2329 | 135.2773 | -3.7577 | -139.3196 | 135.2368
Line_1 | 0 | 0 | 0 | 0.0025874 | 0.0025874 | 0.0025874 | 0 | 0 | 0 | 0.029877 | 0.029877 | 0.029877 | 1.0938e-09 | -1.5869e-09 | -2.0651e-09 | -1.429e-05 | 0.028415 | -0.028382 | -1.2909e-10 | -1.8121e-09 | 1.536e-09 | 0.014784 | -0.028922 | -0.032707 | 0 | 0 | 0 | -93.813 | -93.813 | -93.813 | 0.49468 | 1.3569 | 1.4498 | 0.49485 | 1.3571 | 1.4494 | -3.7097 | -139.3369 | 135.2287 | -3.7577 | -139.3196 | 135.2368
Line_2 | 0 | 0 | 0 | 0.0025874 | 0.0025874 | 0.0025874 | 0 | 0 | 0 | 0.029877 | 0.029877 | 0.029877 | 1.0938e-09 | -1.5868e-09 | -2.0651e-09 | -1.429e-05 | 0.028415 | -0.028382 | -1.2909e-10 | -1.8121e-09 | 1.536e-09 | 0.014784 | -0.028922 | -0.032707 | 0 | 0 | 0 | -93.813 | -93.813 | -93.813 | 0.49468 | 1.3569 | 1.4498 | 0.49485 | 1.3571 | 1.4494 | -3.7097 | -139.3369 | 135.2287 | -3.7577 | -139.3196 | 135.2368

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.012708 | 0.012708 | 0.012708 | 0.0084745 | 0.0084745 | 0.0084745 | 0.14674 | 0.14674 | 0.14674 | 0.097855 | 0.097855 | 0.097855 | 7.173e-14 | 0.12729 | -0.12471 | 0.00063683 | -0.084426 | 0.083598 | 1.8367e-13 | -0.17161 | -0.20458 | 0.00013206 | 0.11444 | 0.13668 | -97.4531 | -97.4531 | -97.4531 | 82.4597 | 82.4597 | 82.4597 | 0 | 1.4561 | 1.6328 | 0.0066464 | 1.4533 | 1.6374 | 0 | -150.8863 | 141.1794 | 94.1748 | -151.1239 | 141.0093
Line_1 | 0 | 0 | 0 | 0.0042372 | 0.0042372 | 0.0042372 | 0 | 0 | 0 | 0.048927 | 0.048927 | 0.048927 | -2.3578e-12 | -3.1809e-09 | -4.2321e-09 | -0.00031841 | 0.042213 | -0.041799 | 2.9167e-11 | -2.7572e-09 | 2.1503e-09 | -6.6028e-05 | -0.057222 | -0.068342 | 0 | 0 | 0 | -97.5403 | -97.5403 | -97.5403 | 0.0079759 | 1.4528 | 1.6383 | 0.0066464 | 1.4533 | 1.6374 | 94.1661 | -151.1715 | 140.9754 | 94.1748 | -151.1239 | 141.0093
Line_2 | 0 | 0 | 0 | 0.0042372 | 0.0042372 | 0.0042372 | 0 | 0 | 0 | 0.048927 | 0.048927 | 0.048927 | -2.3579e-12 | -3.1809e-09 | -4.232e-09 | -0.00031841 | 0.042213 | -0.041799 | 2.9167e-11 | -2.7571e-09 | 2.1503e-09 | -6.6028e-05 | -0.057222 | -0.068342 | 0 | 0 | 0 | -97.5403 | -97.5403 | -97.5403 | 0.0079759 | 1.4528 | 1.6383 | 0.0066464 | 1.4533 | 1.6374 | 94.1661 | -151.1715 | 140.9754 | 94.1748 | -151.1239 | 141.0093

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.012708 | 0.012708 | 0.012708 | 0.0084745 | 0.0084745 | 0.0084745 | 0.14674 | 0.14674 | 0.14674 | 0.097855 | 0.097855 | 0.097855 | 7.173e-14 | 0.12729 | -0.12471 | 0.00063683 | -0.084426 | 0.083598 | 1.8367e-13 | -0.17161 | -0.20458 | 0.00013206 | 0.11444 | 0.13668 | -97.4531 | -97.4531 | -97.4531 | 82.4597 | 82.4597 | 82.4597 | 0 | 1.4561 | 1.6328 | 0.0066464 | 1.4533 | 1.6374 | 0 | -150.8863 | 141.1794 | 94.1748 | -151.1239 | 141.0093
Line_1 | 0 | 0 | 0 | 0.0042372 | 0.0042372 | 0.0042372 | 0 | 0 | 0 | 0.048927 | 0.048927 | 0.048927 | -2.3578e-12 | -3.1809e-09 | -4.2321e-09 | -0.00031841 | 0.042213 | -0.041799 | 2.9167e-11 | -2.7572e-09 | 2.1503e-09 | -6.6028e-05 | -0.057222 | -0.068342 | 0 | 0 | 0 | -97.5403 | -97.5403 | -97.5403 | 0.0079759 | 1.4528 | 1.6383 | 0.0066464 | 1.4533 | 1.6374 | 94.1661 | -151.1715 | 140.9754 | 94.1748 | -151.1239 | 141.0093
Line_2 | 0 | 0 | 0 | 0.0042372 | 0.0042372 | 0.0042372 | 0 | 0 | 0 | 0.048927 | 0.048927 | 0.048927 | -2.3579e-12 | -3.1809e-09 | -4.232e-09 | -0.00031841 | 0.042213 | -0.041799 | 2.9167e-11 | -2.7571e-09 | 2.1503e-09 | -6.6028e-05 | -0.057222 | -0.068342 | 0 | 0 | 0 | -97.5403 | -97.5403 | -97.5403 | 0.0079759 | 1.4528 | 1.6383 | 0.0066464 | 1.4533 | 1.6374 | 94.1661 | -151.1715 | 140.9754 | 94.1748 | -151.1239 | 141.0093

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0070372 | 0.0070372 | 0.0070372 | 0.0046929 | 0.0046929 | 0.0046929 | 0.081259 | 0.081259 | 0.081259 | 0.054189 | 0.054189 | 0.054189 | 9.5642e-05 | 0.070544 | -0.069848 | 0.00016847 | -0.046921 | 0.046693 | 0.036437 | -0.070927 | -0.080872 | -0.024258 | 0.047269 | 0.054043 | -94.0517 | -94.0517 | -94.0517 | 85.8612 | 85.8612 | 85.8612 | 0.44841 | 1.2311 | 1.3151 | 0.44767 | 1.2291 | 1.318 | -4.202 | -139.207 | 135.1314 | -3.7409 | -139.3505 | 135.0338
Line_1 | 0 | 0 | 0 | 0.0023465 | 0.0023465 | 0.0023465 | 0 | 0 | 0 | 0.027095 | 0.027095 | 0.027095 | 9.0324e-10 | -1.2854e-09 | -1.7052e-09 | -8.4236e-05 | 0.02346 | -0.023347 | -1.0442e-10 | -1.4949e-09 | 1.2525e-09 | 0.012129 | -0.023634 | -0.027021 | 0 | 0 | 0 | -94.1388 | -94.1388 | -94.1388 | 0.44753 | 1.2287 | 1.3186 | 0.44767 | 1.2291 | 1.318 | -3.6485 | -139.3793 | 135.0144 | -3.7409 | -139.3505 | 135.0338
Line_2 | 0 | 0 | 0 | 0.0023465 | 0.0023465 | 0.0023465 | 0 | 0 | 0 | 0.027095 | 0.027095 | 0.027095 | 9.0324e-10 | -1.2854e-09 | -1.7052e-09 | -8.4236e-05 | 0.02346 | -0.023347 | -1.0442e-10 | -1.4949e-09 | 1.2525e-09 | 0.012129 | -0.023634 | -0.027021 | 0 | 0 | 0 | -94.1388 | -94.1388 | -94.1388 | 0.44753 | 1.2287 | 1.3186 | 0.44767 | 1.2291 | 1.318 | -3.6485 | -139.3793 | 135.0144 | -3.7409 | -139.3505 | 135.0338

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0070372 | 0.0070372 | 0.0070372 | 0.0046929 | 0.0046929 | 0.0046929 | 0.081259 | 0.081259 | 0.081259 | 0.054189 | 0.054189 | 0.054189 | 9.5642e-05 | 0.070544 | -0.069848 | 0.00016847 | -0.046921 | 0.046693 | 0.036437 | -0.070927 | -0.080872 | -0.024258 | 0.047269 | 0.054043 | -94.0517 | -94.0517 | -94.0517 | 85.8612 | 85.8612 | 85.8612 | 0.44841 | 1.2311 | 1.3151 | 0.44767 | 1.2291 | 1.318 | -4.202 | -139.207 | 135.1314 | -3.7409 | -139.3505 | 135.0338
Line_1 | 0 | 0 | 0 | 0.0023465 | 0.0023465 | 0.0023465 | 0 | 0 | 0 | 0.027095 | 0.027095 | 0.027095 | 9.0324e-10 | -1.2854e-09 | -1.7052e-09 | -8.4236e-05 | 0.02346 | -0.023347 | -1.0442e-10 | -1.4949e-09 | 1.2525e-09 | 0.012129 | -0.023634 | -0.027021 | 0 | 0 | 0 | -94.1388 | -94.1388 | -94.1388 | 0.44753 | 1.2287 | 1.3186 | 0.44767 | 1.2291 | 1.318 | -3.6485 | -139.3793 | 135.0144 | -3.7409 | -139.3505 | 135.0338
Line_2 | 0 | 0 | 0 | 0.0023465 | 0.0023465 | 0.0023465 | 0 | 0 | 0 | 0.027095 | 0.027095 | 0.027095 | 9.0324e-10 | -1.2854e-09 | -1.7052e-09 | -8.4236e-05 | 0.02346 | -0.023347 | -1.0442e-10 | -1.4949e-09 | 1.2525e-09 | 0.012129 | -0.023634 | -0.027021 | 0 | 0 | 0 | -94.1388 | -94.1388 | -94.1388 | 0.44753 | 1.2287 | 1.3186 | 0.44767 | 1.2291 | 1.318 | -3.6485 | -139.3793 | 135.0144 | -3.7409 | -139.3505 | 135.0338

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0078711 | 0.0078711 | 0.0078711 | 0.0052491 | 0.0052491 | 0.0052491 | 0.090888 | 0.090888 | 0.090888 | 0.060611 | 0.060611 | 0.060611 | 0.00051539 | -9.3984e-14 | -2.3771e-14 | -0.0002927 | 0.00012725 | 0.00012725 | -0.14432 | -8.5585e-14 | 1.2474e-13 | 0.096296 | 5.0637e-05 | 5.0637e-05 | 87.89 | 87.89 | 87.89 | -92.1554 | -92.1554 | -92.1554 | 1.5879 | 0 | 0 | 1.5888 | 0.0022596 | 0.0022596 | -1.9054 | 0 | 0 | -1.9813 | -70.4565 | -70.4565
Line_1 | 0 | 0 | 0 | 0.0026245 | 0.0026245 | 0.0026245 | 0 | 0 | 0 | 0.030305 | 0.030305 | 0.030305 | -2.8524e-09 | 7.0702e-12 | -1.0782e-11 | 0.00014635 | -6.3625e-05 | -6.3625e-05 | -2.2328e-10 | 8.3213e-12 | 1.9859e-12 | -0.048148 | -2.5318e-05 | -2.5318e-05 | 0 | 0 | 0 | 87.8446 | 87.8446 | 87.8446 | 1.5889 | 0.0027116 | 0.0027116 | 1.5888 | 0.0022596 | 0.0022596 | -1.9964 | -70.461 | -70.4611 | -1.9813 | -70.4565 | -70.4565
Line_2 | 0 | 0 | 0 | 0.0026245 | 0.0026245 | 0.0026245 | 0 | 0 | 0 | 0.030305 | 0.030305 | 0.030305 | -2.8524e-09 | 7.0703e-12 | -1.0782e-11 | 0.00014635 | -6.3625e-05 | -6.3625e-05 | -2.2328e-10 | 8.3211e-12 | 1.9858e-12 | -0.048148 | -2.5318e-05 | -2.5318e-05 | 0 | 0 | 0 | 87.8446 | 87.8446 | 87.8446 | 1.5889 | 0.0027116 | 0.0027116 | 1.5888 | 0.0022596 | 0.0022596 | -1.9964 | -70.461 | -70.4611 | -1.9813 | -70.4565 | -70.4565

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0078711 | 0.0078711 | 0.0078711 | 0.0052491 | 0.0052491 | 0.0052491 | 0.090888 | 0.090888 | 0.090888 | 0.060611 | 0.060611 | 0.060611 | 0.00051539 | -9.3984e-14 | -2.3771e-14 | -0.0002927 | 0.00012725 | 0.00012725 | -0.14432 | -8.5585e-14 | 1.2474e-13 | 0.096296 | 5.0637e-05 | 5.0637e-05 | 87.89 | 87.89 | 87.89 | -92.1554 | -92.1554 | -92.1554 | 1.5879 | 0 | 0 | 1.5888 | 0.0022596 | 0.0022596 | -1.9054 | 0 | 0 | -1.9813 | -70.4565 | -70.4565
Line_1 | 0 | 0 | 0 | 0.0026245 | 0.0026245 | 0.0026245 | 0 | 0 | 0 | 0.030305 | 0.030305 | 0.030305 | -2.8524e-09 | 7.0702e-12 | -1.0782e-11 | 0.00014635 | -6.3625e-05 | -6.3625e-05 | -2.2328e-10 | 8.3213e-12 | 1.9859e-12 | -0.048148 | -2.5318e-05 | -2.5318e-05 | 0 | 0 | 0 | 87.8446 | 87.8446 | 87.8446 | 1.5889 | 0.0027116 | 0.0027116 | 1.5888 | 0.0022596 | 0.0022596 | -1.9964 | -70.461 | -70.4611 | -1.9813 | -70.4565 | -70.4565
Line_2 | 0 | 0 | 0 | 0.0026245 | 0.0026245 | 0.0026245 | 0 | 0 | 0 | 0.030305 | 0.030305 | 0.030305 | -2.8524e-09 | 7.0703e-12 | -1.0782e-11 | 0.00014635 | -6.3625e-05 | -6.3625e-05 | -2.2328e-10 | 8.3211e-12 | 1.9858e-12 | -0.048148 | -2.5318e-05 | -2.5318e-05 | 0 | 0 | 0 | 87.8446 | 87.8446 | 87.8446 | 1.5889 | 0.0027116 | 0.0027116 | 1.5888 | 0.0022596 | 0.0022596 | -1.9964 | -70.461 | -70.4611 | -1.9813 | -70.4565 | -70.4565

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.005403 | 0.005403 | 0.005403 | 0.0036031 | 0.0036031 | 0.0036031 | 0.062388 | 0.062388 | 0.062388 | 0.041605 | 0.041605 | 0.041605 | 0.00015665 | -0.04655 | 0.046636 | -9.1812e-05 | 0.031113 | -0.031039 | -0.089534 | 0.017875 | 0.003657 | 0.059732 | -0.011872 | -0.0024396 | 88.6238 | 88.6238 | 88.6238 | -91.4216 | -91.4216 | -91.4216 | 1.4351 | 0.79926 | 0.74982 | 1.4357 | 0.8004 | 0.74833 | -1.276 | -112.3823 | 93.1075 | -1.3336 | -112.307 | 93.0724
Line_1 | 0 | 0 | 0 | 0.0018016 | 0.0018016 | 0.0018016 | 0 | 0 | 0 | 0.020803 | 0.020803 | 0.020803 | -1.7694e-09 | 8.4968e-10 | 6.3807e-10 | 4.5905e-05 | -0.015556 | 0.015519 | -1.3594e-10 | 4.3312e-10 | -1.3667e-09 | -0.029866 | 0.0059358 | 0.0012198 | 0 | 0 | 0 | 88.5784 | 88.5784 | 88.5784 | 1.4358 | 0.80063 | 0.74804 | 1.4357 | 0.8004 | 0.74833 | -1.3451 | -112.292 | 93.0654 | -1.3336 | -112.307 | 93.0724
Line_2 | 0 | 0 | 0 | 0.0018016 | 0.0018016 | 0.0018016 | 0 | 0 | 0 | 0.020803 | 0.020803 | 0.020803 | -1.7695e-09 | 8.4968e-10 | 6.3808e-10 | 4.5905e-05 | -0.015556 | 0.015519 | -1.3593e-10 | 4.3311e-10 | -1.3667e-09 | -0.029866 | 0.0059358 | 0.0012198 | 0 | 0 | 0 | 88.5784 | 88.5784 | 88.5784 | 1.4358 | 0.80063 | 0.74804 | 1.4357 | 0.8004 | 0.74833 | -1.3451 | -112.292 | 93.0654 | -1.3336 | -112.307 | 93.0724

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.005403 | 0.005403 | 0.005403 | 0.0036031 | 0.0036031 | 0.0036031 | 0.062388 | 0.062388 | 0.062388 | 0.041605 | 0.041605 | 0.041605 | 0.00015665 | -0.04655 | 0.046636 | -9.1812e-05 | 0.031113 | -0.031039 | -0.089534 | 0.017875 | 0.003657 | 0.059732 | -0.011872 | -0.0024396 | 88.6238 | 88.6238 | 88.6238 | -91.4216 | -91.4216 | -91.4216 | 1.4351 | 0.79926 | 0.74982 | 1.4357 | 0.8004 | 0.74833 | -1.276 | -112.3823 | 93.1075 | -1.3336 | -112.307 | 93.0724
Line_1 | 0 | 0 | 0 | 0.0018016 | 0.0018016 | 0.0018016 | 0 | 0 | 0 | 0.020803 | 0.020803 | 0.020803 | -1.7694e-09 | 8.4968e-10 | 6.3807e-10 | 4.5905e-05 | -0.015556 | 0.015519 | -1.3594e-10 | 4.3312e-10 | -1.3667e-09 | -0.029866 | 0.0059358 | 0.0012198 | 0 | 0 | 0 | 88.5784 | 88.5784 | 88.5784 | 1.4358 | 0.80063 | 0.74804 | 1.4357 | 0.8004 | 0.74833 | -1.3451 | -112.292 | 93.0654 | -1.3336 | -112.307 | 93.0724
Line_2 | 0 | 0 | 0 | 0.0018016 | 0.0018016 | 0.0018016 | 0 | 0 | 0 | 0.020803 | 0.020803 | 0.020803 | -1.7695e-09 | 8.4968e-10 | 6.3808e-10 | 4.5905e-05 | -0.015556 | 0.015519 | -1.3593e-10 | 4.3311e-10 | -1.3667e-09 | -0.029866 | 0.0059358 | 0.0012198 | 0 | 0 | 0 | 88.5784 | 88.5784 | 88.5784 | 1.4358 | 0.80063 | 0.74804 | 1.4357 | 0.8004 | 0.74833 | -1.3451 | -112.292 | 93.0654 | -1.3336 | -112.307 | 93.0724

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0071426 | 0.0071426 | 0.0071426 | 0.0047632 | 0.0047632 | 0.0047632 | 0.082476 | 0.082476 | 0.082476 | 0.055001 | 0.055001 | 0.055001 | 0.00081485 | -6.5437e-14 | 1.1311e-13 | -0.00046276 | 0.00020119 | 0.00020119 | -0.11884 | 8.942e-14 | 1.3548e-14 | 0.079296 | 4.1719e-05 | 4.1719e-05 | 87.6276 | 87.6276 | 87.6276 | -92.4596 | -92.4596 | -92.4596 | 1.441 | 0 | 0 | 1.4417 | 0.0037357 | 0.0037357 | -1.9796 | 0 | 0 | -2.1252 | -80.7445 | -80.7445
Line_1 | 0 | 0 | 0 | 0.0023816 | 0.0023816 | 0.0023816 | 0 | 0 | 0 | 0.027501 | 0.027501 | 0.027501 | -2.3399e-09 | 1.2656e-11 | -1.5445e-11 | 0.00023138 | -0.00010059 | -0.00010059 | -1.9874e-10 | 1.04e-11 | 5.8245e-12 | -0.039648 | -2.086e-05 | -2.086e-05 | 0 | 0 | 0 | 87.5404 | 87.5404 | 87.5404 | 1.4419 | 0.004483 | 0.004483 | 1.4417 | 0.0037357 | 0.0037357 | -2.1543 | -80.7532 | -80.7532 | -2.1252 | -80.7445 | -80.7445
Line_2 | 0 | 0 | 0 | 0.0023816 | 0.0023816 | 0.0023816 | 0 | 0 | 0 | 0.027501 | 0.027501 | 0.027501 | -2.3399e-09 | 1.2656e-11 | -1.5445e-11 | 0.00023138 | -0.00010059 | -0.00010059 | -1.9873e-10 | 1.0399e-11 | 5.8246e-12 | -0.039648 | -2.086e-05 | -2.086e-05 | 0 | 0 | 0 | 87.5404 | 87.5404 | 87.5404 | 1.4419 | 0.004483 | 0.004483 | 1.4417 | 0.0037357 | 0.0037357 | -2.1543 | -80.7532 | -80.7532 | -2.1252 | -80.7445 | -80.7445

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0071426 | 0.0071426 | 0.0071426 | 0.0047632 | 0.0047632 | 0.0047632 | 0.082476 | 0.082476 | 0.082476 | 0.055001 | 0.055001 | 0.055001 | 0.00081485 | -6.5437e-14 | 1.1311e-13 | -0.00046276 | 0.00020119 | 0.00020119 | -0.11884 | 8.942e-14 | 1.3548e-14 | 0.079296 | 4.1719e-05 | 4.1719e-05 | 87.6276 | 87.6276 | 87.6276 | -92.4596 | -92.4596 | -92.4596 | 1.441 | 0 | 0 | 1.4417 | 0.0037357 | 0.0037357 | -1.9796 | 0 | 0 | -2.1252 | -80.7445 | -80.7445
Line_1 | 0 | 0 | 0 | 0.0023816 | 0.0023816 | 0.0023816 | 0 | 0 | 0 | 0.027501 | 0.027501 | 0.027501 | -2.3399e-09 | 1.2656e-11 | -1.5445e-11 | 0.00023138 | -0.00010059 | -0.00010059 | -1.9874e-10 | 1.04e-11 | 5.8245e-12 | -0.039648 | -2.086e-05 | -2.086e-05 | 0 | 0 | 0 | 87.5404 | 87.5404 | 87.5404 | 1.4419 | 0.004483 | 0.004483 | 1.4417 | 0.0037357 | 0.0037357 | -2.1543 | -80.7532 | -80.7532 | -2.1252 | -80.7445 | -80.7445
Line_2 | 0 | 0 | 0 | 0.0023816 | 0.0023816 | 0.0023816 | 0 | 0 | 0 | 0.027501 | 0.027501 | 0.027501 | -2.3399e-09 | 1.2656e-11 | -1.5445e-11 | 0.00023138 | -0.00010059 | -0.00010059 | -1.9873e-10 | 1.0399e-11 | 5.8246e-12 | -0.039648 | -2.086e-05 | -2.086e-05 | 0 | 0 | 0 | 87.5404 | 87.5404 | 87.5404 | 1.4419 | 0.004483 | 0.004483 | 1.4417 | 0.0037357 | 0.0037357 | -2.1543 | -80.7532 | -80.7532 | -2.1252 | -80.7445 | -80.7445

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0049096 | 0.0049096 | 0.0049096 | 0.0032741 | 0.0032741 | 0.0032741 | 0.056691 | 0.056691 | 0.056691 | 0.037806 | 0.037806 | 0.037806 | 0.00033844 | -0.038054 | 0.038101 | -0.00020559 | 0.025487 | -0.02531 | -0.073887 | 0.014777 | 0.0029585 | 0.049293 | -0.0097959 | -0.0019919 | 88.4166 | 88.4166 | 88.4166 | -91.6706 | -91.6706 | -91.6706 | 1.3033 | 0.72008 | 0.6741 | 1.3038 | 0.72224 | 0.67155 | -1.321 | -112.805 | 92.8567 | -1.4316 | -112.6945 | 92.8292
Line_1 | 0 | 0 | 0 | 0.0016371 | 0.0016371 | 0.0016371 | 0 | 0 | 0 | 0.018903 | 0.018903 | 0.018903 | -1.4547e-09 | 7.1323e-10 | 5.3778e-10 | 0.00010279 | -0.012744 | 0.012655 | -1.2129e-10 | 3.3796e-10 | -1.1238e-09 | -0.024646 | 0.004898 | 0.00099594 | 0 | 0 | 0 | 88.3294 | 88.3294 | 88.3294 | 1.3039 | 0.72267 | 0.67104 | 1.3038 | 0.72224 | 0.67155 | -1.4537 | -112.6725 | 92.8238 | -1.4316 | -112.6945 | 92.8292
Line_2 | 0 | 0 | 0 | 0.0016371 | 0.0016371 | 0.0016371 | 0 | 0 | 0 | 0.018903 | 0.018903 | 0.018903 | -1.4547e-09 | 7.1322e-10 | 5.3778e-10 | 0.00010279 | -0.012744 | 0.012655 | -1.2129e-10 | 3.3796e-10 | -1.1238e-09 | -0.024646 | 0.004898 | 0.00099594 | 0 | 0 | 0 | 88.3294 | 88.3294 | 88.3294 | 1.3039 | 0.72267 | 0.67104 | 1.3038 | 0.72224 | 0.67155 | -1.4537 | -112.6725 | 92.8238 | -1.4316 | -112.6945 | 92.8292

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0049096 | 0.0049096 | 0.0049096 | 0.0032741 | 0.0032741 | 0.0032741 | 0.056691 | 0.056691 | 0.056691 | 0.037806 | 0.037806 | 0.037806 | 0.00033844 | -0.038054 | 0.038101 | -0.00020559 | 0.025487 | -0.02531 | -0.073887 | 0.014777 | 0.0029585 | 0.049293 | -0.0097959 | -0.0019919 | 88.4166 | 88.4166 | 88.4166 | -91.6706 | -91.6706 | -91.6706 | 1.3033 | 0.72008 | 0.6741 | 1.3038 | 0.72224 | 0.67155 | -1.321 | -112.805 | 92.8567 | -1.4316 | -112.6945 | 92.8292
Line_1 | 0 | 0 | 0 | 0.0016371 | 0.0016371 | 0.0016371 | 0 | 0 | 0 | 0.018903 | 0.018903 | 0.018903 | -1.4547e-09 | 7.1323e-10 | 5.3778e-10 | 0.00010279 | -0.012744 | 0.012655 | -1.2129e-10 | 3.3796e-10 | -1.1238e-09 | -0.024646 | 0.004898 | 0.00099594 | 0 | 0 | 0 | 88.3294 | 88.3294 | 88.3294 | 1.3039 | 0.72267 | 0.67104 | 1.3038 | 0.72224 | 0.67155 | -1.4537 | -112.6725 | 92.8238 | -1.4316 | -112.6945 | 92.8292
Line_2 | 0 | 0 | 0 | 0.0016371 | 0.0016371 | 0.0016371 | 0 | 0 | 0 | 0.018903 | 0.018903 | 0.018903 | -1.4547e-09 | 7.1322e-10 | 5.3778e-10 | 0.00010279 | -0.012744 | 0.012655 | -1.2129e-10 | 3.3796e-10 | -1.1238e-09 | -0.024646 | 0.004898 | 0.00099594 | 0 | 0 | 0 | 88.3294 | 88.3294 | 88.3294 | 1.3039 | 0.72267 | 0.67104 | 1.3038 | 0.72224 | 0.67155 | -1.4537 | -112.6725 | 92.8238 | -1.4316 | -112.6945 | 92.8292