## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.297e-19 | 0 | -4.9284e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.297e-19 | 0 | -4.9284e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6698e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6698e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | 5.2106e-15 | -5.2106e-15 | 1.5632e-14 | 4.2689e-19 | -1.0421e-14 | -1.0421e-14 | 5.7634e-09 | -5.7634e-09 | 1.5632e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.0325e-13 | 180 | -180 | 6.9175e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 5.2108e-15 | -5.2105e-15 | -1.0421e-14 | 1.0421e-14 | -1.4252e-19 | 5.2106e-15 | -1.9212e-09 | 1.9211e-09 | -1.2582e-28 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.868e-13 | -180 | 180 | 6.9175e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -5.2105e-15 | -5.2105e-15 | 6.291e-29 | 2.0842e-14 | -1.4252e-19 | 1.0421e-14 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.9387e-13 | -180 | 180 | 6.9175e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | 5.2106e-15 | -5.2106e-15 | 1.5632e-14 | 4.2689e-19 | -1.0421e-14 | -1.0421e-14 | 5.7634e-09 | -5.7634e-09 | 1.5632e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.0325e-13 | 180 | -180 | 6.9175e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 5.2108e-15 | -5.2105e-15 | -1.0421e-14 | 1.0421e-14 | -1.4252e-19 | 5.2106e-15 | -1.9212e-09 | 1.9211e-09 | -1.2582e-28 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.868e-13 | -180 | 180 | 6.9175e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -5.2105e-15 | -5.2105e-15 | 6.291e-29 | 2.0842e-14 | -1.4252e-19 | 1.0421e-14 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.9387e-13 | -180 | 180 | 6.9175e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3027e-14 | -9.5549e-10 | -3.075e-09 | 5.2106e-15 | 9.5549e-10 | 3.075e-09 | -1.0421e-14 | 4.0277e-09 | -3.5663e-10 | 1.0421e-14 | -4.0277e-09 | 3.5664e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.3217e-13 | -140.8543 | 122.4159 | 2.2029e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3027e-15 | 3.185e-10 | 1.025e-09 | -6.5133e-15 | -3.1849e-10 | -1.025e-09 | -2.6053e-15 | -1.3426e-09 | 1.1888e-10 | 2.6053e-15 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.1434e-13 | -140.8543 | 122.4159 | 2.2029e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 3.185e-10 | 1.025e-09 | -5.2106e-15 | -3.1848e-10 | -1.025e-09 | -2.0174e-29 | -1.3426e-09 | 1.1889e-10 | -2.0034e-29 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.2183e-13 | -140.8543 | 122.4159 | 2.2029e-13 | -140.8543 | 122.4159

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3027e-14 | -9.5549e-10 | -3.075e-09 | 5.2106e-15 | 9.5549e-10 | 3.075e-09 | -1.0421e-14 | 4.0277e-09 | -3.5663e-10 | 1.0421e-14 | -4.0277e-09 | 3.5664e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.3217e-13 | -140.8543 | 122.4159 | 2.2029e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3027e-15 | 3.185e-10 | 1.025e-09 | -6.5133e-15 | -3.1849e-10 | -1.025e-09 | -2.6053e-15 | -1.3426e-09 | 1.1888e-10 | 2.6053e-15 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.1434e-13 | -140.8543 | 122.4159 | 2.2029e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 3.185e-10 | 1.025e-09 | -5.2106e-15 | -3.1848e-10 | -1.025e-09 | -2.0174e-29 | -1.3426e-09 | 1.1889e-10 | -2.0034e-29 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.2183e-13 | -140.8543 | 122.4159 | 2.2029e-13 | -140.8543 | 122.4159

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.1316e-14 | -8.2897e-15 | -8.1194e-21 | 1.8948e-14 | 1.5396e-14 | 2.3692e-15 | -2.9475e-28 | 4.7631e-09 | -4.7631e-09 | 4.737e-15 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.9225e-13 | -180 | 180 | 8.0376e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.6342e-29 | 5.9215e-15 | 3.0472e-19 | -2.3685e-15 | -3.5529e-15 | 2.3682e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -3.3226e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.0244e-13 | -180 | 180 | 8.0376e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.4803e-29 | 5.9215e-15 | 4.7373e-15 | -4.737e-15 | 1.184e-15 | -2.3687e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.8382e-13 | -180 | 180 | 8.0376e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.1316e-14 | -8.2897e-15 | -8.1194e-21 | 1.8948e-14 | 1.5396e-14 | 2.3692e-15 | -2.9475e-28 | 4.7631e-09 | -4.7631e-09 | 4.737e-15 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.9225e-13 | -180 | 180 | 8.0376e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.6342e-29 | 5.9215e-15 | 3.0472e-19 | -2.3685e-15 | -3.5529e-15 | 2.3682e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -3.3226e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.0244e-13 | -180 | 180 | 8.0376e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.4803e-29 | 5.9215e-15 | 4.7373e-15 | -4.737e-15 | 1.184e-15 | -2.3687e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.8382e-13 | -180 | 180 | 8.0376e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | -8.0024e-10 | -2.5674e-09 | 5.9212e-15 | 8.0024e-10 | 2.5674e-09 | -9.4739e-15 | 3.4014e-09 | -3.4065e-10 | 4.737e-15 | -3.4014e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.8685e-13 | -141.4824 | 122.8363 | 2.8385e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6675e-10 | 8.558e-10 | -2.6645e-15 | -2.6675e-10 | -8.558e-10 | 0 | -1.1338e-09 | 1.1355e-10 | -1.32e-29 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.8167e-13 | -141.4824 | 122.8363 | 2.8385e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5527e-15 | 2.6675e-10 | 8.558e-10 | 1.1842e-15 | -2.6675e-10 | -8.558e-10 | 7.1054e-15 | -1.1338e-09 | 1.1355e-10 | -4.737e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.7467e-13 | -141.4824 | 122.8363 | 2.8385e-13 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | -8.0024e-10 | -2.5674e-09 | 5.9212e-15 | 8.0024e-10 | 2.5674e-09 | -9.4739e-15 | 3.4014e-09 | -3.4065e-10 | 4.737e-15 | -3.4014e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.8685e-13 | -141.4824 | 122.8363 | 2.8385e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6675e-10 | 8.558e-10 | -2.6645e-15 | -2.6675e-10 | -8.558e-10 | 0 | -1.1338e-09 | 1.1355e-10 | -1.32e-29 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.8167e-13 | -141.4824 | 122.8363 | 2.8385e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5527e-15 | 2.6675e-10 | 8.558e-10 | 1.1842e-15 | -2.6675e-10 | -8.558e-10 | 7.1054e-15 | -1.1338e-09 | 1.1355e-10 | -4.737e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.7467e-13 | -141.4824 | 122.8363 | 2.8385e-13 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.015275 | 0.015275 | 0.015275 | 0.010186 | 0.010186 | 0.010186 | 0.17638 | 0.17638 | 0.17638 | 0.11762 | 0.11762 | 0.11762 | -3.5945e-13 | 0.16185 | -0.15991 | 0.00047923 | -0.10757 | 0.10695 | -7.2401e-14 | -0.22328 | -0.32024 | 0.0001907 | 0.14901 | 0.21383 | -106.7694 | -106.7694 | -106.7694 | 73.1852 | 73.1852 | 73.1852 | 0 | 1.5635 | 2.0294 | 0.004385 | 1.5624 | 2.0327 | 0 | -160.8325 | 136.6958 | 94.8841 | -160.9883 | 136.6134
Line_1 | 0 | 0 | 0 | 0.0050932 | 0.0050932 | 0.0050932 | 0 | 0 | 0 | 0.058811 | 0.058811 | 0.058811 | -1.9069e-12 | -4.1947e-09 | -7.3001e-09 | -0.00023961 | 0.053786 | -0.053474 | 2.1147e-11 | -4.1354e-09 | 2.3425e-09 | -9.5349e-05 | -0.074503 | -0.10692 | 0 | 0 | 0 | -106.8148 | -106.8148 | -106.8148 | 0.0052622 | 1.5622 | 2.0333 | 0.004385 | 1.5624 | 2.0327 | 94.8796 | -161.0195 | 136.597 | 94.8841 | -160.9883 | 136.6134
Line_2 | 0 | 0 | 0 | 0.0050932 | 0.0050932 | 0.0050932 | 0 | 0 | 0 | 0.058811 | 0.058811 | 0.058811 | -1.9069e-12 | -4.1947e-09 | -7.3001e-09 | -0.00023961 | 0.053786 | -0.053474 | 2.1147e-11 | -4.1354e-09 | 2.3426e-09 | -9.5349e-05 | -0.074503 | -0.10692 | 0 | 0 | 0 | -106.8148 | -106.8148 | -106.8148 | 0.0052622 | 1.5622 | 2.0333 | 0.004385 | 1.5624 | 2.0327 | 94.8796 | -161.0195 | 136.597 | 94.8841 | -160.9883 | 136.6134

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.015275 | 0.015275 | 0.015275 | 0.010186 | 0.010186 | 0.010186 | 0.17638 | 0.17638 | 0.17638 | 0.11762 | 0.11762 | 0.11762 | -3.5945e-13 | 0.16185 | -0.15991 | 0.00047923 | -0.10757 | 0.10695 | -7.2401e-14 | -0.22328 | -0.32024 | 0.0001907 | 0.14901 | 0.21383 | -106.7694 | -106.7694 | -106.7694 | 73.1852 | 73.1852 | 73.1852 | 0 | 1.5635 | 2.0294 | 0.004385 | 1.5624 | 2.0327 | 0 | -160.8325 | 136.6958 | 94.8841 | -160.9883 | 136.6134
Line_1 | 0 | 0 | 0 | 0.0050932 | 0.0050932 | 0.0050932 | 0 | 0 | 0 | 0.058811 | 0.058811 | 0.058811 | -1.9069e-12 | -4.1947e-09 | -7.3001e-09 | -0.00023961 | 0.053786 | -0.053474 | 2.1147e-11 | -4.1354e-09 | 2.3425e-09 | -9.5349e-05 | -0.074503 | -0.10692 | 0 | 0 | 0 | -106.8148 | -106.8148 | -106.8148 | 0.0052622 | 1.5622 | 2.0333 | 0.004385 | 1.5624 | 2.0327 | 94.8796 | -161.0195 | 136.597 | 94.8841 | -160.9883 | 136.6134
Line_2 | 0 | 0 | 0 | 0.0050932 | 0.0050932 | 0.0050932 | 0 | 0 | 0 | 0.058811 | 0.058811 | 0.058811 | -1.9069e-12 | -4.1947e-09 | -7.3001e-09 | -0.00023961 | 0.053786 | -0.053474 | 2.1147e-11 | -4.1354e-09 | 2.3426e-09 | -9.5349e-05 | -0.074503 | -0.10692 | 0 | 0 | 0 | -106.8148 | -106.8148 | -106.8148 | 0.0052622 | 1.5622 | 2.0333 | 0.004385 | 1.5624 | 2.0327 | 94.8796 | -161.0195 | 136.597 | 94.8841 | -160.9883 | 136.6134

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0067752 | 0.0067752 | 0.0067752 | 0.0045182 | 0.0045182 | 0.0045182 | 0.078233 | 0.078233 | 0.078233 | 0.052172 | 0.052172 | 0.052172 | -0.034145 | 0.080705 | -0.046179 | 0.022884 | -0.053743 | 0.030831 | 0.036709 | -0.032712 | -0.11093 | -0.024425 | 0.02181 | 0.074037 | -121.6511 | -121.6511 | -121.6511 | 58.3036 | 58.3036 | 58.3036 | 0.64083 | 1.1131 | 1.5359 | 0.64154 | 1.1117 | 1.5372 | 11.2761 | -143.7154 | 125.7473 | 11.438 | -143.7847 | 125.6953
Line_1 | 0 | 0 | 0 | 0.0022591 | 0.0022591 | 0.0022591 | 0 | 0 | 0 | 0.026086 | 0.026086 | 0.026086 | 1.0267e-09 | -4.2777e-10 | -2.4969e-09 | -0.011442 | 0.026872 | -0.015416 | 5.1468e-10 | -1.8089e-09 | 6.1429e-10 | 0.012212 | -0.010905 | -0.037019 | 0 | 0 | 0 | -121.6964 | -121.6964 | -121.6964 | 0.64168 | 1.1114 | 1.5375 | 0.64154 | 1.1117 | 1.5372 | 11.4703 | -143.7985 | 125.685 | 11.438 | -143.7847 | 125.6953
Line_2 | 0 | 0 | 0 | 0.0022591 | 0.0022591 | 0.0022591 | 0 | 0 | 0 | 0.026086 | 0.026086 | 0.026086 | 1.0267e-09 | -4.2778e-10 | -2.4969e-09 | -0.011442 | 0.026872 | -0.015416 | 5.1468e-10 | -1.8089e-09 | 6.1428e-10 | 0.012212 | -0.010905 | -0.037019 | 0 | 0 | 0 | -121.6964 | -121.6964 | -121.6964 | 0.64168 | 1.1114 | 1.5375 | 0.64154 | 1.1117 | 1.5372 | 11.4703 | -143.7985 | 125.685 | 11.438 | -143.7847 | 125.6953

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0067752 | 0.0067752 | 0.0067752 | 0.0045182 | 0.0045182 | 0.0045182 | 0.078233 | 0.078233 | 0.078233 | 0.052172 | 0.052172 | 0.052172 | -0.034145 | 0.080705 | -0.046179 | 0.022884 | -0.053743 | 0.030831 | 0.036709 | -0.032712 | -0.11093 | -0.024425 | 0.02181 | 0.074037 | -121.6511 | -121.6511 | -121.6511 | 58.3036 | 58.3036 | 58.3036 | 0.64083 | 1.1131 | 1.5359 | 0.64154 | 1.1117 | 1.5372 | 11.2761 | -143.7154 | 125.7473 | 11.438 | -143.7847 | 125.6953
Line_1 | 0 | 0 | 0 | 0.0022591 | 0.0022591 | 0.0022591 | 0 | 0 | 0 | 0.026086 | 0.026086 | 0.026086 | 1.0267e-09 | -4.2777e-10 | -2.4969e-09 | -0.011442 | 0.026872 | -0.015416 | 5.1468e-10 | -1.8089e-09 | 6.1429e-10 | 0.012212 | -0.010905 | -0.037019 | 0 | 0 | 0 | -121.6964 | -121.6964 | -121.6964 | 0.64168 | 1.1114 | 1.5375 | 0.64154 | 1.1117 | 1.5372 | 11.4703 | -143.7985 | 125.685 | 11.438 | -143.7847 | 125.6953
Line_2 | 0 | 0 | 0 | 0.0022591 | 0.0022591 | 0.0022591 | 0 | 0 | 0 | 0.026086 | 0.026086 | 0.026086 | 1.0267e-09 | -4.2778e-10 | -2.4969e-09 | -0.011442 | 0.026872 | -0.015416 | 5.1468e-10 | -1.8089e-09 | 6.1428e-10 | 0.012212 | -0.010905 | -0.037019 | 0 | 0 | 0 | -121.6964 | -121.6964 | -121.6964 | 0.64168 | 1.1114 | 1.5375 | 0.64154 | 1.1117 | 1.5372 | 11.4703 | -143.7985 | 125.685 | 11.438 | -143.7847 | 125.6953

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.013797 | 0.013797 | 0.013797 | 0.0092007 | 0.0092007 | 0.0092007 | 0.15931 | 0.15931 | 0.15931 | 0.10624 | 0.10624 | 0.10624 | 2.5359e-14 | 0.13301 | -0.12997 | 0.00075065 | -0.088135 | 0.087159 | 1.4403e-13 | -0.17994 | -0.26347 | 0.00015566 | 0.12002 | 0.17599 | -107.6211 | -107.6211 | -107.6211 | 72.2917 | 72.2917 | 72.2917 | 0 | 1.4046 | 1.8441 | 0.0072159 | 1.4016 | 1.8486 | 0 | -161.1494 | 136.1215 | 84.0068 | -161.4171 | 135.945
Line_1 | 0 | 0 | 0 | 0.0046003 | 0.0046003 | 0.0046003 | 0 | 0 | 0 | 0.05312 | 0.05312 | 0.05312 | 3.0449e-12 | -3.3477e-09 | -6.0202e-09 | -0.00037532 | 0.044067 | -0.04358 | 3.1577e-11 | -3.4019e-09 | 1.8589e-09 | -7.7829e-05 | -0.06001 | -0.087996 | 0 | 0 | 0 | -107.7083 | -107.7083 | -107.7083 | 0.0086593 | 1.401 | 1.8495 | 0.0072159 | 1.4016 | 1.8486 | 83.9981 | -161.4708 | 135.9098 | 84.0068 | -161.4171 | 135.945
Line_2 | 0 | 0 | 0 | 0.0046003 | 0.0046003 | 0.0046003 | 0 | 0 | 0 | 0.05312 | 0.05312 | 0.05312 | 3.0449e-12 | -3.3477e-09 | -6.0202e-09 | -0.00037532 | 0.044067 | -0.04358 | 3.1577e-11 | -3.4018e-09 | 1.8589e-09 | -7.7829e-05 | -0.06001 | -0.087996 | 0 | 0 | 0 | -107.7083 | -107.7083 | -107.7083 | 0.0086593 | 1.401 | 1.8495 | 0.0072159 | 1.4016 | 1.8486 | 83.9981 | -161.4708 | 135.9098 | 84.0068 | -161.4171 | 135.945

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.013797 | 0.013797 | 0.013797 | 0.0092007 | 0.0092007 | 0.0092007 | 0.15931 | 0.15931 | 0.15931 | 0.10624 | 0.10624 | 0.10624 | 2.5359e-14 | 0.13301 | -0.12997 | 0.00075065 | -0.088135 | 0.087159 | 1.4403e-13 | -0.17994 | -0.26347 | 0.00015566 | 0.12002 | 0.17599 | -107.6211 | -107.6211 | -107.6211 | 72.2917 | 72.2917 | 72.2917 | 0 | 1.4046 | 1.8441 | 0.0072159 | 1.4016 | 1.8486 | 0 | -161.1494 | 136.1215 | 84.0068 | -161.4171 | 135.945
Line_1 | 0 | 0 | 0 | 0.0046003 | 0.0046003 | 0.0046003 | 0 | 0 | 0 | 0.05312 | 0.05312 | 0.05312 | 3.0449e-12 | -3.3477e-09 | -6.0202e-09 | -0.00037532 | 0.044067 | -0.04358 | 3.1577e-11 | -3.4019e-09 | 1.8589e-09 | -7.7829e-05 | -0.06001 | -0.087996 | 0 | 0 | 0 | -107.7083 | -107.7083 | -107.7083 | 0.0086593 | 1.401 | 1.8495 | 0.0072159 | 1.4016 | 1.8486 | 83.9981 | -161.4708 | 135.9098 | 84.0068 | -161.4171 | 135.945
Line_2 | 0 | 0 | 0 | 0.0046003 | 0.0046003 | 0.0046003 | 0 | 0 | 0 | 0.05312 | 0.05312 | 0.05312 | 3.0449e-12 | -3.3477e-09 | -6.0202e-09 | -0.00037532 | 0.044067 | -0.04358 | 3.1577e-11 | -3.4018e-09 | 1.8589e-09 | -7.7829e-05 | -0.06001 | -0.087996 | 0 | 0 | 0 | -107.7083 | -107.7083 | -107.7083 | 0.0086593 | 1.401 | 1.8495 | 0.0072159 | 1.4016 | 1.8486 | 83.9981 | -161.4708 | 135.9098 | 84.0068 | -161.4171 | 135.945

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0061334 | 0.0061334 | 0.0061334 | 0.0040902 | 0.0040902 | 0.0040902 | 0.070822 | 0.070822 | 0.070822 | 0.04723 | 0.04723 | 0.04723 | -0.027926 | 0.066317 | -0.03779 | 0.018802 | -0.044104 | 0.025257 | 0.030099 | -0.026427 | -0.091304 | -0.020013 | 0.017587 | 0.060958 | -121.93 | -121.93 | -121.93 | 57.9828 | 57.9828 | 57.9828 | 0.57974 | 1.008 | 1.3953 | 0.58141 | 1.0053 | 1.3971 | 10.9247 | -143.6573 | 125.5855 | 11.195 | -143.7579 | 125.4766
Line_1 | 0 | 0 | 0 | 0.0020451 | 0.0020451 | 0.0020451 | 0 | 0 | 0 | 0.023615 | 0.023615 | 0.023615 | 8.5118e-10 | -3.3036e-10 | -2.0596e-09 | -0.0094009 | 0.022052 | -0.012629 | 4.161e-10 | -1.4855e-09 | 4.8709e-10 | 0.010007 | -0.0087936 | -0.030479 | 0 | 0 | 0 | -122.0172 | -122.0172 | -122.0172 | 0.58175 | 1.0048 | 1.3974 | 0.58141 | 1.0053 | 1.3971 | 11.2489 | -143.778 | 125.4548 | 11.195 | -143.7579 | 125.4766
Line_2 | 0 | 0 | 0 | 0.0020451 | 0.0020451 | 0.0020451 | 0 | 0 | 0 | 0.023615 | 0.023615 | 0.023615 | 8.5118e-10 | -3.3035e-10 | -2.0596e-09 | -0.0094009 | 0.022052 | -0.012629 | 4.161e-10 | -1.4854e-09 | 4.8708e-10 | 0.010007 | -0.0087936 | -0.030479 | 0 | 0 | 0 | -122.0172 | -122.0172 | -122.0172 | 0.58175 | 1.0048 | 1.3974 | 0.58141 | 1.0053 | 1.3971 | 11.2489 | -143.778 | 125.4548 | 11.195 | -143.7579 | 125.4766

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0061334 | 0.0061334 | 0.0061334 | 0.0040902 | 0.0040902 | 0.0040902 | 0.070822 | 0.070822 | 0.070822 | 0.04723 | 0.04723 | 0.04723 | -0.027926 | 0.066317 | -0.03779 | 0.018802 | -0.044104 | 0.025257 | 0.030099 | -0.026427 | -0.091304 | -0.020013 | 0.017587 | 0.060958 | -121.93 | -121.93 | -121.93 | 57.9828 | 57.9828 | 57.9828 | 0.57974 | 1.008 | 1.3953 | 0.58141 | 1.0053 | 1.3971 | 10.9247 | -143.6573 | 125.5855 | 11.195 | -143.7579 | 125.4766
Line_1 | 0 | 0 | 0 | 0.0020451 | 0.0020451 | 0.0020451 | 0 | 0 | 0 | 0.023615 | 0.023615 | 0.023615 | 8.5118e-10 | -3.3036e-10 | -2.0596e-09 | -0.0094009 | 0.022052 | -0.012629 | 4.161e-10 | -1.4855e-09 | 4.8709e-10 | 0.010007 | -0.0087936 | -0.030479 | 0 | 0 | 0 | -122.0172 | -122.0172 | -122.0172 | 0.58175 | 1.0048 | 1.3974 | 0.58141 | 1.0053 | 1.3971 | 11.2489 | -143.778 | 125.4548 | 11.195 | -143.7579 | 125.4766
Line_2 | 0 | 0 | 0 | 0.0020451 | 0.0020451 | 0.0020451 | 0 | 0 | 0 | 0.023615 | 0.023615 | 0.023615 | 8.5118e-10 | -3.3035e-10 | -2.0596e-09 | -0.0094009 | 0.022052 | -0.012629 | 4.161e-10 | -1.4854e-09 | 4.8708e-10 | 0.010007 | -0.0087936 | -0.030479 | 0 | 0 | 0 | -122.0172 | -122.0172 | -122.0172 | 0.58175 | 1.0048 | 1.3974 | 0.58141 | 1.0053 | 1.3971 | 11.2489 | -143.778 | 125.4548 | 11.195 | -143.7579 | 125.4766

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0081018 | 0.0081018 | 0.0081018 | 0.0054029 | 0.0054029 | 0.0054029 | 0.093552 | 0.093552 | 0.093552 | 0.062388 | 0.062388 | 0.062388 | 0.00054605 | -2.7926e-14 | -3.1154e-14 | -0.00031011 | 0.00013482 | 0.00013482 | -0.15291 | -5.2573e-14 | 5.0527e-14 | 0.10202 | 5.3648e-05 | 5.3648e-05 | 85.4592 | 85.4592 | 85.4592 | -94.5862 | -94.5862 | -94.5862 | 1.6345 | 0 | 0 | 1.6353 | 0.0023258 | 0.0023258 | -4.3362 | 0 | 0 | -4.4121 | -72.8873 | -72.8873
Line_1 | 0 | 0 | 0 | 0.0027015 | 0.0027015 | 0.0027015 | 0 | 0 | 0 | 0.031194 | 0.031194 | 0.031194 | -3.231e-09 | 7.6334e-12 | -1.1002e-11 | 0.00015505 | -6.741e-05 | -6.741e-05 | -5.0919e-10 | 8.2476e-12 | 2.5116e-12 | -0.051012 | -2.6824e-05 | -2.6824e-05 | 0 | 0 | 0 | 85.4138 | 85.4138 | 85.4138 | 1.6355 | 0.0027911 | 0.0027911 | 1.6353 | 0.0023258 | 0.0023258 | -4.4272 | -72.8918 | -72.8918 | -4.4121 | -72.8873 | -72.8873
Line_2 | 0 | 0 | 0 | 0.0027015 | 0.0027015 | 0.0027015 | 0 | 0 | 0 | 0.031194 | 0.031194 | 0.031194 | -3.231e-09 | 7.6333e-12 | -1.1002e-11 | 0.00015505 | -6.741e-05 | -6.741e-05 | -5.0922e-10 | 8.2476e-12 | 2.5117e-12 | -0.051012 | -2.6824e-05 | -2.6824e-05 | 0 | 0 | 0 | 85.4138 | 85.4138 | 85.4138 | 1.6355 | 0.0027911 | 0.0027911 | 1.6353 | 0.0023258 | 0.0023258 | -4.4272 | -72.8918 | -72.8918 | -4.4121 | -72.8873 | -72.8873

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0081018 | 0.0081018 | 0.0081018 | 0.0054029 | 0.0054029 | 0.0054029 | 0.093552 | 0.093552 | 0.093552 | 0.062388 | 0.062388 | 0.062388 | 0.00054605 | -2.7926e-14 | -3.1154e-14 | -0.00031011 | 0.00013482 | 0.00013482 | -0.15291 | -5.2573e-14 | 5.0527e-14 | 0.10202 | 5.3648e-05 | 5.3648e-05 | 85.4592 | 85.4592 | 85.4592 | -94.5862 | -94.5862 | -94.5862 | 1.6345 | 0 | 0 | 1.6353 | 0.0023258 | 0.0023258 | -4.3362 | 0 | 0 | -4.4121 | -72.8873 | -72.8873
Line_1 | 0 | 0 | 0 | 0.0027015 | 0.0027015 | 0.0027015 | 0 | 0 | 0 | 0.031194 | 0.031194 | 0.031194 | -3.231e-09 | 7.6334e-12 | -1.1002e-11 | 0.00015505 | -6.741e-05 | -6.741e-05 | -5.0919e-10 | 8.2476e-12 | 2.5116e-12 | -0.051012 | -2.6824e-05 | -2.6824e-05 | 0 | 0 | 0 | 85.4138 | 85.4138 | 85.4138 | 1.6355 | 0.0027911 | 0.0027911 | 1.6353 | 0.0023258 | 0.0023258 | -4.4272 | -72.8918 | -72.8918 | -4.4121 | -72.8873 | -72.8873
Line_2 | 0 | 0 | 0 | 0.0027015 | 0.0027015 | 0.0027015 | 0 | 0 | 0 | 0.031194 | 0.031194 | 0.031194 | -3.231e-09 | 7.6333e-12 | -1.1002e-11 | 0.00015505 | -6.741e-05 | -6.741e-05 | -5.0922e-10 | 8.2476e-12 | 2.5117e-12 | -0.051012 | -2.6824e-05 | -2.6824e-05 | 0 | 0 | 0 | 85.4138 | 85.4138 | 85.4138 | 1.6355 | 0.0027911 | 0.0027911 | 1.6353 | 0.0023258 | 0.0023258 | -4.4272 | -72.8918 | -72.8918 | -4.4121 | -72.8873 | -72.8873

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0050465 | 0.0050465 | 0.0050465 | 0.0033654 | 0.0033654 | 0.0033654 | 0.058272 | 0.058272 | 0.058272 | 0.03886 | 0.03886 | 0.03886 | 0.019155 | -0.052809 | 0.033866 | -0.012764 | 0.035271 | -0.022523 | -0.079692 | 0.0024467 | 0.017919 | 0.053155 | -0.001583 | -0.011947 | 69.8275 | 69.8275 | 69.8275 | -110.2179 | -110.2179 | -110.2179 | 1.4065 | 0.90723 | 0.65752 | 1.4067 | 0.90855 | 0.65607 | -6.6568 | -112.8252 | 97.7122 | -6.7152 | -112.7876 | 97.7259
Line_1 | 0 | 0 | 0 | 0.0016827 | 0.0016827 | 0.0016827 | 0 | 0 | 0 | 0.01943 | 0.01943 | 0.01943 | -1.6215e-09 | 6.0803e-10 | 8.7082e-10 | 0.006382 | -0.017635 | 0.011261 | -6.6463e-10 | 4.6068e-10 | -1.0024e-09 | -0.026578 | 0.00079148 | 0.0059736 | 0 | 0 | 0 | 69.7821 | 69.7821 | 69.7821 | 1.4068 | 0.90882 | 0.65579 | 1.4067 | 0.90855 | 0.65607 | -6.7269 | -112.7801 | 97.7287 | -6.7152 | -112.7876 | 97.7259
Line_2 | 0 | 0 | 0 | 0.0016827 | 0.0016827 | 0.0016827 | 0 | 0 | 0 | 0.01943 | 0.01943 | 0.01943 | -1.6215e-09 | 6.0802e-10 | 8.7082e-10 | 0.006382 | -0.017635 | 0.011261 | -6.6464e-10 | 4.6067e-10 | -1.0024e-09 | -0.026578 | 0.00079148 | 0.0059736 | 0 | 0 | 0 | 69.7821 | 69.7821 | 69.7821 | 1.4068 | 0.90882 | 0.65579 | 1.4067 | 0.90855 | 0.65607 | -6.7269 | -112.7801 | 97.7287 | -6.7152 | -112.7876 | 97.7259

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0050465 | 0.0050465 | 0.0050465 | 0.0033654 | 0.0033654 | 0.0033654 | 0.058272 | 0.058272 | 0.058272 | 0.03886 | 0.03886 | 0.03886 | 0.019155 | -0.052809 | 0.033866 | -0.012764 | 0.035271 | -0.022523 | -0.079692 | 0.0024467 | 0.017919 | 0.053155 | -0.001583 | -0.011947 | 69.8275 | 69.8275 | 69.8275 | -110.2179 | -110.2179 | -110.2179 | 1.4065 | 0.90723 | 0.65752 | 1.4067 | 0.90855 | 0.65607 | -6.6568 | -112.8252 | 97.7122 | -6.7152 | -112.7876 | 97.7259
Line_1 | 0 | 0 | 0 | 0.0016827 | 0.0016827 | 0.0016827 | 0 | 0 | 0 | 0.01943 | 0.01943 | 0.01943 | -1.6215e-09 | 6.0803e-10 | 8.7082e-10 | 0.006382 | -0.017635 | 0.011261 | -6.6463e-10 | 4.6068e-10 | -1.0024e-09 | -0.026578 | 0.00079148 | 0.0059736 | 0 | 0 | 0 | 69.7821 | 69.7821 | 69.7821 | 1.4068 | 0.90882 | 0.65579 | 1.4067 | 0.90855 | 0.65607 | -6.7269 | -112.7801 | 97.7287 | -6.7152 | -112.7876 | 97.7259
Line_2 | 0 | 0 | 0 | 0.0016827 | 0.0016827 | 0.0016827 | 0 | 0 | 0 | 0.01943 | 0.01943 | 0.01943 | -1.6215e-09 | 6.0802e-10 | 8.7082e-10 | 0.006382 | -0.017635 | 0.011261 | -6.6464e-10 | 4.6067e-10 | -1.0024e-09 | -0.026578 | 0.00079148 | 0.0059736 | 0 | 0 | 0 | 69.7821 | 69.7821 | 69.7821 | 1.4068 | 0.90882 | 0.65579 | 1.4067 | 0.90855 | 0.65607 | -6.7269 | -112.7801 | 97.7287 | -6.7152 | -112.7876 | 97.7259

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0073577 | 0.0073577 | 0.0073577 | 0.0049067 | 0.0049067 | 0.0049067 | 0.084959 | 0.084959 | 0.084959 | 0.056657 | 0.056657 | 0.056657 | 0.00086465 | -7.4348e-14 | 7.6742e-14 | -0.00049105 | 0.00021349 | 0.00021349 | -0.12611 | 4.508e-14 | 4.188e-14 | 0.084143 | 4.427e-05 | 4.427e-05 | 85.0775 | 85.0775 | 85.0775 | -95.0097 | -95.0097 | -95.0097 | 1.4844 | 0 | 0 | 1.4851 | 0.0038482 | 0.0038482 | -4.5297 | 0 | 0 | -4.6753 | -83.2946 | -83.2946
Line_1 | 0 | 0 | 0 | 0.0024533 | 0.0024533 | 0.0024533 | 0 | 0 | 0 | 0.028329 | 0.028329 | 0.028329 | -2.6613e-09 | 1.3499e-11 | -1.563e-11 | 0.00024552 | -0.00010674 | -0.00010674 | -4.4665e-10 | 1.0119e-11 | 6.6985e-12 | -0.042071 | -2.2135e-05 | -2.2135e-05 | 0 | 0 | 0 | 84.9903 | 84.9903 | 84.9903 | 1.4853 | 0.004618 | 0.004618 | 1.4851 | 0.0038482 | 0.0038482 | -4.7044 | -83.3033 | -83.3033 | -4.6753 | -83.2946 | -83.2946
Line_2 | 0 | 0 | 0 | 0.0024533 | 0.0024533 | 0.0024533 | 0 | 0 | 0 | 0.028329 | 0.028329 | 0.028329 | -2.6613e-09 | 1.3499e-11 | -1.5629e-11 | 0.00024552 | -0.00010674 | -0.00010674 | -4.4667e-10 | 1.0119e-11 | 6.6985e-12 | -0.042071 | -2.2135e-05 | -2.2135e-05 | 0 | 0 | 0 | 84.9903 | 84.9903 | 84.9903 | 1.4853 | 0.004618 | 0.004618 | 1.4851 | 0.0038482 | 0.0038482 | -4.7044 | -83.3033 | -83.3033 | -4.6753 | -83.2946 | -83.2946

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0073577 | 0.0073577 | 0.0073577 | 0.0049067 | 0.0049067 | 0.0049067 | 0.084959 | 0.084959 | 0.084959 | 0.056657 | 0.056657 | 0.056657 | 0.00086465 | -7.4348e-14 | 7.6742e-14 | -0.00049105 | 0.00021349 | 0.00021349 | -0.12611 | 4.508e-14 | 4.188e-14 | 0.084143 | 4.427e-05 | 4.427e-05 | 85.0775 | 85.0775 | 85.0775 | -95.0097 | -95.0097 | -95.0097 | 1.4844 | 0 | 0 | 1.4851 | 0.0038482 | 0.0038482 | -4.5297 | 0 | 0 | -4.6753 | -83.2946 | -83.2946
Line_1 | 0 | 0 | 0 | 0.0024533 | 0.0024533 | 0.0024533 | 0 | 0 | 0 | 0.028329 | 0.028329 | 0.028329 | -2.6613e-09 | 1.3499e-11 | -1.563e-11 | 0.00024552 | -0.00010674 | -0.00010674 | -4.4665e-10 | 1.0119e-11 | 6.6985e-12 | -0.042071 | -2.2135e-05 | -2.2135e-05 | 0 | 0 | 0 | 84.9903 | 84.9903 | 84.9903 | 1.4853 | 0.004618 | 0.004618 | 1.4851 | 0.0038482 | 0.0038482 | -4.7044 | -83.3033 | -83.3033 | -4.6753 | -83.2946 | -83.2946
Line_2 | 0 | 0 | 0 | 0.0024533 | 0.0024533 | 0.0024533 | 0 | 0 | 0 | 0.028329 | 0.028329 | 0.028329 | -2.6613e-09 | 1.3499e-11 | -1.5629e-11 | 0.00024552 | -0.00010674 | -0.00010674 | -4.4667e-10 | 1.0119e-11 | 6.6985e-12 | -0.042071 | -2.2135e-05 | -2.2135e-05 | 0 | 0 | 0 | 84.9903 | 84.9903 | 84.9903 | 1.4853 | 0.004618 | 0.004618 | 1.4851 | 0.0038482 | 0.0038482 | -4.7044 | -83.3033 | -83.3033 | -4.6753 | -83.2946 | -83.2946

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00458 | 0.00458 | 0.00458 | 0.0030543 | 0.0030543 | 0.0030543 | 0.052886 | 0.052886 | 0.052886 | 0.035268 | 0.035268 | 0.035268 | 0.015907 | -0.043191 | 0.02762 | -0.010592 | 0.028888 | -0.018321 | -0.065649 | 0.0021797 | 0.014604 | 0.043781 | -0.0013926 | -0.00975 | 69.6436 | 69.6436 | 69.6436 | -110.4435 | -110.4435 | -110.4435 | 1.2773 | 0.81774 | 0.59077 | 1.2772 | 0.82006 | 0.58847 | -6.736 | -113.2454 | 97.5117 | -6.8434 | -113.2035 | 97.577
Line_1 | 0 | 0 | 0 | 0.0015272 | 0.0015272 | 0.0015272 | 0 | 0 | 0 | 0.017634 | 0.017634 | 0.017634 | -1.3315e-09 | 5.1879e-10 | 7.2544e-10 | 0.0052959 | -0.014444 | 0.0091607 | -5.5974e-10 | 3.5648e-10 | -8.2194e-10 | -0.02189 | 0.00069631 | 0.004875 | 0 | 0 | 0 | 69.5565 | 69.5565 | 69.5565 | 1.2772 | 0.82052 | 0.58801 | 1.2772 | 0.82006 | 0.58847 | -6.8649 | -113.1951 | 97.5901 | -6.8434 | -113.2035 | 97.577
Line_2 | 0 | 0 | 0 | 0.0015272 | 0.0015272 | 0.0015272 | 0 | 0 | 0 | 0.017634 | 0.017634 | 0.017634 | -1.3315e-09 | 5.1879e-10 | 7.2545e-10 | 0.0052959 | -0.014444 | 0.0091607 | -5.5975e-10 | 3.5648e-10 | -8.2194e-10 | -0.02189 | 0.00069631 | 0.004875 | 0 | 0 | 0 | 69.5565 | 69.5565 | 69.5565 | 1.2772 | 0.82052 | 0.58801 | 1.2772 | 0.82006 | 0.58847 | -6.8649 | -113.1951 | 97.5901 | -6.8434 | -113.2035 | 97.577

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.00458 | 0.00458 | 0.00458 | 0.0030543 | 0.0030543 | 0.0030543 | 0.052886 | 0.052886 | 0.052886 | 0.035268 | 0.035268 | 0.035268 | 0.015907 | -0.043191 | 0.02762 | -0.010592 | 0.028888 | -0.018321 | -0.065649 | 0.0021797 | 0.014604 | 0.043781 | -0.0013926 | -0.00975 | 69.6436 | 69.6436 | 69.6436 | -110.4435 | -110.4435 | -110.4435 | 1.2773 | 0.81774 | 0.59077 | 1.2772 | 0.82006 | 0.58847 | -6.736 | -113.2454 | 97.5117 | -6.8434 | -113.2035 | 97.577
Line_1 | 0 | 0 | 0 | 0.0015272 | 0.0015272 | 0.0015272 | 0 | 0 | 0 | 0.017634 | 0.017634 | 0.017634 | -1.3315e-09 | 5.1879e-10 | 7.2544e-10 | 0.0052959 | -0.014444 | 0.0091607 | -5.5974e-10 | 3.5648e-10 | -8.2194e-10 | -0.02189 | 0.00069631 | 0.004875 | 0 | 0 | 0 | 69.5565 | 69.5565 | 69.5565 | 1.2772 | 0.82052 | 0.58801 | 1.2772 | 0.82006 | 0.58847 | -6.8649 | -113.1951 | 97.5901 | -6.8434 | -113.2035 | 97.577
Line_2 | 0 | 0 | 0 | 0.0015272 | 0.0015272 | 0.0015272 | 0 | 0 | 0 | 0.017634 | 0.017634 | 0.017634 | -1.3315e-09 | 5.1879e-10 | 7.2545e-10 | 0.0052959 | -0.014444 | 0.0091607 | -5.5975e-10 | 3.5648e-10 | -8.2194e-10 | -0.02189 | 0.00069631 | 0.004875 | 0 | 0 | 0 | 69.5565 | 69.5565 | 69.5565 | 1.2772 | 0.82052 | 0.58801 | 1.2772 | 0.82006 | 0.58847 | -6.8649 | -113.1951 | 97.5901 | -6.8434 | -113.2035 | 97.577