## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | 5.2106e-15 | 30.1766 | -15.8685 | -5.2106e-15 | -23.0225 | 23.0225 | -5.2106e-15 | 3.131 | 13.1032 | 5.2106e-15 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 6.8731e-13 | -161.8563 | 152.6723 | 6.739e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.816e-15 | 1.0421e-14 | -5.2106e-15 | -5.2106e-15 | -2.0843e-14 | 0 | -1.9211e-09 | 1.9211e-09 | -6.1286e-29 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.6922e-13 | -180 | 180 | 6.739e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -2.6053e-15 | 2.0843e-14 | 5.2106e-15 | 1.5632e-14 | -3.1264e-14 | 1.0421e-14 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.7511e-13 | -180 | 180 | 6.739e-13 | 180 | -180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | 5.2106e-15 | 30.1766 | -15.8685 | -5.2106e-15 | -23.0225 | 23.0225 | -5.2106e-15 | 3.131 | 13.1032 | 5.2106e-15 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 6.8731e-13 | -161.8563 | 152.6723 | 6.739e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.816e-15 | 1.0421e-14 | -5.2106e-15 | -5.2106e-15 | -2.0843e-14 | 0 | -1.9211e-09 | 1.9211e-09 | -6.1286e-29 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.6922e-13 | -180 | 180 | 6.739e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -2.6053e-15 | 2.0843e-14 | 5.2106e-15 | 1.5632e-14 | -3.1264e-14 | 1.0421e-14 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.7511e-13 | -180 | 180 | 6.739e-13 | 180 | -180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -7.816e-15 | 19.0761 | -0.30087 | 2.6053e-15 | -17.4596 | 1.9173 | -2.6053e-15 | 3.9919 | 15.2185 | 2.6053e-15 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 2.4605e-13 | -138.0936 | 121.2196 | 2.3878e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6053e-15 | 4.7339e-10 | 1.0337e-09 | -7.816e-15 | -4.7339e-10 | -1.0337e-09 | -5.2106e-15 | -1.3544e-09 | 3.8386e-10 | 2.6053e-15 | 1.3544e-09 | -3.8385e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 2.3612e-13 | -142.8673 | 128.239 | 2.3878e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | 4.7339e-10 | 1.0337e-09 | -2.6053e-15 | -4.7338e-10 | -1.0337e-09 | -1.0908e-29 | -1.3544e-09 | 3.8386e-10 | -1.0858e-29 | 1.3544e-09 | -3.8387e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 2.3989e-13 | -142.8673 | 128.239 | 2.3878e-13 | -142.8673 | 128.239

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -7.816e-15 | 19.0761 | -0.30087 | 2.6053e-15 | -17.4596 | 1.9173 | -2.6053e-15 | 3.9919 | 15.2185 | 2.6053e-15 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 2.4605e-13 | -138.0936 | 121.2196 | 2.3878e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6053e-15 | 4.7339e-10 | 1.0337e-09 | -7.816e-15 | -4.7339e-10 | -1.0337e-09 | -5.2106e-15 | -1.3544e-09 | 3.8386e-10 | 2.6053e-15 | 1.3544e-09 | -3.8385e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 2.3612e-13 | -142.8673 | 128.239 | 2.3878e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | 4.7339e-10 | 1.0337e-09 | -2.6053e-15 | -4.7338e-10 | -1.0337e-09 | -1.0908e-29 | -1.3544e-09 | 3.8386e-10 | -1.0858e-29 | 1.3544e-09 | -3.8387e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 2.3989e-13 | -142.8673 | 128.239 | 2.3878e-13 | -142.8673 | 128.239

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -1.8948e-14 | 26.5997 | -7.1734 | 1.8948e-14 | -16.8865 | 16.8865 | 1.8948e-14 | -0.51586 | 11.9957 | -1.8948e-14 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 6.8398e-13 | -160.7833 | 141.207 | 7.5419e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -5.9211e-15 | 4.737e-15 | 4.737e-15 | 5.9212e-15 | -2.3685e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.5896e-13 | -180 | 180 | 7.5419e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 3.5528e-15 | 8.9942e-20 | 4.737e-15 | 1.1842e-15 | 2.3685e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | 6.2353e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.3494e-13 | -180 | 180 | 7.5419e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -1.8948e-14 | 26.5997 | -7.1734 | 1.8948e-14 | -16.8865 | 16.8865 | 1.8948e-14 | -0.51586 | 11.9957 | -1.8948e-14 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 6.8398e-13 | -160.7833 | 141.207 | 7.5419e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -5.9211e-15 | 4.737e-15 | 4.737e-15 | 5.9212e-15 | -2.3685e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.5896e-13 | -180 | 180 | 7.5419e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 3.5528e-15 | 8.9942e-20 | 4.737e-15 | 1.1842e-15 | 2.3685e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | 6.2353e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.3494e-13 | -180 | 180 | 7.5419e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | -1.2434e-14 | 15.3932 | 0.73601 | 1.125e-14 | -13.0917 | 1.5655 | 7.1054e-15 | 2.3135 | 11.9328 | -9.4739e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 3.3016e-13 | -138.1765 | 119.7467 | 3.6652e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 4.798e-10 | 8.2616e-10 | 1.1842e-15 | -4.798e-10 | -8.2616e-10 | -2.3685e-15 | -1.0532e-09 | 4.5325e-10 | 2.3685e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 3.7133e-13 | -142.5584 | 131.6989 | 3.6652e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7764e-15 | 4.798e-10 | 8.2616e-10 | 0 | -4.798e-10 | -8.2616e-10 | -2.3685e-15 | -1.0532e-09 | 4.5325e-10 | 0 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 3.5699e-13 | -142.5584 | 131.6989 | 3.6652e-13 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | -1.2434e-14 | 15.3932 | 0.73601 | 1.125e-14 | -13.0917 | 1.5655 | 7.1054e-15 | 2.3135 | 11.9328 | -9.4739e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 3.3016e-13 | -138.1765 | 119.7467 | 3.6652e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 4.798e-10 | 8.2616e-10 | 1.1842e-15 | -4.798e-10 | -8.2616e-10 | -2.3685e-15 | -1.0532e-09 | 4.5325e-10 | 2.3685e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 3.7133e-13 | -142.5584 | 131.6989 | 3.6652e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7764e-15 | 4.798e-10 | 8.2616e-10 | 0 | -4.798e-10 | -8.2616e-10 | -2.3685e-15 | -1.0532e-09 | 4.5325e-10 | 0 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 3.5699e-13 | -142.5584 | 131.6989 | 3.6652e-13 | -142.5584 | 131.6989

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2349 | 0.013388 | 0.013388 | 1.232 | 0.0091465 | 0.0091465 | 14.2597 | 0.15459 | 0.15459 | 14.2259 | 0.10562 | 0.10562 | 2.4289 | 0.15312 | -0.13983 | 2.4108e-11 | -0.10002 | 0.099906 | 1.3316 | -0.18258 | -0.21314 | -2.5225e-11 | 0.13494 | 0.15775 | -48.436 | -95.957 | -95.957 | 131.7068 | 83.4923 | 83.4923 | 0.19425 | 1.5413 | 1.6489 | 0 | 1.5904 | 1.768 | -19.704 | -145.9715 | 140.7762 | 0 | -149.9615 | 141.1455
Line_1 | 0 | 0 | 0 | 0.0045733 | 0.0045733 | 0.0045733 | 0 | 0 | 0 | 0.052808 | 0.052808 | 0.052808 | -8.3327e-13 | -3.7169e-09 | -4.8155e-09 | -1.2945e-13 | 0.050011 | -0.049953 | 3.0661e-12 | -3.2058e-09 | 2.5716e-09 | -4.3339e-15 | -0.067472 | -0.078875 | 0 | 0 | 0 | -96.5077 | -96.5077 | -96.5077 | 0.00078762 | 1.5902 | 1.7686 | 0 | 1.5904 | 1.768 | 105.164 | -149.9889 | 141.1305 | 0 | -149.9615 | 141.1455
Line_2 | 0 | 0 | 0 | 0.0045733 | 0.0045733 | 0.0045733 | 0 | 0 | 0 | 0.052808 | 0.052808 | 0.052808 | -8.3329e-13 | -3.7169e-09 | -4.8154e-09 | -1.2945e-13 | 0.050011 | -0.049953 | 3.0661e-12 | -3.2058e-09 | 2.5716e-09 | -4.3339e-15 | -0.067472 | -0.078875 | 0 | 0 | 0 | -96.5077 | -96.5077 | -96.5077 | 0.00078762 | 1.5902 | 1.7686 | 0 | 1.5904 | 1.768 | 105.164 | -149.9889 | 141.1305 | 0 | -149.9615 | 141.1455

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2349 | 0.013388 | 0.013388 | 1.232 | 0.0091465 | 0.0091465 | 14.2597 | 0.15459 | 0.15459 | 14.2259 | 0.10562 | 0.10562 | 2.4289 | 0.15312 | -0.13983 | 2.4108e-11 | -0.10002 | 0.099906 | 1.3316 | -0.18258 | -0.21314 | -2.5225e-11 | 0.13494 | 0.15775 | -48.436 | -95.957 | -95.957 | 131.7068 | 83.4923 | 83.4923 | 0.19425 | 1.5413 | 1.6489 | 0 | 1.5904 | 1.768 | -19.704 | -145.9715 | 140.7762 | 0 | -149.9615 | 141.1455
Line_1 | 0 | 0 | 0 | 0.0045733 | 0.0045733 | 0.0045733 | 0 | 0 | 0 | 0.052808 | 0.052808 | 0.052808 | -8.3327e-13 | -3.7169e-09 | -4.8155e-09 | -1.2945e-13 | 0.050011 | -0.049953 | 3.0661e-12 | -3.2058e-09 | 2.5716e-09 | -4.3339e-15 | -0.067472 | -0.078875 | 0 | 0 | 0 | -96.5077 | -96.5077 | -96.5077 | 0.00078762 | 1.5902 | 1.7686 | 0 | 1.5904 | 1.768 | 105.164 | -149.9889 | 141.1305 | 0 | -149.9615 | 141.1455
Line_2 | 0 | 0 | 0 | 0.0045733 | 0.0045733 | 0.0045733 | 0 | 0 | 0 | 0.052808 | 0.052808 | 0.052808 | -8.3329e-13 | -3.7169e-09 | -4.8154e-09 | -1.2945e-13 | 0.050011 | -0.049953 | 3.0661e-12 | -3.2058e-09 | 2.5716e-09 | -4.3339e-15 | -0.067472 | -0.078875 | 0 | 0 | 0 | -96.5077 | -96.5077 | -96.5077 | 0.00078762 | 1.5902 | 1.7686 | 0 | 1.5904 | 1.768 | 105.164 | -149.9889 | 141.1305 | 0 | -149.9615 | 141.1455

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.73423 | 0.0079601 | 0.0079601 | 0.73249 | 0.0054381 | 0.0054381 | 8.4782 | 0.091915 | 0.091915 | 8.4581 | 0.062794 | 0.062794 | 3.5128 | 0.090676 | -0.083844 | -2.6546 | -0.060448 | 0.058679 | 3.168 | -0.083176 | -0.097679 | -2.6843 | 0.060193 | 0.071247 | -47.2295 | -94.7505 | -94.7505 | 132.9133 | 84.6988 | 84.6988 | 0.55794 | 1.3387 | 1.4005 | 0.44635 | 1.3585 | 1.4699 | -5.184 | -137.2803 | 134.6079 | -1.768 | -140.1805 | 135.2238
Line_1 | 0 | 0 | 0 | 0.0027191 | 0.0027191 | 0.0027191 | 0 | 0 | 0 | 0.031397 | 0.031397 | 0.031397 | 1.0689e-09 | -1.6235e-09 | -2.2042e-09 | -0.00086365 | 0.030224 | -0.02934 | -5.3728e-11 | -1.8917e-09 | 1.5564e-09 | 0.013987 | -0.030097 | -0.035623 | 0 | 0 | 0 | -95.3012 | -95.3012 | -95.3012 | 0.4462 | 1.3583 | 1.4703 | 0.44635 | 1.3585 | 1.4699 | -1.7108 | -140.1986 | 135.215 | -1.768 | -140.1805 | 135.2238
Line_2 | 0 | 0 | 0 | 0.0027191 | 0.0027191 | 0.0027191 | 0 | 0 | 0 | 0.031397 | 0.031397 | 0.031397 | 1.0689e-09 | -1.6235e-09 | -2.2042e-09 | -0.00086365 | 0.030224 | -0.02934 | -5.3724e-11 | -1.8916e-09 | 1.5563e-09 | 0.013987 | -0.030097 | -0.035623 | 0 | 0 | 0 | -95.3012 | -95.3012 | -95.3012 | 0.4462 | 1.3583 | 1.4703 | 0.44635 | 1.3585 | 1.4699 | -1.7108 | -140.1986 | 135.215 | -1.768 | -140.1805 | 135.2238

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.73423 | 0.0079601 | 0.0079601 | 0.73249 | 0.0054381 | 0.0054381 | 8.4782 | 0.091915 | 0.091915 | 8.4581 | 0.062794 | 0.062794 | 3.5128 | 0.090676 | -0.083844 | -2.6546 | -0.060448 | 0.058679 | 3.168 | -0.083176 | -0.097679 | -2.6843 | 0.060193 | 0.071247 | -47.2295 | -94.7505 | -94.7505 | 132.9133 | 84.6988 | 84.6988 | 0.55794 | 1.3387 | 1.4005 | 0.44635 | 1.3585 | 1.4699 | -5.184 | -137.2803 | 134.6079 | -1.768 | -140.1805 | 135.2238
Line_1 | 0 | 0 | 0 | 0.0027191 | 0.0027191 | 0.0027191 | 0 | 0 | 0 | 0.031397 | 0.031397 | 0.031397 | 1.0689e-09 | -1.6235e-09 | -2.2042e-09 | -0.00086365 | 0.030224 | -0.02934 | -5.3728e-11 | -1.8917e-09 | 1.5564e-09 | 0.013987 | -0.030097 | -0.035623 | 0 | 0 | 0 | -95.3012 | -95.3012 | -95.3012 | 0.4462 | 1.3583 | 1.4703 | 0.44635 | 1.3585 | 1.4699 | -1.7108 | -140.1986 | 135.215 | -1.768 | -140.1805 | 135.2238
Line_2 | 0 | 0 | 0 | 0.0027191 | 0.0027191 | 0.0027191 | 0 | 0 | 0 | 0.031397 | 0.031397 | 0.031397 | 1.0689e-09 | -1.6235e-09 | -2.2042e-09 | -0.00086365 | 0.030224 | -0.02934 | -5.3724e-11 | -1.8916e-09 | 1.5563e-09 | 0.013987 | -0.030097 | -0.035623 | 0 | 0 | 0 | -95.3012 | -95.3012 | -95.3012 | 0.4462 | 1.3583 | 1.4703 | 0.44635 | 1.3585 | 1.4699 | -1.7108 | -140.1986 | 135.215 | -1.768 | -140.1805 | 135.2238

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0158 | 0.011974 | 0.011974 | 1.0134 | 0.0082995 | 0.0082995 | 11.7299 | 0.13827 | 0.13827 | 11.7021 | 0.095835 | 0.095835 | 3.1534 | 0.12912 | -0.10955 | -9.9625e-12 | -0.082651 | 0.082468 | 0.8836 | -0.14222 | -0.16197 | -2.3513e-12 | 0.112 | 0.12899 | -43.0612 | -94.7309 | -94.7309 | 137.096 | 84.125 | 84.125 | 0.27919 | 1.3892 | 1.4142 | 0 | 1.4525 | 1.5976 | -27.4081 | -142.4942 | 141.1959 | 0 | -149.4498 | 141.5333
Line_1 | 0 | 0 | 0 | 0.0041498 | 0.0041498 | 0.0041498 | 0 | 0 | 0 | 0.047917 | 0.047917 | 0.047917 | -4.8768e-13 | -3.0959e-09 | -3.9155e-09 | 1.688e-14 | 0.041326 | -0.041234 | 4.7499e-12 | -2.6212e-09 | 2.1481e-09 | 3.8365e-14 | -0.056001 | -0.064496 | 0 | 0 | 0 | -95.875 | -95.875 | -95.875 | 0.0013021 | 1.4519 | 1.5985 | 0 | 1.4525 | 1.5976 | 95.7878 | -149.4965 | 141.4999 | 0 | -149.4498 | 141.5333
Line_2 | 0 | 0 | 0 | 0.0041498 | 0.0041498 | 0.0041498 | 0 | 0 | 0 | 0.047917 | 0.047917 | 0.047917 | -4.8768e-13 | -3.0959e-09 | -3.9154e-09 | 1.688e-14 | 0.041326 | -0.041234 | 4.7499e-12 | -2.6212e-09 | 2.1481e-09 | 3.8365e-14 | -0.056001 | -0.064496 | 0 | 0 | 0 | -95.875 | -95.875 | -95.875 | 0.0013021 | 1.4519 | 1.5985 | 0 | 1.4525 | 1.5976 | 95.7878 | -149.4965 | 141.4999 | 0 | -149.4498 | 141.5333

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0158 | 0.011974 | 0.011974 | 1.0134 | 0.0082995 | 0.0082995 | 11.7299 | 0.13827 | 0.13827 | 11.7021 | 0.095835 | 0.095835 | 3.1534 | 0.12912 | -0.10955 | -9.9625e-12 | -0.082651 | 0.082468 | 0.8836 | -0.14222 | -0.16197 | -2.3513e-12 | 0.112 | 0.12899 | -43.0612 | -94.7309 | -94.7309 | 137.096 | 84.125 | 84.125 | 0.27919 | 1.3892 | 1.4142 | 0 | 1.4525 | 1.5976 | -27.4081 | -142.4942 | 141.1959 | 0 | -149.4498 | 141.5333
Line_1 | 0 | 0 | 0 | 0.0041498 | 0.0041498 | 0.0041498 | 0 | 0 | 0 | 0.047917 | 0.047917 | 0.047917 | -4.8768e-13 | -3.0959e-09 | -3.9155e-09 | 1.688e-14 | 0.041326 | -0.041234 | 4.7499e-12 | -2.6212e-09 | 2.1481e-09 | 3.8365e-14 | -0.056001 | -0.064496 | 0 | 0 | 0 | -95.875 | -95.875 | -95.875 | 0.0013021 | 1.4519 | 1.5985 | 0 | 1.4525 | 1.5976 | 95.7878 | -149.4965 | 141.4999 | 0 | -149.4498 | 141.5333
Line_2 | 0 | 0 | 0 | 0.0041498 | 0.0041498 | 0.0041498 | 0 | 0 | 0 | 0.047917 | 0.047917 | 0.047917 | -4.8768e-13 | -3.0959e-09 | -3.9154e-09 | 1.688e-14 | 0.041326 | -0.041234 | 4.7499e-12 | -2.6212e-09 | 2.1481e-09 | 3.8365e-14 | -0.056001 | -0.064496 | 0 | 0 | 0 | -95.875 | -95.875 | -95.875 | 0.0013021 | 1.4519 | 1.5985 | 0 | 1.4525 | 1.5976 | 95.7878 | -149.4965 | 141.4999 | 0 | -149.4498 | 141.5333

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.62815 | 0.0074045 | 0.0074045 | 0.62666 | 0.0051321 | 0.0051321 | 7.2532 | 0.085499 | 0.085499 | 7.2361 | 0.05926 | 0.05926 | 3.1459 | 0.07947 | -0.067893 | -1.941 | -0.052635 | 0.04928 | 2.3145 | -0.067029 | -0.081673 | -1.9667 | 0.051175 | 0.063362 | -44.0051 | -95.6748 | -95.6748 | 136.1521 | 83.1811 | 83.1811 | 0.53847 | 1.216 | 1.2422 | 0.38187 | 1.2388 | 1.3545 | -7.6624 | -135.8208 | 134.5889 | 1.5286 | -141.013 | 135.307
Line_1 | 0 | 0 | 0 | 0.002566 | 0.002566 | 0.002566 | 0 | 0 | 0 | 0.02963 | 0.02963 | 0.02963 | 8.6487e-10 | -1.3852e-09 | -1.9405e-09 | -0.0016426 | 0.026318 | -0.02464 | 4.0294e-11 | -1.6305e-09 | 1.3099e-09 | 0.011195 | -0.025588 | -0.031681 | 0 | 0 | 0 | -96.8189 | -96.8189 | -96.8189 | 0.38182 | 1.2384 | 1.3551 | 0.38187 | 1.2388 | 1.3545 | 1.6492 | -141.0439 | 135.2849 | 1.5286 | -141.013 | 135.307
Line_2 | 0 | 0 | 0 | 0.002566 | 0.002566 | 0.002566 | 0 | 0 | 0 | 0.02963 | 0.02963 | 0.02963 | 8.6487e-10 | -1.3852e-09 | -1.9404e-09 | -0.0016426 | 0.026318 | -0.02464 | 4.0296e-11 | -1.6305e-09 | 1.3099e-09 | 0.011195 | -0.025588 | -0.031681 | 0 | 0 | 0 | -96.8189 | -96.8189 | -96.8189 | 0.38182 | 1.2384 | 1.3551 | 0.38187 | 1.2388 | 1.3545 | 1.6492 | -141.0439 | 135.2849 | 1.5286 | -141.013 | 135.307

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.62815 | 0.0074045 | 0.0074045 | 0.62666 | 0.0051321 | 0.0051321 | 7.2532 | 0.085499 | 0.085499 | 7.2361 | 0.05926 | 0.05926 | 3.1459 | 0.07947 | -0.067893 | -1.941 | -0.052635 | 0.04928 | 2.3145 | -0.067029 | -0.081673 | -1.9667 | 0.051175 | 0.063362 | -44.0051 | -95.6748 | -95.6748 | 136.1521 | 83.1811 | 83.1811 | 0.53847 | 1.216 | 1.2422 | 0.38187 | 1.2388 | 1.3545 | -7.6624 | -135.8208 | 134.5889 | 1.5286 | -141.013 | 135.307
Line_1 | 0 | 0 | 0 | 0.002566 | 0.002566 | 0.002566 | 0 | 0 | 0 | 0.02963 | 0.02963 | 0.02963 | 8.6487e-10 | -1.3852e-09 | -1.9405e-09 | -0.0016426 | 0.026318 | -0.02464 | 4.0294e-11 | -1.6305e-09 | 1.3099e-09 | 0.011195 | -0.025588 | -0.031681 | 0 | 0 | 0 | -96.8189 | -96.8189 | -96.8189 | 0.38182 | 1.2384 | 1.3551 | 0.38187 | 1.2388 | 1.3545 | 1.6492 | -141.0439 | 135.2849 | 1.5286 | -141.013 | 135.307
Line_2 | 0 | 0 | 0 | 0.002566 | 0.002566 | 0.002566 | 0 | 0 | 0 | 0.02963 | 0.02963 | 0.02963 | 8.6487e-10 | -1.3852e-09 | -1.9404e-09 | -0.0016426 | 0.026318 | -0.02464 | 4.0296e-11 | -1.6305e-09 | 1.3099e-09 | 0.011195 | -0.025588 | -0.031681 | 0 | 0 | 0 | -96.8189 | -96.8189 | -96.8189 | 0.38182 | 1.2384 | 1.3551 | 0.38187 | 1.2388 | 1.3545 | 1.6492 | -141.0439 | 135.2849 | 1.5286 | -141.013 | 135.307

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0076183 | 3.9158 | 3.526 | 0.0052046 | 3.9161 | 3.5253 | 0.087968 | 45.2158 | 40.7148 | 0.060097 | 45.2197 | 40.7065 | 0.0015119 | 10.4145 | 4.5564 | -3.7553e-05 | 7.8818e-11 | 8.8822e-11 | -0.13342 | 7.2136 | 9.3135 | 0.09477 | -6.4873e-11 | 1.6924e-11 | 88.6866 | -172.1008 | 17.0199 | -91.8641 | 7.9342 | -163.0176 | 1.5168 | 0.28018 | 0.25466 | 1.5769 | 0 | 0 | -0.66416 | -137.3925 | 80.951 | -1.8414 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0026023 | 0.0026023 | 0.0026023 | 0 | 0 | 0 | 0.030049 | 0.030049 | 0.030049 | -2.7623e-09 | 1.1658e-12 | -1.7798e-12 | 1.8775e-05 | -3.3566e-14 | -3.3004e-14 | -2.0608e-10 | 1.3808e-12 | 3.1987e-13 | -0.047385 | -5.8947e-14 | 5.8016e-14 | 0 | 0 | 0 | 88.1359 | 88.1359 | 88.1359 | 1.5771 | 0.00044817 | 0.00044817 | 1.5769 | 0 | 0 | -1.8566 | -70.1925 | -70.1925 | -1.8414 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0026023 | 0.0026023 | 0.0026023 | 0 | 0 | 0 | 0.030049 | 0.030049 | 0.030049 | -2.7623e-09 | 1.1658e-12 | -1.7798e-12 | 1.8775e-05 | -3.3566e-14 | -3.3004e-14 | -2.0608e-10 | 1.3808e-12 | 3.1988e-13 | -0.047385 | -5.8947e-14 | 5.8016e-14 | 0 | 0 | 0 | 88.1359 | 88.1359 | 88.1359 | 1.5771 | 0.00044817 | 0.00044817 | 1.5769 | 0 | 0 | -1.8566 | -70.1925 | -70.1925 | -1.8414 | 0 | 0

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0076183 | 3.9158 | 3.526 | 0.0052046 | 3.9161 | 3.5253 | 0.087968 | 45.2158 | 40.7148 | 0.060097 | 45.2197 | 40.7065 | 0.0015119 | 10.4145 | 4.5564 | -3.7553e-05 | 7.8818e-11 | 8.8822e-11 | -0.13342 | 7.2136 | 9.3135 | 0.09477 | -6.4873e-11 | 1.6924e-11 | 88.6866 | -172.1008 | 17.0199 | -91.8641 | 7.9342 | -163.0176 | 1.5168 | 0.28018 | 0.25466 | 1.5769 | 0 | 0 | -0.66416 | -137.3925 | 80.951 | -1.8414 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0026023 | 0.0026023 | 0.0026023 | 0 | 0 | 0 | 0.030049 | 0.030049 | 0.030049 | -2.7623e-09 | 1.1658e-12 | -1.7798e-12 | 1.8775e-05 | -3.3566e-14 | -3.3004e-14 | -2.0608e-10 | 1.3808e-12 | 3.1987e-13 | -0.047385 | -5.8947e-14 | 5.8016e-14 | 0 | 0 | 0 | 88.1359 | 88.1359 | 88.1359 | 1.5771 | 0.00044817 | 0.00044817 | 1.5769 | 0 | 0 | -1.8566 | -70.1925 | -70.1925 | -1.8414 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0026023 | 0.0026023 | 0.0026023 | 0 | 0 | 0 | 0.030049 | 0.030049 | 0.030049 | -2.7623e-09 | 1.1658e-12 | -1.7798e-12 | 1.8775e-05 | -3.3566e-14 | -3.3004e-14 | -2.0608e-10 | 1.3808e-12 | 3.1988e-13 | -0.047385 | -5.8947e-14 | 5.8016e-14 | 0 | 0 | 0 | 88.1359 | 88.1359 | 88.1359 | 1.5771 | 0.00044817 | 0.00044817 | 1.5769 | 0 | 0 | -1.8566 | -70.1925 | -70.1925 | -1.8414 | 0 | 0

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0054878 | 1.2042 | 1.1193 | 0.0037491 | 1.2049 | 1.118 | 0.063367 | 13.9047 | 12.9247 | 0.043291 | 13.9129 | 12.9096 | 0.0017991 | 8.3964 | 6.7802 | -0.00084044 | -7.2483 | -6.2467 | -0.088705 | 7.6104 | 7.5749 | 0.062472 | -7.289 | -6.2201 | 88.2197 | -156.5715 | 48.4405 | -92.331 | 23.5041 | -131.618 | 1.4001 | 0.81499 | 0.78657 | 1.4432 | 0.73885 | 0.68286 | -0.61836 | -114.3826 | 96.609 | -1.5602 | -111.3357 | 93.2601
Line_1 | 0 | 0 | 0 | 0.0018745 | 0.0018745 | 0.0018745 | 0 | 0 | 0 | 0.021645 | 0.021645 | 0.021645 | -1.8191e-09 | 9.4392e-10 | 7.5018e-10 | 0.00042022 | -0.015121 | 0.01471 | -1.5972e-10 | 4.4992e-10 | -1.239e-09 | -0.031236 | 0.0052079 | 0.0014401 | 0 | 0 | 0 | 87.669 | 87.669 | 87.669 | 1.4433 | 0.73909 | 0.68255 | 1.4432 | 0.73885 | 0.68286 | -1.5722 | -111.3194 | 93.2526 | -1.5602 | -111.3357 | 93.2601
Line_2 | 0 | 0 | 0 | 0.0018745 | 0.0018745 | 0.0018745 | 0 | 0 | 0 | 0.021645 | 0.021645 | 0.021645 | -1.8191e-09 | 9.4391e-10 | 7.5018e-10 | 0.00042022 | -0.015121 | 0.01471 | -1.5971e-10 | 4.4991e-10 | -1.239e-09 | -0.031236 | 0.0052079 | 0.0014401 | 0 | 0 | 0 | 87.669 | 87.669 | 87.669 | 1.4433 | 0.73909 | 0.68255 | 1.4432 | 0.73885 | 0.68286 | -1.5722 | -111.3194 | 93.2526 | -1.5602 | -111.3357 | 93.2601

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0054878 | 1.2042 | 1.1193 | 0.0037491 | 1.2049 | 1.118 | 0.063367 | 13.9047 | 12.9247 | 0.043291 | 13.9129 | 12.9096 | 0.0017991 | 8.3964 | 6.7802 | -0.00084044 | -7.2483 | -6.2467 | -0.088705 | 7.6104 | 7.5749 | 0.062472 | -7.289 | -6.2201 | 88.2197 | -156.5715 | 48.4405 | -92.331 | 23.5041 | -131.618 | 1.4001 | 0.81499 | 0.78657 | 1.4432 | 0.73885 | 0.68286 | -0.61836 | -114.3826 | 96.609 | -1.5602 | -111.3357 | 93.2601
Line_1 | 0 | 0 | 0 | 0.0018745 | 0.0018745 | 0.0018745 | 0 | 0 | 0 | 0.021645 | 0.021645 | 0.021645 | -1.8191e-09 | 9.4392e-10 | 7.5018e-10 | 0.00042022 | -0.015121 | 0.01471 | -1.5972e-10 | 4.4992e-10 | -1.239e-09 | -0.031236 | 0.0052079 | 0.0014401 | 0 | 0 | 0 | 87.669 | 87.669 | 87.669 | 1.4433 | 0.73909 | 0.68255 | 1.4432 | 0.73885 | 0.68286 | -1.5722 | -111.3194 | 93.2526 | -1.5602 | -111.3357 | 93.2601
Line_2 | 0 | 0 | 0 | 0.0018745 | 0.0018745 | 0.0018745 | 0 | 0 | 0 | 0.021645 | 0.021645 | 0.021645 | -1.8191e-09 | 9.4391e-10 | 7.5018e-10 | 0.00042022 | -0.015121 | 0.01471 | -1.5971e-10 | 4.4991e-10 | -1.239e-09 | -0.031236 | 0.0052079 | 0.0014401 | 0 | 0 | 0 | 87.669 | 87.669 | 87.669 | 1.4433 | 0.73909 | 0.68255 | 1.4432 | 0.73885 | 0.68286 | -1.5722 | -111.3194 | 93.2526 | -1.5602 | -111.3357 | 93.2601

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0068211 | 3.2756 | 2.9829 | 0.0047278 | 3.2761 | 2.982 | 0.078764 | 37.8238 | 34.4431 | 0.054591 | 37.8297 | 34.4336 | 0.0020916 | 13.3727 | 6.9164 | -5.949e-05 | -1.4847e-10 | 1.1858e-11 | -0.10576 | 3.4344 | 8.2419 | 0.078201 | -1.3934e-10 | -1.8601e-10 | 89.4422 | -164.0802 | 25.1692 | -91.7019 | 15.9554 | -154.8679 | 1.343 | 0.36502 | 0.31238 | 1.4325 | 0 | 0 | 0.57529 | -149.6766 | 75.1667 | -1.6583 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0023639 | 0.0023639 | 0.0023639 | 0 | 0 | 0 | 0.027296 | 0.027296 | 0.027296 | -2.2748e-09 | 2.0825e-12 | -2.557e-12 | 2.9744e-05 | -1.283e-13 | 1.2733e-13 | -1.5467e-10 | 1.7467e-12 | 9.3192e-13 | -0.0391 | 7.1587e-14 | 7.4946e-14 | 0 | 0 | 0 | 88.2981 | 88.2981 | 88.2981 | 1.4326 | 0.00074172 | 0.00074172 | 1.4325 | 0 | 0 | -1.6873 | -80.0391 | -80.0391 | -1.6583 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0023639 | 0.0023639 | 0.0023639 | 0 | 0 | 0 | 0.027296 | 0.027296 | 0.027296 | -2.2748e-09 | 2.0825e-12 | -2.557e-12 | 2.9744e-05 | -1.283e-13 | 1.2733e-13 | -1.5467e-10 | 1.7467e-12 | 9.3192e-13 | -0.0391 | 7.1587e-14 | 7.4946e-14 | 0 | 0 | 0 | 88.2981 | 88.2981 | 88.2981 | 1.4326 | 0.00074172 | 0.00074172 | 1.4325 | 0 | 0 | -1.6873 | -80.0391 | -80.0391 | -1.6583 | 0 | 0

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0068211 | 3.2756 | 2.9829 | 0.0047278 | 3.2761 | 2.982 | 0.078764 | 37.8238 | 34.4431 | 0.054591 | 37.8297 | 34.4336 | 0.0020916 | 13.3727 | 6.9164 | -5.949e-05 | -1.4847e-10 | 1.1858e-11 | -0.10576 | 3.4344 | 8.2419 | 0.078201 | -1.3934e-10 | -1.8601e-10 | 89.4422 | -164.0802 | 25.1692 | -91.7019 | 15.9554 | -154.8679 | 1.343 | 0.36502 | 0.31238 | 1.4325 | 0 | 0 | 0.57529 | -149.6766 | 75.1667 | -1.6583 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0023639 | 0.0023639 | 0.0023639 | 0 | 0 | 0 | 0.027296 | 0.027296 | 0.027296 | -2.2748e-09 | 2.0825e-12 | -2.557e-12 | 2.9744e-05 | -1.283e-13 | 1.2733e-13 | -1.5467e-10 | 1.7467e-12 | 9.3192e-13 | -0.0391 | 7.1587e-14 | 7.4946e-14 | 0 | 0 | 0 | 88.2981 | 88.2981 | 88.2981 | 1.4326 | 0.00074172 | 0.00074172 | 1.4325 | 0 | 0 | -1.6873 | -80.0391 | -80.0391 | -1.6583 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0023639 | 0.0023639 | 0.0023639 | 0 | 0 | 0 | 0.027296 | 0.027296 | 0.027296 | -2.2748e-09 | 2.0825e-12 | -2.557e-12 | 2.9744e-05 | -1.283e-13 | 1.2733e-13 | -1.5467e-10 | 1.7467e-12 | 9.3192e-13 | -0.0391 | 7.1587e-14 | 7.4946e-14 | 0 | 0 | 0 | 88.2981 | 88.2981 | 88.2981 | 1.4326 | 0.00074172 | 0.00074172 | 1.4325 | 0 | 0 | -1.6873 | -80.0391 | -80.0391 | -1.6583 | 0 | 0

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0050526 | 1.0571 | 0.97295 | 0.003502 | 1.0577 | 0.97176 | 0.058342 | 12.2061 | 11.2346 | 0.040437 | 12.2138 | 11.221 | 0.0030539 | 7.175 | 5.5709 | -0.0015623 | -5.5871 | -4.7182 | -0.073108 | 5.4762 | 6.1162 | 0.053331 | -5.6194 | -4.6978 | 87.7142 | -154.1794 | 49.9247 | -93.4299 | 25.8965 | -130.1346 | 1.2542 | 0.73947 | 0.73639 | 1.3194 | 0.64879 | 0.59336 | 0.10618 | -116.8271 | 97.5958 | -1.7519 | -108.9384 | 94.7416
Line_1 | 0 | 0 | 0 | 0.001751 | 0.001751 | 0.001751 | 0 | 0 | 0 | 0.020219 | 0.020219 | 0.020219 | -1.5483e-09 | 7.9055e-10 | 6.7721e-10 | 0.00078116 | -0.01264 | 0.011875 | -1.4991e-10 | 4.5767e-10 | -9.2761e-10 | -0.026666 | 0.0035074 | 0.0017052 | 0 | 0 | 0 | 86.5701 | 86.5701 | 86.5701 | 1.3195 | 0.64928 | 0.59282 | 1.3194 | 0.64879 | 0.59336 | -1.7754 | -108.9163 | 94.7384 | -1.7519 | -108.9384 | 94.7416
Line_2 | 0 | 0 | 0 | 0.001751 | 0.001751 | 0.001751 | 0 | 0 | 0 | 0.020219 | 0.020219 | 0.020219 | -1.5483e-09 | 7.9055e-10 | 6.772e-10 | 0.00078116 | -0.01264 | 0.011875 | -1.4992e-10 | 4.5767e-10 | -9.2761e-10 | -0.026666 | 0.0035074 | 0.0017052 | 0 | 0 | 0 | 86.5701 | 86.5701 | 86.5701 | 1.3195 | 0.64928 | 0.59282 | 1.3194 | 0.64879 | 0.59336 | -1.7754 | -108.9163 | 94.7384 | -1.7519 | -108.9384 | 94.7416

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0050526 | 1.0571 | 0.97295 | 0.003502 | 1.0577 | 0.97176 | 0.058342 | 12.2061 | 11.2346 | 0.040437 | 12.2138 | 11.221 | 0.0030539 | 7.175 | 5.5709 | -0.0015623 | -5.5871 | -4.7182 | -0.073108 | 5.4762 | 6.1162 | 0.053331 | -5.6194 | -4.6978 | 87.7142 | -154.1794 | 49.9247 | -93.4299 | 25.8965 | -130.1346 | 1.2542 | 0.73947 | 0.73639 | 1.3194 | 0.64879 | 0.59336 | 0.10618 | -116.8271 | 97.5958 | -1.7519 | -108.9384 | 94.7416
Line_1 | 0 | 0 | 0 | 0.001751 | 0.001751 | 0.001751 | 0 | 0 | 0 | 0.020219 | 0.020219 | 0.020219 | -1.5483e-09 | 7.9055e-10 | 6.7721e-10 | 0.00078116 | -0.01264 | 0.011875 | -1.4991e-10 | 4.5767e-10 | -9.2761e-10 | -0.026666 | 0.0035074 | 0.0017052 | 0 | 0 | 0 | 86.5701 | 86.5701 | 86.5701 | 1.3195 | 0.64928 | 0.59282 | 1.3194 | 0.64879 | 0.59336 | -1.7754 | -108.9163 | 94.7384 | -1.7519 | -108.9384 | 94.7416
Line_2 | 0 | 0 | 0 | 0.001751 | 0.001751 | 0.001751 | 0 | 0 | 0 | 0.020219 | 0.020219 | 0.020219 | -1.5483e-09 | 7.9055e-10 | 6.772e-10 | 0.00078116 | -0.01264 | 0.011875 | -1.4992e-10 | 4.5767e-10 | -9.2761e-10 | -0.026666 | 0.0035074 | 0.0017052 | 0 | 0 | 0 | 86.5701 | 86.5701 | 86.5701 | 1.3195 | 0.64928 | 0.59282 | 1.3194 | 0.64879 | 0.59336 | -1.7754 | -108.9163 | 94.7384 | -1.7519 | -108.9384 | 94.7416