## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -5.7317e-14 | 30.1766 | -15.8685 | 4.6896e-14 | -23.0225 | 23.0225 | -1.0421e-14 | 3.131 | 13.1032 | 1.0421e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 9.2781e-13 | -161.8563 | 152.6723 | 9.6288e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 2.6054e-15 | -5.2106e-15 | -5.2106e-15 | 1.3027e-14 | 1.5632e-14 | 1.0421e-14 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.6741e-13 | -180 | 180 | 9.6288e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -7.8159e-15 | 5.2107e-15 | 8.7567e-29 | 2.3448e-14 | 5.2106e-15 | 5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.6424e-13 | -180 | 180 | 9.6288e-13 | 180 | -180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -5.7317e-14 | 30.1766 | -15.8685 | 4.6896e-14 | -23.0225 | 23.0225 | -1.0421e-14 | 3.131 | 13.1032 | 1.0421e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 9.2781e-13 | -161.8563 | 152.6723 | 9.6288e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 2.6054e-15 | -5.2106e-15 | -5.2106e-15 | 1.3027e-14 | 1.5632e-14 | 1.0421e-14 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.6741e-13 | -180 | 180 | 9.6288e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -7.8159e-15 | 5.2107e-15 | 8.7567e-29 | 2.3448e-14 | 5.2106e-15 | 5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.6424e-13 | -180 | 180 | 9.6288e-13 | 180 | -180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -2.0843e-14 | 19.0761 | -0.30087 | 1.5632e-14 | -17.4596 | 1.9173 | -7.816e-15 | 3.9919 | 15.2185 | 5.2106e-15 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 3.8826e-13 | -138.0936 | 121.2196 | 4.0129e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.816e-15 | 4.734e-10 | 1.0337e-09 | -1.3027e-14 | -4.734e-10 | -1.0337e-09 | -2.6053e-15 | -1.3544e-09 | 3.8387e-10 | 2.6053e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 4.0268e-13 | -142.8673 | 128.239 | 4.0129e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.816e-15 | 4.7338e-10 | 1.0337e-09 | -1.8247e-29 | -4.7338e-10 | -1.0337e-09 | -5.2106e-15 | -1.3544e-09 | 3.8386e-10 | 2.6053e-15 | 1.3544e-09 | -3.8385e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 4.0252e-13 | -142.8673 | 128.239 | 4.0129e-13 | -142.8673 | 128.239

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -2.0843e-14 | 19.0761 | -0.30087 | 1.5632e-14 | -17.4596 | 1.9173 | -7.816e-15 | 3.9919 | 15.2185 | 5.2106e-15 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 3.8826e-13 | -138.0936 | 121.2196 | 4.0129e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.816e-15 | 4.734e-10 | 1.0337e-09 | -1.3027e-14 | -4.734e-10 | -1.0337e-09 | -2.6053e-15 | -1.3544e-09 | 3.8387e-10 | 2.6053e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 4.0268e-13 | -142.8673 | 128.239 | 4.0129e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.816e-15 | 4.7338e-10 | 1.0337e-09 | -1.8247e-29 | -4.7338e-10 | -1.0337e-09 | -5.2106e-15 | -1.3544e-09 | 3.8386e-10 | 2.6053e-15 | 1.3544e-09 | -3.8385e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 4.0252e-13 | -142.8673 | 128.239 | 4.0129e-13 | -142.8673 | 128.239

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -1.4211e-14 | 26.5997 | -7.1734 | 1.1842e-14 | -16.8865 | 16.8865 | -9.4739e-15 | -0.51586 | 11.9957 | 9.4739e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 5.7247e-13 | -160.7833 | 141.207 | 6.4059e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -1.1841e-15 | 2.3686e-15 | 5.2961e-29 | 3.5527e-15 | -1.4435e-20 | -2.7389e-29 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.6257e-13 | -180 | 180 | 6.4059e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1392e-29 | 8.2898e-15 | 7.1055e-15 | -2.3685e-15 | -1.1843e-15 | -1.4434e-20 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.2162e-13 | -180 | 180 | 6.4059e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -1.4211e-14 | 26.5997 | -7.1734 | 1.1842e-14 | -16.8865 | 16.8865 | -9.4739e-15 | -0.51586 | 11.9957 | 9.4739e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 5.7247e-13 | -160.7833 | 141.207 | 6.4059e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -1.1841e-15 | 2.3686e-15 | 5.2961e-29 | 3.5527e-15 | -1.4435e-20 | -2.7389e-29 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.6257e-13 | -180 | 180 | 6.4059e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1392e-29 | 8.2898e-15 | 7.1055e-15 | -2.3685e-15 | -1.1843e-15 | -1.4434e-20 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.2162e-13 | -180 | 180 | 6.4059e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | -7.1054e-15 | 15.3932 | 0.73601 | 5.9212e-15 | -13.0917 | 1.5655 | -4.737e-15 | 2.3135 | 11.9328 | 2.3685e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 2.733e-13 | -138.1765 | 119.7467 | 3.0157e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 4.7979e-10 | 8.2616e-10 | -1.2466e-29 | -4.798e-10 | -8.2616e-10 | -2.3685e-15 | -1.0532e-09 | 4.5326e-10 | 2.3685e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 3.094e-13 | -142.5584 | 131.6989 | 3.0157e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7764e-15 | 4.798e-10 | 8.2616e-10 | 5.9212e-16 | -4.798e-10 | -8.2615e-10 | 4.737e-15 | -1.0532e-09 | 4.5325e-10 | -9.4739e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.9219e-13 | -142.5584 | 131.6989 | 3.0157e-13 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | -7.1054e-15 | 15.3932 | 0.73601 | 5.9212e-15 | -13.0917 | 1.5655 | -4.737e-15 | 2.3135 | 11.9328 | 2.3685e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 2.733e-13 | -138.1765 | 119.7467 | 3.0157e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 4.7979e-10 | 8.2616e-10 | -1.2466e-29 | -4.798e-10 | -8.2616e-10 | -2.3685e-15 | -1.0532e-09 | 4.5326e-10 | 2.3685e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 3.094e-13 | -142.5584 | 131.6989 | 3.0157e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7764e-15 | 4.798e-10 | 8.2616e-10 | 5.9212e-16 | -4.798e-10 | -8.2615e-10 | 4.737e-15 | -1.0532e-09 | 4.5325e-10 | -9.4739e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.9219e-13 | -142.5584 | 131.6989 | 3.0157e-13 | -142.5584 | 131.6989

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.5942 | 0.012064 | 0.012064 | 1.5904 | 0.0082088 | 0.0082088 | 18.4083 | 0.1393 | 0.1393 | 18.3639 | 0.094788 | 0.094788 | 4.0426 | 0.14652 | -0.11876 | 7.4099e-11 | -0.090344 | 0.090251 | 2.2444 | -0.16785 | -0.1597 | -2.1625e-11 | 0.11779 | 0.11796 | -77.7636 | -88.2385 | -88.2385 | 102.2525 | 89.946 | 89.946 | 0.25118 | 1.5995 | 1.4287 | 0 | 1.5661 | 1.567 | -48.7245 | -137.1217 | 145.125 | 0 | -142.5668 | 142.5274
Line_1 | 0 | 0 | 0 | 0.0041044 | 0.0041044 | 0.0041044 | 0 | 0 | 0 | 0.047394 | 0.047394 | 0.047394 | -1.0522e-12 | -3.1599e-09 | -3.1692e-09 | -1.9874e-13 | 0.045172 | -0.045125 | 2.6505e-12 | -2.4263e-09 | 2.421e-09 | 1.3767e-14 | -0.058897 | -0.058982 | 0 | 0 | 0 | -90.054 | -90.054 | -90.054 | 0.00070687 | 1.5659 | 1.5676 | 0 | 1.5661 | 1.567 | 111.6177 | -142.5917 | 142.5141 | 0 | -142.5668 | 142.5274
Line_2 | 0 | 0 | 0 | 0.0041044 | 0.0041044 | 0.0041044 | 0 | 0 | 0 | 0.047394 | 0.047394 | 0.047394 | -1.0522e-12 | -3.16e-09 | -3.1692e-09 | -1.9874e-13 | 0.045172 | -0.045125 | 2.6505e-12 | -2.4263e-09 | 2.421e-09 | 1.3767e-14 | -0.058897 | -0.058982 | 0 | 0 | 0 | -90.054 | -90.054 | -90.054 | 0.00070687 | 1.5659 | 1.5676 | 0 | 1.5661 | 1.567 | 111.6177 | -142.5917 | 142.5141 | 0 | -142.5668 | 142.5274

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.5942 | 0.012064 | 0.012064 | 1.5904 | 0.0082088 | 0.0082088 | 18.4083 | 0.1393 | 0.1393 | 18.3639 | 0.094788 | 0.094788 | 4.0426 | 0.14652 | -0.11876 | 7.4099e-11 | -0.090344 | 0.090251 | 2.2444 | -0.16785 | -0.1597 | -2.1625e-11 | 0.11779 | 0.11796 | -77.7636 | -88.2385 | -88.2385 | 102.2525 | 89.946 | 89.946 | 0.25118 | 1.5995 | 1.4287 | 0 | 1.5661 | 1.567 | -48.7245 | -137.1217 | 145.125 | 0 | -142.5668 | 142.5274
Line_1 | 0 | 0 | 0 | 0.0041044 | 0.0041044 | 0.0041044 | 0 | 0 | 0 | 0.047394 | 0.047394 | 0.047394 | -1.0522e-12 | -3.1599e-09 | -3.1692e-09 | -1.9874e-13 | 0.045172 | -0.045125 | 2.6505e-12 | -2.4263e-09 | 2.421e-09 | 1.3767e-14 | -0.058897 | -0.058982 | 0 | 0 | 0 | -90.054 | -90.054 | -90.054 | 0.00070687 | 1.5659 | 1.5676 | 0 | 1.5661 | 1.567 | 111.6177 | -142.5917 | 142.5141 | 0 | -142.5668 | 142.5274
Line_2 | 0 | 0 | 0 | 0.0041044 | 0.0041044 | 0.0041044 | 0 | 0 | 0 | 0.047394 | 0.047394 | 0.047394 | -1.0522e-12 | -3.16e-09 | -3.1692e-09 | -1.9874e-13 | 0.045172 | -0.045125 | 2.6505e-12 | -2.4263e-09 | 2.421e-09 | 1.3767e-14 | -0.058897 | -0.058982 | 0 | 0 | 0 | -90.054 | -90.054 | -90.054 | 0.00070687 | 1.5659 | 1.5676 | 0 | 1.5661 | 1.567 | 111.6177 | -142.5917 | 142.5141 | 0 | -142.5668 | 142.5274

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.88311 | 0.0066827 | 0.0066827 | 0.88098 | 0.0045473 | 0.0045473 | 10.1973 | 0.077165 | 0.077165 | 10.1727 | 0.052508 | 0.052508 | 5.1056 | 0.062827 | -0.077737 | -3.8568 | -0.04068 | 0.055849 | 4.5645 | -0.088876 | -0.045794 | -3.8654 | 0.061176 | 0.034905 | -62.4852 | -72.9602 | -72.9602 | 117.5308 | 105.2244 | 105.2244 | 0.6716 | 1.4105 | 1.1692 | 0.53677 | 1.3992 | 1.2543 | -20.6876 | -127.7034 | 137.5416 | -17.4058 | -131.1526 | 137.2292
Line_1 | 0 | 0 | 0 | 0.0022736 | 0.0022736 | 0.0022736 | 0 | 0 | 0 | 0.026254 | 0.026254 | 0.026254 | 1.0097e-09 | -1.6411e-09 | -9.3853e-10 | 0.0075987 | 0.02034 | -0.027925 | -6.4636e-10 | -1.093e-09 | 1.4986e-09 | 0.011868 | -0.030588 | -0.017452 | 0 | 0 | 0 | -74.7756 | -74.7756 | -74.7756 | 0.53645 | 1.3991 | 1.2547 | 0.53677 | 1.3992 | 1.2543 | -17.3814 | -131.1683 | 137.226 | -17.4058 | -131.1526 | 137.2292
Line_2 | 0 | 0 | 0 | 0.0022736 | 0.0022736 | 0.0022736 | 0 | 0 | 0 | 0.026254 | 0.026254 | 0.026254 | 1.0097e-09 | -1.6411e-09 | -9.3853e-10 | 0.0075987 | 0.02034 | -0.027925 | -6.4636e-10 | -1.093e-09 | 1.4986e-09 | 0.011868 | -0.030588 | -0.017452 | 0 | 0 | 0 | -74.7756 | -74.7756 | -74.7756 | 0.53645 | 1.3991 | 1.2547 | 0.53677 | 1.3992 | 1.2543 | -17.3814 | -131.1683 | 137.226 | -17.4058 | -131.1526 | 137.2292

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.88311 | 0.0066827 | 0.0066827 | 0.88098 | 0.0045473 | 0.0045473 | 10.1973 | 0.077165 | 0.077165 | 10.1727 | 0.052508 | 0.052508 | 5.1056 | 0.062827 | -0.077737 | -3.8568 | -0.04068 | 0.055849 | 4.5645 | -0.088876 | -0.045794 | -3.8654 | 0.061176 | 0.034905 | -62.4852 | -72.9602 | -72.9602 | 117.5308 | 105.2244 | 105.2244 | 0.6716 | 1.4105 | 1.1692 | 0.53677 | 1.3992 | 1.2543 | -20.6876 | -127.7034 | 137.5416 | -17.4058 | -131.1526 | 137.2292
Line_1 | 0 | 0 | 0 | 0.0022736 | 0.0022736 | 0.0022736 | 0 | 0 | 0 | 0.026254 | 0.026254 | 0.026254 | 1.0097e-09 | -1.6411e-09 | -9.3853e-10 | 0.0075987 | 0.02034 | -0.027925 | -6.4636e-10 | -1.093e-09 | 1.4986e-09 | 0.011868 | -0.030588 | -0.017452 | 0 | 0 | 0 | -74.7756 | -74.7756 | -74.7756 | 0.53645 | 1.3991 | 1.2547 | 0.53677 | 1.3992 | 1.2543 | -17.3814 | -131.1683 | 137.226 | -17.4058 | -131.1526 | 137.2292
Line_2 | 0 | 0 | 0 | 0.0022736 | 0.0022736 | 0.0022736 | 0 | 0 | 0 | 0.026254 | 0.026254 | 0.026254 | 1.0097e-09 | -1.6411e-09 | -9.3853e-10 | 0.0075987 | 0.02034 | -0.027925 | -6.4636e-10 | -1.093e-09 | 1.4986e-09 | 0.011868 | -0.030588 | -0.017452 | 0 | 0 | 0 | -74.7756 | -74.7756 | -74.7756 | 0.53645 | 1.3991 | 1.2547 | 0.53677 | 1.3992 | 1.2543 | -17.3814 | -131.1683 | 137.226 | -17.4058 | -131.1526 | 137.2292

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.3604 | 0.01076 | 0.01076 | 1.3571 | 0.0074282 | 0.0074282 | 15.7083 | 0.12425 | 0.12425 | 15.6704 | 0.085773 | 0.085773 | 5.6519 | 0.127 | -0.087992 | -1.913e-11 | -0.074351 | 0.074204 | 1.6201 | -0.13037 | -0.12085 | -1.5356e-11 | 0.095709 | 0.097338 | -68.0684 | -87.4664 | -87.4664 | 111.9621 | 89.3716 | 89.3716 | 0.37429 | 1.4648 | 1.2032 | 0 | 1.413 | 1.427 | -52.0742 | -133.2158 | 146.4757 | 0 | -142.7868 | 142.0523
Line_1 | 0 | 0 | 0 | 0.0037141 | 0.0037141 | 0.0037141 | 0 | 0 | 0 | 0.042887 | 0.042887 | 0.042887 | -8.2285e-13 | -2.5418e-09 | -2.622e-09 | 3.2193e-14 | 0.037175 | -0.037102 | 4.194e-12 | -2.0094e-09 | 1.9631e-09 | 5.8912e-14 | -0.047854 | -0.048669 | 0 | 0 | 0 | -90.6284 | -90.6284 | -90.6284 | 0.0011654 | 1.4125 | 1.4279 | 0 | 1.413 | 1.427 | 101.0344 | -142.8292 | 142.0216 | 0 | -142.7868 | 142.0523
Line_2 | 0 | 0 | 0 | 0.0037141 | 0.0037141 | 0.0037141 | 0 | 0 | 0 | 0.042887 | 0.042887 | 0.042887 | -8.2283e-13 | -2.5418e-09 | -2.622e-09 | 3.2193e-14 | 0.037175 | -0.037102 | 4.194e-12 | -2.0094e-09 | 1.9631e-09 | 5.8912e-14 | -0.047854 | -0.048669 | 0 | 0 | 0 | -90.6284 | -90.6284 | -90.6284 | 0.0011654 | 1.4125 | 1.4279 | 0 | 1.413 | 1.427 | 101.0344 | -142.8292 | 142.0216 | 0 | -142.7868 | 142.0523

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.3604 | 0.01076 | 0.01076 | 1.3571 | 0.0074282 | 0.0074282 | 15.7083 | 0.12425 | 0.12425 | 15.6704 | 0.085773 | 0.085773 | 5.6519 | 0.127 | -0.087992 | -1.913e-11 | -0.074351 | 0.074204 | 1.6201 | -0.13037 | -0.12085 | -1.5356e-11 | 0.095709 | 0.097338 | -68.0684 | -87.4664 | -87.4664 | 111.9621 | 89.3716 | 89.3716 | 0.37429 | 1.4648 | 1.2032 | 0 | 1.413 | 1.427 | -52.0742 | -133.2158 | 146.4757 | 0 | -142.7868 | 142.0523
Line_1 | 0 | 0 | 0 | 0.0037141 | 0.0037141 | 0.0037141 | 0 | 0 | 0 | 0.042887 | 0.042887 | 0.042887 | -8.2285e-13 | -2.5418e-09 | -2.622e-09 | 3.2193e-14 | 0.037175 | -0.037102 | 4.194e-12 | -2.0094e-09 | 1.9631e-09 | 5.8912e-14 | -0.047854 | -0.048669 | 0 | 0 | 0 | -90.6284 | -90.6284 | -90.6284 | 0.0011654 | 1.4125 | 1.4279 | 0 | 1.413 | 1.427 | 101.0344 | -142.8292 | 142.0216 | 0 | -142.7868 | 142.0523
Line_2 | 0 | 0 | 0 | 0.0037141 | 0.0037141 | 0.0037141 | 0 | 0 | 0 | 0.042887 | 0.042887 | 0.042887 | -8.2283e-13 | -2.5418e-09 | -2.622e-09 | 3.2193e-14 | 0.037175 | -0.037102 | 4.194e-12 | -2.0094e-09 | 1.9631e-09 | 5.8912e-14 | -0.047854 | -0.048669 | 0 | 0 | 0 | -90.6284 | -90.6284 | -90.6284 | 0.0011654 | 1.4125 | 1.4279 | 0 | 1.413 | 1.427 | 101.0344 | -142.8292 | 142.0216 | 0 | -142.7868 | 142.0523

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.75966 | 0.0060086 | 0.0060086 | 0.75783 | 0.004148 | 0.004148 | 8.7718 | 0.069382 | 0.069382 | 8.7506 | 0.047897 | 0.047897 | 4.6188 | 0.057771 | -0.059373 | -2.851 | -0.036713 | 0.045055 | 3.3767 | -0.067038 | -0.040227 | -2.863 | 0.047341 | 0.033321 | -57.7107 | -77.1087 | -77.1087 | 122.3199 | 99.7294 | 99.7294 | 0.65225 | 1.2755 | 1.0337 | 0.46173 | 1.2508 | 1.1699 | -21.541 | -126.3552 | 137.0101 | -12.559 | -132.477 | 136.2147
Line_1 | 0 | 0 | 0 | 0.002074 | 0.002074 | 0.002074 | 0 | 0 | 0 | 0.023949 | 0.023949 | 0.023949 | 8.7114e-10 | -1.2572e-09 | -9.0239e-10 | 0.0041939 | 0.018356 | -0.022527 | -3.6592e-10 | -9.927e-10 | 1.1975e-09 | 0.010232 | -0.02367 | -0.01666 | 0 | 0 | 0 | -80.2706 | -80.2706 | -80.2706 | 0.46137 | 1.2505 | 1.1705 | 0.46173 | 1.2508 | 1.1699 | -12.492 | -132.5038 | 136.2013 | -12.559 | -132.477 | 136.2147
Line_2 | 0 | 0 | 0 | 0.002074 | 0.002074 | 0.002074 | 0 | 0 | 0 | 0.023949 | 0.023949 | 0.023949 | 8.7115e-10 | -1.2572e-09 | -9.024e-10 | 0.0041939 | 0.018356 | -0.022527 | -3.6591e-10 | -9.9268e-10 | 1.1975e-09 | 0.010232 | -0.02367 | -0.01666 | 0 | 0 | 0 | -80.2706 | -80.2706 | -80.2706 | 0.46137 | 1.2505 | 1.1705 | 0.46173 | 1.2508 | 1.1699 | -12.492 | -132.5038 | 136.2013 | -12.559 | -132.477 | 136.2147

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.75966 | 0.0060086 | 0.0060086 | 0.75783 | 0.004148 | 0.004148 | 8.7718 | 0.069382 | 0.069382 | 8.7506 | 0.047897 | 0.047897 | 4.6188 | 0.057771 | -0.059373 | -2.851 | -0.036713 | 0.045055 | 3.3767 | -0.067038 | -0.040227 | -2.863 | 0.047341 | 0.033321 | -57.7107 | -77.1087 | -77.1087 | 122.3199 | 99.7294 | 99.7294 | 0.65225 | 1.2755 | 1.0337 | 0.46173 | 1.2508 | 1.1699 | -21.541 | -126.3552 | 137.0101 | -12.559 | -132.477 | 136.2147
Line_1 | 0 | 0 | 0 | 0.002074 | 0.002074 | 0.002074 | 0 | 0 | 0 | 0.023949 | 0.023949 | 0.023949 | 8.7114e-10 | -1.2572e-09 | -9.0239e-10 | 0.0041939 | 0.018356 | -0.022527 | -3.6592e-10 | -9.927e-10 | 1.1975e-09 | 0.010232 | -0.02367 | -0.01666 | 0 | 0 | 0 | -80.2706 | -80.2706 | -80.2706 | 0.46137 | 1.2505 | 1.1705 | 0.46173 | 1.2508 | 1.1699 | -12.492 | -132.5038 | 136.2013 | -12.559 | -132.477 | 136.2147
Line_2 | 0 | 0 | 0 | 0.002074 | 0.002074 | 0.002074 | 0 | 0 | 0 | 0.023949 | 0.023949 | 0.023949 | 8.7115e-10 | -1.2572e-09 | -9.024e-10 | 0.0041939 | 0.018356 | -0.022527 | -3.6591e-10 | -9.9268e-10 | 1.1975e-09 | 0.010232 | -0.02367 | -0.01666 | 0 | 0 | 0 | -80.2706 | -80.2706 | -80.2706 | 0.46137 | 1.2505 | 1.1705 | 0.46173 | 1.2508 | 1.1699 | -12.492 | -132.5038 | 136.2013 | -12.559 | -132.477 | 136.2147

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0073985 | 3.7414 | 3.7421 | 0.0050344 | 3.7413 | 3.7415 | 0.085431 | 43.2016 | 43.2095 | 0.058132 | 43.2011 | 43.2028 | 0.0031816 | 8.8597 | 6.7313 | -3.5137e-05 | 9.0184e-11 | 1.2711e-10 | -0.12673 | 4.5187 | 12.2855 | 0.088674 | -9.329e-11 | -4.1947e-12 | 91.7831 | -175.3439 | 19.7828 | -90.0323 | 4.6924 | -160.2524 | 1.4838 | 0.23021 | 0.3242 | 1.5254 | 0 | 0 | 3.2213 | -148.3214 | 81.0641 | -0.0095888 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0025172 | 0.0025172 | 0.0025172 | 0 | 0 | 0 | 0.029066 | 0.029066 | 0.029066 | -2.3803e-09 | 1.0845e-12 | -1.7306e-12 | 1.7567e-05 | -5.7555e-14 | -2.6285e-14 | -2.6729e-12 | 1.371e-12 | 2.5424e-13 | -0.044337 | -6.564e-14 | 8.1428e-14 | 0 | 0 | 0 | 89.9677 | 89.9677 | 89.9677 | 1.5255 | 0.00043352 | 0.00043352 | 1.5254 | 0 | 0 | -0.024722 | -68.3606 | -68.3606 | -0.0095888 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0025172 | 0.0025172 | 0.0025172 | 0 | 0 | 0 | 0.029066 | 0.029066 | 0.029066 | -2.3803e-09 | 1.0845e-12 | -1.7306e-12 | 1.7567e-05 | -5.7555e-14 | -2.6285e-14 | -2.6584e-12 | 1.371e-12 | 2.5426e-13 | -0.044337 | -6.564e-14 | 8.1428e-14 | 0 | 0 | 0 | 89.9677 | 89.9677 | 89.9677 | 1.5255 | 0.00043352 | 0.00043352 | 1.5254 | 0 | 0 | -0.024722 | -68.3606 | -68.3606 | -0.0095888 | 0 | 0

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0073985 | 3.7414 | 3.7421 | 0.0050344 | 3.7413 | 3.7415 | 0.085431 | 43.2016 | 43.2095 | 0.058132 | 43.2011 | 43.2028 | 0.0031816 | 8.8597 | 6.7313 | -3.5137e-05 | 9.0184e-11 | 1.2711e-10 | -0.12673 | 4.5187 | 12.2855 | 0.088674 | -9.329e-11 | -4.1947e-12 | 91.7831 | -175.3439 | 19.7828 | -90.0323 | 4.6924 | -160.2524 | 1.4838 | 0.23021 | 0.3242 | 1.5254 | 0 | 0 | 3.2213 | -148.3214 | 81.0641 | -0.0095888 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0025172 | 0.0025172 | 0.0025172 | 0 | 0 | 0 | 0.029066 | 0.029066 | 0.029066 | -2.3803e-09 | 1.0845e-12 | -1.7306e-12 | 1.7567e-05 | -5.7555e-14 | -2.6285e-14 | -2.6729e-12 | 1.371e-12 | 2.5424e-13 | -0.044337 | -6.564e-14 | 8.1428e-14 | 0 | 0 | 0 | 89.9677 | 89.9677 | 89.9677 | 1.5255 | 0.00043352 | 0.00043352 | 1.5254 | 0 | 0 | -0.024722 | -68.3606 | -68.3606 | -0.0095888 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0025172 | 0.0025172 | 0.0025172 | 0 | 0 | 0 | 0.029066 | 0.029066 | 0.029066 | -2.3803e-09 | 1.0845e-12 | -1.7306e-12 | 1.7567e-05 | -5.7555e-14 | -2.6285e-14 | -2.6584e-12 | 1.371e-12 | 2.5426e-13 | -0.044337 | -6.564e-14 | 8.1428e-14 | 0 | 0 | 0 | 89.9677 | 89.9677 | 89.9677 | 1.5255 | 0.00043352 | 0.00043352 | 1.5254 | 0 | 0 | -0.024722 | -68.3606 | -68.3606 | -0.0095888 | 0 | 0

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0049864 | 1.1138 | 1.246 | 0.003393 | 1.1139 | 1.2452 | 0.057578 | 12.8615 | 14.3881 | 0.03918 | 12.862 | 14.3779 | -0.011599 | 7.107 | 8.7608 | 0.0084455 | -6.1873 | -7.7552 | -0.076581 | 6.2017 | 9.5283 | 0.053495 | -6.2248 | -7.7225 | 103.1159 | -161.4797 | 50.5762 | -78.6996 | 18.6025 | -129.4851 | 1.3452 | 0.73338 | 0.89961 | 1.3823 | 0.68238 | 0.76119 | 4.5035 | -120.3712 | 97.9792 | 2.3288 | -116.2244 | 95.3937
Line_1 | 0 | 0 | 0 | 0.0016965 | 0.0016965 | 0.0016965 | 0 | 0 | 0 | 0.01959 | 0.01959 | 0.01959 | -1.4362e-09 | 1.0387e-09 | 6.6709e-10 | -0.0042228 | -0.010602 | 0.014832 | 2.2557e-10 | 1.8228e-10 | -1.2784e-09 | -0.026747 | 0.0081423 | -0.0015345 | 0 | 0 | 0 | 101.3004 | 101.3004 | 101.3004 | 1.3824 | 0.68253 | 0.76093 | 1.3823 | 0.68238 | 0.76119 | 2.3184 | -116.2034 | 95.3835 | 2.3288 | -116.2244 | 95.3937
Line_2 | 0 | 0 | 0 | 0.0016965 | 0.0016965 | 0.0016965 | 0 | 0 | 0 | 0.01959 | 0.01959 | 0.01959 | -1.4362e-09 | 1.0387e-09 | 6.6709e-10 | -0.0042228 | -0.010602 | 0.014832 | 2.2557e-10 | 1.8228e-10 | -1.2784e-09 | -0.026747 | 0.0081423 | -0.0015345 | 0 | 0 | 0 | 101.3004 | 101.3004 | 101.3004 | 1.3824 | 0.68253 | 0.76093 | 1.3823 | 0.68238 | 0.76119 | 2.3184 | -116.2034 | 95.3835 | 2.3288 | -116.2244 | 95.3937

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0049864 | 1.1138 | 1.246 | 0.003393 | 1.1139 | 1.2452 | 0.057578 | 12.8615 | 14.3881 | 0.03918 | 12.862 | 14.3779 | -0.011599 | 7.107 | 8.7608 | 0.0084455 | -6.1873 | -7.7552 | -0.076581 | 6.2017 | 9.5283 | 0.053495 | -6.2248 | -7.7225 | 103.1159 | -161.4797 | 50.5762 | -78.6996 | 18.6025 | -129.4851 | 1.3452 | 0.73338 | 0.89961 | 1.3823 | 0.68238 | 0.76119 | 4.5035 | -120.3712 | 97.9792 | 2.3288 | -116.2244 | 95.3937
Line_1 | 0 | 0 | 0 | 0.0016965 | 0.0016965 | 0.0016965 | 0 | 0 | 0 | 0.01959 | 0.01959 | 0.01959 | -1.4362e-09 | 1.0387e-09 | 6.6709e-10 | -0.0042228 | -0.010602 | 0.014832 | 2.2557e-10 | 1.8228e-10 | -1.2784e-09 | -0.026747 | 0.0081423 | -0.0015345 | 0 | 0 | 0 | 101.3004 | 101.3004 | 101.3004 | 1.3824 | 0.68253 | 0.76093 | 1.3823 | 0.68238 | 0.76119 | 2.3184 | -116.2034 | 95.3835 | 2.3288 | -116.2244 | 95.3937
Line_2 | 0 | 0 | 0 | 0.0016965 | 0.0016965 | 0.0016965 | 0 | 0 | 0 | 0.01959 | 0.01959 | 0.01959 | -1.4362e-09 | 1.0387e-09 | 6.6709e-10 | -0.0042228 | -0.010602 | 0.014832 | 2.2557e-10 | 1.8228e-10 | -1.2784e-09 | -0.026747 | 0.0081423 | -0.0015345 | 0 | 0 | 0 | 101.3004 | 101.3004 | 101.3004 | 1.3824 | 0.68253 | 0.76093 | 1.3823 | 0.68238 | 0.76119 | 2.3184 | -116.2034 | 95.3835 | 2.3288 | -116.2244 | 95.3937

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0066203 | 3.161 | 3.1339 | 0.0045703 | 3.1611 | 3.1332 | 0.076445 | 36.4999 | 36.1868 | 0.052773 | 36.501 | 36.1793 | 0.004504 | 11.6337 | 9.5978 | -5.5593e-05 | -1.5402e-10 | -1.4988e-11 | -0.1004 | 0.66062 | 11.2342 | 0.073078 | -1.3727e-10 | -2.0545e-10 | 92.9385 | -167.3334 | 28.0554 | -90.2235 | 12.7041 | -151.9806 | 1.3147 | 0.31925 | 0.40832 | 1.3848 | 0 | 0 | 5.5071 | -164.0833 | 77.5469 | -0.17989 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0022851 | 0.0022851 | 0.0022851 | 0 | 0 | 0 | 0.026387 | 0.026387 | 0.026387 | -1.9545e-09 | 1.969e-12 | -2.4942e-12 | 2.7795e-05 | -1.2162e-13 | 1.3718e-13 | -1.8536e-11 | 1.74e-12 | 8.3684e-13 | -0.036539 | 8.6318e-14 | 6.1277e-14 | 0 | 0 | 0 | 89.7765 | 89.7765 | 89.7765 | 1.3849 | 0.00071701 | 0.00071701 | 1.3848 | 0 | 0 | -0.20895 | -78.5607 | -78.5607 | -0.17989 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0022851 | 0.0022851 | 0.0022851 | 0 | 0 | 0 | 0.026387 | 0.026387 | 0.026387 | -1.9545e-09 | 1.969e-12 | -2.4942e-12 | 2.7795e-05 | -1.2162e-13 | 1.3718e-13 | -1.8523e-11 | 1.74e-12 | 8.3685e-13 | -0.036539 | 8.6318e-14 | 6.1277e-14 | 0 | 0 | 0 | 89.7765 | 89.7765 | 89.7765 | 1.3849 | 0.00071701 | 0.00071701 | 1.3848 | 0 | 0 | -0.20895 | -78.5607 | -78.5607 | -0.17989 | 0 | 0

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0066203 | 3.161 | 3.1339 | 0.0045703 | 3.1611 | 3.1332 | 0.076445 | 36.4999 | 36.1868 | 0.052773 | 36.501 | 36.1793 | 0.004504 | 11.6337 | 9.5978 | -5.5593e-05 | -1.5402e-10 | -1.4988e-11 | -0.1004 | 0.66062 | 11.2342 | 0.073078 | -1.3727e-10 | -2.0545e-10 | 92.9385 | -167.3334 | 28.0554 | -90.2235 | 12.7041 | -151.9806 | 1.3147 | 0.31925 | 0.40832 | 1.3848 | 0 | 0 | 5.5071 | -164.0833 | 77.5469 | -0.17989 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0022851 | 0.0022851 | 0.0022851 | 0 | 0 | 0 | 0.026387 | 0.026387 | 0.026387 | -1.9545e-09 | 1.969e-12 | -2.4942e-12 | 2.7795e-05 | -1.2162e-13 | 1.3718e-13 | -1.8536e-11 | 1.74e-12 | 8.3684e-13 | -0.036539 | 8.6318e-14 | 6.1277e-14 | 0 | 0 | 0 | 89.7765 | 89.7765 | 89.7765 | 1.3849 | 0.00071701 | 0.00071701 | 1.3848 | 0 | 0 | -0.20895 | -78.5607 | -78.5607 | -0.17989 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0022851 | 0.0022851 | 0.0022851 | 0 | 0 | 0 | 0.026387 | 0.026387 | 0.026387 | -1.9545e-09 | 1.969e-12 | -2.4942e-12 | 2.7795e-05 | -1.2162e-13 | 1.3718e-13 | -1.8523e-11 | 1.74e-12 | 8.3685e-13 | -0.036539 | 8.6318e-14 | 6.1277e-14 | 0 | 0 | 0 | 89.7765 | 89.7765 | 89.7765 | 1.3849 | 0.00071701 | 0.00071701 | 1.3848 | 0 | 0 | -0.20895 | -78.5607 | -78.5607 | -0.17989 | 0 | 0

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0044647 | 0.99564 | 1.0683 | 0.0030822 | 0.99573 | 1.0675 | 0.051554 | 11.4967 | 12.3354 | 0.03559 | 11.4977 | 12.3261 | -0.0055523 | 6.2668 | 7.1684 | 0.0046057 | -4.9461 | -5.6974 | -0.061633 | 4.4511 | 7.5553 | 0.044534 | -4.9759 | -5.6742 | 100.4866 | -159.0769 | 52.6618 | -82.6754 | 21.0033 | -127.3995 | 1.2004 | 0.6686 | 0.8443 | 1.258 | 0.6102 | 0.65235 | 5.3389 | -123.6921 | 99.167 | 1.4201 | -113.8245 | 97.4838
Line_1 | 0 | 0 | 0 | 0.0015411 | 0.0015411 | 0.0015411 | 0 | 0 | 0 | 0.017795 | 0.017795 | 0.017795 | -1.1922e-09 | 8.5872e-10 | 6.4975e-10 | -0.0023029 | -0.009293 | 0.011609 | 1.1263e-10 | 2.4203e-10 | -9.1565e-10 | -0.022267 | 0.0056168 | 3.2258e-05 | 0 | 0 | 0 | 97.3246 | 97.3246 | 97.3246 | 1.2581 | 0.61056 | 0.65188 | 1.258 | 0.6102 | 0.65235 | 1.3991 | -113.7936 | 97.4754 | 1.4201 | -113.8245 | 97.4838
Line_2 | 0 | 0 | 0 | 0.0015411 | 0.0015411 | 0.0015411 | 0 | 0 | 0 | 0.017795 | 0.017795 | 0.017795 | -1.1922e-09 | 8.5873e-10 | 6.4975e-10 | -0.0023029 | -0.009293 | 0.011609 | 1.1263e-10 | 2.4202e-10 | -9.1564e-10 | -0.022267 | 0.0056168 | 3.2258e-05 | 0 | 0 | 0 | 97.3246 | 97.3246 | 97.3246 | 1.2581 | 0.61056 | 0.65188 | 1.258 | 0.6102 | 0.65235 | 1.3991 | -113.7936 | 97.4754 | 1.4201 | -113.8245 | 97.4838

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0044647 | 0.99564 | 1.0683 | 0.0030822 | 0.99573 | 1.0675 | 0.051554 | 11.4967 | 12.3354 | 0.03559 | 11.4977 | 12.3261 | -0.0055523 | 6.2668 | 7.1684 | 0.0046057 | -4.9461 | -5.6974 | -0.061633 | 4.4511 | 7.5553 | 0.044534 | -4.9759 | -5.6742 | 100.4866 | -159.0769 | 52.6618 | -82.6754 | 21.0033 | -127.3995 | 1.2004 | 0.6686 | 0.8443 | 1.258 | 0.6102 | 0.65235 | 5.3389 | -123.6921 | 99.167 | 1.4201 | -113.8245 | 97.4838
Line_1 | 0 | 0 | 0 | 0.0015411 | 0.0015411 | 0.0015411 | 0 | 0 | 0 | 0.017795 | 0.017795 | 0.017795 | -1.1922e-09 | 8.5872e-10 | 6.4975e-10 | -0.0023029 | -0.009293 | 0.011609 | 1.1263e-10 | 2.4203e-10 | -9.1565e-10 | -0.022267 | 0.0056168 | 3.2258e-05 | 0 | 0 | 0 | 97.3246 | 97.3246 | 97.3246 | 1.2581 | 0.61056 | 0.65188 | 1.258 | 0.6102 | 0.65235 | 1.3991 | -113.7936 | 97.4754 | 1.4201 | -113.8245 | 97.4838
Line_2 | 0 | 0 | 0 | 0.0015411 | 0.0015411 | 0.0015411 | 0 | 0 | 0 | 0.017795 | 0.017795 | 0.017795 | -1.1922e-09 | 8.5873e-10 | 6.4975e-10 | -0.0023029 | -0.009293 | 0.011609 | 1.1263e-10 | 2.4202e-10 | -9.1564e-10 | -0.022267 | 0.0056168 | 3.2258e-05 | 0 | 0 | 0 | 97.3246 | 97.3246 | 97.3246 | 1.2581 | 0.61056 | 0.65188 | 1.258 | 0.6102 | 0.65235 | 1.3991 | -113.7936 | 97.4754 | 1.4201 | -113.8245 | 97.4838