## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -4.1572e-15 | -1.3367e-14 | 5.2107e-15 | 2.5e-14 | 8.1565e-15 | 5.2106e-15 | -1.9212e-09 | 1.9211e-09 | -5.2106e-15 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55001 | 0.54999 | 1.1 | 0.55001 | 0.54999 | 5.9637e-05 | 179.9999 | -179.9998 | 5.9637e-05 | 179.9999 | -179.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -1.4579e-14 | 7.4753e-15 | -5.2107e-15 | 2.5e-14 | -1.2686e-14 | -1.0421e-14 | -1.9212e-09 | 1.9211e-09 | 1.0421e-14 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55001 | 0.54999 | 1.1 | 0.55001 | 0.54999 | 5.9637e-05 | 179.9999 | -179.9998 | 5.9637e-05 | 179.9999 | -179.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -1.4579e-14 | 7.4753e-15 | -5.2107e-15 | 2.5e-14 | -1.2686e-14 | -1.0421e-14 | -1.9212e-09 | 1.9211e-09 | 1.0421e-14 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55001 | 0.54999 | 1.1 | 0.55001 | 0.54999 | 5.9637e-05 | 179.9999 | -179.9998 | 5.9637e-05 | 179.9999 | -179.9998

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -4.1572e-15 | -1.3367e-14 | 5.2107e-15 | 2.5e-14 | 8.1565e-15 | 5.2106e-15 | -1.9212e-09 | 1.9211e-09 | -5.2106e-15 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55001 | 0.54999 | 1.1 | 0.55001 | 0.54999 | 5.9637e-05 | 179.9999 | -179.9998 | 5.9637e-05 | 179.9999 | -179.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -1.4579e-14 | 7.4753e-15 | -5.2107e-15 | 2.5e-14 | -1.2686e-14 | -1.0421e-14 | -1.9212e-09 | 1.9211e-09 | 1.0421e-14 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55001 | 0.54999 | 1.1 | 0.55001 | 0.54999 | 5.9637e-05 | 179.9999 | -179.9998 | 5.9637e-05 | 179.9999 | -179.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -1.4579e-14 | 7.4753e-15 | -5.2107e-15 | 2.5e-14 | -1.2686e-14 | -1.0421e-14 | -1.9212e-09 | 1.9211e-09 | 1.0421e-14 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55001 | 0.54999 | 1.1 | 0.55001 | 0.54999 | 5.9637e-05 | 179.9999 | -179.9998 | 5.9637e-05 | 179.9999 | -179.9998

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.2815e-14 | 1.2687e-14 | -5.2107e-15 | 3.021e-14 | -1.2687e-14 | 0 | -1.9212e-09 | 1.9211e-09 | 5.2106e-15 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55001 | 0.54999 | 1.1 | 0.55001 | 0.54999 | 5.9637e-05 | 179.9999 | -179.9998 | 5.9637e-05 | 179.9999 | -179.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -2.2394e-14 | 2.2656e-15 | 5.2106e-15 | 3.021e-14 | -1.2687e-14 | 5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 5.4235e-21 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55001 | 0.54999 | 1.1 | 0.55001 | 0.54999 | 5.9637e-05 | 179.9999 | -179.9998 | 5.9637e-05 | 179.9999 | -179.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -2.2394e-14 | 2.2656e-15 | 5.2106e-15 | 3.021e-14 | -1.2687e-14 | 5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 5.4235e-21 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55001 | 0.54999 | 1.1 | 0.55001 | 0.54999 | 5.9637e-05 | 179.9999 | -179.9998 | 5.9637e-05 | 179.9999 | -179.9998

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.2815e-14 | 1.2687e-14 | -5.2107e-15 | 3.021e-14 | -1.2687e-14 | 0 | -1.9212e-09 | 1.9211e-09 | 5.2106e-15 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55001 | 0.54999 | 1.1 | 0.55001 | 0.54999 | 5.9637e-05 | 179.9999 | -179.9998 | 5.9637e-05 | 179.9999 | -179.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -2.2394e-14 | 2.2656e-15 | 5.2106e-15 | 3.021e-14 | -1.2687e-14 | 5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 5.4235e-21 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55001 | 0.54999 | 1.1 | 0.55001 | 0.54999 | 5.9637e-05 | 179.9999 | -179.9998 | 5.9637e-05 | 179.9999 | -179.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -2.2394e-14 | 2.2656e-15 | 5.2106e-15 | 3.021e-14 | -1.2687e-14 | 5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 5.4235e-21 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55001 | 0.54999 | 1.1 | 0.55001 | 0.54999 | 5.9637e-05 | 179.9999 | -179.9998 | 5.9637e-05 | 179.9999 | -179.9998

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.201e-20 | -1.7254e-14 | -1.4413e-14 | -2.3685e-15 | 2.6728e-14 | 1.6781e-14 | -9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -7.2636e-05 | 179.9992 | -179.9994 | -7.2636e-05 | 179.9992 | -179.9994
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | -2.1991e-14 | -9.676e-15 | 7.1054e-15 | 3.1465e-14 | 1.6781e-14 | 1.201e-20 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -7.2636e-05 | 179.9992 | -179.9994 | -7.2636e-05 | 179.9992 | -179.9994
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | -2.1991e-14 | -9.676e-15 | 7.1054e-15 | 3.1465e-14 | 1.6781e-14 | 1.201e-20 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -7.2636e-05 | 179.9992 | -179.9994 | -7.2636e-05 | 179.9992 | -179.9994

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.201e-20 | -1.7254e-14 | -1.4413e-14 | -2.3685e-15 | 2.6728e-14 | 1.6781e-14 | -9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -7.2636e-05 | 179.9992 | -179.9994 | -7.2636e-05 | 179.9992 | -179.9994
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | -2.1991e-14 | -9.676e-15 | 7.1054e-15 | 3.1465e-14 | 1.6781e-14 | 1.201e-20 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -7.2636e-05 | 179.9992 | -179.9994 | -7.2636e-05 | 179.9992 | -179.9994
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | -2.1991e-14 | -9.676e-15 | 7.1054e-15 | 3.1465e-14 | 1.6781e-14 | 1.201e-20 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -7.2636e-05 | 179.9992 | -179.9994 | -7.2636e-05 | 179.9992 | -179.9994

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4021e-20 | -1.8438e-14 | -1.4412e-14 | -7.1054e-15 | 2.9096e-14 | 1.9149e-14 | -1.8948e-14 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -7.2636e-05 | 179.9992 | -179.9994 | -7.2636e-05 | 179.9992 | -179.9994
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | -1.8438e-14 | -9.6752e-15 | -6.0052e-21 | 2.9096e-14 | 1.4412e-14 | -4.7369e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -7.2636e-05 | 179.9992 | -179.9994 | -7.2636e-05 | 179.9992 | -179.9994
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | -1.8438e-14 | -9.6752e-15 | -6.0052e-21 | 2.9096e-14 | 1.4412e-14 | -4.7369e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -7.2636e-05 | 179.9992 | -179.9994 | -7.2636e-05 | 179.9992 | -179.9994

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4021e-20 | -1.8438e-14 | -1.4412e-14 | -7.1054e-15 | 2.9096e-14 | 1.9149e-14 | -1.8948e-14 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -7.2636e-05 | 179.9992 | -179.9994 | -7.2636e-05 | 179.9992 | -179.9994
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | -1.8438e-14 | -9.6752e-15 | -6.0052e-21 | 2.9096e-14 | 1.4412e-14 | -4.7369e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -7.2636e-05 | 179.9992 | -179.9994 | -7.2636e-05 | 179.9992 | -179.9994
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | -1.8438e-14 | -9.6752e-15 | -6.0052e-21 | 2.9096e-14 | 1.4412e-14 | -4.7369e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -7.2636e-05 | 179.9992 | -179.9994 | -7.2636e-05 | 179.9992 | -179.9994

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3746e-19 | 1.0553e-14 | -6.0405e-15 | -2.0616e-19 | -1.8293e-14 | -2.0135e-15 | 1.6937e-19 | 1.9211e-09 | -1.9211e-09 | -6.2742e-20 | 6.404e-10 | -6.4038e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3746e-19 | 1.5279e-15 | -3.3116e-14 | -2.0616e-19 | 1.7807e-14 | 2.5062e-14 | 1.6937e-19 | 1.9211e-09 | -1.9211e-09 | -6.2741e-20 | 6.4038e-10 | -6.4039e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3746e-19 | 1.5279e-15 | -3.3116e-14 | -2.0616e-19 | 1.7807e-14 | 2.5062e-14 | 1.6937e-19 | 1.9211e-09 | -1.9211e-09 | -6.2741e-20 | 6.4038e-10 | -6.4039e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3746e-19 | 1.0553e-14 | -6.0405e-15 | -2.0616e-19 | -1.8293e-14 | -2.0135e-15 | 1.6937e-19 | 1.9211e-09 | -1.9211e-09 | -6.2742e-20 | 6.404e-10 | -6.4038e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3746e-19 | 1.5279e-15 | -3.3116e-14 | -2.0616e-19 | 1.7807e-14 | 2.5062e-14 | 1.6937e-19 | 1.9211e-09 | -1.9211e-09 | -6.2741e-20 | 6.4038e-10 | -6.4039e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3746e-19 | 1.5279e-15 | -3.3116e-14 | -2.0616e-19 | 1.7807e-14 | 2.5062e-14 | 1.6937e-19 | 1.9211e-09 | -1.9211e-09 | -6.2741e-20 | 6.4038e-10 | -6.4039e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.9977e-18 | 8.2977e-15 | -6.0395e-15 | -6.3065e-18 | -2.425e-16 | -1.1038e-14 | 3.8297e-18 | 1.9211e-09 | -1.9211e-09 | -6.1632e-18 | 6.4036e-10 | -6.4037e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.9977e-18 | -1.8778e-14 | -2.409e-14 | -6.3066e-18 | 2.6833e-14 | 7.012e-15 | 3.8296e-18 | 1.9211e-09 | -1.9211e-09 | -6.1632e-18 | 6.4038e-10 | -6.4037e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.9977e-18 | -1.8778e-14 | -2.409e-14 | -6.3066e-18 | 2.6833e-14 | 7.012e-15 | 3.8296e-18 | 1.9211e-09 | -1.9211e-09 | -6.1632e-18 | 6.4038e-10 | -6.4037e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.9977e-18 | 8.2977e-15 | -6.0395e-15 | -6.3065e-18 | -2.425e-16 | -1.1038e-14 | 3.8297e-18 | 1.9211e-09 | -1.9211e-09 | -6.1632e-18 | 6.4036e-10 | -6.4037e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.9977e-18 | -1.8778e-14 | -2.409e-14 | -6.3066e-18 | 2.6833e-14 | 7.012e-15 | 3.8296e-18 | 1.9211e-09 | -1.9211e-09 | -6.1632e-18 | 6.4038e-10 | -6.4037e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.9977e-18 | -1.8778e-14 | -2.409e-14 | -6.3066e-18 | 2.6833e-14 | 7.012e-15 | 3.8296e-18 | 1.9211e-09 | -1.9211e-09 | -6.1632e-18 | 6.4038e-10 | -6.4037e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.7874e-19 | 4.0336e-15 | -5.0592e-15 | -6.5915e-20 | -4.467e-15 | 6.5182e-15 | 5.1477e-20 | 1.5877e-09 | -1.5877e-09 | 9.5413e-20 | 5.2925e-10 | -5.2925e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.7874e-19 | 4.0336e-15 | -5.0591e-15 | -6.5915e-20 | -3.6473e-16 | 6.5182e-15 | 5.1478e-20 | 1.5877e-09 | -1.5877e-09 | 9.5413e-20 | 5.2924e-10 | -5.2925e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.7874e-19 | 4.0336e-15 | -5.0591e-15 | -6.5915e-20 | -3.6473e-16 | 6.5182e-15 | 5.1478e-20 | 1.5877e-09 | -1.5877e-09 | 9.5413e-20 | 5.2924e-10 | -5.2925e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.7874e-19 | 4.0336e-15 | -5.0592e-15 | -6.5915e-20 | -4.467e-15 | 6.5182e-15 | 5.1477e-20 | 1.5877e-09 | -1.5877e-09 | 9.5413e-20 | 5.2925e-10 | -5.2925e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.7874e-19 | 4.0336e-15 | -5.0591e-15 | -6.5915e-20 | -3.6473e-16 | 6.5182e-15 | 5.1478e-20 | 1.5877e-09 | -1.5877e-09 | 9.5413e-20 | 5.2924e-10 | -5.2925e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.7874e-19 | 4.0336e-15 | -5.0591e-15 | -6.5915e-20 | -3.6473e-16 | 6.5182e-15 | 5.1478e-20 | 1.5877e-09 | -1.5877e-09 | 9.5413e-20 | 5.2924e-10 | -5.2925e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.4037e-18 | 3.0088e-15 | -7.1096e-15 | -5.1076e-18 | -3.6447e-16 | 2.4162e-15 | 3.0764e-18 | 1.5877e-09 | -1.5877e-09 | -4.9462e-18 | 5.2924e-10 | -5.2924e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.4037e-18 | 3.0088e-15 | -3.0073e-15 | -5.1076e-18 | -4.4667e-15 | -1.6861e-15 | 3.0764e-18 | 1.5877e-09 | -1.5877e-09 | -4.9462e-18 | 5.2926e-10 | -5.2924e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.4037e-18 | 3.0088e-15 | -3.0073e-15 | -5.1076e-18 | -4.4667e-15 | -1.6861e-15 | 3.0764e-18 | 1.5877e-09 | -1.5877e-09 | -4.9462e-18 | 5.2926e-10 | -5.2924e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.4037e-18 | 3.0088e-15 | -7.1096e-15 | -5.1076e-18 | -3.6447e-16 | 2.4162e-15 | 3.0764e-18 | 1.5877e-09 | -1.5877e-09 | -4.9462e-18 | 5.2924e-10 | -5.2924e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.4037e-18 | 3.0088e-15 | -3.0073e-15 | -5.1076e-18 | -4.4667e-15 | -1.6861e-15 | 3.0764e-18 | 1.5877e-09 | -1.5877e-09 | -4.9462e-18 | 5.2926e-10 | -5.2924e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.4037e-18 | 3.0088e-15 | -3.0073e-15 | -5.1076e-18 | -4.4667e-15 | -1.6861e-15 | 3.0764e-18 | 1.5877e-09 | -1.5877e-09 | -4.9462e-18 | 5.2926e-10 | -5.2924e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3343e-14 | 2.6776e-15 | -2.1663e-14 | -4.4476e-15 | -2.6998e-14 | 6.3775e-14 | -1.7994e-15 | -1.9517e-14 | -2.3963e-14 | -5.9985e-16 | 2.9437e-14 | 1.4924e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3382e-06 | 4.8843e-06 | 8.0091e-06 | 3.3382e-06 | 4.8842e-06 | 8.0092e-06 | -172.3196 | 157.8116 | -12.1137 | -172.3197 | 157.8107 | -12.1134
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3343e-14 | 2.6776e-15 | -2.1663e-14 | -4.4476e-15 | -2.6998e-14 | 6.3775e-14 | -1.7994e-15 | -1.9517e-14 | -2.3963e-14 | -5.9985e-16 | 2.9437e-14 | 1.4924e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3382e-06 | 4.8843e-06 | 8.0091e-06 | 3.3382e-06 | 4.8842e-06 | 8.0092e-06 | -172.3196 | 157.8116 | -12.1137 | -172.3197 | 157.8107 | -12.1134
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3343e-14 | 2.6776e-15 | -2.1663e-14 | -4.4476e-15 | -2.6998e-14 | 6.3775e-14 | -1.7994e-15 | -1.9517e-14 | -2.3963e-14 | -5.9985e-16 | 2.9437e-14 | 1.4924e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3382e-06 | 4.8843e-06 | 8.0091e-06 | 3.3382e-06 | 4.8842e-06 | 8.0092e-06 | -172.3196 | 157.8116 | -12.1137 | -172.3197 | 157.8107 | -12.1134

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3343e-14 | 2.6776e-15 | -2.1663e-14 | -4.4476e-15 | -2.6998e-14 | 6.3775e-14 | -1.7994e-15 | -1.9517e-14 | -2.3963e-14 | -5.9985e-16 | 2.9437e-14 | 1.4924e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3382e-06 | 4.8843e-06 | 8.0091e-06 | 3.3382e-06 | 4.8842e-06 | 8.0092e-06 | -172.3196 | 157.8116 | -12.1137 | -172.3197 | 157.8107 | -12.1134
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3343e-14 | 2.6776e-15 | -2.1663e-14 | -4.4476e-15 | -2.6998e-14 | 6.3775e-14 | -1.7994e-15 | -1.9517e-14 | -2.3963e-14 | -5.9985e-16 | 2.9437e-14 | 1.4924e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3382e-06 | 4.8843e-06 | 8.0091e-06 | 3.3382e-06 | 4.8842e-06 | 8.0092e-06 | -172.3196 | 157.8116 | -12.1137 | -172.3197 | 157.8107 | -12.1134
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3343e-14 | 2.6776e-15 | -2.1663e-14 | -4.4476e-15 | -2.6998e-14 | 6.3775e-14 | -1.7994e-15 | -1.9517e-14 | -2.3963e-14 | -5.9985e-16 | 2.9437e-14 | 1.4924e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3382e-06 | 4.8843e-06 | 8.0091e-06 | 3.3382e-06 | 4.8842e-06 | 8.0092e-06 | -172.3196 | 157.8116 | -12.1137 | -172.3197 | 157.8107 | -12.1134

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3336e-14 | 2.6834e-15 | -2.1661e-14 | -4.4453e-15 | -2.7006e-14 | 6.3766e-14 | -1.7921e-15 | -1.9516e-14 | -2.3957e-14 | -5.9734e-16 | 2.9428e-14 | 1.4917e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3362e-06 | 4.8841e-06 | 8.0077e-06 | 3.3361e-06 | 4.884e-06 | 8.0078e-06 | -172.3463 | 157.8288 | -12.1186 | -172.3464 | 157.828 | -12.1182
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3336e-14 | 2.6833e-15 | -2.1662e-14 | -4.4452e-15 | -2.7006e-14 | 6.3766e-14 | -1.7921e-15 | -1.9515e-14 | -2.3957e-14 | -5.9732e-16 | 2.9428e-14 | 1.4917e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3362e-06 | 4.8841e-06 | 8.0077e-06 | 3.3361e-06 | 4.884e-06 | 8.0078e-06 | -172.3463 | 157.8288 | -12.1186 | -172.3464 | 157.828 | -12.1182
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3336e-14 | 2.6833e-15 | -2.1662e-14 | -4.4452e-15 | -2.7006e-14 | 6.3766e-14 | -1.7921e-15 | -1.9515e-14 | -2.3957e-14 | -5.9732e-16 | 2.9428e-14 | 1.4917e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3362e-06 | 4.8841e-06 | 8.0077e-06 | 3.3361e-06 | 4.884e-06 | 8.0078e-06 | -172.3463 | 157.8288 | -12.1186 | -172.3464 | 157.828 | -12.1182

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3336e-14 | 2.6834e-15 | -2.1661e-14 | -4.4453e-15 | -2.7006e-14 | 6.3766e-14 | -1.7921e-15 | -1.9516e-14 | -2.3957e-14 | -5.9734e-16 | 2.9428e-14 | 1.4917e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3362e-06 | 4.8841e-06 | 8.0077e-06 | 3.3361e-06 | 4.884e-06 | 8.0078e-06 | -172.3463 | 157.8288 | -12.1186 | -172.3464 | 157.828 | -12.1182
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3336e-14 | 2.6833e-15 | -2.1662e-14 | -4.4452e-15 | -2.7006e-14 | 6.3766e-14 | -1.7921e-15 | -1.9515e-14 | -2.3957e-14 | -5.9732e-16 | 2.9428e-14 | 1.4917e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3362e-06 | 4.8841e-06 | 8.0077e-06 | 3.3361e-06 | 4.884e-06 | 8.0078e-06 | -172.3463 | 157.8288 | -12.1186 | -172.3464 | 157.828 | -12.1182
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3336e-14 | 2.6833e-15 | -2.1662e-14 | -4.4452e-15 | -2.7006e-14 | 6.3766e-14 | -1.7921e-15 | -1.9515e-14 | -2.3957e-14 | -5.9732e-16 | 2.9428e-14 | 1.4917e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3362e-06 | 4.8841e-06 | 8.0077e-06 | 3.3361e-06 | 4.884e-06 | 8.0078e-06 | -172.3463 | 157.8288 | -12.1186 | -172.3464 | 157.828 | -12.1182

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.0182e-15 | -2.2057e-14 | -1.2022e-14 | 2.3395e-15 | 1.4695e-14 | 1.0027e-14 | -1.4853e-14 | -1.9111e-14 | 8.6692e-15 | -4.9508e-15 | 5.7321e-14 | -2.8329e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4802e-06 | 7.9595e-06 | 4.0422e-06 | 4.4802e-06 | 7.9595e-06 | 4.0422e-06 | -64.7081 | 100.907 | -95.7961 | -64.7068 | 100.906 | -95.7939
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.0182e-15 | -2.2057e-14 | -1.2022e-14 | 2.3395e-15 | 1.4695e-14 | 1.0027e-14 | -1.4853e-14 | -1.9111e-14 | 8.6691e-15 | -4.9508e-15 | 5.7321e-14 | -2.8329e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4802e-06 | 7.9595e-06 | 4.0422e-06 | 4.4802e-06 | 7.9595e-06 | 4.0422e-06 | -64.7081 | 100.907 | -95.7961 | -64.7068 | 100.906 | -95.7939
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.0182e-15 | -2.2057e-14 | -1.2022e-14 | 2.3395e-15 | 1.4695e-14 | 1.0027e-14 | -1.4853e-14 | -1.9111e-14 | 8.6691e-15 | -4.9508e-15 | 5.7321e-14 | -2.8329e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4802e-06 | 7.9595e-06 | 4.0422e-06 | 4.4802e-06 | 7.9595e-06 | 4.0422e-06 | -64.7081 | 100.907 | -95.7961 | -64.7068 | 100.906 | -95.7939

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.0182e-15 | -2.2057e-14 | -1.2022e-14 | 2.3395e-15 | 1.4695e-14 | 1.0027e-14 | -1.4853e-14 | -1.9111e-14 | 8.6692e-15 | -4.9508e-15 | 5.7321e-14 | -2.8329e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4802e-06 | 7.9595e-06 | 4.0422e-06 | 4.4802e-06 | 7.9595e-06 | 4.0422e-06 | -64.7081 | 100.907 | -95.7961 | -64.7068 | 100.906 | -95.7939
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.0182e-15 | -2.2057e-14 | -1.2022e-14 | 2.3395e-15 | 1.4695e-14 | 1.0027e-14 | -1.4853e-14 | -1.9111e-14 | 8.6691e-15 | -4.9508e-15 | 5.7321e-14 | -2.8329e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4802e-06 | 7.9595e-06 | 4.0422e-06 | 4.4802e-06 | 7.9595e-06 | 4.0422e-06 | -64.7081 | 100.907 | -95.7961 | -64.7068 | 100.906 | -95.7939
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.0182e-15 | -2.2057e-14 | -1.2022e-14 | 2.3395e-15 | 1.4695e-14 | 1.0027e-14 | -1.4853e-14 | -1.9111e-14 | 8.6691e-15 | -4.9508e-15 | 5.7321e-14 | -2.8329e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4802e-06 | 7.9595e-06 | 4.0422e-06 | 4.4802e-06 | 7.9595e-06 | 4.0422e-06 | -64.7081 | 100.907 | -95.7961 | -64.7068 | 100.906 | -95.7939

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.0243e-15 | -2.2052e-14 | -1.2021e-14 | 2.3415e-15 | 1.4689e-14 | 1.002e-14 | -1.4847e-14 | -1.911e-14 | 8.6739e-15 | -4.9489e-15 | 5.7313e-14 | -2.8336e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4794e-06 | 7.9583e-06 | 4.0427e-06 | 4.4795e-06 | 7.9583e-06 | 4.0427e-06 | -64.68 | 100.9113 | -95.8139 | -64.6788 | 100.9103 | -95.8117
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.0242e-15 | -2.2053e-14 | -1.2021e-14 | 2.3415e-15 | 1.4689e-14 | 1.002e-14 | -1.4846e-14 | -1.911e-14 | 8.6739e-15 | -4.9489e-15 | 5.7313e-14 | -2.8336e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4794e-06 | 7.9583e-06 | 4.0427e-06 | 4.4795e-06 | 7.9583e-06 | 4.0427e-06 | -64.68 | 100.9113 | -95.8139 | -64.6788 | 100.9103 | -95.8117
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.0242e-15 | -2.2053e-14 | -1.2021e-14 | 2.3415e-15 | 1.4689e-14 | 1.002e-14 | -1.4846e-14 | -1.911e-14 | 8.6739e-15 | -4.9489e-15 | 5.7313e-14 | -2.8336e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4794e-06 | 7.9583e-06 | 4.0427e-06 | 4.4795e-06 | 7.9583e-06 | 4.0427e-06 | -64.68 | 100.9113 | -95.8139 | -64.6788 | 100.9103 | -95.8117

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.0243e-15 | -2.2052e-14 | -1.2021e-14 | 2.3415e-15 | 1.4689e-14 | 1.002e-14 | -1.4847e-14 | -1.911e-14 | 8.6739e-15 | -4.9489e-15 | 5.7313e-14 | -2.8336e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4794e-06 | 7.9583e-06 | 4.0427e-06 | 4.4795e-06 | 7.9583e-06 | 4.0427e-06 | -64.68 | 100.9113 | -95.8139 | -64.6788 | 100.9103 | -95.8117
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.0242e-15 | -2.2053e-14 | -1.2021e-14 | 2.3415e-15 | 1.4689e-14 | 1.002e-14 | -1.4846e-14 | -1.911e-14 | 8.6739e-15 | -4.9489e-15 | 5.7313e-14 | -2.8336e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4794e-06 | 7.9583e-06 | 4.0427e-06 | 4.4795e-06 | 7.9583e-06 | 4.0427e-06 | -64.68 | 100.9113 | -95.8139 | -64.6788 | 100.9103 | -95.8117
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.0242e-15 | -2.2053e-14 | -1.2021e-14 | 2.3415e-15 | 1.4689e-14 | 1.002e-14 | -1.4846e-14 | -1.911e-14 | 8.6739e-15 | -4.9489e-15 | 5.7313e-14 | -2.8336e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4794e-06 | 7.9583e-06 | 4.0427e-06 | 4.4795e-06 | 7.9583e-06 | 4.0427e-06 | -64.68 | 100.9113 | -95.8139 | -64.6788 | 100.9103 | -95.8117