## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -1.0421e-14 | 30.1766 | -15.8685 | 5.2106e-15 | -23.0225 | 23.0225 | -1.5632e-14 | 3.131 | 13.1032 | 1.5632e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 4.9754e-13 | -161.8563 | 152.6723 | 4.8105e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | 5.2107e-15 | -1.5632e-14 | -2.6053e-14 | 1.0421e-14 | 5.2106e-15 | -5.2106e-15 | -1.9212e-09 | 1.9211e-09 | 5.2106e-15 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 4.7579e-13 | -180 | 180 | 4.8105e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -1.5632e-14 | -5.2106e-15 | 5.2106e-15 | 3.1264e-14 | -5.2106e-15 | -1.3173e-28 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 4.8281e-13 | -180 | 180 | 4.8105e-13 | 180 | -180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -1.0421e-14 | 30.1766 | -15.8685 | 5.2106e-15 | -23.0225 | 23.0225 | -1.5632e-14 | 3.131 | 13.1032 | 1.5632e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 4.9754e-13 | -161.8563 | 152.6723 | 4.8105e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | 5.2107e-15 | -1.5632e-14 | -2.6053e-14 | 1.0421e-14 | 5.2106e-15 | -5.2106e-15 | -1.9212e-09 | 1.9211e-09 | 5.2106e-15 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 4.7579e-13 | -180 | 180 | 4.8105e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -1.5632e-14 | -5.2106e-15 | 5.2106e-15 | 3.1264e-14 | -5.2106e-15 | -1.3173e-28 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 4.8281e-13 | -180 | 180 | 4.8105e-13 | 180 | -180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -2.6053e-15 | 19.0761 | -0.30087 | -2.6053e-15 | -17.4596 | 1.9173 | -7.816e-15 | 3.9919 | 15.2185 | 1.0421e-14 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 1.8016e-13 | -138.0936 | 121.2196 | 1.6744e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 4.734e-10 | 1.0337e-09 | -1.0421e-14 | -4.734e-10 | -1.0337e-09 | 1.478e-29 | -1.3544e-09 | 3.8386e-10 | 2.6053e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 1.6251e-13 | -142.8673 | 128.239 | 1.6744e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | 4.7338e-10 | 1.0337e-09 | -2.6053e-15 | -4.7339e-10 | -1.0337e-09 | -7.6756e-30 | -1.3544e-09 | 3.8386e-10 | -7.6136e-30 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 1.688e-13 | -142.8673 | 128.239 | 1.6744e-13 | -142.8673 | 128.239

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -2.6053e-15 | 19.0761 | -0.30087 | -2.6053e-15 | -17.4596 | 1.9173 | -7.816e-15 | 3.9919 | 15.2185 | 1.0421e-14 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 1.8016e-13 | -138.0936 | 121.2196 | 1.6744e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 4.734e-10 | 1.0337e-09 | -1.0421e-14 | -4.734e-10 | -1.0337e-09 | 1.478e-29 | -1.3544e-09 | 3.8386e-10 | 2.6053e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 1.6251e-13 | -142.8673 | 128.239 | 1.6744e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | 4.7338e-10 | 1.0337e-09 | -2.6053e-15 | -4.7339e-10 | -1.0337e-09 | -7.6756e-30 | -1.3544e-09 | 3.8386e-10 | -7.6136e-30 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 1.688e-13 | -142.8673 | 128.239 | 1.6744e-13 | -142.8673 | 128.239

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -9.4739e-15 | 26.5997 | -7.1734 | 7.1054e-15 | -16.8865 | 16.8865 | -9.4739e-15 | -0.51586 | 11.9957 | 9.4739e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 5.7388e-13 | -160.7833 | 141.207 | 5.8082e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 5.9213e-15 | 7.1055e-15 | 2.3685e-15 | -4.737e-15 | -4.737e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 5.7605e-13 | -180 | 180 | 5.8082e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 1.1843e-15 | 7.1055e-15 | -2.3685e-15 | -1.4296e-20 | -4.737e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 5.6011e-13 | -180 | 180 | 5.8082e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -9.4739e-15 | 26.5997 | -7.1734 | 7.1054e-15 | -16.8865 | 16.8865 | -9.4739e-15 | -0.51586 | 11.9957 | 9.4739e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 5.7388e-13 | -160.7833 | 141.207 | 5.8082e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 5.9213e-15 | 7.1055e-15 | 2.3685e-15 | -4.737e-15 | -4.737e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 5.7605e-13 | -180 | 180 | 5.8082e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 1.1843e-15 | 7.1055e-15 | -2.3685e-15 | -1.4296e-20 | -4.737e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 5.6011e-13 | -180 | 180 | 5.8082e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | -5.3291e-15 | 15.3932 | 0.73601 | 4.1448e-15 | -13.0917 | 1.5655 | -7.1054e-15 | 2.3135 | 11.9328 | 4.737e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 2.5134e-13 | -138.1765 | 119.7467 | 2.5641e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5527e-15 | 4.798e-10 | 8.2616e-10 | 5.9212e-16 | -4.7979e-10 | -8.2616e-10 | -1.5826e-29 | -1.0532e-09 | 4.5325e-10 | -2.3685e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.5523e-13 | -142.5584 | 131.6989 | 2.5641e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.1448e-15 | 4.798e-10 | 8.2615e-10 | 2.9606e-15 | -4.798e-10 | -8.2616e-10 | 7.1054e-15 | -1.0532e-09 | 4.5325e-10 | -7.1054e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.4595e-13 | -142.5584 | 131.6989 | 2.5641e-13 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | -5.3291e-15 | 15.3932 | 0.73601 | 4.1448e-15 | -13.0917 | 1.5655 | -7.1054e-15 | 2.3135 | 11.9328 | 4.737e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 2.5134e-13 | -138.1765 | 119.7467 | 2.5641e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5527e-15 | 4.798e-10 | 8.2616e-10 | 5.9212e-16 | -4.7979e-10 | -8.2616e-10 | -1.5826e-29 | -1.0532e-09 | 4.5325e-10 | -2.3685e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.5523e-13 | -142.5584 | 131.6989 | 2.5641e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.1448e-15 | 4.798e-10 | 8.2615e-10 | 2.9606e-15 | -4.798e-10 | -8.2616e-10 | 7.1054e-15 | -1.0532e-09 | 4.5325e-10 | -7.1054e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.4595e-13 | -142.5584 | 131.6989 | 2.5641e-13 | -142.5584 | 131.6989

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7719 | 0.01388 | 0.01388 | 1.7715 | 0.0095786 | 0.0095786 | 20.4596 | 0.16027 | 0.16027 | 20.4557 | 0.1106 | 0.1106 | 4.9692 | 0.14502 | -0.14891 | 9.7876e-12 | -0.10174 | 0.10161 | 2.7351 | -0.16436 | -0.24714 | -3.3995e-11 | 0.13286 | 0.18814 | -21.5122 | -105.7284 | -105.7284 | 158.6265 | 74.7913 | 74.7913 | 0.27724 | 1.3676 | 1.8002 | 0 | 1.5129 | 1.9333 | 7.3169 | -154.3056 | 133.2011 | 0 | -157.7652 | 136.4187
Line_1 | 0 | 0 | 0 | 0.0047893 | 0.0047893 | 0.0047893 | 0 | 0 | 0 | 0.055302 | 0.055302 | 0.055302 | -3.7697e-13 | -3.5692e-09 | -6.2305e-09 | -9.4215e-14 | 0.050869 | -0.050805 | 3.3057e-12 | -3.7391e-09 | 2.2026e-09 | -1.6438e-14 | -0.066429 | -0.09407 | 0 | 0 | 0 | -105.2087 | -105.2087 | -105.2087 | 0.00082482 | 1.5127 | 1.9339 | 0 | 1.5129 | 1.9333 | 96.463 | -157.7952 | 136.403 | 0 | -157.7652 | 136.4187
Line_2 | 0 | 0 | 0 | 0.0047893 | 0.0047893 | 0.0047893 | 0 | 0 | 0 | 0.055302 | 0.055302 | 0.055302 | -3.7696e-13 | -3.5693e-09 | -6.2304e-09 | -9.4215e-14 | 0.050869 | -0.050805 | 3.3056e-12 | -3.7391e-09 | 2.2027e-09 | -1.6438e-14 | -0.066429 | -0.09407 | 0 | 0 | 0 | -105.2087 | -105.2087 | -105.2087 | 0.00082482 | 1.5127 | 1.9339 | 0 | 1.5129 | 1.9333 | 96.463 | -157.7952 | 136.403 | 0 | -157.7652 | 136.4187

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7719 | 0.01388 | 0.01388 | 1.7715 | 0.0095786 | 0.0095786 | 20.4596 | 0.16027 | 0.16027 | 20.4557 | 0.1106 | 0.1106 | 4.9692 | 0.14502 | -0.14891 | 9.7876e-12 | -0.10174 | 0.10161 | 2.7351 | -0.16436 | -0.24714 | -3.3995e-11 | 0.13286 | 0.18814 | -21.5122 | -105.7284 | -105.7284 | 158.6265 | 74.7913 | 74.7913 | 0.27724 | 1.3676 | 1.8002 | 0 | 1.5129 | 1.9333 | 7.3169 | -154.3056 | 133.2011 | 0 | -157.7652 | 136.4187
Line_1 | 0 | 0 | 0 | 0.0047893 | 0.0047893 | 0.0047893 | 0 | 0 | 0 | 0.055302 | 0.055302 | 0.055302 | -3.7697e-13 | -3.5692e-09 | -6.2305e-09 | -9.4215e-14 | 0.050869 | -0.050805 | 3.3057e-12 | -3.7391e-09 | 2.2026e-09 | -1.6438e-14 | -0.066429 | -0.09407 | 0 | 0 | 0 | -105.2087 | -105.2087 | -105.2087 | 0.00082482 | 1.5127 | 1.9339 | 0 | 1.5129 | 1.9333 | 96.463 | -157.7952 | 136.403 | 0 | -157.7652 | 136.4187
Line_2 | 0 | 0 | 0 | 0.0047893 | 0.0047893 | 0.0047893 | 0 | 0 | 0 | 0.055302 | 0.055302 | 0.055302 | -3.7696e-13 | -3.5693e-09 | -6.2304e-09 | -9.4215e-14 | 0.050869 | -0.050805 | 3.3056e-12 | -3.7391e-09 | 2.2027e-09 | -1.6438e-14 | -0.066429 | -0.09407 | 0 | 0 | 0 | -105.2087 | -105.2087 | -105.2087 | 0.00082482 | 1.5127 | 1.9339 | 0 | 1.5129 | 1.9333 | 96.463 | -157.7952 | 136.403 | 0 | -157.7652 | 136.4187

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.91216 | 0.0071455 | 0.0071455 | 0.91198 | 0.0049311 | 0.0049311 | 10.5327 | 0.082509 | 0.082509 | 10.5306 | 0.056939 | 0.056939 | 5.4414 | 0.083832 | -0.055469 | -4.1338 | -0.05834 | 0.038244 | 4.9141 | -0.035829 | -0.10868 | -4.1785 | 0.03016 | 0.07956 | -33.3918 | -117.608 | -117.608 | 146.7469 | 62.9118 | 62.9118 | 0.69612 | 1.1049 | 1.4788 | 0.55815 | 1.1534 | 1.5503 | 8.6936 | -140.7491 | 125.3524 | 12.0551 | -144.426 | 127.2383
Line_1 | 0 | 0 | 0 | 0.0024655 | 0.0024655 | 0.0024655 | 0 | 0 | 0 | 0.02847 | 0.02847 | 0.02847 | 1.0589e-09 | -6.4149e-10 | -2.6118e-09 | -0.010031 | 0.02917 | -0.019122 | 4.7189e-10 | -1.9245e-09 | 7.8687e-10 | 0.012324 | -0.01508 | -0.03978 | 0 | 0 | 0 | -117.0882 | -117.0882 | -117.0882 | 0.55828 | 1.1531 | 1.5506 | 0.55815 | 1.1534 | 1.5503 | 12.0967 | -144.4419 | 127.2277 | 12.0551 | -144.426 | 127.2383
Line_2 | 0 | 0 | 0 | 0.0024655 | 0.0024655 | 0.0024655 | 0 | 0 | 0 | 0.02847 | 0.02847 | 0.02847 | 1.0589e-09 | -6.4151e-10 | -2.6118e-09 | -0.010031 | 0.02917 | -0.019122 | 4.719e-10 | -1.9245e-09 | 7.8687e-10 | 0.012324 | -0.01508 | -0.03978 | 0 | 0 | 0 | -117.0882 | -117.0882 | -117.0882 | 0.55828 | 1.1531 | 1.5506 | 0.55815 | 1.1534 | 1.5503 | 12.0967 | -144.4419 | 127.2277 | 12.0551 | -144.426 | 127.2383

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.91216 | 0.0071455 | 0.0071455 | 0.91198 | 0.0049311 | 0.0049311 | 10.5327 | 0.082509 | 0.082509 | 10.5306 | 0.056939 | 0.056939 | 5.4414 | 0.083832 | -0.055469 | -4.1338 | -0.05834 | 0.038244 | 4.9141 | -0.035829 | -0.10868 | -4.1785 | 0.03016 | 0.07956 | -33.3918 | -117.608 | -117.608 | 146.7469 | 62.9118 | 62.9118 | 0.69612 | 1.1049 | 1.4788 | 0.55815 | 1.1534 | 1.5503 | 8.6936 | -140.7491 | 125.3524 | 12.0551 | -144.426 | 127.2383
Line_1 | 0 | 0 | 0 | 0.0024655 | 0.0024655 | 0.0024655 | 0 | 0 | 0 | 0.02847 | 0.02847 | 0.02847 | 1.0589e-09 | -6.4149e-10 | -2.6118e-09 | -0.010031 | 0.02917 | -0.019122 | 4.7189e-10 | -1.9245e-09 | 7.8687e-10 | 0.012324 | -0.01508 | -0.03978 | 0 | 0 | 0 | -117.0882 | -117.0882 | -117.0882 | 0.55828 | 1.1531 | 1.5506 | 0.55815 | 1.1534 | 1.5503 | 12.0967 | -144.4419 | 127.2277 | 12.0551 | -144.426 | 127.2383
Line_2 | 0 | 0 | 0 | 0.0024655 | 0.0024655 | 0.0024655 | 0 | 0 | 0 | 0.02847 | 0.02847 | 0.02847 | 1.0589e-09 | -6.4151e-10 | -2.6118e-09 | -0.010031 | 0.02917 | -0.019122 | 4.719e-10 | -1.9245e-09 | 7.8687e-10 | 0.012324 | -0.01508 | -0.03978 | 0 | 0 | 0 | -117.0882 | -117.0882 | -117.0882 | 0.55828 | 1.1531 | 1.5506 | 0.55815 | 1.1534 | 1.5503 | 12.0967 | -144.4419 | 127.2277 | 12.0551 | -144.426 | 127.2383

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.3483 | 0.012201 | 0.012201 | 1.3481 | 0.0085979 | 0.0085979 | 15.5692 | 0.14088 | 0.14088 | 15.5662 | 0.09928 | 0.09928 | 5.5211 | 0.1185 | -0.11887 | -8.0594e-12 | -0.083841 | 0.083645 | 1.5539 | -0.12135 | -0.17791 | 1.4583e-12 | 0.10984 | 0.1488 | -18.3431 | -103.4016 | -103.4016 | 161.8096 | 76.9041 | 76.9041 | 0.3684 | 1.2039 | 1.5187 | 0 | 1.3918 | 1.7193 | -2.6241 | -149.082 | 132.8497 | 0 | -155.7402 | 137.5623
Line_1 | 0 | 0 | 0 | 0.004299 | 0.004299 | 0.004299 | 0 | 0 | 0 | 0.04964 | 0.04964 | 0.04964 | 1.1701e-13 | -2.9589e-09 | -4.8357e-09 | 6.9143e-15 | 0.041921 | -0.041822 | 4.9443e-12 | -2.9832e-09 | 1.8997e-09 | 2.5187e-14 | -0.054918 | -0.074399 | 0 | 0 | 0 | -103.0959 | -103.0959 | -103.0959 | 0.0013489 | 1.3912 | 1.7202 | 0 | 1.3918 | 1.7193 | 88.5668 | -155.7903 | 137.5283 | 0 | -155.7402 | 137.5623
Line_2 | 0 | 0 | 0 | 0.004299 | 0.004299 | 0.004299 | 0 | 0 | 0 | 0.04964 | 0.04964 | 0.04964 | 1.17e-13 | -2.9589e-09 | -4.8357e-09 | 6.9143e-15 | 0.041921 | -0.041822 | 4.9444e-12 | -2.9832e-09 | 1.8997e-09 | 2.5187e-14 | -0.054918 | -0.074399 | 0 | 0 | 0 | -103.0959 | -103.0959 | -103.0959 | 0.0013489 | 1.3912 | 1.7202 | 0 | 1.3918 | 1.7193 | 88.5668 | -155.7903 | 137.5283 | 0 | -155.7402 | 137.5623

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.3483 | 0.012201 | 0.012201 | 1.3481 | 0.0085979 | 0.0085979 | 15.5692 | 0.14088 | 0.14088 | 15.5662 | 0.09928 | 0.09928 | 5.5211 | 0.1185 | -0.11887 | -8.0594e-12 | -0.083841 | 0.083645 | 1.5539 | -0.12135 | -0.17791 | 1.4583e-12 | 0.10984 | 0.1488 | -18.3431 | -103.4016 | -103.4016 | 161.8096 | 76.9041 | 76.9041 | 0.3684 | 1.2039 | 1.5187 | 0 | 1.3918 | 1.7193 | -2.6241 | -149.082 | 132.8497 | 0 | -155.7402 | 137.5623
Line_1 | 0 | 0 | 0 | 0.004299 | 0.004299 | 0.004299 | 0 | 0 | 0 | 0.04964 | 0.04964 | 0.04964 | 1.1701e-13 | -2.9589e-09 | -4.8357e-09 | 6.9143e-15 | 0.041921 | -0.041822 | 4.9443e-12 | -2.9832e-09 | 1.8997e-09 | 2.5187e-14 | -0.054918 | -0.074399 | 0 | 0 | 0 | -103.0959 | -103.0959 | -103.0959 | 0.0013489 | 1.3912 | 1.7202 | 0 | 1.3918 | 1.7193 | 88.5668 | -155.7903 | 137.5283 | 0 | -155.7402 | 137.5623
Line_2 | 0 | 0 | 0 | 0.004299 | 0.004299 | 0.004299 | 0 | 0 | 0 | 0.04964 | 0.04964 | 0.04964 | 1.17e-13 | -2.9589e-09 | -4.8357e-09 | 6.9143e-15 | 0.041921 | -0.041822 | 4.9444e-12 | -2.9832e-09 | 1.8997e-09 | 2.5187e-14 | -0.054918 | -0.074399 | 0 | 0 | 0 | -103.0959 | -103.0959 | -103.0959 | 0.0013489 | 1.3912 | 1.7202 | 0 | 1.3918 | 1.7193 | 88.5668 | -155.7903 | 137.5283 | 0 | -155.7402 | 137.5623

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.75985 | 0.0068757 | 0.0068757 | 0.7597 | 0.0048453 | 0.0048453 | 8.774 | 0.079394 | 0.079394 | 8.7723 | 0.055949 | 0.055949 | 4.612 | 0.073923 | -0.050028 | -2.8658 | -0.052225 | 0.035347 | 3.4041 | -0.031764 | -0.091315 | -2.9024 | 0.030244 | 0.071744 | -30.603 | -115.6615 | -115.6615 | 149.5497 | 64.6442 | 64.6442 | 0.65332 | 1.0134 | 1.3115 | 0.46497 | 1.0787 | 1.4295 | 5.828 | -138.9143 | 125.622 | 14.9139 | -145.4319 | 128.4156
Line_1 | 0 | 0 | 0 | 0.0024227 | 0.0024227 | 0.0024227 | 0 | 0 | 0 | 0.027975 | 0.027975 | 0.027975 | 8.5414e-10 | -6.9256e-10 | -2.3104e-09 | -0.0084077 | 0.026112 | -0.017673 | 4.4149e-10 | -1.6992e-09 | 7.6518e-10 | 0.0099247 | -0.015122 | -0.035872 | 0 | 0 | 0 | -115.3558 | -115.3558 | -115.3558 | 0.46533 | 1.0781 | 1.43 | 0.46497 | 1.0787 | 1.4295 | 14.9961 | -145.4588 | 128.3916 | 14.9139 | -145.4319 | 128.4156
Line_2 | 0 | 0 | 0 | 0.0024227 | 0.0024227 | 0.0024227 | 0 | 0 | 0 | 0.027975 | 0.027975 | 0.027975 | 8.5415e-10 | -6.9255e-10 | -2.3104e-09 | -0.0084077 | 0.026112 | -0.017673 | 4.4149e-10 | -1.6992e-09 | 7.6517e-10 | 0.0099247 | -0.015122 | -0.035872 | 0 | 0 | 0 | -115.3558 | -115.3558 | -115.3558 | 0.46533 | 1.0781 | 1.43 | 0.46497 | 1.0787 | 1.4295 | 14.9961 | -145.4588 | 128.3916 | 14.9139 | -145.4319 | 128.4156

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.75985 | 0.0068757 | 0.0068757 | 0.7597 | 0.0048453 | 0.0048453 | 8.774 | 0.079394 | 0.079394 | 8.7723 | 0.055949 | 0.055949 | 4.612 | 0.073923 | -0.050028 | -2.8658 | -0.052225 | 0.035347 | 3.4041 | -0.031764 | -0.091315 | -2.9024 | 0.030244 | 0.071744 | -30.603 | -115.6615 | -115.6615 | 149.5497 | 64.6442 | 64.6442 | 0.65332 | 1.0134 | 1.3115 | 0.46497 | 1.0787 | 1.4295 | 5.828 | -138.9143 | 125.622 | 14.9139 | -145.4319 | 128.4156
Line_1 | 0 | 0 | 0 | 0.0024227 | 0.0024227 | 0.0024227 | 0 | 0 | 0 | 0.027975 | 0.027975 | 0.027975 | 8.5414e-10 | -6.9256e-10 | -2.3104e-09 | -0.0084077 | 0.026112 | -0.017673 | 4.4149e-10 | -1.6992e-09 | 7.6518e-10 | 0.0099247 | -0.015122 | -0.035872 | 0 | 0 | 0 | -115.3558 | -115.3558 | -115.3558 | 0.46533 | 1.0781 | 1.43 | 0.46497 | 1.0787 | 1.4295 | 14.9961 | -145.4588 | 128.3916 | 14.9139 | -145.4319 | 128.4156
Line_2 | 0 | 0 | 0 | 0.0024227 | 0.0024227 | 0.0024227 | 0 | 0 | 0 | 0.027975 | 0.027975 | 0.027975 | 8.5415e-10 | -6.9255e-10 | -2.3104e-09 | -0.0084077 | 0.026112 | -0.017673 | 4.4149e-10 | -1.6992e-09 | 7.6517e-10 | 0.0099247 | -0.015122 | -0.035872 | 0 | 0 | 0 | -115.3558 | -115.3558 | -115.3558 | 0.46533 | 1.0781 | 1.43 | 0.46497 | 1.0787 | 1.4295 | 14.9961 | -145.4588 | 128.3916 | 14.9139 | -145.4319 | 128.4156

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0076834 | 4.1649 | 3.2636 | 0.0053023 | 4.1656 | 3.2627 | 0.08872 | 48.0924 | 37.6845 | 0.061226 | 48.0997 | 37.6744 | 7.8796e-05 | 13.4926 | 2.0872 | -3.8978e-05 | 7.3453e-11 | 6.2388e-11 | -0.13431 | 9.8252 | 6.972 | 0.098363 | -4.6052e-11 | 2.5107e-11 | 85.2998 | -170.4353 | 15.6098 | -94.1805 | 9.5963 | -164.4291 | 1.5139 | 0.34706 | 0.19312 | 1.6066 | 0 | 0 | -4.6666 | -134.3735 | 88.9437 | -4.1578 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0026512 | 0.0026512 | 0.0026512 | 0 | 0 | 0 | 0.030613 | 0.030613 | 0.030613 | -3.0025e-09 | 1.2436e-12 | -1.7986e-12 | 1.9487e-05 | -1.7333e-14 | -3.6332e-14 | -4.7155e-10 | 1.3575e-12 | 3.9887e-13 | -0.049181 | -5.2384e-14 | 4.0818e-14 | 0 | 0 | 0 | 85.8195 | 85.8195 | 85.8195 | 1.6067 | 0.00045659 | 0.00045659 | 1.6066 | 0 | 0 | -4.1729 | -72.5088 | -72.5088 | -4.1578 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0026512 | 0.0026512 | 0.0026512 | 0 | 0 | 0 | 0.030613 | 0.030613 | 0.030613 | -3.0025e-09 | 1.2436e-12 | -1.7986e-12 | 1.9487e-05 | -1.7333e-14 | -3.6332e-14 | -4.7155e-10 | 1.3575e-12 | 3.9888e-13 | -0.049181 | -5.2384e-14 | 4.0818e-14 | 0 | 0 | 0 | 85.8195 | 85.8195 | 85.8195 | 1.6067 | 0.00045659 | 0.00045659 | 1.6066 | 0 | 0 | -4.1729 | -72.5088 | -72.5088 | -4.1578 | 0 | 0

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0076834 | 4.1649 | 3.2636 | 0.0053023 | 4.1656 | 3.2627 | 0.08872 | 48.0924 | 37.6845 | 0.061226 | 48.0997 | 37.6744 | 7.8796e-05 | 13.4926 | 2.0872 | -3.8978e-05 | 7.3453e-11 | 6.2388e-11 | -0.13431 | 9.8252 | 6.972 | 0.098363 | -4.6052e-11 | 2.5107e-11 | 85.2998 | -170.4353 | 15.6098 | -94.1805 | 9.5963 | -164.4291 | 1.5139 | 0.34706 | 0.19312 | 1.6066 | 0 | 0 | -4.6666 | -134.3735 | 88.9437 | -4.1578 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0026512 | 0.0026512 | 0.0026512 | 0 | 0 | 0 | 0.030613 | 0.030613 | 0.030613 | -3.0025e-09 | 1.2436e-12 | -1.7986e-12 | 1.9487e-05 | -1.7333e-14 | -3.6332e-14 | -4.7155e-10 | 1.3575e-12 | 3.9887e-13 | -0.049181 | -5.2384e-14 | 4.0818e-14 | 0 | 0 | 0 | 85.8195 | 85.8195 | 85.8195 | 1.6067 | 0.00045659 | 0.00045659 | 1.6066 | 0 | 0 | -4.1729 | -72.5088 | -72.5088 | -4.1578 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0026512 | 0.0026512 | 0.0026512 | 0 | 0 | 0 | 0.030613 | 0.030613 | 0.030613 | -3.0025e-09 | 1.2436e-12 | -1.7986e-12 | 1.9487e-05 | -1.7333e-14 | -3.6332e-14 | -4.7155e-10 | 1.3575e-12 | 3.9888e-13 | -0.049181 | -5.2384e-14 | 4.0818e-14 | 0 | 0 | 0 | 85.8195 | 85.8195 | 85.8195 | 1.6067 | 0.00045659 | 0.00045659 | 1.6066 | 0 | 0 | -4.1729 | -72.5088 | -72.5088 | -4.1578 | 0 | 0

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0051896 | 1.3373 | 1.0022 | 0.0035814 | 1.3383 | 1.0007 | 0.059925 | 15.4413 | 11.5727 | 0.041354 | 15.4536 | 11.5553 | 0.015541 | 10.7009 | 5.1618 | -0.0106 | -8.9523 | -4.9972 | -0.079974 | 9.542 | 6.2117 | 0.057876 | -8.9892 | -4.9839 | 73.1082 | -156.7447 | 51.8684 | -106.3721 | 23.307 | -128.1632 | 1.3595 | 0.9285 | 0.69789 | 1.4228 | 0.82095 | 0.61078 | -5.8949 | -115.0213 | 102.1424 | -5.9931 | -111.5752 | 96.7604
Line_1 | 0 | 0 | 0 | 0.0017907 | 0.0017907 | 0.0017907 | 0 | 0 | 0 | 0.020677 | 0.020677 | 0.020677 | -1.7159e-09 | 8.0361e-10 | 8.9599e-10 | 0.0053001 | -0.016905 | 0.011614 | -6.0042e-10 | 4.8584e-10 | -9.7151e-10 | -0.028938 | 0.0015394 | 0.0049614 | 0 | 0 | 0 | 73.6279 | 73.6279 | 73.6279 | 1.4229 | 0.82123 | 0.61047 | 1.4228 | 0.82095 | 0.61078 | -6.0053 | -111.5655 | 96.7612 | -5.9931 | -111.5752 | 96.7604
Line_2 | 0 | 0 | 0 | 0.0017907 | 0.0017907 | 0.0017907 | 0 | 0 | 0 | 0.020677 | 0.020677 | 0.020677 | -1.7159e-09 | 8.0361e-10 | 8.9599e-10 | 0.0053001 | -0.016905 | 0.011614 | -6.0041e-10 | 4.8584e-10 | -9.7151e-10 | -0.028938 | 0.0015394 | 0.0049614 | 0 | 0 | 0 | 73.6279 | 73.6279 | 73.6279 | 1.4229 | 0.82123 | 0.61047 | 1.4228 | 0.82095 | 0.61078 | -6.0053 | -111.5655 | 96.7612 | -5.9931 | -111.5752 | 96.7604

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0051896 | 1.3373 | 1.0022 | 0.0035814 | 1.3383 | 1.0007 | 0.059925 | 15.4413 | 11.5727 | 0.041354 | 15.4536 | 11.5553 | 0.015541 | 10.7009 | 5.1618 | -0.0106 | -8.9523 | -4.9972 | -0.079974 | 9.542 | 6.2117 | 0.057876 | -8.9892 | -4.9839 | 73.1082 | -156.7447 | 51.8684 | -106.3721 | 23.307 | -128.1632 | 1.3595 | 0.9285 | 0.69789 | 1.4228 | 0.82095 | 0.61078 | -5.8949 | -115.0213 | 102.1424 | -5.9931 | -111.5752 | 96.7604
Line_1 | 0 | 0 | 0 | 0.0017907 | 0.0017907 | 0.0017907 | 0 | 0 | 0 | 0.020677 | 0.020677 | 0.020677 | -1.7159e-09 | 8.0361e-10 | 8.9599e-10 | 0.0053001 | -0.016905 | 0.011614 | -6.0042e-10 | 4.8584e-10 | -9.7151e-10 | -0.028938 | 0.0015394 | 0.0049614 | 0 | 0 | 0 | 73.6279 | 73.6279 | 73.6279 | 1.4229 | 0.82123 | 0.61047 | 1.4228 | 0.82095 | 0.61078 | -6.0053 | -111.5655 | 96.7612 | -5.9931 | -111.5752 | 96.7604
Line_2 | 0 | 0 | 0 | 0.0017907 | 0.0017907 | 0.0017907 | 0 | 0 | 0 | 0.020677 | 0.020677 | 0.020677 | -1.7159e-09 | 8.0361e-10 | 8.9599e-10 | 0.0053001 | -0.016905 | 0.011614 | -6.0041e-10 | 4.8584e-10 | -9.7151e-10 | -0.028938 | 0.0015394 | 0.0049614 | 0 | 0 | 0 | 73.6279 | 73.6279 | 73.6279 | 1.4229 | 0.82123 | 0.61047 | 1.4228 | 0.82095 | 0.61078 | -6.0053 | -111.5655 | 96.7612 | -5.9931 | -111.5752 | 96.7604

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0068039 | 3.4508 | 2.7986 | 0.0047948 | 3.4516 | 2.7977 | 0.078565 | 39.8468 | 32.3158 | 0.055365 | 39.8554 | 32.3046 | 0.00029102 | 16.9406 | 3.9205 | -6.1188e-05 | -1.4815e-10 | 2.3014e-11 | -0.1036 | 5.3132 | 6.4939 | 0.080433 | -1.4889e-10 | -1.6866e-10 | 86.0403 | -162.7734 | 24.1524 | -93.654 | 17.2576 | -155.8836 | 1.3187 | 0.44556 | 0.23473 | 1.4528 | 0 | 0 | -3.7987 | -145.3599 | 83.0324 | -3.6104 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0023974 | 0.0023974 | 0.0023974 | 0 | 0 | 0 | 0.027683 | 0.027683 | 0.027683 | -2.4236e-09 | 2.1711e-12 | -2.5596e-12 | 3.0593e-05 | -1.3333e-13 | 1.1869e-13 | -3.3815e-10 | 1.6984e-12 | 1.0328e-12 | -0.040216 | 5.9211e-14 | 8.479e-14 | 0 | 0 | 0 | 86.346 | 86.346 | 86.346 | 1.4529 | 0.00075223 | 0.00075223 | 1.4528 | 0 | 0 | -3.6395 | -81.9912 | -81.9912 | -3.6104 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0023974 | 0.0023974 | 0.0023974 | 0 | 0 | 0 | 0.027683 | 0.027683 | 0.027683 | -2.4236e-09 | 2.1711e-12 | -2.5596e-12 | 3.0593e-05 | -1.3333e-13 | 1.1869e-13 | -3.3818e-10 | 1.6984e-12 | 1.0328e-12 | -0.040216 | 5.9211e-14 | 8.479e-14 | 0 | 0 | 0 | 86.346 | 86.346 | 86.346 | 1.4529 | 0.00075223 | 0.00075223 | 1.4528 | 0 | 0 | -3.6395 | -81.9912 | -81.9912 | -3.6104 | 0 | 0

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0068039 | 3.4508 | 2.7986 | 0.0047948 | 3.4516 | 2.7977 | 0.078565 | 39.8468 | 32.3158 | 0.055365 | 39.8554 | 32.3046 | 0.00029102 | 16.9406 | 3.9205 | -6.1188e-05 | -1.4815e-10 | 2.3014e-11 | -0.1036 | 5.3132 | 6.4939 | 0.080433 | -1.4889e-10 | -1.6866e-10 | 86.0403 | -162.7734 | 24.1524 | -93.654 | 17.2576 | -155.8836 | 1.3187 | 0.44556 | 0.23473 | 1.4528 | 0 | 0 | -3.7987 | -145.3599 | 83.0324 | -3.6104 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0023974 | 0.0023974 | 0.0023974 | 0 | 0 | 0 | 0.027683 | 0.027683 | 0.027683 | -2.4236e-09 | 2.1711e-12 | -2.5596e-12 | 3.0593e-05 | -1.3333e-13 | 1.1869e-13 | -3.3815e-10 | 1.6984e-12 | 1.0328e-12 | -0.040216 | 5.9211e-14 | 8.479e-14 | 0 | 0 | 0 | 86.346 | 86.346 | 86.346 | 1.4529 | 0.00075223 | 0.00075223 | 1.4528 | 0 | 0 | -3.6395 | -81.9912 | -81.9912 | -3.6104 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0023974 | 0.0023974 | 0.0023974 | 0 | 0 | 0 | 0.027683 | 0.027683 | 0.027683 | -2.4236e-09 | 2.1711e-12 | -2.5596e-12 | 3.0593e-05 | -1.3333e-13 | 1.1869e-13 | -3.3818e-10 | 1.6984e-12 | 1.0328e-12 | -0.040216 | 5.9211e-14 | 8.479e-14 | 0 | 0 | 0 | 86.346 | 86.346 | 86.346 | 1.4529 | 0.00075223 | 0.00075223 | 1.4528 | 0 | 0 | -3.6395 | -81.9912 | -81.9912 | -3.6104 | 0 | 0

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.004872 | 1.1578 | 0.8806 | 0.0034333 | 1.1588 | 0.87926 | 0.056257 | 13.3693 | 10.1683 | 0.039644 | 13.3805 | 10.1529 | 0.012205 | 9.0372 | 4.2319 | -0.0084742 | -6.7119 | -3.8574 | -0.067198 | 6.7304 | 5.192 | 0.051207 | -6.7419 | -3.8458 | 74.7074 | -154.0305 | 52.4235 | -104.9869 | 26.0223 | -127.6109 | 1.214 | 0.84283 | 0.65873 | 1.3092 | 0.71099 | 0.5365 | -4.9982 | -117.3537 | 103.2408 | -5.5902 | -108.8498 | 97.3027
Line_1 | 0 | 0 | 0 | 0.0017167 | 0.0017167 | 0.0017167 | 0 | 0 | 0 | 0.019822 | 0.019822 | 0.019822 | -1.5075e-09 | 7.0329e-10 | 7.5987e-10 | 0.0042371 | -0.014061 | 0.00984 | -4.696e-10 | 5.0503e-10 | -7.5797e-10 | -0.025603 | 0.00094947 | 0.0040336 | 0 | 0 | 0 | 75.0131 | 75.0131 | 75.0131 | 1.3092 | 0.71151 | 0.53597 | 1.3092 | 0.71099 | 0.5365 | -5.6138 | -108.8382 | 97.3133 | -5.5902 | -108.8498 | 97.3027
Line_2 | 0 | 0 | 0 | 0.0017167 | 0.0017167 | 0.0017167 | 0 | 0 | 0 | 0.019822 | 0.019822 | 0.019822 | -1.5075e-09 | 7.0329e-10 | 7.5987e-10 | 0.0042371 | -0.014061 | 0.00984 | -4.696e-10 | 5.0503e-10 | -7.5796e-10 | -0.025603 | 0.00094947 | 0.0040336 | 0 | 0 | 0 | 75.0131 | 75.0131 | 75.0131 | 1.3092 | 0.71151 | 0.53597 | 1.3092 | 0.71099 | 0.5365 | -5.6138 | -108.8382 | 97.3133 | -5.5902 | -108.8498 | 97.3027

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.004872 | 1.1578 | 0.8806 | 0.0034333 | 1.1588 | 0.87926 | 0.056257 | 13.3693 | 10.1683 | 0.039644 | 13.3805 | 10.1529 | 0.012205 | 9.0372 | 4.2319 | -0.0084742 | -6.7119 | -3.8574 | -0.067198 | 6.7304 | 5.192 | 0.051207 | -6.7419 | -3.8458 | 74.7074 | -154.0305 | 52.4235 | -104.9869 | 26.0223 | -127.6109 | 1.214 | 0.84283 | 0.65873 | 1.3092 | 0.71099 | 0.5365 | -4.9982 | -117.3537 | 103.2408 | -5.5902 | -108.8498 | 97.3027
Line_1 | 0 | 0 | 0 | 0.0017167 | 0.0017167 | 0.0017167 | 0 | 0 | 0 | 0.019822 | 0.019822 | 0.019822 | -1.5075e-09 | 7.0329e-10 | 7.5987e-10 | 0.0042371 | -0.014061 | 0.00984 | -4.696e-10 | 5.0503e-10 | -7.5797e-10 | -0.025603 | 0.00094947 | 0.0040336 | 0 | 0 | 0 | 75.0131 | 75.0131 | 75.0131 | 1.3092 | 0.71151 | 0.53597 | 1.3092 | 0.71099 | 0.5365 | -5.6138 | -108.8382 | 97.3133 | -5.5902 | -108.8498 | 97.3027
Line_2 | 0 | 0 | 0 | 0.0017167 | 0.0017167 | 0.0017167 | 0 | 0 | 0 | 0.019822 | 0.019822 | 0.019822 | -1.5075e-09 | 7.0329e-10 | 7.5987e-10 | 0.0042371 | -0.014061 | 0.00984 | -4.696e-10 | 5.0503e-10 | -7.5796e-10 | -0.025603 | 0.00094947 | 0.0040336 | 0 | 0 | 0 | 75.0131 | 75.0131 | 75.0131 | 1.3092 | 0.71151 | 0.53597 | 1.3092 | 0.71099 | 0.5365 | -5.6138 | -108.8382 | 97.3133 | -5.5902 | -108.8498 | 97.3027