## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -5.2106e-15 | 30.1766 | -15.8685 | -5.2106e-15 | -23.0225 | 23.0225 | -5.2106e-15 | 3.131 | 13.1032 | 5.2106e-15 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 5.3913e-13 | -161.8563 | 152.6723 | 5.2961e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | -5.2106e-15 | 1.5632e-14 | -1.5632e-14 | 1.0421e-14 | -1.5632e-14 | 4.7128e-29 | -1.9211e-09 | 1.9211e-09 | -1.4449e-28 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 5.1821e-13 | -180 | 180 | 5.2961e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 1.5632e-14 | -1.0421e-14 | 2.0843e-14 | -1.5632e-14 | 0 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 5.308e-13 | -180 | 180 | 5.2961e-13 | 180 | -180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -5.2106e-15 | 30.1766 | -15.8685 | -5.2106e-15 | -23.0225 | 23.0225 | -5.2106e-15 | 3.131 | 13.1032 | 5.2106e-15 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 5.3913e-13 | -161.8563 | 152.6723 | 5.2961e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | -5.2106e-15 | 1.5632e-14 | -1.5632e-14 | 1.0421e-14 | -1.5632e-14 | 4.7128e-29 | -1.9211e-09 | 1.9211e-09 | -1.4449e-28 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 5.1821e-13 | -180 | 180 | 5.2961e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 1.5632e-14 | -1.0421e-14 | 2.0843e-14 | -1.5632e-14 | 0 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 5.308e-13 | -180 | 180 | 5.2961e-13 | 180 | -180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -2.6053e-15 | 19.0761 | -0.30087 | -3.8649e-29 | -17.4596 | 1.9173 | -1.3027e-14 | 3.9919 | 15.2185 | 1.0421e-14 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 2.2245e-13 | -138.0936 | 121.2196 | 2.1249e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.3673e-30 | 4.734e-10 | 1.0337e-09 | 2.6053e-15 | -4.7339e-10 | -1.0337e-09 | 2.6053e-15 | -1.3544e-09 | 3.8387e-10 | -5.2106e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 2.06e-13 | -142.8673 | 128.239 | 2.1249e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | 4.7339e-10 | 1.0337e-09 | -9.6622e-30 | -4.7338e-10 | -1.0337e-09 | -5.2106e-15 | -1.3544e-09 | 3.8386e-10 | 2.6053e-15 | 1.3544e-09 | -3.8385e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 2.1364e-13 | -142.8673 | 128.239 | 2.1249e-13 | -142.8673 | 128.239

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -2.6053e-15 | 19.0761 | -0.30087 | -3.8649e-29 | -17.4596 | 1.9173 | -1.3027e-14 | 3.9919 | 15.2185 | 1.0421e-14 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 2.2245e-13 | -138.0936 | 121.2196 | 2.1249e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.3673e-30 | 4.734e-10 | 1.0337e-09 | 2.6053e-15 | -4.7339e-10 | -1.0337e-09 | 2.6053e-15 | -1.3544e-09 | 3.8387e-10 | -5.2106e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 2.06e-13 | -142.8673 | 128.239 | 2.1249e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | 4.7339e-10 | 1.0337e-09 | -9.6622e-30 | -4.7338e-10 | -1.0337e-09 | -5.2106e-15 | -1.3544e-09 | 3.8386e-10 | 2.6053e-15 | 1.3544e-09 | -3.8385e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 2.1364e-13 | -142.8673 | 128.239 | 2.1249e-13 | -142.8673 | 128.239

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -3.079e-14 | 26.5997 | -7.1734 | 2.6053e-14 | -16.8865 | 16.8865 | 9.4739e-15 | -0.51586 | 11.9957 | -9.4739e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 5.6564e-13 | -160.7833 | 141.207 | 6.0979e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5195e-28 | 8.9795e-20 | 7.1055e-15 | -4.737e-15 | 1.1842e-15 | -4.737e-15 | -1.4211e-14 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.1265e-13 | -180 | 180 | 6.0979e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 8.9796e-20 | 7.1055e-15 | 2.3685e-15 | 1.1842e-15 | -4.737e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 5.9043e-13 | -180 | 180 | 6.0979e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -3.079e-14 | 26.5997 | -7.1734 | 2.6053e-14 | -16.8865 | 16.8865 | 9.4739e-15 | -0.51586 | 11.9957 | -9.4739e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 5.6564e-13 | -160.7833 | 141.207 | 6.0979e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5195e-28 | 8.9795e-20 | 7.1055e-15 | -4.737e-15 | 1.1842e-15 | -4.737e-15 | -1.4211e-14 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.1265e-13 | -180 | 180 | 6.0979e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 8.9796e-20 | 7.1055e-15 | 2.3685e-15 | 1.1842e-15 | -4.737e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 5.9043e-13 | -180 | 180 | 6.0979e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | -1.2434e-14 | 15.3932 | 0.73601 | 1.125e-14 | -13.0917 | 1.5655 | 7.1054e-15 | 2.3135 | 11.9328 | -4.737e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 2.4861e-13 | -138.1765 | 119.7467 | 2.6805e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.1448e-15 | 4.798e-10 | 8.2616e-10 | -5.3291e-15 | -4.798e-10 | -8.2615e-10 | -4.737e-15 | -1.0532e-09 | 4.5325e-10 | 7.1054e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.6753e-13 | -142.5584 | 131.6989 | 2.6805e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5527e-15 | 4.798e-10 | 8.2616e-10 | 1.1842e-15 | -4.798e-10 | -8.2616e-10 | 7.1054e-15 | -1.0532e-09 | 4.5325e-10 | 5.5403e-30 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.585e-13 | -142.5584 | 131.6989 | 2.6805e-13 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | -1.2434e-14 | 15.3932 | 0.73601 | 1.125e-14 | -13.0917 | 1.5655 | 7.1054e-15 | 2.3135 | 11.9328 | -4.737e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 2.4861e-13 | -138.1765 | 119.7467 | 2.6805e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.1448e-15 | 4.798e-10 | 8.2616e-10 | -5.3291e-15 | -4.798e-10 | -8.2615e-10 | -4.737e-15 | -1.0532e-09 | 4.5325e-10 | 7.1054e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.6753e-13 | -142.5584 | 131.6989 | 2.6805e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5527e-15 | 4.798e-10 | 8.2616e-10 | 1.1842e-15 | -4.798e-10 | -8.2616e-10 | 7.1054e-15 | -1.0532e-09 | 4.5325e-10 | 5.5403e-30 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.585e-13 | -142.5584 | 131.6989 | 2.6805e-13 | -142.5584 | 131.6989

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 3.9868 | 0.0064559 | 0.0064559 | 3.9859 | 0.0050455 | 0.0050455 | 46.0357 | 0.074546 | 0.074546 | 46.025 | 0.05826 | 0.05826 | 25.1262 | 0.071849 | -0.057367 | 3.4681e-10 | -0.049739 | 0.049703 | 14.0022 | -0.0006212 | -0.059574 | -2.5317e-10 | 0.019873 | 0.069191 | -58.4842 | -114.5241 | -114.5241 | 121.5313 | 63.6208 | 63.6208 | 0.62483 | 0.96385 | 1.1094 | 0 | 0.91936 | 1.4623 | -29.3544 | -115.0195 | 111.5569 | 0 | -138.158 | 117.9292
Line_1 | 0 | 0 | 0 | 0.0025227 | 0.0025227 | 0.0025227 | 0 | 0 | 0 | 0.02913 | 0.02913 | 0.02913 | 1.4312e-13 | 4.2482e-10 | -1.9488e-09 | -2.5236e-13 | 0.024869 | -0.024852 | 1.7465e-12 | -1.1563e-09 | -2.1409e-10 | -1.0084e-13 | -0.0099363 | -0.034596 | 0 | 0 | 0 | -116.3792 | -116.3792 | -116.3792 | 0.00043447 | 0.91904 | 1.4627 | 0 | 0.91936 | 1.4623 | 85.2924 | -138.1766 | 117.9201 | 0 | -138.158 | 117.9292
Line_2 | 0 | 0 | 0 | 0.0025227 | 0.0025227 | 0.0025227 | 0 | 0 | 0 | 0.02913 | 0.02913 | 0.02913 | 1.4312e-13 | 4.2482e-10 | -1.9488e-09 | -2.5236e-13 | 0.024869 | -0.024852 | 1.7465e-12 | -1.1563e-09 | -2.1411e-10 | -1.0084e-13 | -0.0099363 | -0.034596 | 0 | 0 | 0 | -116.3792 | -116.3792 | -116.3792 | 0.00043447 | 0.91904 | 1.4627 | 0 | 0.91936 | 1.4623 | 85.2924 | -138.1766 | 117.9201 | 0 | -138.158 | 117.9292

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 3.9868 | 0.0064559 | 0.0064559 | 3.9859 | 0.0050455 | 0.0050455 | 46.0357 | 0.074546 | 0.074546 | 46.025 | 0.05826 | 0.05826 | 25.1262 | 0.071849 | -0.057367 | 3.4681e-10 | -0.049739 | 0.049703 | 14.0022 | -0.0006212 | -0.059574 | -2.5317e-10 | 0.019873 | 0.069191 | -58.4842 | -114.5241 | -114.5241 | 121.5313 | 63.6208 | 63.6208 | 0.62483 | 0.96385 | 1.1094 | 0 | 0.91936 | 1.4623 | -29.3544 | -115.0195 | 111.5569 | 0 | -138.158 | 117.9292
Line_1 | 0 | 0 | 0 | 0.0025227 | 0.0025227 | 0.0025227 | 0 | 0 | 0 | 0.02913 | 0.02913 | 0.02913 | 1.4312e-13 | 4.2482e-10 | -1.9488e-09 | -2.5236e-13 | 0.024869 | -0.024852 | 1.7465e-12 | -1.1563e-09 | -2.1409e-10 | -1.0084e-13 | -0.0099363 | -0.034596 | 0 | 0 | 0 | -116.3792 | -116.3792 | -116.3792 | 0.00043447 | 0.91904 | 1.4627 | 0 | 0.91936 | 1.4623 | 85.2924 | -138.1766 | 117.9201 | 0 | -138.158 | 117.9292
Line_2 | 0 | 0 | 0 | 0.0025227 | 0.0025227 | 0.0025227 | 0 | 0 | 0 | 0.02913 | 0.02913 | 0.02913 | 1.4312e-13 | 4.2482e-10 | -1.9488e-09 | -2.5236e-13 | 0.024869 | -0.024852 | 1.7465e-12 | -1.1563e-09 | -2.1411e-10 | -1.0084e-13 | -0.0099363 | -0.034596 | 0 | 0 | 0 | -116.3792 | -116.3792 | -116.3792 | 0.00043447 | 0.91904 | 1.4627 | 0 | 0.91936 | 1.4623 | 85.2924 | -138.1766 | 117.9201 | 0 | -138.158 | 117.9292

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2464 | 0.0020183 | 0.0020183 | 1.2461 | 0.0015774 | 0.0015774 | 14.3924 | 0.023306 | 0.023306 | 14.389 | 0.018214 | 0.018214 | 10.2061 | 0.023838 | -0.018996 | -7.7506 | -0.018142 | 0.015021 | 9.1397 | -0.0058126 | -0.01751 | -7.7672 | 0.0060098 | 0.016231 | -49.2341 | -105.274 | -105.274 | 130.7815 | 72.8709 | 72.8709 | 0.95192 | 1.0528 | 1.1085 | 0.76258 | 1.0493 | 1.2142 | -7.3892 | -118.9771 | 117.3944 | -4.1571 | -125.457 | 120.0875
Line_1 | 0 | 0 | 0 | 0.00078869 | 0.00078869 | 0.00078869 | 0 | 0 | 0 | 0.009107 | 0.009107 | 0.009107 | 9.3545e-10 | 1.7629e-10 | -5.088e-10 | -0.001559 | 0.0090711 | -0.0075105 | -2.2241e-10 | -4.0278e-10 | 7.2408e-12 | 0.0067676 | -0.0030049 | -0.0081153 | 0 | 0 | 0 | -107.1291 | -107.1291 | -107.1291 | 0.76256 | 1.0492 | 1.2143 | 0.76258 | 1.0493 | 1.2142 | -4.147 | -125.4618 | 120.0848 | -4.1571 | -125.457 | 120.0875
Line_2 | 0 | 0 | 0 | 0.00078869 | 0.00078869 | 0.00078869 | 0 | 0 | 0 | 0.009107 | 0.009107 | 0.009107 | 9.3545e-10 | 1.7628e-10 | -5.088e-10 | -0.001559 | 0.0090711 | -0.0075105 | -2.2241e-10 | -4.0277e-10 | 7.2379e-12 | 0.0067676 | -0.0030049 | -0.0081153 | 0 | 0 | 0 | -107.1291 | -107.1291 | -107.1291 | 0.76256 | 1.0492 | 1.2143 | 0.76258 | 1.0493 | 1.2142 | -4.147 | -125.4618 | 120.0848 | -4.1571 | -125.457 | 120.0875

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2464 | 0.0020183 | 0.0020183 | 1.2461 | 0.0015774 | 0.0015774 | 14.3924 | 0.023306 | 0.023306 | 14.389 | 0.018214 | 0.018214 | 10.2061 | 0.023838 | -0.018996 | -7.7506 | -0.018142 | 0.015021 | 9.1397 | -0.0058126 | -0.01751 | -7.7672 | 0.0060098 | 0.016231 | -49.2341 | -105.274 | -105.274 | 130.7815 | 72.8709 | 72.8709 | 0.95192 | 1.0528 | 1.1085 | 0.76258 | 1.0493 | 1.2142 | -7.3892 | -118.9771 | 117.3944 | -4.1571 | -125.457 | 120.0875
Line_1 | 0 | 0 | 0 | 0.00078869 | 0.00078869 | 0.00078869 | 0 | 0 | 0 | 0.009107 | 0.009107 | 0.009107 | 9.3545e-10 | 1.7629e-10 | -5.088e-10 | -0.001559 | 0.0090711 | -0.0075105 | -2.2241e-10 | -4.0278e-10 | 7.2408e-12 | 0.0067676 | -0.0030049 | -0.0081153 | 0 | 0 | 0 | -107.1291 | -107.1291 | -107.1291 | 0.76256 | 1.0492 | 1.2143 | 0.76258 | 1.0493 | 1.2142 | -4.147 | -125.4618 | 120.0848 | -4.1571 | -125.457 | 120.0875
Line_2 | 0 | 0 | 0 | 0.00078869 | 0.00078869 | 0.00078869 | 0 | 0 | 0 | 0.009107 | 0.009107 | 0.009107 | 9.3545e-10 | 1.7628e-10 | -5.088e-10 | -0.001559 | 0.0090711 | -0.0075105 | -2.2241e-10 | -4.0277e-10 | 7.2379e-12 | 0.0067676 | -0.0030049 | -0.0081153 | 0 | 0 | 0 | -107.1291 | -107.1291 | -107.1291 | 0.76256 | 1.0492 | 1.2143 | 0.76258 | 1.0493 | 1.2142 | -4.147 | -125.4618 | 120.0848 | -4.1571 | -125.457 | 120.0875

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.7502 | 0.0074969 | 0.0074969 | 2.7495 | 0.0059403 | 0.0059403 | 31.7565 | 0.086566 | 0.086566 | 31.7489 | 0.068592 | 0.068592 | 22.9567 | 0.076477 | -0.06246 | -7.0708e-11 | -0.054549 | 0.054455 | 6.6059 | -0.0081748 | -0.064546 | -1.73e-11 | 0.038101 | 0.085355 | -41.8914 | -112.0841 | -112.0841 | 138.1382 | 66.5627 | 66.5627 | 0.75223 | 0.88848 | 1.0376 | 0 | 0.97004 | 1.4761 | -25.838 | -118.1855 | 113.8571 | 0 | -148.3706 | 124.0257
Line_1 | 0 | 0 | 0 | 0.0029701 | 0.0029701 | 0.0029701 | 0 | 0 | 0 | 0.034296 | 0.034296 | 0.034296 | 6.9411e-13 | -3.1934e-10 | -2.5944e-09 | 6.4106e-15 | 0.027274 | -0.027227 | 3.3452e-12 | -1.6912e-09 | 3.777e-10 | 7.8372e-14 | -0.01905 | -0.042678 | 0 | 0 | 0 | -113.4373 | -113.4373 | -113.4373 | 0.00093194 | 0.9694 | 1.4767 | 0 | 0.97004 | 1.4761 | 78.2255 | -148.4106 | 123.9998 | 0 | -148.3706 | 124.0257
Line_2 | 0 | 0 | 0 | 0.0029701 | 0.0029701 | 0.0029701 | 0 | 0 | 0 | 0.034296 | 0.034296 | 0.034296 | 6.941e-13 | -3.1932e-10 | -2.5943e-09 | 6.4106e-15 | 0.027274 | -0.027227 | 3.3452e-12 | -1.6912e-09 | 3.7767e-10 | 7.8372e-14 | -0.01905 | -0.042678 | 0 | 0 | 0 | -113.4373 | -113.4373 | -113.4373 | 0.00093194 | 0.9694 | 1.4767 | 0 | 0.97004 | 1.4761 | 78.2255 | -148.4106 | 123.9998 | 0 | -148.3706 | 124.0257

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.7502 | 0.0074969 | 0.0074969 | 2.7495 | 0.0059403 | 0.0059403 | 31.7565 | 0.086566 | 0.086566 | 31.7489 | 0.068592 | 0.068592 | 22.9567 | 0.076477 | -0.06246 | -7.0708e-11 | -0.054549 | 0.054455 | 6.6059 | -0.0081748 | -0.064546 | -1.73e-11 | 0.038101 | 0.085355 | -41.8914 | -112.0841 | -112.0841 | 138.1382 | 66.5627 | 66.5627 | 0.75223 | 0.88848 | 1.0376 | 0 | 0.97004 | 1.4761 | -25.838 | -118.1855 | 113.8571 | 0 | -148.3706 | 124.0257
Line_1 | 0 | 0 | 0 | 0.0029701 | 0.0029701 | 0.0029701 | 0 | 0 | 0 | 0.034296 | 0.034296 | 0.034296 | 6.9411e-13 | -3.1934e-10 | -2.5944e-09 | 6.4106e-15 | 0.027274 | -0.027227 | 3.3452e-12 | -1.6912e-09 | 3.777e-10 | 7.8372e-14 | -0.01905 | -0.042678 | 0 | 0 | 0 | -113.4373 | -113.4373 | -113.4373 | 0.00093194 | 0.9694 | 1.4767 | 0 | 0.97004 | 1.4761 | 78.2255 | -148.4106 | 123.9998 | 0 | -148.3706 | 124.0257
Line_2 | 0 | 0 | 0 | 0.0029701 | 0.0029701 | 0.0029701 | 0 | 0 | 0 | 0.034296 | 0.034296 | 0.034296 | 6.941e-13 | -3.1932e-10 | -2.5943e-09 | 6.4106e-15 | 0.027274 | -0.027227 | 3.3452e-12 | -1.6912e-09 | 3.7767e-10 | 7.8372e-14 | -0.01905 | -0.042678 | 0 | 0 | 0 | -113.4373 | -113.4373 | -113.4373 | 0.00093194 | 0.9694 | 1.4767 | 0 | 0.97004 | 1.4761 | 78.2255 | -148.4106 | 123.9998 | 0 | -148.3706 | 124.0257

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0256 | 0.0027957 | 0.0027957 | 1.0253 | 0.0022152 | 0.0022152 | 11.8425 | 0.032282 | 0.032282 | 11.8396 | 0.025579 | 0.025579 | 8.4333 | 0.030824 | -0.020205 | -5.2423 | -0.023609 | 0.016386 | 6.1864 | -0.0027825 | -0.025637 | -5.2638 | 0.0062244 | 0.025283 | -43.9335 | -114.1263 | -114.1263 | 136.096 | 64.5205 | 64.5205 | 0.88318 | 0.95872 | 1.0112 | 0.62746 | 0.95452 | 1.1779 | -7.6708 | -119.2845 | 117.6309 | 1.2135 | -130.249 | 121.5734
Line_1 | 0 | 0 | 0 | 0.0011076 | 0.0011076 | 0.0011076 | 0 | 0 | 0 | 0.01279 | 0.01279 | 0.01279 | 8.5646e-10 | 1.0428e-10 | -7.7106e-10 | -0.0036049 | 0.011805 | -0.0081931 | 4.9961e-11 | -6.2308e-10 | 1.177e-10 | 0.0071697 | -0.0031122 | -0.012642 | 0 | 0 | 0 | -115.4795 | -115.4795 | -115.4795 | 0.62755 | 0.95421 | 1.1781 | 0.62746 | 0.95452 | 1.1779 | 1.2442 | -130.2583 | 121.5613 | 1.2135 | -130.249 | 121.5734
Line_2 | 0 | 0 | 0 | 0.0011076 | 0.0011076 | 0.0011076 | 0 | 0 | 0 | 0.01279 | 0.01279 | 0.01279 | 8.5646e-10 | 1.0428e-10 | -7.7106e-10 | -0.0036049 | 0.011805 | -0.0081931 | 4.9964e-11 | -6.2308e-10 | 1.177e-10 | 0.0071697 | -0.0031122 | -0.012642 | 0 | 0 | 0 | -115.4795 | -115.4795 | -115.4795 | 0.62755 | 0.95421 | 1.1781 | 0.62746 | 0.95452 | 1.1779 | 1.2442 | -130.2583 | 121.5613 | 1.2135 | -130.249 | 121.5734

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0256 | 0.0027957 | 0.0027957 | 1.0253 | 0.0022152 | 0.0022152 | 11.8425 | 0.032282 | 0.032282 | 11.8396 | 0.025579 | 0.025579 | 8.4333 | 0.030824 | -0.020205 | -5.2423 | -0.023609 | 0.016386 | 6.1864 | -0.0027825 | -0.025637 | -5.2638 | 0.0062244 | 0.025283 | -43.9335 | -114.1263 | -114.1263 | 136.096 | 64.5205 | 64.5205 | 0.88318 | 0.95872 | 1.0112 | 0.62746 | 0.95452 | 1.1779 | -7.6708 | -119.2845 | 117.6309 | 1.2135 | -130.249 | 121.5734
Line_1 | 0 | 0 | 0 | 0.0011076 | 0.0011076 | 0.0011076 | 0 | 0 | 0 | 0.01279 | 0.01279 | 0.01279 | 8.5646e-10 | 1.0428e-10 | -7.7106e-10 | -0.0036049 | 0.011805 | -0.0081931 | 4.9961e-11 | -6.2308e-10 | 1.177e-10 | 0.0071697 | -0.0031122 | -0.012642 | 0 | 0 | 0 | -115.4795 | -115.4795 | -115.4795 | 0.62755 | 0.95421 | 1.1781 | 0.62746 | 0.95452 | 1.1779 | 1.2442 | -130.2583 | 121.5613 | 1.2135 | -130.249 | 121.5734
Line_2 | 0 | 0 | 0 | 0.0011076 | 0.0011076 | 0.0011076 | 0 | 0 | 0 | 0.01279 | 0.01279 | 0.01279 | 8.5646e-10 | 1.0428e-10 | -7.7106e-10 | -0.0036049 | 0.011805 | -0.0081931 | 4.9964e-11 | -6.2308e-10 | 1.177e-10 | 0.0071697 | -0.0031122 | -0.012642 | 0 | 0 | 0 | -115.4795 | -115.4795 | -115.4795 | 0.62755 | 0.95421 | 1.1781 | 0.62746 | 0.95452 | 1.1779 | 1.2442 | -130.2583 | 121.5613 | 1.2135 | -130.249 | 121.5734

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.005545 | 4.8899 | 3.0787 | 0.0043336 | 4.8898 | 3.0779 | 0.064029 | 56.4631 | 35.5502 | 0.05004 | 56.4627 | 35.5408 | 0.0039975 | 29.3585 | 0.44952 | -2.6034e-05 | 1.9386e-10 | 1.5448e-10 | -0.064219 | 6.8421 | 16.2889 | 0.065706 | -2.2232e-10 | -1.0115e-10 | 80.8411 | 175.4499 | 39.4957 | -101.014 | -4.5358 | -140.5212 | 1.0049 | 0.53389 | 0.45837 | 1.3131 | 0 | 0 | -5.597 | -171.4313 | 127.9149 | -10.9913 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0021668 | 0.0021668 | 0.0021668 | 0 | 0 | 0 | 0.02502 | 0.02502 | 0.02502 | -1.1239e-09 | 1.1413e-12 | -1.4207e-12 | 1.3016e-05 | -8.8195e-14 | -3.8609e-14 | -1.0112e-09 | 9.8064e-13 | 4.9852e-13 | -0.032853 | -9.6472e-14 | 1.2413e-13 | 0 | 0 | 0 | 78.986 | 78.986 | 78.986 | 1.3132 | 0.00037317 | 0.00037317 | 1.3131 | 0 | 0 | -11.0064 | -79.3423 | -79.3423 | -10.9913 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0021668 | 0.0021668 | 0.0021668 | 0 | 0 | 0 | 0.02502 | 0.02502 | 0.02502 | -1.124e-09 | 1.1413e-12 | -1.4207e-12 | 1.3016e-05 | -8.8195e-14 | -3.8609e-14 | -1.0112e-09 | 9.8064e-13 | 4.9851e-13 | -0.032853 | -9.6472e-14 | 1.2413e-13 | 0 | 0 | 0 | 78.986 | 78.986 | 78.986 | 1.3132 | 0.00037317 | 0.00037317 | 1.3131 | 0 | 0 | -11.0064 | -79.3423 | -79.3423 | -10.9913 | 0 | 0

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.005545 | 4.8899 | 3.0787 | 0.0043336 | 4.8898 | 3.0779 | 0.064029 | 56.4631 | 35.5502 | 0.05004 | 56.4627 | 35.5408 | 0.0039975 | 29.3585 | 0.44952 | -2.6034e-05 | 1.9386e-10 | 1.5448e-10 | -0.064219 | 6.8421 | 16.2889 | 0.065706 | -2.2232e-10 | -1.0115e-10 | 80.8411 | 175.4499 | 39.4957 | -101.014 | -4.5358 | -140.5212 | 1.0049 | 0.53389 | 0.45837 | 1.3131 | 0 | 0 | -5.597 | -171.4313 | 127.9149 | -10.9913 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0021668 | 0.0021668 | 0.0021668 | 0 | 0 | 0 | 0.02502 | 0.02502 | 0.02502 | -1.1239e-09 | 1.1413e-12 | -1.4207e-12 | 1.3016e-05 | -8.8195e-14 | -3.8609e-14 | -1.0112e-09 | 9.8064e-13 | 4.9852e-13 | -0.032853 | -9.6472e-14 | 1.2413e-13 | 0 | 0 | 0 | 78.986 | 78.986 | 78.986 | 1.3132 | 0.00037317 | 0.00037317 | 1.3131 | 0 | 0 | -11.0064 | -79.3423 | -79.3423 | -10.9913 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0021668 | 0.0021668 | 0.0021668 | 0 | 0 | 0 | 0.02502 | 0.02502 | 0.02502 | -1.124e-09 | 1.1413e-12 | -1.4207e-12 | 1.3016e-05 | -8.8195e-14 | -3.8609e-14 | -1.0112e-09 | 9.8064e-13 | 4.9851e-13 | -0.032853 | -9.6472e-14 | 1.2413e-13 | 0 | 0 | 0 | 78.986 | 78.986 | 78.986 | 1.3132 | 0.00037317 | 0.00037317 | 1.3131 | 0 | 0 | -11.0064 | -79.3423 | -79.3423 | -10.9913 | 0 | 0

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0019093 | 1.3668 | 1.1837 | 0.0014922 | 1.3669 | 1.1833 | 0.022047 | 15.7828 | 13.6678 | 0.01723 | 15.784 | 13.6633 | 0.0035404 | 11.6753 | 7.8311 | -0.0027932 | -9.3371 | -6.994 | -0.02322 | 9.3355 | 9.3497 | 0.019902 | -9.3559 | -6.9901 | 79.5572 | -169.6858 | 64.8679 | -102.298 | 10.3313 | -115.1395 | 1.0654 | 0.94715 | 0.89232 | 1.1664 | 0.83743 | 0.72371 | -1.7733 | -131.0401 | 114.919 | -4.3089 | -124.611 | 109.8444
Line_1 | 0 | 0 | 0 | 0.00074609 | 0.00074609 | 0.00074609 | 0 | 0 | 0 | 0.0086151 | 0.0086151 | 0.0086151 | -2.9751e-10 | 7.9516e-10 | 9.5297e-10 | 0.0013966 | -0.0066743 | 0.0052792 | -3.5399e-10 | -2.7119e-10 | -5.145e-10 | -0.0099512 | 0.0027391 | 0.0033171 | 0 | 0 | 0 | 77.702 | 77.702 | 77.702 | 1.1664 | 0.83752 | 0.72359 | 1.1664 | 0.83743 | 0.72371 | -4.315 | -124.6049 | 109.8463 | -4.3089 | -124.611 | 109.8444
Line_2 | 0 | 0 | 0 | 0.00074609 | 0.00074609 | 0.00074609 | 0 | 0 | 0 | 0.0086151 | 0.0086151 | 0.0086151 | -2.9752e-10 | 7.9515e-10 | 9.5297e-10 | 0.0013966 | -0.0066743 | 0.0052792 | -3.5398e-10 | -2.7121e-10 | -5.145e-10 | -0.0099512 | 0.0027391 | 0.0033171 | 0 | 0 | 0 | 77.702 | 77.702 | 77.702 | 1.1664 | 0.83752 | 0.72359 | 1.1664 | 0.83743 | 0.72371 | -4.315 | -124.6049 | 109.8463 | -4.3089 | -124.611 | 109.8444

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0019093 | 1.3668 | 1.1837 | 0.0014922 | 1.3669 | 1.1833 | 0.022047 | 15.7828 | 13.6678 | 0.01723 | 15.784 | 13.6633 | 0.0035404 | 11.6753 | 7.8311 | -0.0027932 | -9.3371 | -6.994 | -0.02322 | 9.3355 | 9.3497 | 0.019902 | -9.3559 | -6.9901 | 79.5572 | -169.6858 | 64.8679 | -102.298 | 10.3313 | -115.1395 | 1.0654 | 0.94715 | 0.89232 | 1.1664 | 0.83743 | 0.72371 | -1.7733 | -131.0401 | 114.919 | -4.3089 | -124.611 | 109.8444
Line_1 | 0 | 0 | 0 | 0.00074609 | 0.00074609 | 0.00074609 | 0 | 0 | 0 | 0.0086151 | 0.0086151 | 0.0086151 | -2.9751e-10 | 7.9516e-10 | 9.5297e-10 | 0.0013966 | -0.0066743 | 0.0052792 | -3.5399e-10 | -2.7119e-10 | -5.145e-10 | -0.0099512 | 0.0027391 | 0.0033171 | 0 | 0 | 0 | 77.702 | 77.702 | 77.702 | 1.1664 | 0.83752 | 0.72359 | 1.1664 | 0.83743 | 0.72371 | -4.315 | -124.6049 | 109.8463 | -4.3089 | -124.611 | 109.8444
Line_2 | 0 | 0 | 0 | 0.00074609 | 0.00074609 | 0.00074609 | 0 | 0 | 0 | 0.0086151 | 0.0086151 | 0.0086151 | -2.9752e-10 | 7.9515e-10 | 9.5297e-10 | 0.0013966 | -0.0066743 | 0.0052792 | -3.5398e-10 | -2.7121e-10 | -5.145e-10 | -0.0099512 | 0.0027391 | 0.0033171 | 0 | 0 | 0 | 77.702 | 77.702 | 77.702 | 1.1664 | 0.83752 | 0.72359 | 1.1664 | 0.83743 | 0.72371 | -4.315 | -124.6049 | 109.8463 | -4.3089 | -124.611 | 109.8444

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0054592 | 3.8697 | 2.5479 | 0.0043257 | 3.8699 | 2.5472 | 0.063037 | 44.6835 | 29.4208 | 0.049949 | 44.6861 | 29.4126 | 0.0027723 | 28.9895 | 0.61625 | -4.9801e-05 | -1.8824e-10 | -4.3991e-11 | -0.06058 | 1.2928 | 12.531 | 0.065466 | -1.7626e-10 | -1.6431e-10 | 82.9975 | -170.6425 | 37.127 | -98.3557 | 9.374 | -142.893 | 0.96203 | 0.64942 | 0.42644 | 1.3107 | 0 | 0 | -4.3823 | -168.0891 | 124.3116 | -8.3121 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0021629 | 0.0021629 | 0.0021629 | 0 | 0 | 0 | 0.024974 | 0.024974 | 0.024974 | -1.5446e-09 | 2.0779e-12 | -2.2248e-12 | 2.49e-05 | -1.2587e-13 | 1.2448e-13 | -6.9724e-10 | 1.3664e-12 | 1.1178e-12 | -0.032733 | 7.0213e-14 | 7.3249e-14 | 0 | 0 | 0 | 81.6443 | 81.6443 | 81.6443 | 1.3108 | 0.00067864 | 0.00067864 | 1.3107 | 0 | 0 | -8.3411 | -86.6929 | -86.6929 | -8.3121 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0021629 | 0.0021629 | 0.0021629 | 0 | 0 | 0 | 0.024974 | 0.024974 | 0.024974 | -1.5446e-09 | 2.0779e-12 | -2.2248e-12 | 2.49e-05 | -1.2587e-13 | 1.2448e-13 | -6.9722e-10 | 1.3664e-12 | 1.1178e-12 | -0.032733 | 7.0213e-14 | 7.3249e-14 | 0 | 0 | 0 | 81.6443 | 81.6443 | 81.6443 | 1.3108 | 0.00067864 | 0.00067864 | 1.3107 | 0 | 0 | -8.3411 | -86.6929 | -86.6929 | -8.3121 | 0 | 0

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0054592 | 3.8697 | 2.5479 | 0.0043257 | 3.8699 | 2.5472 | 0.063037 | 44.6835 | 29.4208 | 0.049949 | 44.6861 | 29.4126 | 0.0027723 | 28.9895 | 0.61625 | -4.9801e-05 | -1.8824e-10 | -4.3991e-11 | -0.06058 | 1.2928 | 12.531 | 0.065466 | -1.7626e-10 | -1.6431e-10 | 82.9975 | -170.6425 | 37.127 | -98.3557 | 9.374 | -142.893 | 0.96203 | 0.64942 | 0.42644 | 1.3107 | 0 | 0 | -4.3823 | -168.0891 | 124.3116 | -8.3121 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0021629 | 0.0021629 | 0.0021629 | 0 | 0 | 0 | 0.024974 | 0.024974 | 0.024974 | -1.5446e-09 | 2.0779e-12 | -2.2248e-12 | 2.49e-05 | -1.2587e-13 | 1.2448e-13 | -6.9724e-10 | 1.3664e-12 | 1.1178e-12 | -0.032733 | 7.0213e-14 | 7.3249e-14 | 0 | 0 | 0 | 81.6443 | 81.6443 | 81.6443 | 1.3108 | 0.00067864 | 0.00067864 | 1.3107 | 0 | 0 | -8.3411 | -86.6929 | -86.6929 | -8.3121 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0021629 | 0.0021629 | 0.0021629 | 0 | 0 | 0 | 0.024974 | 0.024974 | 0.024974 | -1.5446e-09 | 2.0779e-12 | -2.2248e-12 | 2.49e-05 | -1.2587e-13 | 1.2448e-13 | -6.9722e-10 | 1.3664e-12 | 1.1178e-12 | -0.032733 | 7.0213e-14 | 7.3249e-14 | 0 | 0 | 0 | 81.6443 | 81.6443 | 81.6443 | 1.3108 | 0.00067864 | 0.00067864 | 1.3107 | 0 | 0 | -8.3411 | -86.6929 | -86.6929 | -8.3121 | 0 | 0

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0024847 | 1.1986 | 0.97487 | 0.0019688 | 1.1988 | 0.97436 | 0.028691 | 13.8403 | 11.2568 | 0.022734 | 13.8431 | 11.251 | 0.0074221 | 10.2059 | 5.791 | -0.0057053 | -7.1831 | -4.7386 | -0.02701 | 6.4669 | 7.1233 | 0.024888 | -7.2026 | -4.7362 | 72.8928 | -164.1415 | 64.1579 | -108.4604 | 15.8805 | -115.8494 | 0.97631 | 0.87298 | 0.81553 | 1.1232 | 0.73482 | 0.59548 | -1.7422 | -131.7813 | 115.0478 | -5.549 | -119.0419 | 109.1357
Line_1 | 0 | 0 | 0 | 0.0009844 | 0.0009844 | 0.0009844 | 0 | 0 | 0 | 0.011367 | 0.011367 | 0.011367 | -5.2658e-10 | 7.136e-10 | 8.444e-10 | 0.0028527 | -0.0082106 | 0.0053631 | -3.9935e-10 | 4.5501e-11 | -4.1086e-10 | -0.012444 | 0.0015338 | 0.0041295 | 0 | 0 | 0 | 71.5396 | 71.5396 | 71.5396 | 1.1232 | 0.73511 | 0.5952 | 1.1232 | 0.73482 | 0.59548 | -5.5648 | -119.0328 | 109.1487 | -5.549 | -119.0419 | 109.1357
Line_2 | 0 | 0 | 0 | 0.0009844 | 0.0009844 | 0.0009844 | 0 | 0 | 0 | 0.011367 | 0.011367 | 0.011367 | -5.2658e-10 | 7.136e-10 | 8.4441e-10 | 0.0028527 | -0.0082106 | 0.0053631 | -3.9935e-10 | 4.5498e-11 | -4.1086e-10 | -0.012444 | 0.0015338 | 0.0041295 | 0 | 0 | 0 | 71.5396 | 71.5396 | 71.5396 | 1.1232 | 0.73511 | 0.5952 | 1.1232 | 0.73482 | 0.59548 | -5.5648 | -119.0328 | 109.1487 | -5.549 | -119.0419 | 109.1357

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0024847 | 1.1986 | 0.97487 | 0.0019688 | 1.1988 | 0.97436 | 0.028691 | 13.8403 | 11.2568 | 0.022734 | 13.8431 | 11.251 | 0.0074221 | 10.2059 | 5.791 | -0.0057053 | -7.1831 | -4.7386 | -0.02701 | 6.4669 | 7.1233 | 0.024888 | -7.2026 | -4.7362 | 72.8928 | -164.1415 | 64.1579 | -108.4604 | 15.8805 | -115.8494 | 0.97631 | 0.87298 | 0.81553 | 1.1232 | 0.73482 | 0.59548 | -1.7422 | -131.7813 | 115.0478 | -5.549 | -119.0419 | 109.1357
Line_1 | 0 | 0 | 0 | 0.0009844 | 0.0009844 | 0.0009844 | 0 | 0 | 0 | 0.011367 | 0.011367 | 0.011367 | -5.2658e-10 | 7.136e-10 | 8.444e-10 | 0.0028527 | -0.0082106 | 0.0053631 | -3.9935e-10 | 4.5501e-11 | -4.1086e-10 | -0.012444 | 0.0015338 | 0.0041295 | 0 | 0 | 0 | 71.5396 | 71.5396 | 71.5396 | 1.1232 | 0.73511 | 0.5952 | 1.1232 | 0.73482 | 0.59548 | -5.5648 | -119.0328 | 109.1487 | -5.549 | -119.0419 | 109.1357
Line_2 | 0 | 0 | 0 | 0.0009844 | 0.0009844 | 0.0009844 | 0 | 0 | 0 | 0.011367 | 0.011367 | 0.011367 | -5.2658e-10 | 7.136e-10 | 8.4441e-10 | 0.0028527 | -0.0082106 | 0.0053631 | -3.9935e-10 | 4.5498e-11 | -4.1086e-10 | -0.012444 | 0.0015338 | 0.0041295 | 0 | 0 | 0 | 71.5396 | 71.5396 | 71.5396 | 1.1232 | 0.73511 | 0.5952 | 1.1232 | 0.73482 | 0.59548 | -5.5648 | -119.0328 | 109.1487 | -5.549 | -119.0419 | 109.1357