## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4587 | 3.4587 | 0 | 0 | 119.8128 | 119.8128 | 37.3233 | -18.6616 | 42.3476 | -21.1738 | -71.7883 | 108.2117 | 0.47113 | 0.23557 | -23.1798 | -23.1798
Line_1 | 3.4587 | 3.4587 | 6.7756 | 0 | 119.8128 | 119.8128 | -1e-07 | 18.6616 | -1e-07 | 21.1738 | 108.2117 | -71.7883 | 0 | 0.23557 | 0 | -23.1798
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23557 | 0.23557 | -23.1798 | -23.1798

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4587 | 3.4587 | 0 | 0 | 119.8128 | 119.8128 | 37.3233 | -18.6616 | 42.3476 | -21.1738 | -71.7883 | 108.2117 | 0.47113 | 0.23557 | -23.1798 | -23.1798
Line_1 | 3.4587 | 3.4587 | 6.7756 | 0 | 119.8128 | 119.8128 | -1e-07 | 18.6616 | -1e-07 | 21.1738 | 108.2117 | -71.7883 | 0 | 0.23557 | 0 | -23.1798
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23557 | 0.23557 | -23.1798 | -23.1798

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2119 | 1.2119 | 0 | 0 | 41.9813 | 41.9813 | 26.6127 | -24.3216 | 27.2296 | -24.63 | -54.0862 | 125.9138 | 0.90694 | 0.82453 | -8.4298 | -8.7252
Line_1 | 1.2119 | 1.2119 | 2.3741 | 0 | 41.9813 | 41.9813 | -22.0304 | 24.3216 | -22.0304 | 24.63 | 125.9138 | -54.0862 | 0.74213 | 0.82453 | -9.0862 | -8.7252
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.82453 | 0.82453 | -8.7252 | -8.7252

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2119 | 1.2119 | 0 | 0 | 41.9813 | 41.9813 | 26.6127 | -24.3216 | 27.2296 | -24.63 | -54.0862 | 125.9138 | 0.90694 | 0.82453 | -8.4298 | -8.7252
Line_1 | 1.2119 | 1.2119 | 2.3741 | 0 | 41.9813 | 41.9813 | -22.0304 | 24.3216 | -22.0304 | 24.63 | 125.9138 | -54.0862 | 0.74213 | 0.82453 | -9.0862 | -8.7252
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.82453 | 0.82453 | -8.7252 | -8.7252

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | -59.5744 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 120.4256 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | -59.5744 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 120.4256 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0349 | 1.0349 | 0 | 0 | 35.8516 | 35.8516 | 22.4832 | -19.2749 | 19.8585 | -17.9626 | -50.3977 | 129.6023 | 0.83671 | 0.7349 | -8.9447 | -7.416
Line_1 | 1.0349 | 1.0349 | 1.7392 | 0 | 35.8516 | 35.8516 | -16.0667 | 19.2749 | -16.0667 | 17.9626 | 129.6023 | -50.3977 | 0.63377 | 0.7349 | -5.3977 | -7.416
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7349 | 0.7349 | -7.416 | -7.416

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0349 | 1.0349 | 0 | 0 | 35.8516 | 35.8516 | 22.4832 | -19.2749 | 19.8585 | -17.9626 | -50.3977 | 129.6023 | 0.83671 | 0.7349 | -8.9447 | -7.416
Line_1 | 1.0349 | 1.0349 | 1.7392 | 0 | 35.8516 | 35.8516 | -16.0667 | 19.2749 | -16.0667 | 17.9626 | 129.6023 | -50.3977 | 0.63377 | 0.7349 | -5.3977 | -7.416
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7349 | 0.7349 | -7.416 | -7.416

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | -5.2106e-15 | 27.4008 | -8.7391 | -5.2106e-15 | -22.7354 | 13.4045 | 5.2106e-15 | 4.6417 | 16.5321 | 1.0421e-14 | 0.65175 | -11.2386 | 0 | -161.7883 | 18.2117 | 0 | 18.2117 | -161.7883 | 1.1 | 0.80351 | 0.54066 | 1.1 | 0.65761 | 0.50575 | 5.081e-13 | -152.1736 | 136.0734 | 4.9506e-13 | -163.4303 | 158.2346
Line_1 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | 5.2106e-15 | -18.0699 | 18.0699 | -2.0843e-14 | 22.7354 | -13.4045 | -5.2106e-15 | 5.9452 | -5.9452 | 1.5632e-14 | -0.65175 | 11.2386 | 0 | 18.2117 | -161.7883 | 0 | -161.7883 | 18.2117 | 1.1 | 0.55 | 0.55 | 1.1 | 0.65761 | 0.50575 | 4.9051e-13 | 180 | -180 | 4.9506e-13 | -163.4303 | 158.2346
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 3.4051e-10 | 6.644e-10 | -5.2106e-15 | -3.405e-10 | -6.644e-10 | -4.514e-29 | -1.8234e-09 | 1.2624e-09 | 5.2106e-15 | 1.8234e-09 | -1.2624e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.65761 | 0.50575 | 1.1 | 0.65761 | 0.50575 | 4.9635e-13 | -163.4303 | 158.2346 | 4.9506e-13 | -163.4303 | 158.2346

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | -5.2106e-15 | 27.4008 | -8.7391 | -5.2106e-15 | -22.7354 | 13.4045 | 5.2106e-15 | 4.6417 | 16.5321 | 1.0421e-14 | 0.65175 | -11.2386 | 0 | -161.7883 | 18.2117 | 0 | 18.2117 | -161.7883 | 1.1 | 0.80351 | 0.54066 | 1.1 | 0.65761 | 0.50575 | 5.081e-13 | -152.1736 | 136.0734 | 4.9506e-13 | -163.4303 | 158.2346
Line_1 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | 5.2106e-15 | -18.0699 | 18.0699 | -2.0843e-14 | 22.7354 | -13.4045 | -5.2106e-15 | 5.9452 | -5.9452 | 1.5632e-14 | -0.65175 | 11.2386 | 0 | 18.2117 | -161.7883 | 0 | -161.7883 | 18.2117 | 1.1 | 0.55 | 0.55 | 1.1 | 0.65761 | 0.50575 | 4.9051e-13 | 180 | -180 | 4.9506e-13 | -163.4303 | 158.2346
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 3.4051e-10 | 6.644e-10 | -5.2106e-15 | -3.405e-10 | -6.644e-10 | -4.514e-29 | -1.8234e-09 | 1.2624e-09 | 5.2106e-15 | 1.8234e-09 | -1.2624e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.65761 | 0.50575 | 1.1 | 0.65761 | 0.50575 | 4.9635e-13 | -163.4303 | 158.2346 | 4.9506e-13 | -163.4303 | 158.2346

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | -5.2106e-15 | 17.2205 | 0.20321 | -2.6053e-15 | -15.9408 | 1.0765 | -2.6053e-15 | 3.8735 | 14.2393 | -2.6053e-15 | -2.4216 | -12.7873 | 0 | -148.6532 | 31.3468 | 0 | 31.3468 | -148.6532 | 1.1 | 0.97441 | 0.78616 | 1.1 | 0.89011 | 0.70842 | 2.2e-13 | -135.9762 | 120.5292 | 2.1446e-13 | -140.0155 | 126.1589
Line_1 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | -2.6053e-15 | -14.6611 | 2.3562 | -5.2106e-15 | 15.9408 | -1.0765 | -1.0421e-14 | -0.96958 | -11.3353 | 7.816e-15 | 2.4216 | 12.7873 | 0 | 31.3468 | -148.6532 | 0 | -148.6532 | 31.3468 | 1.1 | 0.81113 | 0.63914 | 1.1 | 0.89011 | 0.70842 | 2.1309e-13 | -144.8696 | 133.0893 | 2.1446e-13 | -140.0155 | 126.1589
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | 4.6818e-10 | 1.0007e-09 | -5.2106e-15 | -4.6817e-10 | -1.0007e-09 | -5.2106e-15 | -1.2288e-09 | 3.0654e-10 | -1.9504e-29 | 1.2288e-09 | -3.0653e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.89011 | 0.70842 | 1.1 | 0.89011 | 0.70842 | 2.1549e-13 | -140.0155 | 126.1589 | 2.1446e-13 | -140.0155 | 126.1589

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | -5.2106e-15 | 17.2205 | 0.20321 | -2.6053e-15 | -15.9408 | 1.0765 | -2.6053e-15 | 3.8735 | 14.2393 | -2.6053e-15 | -2.4216 | -12.7873 | 0 | -148.6532 | 31.3468 | 0 | 31.3468 | -148.6532 | 1.1 | 0.97441 | 0.78616 | 1.1 | 0.89011 | 0.70842 | 2.2e-13 | -135.9762 | 120.5292 | 2.1446e-13 | -140.0155 | 126.1589
Line_1 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | -2.6053e-15 | -14.6611 | 2.3562 | -5.2106e-15 | 15.9408 | -1.0765 | -1.0421e-14 | -0.96958 | -11.3353 | 7.816e-15 | 2.4216 | 12.7873 | 0 | 31.3468 | -148.6532 | 0 | -148.6532 | 31.3468 | 1.1 | 0.81113 | 0.63914 | 1.1 | 0.89011 | 0.70842 | 2.1309e-13 | -144.8696 | 133.0893 | 2.1446e-13 | -140.0155 | 126.1589
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | 4.6818e-10 | 1.0007e-09 | -5.2106e-15 | -4.6817e-10 | -1.0007e-09 | -5.2106e-15 | -1.2288e-09 | 3.0654e-10 | -1.9504e-29 | 1.2288e-09 | -3.0653e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.89011 | 0.70842 | 1.1 | 0.89011 | 0.70842 | 2.1549e-13 | -140.0155 | 126.1589 | 2.1446e-13 | -140.0155 | 126.1589

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -2.0132e-14 | 23.4155 | -0.45749 | 2.0132e-14 | -17.676 | 6.197 | 1.6579e-14 | -0.22679 | 13.7937 | -1.4211e-14 | 3.6185 | -10.402 | 0 | -149.5744 | 30.4256 | 0 | 30.4256 | -149.5744 | 1 | 0.8458 | 0.4985 | 1 | 0.65169 | 0.43734 | 5.119e-13 | -150.1294 | 122.3252 | 5.6905e-13 | -161.1438 | 151.2099
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -1.1842e-15 | -11.9365 | 11.9365 | 1.1842e-15 | 17.676 | -6.197 | -1.1842e-14 | 7.0103 | -7.0103 | 4.737e-15 | -3.6185 | 10.402 | 0 | 30.4256 | -149.5744 | 0 | -149.5744 | 30.4256 | 1 | 0.5 | 0.5 | 1 | 0.65169 | 0.43734 | 5.7408e-13 | -180 | 180 | 5.6905e-13 | -161.1438 | 151.2099
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 2.4222e-10 | 6.7019e-10 | 1.1842e-15 | -2.4221e-10 | -6.7019e-10 | 2.3685e-15 | -1.5722e-09 | 8.3093e-10 | 1.1762e-29 | 1.5722e-09 | -8.3093e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.65169 | 0.43734 | 1 | 0.65169 | 0.43734 | 5.5402e-13 | -161.1438 | 151.2099 | 5.6905e-13 | -161.1438 | 151.2099

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -2.0132e-14 | 23.4155 | -0.45749 | 2.0132e-14 | -17.676 | 6.197 | 1.6579e-14 | -0.22679 | 13.7937 | -1.4211e-14 | 3.6185 | -10.402 | 0 | -149.5744 | 30.4256 | 0 | 30.4256 | -149.5744 | 1 | 0.8458 | 0.4985 | 1 | 0.65169 | 0.43734 | 5.119e-13 | -150.1294 | 122.3252 | 5.6905e-13 | -161.1438 | 151.2099
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -1.1842e-15 | -11.9365 | 11.9365 | 1.1842e-15 | 17.676 | -6.197 | -1.1842e-14 | 7.0103 | -7.0103 | 4.737e-15 | -3.6185 | 10.402 | 0 | 30.4256 | -149.5744 | 0 | -149.5744 | 30.4256 | 1 | 0.5 | 0.5 | 1 | 0.65169 | 0.43734 | 5.7408e-13 | -180 | 180 | 5.6905e-13 | -161.1438 | 151.2099
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 2.4222e-10 | 6.7019e-10 | 1.1842e-15 | -2.4221e-10 | -6.7019e-10 | 2.3685e-15 | -1.5722e-09 | 8.3093e-10 | 1.1762e-29 | 1.5722e-09 | -8.3093e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.65169 | 0.43734 | 1 | 0.65169 | 0.43734 | 5.5402e-13 | -161.1438 | 151.2099 | 5.6905e-13 | -161.1438 | 151.2099

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -9.4739e-15 | 13.7181 | 1.6719 | 1.0066e-14 | -12.0096 | 0.036546 | 4.737e-15 | 1.7406 | 10.8539 | -7.1054e-15 | -0.73098 | -9.8443 | 0 | -142.8911 | 37.1089 | 0 | 37.1089 | -142.8911 | 1 | 0.91546 | 0.72704 | 1 | 0.79654 | 0.65173 | 2.7674e-13 | -135.6599 | 118.3519 | 3.0802e-13 | -139.408 | 127.3216
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | 1.1842e-15 | -10.3011 | 1.745 | -2.3685e-15 | 12.0096 | -0.036546 | 6.4472e-30 | 0.27863 | -8.8347 | -1.2733e-29 | 0.73098 | 9.8443 | 0 | 37.1089 | -142.8911 | 0 | -142.8911 | 37.1089 | 1 | 0.68221 | 0.59619 | 1 | 0.79654 | 0.65173 | 3.1193e-13 | -144.4405 | 138.2821 | 3.0802e-13 | -139.408 | 127.3216
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 4.2826e-10 | 8.1277e-10 | 2.3685e-15 | -4.2826e-10 | -8.1277e-10 | 4.737e-15 | -9.7051e-10 | 3.0453e-10 | -7.1054e-15 | 9.7051e-10 | -3.0454e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.79654 | 0.65173 | 1 | 0.79654 | 0.65173 | 2.9986e-13 | -139.408 | 127.3216 | 3.0802e-13 | -139.408 | 127.3216

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -9.4739e-15 | 13.7181 | 1.6719 | 1.0066e-14 | -12.0096 | 0.036546 | 4.737e-15 | 1.7406 | 10.8539 | -7.1054e-15 | -0.73098 | -9.8443 | 0 | -142.8911 | 37.1089 | 0 | 37.1089 | -142.8911 | 1 | 0.91546 | 0.72704 | 1 | 0.79654 | 0.65173 | 2.7674e-13 | -135.6599 | 118.3519 | 3.0802e-13 | -139.408 | 127.3216
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | 1.1842e-15 | -10.3011 | 1.745 | -2.3685e-15 | 12.0096 | -0.036546 | 6.4472e-30 | 0.27863 | -8.8347 | -1.2733e-29 | 0.73098 | 9.8443 | 0 | 37.1089 | -142.8911 | 0 | -142.8911 | 37.1089 | 1 | 0.68221 | 0.59619 | 1 | 0.79654 | 0.65173 | 3.1193e-13 | -144.4405 | 138.2821 | 3.0802e-13 | -139.408 | 127.3216
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 4.2826e-10 | 8.1277e-10 | 2.3685e-15 | -4.2826e-10 | -8.1277e-10 | 4.737e-15 | -9.7051e-10 | 3.0453e-10 | -7.1054e-15 | 9.7051e-10 | -3.0454e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.79654 | 0.65173 | 1 | 0.79654 | 0.65173 | 2.9986e-13 | -139.408 | 127.3216 | 3.0802e-13 | -139.408 | 127.3216

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0582 | 0.011755 | 0.011755 | 1.0557 | 0.008121 | 0.008121 | 12.2193 | 0.13574 | 0.13574 | 12.1904 | 0.093773 | 0.093773 | 3.5384 | 0.13294 | -0.12514 | -1.7527 | -0.088923 | 0.089203 | 1.9691 | -0.15148 | -0.16808 | -0.98516 | 0.11202 | 0.12584 | -45.6237 | -93.68 | -93.68 | 134.5192 | 85.5621 | 85.5621 | 0.33139 | 1.4848 | 1.5438 | 0.16494 | 1.5252 | 1.645 | -16.5284 | -142.409 | 139.6506 | -16.142 | -145.9947 | 140.2318
Line_1 | 1.0504 | 0 | 0 | 1.0531 | 0.0042019 | 0.0042019 | 12.129 | 0 | 0 | 12.1603 | 0.048519 | 0.048519 | 1.5797e-11 | -3.5301e-09 | -4.5765e-09 | 1.7511 | 0.046679 | -0.045396 | -1.8403e-11 | -3.1014e-09 | 2.4972e-09 | 0.97786 | -0.057422 | -0.065644 | 134.8533 | 0 | 0 | -45.3217 | -95.1025 | -95.1025 | 0 | 1.5719 | 1.744 | 0.16494 | 1.5252 | 1.645 | 0 | -149.2866 | 140.7936 | -16.142 | -145.9947 | 140.2318
Line_2 | 0 | 0 | 0 | 0.0039197 | 0.0039197 | 0.0039197 | 0 | 0 | 0 | 0.045261 | 0.045261 | 0.045261 | 5.3889e-10 | -3e-09 | -3.7005e-09 | 0.0016052 | 0.042244 | -0.043807 | -1.8236e-10 | -2.6982e-09 | 2.2938e-09 | 0.0072905 | -0.054597 | -0.0602 | 0 | 0 | 0 | -93.7254 | -93.7254 | -93.7254 | 0.16456 | 1.525 | 1.6455 | 0.16494 | 1.5252 | 1.645 | -15.9474 | -146.019 | 140.2192 | -16.142 | -145.9947 | 140.2318

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0582 | 0.011755 | 0.011755 | 1.0557 | 0.008121 | 0.008121 | 12.2193 | 0.13574 | 0.13574 | 12.1904 | 0.093773 | 0.093773 | 3.5384 | 0.13294 | -0.12514 | -1.7527 | -0.088923 | 0.089203 | 1.9691 | -0.15148 | -0.16808 | -0.98516 | 0.11202 | 0.12584 | -45.6237 | -93.68 | -93.68 | 134.5192 | 85.5621 | 85.5621 | 0.33139 | 1.4848 | 1.5438 | 0.16494 | 1.5252 | 1.645 | -16.5284 | -142.409 | 139.6506 | -16.142 | -145.9947 | 140.2318
Line_1 | 1.0504 | 0 | 0 | 1.0531 | 0.0042019 | 0.0042019 | 12.129 | 0 | 0 | 12.1603 | 0.048519 | 0.048519 | 1.5797e-11 | -3.5301e-09 | -4.5765e-09 | 1.7511 | 0.046679 | -0.045396 | -1.8403e-11 | -3.1014e-09 | 2.4972e-09 | 0.97786 | -0.057422 | -0.065644 | 134.8533 | 0 | 0 | -45.3217 | -95.1025 | -95.1025 | 0 | 1.5719 | 1.744 | 0.16494 | 1.5252 | 1.645 | 0 | -149.2866 | 140.7936 | -16.142 | -145.9947 | 140.2318
Line_2 | 0 | 0 | 0 | 0.0039197 | 0.0039197 | 0.0039197 | 0 | 0 | 0 | 0.045261 | 0.045261 | 0.045261 | 5.3889e-10 | -3e-09 | -3.7005e-09 | 0.0016052 | 0.042244 | -0.043807 | -1.8236e-10 | -2.6982e-09 | 2.2938e-09 | 0.0072905 | -0.054597 | -0.0602 | 0 | 0 | 0 | -93.7254 | -93.7254 | -93.7254 | 0.16456 | 1.525 | 1.6455 | 0.16494 | 1.5252 | 1.645 | -15.9474 | -146.019 | 140.2192 | -16.142 | -145.9947 | 140.2318

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.66775 | 0.0074178 | 0.0074178 | 0.66617 | 0.0051244 | 0.0051244 | 7.7105 | 0.085653 | 0.085653 | 7.6923 | 0.059172 | 0.059172 | 3.6034 | 0.084057 | -0.078808 | -2.8927 | -0.057047 | 0.055361 | 3.0154 | -0.07581 | -0.08613 | -2.6128 | 0.055022 | 0.063639 | -45.5695 | -93.6258 | -93.6258 | 134.5733 | 85.6163 | 85.6163 | 0.60937 | 1.3215 | 1.363 | 0.50675 | 1.3394 | 1.4255 | -5.6465 | -135.6729 | 133.9159 | -3.3369 | -138.3487 | 134.5956
Line_1 | 0.66281 | 0 | 0 | 0.66452 | 0.0026514 | 0.0026514 | 7.6535 | 0 | 0 | 7.6733 | 0.030616 | 0.030616 | -2.1966 | -1.6619e-09 | -2.3189e-09 | 2.8928 | 0.029845 | -0.02826 | -2.1966 | -1.9563e-09 | 1.577e-09 | 2.5984 | -0.028124 | -0.033257 | 134.9074 | 0 | 0 | -45.2676 | -95.0484 | -95.0484 | 0.40589 | 1.3608 | 1.4867 | 0.50675 | 1.3394 | 1.4255 | -0.092586 | -140.8813 | 135.2481 | -3.3369 | -138.3487 | 134.5956
Line_2 | 0 | 0 | 0 | 0.0024734 | 0.0024734 | 0.0024734 | 0 | 0 | 0 | 0.02856 | 0.02856 | 0.02856 | 1.0989e-09 | -1.4501e-09 | -1.8891e-09 | -8.444e-05 | 0.027202 | -0.027101 | -1.1733e-10 | -1.7019e-09 | 1.4485e-09 | 0.014473 | -0.026897 | -0.030382 | 0 | 0 | 0 | -93.6712 | -93.6712 | -93.6712 | 0.50659 | 1.3393 | 1.4259 | 0.50675 | 1.3394 | 1.4255 | -3.2921 | -138.3654 | 134.588 | -3.3369 | -138.3487 | 134.5956

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.66775 | 0.0074178 | 0.0074178 | 0.66617 | 0.0051244 | 0.0051244 | 7.7105 | 0.085653 | 0.085653 | 7.6923 | 0.059172 | 0.059172 | 3.6034 | 0.084057 | -0.078808 | -2.8927 | -0.057047 | 0.055361 | 3.0154 | -0.07581 | -0.08613 | -2.6128 | 0.055022 | 0.063639 | -45.5695 | -93.6258 | -93.6258 | 134.5733 | 85.6163 | 85.6163 | 0.60937 | 1.3215 | 1.363 | 0.50675 | 1.3394 | 1.4255 | -5.6465 | -135.6729 | 133.9159 | -3.3369 | -138.3487 | 134.5956
Line_1 | 0.66281 | 0 | 0 | 0.66452 | 0.0026514 | 0.0026514 | 7.6535 | 0 | 0 | 7.6733 | 0.030616 | 0.030616 | -2.1966 | -1.6619e-09 | -2.3189e-09 | 2.8928 | 0.029845 | -0.02826 | -2.1966 | -1.9563e-09 | 1.577e-09 | 2.5984 | -0.028124 | -0.033257 | 134.9074 | 0 | 0 | -45.2676 | -95.0484 | -95.0484 | 0.40589 | 1.3608 | 1.4867 | 0.50675 | 1.3394 | 1.4255 | -0.092586 | -140.8813 | 135.2481 | -3.3369 | -138.3487 | 134.5956
Line_2 | 0 | 0 | 0 | 0.0024734 | 0.0024734 | 0.0024734 | 0 | 0 | 0 | 0.02856 | 0.02856 | 0.02856 | 1.0989e-09 | -1.4501e-09 | -1.8891e-09 | -8.444e-05 | 0.027202 | -0.027101 | -1.1733e-10 | -1.7019e-09 | 1.4485e-09 | 0.014473 | -0.026897 | -0.030382 | 0 | 0 | 0 | -93.6712 | -93.6712 | -93.6712 | 0.50659 | 1.3393 | 1.4259 | 0.50675 | 1.3394 | 1.4255 | -3.2921 | -138.3654 | 134.588 | -3.3369 | -138.3487 | 134.5956

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.81043 | 0.009931 | 0.009931 | 0.80851 | 0.0070026 | 0.0070026 | 9.358 | 0.11467 | 0.11467 | 9.3359 | 0.080859 | 0.080859 | 3.9858 | 0.10318 | -0.095442 | -1.9752 | -0.069165 | 0.070827 | 1.1477 | -0.11208 | -0.11261 | -0.57984 | 0.087468 | 0.091573 | -37.3707 | -90.1549 | -90.1549 | 142.7867 | 88.3204 | 88.3204 | 0.44323 | 1.3284 | 1.2873 | 0.22049 | 1.3791 | 1.4317 | -21.3068 | -137.522 | 139.5629 | -20.8529 | -143.3443 | 140.6003
Line_1 | 0.80446 | 0 | 0 | 0.80652 | 0.0036932 | 0.0036932 | 9.2891 | 0 | 0 | 9.3129 | 0.042646 | 0.042646 | -5.7197e-12 | -2.9965e-09 | -3.7106e-09 | 1.9722 | 0.037507 | -0.036259 | -6.4628e-13 | -2.5307e-09 | 2.1185e-09 | 0.57195 | -0.045299 | -0.049124 | 143.1926 | 0 | 0 | -37.0254 | -92.9686 | -92.9686 | 0 | 1.4443 | 1.5733 | 0.22049 | 1.3791 | 1.4317 | 0 | -148.5485 | 141.5445 | -20.8529 | -143.3443 | 140.6003
Line_2 | 0 | 0 | 0 | 0.0033114 | 0.0033114 | 0.0033114 | 0 | 0 | 0 | 0.038236 | 0.038236 | 0.038236 | 5.774e-10 | -2.329e-09 | -2.6069e-09 | 0.0029678 | 0.031659 | -0.034568 | -2.8406e-10 | -2.0062e-09 | 1.8458e-09 | 0.0078913 | -0.042169 | -0.042449 | 0 | 0 | 0 | -90.242 | -90.242 | -90.242 | 0.21994 | 1.3786 | 1.4325 | 0.22049 | 1.3791 | 1.4317 | -20.6241 | -143.3834 | 140.574 | -20.8529 | -143.3443 | 140.6003

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.81043 | 0.009931 | 0.009931 | 0.80851 | 0.0070026 | 0.0070026 | 9.358 | 0.11467 | 0.11467 | 9.3359 | 0.080859 | 0.080859 | 3.9858 | 0.10318 | -0.095442 | -1.9752 | -0.069165 | 0.070827 | 1.1477 | -0.11208 | -0.11261 | -0.57984 | 0.087468 | 0.091573 | -37.3707 | -90.1549 | -90.1549 | 142.7867 | 88.3204 | 88.3204 | 0.44323 | 1.3284 | 1.2873 | 0.22049 | 1.3791 | 1.4317 | -21.3068 | -137.522 | 139.5629 | -20.8529 | -143.3443 | 140.6003
Line_1 | 0.80446 | 0 | 0 | 0.80652 | 0.0036932 | 0.0036932 | 9.2891 | 0 | 0 | 9.3129 | 0.042646 | 0.042646 | -5.7197e-12 | -2.9965e-09 | -3.7106e-09 | 1.9722 | 0.037507 | -0.036259 | -6.4628e-13 | -2.5307e-09 | 2.1185e-09 | 0.57195 | -0.045299 | -0.049124 | 143.1926 | 0 | 0 | -37.0254 | -92.9686 | -92.9686 | 0 | 1.4443 | 1.5733 | 0.22049 | 1.3791 | 1.4317 | 0 | -148.5485 | 141.5445 | -20.8529 | -143.3443 | 140.6003
Line_2 | 0 | 0 | 0 | 0.0033114 | 0.0033114 | 0.0033114 | 0 | 0 | 0 | 0.038236 | 0.038236 | 0.038236 | 5.774e-10 | -2.329e-09 | -2.6069e-09 | 0.0029678 | 0.031659 | -0.034568 | -2.8406e-10 | -2.0062e-09 | 1.8458e-09 | 0.0078913 | -0.042169 | -0.042449 | 0 | 0 | 0 | -90.242 | -90.242 | -90.242 | 0.21994 | 1.3786 | 1.4325 | 0.22049 | 1.3791 | 1.4317 | -20.6241 | -143.3834 | 140.574 | -20.8529 | -143.3443 | 140.6003

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.54418 | 0.0066684 | 0.0066684 | 0.54289 | 0.0047021 | 0.0047021 | 6.2837 | 0.077 | 0.077 | 6.2688 | 0.054295 | 0.054295 | 3.2523 | 0.070194 | -0.063009 | -2.3464 | -0.048049 | 0.045718 | 2.0016 | -0.059931 | -0.066577 | -1.7381 | 0.045618 | 0.052802 | -40.0725 | -92.8567 | -92.8567 | 140.0849 | 85.6186 | 85.6186 | 0.60776 | 1.1987 | 1.1905 | 0.4658 | 1.2203 | 1.2864 | -8.4626 | -133.3469 | 133.7208 | -3.3865 | -137.8948 | 134.7312
Line_1 | 0.54018 | 0 | 0 | 0.54156 | 0.0024799 | 0.0024799 | 6.2374 | 0 | 0 | 6.2534 | 0.028636 | 0.028636 | -1.4589 | -1.4875e-09 | -2.1137e-09 | 2.3463 | 0.025876 | -0.02348 | -1.4589 | -1.7286e-09 | 1.3672e-09 | 1.7261 | -0.023483 | -0.028384 | 140.4908 | 0 | 0 | -39.7271 | -95.6703 | -95.6703 | 0.33079 | 1.2506 | 1.3804 | 0.4658 | 1.2203 | 1.2864 | 5.4908 | -142.1464 | 135.6705 | -3.3865 | -137.8948 | 134.7312
Line_2 | 0 | 0 | 0 | 0.0022235 | 0.0022235 | 0.0022235 | 0 | 0 | 0 | 0.025675 | 0.025675 | 0.025675 | 9.095e-10 | -1.2006e-09 | -1.5088e-09 | 9.2398e-05 | 0.022173 | -0.022239 | -9.8359e-11 | -1.3764e-09 | 1.1985e-09 | 0.011959 | -0.022135 | -0.024419 | 0 | 0 | 0 | -92.9438 | -92.9438 | -92.9438 | 0.46566 | 1.2199 | 1.287 | 0.4658 | 1.2203 | 1.2864 | -3.3025 | -137.9222 | 134.7129 | -3.3865 | -137.8948 | 134.7312

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.54418 | 0.0066684 | 0.0066684 | 0.54289 | 0.0047021 | 0.0047021 | 6.2837 | 0.077 | 0.077 | 6.2688 | 0.054295 | 0.054295 | 3.2523 | 0.070194 | -0.063009 | -2.3464 | -0.048049 | 0.045718 | 2.0016 | -0.059931 | -0.066577 | -1.7381 | 0.045618 | 0.052802 | -40.0725 | -92.8567 | -92.8567 | 140.0849 | 85.6186 | 85.6186 | 0.60776 | 1.1987 | 1.1905 | 0.4658 | 1.2203 | 1.2864 | -8.4626 | -133.3469 | 133.7208 | -3.3865 | -137.8948 | 134.7312
Line_1 | 0.54018 | 0 | 0 | 0.54156 | 0.0024799 | 0.0024799 | 6.2374 | 0 | 0 | 6.2534 | 0.028636 | 0.028636 | -1.4589 | -1.4875e-09 | -2.1137e-09 | 2.3463 | 0.025876 | -0.02348 | -1.4589 | -1.7286e-09 | 1.3672e-09 | 1.7261 | -0.023483 | -0.028384 | 140.4908 | 0 | 0 | -39.7271 | -95.6703 | -95.6703 | 0.33079 | 1.2506 | 1.3804 | 0.4658 | 1.2203 | 1.2864 | 5.4908 | -142.1464 | 135.6705 | -3.3865 | -137.8948 | 134.7312
Line_2 | 0 | 0 | 0 | 0.0022235 | 0.0022235 | 0.0022235 | 0 | 0 | 0 | 0.025675 | 0.025675 | 0.025675 | 9.095e-10 | -1.2006e-09 | -1.5088e-09 | 9.2398e-05 | 0.022173 | -0.022239 | -9.8359e-11 | -1.3764e-09 | 1.1985e-09 | 0.011959 | -0.022135 | -0.024419 | 0 | 0 | 0 | -92.9438 | -92.9438 | -92.9438 | 0.46566 | 1.2199 | 1.287 | 0.4658 | 1.2203 | 1.2864 | -3.3025 | -137.9222 | 134.7129 | -3.3865 | -137.8948 | 134.7312

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0067798 | 3.1611 | 2.8531 | 0.0046836 | 3.1615 | 2.8523 | 0.078286 | 36.5018 | 32.9445 | 0.054082 | 36.5064 | 32.9358 | -0.0015362 | 13.6754 | 5.9765 | 0.0014432 | -6.8371 | -2.9827 | -0.11447 | 9.1096 | 12.5108 | 0.081946 | -4.579 | -6.2302 | 90.8247 | -166.6099 | 23.5555 | -89.9332 | 13.4274 | -156.4839 | 1.4623 | 0.45016 | 0.42086 | 1.5155 | 0.22541 | 0.20972 | 0.055837 | -132.9413 | 88.0215 | -0.94221 | -132.7613 | 87.9334
Line_1 | 0 | 3.1626 | 2.8505 | 0.0024234 | 3.162 | 2.8515 | 0 | 36.5189 | 32.9143 | 0.027982 | 36.5121 | 32.9257 | -2.6965e-09 | 6.6999e-11 | 7.7947e-11 | -0.00025485 | 6.8413 | 2.9772 | -2.0098e-10 | -5.8508e-11 | 1.1551e-11 | -0.042405 | 4.5749 | 6.2304 | 0 | 13.51 | -156.5702 | 89.4021 | -166.5326 | 23.4742 | 1.5683 | 0 | 0 | 1.5155 | 0.22541 | 0.20972 | -1.8206 | 0 | 0 | -0.94221 | -132.7613 | 87.9334
Line_2 | 0 | 0 | 0 | 0.0022606 | 0.0022606 | 0.0022606 | 0 | 0 | 0 | 0.026104 | 0.026104 | 0.026104 | -2.3105e-09 | 7.0107e-10 | 5.5454e-10 | -0.0011884 | -0.0042652 | 0.0054677 | -1.0195e-10 | -1.9957e-10 | -4.4887e-10 | -0.039541 | 0.0040532 | -0.0002718 | 0 | 0 | 0 | 90.7793 | 90.7793 | 90.7793 | 1.5156 | 0.22557 | 0.20937 | 1.5155 | 0.22541 | 0.20972 | -0.95572 | -132.6715 | 87.8892 | -0.94221 | -132.7613 | 87.9334

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0067798 | 3.1611 | 2.8531 | 0.0046836 | 3.1615 | 2.8523 | 0.078286 | 36.5018 | 32.9445 | 0.054082 | 36.5064 | 32.9358 | -0.0015362 | 13.6754 | 5.9765 | 0.0014432 | -6.8371 | -2.9827 | -0.11447 | 9.1096 | 12.5108 | 0.081946 | -4.579 | -6.2302 | 90.8247 | -166.6099 | 23.5555 | -89.9332 | 13.4274 | -156.4839 | 1.4623 | 0.45016 | 0.42086 | 1.5155 | 0.22541 | 0.20972 | 0.055837 | -132.9413 | 88.0215 | -0.94221 | -132.7613 | 87.9334
Line_1 | 0 | 3.1626 | 2.8505 | 0.0024234 | 3.162 | 2.8515 | 0 | 36.5189 | 32.9143 | 0.027982 | 36.5121 | 32.9257 | -2.6965e-09 | 6.6999e-11 | 7.7947e-11 | -0.00025485 | 6.8413 | 2.9772 | -2.0098e-10 | -5.8508e-11 | 1.1551e-11 | -0.042405 | 4.5749 | 6.2304 | 0 | 13.51 | -156.5702 | 89.4021 | -166.5326 | 23.4742 | 1.5683 | 0 | 0 | 1.5155 | 0.22541 | 0.20972 | -1.8206 | 0 | 0 | -0.94221 | -132.7613 | 87.9334
Line_2 | 0 | 0 | 0 | 0.0022606 | 0.0022606 | 0.0022606 | 0 | 0 | 0 | 0.026104 | 0.026104 | 0.026104 | -2.3105e-09 | 7.0107e-10 | 5.5454e-10 | -0.0011884 | -0.0042652 | 0.0054677 | -1.0195e-10 | -1.9957e-10 | -4.4887e-10 | -0.039541 | 0.0040532 | -0.0002718 | 0 | 0 | 0 | 90.7793 | 90.7793 | 90.7793 | 1.5156 | 0.22557 | 0.20937 | 1.5155 | 0.22541 | 0.20972 | -0.95572 | -132.6715 | 87.8892 | -0.94221 | -132.7613 | 87.9334

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0050727 | 1.118 | 1.0291 | 0.0035044 | 1.1186 | 1.0279 | 0.058574 | 12.9092 | 11.8828 | 0.040465 | 12.9163 | 11.8695 | 0.00014199 | 8.2375 | 6.1359 | -3.2459e-05 | -7.2492 | -5.6981 | -0.08031 | 6.8871 | 7.5076 | 0.057075 | -6.5887 | -6.3755 | 89.726 | -155.7222 | 48.5709 | -91.0319 | 24.3519 | -131.4885 | 1.3711 | 0.83175 | 0.81597 | 1.4105 | 0.75843 | 0.7204 | -0.17268 | -115.8244 | 99.3122 | -0.9993 | -113.3809 | 96.7231
Line_1 | 0 | 1.1201 | 1.0253 | 0.0018132 | 1.1193 | 1.0267 | 0 | 12.9336 | 11.8388 | 0.020937 | 12.9244 | 11.8548 | -1.8616e-09 | -6.273 | -5.2559 | 0.00035936 | 7.2629 | 5.6841 | -1.774e-10 | -6.273 | -5.2559 | -0.029529 | 6.5829 | 6.3738 | 0 | 24.5138 | -131.6156 | 88.3035 | -155.5694 | 48.4493 | 1.4497 | 0.68591 | 0.62785 | 1.4105 | 0.75843 | 0.7204 | -1.7385 | -110.4862 | 93.3844 | -0.9993 | -113.3809 | 96.7231
Line_2 | 0 | 0 | 0 | 0.0016914 | 0.0016914 | 0.0016914 | 0 | 0 | 0 | 0.019531 | 0.019531 | 0.019531 | -1.6074e-09 | 9.2907e-10 | 7.6653e-10 | -0.00032691 | -0.013629 | 0.013964 | -1.0032e-10 | 3.5352e-10 | -1.148e-09 | -0.027546 | 0.0058025 | 0.0017251 | 0 | 0 | 0 | 89.6806 | 89.6806 | 89.6806 | 1.4106 | 0.75863 | 0.72011 | 1.4105 | 0.75843 | 0.7204 | -1.0102 | -113.3654 | 96.7173 | -0.9993 | -113.3809 | 96.7231

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0050727 | 1.118 | 1.0291 | 0.0035044 | 1.1186 | 1.0279 | 0.058574 | 12.9092 | 11.8828 | 0.040465 | 12.9163 | 11.8695 | 0.00014199 | 8.2375 | 6.1359 | -3.2459e-05 | -7.2492 | -5.6981 | -0.08031 | 6.8871 | 7.5076 | 0.057075 | -6.5887 | -6.3755 | 89.726 | -155.7222 | 48.5709 | -91.0319 | 24.3519 | -131.4885 | 1.3711 | 0.83175 | 0.81597 | 1.4105 | 0.75843 | 0.7204 | -0.17268 | -115.8244 | 99.3122 | -0.9993 | -113.3809 | 96.7231
Line_1 | 0 | 1.1201 | 1.0253 | 0.0018132 | 1.1193 | 1.0267 | 0 | 12.9336 | 11.8388 | 0.020937 | 12.9244 | 11.8548 | -1.8616e-09 | -6.273 | -5.2559 | 0.00035936 | 7.2629 | 5.6841 | -1.774e-10 | -6.273 | -5.2559 | -0.029529 | 6.5829 | 6.3738 | 0 | 24.5138 | -131.6156 | 88.3035 | -155.5694 | 48.4493 | 1.4497 | 0.68591 | 0.62785 | 1.4105 | 0.75843 | 0.7204 | -1.7385 | -110.4862 | 93.3844 | -0.9993 | -113.3809 | 96.7231
Line_2 | 0 | 0 | 0 | 0.0016914 | 0.0016914 | 0.0016914 | 0 | 0 | 0 | 0.019531 | 0.019531 | 0.019531 | -1.6074e-09 | 9.2907e-10 | 7.6653e-10 | -0.00032691 | -0.013629 | 0.013964 | -1.0032e-10 | 3.5352e-10 | -1.148e-09 | -0.027546 | 0.0058025 | 0.0017251 | 0 | 0 | 0 | 89.6806 | 89.6806 | 89.6806 | 1.4106 | 0.75863 | 0.72011 | 1.4105 | 0.75843 | 0.7204 | -1.0102 | -113.3654 | 96.7173 | -0.9993 | -113.3809 | 96.7231

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0057215 | 2.5074 | 2.3067 | 0.0040344 | 2.5079 | 2.3059 | 0.066067 | 28.9531 | 26.6356 | 0.046586 | 28.9593 | 26.6262 | -0.0028695 | 15.5644 | 8.5076 | 0.0023232 | -7.7913 | -4.2379 | -0.084198 | 3.6633 | 10.1674 | 0.062856 | -1.8612 | -5.0548 | 93.5596 | -154.4366 | 35.712 | -87.9652 | 25.6001 | -144.325 | 1.2752 | 0.55226 | 0.49773 | 1.3502 | 0.27661 | 0.24774 | 1.6076 | -141.1921 | 85.7911 | -0.081883 | -140.965 | 85.6991
Line_1 | 0 | 2.5096 | 2.3037 | 0.0021278 | 2.5087 | 2.3049 | 0 | 28.9779 | 26.6005 | 0.02457 | 28.9676 | 26.6145 | -2.2262e-09 | -1.4132e-10 | -1.4384e-11 | -0.00047925 | 7.7948 | 4.2325 | -1.3688e-10 | -9.9394e-11 | -1.5857e-10 | -0.03317 | 1.8562 | 5.0555 | 0 | 25.6845 | -144.4085 | 90.7459 | -154.3596 | 35.6349 | 1.4256 | 0 | 0 | 1.3502 | 0.27661 | 0.24774 | -1.5003 | 0 | 0 | -0.081883 | -140.965 | 85.6991
Line_2 | 0 | 0 | 0 | 0.0019078 | 0.0019078 | 0.0019078 | 0 | 0 | 0 | 0.022029 | 0.022029 | 0.022029 | -1.7347e-09 | 6.676e-10 | 5.2425e-10 | -0.0018439 | -0.0035439 | 0.0054073 | -9.2074e-12 | -3.6133e-10 | -5.1133e-10 | -0.029686 | 0.004957 | -0.00073813 | 0 | 0 | 0 | 93.4724 | 93.4724 | 93.4724 | 1.3503 | 0.27685 | 0.24717 | 1.3502 | 0.27661 | 0.24774 | -0.10639 | -140.8517 | 85.6529 | -0.081883 | -140.965 | 85.6991

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0057215 | 2.5074 | 2.3067 | 0.0040344 | 2.5079 | 2.3059 | 0.066067 | 28.9531 | 26.6356 | 0.046586 | 28.9593 | 26.6262 | -0.0028695 | 15.5644 | 8.5076 | 0.0023232 | -7.7913 | -4.2379 | -0.084198 | 3.6633 | 10.1674 | 0.062856 | -1.8612 | -5.0548 | 93.5596 | -154.4366 | 35.712 | -87.9652 | 25.6001 | -144.325 | 1.2752 | 0.55226 | 0.49773 | 1.3502 | 0.27661 | 0.24774 | 1.6076 | -141.1921 | 85.7911 | -0.081883 | -140.965 | 85.6991
Line_1 | 0 | 2.5096 | 2.3037 | 0.0021278 | 2.5087 | 2.3049 | 0 | 28.9779 | 26.6005 | 0.02457 | 28.9676 | 26.6145 | -2.2262e-09 | -1.4132e-10 | -1.4384e-11 | -0.00047925 | 7.7948 | 4.2325 | -1.3688e-10 | -9.9394e-11 | -1.5857e-10 | -0.03317 | 1.8562 | 5.0555 | 0 | 25.6845 | -144.4085 | 90.7459 | -154.3596 | 35.6349 | 1.4256 | 0 | 0 | 1.3502 | 0.27661 | 0.24774 | -1.5003 | 0 | 0 | -0.081883 | -140.965 | 85.6991
Line_2 | 0 | 0 | 0 | 0.0019078 | 0.0019078 | 0.0019078 | 0 | 0 | 0 | 0.022029 | 0.022029 | 0.022029 | -1.7347e-09 | 6.676e-10 | 5.2425e-10 | -0.0018439 | -0.0035439 | 0.0054073 | -9.2074e-12 | -3.6133e-10 | -5.1133e-10 | -0.029686 | 0.004957 | -0.00073813 | 0 | 0 | 0 | 93.4724 | 93.4724 | 93.4724 | 1.3503 | 0.27685 | 0.24717 | 1.3502 | 0.27661 | 0.24774 | -0.10639 | -140.8517 | 85.6529 | -0.081883 | -140.965 | 85.6991

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0044733 | 0.95627 | 0.87169 | 0.0031542 | 0.95681 | 0.87073 | 0.051653 | 11.042 | 10.0655 | 0.036422 | 11.0483 | 10.0543 | -9.0059e-05 | 7.1672 | 5.0818 | 3.4401e-05 | -5.8773 | -4.4234 | -0.062806 | 4.4742 | 5.9559 | 0.046384 | -4.5428 | -4.8557 | 90.9355 | -151.1714 | 51.4358 | -90.5893 | 28.9008 | -128.6237 | 1.2159 | 0.76518 | 0.77783 | 1.2735 | 0.67234 | 0.65329 | 0.85333 | -119.1964 | 100.9634 | -0.63176 | -113.3971 | 99.0441
Line_1 | 0 | 0.95837 | 0.86825 | 0.0016636 | 0.95751 | 0.86958 | 0 | 11.0663 | 10.0257 | 0.019209 | 11.0564 | 10.041 | -1.6205e-09 | -4.5924 | -3.7693 | 0.00053214 | 5.8878 | 4.4122 | -1.6269e-10 | -4.5924 | -3.7693 | -0.024457 | 4.538 | 4.8541 | 0 | 29.0649 | -128.7519 | 88.1218 | -151.0204 | 51.3138 | 1.3314 | 0.58688 | 0.53169 | 1.2735 | 0.67234 | 0.65329 | -1.9096 | -105.9351 | 96.2481 | -0.63176 | -113.3971 | 99.0441
Line_2 | 0 | 0 | 0 | 0.0014916 | 0.0014916 | 0.0014916 | 0 | 0 | 0 | 0.017223 | 0.017223 | 0.017223 | -1.2781e-09 | 7.908e-10 | 6.7266e-10 | -0.00056654 | -0.010558 | 0.011137 | -5.3163e-11 | 2.8463e-10 | -8.562e-10 | -0.021926 | 0.0047552 | 0.001604 | 0 | 0 | 0 | 90.8483 | 90.8483 | 90.8483 | 1.2736 | 0.67272 | 0.65283 | 1.2735 | 0.67234 | 0.65329 | -0.65226 | -113.3737 | 99.0416 | -0.63176 | -113.3971 | 99.0441

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0044733 | 0.95627 | 0.87169 | 0.0031542 | 0.95681 | 0.87073 | 0.051653 | 11.042 | 10.0655 | 0.036422 | 11.0483 | 10.0543 | -9.0059e-05 | 7.1672 | 5.0818 | 3.4401e-05 | -5.8773 | -4.4234 | -0.062806 | 4.4742 | 5.9559 | 0.046384 | -4.5428 | -4.8557 | 90.9355 | -151.1714 | 51.4358 | -90.5893 | 28.9008 | -128.6237 | 1.2159 | 0.76518 | 0.77783 | 1.2735 | 0.67234 | 0.65329 | 0.85333 | -119.1964 | 100.9634 | -0.63176 | -113.3971 | 99.0441
Line_1 | 0 | 0.95837 | 0.86825 | 0.0016636 | 0.95751 | 0.86958 | 0 | 11.0663 | 10.0257 | 0.019209 | 11.0564 | 10.041 | -1.6205e-09 | -4.5924 | -3.7693 | 0.00053214 | 5.8878 | 4.4122 | -1.6269e-10 | -4.5924 | -3.7693 | -0.024457 | 4.538 | 4.8541 | 0 | 29.0649 | -128.7519 | 88.1218 | -151.0204 | 51.3138 | 1.3314 | 0.58688 | 0.53169 | 1.2735 | 0.67234 | 0.65329 | -1.9096 | -105.9351 | 96.2481 | -0.63176 | -113.3971 | 99.0441
Line_2 | 0 | 0 | 0 | 0.0014916 | 0.0014916 | 0.0014916 | 0 | 0 | 0 | 0.017223 | 0.017223 | 0.017223 | -1.2781e-09 | 7.908e-10 | 6.7266e-10 | -0.00056654 | -0.010558 | 0.011137 | -5.3163e-11 | 2.8463e-10 | -8.562e-10 | -0.021926 | 0.0047552 | 0.001604 | 0 | 0 | 0 | 90.8483 | 90.8483 | 90.8483 | 1.2736 | 0.67272 | 0.65283 | 1.2735 | 0.67234 | 0.65329 | -0.65226 | -113.3737 | 99.0416 | -0.63176 | -113.3971 | 99.0441