## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4587 | 3.4587 | 0 | 0 | 119.8128 | 119.8128 | 37.3233 | -18.6616 | 42.3476 | -21.1738 | -71.7883 | 108.2117 | 0.47113 | 0.23557 | -23.1798 | -23.1798
Line_1 | 3.4587 | 3.4587 | 6.7756 | 0 | 119.8128 | 119.8128 | -1e-07 | 18.6616 | -1e-07 | 21.1738 | 108.2117 | -71.7883 | 0 | 0.23557 | 0 | -23.1798
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23557 | 0.23557 | -23.1798 | -23.1798

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4587 | 3.4587 | 0 | 0 | 119.8128 | 119.8128 | 37.3233 | -18.6616 | 42.3476 | -21.1738 | -71.7883 | 108.2117 | 0.47113 | 0.23557 | -23.1798 | -23.1798
Line_1 | 3.4587 | 3.4587 | 6.7756 | 0 | 119.8128 | 119.8128 | -1e-07 | 18.6616 | -1e-07 | 21.1738 | 108.2117 | -71.7883 | 0 | 0.23557 | 0 | -23.1798
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23557 | 0.23557 | -23.1798 | -23.1798

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2119 | 1.2119 | 0 | 0 | 41.9813 | 41.9813 | 26.6127 | -24.3216 | 27.2296 | -24.63 | -54.0862 | 125.9138 | 0.90694 | 0.82453 | -8.4298 | -8.7252
Line_1 | 1.2119 | 1.2119 | 2.3741 | 0 | 41.9813 | 41.9813 | -22.0304 | 24.3216 | -22.0304 | 24.63 | 125.9138 | -54.0862 | 0.74213 | 0.82453 | -9.0862 | -8.7252
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.82453 | 0.82453 | -8.7252 | -8.7252

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2119 | 1.2119 | 0 | 0 | 41.9813 | 41.9813 | 26.6127 | -24.3216 | 27.2296 | -24.63 | -54.0862 | 125.9138 | 0.90694 | 0.82453 | -8.4298 | -8.7252
Line_1 | 1.2119 | 1.2119 | 2.3741 | 0 | 41.9813 | 41.9813 | -22.0304 | 24.3216 | -22.0304 | 24.63 | 125.9138 | -54.0862 | 0.74213 | 0.82453 | -9.0862 | -8.7252
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.82453 | 0.82453 | -8.7252 | -8.7252

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | -59.5744 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 120.4256 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | -59.5744 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 120.4256 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0349 | 1.0349 | 0 | 0 | 35.8516 | 35.8516 | 22.4832 | -19.2749 | 19.8585 | -17.9626 | -50.3977 | 129.6023 | 0.83671 | 0.7349 | -8.9447 | -7.416
Line_1 | 1.0349 | 1.0349 | 1.7392 | 0 | 35.8516 | 35.8516 | -16.0667 | 19.2749 | -16.0667 | 17.9626 | 129.6023 | -50.3977 | 0.63377 | 0.7349 | -5.3977 | -7.416
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7349 | 0.7349 | -7.416 | -7.416

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0349 | 1.0349 | 0 | 0 | 35.8516 | 35.8516 | 22.4832 | -19.2749 | 19.8585 | -17.9626 | -50.3977 | 129.6023 | 0.83671 | 0.7349 | -8.9447 | -7.416
Line_1 | 1.0349 | 1.0349 | 1.7392 | 0 | 35.8516 | 35.8516 | -16.0667 | 19.2749 | -16.0667 | 17.9626 | 129.6023 | -50.3977 | 0.63377 | 0.7349 | -5.3977 | -7.416
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7349 | 0.7349 | -7.416 | -7.416

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -3.2816e-14 | 1.7897e-14 | 5.2106e-15 | 4.0632e-14 | -1.2686e-14 | 1.0421e-14 | -1.9212e-09 | 1.9211e-09 | 5.2107e-15 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55001 | 0.54999 | 1.1 | 0.55001 | 0.54999 | 5.9637e-05 | 179.9999 | -179.9998 | 5.9637e-05 | 179.9999 | -179.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2107e-15 | 4.6341e-14 | -1.5835e-15 | -1.6271e-20 | -3.8525e-14 | 6.7945e-15 | -5.2106e-15 | 5.7635e-09 | -5.7633e-09 | 1.5632e-14 | -5.7635e-09 | 5.7633e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55001 | 0.54999 | 1.1 | 0.55001 | 0.54999 | 5.9637e-05 | 179.9999 | -179.9998 | 5.9637e-05 | 179.9999 | -179.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | -2.2394e-14 | 2.8318e-14 | -5.2107e-15 | 4.0632e-14 | -3.3528e-14 | 5.4235e-21 | -1.9211e-09 | 1.9211e-09 | 1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55001 | 0.54999 | 1.1 | 0.55001 | 0.54999 | 5.9637e-05 | 179.9999 | -179.9998 | 5.9637e-05 | 179.9999 | -179.9998

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -3.2816e-14 | 1.7897e-14 | 5.2106e-15 | 4.0632e-14 | -1.2686e-14 | 1.0421e-14 | -1.9212e-09 | 1.9211e-09 | 5.2107e-15 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55001 | 0.54999 | 1.1 | 0.55001 | 0.54999 | 5.9637e-05 | 179.9999 | -179.9998 | 5.9637e-05 | 179.9999 | -179.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2107e-15 | 4.6341e-14 | -1.5835e-15 | -1.6271e-20 | -3.8525e-14 | 6.7945e-15 | -5.2106e-15 | 5.7635e-09 | -5.7633e-09 | 1.5632e-14 | -5.7635e-09 | 5.7633e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55001 | 0.54999 | 1.1 | 0.55001 | 0.54999 | 5.9637e-05 | 179.9999 | -179.9998 | 5.9637e-05 | 179.9999 | -179.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | -2.2394e-14 | 2.8318e-14 | -5.2107e-15 | 4.0632e-14 | -3.3528e-14 | 5.4235e-21 | -1.9211e-09 | 1.9211e-09 | 1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55001 | 0.54999 | 1.1 | 0.55001 | 0.54999 | 5.9637e-05 | 179.9999 | -179.9998 | 5.9637e-05 | 179.9999 | -179.9998

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -1.9788e-14 | 2.2658e-15 | -1.0847e-20 | 2.7604e-14 | -7.4763e-15 | 5.2106e-15 | -1.9212e-09 | 1.9211e-09 | 1.0421e-14 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55001 | 0.54999 | 1.1 | 0.55001 | 0.54999 | 5.9637e-05 | 179.9999 | -179.9998 | 5.9637e-05 | 179.9999 | -179.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 5.9365e-14 | -1.7218e-14 | -5.2107e-15 | -5.1549e-14 | 1.5867e-15 | -1.0421e-14 | 5.7635e-09 | -5.7633e-09 | 2.0843e-14 | -5.7635e-09 | 5.7633e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55001 | 0.54999 | 1.1 | 0.55001 | 0.54999 | 5.9637e-05 | 179.9999 | -179.9998 | 5.9637e-05 | 179.9999 | -179.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.4235e-21 | -3.021e-14 | 1.2687e-14 | -5.2107e-15 | 2.7604e-14 | -2.8319e-14 | -5.2106e-15 | -1.9212e-09 | 1.9211e-09 | 1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55001 | 0.54999 | 1.1 | 0.55001 | 0.54999 | 5.9637e-05 | 179.9999 | -179.9998 | 5.9637e-05 | 179.9999 | -179.9998

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -1.9788e-14 | 2.2658e-15 | -1.0847e-20 | 2.7604e-14 | -7.4763e-15 | 5.2106e-15 | -1.9212e-09 | 1.9211e-09 | 1.0421e-14 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55001 | 0.54999 | 1.1 | 0.55001 | 0.54999 | 5.9637e-05 | 179.9999 | -179.9998 | 5.9637e-05 | 179.9999 | -179.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 5.9365e-14 | -1.7218e-14 | -5.2107e-15 | -5.1549e-14 | 1.5867e-15 | -1.0421e-14 | 5.7635e-09 | -5.7633e-09 | 2.0843e-14 | -5.7635e-09 | 5.7633e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55001 | 0.54999 | 1.1 | 0.55001 | 0.54999 | 5.9637e-05 | 179.9999 | -179.9998 | 5.9637e-05 | 179.9999 | -179.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.4235e-21 | -3.021e-14 | 1.2687e-14 | -5.2107e-15 | 2.7604e-14 | -2.8319e-14 | -5.2106e-15 | -1.9212e-09 | 1.9211e-09 | 1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55001 | 0.54999 | 1.1 | 0.55001 | 0.54999 | 5.9637e-05 | 179.9999 | -179.9998 | 5.9637e-05 | 179.9999 | -179.9998

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -2.0807e-14 | -1.6781e-14 | 0 | 2.436e-14 | 2.1518e-14 | -9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 0 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -7.2636e-05 | 179.9992 | -179.9994 | -7.2636e-05 | 179.9992 | -179.9994
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 6.7158e-14 | 5.0345e-14 | 2.3685e-15 | -6.3605e-14 | -4.5607e-14 | -4.737e-15 | 4.7632e-09 | -4.7632e-09 | -3.0026e-21 | -4.7632e-09 | 4.7632e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -7.2636e-05 | 179.9992 | -179.9994 | -7.2636e-05 | 179.9992 | -179.9994
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | -2.0807e-14 | -1.2044e-14 | 4.737e-15 | 2.436e-14 | 2.1518e-14 | -4.7369e-15 | -1.5877e-09 | 1.5877e-09 | -6.0052e-21 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -7.2636e-05 | 179.9992 | -179.9994 | -7.2636e-05 | 179.9992 | -179.9994

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -2.0807e-14 | -1.6781e-14 | 0 | 2.436e-14 | 2.1518e-14 | -9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 0 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -7.2636e-05 | 179.9992 | -179.9994 | -7.2636e-05 | 179.9992 | -179.9994
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 6.7158e-14 | 5.0345e-14 | 2.3685e-15 | -6.3605e-14 | -4.5607e-14 | -4.737e-15 | 4.7632e-09 | -4.7632e-09 | -3.0026e-21 | -4.7632e-09 | 4.7632e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -7.2636e-05 | 179.9992 | -179.9994 | -7.2636e-05 | 179.9992 | -179.9994
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | -2.0807e-14 | -1.2044e-14 | 4.737e-15 | 2.436e-14 | 2.1518e-14 | -4.7369e-15 | -1.5877e-09 | 1.5877e-09 | -6.0052e-21 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -7.2636e-05 | 179.9992 | -179.9994 | -7.2636e-05 | 179.9992 | -179.9994

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | -2.4359e-14 | -9.6752e-15 | 2.3685e-15 | 2.7912e-14 | 1.9149e-14 | -4.7369e-15 | -1.5877e-09 | 1.5877e-09 | -3.0026e-21 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -7.2636e-05 | 179.9992 | -179.9994 | -7.2636e-05 | 179.9992 | -179.9994
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | 6.3603e-14 | 5.2711e-14 | 4.737e-15 | -6.005e-14 | -4.3236e-14 | 1.201e-20 | 4.7632e-09 | -4.7631e-09 | -4.737e-15 | -4.7632e-09 | 4.7632e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -7.2636e-05 | 179.9992 | -179.9994 | -7.2636e-05 | 179.9992 | -179.9994
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.9622e-14 | -1.9149e-14 | 2.3685e-15 | 2.7912e-14 | 2.3886e-14 | -9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -7.2636e-05 | 179.9992 | -179.9994 | -7.2636e-05 | 179.9992 | -179.9994

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | -2.4359e-14 | -9.6752e-15 | 2.3685e-15 | 2.7912e-14 | 1.9149e-14 | -4.7369e-15 | -1.5877e-09 | 1.5877e-09 | -3.0026e-21 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -7.2636e-05 | 179.9992 | -179.9994 | -7.2636e-05 | 179.9992 | -179.9994
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | 6.3603e-14 | 5.2711e-14 | 4.737e-15 | -6.005e-14 | -4.3236e-14 | 1.201e-20 | 4.7632e-09 | -4.7631e-09 | -4.737e-15 | -4.7632e-09 | 4.7632e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -7.2636e-05 | 179.9992 | -179.9994 | -7.2636e-05 | 179.9992 | -179.9994
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.9622e-14 | -1.9149e-14 | 2.3685e-15 | 2.7912e-14 | 2.3886e-14 | -9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -7.2636e-05 | 179.9992 | -179.9994 | -7.2636e-05 | 179.9992 | -179.9994

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2797e-18 | 1.9578e-14 | -1.5065e-14 | -1.7763e-18 | -2.0467e-12 | 2.0286e-12 | 6.8368e-19 | 1.9211e-09 | -1.9211e-09 | -9.2078e-19 | 6.412e-10 | -6.4117e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.1846e-19 | 1.0554e-14 | -1.5065e-14 | 4.6184e-18 | 4.0723e-12 | -4.0543e-12 | -1.8822e-19 | 1.9211e-09 | -1.9211e-09 | 2.3936e-18 | 6.3878e-10 | -6.3876e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2797e-18 | 1.528e-15 | 2.9847e-15 | -1.7763e-18 | -2.0377e-12 | 2.0286e-12 | 6.8368e-19 | 1.9211e-09 | -1.9211e-09 | -9.2079e-19 | 6.412e-10 | -6.4116e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2797e-18 | 1.9578e-14 | -1.5065e-14 | -1.7763e-18 | -2.0467e-12 | 2.0286e-12 | 6.8368e-19 | 1.9211e-09 | -1.9211e-09 | -9.2078e-19 | 6.412e-10 | -6.4117e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.1846e-19 | 1.0554e-14 | -1.5065e-14 | 4.6184e-18 | 4.0723e-12 | -4.0543e-12 | -1.8822e-19 | 1.9211e-09 | -1.9211e-09 | 2.3936e-18 | 6.3878e-10 | -6.3876e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2797e-18 | 1.528e-15 | 2.9847e-15 | -1.7763e-18 | -2.0377e-12 | 2.0286e-12 | 6.8368e-19 | 1.9211e-09 | -1.9211e-09 | -9.2079e-19 | 6.412e-10 | -6.4116e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.9399e-18 | -7.2726e-16 | 2.9857e-15 | -7.8755e-18 | -2.0286e-12 | 2.0196e-12 | 4.344e-18 | 1.9211e-09 | -1.9211e-09 | -7.0239e-18 | 6.4117e-10 | -6.4117e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8919e-17 | -7.2696e-16 | -2.4089e-14 | 2.0477e-17 | 4.0633e-12 | -4.0543e-12 | -1.8489e-17 | 1.9211e-09 | -1.9211e-09 | 1.826e-17 | 6.3878e-10 | -6.3877e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.9399e-18 | 8.2978e-15 | -1.5065e-14 | -7.8755e-18 | -2.0377e-12 | 2.0377e-12 | 4.344e-18 | 1.9211e-09 | -1.9211e-09 | -7.0238e-18 | 6.4119e-10 | -6.4118e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.9399e-18 | -7.2726e-16 | 2.9857e-15 | -7.8755e-18 | -2.0286e-12 | 2.0196e-12 | 4.344e-18 | 1.9211e-09 | -1.9211e-09 | -7.0239e-18 | 6.4117e-10 | -6.4117e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8919e-17 | -7.2696e-16 | -2.4089e-14 | 2.0477e-17 | 4.0633e-12 | -4.0543e-12 | -1.8489e-17 | 1.9211e-09 | -1.9211e-09 | 1.826e-17 | 6.3878e-10 | -6.3877e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.9399e-18 | 8.2978e-15 | -1.5065e-14 | -7.8755e-18 | -2.0377e-12 | 2.0377e-12 | 4.344e-18 | 1.9211e-09 | -1.9211e-09 | -7.0238e-18 | 6.4119e-10 | -6.4118e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8738e-18 | 1.9827e-15 | -3.0078e-15 | -2.5574e-18 | -3.2176e-12 | 3.2186e-12 | 4.7508e-19 | 1.5877e-09 | -1.5877e-09 | -6.128e-19 | 5.2991e-10 | -5.299e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.9774e-19 | 1.429e-14 | -3.0072e-15 | 6.6493e-18 | 6.431e-12 | -6.4423e-12 | 2.8625e-19 | 1.5877e-09 | -1.5877e-09 | 1.5923e-18 | 5.2793e-10 | -5.2791e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8738e-18 | 1.429e-14 | 1.0945e-15 | -2.5574e-18 | -3.2299e-12 | 3.2186e-12 | 4.7508e-19 | 1.5877e-09 | -1.5877e-09 | -6.1281e-19 | 5.2992e-10 | -5.299e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8738e-18 | 1.9827e-15 | -3.0078e-15 | -2.5574e-18 | -3.2176e-12 | 3.2186e-12 | 4.7508e-19 | 1.5877e-09 | -1.5877e-09 | -6.128e-19 | 5.2991e-10 | -5.299e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.9774e-19 | 1.429e-14 | -3.0072e-15 | 6.6493e-18 | 6.431e-12 | -6.4423e-12 | 2.8625e-19 | 1.5877e-09 | -1.5877e-09 | 1.5923e-18 | 5.2793e-10 | -5.2791e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8738e-18 | 1.429e-14 | 1.0945e-15 | -2.5574e-18 | -3.2299e-12 | 3.2186e-12 | 4.7508e-19 | 1.5877e-09 | -1.5877e-09 | -6.1281e-19 | 5.2992e-10 | -5.299e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.8988e-18 | 3.009e-15 | -3.007e-15 | -7.5966e-18 | -3.2197e-12 | 3.2207e-12 | 3.5e-18 | 1.5877e-09 | -1.5877e-09 | -5.6581e-18 | 5.2991e-10 | -5.2991e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5323e-17 | 7.1119e-15 | -7.1088e-15 | 1.9753e-17 | 6.4372e-12 | -6.4362e-12 | -1.4839e-17 | 1.5877e-09 | -1.5877e-09 | 1.4708e-17 | 5.2793e-10 | -5.2793e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.8988e-18 | 7.1113e-15 | -3.0071e-15 | -7.5966e-18 | -3.2197e-12 | 3.2207e-12 | 3.5e-18 | 1.5877e-09 | -1.5877e-09 | -5.6581e-18 | 5.299e-10 | -5.299e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.8988e-18 | 3.009e-15 | -3.007e-15 | -7.5966e-18 | -3.2197e-12 | 3.2207e-12 | 3.5e-18 | 1.5877e-09 | -1.5877e-09 | -5.6581e-18 | 5.2991e-10 | -5.2991e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5323e-17 | 7.1119e-15 | -7.1088e-15 | 1.9753e-17 | 6.4372e-12 | -6.4362e-12 | -1.4839e-17 | 1.5877e-09 | -1.5877e-09 | 1.4708e-17 | 5.2793e-10 | -5.2793e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.8988e-18 | 7.1113e-15 | -3.0071e-15 | -7.5966e-18 | -3.2197e-12 | 3.2207e-12 | 3.5e-18 | 1.5877e-09 | -1.5877e-09 | -5.6581e-18 | 5.299e-10 | -5.299e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3341e-14 | 2.6789e-15 | -2.1662e-14 | -4.4507e-15 | -2.7017e-14 | 6.3793e-14 | -1.7984e-15 | -1.9518e-14 | -2.3961e-14 | -6.144e-16 | 2.942e-14 | 1.4953e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3376e-06 | 4.8845e-06 | 8.0087e-06 | 3.3376e-06 | 4.8845e-06 | 8.0087e-06 | -172.3227 | 157.8155 | -12.1153 | -172.3228 | 157.8146 | -12.115
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.334e-14 | -8.0994e-14 | 1.9133e-13 | -4.4396e-15 | 5.6712e-14 | -1.4925e-13 | -1.798e-15 | 8.8311e-14 | 4.4774e-14 | -5.6977e-16 | -7.8359e-14 | -5.3866e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3372e-06 | 4.8842e-06 | 8.0092e-06 | 3.3376e-06 | 4.8845e-06 | 8.0087e-06 | -172.3237 | 157.8107 | -12.1134 | -172.3228 | 157.8146 | -12.115
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3341e-14 | 2.6788e-15 | -2.1663e-14 | -4.4506e-15 | -2.7017e-14 | 6.3793e-14 | -1.7984e-15 | -1.9518e-14 | -2.3961e-14 | -6.144e-16 | 2.942e-14 | 1.4952e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3376e-06 | 4.8845e-06 | 8.0087e-06 | 3.3376e-06 | 4.8845e-06 | 8.0087e-06 | -172.3227 | 157.8155 | -12.1153 | -172.3228 | 157.8146 | -12.115

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3341e-14 | 2.6789e-15 | -2.1662e-14 | -4.4507e-15 | -2.7017e-14 | 6.3793e-14 | -1.7984e-15 | -1.9518e-14 | -2.3961e-14 | -6.144e-16 | 2.942e-14 | 1.4953e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3376e-06 | 4.8845e-06 | 8.0087e-06 | 3.3376e-06 | 4.8845e-06 | 8.0087e-06 | -172.3227 | 157.8155 | -12.1153 | -172.3228 | 157.8146 | -12.115
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.334e-14 | -8.0994e-14 | 1.9133e-13 | -4.4396e-15 | 5.6712e-14 | -1.4925e-13 | -1.798e-15 | 8.8311e-14 | 4.4774e-14 | -5.6977e-16 | -7.8359e-14 | -5.3866e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3372e-06 | 4.8842e-06 | 8.0092e-06 | 3.3376e-06 | 4.8845e-06 | 8.0087e-06 | -172.3237 | 157.8107 | -12.1134 | -172.3228 | 157.8146 | -12.115
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3341e-14 | 2.6788e-15 | -2.1663e-14 | -4.4506e-15 | -2.7017e-14 | 6.3793e-14 | -1.7984e-15 | -1.9518e-14 | -2.3961e-14 | -6.144e-16 | 2.942e-14 | 1.4952e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3376e-06 | 4.8845e-06 | 8.0087e-06 | 3.3376e-06 | 4.8845e-06 | 8.0087e-06 | -172.3227 | 157.8155 | -12.1153 | -172.3228 | 157.8146 | -12.115

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3334e-14 | 2.6846e-15 | -2.1661e-14 | -4.4481e-15 | -2.7025e-14 | 6.3784e-14 | -1.7911e-15 | -1.9516e-14 | -2.3956e-14 | -6.1194e-16 | 2.9411e-14 | 1.4945e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3356e-06 | 4.8843e-06 | 8.0073e-06 | 3.3355e-06 | 4.8843e-06 | 8.0074e-06 | -172.3495 | 157.8327 | -12.1202 | -172.3495 | 157.8318 | -12.1198
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3332e-14 | -8.1018e-14 | 1.913e-13 | -4.437e-15 | 5.6734e-14 | -1.4923e-13 | -1.7907e-15 | 8.8283e-14 | 4.475e-14 | -5.6734e-16 | -7.8339e-14 | -5.3845e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3352e-06 | 4.884e-06 | 8.0078e-06 | 3.3355e-06 | 4.8843e-06 | 8.0074e-06 | -172.3504 | 157.828 | -12.1182 | -172.3495 | 157.8318 | -12.1198
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3334e-14 | 2.6847e-15 | -2.1661e-14 | -4.4481e-15 | -2.7025e-14 | 6.3784e-14 | -1.791e-15 | -1.9516e-14 | -2.3955e-14 | -6.1194e-16 | 2.9411e-14 | 1.4944e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3356e-06 | 4.8843e-06 | 8.0073e-06 | 3.3355e-06 | 4.8843e-06 | 8.0074e-06 | -172.3495 | 157.8327 | -12.1202 | -172.3495 | 157.8318 | -12.1198

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3334e-14 | 2.6846e-15 | -2.1661e-14 | -4.4481e-15 | -2.7025e-14 | 6.3784e-14 | -1.7911e-15 | -1.9516e-14 | -2.3956e-14 | -6.1194e-16 | 2.9411e-14 | 1.4945e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3356e-06 | 4.8843e-06 | 8.0073e-06 | 3.3355e-06 | 4.8843e-06 | 8.0074e-06 | -172.3495 | 157.8327 | -12.1202 | -172.3495 | 157.8318 | -12.1198
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3332e-14 | -8.1018e-14 | 1.913e-13 | -4.437e-15 | 5.6734e-14 | -1.4923e-13 | -1.7907e-15 | 8.8283e-14 | 4.475e-14 | -5.6734e-16 | -7.8339e-14 | -5.3845e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3352e-06 | 4.884e-06 | 8.0078e-06 | 3.3355e-06 | 4.8843e-06 | 8.0074e-06 | -172.3504 | 157.828 | -12.1182 | -172.3495 | 157.8318 | -12.1198
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3334e-14 | 2.6847e-15 | -2.1661e-14 | -4.4481e-15 | -2.7025e-14 | 6.3784e-14 | -1.791e-15 | -1.9516e-14 | -2.3955e-14 | -6.1194e-16 | 2.9411e-14 | 1.4944e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3356e-06 | 4.8843e-06 | 8.0073e-06 | 3.3355e-06 | 4.8843e-06 | 8.0074e-06 | -172.3495 | 157.8327 | -12.1202 | -172.3495 | 157.8318 | -12.1198

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.0218e-15 | -2.2055e-14 | -1.2021e-14 | 2.3738e-15 | 1.463e-14 | 1.0052e-14 | -1.4852e-14 | -1.9113e-14 | 8.6716e-15 | -4.9425e-15 | 5.7322e-14 | -2.8342e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4804e-06 | 7.9594e-06 | 4.0424e-06 | 4.4805e-06 | 7.9594e-06 | 4.0424e-06 | -64.6953 | 100.9119 | -95.8063 | -64.6941 | 100.9109 | -95.8041
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.0243e-15 | 4.4086e-14 | 3.0081e-14 | 2.2746e-15 | -5.1315e-14 | -3.2125e-14 | -1.4851e-14 | 1.7196e-13 | -8.4988e-14 | -4.9667e-15 | -1.3376e-13 | 6.5354e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4806e-06 | 7.9595e-06 | 4.0422e-06 | 4.4805e-06 | 7.9594e-06 | 4.0424e-06 | -64.687 | 100.906 | -95.7939 | -64.6941 | 100.9109 | -95.8041
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.0218e-15 | -2.2055e-14 | -1.2021e-14 | 2.3738e-15 | 1.463e-14 | 1.0052e-14 | -1.4852e-14 | -1.9113e-14 | 8.6716e-15 | -4.9426e-15 | 5.7322e-14 | -2.8342e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4804e-06 | 7.9594e-06 | 4.0424e-06 | 4.4805e-06 | 7.9594e-06 | 4.0424e-06 | -64.6953 | 100.9119 | -95.8063 | -64.6941 | 100.9109 | -95.8041

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.0218e-15 | -2.2055e-14 | -1.2021e-14 | 2.3738e-15 | 1.463e-14 | 1.0052e-14 | -1.4852e-14 | -1.9113e-14 | 8.6716e-15 | -4.9425e-15 | 5.7322e-14 | -2.8342e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4804e-06 | 7.9594e-06 | 4.0424e-06 | 4.4805e-06 | 7.9594e-06 | 4.0424e-06 | -64.6953 | 100.9119 | -95.8063 | -64.6941 | 100.9109 | -95.8041
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.0243e-15 | 4.4086e-14 | 3.0081e-14 | 2.2746e-15 | -5.1315e-14 | -3.2125e-14 | -1.4851e-14 | 1.7196e-13 | -8.4988e-14 | -4.9667e-15 | -1.3376e-13 | 6.5354e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4806e-06 | 7.9595e-06 | 4.0422e-06 | 4.4805e-06 | 7.9594e-06 | 4.0424e-06 | -64.687 | 100.906 | -95.7939 | -64.6941 | 100.9109 | -95.8041
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.0218e-15 | -2.2055e-14 | -1.2021e-14 | 2.3738e-15 | 1.463e-14 | 1.0052e-14 | -1.4852e-14 | -1.9113e-14 | 8.6716e-15 | -4.9426e-15 | 5.7322e-14 | -2.8342e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4804e-06 | 7.9594e-06 | 4.0424e-06 | 4.4805e-06 | 7.9594e-06 | 4.0424e-06 | -64.6953 | 100.9119 | -95.8063 | -64.6941 | 100.9109 | -95.8041

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.0278e-15 | -2.2051e-14 | -1.202e-14 | 2.3758e-15 | 1.4623e-14 | 1.0044e-14 | -1.4846e-14 | -1.9112e-14 | 8.6764e-15 | -4.9404e-15 | 5.7314e-14 | -2.8348e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4796e-06 | 7.9582e-06 | 4.0429e-06 | 4.4797e-06 | 7.9582e-06 | 4.0429e-06 | -64.6672 | 100.9162 | -95.8241 | -64.666 | 100.9152 | -95.8219
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.0303e-15 | 4.4066e-14 | 3.0058e-14 | 2.2766e-15 | -5.1297e-14 | -3.2108e-14 | -1.4845e-14 | 1.7194e-13 | -8.5008e-14 | -4.9648e-15 | -1.3374e-13 | 6.5372e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4798e-06 | 7.9583e-06 | 4.0427e-06 | 4.4797e-06 | 7.9582e-06 | 4.0429e-06 | -64.6589 | 100.9103 | -95.8117 | -64.666 | 100.9152 | -95.8219
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.0279e-15 | -2.205e-14 | -1.202e-14 | 2.3758e-15 | 1.4623e-14 | 1.0044e-14 | -1.4846e-14 | -1.9112e-14 | 8.6764e-15 | -4.9405e-15 | 5.7314e-14 | -2.8348e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4796e-06 | 7.9582e-06 | 4.0429e-06 | 4.4797e-06 | 7.9582e-06 | 4.0429e-06 | -64.6672 | 100.9162 | -95.8241 | -64.666 | 100.9152 | -95.8219

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.0278e-15 | -2.2051e-14 | -1.202e-14 | 2.3758e-15 | 1.4623e-14 | 1.0044e-14 | -1.4846e-14 | -1.9112e-14 | 8.6764e-15 | -4.9404e-15 | 5.7314e-14 | -2.8348e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4796e-06 | 7.9582e-06 | 4.0429e-06 | 4.4797e-06 | 7.9582e-06 | 4.0429e-06 | -64.6672 | 100.9162 | -95.8241 | -64.666 | 100.9152 | -95.8219
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.0303e-15 | 4.4066e-14 | 3.0058e-14 | 2.2766e-15 | -5.1297e-14 | -3.2108e-14 | -1.4845e-14 | 1.7194e-13 | -8.5008e-14 | -4.9648e-15 | -1.3374e-13 | 6.5372e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4798e-06 | 7.9583e-06 | 4.0427e-06 | 4.4797e-06 | 7.9582e-06 | 4.0429e-06 | -64.6589 | 100.9103 | -95.8117 | -64.666 | 100.9152 | -95.8219
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.0279e-15 | -2.205e-14 | -1.202e-14 | 2.3758e-15 | 1.4623e-14 | 1.0044e-14 | -1.4846e-14 | -1.9112e-14 | 8.6764e-15 | -4.9405e-15 | 5.7314e-14 | -2.8348e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4796e-06 | 7.9582e-06 | 4.0429e-06 | 4.4797e-06 | 7.9582e-06 | 4.0429e-06 | -64.6672 | 100.9162 | -95.8241 | -64.666 | 100.9152 | -95.8219