## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.297e-19 | 0 | -4.9284e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.297e-19 | 0 | -4.9284e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6698e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6698e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | 5.2106e-15 | -1.0421e-14 | 1.5632e-14 | 1.0422e-14 | 4.2755e-19 | -2.0843e-14 | 5.7634e-09 | -5.7634e-09 | 2.0843e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.1671e-13 | 180 | -180 | 5.9294e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.355e-29 | -5.2105e-15 | 1.901e-19 | -1.0421e-14 | 2.0842e-14 | -1.4252e-19 | 5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 5.8884e-13 | -180 | 180 | 5.9294e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -5.2105e-15 | 1.901e-19 | 5.2106e-15 | 2.0842e-14 | -1.4252e-19 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 5.3924e-29 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 5.9353e-13 | -180 | 180 | 5.9294e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | 5.2106e-15 | -1.0421e-14 | 1.5632e-14 | 1.0422e-14 | 4.2755e-19 | -2.0843e-14 | 5.7634e-09 | -5.7634e-09 | 2.0843e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.1671e-13 | 180 | -180 | 5.9294e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.355e-29 | -5.2105e-15 | 1.901e-19 | -1.0421e-14 | 2.0842e-14 | -1.4252e-19 | 5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 5.8884e-13 | -180 | 180 | 5.9294e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -5.2105e-15 | 1.901e-19 | 5.2106e-15 | 2.0842e-14 | -1.4252e-19 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 5.3924e-29 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 5.9353e-13 | -180 | 180 | 5.9294e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | -9.5548e-10 | -3.075e-09 | -7.816e-15 | 9.5548e-10 | 3.075e-09 | -1.3027e-14 | 4.0277e-09 | -3.5664e-10 | 1.5632e-14 | -4.0277e-09 | 3.5664e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 1.0593e-13 | -140.8543 | 122.4159 | 9.3945e-14 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.908e-15 | 3.1849e-10 | 1.025e-09 | -6.5133e-15 | -3.1848e-10 | -1.025e-09 | 5.2106e-15 | -1.3426e-09 | 1.1887e-10 | -2.6053e-15 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 8.9672e-14 | -140.8543 | 122.4159 | 9.3945e-14 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3027e-15 | 3.1849e-10 | 1.025e-09 | 1.3027e-15 | -3.1848e-10 | -1.025e-09 | -2.6053e-15 | -1.3426e-09 | 1.1887e-10 | 2.6053e-15 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 9.4852e-14 | -140.8543 | 122.4159 | 9.3945e-14 | -140.8543 | 122.4159

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | -9.5548e-10 | -3.075e-09 | -7.816e-15 | 9.5548e-10 | 3.075e-09 | -1.3027e-14 | 4.0277e-09 | -3.5664e-10 | 1.5632e-14 | -4.0277e-09 | 3.5664e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 1.0593e-13 | -140.8543 | 122.4159 | 9.3945e-14 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.908e-15 | 3.1849e-10 | 1.025e-09 | -6.5133e-15 | -3.1848e-10 | -1.025e-09 | 5.2106e-15 | -1.3426e-09 | 1.1887e-10 | -2.6053e-15 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 8.9672e-14 | -140.8543 | 122.4159 | 9.3945e-14 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3027e-15 | 3.1849e-10 | 1.025e-09 | 1.3027e-15 | -3.1848e-10 | -1.025e-09 | -2.6053e-15 | -1.3426e-09 | 1.1887e-10 | 2.6053e-15 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 9.4852e-14 | -140.8543 | 122.4159 | 9.3945e-14 | -140.8543 | 122.4159

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-14 | -4.737e-15 | -8.1194e-21 | 2.3685e-14 | 4.7376e-15 | 6.8766e-19 | 1.8948e-14 | 4.7631e-09 | -4.7631e-09 | -2.3685e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.7431e-13 | -180 | 180 | 7.4549e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.1153e-29 | 4.7373e-15 | 3.0472e-19 | -6.1634e-29 | -2.2903e-19 | -2.2922e-19 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.3967e-13 | -180 | 180 | 7.4549e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 4.7373e-15 | 4.7373e-15 | -4.737e-15 | -4.7372e-15 | -4.7372e-15 | 3.0066e-29 | -1.5877e-09 | 1.5877e-09 | -6.1634e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.2733e-13 | -180 | 180 | 7.4549e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-14 | -4.737e-15 | -8.1194e-21 | 2.3685e-14 | 4.7376e-15 | 6.8766e-19 | 1.8948e-14 | 4.7631e-09 | -4.7631e-09 | -2.3685e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.7431e-13 | -180 | 180 | 7.4549e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.1153e-29 | 4.7373e-15 | 3.0472e-19 | -6.1634e-29 | -2.2903e-19 | -2.2922e-19 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.3967e-13 | -180 | 180 | 7.4549e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 4.7373e-15 | 4.7373e-15 | -4.737e-15 | -4.7372e-15 | -4.7372e-15 | 3.0066e-29 | -1.5877e-09 | 1.5877e-09 | -6.1634e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.2733e-13 | -180 | 180 | 7.4549e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | -8.0024e-10 | -2.5674e-09 | 5.6251e-15 | 8.0024e-10 | 2.5674e-09 | 4.737e-15 | 3.4014e-09 | -3.4065e-10 | -4.737e-15 | -3.4014e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.6889e-13 | -141.4824 | 122.8363 | 4.0006e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 2.6675e-10 | 8.558e-10 | 8.8818e-16 | -2.6675e-10 | -8.558e-10 | -2.3685e-15 | -1.1338e-09 | 1.1354e-10 | 2.3685e-15 | 1.1338e-09 | -1.1354e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.9523e-13 | -141.4824 | 122.8363 | 4.0006e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7764e-15 | 2.6675e-10 | 8.558e-10 | 2.9606e-16 | -2.6675e-10 | -8.558e-10 | -1.2164e-29 | -1.1338e-09 | 1.1355e-10 | 2.0672e-30 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.9235e-13 | -141.4824 | 122.8363 | 4.0006e-13 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | -8.0024e-10 | -2.5674e-09 | 5.6251e-15 | 8.0024e-10 | 2.5674e-09 | 4.737e-15 | 3.4014e-09 | -3.4065e-10 | -4.737e-15 | -3.4014e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.6889e-13 | -141.4824 | 122.8363 | 4.0006e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 2.6675e-10 | 8.558e-10 | 8.8818e-16 | -2.6675e-10 | -8.558e-10 | -2.3685e-15 | -1.1338e-09 | 1.1354e-10 | 2.3685e-15 | 1.1338e-09 | -1.1354e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.9523e-13 | -141.4824 | 122.8363 | 4.0006e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7764e-15 | 2.6675e-10 | 8.558e-10 | 2.9606e-16 | -2.6675e-10 | -8.558e-10 | -1.2164e-29 | -1.1338e-09 | 1.1355e-10 | 2.0672e-30 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.9235e-13 | -141.4824 | 122.8363 | 4.0006e-13 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.015377 | 0.015377 | 0.015377 | 0.010254 | 0.010254 | 0.010254 | 0.17755 | 0.17755 | 0.17755 | 0.11841 | 0.11841 | 0.11841 | -2.275e-13 | 0.1701 | -0.16814 | 0.00048564 | -0.1131 | 0.11247 | 7.6017e-14 | -0.27266 | -0.27812 | 0.00019325 | 0.18194 | 0.18576 | -90.9245 | -90.9245 | -90.9245 | 89.0301 | 89.0301 | 89.0301 | 0 | 1.81 | 1.8304 | 0.0044142 | 1.8092 | 1.8339 | 0 | -148.9662 | 147.9207 | 110.729 | -149.1037 | 147.8373
Line_1 | 0 | 0 | 0 | 0.0051272 | 0.0051272 | 0.0051272 | 0 | 0 | 0 | 0.059203 | 0.059203 | 0.059203 | -7.6639e-12 | -5.6264e-09 | -5.7971e-09 | -0.00024282 | 0.056549 | -0.056233 | 1.9983e-11 | -3.552e-09 | 3.4535e-09 | -9.6624e-05 | -0.090969 | -0.092878 | 0 | 0 | 0 | -90.9699 | -90.9699 | -90.9699 | 0.0052972 | 1.8091 | 1.8346 | 0.0044142 | 1.8092 | 1.8339 | 110.7245 | -149.1312 | 147.8207 | 110.729 | -149.1037 | 147.8373
Line_2 | 0 | 0 | 0 | 0.0051272 | 0.0051272 | 0.0051272 | 0 | 0 | 0 | 0.059203 | 0.059203 | 0.059203 | -7.6637e-12 | -5.6264e-09 | -5.7971e-09 | -0.00024282 | 0.056549 | -0.056233 | 1.9983e-11 | -3.552e-09 | 3.4535e-09 | -9.6624e-05 | -0.090969 | -0.092878 | 0 | 0 | 0 | -90.9699 | -90.9699 | -90.9699 | 0.0052972 | 1.8091 | 1.8346 | 0.0044142 | 1.8092 | 1.8339 | 110.7245 | -149.1312 | 147.8207 | 110.729 | -149.1037 | 147.8373

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.015377 | 0.015377 | 0.015377 | 0.010254 | 0.010254 | 0.010254 | 0.17755 | 0.17755 | 0.17755 | 0.11841 | 0.11841 | 0.11841 | -2.275e-13 | 0.1701 | -0.16814 | 0.00048564 | -0.1131 | 0.11247 | 7.6017e-14 | -0.27266 | -0.27812 | 0.00019325 | 0.18194 | 0.18576 | -90.9245 | -90.9245 | -90.9245 | 89.0301 | 89.0301 | 89.0301 | 0 | 1.81 | 1.8304 | 0.0044142 | 1.8092 | 1.8339 | 0 | -148.9662 | 147.9207 | 110.729 | -149.1037 | 147.8373
Line_1 | 0 | 0 | 0 | 0.0051272 | 0.0051272 | 0.0051272 | 0 | 0 | 0 | 0.059203 | 0.059203 | 0.059203 | -7.6639e-12 | -5.6264e-09 | -5.7971e-09 | -0.00024282 | 0.056549 | -0.056233 | 1.9983e-11 | -3.552e-09 | 3.4535e-09 | -9.6624e-05 | -0.090969 | -0.092878 | 0 | 0 | 0 | -90.9699 | -90.9699 | -90.9699 | 0.0052972 | 1.8091 | 1.8346 | 0.0044142 | 1.8092 | 1.8339 | 110.7245 | -149.1312 | 147.8207 | 110.729 | -149.1037 | 147.8373
Line_2 | 0 | 0 | 0 | 0.0051272 | 0.0051272 | 0.0051272 | 0 | 0 | 0 | 0.059203 | 0.059203 | 0.059203 | -7.6637e-12 | -5.6264e-09 | -5.7971e-09 | -0.00024282 | 0.056549 | -0.056233 | 1.9983e-11 | -3.552e-09 | 3.4535e-09 | -9.6624e-05 | -0.090969 | -0.092878 | 0 | 0 | 0 | -90.9699 | -90.9699 | -90.9699 | 0.0052972 | 1.8091 | 1.8346 | 0.0044142 | 1.8092 | 1.8339 | 110.7245 | -149.1312 | 147.8207 | 110.729 | -149.1037 | 147.8373

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.012314 | 0.012314 | 0.012314 | 0.0082117 | 0.0082117 | 0.0082117 | 0.14219 | 0.14219 | 0.14219 | 0.094821 | 0.094821 | 0.094821 | 0.017735 | 0.12653 | -0.143 | -0.011499 | -0.084176 | 0.095582 | 0.03038 | -0.20541 | -0.17819 | -0.020145 | 0.13704 | 0.11903 | -84.2338 | -84.2338 | -84.2338 | 95.7208 | 95.7208 | 95.7208 | 0.24741 | 1.6967 | 1.6069 | 0.24463 | 1.6961 | 1.6099 | -24.5087 | -142.601 | 147.018 | -23.9981 | -142.7186 | 146.9559
Line_1 | 0 | 0 | 0 | 0.0041059 | 0.0041059 | 0.0041059 | 0 | 0 | 0 | 0.04741 | 0.04741 | 0.04741 | 6.8164e-10 | -4.238e-09 | -3.7201e-09 | 0.0057497 | 0.042088 | -0.047791 | -3.9876e-10 | -2.6444e-09 | 2.9434e-09 | 0.010073 | -0.068519 | -0.059514 | 0 | 0 | 0 | -84.2792 | -84.2792 | -84.2792 | 0.24408 | 1.696 | 1.6106 | 0.24463 | 1.6961 | 1.6099 | -23.8946 | -142.7421 | 146.9434 | -23.9981 | -142.7186 | 146.9559
Line_2 | 0 | 0 | 0 | 0.0041059 | 0.0041059 | 0.0041059 | 0 | 0 | 0 | 0.04741 | 0.04741 | 0.04741 | 6.8164e-10 | -4.238e-09 | -3.7201e-09 | 0.0057497 | 0.042088 | -0.047791 | -3.9876e-10 | -2.6443e-09 | 2.9434e-09 | 0.010073 | -0.068519 | -0.059514 | 0 | 0 | 0 | -84.2792 | -84.2792 | -84.2792 | 0.24408 | 1.696 | 1.6106 | 0.24463 | 1.6961 | 1.6099 | -23.8946 | -142.7421 | 146.9434 | -23.9981 | -142.7186 | 146.9559

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.012314 | 0.012314 | 0.012314 | 0.0082117 | 0.0082117 | 0.0082117 | 0.14219 | 0.14219 | 0.14219 | 0.094821 | 0.094821 | 0.094821 | 0.017735 | 0.12653 | -0.143 | -0.011499 | -0.084176 | 0.095582 | 0.03038 | -0.20541 | -0.17819 | -0.020145 | 0.13704 | 0.11903 | -84.2338 | -84.2338 | -84.2338 | 95.7208 | 95.7208 | 95.7208 | 0.24741 | 1.6967 | 1.6069 | 0.24463 | 1.6961 | 1.6099 | -24.5087 | -142.601 | 147.018 | -23.9981 | -142.7186 | 146.9559
Line_1 | 0 | 0 | 0 | 0.0041059 | 0.0041059 | 0.0041059 | 0 | 0 | 0 | 0.04741 | 0.04741 | 0.04741 | 6.8164e-10 | -4.238e-09 | -3.7201e-09 | 0.0057497 | 0.042088 | -0.047791 | -3.9876e-10 | -2.6444e-09 | 2.9434e-09 | 0.010073 | -0.068519 | -0.059514 | 0 | 0 | 0 | -84.2792 | -84.2792 | -84.2792 | 0.24408 | 1.696 | 1.6106 | 0.24463 | 1.6961 | 1.6099 | -23.8946 | -142.7421 | 146.9434 | -23.9981 | -142.7186 | 146.9559
Line_2 | 0 | 0 | 0 | 0.0041059 | 0.0041059 | 0.0041059 | 0 | 0 | 0 | 0.04741 | 0.04741 | 0.04741 | 6.8164e-10 | -4.238e-09 | -3.7201e-09 | 0.0057497 | 0.042088 | -0.047791 | -3.9876e-10 | -2.6443e-09 | 2.9434e-09 | 0.010073 | -0.068519 | -0.059514 | 0 | 0 | 0 | -84.2792 | -84.2792 | -84.2792 | 0.24408 | 1.696 | 1.6106 | 0.24463 | 1.6961 | 1.6099 | -23.8946 | -142.7421 | 146.9434 | -23.9981 | -142.7186 | 146.9559

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.013939 | 0.013939 | 0.013939 | 0.0092957 | 0.0092957 | 0.0092957 | 0.16096 | 0.16096 | 0.16096 | 0.10734 | 0.10734 | 0.10734 | 9.9001e-14 | 0.14092 | -0.13781 | 0.00076624 | -0.093434 | 0.092438 | 8.0221e-14 | -0.22354 | -0.22909 | 0.00015889 | 0.14909 | 0.15307 | -91.1413 | -91.1413 | -91.1413 | 88.7715 | 88.7715 | 88.7715 | 0 | 1.6417 | 1.661 | 0.0072904 | 1.6392 | 1.6659 | 0 | -148.9143 | 147.829 | 100.4866 | -149.1528 | 147.6446
Line_1 | 0 | 0 | 0 | 0.0046479 | 0.0046479 | 0.0046479 | 0 | 0 | 0 | 0.053669 | 0.053669 | 0.053669 | -6.1145e-12 | -4.601e-09 | -4.7723e-09 | -0.00038312 | 0.046717 | -0.046219 | 3.1544e-11 | -2.9313e-09 | 2.8325e-09 | -7.9445e-05 | -0.074544 | -0.076537 | 0 | 0 | 0 | -91.2285 | -91.2285 | -91.2285 | 0.0087488 | 1.6387 | 1.6669 | 0.0072904 | 1.6392 | 1.6659 | 100.4779 | -149.2006 | 147.6078 | 100.4866 | -149.1528 | 147.6446
Line_2 | 0 | 0 | 0 | 0.0046479 | 0.0046479 | 0.0046479 | 0 | 0 | 0 | 0.053669 | 0.053669 | 0.053669 | -6.1145e-12 | -4.601e-09 | -4.7723e-09 | -0.00038312 | 0.046717 | -0.046219 | 3.1544e-11 | -2.9313e-09 | 2.8324e-09 | -7.9445e-05 | -0.074544 | -0.076537 | 0 | 0 | 0 | -91.2285 | -91.2285 | -91.2285 | 0.0087488 | 1.6387 | 1.6669 | 0.0072904 | 1.6392 | 1.6659 | 100.4779 | -149.2006 | 147.6078 | 100.4866 | -149.1528 | 147.6446

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.013939 | 0.013939 | 0.013939 | 0.0092957 | 0.0092957 | 0.0092957 | 0.16096 | 0.16096 | 0.16096 | 0.10734 | 0.10734 | 0.10734 | 9.9001e-14 | 0.14092 | -0.13781 | 0.00076624 | -0.093434 | 0.092438 | 8.0221e-14 | -0.22354 | -0.22909 | 0.00015889 | 0.14909 | 0.15307 | -91.1413 | -91.1413 | -91.1413 | 88.7715 | 88.7715 | 88.7715 | 0 | 1.6417 | 1.661 | 0.0072904 | 1.6392 | 1.6659 | 0 | -148.9143 | 147.829 | 100.4866 | -149.1528 | 147.6446
Line_1 | 0 | 0 | 0 | 0.0046479 | 0.0046479 | 0.0046479 | 0 | 0 | 0 | 0.053669 | 0.053669 | 0.053669 | -6.1145e-12 | -4.601e-09 | -4.7723e-09 | -0.00038312 | 0.046717 | -0.046219 | 3.1544e-11 | -2.9313e-09 | 2.8325e-09 | -7.9445e-05 | -0.074544 | -0.076537 | 0 | 0 | 0 | -91.2285 | -91.2285 | -91.2285 | 0.0087488 | 1.6387 | 1.6669 | 0.0072904 | 1.6392 | 1.6659 | 100.4779 | -149.2006 | 147.6078 | 100.4866 | -149.1528 | 147.6446
Line_2 | 0 | 0 | 0 | 0.0046479 | 0.0046479 | 0.0046479 | 0 | 0 | 0 | 0.053669 | 0.053669 | 0.053669 | -6.1145e-12 | -4.601e-09 | -4.7723e-09 | -0.00038312 | 0.046717 | -0.046219 | 3.1544e-11 | -2.9313e-09 | 2.8324e-09 | -7.9445e-05 | -0.074544 | -0.076537 | 0 | 0 | 0 | -91.2285 | -91.2285 | -91.2285 | 0.0087488 | 1.6387 | 1.6669 | 0.0072904 | 1.6392 | 1.6659 | 100.4779 | -149.2006 | 147.6078 | 100.4866 | -149.1528 | 147.6446

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.01117 | 0.01117 | 0.01117 | 0.0074487 | 0.0074487 | 0.0074487 | 0.12897 | 0.12897 | 0.12897 | 0.08601 | 0.08601 | 0.08601 | 0.014502 | 0.10492 | -0.11743 | -0.0091539 | -0.069647 | 0.078653 | 0.025046 | -0.16861 | -0.14706 | -0.016615 | 0.11244 | 0.098291 | -84.4633 | -84.4633 | -84.4633 | 95.4495 | 95.4495 | 95.4495 | 0.2244 | 1.5398 | 1.4591 | 0.22055 | 1.5378 | 1.4636 | -24.5358 | -142.5713 | 146.9287 | -23.4026 | -142.7755 | 146.7824
Line_1 | 0 | 0 | 0 | 0.0037243 | 0.0037243 | 0.0037243 | 0 | 0 | 0 | 0.043005 | 0.043005 | 0.043005 | 5.6377e-10 | -3.4701e-09 | -3.0693e-09 | 0.0045769 | 0.034824 | -0.039327 | -3.1711e-10 | -2.1859e-09 | 2.4173e-09 | 0.0083075 | -0.056219 | -0.049145 | 0 | 0 | 0 | -84.5505 | -84.5505 | -84.5505 | 0.2198 | 1.5373 | 1.4645 | 0.22055 | 1.5378 | 1.4636 | -23.171 | -142.8164 | 146.7533 | -23.4026 | -142.7755 | 146.7824
Line_2 | 0 | 0 | 0 | 0.0037243 | 0.0037243 | 0.0037243 | 0 | 0 | 0 | 0.043005 | 0.043005 | 0.043005 | 5.6377e-10 | -3.4701e-09 | -3.0693e-09 | 0.0045769 | 0.034824 | -0.039327 | -3.1711e-10 | -2.1859e-09 | 2.4173e-09 | 0.0083075 | -0.056219 | -0.049145 | 0 | 0 | 0 | -84.5505 | -84.5505 | -84.5505 | 0.2198 | 1.5373 | 1.4645 | 0.22055 | 1.5378 | 1.4636 | -23.171 | -142.8164 | 146.7533 | -23.4026 | -142.7755 | 146.7824

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.01117 | 0.01117 | 0.01117 | 0.0074487 | 0.0074487 | 0.0074487 | 0.12897 | 0.12897 | 0.12897 | 0.08601 | 0.08601 | 0.08601 | 0.014502 | 0.10492 | -0.11743 | -0.0091539 | -0.069647 | 0.078653 | 0.025046 | -0.16861 | -0.14706 | -0.016615 | 0.11244 | 0.098291 | -84.4633 | -84.4633 | -84.4633 | 95.4495 | 95.4495 | 95.4495 | 0.2244 | 1.5398 | 1.4591 | 0.22055 | 1.5378 | 1.4636 | -24.5358 | -142.5713 | 146.9287 | -23.4026 | -142.7755 | 146.7824
Line_1 | 0 | 0 | 0 | 0.0037243 | 0.0037243 | 0.0037243 | 0 | 0 | 0 | 0.043005 | 0.043005 | 0.043005 | 5.6377e-10 | -3.4701e-09 | -3.0693e-09 | 0.0045769 | 0.034824 | -0.039327 | -3.1711e-10 | -2.1859e-09 | 2.4173e-09 | 0.0083075 | -0.056219 | -0.049145 | 0 | 0 | 0 | -84.5505 | -84.5505 | -84.5505 | 0.2198 | 1.5373 | 1.4645 | 0.22055 | 1.5378 | 1.4636 | -23.171 | -142.8164 | 146.7533 | -23.4026 | -142.7755 | 146.7824
Line_2 | 0 | 0 | 0 | 0.0037243 | 0.0037243 | 0.0037243 | 0 | 0 | 0 | 0.043005 | 0.043005 | 0.043005 | 5.6377e-10 | -3.4701e-09 | -3.0693e-09 | 0.0045769 | 0.034824 | -0.039327 | -3.1711e-10 | -2.1859e-09 | 2.4173e-09 | 0.0083075 | -0.056219 | -0.049145 | 0 | 0 | 0 | -84.5505 | -84.5505 | -84.5505 | 0.2198 | 1.5373 | 1.4645 | 0.22055 | 1.5378 | 1.4636 | -23.171 | -142.8164 | 146.7533 | -23.4026 | -142.7755 | 146.7824

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0080505 | 0.0080505 | 0.0080505 | 0.0053687 | 0.0053687 | 0.0053687 | 0.092959 | 0.092959 | 0.092959 | 0.061992 | 0.061992 | 0.061992 | 0.00053915 | -3.5687e-14 | -4.033e-14 | -0.0003062 | 0.00013312 | 0.00013312 | -0.15098 | -7.1077e-14 | 6.8687e-14 | 0.10074 | 5.2971e-05 | 5.2971e-05 | 89.6069 | 89.6069 | 89.6069 | -90.4385 | -90.4385 | -90.4385 | 1.6241 | 0 | 0 | 1.625 | 0.0023111 | 0.0023111 | -0.18845 | 0 | 0 | -0.2643 | -68.7395 | -68.7395
Line_1 | 0 | 0 | 0 | 0.0026844 | 0.0026844 | 0.0026844 | 0 | 0 | 0 | 0.030996 | 0.030996 | 0.030996 | -3.1293e-09 | 6.9725e-12 | -1.1084e-11 | 0.0001531 | -6.6559e-05 | -6.6559e-05 | -3.2004e-11 | 8.7244e-12 | 1.7006e-12 | -0.050368 | -2.6486e-05 | -2.6486e-05 | 0 | 0 | 0 | 89.5615 | 89.5615 | 89.5615 | 1.6251 | 0.0027734 | 0.0027734 | 1.625 | 0.0023111 | 0.0023111 | -0.27946 | -68.7441 | -68.7441 | -0.2643 | -68.7395 | -68.7395
Line_2 | 0 | 0 | 0 | 0.0026844 | 0.0026844 | 0.0026844 | 0 | 0 | 0 | 0.030996 | 0.030996 | 0.030996 | -3.1293e-09 | 6.9725e-12 | -1.1084e-11 | 0.0001531 | -6.6559e-05 | -6.6559e-05 | -3.2004e-11 | 8.7245e-12 | 1.7005e-12 | -0.050368 | -2.6486e-05 | -2.6486e-05 | 0 | 0 | 0 | 89.5615 | 89.5615 | 89.5615 | 1.6251 | 0.0027734 | 0.0027734 | 1.625 | 0.0023111 | 0.0023111 | -0.27946 | -68.7441 | -68.7441 | -0.2643 | -68.7395 | -68.7395

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0080505 | 0.0080505 | 0.0080505 | 0.0053687 | 0.0053687 | 0.0053687 | 0.092959 | 0.092959 | 0.092959 | 0.061992 | 0.061992 | 0.061992 | 0.00053915 | -3.5687e-14 | -4.033e-14 | -0.0003062 | 0.00013312 | 0.00013312 | -0.15098 | -7.1077e-14 | 6.8687e-14 | 0.10074 | 5.2971e-05 | 5.2971e-05 | 89.6069 | 89.6069 | 89.6069 | -90.4385 | -90.4385 | -90.4385 | 1.6241 | 0 | 0 | 1.625 | 0.0023111 | 0.0023111 | -0.18845 | 0 | 0 | -0.2643 | -68.7395 | -68.7395
Line_1 | 0 | 0 | 0 | 0.0026844 | 0.0026844 | 0.0026844 | 0 | 0 | 0 | 0.030996 | 0.030996 | 0.030996 | -3.1293e-09 | 6.9725e-12 | -1.1084e-11 | 0.0001531 | -6.6559e-05 | -6.6559e-05 | -3.2004e-11 | 8.7244e-12 | 1.7006e-12 | -0.050368 | -2.6486e-05 | -2.6486e-05 | 0 | 0 | 0 | 89.5615 | 89.5615 | 89.5615 | 1.6251 | 0.0027734 | 0.0027734 | 1.625 | 0.0023111 | 0.0023111 | -0.27946 | -68.7441 | -68.7441 | -0.2643 | -68.7395 | -68.7395
Line_2 | 0 | 0 | 0 | 0.0026844 | 0.0026844 | 0.0026844 | 0 | 0 | 0 | 0.030996 | 0.030996 | 0.030996 | -3.1293e-09 | 6.9725e-12 | -1.1084e-11 | 0.0001531 | -6.6559e-05 | -6.6559e-05 | -3.2004e-11 | 8.7245e-12 | 1.7005e-12 | -0.050368 | -2.6486e-05 | -2.6486e-05 | 0 | 0 | 0 | 89.5615 | 89.5615 | 89.5615 | 1.6251 | 0.0027734 | 0.0027734 | 1.625 | 0.0023111 | 0.0023111 | -0.27946 | -68.7441 | -68.7441 | -0.2643 | -68.7395 | -68.7395

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0071308 | 0.0071308 | 0.0071308 | 0.0047554 | 0.0047554 | 0.0047554 | 0.08234 | 0.08234 | 0.08234 | 0.05491 | 0.05491 | 0.05491 | -0.0055244 | -0.057521 | 0.063469 | 0.0037206 | 0.038474 | -0.042226 | -0.12864 | 0.019581 | -0.0093928 | 0.085831 | -0.012986 | 0.0062719 | 93.4162 | 93.4162 | 93.4161 | -86.6292 | -86.6292 | -86.6292 | 1.5637 | 0.73795 | 0.77921 | 1.5646 | 0.73951 | 0.77744 | 0.95709 | -105.3831 | 84.9979 | 0.88867 | -105.2802 | 84.9223
Line_1 | 0 | 0 | 0 | 0.0023777 | 0.0023777 | 0.0023777 | 0 | 0 | 0 | 0.027455 | 0.027455 | 0.027455 | -2.6672e-09 | 8.7885e-10 | 3.5035e-10 | -0.0018603 | -0.019237 | 0.021113 | 9.6361e-11 | 7.5923e-10 | -1.8019e-09 | -0.042916 | 0.0064931 | -0.0031359 | 0 | 0 | 0 | 93.3708 | 93.3708 | 93.3708 | 1.5648 | 0.73982 | 0.77709 | 1.5646 | 0.73951 | 0.77744 | 0.87498 | -105.2596 | 84.9072 | 0.88867 | -105.2802 | 84.9223
Line_2 | 0 | 0 | 0 | 0.0023777 | 0.0023777 | 0.0023777 | 0 | 0 | 0 | 0.027455 | 0.027455 | 0.027455 | -2.6672e-09 | 8.7884e-10 | 3.5034e-10 | -0.0018603 | -0.019237 | 0.021113 | 9.6361e-11 | 7.5924e-10 | -1.8019e-09 | -0.042916 | 0.0064931 | -0.0031359 | 0 | 0 | 0 | 93.3708 | 93.3708 | 93.3708 | 1.5648 | 0.73982 | 0.77709 | 1.5646 | 0.73951 | 0.77744 | 0.87498 | -105.2596 | 84.9072 | 0.88867 | -105.2802 | 84.9223

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0071308 | 0.0071308 | 0.0071308 | 0.0047554 | 0.0047554 | 0.0047554 | 0.08234 | 0.08234 | 0.08234 | 0.05491 | 0.05491 | 0.05491 | -0.0055244 | -0.057521 | 0.063469 | 0.0037206 | 0.038474 | -0.042226 | -0.12864 | 0.019581 | -0.0093928 | 0.085831 | -0.012986 | 0.0062719 | 93.4162 | 93.4162 | 93.4161 | -86.6292 | -86.6292 | -86.6292 | 1.5637 | 0.73795 | 0.77921 | 1.5646 | 0.73951 | 0.77744 | 0.95709 | -105.3831 | 84.9979 | 0.88867 | -105.2802 | 84.9223
Line_1 | 0 | 0 | 0 | 0.0023777 | 0.0023777 | 0.0023777 | 0 | 0 | 0 | 0.027455 | 0.027455 | 0.027455 | -2.6672e-09 | 8.7885e-10 | 3.5035e-10 | -0.0018603 | -0.019237 | 0.021113 | 9.6361e-11 | 7.5923e-10 | -1.8019e-09 | -0.042916 | 0.0064931 | -0.0031359 | 0 | 0 | 0 | 93.3708 | 93.3708 | 93.3708 | 1.5648 | 0.73982 | 0.77709 | 1.5646 | 0.73951 | 0.77744 | 0.87498 | -105.2596 | 84.9072 | 0.88867 | -105.2802 | 84.9223
Line_2 | 0 | 0 | 0 | 0.0023777 | 0.0023777 | 0.0023777 | 0 | 0 | 0 | 0.027455 | 0.027455 | 0.027455 | -2.6672e-09 | 8.7884e-10 | 3.5034e-10 | -0.0018603 | -0.019237 | 0.021113 | 9.6361e-11 | 7.5924e-10 | -1.8019e-09 | -0.042916 | 0.0064931 | -0.0031359 | 0 | 0 | 0 | 93.3708 | 93.3708 | 93.3708 | 1.5648 | 0.73982 | 0.77709 | 1.5646 | 0.73951 | 0.77744 | 0.87498 | -105.2596 | 84.9072 | 0.88867 | -105.2802 | 84.9223

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0073131 | 0.0073131 | 0.0073131 | 0.0048769 | 0.0048769 | 0.0048769 | 0.084444 | 0.084444 | 0.084444 | 0.056314 | 0.056314 | 0.056314 | 0.00085421 | -7.4525e-14 | 8.0791e-14 | -0.00048512 | 0.00021091 | 0.00021091 | -0.12459 | 4.3478e-14 | 4.3682e-14 | 0.083126 | 4.3735e-05 | 4.3735e-05 | 89.4108 | 89.4108 | 89.4108 | -90.6763 | -90.6763 | -90.6763 | 1.4754 | 0 | 0 | 1.4761 | 0.0038249 | 0.0038249 | -0.19634 | 0 | 0 | -0.34196 | -78.9613 | -78.9613
Line_1 | 0 | 0 | 0 | 0.0024385 | 0.0024385 | 0.0024385 | 0 | 0 | 0 | 0.028157 | 0.028157 | 0.028157 | -2.5783e-09 | 1.2619e-11 | -1.5993e-11 | 0.00024256 | -0.00010545 | -0.00010545 | -3.508e-11 | 1.1048e-11 | 5.471e-12 | -0.041563 | -2.1867e-05 | -2.1867e-05 | 0 | 0 | 0 | 89.3237 | 89.3237 | 89.3237 | 1.4763 | 0.00459 | 0.00459 | 1.4761 | 0.0038249 | 0.0038249 | -0.37107 | -78.97 | -78.97 | -0.34196 | -78.9613 | -78.9613
Line_2 | 0 | 0 | 0 | 0.0024385 | 0.0024385 | 0.0024385 | 0 | 0 | 0 | 0.028157 | 0.028157 | 0.028157 | -2.5783e-09 | 1.2619e-11 | -1.5993e-11 | 0.00024256 | -0.00010545 | -0.00010545 | -3.5073e-11 | 1.1048e-11 | 5.471e-12 | -0.041563 | -2.1867e-05 | -2.1867e-05 | 0 | 0 | 0 | 89.3237 | 89.3237 | 89.3237 | 1.4763 | 0.00459 | 0.00459 | 1.4761 | 0.0038249 | 0.0038249 | -0.37107 | -78.97 | -78.97 | -0.34196 | -78.9613 | -78.9613

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0073131 | 0.0073131 | 0.0073131 | 0.0048769 | 0.0048769 | 0.0048769 | 0.084444 | 0.084444 | 0.084444 | 0.056314 | 0.056314 | 0.056314 | 0.00085421 | -7.4525e-14 | 8.0791e-14 | -0.00048512 | 0.00021091 | 0.00021091 | -0.12459 | 4.3478e-14 | 4.3682e-14 | 0.083126 | 4.3735e-05 | 4.3735e-05 | 89.4108 | 89.4108 | 89.4108 | -90.6763 | -90.6763 | -90.6763 | 1.4754 | 0 | 0 | 1.4761 | 0.0038249 | 0.0038249 | -0.19634 | 0 | 0 | -0.34196 | -78.9613 | -78.9613
Line_1 | 0 | 0 | 0 | 0.0024385 | 0.0024385 | 0.0024385 | 0 | 0 | 0 | 0.028157 | 0.028157 | 0.028157 | -2.5783e-09 | 1.2619e-11 | -1.5993e-11 | 0.00024256 | -0.00010545 | -0.00010545 | -3.508e-11 | 1.1048e-11 | 5.471e-12 | -0.041563 | -2.1867e-05 | -2.1867e-05 | 0 | 0 | 0 | 89.3237 | 89.3237 | 89.3237 | 1.4763 | 0.00459 | 0.00459 | 1.4761 | 0.0038249 | 0.0038249 | -0.37107 | -78.97 | -78.97 | -0.34196 | -78.9613 | -78.9613
Line_2 | 0 | 0 | 0 | 0.0024385 | 0.0024385 | 0.0024385 | 0 | 0 | 0 | 0.028157 | 0.028157 | 0.028157 | -2.5783e-09 | 1.2619e-11 | -1.5993e-11 | 0.00024256 | -0.00010545 | -0.00010545 | -3.5073e-11 | 1.1048e-11 | 5.471e-12 | -0.041563 | -2.1867e-05 | -2.1867e-05 | 0 | 0 | 0 | 89.3237 | 89.3237 | 89.3237 | 1.4763 | 0.00459 | 0.00459 | 1.4761 | 0.0038249 | 0.0038249 | -0.37107 | -78.97 | -78.97 | -0.34196 | -78.9613 | -78.9613

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0064783 | 0.0064783 | 0.0064783 | 0.0043202 | 0.0043202 | 0.0043202 | 0.074804 | 0.074804 | 0.074804 | 0.049885 | 0.049885 | 0.049885 | -0.0042082 | -0.046975 | 0.051854 | 0.0028641 | 0.031509 | -0.034422 | -0.10619 | 0.016186 | -0.0077613 | 0.070854 | -0.010712 | 0.0051575 | 93.2164 | 93.2164 | 93.2164 | -86.8707 | -86.8707 | -86.8707 | 1.4207 | 0.66421 | 0.70092 | 1.4215 | 0.66713 | 0.69774 | 0.94703 | -105.7961 | 84.7038 | 0.81446 | -105.6478 | 84.608
Line_1 | 0 | 0 | 0 | 0.0021601 | 0.0021601 | 0.0021601 | 0 | 0 | 0 | 0.024943 | 0.024943 | 0.024943 | -2.1985e-09 | 7.3681e-10 | 3.014e-10 | -0.0014321 | -0.015754 | 0.017211 | 7.1681e-11 | 6.081e-10 | -1.4811e-09 | -0.035427 | 0.0053562 | -0.0025788 | 0 | 0 | 0 | 93.1293 | 93.1293 | 93.1293 | 1.4217 | 0.66771 | 0.6971 | 1.4215 | 0.66713 | 0.69774 | 0.78796 | -105.6184 | 84.5888 | 0.81446 | -105.6478 | 84.608
Line_2 | 0 | 0 | 0 | 0.0021601 | 0.0021601 | 0.0021601 | 0 | 0 | 0 | 0.024943 | 0.024943 | 0.024943 | -2.1985e-09 | 7.3681e-10 | 3.0139e-10 | -0.0014321 | -0.015754 | 0.017211 | 7.1674e-11 | 6.081e-10 | -1.4811e-09 | -0.035427 | 0.0053562 | -0.0025788 | 0 | 0 | 0 | 93.1293 | 93.1293 | 93.1293 | 1.4217 | 0.66771 | 0.6971 | 1.4215 | 0.66713 | 0.69774 | 0.78796 | -105.6184 | 84.5888 | 0.81446 | -105.6478 | 84.608

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0064783 | 0.0064783 | 0.0064783 | 0.0043202 | 0.0043202 | 0.0043202 | 0.074804 | 0.074804 | 0.074804 | 0.049885 | 0.049885 | 0.049885 | -0.0042082 | -0.046975 | 0.051854 | 0.0028641 | 0.031509 | -0.034422 | -0.10619 | 0.016186 | -0.0077613 | 0.070854 | -0.010712 | 0.0051575 | 93.2164 | 93.2164 | 93.2164 | -86.8707 | -86.8707 | -86.8707 | 1.4207 | 0.66421 | 0.70092 | 1.4215 | 0.66713 | 0.69774 | 0.94703 | -105.7961 | 84.7038 | 0.81446 | -105.6478 | 84.608
Line_1 | 0 | 0 | 0 | 0.0021601 | 0.0021601 | 0.0021601 | 0 | 0 | 0 | 0.024943 | 0.024943 | 0.024943 | -2.1985e-09 | 7.3681e-10 | 3.014e-10 | -0.0014321 | -0.015754 | 0.017211 | 7.1681e-11 | 6.081e-10 | -1.4811e-09 | -0.035427 | 0.0053562 | -0.0025788 | 0 | 0 | 0 | 93.1293 | 93.1293 | 93.1293 | 1.4217 | 0.66771 | 0.6971 | 1.4215 | 0.66713 | 0.69774 | 0.78796 | -105.6184 | 84.5888 | 0.81446 | -105.6478 | 84.608
Line_2 | 0 | 0 | 0 | 0.0021601 | 0.0021601 | 0.0021601 | 0 | 0 | 0 | 0.024943 | 0.024943 | 0.024943 | -2.1985e-09 | 7.3681e-10 | 3.0139e-10 | -0.0014321 | -0.015754 | 0.017211 | 7.1674e-11 | 6.081e-10 | -1.4811e-09 | -0.035427 | 0.0053562 | -0.0025788 | 0 | 0 | 0 | 93.1293 | 93.1293 | 93.1293 | 1.4217 | 0.66771 | 0.6971 | 1.4215 | 0.66713 | 0.69774 | 0.78796 | -105.6184 | 84.5888 | 0.81446 | -105.6478 | 84.608