## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.297e-19 | 0 | -4.9284e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.297e-19 | 0 | -4.9284e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6698e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6698e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.6475e-14 | 2.0843e-14 | 5.2106e-15 | 3.1264e-14 | -1.5632e-14 | -1.0421e-14 | -2.0843e-14 | 5.7634e-09 | -5.7634e-09 | 1.5632e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.794e-12 | 180 | -180 | 1.7785e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.2262e-28 | -1.0421e-14 | -1.5632e-14 | -5.2106e-15 | 1.5632e-14 | -1.4259e-19 | 1.0421e-14 | -1.9211e-09 | 1.9211e-09 | -1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.7737e-12 | -180 | 180 | 1.7785e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -1.0421e-14 | 5.2108e-15 | 5.2106e-15 | 2.6053e-14 | -1.0421e-14 | 5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.7795e-12 | -180 | 180 | 1.7785e-12 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.6475e-14 | 2.0843e-14 | 5.2106e-15 | 3.1264e-14 | -1.5632e-14 | -1.0421e-14 | -2.0843e-14 | 5.7634e-09 | -5.7634e-09 | 1.5632e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.794e-12 | 180 | -180 | 1.7785e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.2262e-28 | -1.0421e-14 | -1.5632e-14 | -5.2106e-15 | 1.5632e-14 | -1.4259e-19 | 1.0421e-14 | -1.9211e-09 | 1.9211e-09 | -1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.7737e-12 | -180 | 180 | 1.7785e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -1.0421e-14 | 5.2108e-15 | 5.2106e-15 | 2.6053e-14 | -1.0421e-14 | 5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.7795e-12 | -180 | 180 | 1.7785e-12 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.1186e-15 | -9.5547e-10 | -3.075e-09 | 3.908e-15 | 9.5548e-10 | 3.075e-09 | -1.5632e-14 | 4.0277e-09 | -3.5663e-10 | 1.5632e-14 | -4.0277e-09 | 3.5663e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 4.3459e-13 | -140.8543 | 122.4159 | 4.2075e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | 3.185e-10 | 1.025e-09 | -2.6053e-15 | -3.1849e-10 | -1.025e-09 | 5.2106e-15 | -1.3426e-09 | 1.1889e-10 | -5.2106e-15 | 1.3426e-09 | -1.1889e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 4.1844e-13 | -140.8543 | 122.4159 | 4.2075e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 3.1849e-10 | 1.025e-09 | 1.3027e-15 | -3.1848e-10 | -1.025e-09 | -3.8356e-29 | -1.3426e-09 | 1.1888e-10 | 9.566e-30 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 4.2176e-13 | -140.8543 | 122.4159 | 4.2075e-13 | -140.8543 | 122.4159

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.1186e-15 | -9.5547e-10 | -3.075e-09 | 3.908e-15 | 9.5548e-10 | 3.075e-09 | -1.5632e-14 | 4.0277e-09 | -3.5663e-10 | 1.5632e-14 | -4.0277e-09 | 3.5663e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 4.3459e-13 | -140.8543 | 122.4159 | 4.2075e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | 3.185e-10 | 1.025e-09 | -2.6053e-15 | -3.1849e-10 | -1.025e-09 | 5.2106e-15 | -1.3426e-09 | 1.1889e-10 | -5.2106e-15 | 1.3426e-09 | -1.1889e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 4.1844e-13 | -140.8543 | 122.4159 | 4.2075e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 3.1849e-10 | 1.025e-09 | 1.3027e-15 | -3.1848e-10 | -1.025e-09 | -3.8356e-29 | -1.3426e-09 | 1.1888e-10 | 9.566e-30 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 4.2176e-13 | -140.8543 | 122.4159 | 4.2075e-13 | -140.8543 | 122.4159

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8948e-14 | -5.9212e-15 | -2.3685e-15 | 1.8948e-14 | 7.1061e-15 | 9.4746e-15 | -4.737e-15 | 4.7631e-09 | -4.7631e-09 | 3.4589e-28 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.027e-12 | -180 | 180 | 1.0459e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | -5.9209e-15 | 2.3688e-15 | -7.1054e-15 | 7.1052e-15 | -2.2923e-19 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.0255e-12 | -180 | 180 | 1.0459e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | -1.1839e-15 | 2.3688e-15 | -4.737e-15 | 2.3682e-15 | -2.2924e-19 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.0275e-12 | -180 | 180 | 1.0459e-12 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8948e-14 | -5.9212e-15 | -2.3685e-15 | 1.8948e-14 | 7.1061e-15 | 9.4746e-15 | -4.737e-15 | 4.7631e-09 | -4.7631e-09 | 3.4589e-28 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.027e-12 | -180 | 180 | 1.0459e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | -5.9209e-15 | 2.3688e-15 | -7.1054e-15 | 7.1052e-15 | -2.2923e-19 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.0255e-12 | -180 | 180 | 1.0459e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | -1.1839e-15 | 2.3688e-15 | -4.737e-15 | 2.3682e-15 | -2.2924e-19 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.0275e-12 | -180 | 180 | 1.0459e-12 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.8094e-15 | -8.0025e-10 | -2.5674e-09 | 6.8094e-15 | 8.0025e-10 | 2.5674e-09 | -4.737e-15 | 3.4014e-09 | -3.4065e-10 | 4.737e-15 | -3.4014e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 5.8646e-13 | -141.4824 | 122.8363 | 5.9203e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7764e-15 | 2.6675e-10 | 8.558e-10 | 1.7764e-15 | -2.6675e-10 | -8.558e-10 | 9.4739e-15 | -1.1338e-09 | 1.1355e-10 | -7.1054e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 5.8297e-13 | -141.4824 | 122.8363 | 5.9203e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7764e-15 | 2.6674e-10 | 8.558e-10 | 1.7764e-15 | -2.6675e-10 | -8.558e-10 | 7.1054e-15 | -1.1338e-09 | 1.1355e-10 | -7.1054e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 5.8418e-13 | -141.4824 | 122.8363 | 5.9203e-13 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.8094e-15 | -8.0025e-10 | -2.5674e-09 | 6.8094e-15 | 8.0025e-10 | 2.5674e-09 | -4.737e-15 | 3.4014e-09 | -3.4065e-10 | 4.737e-15 | -3.4014e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 5.8646e-13 | -141.4824 | 122.8363 | 5.9203e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7764e-15 | 2.6675e-10 | 8.558e-10 | 1.7764e-15 | -2.6675e-10 | -8.558e-10 | 9.4739e-15 | -1.1338e-09 | 1.1355e-10 | -7.1054e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 5.8297e-13 | -141.4824 | 122.8363 | 5.9203e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7764e-15 | 2.6674e-10 | 8.558e-10 | 1.7764e-15 | -2.6675e-10 | -8.558e-10 | 7.1054e-15 | -1.1338e-09 | 1.1355e-10 | -7.1054e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 5.8418e-13 | -141.4824 | 122.8363 | 5.9203e-13 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.015333 | 0.015333 | 0.015333 | 0.010225 | 0.010225 | 0.010225 | 0.17705 | 0.17705 | 0.17705 | 0.11807 | 0.11807 | 0.11807 | -2.428e-13 | 0.16964 | -0.16769 | 0.0004829 | -0.11279 | 0.11217 | 7.1113e-14 | -0.27373 | -0.27396 | 0.00019216 | 0.18265 | 0.18298 | -90.0383 | -90.0383 | -90.0383 | 89.9163 | 89.9163 | 89.9163 | 0 | 1.8189 | 1.8142 | 0.0044018 | 1.8181 | 1.8177 | 0 | -148.2498 | 148.4909 | 111.6152 | -148.3863 | 148.4076
Line_1 | 0 | 0 | 0 | 0.0051127 | 0.0051127 | 0.0051127 | 0 | 0 | 0 | 0.059036 | 0.059036 | 0.059036 | -7.949e-12 | -5.669e-09 | -5.6718e-09 | -0.00024145 | 0.056397 | -0.056083 | 1.9808e-11 | -3.489e-09 | 3.4873e-09 | -9.608e-05 | -0.091323 | -0.091488 | 0 | 0 | 0 | -90.0837 | -90.0837 | -90.0837 | 0.0052823 | 1.8179 | 1.8184 | 0.0044018 | 1.8181 | 1.8177 | 111.6107 | -148.4137 | 148.391 | 111.6152 | -148.3863 | 148.4076
Line_2 | 0 | 0 | 0 | 0.0051127 | 0.0051127 | 0.0051127 | 0 | 0 | 0 | 0.059036 | 0.059036 | 0.059036 | -7.9489e-12 | -5.669e-09 | -5.6718e-09 | -0.00024145 | 0.056397 | -0.056083 | 1.9808e-11 | -3.489e-09 | 3.4873e-09 | -9.608e-05 | -0.091323 | -0.091488 | 0 | 0 | 0 | -90.0837 | -90.0837 | -90.0837 | 0.0052823 | 1.8179 | 1.8184 | 0.0044018 | 1.8181 | 1.8177 | 111.6107 | -148.4137 | 148.391 | 111.6152 | -148.3863 | 148.4076

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.015333 | 0.015333 | 0.015333 | 0.010225 | 0.010225 | 0.010225 | 0.17705 | 0.17705 | 0.17705 | 0.11807 | 0.11807 | 0.11807 | -2.428e-13 | 0.16964 | -0.16769 | 0.0004829 | -0.11279 | 0.11217 | 7.1113e-14 | -0.27373 | -0.27396 | 0.00019216 | 0.18265 | 0.18298 | -90.0383 | -90.0383 | -90.0383 | 89.9163 | 89.9163 | 89.9163 | 0 | 1.8189 | 1.8142 | 0.0044018 | 1.8181 | 1.8177 | 0 | -148.2498 | 148.4909 | 111.6152 | -148.3863 | 148.4076
Line_1 | 0 | 0 | 0 | 0.0051127 | 0.0051127 | 0.0051127 | 0 | 0 | 0 | 0.059036 | 0.059036 | 0.059036 | -7.949e-12 | -5.669e-09 | -5.6718e-09 | -0.00024145 | 0.056397 | -0.056083 | 1.9808e-11 | -3.489e-09 | 3.4873e-09 | -9.608e-05 | -0.091323 | -0.091488 | 0 | 0 | 0 | -90.0837 | -90.0837 | -90.0837 | 0.0052823 | 1.8179 | 1.8184 | 0.0044018 | 1.8181 | 1.8177 | 111.6107 | -148.4137 | 148.391 | 111.6152 | -148.3863 | 148.4076
Line_2 | 0 | 0 | 0 | 0.0051127 | 0.0051127 | 0.0051127 | 0 | 0 | 0 | 0.059036 | 0.059036 | 0.059036 | -7.9489e-12 | -5.669e-09 | -5.6718e-09 | -0.00024145 | 0.056397 | -0.056083 | 1.9808e-11 | -3.489e-09 | 3.4873e-09 | -9.608e-05 | -0.091323 | -0.091488 | 0 | 0 | 0 | -90.0837 | -90.0837 | -90.0837 | 0.0052823 | 1.8179 | 1.8184 | 0.0044018 | 1.8181 | 1.8177 | 111.6107 | -148.4137 | 148.391 | 111.6152 | -148.3863 | 148.4076

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.012558 | 0.012558 | 0.012558 | 0.0083743 | 0.0083743 | 0.0083743 | 0.145 | 0.145 | 0.145 | 0.096698 | 0.096698 | 0.096698 | 0.02647 | 0.12365 | -0.14881 | -0.017315 | -0.082252 | 0.099469 | 0.026677 | -0.21986 | -0.17416 | -0.017675 | 0.14668 | 0.11635 | -80.479 | -80.479 | -80.479 | 99.4756 | 99.4756 | 99.4756 | 0.25918 | 1.7396 | 1.5798 | 0.25588 | 1.7391 | 1.583 | -35.2562 | -141.1251 | 149.0092 | -34.9334 | -141.2428 | 148.9483
Line_1 | 0 | 0 | 0 | 0.0041872 | 0.0041872 | 0.0041872 | 0 | 0 | 0 | 0.048349 | 0.048349 | 0.048349 | 6.0575e-10 | -4.5522e-09 | -3.6058e-09 | 0.0086573 | 0.041126 | -0.049735 | -5.8848e-10 | -2.5439e-09 | 3.0904e-09 | 0.0088377 | -0.073341 | -0.058176 | 0 | 0 | 0 | -80.5244 | -80.5244 | -80.5244 | 0.25522 | 1.739 | 1.5836 | 0.25588 | 1.7391 | 1.583 | -34.8678 | -141.2663 | 148.9361 | -34.9334 | -141.2428 | 148.9483
Line_2 | 0 | 0 | 0 | 0.0041872 | 0.0041872 | 0.0041872 | 0 | 0 | 0 | 0.048349 | 0.048349 | 0.048349 | 6.0575e-10 | -4.5522e-09 | -3.6058e-09 | 0.0086573 | 0.041126 | -0.049735 | -5.8849e-10 | -2.544e-09 | 3.0905e-09 | 0.0088377 | -0.073341 | -0.058176 | 0 | 0 | 0 | -80.5244 | -80.5244 | -80.5244 | 0.25522 | 1.739 | 1.5836 | 0.25588 | 1.7391 | 1.583 | -34.8678 | -141.2663 | 148.9361 | -34.9334 | -141.2428 | 148.9483

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.012558 | 0.012558 | 0.012558 | 0.0083743 | 0.0083743 | 0.0083743 | 0.145 | 0.145 | 0.145 | 0.096698 | 0.096698 | 0.096698 | 0.02647 | 0.12365 | -0.14881 | -0.017315 | -0.082252 | 0.099469 | 0.026677 | -0.21986 | -0.17416 | -0.017675 | 0.14668 | 0.11635 | -80.479 | -80.479 | -80.479 | 99.4756 | 99.4756 | 99.4756 | 0.25918 | 1.7396 | 1.5798 | 0.25588 | 1.7391 | 1.583 | -35.2562 | -141.1251 | 149.0092 | -34.9334 | -141.2428 | 148.9483
Line_1 | 0 | 0 | 0 | 0.0041872 | 0.0041872 | 0.0041872 | 0 | 0 | 0 | 0.048349 | 0.048349 | 0.048349 | 6.0575e-10 | -4.5522e-09 | -3.6058e-09 | 0.0086573 | 0.041126 | -0.049735 | -5.8848e-10 | -2.5439e-09 | 3.0904e-09 | 0.0088377 | -0.073341 | -0.058176 | 0 | 0 | 0 | -80.5244 | -80.5244 | -80.5244 | 0.25522 | 1.739 | 1.5836 | 0.25588 | 1.7391 | 1.583 | -34.8678 | -141.2663 | 148.9361 | -34.9334 | -141.2428 | 148.9483
Line_2 | 0 | 0 | 0 | 0.0041872 | 0.0041872 | 0.0041872 | 0 | 0 | 0 | 0.048349 | 0.048349 | 0.048349 | 6.0575e-10 | -4.5522e-09 | -3.6058e-09 | 0.0086573 | 0.041126 | -0.049735 | -5.8849e-10 | -2.544e-09 | 3.0905e-09 | 0.0088377 | -0.073341 | -0.058176 | 0 | 0 | 0 | -80.5244 | -80.5244 | -80.5244 | 0.25522 | 1.739 | 1.5836 | 0.25588 | 1.7391 | 1.583 | -34.8678 | -141.2663 | 148.9361 | -34.9334 | -141.2428 | 148.9483

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.013898 | 0.013898 | 0.013898 | 0.0092686 | 0.0092686 | 0.0092686 | 0.16049 | 0.16049 | 0.16049 | 0.10702 | 0.10702 | 0.10702 | 1.0544e-13 | 0.14053 | -0.13744 | 0.00076177 | -0.093179 | 0.092189 | 8.0399e-14 | -0.22447 | -0.22552 | 0.00015796 | 0.14971 | 0.15069 | -90.2164 | -90.2164 | -90.2164 | 89.6964 | 89.6964 | 89.6964 | 0 | 1.6502 | 1.6456 | 0.0072691 | 1.6476 | 1.6506 | 0 | -148.1681 | 148.4235 | 101.4115 | -148.405 | 148.2389
Line_1 | 0 | 0 | 0 | 0.0046343 | 0.0046343 | 0.0046343 | 0 | 0 | 0 | 0.053512 | 0.053512 | 0.053512 | -6.6027e-12 | -4.6378e-09 | -4.6647e-09 | -0.00038088 | 0.04659 | -0.046095 | 3.1354e-11 | -2.8774e-09 | 2.8619e-09 | -7.8982e-05 | -0.074854 | -0.075345 | 0 | 0 | 0 | -90.3036 | -90.3036 | -90.3036 | 0.0087232 | 1.6471 | 1.6516 | 0.0072691 | 1.6476 | 1.6506 | 101.4028 | -148.4524 | 148.2021 | 101.4115 | -148.405 | 148.2389
Line_2 | 0 | 0 | 0 | 0.0046343 | 0.0046343 | 0.0046343 | 0 | 0 | 0 | 0.053512 | 0.053512 | 0.053512 | -6.6028e-12 | -4.6378e-09 | -4.6647e-09 | -0.00038088 | 0.04659 | -0.046095 | 3.1354e-11 | -2.8774e-09 | 2.8619e-09 | -7.8982e-05 | -0.074854 | -0.075345 | 0 | 0 | 0 | -90.3036 | -90.3036 | -90.3036 | 0.0087232 | 1.6471 | 1.6516 | 0.0072691 | 1.6476 | 1.6506 | 101.4028 | -148.4524 | 148.2021 | 101.4115 | -148.405 | 148.2389

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.013898 | 0.013898 | 0.013898 | 0.0092686 | 0.0092686 | 0.0092686 | 0.16049 | 0.16049 | 0.16049 | 0.10702 | 0.10702 | 0.10702 | 1.0544e-13 | 0.14053 | -0.13744 | 0.00076177 | -0.093179 | 0.092189 | 8.0399e-14 | -0.22447 | -0.22552 | 0.00015796 | 0.14971 | 0.15069 | -90.2164 | -90.2164 | -90.2164 | 89.6964 | 89.6964 | 89.6964 | 0 | 1.6502 | 1.6456 | 0.0072691 | 1.6476 | 1.6506 | 0 | -148.1681 | 148.4235 | 101.4115 | -148.405 | 148.2389
Line_1 | 0 | 0 | 0 | 0.0046343 | 0.0046343 | 0.0046343 | 0 | 0 | 0 | 0.053512 | 0.053512 | 0.053512 | -6.6027e-12 | -4.6378e-09 | -4.6647e-09 | -0.00038088 | 0.04659 | -0.046095 | 3.1354e-11 | -2.8774e-09 | 2.8619e-09 | -7.8982e-05 | -0.074854 | -0.075345 | 0 | 0 | 0 | -90.3036 | -90.3036 | -90.3036 | 0.0087232 | 1.6471 | 1.6516 | 0.0072691 | 1.6476 | 1.6506 | 101.4028 | -148.4524 | 148.2021 | 101.4115 | -148.405 | 148.2389
Line_2 | 0 | 0 | 0 | 0.0046343 | 0.0046343 | 0.0046343 | 0 | 0 | 0 | 0.053512 | 0.053512 | 0.053512 | -6.6028e-12 | -4.6378e-09 | -4.6647e-09 | -0.00038088 | 0.04659 | -0.046095 | 3.1354e-11 | -2.8774e-09 | 2.8619e-09 | -7.8982e-05 | -0.074854 | -0.075345 | 0 | 0 | 0 | -90.3036 | -90.3036 | -90.3036 | 0.0087232 | 1.6471 | 1.6516 | 0.0072691 | 1.6476 | 1.6506 | 101.4028 | -148.4524 | 148.2021 | 101.4115 | -148.405 | 148.2389

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.011389 | 0.011389 | 0.011389 | 0.0075948 | 0.0075948 | 0.0075948 | 0.1315 | 0.1315 | 0.1315 | 0.087697 | 0.087697 | 0.087697 | 0.021689 | 0.10258 | -0.12219 | -0.01393 | -0.068077 | 0.081853 | 0.022015 | -0.18051 | -0.14364 | -0.014597 | 0.12038 | 0.096023 | -80.6865 | -80.6865 | -80.6865 | 99.2263 | 99.2263 | 99.2263 | 0.23501 | 1.5788 | 1.4341 | 0.23008 | 1.577 | 1.4388 | -35.2587 | -141.0784 | 148.9269 | -34.4335 | -141.2843 | 148.7809
Line_1 | 0 | 0 | 0 | 0.0037974 | 0.0037974 | 0.0037974 | 0 | 0 | 0 | 0.043848 | 0.043848 | 0.043848 | 5.018e-10 | -3.729e-09 | -2.9721e-09 | 0.006965 | 0.034038 | -0.040927 | -4.7295e-10 | -2.1023e-09 | 2.5393e-09 | 0.0072987 | -0.060189 | -0.048012 | 0 | 0 | 0 | -80.7737 | -80.7737 | -80.7737 | 0.2291 | 1.5766 | 1.4397 | 0.23008 | 1.577 | 1.4388 | -34.264 | -141.3255 | 148.7518 | -34.4335 | -141.2843 | 148.7809
Line_2 | 0 | 0 | 0 | 0.0037974 | 0.0037974 | 0.0037974 | 0 | 0 | 0 | 0.043848 | 0.043848 | 0.043848 | 5.018e-10 | -3.729e-09 | -2.9721e-09 | 0.006965 | 0.034038 | -0.040927 | -4.7295e-10 | -2.1023e-09 | 2.5393e-09 | 0.0072987 | -0.060189 | -0.048012 | 0 | 0 | 0 | -80.7737 | -80.7737 | -80.7737 | 0.2291 | 1.5766 | 1.4397 | 0.23008 | 1.577 | 1.4388 | -34.264 | -141.3255 | 148.7518 | -34.4335 | -141.2843 | 148.7809

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.011389 | 0.011389 | 0.011389 | 0.0075948 | 0.0075948 | 0.0075948 | 0.1315 | 0.1315 | 0.1315 | 0.087697 | 0.087697 | 0.087697 | 0.021689 | 0.10258 | -0.12219 | -0.01393 | -0.068077 | 0.081853 | 0.022015 | -0.18051 | -0.14364 | -0.014597 | 0.12038 | 0.096023 | -80.6865 | -80.6865 | -80.6865 | 99.2263 | 99.2263 | 99.2263 | 0.23501 | 1.5788 | 1.4341 | 0.23008 | 1.577 | 1.4388 | -35.2587 | -141.0784 | 148.9269 | -34.4335 | -141.2843 | 148.7809
Line_1 | 0 | 0 | 0 | 0.0037974 | 0.0037974 | 0.0037974 | 0 | 0 | 0 | 0.043848 | 0.043848 | 0.043848 | 5.018e-10 | -3.729e-09 | -2.9721e-09 | 0.006965 | 0.034038 | -0.040927 | -4.7295e-10 | -2.1023e-09 | 2.5393e-09 | 0.0072987 | -0.060189 | -0.048012 | 0 | 0 | 0 | -80.7737 | -80.7737 | -80.7737 | 0.2291 | 1.5766 | 1.4397 | 0.23008 | 1.577 | 1.4388 | -34.264 | -141.3255 | 148.7518 | -34.4335 | -141.2843 | 148.7809
Line_2 | 0 | 0 | 0 | 0.0037974 | 0.0037974 | 0.0037974 | 0 | 0 | 0 | 0.043848 | 0.043848 | 0.043848 | 5.018e-10 | -3.729e-09 | -2.9721e-09 | 0.006965 | 0.034038 | -0.040927 | -4.7295e-10 | -2.1023e-09 | 2.5393e-09 | 0.0072987 | -0.060189 | -0.048012 | 0 | 0 | 0 | -80.7737 | -80.7737 | -80.7737 | 0.2291 | 1.5766 | 1.4397 | 0.23008 | 1.577 | 1.4388 | -34.264 | -141.3255 | 148.7518 | -34.4335 | -141.2843 | 148.7809

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0080444 | 0.0080445 | 0.0080444 | 0.0053647 | 0.0053647 | 0.0053647 | 0.092889 | 0.092889 | 0.092889 | 0.061946 | 0.061946 | 0.061946 | 0.00053834 | -4.0382e-14 | -4.0652e-14 | -0.00030573 | 0.00013292 | 0.00013292 | -0.15075 | -7.4469e-14 | 6.9343e-14 | 0.10058 | 5.2891e-05 | 5.2891e-05 | 89.839 | 89.839 | 89.839 | -90.2064 | -90.2064 | -90.2064 | 1.6229 | 0 | 0 | 1.6237 | 0.0023093 | 0.0023093 | 0.04362 | 0 | 0 | -0.032224 | -68.5074 | -68.5075
Line_1 | 0 | 0 | 0 | 0.0026823 | 0.0026823 | 0.0026823 | 0 | 0 | 0 | 0.030973 | 0.030973 | 0.030973 | -3.1195e-09 | 6.932e-12 | -1.1083e-11 | 0.00015287 | -6.6459e-05 | -6.6459e-05 | -5.4507e-12 | 8.7462e-12 | 1.6545e-12 | -0.050292 | -2.6446e-05 | -2.6446e-05 | 0 | 0 | 0 | 89.7936 | 89.7936 | 89.7936 | 1.6239 | 0.0027713 | 0.0027713 | 1.6237 | 0.0023093 | 0.0023093 | -0.047389 | -68.512 | -68.512 | -0.032224 | -68.5074 | -68.5075
Line_2 | 0 | 0 | 0 | 0.0026823 | 0.0026823 | 0.0026823 | 0 | 0 | 0 | 0.030973 | 0.030973 | 0.030973 | -3.1196e-09 | 6.9319e-12 | -1.1083e-11 | 0.00015287 | -6.6459e-05 | -6.6459e-05 | -5.4507e-12 | 8.7461e-12 | 1.6546e-12 | -0.050292 | -2.6446e-05 | -2.6446e-05 | 0 | 0 | 0 | 89.7936 | 89.7936 | 89.7936 | 1.6239 | 0.0027713 | 0.0027713 | 1.6237 | 0.0023093 | 0.0023093 | -0.047389 | -68.512 | -68.512 | -0.032224 | -68.5074 | -68.5075

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0080444 | 0.0080445 | 0.0080444 | 0.0053647 | 0.0053647 | 0.0053647 | 0.092889 | 0.092889 | 0.092889 | 0.061946 | 0.061946 | 0.061946 | 0.00053834 | -4.0382e-14 | -4.0652e-14 | -0.00030573 | 0.00013292 | 0.00013292 | -0.15075 | -7.4469e-14 | 6.9343e-14 | 0.10058 | 5.2891e-05 | 5.2891e-05 | 89.839 | 89.839 | 89.839 | -90.2064 | -90.2064 | -90.2064 | 1.6229 | 0 | 0 | 1.6237 | 0.0023093 | 0.0023093 | 0.04362 | 0 | 0 | -0.032224 | -68.5074 | -68.5075
Line_1 | 0 | 0 | 0 | 0.0026823 | 0.0026823 | 0.0026823 | 0 | 0 | 0 | 0.030973 | 0.030973 | 0.030973 | -3.1195e-09 | 6.932e-12 | -1.1083e-11 | 0.00015287 | -6.6459e-05 | -6.6459e-05 | -5.4507e-12 | 8.7462e-12 | 1.6545e-12 | -0.050292 | -2.6446e-05 | -2.6446e-05 | 0 | 0 | 0 | 89.7936 | 89.7936 | 89.7936 | 1.6239 | 0.0027713 | 0.0027713 | 1.6237 | 0.0023093 | 0.0023093 | -0.047389 | -68.512 | -68.512 | -0.032224 | -68.5074 | -68.5075
Line_2 | 0 | 0 | 0 | 0.0026823 | 0.0026823 | 0.0026823 | 0 | 0 | 0 | 0.030973 | 0.030973 | 0.030973 | -3.1196e-09 | 6.9319e-12 | -1.1083e-11 | 0.00015287 | -6.6459e-05 | -6.6459e-05 | -5.4507e-12 | 8.7461e-12 | 1.6546e-12 | -0.050292 | -2.6446e-05 | -2.6446e-05 | 0 | 0 | 0 | 89.7936 | 89.7936 | 89.7936 | 1.6239 | 0.0027713 | 0.0027713 | 1.6237 | 0.0023093 | 0.0023093 | -0.047389 | -68.512 | -68.512 | -0.032224 | -68.5074 | -68.5075

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0072344 | 0.0072344 | 0.0072344 | 0.0048245 | 0.0048245 | 0.0048245 | 0.083536 | 0.083536 | 0.083536 | 0.055708 | 0.055708 | 0.055708 | -0.00835 | -0.056453 | 0.065238 | 0.0056068 | 0.037766 | -0.043405 | -0.13077 | 0.021177 | -0.012323 | 0.087256 | -0.01405 | 0.0082265 | 95.3409 | 95.3409 | 95.3409 | -84.7045 | -84.7045 | -84.7045 | 1.5687 | 0.72178 | 0.79477 | 1.5695 | 0.72332 | 0.79302 | 1.6874 | -105.2219 | 84.6438 | 1.6189 | -105.1114 | 84.5635
Line_1 | 0 | 0 | 0 | 0.0024122 | 0.0024122 | 0.0024122 | 0 | 0 | 0 | 0.027854 | 0.027854 | 0.027854 | -2.706e-09 | 9.0037e-10 | 3.0049e-10 | -0.0028034 | -0.018883 | 0.021702 | 1.7733e-10 | 7.5099e-10 | -1.8544e-09 | -0.043628 | 0.0070251 | -0.0041133 | 0 | 0 | 0 | 95.2955 | 95.2955 | 95.2955 | 1.5697 | 0.72363 | 0.79267 | 1.5695 | 0.72332 | 0.79302 | 1.6052 | -105.0893 | 84.5475 | 1.6189 | -105.1114 | 84.5635
Line_2 | 0 | 0 | 0 | 0.0024122 | 0.0024122 | 0.0024122 | 0 | 0 | 0 | 0.027854 | 0.027854 | 0.027854 | -2.706e-09 | 9.0036e-10 | 3.0049e-10 | -0.0028034 | -0.018883 | 0.021702 | 1.7734e-10 | 7.5099e-10 | -1.8544e-09 | -0.043628 | 0.0070251 | -0.0041133 | 0 | 0 | 0 | 95.2955 | 95.2955 | 95.2955 | 1.5697 | 0.72363 | 0.79267 | 1.5695 | 0.72332 | 0.79302 | 1.6052 | -105.0893 | 84.5475 | 1.6189 | -105.1114 | 84.5635

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0072344 | 0.0072344 | 0.0072344 | 0.0048245 | 0.0048245 | 0.0048245 | 0.083536 | 0.083536 | 0.083536 | 0.055708 | 0.055708 | 0.055708 | -0.00835 | -0.056453 | 0.065238 | 0.0056068 | 0.037766 | -0.043405 | -0.13077 | 0.021177 | -0.012323 | 0.087256 | -0.01405 | 0.0082265 | 95.3409 | 95.3409 | 95.3409 | -84.7045 | -84.7045 | -84.7045 | 1.5687 | 0.72178 | 0.79477 | 1.5695 | 0.72332 | 0.79302 | 1.6874 | -105.2219 | 84.6438 | 1.6189 | -105.1114 | 84.5635
Line_1 | 0 | 0 | 0 | 0.0024122 | 0.0024122 | 0.0024122 | 0 | 0 | 0 | 0.027854 | 0.027854 | 0.027854 | -2.706e-09 | 9.0037e-10 | 3.0049e-10 | -0.0028034 | -0.018883 | 0.021702 | 1.7733e-10 | 7.5099e-10 | -1.8544e-09 | -0.043628 | 0.0070251 | -0.0041133 | 0 | 0 | 0 | 95.2955 | 95.2955 | 95.2955 | 1.5697 | 0.72363 | 0.79267 | 1.5695 | 0.72332 | 0.79302 | 1.6052 | -105.0893 | 84.5475 | 1.6189 | -105.1114 | 84.5635
Line_2 | 0 | 0 | 0 | 0.0024122 | 0.0024122 | 0.0024122 | 0 | 0 | 0 | 0.027854 | 0.027854 | 0.027854 | -2.706e-09 | 9.0036e-10 | 3.0049e-10 | -0.0028034 | -0.018883 | 0.021702 | 1.7734e-10 | 7.5099e-10 | -1.8544e-09 | -0.043628 | 0.0070251 | -0.0041133 | 0 | 0 | 0 | 95.2955 | 95.2955 | 95.2955 | 1.5697 | 0.72363 | 0.79267 | 1.5695 | 0.72332 | 0.79302 | 1.6052 | -105.0893 | 84.5475 | 1.6189 | -105.1114 | 84.5635

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0073074 | 0.0073074 | 0.0073074 | 0.0048731 | 0.0048731 | 0.0048731 | 0.084378 | 0.084378 | 0.084378 | 0.05627 | 0.05627 | 0.05627 | 0.00085287 | -7.632e-14 | 8.2286e-14 | -0.00048436 | 0.00021058 | 0.00021058 | -0.12439 | 4.4678e-14 | 4.3801e-14 | 0.082996 | 4.3666e-05 | 4.3666e-05 | 89.6535 | 89.6535 | 89.6535 | -90.4336 | -90.4336 | -90.4336 | 1.4742 | 0 | 0 | 1.475 | 0.0038219 | 0.0038219 | 0.04638 | 0 | 0 | -0.099236 | -78.7185 | -78.7185
Line_1 | 0 | 0 | 0 | 0.0024366 | 0.0024366 | 0.0024366 | 0 | 0 | 0 | 0.028135 | 0.028135 | 0.028135 | -2.5699e-09 | 1.2562e-11 | -1.6004e-11 | 0.00024218 | -0.00010529 | -0.00010529 | -1.2117e-11 | 1.1093e-11 | 5.3993e-12 | -0.041498 | -2.1833e-05 | -2.1833e-05 | 0 | 0 | 0 | 89.5664 | 89.5664 | 89.5664 | 1.4751 | 0.0045864 | 0.0045864 | 1.475 | 0.0038219 | 0.0038219 | -0.12835 | -78.7273 | -78.7273 | -0.099236 | -78.7185 | -78.7185
Line_2 | 0 | 0 | 0 | 0.0024366 | 0.0024366 | 0.0024366 | 0 | 0 | 0 | 0.028135 | 0.028135 | 0.028135 | -2.5699e-09 | 1.2562e-11 | -1.6004e-11 | 0.00024218 | -0.00010529 | -0.00010529 | -1.211e-11 | 1.1093e-11 | 5.3993e-12 | -0.041498 | -2.1833e-05 | -2.1833e-05 | 0 | 0 | 0 | 89.5664 | 89.5664 | 89.5664 | 1.4751 | 0.0045864 | 0.0045864 | 1.475 | 0.0038219 | 0.0038219 | -0.12835 | -78.7273 | -78.7273 | -0.099236 | -78.7185 | -78.7185

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0073074 | 0.0073074 | 0.0073074 | 0.0048731 | 0.0048731 | 0.0048731 | 0.084378 | 0.084378 | 0.084378 | 0.05627 | 0.05627 | 0.05627 | 0.00085287 | -7.632e-14 | 8.2286e-14 | -0.00048436 | 0.00021058 | 0.00021058 | -0.12439 | 4.4678e-14 | 4.3801e-14 | 0.082996 | 4.3666e-05 | 4.3666e-05 | 89.6535 | 89.6535 | 89.6535 | -90.4336 | -90.4336 | -90.4336 | 1.4742 | 0 | 0 | 1.475 | 0.0038219 | 0.0038219 | 0.04638 | 0 | 0 | -0.099236 | -78.7185 | -78.7185
Line_1 | 0 | 0 | 0 | 0.0024366 | 0.0024366 | 0.0024366 | 0 | 0 | 0 | 0.028135 | 0.028135 | 0.028135 | -2.5699e-09 | 1.2562e-11 | -1.6004e-11 | 0.00024218 | -0.00010529 | -0.00010529 | -1.2117e-11 | 1.1093e-11 | 5.3993e-12 | -0.041498 | -2.1833e-05 | -2.1833e-05 | 0 | 0 | 0 | 89.5664 | 89.5664 | 89.5664 | 1.4751 | 0.0045864 | 0.0045864 | 1.475 | 0.0038219 | 0.0038219 | -0.12835 | -78.7273 | -78.7273 | -0.099236 | -78.7185 | -78.7185
Line_2 | 0 | 0 | 0 | 0.0024366 | 0.0024366 | 0.0024366 | 0 | 0 | 0 | 0.028135 | 0.028135 | 0.028135 | -2.5699e-09 | 1.2562e-11 | -1.6004e-11 | 0.00024218 | -0.00010529 | -0.00010529 | -1.211e-11 | 1.1093e-11 | 5.3993e-12 | -0.041498 | -2.1833e-05 | -2.1833e-05 | 0 | 0 | 0 | 89.5664 | 89.5664 | 89.5664 | 1.4751 | 0.0045864 | 0.0045864 | 1.475 | 0.0038219 | 0.0038219 | -0.12835 | -78.7273 | -78.7273 | -0.099236 | -78.7185 | -78.7185

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.006572 | 0.006572 | 0.006572 | 0.0043827 | 0.0043827 | 0.0043827 | 0.075887 | 0.075887 | 0.075887 | 0.050608 | 0.050608 | 0.050608 | -0.0065329 | -0.046081 | 0.053303 | 0.0044175 | 0.030918 | -0.035387 | -0.10795 | 0.017496 | -0.010165 | 0.072029 | -0.011586 | 0.0067599 | 95.1486 | 95.1486 | 95.1486 | -84.9385 | -84.9385 | -84.9386 | 1.4251 | 0.64952 | 0.71506 | 1.426 | 0.65242 | 0.71188 | 1.6853 | -105.6425 | 84.3521 | 1.552 | -105.4807 | 84.2466
Line_1 | 0 | 0 | 0 | 0.0021914 | 0.0021914 | 0.0021914 | 0 | 0 | 0 | 0.025304 | 0.025304 | 0.025304 | -2.2302e-09 | 7.5402e-10 | 2.6099e-10 | -0.0022087 | -0.015459 | 0.017693 | 1.392e-10 | 6.0157e-10 | -1.5246e-09 | -0.036015 | 0.0057929 | -0.00338 | 0 | 0 | 0 | 95.0615 | 95.0615 | 95.0615 | 1.4261 | 0.65301 | 0.71125 | 1.426 | 0.65242 | 0.71188 | 1.5253 | -105.4486 | 84.2254 | 1.552 | -105.4807 | 84.2466
Line_2 | 0 | 0 | 0 | 0.0021914 | 0.0021914 | 0.0021914 | 0 | 0 | 0 | 0.025304 | 0.025304 | 0.025304 | -2.2302e-09 | 7.5402e-10 | 2.6098e-10 | -0.0022087 | -0.015459 | 0.017693 | 1.3919e-10 | 6.0158e-10 | -1.5246e-09 | -0.036015 | 0.0057929 | -0.00338 | 0 | 0 | 0 | 95.0615 | 95.0615 | 95.0615 | 1.4261 | 0.65301 | 0.71125 | 1.426 | 0.65242 | 0.71188 | 1.5253 | -105.4486 | 84.2254 | 1.552 | -105.4807 | 84.2466

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.006572 | 0.006572 | 0.006572 | 0.0043827 | 0.0043827 | 0.0043827 | 0.075887 | 0.075887 | 0.075887 | 0.050608 | 0.050608 | 0.050608 | -0.0065329 | -0.046081 | 0.053303 | 0.0044175 | 0.030918 | -0.035387 | -0.10795 | 0.017496 | -0.010165 | 0.072029 | -0.011586 | 0.0067599 | 95.1486 | 95.1486 | 95.1486 | -84.9385 | -84.9385 | -84.9386 | 1.4251 | 0.64952 | 0.71506 | 1.426 | 0.65242 | 0.71188 | 1.6853 | -105.6425 | 84.3521 | 1.552 | -105.4807 | 84.2466
Line_1 | 0 | 0 | 0 | 0.0021914 | 0.0021914 | 0.0021914 | 0 | 0 | 0 | 0.025304 | 0.025304 | 0.025304 | -2.2302e-09 | 7.5402e-10 | 2.6099e-10 | -0.0022087 | -0.015459 | 0.017693 | 1.392e-10 | 6.0157e-10 | -1.5246e-09 | -0.036015 | 0.0057929 | -0.00338 | 0 | 0 | 0 | 95.0615 | 95.0615 | 95.0615 | 1.4261 | 0.65301 | 0.71125 | 1.426 | 0.65242 | 0.71188 | 1.5253 | -105.4486 | 84.2254 | 1.552 | -105.4807 | 84.2466
Line_2 | 0 | 0 | 0 | 0.0021914 | 0.0021914 | 0.0021914 | 0 | 0 | 0 | 0.025304 | 0.025304 | 0.025304 | -2.2302e-09 | 7.5402e-10 | 2.6098e-10 | -0.0022087 | -0.015459 | 0.017693 | 1.3919e-10 | 6.0158e-10 | -1.5246e-09 | -0.036015 | 0.0057929 | -0.00338 | 0 | 0 | 0 | 95.0615 | 95.0615 | 95.0615 | 1.4261 | 0.65301 | 0.71125 | 1.426 | 0.65242 | 0.71188 | 1.5253 | -105.4486 | 84.2254 | 1.552 | -105.4807 | 84.2466