## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.297e-19 | 0 | -4.9284e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.297e-19 | 0 | -4.9284e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6698e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6698e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0847e-20 | 4.6341e-14 | -2.2426e-14 | 5.2107e-15 | -4.113e-14 | 1.7216e-14 | 1.0421e-14 | 5.7635e-09 | -5.7633e-09 | -5.2106e-15 | -5.7635e-09 | 5.7633e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55001 | 0.54999 | 1.1 | 0.55001 | 0.54999 | 5.9637e-05 | 179.9999 | -179.9998 | 5.9637e-05 | 179.9999 | -179.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.2816e-14 | 7.4754e-15 | 5.2106e-15 | 2.7605e-14 | -1.2686e-14 | 0 | -1.9211e-09 | 1.9211e-09 | 5.4235e-21 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55001 | 0.54999 | 1.1 | 0.55001 | 0.54999 | 5.9637e-05 | 179.9999 | -179.9998 | 5.9637e-05 | 179.9999 | -179.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.2816e-14 | 7.4754e-15 | 5.2106e-15 | 2.7605e-14 | -1.2686e-14 | 0 | -1.9211e-09 | 1.9211e-09 | 5.4235e-21 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55001 | 0.54999 | 1.1 | 0.55001 | 0.54999 | 5.9637e-05 | 179.9999 | -179.9998 | 5.9637e-05 | 179.9999 | -179.9998

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0847e-20 | 4.6341e-14 | -2.2426e-14 | 5.2107e-15 | -4.113e-14 | 1.7216e-14 | 1.0421e-14 | 5.7635e-09 | -5.7633e-09 | -5.2106e-15 | -5.7635e-09 | 5.7633e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55001 | 0.54999 | 1.1 | 0.55001 | 0.54999 | 5.9637e-05 | 179.9999 | -179.9998 | 5.9637e-05 | 179.9999 | -179.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.2816e-14 | 7.4754e-15 | 5.2106e-15 | 2.7605e-14 | -1.2686e-14 | 0 | -1.9211e-09 | 1.9211e-09 | 5.4235e-21 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55001 | 0.54999 | 1.1 | 0.55001 | 0.54999 | 5.9637e-05 | 179.9999 | -179.9998 | 5.9637e-05 | 179.9999 | -179.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.2816e-14 | 7.4754e-15 | 5.2106e-15 | 2.7605e-14 | -1.2686e-14 | 0 | -1.9211e-09 | 1.9211e-09 | 5.4235e-21 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55001 | 0.54999 | 1.1 | 0.55001 | 0.54999 | 5.9637e-05 | 179.9999 | -179.9998 | 5.9637e-05 | 179.9999 | -179.9998

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.676e-14 | -3.285e-14 | -1.0421e-14 | -5.9365e-14 | 1.2008e-14 | 0 | 5.7634e-09 | -5.7633e-09 | 1.5632e-14 | -5.7635e-09 | 5.7633e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55001 | 0.54999 | 1.1 | 0.55001 | 0.54999 | 5.9637e-05 | 179.9999 | -179.9998 | 5.9637e-05 | 179.9999 | -179.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -2.2394e-14 | 7.4764e-15 | 5.2106e-15 | 1.9788e-14 | -2.8319e-14 | 5.2106e-15 | -1.9212e-09 | 1.9211e-09 | 1.0421e-14 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55001 | 0.54999 | 1.1 | 0.55001 | 0.54999 | 5.9637e-05 | 179.9999 | -179.9998 | 5.9637e-05 | 179.9999 | -179.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -2.2394e-14 | 7.4764e-15 | 5.2106e-15 | 1.9788e-14 | -2.8319e-14 | 5.2106e-15 | -1.9212e-09 | 1.9211e-09 | 1.0421e-14 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55001 | 0.54999 | 1.1 | 0.55001 | 0.54999 | 5.9637e-05 | 179.9999 | -179.9998 | 5.9637e-05 | 179.9999 | -179.9998

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.676e-14 | -3.285e-14 | -1.0421e-14 | -5.9365e-14 | 1.2008e-14 | 0 | 5.7634e-09 | -5.7633e-09 | 1.5632e-14 | -5.7635e-09 | 5.7633e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55001 | 0.54999 | 1.1 | 0.55001 | 0.54999 | 5.9637e-05 | 179.9999 | -179.9998 | 5.9637e-05 | 179.9999 | -179.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -2.2394e-14 | 7.4764e-15 | 5.2106e-15 | 1.9788e-14 | -2.8319e-14 | 5.2106e-15 | -1.9212e-09 | 1.9211e-09 | 1.0421e-14 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55001 | 0.54999 | 1.1 | 0.55001 | 0.54999 | 5.9637e-05 | 179.9999 | -179.9998 | 5.9637e-05 | 179.9999 | -179.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -2.2394e-14 | 7.4764e-15 | 5.2106e-15 | 1.9788e-14 | -2.8319e-14 | 5.2106e-15 | -1.9212e-09 | 1.9211e-09 | 1.0421e-14 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55001 | 0.54999 | 1.1 | 0.55001 | 0.54999 | 5.9637e-05 | 179.9999 | -179.9998 | 5.9637e-05 | 179.9999 | -179.9998

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 6.8342e-14 | 4.3239e-14 | 2.3685e-15 | -5.8868e-14 | -3.8501e-14 | 3.0026e-21 | 4.7632e-09 | -4.7631e-09 | -4.737e-15 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -7.2636e-05 | 179.9992 | -179.9994 | -7.2636e-05 | 179.9992 | -179.9994
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.9623e-14 | -1.4413e-14 | 2.3685e-15 | 2.436e-14 | 1.915e-14 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -7.2636e-05 | 179.9992 | -179.9994 | -7.2636e-05 | 179.9992 | -179.9994
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.9623e-14 | -1.4413e-14 | 2.3685e-15 | 2.436e-14 | 1.915e-14 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -7.2636e-05 | 179.9992 | -179.9994 | -7.2636e-05 | 179.9992 | -179.9994

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 6.8342e-14 | 4.3239e-14 | 2.3685e-15 | -5.8868e-14 | -3.8501e-14 | 3.0026e-21 | 4.7632e-09 | -4.7631e-09 | -4.737e-15 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -7.2636e-05 | 179.9992 | -179.9994 | -7.2636e-05 | 179.9992 | -179.9994
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.9623e-14 | -1.4413e-14 | 2.3685e-15 | 2.436e-14 | 1.915e-14 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -7.2636e-05 | 179.9992 | -179.9994 | -7.2636e-05 | 179.9992 | -179.9994
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.9623e-14 | -1.4413e-14 | 2.3685e-15 | 2.436e-14 | 1.915e-14 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -7.2636e-05 | 179.9992 | -179.9994 | -7.2636e-05 | 179.9992 | -179.9994

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 6.4787e-14 | 4.5605e-14 | 2.3685e-15 | -6.1234e-14 | -4.0867e-14 | 4.737e-15 | 4.7632e-09 | -4.7631e-09 | -3.0026e-21 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -7.2636e-05 | 179.9992 | -179.9994 | -7.2636e-05 | 179.9992 | -179.9994
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.7369e-15 | -2.3175e-14 | -2.1517e-14 | 4.7369e-15 | 2.6727e-14 | 2.6254e-14 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -7.2636e-05 | 179.9992 | -179.9994 | -7.2636e-05 | 179.9992 | -179.9994
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.7369e-15 | -2.3175e-14 | -2.1517e-14 | 4.7369e-15 | 2.6727e-14 | 2.6254e-14 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -7.2636e-05 | 179.9992 | -179.9994 | -7.2636e-05 | 179.9992 | -179.9994

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 6.4787e-14 | 4.5605e-14 | 2.3685e-15 | -6.1234e-14 | -4.0867e-14 | 4.737e-15 | 4.7632e-09 | -4.7631e-09 | -3.0026e-21 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -7.2636e-05 | 179.9992 | -179.9994 | -7.2636e-05 | 179.9992 | -179.9994
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.7369e-15 | -2.3175e-14 | -2.1517e-14 | 4.7369e-15 | 2.6727e-14 | 2.6254e-14 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -7.2636e-05 | 179.9992 | -179.9994 | -7.2636e-05 | 179.9992 | -179.9994
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.7369e-15 | -2.3175e-14 | -2.1517e-14 | 4.7369e-15 | 2.6727e-14 | 2.6254e-14 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -7.2636e-05 | 179.9992 | -179.9994 | -7.2636e-05 | 179.9992 | -179.9994

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.1846e-19 | 2.1835e-14 | -2.409e-14 | 4.6184e-18 | 4.052e-12 | -4.0453e-12 | -1.8822e-19 | 1.9211e-09 | -1.9211e-09 | 2.3936e-18 | 6.3878e-10 | -6.3877e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2797e-18 | -1.4266e-14 | -2.4091e-14 | -1.7763e-18 | -2.0038e-12 | 2.0286e-12 | 6.8369e-19 | 1.9211e-09 | -1.9211e-09 | -9.2079e-19 | 6.4118e-10 | -6.4116e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2797e-18 | -1.4266e-14 | -2.4091e-14 | -1.7763e-18 | -2.0038e-12 | 2.0286e-12 | 6.8369e-19 | 1.9211e-09 | -1.9211e-09 | -9.2079e-19 | 6.4118e-10 | -6.4116e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.1846e-19 | 2.1835e-14 | -2.409e-14 | 4.6184e-18 | 4.052e-12 | -4.0453e-12 | -1.8822e-19 | 1.9211e-09 | -1.9211e-09 | 2.3936e-18 | 6.3878e-10 | -6.3877e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2797e-18 | -1.4266e-14 | -2.4091e-14 | -1.7763e-18 | -2.0038e-12 | 2.0286e-12 | 6.8369e-19 | 1.9211e-09 | -1.9211e-09 | -9.2079e-19 | 6.4118e-10 | -6.4116e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2797e-18 | -1.4266e-14 | -2.4091e-14 | -1.7763e-18 | -2.0038e-12 | 2.0286e-12 | 6.8369e-19 | 1.9211e-09 | -1.9211e-09 | -9.2079e-19 | 6.4118e-10 | -6.4116e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.892e-17 | 2.1836e-14 | -6.0391e-15 | 2.0477e-17 | 4.0407e-12 | -4.0723e-12 | -1.8489e-17 | 1.9211e-09 | -1.9211e-09 | 1.826e-17 | 6.3879e-10 | -6.3875e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.9399e-18 | 3.7853e-15 | -2.409e-14 | -7.8755e-18 | -2.0331e-12 | 2.0377e-12 | 4.3439e-18 | 1.9211e-09 | -1.9211e-09 | -7.0239e-18 | 6.4118e-10 | -6.4118e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.9399e-18 | 3.7853e-15 | -2.409e-14 | -7.8755e-18 | -2.0331e-12 | 2.0377e-12 | 4.3439e-18 | 1.9211e-09 | -1.9211e-09 | -7.0239e-18 | 6.4118e-10 | -6.4118e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.892e-17 | 2.1836e-14 | -6.0391e-15 | 2.0477e-17 | 4.0407e-12 | -4.0723e-12 | -1.8489e-17 | 1.9211e-09 | -1.9211e-09 | 1.826e-17 | 6.3879e-10 | -6.3875e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.9399e-18 | 3.7853e-15 | -2.409e-14 | -7.8755e-18 | -2.0331e-12 | 2.0377e-12 | 4.3439e-18 | 1.9211e-09 | -1.9211e-09 | -7.0239e-18 | 6.4118e-10 | -6.4118e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.9399e-18 | 3.7853e-15 | -2.409e-14 | -7.8755e-18 | -2.0331e-12 | 2.0377e-12 | 4.3439e-18 | 1.9211e-09 | -1.9211e-09 | -7.0239e-18 | 6.4118e-10 | -6.4118e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.9774e-19 | 1.9833e-15 | -9.5606e-16 | 6.6493e-18 | 6.4475e-12 | -6.4485e-12 | 2.8625e-19 | 1.5877e-09 | -1.5877e-09 | 1.5923e-18 | 5.2791e-10 | -5.2791e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8738e-18 | 1.0187e-14 | -9.5664e-16 | -2.5574e-18 | -3.2217e-12 | 3.2166e-12 | 4.7508e-19 | 1.5877e-09 | -1.5877e-09 | -6.128e-19 | 5.2991e-10 | -5.299e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8738e-18 | 1.0187e-14 | -9.5664e-16 | -2.5574e-18 | -3.2217e-12 | 3.2166e-12 | 4.7508e-19 | 1.5877e-09 | -1.5877e-09 | -6.128e-19 | 5.2991e-10 | -5.299e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.9774e-19 | 1.9833e-15 | -9.5606e-16 | 6.6493e-18 | 6.4475e-12 | -6.4485e-12 | 2.8625e-19 | 1.5877e-09 | -1.5877e-09 | 1.5923e-18 | 5.2791e-10 | -5.2791e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8738e-18 | 1.0187e-14 | -9.5664e-16 | -2.5574e-18 | -3.2217e-12 | 3.2166e-12 | 4.7508e-19 | 1.5877e-09 | -1.5877e-09 | -6.128e-19 | 5.2991e-10 | -5.299e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8738e-18 | 1.0187e-14 | -9.5664e-16 | -2.5574e-18 | -3.2217e-12 | 3.2166e-12 | 4.7508e-19 | 1.5877e-09 | -1.5877e-09 | -6.128e-19 | 5.2991e-10 | -5.299e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5323e-17 | 5.0607e-15 | -5.0576e-15 | 1.9753e-17 | 6.4423e-12 | -6.4423e-12 | -1.4839e-17 | 1.5877e-09 | -1.5877e-09 | 1.4708e-17 | 5.2793e-10 | -5.2792e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.8988e-18 | 9.5781e-16 | -9.1605e-15 | -7.5966e-18 | -3.2268e-12 | 3.2268e-12 | 3.5e-18 | 1.5877e-09 | -1.5877e-09 | -5.6581e-18 | 5.299e-10 | -5.2991e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.8988e-18 | 9.5781e-16 | -9.1605e-15 | -7.5966e-18 | -3.2268e-12 | 3.2268e-12 | 3.5e-18 | 1.5877e-09 | -1.5877e-09 | -5.6581e-18 | 5.299e-10 | -5.2991e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5323e-17 | 5.0607e-15 | -5.0576e-15 | 1.9753e-17 | 6.4423e-12 | -6.4423e-12 | -1.4839e-17 | 1.5877e-09 | -1.5877e-09 | 1.4708e-17 | 5.2793e-10 | -5.2792e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.8988e-18 | 9.5781e-16 | -9.1605e-15 | -7.5966e-18 | -3.2268e-12 | 3.2268e-12 | 3.5e-18 | 1.5877e-09 | -1.5877e-09 | -5.6581e-18 | 5.299e-10 | -5.2991e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.8988e-18 | 9.5781e-16 | -9.1605e-15 | -7.5966e-18 | -3.2268e-12 | 3.2268e-12 | 3.5e-18 | 1.5877e-09 | -1.5877e-09 | -5.6581e-18 | 5.299e-10 | -5.2991e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.334e-14 | -8.0994e-14 | 1.9133e-13 | -4.4396e-15 | 5.6713e-14 | -1.4925e-13 | -1.7979e-15 | 8.8311e-14 | 4.4773e-14 | -5.698e-16 | -7.8358e-14 | -5.3866e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3372e-06 | 4.8842e-06 | 8.0092e-06 | 3.3376e-06 | 4.8845e-06 | 8.0087e-06 | -172.3237 | 157.8107 | -12.1134 | -172.3228 | 157.8146 | -12.115
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3341e-14 | 2.6789e-15 | -2.1662e-14 | -4.4505e-15 | -2.7017e-14 | 6.3793e-14 | -1.7982e-15 | -1.9518e-14 | -2.3961e-14 | -6.1448e-16 | 2.942e-14 | 1.4952e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3376e-06 | 4.8845e-06 | 8.0087e-06 | 3.3376e-06 | 4.8845e-06 | 8.0087e-06 | -172.3227 | 157.8155 | -12.1153 | -172.3228 | 157.8146 | -12.115
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3341e-14 | 2.6789e-15 | -2.1662e-14 | -4.4505e-15 | -2.7017e-14 | 6.3793e-14 | -1.7982e-15 | -1.9518e-14 | -2.3961e-14 | -6.1448e-16 | 2.942e-14 | 1.4952e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3376e-06 | 4.8845e-06 | 8.0087e-06 | 3.3376e-06 | 4.8845e-06 | 8.0087e-06 | -172.3227 | 157.8155 | -12.1153 | -172.3228 | 157.8146 | -12.115

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.334e-14 | -8.0994e-14 | 1.9133e-13 | -4.4396e-15 | 5.6713e-14 | -1.4925e-13 | -1.7979e-15 | 8.8311e-14 | 4.4773e-14 | -5.698e-16 | -7.8358e-14 | -5.3866e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3372e-06 | 4.8842e-06 | 8.0092e-06 | 3.3376e-06 | 4.8845e-06 | 8.0087e-06 | -172.3237 | 157.8107 | -12.1134 | -172.3228 | 157.8146 | -12.115
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3341e-14 | 2.6789e-15 | -2.1662e-14 | -4.4505e-15 | -2.7017e-14 | 6.3793e-14 | -1.7982e-15 | -1.9518e-14 | -2.3961e-14 | -6.1448e-16 | 2.942e-14 | 1.4952e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3376e-06 | 4.8845e-06 | 8.0087e-06 | 3.3376e-06 | 4.8845e-06 | 8.0087e-06 | -172.3227 | 157.8155 | -12.1153 | -172.3228 | 157.8146 | -12.115
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3341e-14 | 2.6789e-15 | -2.1662e-14 | -4.4505e-15 | -2.7017e-14 | 6.3793e-14 | -1.7982e-15 | -1.9518e-14 | -2.3961e-14 | -6.1448e-16 | 2.942e-14 | 1.4952e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3376e-06 | 4.8845e-06 | 8.0087e-06 | 3.3376e-06 | 4.8845e-06 | 8.0087e-06 | -172.3227 | 157.8155 | -12.1153 | -172.3228 | 157.8146 | -12.115

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3332e-14 | -8.1018e-14 | 1.913e-13 | -4.4369e-15 | 5.6734e-14 | -1.4923e-13 | -1.7907e-15 | 8.8283e-14 | 4.475e-14 | -5.6736e-16 | -7.8338e-14 | -5.3845e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3352e-06 | 4.884e-06 | 8.0078e-06 | 3.3355e-06 | 4.8843e-06 | 8.0074e-06 | -172.3504 | 157.828 | -12.1182 | -172.3495 | 157.8318 | -12.1198
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3334e-14 | 2.6846e-15 | -2.1661e-14 | -4.4481e-15 | -2.7025e-14 | 6.3784e-14 | -1.791e-15 | -1.9516e-14 | -2.3956e-14 | -6.1197e-16 | 2.9411e-14 | 1.4945e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3356e-06 | 4.8843e-06 | 8.0073e-06 | 3.3355e-06 | 4.8843e-06 | 8.0074e-06 | -172.3495 | 157.8327 | -12.1202 | -172.3495 | 157.8318 | -12.1198
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3334e-14 | 2.6846e-15 | -2.1661e-14 | -4.4481e-15 | -2.7025e-14 | 6.3784e-14 | -1.791e-15 | -1.9516e-14 | -2.3956e-14 | -6.1197e-16 | 2.9411e-14 | 1.4945e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3356e-06 | 4.8843e-06 | 8.0073e-06 | 3.3355e-06 | 4.8843e-06 | 8.0074e-06 | -172.3495 | 157.8327 | -12.1202 | -172.3495 | 157.8318 | -12.1198

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3332e-14 | -8.1018e-14 | 1.913e-13 | -4.4369e-15 | 5.6734e-14 | -1.4923e-13 | -1.7907e-15 | 8.8283e-14 | 4.475e-14 | -5.6736e-16 | -7.8338e-14 | -5.3845e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3352e-06 | 4.884e-06 | 8.0078e-06 | 3.3355e-06 | 4.8843e-06 | 8.0074e-06 | -172.3504 | 157.828 | -12.1182 | -172.3495 | 157.8318 | -12.1198
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3334e-14 | 2.6846e-15 | -2.1661e-14 | -4.4481e-15 | -2.7025e-14 | 6.3784e-14 | -1.791e-15 | -1.9516e-14 | -2.3956e-14 | -6.1197e-16 | 2.9411e-14 | 1.4945e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3356e-06 | 4.8843e-06 | 8.0073e-06 | 3.3355e-06 | 4.8843e-06 | 8.0074e-06 | -172.3495 | 157.8327 | -12.1202 | -172.3495 | 157.8318 | -12.1198
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3334e-14 | 2.6846e-15 | -2.1661e-14 | -4.4481e-15 | -2.7025e-14 | 6.3784e-14 | -1.791e-15 | -1.9516e-14 | -2.3956e-14 | -6.1197e-16 | 2.9411e-14 | 1.4945e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3356e-06 | 4.8843e-06 | 8.0073e-06 | 3.3355e-06 | 4.8843e-06 | 8.0074e-06 | -172.3495 | 157.8327 | -12.1202 | -172.3495 | 157.8318 | -12.1198

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.0242e-15 | 4.4086e-14 | 3.0081e-14 | 2.2746e-15 | -5.1315e-14 | -3.2124e-14 | -1.4851e-14 | 1.7196e-13 | -8.4988e-14 | -4.9666e-15 | -1.3376e-13 | 6.5354e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4806e-06 | 7.9595e-06 | 4.0422e-06 | 4.4805e-06 | 7.9594e-06 | 4.0424e-06 | -64.687 | 100.906 | -95.7939 | -64.6941 | 100.9109 | -95.8041
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.0219e-15 | -2.2055e-14 | -1.2021e-14 | 2.3738e-15 | 1.463e-14 | 1.0052e-14 | -1.4852e-14 | -1.9113e-14 | 8.6716e-15 | -4.9426e-15 | 5.7322e-14 | -2.8342e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4804e-06 | 7.9594e-06 | 4.0424e-06 | 4.4805e-06 | 7.9594e-06 | 4.0424e-06 | -64.6953 | 100.9119 | -95.8063 | -64.6941 | 100.9109 | -95.8041
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.0219e-15 | -2.2055e-14 | -1.2021e-14 | 2.3738e-15 | 1.463e-14 | 1.0052e-14 | -1.4852e-14 | -1.9113e-14 | 8.6716e-15 | -4.9426e-15 | 5.7322e-14 | -2.8342e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4804e-06 | 7.9594e-06 | 4.0424e-06 | 4.4805e-06 | 7.9594e-06 | 4.0424e-06 | -64.6953 | 100.9119 | -95.8063 | -64.6941 | 100.9109 | -95.8041

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.0242e-15 | 4.4086e-14 | 3.0081e-14 | 2.2746e-15 | -5.1315e-14 | -3.2124e-14 | -1.4851e-14 | 1.7196e-13 | -8.4988e-14 | -4.9666e-15 | -1.3376e-13 | 6.5354e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4806e-06 | 7.9595e-06 | 4.0422e-06 | 4.4805e-06 | 7.9594e-06 | 4.0424e-06 | -64.687 | 100.906 | -95.7939 | -64.6941 | 100.9109 | -95.8041
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.0219e-15 | -2.2055e-14 | -1.2021e-14 | 2.3738e-15 | 1.463e-14 | 1.0052e-14 | -1.4852e-14 | -1.9113e-14 | 8.6716e-15 | -4.9426e-15 | 5.7322e-14 | -2.8342e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4804e-06 | 7.9594e-06 | 4.0424e-06 | 4.4805e-06 | 7.9594e-06 | 4.0424e-06 | -64.6953 | 100.9119 | -95.8063 | -64.6941 | 100.9109 | -95.8041
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.0219e-15 | -2.2055e-14 | -1.2021e-14 | 2.3738e-15 | 1.463e-14 | 1.0052e-14 | -1.4852e-14 | -1.9113e-14 | 8.6716e-15 | -4.9426e-15 | 5.7322e-14 | -2.8342e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4804e-06 | 7.9594e-06 | 4.0424e-06 | 4.4805e-06 | 7.9594e-06 | 4.0424e-06 | -64.6953 | 100.9119 | -95.8063 | -64.6941 | 100.9109 | -95.8041

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.0304e-15 | 4.4066e-14 | 3.0059e-14 | 2.2767e-15 | -5.1297e-14 | -3.2108e-14 | -1.4845e-14 | 1.7194e-13 | -8.5008e-14 | -4.9646e-15 | -1.3374e-13 | 6.5372e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4798e-06 | 7.9583e-06 | 4.0427e-06 | 4.4797e-06 | 7.9582e-06 | 4.0429e-06 | -64.6589 | 100.9103 | -95.8117 | -64.666 | 100.9152 | -95.8219
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.028e-15 | -2.2051e-14 | -1.2019e-14 | 2.3757e-15 | 1.4623e-14 | 1.0044e-14 | -1.4846e-14 | -1.9112e-14 | 8.6764e-15 | -4.9404e-15 | 5.7314e-14 | -2.8348e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4796e-06 | 7.9582e-06 | 4.0429e-06 | 4.4797e-06 | 7.9582e-06 | 4.0429e-06 | -64.6672 | 100.9162 | -95.8241 | -64.666 | 100.9152 | -95.8219
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.028e-15 | -2.2051e-14 | -1.2019e-14 | 2.3757e-15 | 1.4623e-14 | 1.0044e-14 | -1.4846e-14 | -1.9112e-14 | 8.6764e-15 | -4.9404e-15 | 5.7314e-14 | -2.8348e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4796e-06 | 7.9582e-06 | 4.0429e-06 | 4.4797e-06 | 7.9582e-06 | 4.0429e-06 | -64.6672 | 100.9162 | -95.8241 | -64.666 | 100.9152 | -95.8219

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.0304e-15 | 4.4066e-14 | 3.0059e-14 | 2.2767e-15 | -5.1297e-14 | -3.2108e-14 | -1.4845e-14 | 1.7194e-13 | -8.5008e-14 | -4.9646e-15 | -1.3374e-13 | 6.5372e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4798e-06 | 7.9583e-06 | 4.0427e-06 | 4.4797e-06 | 7.9582e-06 | 4.0429e-06 | -64.6589 | 100.9103 | -95.8117 | -64.666 | 100.9152 | -95.8219
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.028e-15 | -2.2051e-14 | -1.2019e-14 | 2.3757e-15 | 1.4623e-14 | 1.0044e-14 | -1.4846e-14 | -1.9112e-14 | 8.6764e-15 | -4.9404e-15 | 5.7314e-14 | -2.8348e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4796e-06 | 7.9582e-06 | 4.0429e-06 | 4.4797e-06 | 7.9582e-06 | 4.0429e-06 | -64.6672 | 100.9162 | -95.8241 | -64.666 | 100.9152 | -95.8219
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.028e-15 | -2.2051e-14 | -1.2019e-14 | 2.3757e-15 | 1.4623e-14 | 1.0044e-14 | -1.4846e-14 | -1.9112e-14 | 8.6764e-15 | -4.9404e-15 | 5.7314e-14 | -2.8348e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4796e-06 | 7.9582e-06 | 4.0429e-06 | 4.4797e-06 | 7.9582e-06 | 4.0429e-06 | -64.6672 | 100.9162 | -95.8241 | -64.666 | 100.9152 | -95.8219