## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.297e-19 | 0 | -4.9284e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.297e-19 | 0 | -4.9284e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6698e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6698e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 2.8659e-14 | -2.0843e-14 | -2.2628e-28 | -1.5632e-14 | 1.5632e-14 | -1.5632e-14 | 5.7634e-09 | -5.7634e-09 | 1.5632e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.5812e-13 | 180 | -180 | 8.2939e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -2.6051e-15 | 1.9011e-19 | -5.2106e-15 | 1.5632e-14 | -5.2108e-15 | 1.0421e-14 | -1.9211e-09 | 1.9211e-09 | -1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.2184e-13 | -180 | 180 | 8.2939e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -2.6051e-15 | 1.9011e-19 | -5.2106e-15 | 1.5632e-14 | -5.2108e-15 | 5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.3033e-13 | -180 | 180 | 8.2939e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 2.8659e-14 | -2.0843e-14 | -2.2628e-28 | -1.5632e-14 | 1.5632e-14 | -1.5632e-14 | 5.7634e-09 | -5.7634e-09 | 1.5632e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.5812e-13 | 180 | -180 | 8.2939e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -2.6051e-15 | 1.9011e-19 | -5.2106e-15 | 1.5632e-14 | -5.2108e-15 | 1.0421e-14 | -1.9211e-09 | 1.9211e-09 | -1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.2184e-13 | -180 | 180 | 8.2939e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -2.6051e-15 | 1.9011e-19 | -5.2106e-15 | 1.5632e-14 | -5.2108e-15 | 5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.3033e-13 | -180 | 180 | 8.2939e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | -9.5547e-10 | -3.075e-09 | -1.3416e-28 | 9.5548e-10 | 3.075e-09 | -1.0421e-14 | 4.0277e-09 | -3.5664e-10 | 1.5632e-14 | -4.0277e-09 | 3.5664e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 4.9869e-13 | -140.8543 | 122.4159 | 4.9172e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3027e-15 | 3.1849e-10 | 1.025e-09 | 1.3027e-15 | -3.1849e-10 | -1.025e-09 | 7.816e-15 | -1.3426e-09 | 1.1889e-10 | -5.2106e-15 | 1.3426e-09 | -1.1889e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 4.8957e-13 | -140.8543 | 122.4159 | 4.9172e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3027e-15 | 3.1849e-10 | 1.025e-09 | -1.3027e-15 | -3.1849e-10 | -1.025e-09 | -1.1208e-29 | -1.3426e-09 | 1.1888e-10 | 2.6053e-15 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 4.9297e-13 | -140.8543 | 122.4159 | 4.9172e-13 | -140.8543 | 122.4159

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | -9.5547e-10 | -3.075e-09 | -1.3416e-28 | 9.5548e-10 | 3.075e-09 | -1.0421e-14 | 4.0277e-09 | -3.5664e-10 | 1.5632e-14 | -4.0277e-09 | 3.5664e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 4.9869e-13 | -140.8543 | 122.4159 | 4.9172e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3027e-15 | 3.1849e-10 | 1.025e-09 | 1.3027e-15 | -3.1849e-10 | -1.025e-09 | 7.816e-15 | -1.3426e-09 | 1.1889e-10 | -5.2106e-15 | 1.3426e-09 | -1.1889e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 4.8957e-13 | -140.8543 | 122.4159 | 4.9172e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3027e-15 | 3.1849e-10 | 1.025e-09 | -1.3027e-15 | -3.1849e-10 | -1.025e-09 | -1.1208e-29 | -1.3426e-09 | 1.1888e-10 | 2.6053e-15 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 4.9297e-13 | -140.8543 | 122.4159 | 4.9172e-13 | -140.8543 | 122.4159

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.1316e-14 | -3.5527e-15 | -7.1054e-15 | 2.1316e-14 | 3.5534e-15 | 9.4746e-15 | -2.839e-28 | 4.7631e-09 | -4.7631e-09 | -9.4739e-15 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.631e-13 | -180 | 180 | 8.0755e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.4739e-15 | 1.1845e-15 | 1.1843e-14 | -9.4739e-15 | -1.1845e-15 | -4.7372e-15 | -1.8948e-14 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.0703e-13 | -180 | 180 | 8.0755e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 1.1845e-15 | 7.1057e-15 | 6.6764e-29 | -1.1845e-15 | -4.7372e-15 | -3.2614e-29 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.8897e-13 | -180 | 180 | 8.0755e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.1316e-14 | -3.5527e-15 | -7.1054e-15 | 2.1316e-14 | 3.5534e-15 | 9.4746e-15 | -2.839e-28 | 4.7631e-09 | -4.7631e-09 | -9.4739e-15 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.631e-13 | -180 | 180 | 8.0755e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.4739e-15 | 1.1845e-15 | 1.1843e-14 | -9.4739e-15 | -1.1845e-15 | -4.7372e-15 | -1.8948e-14 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.0703e-13 | -180 | 180 | 8.0755e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 1.1845e-15 | 7.1057e-15 | 6.6764e-29 | -1.1845e-15 | -4.7372e-15 | -3.2614e-29 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.8897e-13 | -180 | 180 | 8.0755e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.2172e-15 | -8.0023e-10 | -2.5674e-09 | 5.9212e-15 | 8.0022e-10 | 2.5674e-09 | 2.3685e-15 | 3.4014e-09 | -3.4064e-10 | 5.0715e-29 | -3.4014e-09 | 3.4064e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 4.6648e-13 | -141.4824 | 122.8363 | 4.9073e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.0724e-15 | 2.6675e-10 | 8.558e-10 | -2.0724e-15 | -2.6676e-10 | -8.558e-10 | -2.3685e-15 | -1.1338e-09 | 1.1355e-10 | 2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 4.9046e-13 | -141.4824 | 122.8363 | 4.9073e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.8818e-16 | 2.6675e-10 | 8.558e-10 | 8.8818e-16 | -2.6675e-10 | -8.5579e-10 | 2.3685e-15 | -1.1338e-09 | 1.1355e-10 | 7.6072e-30 | 1.1338e-09 | -1.1354e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 4.8282e-13 | -141.4824 | 122.8363 | 4.9073e-13 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.2172e-15 | -8.0023e-10 | -2.5674e-09 | 5.9212e-15 | 8.0022e-10 | 2.5674e-09 | 2.3685e-15 | 3.4014e-09 | -3.4064e-10 | 5.0715e-29 | -3.4014e-09 | 3.4064e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 4.6648e-13 | -141.4824 | 122.8363 | 4.9073e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.0724e-15 | 2.6675e-10 | 8.558e-10 | -2.0724e-15 | -2.6676e-10 | -8.558e-10 | -2.3685e-15 | -1.1338e-09 | 1.1355e-10 | 2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 4.9046e-13 | -141.4824 | 122.8363 | 4.9073e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.8818e-16 | 2.6675e-10 | 8.558e-10 | 8.8818e-16 | -2.6675e-10 | -8.5579e-10 | 2.3685e-15 | -1.1338e-09 | 1.1355e-10 | 7.6072e-30 | 1.1338e-09 | -1.1354e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 4.8282e-13 | -141.4824 | 122.8363 | 4.9073e-13 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.015111 | 0.015111 | 0.015111 | 0.010077 | 0.010077 | 0.010077 | 0.17449 | 0.17449 | 0.17449 | 0.11636 | 0.11636 | 0.11636 | -2.8852e-13 | 0.16712 | -0.16522 | 0.00046901 | -0.11112 | 0.11051 | 8.3759e-14 | -0.26182 | -0.27011 | 0.00018663 | 0.1747 | 0.18041 | -91.4298 | -91.4298 | -91.4298 | 88.5248 | 88.5248 | 88.5248 | 0 | 1.7801 | 1.8147 | 0.004338 | 1.7793 | 1.8181 | 0 | -148.8793 | 147.1172 | 110.2238 | -149.0165 | 147.0351
Line_1 | 0 | 0 | 0 | 0.0050386 | 0.0050386 | 0.0050386 | 0 | 0 | 0 | 0.058181 | 0.058181 | 0.058181 | -7.3561e-12 | -5.3327e-09 | -5.5945e-09 | -0.0002345 | 0.055559 | -0.055254 | 1.9703e-11 | -3.4837e-09 | 3.3326e-09 | -9.3315e-05 | -0.087349 | -0.090203 | 0 | 0 | 0 | -91.4752 | -91.4752 | -91.4752 | 0.0052057 | 1.7791 | 1.8188 | 0.004338 | 1.7793 | 1.8181 | 110.2192 | -149.0439 | 147.0187 | 110.2238 | -149.0165 | 147.0351
Line_2 | 0 | 0 | 0 | 0.0050386 | 0.0050386 | 0.0050386 | 0 | 0 | 0 | 0.058181 | 0.058181 | 0.058181 | -7.356e-12 | -5.3327e-09 | -5.5944e-09 | -0.0002345 | 0.055559 | -0.055254 | 1.9703e-11 | -3.4837e-09 | 3.3326e-09 | -9.3315e-05 | -0.087349 | -0.090203 | 0 | 0 | 0 | -91.4752 | -91.4752 | -91.4752 | 0.0052057 | 1.7791 | 1.8188 | 0.004338 | 1.7793 | 1.8181 | 110.2192 | -149.0439 | 147.0187 | 110.2238 | -149.0165 | 147.0351

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.015111 | 0.015111 | 0.015111 | 0.010077 | 0.010077 | 0.010077 | 0.17449 | 0.17449 | 0.17449 | 0.11636 | 0.11636 | 0.11636 | -2.8852e-13 | 0.16712 | -0.16522 | 0.00046901 | -0.11112 | 0.11051 | 8.3759e-14 | -0.26182 | -0.27011 | 0.00018663 | 0.1747 | 0.18041 | -91.4298 | -91.4298 | -91.4298 | 88.5248 | 88.5248 | 88.5248 | 0 | 1.7801 | 1.8147 | 0.004338 | 1.7793 | 1.8181 | 0 | -148.8793 | 147.1172 | 110.2238 | -149.0165 | 147.0351
Line_1 | 0 | 0 | 0 | 0.0050386 | 0.0050386 | 0.0050386 | 0 | 0 | 0 | 0.058181 | 0.058181 | 0.058181 | -7.3561e-12 | -5.3327e-09 | -5.5945e-09 | -0.0002345 | 0.055559 | -0.055254 | 1.9703e-11 | -3.4837e-09 | 3.3326e-09 | -9.3315e-05 | -0.087349 | -0.090203 | 0 | 0 | 0 | -91.4752 | -91.4752 | -91.4752 | 0.0052057 | 1.7791 | 1.8188 | 0.004338 | 1.7793 | 1.8181 | 110.2192 | -149.0439 | 147.0187 | 110.2238 | -149.0165 | 147.0351
Line_2 | 0 | 0 | 0 | 0.0050386 | 0.0050386 | 0.0050386 | 0 | 0 | 0 | 0.058181 | 0.058181 | 0.058181 | -7.356e-12 | -5.3327e-09 | -5.5944e-09 | -0.0002345 | 0.055559 | -0.055254 | 1.9703e-11 | -3.4837e-09 | 3.3326e-09 | -9.3315e-05 | -0.087349 | -0.090203 | 0 | 0 | 0 | -91.4752 | -91.4752 | -91.4752 | 0.0052057 | 1.7791 | 1.8188 | 0.004338 | 1.7793 | 1.8181 | 110.2192 | -149.0439 | 147.0187 | 110.2238 | -149.0165 | 147.0351

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.011352 | 0.011352 | 0.011352 | 0.0075705 | 0.0075705 | 0.0075705 | 0.13108 | 0.13108 | 0.13108 | 0.087416 | 0.087416 | 0.087416 | 0.01745 | 0.11603 | -0.13241 | -0.011354 | -0.077208 | 0.088483 | 0.035146 | -0.18045 | -0.1549 | -0.023342 | 0.12038 | 0.10348 | -84.1296 | -84.1296 | -84.1296 | 95.825 | 95.825 | 95.825 | 0.29935 | 1.6366 | 1.5546 | 0.29693 | 1.636 | 1.5575 | -20.5348 | -141.3881 | 145.3473 | -20.1145 | -141.5002 | 145.2913
Line_1 | 0 | 0 | 0 | 0.0037852 | 0.0037852 | 0.0037852 | 0 | 0 | 0 | 0.043708 | 0.043708 | 0.043708 | 8.0113e-10 | -3.6742e-09 | -3.2186e-09 | 0.005677 | 0.038604 | -0.044241 | -4.0953e-10 | -2.4206e-09 | 2.6836e-09 | 0.011671 | -0.06019 | -0.051738 | 0 | 0 | 0 | -84.175 | -84.175 | -84.175 | 0.29645 | 1.6359 | 1.5581 | 0.29693 | 1.636 | 1.5575 | -20.0295 | -141.5226 | 145.2801 | -20.1145 | -141.5002 | 145.2913
Line_2 | 0 | 0 | 0 | 0.0037852 | 0.0037852 | 0.0037852 | 0 | 0 | 0 | 0.043708 | 0.043708 | 0.043708 | 8.0113e-10 | -3.6743e-09 | -3.2186e-09 | 0.005677 | 0.038604 | -0.044241 | -4.0953e-10 | -2.4206e-09 | 2.6836e-09 | 0.011671 | -0.06019 | -0.051738 | 0 | 0 | 0 | -84.175 | -84.175 | -84.175 | 0.29645 | 1.6359 | 1.5581 | 0.29693 | 1.636 | 1.5575 | -20.0295 | -141.5226 | 145.2801 | -20.1145 | -141.5002 | 145.2913

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.011352 | 0.011352 | 0.011352 | 0.0075705 | 0.0075705 | 0.0075705 | 0.13108 | 0.13108 | 0.13108 | 0.087416 | 0.087416 | 0.087416 | 0.01745 | 0.11603 | -0.13241 | -0.011354 | -0.077208 | 0.088483 | 0.035146 | -0.18045 | -0.1549 | -0.023342 | 0.12038 | 0.10348 | -84.1296 | -84.1296 | -84.1296 | 95.825 | 95.825 | 95.825 | 0.29935 | 1.6366 | 1.5546 | 0.29693 | 1.636 | 1.5575 | -20.5348 | -141.3881 | 145.3473 | -20.1145 | -141.5002 | 145.2913
Line_1 | 0 | 0 | 0 | 0.0037852 | 0.0037852 | 0.0037852 | 0 | 0 | 0 | 0.043708 | 0.043708 | 0.043708 | 8.0113e-10 | -3.6742e-09 | -3.2186e-09 | 0.005677 | 0.038604 | -0.044241 | -4.0953e-10 | -2.4206e-09 | 2.6836e-09 | 0.011671 | -0.06019 | -0.051738 | 0 | 0 | 0 | -84.175 | -84.175 | -84.175 | 0.29645 | 1.6359 | 1.5581 | 0.29693 | 1.636 | 1.5575 | -20.0295 | -141.5226 | 145.2801 | -20.1145 | -141.5002 | 145.2913
Line_2 | 0 | 0 | 0 | 0.0037852 | 0.0037852 | 0.0037852 | 0 | 0 | 0 | 0.043708 | 0.043708 | 0.043708 | 8.0113e-10 | -3.6743e-09 | -3.2186e-09 | 0.005677 | 0.038604 | -0.044241 | -4.0953e-10 | -2.4206e-09 | 2.6836e-09 | 0.011671 | -0.06019 | -0.051738 | 0 | 0 | 0 | -84.175 | -84.175 | -84.175 | 0.29645 | 1.6359 | 1.5581 | 0.29693 | 1.636 | 1.5575 | -20.0295 | -141.5226 | 145.2801 | -20.1145 | -141.5002 | 145.2913

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.013688 | 0.013688 | 0.013688 | 0.0091282 | 0.0091282 | 0.0091282 | 0.15806 | 0.15806 | 0.15806 | 0.1054 | 0.1054 | 0.1054 | 1.1581e-13 | 0.13832 | -0.13533 | 0.00073887 | -0.091719 | 0.090759 | 1.0203e-13 | -0.21425 | -0.22221 | 0.00015321 | 0.14289 | 0.14848 | -91.6664 | -91.6664 | -91.6664 | 88.2465 | 88.2465 | 88.2465 | 0 | 1.6135 | 1.6461 | 0.007159 | 1.6109 | 1.651 | 0 | -148.8203 | 146.9922 | 99.9615 | -149.0576 | 146.8104
Line_1 | 0 | 0 | 0 | 0.0045641 | 0.0045641 | 0.0045641 | 0 | 0 | 0 | 0.052702 | 0.052702 | 0.052702 | -5.715e-12 | -4.3498e-09 | -4.5984e-09 | -0.00036943 | 0.04586 | -0.045379 | 3.1027e-11 | -2.8722e-09 | 2.7286e-09 | -7.6607e-05 | -0.071445 | -0.074238 | 0 | 0 | 0 | -91.7535 | -91.7535 | -91.7535 | 0.0085911 | 1.6104 | 1.652 | 0.007159 | 1.6109 | 1.651 | 99.9528 | -149.1052 | 146.7741 | 99.9615 | -149.0576 | 146.8104
Line_2 | 0 | 0 | 0 | 0.0045641 | 0.0045641 | 0.0045641 | 0 | 0 | 0 | 0.052702 | 0.052702 | 0.052702 | -5.7152e-12 | -4.3498e-09 | -4.5984e-09 | -0.00036943 | 0.04586 | -0.045379 | 3.1027e-11 | -2.8721e-09 | 2.7286e-09 | -7.6607e-05 | -0.071445 | -0.074238 | 0 | 0 | 0 | -91.7535 | -91.7535 | -91.7535 | 0.0085911 | 1.6104 | 1.652 | 0.007159 | 1.6109 | 1.651 | 99.9528 | -149.1052 | 146.7741 | 99.9615 | -149.0576 | 146.8104

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.013688 | 0.013688 | 0.013688 | 0.0091282 | 0.0091282 | 0.0091282 | 0.15806 | 0.15806 | 0.15806 | 0.1054 | 0.1054 | 0.1054 | 1.1581e-13 | 0.13832 | -0.13533 | 0.00073887 | -0.091719 | 0.090759 | 1.0203e-13 | -0.21425 | -0.22221 | 0.00015321 | 0.14289 | 0.14848 | -91.6664 | -91.6664 | -91.6664 | 88.2465 | 88.2465 | 88.2465 | 0 | 1.6135 | 1.6461 | 0.007159 | 1.6109 | 1.651 | 0 | -148.8203 | 146.9922 | 99.9615 | -149.0576 | 146.8104
Line_1 | 0 | 0 | 0 | 0.0045641 | 0.0045641 | 0.0045641 | 0 | 0 | 0 | 0.052702 | 0.052702 | 0.052702 | -5.715e-12 | -4.3498e-09 | -4.5984e-09 | -0.00036943 | 0.04586 | -0.045379 | 3.1027e-11 | -2.8722e-09 | 2.7286e-09 | -7.6607e-05 | -0.071445 | -0.074238 | 0 | 0 | 0 | -91.7535 | -91.7535 | -91.7535 | 0.0085911 | 1.6104 | 1.652 | 0.007159 | 1.6109 | 1.651 | 99.9528 | -149.1052 | 146.7741 | 99.9615 | -149.0576 | 146.8104
Line_2 | 0 | 0 | 0 | 0.0045641 | 0.0045641 | 0.0045641 | 0 | 0 | 0 | 0.052702 | 0.052702 | 0.052702 | -5.7152e-12 | -4.3498e-09 | -4.5984e-09 | -0.00036943 | 0.04586 | -0.045379 | 3.1027e-11 | -2.8721e-09 | 2.7286e-09 | -7.6607e-05 | -0.071445 | -0.074238 | 0 | 0 | 0 | -91.7535 | -91.7535 | -91.7535 | 0.0085911 | 1.6104 | 1.652 | 0.007159 | 1.6109 | 1.651 | 99.9528 | -149.1052 | 146.7741 | 99.9615 | -149.0576 | 146.8104

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010294 | 0.010294 | 0.010294 | 0.0068645 | 0.0068645 | 0.0068645 | 0.11886 | 0.11886 | 0.11886 | 0.079264 | 0.079264 | 0.079264 | 0.014246 | 0.096163 | -0.10872 | -0.0090533 | -0.063861 | 0.072789 | 0.028941 | -0.14797 | -0.1278 | -0.019228 | 0.098667 | 0.085422 | -84.3766 | -84.3766 | -84.3766 | 95.5363 | 95.5363 | 95.5363 | 0.27139 | 1.4847 | 1.4116 | 0.26813 | 1.4828 | 1.4159 | -20.5851 | -141.3576 | 145.2358 | -19.6765 | -141.5514 | 145.1017
Line_1 | 0 | 0 | 0 | 0.0034323 | 0.0034323 | 0.0034323 | 0 | 0 | 0 | 0.039632 | 0.039632 | 0.039632 | 6.6221e-10 | -3.0033e-09 | -2.6543e-09 | 0.0045266 | 0.03193 | -0.036394 | -3.2726e-10 | -2e-09 | 2.2015e-09 | 0.0096141 | -0.049334 | -0.042711 | 0 | 0 | 0 | -84.4637 | -84.4637 | -84.4637 | 0.26748 | 1.4824 | 1.4167 | 0.26813 | 1.4828 | 1.4159 | -19.4919 | -141.5901 | 145.0749 | -19.6765 | -141.5514 | 145.1017
Line_2 | 0 | 0 | 0 | 0.0034323 | 0.0034323 | 0.0034323 | 0 | 0 | 0 | 0.039632 | 0.039632 | 0.039632 | 6.6222e-10 | -3.0032e-09 | -2.6543e-09 | 0.0045266 | 0.03193 | -0.036394 | -3.2725e-10 | -2e-09 | 2.2015e-09 | 0.0096141 | -0.049334 | -0.042711 | 0 | 0 | 0 | -84.4637 | -84.4637 | -84.4637 | 0.26748 | 1.4824 | 1.4167 | 0.26813 | 1.4828 | 1.4159 | -19.4919 | -141.5901 | 145.0749 | -19.6765 | -141.5514 | 145.1017

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010294 | 0.010294 | 0.010294 | 0.0068645 | 0.0068645 | 0.0068645 | 0.11886 | 0.11886 | 0.11886 | 0.079264 | 0.079264 | 0.079264 | 0.014246 | 0.096163 | -0.10872 | -0.0090533 | -0.063861 | 0.072789 | 0.028941 | -0.14797 | -0.1278 | -0.019228 | 0.098667 | 0.085422 | -84.3766 | -84.3766 | -84.3766 | 95.5363 | 95.5363 | 95.5363 | 0.27139 | 1.4847 | 1.4116 | 0.26813 | 1.4828 | 1.4159 | -20.5851 | -141.3576 | 145.2358 | -19.6765 | -141.5514 | 145.1017
Line_1 | 0 | 0 | 0 | 0.0034323 | 0.0034323 | 0.0034323 | 0 | 0 | 0 | 0.039632 | 0.039632 | 0.039632 | 6.6221e-10 | -3.0033e-09 | -2.6543e-09 | 0.0045266 | 0.03193 | -0.036394 | -3.2726e-10 | -2e-09 | 2.2015e-09 | 0.0096141 | -0.049334 | -0.042711 | 0 | 0 | 0 | -84.4637 | -84.4637 | -84.4637 | 0.26748 | 1.4824 | 1.4167 | 0.26813 | 1.4828 | 1.4159 | -19.4919 | -141.5901 | 145.0749 | -19.6765 | -141.5514 | 145.1017
Line_2 | 0 | 0 | 0 | 0.0034323 | 0.0034323 | 0.0034323 | 0 | 0 | 0 | 0.039632 | 0.039632 | 0.039632 | 6.6222e-10 | -3.0032e-09 | -2.6543e-09 | 0.0045266 | 0.03193 | -0.036394 | -3.2725e-10 | -2e-09 | 2.2015e-09 | 0.0096141 | -0.049334 | -0.042711 | 0 | 0 | 0 | -84.4637 | -84.4637 | -84.4637 | 0.26748 | 1.4824 | 1.4167 | 0.26813 | 1.4828 | 1.4159 | -19.4919 | -141.5901 | 145.0749 | -19.6765 | -141.5514 | 145.1017

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0080139 | 0.0080139 | 0.0080139 | 0.0053443 | 0.0053443 | 0.0053443 | 0.092536 | 0.092536 | 0.092536 | 0.06171 | 0.06171 | 0.06171 | 0.00053426 | -4.1393e-14 | -4.2233e-14 | -0.00030342 | 0.00013191 | 0.00013191 | -0.14961 | -7.9102e-14 | 7.5206e-14 | 0.099821 | 5.249e-05 | 5.249e-05 | 89.4705 | 89.4705 | 89.4705 | -90.5748 | -90.5748 | -90.5748 | 1.6167 | 0 | 0 | 1.6176 | 0.0023006 | 0.0023006 | -0.32485 | 0 | 0 | -0.40069 | -68.8759 | -68.8759
Line_1 | 0 | 0 | 0 | 0.0026721 | 0.0026721 | 0.0026721 | 0 | 0 | 0 | 0.030855 | 0.030855 | 0.030855 | -3.0713e-09 | 6.9615e-12 | -1.103e-11 | 0.00015171 | -6.5955e-05 | -6.5955e-05 | -4.7368e-11 | 8.6682e-12 | 1.719e-12 | -0.04991 | -2.6245e-05 | -2.6245e-05 | 0 | 0 | 0 | 89.4252 | 89.4252 | 89.4252 | 1.6177 | 0.0027608 | 0.0027608 | 1.6176 | 0.0023006 | 0.0023006 | -0.41586 | -68.8805 | -68.8805 | -0.40069 | -68.8759 | -68.8759
Line_2 | 0 | 0 | 0 | 0.0026721 | 0.0026721 | 0.0026721 | 0 | 0 | 0 | 0.030855 | 0.030855 | 0.030855 | -3.0713e-09 | 6.9615e-12 | -1.103e-11 | 0.00015171 | -6.5955e-05 | -6.5955e-05 | -4.7337e-11 | 8.6682e-12 | 1.719e-12 | -0.04991 | -2.6245e-05 | -2.6245e-05 | 0 | 0 | 0 | 89.4252 | 89.4252 | 89.4252 | 1.6177 | 0.0027608 | 0.0027608 | 1.6176 | 0.0023006 | 0.0023006 | -0.41586 | -68.8805 | -68.8805 | -0.40069 | -68.8759 | -68.8759

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0080139 | 0.0080139 | 0.0080139 | 0.0053443 | 0.0053443 | 0.0053443 | 0.092536 | 0.092536 | 0.092536 | 0.06171 | 0.06171 | 0.06171 | 0.00053426 | -4.1393e-14 | -4.2233e-14 | -0.00030342 | 0.00013191 | 0.00013191 | -0.14961 | -7.9102e-14 | 7.5206e-14 | 0.099821 | 5.249e-05 | 5.249e-05 | 89.4705 | 89.4705 | 89.4705 | -90.5748 | -90.5748 | -90.5748 | 1.6167 | 0 | 0 | 1.6176 | 0.0023006 | 0.0023006 | -0.32485 | 0 | 0 | -0.40069 | -68.8759 | -68.8759
Line_1 | 0 | 0 | 0 | 0.0026721 | 0.0026721 | 0.0026721 | 0 | 0 | 0 | 0.030855 | 0.030855 | 0.030855 | -3.0713e-09 | 6.9615e-12 | -1.103e-11 | 0.00015171 | -6.5955e-05 | -6.5955e-05 | -4.7368e-11 | 8.6682e-12 | 1.719e-12 | -0.04991 | -2.6245e-05 | -2.6245e-05 | 0 | 0 | 0 | 89.4252 | 89.4252 | 89.4252 | 1.6177 | 0.0027608 | 0.0027608 | 1.6176 | 0.0023006 | 0.0023006 | -0.41586 | -68.8805 | -68.8805 | -0.40069 | -68.8759 | -68.8759
Line_2 | 0 | 0 | 0 | 0.0026721 | 0.0026721 | 0.0026721 | 0 | 0 | 0 | 0.030855 | 0.030855 | 0.030855 | -3.0713e-09 | 6.9615e-12 | -1.103e-11 | 0.00015171 | -6.5955e-05 | -6.5955e-05 | -4.7337e-11 | 8.6682e-12 | 1.719e-12 | -0.04991 | -2.6245e-05 | -2.6245e-05 | 0 | 0 | 0 | 89.4252 | 89.4252 | 89.4252 | 1.6177 | 0.0027608 | 0.0027608 | 1.6176 | 0.0023006 | 0.0023006 | -0.41586 | -68.8805 | -68.8805 | -0.40069 | -68.8759 | -68.8759

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0068232 | 0.0068232 | 0.0068232 | 0.0045503 | 0.0045503 | 0.0045503 | 0.078788 | 0.078788 | 0.078788 | 0.052542 | 0.052542 | 0.052542 | -0.0059169 | -0.054659 | 0.060963 | 0.0039775 | 0.036557 | -0.040564 | -0.12115 | 0.020517 | -0.0078199 | 0.080833 | -0.013615 | 0.0052207 | 93.7196 | 93.7196 | 93.7196 | -86.3258 | -86.3258 | -86.3258 | 1.5395 | 0.74101 | 0.78011 | 1.5403 | 0.74246 | 0.77839 | 0.9235 | -106.8545 | 86.4101 | 0.85717 | -106.7529 | 86.3402
Line_1 | 0 | 0 | 0 | 0.0022751 | 0.0022751 | 0.0022751 | 0 | 0 | 0 | 0.026271 | 0.026271 | 0.026271 | -2.4887e-09 | 8.9298e-10 | 3.9191e-10 | -0.0019887 | -0.018279 | 0.020282 | 9.1501e-11 | 6.8752e-10 | -1.74e-09 | -0.040417 | 0.0068076 | -0.0026104 | 0 | 0 | 0 | 93.6742 | 93.6742 | 93.6742 | 1.5405 | 0.74276 | 0.77805 | 1.5403 | 0.74246 | 0.77839 | 0.84391 | -106.7327 | 86.3262 | 0.85717 | -106.7529 | 86.3402
Line_2 | 0 | 0 | 0 | 0.0022751 | 0.0022751 | 0.0022751 | 0 | 0 | 0 | 0.026271 | 0.026271 | 0.026271 | -2.4887e-09 | 8.9298e-10 | 3.9191e-10 | -0.0019887 | -0.018279 | 0.020282 | 9.1494e-11 | 6.8751e-10 | -1.74e-09 | -0.040417 | 0.0068076 | -0.0026104 | 0 | 0 | 0 | 93.6742 | 93.6742 | 93.6742 | 1.5405 | 0.74276 | 0.77805 | 1.5403 | 0.74246 | 0.77839 | 0.84391 | -106.7327 | 86.3262 | 0.85717 | -106.7529 | 86.3402

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0068232 | 0.0068232 | 0.0068232 | 0.0045503 | 0.0045503 | 0.0045503 | 0.078788 | 0.078788 | 0.078788 | 0.052542 | 0.052542 | 0.052542 | -0.0059169 | -0.054659 | 0.060963 | 0.0039775 | 0.036557 | -0.040564 | -0.12115 | 0.020517 | -0.0078199 | 0.080833 | -0.013615 | 0.0052207 | 93.7196 | 93.7196 | 93.7196 | -86.3258 | -86.3258 | -86.3258 | 1.5395 | 0.74101 | 0.78011 | 1.5403 | 0.74246 | 0.77839 | 0.9235 | -106.8545 | 86.4101 | 0.85717 | -106.7529 | 86.3402
Line_1 | 0 | 0 | 0 | 0.0022751 | 0.0022751 | 0.0022751 | 0 | 0 | 0 | 0.026271 | 0.026271 | 0.026271 | -2.4887e-09 | 8.9298e-10 | 3.9191e-10 | -0.0019887 | -0.018279 | 0.020282 | 9.1501e-11 | 6.8752e-10 | -1.74e-09 | -0.040417 | 0.0068076 | -0.0026104 | 0 | 0 | 0 | 93.6742 | 93.6742 | 93.6742 | 1.5405 | 0.74276 | 0.77805 | 1.5403 | 0.74246 | 0.77839 | 0.84391 | -106.7327 | 86.3262 | 0.85717 | -106.7529 | 86.3402
Line_2 | 0 | 0 | 0 | 0.0022751 | 0.0022751 | 0.0022751 | 0 | 0 | 0 | 0.026271 | 0.026271 | 0.026271 | -2.4887e-09 | 8.9298e-10 | 3.9191e-10 | -0.0019887 | -0.018279 | 0.020282 | 9.1494e-11 | 6.8751e-10 | -1.74e-09 | -0.040417 | 0.0068076 | -0.0026104 | 0 | 0 | 0 | 93.6742 | 93.6742 | 93.6742 | 1.5405 | 0.74276 | 0.77805 | 1.5403 | 0.74246 | 0.77839 | 0.84391 | -106.7327 | 86.3262 | 0.85717 | -106.7529 | 86.3402

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0072783 | 0.0072783 | 0.0072783 | 0.0048537 | 0.0048537 | 0.0048537 | 0.084042 | 0.084042 | 0.084042 | 0.056046 | 0.056046 | 0.056046 | 0.00084609 | -7.5765e-14 | 8.3469e-14 | -0.00048051 | 0.0002089 | 0.0002089 | -0.1234 | 4.7817e-14 | 4.2361e-14 | 0.082336 | 4.3319e-05 | 4.3319e-05 | 89.2686 | 89.2686 | 89.2686 | -90.8186 | -90.8186 | -90.8186 | 1.4684 | 0 | 0 | 1.4691 | 0.0038067 | 0.0038067 | -0.33857 | 0 | 0 | -0.48418 | -79.1035 | -79.1035
Line_1 | 0 | 0 | 0 | 0.0024269 | 0.0024269 | 0.0024269 | 0 | 0 | 0 | 0.028023 | 0.028023 | 0.028023 | -2.5283e-09 | 1.2586e-11 | -1.5903e-11 | 0.00024025 | -0.00010445 | -0.00010445 | -4.8266e-11 | 1.0964e-11 | 5.4842e-12 | -0.041168 | -2.166e-05 | -2.166e-05 | 0 | 0 | 0 | 89.1814 | 89.1814 | 89.1814 | 1.4693 | 0.0045682 | 0.0045682 | 1.4691 | 0.0038067 | 0.0038067 | -0.5133 | -79.1122 | -79.1122 | -0.48418 | -79.1035 | -79.1035
Line_2 | 0 | 0 | 0 | 0.0024269 | 0.0024269 | 0.0024269 | 0 | 0 | 0 | 0.028023 | 0.028023 | 0.028023 | -2.5283e-09 | 1.2586e-11 | -1.5903e-11 | 0.00024025 | -0.00010445 | -0.00010445 | -4.8266e-11 | 1.0964e-11 | 5.4843e-12 | -0.041168 | -2.166e-05 | -2.166e-05 | 0 | 0 | 0 | 89.1814 | 89.1814 | 89.1814 | 1.4693 | 0.0045682 | 0.0045682 | 1.4691 | 0.0038067 | 0.0038067 | -0.5133 | -79.1122 | -79.1122 | -0.48418 | -79.1035 | -79.1035

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0072783 | 0.0072783 | 0.0072783 | 0.0048537 | 0.0048537 | 0.0048537 | 0.084042 | 0.084042 | 0.084042 | 0.056046 | 0.056046 | 0.056046 | 0.00084609 | -7.5765e-14 | 8.3469e-14 | -0.00048051 | 0.0002089 | 0.0002089 | -0.1234 | 4.7817e-14 | 4.2361e-14 | 0.082336 | 4.3319e-05 | 4.3319e-05 | 89.2686 | 89.2686 | 89.2686 | -90.8186 | -90.8186 | -90.8186 | 1.4684 | 0 | 0 | 1.4691 | 0.0038067 | 0.0038067 | -0.33857 | 0 | 0 | -0.48418 | -79.1035 | -79.1035
Line_1 | 0 | 0 | 0 | 0.0024269 | 0.0024269 | 0.0024269 | 0 | 0 | 0 | 0.028023 | 0.028023 | 0.028023 | -2.5283e-09 | 1.2586e-11 | -1.5903e-11 | 0.00024025 | -0.00010445 | -0.00010445 | -4.8266e-11 | 1.0964e-11 | 5.4842e-12 | -0.041168 | -2.166e-05 | -2.166e-05 | 0 | 0 | 0 | 89.1814 | 89.1814 | 89.1814 | 1.4693 | 0.0045682 | 0.0045682 | 1.4691 | 0.0038067 | 0.0038067 | -0.5133 | -79.1122 | -79.1122 | -0.48418 | -79.1035 | -79.1035
Line_2 | 0 | 0 | 0 | 0.0024269 | 0.0024269 | 0.0024269 | 0 | 0 | 0 | 0.028023 | 0.028023 | 0.028023 | -2.5283e-09 | 1.2586e-11 | -1.5903e-11 | 0.00024025 | -0.00010445 | -0.00010445 | -4.8266e-11 | 1.0964e-11 | 5.4843e-12 | -0.041168 | -2.166e-05 | -2.166e-05 | 0 | 0 | 0 | 89.1814 | 89.1814 | 89.1814 | 1.4693 | 0.0045682 | 0.0045682 | 1.4691 | 0.0038067 | 0.0038067 | -0.5133 | -79.1122 | -79.1122 | -0.48418 | -79.1035 | -79.1035

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.006198 | 0.006198 | 0.006198 | 0.0041333 | 0.0041333 | 0.0041333 | 0.071568 | 0.071568 | 0.071568 | 0.047727 | 0.047727 | 0.047727 | -0.0045515 | -0.044634 | 0.049799 | 0.0030854 | 0.029934 | -0.033065 | -0.099982 | 0.016948 | -0.0064552 | 0.066711 | -0.011226 | 0.0042857 | 93.5144 | 93.5144 | 93.5144 | -86.5727 | -86.5727 | -86.5727 | 1.3985 | 0.6671 | 0.70165 | 1.3993 | 0.66984 | 0.69859 | 0.9079 | -107.2778 | 86.1287 | 0.77924 | -107.1292 | 86.0421
Line_1 | 0 | 0 | 0 | 0.0020667 | 0.0020667 | 0.0020667 | 0 | 0 | 0 | 0.023864 | 0.023864 | 0.023864 | -2.0499e-09 | 7.4817e-10 | 3.3604e-10 | -0.0015427 | -0.014967 | 0.016533 | 6.7483e-11 | 5.4879e-10 | -1.4302e-09 | -0.033356 | 0.0056128 | -0.0021428 | 0 | 0 | 0 | 93.4273 | 93.4273 | 93.4273 | 1.3994 | 0.67039 | 0.69797 | 1.3993 | 0.66984 | 0.69859 | 0.75352 | -107.0996 | 86.0247 | 0.77924 | -107.1292 | 86.0421
Line_2 | 0 | 0 | 0 | 0.0020667 | 0.0020667 | 0.0020667 | 0 | 0 | 0 | 0.023864 | 0.023864 | 0.023864 | -2.0499e-09 | 7.4816e-10 | 3.3604e-10 | -0.0015427 | -0.014967 | 0.016533 | 6.7474e-11 | 5.4879e-10 | -1.4302e-09 | -0.033356 | 0.0056128 | -0.0021428 | 0 | 0 | 0 | 93.4273 | 93.4273 | 93.4273 | 1.3994 | 0.67039 | 0.69797 | 1.3993 | 0.66984 | 0.69859 | 0.75352 | -107.0996 | 86.0247 | 0.77924 | -107.1292 | 86.0421

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.006198 | 0.006198 | 0.006198 | 0.0041333 | 0.0041333 | 0.0041333 | 0.071568 | 0.071568 | 0.071568 | 0.047727 | 0.047727 | 0.047727 | -0.0045515 | -0.044634 | 0.049799 | 0.0030854 | 0.029934 | -0.033065 | -0.099982 | 0.016948 | -0.0064552 | 0.066711 | -0.011226 | 0.0042857 | 93.5144 | 93.5144 | 93.5144 | -86.5727 | -86.5727 | -86.5727 | 1.3985 | 0.6671 | 0.70165 | 1.3993 | 0.66984 | 0.69859 | 0.9079 | -107.2778 | 86.1287 | 0.77924 | -107.1292 | 86.0421
Line_1 | 0 | 0 | 0 | 0.0020667 | 0.0020667 | 0.0020667 | 0 | 0 | 0 | 0.023864 | 0.023864 | 0.023864 | -2.0499e-09 | 7.4817e-10 | 3.3604e-10 | -0.0015427 | -0.014967 | 0.016533 | 6.7483e-11 | 5.4879e-10 | -1.4302e-09 | -0.033356 | 0.0056128 | -0.0021428 | 0 | 0 | 0 | 93.4273 | 93.4273 | 93.4273 | 1.3994 | 0.67039 | 0.69797 | 1.3993 | 0.66984 | 0.69859 | 0.75352 | -107.0996 | 86.0247 | 0.77924 | -107.1292 | 86.0421
Line_2 | 0 | 0 | 0 | 0.0020667 | 0.0020667 | 0.0020667 | 0 | 0 | 0 | 0.023864 | 0.023864 | 0.023864 | -2.0499e-09 | 7.4816e-10 | 3.3604e-10 | -0.0015427 | -0.014967 | 0.016533 | 6.7474e-11 | 5.4879e-10 | -1.4302e-09 | -0.033356 | 0.0056128 | -0.0021428 | 0 | 0 | 0 | 93.4273 | 93.4273 | 93.4273 | 1.3994 | 0.67039 | 0.69797 | 1.3993 | 0.66984 | 0.69859 | 0.75352 | -107.0996 | 86.0247 | 0.77924 | -107.1292 | 86.0421