## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6014e-19 | 0 | -1.2512e-19 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.32e-20 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -2.0843e-14 | 30.1766 | -15.8685 | 1.5632e-14 | -23.0225 | 23.0225 | -2.0843e-14 | 3.131 | 13.1032 | 2.6053e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 6.772e-13 | -161.8563 | 152.6723 | 6.478e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -1.8237e-14 | 4.6462e-20 | 5.2106e-15 | 2.8659e-14 | 1.1207e-21 | -1.7466e-28 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.4017e-13 | -180 | 180 | 6.478e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -1.8237e-14 | 1.0421e-14 | 5.8913e-29 | 2.8659e-14 | -1.0421e-14 | -1.7696e-28 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.486e-13 | -180 | 180 | 6.478e-13 | 180 | -180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -2.0843e-14 | 30.1766 | -15.8685 | 1.5632e-14 | -23.0225 | 23.0225 | -2.0843e-14 | 3.131 | 13.1032 | 2.6053e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 6.772e-13 | -161.8563 | 152.6723 | 6.478e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -1.8237e-14 | 4.6462e-20 | 5.2106e-15 | 2.8659e-14 | 1.1207e-21 | -1.7466e-28 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.4017e-13 | -180 | 180 | 6.478e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -1.8237e-14 | 1.0421e-14 | 5.8913e-29 | 2.8659e-14 | -1.0421e-14 | -1.7696e-28 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.486e-13 | -180 | 180 | 6.478e-13 | 180 | -180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -1.0421e-14 | 19.0761 | -0.30087 | 2.6053e-15 | -17.4596 | 1.9173 | -1.3027e-14 | 3.9919 | 15.2185 | 1.3027e-14 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 3.9661e-13 | -138.0936 | 121.2196 | 3.8825e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7582e-29 | 4.734e-10 | 1.0337e-09 | -7.816e-15 | -4.734e-10 | -1.0337e-09 | -2.6053e-15 | -1.3544e-09 | 3.8387e-10 | 2.6053e-15 | 1.3544e-09 | -3.8387e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.8665e-13 | -142.8673 | 128.239 | 3.8825e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | 4.7339e-10 | 1.0337e-09 | -5.2106e-15 | -4.7338e-10 | -1.0337e-09 | -1.7704e-29 | -1.3544e-09 | 3.8386e-10 | -3.5309e-29 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.8934e-13 | -142.8673 | 128.239 | 3.8825e-13 | -142.8673 | 128.239

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -1.0421e-14 | 19.0761 | -0.30087 | 2.6053e-15 | -17.4596 | 1.9173 | -1.3027e-14 | 3.9919 | 15.2185 | 1.3027e-14 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 3.9661e-13 | -138.0936 | 121.2196 | 3.8825e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7582e-29 | 4.734e-10 | 1.0337e-09 | -7.816e-15 | -4.734e-10 | -1.0337e-09 | -2.6053e-15 | -1.3544e-09 | 3.8387e-10 | 2.6053e-15 | 1.3544e-09 | -3.8387e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.8665e-13 | -142.8673 | 128.239 | 3.8825e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | 4.7339e-10 | 1.0337e-09 | -5.2106e-15 | -4.7338e-10 | -1.0337e-09 | -1.7704e-29 | -1.3544e-09 | 3.8386e-10 | -3.5309e-29 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.8934e-13 | -142.8673 | 128.239 | 3.8825e-13 | -142.8673 | 128.239

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -1.4211e-14 | 26.5997 | -7.1734 | 1.4211e-14 | -16.8865 | 16.8865 | -1.2122e-28 | -0.51586 | 11.9957 | 1.3033e-28 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 4.8873e-13 | -160.7833 | 141.207 | 5.2545e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.1841e-15 | -2.3684e-15 | 2.3685e-15 | 1.1842e-15 | 4.7369e-15 | -4.3471e-29 | -1.5877e-09 | 1.5877e-09 | 2.1721e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 5.258e-13 | -180 | 180 | 5.2545e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.188e-29 | -1.1841e-15 | 2.3686e-15 | 0 | 1.1842e-15 | -1.4428e-20 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 0 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 5.0656e-13 | -180 | 180 | 5.2545e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | -1.4211e-14 | 26.5997 | -7.1734 | 1.4211e-14 | -16.8865 | 16.8865 | -1.2122e-28 | -0.51586 | 11.9957 | 1.3033e-28 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 4.8873e-13 | -160.7833 | 141.207 | 5.2545e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.1841e-15 | -2.3684e-15 | 2.3685e-15 | 1.1842e-15 | 4.7369e-15 | -4.3471e-29 | -1.5877e-09 | 1.5877e-09 | 2.1721e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 5.258e-13 | -180 | 180 | 5.2545e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.188e-29 | -1.1841e-15 | 2.3686e-15 | 0 | 1.1842e-15 | -1.4428e-20 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 0 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 5.0656e-13 | -180 | 180 | 5.2545e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | -1.1842e-14 | 15.3932 | 0.73601 | 1.1842e-14 | -13.0917 | 1.5655 | 2.3685e-15 | 2.3135 | 11.9328 | 7.4419e-29 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 3.3462e-13 | -138.1765 | 119.7467 | 3.6005e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7764e-15 | 4.7979e-10 | 8.2616e-10 | -1.1842e-15 | -4.798e-10 | -8.2615e-10 | 1.1182e-29 | -1.0532e-09 | 4.5325e-10 | 4.737e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 3.6067e-13 | -142.5584 | 131.6989 | 3.6005e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5527e-15 | 4.798e-10 | 8.2615e-10 | 1.7764e-15 | -4.798e-10 | -8.2616e-10 | 2.3685e-15 | -1.0532e-09 | 4.5325e-10 | 1.1163e-29 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 3.5077e-13 | -142.5584 | 131.6989 | 3.6005e-13 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | -1.1842e-14 | 15.3932 | 0.73601 | 1.1842e-14 | -13.0917 | 1.5655 | 2.3685e-15 | 2.3135 | 11.9328 | 7.4419e-29 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 3.3462e-13 | -138.1765 | 119.7467 | 3.6005e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7764e-15 | 4.7979e-10 | 8.2616e-10 | -1.1842e-15 | -4.798e-10 | -8.2615e-10 | 1.1182e-29 | -1.0532e-09 | 4.5325e-10 | 4.737e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 3.6067e-13 | -142.5584 | 131.6989 | 3.6005e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5527e-15 | 4.798e-10 | 8.2615e-10 | 1.7764e-15 | -4.798e-10 | -8.2616e-10 | 2.3685e-15 | -1.0532e-09 | 4.5325e-10 | 1.1163e-29 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 3.5077e-13 | -142.5584 | 131.6989 | 3.6005e-13 | -142.5584 | 131.6989

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.62066 | 0.014691 | 0.014691 | 0.61613 | 0.0098757 | 0.0098757 | 7.1668 | 0.16963 | 0.16963 | 7.1145 | 0.11403 | 0.11403 | 0.62216 | 0.16784 | -0.15535 | 8.7405e-12 | -0.10869 | 0.10855 | 0.33803 | -0.24651 | -0.24877 | -6.8983e-12 | 0.16884 | 0.17238 | -69.502 | -90.4006 | -90.4006 | 110.6497 | 89.0668 | 89.0668 | 0.098797 | 1.7581 | 1.729 | 0 | 1.7609 | 1.7864 | -40.9859 | -146.1516 | 147.6167 | 0 | -148.1631 | 146.8674
Line_1 | 0 | 0 | 0 | 0.0049379 | 0.0049379 | 0.0049379 | 0 | 0 | 0 | 0.057017 | 0.057017 | 0.057017 | -1.2172e-12 | -5.1077e-09 | -5.2792e-09 | -8.5474e-14 | 0.054343 | -0.054275 | 3.2077e-12 | -3.3547e-09 | 3.2556e-09 | 2.5641e-14 | -0.084421 | -0.08619 | 0 | 0 | 0 | -90.9332 | -90.9332 | -90.9332 | 0.00085041 | 1.7607 | 1.7871 | 0 | 1.7609 | 1.7864 | 110.7385 | -148.1903 | 146.8513 | 0 | -148.1631 | 146.8674
Line_2 | 0 | 0 | 0 | 0.0049379 | 0.0049379 | 0.0049379 | 0 | 0 | 0 | 0.057017 | 0.057017 | 0.057017 | -1.2172e-12 | -5.1077e-09 | -5.2793e-09 | -8.5474e-14 | 0.054343 | -0.054275 | 3.2077e-12 | -3.3547e-09 | 3.2556e-09 | 2.5641e-14 | -0.084421 | -0.08619 | 0 | 0 | 0 | -90.9332 | -90.9332 | -90.9332 | 0.00085041 | 1.7607 | 1.7871 | 0 | 1.7609 | 1.7864 | 110.7385 | -148.1903 | 146.8513 | 0 | -148.1631 | 146.8674

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.62066 | 0.014691 | 0.014691 | 0.61613 | 0.0098757 | 0.0098757 | 7.1668 | 0.16963 | 0.16963 | 7.1145 | 0.11403 | 0.11403 | 0.62216 | 0.16784 | -0.15535 | 8.7405e-12 | -0.10869 | 0.10855 | 0.33803 | -0.24651 | -0.24877 | -6.8983e-12 | 0.16884 | 0.17238 | -69.502 | -90.4006 | -90.4006 | 110.6497 | 89.0668 | 89.0668 | 0.098797 | 1.7581 | 1.729 | 0 | 1.7609 | 1.7864 | -40.9859 | -146.1516 | 147.6167 | 0 | -148.1631 | 146.8674
Line_1 | 0 | 0 | 0 | 0.0049379 | 0.0049379 | 0.0049379 | 0 | 0 | 0 | 0.057017 | 0.057017 | 0.057017 | -1.2172e-12 | -5.1077e-09 | -5.2792e-09 | -8.5474e-14 | 0.054343 | -0.054275 | 3.2077e-12 | -3.3547e-09 | 3.2556e-09 | 2.5641e-14 | -0.084421 | -0.08619 | 0 | 0 | 0 | -90.9332 | -90.9332 | -90.9332 | 0.00085041 | 1.7607 | 1.7871 | 0 | 1.7609 | 1.7864 | 110.7385 | -148.1903 | 146.8513 | 0 | -148.1631 | 146.8674
Line_2 | 0 | 0 | 0 | 0.0049379 | 0.0049379 | 0.0049379 | 0 | 0 | 0 | 0.057017 | 0.057017 | 0.057017 | -1.2172e-12 | -5.1077e-09 | -5.2793e-09 | -8.5474e-14 | 0.054343 | -0.054275 | 3.2077e-12 | -3.3547e-09 | 3.2556e-09 | 2.5641e-14 | -0.084421 | -0.08619 | 0 | 0 | 0 | -90.9332 | -90.9332 | -90.9332 | 0.00085041 | 1.7607 | 1.7871 | 0 | 1.7609 | 1.7864 | 110.7385 | -148.1903 | 146.8513 | 0 | -148.1631 | 146.8674

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.47167 | 0.011164 | 0.011164 | 0.46823 | 0.0075051 | 0.0075051 | 5.4464 | 0.12891 | 0.12891 | 5.4067 | 0.086661 | 0.086661 | 1.4377 | 0.11854 | -0.1259 | -1.0734 | -0.077476 | 0.086992 | 1.2924 | -0.17168 | -0.14773 | -1.0863 | 0.11708 | 0.10251 | -63.5052 | -84.4037 | -84.4037 | 116.6466 | 95.0637 | 95.0637 | 0.35495 | 1.6184 | 1.5057 | 0.28246 | 1.62 | 1.5514 | -21.5518 | -139.7805 | 145.1565 | -18.0105 | -141.4423 | 144.7443
Line_1 | 0 | 0 | 0 | 0.0037525 | 0.0037525 | 0.0037525 | 0 | 0 | 0 | 0.043331 | 0.043331 | 0.043331 | 7.9067e-10 | -3.5411e-09 | -3.1459e-09 | 0.0047969 | 0.038738 | -0.043496 | -3.4992e-10 | -2.3908e-09 | 2.6189e-09 | 0.01126 | -0.05854 | -0.051253 | 0 | 0 | 0 | -84.9363 | -84.9363 | -84.9363 | 0.28201 | 1.6199 | 1.5519 | 0.28246 | 1.62 | 1.5514 | -17.9172 | -141.4646 | 144.733 | -18.0105 | -141.4423 | 144.7443
Line_2 | 0 | 0 | 0 | 0.0037525 | 0.0037525 | 0.0037525 | 0 | 0 | 0 | 0.043331 | 0.043331 | 0.043331 | 7.9067e-10 | -3.5411e-09 | -3.1459e-09 | 0.0047969 | 0.038738 | -0.043496 | -3.4993e-10 | -2.3907e-09 | 2.6189e-09 | 0.01126 | -0.05854 | -0.051253 | 0 | 0 | 0 | -84.9363 | -84.9363 | -84.9363 | 0.28201 | 1.6199 | 1.5519 | 0.28246 | 1.62 | 1.5514 | -17.9172 | -141.4646 | 144.733 | -18.0105 | -141.4423 | 144.7443

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.47167 | 0.011164 | 0.011164 | 0.46823 | 0.0075051 | 0.0075051 | 5.4464 | 0.12891 | 0.12891 | 5.4067 | 0.086661 | 0.086661 | 1.4377 | 0.11854 | -0.1259 | -1.0734 | -0.077476 | 0.086992 | 1.2924 | -0.17168 | -0.14773 | -1.0863 | 0.11708 | 0.10251 | -63.5052 | -84.4037 | -84.4037 | 116.6466 | 95.0637 | 95.0637 | 0.35495 | 1.6184 | 1.5057 | 0.28246 | 1.62 | 1.5514 | -21.5518 | -139.7805 | 145.1565 | -18.0105 | -141.4423 | 144.7443
Line_1 | 0 | 0 | 0 | 0.0037525 | 0.0037525 | 0.0037525 | 0 | 0 | 0 | 0.043331 | 0.043331 | 0.043331 | 7.9067e-10 | -3.5411e-09 | -3.1459e-09 | 0.0047969 | 0.038738 | -0.043496 | -3.4992e-10 | -2.3908e-09 | 2.6189e-09 | 0.01126 | -0.05854 | -0.051253 | 0 | 0 | 0 | -84.9363 | -84.9363 | -84.9363 | 0.28201 | 1.6199 | 1.5519 | 0.28246 | 1.62 | 1.5514 | -17.9172 | -141.4646 | 144.733 | -18.0105 | -141.4423 | 144.7443
Line_2 | 0 | 0 | 0 | 0.0037525 | 0.0037525 | 0.0037525 | 0 | 0 | 0 | 0.043331 | 0.043331 | 0.043331 | 7.9067e-10 | -3.5411e-09 | -3.1459e-09 | 0.0047969 | 0.038738 | -0.043496 | -3.4993e-10 | -2.3907e-09 | 2.6189e-09 | 0.01126 | -0.05854 | -0.051253 | 0 | 0 | 0 | -84.9363 | -84.9363 | -84.9363 | 0.28201 | 1.6199 | 1.5519 | 0.28246 | 1.62 | 1.5514 | -17.9172 | -141.4646 | 144.733 | -18.0105 | -141.4423 | 144.7443

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.54758 | 0.013215 | 0.013215 | 0.54359 | 0.0089233 | 0.0089233 | 6.3229 | 0.1526 | 0.1526 | 6.2768 | 0.10304 | 0.10304 | 0.92908 | 0.14183 | -0.12247 | -5.1496e-12 | -0.089335 | 0.089123 | 0.25779 | -0.19937 | -0.19708 | -1.36e-12 | 0.13844 | 0.14014 | -65.651 | -89.5024 | -89.5024 | 114.5163 | 89.4518 | 89.4518 | 0.15249 | 1.6034 | 1.5205 | 0 | 1.599 | 1.6119 | -50.1434 | -144.0757 | 148.6387 | 0 | -147.7135 | 146.9979
Line_1 | 0 | 0 | 0 | 0.0044616 | 0.0044616 | 0.0044616 | 0 | 0 | 0 | 0.051519 | 0.051519 | 0.051519 | -9.9667e-13 | -4.1826e-09 | -4.267e-09 | 3.3557e-14 | 0.044667 | -0.044561 | 5.0368e-12 | -2.73e-09 | 2.6813e-09 | 2.8017e-14 | -0.069218 | -0.070072 | 0 | 0 | 0 | -90.5482 | -90.5482 | -90.5482 | 0.0013999 | 1.5985 | 1.6128 | 0 | 1.599 | 1.6119 | 101.1145 | -147.7603 | 146.9622 | 0 | -147.7135 | 146.9979
Line_2 | 0 | 0 | 0 | 0.0044616 | 0.0044616 | 0.0044616 | 0 | 0 | 0 | 0.051519 | 0.051519 | 0.051519 | -9.9672e-13 | -4.1826e-09 | -4.2669e-09 | 3.3557e-14 | 0.044667 | -0.044561 | 5.0368e-12 | -2.73e-09 | 2.6813e-09 | 2.8017e-14 | -0.069218 | -0.070072 | 0 | 0 | 0 | -90.5482 | -90.5482 | -90.5482 | 0.0013999 | 1.5985 | 1.6128 | 0 | 1.599 | 1.6119 | 101.1145 | -147.7603 | 146.9622 | 0 | -147.7135 | 146.9979

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.54758 | 0.013215 | 0.013215 | 0.54359 | 0.0089233 | 0.0089233 | 6.3229 | 0.1526 | 0.1526 | 6.2768 | 0.10304 | 0.10304 | 0.92908 | 0.14183 | -0.12247 | -5.1496e-12 | -0.089335 | 0.089123 | 0.25779 | -0.19937 | -0.19708 | -1.36e-12 | 0.13844 | 0.14014 | -65.651 | -89.5024 | -89.5024 | 114.5163 | 89.4518 | 89.4518 | 0.15249 | 1.6034 | 1.5205 | 0 | 1.599 | 1.6119 | -50.1434 | -144.0757 | 148.6387 | 0 | -147.7135 | 146.9979
Line_1 | 0 | 0 | 0 | 0.0044616 | 0.0044616 | 0.0044616 | 0 | 0 | 0 | 0.051519 | 0.051519 | 0.051519 | -9.9667e-13 | -4.1826e-09 | -4.267e-09 | 3.3557e-14 | 0.044667 | -0.044561 | 5.0368e-12 | -2.73e-09 | 2.6813e-09 | 2.8017e-14 | -0.069218 | -0.070072 | 0 | 0 | 0 | -90.5482 | -90.5482 | -90.5482 | 0.0013999 | 1.5985 | 1.6128 | 0 | 1.599 | 1.6119 | 101.1145 | -147.7603 | 146.9622 | 0 | -147.7135 | 146.9979
Line_2 | 0 | 0 | 0 | 0.0044616 | 0.0044616 | 0.0044616 | 0 | 0 | 0 | 0.051519 | 0.051519 | 0.051519 | -9.9672e-13 | -4.1826e-09 | -4.2669e-09 | 3.3557e-14 | 0.044667 | -0.044561 | 5.0368e-12 | -2.73e-09 | 2.6813e-09 | 2.8017e-14 | -0.069218 | -0.070072 | 0 | 0 | 0 | -90.5482 | -90.5482 | -90.5482 | 0.0013999 | 1.5985 | 1.6128 | 0 | 1.599 | 1.6119 | 101.1145 | -147.7603 | 146.9622 | 0 | -147.7135 | 146.9979

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.41709 | 0.010066 | 0.010066 | 0.41405 | 0.0067969 | 0.0067969 | 4.8162 | 0.11624 | 0.11624 | 4.7811 | 0.078484 | 0.078484 | 1.3812 | 0.10073 | -0.099701 | -0.8385 | -0.064556 | 0.070987 | 1.0087 | -0.1381 | -0.1191 | -0.85042 | 0.095235 | 0.084873 | -60.7314 | -84.5827 | -84.5827 | 119.4359 | 94.3714 | 94.3714 | 0.35512 | 1.4706 | 1.3363 | 0.24979 | 1.4659 | 1.4098 | -24.5906 | -138.4777 | 145.483 | -15.1596 | -141.4968 | 144.4626
Line_1 | 0 | 0 | 0 | 0.0033985 | 0.0033985 | 0.0033985 | 0 | 0 | 0 | 0.039242 | 0.039242 | 0.039242 | 6.5517e-10 | -2.8767e-09 | -2.5872e-09 | 0.0032771 | 0.032278 | -0.035494 | -2.3576e-10 | -1.9725e-09 | 2.1396e-09 | 0.0092383 | -0.047617 | -0.042437 | 0 | 0 | 0 | -85.6286 | -85.6286 | -85.6286 | 0.24924 | 1.4655 | 1.4106 | 0.24979 | 1.4659 | 1.4098 | -14.9499 | -141.5353 | 144.4357 | -15.1596 | -141.4968 | 144.4626
Line_2 | 0 | 0 | 0 | 0.0033985 | 0.0033985 | 0.0033985 | 0 | 0 | 0 | 0.039242 | 0.039242 | 0.039242 | 6.5517e-10 | -2.8767e-09 | -2.5872e-09 | 0.0032771 | 0.032278 | -0.035494 | -2.3576e-10 | -1.9725e-09 | 2.1396e-09 | 0.0092383 | -0.047617 | -0.042437 | 0 | 0 | 0 | -85.6286 | -85.6286 | -85.6286 | 0.24924 | 1.4655 | 1.4106 | 0.24979 | 1.4659 | 1.4098 | -14.9499 | -141.5353 | 144.4357 | -15.1596 | -141.4968 | 144.4626

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.41709 | 0.010066 | 0.010066 | 0.41405 | 0.0067969 | 0.0067969 | 4.8162 | 0.11624 | 0.11624 | 4.7811 | 0.078484 | 0.078484 | 1.3812 | 0.10073 | -0.099701 | -0.8385 | -0.064556 | 0.070987 | 1.0087 | -0.1381 | -0.1191 | -0.85042 | 0.095235 | 0.084873 | -60.7314 | -84.5827 | -84.5827 | 119.4359 | 94.3714 | 94.3714 | 0.35512 | 1.4706 | 1.3363 | 0.24979 | 1.4659 | 1.4098 | -24.5906 | -138.4777 | 145.483 | -15.1596 | -141.4968 | 144.4626
Line_1 | 0 | 0 | 0 | 0.0033985 | 0.0033985 | 0.0033985 | 0 | 0 | 0 | 0.039242 | 0.039242 | 0.039242 | 6.5517e-10 | -2.8767e-09 | -2.5872e-09 | 0.0032771 | 0.032278 | -0.035494 | -2.3576e-10 | -1.9725e-09 | 2.1396e-09 | 0.0092383 | -0.047617 | -0.042437 | 0 | 0 | 0 | -85.6286 | -85.6286 | -85.6286 | 0.24924 | 1.4655 | 1.4106 | 0.24979 | 1.4659 | 1.4098 | -14.9499 | -141.5353 | 144.4357 | -15.1596 | -141.4968 | 144.4626
Line_2 | 0 | 0 | 0 | 0.0033985 | 0.0033985 | 0.0033985 | 0 | 0 | 0 | 0.039242 | 0.039242 | 0.039242 | 6.5517e-10 | -2.8767e-09 | -2.5872e-09 | 0.0032771 | 0.032278 | -0.035494 | -2.3576e-10 | -1.9725e-09 | 2.1396e-09 | 0.0092383 | -0.047617 | -0.042437 | 0 | 0 | 0 | -85.6286 | -85.6286 | -85.6286 | 0.24924 | 1.4655 | 1.4106 | 0.24979 | 1.4659 | 1.4098 | -14.9499 | -141.5353 | 144.4357 | -15.1596 | -141.4968 | 144.4626

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0078979 | 3.7381 | 3.6879 | 0.0053093 | 3.7385 | 3.6873 | 0.091197 | 43.1636 | 42.5841 | 0.061307 | 43.168 | 42.5772 | 0.0011525 | 7.8905 | 6.5723 | -3.9081e-05 | 7.6808e-11 | 7.8995e-11 | -0.14493 | 6.9776 | 9.3247 | 0.098623 | -4.5423e-11 | 3.4022e-11 | 90.2652 | -170.3661 | 14.8416 | -90.2674 | 9.6732 | -165.1975 | 1.5892 | 0.24403 | 0.2679 | 1.6087 | 0 | 0 | 0.72082 | -128.8796 | 69.6646 | -0.24474 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0026547 | 0.0026547 | 0.0026547 | 0 | 0 | 0 | 0.030653 | 0.030653 | 0.030653 | -3.0018e-09 | 1.1496e-12 | -1.824e-12 | 1.9539e-05 | -2.2355e-14 | -3.8438e-14 | -2.9429e-11 | 1.4412e-12 | 2.7562e-13 | -0.049311 | -5.929e-14 | 4.8548e-14 | 0 | 0 | 0 | 89.7326 | 89.7326 | 89.7326 | 1.6088 | 0.00045719 | 0.00045719 | 1.6087 | 0 | 0 | -0.25987 | -68.5957 | -68.5958 | -0.24474 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0026547 | 0.0026547 | 0.0026547 | 0 | 0 | 0 | 0.030653 | 0.030653 | 0.030653 | -3.0018e-09 | 1.1496e-12 | -1.8241e-12 | 1.9539e-05 | -2.2355e-14 | -3.8438e-14 | -2.9429e-11 | 1.4412e-12 | 2.7562e-13 | -0.049311 | -5.929e-14 | 4.8548e-14 | 0 | 0 | 0 | 89.7326 | 89.7326 | 89.7326 | 1.6088 | 0.00045719 | 0.00045719 | 1.6087 | 0 | 0 | -0.25987 | -68.5957 | -68.5958 | -0.24474 | 0 | 0

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0078979 | 3.7381 | 3.6879 | 0.0053093 | 3.7385 | 3.6873 | 0.091197 | 43.1636 | 42.5841 | 0.061307 | 43.168 | 42.5772 | 0.0011525 | 7.8905 | 6.5723 | -3.9081e-05 | 7.6808e-11 | 7.8995e-11 | -0.14493 | 6.9776 | 9.3247 | 0.098623 | -4.5423e-11 | 3.4022e-11 | 90.2652 | -170.3661 | 14.8416 | -90.2674 | 9.6732 | -165.1975 | 1.5892 | 0.24403 | 0.2679 | 1.6087 | 0 | 0 | 0.72082 | -128.8796 | 69.6646 | -0.24474 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0026547 | 0.0026547 | 0.0026547 | 0 | 0 | 0 | 0.030653 | 0.030653 | 0.030653 | -3.0018e-09 | 1.1496e-12 | -1.824e-12 | 1.9539e-05 | -2.2355e-14 | -3.8438e-14 | -2.9429e-11 | 1.4412e-12 | 2.7562e-13 | -0.049311 | -5.929e-14 | 4.8548e-14 | 0 | 0 | 0 | 89.7326 | 89.7326 | 89.7326 | 1.6088 | 0.00045719 | 0.00045719 | 1.6087 | 0 | 0 | -0.25987 | -68.5957 | -68.5958 | -0.24474 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0026547 | 0.0026547 | 0.0026547 | 0 | 0 | 0 | 0.030653 | 0.030653 | 0.030653 | -3.0018e-09 | 1.1496e-12 | -1.8241e-12 | 1.9539e-05 | -2.2355e-14 | -3.8438e-14 | -2.9429e-11 | 1.4412e-12 | 2.7562e-13 | -0.049311 | -5.929e-14 | 4.8548e-14 | 0 | 0 | 0 | 89.7326 | 89.7326 | 89.7326 | 1.6088 | 0.00045719 | 0.00045719 | 1.6087 | 0 | 0 | -0.25987 | -68.5957 | -68.5958 | -0.24474 | 0 | 0

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.006756 | 1.115 | 1.1715 | 0.0045417 | 1.1159 | 1.1701 | 0.078012 | 12.8747 | 13.5268 | 0.052443 | 12.8848 | 13.5112 | -0.0044967 | 6.9142 | 7.6016 | 0.0034847 | -6.2134 | -6.8495 | -0.11827 | 6.6459 | 7.9935 | 0.080415 | -6.2593 | -6.8083 | 93.7951 | -151.9023 | 42.4857 | -86.7376 | 28.2023 | -137.6003 | 1.5171 | 0.74489 | 0.81549 | 1.5348 | 0.6845 | 0.71479 | 1.6177 | -108.0357 | 88.9254 | 0.78111 | -106.5866 | 87.2268
Line_1 | 0 | 0 | 0 | 0.0022709 | 0.0022709 | 0.0022709 | 0 | 0 | 0 | 0.026222 | 0.026222 | 0.026222 | -2.4486e-09 | 9.6697e-10 | 5.5092e-10 | -0.0017424 | -0.016882 | 0.018639 | 8.2936e-11 | 6.4173e-10 | -1.5604e-09 | -0.040207 | 0.0060944 | -0.0019708 | 0 | 0 | 0 | 93.2624 | 93.2624 | 93.2624 | 1.535 | 0.68479 | 0.71444 | 1.5348 | 0.6845 | 0.71479 | 0.76779 | -106.565 | 87.2122 | 0.78111 | -106.5866 | 87.2268
Line_2 | 0 | 0 | 0 | 0.0022709 | 0.0022709 | 0.0022709 | 0 | 0 | 0 | 0.026222 | 0.026222 | 0.026222 | -2.4486e-09 | 9.6698e-10 | 5.5092e-10 | -0.0017424 | -0.016882 | 0.018639 | 8.2951e-11 | 6.4173e-10 | -1.5604e-09 | -0.040207 | 0.0060944 | -0.0019708 | 0 | 0 | 0 | 93.2624 | 93.2624 | 93.2624 | 1.535 | 0.68479 | 0.71444 | 1.5348 | 0.6845 | 0.71479 | 0.76779 | -106.565 | 87.2122 | 0.78111 | -106.5866 | 87.2268

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.006756 | 1.115 | 1.1715 | 0.0045417 | 1.1159 | 1.1701 | 0.078012 | 12.8747 | 13.5268 | 0.052443 | 12.8848 | 13.5112 | -0.0044967 | 6.9142 | 7.6016 | 0.0034847 | -6.2134 | -6.8495 | -0.11827 | 6.6459 | 7.9935 | 0.080415 | -6.2593 | -6.8083 | 93.7951 | -151.9023 | 42.4857 | -86.7376 | 28.2023 | -137.6003 | 1.5171 | 0.74489 | 0.81549 | 1.5348 | 0.6845 | 0.71479 | 1.6177 | -108.0357 | 88.9254 | 0.78111 | -106.5866 | 87.2268
Line_1 | 0 | 0 | 0 | 0.0022709 | 0.0022709 | 0.0022709 | 0 | 0 | 0 | 0.026222 | 0.026222 | 0.026222 | -2.4486e-09 | 9.6697e-10 | 5.5092e-10 | -0.0017424 | -0.016882 | 0.018639 | 8.2936e-11 | 6.4173e-10 | -1.5604e-09 | -0.040207 | 0.0060944 | -0.0019708 | 0 | 0 | 0 | 93.2624 | 93.2624 | 93.2624 | 1.535 | 0.68479 | 0.71444 | 1.5348 | 0.6845 | 0.71479 | 0.76779 | -106.565 | 87.2122 | 0.78111 | -106.5866 | 87.2268
Line_2 | 0 | 0 | 0 | 0.0022709 | 0.0022709 | 0.0022709 | 0 | 0 | 0 | 0.026222 | 0.026222 | 0.026222 | -2.4486e-09 | 9.6698e-10 | 5.5092e-10 | -0.0017424 | -0.016882 | 0.018639 | 8.2951e-11 | 6.4173e-10 | -1.5604e-09 | -0.040207 | 0.0060944 | -0.0019708 | 0 | 0 | 0 | 93.2624 | 93.2624 | 93.2624 | 1.535 | 0.68479 | 0.71444 | 1.5348 | 0.6845 | 0.71479 | 0.76779 | -106.565 | 87.2122 | 0.78111 | -106.5866 | 87.2268

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0071364 | 3.1328 | 3.1126 | 0.0048186 | 3.1334 | 3.1118 | 0.082404 | 36.175 | 35.9414 | 0.055641 | 36.1817 | 35.9322 | 0.0017695 | 10.2891 | 9.3703 | -6.18e-05 | -1.3614e-10 | 3.0227e-11 | -0.11795 | 3.8914 | 7.6414 | 0.081236 | -1.3589e-10 | -1.9041e-10 | 90.866 | -162.4309 | 23.1042 | -90.1798 | 17.6101 | -156.9359 | 1.4315 | 0.30409 | 0.33641 | 1.46 | 0 | 0 | 1.7255 | -141.7142 | 62.3012 | -0.13626 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0024093 | 0.0024093 | 0.0024093 | 0 | 0 | 0 | 0.02782 | 0.02782 | 0.02782 | -2.4637e-09 | 2.0745e-12 | -2.6305e-12 | 3.0899e-05 | -1.3147e-13 | 1.2622e-13 | -1.544e-11 | 1.8361e-12 | 8.8033e-13 | -0.040618 | 6.7754e-14 | 7.9683e-14 | 0 | 0 | 0 | 89.8202 | 89.8202 | 89.8202 | 1.4602 | 0.00075598 | 0.00075598 | 1.46 | 0 | 0 | -0.16531 | -78.5171 | -78.5171 | -0.13626 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0024093 | 0.0024093 | 0.0024093 | 0 | 0 | 0 | 0.02782 | 0.02782 | 0.02782 | -2.4637e-09 | 2.0745e-12 | -2.6305e-12 | 3.0899e-05 | -1.3147e-13 | 1.2622e-13 | -1.5447e-11 | 1.8361e-12 | 8.8033e-13 | -0.040618 | 6.7754e-14 | 7.9683e-14 | 0 | 0 | 0 | 89.8202 | 89.8202 | 89.8202 | 1.4602 | 0.00075598 | 0.00075598 | 1.46 | 0 | 0 | -0.16531 | -78.5171 | -78.5171 | -0.13626 | 0 | 0

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0071364 | 3.1328 | 3.1126 | 0.0048186 | 3.1334 | 3.1118 | 0.082404 | 36.175 | 35.9414 | 0.055641 | 36.1817 | 35.9322 | 0.0017695 | 10.2891 | 9.3703 | -6.18e-05 | -1.3614e-10 | 3.0227e-11 | -0.11795 | 3.8914 | 7.6414 | 0.081236 | -1.3589e-10 | -1.9041e-10 | 90.866 | -162.4309 | 23.1042 | -90.1798 | 17.6101 | -156.9359 | 1.4315 | 0.30409 | 0.33641 | 1.46 | 0 | 0 | 1.7255 | -141.7142 | 62.3012 | -0.13626 | 0 | 0
Line_1 | 0 | 0 | 0 | 0.0024093 | 0.0024093 | 0.0024093 | 0 | 0 | 0 | 0.02782 | 0.02782 | 0.02782 | -2.4637e-09 | 2.0745e-12 | -2.6305e-12 | 3.0899e-05 | -1.3147e-13 | 1.2622e-13 | -1.544e-11 | 1.8361e-12 | 8.8033e-13 | -0.040618 | 6.7754e-14 | 7.9683e-14 | 0 | 0 | 0 | 89.8202 | 89.8202 | 89.8202 | 1.4602 | 0.00075598 | 0.00075598 | 1.46 | 0 | 0 | -0.16531 | -78.5171 | -78.5171 | -0.13626 | 0 | 0
Line_2 | 0 | 0 | 0 | 0.0024093 | 0.0024093 | 0.0024093 | 0 | 0 | 0 | 0.02782 | 0.02782 | 0.02782 | -2.4637e-09 | 2.0745e-12 | -2.6305e-12 | 3.0899e-05 | -1.3147e-13 | 1.2622e-13 | -1.5447e-11 | 1.8361e-12 | 8.8033e-13 | -0.040618 | 6.7754e-14 | 7.9683e-14 | 0 | 0 | 0 | 89.8202 | 89.8202 | 89.8202 | 1.4602 | 0.00075598 | 0.00075598 | 1.46 | 0 | 0 | -0.16531 | -78.5171 | -78.5171 | -0.13626 | 0 | 0

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0061087 | 0.97795 | 1.0237 | 0.0041247 | 0.97875 | 1.0224 | 0.070537 | 11.2924 | 11.8204 | 0.047628 | 11.3017 | 11.8061 | -0.0024615 | 5.7695 | 6.38 | 0.0023684 | -4.7811 | -5.2286 | -0.096434 | 4.8641 | 6.3548 | 0.066327 | -4.817 | -5.1971 | 93.7966 | -150.1129 | 44.5084 | -87.2493 | 29.9933 | -135.5787 | 1.3676 | 0.66826 | 0.76181 | 1.3935 | 0.60052 | 0.62444 | 2.3344 | -109.9798 | 89.3948 | 0.7057 | -104.7924 | 89.2482
Line_1 | 0 | 0 | 0 | 0.0020624 | 0.0020624 | 0.0020624 | 0 | 0 | 0 | 0.023814 | 0.023814 | 0.023814 | -2.012e-09 | 8.0172e-10 | 5.3852e-10 | -0.0011842 | -0.013636 | 0.014843 | 6.0633e-11 | 5.7926e-10 | -1.1701e-09 | -0.033164 | 0.0043106 | -0.00090846 | 0 | 0 | 0 | 92.7507 | 92.7507 | 92.7507 | 1.3937 | 0.60109 | 0.62381 | 1.3935 | 0.60052 | 0.62444 | 0.67985 | -104.7623 | 89.2327 | 0.7057 | -104.7924 | 89.2482
Line_2 | 0 | 0 | 0 | 0.0020624 | 0.0020624 | 0.0020624 | 0 | 0 | 0 | 0.023814 | 0.023814 | 0.023814 | -2.012e-09 | 8.0172e-10 | 5.3852e-10 | -0.0011842 | -0.013636 | 0.014843 | 6.0627e-11 | 5.7926e-10 | -1.1701e-09 | -0.033164 | 0.0043106 | -0.00090846 | 0 | 0 | 0 | 92.7507 | 92.7507 | 92.7507 | 1.3937 | 0.60109 | 0.62381 | 1.3935 | 0.60052 | 0.62444 | 0.67985 | -104.7623 | 89.2327 | 0.7057 | -104.7924 | 89.2482

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0061087 | 0.97795 | 1.0237 | 0.0041247 | 0.97875 | 1.0224 | 0.070537 | 11.2924 | 11.8204 | 0.047628 | 11.3017 | 11.8061 | -0.0024615 | 5.7695 | 6.38 | 0.0023684 | -4.7811 | -5.2286 | -0.096434 | 4.8641 | 6.3548 | 0.066327 | -4.817 | -5.1971 | 93.7966 | -150.1129 | 44.5084 | -87.2493 | 29.9933 | -135.5787 | 1.3676 | 0.66826 | 0.76181 | 1.3935 | 0.60052 | 0.62444 | 2.3344 | -109.9798 | 89.3948 | 0.7057 | -104.7924 | 89.2482
Line_1 | 0 | 0 | 0 | 0.0020624 | 0.0020624 | 0.0020624 | 0 | 0 | 0 | 0.023814 | 0.023814 | 0.023814 | -2.012e-09 | 8.0172e-10 | 5.3852e-10 | -0.0011842 | -0.013636 | 0.014843 | 6.0633e-11 | 5.7926e-10 | -1.1701e-09 | -0.033164 | 0.0043106 | -0.00090846 | 0 | 0 | 0 | 92.7507 | 92.7507 | 92.7507 | 1.3937 | 0.60109 | 0.62381 | 1.3935 | 0.60052 | 0.62444 | 0.67985 | -104.7623 | 89.2327 | 0.7057 | -104.7924 | 89.2482
Line_2 | 0 | 0 | 0 | 0.0020624 | 0.0020624 | 0.0020624 | 0 | 0 | 0 | 0.023814 | 0.023814 | 0.023814 | -2.012e-09 | 8.0172e-10 | 5.3852e-10 | -0.0011842 | -0.013636 | 0.014843 | 6.0627e-11 | 5.7926e-10 | -1.1701e-09 | -0.033164 | 0.0043106 | -0.00090846 | 0 | 0 | 0 | 92.7507 | 92.7507 | 92.7507 | 1.3937 | 0.60109 | 0.62381 | 1.3935 | 0.60052 | 0.62444 | 0.67985 | -104.7623 | 89.2327 | 0.7057 | -104.7924 | 89.2482