## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4587 | 3.4587 | 0 | 0 | 119.8128 | 119.8128 | 37.3233 | -18.6616 | 42.3476 | -21.1738 | -71.7883 | 108.2117 | 0.47113 | 0.23557 | -23.1798 | -23.1798
Line_1 | 3.4587 | 3.4587 | 6.7756 | 0 | 119.8128 | 119.8128 | -1e-07 | 18.6616 | -1e-07 | 21.1738 | 108.2117 | -71.7883 | 0 | 0.23557 | 0 | -23.1798
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23557 | 0.23557 | -23.1798 | -23.1798

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4587 | 3.4587 | 0 | 0 | 119.8128 | 119.8128 | 37.3233 | -18.6616 | 42.3476 | -21.1738 | -71.7883 | 108.2117 | 0.47113 | 0.23557 | -23.1798 | -23.1798
Line_1 | 3.4587 | 3.4587 | 6.7756 | 0 | 119.8128 | 119.8128 | -1e-07 | 18.6616 | -1e-07 | 21.1738 | 108.2117 | -71.7883 | 0 | 0.23557 | 0 | -23.1798
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23557 | 0.23557 | -23.1798 | -23.1798

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2119 | 1.2119 | 0 | 0 | 41.9813 | 41.9813 | 26.6127 | -24.3216 | 27.2296 | -24.63 | -54.0862 | 125.9138 | 0.90694 | 0.82453 | -8.4298 | -8.7252
Line_1 | 1.2119 | 1.2119 | 2.3741 | 0 | 41.9813 | 41.9813 | -22.0304 | 24.3216 | -22.0304 | 24.63 | 125.9138 | -54.0862 | 0.74213 | 0.82453 | -9.0862 | -8.7252
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.82453 | 0.82453 | -8.7252 | -8.7252

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2119 | 1.2119 | 0 | 0 | 41.9813 | 41.9813 | 26.6127 | -24.3216 | 27.2296 | -24.63 | -54.0862 | 125.9138 | 0.90694 | 0.82453 | -8.4298 | -8.7252
Line_1 | 1.2119 | 1.2119 | 2.3741 | 0 | 41.9813 | 41.9813 | -22.0304 | 24.3216 | -22.0304 | 24.63 | 125.9138 | -54.0862 | 0.74213 | 0.82453 | -9.0862 | -8.7252
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.82453 | 0.82453 | -8.7252 | -8.7252

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | -59.5744 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 120.4256 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | -59.5744 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 120.4256 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0349 | 1.0349 | 0 | 0 | 35.8516 | 35.8516 | 22.4832 | -19.2749 | 19.8585 | -17.9626 | -50.3977 | 129.6023 | 0.83671 | 0.7349 | -8.9447 | -7.416
Line_1 | 1.0349 | 1.0349 | 1.7392 | 0 | 35.8516 | 35.8516 | -16.0667 | 19.2749 | -16.0667 | 17.9626 | 129.6023 | -50.3977 | 0.63377 | 0.7349 | -5.3977 | -7.416
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7349 | 0.7349 | -7.416 | -7.416

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0349 | 1.0349 | 0 | 0 | 35.8516 | 35.8516 | 22.4832 | -19.2749 | 19.8585 | -17.9626 | -50.3977 | 129.6023 | 0.83671 | 0.7349 | -8.9447 | -7.416
Line_1 | 1.0349 | 1.0349 | 1.7392 | 0 | 35.8516 | 35.8516 | -16.0667 | 19.2749 | -16.0667 | 17.9626 | 129.6023 | -50.3977 | 0.63377 | 0.7349 | -5.3977 | -7.416
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7349 | 0.7349 | -7.416 | -7.416

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | -3.1264e-14 | 27.4008 | -8.7391 | 1.5632e-14 | -22.7354 | 13.4045 | -2.0843e-14 | 4.6417 | 16.5321 | 2.6053e-14 | 0.65175 | -11.2386 | 0 | -161.7883 | 18.2117 | 0 | 18.2117 | -161.7883 | 1.1 | 0.80351 | 0.54066 | 1.1 | 0.65761 | 0.50575 | 1.1158e-12 | -152.1736 | 136.0734 | 1.0969e-12 | -163.4303 | 158.2346
Line_1 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | 0 | -18.0699 | 18.0699 | -1.5632e-14 | 22.7354 | -13.4045 | 0 | 5.9452 | -5.9452 | -5.2106e-15 | -0.65175 | 11.2386 | 0 | 18.2117 | -161.7883 | 0 | -161.7883 | 18.2117 | 1.1 | 0.55 | 0.55 | 1.1 | 0.65761 | 0.50575 | 1.0949e-12 | 180 | -180 | 1.0969e-12 | -163.4303 | 158.2346
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 3.4052e-10 | 6.644e-10 | -5.2106e-15 | -3.4051e-10 | -6.644e-10 | -5.2106e-15 | -1.8234e-09 | 1.2625e-09 | -9.9758e-29 | 1.8234e-09 | -1.2624e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.65761 | 0.50575 | 1.1 | 0.65761 | 0.50575 | 1.0979e-12 | -163.4303 | 158.2346 | 1.0969e-12 | -163.4303 | 158.2346

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | -3.1264e-14 | 27.4008 | -8.7391 | 1.5632e-14 | -22.7354 | 13.4045 | -2.0843e-14 | 4.6417 | 16.5321 | 2.6053e-14 | 0.65175 | -11.2386 | 0 | -161.7883 | 18.2117 | 0 | 18.2117 | -161.7883 | 1.1 | 0.80351 | 0.54066 | 1.1 | 0.65761 | 0.50575 | 1.1158e-12 | -152.1736 | 136.0734 | 1.0969e-12 | -163.4303 | 158.2346
Line_1 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | 0 | -18.0699 | 18.0699 | -1.5632e-14 | 22.7354 | -13.4045 | 0 | 5.9452 | -5.9452 | -5.2106e-15 | -0.65175 | 11.2386 | 0 | 18.2117 | -161.7883 | 0 | -161.7883 | 18.2117 | 1.1 | 0.55 | 0.55 | 1.1 | 0.65761 | 0.50575 | 1.0949e-12 | 180 | -180 | 1.0969e-12 | -163.4303 | 158.2346
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 3.4052e-10 | 6.644e-10 | -5.2106e-15 | -3.4051e-10 | -6.644e-10 | -5.2106e-15 | -1.8234e-09 | 1.2625e-09 | -9.9758e-29 | 1.8234e-09 | -1.2624e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.65761 | 0.50575 | 1.1 | 0.65761 | 0.50575 | 1.0979e-12 | -163.4303 | 158.2346 | 1.0969e-12 | -163.4303 | 158.2346

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | -1.5632e-14 | 17.2205 | 0.20321 | 1.3027e-14 | -15.9408 | 1.0765 | -1.0421e-14 | 3.8735 | 14.2393 | 1.3027e-14 | -2.4216 | -12.7873 | 0 | -148.6532 | 31.3468 | 0 | 31.3468 | -148.6532 | 1.1 | 0.97441 | 0.78616 | 1.1 | 0.89011 | 0.70842 | 4.8819e-13 | -135.9762 | 120.5292 | 4.7542e-13 | -140.0155 | 126.1589
Line_1 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | 2.6053e-15 | -14.6611 | 2.3562 | -2.6053e-15 | 15.9408 | -1.0765 | 5.2106e-15 | -0.96958 | -11.3353 | -2.6053e-15 | 2.4216 | 12.7873 | 0 | 31.3468 | -148.6532 | 0 | -148.6532 | 31.3468 | 1.1 | 0.81113 | 0.63914 | 1.1 | 0.89011 | 0.70842 | 4.7376e-13 | -144.8696 | 133.0893 | 4.7542e-13 | -140.0155 | 126.1589
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 4.6819e-10 | 1.0006e-09 | 0 | -4.6818e-10 | -1.0007e-09 | 2.6053e-15 | -1.2288e-09 | 3.0654e-10 | 0 | 1.2288e-09 | -3.0655e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.89011 | 0.70842 | 1.1 | 0.89011 | 0.70842 | 4.7624e-13 | -140.0155 | 126.1589 | 4.7542e-13 | -140.0155 | 126.1589

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | -1.5632e-14 | 17.2205 | 0.20321 | 1.3027e-14 | -15.9408 | 1.0765 | -1.0421e-14 | 3.8735 | 14.2393 | 1.3027e-14 | -2.4216 | -12.7873 | 0 | -148.6532 | 31.3468 | 0 | 31.3468 | -148.6532 | 1.1 | 0.97441 | 0.78616 | 1.1 | 0.89011 | 0.70842 | 4.8819e-13 | -135.9762 | 120.5292 | 4.7542e-13 | -140.0155 | 126.1589
Line_1 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | 2.6053e-15 | -14.6611 | 2.3562 | -2.6053e-15 | 15.9408 | -1.0765 | 5.2106e-15 | -0.96958 | -11.3353 | -2.6053e-15 | 2.4216 | 12.7873 | 0 | 31.3468 | -148.6532 | 0 | -148.6532 | 31.3468 | 1.1 | 0.81113 | 0.63914 | 1.1 | 0.89011 | 0.70842 | 4.7376e-13 | -144.8696 | 133.0893 | 4.7542e-13 | -140.0155 | 126.1589
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 4.6819e-10 | 1.0006e-09 | 0 | -4.6818e-10 | -1.0007e-09 | 2.6053e-15 | -1.2288e-09 | 3.0654e-10 | 0 | 1.2288e-09 | -3.0655e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.89011 | 0.70842 | 1.1 | 0.89011 | 0.70842 | 4.7624e-13 | -140.0155 | 126.1589 | 4.7542e-13 | -140.0155 | 126.1589

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -1.4211e-14 | 23.4155 | -0.45749 | 1.4211e-14 | -17.676 | 6.197 | -9.4739e-15 | -0.22679 | 13.7937 | 9.4739e-15 | 3.6185 | -10.402 | 0 | -149.5744 | 30.4256 | 0 | 30.4256 | -149.5744 | 1 | 0.8458 | 0.4985 | 1 | 0.65169 | 0.43734 | 6.8098e-13 | -150.1294 | 122.3252 | 6.9373e-13 | -161.1438 | 151.2099
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | 3.5527e-15 | -11.9365 | 11.9365 | -1.1842e-15 | 17.676 | -6.197 | 7.1054e-15 | 7.0103 | -7.0103 | -7.1054e-15 | -3.6185 | 10.402 | 0 | 30.4256 | -149.5744 | 0 | -149.5744 | 30.4256 | 1 | 0.5 | 0.5 | 1 | 0.65169 | 0.43734 | 6.7314e-13 | -180 | 180 | 6.9373e-13 | -161.1438 | 151.2099
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 2.4221e-10 | 6.7019e-10 | -3.5527e-15 | -2.4221e-10 | -6.7019e-10 | 2.807e-29 | -1.5722e-09 | 8.3093e-10 | -4.3016e-29 | 1.5722e-09 | -8.3093e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.65169 | 0.43734 | 1 | 0.65169 | 0.43734 | 6.7904e-13 | -161.1438 | 151.2099 | 6.9373e-13 | -161.1438 | 151.2099

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -1.4211e-14 | 23.4155 | -0.45749 | 1.4211e-14 | -17.676 | 6.197 | -9.4739e-15 | -0.22679 | 13.7937 | 9.4739e-15 | 3.6185 | -10.402 | 0 | -149.5744 | 30.4256 | 0 | 30.4256 | -149.5744 | 1 | 0.8458 | 0.4985 | 1 | 0.65169 | 0.43734 | 6.8098e-13 | -150.1294 | 122.3252 | 6.9373e-13 | -161.1438 | 151.2099
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | 3.5527e-15 | -11.9365 | 11.9365 | -1.1842e-15 | 17.676 | -6.197 | 7.1054e-15 | 7.0103 | -7.0103 | -7.1054e-15 | -3.6185 | 10.402 | 0 | 30.4256 | -149.5744 | 0 | -149.5744 | 30.4256 | 1 | 0.5 | 0.5 | 1 | 0.65169 | 0.43734 | 6.7314e-13 | -180 | 180 | 6.9373e-13 | -161.1438 | 151.2099
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 2.4221e-10 | 6.7019e-10 | -3.5527e-15 | -2.4221e-10 | -6.7019e-10 | 2.807e-29 | -1.5722e-09 | 8.3093e-10 | -4.3016e-29 | 1.5722e-09 | -8.3093e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.65169 | 0.43734 | 1 | 0.65169 | 0.43734 | 6.7904e-13 | -161.1438 | 151.2099 | 6.9373e-13 | -161.1438 | 151.2099

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -7.6975e-15 | 13.7181 | 1.6719 | 6.5133e-15 | -12.0096 | 0.036546 | -4.737e-15 | 1.7406 | 10.8539 | 4.737e-15 | -0.73098 | -9.8443 | 0 | -142.8911 | 37.1089 | 0 | 37.1089 | -142.8911 | 1 | 0.91546 | 0.72704 | 1 | 0.79654 | 0.65173 | 3.5671e-13 | -135.6599 | 118.3519 | 3.6641e-13 | -139.408 | 127.3216
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | 5.9212e-16 | -10.3011 | 1.745 | -1.7764e-15 | 12.0096 | -0.036546 | 2.3685e-15 | 0.27863 | -8.8347 | -4.737e-15 | 0.73098 | 9.8443 | 0 | 37.1089 | -142.8911 | 0 | -142.8911 | 37.1089 | 1 | 0.68221 | 0.59619 | 1 | 0.79654 | 0.65173 | 3.5653e-13 | -144.4405 | 138.2821 | 3.6641e-13 | -139.408 | 127.3216
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9606e-15 | 4.2826e-10 | 8.1277e-10 | 1.1842e-15 | -4.2826e-10 | -8.1277e-10 | 4.737e-15 | -9.7051e-10 | 3.0453e-10 | -4.737e-15 | 9.7051e-10 | -3.0453e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.79654 | 0.65173 | 1 | 0.79654 | 0.65173 | 3.5849e-13 | -139.408 | 127.3216 | 3.6641e-13 | -139.408 | 127.3216

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -7.6975e-15 | 13.7181 | 1.6719 | 6.5133e-15 | -12.0096 | 0.036546 | -4.737e-15 | 1.7406 | 10.8539 | 4.737e-15 | -0.73098 | -9.8443 | 0 | -142.8911 | 37.1089 | 0 | 37.1089 | -142.8911 | 1 | 0.91546 | 0.72704 | 1 | 0.79654 | 0.65173 | 3.5671e-13 | -135.6599 | 118.3519 | 3.6641e-13 | -139.408 | 127.3216
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | 5.9212e-16 | -10.3011 | 1.745 | -1.7764e-15 | 12.0096 | -0.036546 | 2.3685e-15 | 0.27863 | -8.8347 | -4.737e-15 | 0.73098 | 9.8443 | 0 | 37.1089 | -142.8911 | 0 | -142.8911 | 37.1089 | 1 | 0.68221 | 0.59619 | 1 | 0.79654 | 0.65173 | 3.5653e-13 | -144.4405 | 138.2821 | 3.6641e-13 | -139.408 | 127.3216
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9606e-15 | 4.2826e-10 | 8.1277e-10 | 1.1842e-15 | -4.2826e-10 | -8.1277e-10 | 4.737e-15 | -9.7051e-10 | 3.0453e-10 | -4.737e-15 | 9.7051e-10 | -3.0453e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.79654 | 0.65173 | 1 | 0.79654 | 0.65173 | 3.5849e-13 | -139.408 | 127.3216 | 3.6641e-13 | -139.408 | 127.3216

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.49108 | 0.014492 | 0.014492 | 0.48631 | 0.0097226 | 0.0097226 | 5.6705 | 0.16734 | 0.16734 | 5.6155 | 0.11227 | 0.11227 | 0.76535 | 0.16143 | -0.15662 | -0.37015 | -0.10538 | 0.10818 | 0.42332 | -0.25675 | -0.2346 | -0.20656 | 0.17268 | 0.16069 | -82.6381 | -86.0171 | -86.0171 | 97.3797 | 93.2151 | 93.2151 | 0.15424 | 1.8124 | 1.6857 | 0.075485 | 1.8019 | 1.7254 | -53.6909 | -143.8575 | 150.2564 | -53.4572 | -145.3915 | 149.2642
Line_1 | 0.47662 | 0 | 0 | 0.48149 | 0.0048913 | 0.0048913 | 5.5035 | 0 | 0 | 5.5598 | 0.05648 | 0.05648 | 6.5452e-12 | -5.3364e-09 | -5.1388e-09 | 0.3666 | 0.054092 | -0.053414 | -2.8825e-12 | -3.2651e-09 | 3.3791e-09 | 0.20429 | -0.086206 | -0.081509 | 97.4646 | 0 | 0 | -82.5858 | -87.4986 | -87.4986 | 0 | 1.7931 | 1.7629 | 0.075485 | 1.8019 | 1.7254 | 0 | -146.837 | 148.3753 | -53.4572 | -145.3915 | 149.2642
Line_2 | 0 | 0 | 0 | 0.0048321 | 0.0048321 | 0.0048321 | 0 | 0 | 0 | 0.055796 | 0.055796 | 0.055796 | 1.5939e-10 | -5.3398e-09 | -4.8503e-09 | 0.003548 | 0.051286 | -0.054769 | -2.4158e-10 | -3.1192e-09 | 3.4017e-09 | 0.0022695 | -0.086476 | -0.079176 | 0 | 0 | 0 | -86.0624 | -86.0624 | -86.0624 | 0.074668 | 1.8018 | 1.7261 | 0.075485 | 1.8019 | 1.7254 | -53.3361 | -145.4177 | 149.2489 | -53.4572 | -145.3915 | 149.2642

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.49108 | 0.014492 | 0.014492 | 0.48631 | 0.0097226 | 0.0097226 | 5.6705 | 0.16734 | 0.16734 | 5.6155 | 0.11227 | 0.11227 | 0.76535 | 0.16143 | -0.15662 | -0.37015 | -0.10538 | 0.10818 | 0.42332 | -0.25675 | -0.2346 | -0.20656 | 0.17268 | 0.16069 | -82.6381 | -86.0171 | -86.0171 | 97.3797 | 93.2151 | 93.2151 | 0.15424 | 1.8124 | 1.6857 | 0.075485 | 1.8019 | 1.7254 | -53.6909 | -143.8575 | 150.2564 | -53.4572 | -145.3915 | 149.2642
Line_1 | 0.47662 | 0 | 0 | 0.48149 | 0.0048913 | 0.0048913 | 5.5035 | 0 | 0 | 5.5598 | 0.05648 | 0.05648 | 6.5452e-12 | -5.3364e-09 | -5.1388e-09 | 0.3666 | 0.054092 | -0.053414 | -2.8825e-12 | -3.2651e-09 | 3.3791e-09 | 0.20429 | -0.086206 | -0.081509 | 97.4646 | 0 | 0 | -82.5858 | -87.4986 | -87.4986 | 0 | 1.7931 | 1.7629 | 0.075485 | 1.8019 | 1.7254 | 0 | -146.837 | 148.3753 | -53.4572 | -145.3915 | 149.2642
Line_2 | 0 | 0 | 0 | 0.0048321 | 0.0048321 | 0.0048321 | 0 | 0 | 0 | 0.055796 | 0.055796 | 0.055796 | 1.5939e-10 | -5.3398e-09 | -4.8503e-09 | 0.003548 | 0.051286 | -0.054769 | -2.4158e-10 | -3.1192e-09 | 3.4017e-09 | 0.0022695 | -0.086476 | -0.079176 | 0 | 0 | 0 | -86.0624 | -86.0624 | -86.0624 | 0.074668 | 1.8018 | 1.7261 | 0.075485 | 1.8019 | 1.7254 | -53.3361 | -145.4177 | 149.2489 | -53.4572 | -145.3915 | 149.2642

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.40215 | 0.011867 | 0.011867 | 0.39824 | 0.0079619 | 0.0079619 | 4.6436 | 0.13703 | 0.13703 | 4.5985 | 0.091936 | 0.091936 | 1.2966 | 0.11864 | -0.13712 | -1.0242 | -0.07791 | 0.094135 | 1.0701 | -0.20324 | -0.15079 | -0.91684 | 0.13654 | 0.10366 | -75.031 | -78.41 | -78.41 | 104.9868 | 100.8222 | 100.8222 | 0.36204 | 1.7173 | 1.4873 | 0.29893 | 1.71 | 1.523 | -35.499 | -138.1363 | 149.3074 | -33.1802 | -139.4694 | 148.5781
Line_1 | 0.3903 | 0 | 0 | 0.39429 | 0.0040055 | 0.0040055 | 4.5068 | 0 | 0 | 4.5529 | 0.046251 | 0.046251 | -0.76168 | -4.217e-09 | -3.3365e-09 | 1.0146 | 0.040048 | -0.046705 | -0.76168 | -2.4315e-09 | 2.94e-09 | 0.90713 | -0.0682 | -0.052733 | 105.0717 | 0 | 0 | -74.9787 | -79.8915 | -79.8915 | 0.23901 | 1.7038 | 1.5565 | 0.29893 | 1.71 | 1.523 | -29.9283 | -140.7221 | 147.9241 | -33.1802 | -139.4694 | 148.5781
Line_2 | 0 | 0 | 0 | 0.003957 | 0.003957 | 0.003957 | 0 | 0 | 0 | 0.045692 | 0.045692 | 0.045692 | 6.8132e-10 | -4.2191e-09 | -3.1149e-09 | 0.0096118 | 0.037862 | -0.047431 | -6.5755e-10 | -2.3012e-09 | 2.9387e-09 | 0.0097045 | -0.068345 | -0.050923 | 0 | 0 | 0 | -78.4553 | -78.4553 | -78.4553 | 0.29831 | 1.7099 | 1.5237 | 0.29893 | 1.71 | 1.523 | -33.1278 | -139.492 | 148.5671 | -33.1802 | -139.4694 | 148.5781

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.40215 | 0.011867 | 0.011867 | 0.39824 | 0.0079619 | 0.0079619 | 4.6436 | 0.13703 | 0.13703 | 4.5985 | 0.091936 | 0.091936 | 1.2966 | 0.11864 | -0.13712 | -1.0242 | -0.07791 | 0.094135 | 1.0701 | -0.20324 | -0.15079 | -0.91684 | 0.13654 | 0.10366 | -75.031 | -78.41 | -78.41 | 104.9868 | 100.8222 | 100.8222 | 0.36204 | 1.7173 | 1.4873 | 0.29893 | 1.71 | 1.523 | -35.499 | -138.1363 | 149.3074 | -33.1802 | -139.4694 | 148.5781
Line_1 | 0.3903 | 0 | 0 | 0.39429 | 0.0040055 | 0.0040055 | 4.5068 | 0 | 0 | 4.5529 | 0.046251 | 0.046251 | -0.76168 | -4.217e-09 | -3.3365e-09 | 1.0146 | 0.040048 | -0.046705 | -0.76168 | -2.4315e-09 | 2.94e-09 | 0.90713 | -0.0682 | -0.052733 | 105.0717 | 0 | 0 | -74.9787 | -79.8915 | -79.8915 | 0.23901 | 1.7038 | 1.5565 | 0.29893 | 1.71 | 1.523 | -29.9283 | -140.7221 | 147.9241 | -33.1802 | -139.4694 | 148.5781
Line_2 | 0 | 0 | 0 | 0.003957 | 0.003957 | 0.003957 | 0 | 0 | 0 | 0.045692 | 0.045692 | 0.045692 | 6.8132e-10 | -4.2191e-09 | -3.1149e-09 | 0.0096118 | 0.037862 | -0.047431 | -6.5755e-10 | -2.3012e-09 | 2.9387e-09 | 0.0097045 | -0.068345 | -0.050923 | 0 | 0 | 0 | -78.4553 | -78.4553 | -78.4553 | 0.29831 | 1.7099 | 1.5237 | 0.29893 | 1.71 | 1.523 | -33.1278 | -139.492 | 148.5671 | -33.1802 | -139.4694 | 148.5781

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.43608 | 0.012925 | 0.012925 | 0.43185 | 0.0086912 | 0.0086912 | 5.0355 | 0.14925 | 0.14925 | 4.9866 | 0.10036 | 0.10036 | 1.1587 | 0.13185 | -0.12456 | -0.56041 | -0.084338 | 0.088582 | 0.33232 | -0.21163 | -0.17877 | -0.16299 | 0.14227 | 0.12456 | -76.2273 | -82.6965 | -82.6965 | 103.8068 | 95.8451 | 95.8451 | 0.23939 | 1.6707 | 1.4598 | 0.11704 | 1.648 | 1.5231 | -60.225 | -140.7719 | 152.4365 | -59.9763 | -143.4947 | 150.4271
Line_1 | 0.42324 | 0 | 0 | 0.42757 | 0.0043838 | 0.0043838 | 4.8872 | 0 | 0 | 4.9371 | 0.05062 | 0.05062 | -3.3229e-12 | -4.3792e-09 | -4.1042e-09 | 0.55505 | 0.044216 | -0.04319 | -1.3562e-12 | -2.6304e-09 | 2.7893e-09 | 0.16074 | -0.070738 | -0.063864 | 103.9698 | 0 | 0 | -76.1269 | -85.5029 | -85.5029 | 0 | 1.6305 | 1.5838 | 0.11704 | 1.648 | 1.5231 | 0 | -146.1031 | 148.7047 | -59.9763 | -143.4947 | 150.4271
Line_2 | 0 | 0 | 0 | 0.0043098 | 0.0043098 | 0.0043098 | 0 | 0 | 0 | 0.049765 | 0.049765 | 0.049765 | 1.6403e-10 | -4.4147e-09 | -3.6966e-09 | 0.0053692 | 0.040121 | -0.045392 | -3.6688e-10 | -2.4127e-09 | 2.8273e-09 | 0.0022578 | -0.071528 | -0.0607 | 0 | 0 | 0 | -82.7837 | -82.7837 | -82.7837 | 0.11572 | 1.6476 | 1.5241 | 0.11704 | 1.648 | 1.5231 | -59.8469 | -143.5395 | 150.3934 | -59.9763 | -143.4947 | 150.4271

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.43608 | 0.012925 | 0.012925 | 0.43185 | 0.0086912 | 0.0086912 | 5.0355 | 0.14925 | 0.14925 | 4.9866 | 0.10036 | 0.10036 | 1.1587 | 0.13185 | -0.12456 | -0.56041 | -0.084338 | 0.088582 | 0.33232 | -0.21163 | -0.17877 | -0.16299 | 0.14227 | 0.12456 | -76.2273 | -82.6965 | -82.6965 | 103.8068 | 95.8451 | 95.8451 | 0.23939 | 1.6707 | 1.4598 | 0.11704 | 1.648 | 1.5231 | -60.225 | -140.7719 | 152.4365 | -59.9763 | -143.4947 | 150.4271
Line_1 | 0.42324 | 0 | 0 | 0.42757 | 0.0043838 | 0.0043838 | 4.8872 | 0 | 0 | 4.9371 | 0.05062 | 0.05062 | -3.3229e-12 | -4.3792e-09 | -4.1042e-09 | 0.55505 | 0.044216 | -0.04319 | -1.3562e-12 | -2.6304e-09 | 2.7893e-09 | 0.16074 | -0.070738 | -0.063864 | 103.9698 | 0 | 0 | -76.1269 | -85.5029 | -85.5029 | 0 | 1.6305 | 1.5838 | 0.11704 | 1.648 | 1.5231 | 0 | -146.1031 | 148.7047 | -59.9763 | -143.4947 | 150.4271
Line_2 | 0 | 0 | 0 | 0.0043098 | 0.0043098 | 0.0043098 | 0 | 0 | 0 | 0.049765 | 0.049765 | 0.049765 | 1.6403e-10 | -4.4147e-09 | -3.6966e-09 | 0.0053692 | 0.040121 | -0.045392 | -3.6688e-10 | -2.4127e-09 | 2.8273e-09 | 0.0022578 | -0.071528 | -0.0607 | 0 | 0 | 0 | -82.7837 | -82.7837 | -82.7837 | 0.11572 | 1.6476 | 1.5241 | 0.11704 | 1.648 | 1.5231 | -59.8469 | -143.5395 | 150.3934 | -59.9763 | -143.4947 | 150.4271

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35472 | 0.010514 | 0.010514 | 0.35128 | 0.0070696 | 0.0070696 | 4.096 | 0.1214 | 0.1214 | 4.0562 | 0.081633 | 0.081633 | 1.3752 | 0.096691 | -0.10774 | -0.97376 | -0.062561 | 0.075697 | 0.83258 | -0.16381 | -0.11457 | -0.71424 | 0.10996 | 0.080358 | -69.9882 | -76.4574 | -76.4574 | 110.0459 | 102.0842 | 102.0842 | 0.39248 | 1.5669 | 1.2955 | 0.29772 | 1.5498 | 1.3524 | -38.7963 | -135.9059 | 150.3035 | -33.6944 | -138.2778 | 148.795
Line_1 | 0.34427 | 0 | 0 | 0.34779 | 0.0035659 | 0.0035659 | 3.9753 | 0 | 0 | 4.016 | 0.041175 | 0.041175 | -0.59263 | -3.3802e-09 | -2.6787e-09 | 0.96492 | 0.032852 | -0.037217 | -0.59263 | -1.9765e-09 | 2.3816e-09 | 0.70604 | -0.054705 | -0.04142 | 110.2089 | 0 | 0 | -69.8878 | -79.2638 | -79.2638 | 0.21082 | 1.5364 | 1.4064 | 0.29772 | 1.5498 | 1.3524 | -24.7911 | -140.5393 | 147.5048 | -33.6944 | -138.2778 | 148.795
Line_2 | 0 | 0 | 0 | 0.0035057 | 0.0035057 | 0.0035057 | 0 | 0 | 0 | 0.04048 | 0.04048 | 0.04048 | 5.8359e-10 | -3.4093e-09 | -2.3655e-09 | 0.0088357 | 0.029709 | -0.03848 | -6.0195e-10 | -1.7854e-09 | 2.3881e-09 | 0.0081963 | -0.055253 | -0.038939 | 0 | 0 | 0 | -76.5445 | -76.5445 | -76.5445 | 0.29678 | 1.5494 | 1.3533 | 0.29772 | 1.5498 | 1.3524 | -33.5844 | -138.3168 | 148.7692 | -33.6944 | -138.2778 | 148.795

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35472 | 0.010514 | 0.010514 | 0.35128 | 0.0070696 | 0.0070696 | 4.096 | 0.1214 | 0.1214 | 4.0562 | 0.081633 | 0.081633 | 1.3752 | 0.096691 | -0.10774 | -0.97376 | -0.062561 | 0.075697 | 0.83258 | -0.16381 | -0.11457 | -0.71424 | 0.10996 | 0.080358 | -69.9882 | -76.4574 | -76.4574 | 110.0459 | 102.0842 | 102.0842 | 0.39248 | 1.5669 | 1.2955 | 0.29772 | 1.5498 | 1.3524 | -38.7963 | -135.9059 | 150.3035 | -33.6944 | -138.2778 | 148.795
Line_1 | 0.34427 | 0 | 0 | 0.34779 | 0.0035659 | 0.0035659 | 3.9753 | 0 | 0 | 4.016 | 0.041175 | 0.041175 | -0.59263 | -3.3802e-09 | -2.6787e-09 | 0.96492 | 0.032852 | -0.037217 | -0.59263 | -1.9765e-09 | 2.3816e-09 | 0.70604 | -0.054705 | -0.04142 | 110.2089 | 0 | 0 | -69.8878 | -79.2638 | -79.2638 | 0.21082 | 1.5364 | 1.4064 | 0.29772 | 1.5498 | 1.3524 | -24.7911 | -140.5393 | 147.5048 | -33.6944 | -138.2778 | 148.795
Line_2 | 0 | 0 | 0 | 0.0035057 | 0.0035057 | 0.0035057 | 0 | 0 | 0 | 0.04048 | 0.04048 | 0.04048 | 5.8359e-10 | -3.4093e-09 | -2.3655e-09 | 0.0088357 | 0.029709 | -0.03848 | -6.0195e-10 | -1.7854e-09 | 2.3881e-09 | 0.0081963 | -0.055253 | -0.038939 | 0 | 0 | 0 | -76.5445 | -76.5445 | -76.5445 | 0.29678 | 1.5494 | 1.3533 | 0.29772 | 1.5498 | 1.3524 | -33.5844 | -138.3168 | 148.7692 | -33.6944 | -138.2778 | 148.795

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0077713 | 2.9707 | 3.0258 | 0.0052138 | 2.9712 | 3.0251 | 0.089735 | 34.3028 | 34.939 | 0.060204 | 34.3084 | 34.9309 | -0.0029684 | 9.3592 | 9.4929 | 0.0022102 | -4.6792 | -4.7425 | -0.1428 | 8.6944 | 12.5641 | 0.096369 | -4.3742 | -6.2533 | 93.1934 | -164.3488 | 20.7256 | -87.5744 | 15.6996 | -159.321 | 1.5917 | 0.3724 | 0.4507 | 1.6011 | 0.1867 | 0.22468 | 2.0025 | -121.4577 | 73.6524 | 1.1117 | -121.2299 | 73.5025
Line_1 | 0 | 2.9724 | 3.0235 | 0.002623 | 2.9718 | 3.0243 | 0 | 34.3223 | 34.912 | 0.030287 | 34.315 | 34.9219 | -3.0123e-09 | 6.5031e-11 | 7.4389e-11 | -0.00050795 | 4.6838 | 4.7362 | 3.2771e-11 | -4.7375e-11 | 2.5981e-11 | -0.048491 | 4.371 | 6.2556 | 0 | 15.7974 | -159.4148 | 91.7119 | -164.2516 | 20.6322 | 1.6102 | 0 | 0 | 1.6011 | 0.1867 | 0.22468 | 0.28924 | 0 | 0 | 1.1117 | -121.2299 | 73.5025
Line_2 | 0 | 0 | 0 | 0.0025912 | 0.0025912 | 0.0025912 | 0 | 0 | 0 | 0.029921 | 0.029921 | 0.029921 | -2.9447e-09 | 6.2573e-10 | 4.3748e-10 | -0.0017023 | -0.0046105 | 0.0063314 | 1.2366e-10 | -1.469e-11 | -6.5715e-10 | -0.047877 | 0.0031542 | -0.0022602 | 0 | 0 | 0 | 93.148 | 93.148 | 93.148 | 1.6013 | 0.18695 | 0.22435 | 1.6011 | 0.1867 | 0.22468 | 1.0971 | -121.1164 | 73.4273 | 1.1117 | -121.2299 | 73.5025

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0077713 | 2.9707 | 3.0258 | 0.0052138 | 2.9712 | 3.0251 | 0.089735 | 34.3028 | 34.939 | 0.060204 | 34.3084 | 34.9309 | -0.0029684 | 9.3592 | 9.4929 | 0.0022102 | -4.6792 | -4.7425 | -0.1428 | 8.6944 | 12.5641 | 0.096369 | -4.3742 | -6.2533 | 93.1934 | -164.3488 | 20.7256 | -87.5744 | 15.6996 | -159.321 | 1.5917 | 0.3724 | 0.4507 | 1.6011 | 0.1867 | 0.22468 | 2.0025 | -121.4577 | 73.6524 | 1.1117 | -121.2299 | 73.5025
Line_1 | 0 | 2.9724 | 3.0235 | 0.002623 | 2.9718 | 3.0243 | 0 | 34.3223 | 34.912 | 0.030287 | 34.315 | 34.9219 | -3.0123e-09 | 6.5031e-11 | 7.4389e-11 | -0.00050795 | 4.6838 | 4.7362 | 3.2771e-11 | -4.7375e-11 | 2.5981e-11 | -0.048491 | 4.371 | 6.2556 | 0 | 15.7974 | -159.4148 | 91.7119 | -164.2516 | 20.6322 | 1.6102 | 0 | 0 | 1.6011 | 0.1867 | 0.22468 | 0.28924 | 0 | 0 | 1.1117 | -121.2299 | 73.5025
Line_2 | 0 | 0 | 0 | 0.0025912 | 0.0025912 | 0.0025912 | 0 | 0 | 0 | 0.029921 | 0.029921 | 0.029921 | -2.9447e-09 | 6.2573e-10 | 4.3748e-10 | -0.0017023 | -0.0046105 | 0.0063314 | 1.2366e-10 | -1.469e-11 | -6.5715e-10 | -0.047877 | 0.0031542 | -0.0022602 | 0 | 0 | 0 | 93.148 | 93.148 | 93.148 | 1.6013 | 0.18695 | 0.22435 | 1.6011 | 0.1867 | 0.22468 | 1.0971 | -121.1164 | 73.4273 | 1.1117 | -121.2299 | 73.5025

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.006969 | 1.0044 | 1.1062 | 0.0046755 | 1.0052 | 1.105 | 0.080471 | 11.5981 | 12.7735 | 0.053988 | 11.6073 | 12.7594 | -0.0098739 | 6.0429 | 7.5554 | 0.0067239 | -5.55 | -6.8202 | -0.1233 | 5.7571 | 8.0656 | 0.083239 | -5.4252 | -7.0595 | 97.7317 | -150.3884 | 41.6341 | -83.0361 | 29.7343 | -138.4665 | 1.5371 | 0.71963 | 0.8652 | 1.5468 | 0.66864 | 0.76931 | 3.153 | -106.7761 | 88.5047 | 2.3457 | -105.9171 | 87.5217
Line_1 | 0 | 1.007 | 1.1023 | 0.0023522 | 1.0061 | 1.1037 | 0 | 11.6283 | 12.7288 | 0.027161 | 11.6174 | 12.7445 | -2.6048e-09 | -5.0707 | -6.0759 | -0.0028608 | 5.5664 | 6.7998 | 1.7533e-10 | -5.0707 | -6.0759 | -0.041915 | 5.418 | 7.0632 | 0 | 29.9796 | -138.6666 | 96.2502 | -150.143 | 41.4333 | 1.5561 | 0.61668 | 0.67505 | 1.5468 | 0.66864 | 0.76931 | 1.6007 | -105.0204 | 86.3334 | 2.3457 | -105.9171 | 87.5217
Line_2 | 0 | 0 | 0 | 0.0023237 | 0.0023237 | 0.0023237 | 0 | 0 | 0 | 0.026832 | 0.026832 | 0.026832 | -2.5407e-09 | 9.7593e-10 | 4.4781e-10 | -0.0038631 | -0.01644 | 0.020318 | 2.5394e-10 | 6.576e-10 | -1.6662e-09 | -0.041324 | 0.0071837 | -0.0036429 | 0 | 0 | 0 | 97.6863 | 97.6863 | 97.6863 | 1.547 | 0.66892 | 0.76897 | 1.5468 | 0.66864 | 0.76931 | 2.3325 | -105.8927 | 87.5059 | 2.3457 | -105.9171 | 87.5217

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.006969 | 1.0044 | 1.1062 | 0.0046755 | 1.0052 | 1.105 | 0.080471 | 11.5981 | 12.7735 | 0.053988 | 11.6073 | 12.7594 | -0.0098739 | 6.0429 | 7.5554 | 0.0067239 | -5.55 | -6.8202 | -0.1233 | 5.7571 | 8.0656 | 0.083239 | -5.4252 | -7.0595 | 97.7317 | -150.3884 | 41.6341 | -83.0361 | 29.7343 | -138.4665 | 1.5371 | 0.71963 | 0.8652 | 1.5468 | 0.66864 | 0.76931 | 3.153 | -106.7761 | 88.5047 | 2.3457 | -105.9171 | 87.5217
Line_1 | 0 | 1.007 | 1.1023 | 0.0023522 | 1.0061 | 1.1037 | 0 | 11.6283 | 12.7288 | 0.027161 | 11.6174 | 12.7445 | -2.6048e-09 | -5.0707 | -6.0759 | -0.0028608 | 5.5664 | 6.7998 | 1.7533e-10 | -5.0707 | -6.0759 | -0.041915 | 5.418 | 7.0632 | 0 | 29.9796 | -138.6666 | 96.2502 | -150.143 | 41.4333 | 1.5561 | 0.61668 | 0.67505 | 1.5468 | 0.66864 | 0.76931 | 1.6007 | -105.0204 | 86.3334 | 2.3457 | -105.9171 | 87.5217
Line_2 | 0 | 0 | 0 | 0.0023237 | 0.0023237 | 0.0023237 | 0 | 0 | 0 | 0.026832 | 0.026832 | 0.026832 | -2.5407e-09 | 9.7593e-10 | 4.4781e-10 | -0.0038631 | -0.01644 | 0.020318 | 2.5394e-10 | 6.576e-10 | -1.6662e-09 | -0.041324 | 0.0071837 | -0.0036429 | 0 | 0 | 0 | 97.6863 | 97.6863 | 97.6863 | 1.547 | 0.66892 | 0.76897 | 1.5468 | 0.66864 | 0.76931 | 2.3325 | -105.8927 | 87.5059 | 2.3457 | -105.9171 | 87.5217

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.006972 | 2.3627 | 2.4381 | 0.0046881 | 2.3634 | 2.4372 | 0.080506 | 27.2818 | 28.1531 | 0.054133 | 27.2903 | 28.1423 | -0.0045444 | 10.854 | 12.3957 | 0.0033841 | -5.4376 | -6.1805 | -0.11533 | 4.3073 | 9.3273 | 0.07826 | -2.1885 | -4.6276 | 95.965 | -152.3652 | 33.1299 | -85.4934 | 27.6874 | -146.9192 | 1.4337 | 0.42803 | 0.55102 | 1.447 | 0.21478 | 0.27436 | 3.7085 | -130.7199 | 70.0897 | 2.0306 | -130.3887 | 69.9042
Line_1 | 0 | 2.3653 | 2.435 | 0.0023647 | 2.3643 | 2.4361 | 0 | 27.3116 | 28.1164 | 0.027305 | 27.3003 | 28.13 | -2.4683e-09 | -1.3239e-10 | -1.7688e-12 | -0.00077778 | 5.4416 | 6.1739 | 4.6192e-11 | -9.3501e-11 | -1.6871e-10 | -0.039503 | 2.1844 | 4.6308 | 0 | 27.7918 | -147.0161 | 93.1586 | -152.2603 | 33.0322 | 1.4608 | 0 | 0 | 1.447 | 0.21478 | 0.27436 | 0.49421 | 0 | 0 | 2.0306 | -130.3887 | 69.9042
Line_2 | 0 | 0 | 0 | 0.0023247 | 0.0023247 | 0.0023247 | 0 | 0 | 0 | 0.026844 | 0.026844 | 0.026844 | -2.3765e-09 | 6.0668e-10 | 3.6789e-10 | -0.0026063 | -0.0039858 | 0.0066208 | 1.8544e-10 | -1.4004e-10 | -7.7111e-10 | -0.038756 | 0.004166 | -0.0032254 | 0 | 0 | 0 | 95.8778 | 95.8778 | 95.8778 | 1.4472 | 0.21517 | 0.27378 | 1.447 | 0.21478 | 0.27436 | 2.0028 | -130.2241 | 69.811 | 2.0306 | -130.3887 | 69.9042

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.006972 | 2.3627 | 2.4381 | 0.0046881 | 2.3634 | 2.4372 | 0.080506 | 27.2818 | 28.1531 | 0.054133 | 27.2903 | 28.1423 | -0.0045444 | 10.854 | 12.3957 | 0.0033841 | -5.4376 | -6.1805 | -0.11533 | 4.3073 | 9.3273 | 0.07826 | -2.1885 | -4.6276 | 95.965 | -152.3652 | 33.1299 | -85.4934 | 27.6874 | -146.9192 | 1.4337 | 0.42803 | 0.55102 | 1.447 | 0.21478 | 0.27436 | 3.7085 | -130.7199 | 70.0897 | 2.0306 | -130.3887 | 69.9042
Line_1 | 0 | 2.3653 | 2.435 | 0.0023647 | 2.3643 | 2.4361 | 0 | 27.3116 | 28.1164 | 0.027305 | 27.3003 | 28.13 | -2.4683e-09 | -1.3239e-10 | -1.7688e-12 | -0.00077778 | 5.4416 | 6.1739 | 4.6192e-11 | -9.3501e-11 | -1.6871e-10 | -0.039503 | 2.1844 | 4.6308 | 0 | 27.7918 | -147.0161 | 93.1586 | -152.2603 | 33.0322 | 1.4608 | 0 | 0 | 1.447 | 0.21478 | 0.27436 | 0.49421 | 0 | 0 | 2.0306 | -130.3887 | 69.9042
Line_2 | 0 | 0 | 0 | 0.0023247 | 0.0023247 | 0.0023247 | 0 | 0 | 0 | 0.026844 | 0.026844 | 0.026844 | -2.3765e-09 | 6.0668e-10 | 3.6789e-10 | -0.0026063 | -0.0039858 | 0.0066208 | 1.8544e-10 | -1.4004e-10 | -7.7111e-10 | -0.038756 | 0.004166 | -0.0032254 | 0 | 0 | 0 | 95.8778 | 95.8778 | 95.8778 | 1.4472 | 0.21517 | 0.27378 | 1.447 | 0.21478 | 0.27436 | 2.0028 | -130.2241 | 69.811 | 2.0306 | -130.3887 | 69.9042

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0062218 | 0.8589 | 0.94463 | 0.0041836 | 0.8596 | 0.94352 | 0.071843 | 9.9177 | 10.9076 | 0.048308 | 9.9259 | 10.8948 | -0.0091783 | 5.0331 | 6.5502 | 0.0063115 | -4.3684 | -5.4873 | -0.098873 | 3.8573 | 6.2366 | 0.067144 | -3.7965 | -5.3194 | 99.7948 | -147.0211 | 45.6224 | -81.6636 | 33.1066 | -134.4818 | 1.3822 | 0.63938 | 0.82918 | 1.3961 | 0.58309 | 0.70147 | 4.4913 | -109.555 | 89.2178 | 2.9664 | -105.9002 | 89.6283
Line_1 | 0 | 0.86137 | 0.941 | 0.0021102 | 0.86043 | 0.94231 | 0 | 9.9462 | 10.8657 | 0.024366 | 9.9354 | 10.8808 | -2.1218e-09 | -3.7098 | -4.4274 | -0.0023859 | 4.381 | 5.4707 | 1.4183e-10 | -3.7098 | -4.4274 | -0.033933 | 3.7905 | 5.3224 | 0 | 33.3593 | -134.6848 | 96.9883 | -146.7666 | 45.4159 | 1.41 | 0.52748 | 0.57624 | 1.3961 | 0.58309 | 0.70147 | 1.572 | -101.6407 | 90.3152 | 2.9664 | -105.9002 | 89.6283
Line_2 | 0 | 0 | 0 | 0.0020746 | 0.0020746 | 0.0020746 | 0 | 0 | 0 | 0.023955 | 0.023955 | 0.023955 | -2.0354e-09 | 8.2621e-10 | 4.156e-10 | -0.0039257 | -0.012596 | 0.016544 | 2.6268e-10 | 5.2269e-10 | -1.3001e-09 | -0.033211 | 0.006037 | -0.0029408 | 0 | 0 | 0 | 99.7076 | 99.7076 | 99.7076 | 1.3963 | 0.5836 | 0.70087 | 1.3961 | 0.58309 | 0.70147 | 2.9411 | -105.8615 | 89.6086 | 2.9664 | -105.9002 | 89.6283

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0062218 | 0.8589 | 0.94463 | 0.0041836 | 0.8596 | 0.94352 | 0.071843 | 9.9177 | 10.9076 | 0.048308 | 9.9259 | 10.8948 | -0.0091783 | 5.0331 | 6.5502 | 0.0063115 | -4.3684 | -5.4873 | -0.098873 | 3.8573 | 6.2366 | 0.067144 | -3.7965 | -5.3194 | 99.7948 | -147.0211 | 45.6224 | -81.6636 | 33.1066 | -134.4818 | 1.3822 | 0.63938 | 0.82918 | 1.3961 | 0.58309 | 0.70147 | 4.4913 | -109.555 | 89.2178 | 2.9664 | -105.9002 | 89.6283
Line_1 | 0 | 0.86137 | 0.941 | 0.0021102 | 0.86043 | 0.94231 | 0 | 9.9462 | 10.8657 | 0.024366 | 9.9354 | 10.8808 | -2.1218e-09 | -3.7098 | -4.4274 | -0.0023859 | 4.381 | 5.4707 | 1.4183e-10 | -3.7098 | -4.4274 | -0.033933 | 3.7905 | 5.3224 | 0 | 33.3593 | -134.6848 | 96.9883 | -146.7666 | 45.4159 | 1.41 | 0.52748 | 0.57624 | 1.3961 | 0.58309 | 0.70147 | 1.572 | -101.6407 | 90.3152 | 2.9664 | -105.9002 | 89.6283
Line_2 | 0 | 0 | 0 | 0.0020746 | 0.0020746 | 0.0020746 | 0 | 0 | 0 | 0.023955 | 0.023955 | 0.023955 | -2.0354e-09 | 8.2621e-10 | 4.156e-10 | -0.0039257 | -0.012596 | 0.016544 | 2.6268e-10 | 5.2269e-10 | -1.3001e-09 | -0.033211 | 0.006037 | -0.0029408 | 0 | 0 | 0 | 99.7076 | 99.7076 | 99.7076 | 1.3963 | 0.5836 | 0.70087 | 1.3961 | 0.58309 | 0.70147 | 2.9411 | -105.8615 | 89.6086 | 2.9664 | -105.9002 | 89.6283