## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2981e-19 | 0 | -4.929e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2981e-19 | 0 | -4.929e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6704e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6704e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1464e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1464e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.2528e-14 | 6.7738e-14 | -2.0843e-14 | 5.7317e-14 | -6.7738e-14 | 5.2111e-15 | 1.0421e-14 | 5.7634e-09 | -5.7634e-09 | -1.0421e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.6991e-13 | 180 | -180 | 8.0953e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | -2.6053e-14 | 2.0843e-14 | -2.0843e-14 | 2.6053e-14 | -2.6053e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.1948e-13 | -180 | 180 | 8.0953e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.0843e-14 | -2.6053e-14 | 3.1264e-14 | -3.1264e-14 | 2.6053e-14 | -3.6475e-14 | -1.0421e-14 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.2157e-13 | -180 | 180 | 8.0953e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | 5.2106e-15 | -5.2106e-15 | -5.2106e-15 | 2.5749e-25 | 5.2106e-15 | -2.2358e-28 | 5.1499e-25 | 5.1563e-25 | -7.4716e-29 | -2.6053e-15 | -5.1563e-25 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.1948e-13 | -180 | 180 | 8.2157e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.2528e-14 | 6.7738e-14 | -2.0843e-14 | 5.7317e-14 | -6.7738e-14 | 5.2111e-15 | 1.0421e-14 | 5.7634e-09 | -5.7634e-09 | -1.0421e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.6991e-13 | 180 | -180 | 8.0953e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | -2.6053e-14 | 2.0843e-14 | -2.0843e-14 | 2.6053e-14 | -2.6053e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.1948e-13 | -180 | 180 | 8.0953e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.0843e-14 | -2.6053e-14 | 3.1264e-14 | -3.1264e-14 | 2.6053e-14 | -3.6475e-14 | -1.0421e-14 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.2157e-13 | -180 | 180 | 8.0953e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | 5.2106e-15 | -5.2106e-15 | -5.2106e-15 | 2.5749e-25 | 5.2106e-15 | -2.2358e-28 | 5.1499e-25 | 5.1563e-25 | -7.4716e-29 | -2.6053e-15 | -5.1563e-25 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.1948e-13 | -180 | 180 | 8.2157e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.8659e-14 | -9.5545e-10 | -3.075e-09 | 2.6053e-14 | 9.5545e-10 | 3.075e-09 | 1.5632e-14 | 4.0277e-09 | -3.5662e-10 | -1.5632e-14 | -4.0277e-09 | 3.5663e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.7049e-13 | -140.8543 | 122.4159 | 2.8973e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | 3.1849e-10 | 1.025e-09 | -1.5632e-14 | -3.185e-10 | -1.025e-09 | -2.6053e-15 | -1.3426e-09 | 1.1887e-10 | -7.9048e-29 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.9492e-13 | -140.8543 | 122.4159 | 2.8973e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.1186e-15 | 3.185e-10 | 1.025e-09 | -1.4329e-14 | -3.1848e-10 | -1.025e-09 | -7.816e-15 | -1.3426e-09 | 1.1887e-10 | 2.6053e-15 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.9724e-13 | -140.8543 | 122.4159 | 2.8973e-13 | -140.8543 | 122.4159
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3027e-15 | 6.3891e-16 | 1.2072e-14 | -6.5133e-15 | -1.0425e-14 | -4.439e-15 | 2.6053e-15 | 6.2312e-15 | 5.7042e-15 | -5.2106e-15 | 5.7915e-15 | 6.9904e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.9492e-13 | -140.8543 | 122.4159 | 2.9724e-13 | -140.8543 | 122.4159

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.8659e-14 | -9.5545e-10 | -3.075e-09 | 2.6053e-14 | 9.5545e-10 | 3.075e-09 | 1.5632e-14 | 4.0277e-09 | -3.5662e-10 | -1.5632e-14 | -4.0277e-09 | 3.5663e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.7049e-13 | -140.8543 | 122.4159 | 2.8973e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | 3.1849e-10 | 1.025e-09 | -1.5632e-14 | -3.185e-10 | -1.025e-09 | -2.6053e-15 | -1.3426e-09 | 1.1887e-10 | -7.9048e-29 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.9492e-13 | -140.8543 | 122.4159 | 2.8973e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.1186e-15 | 3.185e-10 | 1.025e-09 | -1.4329e-14 | -3.1848e-10 | -1.025e-09 | -7.816e-15 | -1.3426e-09 | 1.1887e-10 | 2.6053e-15 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.9724e-13 | -140.8543 | 122.4159 | 2.8973e-13 | -140.8543 | 122.4159
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3027e-15 | 6.3891e-16 | 1.2072e-14 | -6.5133e-15 | -1.0425e-14 | -4.439e-15 | 2.6053e-15 | 6.2312e-15 | 5.7042e-15 | -5.2106e-15 | 5.7915e-15 | 6.9904e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.9492e-13 | -140.8543 | 122.4159 | 2.9724e-13 | -140.8543 | 122.4159

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 2.0132e-14 | 1.1842e-14 | 4.737e-15 | -1.7763e-14 | -9.4732e-15 | -1.8948e-14 | 4.7631e-09 | -4.7631e-09 | 1.4211e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.2306e-12 | -180 | 180 | 1.2437e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -8.2894e-15 | 2.3688e-15 | 4.737e-15 | 1.0658e-14 | -2.2925e-19 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.2127e-12 | -180 | 180 | 1.2437e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | -8.2894e-15 | -2.3682e-15 | 4.737e-15 | 1.5395e-14 | 4.7367e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | 1.0283e-28 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.2135e-12 | -180 | 180 | 1.2437e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0052e-28 | 2.3685e-15 | -2.3685e-15 | -2.3685e-15 | 1.817e-24 | 2.3685e-15 | 9.4739e-15 | -2.3685e-15 | 4.737e-15 | -5.0165e-29 | -9.4739e-15 | -1.4211e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.2127e-12 | -180 | 180 | 1.2135e-12 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 2.0132e-14 | 1.1842e-14 | 4.737e-15 | -1.7763e-14 | -9.4732e-15 | -1.8948e-14 | 4.7631e-09 | -4.7631e-09 | 1.4211e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.2306e-12 | -180 | 180 | 1.2437e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -8.2894e-15 | 2.3688e-15 | 4.737e-15 | 1.0658e-14 | -2.2925e-19 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.2127e-12 | -180 | 180 | 1.2437e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | -8.2894e-15 | -2.3682e-15 | 4.737e-15 | 1.5395e-14 | 4.7367e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | 1.0283e-28 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.2135e-12 | -180 | 180 | 1.2437e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0052e-28 | 2.3685e-15 | -2.3685e-15 | -2.3685e-15 | 1.817e-24 | 2.3685e-15 | 9.4739e-15 | -2.3685e-15 | 4.737e-15 | -5.0165e-29 | -9.4739e-15 | -1.4211e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.2127e-12 | -180 | 180 | 1.2135e-12 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.8488e-15 | -8.0024e-10 | -2.5674e-09 | 2.3685e-15 | 8.0024e-10 | 2.5674e-09 | -7.1054e-15 | 3.4014e-09 | -3.4066e-10 | 1.1842e-14 | -3.4014e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 4.8995e-13 | -141.4824 | 122.8363 | 4.938e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.2567e-15 | 2.6675e-10 | 8.558e-10 | 1.7764e-15 | -2.6675e-10 | -8.558e-10 | 2.3685e-15 | -1.1338e-09 | 1.1354e-10 | 1.531e-29 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 4.7953e-13 | -141.4824 | 122.8363 | 4.938e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.1448e-15 | 2.6675e-10 | 8.558e-10 | 3.8488e-15 | -2.6675e-10 | -8.5581e-10 | 4.737e-15 | -1.1338e-09 | 1.1355e-10 | -2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 4.8083e-13 | -141.4824 | 122.8363 | 4.938e-13 | -141.4824 | 122.8363
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4803e-15 | -2.5627e-15 | 1.8084e-15 | -3.8488e-15 | -2.0997e-15 | 1.4862e-15 | 1.2389e-29 | 5.6283e-15 | -2.8022e-15 | 4.737e-15 | 3.4408e-15 | 3.1643e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 4.7953e-13 | -141.4824 | 122.8363 | 4.8083e-13 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.8488e-15 | -8.0024e-10 | -2.5674e-09 | 2.3685e-15 | 8.0024e-10 | 2.5674e-09 | -7.1054e-15 | 3.4014e-09 | -3.4066e-10 | 1.1842e-14 | -3.4014e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 4.8995e-13 | -141.4824 | 122.8363 | 4.938e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.2567e-15 | 2.6675e-10 | 8.558e-10 | 1.7764e-15 | -2.6675e-10 | -8.558e-10 | 2.3685e-15 | -1.1338e-09 | 1.1354e-10 | 1.531e-29 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 4.7953e-13 | -141.4824 | 122.8363 | 4.938e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.1448e-15 | 2.6675e-10 | 8.558e-10 | 3.8488e-15 | -2.6675e-10 | -8.5581e-10 | 4.737e-15 | -1.1338e-09 | 1.1355e-10 | -2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 4.8083e-13 | -141.4824 | 122.8363 | 4.938e-13 | -141.4824 | 122.8363
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4803e-15 | -2.5627e-15 | 1.8084e-15 | -3.8488e-15 | -2.0997e-15 | 1.4862e-15 | 1.2389e-29 | 5.6283e-15 | -2.8022e-15 | 4.737e-15 | 3.4408e-15 | 3.1643e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 4.7953e-13 | -141.4824 | 122.8363 | 4.8083e-13 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.018791 | 0.018791 | 0.018791 | 0.014099 | 0.014099 | 0.014099 | 0.21698 | 0.21698 | 0.21698 | 0.1628 | 0.1628 | 0.1628 | -7.0346e-13 | 0.20674 | -0.20325 | 0.00085677 | -0.15446 | 0.15311 | 1.2898e-13 | -0.2817 | -0.3347 | 0.000341 | 0.21155 | 0.25161 | -97.3661 | -97.3661 | -97.3661 | 82.5791 | 82.5791 | 82.5791 | 0 | 1.6104 | 1.8047 | 0.0056643 | 1.609 | 1.8092 | 0 | -151.0912 | 141.3653 | 104.2821 | -151.2863 | 141.2571
Line_1 | 0.0023503 | 0.0023503 | 0.0023503 | 0.0070493 | 0.0070493 | 0.0070493 | 0.027139 | 0.027139 | 0.027139 | 0.081398 | 0.081398 | 0.081398 | 0.00018361 | -0.025726 | 0.025543 | -0.00042838 | 0.07723 | -0.076556 | 7.3161e-05 | 0.035268 | 0.041973 | -0.0001705 | -0.10577 | -0.1258 | 82.5488 | 82.5488 | 82.5488 | -97.4209 | -97.4209 | -97.4209 | 0.0072831 | 1.6086 | 1.8105 | 0.0056643 | 1.609 | 1.8092 | 104.2735 | -151.3422 | 141.2263 | 104.2821 | -151.2863 | 141.2571
Line_2 | 0.0023503 | 0.0023503 | 0.0023503 | 0.0070493 | 0.0070493 | 0.0070493 | 0.027139 | 0.027139 | 0.027139 | 0.081398 | 0.081398 | 0.081398 | 0.00018361 | -0.025726 | 0.025543 | -0.00042838 | 0.07723 | -0.076556 | 7.3161e-05 | 0.035268 | 0.041973 | -0.0001705 | -0.10577 | -0.1258 | 82.5488 | 82.5488 | 82.5488 | -97.4209 | -97.4209 | -97.4209 | 0.0072831 | 1.6086 | 1.8105 | 0.0056643 | 1.609 | 1.8092 | 104.2735 | -151.3422 | 141.2263 | 104.2821 | -151.2863 | 141.2571
Line_3 | 0.0023503 | 0.0023503 | 0.0023503 | 0.0023503 | 0.0023503 | 0.0023503 | 0.027139 | 0.027139 | 0.027139 | 0.027139 | 0.027139 | 0.027139 | -0.00018361 | 0.025726 | -0.025543 | -0.00018361 | 0.025726 | -0.025543 | -7.3161e-05 | -0.035268 | -0.041973 | -7.3161e-05 | -0.035268 | -0.041973 | -97.4512 | -97.4512 | -97.4512 | -97.4512 | -97.4512 | -97.4512 | 0.0072831 | 1.6086 | 1.8105 | 0.0072831 | 1.6086 | 1.8105 | 104.2735 | -151.3422 | 141.2263 | 104.2735 | -151.3422 | 141.2263

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.018791 | 0.018791 | 0.018791 | 0.014099 | 0.014099 | 0.014099 | 0.21698 | 0.21698 | 0.21698 | 0.1628 | 0.1628 | 0.1628 | -7.0346e-13 | 0.20674 | -0.20325 | 0.00085677 | -0.15446 | 0.15311 | 1.2898e-13 | -0.2817 | -0.3347 | 0.000341 | 0.21155 | 0.25161 | -97.3661 | -97.3661 | -97.3661 | 82.5791 | 82.5791 | 82.5791 | 0 | 1.6104 | 1.8047 | 0.0056643 | 1.609 | 1.8092 | 0 | -151.0912 | 141.3653 | 104.2821 | -151.2863 | 141.2571
Line_1 | 0.0023503 | 0.0023503 | 0.0023503 | 0.0070493 | 0.0070493 | 0.0070493 | 0.027139 | 0.027139 | 0.027139 | 0.081398 | 0.081398 | 0.081398 | 0.00018361 | -0.025726 | 0.025543 | -0.00042838 | 0.07723 | -0.076556 | 7.3161e-05 | 0.035268 | 0.041973 | -0.0001705 | -0.10577 | -0.1258 | 82.5488 | 82.5488 | 82.5488 | -97.4209 | -97.4209 | -97.4209 | 0.0072831 | 1.6086 | 1.8105 | 0.0056643 | 1.609 | 1.8092 | 104.2735 | -151.3422 | 141.2263 | 104.2821 | -151.2863 | 141.2571
Line_2 | 0.0023503 | 0.0023503 | 0.0023503 | 0.0070493 | 0.0070493 | 0.0070493 | 0.027139 | 0.027139 | 0.027139 | 0.081398 | 0.081398 | 0.081398 | 0.00018361 | -0.025726 | 0.025543 | -0.00042838 | 0.07723 | -0.076556 | 7.3161e-05 | 0.035268 | 0.041973 | -0.0001705 | -0.10577 | -0.1258 | 82.5488 | 82.5488 | 82.5488 | -97.4209 | -97.4209 | -97.4209 | 0.0072831 | 1.6086 | 1.8105 | 0.0056643 | 1.609 | 1.8092 | 104.2735 | -151.3422 | 141.2263 | 104.2821 | -151.2863 | 141.2571
Line_3 | 0.0023503 | 0.0023503 | 0.0023503 | 0.0023503 | 0.0023503 | 0.0023503 | 0.027139 | 0.027139 | 0.027139 | 0.027139 | 0.027139 | 0.027139 | -0.00018361 | 0.025726 | -0.025543 | -0.00018361 | 0.025726 | -0.025543 | -7.3161e-05 | -0.035268 | -0.041973 | -7.3161e-05 | -0.035268 | -0.041973 | -97.4512 | -97.4512 | -97.4512 | -97.4512 | -97.4512 | -97.4512 | 0.0072831 | 1.6086 | 1.8105 | 0.0072831 | 1.6086 | 1.8105 | 104.2735 | -151.3422 | 141.2263 | 104.2735 | -151.3422 | 141.2263

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.01031 | 0.01031 | 0.01031 | 0.0077354 | 0.0077354 | 0.0077354 | 0.11905 | 0.11905 | 0.11905 | 0.08932 | 0.08932 | 0.08932 | -0.0010039 | 0.11409 | -0.11204 | 0.0010537 | -0.085424 | 0.084223 | 0.059298 | -0.11358 | -0.13127 | -0.044387 | 0.085238 | 0.098676 | -94.4741 | -94.4741 | -94.4741 | 85.471 | 85.471 | 85.471 | 0.49817 | 1.3523 | 1.4497 | 0.49708 | 1.351 | 1.4524 | -3.5042 | -139.3456 | 135.0465 | -3.1691 | -139.4665 | 134.9892
Line_1 | 0.0012895 | 0.0012895 | 0.0012895 | 0.0038677 | 0.0038677 | 0.0038677 | 0.01489 | 0.01489 | 0.01489 | 0.04466 | 0.04466 | 0.04466 | 0.00019185 | -0.014236 | 0.014044 | -0.00052686 | 0.042712 | -0.042111 | -0.0073944 | 0.014207 | 0.016462 | 0.022194 | -0.042619 | -0.049338 | 85.4408 | 85.4408 | 85.4408 | -94.529 | -94.529 | -94.529 | 0.49678 | 1.3507 | 1.4532 | 0.49708 | 1.351 | 1.4524 | -3.073 | -139.5011 | 134.9729 | -3.1691 | -139.4665 | 134.9892
Line_2 | 0.0012895 | 0.0012895 | 0.0012895 | 0.0038677 | 0.0038677 | 0.0038677 | 0.01489 | 0.01489 | 0.01489 | 0.04466 | 0.04466 | 0.04466 | 0.00019185 | -0.014236 | 0.014044 | -0.00052686 | 0.042712 | -0.042111 | -0.0073944 | 0.014207 | 0.016462 | 0.022194 | -0.042619 | -0.049338 | 85.4408 | 85.4408 | 85.4408 | -94.529 | -94.529 | -94.529 | 0.49678 | 1.3507 | 1.4532 | 0.49708 | 1.351 | 1.4524 | -3.073 | -139.5011 | 134.9729 | -3.1691 | -139.4665 | 134.9892
Line_3 | 0.0012895 | 0.0012895 | 0.0012895 | 0.0012895 | 0.0012895 | 0.0012895 | 0.01489 | 0.01489 | 0.01489 | 0.01489 | 0.01489 | 0.01489 | -0.00019185 | 0.014236 | -0.014044 | -0.00019185 | 0.014236 | -0.014044 | 0.0073944 | -0.014207 | -0.016462 | 0.0073944 | -0.014207 | -0.016462 | -94.5592 | -94.5592 | -94.5592 | -94.5592 | -94.5592 | -94.5592 | 0.49678 | 1.3507 | 1.4532 | 0.49678 | 1.3507 | 1.4532 | -3.073 | -139.5011 | 134.9729 | -3.073 | -139.5011 | 134.9729

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.01031 | 0.01031 | 0.01031 | 0.0077354 | 0.0077354 | 0.0077354 | 0.11905 | 0.11905 | 0.11905 | 0.08932 | 0.08932 | 0.08932 | -0.0010039 | 0.11409 | -0.11204 | 0.0010537 | -0.085424 | 0.084223 | 0.059298 | -0.11358 | -0.13127 | -0.044387 | 0.085238 | 0.098676 | -94.4741 | -94.4741 | -94.4741 | 85.471 | 85.471 | 85.471 | 0.49817 | 1.3523 | 1.4497 | 0.49708 | 1.351 | 1.4524 | -3.5042 | -139.3456 | 135.0465 | -3.1691 | -139.4665 | 134.9892
Line_1 | 0.0012895 | 0.0012895 | 0.0012895 | 0.0038677 | 0.0038677 | 0.0038677 | 0.01489 | 0.01489 | 0.01489 | 0.04466 | 0.04466 | 0.04466 | 0.00019185 | -0.014236 | 0.014044 | -0.00052686 | 0.042712 | -0.042111 | -0.0073944 | 0.014207 | 0.016462 | 0.022194 | -0.042619 | -0.049338 | 85.4408 | 85.4408 | 85.4408 | -94.529 | -94.529 | -94.529 | 0.49678 | 1.3507 | 1.4532 | 0.49708 | 1.351 | 1.4524 | -3.073 | -139.5011 | 134.9729 | -3.1691 | -139.4665 | 134.9892
Line_2 | 0.0012895 | 0.0012895 | 0.0012895 | 0.0038677 | 0.0038677 | 0.0038677 | 0.01489 | 0.01489 | 0.01489 | 0.04466 | 0.04466 | 0.04466 | 0.00019185 | -0.014236 | 0.014044 | -0.00052686 | 0.042712 | -0.042111 | -0.0073944 | 0.014207 | 0.016462 | 0.022194 | -0.042619 | -0.049338 | 85.4408 | 85.4408 | 85.4408 | -94.529 | -94.529 | -94.529 | 0.49678 | 1.3507 | 1.4532 | 0.49708 | 1.351 | 1.4524 | -3.073 | -139.5011 | 134.9729 | -3.1691 | -139.4665 | 134.9892
Line_3 | 0.0012895 | 0.0012895 | 0.0012895 | 0.0012895 | 0.0012895 | 0.0012895 | 0.01489 | 0.01489 | 0.01489 | 0.01489 | 0.01489 | 0.01489 | -0.00019185 | 0.014236 | -0.014044 | -0.00019185 | 0.014236 | -0.014044 | 0.0073944 | -0.014207 | -0.016462 | 0.0073944 | -0.014207 | -0.016462 | -94.5592 | -94.5592 | -94.5592 | -94.5592 | -94.5592 | -94.5592 | 0.49678 | 1.3507 | 1.4532 | 0.49678 | 1.3507 | 1.4532 | -3.073 | -139.5011 | 134.9729 | -3.073 | -139.5011 | 134.9729

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.016964 | 0.016964 | 0.016964 | 0.012728 | 0.012728 | 0.012728 | 0.19589 | 0.19589 | 0.19589 | 0.14697 | 0.14697 | 0.14697 | 2.2288e-13 | 0.17075 | -0.16529 | 0.0013407 | -0.12708 | 0.12498 | 2.6585e-13 | -0.22778 | -0.2746 | 0.0002782 | 0.17094 | 0.20654 | -97.9323 | -97.9323 | -97.9323 | 81.9624 | 81.9624 | 81.9624 | 0 | 1.4533 | 1.6362 | 0.0093165 | 1.4493 | 1.6425 | 0 | -151.0765 | 141.0231 | 93.6853 | -151.4096 | 140.7841
Line_1 | 0.0021218 | 0.0021218 | 0.0021218 | 0.006364 | 0.006364 | 0.006364 | 0.0245 | 0.0245 | 0.0245 | 0.073485 | 0.073485 | 0.073485 | 0.00028732 | -0.02115 | 0.020863 | -0.00067034 | 0.063541 | -0.062488 | 5.9839e-05 | 0.028488 | 0.034464 | -0.0001391 | -0.085471 | -0.10327 | 81.9043 | 81.9043 | 81.9043 | -98.0376 | -98.0376 | -98.0376 | 0.011979 | 1.4482 | 1.6444 | 0.0093165 | 1.4493 | 1.6425 | 93.6687 | -151.5051 | 140.7161 | 93.6853 | -151.4096 | 140.7841
Line_2 | 0.0021218 | 0.0021218 | 0.0021218 | 0.006364 | 0.006364 | 0.006364 | 0.0245 | 0.0245 | 0.0245 | 0.073485 | 0.073485 | 0.073485 | 0.00028732 | -0.02115 | 0.020863 | -0.00067034 | 0.063541 | -0.062488 | 5.9839e-05 | 0.028488 | 0.034464 | -0.0001391 | -0.085471 | -0.10327 | 81.9043 | 81.9043 | 81.9043 | -98.0376 | -98.0376 | -98.0376 | 0.011979 | 1.4482 | 1.6444 | 0.0093165 | 1.4493 | 1.6425 | 93.6687 | -151.5051 | 140.7161 | 93.6853 | -151.4096 | 140.7841
Line_3 | 0.0021218 | 0.0021218 | 0.0021218 | 0.0021218 | 0.0021218 | 0.0021218 | 0.0245 | 0.0245 | 0.0245 | 0.0245 | 0.0245 | 0.0245 | -0.00028732 | 0.02115 | -0.020863 | -0.00028732 | 0.02115 | -0.020863 | -5.9839e-05 | -0.028488 | -0.034464 | -5.9839e-05 | -0.028488 | -0.034464 | -98.0957 | -98.0957 | -98.0957 | -98.0957 | -98.0957 | -98.0957 | 0.011979 | 1.4482 | 1.6444 | 0.011979 | 1.4482 | 1.6444 | 93.6687 | -151.5051 | 140.7161 | 93.6687 | -151.5051 | 140.7161

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.016964 | 0.016964 | 0.016964 | 0.012728 | 0.012728 | 0.012728 | 0.19589 | 0.19589 | 0.19589 | 0.14697 | 0.14697 | 0.14697 | 2.2288e-13 | 0.17075 | -0.16529 | 0.0013407 | -0.12708 | 0.12498 | 2.6585e-13 | -0.22778 | -0.2746 | 0.0002782 | 0.17094 | 0.20654 | -97.9323 | -97.9323 | -97.9323 | 81.9624 | 81.9624 | 81.9624 | 0 | 1.4533 | 1.6362 | 0.0093165 | 1.4493 | 1.6425 | 0 | -151.0765 | 141.0231 | 93.6853 | -151.4096 | 140.7841
Line_1 | 0.0021218 | 0.0021218 | 0.0021218 | 0.006364 | 0.006364 | 0.006364 | 0.0245 | 0.0245 | 0.0245 | 0.073485 | 0.073485 | 0.073485 | 0.00028732 | -0.02115 | 0.020863 | -0.00067034 | 0.063541 | -0.062488 | 5.9839e-05 | 0.028488 | 0.034464 | -0.0001391 | -0.085471 | -0.10327 | 81.9043 | 81.9043 | 81.9043 | -98.0376 | -98.0376 | -98.0376 | 0.011979 | 1.4482 | 1.6444 | 0.0093165 | 1.4493 | 1.6425 | 93.6687 | -151.5051 | 140.7161 | 93.6853 | -151.4096 | 140.7841
Line_2 | 0.0021218 | 0.0021218 | 0.0021218 | 0.006364 | 0.006364 | 0.006364 | 0.0245 | 0.0245 | 0.0245 | 0.073485 | 0.073485 | 0.073485 | 0.00028732 | -0.02115 | 0.020863 | -0.00067034 | 0.063541 | -0.062488 | 5.9839e-05 | 0.028488 | 0.034464 | -0.0001391 | -0.085471 | -0.10327 | 81.9043 | 81.9043 | 81.9043 | -98.0376 | -98.0376 | -98.0376 | 0.011979 | 1.4482 | 1.6444 | 0.0093165 | 1.4493 | 1.6425 | 93.6687 | -151.5051 | 140.7161 | 93.6853 | -151.4096 | 140.7841
Line_3 | 0.0021218 | 0.0021218 | 0.0021218 | 0.0021218 | 0.0021218 | 0.0021218 | 0.0245 | 0.0245 | 0.0245 | 0.0245 | 0.0245 | 0.0245 | -0.00028732 | 0.02115 | -0.020863 | -0.00028732 | 0.02115 | -0.020863 | -5.9839e-05 | -0.028488 | -0.034464 | -5.9839e-05 | -0.028488 | -0.034464 | -98.0957 | -98.0957 | -98.0957 | -98.0957 | -98.0957 | -98.0957 | 0.011979 | 1.4482 | 1.6444 | 0.011979 | 1.4482 | 1.6444 | 93.6687 | -151.5051 | 140.7161 | 93.6687 | -151.5051 | 140.7161

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0093391 | 0.0093391 | 0.0093391 | 0.007007 | 0.007007 | 0.007007 | 0.10784 | 0.10784 | 0.10784 | 0.08091 | 0.08091 | 0.08091 | -0.0010645 | 0.094406 | -0.091687 | 0.0012721 | -0.070552 | 0.069048 | 0.048641 | -0.092433 | -0.10847 | -0.036409 | 0.069305 | 0.081592 | -94.9246 | -94.9246 | -94.9246 | 84.9701 | 84.9701 | 84.9701 | 0.45116 | 1.2252 | 1.317 | 0.45027 | 1.2223 | 1.3211 | -3.6709 | -139.3195 | 134.8676 | -3.0289 | -139.5189 | 134.7302
Line_1 | 0.0011681 | 0.0011681 | 0.0011681 | 0.0035035 | 0.0035035 | 0.0035035 | 0.013488 | 0.013488 | 0.013488 | 0.040455 | 0.040455 | 0.040455 | 0.00023757 | -0.011754 | 0.011516 | -0.00063603 | 0.035276 | -0.034524 | -0.0060652 | 0.011545 | 0.013617 | 0.018205 | -0.034652 | -0.040796 | 84.912 | 84.912 | 84.912 | -95.0299 | -95.0299 | -95.0299 | 0.45003 | 1.2215 | 1.3222 | 0.45027 | 1.2223 | 1.3211 | -2.8449 | -139.576 | 134.6909 | -3.0289 | -139.5189 | 134.7302
Line_2 | 0.0011681 | 0.0011681 | 0.0011681 | 0.0035035 | 0.0035035 | 0.0035035 | 0.013488 | 0.013488 | 0.013488 | 0.040455 | 0.040455 | 0.040455 | 0.00023757 | -0.011754 | 0.011516 | -0.00063603 | 0.035276 | -0.034524 | -0.0060652 | 0.011545 | 0.013617 | 0.018205 | -0.034652 | -0.040796 | 84.912 | 84.912 | 84.912 | -95.0299 | -95.0299 | -95.0299 | 0.45003 | 1.2215 | 1.3222 | 0.45027 | 1.2223 | 1.3211 | -2.8449 | -139.576 | 134.6909 | -3.0289 | -139.5189 | 134.7302
Line_3 | 0.0011681 | 0.0011681 | 0.0011681 | 0.0011681 | 0.0011681 | 0.0011681 | 0.013488 | 0.013488 | 0.013488 | 0.013488 | 0.013488 | 0.013488 | -0.00023757 | 0.011754 | -0.011516 | -0.00023757 | 0.011754 | -0.011516 | 0.0060652 | -0.011545 | -0.013617 | 0.0060652 | -0.011545 | -0.013617 | -95.088 | -95.088 | -95.088 | -95.088 | -95.088 | -95.088 | 0.45003 | 1.2215 | 1.3222 | 0.45003 | 1.2215 | 1.3222 | -2.8449 | -139.576 | 134.6909 | -2.8449 | -139.576 | 134.6909

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0093391 | 0.0093391 | 0.0093391 | 0.007007 | 0.007007 | 0.007007 | 0.10784 | 0.10784 | 0.10784 | 0.08091 | 0.08091 | 0.08091 | -0.0010645 | 0.094406 | -0.091687 | 0.0012721 | -0.070552 | 0.069048 | 0.048641 | -0.092433 | -0.10847 | -0.036409 | 0.069305 | 0.081592 | -94.9246 | -94.9246 | -94.9246 | 84.9701 | 84.9701 | 84.9701 | 0.45116 | 1.2252 | 1.317 | 0.45027 | 1.2223 | 1.3211 | -3.6709 | -139.3195 | 134.8676 | -3.0289 | -139.5189 | 134.7302
Line_1 | 0.0011681 | 0.0011681 | 0.0011681 | 0.0035035 | 0.0035035 | 0.0035035 | 0.013488 | 0.013488 | 0.013488 | 0.040455 | 0.040455 | 0.040455 | 0.00023757 | -0.011754 | 0.011516 | -0.00063603 | 0.035276 | -0.034524 | -0.0060652 | 0.011545 | 0.013617 | 0.018205 | -0.034652 | -0.040796 | 84.912 | 84.912 | 84.912 | -95.0299 | -95.0299 | -95.0299 | 0.45003 | 1.2215 | 1.3222 | 0.45027 | 1.2223 | 1.3211 | -2.8449 | -139.576 | 134.6909 | -3.0289 | -139.5189 | 134.7302
Line_2 | 0.0011681 | 0.0011681 | 0.0011681 | 0.0035035 | 0.0035035 | 0.0035035 | 0.013488 | 0.013488 | 0.013488 | 0.040455 | 0.040455 | 0.040455 | 0.00023757 | -0.011754 | 0.011516 | -0.00063603 | 0.035276 | -0.034524 | -0.0060652 | 0.011545 | 0.013617 | 0.018205 | -0.034652 | -0.040796 | 84.912 | 84.912 | 84.912 | -95.0299 | -95.0299 | -95.0299 | 0.45003 | 1.2215 | 1.3222 | 0.45027 | 1.2223 | 1.3211 | -2.8449 | -139.576 | 134.6909 | -3.0289 | -139.5189 | 134.7302
Line_3 | 0.0011681 | 0.0011681 | 0.0011681 | 0.0011681 | 0.0011681 | 0.0011681 | 0.013488 | 0.013488 | 0.013488 | 0.013488 | 0.013488 | 0.013488 | -0.00023757 | 0.011754 | -0.011516 | -0.00023757 | 0.011754 | -0.011516 | 0.0060652 | -0.011545 | -0.013617 | 0.0060652 | -0.011545 | -0.013617 | -95.088 | -95.088 | -95.088 | -95.088 | -95.088 | -95.088 | 0.45003 | 1.2215 | 1.3222 | 0.45003 | 1.2215 | 1.3222 | -2.8449 | -139.576 | 134.6909 | -2.8449 | -139.576 | 134.6909

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010506 | 0.010506 | 0.010506 | 0.0078826 | 0.0078826 | 0.0078826 | 0.12131 | 0.12131 | 0.12131 | 0.09102 | 0.09102 | 0.09102 | 0.0010905 | -8.263e-14 | -7.1406e-14 | -0.00068877 | 0.00026782 | 0.00026782 | -0.19268 | -1.342e-13 | 1.4015e-13 | 0.14467 | 0.0001066 | 0.0001066 | 87.7118 | 87.7118 | 87.7118 | -92.3431 | -92.3431 | -92.3431 | 1.5883 | 0 | 0 | 1.5895 | 0.0031669 | 0.0031669 | -1.964 | 0 | 0 | -2.0703 | -70.6401 | -70.6401
Line_1 | 0.001314 | 0.001314 | 0.001314 | 0.0039413 | 0.0039413 | 0.0039413 | 0.015173 | 0.015173 | 0.015173 | 0.04551 | 0.04551 | 0.04551 | -0.0001148 | 5.7397e-05 | 5.7397e-05 | 0.00034438 | -0.00013391 | -0.00013391 | 0.024122 | 2.287e-05 | 2.287e-05 | -0.072337 | -5.3298e-05 | -5.3298e-05 | -92.3734 | -92.3734 | -92.3734 | 87.6569 | 87.6569 | 87.6569 | 1.5898 | 0.004072 | 0.004072 | 1.5895 | 0.0031669 | 0.0031669 | -2.1007 | -70.6487 | -70.6487 | -2.0703 | -70.6401 | -70.6401
Line_2 | 0.001314 | 0.001314 | 0.001314 | 0.0039413 | 0.0039413 | 0.0039413 | 0.015173 | 0.015173 | 0.015173 | 0.04551 | 0.04551 | 0.04551 | -0.0001148 | 5.7397e-05 | 5.7397e-05 | 0.00034438 | -0.00013391 | -0.00013391 | 0.024122 | 2.287e-05 | 2.287e-05 | -0.072337 | -5.3298e-05 | -5.3298e-05 | -92.3734 | -92.3734 | -92.3734 | 87.6569 | 87.6569 | 87.6569 | 1.5898 | 0.004072 | 0.004072 | 1.5895 | 0.0031669 | 0.0031669 | -2.1007 | -70.6487 | -70.6487 | -2.0703 | -70.6401 | -70.6401
Line_3 | 0.001314 | 0.001314 | 0.001314 | 0.001314 | 0.001314 | 0.001314 | 0.015173 | 0.015173 | 0.015173 | 0.015173 | 0.015173 | 0.015173 | 0.00011479 | -5.7397e-05 | -5.7397e-05 | 0.00011479 | -5.7397e-05 | -5.7397e-05 | -0.024122 | -2.287e-05 | -2.287e-05 | -0.024122 | -2.287e-05 | -2.287e-05 | 87.6267 | 87.6267 | 87.6267 | 87.6267 | 87.6267 | 87.6267 | 1.5898 | 0.004072 | 0.004072 | 1.5898 | 0.004072 | 0.004072 | -2.1007 | -70.6487 | -70.6487 | -2.1007 | -70.6487 | -70.6487

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010506 | 0.010506 | 0.010506 | 0.0078826 | 0.0078826 | 0.0078826 | 0.12131 | 0.12131 | 0.12131 | 0.09102 | 0.09102 | 0.09102 | 0.0010905 | -8.263e-14 | -7.1406e-14 | -0.00068877 | 0.00026782 | 0.00026782 | -0.19268 | -1.342e-13 | 1.4015e-13 | 0.14467 | 0.0001066 | 0.0001066 | 87.7118 | 87.7118 | 87.7118 | -92.3431 | -92.3431 | -92.3431 | 1.5883 | 0 | 0 | 1.5895 | 0.0031669 | 0.0031669 | -1.964 | 0 | 0 | -2.0703 | -70.6401 | -70.6401
Line_1 | 0.001314 | 0.001314 | 0.001314 | 0.0039413 | 0.0039413 | 0.0039413 | 0.015173 | 0.015173 | 0.015173 | 0.04551 | 0.04551 | 0.04551 | -0.0001148 | 5.7397e-05 | 5.7397e-05 | 0.00034438 | -0.00013391 | -0.00013391 | 0.024122 | 2.287e-05 | 2.287e-05 | -0.072337 | -5.3298e-05 | -5.3298e-05 | -92.3734 | -92.3734 | -92.3734 | 87.6569 | 87.6569 | 87.6569 | 1.5898 | 0.004072 | 0.004072 | 1.5895 | 0.0031669 | 0.0031669 | -2.1007 | -70.6487 | -70.6487 | -2.0703 | -70.6401 | -70.6401
Line_2 | 0.001314 | 0.001314 | 0.001314 | 0.0039413 | 0.0039413 | 0.0039413 | 0.015173 | 0.015173 | 0.015173 | 0.04551 | 0.04551 | 0.04551 | -0.0001148 | 5.7397e-05 | 5.7397e-05 | 0.00034438 | -0.00013391 | -0.00013391 | 0.024122 | 2.287e-05 | 2.287e-05 | -0.072337 | -5.3298e-05 | -5.3298e-05 | -92.3734 | -92.3734 | -92.3734 | 87.6569 | 87.6569 | 87.6569 | 1.5898 | 0.004072 | 0.004072 | 1.5895 | 0.0031669 | 0.0031669 | -2.1007 | -70.6487 | -70.6487 | -2.0703 | -70.6401 | -70.6401
Line_3 | 0.001314 | 0.001314 | 0.001314 | 0.001314 | 0.001314 | 0.001314 | 0.015173 | 0.015173 | 0.015173 | 0.015173 | 0.015173 | 0.015173 | 0.00011479 | -5.7397e-05 | -5.7397e-05 | 0.00011479 | -5.7397e-05 | -5.7397e-05 | -0.024122 | -2.287e-05 | -2.287e-05 | -0.024122 | -2.287e-05 | -2.287e-05 | 87.6267 | 87.6267 | 87.6267 | 87.6267 | 87.6267 | 87.6267 | 1.5898 | 0.004072 | 0.004072 | 1.5898 | 0.004072 | 0.004072 | -2.1007 | -70.6487 | -70.6487 | -2.1007 | -70.6487 | -70.6487

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.007189 | 0.007189 | 0.007189 | 0.0053938 | 0.0053938 | 0.0053938 | 0.083011 | 0.083011 | 0.083011 | 0.062282 | 0.062282 | 0.062282 | 0.0009987 | -0.062319 | 0.061831 | -0.00070942 | 0.046899 | -0.046261 | -0.11905 | 0.023338 | 0.0054937 | 0.089371 | -0.017415 | -0.0041164 | 88.128 | 88.128 | 88.128 | -91.9268 | -91.9268 | -91.9268 | 1.4342 | 0.80164 | 0.74778 | 1.435 | 0.80325 | 0.74571 | -1.3913 | -112.4023 | 93.2055 | -1.472 | -112.2985 | 93.1581
Line_1 | 0.00089915 | 0.00089915 | 0.00089915 | 0.0026969 | 0.0026969 | 0.0026969 | 0.010382 | 0.010383 | 0.010382 | 0.031141 | 0.031141 | 0.031141 | -0.00012016 | 0.0078256 | -0.0077055 | 0.00035471 | -0.023449 | 0.023131 | 0.014901 | -0.0028966 | -0.0006879 | -0.044685 | 0.0087076 | 0.0020582 | -91.9571 | -91.9571 | -91.9571 | 88.0732 | 88.0732 | 88.0732 | 1.4352 | 0.80371 | 0.74511 | 1.435 | 0.80325 | 0.74571 | -1.495 | -112.2689 | 93.1445 | -1.472 | -112.2985 | 93.1581
Line_2 | 0.00089915 | 0.00089915 | 0.00089915 | 0.0026969 | 0.0026969 | 0.0026969 | 0.010382 | 0.010383 | 0.010382 | 0.031141 | 0.031141 | 0.031141 | -0.00012016 | 0.0078256 | -0.0077055 | 0.00035471 | -0.023449 | 0.023131 | 0.014901 | -0.0028966 | -0.0006879 | -0.044685 | 0.0087076 | 0.0020582 | -91.9571 | -91.9571 | -91.9571 | 88.0732 | 88.0732 | 88.0732 | 1.4352 | 0.80371 | 0.74511 | 1.435 | 0.80325 | 0.74571 | -1.495 | -112.2689 | 93.1445 | -1.472 | -112.2985 | 93.1581
Line_3 | 0.00089915 | 0.00089915 | 0.00089915 | 0.00089915 | 0.00089915 | 0.00089915 | 0.010382 | 0.010382 | 0.010382 | 0.010382 | 0.010382 | 0.010382 | 0.00012015 | -0.0078256 | 0.0077055 | 0.00012015 | -0.0078256 | 0.0077055 | -0.014901 | 0.0028966 | 0.0006879 | -0.014901 | 0.0028966 | 0.0006879 | 88.0429 | 88.0429 | 88.0429 | 88.0429 | 88.0429 | 88.0429 | 1.4352 | 0.80371 | 0.74511 | 1.4352 | 0.80371 | 0.74511 | -1.495 | -112.2689 | 93.1445 | -1.495 | -112.2689 | 93.1445

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.007189 | 0.007189 | 0.007189 | 0.0053938 | 0.0053938 | 0.0053938 | 0.083011 | 0.083011 | 0.083011 | 0.062282 | 0.062282 | 0.062282 | 0.0009987 | -0.062319 | 0.061831 | -0.00070942 | 0.046899 | -0.046261 | -0.11905 | 0.023338 | 0.0054937 | 0.089371 | -0.017415 | -0.0041164 | 88.128 | 88.128 | 88.128 | -91.9268 | -91.9268 | -91.9268 | 1.4342 | 0.80164 | 0.74778 | 1.435 | 0.80325 | 0.74571 | -1.3913 | -112.4023 | 93.2055 | -1.472 | -112.2985 | 93.1581
Line_1 | 0.00089915 | 0.00089915 | 0.00089915 | 0.0026969 | 0.0026969 | 0.0026969 | 0.010382 | 0.010383 | 0.010382 | 0.031141 | 0.031141 | 0.031141 | -0.00012016 | 0.0078256 | -0.0077055 | 0.00035471 | -0.023449 | 0.023131 | 0.014901 | -0.0028966 | -0.0006879 | -0.044685 | 0.0087076 | 0.0020582 | -91.9571 | -91.9571 | -91.9571 | 88.0732 | 88.0732 | 88.0732 | 1.4352 | 0.80371 | 0.74511 | 1.435 | 0.80325 | 0.74571 | -1.495 | -112.2689 | 93.1445 | -1.472 | -112.2985 | 93.1581
Line_2 | 0.00089915 | 0.00089915 | 0.00089915 | 0.0026969 | 0.0026969 | 0.0026969 | 0.010382 | 0.010383 | 0.010382 | 0.031141 | 0.031141 | 0.031141 | -0.00012016 | 0.0078256 | -0.0077055 | 0.00035471 | -0.023449 | 0.023131 | 0.014901 | -0.0028966 | -0.0006879 | -0.044685 | 0.0087076 | 0.0020582 | -91.9571 | -91.9571 | -91.9571 | 88.0732 | 88.0732 | 88.0732 | 1.4352 | 0.80371 | 0.74511 | 1.435 | 0.80325 | 0.74571 | -1.495 | -112.2689 | 93.1445 | -1.472 | -112.2985 | 93.1581
Line_3 | 0.00089915 | 0.00089915 | 0.00089915 | 0.00089915 | 0.00089915 | 0.00089915 | 0.010382 | 0.010382 | 0.010382 | 0.010382 | 0.010382 | 0.010382 | 0.00012015 | -0.0078256 | 0.0077055 | 0.00012015 | -0.0078256 | 0.0077055 | -0.014901 | 0.0028966 | 0.0006879 | -0.014901 | 0.0028966 | 0.0006879 | 88.0429 | 88.0429 | 88.0429 | 88.0429 | 88.0429 | 88.0429 | 1.4352 | 0.80371 | 0.74511 | 1.4352 | 0.80371 | 0.74511 | -1.495 | -112.2689 | 93.1445 | -1.495 | -112.2689 | 93.1445

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0095332 | 0.0095332 | 0.0095332 | 0.0071526 | 0.0071526 | 0.0071526 | 0.11008 | 0.11008 | 0.11008 | 0.082591 | 0.082591 | 0.082591 | 0.0017239 | -1.052e-13 | 1.2884e-13 | -0.0010888 | 0.00042339 | 0.00042339 | -0.15865 | 8.3799e-14 | 5.0759e-14 | 0.11912 | 8.7856e-05 | 8.7856e-05 | 87.3287 | 87.3287 | 87.3287 | -92.7766 | -92.7766 | -92.7766 | 1.4413 | 0 | 0 | 1.4423 | 0.0052355 | 0.0052355 | -2.0488 | 0 | 0 | -2.2529 | -81.0537 | -81.0537
Line_1 | 0.0011923 | 0.0011923 | 0.0011923 | 0.0035763 | 0.0035763 | 0.0035763 | 0.013768 | 0.013768 | 0.013768 | 0.041295 | 0.041295 | 0.041295 | -0.00018148 | 9.0736e-05 | 9.0736e-05 | 0.00054442 | -0.00021169 | -0.00021169 | 0.019861 | 1.8897e-05 | 1.8897e-05 | -0.05956 | -4.3928e-05 | -4.3928e-05 | -92.8347 | -92.8347 | -92.8347 | 87.2234 | 87.2234 | 87.2234 | 1.4426 | 0.0067318 | 0.0067318 | 1.4423 | 0.0052355 | 0.0052355 | -2.3112 | -81.0703 | -81.0703 | -2.2529 | -81.0537 | -81.0537
Line_2 | 0.0011923 | 0.0011923 | 0.0011923 | 0.0035763 | 0.0035763 | 0.0035763 | 0.013768 | 0.013768 | 0.013768 | 0.041295 | 0.041295 | 0.041295 | -0.00018148 | 9.0736e-05 | 9.0736e-05 | 0.00054442 | -0.00021169 | -0.00021169 | 0.019861 | 1.8897e-05 | 1.8897e-05 | -0.05956 | -4.3928e-05 | -4.3928e-05 | -92.8347 | -92.8347 | -92.8347 | 87.2234 | 87.2234 | 87.2234 | 1.4426 | 0.0067318 | 0.0067318 | 1.4423 | 0.0052355 | 0.0052355 | -2.3112 | -81.0703 | -81.0703 | -2.2529 | -81.0537 | -81.0537
Line_3 | 0.0011923 | 0.0011923 | 0.0011923 | 0.0011923 | 0.0011923 | 0.0011923 | 0.013768 | 0.013768 | 0.013768 | 0.013768 | 0.013768 | 0.013768 | 0.00018147 | -9.0736e-05 | -9.0736e-05 | 0.00018147 | -9.0736e-05 | -9.0736e-05 | -0.019861 | -1.8897e-05 | -1.8897e-05 | -0.019861 | -1.8897e-05 | -1.8897e-05 | 87.1653 | 87.1653 | 87.1653 | 87.1653 | 87.1653 | 87.1653 | 1.4426 | 0.0067318 | 0.0067318 | 1.4426 | 0.0067318 | 0.0067318 | -2.3112 | -81.0703 | -81.0703 | -2.3112 | -81.0703 | -81.0703

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0095332 | 0.0095332 | 0.0095332 | 0.0071526 | 0.0071526 | 0.0071526 | 0.11008 | 0.11008 | 0.11008 | 0.082591 | 0.082591 | 0.082591 | 0.0017239 | -1.052e-13 | 1.2884e-13 | -0.0010888 | 0.00042339 | 0.00042339 | -0.15865 | 8.3799e-14 | 5.0759e-14 | 0.11912 | 8.7856e-05 | 8.7856e-05 | 87.3287 | 87.3287 | 87.3287 | -92.7766 | -92.7766 | -92.7766 | 1.4413 | 0 | 0 | 1.4423 | 0.0052355 | 0.0052355 | -2.0488 | 0 | 0 | -2.2529 | -81.0537 | -81.0537
Line_1 | 0.0011923 | 0.0011923 | 0.0011923 | 0.0035763 | 0.0035763 | 0.0035763 | 0.013768 | 0.013768 | 0.013768 | 0.041295 | 0.041295 | 0.041295 | -0.00018148 | 9.0736e-05 | 9.0736e-05 | 0.00054442 | -0.00021169 | -0.00021169 | 0.019861 | 1.8897e-05 | 1.8897e-05 | -0.05956 | -4.3928e-05 | -4.3928e-05 | -92.8347 | -92.8347 | -92.8347 | 87.2234 | 87.2234 | 87.2234 | 1.4426 | 0.0067318 | 0.0067318 | 1.4423 | 0.0052355 | 0.0052355 | -2.3112 | -81.0703 | -81.0703 | -2.2529 | -81.0537 | -81.0537
Line_2 | 0.0011923 | 0.0011923 | 0.0011923 | 0.0035763 | 0.0035763 | 0.0035763 | 0.013768 | 0.013768 | 0.013768 | 0.041295 | 0.041295 | 0.041295 | -0.00018148 | 9.0736e-05 | 9.0736e-05 | 0.00054442 | -0.00021169 | -0.00021169 | 0.019861 | 1.8897e-05 | 1.8897e-05 | -0.05956 | -4.3928e-05 | -4.3928e-05 | -92.8347 | -92.8347 | -92.8347 | 87.2234 | 87.2234 | 87.2234 | 1.4426 | 0.0067318 | 0.0067318 | 1.4423 | 0.0052355 | 0.0052355 | -2.3112 | -81.0703 | -81.0703 | -2.2529 | -81.0537 | -81.0537
Line_3 | 0.0011923 | 0.0011923 | 0.0011923 | 0.0011923 | 0.0011923 | 0.0011923 | 0.013768 | 0.013768 | 0.013768 | 0.013768 | 0.013768 | 0.013768 | 0.00018147 | -9.0736e-05 | -9.0736e-05 | 0.00018147 | -9.0736e-05 | -9.0736e-05 | -0.019861 | -1.8897e-05 | -1.8897e-05 | -0.019861 | -1.8897e-05 | -1.8897e-05 | 87.1653 | 87.1653 | 87.1653 | 87.1653 | 87.1653 | 87.1653 | 1.4426 | 0.0067318 | 0.0067318 | 1.4426 | 0.0067318 | 0.0067318 | -2.3112 | -81.0703 | -81.0703 | -2.3112 | -81.0703 | -81.0703

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0065276 | 0.0065276 | 0.0065276 | 0.0048975 | 0.0048975 | 0.0048975 | 0.075374 | 0.075374 | 0.075374 | 0.056552 | 0.056552 | 0.056552 | 0.0013283 | -0.050971 | 0.050451 | -0.00093345 | 0.038467 | -0.037647 | -0.098146 | 0.019171 | 0.0045918 | 0.073677 | -0.014272 | -0.0034735 | 87.7757 | 87.7757 | 87.7757 | -92.3296 | -92.3296 | -92.3296 | 1.3022 | 0.72249 | 0.6721 | 1.3029 | 0.72552 | 0.66854 | -1.4489 | -112.8367 | 92.9761 | -1.6038 | -112.6857 | 92.9418
Line_1 | 0.00081643 | 0.00081643 | 0.00081643 | 0.0024488 | 0.0024488 | 0.0024488 | 0.0094273 | 0.0094273 | 0.0094273 | 0.028276 | 0.028276 | 0.028276 | -0.0001586 | 0.0064244 | -0.0062658 | 0.00046672 | -0.019234 | 0.018824 | 0.012284 | -0.0023708 | -0.00058344 | -0.036838 | 0.0071362 | 0.0017368 | -92.3877 | -92.3877 | -92.3877 | 87.6704 | 87.6704 | 87.6704 | 1.3031 | 0.72639 | 0.66752 | 1.3029 | 0.72552 | 0.66854 | -1.648 | -112.6429 | 92.932 | -1.6038 | -112.6857 | 92.9418
Line_2 | 0.00081643 | 0.00081643 | 0.00081643 | 0.0024488 | 0.0024488 | 0.0024488 | 0.0094273 | 0.0094273 | 0.0094273 | 0.028276 | 0.028276 | 0.028276 | -0.0001586 | 0.0064244 | -0.0062658 | 0.00046672 | -0.019234 | 0.018824 | 0.012284 | -0.0023708 | -0.00058344 | -0.036838 | 0.0071362 | 0.0017368 | -92.3877 | -92.3877 | -92.3877 | 87.6704 | 87.6704 | 87.6704 | 1.3031 | 0.72639 | 0.66752 | 1.3029 | 0.72552 | 0.66854 | -1.648 | -112.6429 | 92.932 | -1.6038 | -112.6857 | 92.9418
Line_3 | 0.00081643 | 0.00081643 | 0.00081643 | 0.00081643 | 0.00081643 | 0.00081643 | 0.0094273 | 0.0094273 | 0.0094273 | 0.0094273 | 0.0094273 | 0.0094273 | 0.0001586 | -0.0064244 | 0.0062658 | 0.0001586 | -0.0064244 | 0.0062658 | -0.012284 | 0.0023708 | 0.00058344 | -0.012284 | 0.0023708 | 0.00058344 | 87.6123 | 87.6123 | 87.6123 | 87.6123 | 87.6123 | 87.6123 | 1.3031 | 0.72639 | 0.66752 | 1.3031 | 0.72639 | 0.66752 | -1.648 | -112.6429 | 92.932 | -1.648 | -112.6429 | 92.932

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0065276 | 0.0065276 | 0.0065276 | 0.0048975 | 0.0048975 | 0.0048975 | 0.075374 | 0.075374 | 0.075374 | 0.056552 | 0.056552 | 0.056552 | 0.0013283 | -0.050971 | 0.050451 | -0.00093345 | 0.038467 | -0.037647 | -0.098146 | 0.019171 | 0.0045918 | 0.073677 | -0.014272 | -0.0034735 | 87.7757 | 87.7757 | 87.7757 | -92.3296 | -92.3296 | -92.3296 | 1.3022 | 0.72249 | 0.6721 | 1.3029 | 0.72552 | 0.66854 | -1.4489 | -112.8367 | 92.9761 | -1.6038 | -112.6857 | 92.9418
Line_1 | 0.00081643 | 0.00081643 | 0.00081643 | 0.0024488 | 0.0024488 | 0.0024488 | 0.0094273 | 0.0094273 | 0.0094273 | 0.028276 | 0.028276 | 0.028276 | -0.0001586 | 0.0064244 | -0.0062658 | 0.00046672 | -0.019234 | 0.018824 | 0.012284 | -0.0023708 | -0.00058344 | -0.036838 | 0.0071362 | 0.0017368 | -92.3877 | -92.3877 | -92.3877 | 87.6704 | 87.6704 | 87.6704 | 1.3031 | 0.72639 | 0.66752 | 1.3029 | 0.72552 | 0.66854 | -1.648 | -112.6429 | 92.932 | -1.6038 | -112.6857 | 92.9418
Line_2 | 0.00081643 | 0.00081643 | 0.00081643 | 0.0024488 | 0.0024488 | 0.0024488 | 0.0094273 | 0.0094273 | 0.0094273 | 0.028276 | 0.028276 | 0.028276 | -0.0001586 | 0.0064244 | -0.0062658 | 0.00046672 | -0.019234 | 0.018824 | 0.012284 | -0.0023708 | -0.00058344 | -0.036838 | 0.0071362 | 0.0017368 | -92.3877 | -92.3877 | -92.3877 | 87.6704 | 87.6704 | 87.6704 | 1.3031 | 0.72639 | 0.66752 | 1.3029 | 0.72552 | 0.66854 | -1.648 | -112.6429 | 92.932 | -1.6038 | -112.6857 | 92.9418
Line_3 | 0.00081643 | 0.00081643 | 0.00081643 | 0.00081643 | 0.00081643 | 0.00081643 | 0.0094273 | 0.0094273 | 0.0094273 | 0.0094273 | 0.0094273 | 0.0094273 | 0.0001586 | -0.0064244 | 0.0062658 | 0.0001586 | -0.0064244 | 0.0062658 | -0.012284 | 0.0023708 | 0.00058344 | -0.012284 | 0.0023708 | 0.00058344 | 87.6123 | 87.6123 | 87.6123 | 87.6123 | 87.6123 | 87.6123 | 1.3031 | 0.72639 | 0.66752 | 1.3031 | 0.72639 | 0.66752 | -1.648 | -112.6429 | 92.932 | -1.648 | -112.6429 | 92.932