## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2981e-19 | 0 | -4.929e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2981e-19 | 0 | -4.929e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6704e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6704e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1464e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1464e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6443e-21 | 7.0813e-14 | 1.1678e-14 | -1.5632e-14 | -5.7786e-14 | -1.1677e-14 | -1.0421e-14 | 5.7634e-09 | -5.7634e-09 | 2.4664e-21 | -5.7635e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -9.0401e-06 | 179.9996 | -179.9996 | -9.0401e-06 | 179.9996 | -179.9996
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -3.4026e-14 | 2.3898e-14 | -8.2214e-22 | 4.7052e-14 | -2.3898e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -9.0401e-06 | 179.9996 | -179.9996 | -9.0401e-06 | 179.9996 | -179.9996
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0843e-14 | -3.4026e-14 | 3.055e-15 | 1.0421e-14 | 4.7052e-14 | -1.3476e-14 | 3.2885e-21 | -1.9212e-09 | 1.9212e-09 | -1.5632e-14 | 1.9212e-09 | -1.9212e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -9.0401e-06 | 179.9996 | -179.9996 | -9.0401e-06 | 179.9996 | -179.9996
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5632e-14 | 1.7878e-20 | 1.0421e-14 | -1.5632e-14 | 5.2106e-15 | -1.0421e-14 | -1.0421e-14 | 2.6053e-15 | -2.0842e-14 | 5.2107e-15 | -1.3027e-14 | 2.6053e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -9.0401e-06 | 179.9996 | -179.9996 | -9.0401e-06 | 179.9996 | -179.9996

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6443e-21 | 7.0813e-14 | 1.1678e-14 | -1.5632e-14 | -5.7786e-14 | -1.1677e-14 | -1.0421e-14 | 5.7634e-09 | -5.7634e-09 | 2.4664e-21 | -5.7635e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -9.0401e-06 | 179.9996 | -179.9996 | -9.0401e-06 | 179.9996 | -179.9996
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -3.4026e-14 | 2.3898e-14 | -8.2214e-22 | 4.7052e-14 | -2.3898e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -9.0401e-06 | 179.9996 | -179.9996 | -9.0401e-06 | 179.9996 | -179.9996
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0843e-14 | -3.4026e-14 | 3.055e-15 | 1.0421e-14 | 4.7052e-14 | -1.3476e-14 | 3.2885e-21 | -1.9212e-09 | 1.9212e-09 | -1.5632e-14 | 1.9212e-09 | -1.9212e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -9.0401e-06 | 179.9996 | -179.9996 | -9.0401e-06 | 179.9996 | -179.9996
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5632e-14 | 1.7878e-20 | 1.0421e-14 | -1.5632e-14 | 5.2106e-15 | -1.0421e-14 | -1.0421e-14 | 2.6053e-15 | -2.0842e-14 | 5.2107e-15 | -1.3027e-14 | 2.6053e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -9.0401e-06 | 179.9996 | -179.9996 | -9.0401e-06 | 179.9996 | -179.9996

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2107e-15 | 7.3416e-14 | -9.1676e-15 | -5.2106e-15 | -8.1232e-14 | -1.1674e-14 | -1.5632e-14 | 5.7634e-09 | -5.7634e-09 | 1.5632e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -9.0401e-06 | 179.9996 | -179.9996 | -9.0401e-06 | 179.9996 | -179.9996
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -4.1841e-14 | 3.056e-15 | 1.6443e-21 | 3.4025e-14 | -2.3898e-14 | -1.0421e-14 | -1.9212e-09 | 1.9211e-09 | 1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -9.0401e-06 | 179.9996 | -179.9996 | -9.0401e-06 | 179.9996 | -179.9996
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -3.1419e-14 | -7.3654e-15 | 0 | 2.3604e-14 | -3.0558e-15 | 8.2214e-22 | -1.9212e-09 | 1.9212e-09 | 0 | 1.9212e-09 | -1.9212e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -9.0401e-06 | 179.9996 | -179.9996 | -9.0401e-06 | 179.9996 | -179.9996
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6443e-21 | -2.6053e-15 | 5.2107e-15 | -5.2106e-15 | 7.816e-15 | -1.5632e-14 | -1.0421e-14 | 1.0421e-14 | -1.0421e-14 | 1.0421e-14 | -7.8161e-15 | 1.5632e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -9.0401e-06 | 179.9996 | -179.9996 | -9.0401e-06 | 179.9996 | -179.9996

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2107e-15 | 7.3416e-14 | -9.1676e-15 | -5.2106e-15 | -8.1232e-14 | -1.1674e-14 | -1.5632e-14 | 5.7634e-09 | -5.7634e-09 | 1.5632e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -9.0401e-06 | 179.9996 | -179.9996 | -9.0401e-06 | 179.9996 | -179.9996
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -4.1841e-14 | 3.056e-15 | 1.6443e-21 | 3.4025e-14 | -2.3898e-14 | -1.0421e-14 | -1.9212e-09 | 1.9211e-09 | 1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -9.0401e-06 | 179.9996 | -179.9996 | -9.0401e-06 | 179.9996 | -179.9996
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -3.1419e-14 | -7.3654e-15 | 0 | 2.3604e-14 | -3.0558e-15 | 8.2214e-22 | -1.9212e-09 | 1.9212e-09 | 0 | 1.9212e-09 | -1.9212e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -9.0401e-06 | 179.9996 | -179.9996 | -9.0401e-06 | 179.9996 | -179.9996
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6443e-21 | -2.6053e-15 | 5.2107e-15 | -5.2106e-15 | 7.816e-15 | -1.5632e-14 | -1.0421e-14 | 1.0421e-14 | -1.0421e-14 | 1.0421e-14 | -7.8161e-15 | 1.5632e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -9.0401e-06 | 179.9996 | -179.9996 | -9.0401e-06 | 179.9996 | -179.9996

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 9.7972e-15 | -1.4424e-14 | 7.9221e-21 | -6.2439e-15 | 1.9162e-14 | -4.737e-15 | 4.7631e-09 | -4.7631e-09 | 4.737e-15 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -9.5822e-05 | 180 | 179.9998 | -9.5822e-05 | 180 | 179.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6865e-15 | 9.5453e-15 | -2.3685e-15 | 9.9762e-15 | -4.8084e-15 | 0 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -9.5822e-05 | 180 | 179.9998 | -9.5822e-05 | 180 | 179.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | -1.6865e-15 | 4.8084e-15 | 7.1054e-15 | 5.2393e-15 | -7.1394e-17 | -4.7369e-15 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -9.5822e-05 | 180 | 179.9998 | -9.5822e-05 | 180 | 179.9998
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.737e-15 | -1.1842e-15 | 0 | -9.4739e-15 | 1.1842e-15 | -4.3038e-20 | 4.7369e-15 | 7.1054e-15 | 0 | -4.7369e-15 | -2.3685e-15 | -1.4211e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -9.5822e-05 | 180 | 179.9998 | -9.5822e-05 | 180 | 179.9998

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 9.7972e-15 | -1.4424e-14 | 7.9221e-21 | -6.2439e-15 | 1.9162e-14 | -4.737e-15 | 4.7631e-09 | -4.7631e-09 | 4.737e-15 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -9.5822e-05 | 180 | 179.9998 | -9.5822e-05 | 180 | 179.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6865e-15 | 9.5453e-15 | -2.3685e-15 | 9.9762e-15 | -4.8084e-15 | 0 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -9.5822e-05 | 180 | 179.9998 | -9.5822e-05 | 180 | 179.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | -1.6865e-15 | 4.8084e-15 | 7.1054e-15 | 5.2393e-15 | -7.1394e-17 | -4.7369e-15 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -9.5822e-05 | 180 | 179.9998 | -9.5822e-05 | 180 | 179.9998
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.737e-15 | -1.1842e-15 | 0 | -9.4739e-15 | 1.1842e-15 | -4.3038e-20 | 4.7369e-15 | 7.1054e-15 | 0 | -4.7369e-15 | -2.3685e-15 | -1.4211e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -9.5822e-05 | 180 | 179.9998 | -9.5822e-05 | 180 | 179.9998

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 7.4265e-15 | -1.2058e-14 | 2.3685e-15 | -5.0574e-15 | 1.4427e-14 | 1.1883e-20 | 4.7631e-09 | -4.7631e-09 | -9.4739e-15 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -9.5822e-05 | 180 | 179.9998 | -9.5822e-05 | 180 | 179.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 6.8276e-16 | 7.1776e-15 | -4.737e-15 | 6.4227e-15 | -4.8091e-15 | -9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 7.9221e-21 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -9.5822e-05 | 180 | 179.9998 | -9.5822e-05 | 180 | 179.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 6.8276e-16 | 2.4407e-15 | 4.737e-15 | 1.6858e-15 | -7.2092e-17 | -1.4211e-14 | -1.5877e-09 | 1.5877e-09 | -7.9221e-21 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -9.5822e-05 | 180 | 179.9998 | -9.5822e-05 | 180 | 179.9998
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | 3.5527e-15 | 1.4348e-20 | -7.1054e-15 | 3.5527e-15 | 4.737e-15 | -4.737e-15 | 4.7369e-15 | 4.737e-15 | -9.4739e-15 | 9.4739e-15 | 9.4739e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -9.5822e-05 | 180 | 179.9998 | -9.5822e-05 | 180 | 179.9998

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 7.4265e-15 | -1.2058e-14 | 2.3685e-15 | -5.0574e-15 | 1.4427e-14 | 1.1883e-20 | 4.7631e-09 | -4.7631e-09 | -9.4739e-15 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -9.5822e-05 | 180 | 179.9998 | -9.5822e-05 | 180 | 179.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 6.8276e-16 | 7.1776e-15 | -4.737e-15 | 6.4227e-15 | -4.8091e-15 | -9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 7.9221e-21 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -9.5822e-05 | 180 | 179.9998 | -9.5822e-05 | 180 | 179.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 6.8276e-16 | 2.4407e-15 | 4.737e-15 | 1.6858e-15 | -7.2092e-17 | -1.4211e-14 | -1.5877e-09 | 1.5877e-09 | -7.9221e-21 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -9.5822e-05 | 180 | 179.9998 | -9.5822e-05 | 180 | 179.9998
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | 3.5527e-15 | 1.4348e-20 | -7.1054e-15 | 3.5527e-15 | 4.737e-15 | -4.737e-15 | 4.7369e-15 | 4.737e-15 | -9.4739e-15 | 9.4739e-15 | 9.4739e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -9.5822e-05 | 180 | 179.9998 | -9.5822e-05 | 180 | 179.9998

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.9661e-19 | -3.9612e-15 | -4.1163e-14 | 4.7659e-18 | 5.5346e-12 | -5.4873e-12 | 4.7306e-19 | 1.9211e-09 | -1.9211e-09 | 1.9578e-18 | -2.1931e-12 | 2.1841e-12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6853e-18 | 1.4375e-12 | -1.4465e-12 | -1.8534e-18 | -2.7569e-12 | 2.7772e-12 | 7.4567e-19 | 9.6e-10 | -9.6002e-10 | -7.6156e-19 | 9.6167e-10 | -9.6165e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6852e-18 | 1.4195e-12 | -1.4375e-12 | -1.8534e-18 | -2.7479e-12 | 2.7682e-12 | 7.4566e-19 | 9.6e-10 | -9.6e-10 | -7.6157e-19 | 9.6167e-10 | -9.6166e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.3703e-19 | -1.4212e-12 | 1.4325e-12 | -3.3705e-19 | -1.4234e-12 | 1.4144e-12 | -1.4958e-19 | 9.6114e-10 | -9.6115e-10 | -1.496e-19 | 9.6114e-10 | -9.6112e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.9661e-19 | -3.9612e-15 | -4.1163e-14 | 4.7659e-18 | 5.5346e-12 | -5.4873e-12 | 4.7306e-19 | 1.9211e-09 | -1.9211e-09 | 1.9578e-18 | -2.1931e-12 | 2.1841e-12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6853e-18 | 1.4375e-12 | -1.4465e-12 | -1.8534e-18 | -2.7569e-12 | 2.7772e-12 | 7.4567e-19 | 9.6e-10 | -9.6002e-10 | -7.6156e-19 | 9.6167e-10 | -9.6165e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6852e-18 | 1.4195e-12 | -1.4375e-12 | -1.8534e-18 | -2.7479e-12 | 2.7682e-12 | 7.4566e-19 | 9.6e-10 | -9.6e-10 | -7.6157e-19 | 9.6167e-10 | -9.6166e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.3703e-19 | -1.4212e-12 | 1.4325e-12 | -3.3705e-19 | -1.4234e-12 | 1.4144e-12 | -1.4958e-19 | 9.6114e-10 | -9.6115e-10 | -1.496e-19 | 9.6114e-10 | -9.6112e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8698e-17 | -1.0729e-14 | -4.1162e-14 | 2.1234e-17 | 5.5098e-12 | -5.4873e-12 | -1.7828e-17 | 1.9211e-09 | -1.9211e-09 | 1.8436e-17 | -2.166e-12 | 2.1751e-12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2597e-18 | 1.4488e-12 | -1.4465e-12 | -8.2573e-18 | -2.7637e-12 | 2.7682e-12 | 5.3229e-18 | 9.5997e-10 | -9.6001e-10 | -7.1707e-18 | 9.6169e-10 | -9.6165e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2597e-18 | 1.4308e-12 | -1.4195e-12 | -8.2573e-18 | -2.7366e-12 | 2.7411e-12 | 5.3229e-18 | 9.5999e-10 | -9.6001e-10 | -7.1707e-18 | 9.6166e-10 | -9.6165e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2513e-18 | -1.4031e-12 | 1.4144e-12 | -1.2513e-18 | -1.4347e-12 | 1.4325e-12 | -1.0666e-18 | 9.6112e-10 | -9.6115e-10 | -1.0666e-18 | 9.6114e-10 | -9.6113e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8698e-17 | -1.0729e-14 | -4.1162e-14 | 2.1234e-17 | 5.5098e-12 | -5.4873e-12 | -1.7828e-17 | 1.9211e-09 | -1.9211e-09 | 1.8436e-17 | -2.166e-12 | 2.1751e-12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2597e-18 | 1.4488e-12 | -1.4465e-12 | -8.2573e-18 | -2.7637e-12 | 2.7682e-12 | 5.3229e-18 | 9.5997e-10 | -9.6001e-10 | -7.1707e-18 | 9.6169e-10 | -9.6165e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2597e-18 | 1.4308e-12 | -1.4195e-12 | -8.2573e-18 | -2.7366e-12 | 2.7411e-12 | 5.3229e-18 | 9.5999e-10 | -9.6001e-10 | -7.1707e-18 | 9.6166e-10 | -9.6165e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2513e-18 | -1.4031e-12 | 1.4144e-12 | -1.2513e-18 | -1.4347e-12 | 1.4325e-12 | -1.0666e-18 | 9.6112e-10 | -9.6115e-10 | -1.0666e-18 | 9.6114e-10 | -9.6113e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.1506e-20 | -1.9953e-15 | 4.0482e-15 | 7.0511e-18 | 8.7585e-12 | -8.7667e-12 | 3.9889e-20 | 1.5877e-09 | -1.5877e-09 | 1.9307e-18 | -1.8214e-12 | 1.7886e-12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86602 | 0.86602 | 0 | 0.86602 | 0.86602 | 0 | -89.9999 | 90.0001 | 0 | -89.9999 | 90.0001
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.5321e-18 | 2.2686e-12 | -2.2666e-12 | -2.7421e-18 | -4.3833e-12 | 4.3792e-12 | 7.0235e-19 | 7.9337e-10 | -7.934e-10 | -7.5134e-19 | 7.9477e-10 | -7.9473e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86602 | 0.86602 | 0 | 0.86602 | 0.86602 | 0 | -89.9999 | 90.0001 | 0 | -89.9999 | 90.0001
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.5321e-18 | 2.2686e-12 | -2.2666e-12 | -2.7421e-18 | -4.3833e-12 | 4.3751e-12 | 7.0236e-19 | 7.9337e-10 | -7.934e-10 | -7.5134e-19 | 7.9476e-10 | -7.9473e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86602 | 0.86602 | 0 | 0.86602 | 0.86602 | 0 | -89.9999 | 90.0001 | 0 | -89.9999 | 90.0001
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.0633e-19 | -2.2716e-12 | 2.2706e-12 | -5.0632e-19 | -2.2604e-12 | 2.2624e-12 | -1.4169e-19 | 7.9431e-10 | -7.9432e-10 | -1.417e-19 | 7.9433e-10 | -7.9431e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86602 | 0.86602 | 0 | 0.86602 | 0.86602 | 0 | -89.9999 | 90.0001 | 0 | -89.9999 | 90.0001

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.1506e-20 | -1.9953e-15 | 4.0482e-15 | 7.0511e-18 | 8.7585e-12 | -8.7667e-12 | 3.9889e-20 | 1.5877e-09 | -1.5877e-09 | 1.9307e-18 | -1.8214e-12 | 1.7886e-12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86602 | 0.86602 | 0 | 0.86602 | 0.86602 | 0 | -89.9999 | 90.0001 | 0 | -89.9999 | 90.0001
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.5321e-18 | 2.2686e-12 | -2.2666e-12 | -2.7421e-18 | -4.3833e-12 | 4.3792e-12 | 7.0235e-19 | 7.9337e-10 | -7.934e-10 | -7.5134e-19 | 7.9477e-10 | -7.9473e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86602 | 0.86602 | 0 | 0.86602 | 0.86602 | 0 | -89.9999 | 90.0001 | 0 | -89.9999 | 90.0001
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.5321e-18 | 2.2686e-12 | -2.2666e-12 | -2.7421e-18 | -4.3833e-12 | 4.3751e-12 | 7.0236e-19 | 7.9337e-10 | -7.934e-10 | -7.5134e-19 | 7.9476e-10 | -7.9473e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86602 | 0.86602 | 0 | 0.86602 | 0.86602 | 0 | -89.9999 | 90.0001 | 0 | -89.9999 | 90.0001
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.0633e-19 | -2.2716e-12 | 2.2706e-12 | -5.0632e-19 | -2.2604e-12 | 2.2624e-12 | -1.4169e-19 | 7.9431e-10 | -7.9432e-10 | -1.417e-19 | 7.9433e-10 | -7.9431e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86602 | 0.86602 | 0 | 0.86602 | 0.86602 | 0 | -89.9999 | 90.0001 | 0 | -89.9999 | 90.0001

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5186e-17 | -4.0456e-15 | 6.1001e-15 | 2.0657e-17 | 8.7585e-12 | -8.7646e-12 | -1.5085e-17 | 1.5877e-09 | -1.5877e-09 | 1.5553e-17 | -1.8029e-12 | 1.7845e-12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86602 | 0.86602 | 0 | 0.86602 | 0.86602 | 0 | -89.9999 | 90.0001 | 0 | -89.9999 | 90.0001
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.3116e-18 | 2.2584e-12 | -2.2727e-12 | -8.0325e-18 | -4.3751e-12 | 4.3895e-12 | 4.4862e-18 | 7.9337e-10 | -7.9338e-10 | -6.0501e-18 | 7.9476e-10 | -7.9476e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86602 | 0.86602 | 0 | 0.86602 | 0.86602 | 0 | -89.9999 | 90.0001 | 0 | -89.9999 | 90.0001
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.3116e-18 | 2.2666e-12 | -2.2563e-12 | -8.0325e-18 | -4.3833e-12 | 4.373e-12 | 4.4862e-18 | 7.9337e-10 | -7.9341e-10 | -6.0501e-18 | 7.9477e-10 | -7.9474e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86602 | 0.86602 | 0 | 0.86602 | 0.86602 | 0 | -89.9999 | 90.0001 | 0 | -89.9999 | 90.0001
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2609e-18 | -2.2788e-12 | 2.2562e-12 | -1.2608e-18 | -2.2542e-12 | 2.2747e-12 | -9.0055e-19 | 7.9432e-10 | -7.943e-10 | -9.0053e-19 | 7.9431e-10 | -7.9434e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86602 | 0.86602 | 0 | 0.86602 | 0.86602 | 0 | -89.9999 | 90.0001 | 0 | -89.9999 | 90.0001

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5186e-17 | -4.0456e-15 | 6.1001e-15 | 2.0657e-17 | 8.7585e-12 | -8.7646e-12 | -1.5085e-17 | 1.5877e-09 | -1.5877e-09 | 1.5553e-17 | -1.8029e-12 | 1.7845e-12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86602 | 0.86602 | 0 | 0.86602 | 0.86602 | 0 | -89.9999 | 90.0001 | 0 | -89.9999 | 90.0001
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.3116e-18 | 2.2584e-12 | -2.2727e-12 | -8.0325e-18 | -4.3751e-12 | 4.3895e-12 | 4.4862e-18 | 7.9337e-10 | -7.9338e-10 | -6.0501e-18 | 7.9476e-10 | -7.9476e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86602 | 0.86602 | 0 | 0.86602 | 0.86602 | 0 | -89.9999 | 90.0001 | 0 | -89.9999 | 90.0001
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.3116e-18 | 2.2666e-12 | -2.2563e-12 | -8.0325e-18 | -4.3833e-12 | 4.373e-12 | 4.4862e-18 | 7.9337e-10 | -7.9341e-10 | -6.0501e-18 | 7.9477e-10 | -7.9474e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86602 | 0.86602 | 0 | 0.86602 | 0.86602 | 0 | -89.9999 | 90.0001 | 0 | -89.9999 | 90.0001
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2609e-18 | -2.2788e-12 | 2.2562e-12 | -1.2608e-18 | -2.2542e-12 | 2.2747e-12 | -9.0055e-19 | 7.9432e-10 | -7.943e-10 | -9.0053e-19 | 7.9431e-10 | -7.9434e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86602 | 0.86602 | 0 | 0.86602 | 0.86602 | 0 | -89.9999 | 90.0001 | 0 | -89.9999 | 90.0001

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.0195e-15 | -6.1751e-15 | 1.0009e-13 | -3.6131e-17 | -4.9523e-15 | -8.5888e-14 | -1.3817e-14 | 1.4658e-13 | -9.1617e-15 | 2.4511e-17 | -1.2522e-13 | 7.4765e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5066e-06 | 5.9799e-06 | 4.0967e-06 | 3.5068e-06 | 5.9799e-06 | 4.0964e-06 | -102.3262 | 117.6977 | -30.5146 | -102.3313 | 117.7019 | -30.5196
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5199e-15 | -7.2619e-15 | -2.151e-14 | -1.4921e-15 | -3.9676e-15 | 3.5753e-14 | -6.9026e-15 | -3.1063e-14 | -3.9431e-15 | -6.9211e-15 | 5.2415e-14 | -4.4393e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5069e-06 | 5.9799e-06 | 4.0963e-06 | 3.5068e-06 | 5.9799e-06 | 4.0964e-06 | -102.3327 | 117.703 | -30.5211 | -102.3313 | 117.7019 | -30.5196
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5199e-15 | -7.2618e-15 | -2.151e-14 | -1.4922e-15 | -3.9676e-15 | 3.5753e-14 | -6.9027e-15 | -3.1063e-14 | -3.9431e-15 | -6.9212e-15 | 5.2415e-14 | -4.4392e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5069e-06 | 5.9799e-06 | 4.0963e-06 | 3.5068e-06 | 5.9799e-06 | 4.0964e-06 | -102.3327 | 117.703 | -30.5211 | -102.3313 | 117.7019 | -30.5196
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5011e-15 | -5.6255e-15 | 7.1266e-15 | -1.5011e-15 | -5.6255e-15 | 7.1267e-15 | -6.9153e-15 | 1.0675e-14 | -4.1872e-15 | -6.9152e-15 | 1.0675e-14 | -4.1874e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5069e-06 | 5.9799e-06 | 4.0963e-06 | 3.5069e-06 | 5.9799e-06 | 4.0963e-06 | -102.3327 | 117.703 | -30.5211 | -102.3327 | 117.703 | -30.5211

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.0195e-15 | -6.1751e-15 | 1.0009e-13 | -3.6131e-17 | -4.9523e-15 | -8.5888e-14 | -1.3817e-14 | 1.4658e-13 | -9.1617e-15 | 2.4511e-17 | -1.2522e-13 | 7.4765e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5066e-06 | 5.9799e-06 | 4.0967e-06 | 3.5068e-06 | 5.9799e-06 | 4.0964e-06 | -102.3262 | 117.6977 | -30.5146 | -102.3313 | 117.7019 | -30.5196
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5199e-15 | -7.2619e-15 | -2.151e-14 | -1.4921e-15 | -3.9676e-15 | 3.5753e-14 | -6.9026e-15 | -3.1063e-14 | -3.9431e-15 | -6.9211e-15 | 5.2415e-14 | -4.4393e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5069e-06 | 5.9799e-06 | 4.0963e-06 | 3.5068e-06 | 5.9799e-06 | 4.0964e-06 | -102.3327 | 117.703 | -30.5211 | -102.3313 | 117.7019 | -30.5196
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5199e-15 | -7.2618e-15 | -2.151e-14 | -1.4922e-15 | -3.9676e-15 | 3.5753e-14 | -6.9027e-15 | -3.1063e-14 | -3.9431e-15 | -6.9212e-15 | 5.2415e-14 | -4.4392e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5069e-06 | 5.9799e-06 | 4.0963e-06 | 3.5068e-06 | 5.9799e-06 | 4.0964e-06 | -102.3327 | 117.703 | -30.5211 | -102.3313 | 117.7019 | -30.5196
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5011e-15 | -5.6255e-15 | 7.1266e-15 | -1.5011e-15 | -5.6255e-15 | 7.1267e-15 | -6.9153e-15 | 1.0675e-14 | -4.1872e-15 | -6.9152e-15 | 1.0675e-14 | -4.1874e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5069e-06 | 5.9799e-06 | 4.0963e-06 | 3.5069e-06 | 5.9799e-06 | 4.0963e-06 | -102.3327 | 117.703 | -30.5211 | -102.3327 | 117.703 | -30.5211

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.0121e-15 | -6.1986e-15 | 1.0006e-13 | -3.6064e-17 | -4.9304e-15 | -8.5866e-14 | -1.381e-14 | 1.4655e-13 | -9.1852e-15 | 2.4419e-17 | -1.252e-13 | 7.6964e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5045e-06 | 5.9789e-06 | 4.0957e-06 | 3.5047e-06 | 5.9788e-06 | 4.0953e-06 | -102.3035 | 117.7074 | -30.5294 | -102.3087 | 117.7115 | -30.5344
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5163e-15 | -7.2553e-15 | -2.1505e-14 | -1.4885e-15 | -3.9757e-15 | 3.5742e-14 | -6.8991e-15 | -3.1058e-14 | -3.9363e-15 | -6.9174e-15 | 5.2405e-14 | -4.4476e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5047e-06 | 5.9788e-06 | 4.0952e-06 | 3.5047e-06 | 5.9788e-06 | 4.0953e-06 | -102.3101 | 117.7127 | -30.5359 | -102.3087 | 117.7115 | -30.5344
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5162e-15 | -7.2553e-15 | -2.1505e-14 | -1.4886e-15 | -3.9756e-15 | 3.5743e-14 | -6.8992e-15 | -3.1058e-14 | -3.9364e-15 | -6.9173e-15 | 5.2405e-14 | -4.4475e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5047e-06 | 5.9788e-06 | 4.0952e-06 | 3.5047e-06 | 5.9788e-06 | 4.0953e-06 | -102.3101 | 117.7127 | -30.5359 | -102.3087 | 117.7115 | -30.5344
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4975e-15 | -5.6262e-15 | 7.1239e-15 | -1.4974e-15 | -5.6262e-15 | 7.1237e-15 | -6.9117e-15 | 1.0672e-14 | -4.188e-15 | -6.9116e-15 | 1.0672e-14 | -4.188e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5047e-06 | 5.9788e-06 | 4.0952e-06 | 3.5047e-06 | 5.9788e-06 | 4.0952e-06 | -102.3101 | 117.7127 | -30.5359 | -102.3101 | 117.7127 | -30.5359

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.0121e-15 | -6.1986e-15 | 1.0006e-13 | -3.6064e-17 | -4.9304e-15 | -8.5866e-14 | -1.381e-14 | 1.4655e-13 | -9.1852e-15 | 2.4419e-17 | -1.252e-13 | 7.6964e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5045e-06 | 5.9789e-06 | 4.0957e-06 | 3.5047e-06 | 5.9788e-06 | 4.0953e-06 | -102.3035 | 117.7074 | -30.5294 | -102.3087 | 117.7115 | -30.5344
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5163e-15 | -7.2553e-15 | -2.1505e-14 | -1.4885e-15 | -3.9757e-15 | 3.5742e-14 | -6.8991e-15 | -3.1058e-14 | -3.9363e-15 | -6.9174e-15 | 5.2405e-14 | -4.4476e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5047e-06 | 5.9788e-06 | 4.0952e-06 | 3.5047e-06 | 5.9788e-06 | 4.0953e-06 | -102.3101 | 117.7127 | -30.5359 | -102.3087 | 117.7115 | -30.5344
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5162e-15 | -7.2553e-15 | -2.1505e-14 | -1.4886e-15 | -3.9756e-15 | 3.5743e-14 | -6.8992e-15 | -3.1058e-14 | -3.9364e-15 | -6.9173e-15 | 5.2405e-14 | -4.4475e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5047e-06 | 5.9788e-06 | 4.0952e-06 | 3.5047e-06 | 5.9788e-06 | 4.0953e-06 | -102.3101 | 117.7127 | -30.5359 | -102.3087 | 117.7115 | -30.5344
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4975e-15 | -5.6262e-15 | 7.1239e-15 | -1.4974e-15 | -5.6262e-15 | 7.1237e-15 | -6.9117e-15 | 1.0672e-14 | -4.188e-15 | -6.9116e-15 | 1.0672e-14 | -4.188e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5047e-06 | 5.9788e-06 | 4.0952e-06 | 3.5047e-06 | 5.9788e-06 | 4.0952e-06 | -102.3101 | 117.7127 | -30.5359 | -102.3101 | 117.7127 | -30.5359

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.7605e-16 | 2.1622e-14 | -3.6565e-14 | -3.3649e-17 | -1.7763e-14 | 3.2393e-14 | -6.0245e-15 | -9.0404e-15 | 1.7346e-14 | 4.7254e-18 | 9.1908e-15 | -1.2174e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6463e-06 | 1.0508e-06 | 1.8146e-06 | 1.6463e-06 | 1.0501e-06 | 1.815e-06 | -86.4282 | 2.5945 | 129.3357 | -86.4492 | 2.5833 | 129.3562
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7788e-16 | -3.9966e-15 | 8.6857e-15 | 2.0379e-16 | 7.8447e-15 | -1.2913e-14 | -3.0113e-15 | 3.1516e-15 | -1.4856e-15 | -3.0148e-15 | -2.9733e-15 | 6.6279e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6463e-06 | 1.0499e-06 | 1.8151e-06 | 1.6463e-06 | 1.0501e-06 | 1.815e-06 | -86.4551 | 2.5799 | 129.3622 | -86.4492 | 2.5833 | 129.3562
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7791e-16 | -3.9966e-15 | 8.6858e-15 | 2.0376e-16 | 7.8447e-15 | -1.2913e-14 | -3.0112e-15 | 3.1516e-15 | -1.4856e-15 | -3.0148e-15 | -2.9733e-15 | 6.6279e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6463e-06 | 1.0499e-06 | 1.8151e-06 | 1.6463e-06 | 1.0501e-06 | 1.815e-06 | -86.4551 | 2.5799 | 129.3622 | -86.4492 | 2.5833 | 129.3562
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.9532e-16 | 1.9237e-15 | -2.1191e-15 | 1.9532e-16 | 1.9237e-15 | -2.119e-15 | -3.0137e-15 | 9.2155e-17 | 2.5683e-15 | -3.0137e-15 | 9.2199e-17 | 2.5683e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6463e-06 | 1.0499e-06 | 1.8151e-06 | 1.6463e-06 | 1.0499e-06 | 1.8151e-06 | -86.4551 | 2.5799 | 129.3622 | -86.4551 | 2.5799 | 129.3622

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.7605e-16 | 2.1622e-14 | -3.6565e-14 | -3.3649e-17 | -1.7763e-14 | 3.2393e-14 | -6.0245e-15 | -9.0404e-15 | 1.7346e-14 | 4.7254e-18 | 9.1908e-15 | -1.2174e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6463e-06 | 1.0508e-06 | 1.8146e-06 | 1.6463e-06 | 1.0501e-06 | 1.815e-06 | -86.4282 | 2.5945 | 129.3357 | -86.4492 | 2.5833 | 129.3562
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7788e-16 | -3.9966e-15 | 8.6857e-15 | 2.0379e-16 | 7.8447e-15 | -1.2913e-14 | -3.0113e-15 | 3.1516e-15 | -1.4856e-15 | -3.0148e-15 | -2.9733e-15 | 6.6279e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6463e-06 | 1.0499e-06 | 1.8151e-06 | 1.6463e-06 | 1.0501e-06 | 1.815e-06 | -86.4551 | 2.5799 | 129.3622 | -86.4492 | 2.5833 | 129.3562
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7791e-16 | -3.9966e-15 | 8.6858e-15 | 2.0376e-16 | 7.8447e-15 | -1.2913e-14 | -3.0112e-15 | 3.1516e-15 | -1.4856e-15 | -3.0148e-15 | -2.9733e-15 | 6.6279e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6463e-06 | 1.0499e-06 | 1.8151e-06 | 1.6463e-06 | 1.0501e-06 | 1.815e-06 | -86.4551 | 2.5799 | 129.3622 | -86.4492 | 2.5833 | 129.3562
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.9532e-16 | 1.9237e-15 | -2.1191e-15 | 1.9532e-16 | 1.9237e-15 | -2.119e-15 | -3.0137e-15 | 9.2155e-17 | 2.5683e-15 | -3.0137e-15 | 9.2199e-17 | 2.5683e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6463e-06 | 1.0499e-06 | 1.8151e-06 | 1.6463e-06 | 1.0499e-06 | 1.8151e-06 | -86.4551 | 2.5799 | 129.3622 | -86.4551 | 2.5799 | 129.3622

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.8214e-16 | 2.1603e-14 | -3.6588e-14 | -3.367e-17 | -1.7745e-14 | 3.2411e-14 | -6.0184e-15 | -9.0634e-15 | 1.7327e-14 | 4.69e-18 | 9.209e-15 | -1.2156e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6447e-06 | 1.0504e-06 | 1.8151e-06 | 1.6448e-06 | 1.0497e-06 | 1.8155e-06 | -86.3672 | 2.5245 | 129.3744 | -86.3883 | 2.5132 | 129.395
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8096e-16 | -3.9912e-15 | 8.6894e-15 | 2.0677e-16 | 7.8381e-15 | -1.2922e-14 | -3.0082e-15 | 3.1553e-15 | -1.4802e-15 | -3.0118e-15 | -2.9817e-15 | 6.6211e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6448e-06 | 1.0495e-06 | 1.8156e-06 | 1.6448e-06 | 1.0497e-06 | 1.8155e-06 | -86.3942 | 2.5098 | 129.4009 | -86.3883 | 2.5132 | 129.395
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8096e-16 | -3.9912e-15 | 8.6894e-15 | 2.0677e-16 | 7.8381e-15 | -1.2922e-14 | -3.0082e-15 | 3.1553e-15 | -1.4802e-15 | -3.0118e-15 | -2.9818e-15 | 6.6211e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6448e-06 | 1.0495e-06 | 1.8156e-06 | 1.6448e-06 | 1.0497e-06 | 1.8155e-06 | -86.3942 | 2.5098 | 129.4009 | -86.3883 | 2.5132 | 129.395
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.9839e-16 | 1.9231e-15 | -2.1214e-15 | 1.9832e-16 | 1.9231e-15 | -2.1214e-15 | -3.0106e-15 | 8.9762e-17 | 2.5676e-15 | -3.0107e-15 | 8.9806e-17 | 2.5676e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6448e-06 | 1.0495e-06 | 1.8156e-06 | 1.6448e-06 | 1.0495e-06 | 1.8156e-06 | -86.3942 | 2.5098 | 129.4009 | -86.3942 | 2.5098 | 129.4009

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.8214e-16 | 2.1603e-14 | -3.6588e-14 | -3.367e-17 | -1.7745e-14 | 3.2411e-14 | -6.0184e-15 | -9.0634e-15 | 1.7327e-14 | 4.69e-18 | 9.209e-15 | -1.2156e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6447e-06 | 1.0504e-06 | 1.8151e-06 | 1.6448e-06 | 1.0497e-06 | 1.8155e-06 | -86.3672 | 2.5245 | 129.3744 | -86.3883 | 2.5132 | 129.395
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8096e-16 | -3.9912e-15 | 8.6894e-15 | 2.0677e-16 | 7.8381e-15 | -1.2922e-14 | -3.0082e-15 | 3.1553e-15 | -1.4802e-15 | -3.0118e-15 | -2.9817e-15 | 6.6211e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6448e-06 | 1.0495e-06 | 1.8156e-06 | 1.6448e-06 | 1.0497e-06 | 1.8155e-06 | -86.3942 | 2.5098 | 129.4009 | -86.3883 | 2.5132 | 129.395
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8096e-16 | -3.9912e-15 | 8.6894e-15 | 2.0677e-16 | 7.8381e-15 | -1.2922e-14 | -3.0082e-15 | 3.1553e-15 | -1.4802e-15 | -3.0118e-15 | -2.9818e-15 | 6.6211e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6448e-06 | 1.0495e-06 | 1.8156e-06 | 1.6448e-06 | 1.0497e-06 | 1.8155e-06 | -86.3942 | 2.5098 | 129.4009 | -86.3883 | 2.5132 | 129.395
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.9839e-16 | 1.9231e-15 | -2.1214e-15 | 1.9832e-16 | 1.9231e-15 | -2.1214e-15 | -3.0106e-15 | 8.9762e-17 | 2.5676e-15 | -3.0107e-15 | 8.9806e-17 | 2.5676e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6448e-06 | 1.0495e-06 | 1.8156e-06 | 1.6448e-06 | 1.0495e-06 | 1.8156e-06 | -86.3942 | 2.5098 | 129.4009 | -86.3942 | 2.5098 | 129.4009