## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2981e-19 | 0 | -4.929e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2981e-19 | 0 | -4.929e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6704e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2843e-20 | 0 | 2.6704e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1464e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1464e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.1264e-14 | 2.6053e-14 | -3.1264e-14 | 2.6053e-14 | -1.0421e-14 | 2.0843e-14 | -1.5632e-14 | 5.7634e-09 | -5.7634e-09 | 1.0421e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.3385e-13 | 180 | -180 | 8.4803e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0843e-14 | -5.2105e-15 | 2.0843e-14 | 1.0421e-14 | 2.0842e-14 | -3.1264e-14 | 1.0421e-14 | -1.9211e-09 | 1.9211e-09 | -1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.4501e-13 | -180 | 180 | 8.4803e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.839e-29 | -1.5632e-14 | 1.0421e-14 | -5.2106e-15 | 2.0842e-14 | -2.0843e-14 | 5.2106e-15 | -1.9211e-09 | 1.9212e-09 | -5.2106e-15 | 1.9211e-09 | -1.9212e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.6196e-13 | -180 | 180 | 8.4803e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0843e-14 | 1.0421e-14 | 1.0421e-14 | 5.2106e-15 | 2.6053e-15 | -1.0421e-14 | 5.2106e-15 | 5.2106e-15 | -1.0421e-14 | -1.0421e-14 | -1.0421e-14 | 1.0421e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.4501e-13 | -180 | 180 | 8.6196e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.1264e-14 | 2.6053e-14 | -3.1264e-14 | 2.6053e-14 | -1.0421e-14 | 2.0843e-14 | -1.5632e-14 | 5.7634e-09 | -5.7634e-09 | 1.0421e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.3385e-13 | 180 | -180 | 8.4803e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0843e-14 | -5.2105e-15 | 2.0843e-14 | 1.0421e-14 | 2.0842e-14 | -3.1264e-14 | 1.0421e-14 | -1.9211e-09 | 1.9211e-09 | -1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.4501e-13 | -180 | 180 | 8.4803e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.839e-29 | -1.5632e-14 | 1.0421e-14 | -5.2106e-15 | 2.0842e-14 | -2.0843e-14 | 5.2106e-15 | -1.9211e-09 | 1.9212e-09 | -5.2106e-15 | 1.9211e-09 | -1.9212e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.6196e-13 | -180 | 180 | 8.4803e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0843e-14 | 1.0421e-14 | 1.0421e-14 | 5.2106e-15 | 2.6053e-15 | -1.0421e-14 | 5.2106e-15 | 5.2106e-15 | -1.0421e-14 | -1.0421e-14 | -1.0421e-14 | 1.0421e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.4501e-13 | -180 | 180 | 8.6196e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3027e-14 | -9.5547e-10 | -3.075e-09 | 1.3027e-14 | 9.5547e-10 | 3.075e-09 | -1.8237e-14 | 4.0277e-09 | -3.5663e-10 | 1.5632e-14 | -4.0277e-09 | 3.5663e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 3.6341e-13 | -140.8543 | 122.4159 | 3.7405e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.5133e-15 | 3.1849e-10 | 1.025e-09 | -6.5133e-15 | -3.1848e-10 | -1.025e-09 | -2.6053e-15 | -1.3426e-09 | 1.1887e-10 | 5.2106e-15 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 3.7514e-13 | -140.8543 | 122.4159 | 3.7405e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1724e-14 | 3.185e-10 | 1.025e-09 | -1.4329e-14 | -3.1849e-10 | -1.025e-09 | -5.2106e-15 | -1.3426e-09 | 1.1887e-10 | 5.2106e-15 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 3.81e-13 | -140.8543 | 122.4159 | 3.7405e-13 | -140.8543 | 122.4159
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 5.3725e-15 | 5.3267e-15 | 2.6053e-15 | 1.0525e-14 | 2.6556e-16 | 2.6053e-15 | -1.338e-15 | -8.3885e-15 | 1.7325e-29 | 2.8563e-15 | 1.194e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 3.7514e-13 | -140.8543 | 122.4159 | 3.81e-13 | -140.8543 | 122.4159

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3027e-14 | -9.5547e-10 | -3.075e-09 | 1.3027e-14 | 9.5547e-10 | 3.075e-09 | -1.8237e-14 | 4.0277e-09 | -3.5663e-10 | 1.5632e-14 | -4.0277e-09 | 3.5663e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 3.6341e-13 | -140.8543 | 122.4159 | 3.7405e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.5133e-15 | 3.1849e-10 | 1.025e-09 | -6.5133e-15 | -3.1848e-10 | -1.025e-09 | -2.6053e-15 | -1.3426e-09 | 1.1887e-10 | 5.2106e-15 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 3.7514e-13 | -140.8543 | 122.4159 | 3.7405e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1724e-14 | 3.185e-10 | 1.025e-09 | -1.4329e-14 | -3.1849e-10 | -1.025e-09 | -5.2106e-15 | -1.3426e-09 | 1.1887e-10 | 5.2106e-15 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 3.81e-13 | -140.8543 | 122.4159 | 3.7405e-13 | -140.8543 | 122.4159
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 5.3725e-15 | 5.3267e-15 | 2.6053e-15 | 1.0525e-14 | 2.6556e-16 | 2.6053e-15 | -1.338e-15 | -8.3885e-15 | 1.7325e-29 | 2.8563e-15 | 1.194e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 3.7514e-13 | -140.8543 | 122.4159 | 3.81e-13 | -140.8543 | 122.4159

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.737e-15 | 7.1054e-15 | 9.4739e-15 | -7.1054e-15 | -4.7363e-15 | -4.7363e-15 | 1.4211e-14 | 4.7631e-09 | -4.7631e-09 | -1.4211e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.0994e-13 | -180 | 180 | 7.2847e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-14 | 2.3688e-15 | -4.7366e-15 | 9.4739e-15 | 4.7367e-15 | 4.7367e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | 1.2045e-28 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.0034e-13 | -180 | 180 | 7.2847e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | -2.3682e-15 | -4.7366e-15 | 9.4739e-15 | 9.4737e-15 | 4.7367e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.1089e-13 | -180 | 180 | 7.2847e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.7901e-29 | 9.4739e-15 | -9.0914e-25 | -2.3685e-15 | -2.3685e-15 | 2.3685e-15 | 4.737e-15 | -9.4739e-15 | -4.737e-15 | -2.9386e-29 | 2.3685e-15 | -4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.0034e-13 | -180 | 180 | 7.1089e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.737e-15 | 7.1054e-15 | 9.4739e-15 | -7.1054e-15 | -4.7363e-15 | -4.7363e-15 | 1.4211e-14 | 4.7631e-09 | -4.7631e-09 | -1.4211e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.0994e-13 | -180 | 180 | 7.2847e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-14 | 2.3688e-15 | -4.7366e-15 | 9.4739e-15 | 4.7367e-15 | 4.7367e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | 1.2045e-28 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.0034e-13 | -180 | 180 | 7.2847e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | -2.3682e-15 | -4.7366e-15 | 9.4739e-15 | 9.4737e-15 | 4.7367e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.1089e-13 | -180 | 180 | 7.2847e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.7901e-29 | 9.4739e-15 | -9.0914e-25 | -2.3685e-15 | -2.3685e-15 | 2.3685e-15 | 4.737e-15 | -9.4739e-15 | -4.737e-15 | -2.9386e-29 | 2.3685e-15 | -4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.0034e-13 | -180 | 180 | 7.1089e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4803e-15 | -8.0025e-10 | -2.5674e-09 | -1.4803e-15 | 8.0026e-10 | 2.5674e-09 | -4.737e-15 | 3.4014e-09 | -3.4065e-10 | 7.1054e-15 | -3.4014e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.8153e-13 | -141.4824 | 122.8363 | 2.8206e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.8488e-15 | 2.6676e-10 | 8.558e-10 | 3.8488e-15 | -2.6676e-10 | -8.558e-10 | 2.3685e-15 | -1.1338e-09 | 1.1355e-10 | 1.8947e-29 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.6584e-13 | -141.4824 | 122.8363 | 2.8206e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.1448e-15 | 2.6676e-10 | 8.558e-10 | 4.1448e-15 | -2.6675e-10 | -8.558e-10 | -1.9695e-29 | -1.1338e-09 | 1.1355e-10 | 2.3685e-15 | 1.1338e-09 | -1.1356e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.7225e-13 | -141.4824 | 122.8363 | 2.8206e-13 | -141.4824 | 122.8363
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4803e-15 | 2.0278e-15 | 1.4066e-15 | -1.4803e-15 | -6.299e-15 | -2.8927e-15 | 6.8681e-30 | -9.4202e-16 | -2.1795e-15 | -2.3685e-15 | 1.0322e-14 | -9.8477e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.6584e-13 | -141.4824 | 122.8363 | 2.7225e-13 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4803e-15 | -8.0025e-10 | -2.5674e-09 | -1.4803e-15 | 8.0026e-10 | 2.5674e-09 | -4.737e-15 | 3.4014e-09 | -3.4065e-10 | 7.1054e-15 | -3.4014e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.8153e-13 | -141.4824 | 122.8363 | 2.8206e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.8488e-15 | 2.6676e-10 | 8.558e-10 | 3.8488e-15 | -2.6676e-10 | -8.558e-10 | 2.3685e-15 | -1.1338e-09 | 1.1355e-10 | 1.8947e-29 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.6584e-13 | -141.4824 | 122.8363 | 2.8206e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.1448e-15 | 2.6676e-10 | 8.558e-10 | 4.1448e-15 | -2.6675e-10 | -8.558e-10 | -1.9695e-29 | -1.1338e-09 | 1.1355e-10 | 2.3685e-15 | 1.1338e-09 | -1.1356e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.7225e-13 | -141.4824 | 122.8363 | 2.8206e-13 | -141.4824 | 122.8363
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4803e-15 | 2.0278e-15 | 1.4066e-15 | -1.4803e-15 | -6.299e-15 | -2.8927e-15 | 6.8681e-30 | -9.4202e-16 | -2.1795e-15 | -2.3685e-15 | 1.0322e-14 | -9.8477e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.6584e-13 | -141.4824 | 122.8363 | 2.7225e-13 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.020563 | 0.020563 | 0.020563 | 0.015428 | 0.015428 | 0.015428 | 0.23744 | 0.23744 | 0.23744 | 0.17815 | 0.17815 | 0.17815 | -4.8141e-13 | 0.21821 | -0.21403 | 0.001026 | -0.16291 | 0.1613 | 6.9449e-15 | -0.30233 | -0.43581 | 0.00040835 | 0.22709 | 0.32754 | -107.1609 | -107.1609 | -107.1609 | 72.7843 | 72.7843 | 72.7843 | 0 | 1.5703 | 2.0448 | 0.0061985 | 1.5688 | 2.0494 | 0 | -161.3403 | 136.6826 | 94.4873 | -161.5598 | 136.5662
Line_1 | 0.0025719 | 0.0025719 | 0.0025719 | 0.0077141 | 0.0077141 | 0.0077141 | 0.029698 | 0.029698 | 0.029698 | 0.089074 | 0.089074 | 0.089074 | 0.00021988 | -0.027129 | 0.026909 | -0.00051299 | 0.081456 | -0.08065 | 8.761e-05 | 0.037861 | 0.054636 | -0.00020417 | -0.11354 | -0.16377 | 72.754 | 72.754 | 72.754 | -107.2157 | -107.2157 | -107.2157 | 0.00797 | 1.5684 | 2.0508 | 0.0061985 | 1.5688 | 2.0494 | 94.4787 | -161.6226 | 136.533 | 94.4873 | -161.5598 | 136.5662
Line_2 | 0.0025719 | 0.0025719 | 0.0025719 | 0.0077141 | 0.0077141 | 0.0077141 | 0.029698 | 0.029698 | 0.029698 | 0.089074 | 0.089074 | 0.089074 | 0.00021988 | -0.027129 | 0.026909 | -0.00051299 | 0.081456 | -0.08065 | 8.761e-05 | 0.037861 | 0.054636 | -0.00020417 | -0.11354 | -0.16377 | 72.754 | 72.754 | 72.754 | -107.2157 | -107.2157 | -107.2157 | 0.00797 | 1.5684 | 2.0508 | 0.0061985 | 1.5688 | 2.0494 | 94.4787 | -161.6226 | 136.533 | 94.4873 | -161.5598 | 136.5662
Line_3 | 0.0025719 | 0.0025719 | 0.0025719 | 0.0025719 | 0.0025719 | 0.0025719 | 0.029698 | 0.029698 | 0.029698 | 0.029698 | 0.029698 | 0.029698 | -0.00021988 | 0.027129 | -0.026909 | -0.00021988 | 0.027129 | -0.026909 | -8.761e-05 | -0.037861 | -0.054636 | -8.761e-05 | -0.037861 | -0.054636 | -107.246 | -107.246 | -107.246 | -107.246 | -107.246 | -107.246 | 0.00797 | 1.5684 | 2.0508 | 0.00797 | 1.5684 | 2.0508 | 94.4787 | -161.6226 | 136.533 | 94.4787 | -161.6226 | 136.533

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.020563 | 0.020563 | 0.020563 | 0.015428 | 0.015428 | 0.015428 | 0.23744 | 0.23744 | 0.23744 | 0.17815 | 0.17815 | 0.17815 | -4.8141e-13 | 0.21821 | -0.21403 | 0.001026 | -0.16291 | 0.1613 | 6.9449e-15 | -0.30233 | -0.43581 | 0.00040835 | 0.22709 | 0.32754 | -107.1609 | -107.1609 | -107.1609 | 72.7843 | 72.7843 | 72.7843 | 0 | 1.5703 | 2.0448 | 0.0061985 | 1.5688 | 2.0494 | 0 | -161.3403 | 136.6826 | 94.4873 | -161.5598 | 136.5662
Line_1 | 0.0025719 | 0.0025719 | 0.0025719 | 0.0077141 | 0.0077141 | 0.0077141 | 0.029698 | 0.029698 | 0.029698 | 0.089074 | 0.089074 | 0.089074 | 0.00021988 | -0.027129 | 0.026909 | -0.00051299 | 0.081456 | -0.08065 | 8.761e-05 | 0.037861 | 0.054636 | -0.00020417 | -0.11354 | -0.16377 | 72.754 | 72.754 | 72.754 | -107.2157 | -107.2157 | -107.2157 | 0.00797 | 1.5684 | 2.0508 | 0.0061985 | 1.5688 | 2.0494 | 94.4787 | -161.6226 | 136.533 | 94.4873 | -161.5598 | 136.5662
Line_2 | 0.0025719 | 0.0025719 | 0.0025719 | 0.0077141 | 0.0077141 | 0.0077141 | 0.029698 | 0.029698 | 0.029698 | 0.089074 | 0.089074 | 0.089074 | 0.00021988 | -0.027129 | 0.026909 | -0.00051299 | 0.081456 | -0.08065 | 8.761e-05 | 0.037861 | 0.054636 | -0.00020417 | -0.11354 | -0.16377 | 72.754 | 72.754 | 72.754 | -107.2157 | -107.2157 | -107.2157 | 0.00797 | 1.5684 | 2.0508 | 0.0061985 | 1.5688 | 2.0494 | 94.4787 | -161.6226 | 136.533 | 94.4873 | -161.5598 | 136.5662
Line_3 | 0.0025719 | 0.0025719 | 0.0025719 | 0.0025719 | 0.0025719 | 0.0025719 | 0.029698 | 0.029698 | 0.029698 | 0.029698 | 0.029698 | 0.029698 | -0.00021988 | 0.027129 | -0.026909 | -0.00021988 | 0.027129 | -0.026909 | -8.761e-05 | -0.037861 | -0.054636 | -8.761e-05 | -0.037861 | -0.054636 | -107.246 | -107.246 | -107.246 | -107.246 | -107.246 | -107.246 | 0.00797 | 1.5684 | 2.0508 | 0.00797 | 1.5684 | 2.0508 | 94.4787 | -161.6226 | 136.533 | 94.4787 | -161.6226 | 136.533

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0090824 | 0.0090824 | 0.0090824 | 0.0068144 | 0.0068144 | 0.0068144 | 0.10487 | 0.10487 | 0.10487 | 0.078686 | 0.078686 | 0.078686 | -0.047975 | 0.10808 | -0.059293 | 0.036229 | -0.080923 | 0.044579 | 0.047949 | -0.041408 | -0.15054 | -0.035862 | 0.03107 | 0.11307 | -123.1058 | -123.1058 | -123.1058 | 56.8394 | 56.8394 | 56.8394 | 0.64676 | 1.1036 | 1.5428 | 0.64785 | 1.1016 | 1.5447 | 11.9096 | -144.0681 | 125.3966 | 12.1318 | -144.1645 | 125.3225
Line_1 | 0.001136 | 0.001136 | 0.001136 | 0.0034072 | 0.0034072 | 0.0034072 | 0.013117 | 0.013117 | 0.013117 | 0.039343 | 0.039343 | 0.039343 | 0.0060522 | -0.013483 | 0.0074309 | -0.018115 | 0.040461 | -0.022289 | -0.0059712 | 0.005176 | 0.018857 | 0.017931 | -0.015535 | -0.056536 | 56.8091 | 56.8091 | 56.8091 | -123.1606 | -123.1606 | -123.1606 | 0.64816 | 1.101 | 1.5452 | 0.64785 | 1.1016 | 1.5447 | 12.1952 | -144.1921 | 125.3014 | 12.1318 | -144.1645 | 125.3225
Line_2 | 0.001136 | 0.001136 | 0.001136 | 0.0034072 | 0.0034072 | 0.0034072 | 0.013117 | 0.013117 | 0.013117 | 0.039343 | 0.039343 | 0.039343 | 0.0060522 | -0.013483 | 0.0074309 | -0.018115 | 0.040461 | -0.022289 | -0.0059712 | 0.005176 | 0.018857 | 0.017931 | -0.015535 | -0.056536 | 56.8091 | 56.8091 | 56.8091 | -123.1606 | -123.1606 | -123.1606 | 0.64816 | 1.101 | 1.5452 | 0.64785 | 1.1016 | 1.5447 | 12.1952 | -144.1921 | 125.3014 | 12.1318 | -144.1645 | 125.3225
Line_3 | 0.001136 | 0.001136 | 0.001136 | 0.001136 | 0.001136 | 0.001136 | 0.013117 | 0.013117 | 0.013117 | 0.013117 | 0.013117 | 0.013117 | -0.0060522 | 0.013483 | -0.0074309 | -0.0060522 | 0.013483 | -0.0074309 | 0.0059712 | -0.005176 | -0.018857 | 0.0059712 | -0.005176 | -0.018857 | -123.1909 | -123.1909 | -123.1909 | -123.1909 | -123.1909 | -123.1909 | 0.64816 | 1.101 | 1.5452 | 0.64816 | 1.101 | 1.5452 | 12.1952 | -144.1921 | 125.3014 | 12.1952 | -144.1921 | 125.3014

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0090824 | 0.0090824 | 0.0090824 | 0.0068144 | 0.0068144 | 0.0068144 | 0.10487 | 0.10487 | 0.10487 | 0.078686 | 0.078686 | 0.078686 | -0.047975 | 0.10808 | -0.059293 | 0.036229 | -0.080923 | 0.044579 | 0.047949 | -0.041408 | -0.15054 | -0.035862 | 0.03107 | 0.11307 | -123.1058 | -123.1058 | -123.1058 | 56.8394 | 56.8394 | 56.8394 | 0.64676 | 1.1036 | 1.5428 | 0.64785 | 1.1016 | 1.5447 | 11.9096 | -144.0681 | 125.3966 | 12.1318 | -144.1645 | 125.3225
Line_1 | 0.001136 | 0.001136 | 0.001136 | 0.0034072 | 0.0034072 | 0.0034072 | 0.013117 | 0.013117 | 0.013117 | 0.039343 | 0.039343 | 0.039343 | 0.0060522 | -0.013483 | 0.0074309 | -0.018115 | 0.040461 | -0.022289 | -0.0059712 | 0.005176 | 0.018857 | 0.017931 | -0.015535 | -0.056536 | 56.8091 | 56.8091 | 56.8091 | -123.1606 | -123.1606 | -123.1606 | 0.64816 | 1.101 | 1.5452 | 0.64785 | 1.1016 | 1.5447 | 12.1952 | -144.1921 | 125.3014 | 12.1318 | -144.1645 | 125.3225
Line_2 | 0.001136 | 0.001136 | 0.001136 | 0.0034072 | 0.0034072 | 0.0034072 | 0.013117 | 0.013117 | 0.013117 | 0.039343 | 0.039343 | 0.039343 | 0.0060522 | -0.013483 | 0.0074309 | -0.018115 | 0.040461 | -0.022289 | -0.0059712 | 0.005176 | 0.018857 | 0.017931 | -0.015535 | -0.056536 | 56.8091 | 56.8091 | 56.8091 | -123.1606 | -123.1606 | -123.1606 | 0.64816 | 1.101 | 1.5452 | 0.64785 | 1.1016 | 1.5447 | 12.1952 | -144.1921 | 125.3014 | 12.1318 | -144.1645 | 125.3225
Line_3 | 0.001136 | 0.001136 | 0.001136 | 0.001136 | 0.001136 | 0.001136 | 0.013117 | 0.013117 | 0.013117 | 0.013117 | 0.013117 | 0.013117 | -0.0060522 | 0.013483 | -0.0074309 | -0.0060522 | 0.013483 | -0.0074309 | 0.0059712 | -0.005176 | -0.018857 | 0.0059712 | -0.005176 | -0.018857 | -123.1909 | -123.1909 | -123.1909 | -123.1909 | -123.1909 | -123.1909 | 0.64816 | 1.101 | 1.5452 | 0.64816 | 1.101 | 1.5452 | 12.1952 | -144.1921 | 125.3014 | 12.1952 | -144.1921 | 125.3014

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.018595 | 0.018595 | 0.018595 | 0.013952 | 0.013952 | 0.013952 | 0.21472 | 0.21472 | 0.21472 | 0.1611 | 0.1611 | 0.1611 | 1.1409e-13 | 0.17995 | -0.17339 | 0.0016109 | -0.13374 | 0.13121 | 2.0959e-13 | -0.24381 | -0.35983 | 0.00033428 | 0.18301 | 0.27055 | -108.1778 | -108.1778 | -108.1778 | 71.7169 | 71.7169 | 71.7169 | 0 | 1.4113 | 1.8602 | 0.010212 | 1.407 | 1.8664 | 0 | -161.7473 | 136.0941 | 83.4399 | -162.1248 | 135.8449
Line_1 | 0.0023258 | 0.0023258 | 0.0023258 | 0.0069759 | 0.0069759 | 0.0069759 | 0.026856 | 0.026856 | 0.026856 | 0.080551 | 0.080551 | 0.080551 | 0.00034524 | -0.022249 | 0.021904 | -0.00080546 | 0.066871 | -0.065605 | 7.1901e-05 | 0.030502 | 0.045139 | -0.00016714 | -0.091507 | -0.13528 | 71.6588 | 71.6588 | 71.6588 | -108.2831 | -108.2831 | -108.2831 | 0.013131 | 1.4058 | 1.8682 | 0.010212 | 1.407 | 1.8664 | 83.4233 | -162.233 | 135.7739 | 83.4399 | -162.1248 | 135.8449
Line_2 | 0.0023258 | 0.0023258 | 0.0023258 | 0.0069759 | 0.0069759 | 0.0069759 | 0.026856 | 0.026856 | 0.026856 | 0.080551 | 0.080551 | 0.080551 | 0.00034524 | -0.022249 | 0.021904 | -0.00080546 | 0.066871 | -0.065605 | 7.1901e-05 | 0.030502 | 0.045139 | -0.00016714 | -0.091507 | -0.13528 | 71.6588 | 71.6588 | 71.6588 | -108.2831 | -108.2831 | -108.2831 | 0.013131 | 1.4058 | 1.8682 | 0.010212 | 1.407 | 1.8664 | 83.4233 | -162.233 | 135.7739 | 83.4399 | -162.1248 | 135.8449
Line_3 | 0.0023258 | 0.0023258 | 0.0023258 | 0.0023258 | 0.0023258 | 0.0023258 | 0.026856 | 0.026856 | 0.026856 | 0.026856 | 0.026856 | 0.026856 | -0.00034524 | 0.022249 | -0.021904 | -0.00034524 | 0.022249 | -0.021904 | -7.1901e-05 | -0.030502 | -0.045139 | -7.1901e-05 | -0.030502 | -0.045139 | -108.3412 | -108.3412 | -108.3412 | -108.3412 | -108.3412 | -108.3412 | 0.013131 | 1.4058 | 1.8682 | 0.013131 | 1.4058 | 1.8682 | 83.4233 | -162.233 | 135.7739 | 83.4233 | -162.233 | 135.7739

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.018595 | 0.018595 | 0.018595 | 0.013952 | 0.013952 | 0.013952 | 0.21472 | 0.21472 | 0.21472 | 0.1611 | 0.1611 | 0.1611 | 1.1409e-13 | 0.17995 | -0.17339 | 0.0016109 | -0.13374 | 0.13121 | 2.0959e-13 | -0.24381 | -0.35983 | 0.00033428 | 0.18301 | 0.27055 | -108.1778 | -108.1778 | -108.1778 | 71.7169 | 71.7169 | 71.7169 | 0 | 1.4113 | 1.8602 | 0.010212 | 1.407 | 1.8664 | 0 | -161.7473 | 136.0941 | 83.4399 | -162.1248 | 135.8449
Line_1 | 0.0023258 | 0.0023258 | 0.0023258 | 0.0069759 | 0.0069759 | 0.0069759 | 0.026856 | 0.026856 | 0.026856 | 0.080551 | 0.080551 | 0.080551 | 0.00034524 | -0.022249 | 0.021904 | -0.00080546 | 0.066871 | -0.065605 | 7.1901e-05 | 0.030502 | 0.045139 | -0.00016714 | -0.091507 | -0.13528 | 71.6588 | 71.6588 | 71.6588 | -108.2831 | -108.2831 | -108.2831 | 0.013131 | 1.4058 | 1.8682 | 0.010212 | 1.407 | 1.8664 | 83.4233 | -162.233 | 135.7739 | 83.4399 | -162.1248 | 135.8449
Line_2 | 0.0023258 | 0.0023258 | 0.0023258 | 0.0069759 | 0.0069759 | 0.0069759 | 0.026856 | 0.026856 | 0.026856 | 0.080551 | 0.080551 | 0.080551 | 0.00034524 | -0.022249 | 0.021904 | -0.00080546 | 0.066871 | -0.065605 | 7.1901e-05 | 0.030502 | 0.045139 | -0.00016714 | -0.091507 | -0.13528 | 71.6588 | 71.6588 | 71.6588 | -108.2831 | -108.2831 | -108.2831 | 0.013131 | 1.4058 | 1.8682 | 0.010212 | 1.407 | 1.8664 | 83.4233 | -162.233 | 135.7739 | 83.4399 | -162.1248 | 135.8449
Line_3 | 0.0023258 | 0.0023258 | 0.0023258 | 0.0023258 | 0.0023258 | 0.0023258 | 0.026856 | 0.026856 | 0.026856 | 0.026856 | 0.026856 | 0.026856 | -0.00034524 | 0.022249 | -0.021904 | -0.00034524 | 0.022249 | -0.021904 | -7.1901e-05 | -0.030502 | -0.045139 | -7.1901e-05 | -0.030502 | -0.045139 | -108.3412 | -108.3412 | -108.3412 | -108.3412 | -108.3412 | -108.3412 | 0.013131 | 1.4058 | 1.8682 | 0.013131 | 1.4058 | 1.8682 | 83.4233 | -162.233 | 135.7739 | 83.4233 | -162.233 | 135.7739

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0082244 | 0.0082244 | 0.0082244 | 0.0061706 | 0.0061706 | 0.0061706 | 0.094967 | 0.094967 | 0.094967 | 0.071252 | 0.071252 | 0.071252 | -0.039517 | 0.088865 | -0.048064 | 0.030018 | -0.066404 | 0.036206 | 0.03915 | -0.033045 | -0.12419 | -0.029254 | 0.024736 | 0.093306 | -123.6482 | -123.6482 | -123.6482 | 56.2465 | 56.2465 | 56.2465 | 0.58575 | 0.99834 | 1.4022 | 0.58826 | 0.99451 | 1.4046 | 11.6193 | -144.046 | 125.1937 | 11.9855 | -144.1839 | 125.0387
Line_1 | 0.0010287 | 0.0010287 | 0.0010287 | 0.0030853 | 0.0030853 | 0.0030853 | 0.011878 | 0.011878 | 0.011878 | 0.035626 | 0.035626 | 0.035626 | 0.005024 | -0.011059 | 0.0060348 | -0.015009 | 0.033202 | -0.018103 | -0.0048685 | 0.0041154 | 0.015564 | 0.014627 | -0.012368 | -0.046653 | 56.1884 | 56.1884 | 56.1884 | -123.7535 | -123.7535 | -123.7535 | 0.58899 | 0.99342 | 1.4053 | 0.58826 | 0.99451 | 1.4046 | 12.0895 | -144.2235 | 124.9945 | 11.9855 | -144.1839 | 125.0387
Line_2 | 0.0010287 | 0.0010287 | 0.0010287 | 0.0030853 | 0.0030853 | 0.0030853 | 0.011878 | 0.011878 | 0.011878 | 0.035626 | 0.035626 | 0.035626 | 0.005024 | -0.011059 | 0.0060348 | -0.015009 | 0.033202 | -0.018103 | -0.0048685 | 0.0041154 | 0.015564 | 0.014627 | -0.012368 | -0.046653 | 56.1884 | 56.1884 | 56.1884 | -123.7535 | -123.7535 | -123.7535 | 0.58899 | 0.99342 | 1.4053 | 0.58826 | 0.99451 | 1.4046 | 12.0895 | -144.2235 | 124.9945 | 11.9855 | -144.1839 | 125.0387
Line_3 | 0.0010287 | 0.0010287 | 0.0010287 | 0.0010287 | 0.0010287 | 0.0010287 | 0.011878 | 0.011878 | 0.011878 | 0.011878 | 0.011878 | 0.011878 | -0.005024 | 0.011059 | -0.0060348 | -0.005024 | 0.011059 | -0.0060348 | 0.0048685 | -0.0041154 | -0.015564 | 0.0048685 | -0.0041154 | -0.015564 | -123.8116 | -123.8116 | -123.8116 | -123.8116 | -123.8116 | -123.8116 | 0.58899 | 0.99342 | 1.4053 | 0.58899 | 0.99342 | 1.4053 | 12.0895 | -144.2235 | 124.9945 | 12.0895 | -144.2235 | 124.9945

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0082244 | 0.0082244 | 0.0082244 | 0.0061706 | 0.0061706 | 0.0061706 | 0.094967 | 0.094967 | 0.094967 | 0.071252 | 0.071252 | 0.071252 | -0.039517 | 0.088865 | -0.048064 | 0.030018 | -0.066404 | 0.036206 | 0.03915 | -0.033045 | -0.12419 | -0.029254 | 0.024736 | 0.093306 | -123.6482 | -123.6482 | -123.6482 | 56.2465 | 56.2465 | 56.2465 | 0.58575 | 0.99834 | 1.4022 | 0.58826 | 0.99451 | 1.4046 | 11.6193 | -144.046 | 125.1937 | 11.9855 | -144.1839 | 125.0387
Line_1 | 0.0010287 | 0.0010287 | 0.0010287 | 0.0030853 | 0.0030853 | 0.0030853 | 0.011878 | 0.011878 | 0.011878 | 0.035626 | 0.035626 | 0.035626 | 0.005024 | -0.011059 | 0.0060348 | -0.015009 | 0.033202 | -0.018103 | -0.0048685 | 0.0041154 | 0.015564 | 0.014627 | -0.012368 | -0.046653 | 56.1884 | 56.1884 | 56.1884 | -123.7535 | -123.7535 | -123.7535 | 0.58899 | 0.99342 | 1.4053 | 0.58826 | 0.99451 | 1.4046 | 12.0895 | -144.2235 | 124.9945 | 11.9855 | -144.1839 | 125.0387
Line_2 | 0.0010287 | 0.0010287 | 0.0010287 | 0.0030853 | 0.0030853 | 0.0030853 | 0.011878 | 0.011878 | 0.011878 | 0.035626 | 0.035626 | 0.035626 | 0.005024 | -0.011059 | 0.0060348 | -0.015009 | 0.033202 | -0.018103 | -0.0048685 | 0.0041154 | 0.015564 | 0.014627 | -0.012368 | -0.046653 | 56.1884 | 56.1884 | 56.1884 | -123.7535 | -123.7535 | -123.7535 | 0.58899 | 0.99342 | 1.4053 | 0.58826 | 0.99451 | 1.4046 | 12.0895 | -144.2235 | 124.9945 | 11.9855 | -144.1839 | 125.0387
Line_3 | 0.0010287 | 0.0010287 | 0.0010287 | 0.0010287 | 0.0010287 | 0.0010287 | 0.011878 | 0.011878 | 0.011878 | 0.011878 | 0.011878 | 0.011878 | -0.005024 | 0.011059 | -0.0060348 | -0.005024 | 0.011059 | -0.0060348 | 0.0048685 | -0.0041154 | -0.015564 | 0.0048685 | -0.0041154 | -0.015564 | -123.8116 | -123.8116 | -123.8116 | -123.8116 | -123.8116 | -123.8116 | 0.58899 | 0.99342 | 1.4053 | 0.58899 | 0.99342 | 1.4053 | 12.0895 | -144.2235 | 124.9945 | 12.0895 | -144.2235 | 124.9945

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010839 | 0.010839 | 0.010839 | 0.0081321 | 0.0081321 | 0.0081321 | 0.12515 | 0.12515 | 0.12515 | 0.093902 | 0.093902 | 0.093902 | 0.0011607 | -2.2243e-14 | -4.8695e-14 | -0.00073308 | 0.00028505 | 0.00028505 | -0.20508 | -6.9601e-14 | 5.4188e-14 | 0.15398 | 0.00011345 | 0.00011345 | 85.2978 | 85.2978 | 85.2978 | -94.7571 | -94.7571 | -94.7571 | 1.6386 | 0 | 0 | 1.6398 | 0.0032672 | 0.0032672 | -4.3779 | 0 | 0 | -4.4843 | -73.054 | -73.054
Line_1 | 0.0013556 | 0.0013556 | 0.0013556 | 0.0040661 | 0.0040661 | 0.0040661 | 0.015654 | 0.015654 | 0.015654 | 0.046951 | 0.046951 | 0.046951 | -0.00012218 | 6.1089e-05 | 6.1089e-05 | 0.00036654 | -0.00014252 | -0.00014252 | 0.025674 | 2.4341e-05 | 2.4341e-05 | -0.07699 | -5.6726e-05 | -5.6726e-05 | -94.7873 | -94.7873 | -94.7873 | 85.2429 | 85.2429 | 85.2429 | 1.6402 | 0.0042009 | 0.0042009 | 1.6398 | 0.0032672 | 0.0032672 | -4.5147 | -73.0627 | -73.0627 | -4.4843 | -73.054 | -73.054
Line_2 | 0.0013556 | 0.0013556 | 0.0013556 | 0.0040661 | 0.0040661 | 0.0040661 | 0.015654 | 0.015654 | 0.015654 | 0.046951 | 0.046951 | 0.046951 | -0.00012218 | 6.1089e-05 | 6.1089e-05 | 0.00036654 | -0.00014252 | -0.00014252 | 0.025674 | 2.4341e-05 | 2.4341e-05 | -0.07699 | -5.6726e-05 | -5.6726e-05 | -94.7873 | -94.7873 | -94.7873 | 85.2429 | 85.2429 | 85.2429 | 1.6402 | 0.0042009 | 0.0042009 | 1.6398 | 0.0032672 | 0.0032672 | -4.5147 | -73.0627 | -73.0627 | -4.4843 | -73.054 | -73.054
Line_3 | 0.0013556 | 0.0013556 | 0.0013556 | 0.0013556 | 0.0013556 | 0.0013556 | 0.015654 | 0.015654 | 0.015654 | 0.015654 | 0.015654 | 0.015654 | 0.00012218 | -6.1089e-05 | -6.1089e-05 | 0.00012218 | -6.1089e-05 | -6.1089e-05 | -0.025674 | -2.4341e-05 | -2.4341e-05 | -0.025674 | -2.4341e-05 | -2.4341e-05 | 85.2127 | 85.2127 | 85.2127 | 85.2127 | 85.2127 | 85.2127 | 1.6402 | 0.0042009 | 0.0042009 | 1.6402 | 0.0042009 | 0.0042009 | -4.5147 | -73.0627 | -73.0627 | -4.5147 | -73.0627 | -73.0627

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010839 | 0.010839 | 0.010839 | 0.0081321 | 0.0081321 | 0.0081321 | 0.12515 | 0.12515 | 0.12515 | 0.093902 | 0.093902 | 0.093902 | 0.0011607 | -2.2243e-14 | -4.8695e-14 | -0.00073308 | 0.00028505 | 0.00028505 | -0.20508 | -6.9601e-14 | 5.4188e-14 | 0.15398 | 0.00011345 | 0.00011345 | 85.2978 | 85.2978 | 85.2978 | -94.7571 | -94.7571 | -94.7571 | 1.6386 | 0 | 0 | 1.6398 | 0.0032672 | 0.0032672 | -4.3779 | 0 | 0 | -4.4843 | -73.054 | -73.054
Line_1 | 0.0013556 | 0.0013556 | 0.0013556 | 0.0040661 | 0.0040661 | 0.0040661 | 0.015654 | 0.015654 | 0.015654 | 0.046951 | 0.046951 | 0.046951 | -0.00012218 | 6.1089e-05 | 6.1089e-05 | 0.00036654 | -0.00014252 | -0.00014252 | 0.025674 | 2.4341e-05 | 2.4341e-05 | -0.07699 | -5.6726e-05 | -5.6726e-05 | -94.7873 | -94.7873 | -94.7873 | 85.2429 | 85.2429 | 85.2429 | 1.6402 | 0.0042009 | 0.0042009 | 1.6398 | 0.0032672 | 0.0032672 | -4.5147 | -73.0627 | -73.0627 | -4.4843 | -73.054 | -73.054
Line_2 | 0.0013556 | 0.0013556 | 0.0013556 | 0.0040661 | 0.0040661 | 0.0040661 | 0.015654 | 0.015654 | 0.015654 | 0.046951 | 0.046951 | 0.046951 | -0.00012218 | 6.1089e-05 | 6.1089e-05 | 0.00036654 | -0.00014252 | -0.00014252 | 0.025674 | 2.4341e-05 | 2.4341e-05 | -0.07699 | -5.6726e-05 | -5.6726e-05 | -94.7873 | -94.7873 | -94.7873 | 85.2429 | 85.2429 | 85.2429 | 1.6402 | 0.0042009 | 0.0042009 | 1.6398 | 0.0032672 | 0.0032672 | -4.5147 | -73.0627 | -73.0627 | -4.4843 | -73.054 | -73.054
Line_3 | 0.0013556 | 0.0013556 | 0.0013556 | 0.0013556 | 0.0013556 | 0.0013556 | 0.015654 | 0.015654 | 0.015654 | 0.015654 | 0.015654 | 0.015654 | 0.00012218 | -6.1089e-05 | -6.1089e-05 | 0.00012218 | -6.1089e-05 | -6.1089e-05 | -0.025674 | -2.4341e-05 | -2.4341e-05 | -0.025674 | -2.4341e-05 | -2.4341e-05 | 85.2127 | 85.2127 | 85.2127 | 85.2127 | 85.2127 | 85.2127 | 1.6402 | 0.0042009 | 0.0042009 | 1.6402 | 0.0042009 | 0.0042009 | -4.5147 | -73.0627 | -73.0627 | -4.5147 | -73.0627 | -73.0627

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.006771 | 0.006771 | 0.006771 | 0.0050802 | 0.0050802 | 0.0050802 | 0.078185 | 0.078185 | 0.078185 | 0.058661 | 0.058661 | 0.058661 | 0.027117 | -0.071289 | 0.044625 | -0.020311 | 0.0536 | -0.033352 | -0.10668 | 0.0019273 | 0.024722 | 0.080068 | -0.0013505 | -0.018537 | 68.8234 | 68.8234 | 68.8234 | -111.2314 | -111.2314 | -111.2314 | 1.4079 | 0.91213 | 0.65249 | 1.4082 | 0.914 | 0.65047 | -6.9152 | -112.7252 | 97.8101 | -6.9975 | -112.6748 | 97.833
Line_1 | 0.00084688 | 0.00084688 | 0.00084688 | 0.0025401 | 0.0025401 | 0.0025401 | 0.0097789 | 0.0097789 | 0.0097789 | 0.029331 | 0.029331 | 0.029331 | -0.0033876 | 0.0089405 | -0.005553 | 0.010155 | -0.0268 | 0.016676 | 0.013348 | -0.00021831 | -0.0030909 | -0.040034 | 0.00067527 | 0.0092683 | -111.2617 | -111.2617 | -111.2617 | 68.7686 | 68.7686 | 68.7686 | 1.4082 | 0.91454 | 0.64989 | 1.4082 | 0.914 | 0.65047 | -7.021 | -112.6605 | 97.8397 | -6.9975 | -112.6748 | 97.833
Line_2 | 0.00084688 | 0.00084688 | 0.00084688 | 0.0025401 | 0.0025401 | 0.0025401 | 0.0097789 | 0.0097789 | 0.0097789 | 0.029331 | 0.029331 | 0.029331 | -0.0033876 | 0.0089405 | -0.005553 | 0.010155 | -0.0268 | 0.016676 | 0.013348 | -0.00021831 | -0.0030909 | -0.040034 | 0.00067527 | 0.0092683 | -111.2617 | -111.2617 | -111.2617 | 68.7686 | 68.7686 | 68.7686 | 1.4082 | 0.91454 | 0.64989 | 1.4082 | 0.914 | 0.65047 | -7.021 | -112.6605 | 97.8397 | -6.9975 | -112.6748 | 97.833
Line_3 | 0.00084688 | 0.00084688 | 0.00084688 | 0.00084688 | 0.00084688 | 0.00084688 | 0.0097789 | 0.0097789 | 0.0097789 | 0.0097789 | 0.0097789 | 0.0097789 | 0.0033876 | -0.0089405 | 0.005553 | 0.0033876 | -0.0089405 | 0.005553 | -0.013348 | 0.00021831 | 0.0030909 | -0.013348 | 0.00021831 | 0.0030909 | 68.7383 | 68.7383 | 68.7383 | 68.7383 | 68.7383 | 68.7383 | 1.4082 | 0.91454 | 0.64989 | 1.4082 | 0.91454 | 0.64989 | -7.021 | -112.6605 | 97.8397 | -7.021 | -112.6605 | 97.8397

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.006771 | 0.006771 | 0.006771 | 0.0050802 | 0.0050802 | 0.0050802 | 0.078185 | 0.078185 | 0.078185 | 0.058661 | 0.058661 | 0.058661 | 0.027117 | -0.071289 | 0.044625 | -0.020311 | 0.0536 | -0.033352 | -0.10668 | 0.0019273 | 0.024722 | 0.080068 | -0.0013505 | -0.018537 | 68.8234 | 68.8234 | 68.8234 | -111.2314 | -111.2314 | -111.2314 | 1.4079 | 0.91213 | 0.65249 | 1.4082 | 0.914 | 0.65047 | -6.9152 | -112.7252 | 97.8101 | -6.9975 | -112.6748 | 97.833
Line_1 | 0.00084688 | 0.00084688 | 0.00084688 | 0.0025401 | 0.0025401 | 0.0025401 | 0.0097789 | 0.0097789 | 0.0097789 | 0.029331 | 0.029331 | 0.029331 | -0.0033876 | 0.0089405 | -0.005553 | 0.010155 | -0.0268 | 0.016676 | 0.013348 | -0.00021831 | -0.0030909 | -0.040034 | 0.00067527 | 0.0092683 | -111.2617 | -111.2617 | -111.2617 | 68.7686 | 68.7686 | 68.7686 | 1.4082 | 0.91454 | 0.64989 | 1.4082 | 0.914 | 0.65047 | -7.021 | -112.6605 | 97.8397 | -6.9975 | -112.6748 | 97.833
Line_2 | 0.00084688 | 0.00084688 | 0.00084688 | 0.0025401 | 0.0025401 | 0.0025401 | 0.0097789 | 0.0097789 | 0.0097789 | 0.029331 | 0.029331 | 0.029331 | -0.0033876 | 0.0089405 | -0.005553 | 0.010155 | -0.0268 | 0.016676 | 0.013348 | -0.00021831 | -0.0030909 | -0.040034 | 0.00067527 | 0.0092683 | -111.2617 | -111.2617 | -111.2617 | 68.7686 | 68.7686 | 68.7686 | 1.4082 | 0.91454 | 0.64989 | 1.4082 | 0.914 | 0.65047 | -7.021 | -112.6605 | 97.8397 | -6.9975 | -112.6748 | 97.833
Line_3 | 0.00084688 | 0.00084688 | 0.00084688 | 0.00084688 | 0.00084688 | 0.00084688 | 0.0097789 | 0.0097789 | 0.0097789 | 0.0097789 | 0.0097789 | 0.0097789 | 0.0033876 | -0.0089405 | 0.005553 | 0.0033876 | -0.0089405 | 0.005553 | -0.013348 | 0.00021831 | 0.0030909 | -0.013348 | 0.00021831 | 0.0030909 | 68.7383 | 68.7383 | 68.7383 | 68.7383 | 68.7383 | 68.7383 | 1.4082 | 0.91454 | 0.64989 | 1.4082 | 0.91454 | 0.64989 | -7.021 | -112.6605 | 97.8397 | -7.021 | -112.6605 | 97.8397

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0098468 | 0.0098468 | 0.0098468 | 0.0073879 | 0.0073879 | 0.0073879 | 0.1137 | 0.1137 | 0.1137 | 0.085308 | 0.085308 | 0.085308 | 0.0018392 | -1.0295e-13 | 9.2913e-14 | -0.0011617 | 0.0004517 | 0.0004517 | -0.16926 | 4.7221e-14 | 6.5273e-14 | 0.12709 | 9.3732e-05 | 9.3732e-05 | 84.797 | 84.797 | 84.797 | -95.3084 | -95.3084 | -95.3084 | 1.4887 | 0 | 0 | 1.4898 | 0.0054077 | 0.0054077 | -4.5805 | 0 | 0 | -4.7846 | -83.5854 | -83.5854
Line_1 | 0.0012316 | 0.0012316 | 0.0012316 | 0.0036939 | 0.0036939 | 0.0036939 | 0.014221 | 0.014221 | 0.014221 | 0.042654 | 0.042654 | 0.042654 | -0.00019361 | 9.6805e-05 | 9.6805e-05 | 0.00058083 | -0.00022585 | -0.00022585 | 0.02119 | 2.0161e-05 | 2.0161e-05 | -0.063543 | -4.6866e-05 | -4.6866e-05 | -95.3665 | -95.3664 | -95.3665 | 84.6916 | 84.6916 | 84.6916 | 1.4901 | 0.0069532 | 0.0069532 | 1.4898 | 0.0054077 | 0.0054077 | -4.8429 | -83.602 | -83.602 | -4.7846 | -83.5854 | -83.5854
Line_2 | 0.0012316 | 0.0012316 | 0.0012316 | 0.0036939 | 0.0036939 | 0.0036939 | 0.014221 | 0.014221 | 0.014221 | 0.042654 | 0.042654 | 0.042654 | -0.00019361 | 9.6805e-05 | 9.6805e-05 | 0.00058083 | -0.00022585 | -0.00022585 | 0.02119 | 2.0161e-05 | 2.0161e-05 | -0.063543 | -4.6866e-05 | -4.6866e-05 | -95.3665 | -95.3664 | -95.3665 | 84.6916 | 84.6916 | 84.6916 | 1.4901 | 0.0069532 | 0.0069532 | 1.4898 | 0.0054077 | 0.0054077 | -4.8429 | -83.602 | -83.602 | -4.7846 | -83.5854 | -83.5854
Line_3 | 0.0012316 | 0.0012316 | 0.0012316 | 0.0012316 | 0.0012316 | 0.0012316 | 0.014221 | 0.014221 | 0.014221 | 0.014221 | 0.014221 | 0.014221 | 0.00019361 | -9.6805e-05 | -9.6805e-05 | 0.00019361 | -9.6805e-05 | -9.6805e-05 | -0.02119 | -2.0161e-05 | -2.0161e-05 | -0.02119 | -2.0161e-05 | -2.0161e-05 | 84.6336 | 84.6336 | 84.6336 | 84.6336 | 84.6336 | 84.6336 | 1.4901 | 0.0069532 | 0.0069532 | 1.4901 | 0.0069532 | 0.0069532 | -4.8429 | -83.602 | -83.602 | -4.8429 | -83.602 | -83.602

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0098468 | 0.0098468 | 0.0098468 | 0.0073879 | 0.0073879 | 0.0073879 | 0.1137 | 0.1137 | 0.1137 | 0.085308 | 0.085308 | 0.085308 | 0.0018392 | -1.0295e-13 | 9.2913e-14 | -0.0011617 | 0.0004517 | 0.0004517 | -0.16926 | 4.7221e-14 | 6.5273e-14 | 0.12709 | 9.3732e-05 | 9.3732e-05 | 84.797 | 84.797 | 84.797 | -95.3084 | -95.3084 | -95.3084 | 1.4887 | 0 | 0 | 1.4898 | 0.0054077 | 0.0054077 | -4.5805 | 0 | 0 | -4.7846 | -83.5854 | -83.5854
Line_1 | 0.0012316 | 0.0012316 | 0.0012316 | 0.0036939 | 0.0036939 | 0.0036939 | 0.014221 | 0.014221 | 0.014221 | 0.042654 | 0.042654 | 0.042654 | -0.00019361 | 9.6805e-05 | 9.6805e-05 | 0.00058083 | -0.00022585 | -0.00022585 | 0.02119 | 2.0161e-05 | 2.0161e-05 | -0.063543 | -4.6866e-05 | -4.6866e-05 | -95.3665 | -95.3664 | -95.3665 | 84.6916 | 84.6916 | 84.6916 | 1.4901 | 0.0069532 | 0.0069532 | 1.4898 | 0.0054077 | 0.0054077 | -4.8429 | -83.602 | -83.602 | -4.7846 | -83.5854 | -83.5854
Line_2 | 0.0012316 | 0.0012316 | 0.0012316 | 0.0036939 | 0.0036939 | 0.0036939 | 0.014221 | 0.014221 | 0.014221 | 0.042654 | 0.042654 | 0.042654 | -0.00019361 | 9.6805e-05 | 9.6805e-05 | 0.00058083 | -0.00022585 | -0.00022585 | 0.02119 | 2.0161e-05 | 2.0161e-05 | -0.063543 | -4.6866e-05 | -4.6866e-05 | -95.3665 | -95.3664 | -95.3665 | 84.6916 | 84.6916 | 84.6916 | 1.4901 | 0.0069532 | 0.0069532 | 1.4898 | 0.0054077 | 0.0054077 | -4.8429 | -83.602 | -83.602 | -4.7846 | -83.5854 | -83.5854
Line_3 | 0.0012316 | 0.0012316 | 0.0012316 | 0.0012316 | 0.0012316 | 0.0012316 | 0.014221 | 0.014221 | 0.014221 | 0.014221 | 0.014221 | 0.014221 | 0.00019361 | -9.6805e-05 | -9.6805e-05 | 0.00019361 | -9.6805e-05 | -9.6805e-05 | -0.02119 | -2.0161e-05 | -2.0161e-05 | -0.02119 | -2.0161e-05 | -2.0161e-05 | 84.6336 | 84.6336 | 84.6336 | 84.6336 | 84.6336 | 84.6336 | 1.4901 | 0.0069532 | 0.0069532 | 1.4901 | 0.0069532 | 0.0069532 | -4.8429 | -83.602 | -83.602 | -4.8429 | -83.602 | -83.602

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.006148 | 0.006148 | 0.006148 | 0.0046127 | 0.0046127 | 0.0046127 | 0.07099 | 0.07099 | 0.07099 | 0.053263 | 0.053263 | 0.053263 | 0.022799 | -0.05838 | 0.036298 | -0.017051 | 0.04398 | -0.027029 | -0.08786 | 0.0015927 | 0.020284 | 0.065925 | -0.001078 | -0.015232 | 68.4276 | 68.4276 | 68.4276 | -111.6777 | -111.6777 | -111.6777 | 1.2786 | 0.82267 | 0.58572 | 1.2784 | 0.82595 | 0.58251 | -7.0254 | -113.1352 | 97.6252 | -7.1765 | -113.0818 | 97.7255
Line_1 | 0.00076895 | 0.00076895 | 0.00076895 | 0.0023064 | 0.0023064 | 0.0023064 | 0.008879 | 0.008879 | 0.008879 | 0.026632 | 0.026632 | 0.026632 | -0.0028451 | 0.00734 | -0.0044949 | 0.0085254 | -0.02199 | 0.013515 | 0.010989 | -0.00017052 | -0.0025421 | -0.032962 | 0.00053898 | 0.0076162 | -111.7358 | -111.7358 | -111.7358 | 68.3223 | 68.3223 | 68.3223 | 1.2784 | 0.82689 | 0.58159 | 1.2784 | 0.82595 | 0.58251 | -7.2197 | -113.0667 | 97.7545 | -7.1765 | -113.0818 | 97.7255
Line_2 | 0.00076895 | 0.00076895 | 0.00076895 | 0.0023064 | 0.0023064 | 0.0023064 | 0.008879 | 0.008879 | 0.008879 | 0.026632 | 0.026632 | 0.026632 | -0.0028451 | 0.00734 | -0.0044949 | 0.0085254 | -0.02199 | 0.013515 | 0.010989 | -0.00017052 | -0.0025421 | -0.032962 | 0.00053898 | 0.0076162 | -111.7358 | -111.7358 | -111.7358 | 68.3223 | 68.3223 | 68.3223 | 1.2784 | 0.82689 | 0.58159 | 1.2784 | 0.82595 | 0.58251 | -7.2197 | -113.0667 | 97.7545 | -7.1765 | -113.0818 | 97.7255
Line_3 | 0.00076895 | 0.00076895 | 0.00076895 | 0.00076895 | 0.00076895 | 0.00076895 | 0.008879 | 0.008879 | 0.008879 | 0.008879 | 0.008879 | 0.008879 | 0.0028451 | -0.00734 | 0.0044949 | 0.0028451 | -0.00734 | 0.0044949 | -0.010989 | 0.00017052 | 0.0025421 | -0.010989 | 0.00017052 | 0.0025421 | 68.2642 | 68.2642 | 68.2642 | 68.2642 | 68.2642 | 68.2642 | 1.2784 | 0.82689 | 0.58159 | 1.2784 | 0.82689 | 0.58159 | -7.2197 | -113.0667 | 97.7545 | -7.2197 | -113.0667 | 97.7545

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.006148 | 0.006148 | 0.006148 | 0.0046127 | 0.0046127 | 0.0046127 | 0.07099 | 0.07099 | 0.07099 | 0.053263 | 0.053263 | 0.053263 | 0.022799 | -0.05838 | 0.036298 | -0.017051 | 0.04398 | -0.027029 | -0.08786 | 0.0015927 | 0.020284 | 0.065925 | -0.001078 | -0.015232 | 68.4276 | 68.4276 | 68.4276 | -111.6777 | -111.6777 | -111.6777 | 1.2786 | 0.82267 | 0.58572 | 1.2784 | 0.82595 | 0.58251 | -7.0254 | -113.1352 | 97.6252 | -7.1765 | -113.0818 | 97.7255
Line_1 | 0.00076895 | 0.00076895 | 0.00076895 | 0.0023064 | 0.0023064 | 0.0023064 | 0.008879 | 0.008879 | 0.008879 | 0.026632 | 0.026632 | 0.026632 | -0.0028451 | 0.00734 | -0.0044949 | 0.0085254 | -0.02199 | 0.013515 | 0.010989 | -0.00017052 | -0.0025421 | -0.032962 | 0.00053898 | 0.0076162 | -111.7358 | -111.7358 | -111.7358 | 68.3223 | 68.3223 | 68.3223 | 1.2784 | 0.82689 | 0.58159 | 1.2784 | 0.82595 | 0.58251 | -7.2197 | -113.0667 | 97.7545 | -7.1765 | -113.0818 | 97.7255
Line_2 | 0.00076895 | 0.00076895 | 0.00076895 | 0.0023064 | 0.0023064 | 0.0023064 | 0.008879 | 0.008879 | 0.008879 | 0.026632 | 0.026632 | 0.026632 | -0.0028451 | 0.00734 | -0.0044949 | 0.0085254 | -0.02199 | 0.013515 | 0.010989 | -0.00017052 | -0.0025421 | -0.032962 | 0.00053898 | 0.0076162 | -111.7358 | -111.7358 | -111.7358 | 68.3223 | 68.3223 | 68.3223 | 1.2784 | 0.82689 | 0.58159 | 1.2784 | 0.82595 | 0.58251 | -7.2197 | -113.0667 | 97.7545 | -7.1765 | -113.0818 | 97.7255
Line_3 | 0.00076895 | 0.00076895 | 0.00076895 | 0.00076895 | 0.00076895 | 0.00076895 | 0.008879 | 0.008879 | 0.008879 | 0.008879 | 0.008879 | 0.008879 | 0.0028451 | -0.00734 | 0.0044949 | 0.0028451 | -0.00734 | 0.0044949 | -0.010989 | 0.00017052 | 0.0025421 | -0.010989 | 0.00017052 | 0.0025421 | 68.2642 | 68.2642 | 68.2642 | 68.2642 | 68.2642 | 68.2642 | 1.2784 | 0.82689 | 0.58159 | 1.2784 | 0.82689 | 0.58159 | -7.2197 | -113.0667 | 97.7545 | -7.2197 | -113.0667 | 97.7545