## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -2.0843e-14 | 30.1766 | -15.8685 | 1.5632e-14 | -23.0225 | 23.0225 | -5.2106e-15 | 3.131 | 13.1032 | 5.2106e-15 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 8.8662e-13 | -161.8563 | 152.6723 | 9.3471e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -1.0421e-14 | 2.0843e-14 | 5.2106e-15 | 1.3027e-14 | -2.0843e-14 | 5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.3456e-13 | -180 | 180 | 9.3471e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | -3.1264e-14 | 2.0843e-14 | -1.5632e-14 | 3.3869e-14 | -2.0843e-14 | 1.0421e-14 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.4086e-13 | -180 | 180 | 9.3471e-13 | 180 | -180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0843e-14 | 1.8237e-14 | -5.2106e-15 | 1.0421e-14 | -1.5632e-14 | 5.2106e-15 | -3.3997e-28 | 5.2106e-15 | 5.2106e-15 | 5.2106e-15 | 2.6053e-15 | -1.0421e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.3456e-13 | -180 | 180 | 9.4086e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -2.0843e-14 | 30.1766 | -15.8685 | 1.5632e-14 | -23.0225 | 23.0225 | -5.2106e-15 | 3.131 | 13.1032 | 5.2106e-15 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 8.8662e-13 | -161.8563 | 152.6723 | 9.3471e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -1.0421e-14 | 2.0843e-14 | 5.2106e-15 | 1.3027e-14 | -2.0843e-14 | 5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.3456e-13 | -180 | 180 | 9.3471e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | -3.1264e-14 | 2.0843e-14 | -1.5632e-14 | 3.3869e-14 | -2.0843e-14 | 1.0421e-14 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.4086e-13 | -180 | 180 | 9.3471e-13 | 180 | -180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0843e-14 | 1.8237e-14 | -5.2106e-15 | 1.0421e-14 | -1.5632e-14 | 5.2106e-15 | -3.3997e-28 | 5.2106e-15 | 5.2106e-15 | 5.2106e-15 | 2.6053e-15 | -1.0421e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.3456e-13 | -180 | 180 | 9.4086e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -7.816e-15 | 19.0761 | -0.30087 | 5.2106e-15 | -17.4596 | 1.9173 | 5.2106e-15 | 3.9919 | 15.2185 | -7.816e-15 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 3.6413e-13 | -138.0936 | 121.2196 | 3.9726e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 4.7339e-10 | 1.0338e-09 | 2.6053e-15 | -4.7338e-10 | -1.0338e-09 | 2.6053e-15 | -1.3544e-09 | 3.8387e-10 | -2.6053e-15 | 1.3544e-09 | -3.8387e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.9771e-13 | -142.8673 | 128.239 | 3.9726e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | 4.7339e-10 | 1.0338e-09 | 0 | -4.7338e-10 | -1.0338e-09 | 2.6053e-15 | -1.3544e-09 | 3.8387e-10 | 0 | 1.3544e-09 | -3.8387e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 4.0183e-13 | -142.8673 | 128.239 | 3.9726e-13 | -142.8673 | 128.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 1.2308e-14 | -3.8945e-15 | -2.6053e-15 | -8.2524e-15 | -7.9369e-15 | 2.6053e-15 | -6.0837e-15 | 4.9421e-15 | -1.8272e-29 | 1.4289e-14 | -1.026e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.9771e-13 | -142.8673 | 128.239 | 4.0183e-13 | -142.8673 | 128.239

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -7.816e-15 | 19.0761 | -0.30087 | 5.2106e-15 | -17.4596 | 1.9173 | 5.2106e-15 | 3.9919 | 15.2185 | -7.816e-15 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 3.6413e-13 | -138.0936 | 121.2196 | 3.9726e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 4.7339e-10 | 1.0338e-09 | 2.6053e-15 | -4.7338e-10 | -1.0338e-09 | 2.6053e-15 | -1.3544e-09 | 3.8387e-10 | -2.6053e-15 | 1.3544e-09 | -3.8387e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.9771e-13 | -142.8673 | 128.239 | 3.9726e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | 4.7339e-10 | 1.0338e-09 | 0 | -4.7338e-10 | -1.0338e-09 | 2.6053e-15 | -1.3544e-09 | 3.8387e-10 | 0 | 1.3544e-09 | -3.8387e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 4.0183e-13 | -142.8673 | 128.239 | 3.9726e-13 | -142.8673 | 128.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 1.2308e-14 | -3.8945e-15 | -2.6053e-15 | -8.2524e-15 | -7.9369e-15 | 2.6053e-15 | -6.0837e-15 | 4.9421e-15 | -1.8272e-29 | 1.4289e-14 | -1.026e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.9771e-13 | -142.8673 | 128.239 | 4.0183e-13 | -142.8673 | 128.239

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | 2.3685e-15 | 26.5997 | -7.1734 | -2.3685e-15 | -16.8865 | 16.8865 | -3.3159e-14 | -0.51586 | 11.9957 | 3.7896e-14 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 5.9171e-13 | -160.7833 | 141.207 | 4.9152e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | -4.7369e-15 | 2.3686e-15 | 1.1842e-14 | 4.7369e-15 | -1.4433e-20 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.3365e-13 | -180 | 180 | 4.9152e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | -9.4738e-15 | 7.1055e-15 | 9.4739e-15 | 9.4739e-15 | -4.737e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 8.1273e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.4732e-13 | -180 | 180 | 4.9152e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1704e-29 | 3.5527e-15 | -7.1054e-15 | 2.3685e-15 | -4.737e-15 | 9.4739e-15 | 9.4739e-15 | -4.737e-15 | 1.8948e-14 | -1.4211e-14 | 1.1842e-14 | -5.3663e-25 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.3365e-13 | -180 | 180 | 4.4732e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | 2.3685e-15 | 26.5997 | -7.1734 | -2.3685e-15 | -16.8865 | 16.8865 | -3.3159e-14 | -0.51586 | 11.9957 | 3.7896e-14 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 5.9171e-13 | -160.7833 | 141.207 | 4.9152e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | -4.7369e-15 | 2.3686e-15 | 1.1842e-14 | 4.7369e-15 | -1.4433e-20 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.3365e-13 | -180 | 180 | 4.9152e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | -9.4738e-15 | 7.1055e-15 | 9.4739e-15 | 9.4739e-15 | -4.737e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 8.1273e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.4732e-13 | -180 | 180 | 4.9152e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1704e-29 | 3.5527e-15 | -7.1054e-15 | 2.3685e-15 | -4.737e-15 | 9.4739e-15 | 9.4739e-15 | -4.737e-15 | 1.8948e-14 | -1.4211e-14 | 1.1842e-14 | -5.3663e-25 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.3365e-13 | -180 | 180 | 4.4732e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | 2.9606e-15 | 15.3932 | 0.73601 | -3.5527e-15 | -13.0917 | 1.5655 | -1.8948e-14 | 2.3135 | 11.9328 | 2.1316e-14 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 2.8547e-13 | -138.1765 | 119.7467 | 2.4251e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 4.798e-10 | 8.2615e-10 | 1.1842e-15 | -4.798e-10 | -8.2615e-10 | 2.3685e-15 | -1.0532e-09 | 4.5325e-10 | 5.0125e-30 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.1886e-13 | -142.5584 | 131.6989 | 2.4251e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 4.798e-10 | 8.2615e-10 | 7.1054e-15 | -4.798e-10 | -8.2615e-10 | 4.737e-15 | -1.0532e-09 | 4.5325e-10 | -2.3685e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.2306e-13 | -142.5584 | 131.6989 | 2.4251e-13 | -142.5584 | 131.6989
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | 3.19e-15 | 3.5969e-15 | -5.9212e-15 | -7.0398e-16 | -3.8321e-15 | -4.737e-15 | 2.0917e-16 | 3.0388e-16 | 4.737e-15 | -5.3905e-16 | -4.3811e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.1886e-13 | -142.5584 | 131.6989 | 2.2306e-13 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | 2.9606e-15 | 15.3932 | 0.73601 | -3.5527e-15 | -13.0917 | 1.5655 | -1.8948e-14 | 2.3135 | 11.9328 | 2.1316e-14 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 2.8547e-13 | -138.1765 | 119.7467 | 2.4251e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 4.798e-10 | 8.2615e-10 | 1.1842e-15 | -4.798e-10 | -8.2615e-10 | 2.3685e-15 | -1.0532e-09 | 4.5325e-10 | 5.0125e-30 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.1886e-13 | -142.5584 | 131.6989 | 2.4251e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 4.798e-10 | 8.2615e-10 | 7.1054e-15 | -4.798e-10 | -8.2615e-10 | 4.737e-15 | -1.0532e-09 | 4.5325e-10 | -2.3685e-15 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.2306e-13 | -142.5584 | 131.6989 | 2.4251e-13 | -142.5584 | 131.6989
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | 3.19e-15 | 3.5969e-15 | -5.9212e-15 | -7.0398e-16 | -3.8321e-15 | -4.737e-15 | 2.0917e-16 | 3.0388e-16 | 4.737e-15 | -5.3905e-16 | -4.3811e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.1886e-13 | -142.5584 | 131.6989 | 2.2306e-13 | -142.5584 | 131.6989

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6187 | 0.016094 | 0.016094 | 1.6149 | 0.012264 | 0.012264 | 18.6912 | 0.18584 | 0.18584 | 18.6472 | 0.14161 | 0.14161 | 4.1817 | 0.19779 | -0.15619 | 7.1988e-11 | -0.13509 | 0.13472 | 2.3146 | -0.22082 | -0.21316 | -4.0932e-11 | 0.175 | 0.17573 | -77.6079 | -88.7603 | -88.7603 | 102.408 | 89.8453 | 89.8453 | 0.25571 | 1.5952 | 1.422 | 0 | 1.5611 | 1.5636 | -48.6436 | -136.9093 | 145.0081 | 0 | -142.4885 | 142.3702
Line_1 | 0.0020445 | 0.0020445 | 0.0020445 | 0.0061321 | 0.0061321 | 0.0061321 | 0.023607 | 0.023607 | 0.023607 | 0.070807 | 0.070807 | 0.070807 | 3.0889e-05 | -0.022504 | 0.022474 | -3.0062e-13 | 0.067546 | -0.06736 | 1.2289e-05 | 0.029173 | 0.029319 | 9.225e-14 | -0.087501 | -0.087865 | 89.815 | 89.815 | 89.815 | -90.1547 | -90.1547 | -90.1547 | 0.0014082 | 1.5607 | 1.5648 | 0 | 1.5611 | 1.5636 | 111.5094 | -142.5382 | 142.3438 | 0 | -142.4885 | 142.3702
Line_2 | 0.0020445 | 0.0020445 | 0.0020445 | 0.0061321 | 0.0061321 | 0.0061321 | 0.023607 | 0.023607 | 0.023607 | 0.070807 | 0.070807 | 0.070807 | 3.0889e-05 | -0.022504 | 0.022474 | -3.0062e-13 | 0.067546 | -0.06736 | 1.2289e-05 | 0.029173 | 0.029319 | 9.225e-14 | -0.087501 | -0.087865 | 89.815 | 89.815 | 89.815 | -90.1547 | -90.1547 | -90.1547 | 0.0014082 | 1.5607 | 1.5648 | 0 | 1.5611 | 1.5636 | 111.5094 | -142.5382 | 142.3438 | 0 | -142.4885 | 142.3702
Line_3 | 0.0020445 | 0.0020445 | 0.0020445 | 0.0020445 | 0.0020445 | 0.0020445 | 0.023607 | 0.023607 | 0.023607 | 0.023607 | 0.023607 | 0.023607 | -3.0889e-05 | 0.022504 | -0.022474 | -3.0889e-05 | 0.022504 | -0.022474 | -1.2289e-05 | -0.029173 | -0.029319 | -1.2289e-05 | -0.029173 | -0.029319 | -90.185 | -90.185 | -90.185 | -90.185 | -90.185 | -90.185 | 0.0014082 | 1.5607 | 1.5648 | 0.0014082 | 1.5607 | 1.5648 | 111.5094 | -142.5382 | 142.3438 | 111.5094 | -142.5382 | 142.3438

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6187 | 0.016094 | 0.016094 | 1.6149 | 0.012264 | 0.012264 | 18.6912 | 0.18584 | 0.18584 | 18.6472 | 0.14161 | 0.14161 | 4.1817 | 0.19779 | -0.15619 | 7.1988e-11 | -0.13509 | 0.13472 | 2.3146 | -0.22082 | -0.21316 | -4.0932e-11 | 0.175 | 0.17573 | -77.6079 | -88.7603 | -88.7603 | 102.408 | 89.8453 | 89.8453 | 0.25571 | 1.5952 | 1.422 | 0 | 1.5611 | 1.5636 | -48.6436 | -136.9093 | 145.0081 | 0 | -142.4885 | 142.3702
Line_1 | 0.0020445 | 0.0020445 | 0.0020445 | 0.0061321 | 0.0061321 | 0.0061321 | 0.023607 | 0.023607 | 0.023607 | 0.070807 | 0.070807 | 0.070807 | 3.0889e-05 | -0.022504 | 0.022474 | -3.0062e-13 | 0.067546 | -0.06736 | 1.2289e-05 | 0.029173 | 0.029319 | 9.225e-14 | -0.087501 | -0.087865 | 89.815 | 89.815 | 89.815 | -90.1547 | -90.1547 | -90.1547 | 0.0014082 | 1.5607 | 1.5648 | 0 | 1.5611 | 1.5636 | 111.5094 | -142.5382 | 142.3438 | 0 | -142.4885 | 142.3702
Line_2 | 0.0020445 | 0.0020445 | 0.0020445 | 0.0061321 | 0.0061321 | 0.0061321 | 0.023607 | 0.023607 | 0.023607 | 0.070807 | 0.070807 | 0.070807 | 3.0889e-05 | -0.022504 | 0.022474 | -3.0062e-13 | 0.067546 | -0.06736 | 1.2289e-05 | 0.029173 | 0.029319 | 9.225e-14 | -0.087501 | -0.087865 | 89.815 | 89.815 | 89.815 | -90.1547 | -90.1547 | -90.1547 | 0.0014082 | 1.5607 | 1.5648 | 0 | 1.5611 | 1.5636 | 111.5094 | -142.5382 | 142.3438 | 0 | -142.4885 | 142.3702
Line_3 | 0.0020445 | 0.0020445 | 0.0020445 | 0.0020445 | 0.0020445 | 0.0020445 | 0.023607 | 0.023607 | 0.023607 | 0.023607 | 0.023607 | 0.023607 | -3.0889e-05 | 0.022504 | -0.022474 | -3.0889e-05 | 0.022504 | -0.022474 | -1.2289e-05 | -0.029173 | -0.029319 | -1.2289e-05 | -0.029173 | -0.029319 | -90.185 | -90.185 | -90.185 | -90.185 | -90.185 | -90.185 | 0.0014082 | 1.5607 | 1.5648 | 0.0014082 | 1.5607 | 1.5648 | 111.5094 | -142.5382 | 142.3438 | 111.5094 | -142.5382 | 142.3438

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.89086 | 0.0088573 | 0.0088573 | 0.88876 | 0.0067496 | 0.0067496 | 10.2868 | 0.10228 | 0.10228 | 10.2625 | 0.077938 | 0.077938 | 5.1884 | 0.084357 | -0.10244 | -3.9137 | -0.060462 | 0.082874 | 4.6381 | -0.11643 | -0.060964 | -3.9267 | 0.090298 | 0.051506 | -62.3094 | -73.4618 | -73.4618 | 117.7065 | 105.1438 | 105.1438 | 0.67653 | 1.4058 | 1.1656 | 0.54022 | 1.3943 | 1.252 | -20.5146 | -127.5376 | 137.2952 | -17.1981 | -131.0508 | 137.0047
Line_1 | 0.0011252 | 0.0011252 | 0.0011252 | 0.0033748 | 0.0033748 | 0.0033748 | 0.012992 | 0.012992 | 0.012992 | 0.038969 | 0.038969 | 0.038969 | -0.0037423 | -0.010078 | 0.01382 | 0.011262 | 0.030231 | -0.041437 | -0.0059282 | 0.015051 | 0.0085971 | 0.017786 | -0.045149 | -0.025753 | 105.1135 | 105.1135 | 105.1135 | -74.8562 | -74.8562 | -74.8562 | 0.53959 | 1.3942 | 1.2527 | 0.54022 | 1.3943 | 1.252 | -17.1498 | -131.082 | 136.9984 | -17.1981 | -131.0508 | 137.0047
Line_2 | 0.0011252 | 0.0011252 | 0.0011252 | 0.0033748 | 0.0033748 | 0.0033748 | 0.012992 | 0.012992 | 0.012992 | 0.038969 | 0.038969 | 0.038969 | -0.0037423 | -0.010078 | 0.01382 | 0.011262 | 0.030231 | -0.041437 | -0.0059282 | 0.015051 | 0.0085971 | 0.017786 | -0.045149 | -0.025753 | 105.1135 | 105.1135 | 105.1135 | -74.8562 | -74.8562 | -74.8562 | 0.53959 | 1.3942 | 1.2527 | 0.54022 | 1.3943 | 1.252 | -17.1498 | -131.082 | 136.9984 | -17.1981 | -131.0508 | 137.0047
Line_3 | 0.0011252 | 0.0011252 | 0.0011252 | 0.0011252 | 0.0011252 | 0.0011252 | 0.012992 | 0.012992 | 0.012992 | 0.012992 | 0.012992 | 0.012992 | 0.0037423 | 0.010078 | -0.01382 | 0.0037423 | 0.010078 | -0.01382 | 0.0059282 | -0.015051 | -0.0085971 | 0.0059282 | -0.015051 | -0.0085971 | -74.8865 | -74.8865 | -74.8865 | -74.8865 | -74.8865 | -74.8865 | 0.53959 | 1.3942 | 1.2527 | 0.53959 | 1.3942 | 1.2527 | -17.1498 | -131.082 | 136.9984 | -17.1498 | -131.082 | 136.9984

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.89086 | 0.0088573 | 0.0088573 | 0.88876 | 0.0067496 | 0.0067496 | 10.2868 | 0.10228 | 0.10228 | 10.2625 | 0.077938 | 0.077938 | 5.1884 | 0.084357 | -0.10244 | -3.9137 | -0.060462 | 0.082874 | 4.6381 | -0.11643 | -0.060964 | -3.9267 | 0.090298 | 0.051506 | -62.3094 | -73.4618 | -73.4618 | 117.7065 | 105.1438 | 105.1438 | 0.67653 | 1.4058 | 1.1656 | 0.54022 | 1.3943 | 1.252 | -20.5146 | -127.5376 | 137.2952 | -17.1981 | -131.0508 | 137.0047
Line_1 | 0.0011252 | 0.0011252 | 0.0011252 | 0.0033748 | 0.0033748 | 0.0033748 | 0.012992 | 0.012992 | 0.012992 | 0.038969 | 0.038969 | 0.038969 | -0.0037423 | -0.010078 | 0.01382 | 0.011262 | 0.030231 | -0.041437 | -0.0059282 | 0.015051 | 0.0085971 | 0.017786 | -0.045149 | -0.025753 | 105.1135 | 105.1135 | 105.1135 | -74.8562 | -74.8562 | -74.8562 | 0.53959 | 1.3942 | 1.2527 | 0.54022 | 1.3943 | 1.252 | -17.1498 | -131.082 | 136.9984 | -17.1981 | -131.0508 | 137.0047
Line_2 | 0.0011252 | 0.0011252 | 0.0011252 | 0.0033748 | 0.0033748 | 0.0033748 | 0.012992 | 0.012992 | 0.012992 | 0.038969 | 0.038969 | 0.038969 | -0.0037423 | -0.010078 | 0.01382 | 0.011262 | 0.030231 | -0.041437 | -0.0059282 | 0.015051 | 0.0085971 | 0.017786 | -0.045149 | -0.025753 | 105.1135 | 105.1135 | 105.1135 | -74.8562 | -74.8562 | -74.8562 | 0.53959 | 1.3942 | 1.2527 | 0.54022 | 1.3943 | 1.252 | -17.1498 | -131.082 | 136.9984 | -17.1981 | -131.0508 | 137.0047
Line_3 | 0.0011252 | 0.0011252 | 0.0011252 | 0.0011252 | 0.0011252 | 0.0011252 | 0.012992 | 0.012992 | 0.012992 | 0.012992 | 0.012992 | 0.012992 | 0.0037423 | 0.010078 | -0.01382 | 0.0037423 | 0.010078 | -0.01382 | 0.0059282 | -0.015051 | -0.0085971 | 0.0059282 | -0.015051 | -0.0085971 | -74.8865 | -74.8865 | -74.8865 | -74.8865 | -74.8865 | -74.8865 | 0.53959 | 1.3942 | 1.2527 | 0.53959 | 1.3942 | 1.2527 | -17.1498 | -131.082 | 136.9984 | -17.1498 | -131.082 | 136.9984

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.3822 | 0.014394 | 0.014394 | 1.3789 | 0.011096 | 0.011096 | 15.9599 | 0.16621 | 0.16621 | 15.9223 | 0.12812 | 0.12812 | 5.8537 | 0.17306 | -0.11472 | -3.1708e-11 | -0.11124 | 0.11065 | 1.6667 | -0.17001 | -0.16221 | -1.0793e-11 | 0.14187 | 0.14521 | -67.6825 | -88.4473 | -88.4473 | 112.3481 | 89.1365 | 89.1365 | 0.38135 | 1.4596 | 1.1954 | 0 | 1.4071 | 1.425 | -51.7894 | -132.939 | 146.2847 | 0 | -142.7644 | 141.8289
Line_1 | 0.0018497 | 0.0018497 | 0.0018497 | 0.0055479 | 0.0055479 | 0.0055479 | 0.021358 | 0.021358 | 0.021358 | 0.064061 | 0.064061 | 0.064061 | 4.8544e-05 | -0.018519 | 0.01847 | 1.0013e-13 | 0.055618 | -0.055327 | 1.0059e-05 | 0.023641 | 0.024236 | 9.0187e-14 | -0.070934 | -0.072607 | 89.0784 | 89.0784 | 89.0784 | -90.8635 | -90.8635 | -90.8635 | 0.0023211 | 1.406 | 1.4267 | 0 | 1.4071 | 1.425 | 100.7847 | -142.8491 | 141.7676 | 0 | -142.7644 | 141.8289
Line_2 | 0.0018497 | 0.0018497 | 0.0018497 | 0.0055479 | 0.0055479 | 0.0055479 | 0.021358 | 0.021358 | 0.021358 | 0.064061 | 0.064061 | 0.064061 | 4.8544e-05 | -0.018519 | 0.01847 | 1.0013e-13 | 0.055618 | -0.055327 | 1.0059e-05 | 0.023641 | 0.024236 | 9.0187e-14 | -0.070934 | -0.072607 | 89.0784 | 89.0784 | 89.0784 | -90.8635 | -90.8635 | -90.8635 | 0.0023211 | 1.406 | 1.4267 | 0 | 1.4071 | 1.425 | 100.7847 | -142.8491 | 141.7676 | 0 | -142.7644 | 141.8289
Line_3 | 0.0018497 | 0.0018497 | 0.0018497 | 0.0018497 | 0.0018497 | 0.0018497 | 0.021358 | 0.021358 | 0.021358 | 0.021358 | 0.021358 | 0.021358 | -4.8544e-05 | 0.018519 | -0.01847 | -4.8544e-05 | 0.018519 | -0.01847 | -1.0059e-05 | -0.023641 | -0.024236 | -1.0059e-05 | -0.023641 | -0.024236 | -90.9216 | -90.9216 | -90.9216 | -90.9216 | -90.9216 | -90.9216 | 0.0023211 | 1.406 | 1.4267 | 0.0023211 | 1.406 | 1.4267 | 100.7847 | -142.8491 | 141.7676 | 100.7847 | -142.8491 | 141.7676

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.3822 | 0.014394 | 0.014394 | 1.3789 | 0.011096 | 0.011096 | 15.9599 | 0.16621 | 0.16621 | 15.9223 | 0.12812 | 0.12812 | 5.8537 | 0.17306 | -0.11472 | -3.1708e-11 | -0.11124 | 0.11065 | 1.6667 | -0.17001 | -0.16221 | -1.0793e-11 | 0.14187 | 0.14521 | -67.6825 | -88.4473 | -88.4473 | 112.3481 | 89.1365 | 89.1365 | 0.38135 | 1.4596 | 1.1954 | 0 | 1.4071 | 1.425 | -51.7894 | -132.939 | 146.2847 | 0 | -142.7644 | 141.8289
Line_1 | 0.0018497 | 0.0018497 | 0.0018497 | 0.0055479 | 0.0055479 | 0.0055479 | 0.021358 | 0.021358 | 0.021358 | 0.064061 | 0.064061 | 0.064061 | 4.8544e-05 | -0.018519 | 0.01847 | 1.0013e-13 | 0.055618 | -0.055327 | 1.0059e-05 | 0.023641 | 0.024236 | 9.0187e-14 | -0.070934 | -0.072607 | 89.0784 | 89.0784 | 89.0784 | -90.8635 | -90.8635 | -90.8635 | 0.0023211 | 1.406 | 1.4267 | 0 | 1.4071 | 1.425 | 100.7847 | -142.8491 | 141.7676 | 0 | -142.7644 | 141.8289
Line_2 | 0.0018497 | 0.0018497 | 0.0018497 | 0.0055479 | 0.0055479 | 0.0055479 | 0.021358 | 0.021358 | 0.021358 | 0.064061 | 0.064061 | 0.064061 | 4.8544e-05 | -0.018519 | 0.01847 | 1.0013e-13 | 0.055618 | -0.055327 | 1.0059e-05 | 0.023641 | 0.024236 | 9.0187e-14 | -0.070934 | -0.072607 | 89.0784 | 89.0784 | 89.0784 | -90.8635 | -90.8635 | -90.8635 | 0.0023211 | 1.406 | 1.4267 | 0 | 1.4071 | 1.425 | 100.7847 | -142.8491 | 141.7676 | 0 | -142.7644 | 141.8289
Line_3 | 0.0018497 | 0.0018497 | 0.0018497 | 0.0018497 | 0.0018497 | 0.0018497 | 0.021358 | 0.021358 | 0.021358 | 0.021358 | 0.021358 | 0.021358 | -4.8544e-05 | 0.018519 | -0.01847 | -4.8544e-05 | 0.018519 | -0.01847 | -1.0059e-05 | -0.023641 | -0.024236 | -1.0059e-05 | -0.023641 | -0.024236 | -90.9216 | -90.9216 | -90.9216 | -90.9216 | -90.9216 | -90.9216 | 0.0023211 | 1.406 | 1.4267 | 0.0023211 | 1.406 | 1.4267 | 100.7847 | -142.8491 | 141.7676 | 100.7847 | -142.8491 | 141.7676

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.7665 | 0.0079824 | 0.0079824 | 0.76469 | 0.0061533 | 0.0061533 | 8.8508 | 0.092173 | 0.092173 | 8.8299 | 0.071052 | 0.071052 | 4.6984 | 0.078392 | -0.077891 | -2.8929 | -0.054721 | 0.066703 | 3.4324 | -0.086957 | -0.05435 | -2.9114 | 0.069515 | 0.04948 | -57.4499 | -78.2148 | -78.2148 | 122.5807 | 99.369 | 99.369 | 0.65742 | 1.2702 | 1.0304 | 0.46482 | 1.2451 | 1.1689 | -21.2998 | -126.1799 | 136.6913 | -12.2363 | -132.4215 | 135.9373
Line_1 | 0.0010258 | 0.0010258 | 0.0010258 | 0.0030766 | 0.0030766 | 0.0030766 | 0.011844 | 0.011844 | 0.011844 | 0.035526 | 0.035526 | 0.035526 | -0.0020071 | -0.0091189 | 0.011126 | 0.0060803 | 0.027361 | -0.033351 | -0.0051177 | 0.011582 | 0.0082628 | 0.015353 | -0.034757 | -0.02474 | 99.3109 | 99.3109 | 99.3109 | -80.631 | -80.631 | -80.631 | 0.46411 | 1.2446 | 1.1701 | 0.46482 | 1.2451 | 1.1689 | -12.1034 | -132.4745 | 135.9107 | -12.2363 | -132.4215 | 135.9373
Line_2 | 0.0010258 | 0.0010258 | 0.0010258 | 0.0030766 | 0.0030766 | 0.0030766 | 0.011844 | 0.011844 | 0.011844 | 0.035526 | 0.035526 | 0.035526 | -0.0020071 | -0.0091189 | 0.011126 | 0.0060803 | 0.027361 | -0.033351 | -0.0051177 | 0.011582 | 0.0082628 | 0.015353 | -0.034757 | -0.02474 | 99.3109 | 99.3109 | 99.3109 | -80.631 | -80.631 | -80.631 | 0.46411 | 1.2446 | 1.1701 | 0.46482 | 1.2451 | 1.1689 | -12.1034 | -132.4745 | 135.9107 | -12.2363 | -132.4215 | 135.9373
Line_3 | 0.0010258 | 0.0010258 | 0.0010258 | 0.0010258 | 0.0010258 | 0.0010258 | 0.011844 | 0.011844 | 0.011844 | 0.011844 | 0.011844 | 0.011844 | 0.0020071 | 0.0091189 | -0.011126 | 0.0020071 | 0.0091189 | -0.011126 | 0.0051177 | -0.011582 | -0.0082628 | 0.0051177 | -0.011582 | -0.0082628 | -80.6891 | -80.6891 | -80.6891 | -80.6891 | -80.6891 | -80.6891 | 0.46411 | 1.2446 | 1.1701 | 0.46411 | 1.2446 | 1.1701 | -12.1034 | -132.4745 | 135.9107 | -12.1034 | -132.4745 | 135.9107

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.7665 | 0.0079824 | 0.0079824 | 0.76469 | 0.0061533 | 0.0061533 | 8.8508 | 0.092173 | 0.092173 | 8.8299 | 0.071052 | 0.071052 | 4.6984 | 0.078392 | -0.077891 | -2.8929 | -0.054721 | 0.066703 | 3.4324 | -0.086957 | -0.05435 | -2.9114 | 0.069515 | 0.04948 | -57.4499 | -78.2148 | -78.2148 | 122.5807 | 99.369 | 99.369 | 0.65742 | 1.2702 | 1.0304 | 0.46482 | 1.2451 | 1.1689 | -21.2998 | -126.1799 | 136.6913 | -12.2363 | -132.4215 | 135.9373
Line_1 | 0.0010258 | 0.0010258 | 0.0010258 | 0.0030766 | 0.0030766 | 0.0030766 | 0.011844 | 0.011844 | 0.011844 | 0.035526 | 0.035526 | 0.035526 | -0.0020071 | -0.0091189 | 0.011126 | 0.0060803 | 0.027361 | -0.033351 | -0.0051177 | 0.011582 | 0.0082628 | 0.015353 | -0.034757 | -0.02474 | 99.3109 | 99.3109 | 99.3109 | -80.631 | -80.631 | -80.631 | 0.46411 | 1.2446 | 1.1701 | 0.46482 | 1.2451 | 1.1689 | -12.1034 | -132.4745 | 135.9107 | -12.2363 | -132.4215 | 135.9373
Line_2 | 0.0010258 | 0.0010258 | 0.0010258 | 0.0030766 | 0.0030766 | 0.0030766 | 0.011844 | 0.011844 | 0.011844 | 0.035526 | 0.035526 | 0.035526 | -0.0020071 | -0.0091189 | 0.011126 | 0.0060803 | 0.027361 | -0.033351 | -0.0051177 | 0.011582 | 0.0082628 | 0.015353 | -0.034757 | -0.02474 | 99.3109 | 99.3109 | 99.3109 | -80.631 | -80.631 | -80.631 | 0.46411 | 1.2446 | 1.1701 | 0.46482 | 1.2451 | 1.1689 | -12.1034 | -132.4745 | 135.9107 | -12.2363 | -132.4215 | 135.9373
Line_3 | 0.0010258 | 0.0010258 | 0.0010258 | 0.0010258 | 0.0010258 | 0.0010258 | 0.011844 | 0.011844 | 0.011844 | 0.011844 | 0.011844 | 0.011844 | 0.0020071 | 0.0091189 | -0.011126 | 0.0020071 | 0.0091189 | -0.011126 | 0.0051177 | -0.011582 | -0.0082628 | 0.0051177 | -0.011582 | -0.0082628 | -80.6891 | -80.6891 | -80.6891 | -80.6891 | -80.6891 | -80.6891 | 0.46411 | 1.2446 | 1.1701 | 0.46411 | 1.2446 | 1.1701 | -12.1034 | -132.4745 | 135.9107 | -12.1034 | -132.4745 | 135.9107

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0098993 | 3.7442 | 3.742 | 0.0075437 | 3.7441 | 3.7414 | 0.11431 | 43.234 | 43.2083 | 0.087107 | 43.2334 | 43.2016 | 0.005843 | 8.9278 | 6.7196 | -0.00014025 | 1.057e-10 | 1.2368e-10 | -0.16914 | 4.45 | 12.3782 | 0.1327 | -7.1981e-11 | 2.1127e-11 | 91.3049 | -175.4956 | 19.9406 | -90.0895 | 4.5405 | -160.0946 | 1.4806 | 0.23073 | 0.32597 | 1.5234 | 0 | 0 | 3.2833 | -149.0023 | 81.4449 | -0.028957 | 0 | 0
Line_1 | 0.0012576 | 0.0012576 | 0.0012576 | 0.0037719 | 0.0037719 | 0.0037719 | 0.014521 | 0.014521 | 0.014521 | 0.043554 | 0.043554 | 0.043554 | -2.3376e-05 | 1.1687e-05 | 1.1687e-05 | 7.0123e-05 | -6.3682e-14 | -6.265e-14 | 0.022126 | 4.6494e-06 | 4.6494e-06 | -0.066349 | -1.1199e-13 | 1.0989e-13 | -90.1198 | -90.1198 | -90.1198 | 89.9105 | 89.9105 | 89.9105 | 1.5237 | 0.00086618 | 0.00086618 | 1.5234 | 0 | 0 | -0.05924 | -68.4254 | -68.4254 | -0.028957 | 0 | 0
Line_2 | 0.0012576 | 0.0012576 | 0.0012576 | 0.0037719 | 0.0037719 | 0.0037719 | 0.014521 | 0.014521 | 0.014521 | 0.043554 | 0.043554 | 0.043554 | -2.3376e-05 | 1.1687e-05 | 1.1687e-05 | 7.0123e-05 | -6.3682e-14 | -6.265e-14 | 0.022126 | 4.6494e-06 | 4.6494e-06 | -0.066349 | -1.1199e-13 | 1.0989e-13 | -90.1198 | -90.1198 | -90.1198 | 89.9105 | 89.9105 | 89.9105 | 1.5237 | 0.00086618 | 0.00086618 | 1.5234 | 0 | 0 | -0.05924 | -68.4254 | -68.4254 | -0.028957 | 0 | 0
Line_3 | 0.0012576 | 0.0012576 | 0.0012576 | 0.0012576 | 0.0012576 | 0.0012576 | 0.014521 | 0.014521 | 0.014521 | 0.014521 | 0.014521 | 0.014521 | 2.3374e-05 | -1.1687e-05 | -1.1687e-05 | 2.3374e-05 | -1.1687e-05 | -1.1687e-05 | -0.022126 | -4.6494e-06 | -4.6494e-06 | -0.022126 | -4.6494e-06 | -4.6494e-06 | 89.8802 | 89.8802 | 89.8802 | 89.8802 | 89.8802 | 89.8802 | 1.5237 | 0.00086618 | 0.00086618 | 1.5237 | 0.00086618 | 0.00086618 | -0.05924 | -68.4254 | -68.4254 | -0.05924 | -68.4254 | -68.4254

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0098993 | 3.7442 | 3.742 | 0.0075437 | 3.7441 | 3.7414 | 0.11431 | 43.234 | 43.2083 | 0.087107 | 43.2334 | 43.2016 | 0.005843 | 8.9278 | 6.7196 | -0.00014025 | 1.057e-10 | 1.2368e-10 | -0.16914 | 4.45 | 12.3782 | 0.1327 | -7.1981e-11 | 2.1127e-11 | 91.3049 | -175.4956 | 19.9406 | -90.0895 | 4.5405 | -160.0946 | 1.4806 | 0.23073 | 0.32597 | 1.5234 | 0 | 0 | 3.2833 | -149.0023 | 81.4449 | -0.028957 | 0 | 0
Line_1 | 0.0012576 | 0.0012576 | 0.0012576 | 0.0037719 | 0.0037719 | 0.0037719 | 0.014521 | 0.014521 | 0.014521 | 0.043554 | 0.043554 | 0.043554 | -2.3376e-05 | 1.1687e-05 | 1.1687e-05 | 7.0123e-05 | -6.3682e-14 | -6.265e-14 | 0.022126 | 4.6494e-06 | 4.6494e-06 | -0.066349 | -1.1199e-13 | 1.0989e-13 | -90.1198 | -90.1198 | -90.1198 | 89.9105 | 89.9105 | 89.9105 | 1.5237 | 0.00086618 | 0.00086618 | 1.5234 | 0 | 0 | -0.05924 | -68.4254 | -68.4254 | -0.028957 | 0 | 0
Line_2 | 0.0012576 | 0.0012576 | 0.0012576 | 0.0037719 | 0.0037719 | 0.0037719 | 0.014521 | 0.014521 | 0.014521 | 0.043554 | 0.043554 | 0.043554 | -2.3376e-05 | 1.1687e-05 | 1.1687e-05 | 7.0123e-05 | -6.3682e-14 | -6.265e-14 | 0.022126 | 4.6494e-06 | 4.6494e-06 | -0.066349 | -1.1199e-13 | 1.0989e-13 | -90.1198 | -90.1198 | -90.1198 | 89.9105 | 89.9105 | 89.9105 | 1.5237 | 0.00086618 | 0.00086618 | 1.5234 | 0 | 0 | -0.05924 | -68.4254 | -68.4254 | -0.028957 | 0 | 0
Line_3 | 0.0012576 | 0.0012576 | 0.0012576 | 0.0012576 | 0.0012576 | 0.0012576 | 0.014521 | 0.014521 | 0.014521 | 0.014521 | 0.014521 | 0.014521 | 2.3374e-05 | -1.1687e-05 | -1.1687e-05 | 2.3374e-05 | -1.1687e-05 | -1.1687e-05 | -0.022126 | -4.6494e-06 | -4.6494e-06 | -0.022126 | -4.6494e-06 | -4.6494e-06 | 89.8802 | 89.8802 | 89.8802 | 89.8802 | 89.8802 | 89.8802 | 1.5237 | 0.00086618 | 0.00086618 | 1.5237 | 0.00086618 | 0.00086618 | -0.05924 | -68.4254 | -68.4254 | -0.05924 | -68.4254 | -68.4254

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0066323 | 1.1155 | 1.2472 | 0.0050541 | 1.1155 | 1.2463 | 0.076583 | 12.8806 | 14.4011 | 0.05836 | 12.881 | 14.391 | -0.014582 | 7.1303 | 8.7815 | 0.012566 | -6.1975 | -7.7706 | -0.10168 | 6.2205 | 9.5453 | 0.079509 | -6.2535 | -7.7219 | 102.679 | -161.723 | 50.8008 | -78.7154 | 18.3584 | -129.2598 | 1.3413 | 0.73461 | 0.90064 | 1.3793 | 0.68351 | 0.76123 | 4.5181 | -120.6212 | 98.1875 | 2.3034 | -116.3841 | 95.5604
Line_1 | 0.00084253 | 0.00084253 | 0.00084253 | 0.0025271 | 0.0025271 | 0.0025271 | 0.0097287 | 0.0097287 | 0.0097287 | 0.02918 | 0.02918 | 0.02918 | 0.0020931 | 0.0052709 | -0.007364 | -0.0062831 | -0.015787 | 0.022102 | 0.013258 | -0.0040587 | 0.00073686 | -0.039755 | 0.012188 | -0.0022155 | -78.7456 | -78.7456 | -78.7456 | 101.2846 | 101.2846 | 101.2846 | 1.3796 | 0.6838 | 0.76072 | 1.3793 | 0.68351 | 0.76123 | 2.2827 | -116.3423 | 95.5403 | 2.3034 | -116.3841 | 95.5604
Line_2 | 0.00084253 | 0.00084253 | 0.00084253 | 0.0025271 | 0.0025271 | 0.0025271 | 0.0097287 | 0.0097287 | 0.0097287 | 0.02918 | 0.02918 | 0.02918 | 0.0020931 | 0.0052709 | -0.007364 | -0.0062831 | -0.015787 | 0.022102 | 0.013258 | -0.0040587 | 0.00073686 | -0.039755 | 0.012188 | -0.0022155 | -78.7456 | -78.7456 | -78.7456 | 101.2846 | 101.2846 | 101.2846 | 1.3796 | 0.6838 | 0.76072 | 1.3793 | 0.68351 | 0.76123 | 2.2827 | -116.3423 | 95.5403 | 2.3034 | -116.3841 | 95.5604
Line_3 | 0.00084253 | 0.00084253 | 0.00084253 | 0.00084253 | 0.00084253 | 0.00084253 | 0.0097287 | 0.0097287 | 0.0097287 | 0.0097287 | 0.0097287 | 0.0097287 | -0.0020931 | -0.0052709 | 0.007364 | -0.0020931 | -0.0052709 | 0.007364 | -0.013258 | 0.0040587 | -0.00073686 | -0.013258 | 0.0040587 | -0.00073686 | 101.2544 | 101.2544 | 101.2544 | 101.2544 | 101.2544 | 101.2544 | 1.3796 | 0.6838 | 0.76072 | 1.3796 | 0.6838 | 0.76072 | 2.2827 | -116.3423 | 95.5403 | 2.2827 | -116.3423 | 95.5403

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0066323 | 1.1155 | 1.2472 | 0.0050541 | 1.1155 | 1.2463 | 0.076583 | 12.8806 | 14.4011 | 0.05836 | 12.881 | 14.391 | -0.014582 | 7.1303 | 8.7815 | 0.012566 | -6.1975 | -7.7706 | -0.10168 | 6.2205 | 9.5453 | 0.079509 | -6.2535 | -7.7219 | 102.679 | -161.723 | 50.8008 | -78.7154 | 18.3584 | -129.2598 | 1.3413 | 0.73461 | 0.90064 | 1.3793 | 0.68351 | 0.76123 | 4.5181 | -120.6212 | 98.1875 | 2.3034 | -116.3841 | 95.5604
Line_1 | 0.00084253 | 0.00084253 | 0.00084253 | 0.0025271 | 0.0025271 | 0.0025271 | 0.0097287 | 0.0097287 | 0.0097287 | 0.02918 | 0.02918 | 0.02918 | 0.0020931 | 0.0052709 | -0.007364 | -0.0062831 | -0.015787 | 0.022102 | 0.013258 | -0.0040587 | 0.00073686 | -0.039755 | 0.012188 | -0.0022155 | -78.7456 | -78.7456 | -78.7456 | 101.2846 | 101.2846 | 101.2846 | 1.3796 | 0.6838 | 0.76072 | 1.3793 | 0.68351 | 0.76123 | 2.2827 | -116.3423 | 95.5403 | 2.3034 | -116.3841 | 95.5604
Line_2 | 0.00084253 | 0.00084253 | 0.00084253 | 0.0025271 | 0.0025271 | 0.0025271 | 0.0097287 | 0.0097287 | 0.0097287 | 0.02918 | 0.02918 | 0.02918 | 0.0020931 | 0.0052709 | -0.007364 | -0.0062831 | -0.015787 | 0.022102 | 0.013258 | -0.0040587 | 0.00073686 | -0.039755 | 0.012188 | -0.0022155 | -78.7456 | -78.7456 | -78.7456 | 101.2846 | 101.2846 | 101.2846 | 1.3796 | 0.6838 | 0.76072 | 1.3793 | 0.68351 | 0.76123 | 2.2827 | -116.3423 | 95.5403 | 2.3034 | -116.3841 | 95.5604
Line_3 | 0.00084253 | 0.00084253 | 0.00084253 | 0.00084253 | 0.00084253 | 0.00084253 | 0.0097287 | 0.0097287 | 0.0097287 | 0.0097287 | 0.0097287 | 0.0097287 | -0.0020931 | -0.0052709 | 0.007364 | -0.0020931 | -0.0052709 | 0.007364 | -0.013258 | 0.0040587 | -0.00073686 | -0.013258 | 0.0040587 | -0.00073686 | 101.2544 | 101.2544 | 101.2544 | 101.2544 | 101.2544 | 101.2544 | 1.3796 | 0.6838 | 0.76072 | 1.3796 | 0.6838 | 0.76072 | 2.2827 | -116.3423 | 95.5403 | 2.2827 | -116.3423 | 95.5403

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0088835 | 3.1657 | 3.1315 | 0.0068479 | 3.1658 | 3.1309 | 0.10258 | 36.5547 | 36.1598 | 0.079072 | 36.5557 | 36.1524 | 0.0082644 | 11.7555 | 9.5582 | -0.00022189 | -1.4084e-10 | 2.0826e-12 | -0.13414 | 0.56135 | 11.3504 | 0.10935 | -1.5005e-10 | -2.0477e-10 | 92.0693 | -167.4848 | 28.226 | -90.3469 | 12.5525 | -151.8098 | 1.3102 | 0.32195 | 0.41037 | 1.3829 | 0 | 0 | 5.5949 | -164.7509 | 78.1254 | -0.23059 | 0 | 0
Line_1 | 0.0011416 | 0.0011416 | 0.0011416 | 0.0034239 | 0.0034239 | 0.0034239 | 0.013182 | 0.013182 | 0.013181 | 0.039536 | 0.039536 | 0.039536 | -3.6982e-05 | 1.849e-05 | 1.849e-05 | 0.00011094 | -1.922e-13 | 1.9564e-13 | 0.018232 | 3.8312e-06 | 3.8312e-06 | -0.054673 | 1.1225e-13 | 1.0898e-13 | -90.4049 | -90.405 | -90.405 | 89.6531 | 89.6531 | 89.6531 | 1.3832 | 0.0014325 | 0.0014325 | 1.3829 | 0 | 0 | -0.28873 | -78.6986 | -78.6986 | -0.23059 | 0 | 0
Line_2 | 0.0011416 | 0.0011416 | 0.0011416 | 0.0034239 | 0.0034239 | 0.0034239 | 0.013182 | 0.013182 | 0.013181 | 0.039536 | 0.039536 | 0.039536 | -3.6982e-05 | 1.849e-05 | 1.849e-05 | 0.00011094 | -1.922e-13 | 1.9564e-13 | 0.018232 | 3.8312e-06 | 3.8312e-06 | -0.054673 | 1.1225e-13 | 1.0898e-13 | -90.4049 | -90.405 | -90.405 | 89.6531 | 89.6531 | 89.6531 | 1.3832 | 0.0014325 | 0.0014325 | 1.3829 | 0 | 0 | -0.28873 | -78.6986 | -78.6986 | -0.23059 | 0 | 0
Line_3 | 0.0011416 | 0.0011416 | 0.0011416 | 0.0011416 | 0.0011416 | 0.0011416 | 0.013182 | 0.013182 | 0.013182 | 0.013182 | 0.013182 | 0.013182 | 3.698e-05 | -1.849e-05 | -1.849e-05 | 3.698e-05 | -1.849e-05 | -1.849e-05 | -0.018232 | -3.8312e-06 | -3.8312e-06 | -0.018232 | -3.8312e-06 | -3.8312e-06 | 89.5951 | 89.5951 | 89.5951 | 89.5951 | 89.5951 | 89.5951 | 1.3832 | 0.0014325 | 0.0014325 | 1.3832 | 0.0014325 | 0.0014325 | -0.28873 | -78.6986 | -78.6986 | -0.28873 | -78.6986 | -78.6986

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0088835 | 3.1657 | 3.1315 | 0.0068479 | 3.1658 | 3.1309 | 0.10258 | 36.5547 | 36.1598 | 0.079072 | 36.5557 | 36.1524 | 0.0082644 | 11.7555 | 9.5582 | -0.00022189 | -1.4084e-10 | 2.0826e-12 | -0.13414 | 0.56135 | 11.3504 | 0.10935 | -1.5005e-10 | -2.0477e-10 | 92.0693 | -167.4848 | 28.226 | -90.3469 | 12.5525 | -151.8098 | 1.3102 | 0.32195 | 0.41037 | 1.3829 | 0 | 0 | 5.5949 | -164.7509 | 78.1254 | -0.23059 | 0 | 0
Line_1 | 0.0011416 | 0.0011416 | 0.0011416 | 0.0034239 | 0.0034239 | 0.0034239 | 0.013182 | 0.013182 | 0.013181 | 0.039536 | 0.039536 | 0.039536 | -3.6982e-05 | 1.849e-05 | 1.849e-05 | 0.00011094 | -1.922e-13 | 1.9564e-13 | 0.018232 | 3.8312e-06 | 3.8312e-06 | -0.054673 | 1.1225e-13 | 1.0898e-13 | -90.4049 | -90.405 | -90.405 | 89.6531 | 89.6531 | 89.6531 | 1.3832 | 0.0014325 | 0.0014325 | 1.3829 | 0 | 0 | -0.28873 | -78.6986 | -78.6986 | -0.23059 | 0 | 0
Line_2 | 0.0011416 | 0.0011416 | 0.0011416 | 0.0034239 | 0.0034239 | 0.0034239 | 0.013182 | 0.013182 | 0.013181 | 0.039536 | 0.039536 | 0.039536 | -3.6982e-05 | 1.849e-05 | 1.849e-05 | 0.00011094 | -1.922e-13 | 1.9564e-13 | 0.018232 | 3.8312e-06 | 3.8312e-06 | -0.054673 | 1.1225e-13 | 1.0898e-13 | -90.4049 | -90.405 | -90.405 | 89.6531 | 89.6531 | 89.6531 | 1.3832 | 0.0014325 | 0.0014325 | 1.3829 | 0 | 0 | -0.28873 | -78.6986 | -78.6986 | -0.23059 | 0 | 0
Line_3 | 0.0011416 | 0.0011416 | 0.0011416 | 0.0011416 | 0.0011416 | 0.0011416 | 0.013182 | 0.013182 | 0.013182 | 0.013182 | 0.013182 | 0.013182 | 3.698e-05 | -1.849e-05 | -1.849e-05 | 3.698e-05 | -1.849e-05 | -1.849e-05 | -0.018232 | -3.8312e-06 | -3.8312e-06 | -0.018232 | -3.8312e-06 | -3.8312e-06 | 89.5951 | 89.5951 | 89.5951 | 89.5951 | 89.5951 | 89.5951 | 1.3832 | 0.0014325 | 0.0014325 | 1.3832 | 0.0014325 | 0.0014325 | -0.28873 | -78.6986 | -78.6986 | -0.28873 | -78.6986 | -78.6986

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0059526 | 0.99797 | 1.0684 | 0.0045886 | 0.99804 | 1.0676 | 0.068735 | 11.5235 | 12.3367 | 0.052985 | 11.5244 | 12.3274 | -0.005988 | 6.3056 | 7.1743 | 0.0066628 | -4.9636 | -5.6983 | -0.081991 | 4.4671 | 7.5665 | 0.066173 | -5.0081 | -5.6641 | 99.5146 | -159.3026 | 52.9064 | -82.9016 | 20.7766 | -127.1541 | 1.196 | 0.6706 | 0.8452 | 1.2552 | 0.61184 | 0.65175 | 5.3376 | -123.9879 | 99.4307 | 1.3488 | -113.9677 | 97.6735
Line_1 | 0.00076493 | 0.00076493 | 0.00076493 | 0.0022943 | 0.0022943 | 0.0022943 | 0.0088326 | 0.0088326 | 0.0088326 | 0.026492 | 0.026492 | 0.026492 | 0.0011078 | 0.0046402 | -0.005748 | -0.0033314 | -0.013884 | 0.017266 | 0.011034 | -0.0027823 | -6.19e-05 | -0.033086 | 0.0083644 | 0.00017331 | -82.9597 | -82.9597 | -82.9597 | 97.0984 | 97.0984 | 97.0984 | 1.2555 | 0.61255 | 0.65081 | 1.2552 | 0.61184 | 0.65175 | 1.3069 | -113.9068 | 97.6573 | 1.3488 | -113.9677 | 97.6735
Line_2 | 0.00076493 | 0.00076493 | 0.00076493 | 0.0022943 | 0.0022943 | 0.0022943 | 0.0088326 | 0.0088326 | 0.0088326 | 0.026492 | 0.026492 | 0.026492 | 0.0011078 | 0.0046402 | -0.005748 | -0.0033314 | -0.013884 | 0.017266 | 0.011034 | -0.0027823 | -6.19e-05 | -0.033086 | 0.0083644 | 0.00017331 | -82.9597 | -82.9597 | -82.9597 | 97.0984 | 97.0984 | 97.0984 | 1.2555 | 0.61255 | 0.65081 | 1.2552 | 0.61184 | 0.65175 | 1.3069 | -113.9068 | 97.6573 | 1.3488 | -113.9677 | 97.6735
Line_3 | 0.00076493 | 0.00076493 | 0.00076493 | 0.00076493 | 0.00076493 | 0.00076493 | 0.0088326 | 0.0088326 | 0.0088326 | 0.0088326 | 0.0088326 | 0.0088326 | -0.0011078 | -0.0046402 | 0.005748 | -0.0011078 | -0.0046402 | 0.005748 | -0.011034 | 0.0027823 | 6.1899e-05 | -0.011034 | 0.0027823 | 6.1899e-05 | 97.0403 | 97.0403 | 97.0403 | 97.0403 | 97.0403 | 97.0403 | 1.2555 | 0.61255 | 0.65081 | 1.2555 | 0.61255 | 0.65081 | 1.3069 | -113.9068 | 97.6573 | 1.3069 | -113.9068 | 97.6573

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0059526 | 0.99797 | 1.0684 | 0.0045886 | 0.99804 | 1.0676 | 0.068735 | 11.5235 | 12.3367 | 0.052985 | 11.5244 | 12.3274 | -0.005988 | 6.3056 | 7.1743 | 0.0066628 | -4.9636 | -5.6983 | -0.081991 | 4.4671 | 7.5665 | 0.066173 | -5.0081 | -5.6641 | 99.5146 | -159.3026 | 52.9064 | -82.9016 | 20.7766 | -127.1541 | 1.196 | 0.6706 | 0.8452 | 1.2552 | 0.61184 | 0.65175 | 5.3376 | -123.9879 | 99.4307 | 1.3488 | -113.9677 | 97.6735
Line_1 | 0.00076493 | 0.00076493 | 0.00076493 | 0.0022943 | 0.0022943 | 0.0022943 | 0.0088326 | 0.0088326 | 0.0088326 | 0.026492 | 0.026492 | 0.026492 | 0.0011078 | 0.0046402 | -0.005748 | -0.0033314 | -0.013884 | 0.017266 | 0.011034 | -0.0027823 | -6.19e-05 | -0.033086 | 0.0083644 | 0.00017331 | -82.9597 | -82.9597 | -82.9597 | 97.0984 | 97.0984 | 97.0984 | 1.2555 | 0.61255 | 0.65081 | 1.2552 | 0.61184 | 0.65175 | 1.3069 | -113.9068 | 97.6573 | 1.3488 | -113.9677 | 97.6735
Line_2 | 0.00076493 | 0.00076493 | 0.00076493 | 0.0022943 | 0.0022943 | 0.0022943 | 0.0088326 | 0.0088326 | 0.0088326 | 0.026492 | 0.026492 | 0.026492 | 0.0011078 | 0.0046402 | -0.005748 | -0.0033314 | -0.013884 | 0.017266 | 0.011034 | -0.0027823 | -6.19e-05 | -0.033086 | 0.0083644 | 0.00017331 | -82.9597 | -82.9597 | -82.9597 | 97.0984 | 97.0984 | 97.0984 | 1.2555 | 0.61255 | 0.65081 | 1.2552 | 0.61184 | 0.65175 | 1.3069 | -113.9068 | 97.6573 | 1.3488 | -113.9677 | 97.6735
Line_3 | 0.00076493 | 0.00076493 | 0.00076493 | 0.00076493 | 0.00076493 | 0.00076493 | 0.0088326 | 0.0088326 | 0.0088326 | 0.0088326 | 0.0088326 | 0.0088326 | -0.0011078 | -0.0046402 | 0.005748 | -0.0011078 | -0.0046402 | 0.005748 | -0.011034 | 0.0027823 | 6.1899e-05 | -0.011034 | 0.0027823 | 6.1899e-05 | 97.0403 | 97.0403 | 97.0403 | 97.0403 | 97.0403 | 97.0403 | 1.2555 | 0.61255 | 0.65081 | 1.2555 | 0.61255 | 0.65081 | 1.3069 | -113.9068 | 97.6573 | 1.3069 | -113.9068 | 97.6573