## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -3.6631e-14 | -2.1557e-15 | 5.2106e-15 | 5.2263e-14 | -3.0549e-15 | 1.6443e-21 | -1.9211e-09 | 1.9211e-09 | -8.2214e-22 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -9.0401e-06 | 179.9996 | -179.9996 | -9.0401e-06 | 179.9996 | -179.9996
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.2214e-22 | -2.621e-14 | 1.8687e-14 | 8.2214e-22 | 4.1842e-14 | -1.3476e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -9.0401e-06 | 179.9996 | -179.9996 | -9.0401e-06 | 179.9996 | -179.9996
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | -3.6631e-14 | 1.8687e-14 | -5.2106e-15 | 5.2263e-14 | -1.3476e-14 | -8.2214e-22 | -1.9211e-09 | 1.9211e-09 | 5.2107e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -9.0401e-06 | 179.9996 | -179.9996 | -9.0401e-06 | 179.9996 | -179.9996
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 1.5632e-14 | -5.2106e-15 | 5.2107e-15 | -7.816e-15 | -5.2106e-15 | -8.2214e-22 | 2.6052e-15 | -3.4112e-20 | 5.2106e-15 | 5.3634e-20 | -3.4112e-20 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -9.0401e-06 | 179.9996 | -179.9996 | -9.0401e-06 | 179.9996 | -179.9996

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -3.6631e-14 | -2.1557e-15 | 5.2106e-15 | 5.2263e-14 | -3.0549e-15 | 1.6443e-21 | -1.9211e-09 | 1.9211e-09 | -8.2214e-22 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -9.0401e-06 | 179.9996 | -179.9996 | -9.0401e-06 | 179.9996 | -179.9996
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.2214e-22 | -2.621e-14 | 1.8687e-14 | 8.2214e-22 | 4.1842e-14 | -1.3476e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -9.0401e-06 | 179.9996 | -179.9996 | -9.0401e-06 | 179.9996 | -179.9996
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | -3.6631e-14 | 1.8687e-14 | -5.2106e-15 | 5.2263e-14 | -1.3476e-14 | -8.2214e-22 | -1.9211e-09 | 1.9211e-09 | 5.2107e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -9.0401e-06 | 179.9996 | -179.9996 | -9.0401e-06 | 179.9996 | -179.9996
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 1.5632e-14 | -5.2106e-15 | 5.2107e-15 | -7.816e-15 | -5.2106e-15 | -8.2214e-22 | 2.6052e-15 | -3.4112e-20 | 5.2106e-15 | 5.3634e-20 | -3.4112e-20 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -9.0401e-06 | 179.9996 | -179.9996 | -9.0401e-06 | 179.9996 | -179.9996

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | -2.6209e-14 | 3.0558e-15 | 2.0843e-14 | 4.4446e-14 | 2.1548e-15 | 5.2107e-15 | -1.9211e-09 | 1.9211e-09 | -1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -9.0401e-06 | 179.9996 | -179.9996 | -9.0401e-06 | 179.9996 | -179.9996
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -1.5787e-14 | 2.3898e-14 | 5.2106e-15 | 3.4025e-14 | -1.8688e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -8.2214e-22 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -9.0401e-06 | 179.9996 | -179.9996 | -9.0401e-06 | 179.9996 | -179.9996
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2107e-15 | -2.6209e-14 | 2.3898e-14 | -5.2106e-15 | 3.4025e-14 | -1.8688e-14 | -5.2106e-15 | -1.9212e-09 | 1.9211e-09 | 8.2214e-22 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -9.0401e-06 | 179.9996 | -179.9996 | -9.0401e-06 | 179.9996 | -179.9996
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 1.3027e-14 | -5.2106e-15 | -8.2214e-22 | 5.2106e-15 | 5.2106e-15 | -5.2106e-15 | 1.0421e-14 | -5.2107e-15 | -5.2106e-15 | -1.3027e-14 | 3.4109e-20 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -9.0401e-06 | 179.9996 | -179.9996 | -9.0401e-06 | 179.9996 | -179.9996

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | -2.6209e-14 | 3.0558e-15 | 2.0843e-14 | 4.4446e-14 | 2.1548e-15 | 5.2107e-15 | -1.9211e-09 | 1.9211e-09 | -1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -9.0401e-06 | 179.9996 | -179.9996 | -9.0401e-06 | 179.9996 | -179.9996
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -1.5787e-14 | 2.3898e-14 | 5.2106e-15 | 3.4025e-14 | -1.8688e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -8.2214e-22 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -9.0401e-06 | 179.9996 | -179.9996 | -9.0401e-06 | 179.9996 | -179.9996
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2107e-15 | -2.6209e-14 | 2.3898e-14 | -5.2106e-15 | 3.4025e-14 | -1.8688e-14 | -5.2106e-15 | -1.9212e-09 | 1.9211e-09 | 8.2214e-22 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -9.0401e-06 | 179.9996 | -179.9996 | -9.0401e-06 | 179.9996 | -179.9996
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 1.3027e-14 | -5.2106e-15 | -8.2214e-22 | 5.2106e-15 | 5.2106e-15 | -5.2106e-15 | 1.0421e-14 | -5.2107e-15 | -5.2106e-15 | -1.3027e-14 | 3.4109e-20 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | -9.0401e-06 | 179.9996 | -179.9996 | -9.0401e-06 | 179.9996 | -179.9996

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 1.866e-15 | 4.8081e-15 | -2.3685e-15 | 5.0254e-16 | -4.808e-15 | -4.7369e-15 | -1.5877e-09 | 1.5877e-09 | -4.7369e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -9.5822e-05 | 180 | 179.9998 | -9.5822e-05 | 180 | 179.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -2.8709e-15 | 4.8082e-15 | -7.9221e-21 | 9.9764e-15 | -4.8081e-15 | 3.9611e-21 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -9.5822e-05 | 180 | 179.9998 | -9.5822e-05 | 180 | 179.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -2.8709e-15 | 4.8082e-15 | 2.3685e-15 | 5.2395e-15 | -4.808e-15 | -1.8948e-14 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -9.5822e-05 | 180 | 179.9998 | -9.5822e-05 | 180 | 179.9998
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 2.3685e-15 | -4.7369e-15 | -3.1689e-20 | 3.5527e-15 | 7.1054e-15 | 1.4211e-14 | 7.1054e-15 | 1.8948e-14 | -1.8948e-14 | 7.1054e-15 | -4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -9.5822e-05 | 180 | 179.9998 | -9.5822e-05 | 180 | 179.9998

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 1.866e-15 | 4.8081e-15 | -2.3685e-15 | 5.0254e-16 | -4.808e-15 | -4.7369e-15 | -1.5877e-09 | 1.5877e-09 | -4.7369e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -9.5822e-05 | 180 | 179.9998 | -9.5822e-05 | 180 | 179.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -2.8709e-15 | 4.8082e-15 | -7.9221e-21 | 9.9764e-15 | -4.8081e-15 | 3.9611e-21 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -9.5822e-05 | 180 | 179.9998 | -9.5822e-05 | 180 | 179.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -2.8709e-15 | 4.8082e-15 | 2.3685e-15 | 5.2395e-15 | -4.808e-15 | -1.8948e-14 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -9.5822e-05 | 180 | 179.9998 | -9.5822e-05 | 180 | 179.9998
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 2.3685e-15 | -4.7369e-15 | -3.1689e-20 | 3.5527e-15 | 7.1054e-15 | 1.4211e-14 | 7.1054e-15 | 1.8948e-14 | -1.8948e-14 | 7.1054e-15 | -4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -9.5822e-05 | 180 | 179.9998 | -9.5822e-05 | 180 | 179.9998

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5844e-20 | 5.4195e-15 | 7.1774e-15 | 2.3685e-15 | -3.0509e-15 | -7.1837e-17 | -9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 4.7369e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -9.5822e-05 | 180 | 179.9998 | -9.5822e-05 | 180 | 179.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 6.8253e-16 | 2.4405e-15 | 2.3685e-15 | 6.423e-15 | -7.1866e-17 | -9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -9.5822e-05 | 180 | 179.9998 | -9.5822e-05 | 180 | 179.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4211e-14 | 6.8253e-16 | -2.2965e-15 | 1.6579e-14 | 6.423e-15 | 4.6651e-15 | -4.7369e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -9.5822e-05 | 180 | 179.9998 | -9.5822e-05 | 180 | 179.9998
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6579e-14 | 2.3685e-15 | 2.8695e-20 | -1.4211e-14 | 5.9212e-15 | 2.3685e-15 | -4.737e-15 | 2.3685e-15 | 9.4739e-15 | 2.3766e-20 | 2.3685e-15 | 4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -9.5822e-05 | 180 | 179.9998 | -9.5822e-05 | 180 | 179.9998

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5844e-20 | 5.4195e-15 | 7.1774e-15 | 2.3685e-15 | -3.0509e-15 | -7.1837e-17 | -9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 4.7369e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -9.5822e-05 | 180 | 179.9998 | -9.5822e-05 | 180 | 179.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 6.8253e-16 | 2.4405e-15 | 2.3685e-15 | 6.423e-15 | -7.1866e-17 | -9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -9.5822e-05 | 180 | 179.9998 | -9.5822e-05 | 180 | 179.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4211e-14 | 6.8253e-16 | -2.2965e-15 | 1.6579e-14 | 6.423e-15 | 4.6651e-15 | -4.7369e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -9.5822e-05 | 180 | 179.9998 | -9.5822e-05 | 180 | 179.9998
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6579e-14 | 2.3685e-15 | 2.8695e-20 | -1.4211e-14 | 5.9212e-15 | 2.3685e-15 | -4.737e-15 | 2.3685e-15 | 9.4739e-15 | 2.3766e-20 | 2.3685e-15 | 4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | -9.5822e-05 | 180 | 179.9998 | -9.5822e-05 | 180 | 179.9998

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.5546e-19 | -2.6525e-14 | -3.2139e-14 | -1.1895e-19 | 9.8148e-13 | -9.2056e-13 | 2.2222e-20 | 1.9211e-09 | -1.9211e-09 | 1.4193e-19 | -3.7003e-13 | 3.6101e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.6039e-19 | 6.6588e-13 | -7.0649e-13 | -1.3883e-19 | -4.6001e-13 | 5.119e-13 | 8.3717e-20 | 9.6031e-10 | -9.6027e-10 | 1.6557e-19 | 9.6076e-10 | -9.6078e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.6039e-19 | 6.4783e-13 | -6.7941e-13 | -1.3883e-19 | -4.6001e-13 | 4.758e-13 | 8.372e-20 | 9.6032e-10 | -9.6031e-10 | 1.6557e-19 | 9.6076e-10 | -9.6076e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.2088e-20 | -6.4728e-13 | 6.4728e-13 | -9.2093e-20 | -6.7435e-13 | 6.8338e-13 | -1.6797e-20 | 9.6083e-10 | -9.6082e-10 | -1.6794e-20 | 9.6084e-10 | -9.6085e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.5546e-19 | -2.6525e-14 | -3.2139e-14 | -1.1895e-19 | 9.8148e-13 | -9.2056e-13 | 2.2222e-20 | 1.9211e-09 | -1.9211e-09 | 1.4193e-19 | -3.7003e-13 | 3.6101e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.6039e-19 | 6.6588e-13 | -7.0649e-13 | -1.3883e-19 | -4.6001e-13 | 5.119e-13 | 8.3717e-20 | 9.6031e-10 | -9.6027e-10 | 1.6557e-19 | 9.6076e-10 | -9.6078e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.6039e-19 | 6.4783e-13 | -6.7941e-13 | -1.3883e-19 | -4.6001e-13 | 4.758e-13 | 8.372e-20 | 9.6032e-10 | -9.6031e-10 | 1.6557e-19 | 9.6076e-10 | -9.6076e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.2088e-20 | -6.4728e-13 | 6.4728e-13 | -9.2093e-20 | -6.7435e-13 | 6.8338e-13 | -1.6797e-20 | 9.6083e-10 | -9.6082e-10 | -1.6794e-20 | 9.6084e-10 | -9.6085e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.9157e-18 | -1.9755e-14 | -2.3113e-14 | -5.6099e-18 | 9.9051e-13 | -9.2959e-13 | 3.6825e-18 | 1.9211e-09 | -1.9211e-09 | -5.3472e-18 | -3.8131e-13 | 3.7003e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.0353e-18 | 6.7265e-13 | -6.7941e-13 | -6.544e-18 | -4.7805e-13 | 4.758e-13 | 4.66e-18 | 9.6029e-10 | -9.6033e-10 | -6.2405e-18 | 9.6078e-10 | -9.6075e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.0353e-18 | 6.6362e-13 | -6.7039e-13 | -6.544e-18 | -4.6903e-13 | 4.5775e-13 | 4.6601e-18 | 9.6032e-10 | -9.6033e-10 | -6.2406e-18 | 9.6075e-10 | -9.6075e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0068e-18 | -6.563e-13 | 6.6533e-13 | -1.0068e-18 | -6.7661e-13 | 6.563e-13 | -9.3275e-19 | 9.6082e-10 | -9.6085e-10 | -9.3273e-19 | 9.6085e-10 | -9.6082e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.9157e-18 | -1.9755e-14 | -2.3113e-14 | -5.6099e-18 | 9.9051e-13 | -9.2959e-13 | 3.6825e-18 | 1.9211e-09 | -1.9211e-09 | -5.3472e-18 | -3.8131e-13 | 3.7003e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.0353e-18 | 6.7265e-13 | -6.7941e-13 | -6.544e-18 | -4.7805e-13 | 4.758e-13 | 4.66e-18 | 9.6029e-10 | -9.6033e-10 | -6.2405e-18 | 9.6078e-10 | -9.6075e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.0353e-18 | 6.6362e-13 | -6.7039e-13 | -6.544e-18 | -4.6903e-13 | 4.5775e-13 | 4.6601e-18 | 9.6032e-10 | -9.6033e-10 | -6.2406e-18 | 9.6075e-10 | -9.6075e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0068e-18 | -6.563e-13 | 6.6533e-13 | -1.0068e-18 | -6.7661e-13 | 6.563e-13 | -9.3275e-19 | 9.6082e-10 | -9.6085e-10 | -9.3273e-19 | 9.6085e-10 | -9.6082e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | -90.0002 | 89.9998 | 0 | -90.0002 | 89.9998

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.9179e-19 | -9.1752e-15 | -5.4998e-17 | -1.8446e-20 | 1.5107e-12 | -1.5097e-12 | 8.8603e-20 | 1.5877e-09 | -1.5877e-09 | 1.1971e-20 | -3.3639e-13 | 2.9126e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86602 | 0.86602 | 0 | 0.86602 | 0.86602 | 0 | -89.9999 | 90.0001 | 0 | -89.9999 | 90.0001
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.8855e-19 | 1.0553e-12 | -1.0646e-12 | -2.1529e-20 | -7.5582e-13 | 7.6095e-13 | 1.5663e-19 | 7.9362e-10 | -7.9363e-10 | 1.3957e-20 | 7.9401e-10 | -7.9401e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86602 | 0.86602 | 0 | 0.86602 | 0.86602 | 0 | -89.9999 | 90.0001 | 0 | -89.9999 | 90.0001
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.8855e-19 | 1.0512e-12 | -1.0605e-12 | -2.1529e-20 | -7.5582e-13 | 7.6095e-13 | 1.5663e-19 | 7.9364e-10 | -7.9364e-10 | 1.3957e-20 | 7.94e-10 | -7.94e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86602 | 0.86602 | 0 | 0.86602 | 0.86602 | 0 | -89.9999 | 90.0001 | 0 | -89.9999 | 90.0001
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.177e-19 | -1.0594e-12 | 1.0645e-12 | -1.177e-19 | -1.0573e-12 | 1.0543e-12 | -3.1456e-20 | 7.9406e-10 | -7.9407e-10 | -3.146e-20 | 7.9408e-10 | -7.9407e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86602 | 0.86602 | 0 | 0.86602 | 0.86602 | 0 | -89.9999 | 90.0001 | 0 | -89.9999 | 90.0001

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.9179e-19 | -9.1752e-15 | -5.4998e-17 | -1.8446e-20 | 1.5107e-12 | -1.5097e-12 | 8.8603e-20 | 1.5877e-09 | -1.5877e-09 | 1.1971e-20 | -3.3639e-13 | 2.9126e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86602 | 0.86602 | 0 | 0.86602 | 0.86602 | 0 | -89.9999 | 90.0001 | 0 | -89.9999 | 90.0001
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.8855e-19 | 1.0553e-12 | -1.0646e-12 | -2.1529e-20 | -7.5582e-13 | 7.6095e-13 | 1.5663e-19 | 7.9362e-10 | -7.9363e-10 | 1.3957e-20 | 7.9401e-10 | -7.9401e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86602 | 0.86602 | 0 | 0.86602 | 0.86602 | 0 | -89.9999 | 90.0001 | 0 | -89.9999 | 90.0001
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.8855e-19 | 1.0512e-12 | -1.0605e-12 | -2.1529e-20 | -7.5582e-13 | 7.6095e-13 | 1.5663e-19 | 7.9364e-10 | -7.9364e-10 | 1.3957e-20 | 7.94e-10 | -7.94e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86602 | 0.86602 | 0 | 0.86602 | 0.86602 | 0 | -89.9999 | 90.0001 | 0 | -89.9999 | 90.0001
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.177e-19 | -1.0594e-12 | 1.0645e-12 | -1.177e-19 | -1.0573e-12 | 1.0543e-12 | -3.1456e-20 | 7.9406e-10 | -7.9407e-10 | -3.146e-20 | 7.9408e-10 | -7.9407e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86602 | 0.86602 | 0 | 0.86602 | 0.86602 | 0 | -89.9999 | 90.0001 | 0 | -89.9999 | 90.0001

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3168e-18 | -4.0465e-15 | 1.997e-15 | -4.5571e-18 | 1.5127e-12 | -1.5117e-12 | 3.1136e-18 | 1.5877e-09 | -1.5877e-09 | -4.5238e-18 | -3.3023e-13 | 2.9536e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86602 | 0.86602 | 0 | 0.86602 | 0.86602 | 0 | -89.9999 | 90.0001 | 0 | -89.9999 | 90.0001
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.369e-18 | 1.0605e-12 | -1.0584e-12 | -5.3147e-18 | -7.6198e-13 | 7.548e-13 | 3.9391e-18 | 7.9361e-10 | -7.9364e-10 | -5.2806e-18 | 7.9403e-10 | -7.94e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86602 | 0.86602 | 0 | 0.86602 | 0.86602 | 0 | -89.9999 | 90.0001 | 0 | -89.9999 | 90.0001
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.369e-18 | 1.0605e-12 | -1.0543e-12 | -5.3147e-18 | -7.5788e-13 | 7.507e-13 | 3.9391e-18 | 7.9363e-10 | -7.9366e-10 | -5.2806e-18 | 7.9402e-10 | -7.94e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86602 | 0.86602 | 0 | 0.86602 | 0.86602 | 0 | -89.9999 | 90.0001 | 0 | -89.9999 | 90.0001
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.7316e-19 | -1.0594e-12 | 1.0584e-12 | -8.7315e-19 | -1.0594e-12 | 1.0543e-12 | -7.8891e-19 | 7.9406e-10 | -7.9407e-10 | -7.8893e-19 | 7.9408e-10 | -7.9407e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86602 | 0.86602 | 0 | 0.86602 | 0.86602 | 0 | -89.9999 | 90.0001 | 0 | -89.9999 | 90.0001

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3168e-18 | -4.0465e-15 | 1.997e-15 | -4.5571e-18 | 1.5127e-12 | -1.5117e-12 | 3.1136e-18 | 1.5877e-09 | -1.5877e-09 | -4.5238e-18 | -3.3023e-13 | 2.9536e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86602 | 0.86602 | 0 | 0.86602 | 0.86602 | 0 | -89.9999 | 90.0001 | 0 | -89.9999 | 90.0001
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.369e-18 | 1.0605e-12 | -1.0584e-12 | -5.3147e-18 | -7.6198e-13 | 7.548e-13 | 3.9391e-18 | 7.9361e-10 | -7.9364e-10 | -5.2806e-18 | 7.9403e-10 | -7.94e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86602 | 0.86602 | 0 | 0.86602 | 0.86602 | 0 | -89.9999 | 90.0001 | 0 | -89.9999 | 90.0001
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.369e-18 | 1.0605e-12 | -1.0543e-12 | -5.3147e-18 | -7.5788e-13 | 7.507e-13 | 3.9391e-18 | 7.9363e-10 | -7.9366e-10 | -5.2806e-18 | 7.9402e-10 | -7.94e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86602 | 0.86602 | 0 | 0.86602 | 0.86602 | 0 | -89.9999 | 90.0001 | 0 | -89.9999 | 90.0001
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.7316e-19 | -1.0594e-12 | 1.0584e-12 | -8.7315e-19 | -1.0594e-12 | 1.0543e-12 | -7.8891e-19 | 7.9406e-10 | -7.9407e-10 | -7.8893e-19 | 7.9408e-10 | -7.9407e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86602 | 0.86602 | 0 | 0.86602 | 0.86602 | 0 | -89.9999 | 90.0001 | 0 | -89.9999 | 90.0001

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.0236e-15 | -1.2889e-14 | -1.4383e-14 | -6.2271e-18 | 1.6913e-15 | 2.8611e-14 | -1.3819e-14 | -2.0386e-14 | -8.1325e-15 | 4.1855e-18 | 4.1743e-14 | -2.6271e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5073e-06 | 5.9799e-06 | 4.0966e-06 | 3.5072e-06 | 5.9799e-06 | 4.0967e-06 | -102.3415 | 117.6984 | -30.5154 | -102.3408 | 117.6977 | -30.5146
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5162e-15 | -7.2744e-15 | -2.1505e-14 | -1.5085e-15 | -3.9329e-15 | 3.5739e-14 | -6.9066e-15 | -3.1063e-14 | -3.941e-15 | -6.9116e-15 | 5.2419e-14 | -4.4496e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5073e-06 | 5.9799e-06 | 4.0966e-06 | 3.5072e-06 | 5.9799e-06 | 4.0967e-06 | -102.3423 | 117.6989 | -30.5161 | -102.3408 | 117.6977 | -30.5146
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5161e-15 | -7.2742e-15 | -2.1505e-14 | -1.5087e-15 | -3.9331e-15 | 3.5739e-14 | -6.9067e-15 | -3.1063e-14 | -3.9411e-15 | -6.9117e-15 | 5.2419e-14 | -4.4493e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5073e-06 | 5.9799e-06 | 4.0966e-06 | 3.5072e-06 | 5.9799e-06 | 4.0967e-06 | -102.3423 | 117.6989 | -30.5161 | -102.3408 | 117.6977 | -30.5146
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5075e-15 | -5.6146e-15 | 7.1221e-15 | -1.5073e-15 | -5.6142e-15 | 7.1219e-15 | -6.9126e-15 | 1.0677e-14 | -4.1913e-15 | -6.9125e-15 | 1.0676e-14 | -4.1914e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5073e-06 | 5.9799e-06 | 4.0966e-06 | 3.5073e-06 | 5.9799e-06 | 4.0966e-06 | -102.3423 | 117.6989 | -30.5161 | -102.3423 | 117.6989 | -30.5161

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.0236e-15 | -1.2889e-14 | -1.4383e-14 | -6.2271e-18 | 1.6913e-15 | 2.8611e-14 | -1.3819e-14 | -2.0386e-14 | -8.1325e-15 | 4.1855e-18 | 4.1743e-14 | -2.6271e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5073e-06 | 5.9799e-06 | 4.0966e-06 | 3.5072e-06 | 5.9799e-06 | 4.0967e-06 | -102.3415 | 117.6984 | -30.5154 | -102.3408 | 117.6977 | -30.5146
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5162e-15 | -7.2744e-15 | -2.1505e-14 | -1.5085e-15 | -3.9329e-15 | 3.5739e-14 | -6.9066e-15 | -3.1063e-14 | -3.941e-15 | -6.9116e-15 | 5.2419e-14 | -4.4496e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5073e-06 | 5.9799e-06 | 4.0966e-06 | 3.5072e-06 | 5.9799e-06 | 4.0967e-06 | -102.3423 | 117.6989 | -30.5161 | -102.3408 | 117.6977 | -30.5146
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5161e-15 | -7.2742e-15 | -2.1505e-14 | -1.5087e-15 | -3.9331e-15 | 3.5739e-14 | -6.9067e-15 | -3.1063e-14 | -3.9411e-15 | -6.9117e-15 | 5.2419e-14 | -4.4493e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5073e-06 | 5.9799e-06 | 4.0966e-06 | 3.5072e-06 | 5.9799e-06 | 4.0967e-06 | -102.3423 | 117.6989 | -30.5161 | -102.3408 | 117.6977 | -30.5146
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5075e-15 | -5.6146e-15 | 7.1221e-15 | -1.5073e-15 | -5.6142e-15 | 7.1219e-15 | -6.9126e-15 | 1.0677e-14 | -4.1913e-15 | -6.9125e-15 | 1.0676e-14 | -4.1914e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5073e-06 | 5.9799e-06 | 4.0966e-06 | 3.5073e-06 | 5.9799e-06 | 4.0966e-06 | -102.3423 | 117.6989 | -30.5161 | -102.3423 | 117.6989 | -30.5161

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.0163e-15 | -1.2883e-14 | -1.4382e-14 | -6.2432e-18 | 1.6837e-15 | 2.8604e-14 | -1.3812e-14 | -2.0385e-14 | -8.1267e-15 | 4.2524e-18 | 4.1736e-14 | -2.7008e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5051e-06 | 5.9788e-06 | 4.0956e-06 | 3.5051e-06 | 5.9789e-06 | 4.0957e-06 | -102.3188 | 117.708 | -30.5302 | -102.3182 | 117.7074 | -30.5294
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5127e-15 | -7.2677e-15 | -2.1501e-14 | -1.5049e-15 | -3.9413e-15 | 3.5729e-14 | -6.9029e-15 | -3.1059e-14 | -3.9342e-15 | -6.908e-15 | 5.2409e-14 | -4.4577e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5051e-06 | 5.9788e-06 | 4.0956e-06 | 3.5051e-06 | 5.9789e-06 | 4.0957e-06 | -102.3196 | 117.7086 | -30.5309 | -102.3182 | 117.7074 | -30.5294
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5126e-15 | -7.2677e-15 | -2.1501e-14 | -1.5051e-15 | -3.9412e-15 | 3.5729e-14 | -6.9029e-15 | -3.1059e-14 | -3.9345e-15 | -6.908e-15 | 5.2409e-14 | -4.4575e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5051e-06 | 5.9788e-06 | 4.0956e-06 | 3.5051e-06 | 5.9789e-06 | 4.0957e-06 | -102.3196 | 117.7086 | -30.5309 | -102.3182 | 117.7074 | -30.5294
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5039e-15 | -5.6152e-15 | 7.1191e-15 | -1.5039e-15 | -5.6154e-15 | 7.1192e-15 | -6.9088e-15 | 1.0674e-14 | -4.192e-15 | -6.9088e-15 | 1.0674e-14 | -4.1922e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5051e-06 | 5.9788e-06 | 4.0956e-06 | 3.5051e-06 | 5.9788e-06 | 4.0956e-06 | -102.3196 | 117.7086 | -30.5309 | -102.3196 | 117.7086 | -30.5309

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.0163e-15 | -1.2883e-14 | -1.4382e-14 | -6.2432e-18 | 1.6837e-15 | 2.8604e-14 | -1.3812e-14 | -2.0385e-14 | -8.1267e-15 | 4.2524e-18 | 4.1736e-14 | -2.7008e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5051e-06 | 5.9788e-06 | 4.0956e-06 | 3.5051e-06 | 5.9789e-06 | 4.0957e-06 | -102.3188 | 117.708 | -30.5302 | -102.3182 | 117.7074 | -30.5294
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5127e-15 | -7.2677e-15 | -2.1501e-14 | -1.5049e-15 | -3.9413e-15 | 3.5729e-14 | -6.9029e-15 | -3.1059e-14 | -3.9342e-15 | -6.908e-15 | 5.2409e-14 | -4.4577e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5051e-06 | 5.9788e-06 | 4.0956e-06 | 3.5051e-06 | 5.9789e-06 | 4.0957e-06 | -102.3196 | 117.7086 | -30.5309 | -102.3182 | 117.7074 | -30.5294
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5126e-15 | -7.2677e-15 | -2.1501e-14 | -1.5051e-15 | -3.9412e-15 | 3.5729e-14 | -6.9029e-15 | -3.1059e-14 | -3.9345e-15 | -6.908e-15 | 5.2409e-14 | -4.4575e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5051e-06 | 5.9788e-06 | 4.0956e-06 | 3.5051e-06 | 5.9789e-06 | 4.0957e-06 | -102.3196 | 117.7086 | -30.5309 | -102.3182 | 117.7074 | -30.5294
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5039e-15 | -5.6152e-15 | 7.1191e-15 | -1.5039e-15 | -5.6154e-15 | 7.1192e-15 | -6.9088e-15 | 1.0674e-14 | -4.192e-15 | -6.9088e-15 | 1.0674e-14 | -4.1922e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5051e-06 | 5.9788e-06 | 4.0956e-06 | 3.5051e-06 | 5.9788e-06 | 4.0956e-06 | -102.3196 | 117.7086 | -30.5309 | -102.3196 | 117.7086 | -30.5309

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.6939e-16 | -2.0752e-15 | 6.5655e-15 | -5.8482e-18 | 5.9239e-15 | -1.0777e-14 | -6.0259e-15 | 3.2458e-15 | 1.0797e-15 | 8.173e-19 | -3.0753e-15 | 4.0697e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6465e-06 | 1.0507e-06 | 1.8146e-06 | 1.6465e-06 | 1.0508e-06 | 1.8146e-06 | -86.4924 | 2.5919 | 129.3388 | -86.49 | 2.5945 | 129.3357
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8042e-16 | -3.9994e-15 | 8.6786e-15 | 1.8772e-16 | 7.8491e-15 | -1.2894e-14 | -3.0124e-15 | 3.1559e-15 | -1.4908e-15 | -3.0133e-15 | -2.9826e-15 | 6.6382e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6465e-06 | 1.0506e-06 | 1.8147e-06 | 1.6465e-06 | 1.0508e-06 | 1.8146e-06 | -86.4958 | 2.5911 | 129.3416 | -86.49 | 2.5945 | 129.3357
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8043e-16 | -3.9994e-15 | 8.6787e-15 | 1.8772e-16 | 7.8491e-15 | -1.2894e-14 | -3.0124e-15 | 3.1559e-15 | -1.4909e-15 | -3.0133e-15 | -2.9826e-15 | 6.6383e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6465e-06 | 1.0506e-06 | 1.8147e-06 | 1.6465e-06 | 1.0508e-06 | 1.8146e-06 | -86.4958 | 2.5911 | 129.3416 | -86.49 | 2.5945 | 129.3357
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8858e-16 | 1.9245e-15 | -2.1131e-15 | 1.8854e-16 | 1.9245e-15 | -2.113e-15 | -3.0135e-15 | 8.9657e-17 | 2.5709e-15 | -3.0135e-15 | 8.9661e-17 | 2.5708e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6465e-06 | 1.0506e-06 | 1.8147e-06 | 1.6465e-06 | 1.0506e-06 | 1.8147e-06 | -86.4958 | 2.5911 | 129.3416 | -86.4958 | 2.5911 | 129.3416

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.6939e-16 | -2.0752e-15 | 6.5655e-15 | -5.8482e-18 | 5.9239e-15 | -1.0777e-14 | -6.0259e-15 | 3.2458e-15 | 1.0797e-15 | 8.173e-19 | -3.0753e-15 | 4.0697e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6465e-06 | 1.0507e-06 | 1.8146e-06 | 1.6465e-06 | 1.0508e-06 | 1.8146e-06 | -86.4924 | 2.5919 | 129.3388 | -86.49 | 2.5945 | 129.3357
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8042e-16 | -3.9994e-15 | 8.6786e-15 | 1.8772e-16 | 7.8491e-15 | -1.2894e-14 | -3.0124e-15 | 3.1559e-15 | -1.4908e-15 | -3.0133e-15 | -2.9826e-15 | 6.6382e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6465e-06 | 1.0506e-06 | 1.8147e-06 | 1.6465e-06 | 1.0508e-06 | 1.8146e-06 | -86.4958 | 2.5911 | 129.3416 | -86.49 | 2.5945 | 129.3357
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8043e-16 | -3.9994e-15 | 8.6787e-15 | 1.8772e-16 | 7.8491e-15 | -1.2894e-14 | -3.0124e-15 | 3.1559e-15 | -1.4909e-15 | -3.0133e-15 | -2.9826e-15 | 6.6383e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6465e-06 | 1.0506e-06 | 1.8147e-06 | 1.6465e-06 | 1.0508e-06 | 1.8146e-06 | -86.4958 | 2.5911 | 129.3416 | -86.49 | 2.5945 | 129.3357
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8858e-16 | 1.9245e-15 | -2.1131e-15 | 1.8854e-16 | 1.9245e-15 | -2.113e-15 | -3.0135e-15 | 8.9657e-17 | 2.5709e-15 | -3.0135e-15 | 8.9661e-17 | 2.5708e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6465e-06 | 1.0506e-06 | 1.8147e-06 | 1.6465e-06 | 1.0506e-06 | 1.8147e-06 | -86.4958 | 2.5911 | 129.3416 | -86.4958 | 2.5911 | 129.3416

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.7541e-16 | -2.0704e-15 | 6.5667e-15 | -5.8282e-18 | 5.9178e-15 | -1.0783e-14 | -6.0198e-15 | 3.2471e-15 | 1.0844e-15 | 8.1518e-19 | -3.0814e-15 | 4.0637e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.645e-06 | 1.0503e-06 | 1.8152e-06 | 1.645e-06 | 1.0504e-06 | 1.8151e-06 | -86.4315 | 2.5219 | 129.3776 | -86.4291 | 2.5245 | 129.3744
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8344e-16 | -3.9939e-15 | 8.6823e-15 | 1.9075e-16 | 7.8424e-15 | -1.2903e-14 | -3.0094e-15 | 3.1596e-15 | -1.4854e-15 | -3.0103e-15 | -2.991e-15 | 6.6315e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.645e-06 | 1.0502e-06 | 1.8152e-06 | 1.645e-06 | 1.0504e-06 | 1.8151e-06 | -86.435 | 2.521 | 129.3803 | -86.4291 | 2.5245 | 129.3744
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8345e-16 | -3.994e-15 | 8.6823e-15 | 1.9074e-16 | 7.8424e-15 | -1.2903e-14 | -3.0094e-15 | 3.1596e-15 | -1.4854e-15 | -3.0103e-15 | -2.991e-15 | 6.6315e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.645e-06 | 1.0502e-06 | 1.8152e-06 | 1.645e-06 | 1.0504e-06 | 1.8151e-06 | -86.435 | 2.521 | 129.3803 | -86.4291 | 2.5245 | 129.3744
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.9161e-16 | 1.9239e-15 | -2.1154e-15 | 1.9155e-16 | 1.9239e-15 | -2.1155e-15 | -3.0105e-15 | 8.725e-17 | 2.5702e-15 | -3.0105e-15 | 8.7283e-17 | 2.5702e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.645e-06 | 1.0502e-06 | 1.8152e-06 | 1.645e-06 | 1.0502e-06 | 1.8152e-06 | -86.435 | 2.521 | 129.3803 | -86.435 | 2.521 | 129.3803

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.7541e-16 | -2.0704e-15 | 6.5667e-15 | -5.8282e-18 | 5.9178e-15 | -1.0783e-14 | -6.0198e-15 | 3.2471e-15 | 1.0844e-15 | 8.1518e-19 | -3.0814e-15 | 4.0637e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.645e-06 | 1.0503e-06 | 1.8152e-06 | 1.645e-06 | 1.0504e-06 | 1.8151e-06 | -86.4315 | 2.5219 | 129.3776 | -86.4291 | 2.5245 | 129.3744
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8344e-16 | -3.9939e-15 | 8.6823e-15 | 1.9075e-16 | 7.8424e-15 | -1.2903e-14 | -3.0094e-15 | 3.1596e-15 | -1.4854e-15 | -3.0103e-15 | -2.991e-15 | 6.6315e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.645e-06 | 1.0502e-06 | 1.8152e-06 | 1.645e-06 | 1.0504e-06 | 1.8151e-06 | -86.435 | 2.521 | 129.3803 | -86.4291 | 2.5245 | 129.3744
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8345e-16 | -3.994e-15 | 8.6823e-15 | 1.9074e-16 | 7.8424e-15 | -1.2903e-14 | -3.0094e-15 | 3.1596e-15 | -1.4854e-15 | -3.0103e-15 | -2.991e-15 | 6.6315e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.645e-06 | 1.0502e-06 | 1.8152e-06 | 1.645e-06 | 1.0504e-06 | 1.8151e-06 | -86.435 | 2.521 | 129.3803 | -86.4291 | 2.5245 | 129.3744
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.9161e-16 | 1.9239e-15 | -2.1154e-15 | 1.9155e-16 | 1.9239e-15 | -2.1155e-15 | -3.0105e-15 | 8.725e-17 | 2.5702e-15 | -3.0105e-15 | 8.7283e-17 | 2.5702e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.645e-06 | 1.0502e-06 | 1.8152e-06 | 1.645e-06 | 1.0502e-06 | 1.8152e-06 | -86.435 | 2.521 | 129.3803 | -86.435 | 2.521 | 129.3803