## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.602e-19 | 0 | -1.2513e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6066e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7305e-20 | 0 | 6.3226e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -3.1264e-14 | 30.1766 | -15.8685 | 1.5632e-14 | -23.0225 | 23.0225 | -1.0421e-14 | 3.131 | 13.1032 | 5.2106e-15 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 6.5179e-13 | -161.8563 | 152.6723 | 6.6816e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | -5.2106e-15 | 1.5632e-14 | -2.6053e-14 | 2.0843e-14 | -1.5632e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.6474e-13 | -180 | 180 | 6.6816e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.0843e-14 | -3.6474e-14 | 1.5632e-14 | -3.6475e-14 | 4.1685e-14 | -1.5632e-14 | -1.5632e-14 | -1.9211e-09 | 1.9211e-09 | 1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.8156e-13 | -180 | 180 | 6.6816e-13 | 180 | -180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 3.6475e-14 | 1.2604e-25 | 1.2397e-28 | -2.3448e-14 | 5.2106e-15 | 1.0421e-14 | -5.2106e-15 | 5.2106e-15 | -1.0421e-14 | -5.6485e-25 | -5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.6474e-13 | -180 | 180 | 6.8156e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -3.1264e-14 | 30.1766 | -15.8685 | 1.5632e-14 | -23.0225 | 23.0225 | -1.0421e-14 | 3.131 | 13.1032 | 5.2106e-15 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 6.5179e-13 | -161.8563 | 152.6723 | 6.6816e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | -5.2106e-15 | 1.5632e-14 | -2.6053e-14 | 2.0843e-14 | -1.5632e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.6474e-13 | -180 | 180 | 6.6816e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.0843e-14 | -3.6474e-14 | 1.5632e-14 | -3.6475e-14 | 4.1685e-14 | -1.5632e-14 | -1.5632e-14 | -1.9211e-09 | 1.9211e-09 | 1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.8156e-13 | -180 | 180 | 6.6816e-13 | 180 | -180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 3.6475e-14 | 1.2604e-25 | 1.2397e-28 | -2.3448e-14 | 5.2106e-15 | 1.0421e-14 | -5.2106e-15 | 5.2106e-15 | -1.0421e-14 | -5.6485e-25 | -5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.6474e-13 | -180 | 180 | 6.8156e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -1.3027e-14 | 19.0761 | -0.30087 | 1.0421e-14 | -17.4596 | 1.9173 | -1.3027e-14 | 3.9919 | 15.2185 | 1.0421e-14 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 3.0487e-13 | -138.0936 | 121.2196 | 3.1357e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 4.7339e-10 | 1.0338e-09 | -7.816e-15 | -4.7338e-10 | -1.0337e-09 | -7.816e-15 | -1.3544e-09 | 3.8386e-10 | 5.2106e-15 | 1.3544e-09 | -3.8385e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.1388e-13 | -142.8673 | 128.239 | 3.1357e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | 4.7339e-10 | 1.0338e-09 | -1.0421e-14 | -4.7339e-10 | -1.0337e-09 | -1.0421e-14 | -1.3544e-09 | 3.8387e-10 | 7.816e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.2088e-13 | -142.8673 | 128.239 | 3.1357e-13 | -142.8673 | 128.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | -1.0677e-14 | 8.9964e-16 | 1.4591e-29 | 8.1585e-15 | 2.0952e-15 | 2.6053e-15 | 7.3192e-15 | -1.1308e-14 | -2.6053e-15 | 6.1776e-15 | 1.7673e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.1388e-13 | -142.8673 | 128.239 | 3.2088e-13 | -142.8673 | 128.239

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -1.3027e-14 | 19.0761 | -0.30087 | 1.0421e-14 | -17.4596 | 1.9173 | -1.3027e-14 | 3.9919 | 15.2185 | 1.0421e-14 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 3.0487e-13 | -138.0936 | 121.2196 | 3.1357e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 4.7339e-10 | 1.0338e-09 | -7.816e-15 | -4.7338e-10 | -1.0337e-09 | -7.816e-15 | -1.3544e-09 | 3.8386e-10 | 5.2106e-15 | 1.3544e-09 | -3.8385e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.1388e-13 | -142.8673 | 128.239 | 3.1357e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | 4.7339e-10 | 1.0338e-09 | -1.0421e-14 | -4.7339e-10 | -1.0337e-09 | -1.0421e-14 | -1.3544e-09 | 3.8387e-10 | 7.816e-15 | 1.3544e-09 | -3.8386e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.2088e-13 | -142.8673 | 128.239 | 3.1357e-13 | -142.8673 | 128.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | -1.0677e-14 | 8.9964e-16 | 1.4591e-29 | 8.1585e-15 | 2.0952e-15 | 2.6053e-15 | 7.3192e-15 | -1.1308e-14 | -2.6053e-15 | 6.1776e-15 | 1.7673e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 3.1388e-13 | -142.8673 | 128.239 | 3.2088e-13 | -142.8673 | 128.239

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | 2.3685e-15 | 26.5997 | -7.1734 | 4.4354e-29 | -16.8865 | 16.8865 | 4.737e-15 | -0.51586 | 11.9957 | -4.737e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 5.2119e-13 | -160.7833 | 141.207 | 5.3648e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4211e-14 | -2.3684e-15 | 4.737e-15 | 1.6579e-14 | 2.3685e-15 | -2.3685e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 5.0928e-13 | -180 | 180 | 5.3648e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | -2.3684e-15 | 4.737e-15 | 7.1054e-15 | 2.3685e-15 | -2.3685e-15 | -1.4211e-14 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 5.1768e-13 | -180 | 180 | 5.3648e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | 2.3685e-15 | -7.1054e-15 | 7.1054e-15 | 4.0188e-25 | 7.1054e-15 | 1.4211e-14 | 4.737e-15 | 1.4211e-14 | -1.8948e-14 | -7.1054e-15 | -1.4211e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 5.0928e-13 | -180 | 180 | 5.1768e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | 2.3685e-15 | 26.5997 | -7.1734 | 4.4354e-29 | -16.8865 | 16.8865 | 4.737e-15 | -0.51586 | 11.9957 | -4.737e-15 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 5.2119e-13 | -160.7833 | 141.207 | 5.3648e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4211e-14 | -2.3684e-15 | 4.737e-15 | 1.6579e-14 | 2.3685e-15 | -2.3685e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 5.0928e-13 | -180 | 180 | 5.3648e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | -2.3684e-15 | 4.737e-15 | 7.1054e-15 | 2.3685e-15 | -2.3685e-15 | -1.4211e-14 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 5.1768e-13 | -180 | 180 | 5.3648e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | 2.3685e-15 | -7.1054e-15 | 7.1054e-15 | 4.0188e-25 | 7.1054e-15 | 1.4211e-14 | 4.737e-15 | 1.4211e-14 | -1.8948e-14 | -7.1054e-15 | -1.4211e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 5.0928e-13 | -180 | 180 | 5.1768e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | 3.5527e-15 | 15.3932 | 0.73601 | -3.5527e-15 | -13.0917 | 1.5655 | -2.3685e-15 | 2.3135 | 11.9328 | -1.3327e-29 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 2.1745e-13 | -138.1765 | 119.7467 | 2.1492e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7764e-15 | 4.7981e-10 | 8.2615e-10 | 1.7764e-15 | -4.798e-10 | -8.2616e-10 | -6.1155e-30 | -1.0532e-09 | 4.5325e-10 | 6.6633e-30 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 1.9725e-13 | -142.5584 | 131.6989 | 2.1492e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5527e-15 | 4.7981e-10 | 8.2615e-10 | 3.5527e-15 | -4.798e-10 | -8.2616e-10 | -1.2624e-29 | -1.0532e-09 | 4.5325e-10 | 1.3327e-29 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.0359e-13 | -142.5584 | 131.6989 | 2.1492e-13 | -142.5584 | 131.6989
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7764e-15 | 2.4639e-15 | 3.5969e-15 | -1.7764e-15 | -3.542e-15 | -1.4408e-15 | 2.3685e-15 | 1.8867e-15 | 3.0388e-16 | -6.312e-30 | -4.7869e-16 | 1.6171e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 1.9725e-13 | -142.5584 | 131.6989 | 2.0359e-13 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | 3.5527e-15 | 15.3932 | 0.73601 | -3.5527e-15 | -13.0917 | 1.5655 | -2.3685e-15 | 2.3135 | 11.9328 | -1.3327e-29 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 2.1745e-13 | -138.1765 | 119.7467 | 2.1492e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7764e-15 | 4.7981e-10 | 8.2615e-10 | 1.7764e-15 | -4.798e-10 | -8.2616e-10 | -6.1155e-30 | -1.0532e-09 | 4.5325e-10 | 6.6633e-30 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 1.9725e-13 | -142.5584 | 131.6989 | 2.1492e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5527e-15 | 4.7981e-10 | 8.2615e-10 | 3.5527e-15 | -4.798e-10 | -8.2616e-10 | -1.2624e-29 | -1.0532e-09 | 4.5325e-10 | 1.3327e-29 | 1.0532e-09 | -4.5325e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 2.0359e-13 | -142.5584 | 131.6989 | 2.1492e-13 | -142.5584 | 131.6989
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7764e-15 | 2.4639e-15 | 3.5969e-15 | -1.7764e-15 | -3.542e-15 | -1.4408e-15 | 2.3685e-15 | 1.8867e-15 | 3.0388e-16 | -6.312e-30 | -4.7869e-16 | 1.6171e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 1.9725e-13 | -142.5584 | 131.6989 | 2.0359e-13 | -142.5584 | 131.6989

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7915 | 0.018792 | 0.018792 | 1.7912 | 0.014463 | 0.014463 | 20.686 | 0.21699 | 0.21699 | 20.6835 | 0.167 | 0.167 | 5.0852 | 0.19495 | -0.2025 | 1.3248e-12 | -0.15351 | 0.15299 | 2.778 | -0.22331 | -0.33712 | -3.5715e-11 | 0.20118 | 0.28656 | -20.2647 | -105.9791 | -105.9791 | 159.8736 | 74.4335 | 74.4335 | 0.28012 | 1.3661 | 1.8124 | 0 | 1.5153 | 1.9452 | 8.3827 | -154.8588 | 133.0293 | 0 | -158.2204 | 136.3356
Line_1 | 0.0024109 | 0.0024109 | 0.0024109 | 0.0072313 | 0.0072313 | 0.0072313 | 0.027839 | 0.027839 | 0.027839 | 0.0835 | 0.0835 | 0.0835 | 4.2955e-05 | -0.025565 | 0.025522 | -1.4415e-13 | 0.076755 | -0.076497 | 1.7089e-05 | 0.03354 | 0.047801 | 6.1313e-15 | -0.10059 | -0.14328 | 74.4032 | 74.4032 | 74.4032 | -105.5665 | -105.5665 | -105.5665 | 0.0016606 | 1.5149 | 1.9465 | 0 | 1.5153 | 1.9452 | 96.0976 | -158.2809 | 136.3041 | 0 | -158.2204 | 136.3356
Line_2 | 0.0024109 | 0.0024109 | 0.0024109 | 0.0072313 | 0.0072313 | 0.0072313 | 0.027839 | 0.027839 | 0.027839 | 0.0835 | 0.0835 | 0.0835 | 4.2955e-05 | -0.025565 | 0.025522 | -1.4415e-13 | 0.076755 | -0.076497 | 1.7089e-05 | 0.03354 | 0.047801 | 6.1313e-15 | -0.10059 | -0.14328 | 74.4032 | 74.4032 | 74.4032 | -105.5665 | -105.5665 | -105.5665 | 0.0016606 | 1.5149 | 1.9465 | 0 | 1.5153 | 1.9452 | 96.0976 | -158.2809 | 136.3041 | 0 | -158.2204 | 136.3356
Line_3 | 0.0024109 | 0.0024109 | 0.0024109 | 0.0024109 | 0.0024109 | 0.0024109 | 0.027839 | 0.027839 | 0.027839 | 0.027839 | 0.027839 | 0.027839 | -4.2955e-05 | 0.025565 | -0.025522 | -4.2955e-05 | 0.025565 | -0.025522 | -1.7089e-05 | -0.03354 | -0.047801 | -1.7089e-05 | -0.03354 | -0.047801 | -105.5968 | -105.5968 | -105.5968 | -105.5968 | -105.5968 | -105.5968 | 0.0016606 | 1.5149 | 1.9465 | 0.0016606 | 1.5149 | 1.9465 | 96.0976 | -158.2809 | 136.3041 | 96.0976 | -158.2809 | 136.3041

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7915 | 0.018792 | 0.018792 | 1.7912 | 0.014463 | 0.014463 | 20.686 | 0.21699 | 0.21699 | 20.6835 | 0.167 | 0.167 | 5.0852 | 0.19495 | -0.2025 | 1.3248e-12 | -0.15351 | 0.15299 | 2.778 | -0.22331 | -0.33712 | -3.5715e-11 | 0.20118 | 0.28656 | -20.2647 | -105.9791 | -105.9791 | 159.8736 | 74.4335 | 74.4335 | 0.28012 | 1.3661 | 1.8124 | 0 | 1.5153 | 1.9452 | 8.3827 | -154.8588 | 133.0293 | 0 | -158.2204 | 136.3356
Line_1 | 0.0024109 | 0.0024109 | 0.0024109 | 0.0072313 | 0.0072313 | 0.0072313 | 0.027839 | 0.027839 | 0.027839 | 0.0835 | 0.0835 | 0.0835 | 4.2955e-05 | -0.025565 | 0.025522 | -1.4415e-13 | 0.076755 | -0.076497 | 1.7089e-05 | 0.03354 | 0.047801 | 6.1313e-15 | -0.10059 | -0.14328 | 74.4032 | 74.4032 | 74.4032 | -105.5665 | -105.5665 | -105.5665 | 0.0016606 | 1.5149 | 1.9465 | 0 | 1.5153 | 1.9452 | 96.0976 | -158.2809 | 136.3041 | 0 | -158.2204 | 136.3356
Line_2 | 0.0024109 | 0.0024109 | 0.0024109 | 0.0072313 | 0.0072313 | 0.0072313 | 0.027839 | 0.027839 | 0.027839 | 0.0835 | 0.0835 | 0.0835 | 4.2955e-05 | -0.025565 | 0.025522 | -1.4415e-13 | 0.076755 | -0.076497 | 1.7089e-05 | 0.03354 | 0.047801 | 6.1313e-15 | -0.10059 | -0.14328 | 74.4032 | 74.4032 | 74.4032 | -105.5665 | -105.5665 | -105.5665 | 0.0016606 | 1.5149 | 1.9465 | 0 | 1.5153 | 1.9452 | 96.0976 | -158.2809 | 136.3041 | 0 | -158.2204 | 136.3356
Line_3 | 0.0024109 | 0.0024109 | 0.0024109 | 0.0024109 | 0.0024109 | 0.0024109 | 0.027839 | 0.027839 | 0.027839 | 0.027839 | 0.027839 | 0.027839 | -4.2955e-05 | 0.025565 | -0.025522 | -4.2955e-05 | 0.025565 | -0.025522 | -1.7089e-05 | -0.03354 | -0.047801 | -1.7089e-05 | -0.03354 | -0.047801 | -105.5968 | -105.5968 | -105.5968 | -105.5968 | -105.5968 | -105.5968 | 0.0016606 | 1.5149 | 1.9465 | 0.0016606 | 1.5149 | 1.9465 | 96.0976 | -158.2809 | 136.3041 | 96.0976 | -158.2809 | 136.3041

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.91965 | 0.0096468 | 0.0096468 | 0.91954 | 0.0074244 | 0.0074244 | 10.6192 | 0.11139 | 0.11139 | 10.6179 | 0.085729 | 0.085729 | 5.5213 | 0.11284 | -0.073447 | -4.191 | -0.087829 | 0.056104 | 5.0018 | -0.046552 | -0.14822 | -4.2591 | 0.043891 | 0.12111 | -32.9102 | -118.6246 | -118.6246 | 147.2281 | 61.788 | 61.788 | 0.70156 | 1.0958 | 1.4851 | 0.56276 | 1.1453 | 1.5569 | 9.2633 | -141.0424 | 125.0163 | 12.6896 | -144.7652 | 126.9315
Line_1 | 0.0012377 | 0.0012377 | 0.0012377 | 0.0037122 | 0.0037122 | 0.0037122 | 0.014291 | 0.014291 | 0.014291 | 0.042865 | 0.042865 | 0.042865 | 0.0052804 | -0.014634 | 0.0093533 | -0.015794 | 0.043914 | -0.028052 | -0.0060715 | 0.0073135 | 0.020198 | 0.018233 | -0.021946 | -0.060553 | 61.7577 | 61.7577 | 61.7577 | -118.212 | -118.212 | -118.212 | 0.56304 | 1.1447 | 1.5575 | 0.56276 | 1.1453 | 1.5569 | 12.7715 | -144.797 | 126.9099 | 12.6896 | -144.7652 | 126.9315
Line_2 | 0.0012377 | 0.0012377 | 0.0012377 | 0.0037122 | 0.0037122 | 0.0037122 | 0.014291 | 0.014291 | 0.014291 | 0.042865 | 0.042865 | 0.042865 | 0.0052804 | -0.014634 | 0.0093533 | -0.015794 | 0.043914 | -0.028052 | -0.0060715 | 0.0073135 | 0.020198 | 0.018233 | -0.021946 | -0.060553 | 61.7577 | 61.7577 | 61.7577 | -118.212 | -118.212 | -118.212 | 0.56304 | 1.1447 | 1.5575 | 0.56276 | 1.1453 | 1.5569 | 12.7715 | -144.797 | 126.9099 | 12.6896 | -144.7652 | 126.9315
Line_3 | 0.0012377 | 0.0012377 | 0.0012377 | 0.0012377 | 0.0012377 | 0.0012377 | 0.014291 | 0.014291 | 0.014291 | 0.014291 | 0.014291 | 0.014291 | -0.0052804 | 0.014634 | -0.0093533 | -0.0052804 | 0.014634 | -0.0093533 | 0.0060715 | -0.0073135 | -0.020198 | 0.0060715 | -0.0073135 | -0.020198 | -118.2423 | -118.2423 | -118.2423 | -118.2423 | -118.2423 | -118.2423 | 0.56304 | 1.1447 | 1.5575 | 0.56304 | 1.1447 | 1.5575 | 12.7715 | -144.797 | 126.9099 | 12.7715 | -144.797 | 126.9099

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.91965 | 0.0096468 | 0.0096468 | 0.91954 | 0.0074244 | 0.0074244 | 10.6192 | 0.11139 | 0.11139 | 10.6179 | 0.085729 | 0.085729 | 5.5213 | 0.11284 | -0.073447 | -4.191 | -0.087829 | 0.056104 | 5.0018 | -0.046552 | -0.14822 | -4.2591 | 0.043891 | 0.12111 | -32.9102 | -118.6246 | -118.6246 | 147.2281 | 61.788 | 61.788 | 0.70156 | 1.0958 | 1.4851 | 0.56276 | 1.1453 | 1.5569 | 9.2633 | -141.0424 | 125.0163 | 12.6896 | -144.7652 | 126.9315
Line_1 | 0.0012377 | 0.0012377 | 0.0012377 | 0.0037122 | 0.0037122 | 0.0037122 | 0.014291 | 0.014291 | 0.014291 | 0.042865 | 0.042865 | 0.042865 | 0.0052804 | -0.014634 | 0.0093533 | -0.015794 | 0.043914 | -0.028052 | -0.0060715 | 0.0073135 | 0.020198 | 0.018233 | -0.021946 | -0.060553 | 61.7577 | 61.7577 | 61.7577 | -118.212 | -118.212 | -118.212 | 0.56304 | 1.1447 | 1.5575 | 0.56276 | 1.1453 | 1.5569 | 12.7715 | -144.797 | 126.9099 | 12.6896 | -144.7652 | 126.9315
Line_2 | 0.0012377 | 0.0012377 | 0.0012377 | 0.0037122 | 0.0037122 | 0.0037122 | 0.014291 | 0.014291 | 0.014291 | 0.042865 | 0.042865 | 0.042865 | 0.0052804 | -0.014634 | 0.0093533 | -0.015794 | 0.043914 | -0.028052 | -0.0060715 | 0.0073135 | 0.020198 | 0.018233 | -0.021946 | -0.060553 | 61.7577 | 61.7577 | 61.7577 | -118.212 | -118.212 | -118.212 | 0.56304 | 1.1447 | 1.5575 | 0.56276 | 1.1453 | 1.5569 | 12.7715 | -144.797 | 126.9099 | 12.6896 | -144.7652 | 126.9315
Line_3 | 0.0012377 | 0.0012377 | 0.0012377 | 0.0012377 | 0.0012377 | 0.0012377 | 0.014291 | 0.014291 | 0.014291 | 0.014291 | 0.014291 | 0.014291 | -0.0052804 | 0.014634 | -0.0093533 | -0.0052804 | 0.014634 | -0.0093533 | 0.0060715 | -0.0073135 | -0.020198 | 0.0060715 | -0.0073135 | -0.020198 | -118.2423 | -118.2423 | -118.2423 | -118.2423 | -118.2423 | -118.2423 | 0.56304 | 1.1447 | 1.5575 | 0.56304 | 1.1447 | 1.5575 | 12.7715 | -144.797 | 126.9099 | 12.7715 | -144.797 | 126.9099

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.3615 | 0.016592 | 0.016592 | 1.3613 | 0.012971 | 0.012971 | 15.7212 | 0.19159 | 0.19159 | 15.7195 | 0.14977 | 0.14977 | 5.6329 | 0.1601 | -0.16223 | -8.746e-12 | -0.12653 | 0.12573 | 1.5606 | -0.16497 | -0.24383 | 5.0779e-12 | 0.1659 | 0.2264 | -17.0817 | -103.7493 | -103.7493 | 163.0706 | 76.5134 | 76.5134 | 0.3718 | 1.1999 | 1.5287 | 0 | 1.3931 | 1.7291 | -1.596 | -149.6075 | 132.6136 | 0 | -156.1548 | 137.4678
Line_1 | 0.0021622 | 0.0021622 | 0.0021622 | 0.0064853 | 0.0064853 | 0.0064853 | 0.024967 | 0.024967 | 0.024967 | 0.074886 | 0.074886 | 0.074886 | 6.6336e-05 | -0.021054 | 0.020988 | 2.6649e-14 | 0.063264 | -0.062866 | 1.3745e-05 | 0.027648 | 0.037776 | 4.0137e-14 | -0.08295 | -0.1132 | 76.4553 | 76.4553 | 76.4553 | -103.4866 | -103.4866 | -103.4866 | 0.0027134 | 1.3919 | 1.7309 | 0 | 1.3931 | 1.7291 | 88.1617 | -156.2555 | 137.3997 | 0 | -156.1548 | 137.4678
Line_2 | 0.0021622 | 0.0021622 | 0.0021622 | 0.0064853 | 0.0064853 | 0.0064853 | 0.024967 | 0.024967 | 0.024967 | 0.074886 | 0.074886 | 0.074886 | 6.6336e-05 | -0.021054 | 0.020988 | 2.6649e-14 | 0.063264 | -0.062866 | 1.3745e-05 | 0.027648 | 0.037776 | 4.0137e-14 | -0.08295 | -0.1132 | 76.4553 | 76.4553 | 76.4553 | -103.4866 | -103.4866 | -103.4866 | 0.0027134 | 1.3919 | 1.7309 | 0 | 1.3931 | 1.7291 | 88.1617 | -156.2555 | 137.3997 | 0 | -156.1548 | 137.4678
Line_3 | 0.0021622 | 0.0021622 | 0.0021622 | 0.0021622 | 0.0021622 | 0.0021622 | 0.024967 | 0.024967 | 0.024967 | 0.024967 | 0.024967 | 0.024967 | -6.6336e-05 | 0.021054 | -0.020988 | -6.6336e-05 | 0.021054 | -0.020988 | -1.3745e-05 | -0.027648 | -0.037776 | -1.3745e-05 | -0.027648 | -0.037776 | -103.5447 | -103.5447 | -103.5447 | -103.5447 | -103.5447 | -103.5447 | 0.0027134 | 1.3919 | 1.7309 | 0.0027134 | 1.3919 | 1.7309 | 88.1617 | -156.2555 | 137.3997 | 88.1617 | -156.2555 | 137.3997

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.3615 | 0.016592 | 0.016592 | 1.3613 | 0.012971 | 0.012971 | 15.7212 | 0.19159 | 0.19159 | 15.7195 | 0.14977 | 0.14977 | 5.6329 | 0.1601 | -0.16223 | -8.746e-12 | -0.12653 | 0.12573 | 1.5606 | -0.16497 | -0.24383 | 5.0779e-12 | 0.1659 | 0.2264 | -17.0817 | -103.7493 | -103.7493 | 163.0706 | 76.5134 | 76.5134 | 0.3718 | 1.1999 | 1.5287 | 0 | 1.3931 | 1.7291 | -1.596 | -149.6075 | 132.6136 | 0 | -156.1548 | 137.4678
Line_1 | 0.0021622 | 0.0021622 | 0.0021622 | 0.0064853 | 0.0064853 | 0.0064853 | 0.024967 | 0.024967 | 0.024967 | 0.074886 | 0.074886 | 0.074886 | 6.6336e-05 | -0.021054 | 0.020988 | 2.6649e-14 | 0.063264 | -0.062866 | 1.3745e-05 | 0.027648 | 0.037776 | 4.0137e-14 | -0.08295 | -0.1132 | 76.4553 | 76.4553 | 76.4553 | -103.4866 | -103.4866 | -103.4866 | 0.0027134 | 1.3919 | 1.7309 | 0 | 1.3931 | 1.7291 | 88.1617 | -156.2555 | 137.3997 | 0 | -156.1548 | 137.4678
Line_2 | 0.0021622 | 0.0021622 | 0.0021622 | 0.0064853 | 0.0064853 | 0.0064853 | 0.024967 | 0.024967 | 0.024967 | 0.074886 | 0.074886 | 0.074886 | 6.6336e-05 | -0.021054 | 0.020988 | 2.6649e-14 | 0.063264 | -0.062866 | 1.3745e-05 | 0.027648 | 0.037776 | 4.0137e-14 | -0.08295 | -0.1132 | 76.4553 | 76.4553 | 76.4553 | -103.4866 | -103.4866 | -103.4866 | 0.0027134 | 1.3919 | 1.7309 | 0 | 1.3931 | 1.7291 | 88.1617 | -156.2555 | 137.3997 | 0 | -156.1548 | 137.4678
Line_3 | 0.0021622 | 0.0021622 | 0.0021622 | 0.0021622 | 0.0021622 | 0.0021622 | 0.024967 | 0.024967 | 0.024967 | 0.024967 | 0.024967 | 0.024967 | -6.6336e-05 | 0.021054 | -0.020988 | -6.6336e-05 | 0.021054 | -0.020988 | -1.3745e-05 | -0.027648 | -0.037776 | -1.3745e-05 | -0.027648 | -0.037776 | -103.5447 | -103.5447 | -103.5447 | -103.5447 | -103.5447 | -103.5447 | 0.0027134 | 1.3919 | 1.7309 | 0.0027134 | 1.3919 | 1.7309 | 88.1617 | -156.2555 | 137.3997 | 88.1617 | -156.2555 | 137.3997

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.76625 | 0.0093379 | 0.0093379 | 0.76617 | 0.0072999 | 0.0072999 | 8.8479 | 0.10782 | 0.10782 | 8.8469 | 0.084292 | 0.084292 | 4.6821 | 0.1001 | -0.066704 | -2.9055 | -0.078726 | 0.051972 | 3.4636 | -0.041425 | -0.12542 | -2.9613 | 0.044261 | 0.10933 | -30.0603 | -116.7279 | -116.7279 | 150.092 | 63.5348 | 63.5348 | 0.65823 | 1.0047 | 1.3175 | 0.46893 | 1.0715 | 1.4361 | 6.4325 | -139.2094 | 125.2661 | 15.6372 | -145.8106 | 128.1088
Line_1 | 0.0012169 | 0.0012169 | 0.0012169 | 0.00365 | 0.00365 | 0.00365 | 0.014052 | 0.014052 | 0.014052 | 0.042146 | 0.042146 | 0.042146 | 0.0044438 | -0.01311 | 0.0086664 | -0.013251 | 0.039363 | -0.025986 | -0.0048801 | 0.0073694 | 0.018238 | 0.014664 | -0.022131 | -0.054663 | 63.4767 | 63.4767 | 63.4767 | -116.4652 | -116.4652 | -116.4652 | 0.46971 | 1.0703 | 1.437 | 0.46893 | 1.0715 | 1.4361 | 15.7977 | -145.8643 | 128.0603 | 15.6372 | -145.8106 | 128.1088
Line_2 | 0.0012169 | 0.0012169 | 0.0012169 | 0.00365 | 0.00365 | 0.00365 | 0.014052 | 0.014052 | 0.014052 | 0.042146 | 0.042146 | 0.042146 | 0.0044438 | -0.01311 | 0.0086664 | -0.013251 | 0.039363 | -0.025986 | -0.0048801 | 0.0073694 | 0.018238 | 0.014664 | -0.022131 | -0.054663 | 63.4767 | 63.4767 | 63.4767 | -116.4652 | -116.4652 | -116.4652 | 0.46971 | 1.0703 | 1.437 | 0.46893 | 1.0715 | 1.4361 | 15.7977 | -145.8643 | 128.0603 | 15.6372 | -145.8106 | 128.1088
Line_3 | 0.0012169 | 0.0012169 | 0.0012169 | 0.0012169 | 0.0012169 | 0.0012169 | 0.014052 | 0.014052 | 0.014052 | 0.014052 | 0.014052 | 0.014052 | -0.0044438 | 0.01311 | -0.0086664 | -0.0044438 | 0.01311 | -0.0086664 | 0.0048801 | -0.0073694 | -0.018238 | 0.0048801 | -0.0073694 | -0.018238 | -116.5233 | -116.5233 | -116.5233 | -116.5233 | -116.5233 | -116.5233 | 0.46971 | 1.0703 | 1.437 | 0.46971 | 1.0703 | 1.437 | 15.7977 | -145.8643 | 128.0603 | 15.7977 | -145.8643 | 128.0603

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.76625 | 0.0093379 | 0.0093379 | 0.76617 | 0.0072999 | 0.0072999 | 8.8479 | 0.10782 | 0.10782 | 8.8469 | 0.084292 | 0.084292 | 4.6821 | 0.1001 | -0.066704 | -2.9055 | -0.078726 | 0.051972 | 3.4636 | -0.041425 | -0.12542 | -2.9613 | 0.044261 | 0.10933 | -30.0603 | -116.7279 | -116.7279 | 150.092 | 63.5348 | 63.5348 | 0.65823 | 1.0047 | 1.3175 | 0.46893 | 1.0715 | 1.4361 | 6.4325 | -139.2094 | 125.2661 | 15.6372 | -145.8106 | 128.1088
Line_1 | 0.0012169 | 0.0012169 | 0.0012169 | 0.00365 | 0.00365 | 0.00365 | 0.014052 | 0.014052 | 0.014052 | 0.042146 | 0.042146 | 0.042146 | 0.0044438 | -0.01311 | 0.0086664 | -0.013251 | 0.039363 | -0.025986 | -0.0048801 | 0.0073694 | 0.018238 | 0.014664 | -0.022131 | -0.054663 | 63.4767 | 63.4767 | 63.4767 | -116.4652 | -116.4652 | -116.4652 | 0.46971 | 1.0703 | 1.437 | 0.46893 | 1.0715 | 1.4361 | 15.7977 | -145.8643 | 128.0603 | 15.6372 | -145.8106 | 128.1088
Line_2 | 0.0012169 | 0.0012169 | 0.0012169 | 0.00365 | 0.00365 | 0.00365 | 0.014052 | 0.014052 | 0.014052 | 0.042146 | 0.042146 | 0.042146 | 0.0044438 | -0.01311 | 0.0086664 | -0.013251 | 0.039363 | -0.025986 | -0.0048801 | 0.0073694 | 0.018238 | 0.014664 | -0.022131 | -0.054663 | 63.4767 | 63.4767 | 63.4767 | -116.4652 | -116.4652 | -116.4652 | 0.46971 | 1.0703 | 1.437 | 0.46893 | 1.0715 | 1.4361 | 15.7977 | -145.8643 | 128.0603 | 15.6372 | -145.8106 | 128.1088
Line_3 | 0.0012169 | 0.0012169 | 0.0012169 | 0.0012169 | 0.0012169 | 0.0012169 | 0.014052 | 0.014052 | 0.014052 | 0.014052 | 0.014052 | 0.014052 | -0.0044438 | 0.01311 | -0.0086664 | -0.0044438 | 0.01311 | -0.0086664 | 0.0048801 | -0.0073694 | -0.018238 | 0.0048801 | -0.0073694 | -0.018238 | -116.5233 | -116.5233 | -116.5233 | -116.5233 | -116.5233 | -116.5233 | 0.46971 | 1.0703 | 1.437 | 0.46971 | 1.0703 | 1.437 | 15.7977 | -145.8643 | 128.0603 | 15.7977 | -145.8643 | 128.0603

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010358 | 4.172 | 3.2556 | 0.0079715 | 4.1726 | 3.2547 | 0.1196 | 48.1738 | 37.5919 | 0.092048 | 48.1813 | 37.5818 | -0.00035179 | 13.5687 | 2.0293 | -0.00015661 | 7.5676e-11 | 5.99e-11 | -0.18139 | 9.94 | 6.8622 | 0.14818 | -4.09e-11 | 2.9122e-11 | 85.3017 | -170.3011 | 15.4518 | -94.2857 | 9.7304 | -164.5873 | 1.5167 | 0.34915 | 0.19036 | 1.6098 | 0 | 0 | -4.8094 | -134.0758 | 88.9776 | -4.2252 | 0 | 0
Line_1 | 0.0013289 | 0.0013289 | 0.0013289 | 0.0039858 | 0.0039858 | 0.0039858 | 0.015344 | 0.015344 | 0.015344 | 0.046024 | 0.046024 | 0.046024 | -2.6103e-05 | 1.305e-05 | 1.305e-05 | 7.8303e-05 | -2.0398e-14 | -5.8302e-14 | 0.024706 | 5.1917e-06 | 5.1917e-06 | -0.074088 | -7.9598e-14 | 5.7042e-14 | -94.316 | -94.316 | -94.316 | 85.7143 | 85.7143 | 85.7143 | 1.6101 | 0.0009153 | 0.0009153 | 1.6098 | 0 | 0 | -4.2555 | -72.6216 | -72.6216 | -4.2252 | 0 | 0
Line_2 | 0.0013289 | 0.0013289 | 0.0013289 | 0.0039858 | 0.0039858 | 0.0039858 | 0.015344 | 0.015344 | 0.015344 | 0.046024 | 0.046024 | 0.046024 | -2.6103e-05 | 1.305e-05 | 1.305e-05 | 7.8303e-05 | -2.0398e-14 | -5.8302e-14 | 0.024706 | 5.1917e-06 | 5.1917e-06 | -0.074088 | -7.9598e-14 | 5.7042e-14 | -94.316 | -94.316 | -94.316 | 85.7143 | 85.7143 | 85.7143 | 1.6101 | 0.0009153 | 0.0009153 | 1.6098 | 0 | 0 | -4.2555 | -72.6216 | -72.6216 | -4.2252 | 0 | 0
Line_3 | 0.0013289 | 0.0013289 | 0.0013289 | 0.0013289 | 0.0013289 | 0.0013289 | 0.015344 | 0.015344 | 0.015344 | 0.015344 | 0.015344 | 0.015344 | 2.61e-05 | -1.305e-05 | -1.305e-05 | 2.61e-05 | -1.305e-05 | -1.305e-05 | -0.024706 | -5.1917e-06 | -5.1917e-06 | -0.024706 | -5.1917e-06 | -5.1917e-06 | 85.684 | 85.684 | 85.684 | 85.684 | 85.684 | 85.684 | 1.6101 | 0.0009153 | 0.0009153 | 1.6101 | 0.0009153 | 0.0009153 | -4.2555 | -72.6216 | -72.6216 | -4.2555 | -72.6216 | -72.6216

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010358 | 4.172 | 3.2556 | 0.0079715 | 4.1726 | 3.2547 | 0.1196 | 48.1738 | 37.5919 | 0.092048 | 48.1813 | 37.5818 | -0.00035179 | 13.5687 | 2.0293 | -0.00015661 | 7.5676e-11 | 5.99e-11 | -0.18139 | 9.94 | 6.8622 | 0.14818 | -4.09e-11 | 2.9122e-11 | 85.3017 | -170.3011 | 15.4518 | -94.2857 | 9.7304 | -164.5873 | 1.5167 | 0.34915 | 0.19036 | 1.6098 | 0 | 0 | -4.8094 | -134.0758 | 88.9776 | -4.2252 | 0 | 0
Line_1 | 0.0013289 | 0.0013289 | 0.0013289 | 0.0039858 | 0.0039858 | 0.0039858 | 0.015344 | 0.015344 | 0.015344 | 0.046024 | 0.046024 | 0.046024 | -2.6103e-05 | 1.305e-05 | 1.305e-05 | 7.8303e-05 | -2.0398e-14 | -5.8302e-14 | 0.024706 | 5.1917e-06 | 5.1917e-06 | -0.074088 | -7.9598e-14 | 5.7042e-14 | -94.316 | -94.316 | -94.316 | 85.7143 | 85.7143 | 85.7143 | 1.6101 | 0.0009153 | 0.0009153 | 1.6098 | 0 | 0 | -4.2555 | -72.6216 | -72.6216 | -4.2252 | 0 | 0
Line_2 | 0.0013289 | 0.0013289 | 0.0013289 | 0.0039858 | 0.0039858 | 0.0039858 | 0.015344 | 0.015344 | 0.015344 | 0.046024 | 0.046024 | 0.046024 | -2.6103e-05 | 1.305e-05 | 1.305e-05 | 7.8303e-05 | -2.0398e-14 | -5.8302e-14 | 0.024706 | 5.1917e-06 | 5.1917e-06 | -0.074088 | -7.9598e-14 | 5.7042e-14 | -94.316 | -94.316 | -94.316 | 85.7143 | 85.7143 | 85.7143 | 1.6101 | 0.0009153 | 0.0009153 | 1.6098 | 0 | 0 | -4.2555 | -72.6216 | -72.6216 | -4.2252 | 0 | 0
Line_3 | 0.0013289 | 0.0013289 | 0.0013289 | 0.0013289 | 0.0013289 | 0.0013289 | 0.015344 | 0.015344 | 0.015344 | 0.015344 | 0.015344 | 0.015344 | 2.61e-05 | -1.305e-05 | -1.305e-05 | 2.61e-05 | -1.305e-05 | -1.305e-05 | -0.024706 | -5.1917e-06 | -5.1917e-06 | -0.024706 | -5.1917e-06 | -5.1917e-06 | 85.684 | 85.684 | 85.684 | 85.684 | 85.684 | 85.684 | 1.6101 | 0.0009153 | 0.0009153 | 1.6101 | 0.0009153 | 0.0009153 | -4.2555 | -72.6216 | -72.6216 | -4.2555 | -72.6216 | -72.6216

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0070095 | 1.3423 | 0.99738 | 0.0053946 | 1.3434 | 0.99586 | 0.080938 | 15.4996 | 11.5168 | 0.062292 | 15.5122 | 11.4991 | 0.021689 | 10.7902 | 5.0959 | -0.01675 | -9.0194 | -4.9432 | -0.10793 | 9.6367 | 6.1455 | 0.087113 | -9.0746 | -4.9239 | 72.4917 | -156.7077 | 51.9636 | -107.0958 | 23.3434 | -128.0669 | 1.3602 | 0.93338 | 0.6932 | 1.4241 | 0.8248 | 0.60675 | -6.1463 | -114.9397 | 102.2982 | -6.2122 | -111.4819 | 96.8214
Line_1 | 0.0008993 | 0.0008993 | 0.0008993 | 0.0026973 | 0.0026973 | 0.0026973 | 0.010384 | 0.010384 | 0.010384 | 0.031146 | 0.031146 | 0.031146 | -0.0027939 | 0.0085461 | -0.0057523 | 0.0083748 | -0.025614 | 0.017275 | 0.014523 | -0.00064814 | -0.002555 | -0.043557 | 0.0019647 | 0.0076615 | -107.126 | -107.126 | -107.126 | 72.9042 | 72.9042 | 72.9042 | 1.4242 | 0.82536 | 0.60613 | 1.4241 | 0.8248 | 0.60675 | -6.2366 | -111.4631 | 96.8237 | -6.2122 | -111.4819 | 96.8214
Line_2 | 0.0008993 | 0.0008993 | 0.0008993 | 0.0026973 | 0.0026973 | 0.0026973 | 0.010384 | 0.010384 | 0.010384 | 0.031146 | 0.031146 | 0.031146 | -0.0027939 | 0.0085461 | -0.0057523 | 0.0083748 | -0.025614 | 0.017275 | 0.014523 | -0.00064814 | -0.002555 | -0.043557 | 0.0019647 | 0.0076615 | -107.126 | -107.126 | -107.126 | 72.9042 | 72.9042 | 72.9042 | 1.4242 | 0.82536 | 0.60613 | 1.4241 | 0.8248 | 0.60675 | -6.2366 | -111.4631 | 96.8237 | -6.2122 | -111.4819 | 96.8214
Line_3 | 0.0008993 | 0.0008993 | 0.0008993 | 0.0008993 | 0.0008993 | 0.0008993 | 0.010384 | 0.010384 | 0.010384 | 0.010384 | 0.010384 | 0.010384 | 0.0027939 | -0.0085461 | 0.0057523 | 0.0027939 | -0.0085461 | 0.0057523 | -0.014523 | 0.00064814 | 0.002555 | -0.014523 | 0.00064814 | 0.002555 | 72.874 | 72.874 | 72.874 | 72.874 | 72.874 | 72.874 | 1.4242 | 0.82536 | 0.60613 | 1.4242 | 0.82536 | 0.60613 | -6.2366 | -111.4631 | 96.8237 | -6.2366 | -111.4631 | 96.8237

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0070095 | 1.3423 | 0.99738 | 0.0053946 | 1.3434 | 0.99586 | 0.080938 | 15.4996 | 11.5168 | 0.062292 | 15.5122 | 11.4991 | 0.021689 | 10.7902 | 5.0959 | -0.01675 | -9.0194 | -4.9432 | -0.10793 | 9.6367 | 6.1455 | 0.087113 | -9.0746 | -4.9239 | 72.4917 | -156.7077 | 51.9636 | -107.0958 | 23.3434 | -128.0669 | 1.3602 | 0.93338 | 0.6932 | 1.4241 | 0.8248 | 0.60675 | -6.1463 | -114.9397 | 102.2982 | -6.2122 | -111.4819 | 96.8214
Line_1 | 0.0008993 | 0.0008993 | 0.0008993 | 0.0026973 | 0.0026973 | 0.0026973 | 0.010384 | 0.010384 | 0.010384 | 0.031146 | 0.031146 | 0.031146 | -0.0027939 | 0.0085461 | -0.0057523 | 0.0083748 | -0.025614 | 0.017275 | 0.014523 | -0.00064814 | -0.002555 | -0.043557 | 0.0019647 | 0.0076615 | -107.126 | -107.126 | -107.126 | 72.9042 | 72.9042 | 72.9042 | 1.4242 | 0.82536 | 0.60613 | 1.4241 | 0.8248 | 0.60675 | -6.2366 | -111.4631 | 96.8237 | -6.2122 | -111.4819 | 96.8214
Line_2 | 0.0008993 | 0.0008993 | 0.0008993 | 0.0026973 | 0.0026973 | 0.0026973 | 0.010384 | 0.010384 | 0.010384 | 0.031146 | 0.031146 | 0.031146 | -0.0027939 | 0.0085461 | -0.0057523 | 0.0083748 | -0.025614 | 0.017275 | 0.014523 | -0.00064814 | -0.002555 | -0.043557 | 0.0019647 | 0.0076615 | -107.126 | -107.126 | -107.126 | 72.9042 | 72.9042 | 72.9042 | 1.4242 | 0.82536 | 0.60613 | 1.4241 | 0.8248 | 0.60675 | -6.2366 | -111.4631 | 96.8237 | -6.2122 | -111.4819 | 96.8214
Line_3 | 0.0008993 | 0.0008993 | 0.0008993 | 0.0008993 | 0.0008993 | 0.0008993 | 0.010384 | 0.010384 | 0.010384 | 0.010384 | 0.010384 | 0.010384 | 0.0027939 | -0.0085461 | 0.0057523 | 0.0027939 | -0.0085461 | 0.0057523 | -0.014523 | 0.00064814 | 0.002555 | -0.014523 | 0.00064814 | 0.002555 | 72.874 | 72.874 | 72.874 | 72.874 | 72.874 | 72.874 | 1.4242 | 0.82536 | 0.60613 | 1.4242 | 0.82536 | 0.60613 | -6.2366 | -111.4631 | 96.8237 | -6.2366 | -111.4631 | 96.8237

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0092186 | 3.4567 | 2.792 | 0.0072066 | 3.4575 | 2.791 | 0.10645 | 39.9144 | 32.2392 | 0.083215 | 39.9233 | 32.2279 | 0.00018285 | 17.051 | 3.828 | -0.00024574 | -1.4666e-10 | 2.6119e-11 | -0.14055 | 5.4156 | 6.3918 | 0.1211 | -1.5077e-10 | -1.6768e-10 | 85.9378 | -162.6596 | 24.0271 | -93.7995 | 17.3712 | -156.009 | 1.3204 | 0.44822 | 0.2311 | 1.4553 | 0 | 0 | -3.9877 | -145.0391 | 83.1099 | -3.6832 | 0 | 0
Line_1 | 0.0012014 | 0.0012014 | 0.0012014 | 0.0036033 | 0.0036033 | 0.0036033 | 0.013872 | 0.013872 | 0.013872 | 0.041607 | 0.041607 | 0.041607 | -4.0959e-05 | 2.0478e-05 | 2.0478e-05 | 0.00012287 | -2.0172e-13 | 1.7579e-13 | 0.020192 | 4.2432e-06 | 4.2432e-06 | -0.060552 | 8.5782e-14 | 1.3076e-13 | -93.8576 | -93.8576 | -93.8576 | 86.2005 | 86.2005 | 86.2005 | 1.4556 | 0.0015076 | 0.0015076 | 1.4553 | 0 | 0 | -3.7414 | -82.1513 | -82.1513 | -3.6832 | 0 | 0
Line_2 | 0.0012014 | 0.0012014 | 0.0012014 | 0.0036033 | 0.0036033 | 0.0036033 | 0.013872 | 0.013872 | 0.013872 | 0.041607 | 0.041607 | 0.041607 | -4.0959e-05 | 2.0478e-05 | 2.0478e-05 | 0.00012287 | -2.0172e-13 | 1.7579e-13 | 0.020192 | 4.2432e-06 | 4.2432e-06 | -0.060552 | 8.5782e-14 | 1.3076e-13 | -93.8576 | -93.8576 | -93.8576 | 86.2005 | 86.2005 | 86.2005 | 1.4556 | 0.0015076 | 0.0015076 | 1.4553 | 0 | 0 | -3.7414 | -82.1513 | -82.1513 | -3.6832 | 0 | 0
Line_3 | 0.0012014 | 0.0012014 | 0.0012014 | 0.0012014 | 0.0012014 | 0.0012014 | 0.013872 | 0.013872 | 0.013872 | 0.013872 | 0.013872 | 0.013872 | 4.0956e-05 | -2.0478e-05 | -2.0478e-05 | 4.0956e-05 | -2.0478e-05 | -2.0478e-05 | -0.020192 | -4.2432e-06 | -4.2432e-06 | -0.020192 | -4.2432e-06 | -4.2432e-06 | 86.1424 | 86.1424 | 86.1424 | 86.1424 | 86.1424 | 86.1424 | 1.4556 | 0.0015076 | 0.0015076 | 1.4556 | 0.0015076 | 0.0015076 | -3.7414 | -82.1513 | -82.1513 | -3.7414 | -82.1513 | -82.1513

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0092186 | 3.4567 | 2.792 | 0.0072066 | 3.4575 | 2.791 | 0.10645 | 39.9144 | 32.2392 | 0.083215 | 39.9233 | 32.2279 | 0.00018285 | 17.051 | 3.828 | -0.00024574 | -1.4666e-10 | 2.6119e-11 | -0.14055 | 5.4156 | 6.3918 | 0.1211 | -1.5077e-10 | -1.6768e-10 | 85.9378 | -162.6596 | 24.0271 | -93.7995 | 17.3712 | -156.009 | 1.3204 | 0.44822 | 0.2311 | 1.4553 | 0 | 0 | -3.9877 | -145.0391 | 83.1099 | -3.6832 | 0 | 0
Line_1 | 0.0012014 | 0.0012014 | 0.0012014 | 0.0036033 | 0.0036033 | 0.0036033 | 0.013872 | 0.013872 | 0.013872 | 0.041607 | 0.041607 | 0.041607 | -4.0959e-05 | 2.0478e-05 | 2.0478e-05 | 0.00012287 | -2.0172e-13 | 1.7579e-13 | 0.020192 | 4.2432e-06 | 4.2432e-06 | -0.060552 | 8.5782e-14 | 1.3076e-13 | -93.8576 | -93.8576 | -93.8576 | 86.2005 | 86.2005 | 86.2005 | 1.4556 | 0.0015076 | 0.0015076 | 1.4553 | 0 | 0 | -3.7414 | -82.1513 | -82.1513 | -3.6832 | 0 | 0
Line_2 | 0.0012014 | 0.0012014 | 0.0012014 | 0.0036033 | 0.0036033 | 0.0036033 | 0.013872 | 0.013872 | 0.013872 | 0.041607 | 0.041607 | 0.041607 | -4.0959e-05 | 2.0478e-05 | 2.0478e-05 | 0.00012287 | -2.0172e-13 | 1.7579e-13 | 0.020192 | 4.2432e-06 | 4.2432e-06 | -0.060552 | 8.5782e-14 | 1.3076e-13 | -93.8576 | -93.8576 | -93.8576 | 86.2005 | 86.2005 | 86.2005 | 1.4556 | 0.0015076 | 0.0015076 | 1.4553 | 0 | 0 | -3.7414 | -82.1513 | -82.1513 | -3.6832 | 0 | 0
Line_3 | 0.0012014 | 0.0012014 | 0.0012014 | 0.0012014 | 0.0012014 | 0.0012014 | 0.013872 | 0.013872 | 0.013872 | 0.013872 | 0.013872 | 0.013872 | 4.0956e-05 | -2.0478e-05 | -2.0478e-05 | 4.0956e-05 | -2.0478e-05 | -2.0478e-05 | -0.020192 | -4.2432e-06 | -4.2432e-06 | -0.020192 | -4.2432e-06 | -4.2432e-06 | 86.1424 | 86.1424 | 86.1424 | 86.1424 | 86.1424 | 86.1424 | 1.4556 | 0.0015076 | 0.0015076 | 1.4556 | 0.0015076 | 0.0015076 | -3.7414 | -82.1513 | -82.1513 | -3.7414 | -82.1513 | -82.1513

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.006617 | 1.162 | 0.87644 | 0.0051729 | 1.163 | 0.87509 | 0.076407 | 13.418 | 10.1203 | 0.059731 | 13.4293 | 10.1047 | 0.017203 | 9.1155 | 4.1738 | -0.013434 | -6.7606 | -3.8163 | -0.091177 | 6.7994 | 5.1411 | 0.077122 | -6.8055 | -3.7995 | 74.0519 | -153.9874 | 52.4949 | -105.6854 | 26.0648 | -127.5384 | 1.2144 | 0.84752 | 0.65434 | 1.3106 | 0.71431 | 0.53294 | -5.2632 | -117.2674 | 103.4236 | -5.8041 | -108.7457 | 97.3349
Line_1 | 0.00086232 | 0.00086232 | 0.00086232 | 0.0025864 | 0.0025864 | 0.0025864 | 0.0099573 | 0.0099573 | 0.0099573 | 0.029866 | 0.029866 | 0.029866 | -0.002242 | 0.0071134 | -0.0048714 | 0.006717 | -0.021303 | 0.014649 | 0.012856 | -0.00037033 | -0.002078 | -0.038561 | 0.0011389 | 0.0062243 | -105.7435 | -105.7435 | -105.7435 | 74.3146 | 74.3146 | 74.3146 | 1.3106 | 0.71536 | 0.53188 | 1.3106 | 0.71431 | 0.53294 | -5.8513 | -108.7237 | 97.3579 | -5.8041 | -108.7457 | 97.3349
Line_2 | 0.00086232 | 0.00086232 | 0.00086232 | 0.0025864 | 0.0025864 | 0.0025864 | 0.0099573 | 0.0099573 | 0.0099573 | 0.029866 | 0.029866 | 0.029866 | -0.002242 | 0.0071134 | -0.0048714 | 0.006717 | -0.021303 | 0.014649 | 0.012856 | -0.00037033 | -0.002078 | -0.038561 | 0.0011389 | 0.0062243 | -105.7435 | -105.7435 | -105.7435 | 74.3146 | 74.3146 | 74.3146 | 1.3106 | 0.71536 | 0.53188 | 1.3106 | 0.71431 | 0.53294 | -5.8513 | -108.7237 | 97.3579 | -5.8041 | -108.7457 | 97.3349
Line_3 | 0.00086232 | 0.00086232 | 0.00086232 | 0.00086232 | 0.00086232 | 0.00086232 | 0.0099573 | 0.0099573 | 0.0099573 | 0.0099573 | 0.0099573 | 0.0099573 | 0.002242 | -0.0071134 | 0.0048714 | 0.002242 | -0.0071134 | 0.0048714 | -0.012856 | 0.00037033 | 0.002078 | -0.012856 | 0.00037033 | 0.002078 | 74.2565 | 74.2565 | 74.2565 | 74.2565 | 74.2565 | 74.2565 | 1.3106 | 0.71536 | 0.53188 | 1.3106 | 0.71536 | 0.53188 | -5.8513 | -108.7237 | 97.3579 | -5.8513 | -108.7237 | 97.3579

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.006617 | 1.162 | 0.87644 | 0.0051729 | 1.163 | 0.87509 | 0.076407 | 13.418 | 10.1203 | 0.059731 | 13.4293 | 10.1047 | 0.017203 | 9.1155 | 4.1738 | -0.013434 | -6.7606 | -3.8163 | -0.091177 | 6.7994 | 5.1411 | 0.077122 | -6.8055 | -3.7995 | 74.0519 | -153.9874 | 52.4949 | -105.6854 | 26.0648 | -127.5384 | 1.2144 | 0.84752 | 0.65434 | 1.3106 | 0.71431 | 0.53294 | -5.2632 | -117.2674 | 103.4236 | -5.8041 | -108.7457 | 97.3349
Line_1 | 0.00086232 | 0.00086232 | 0.00086232 | 0.0025864 | 0.0025864 | 0.0025864 | 0.0099573 | 0.0099573 | 0.0099573 | 0.029866 | 0.029866 | 0.029866 | -0.002242 | 0.0071134 | -0.0048714 | 0.006717 | -0.021303 | 0.014649 | 0.012856 | -0.00037033 | -0.002078 | -0.038561 | 0.0011389 | 0.0062243 | -105.7435 | -105.7435 | -105.7435 | 74.3146 | 74.3146 | 74.3146 | 1.3106 | 0.71536 | 0.53188 | 1.3106 | 0.71431 | 0.53294 | -5.8513 | -108.7237 | 97.3579 | -5.8041 | -108.7457 | 97.3349
Line_2 | 0.00086232 | 0.00086232 | 0.00086232 | 0.0025864 | 0.0025864 | 0.0025864 | 0.0099573 | 0.0099573 | 0.0099573 | 0.029866 | 0.029866 | 0.029866 | -0.002242 | 0.0071134 | -0.0048714 | 0.006717 | -0.021303 | 0.014649 | 0.012856 | -0.00037033 | -0.002078 | -0.038561 | 0.0011389 | 0.0062243 | -105.7435 | -105.7435 | -105.7435 | 74.3146 | 74.3146 | 74.3146 | 1.3106 | 0.71536 | 0.53188 | 1.3106 | 0.71431 | 0.53294 | -5.8513 | -108.7237 | 97.3579 | -5.8041 | -108.7457 | 97.3349
Line_3 | 0.00086232 | 0.00086232 | 0.00086232 | 0.00086232 | 0.00086232 | 0.00086232 | 0.0099573 | 0.0099573 | 0.0099573 | 0.0099573 | 0.0099573 | 0.0099573 | 0.002242 | -0.0071134 | 0.0048714 | 0.002242 | -0.0071134 | 0.0048714 | -0.012856 | 0.00037033 | 0.002078 | -0.012856 | 0.00037033 | 0.002078 | 74.2565 | 74.2565 | 74.2565 | 74.2565 | 74.2565 | 74.2565 | 1.3106 | 0.71536 | 0.53188 | 1.3106 | 0.71536 | 0.53188 | -5.8513 | -108.7237 | 97.3579 | -5.8513 | -108.7237 | 97.3579