## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6999 | 3.6999 | 0 | 0 | 128.1693 | 128.1693 | 35.5926 | -14.237 | 40.3839 | -16.1536 | -73.5107 | 106.4893 | 0.41999 | 0.168 | -24.9022 | -24.9022
Line_1 | 2.4666 | 2.4666 | 4.9647 | 0 | 85.4462 | 85.4462 | -1e-07 | 9.4914 | -1e-07 | 10.769 | 106.4893 | -73.5107 | 0 | 0.168 | 0 | -24.9022
Line_2 | 1.2333 | 1.2333 | 0 | 0 | 42.7231 | 42.7231 | -2.3728 | 4.7457 | -2.6923 | 5.3845 | 106.4893 | -73.5107 | 0.083999 | 0.168 | -24.9022 | -24.9022
Line_3 | 1.2333 | 1.2333 | 2.4824 | 0 | 42.7231 | 42.7231 | -1e-07 | 2.3728 | -1e-07 | 2.6923 | 106.4893 | -73.5107 | 0 | 0.083999 | 0 | -24.9022

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6999 | 3.6999 | 0 | 0 | 128.1693 | 128.1693 | 35.5926 | -14.237 | 40.3839 | -16.1536 | -73.5107 | 106.4893 | 0.41999 | 0.168 | -24.9022 | -24.9022
Line_1 | 2.4666 | 2.4666 | 4.9647 | 0 | 85.4462 | 85.4462 | -1e-07 | 9.4914 | -1e-07 | 10.769 | 106.4893 | -73.5107 | 0 | 0.168 | 0 | -24.9022
Line_2 | 1.2333 | 1.2333 | 0 | 0 | 42.7231 | 42.7231 | -2.3728 | 4.7457 | -2.6923 | 5.3845 | 106.4893 | -73.5107 | 0.083999 | 0.168 | -24.9022 | -24.9022
Line_3 | 1.2333 | 1.2333 | 2.4824 | 0 | 42.7231 | 42.7231 | -1e-07 | 2.3728 | -1e-07 | 2.6923 | 106.4893 | -73.5107 | 0 | 0.083999 | 0 | -24.9022

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2428 | 1.2428 | 0 | 0 | 43.0531 | 43.0531 | 27.1857 | -24.7761 | 27.7264 | -24.9923 | -54.2264 | 125.7736 | 0.90192 | 0.81741 | -8.6624 | -8.9775
Line_1 | 0.82856 | 0.82856 | 1.6677 | 0 | 28.7021 | 28.7021 | -15.4464 | 16.5174 | -15.4464 | 16.6616 | 125.7736 | -54.2264 | 0.76108 | 0.81741 | -9.2264 | -8.9775
Line_2 | 0.41428 | 0.41428 | 0 | 0 | 14.351 | 14.351 | -7.991 | 8.2587 | -8.027 | 8.3308 | 125.7736 | -54.2264 | 0.78924 | 0.81741 | -9.0975 | -8.9775
Line_3 | 0.41428 | 0.41428 | 0.83384 | 0 | 14.351 | 14.351 | -7.7232 | 7.991 | -7.7232 | 8.027 | 125.7736 | -54.2264 | 0.76108 | 0.78924 | -9.2264 | -9.0975

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2428 | 1.2428 | 0 | 0 | 43.0531 | 43.0531 | 27.1857 | -24.7761 | 27.7264 | -24.9923 | -54.2264 | 125.7736 | 0.90192 | 0.81741 | -8.6624 | -8.9775
Line_1 | 0.82856 | 0.82856 | 1.6677 | 0 | 28.7021 | 28.7021 | -15.4464 | 16.5174 | -15.4464 | 16.6616 | 125.7736 | -54.2264 | 0.76108 | 0.81741 | -9.2264 | -8.9775
Line_2 | 0.41428 | 0.41428 | 0 | 0 | 14.351 | 14.351 | -7.991 | 8.2587 | -8.027 | 8.3308 | 125.7736 | -54.2264 | 0.78924 | 0.81741 | -9.0975 | -8.9775
Line_3 | 0.41428 | 0.41428 | 0.83384 | 0 | 14.351 | 14.351 | -7.7232 | 7.991 | -7.7232 | 8.027 | 125.7736 | -54.2264 | 0.76108 | 0.78924 | -9.2264 | -9.0975

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.0092 | 3.0092 | 0 | 0 | 104.2421 | 104.2421 | 45.2043 | -18.0817 | 26.7133 | -10.6853 | -62.3733 | 117.6267 | 0.50371 | 0.20148 | -31.7926 | -31.7926
Line_1 | 2.0061 | 2.0061 | 3.4722 | 0 | 69.4947 | 69.4947 | -1e-07 | 12.0545 | -1e-07 | 7.1235 | 117.6267 | -62.3733 | 0 | 0.20148 | 0 | -31.7926
Line_2 | 1.0031 | 1.0031 | 0 | 0 | 34.7474 | 34.7474 | -3.0136 | 6.0272 | -1.7809 | 3.5618 | 117.6267 | -62.3733 | 0.10074 | 0.20148 | -31.7926 | -31.7926
Line_3 | 1.0031 | 1.0031 | 1.7361 | 0 | 34.7474 | 34.7474 | -1e-07 | 3.0136 | -1e-07 | 1.7809 | 117.6267 | -62.3733 | 0 | 0.10074 | 0 | -31.7926

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.0092 | 3.0092 | 0 | 0 | 104.2421 | 104.2421 | 45.2043 | -18.0817 | 26.7133 | -10.6853 | -62.3733 | 117.6267 | 0.50371 | 0.20148 | -31.7926 | -31.7926
Line_1 | 2.0061 | 2.0061 | 3.4722 | 0 | 69.4947 | 69.4947 | -1e-07 | 12.0545 | -1e-07 | 7.1235 | 117.6267 | -62.3733 | 0 | 0.20148 | 0 | -31.7926
Line_2 | 1.0031 | 1.0031 | 0 | 0 | 34.7474 | 34.7474 | -3.0136 | 6.0272 | -1.7809 | 3.5618 | 117.6267 | -62.3733 | 0.10074 | 0.20148 | -31.7926 | -31.7926
Line_3 | 1.0031 | 1.0031 | 1.7361 | 0 | 34.7474 | 34.7474 | -1e-07 | 3.0136 | -1e-07 | 1.7809 | 117.6267 | -62.3733 | 0 | 0.10074 | 0 | -31.7926

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0697 | 1.0697 | 0 | 0 | 37.0569 | 37.0569 | 22.8777 | -19.4502 | 20.541 | -18.5155 | -51.0933 | 128.9067 | 0.8297 | 0.72467 | -9.1739 | -7.5036
Line_1 | 0.71316 | 0.71316 | 1.2343 | 0 | 24.7046 | 24.7046 | -11.4434 | 12.9668 | -11.4434 | 12.3437 | 128.9067 | -51.0933 | 0.65508 | 0.72467 | -6.0933 | -7.5036
Line_2 | 0.35658 | 0.35658 | 0 | 0 | 12.3523 | 12.3523 | -6.1026 | 6.4834 | -5.9468 | 6.1718 | 128.9067 | -51.0933 | 0.68982 | 0.72467 | -6.834 | -7.5036
Line_3 | 0.35658 | 0.35658 | 0.61717 | 0 | 12.3523 | 12.3523 | -5.7217 | 6.1026 | -5.7217 | 5.9468 | 128.9067 | -51.0933 | 0.65508 | 0.68982 | -6.0933 | -6.834

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0697 | 1.0697 | 0 | 0 | 37.0569 | 37.0569 | 22.8777 | -19.4502 | 20.541 | -18.5155 | -51.0933 | 128.9067 | 0.8297 | 0.72467 | -9.1739 | -7.5036
Line_1 | 0.71316 | 0.71316 | 1.2343 | 0 | 24.7046 | 24.7046 | -11.4434 | 12.9668 | -11.4434 | 12.3437 | 128.9067 | -51.0933 | 0.65508 | 0.72467 | -6.0933 | -7.5036
Line_2 | 0.35658 | 0.35658 | 0 | 0 | 12.3523 | 12.3523 | -6.1026 | 6.4834 | -5.9468 | 6.1718 | 128.9067 | -51.0933 | 0.68982 | 0.72467 | -6.834 | -7.5036
Line_3 | 0.35658 | 0.35658 | 0.61717 | 0 | 12.3523 | 12.3523 | -5.7217 | 6.1026 | -5.7217 | 5.9468 | 128.9067 | -51.0933 | 0.65508 | 0.68982 | -6.0933 | -6.834

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.2042 | 3.2042 | 0 | 3.2042 | 3.2042 | 0 | 36.9993 | 36.9993 | 0 | 36.9993 | 36.9993 | -5.2106e-14 | 28.4108 | -10.6145 | 4.1685e-14 | -23.0719 | 15.9534 | -2.6053e-14 | 4.32 | 15.8719 | 3.1264e-14 | 1.7376 | -9.8143 | 0 | -163.5107 | 16.4893 | 0 | 16.4893 | -163.5107 | 1.1 | 0.7767 | 0.51607 | 1.1 | 0.62534 | 0.50624 | 4.6441e-13 | -154.8648 | 140.2623 | 4.9542e-13 | -167.8176 | 164.89
Line_1 | 0 | 2.1362 | 2.1362 | 0 | 2.1362 | 2.1362 | 0 | 24.6662 | 24.6662 | 0 | 24.6662 | 24.6662 | -4.4939e-29 | -13.0085 | 13.0085 | -1.5632e-14 | 15.3813 | -10.6356 | 5.2106e-15 | 3.8506 | -3.8506 | -5.2106e-15 | -1.1584 | 6.5429 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.62534 | 0.50624 | 4.9414e-13 | 180 | -180 | 4.9542e-13 | -167.8176 | 164.89
Line_2 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | 5.2106e-15 | -7.0974 | 5.911 | -1.5632e-14 | 7.6906 | -5.3178 | 5.2106e-15 | 1.2523 | -2.5984 | -5.2106e-15 | -0.57919 | 3.2714 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.58437 | 0.52354 | 1.1 | 0.62534 | 0.50624 | 4.9753e-13 | -173.5168 | 172.7598 | 4.9542e-13 | -167.8176 | 164.89
Line_3 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | -5.2106e-15 | -6.5042 | 6.5042 | -1.0421e-14 | 7.0974 | -5.911 | -5.2106e-15 | 1.9253 | -1.9253 | -5.2106e-15 | -1.2523 | 2.5984 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.58437 | 0.52354 | 4.9414e-13 | 180 | -180 | 4.9753e-13 | -173.5168 | 172.7598

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.2042 | 3.2042 | 0 | 3.2042 | 3.2042 | 0 | 36.9993 | 36.9993 | 0 | 36.9993 | 36.9993 | -5.2106e-14 | 28.4108 | -10.6145 | 4.1685e-14 | -23.0719 | 15.9534 | -2.6053e-14 | 4.32 | 15.8719 | 3.1264e-14 | 1.7376 | -9.8143 | 0 | -163.5107 | 16.4893 | 0 | 16.4893 | -163.5107 | 1.1 | 0.7767 | 0.51607 | 1.1 | 0.62534 | 0.50624 | 4.6441e-13 | -154.8648 | 140.2623 | 4.9542e-13 | -167.8176 | 164.89
Line_1 | 0 | 2.1362 | 2.1362 | 0 | 2.1362 | 2.1362 | 0 | 24.6662 | 24.6662 | 0 | 24.6662 | 24.6662 | -4.4939e-29 | -13.0085 | 13.0085 | -1.5632e-14 | 15.3813 | -10.6356 | 5.2106e-15 | 3.8506 | -3.8506 | -5.2106e-15 | -1.1584 | 6.5429 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.62534 | 0.50624 | 4.9414e-13 | 180 | -180 | 4.9542e-13 | -167.8176 | 164.89
Line_2 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | 5.2106e-15 | -7.0974 | 5.911 | -1.5632e-14 | 7.6906 | -5.3178 | 5.2106e-15 | 1.2523 | -2.5984 | -5.2106e-15 | -0.57919 | 3.2714 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.58437 | 0.52354 | 1.1 | 0.62534 | 0.50624 | 4.9753e-13 | -173.5168 | 172.7598 | 4.9542e-13 | -167.8176 | 164.89
Line_3 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | -5.2106e-15 | -6.5042 | 6.5042 | -1.0421e-14 | 7.0974 | -5.911 | -5.2106e-15 | 1.9253 | -1.9253 | -5.2106e-15 | -1.2523 | 2.5984 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.58437 | 0.52354 | 4.9414e-13 | 180 | -180 | 4.9753e-13 | -173.5168 | 172.7598

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.6287 | 1.6287 | 0 | 1.6287 | 1.6287 | 0 | 18.8063 | 18.8063 | 0 | 18.8063 | 18.8063 | -2.8659e-14 | 17.8002 | 0.06044 | 2.3448e-14 | -16.4209 | 1.3189 | -1.3027e-14 | 3.9189 | 14.5607 | 1.3027e-14 | -2.3539 | -12.9957 | 0 | -149.0411 | 30.9589 | 0 | 30.9589 | -149.0411 | 1.1 | 0.96917 | 0.77425 | 1.1 | 0.88208 | 0.69458 | 2.1153e-13 | -136.625 | 120.7211 | 2.2986e-13 | -140.8835 | 126.7539
Line_1 | 0 | 1.0858 | 1.0858 | 0 | 1.0858 | 1.0858 | 0 | 12.5375 | 12.5375 | 0 | 12.5375 | 12.5375 | 2.6053e-15 | -10.3342 | 1.4923 | -1.0421e-14 | 10.9473 | -0.87927 | -2.6053e-15 | -0.87368 | -7.9682 | 2.6053e-15 | 1.5692 | 8.6638 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.88208 | 0.69458 | 2.3061e-13 | -144.2087 | 131.5665 | 2.2986e-13 | -140.8835 | 126.7539
Line_2 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | -2.6053e-15 | -5.3204 | 0.59289 | -5.2106e-15 | 5.4736 | -0.43963 | 2.6053e-15 | -0.61073 | -4.158 | -2.0905e-29 | 0.78462 | 4.3319 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.85428 | 0.67 | 1.1 | 0.88208 | 0.69458 | 2.3275e-13 | -142.4927 | 129.0741 | 2.2986e-13 | -140.8835 | 126.7539
Line_3 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | 5.2106e-15 | -5.1671 | 0.74615 | -1.0421e-14 | 5.3204 | -0.59289 | -2.6053e-15 | -0.43684 | -3.9841 | 5.2106e-15 | 0.61073 | 4.158 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.85428 | 0.67 | 2.3061e-13 | -144.2087 | 131.5665 | 2.3275e-13 | -142.4927 | 129.0741

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.6287 | 1.6287 | 0 | 1.6287 | 1.6287 | 0 | 18.8063 | 18.8063 | 0 | 18.8063 | 18.8063 | -2.8659e-14 | 17.8002 | 0.06044 | 2.3448e-14 | -16.4209 | 1.3189 | -1.3027e-14 | 3.9189 | 14.5607 | 1.3027e-14 | -2.3539 | -12.9957 | 0 | -149.0411 | 30.9589 | 0 | 30.9589 | -149.0411 | 1.1 | 0.96917 | 0.77425 | 1.1 | 0.88208 | 0.69458 | 2.1153e-13 | -136.625 | 120.7211 | 2.2986e-13 | -140.8835 | 126.7539
Line_1 | 0 | 1.0858 | 1.0858 | 0 | 1.0858 | 1.0858 | 0 | 12.5375 | 12.5375 | 0 | 12.5375 | 12.5375 | 2.6053e-15 | -10.3342 | 1.4923 | -1.0421e-14 | 10.9473 | -0.87927 | -2.6053e-15 | -0.87368 | -7.9682 | 2.6053e-15 | 1.5692 | 8.6638 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.88208 | 0.69458 | 2.3061e-13 | -144.2087 | 131.5665 | 2.2986e-13 | -140.8835 | 126.7539
Line_2 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | -2.6053e-15 | -5.3204 | 0.59289 | -5.2106e-15 | 5.4736 | -0.43963 | 2.6053e-15 | -0.61073 | -4.158 | -2.0905e-29 | 0.78462 | 4.3319 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.85428 | 0.67 | 1.1 | 0.88208 | 0.69458 | 2.3275e-13 | -142.4927 | 129.0741 | 2.2986e-13 | -140.8835 | 126.7539
Line_3 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | 5.2106e-15 | -5.1671 | 0.74615 | -1.0421e-14 | 5.3204 | -0.59289 | -2.6053e-15 | -0.43684 | -3.9841 | 5.2106e-15 | 0.61073 | 4.158 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.85428 | 0.67 | 2.3061e-13 | -144.2087 | 131.5665 | 2.3275e-13 | -142.4927 | 129.0741

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.6061 | 2.6061 | 0 | 2.6061 | 2.6061 | 0 | 30.0921 | 30.0921 | 0 | 30.0921 | 30.0921 | 5.9212e-15 | 24.6317 | -2.0295 | -5.9212e-15 | -17.851 | 8.8102 | -2.8422e-14 | -0.29866 | 13.6553 | 2.6053e-14 | 4.3057 | -9.6483 | 0 | -152.3733 | 27.6267 | 0 | 27.6267 | -152.3733 | 1 | 0.8186 | 0.45877 | 1 | 0.61023 | 0.43419 | 4.1861e-13 | -153.068 | 126.0805 | 3.8166e-13 | -165.934 | 160.0269
Line_1 | 0 | 1.7374 | 1.7374 | 0 | 1.7374 | 1.7374 | 0 | 20.0614 | 20.0614 | 0 | 20.0614 | 20.0614 | -1.1842e-15 | -8.8871 | 8.8871 | 3.5527e-15 | 11.9007 | -5.8735 | 7.1054e-15 | 4.6513 | -4.6513 | -9.4739e-15 | -2.8704 | 6.4322 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.61023 | 0.43419 | 3.6606e-13 | -180 | 180 | 3.8166e-13 | -165.934 | 160.0269
Line_2 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -3.5527e-15 | -5.1969 | 3.6901 | 3.5527e-15 | 5.9503 | -2.9367 | 2.3685e-15 | 1.8804 | -2.7709 | -4.737e-15 | -1.4352 | 3.2161 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.55098 | 0.46005 | 1 | 0.61023 | 0.43419 | 3.6905e-13 | -172.2653 | 170.7242 | 3.8166e-13 | -165.934 | 160.0269
Line_3 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | 4.737e-15 | -4.4435 | 4.4435 | 3.0511e-29 | 5.1969 | -3.6901 | 4.737e-15 | 2.3257 | -2.3257 | -4.737e-15 | -1.8804 | 2.7709 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.55098 | 0.46005 | 3.6606e-13 | -180 | 180 | 3.6905e-13 | -172.2653 | 170.7242

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.6061 | 2.6061 | 0 | 2.6061 | 2.6061 | 0 | 30.0921 | 30.0921 | 0 | 30.0921 | 30.0921 | 5.9212e-15 | 24.6317 | -2.0295 | -5.9212e-15 | -17.851 | 8.8102 | -2.8422e-14 | -0.29866 | 13.6553 | 2.6053e-14 | 4.3057 | -9.6483 | 0 | -152.3733 | 27.6267 | 0 | 27.6267 | -152.3733 | 1 | 0.8186 | 0.45877 | 1 | 0.61023 | 0.43419 | 4.1861e-13 | -153.068 | 126.0805 | 3.8166e-13 | -165.934 | 160.0269
Line_1 | 0 | 1.7374 | 1.7374 | 0 | 1.7374 | 1.7374 | 0 | 20.0614 | 20.0614 | 0 | 20.0614 | 20.0614 | -1.1842e-15 | -8.8871 | 8.8871 | 3.5527e-15 | 11.9007 | -5.8735 | 7.1054e-15 | 4.6513 | -4.6513 | -9.4739e-15 | -2.8704 | 6.4322 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.61023 | 0.43419 | 3.6606e-13 | -180 | 180 | 3.8166e-13 | -165.934 | 160.0269
Line_2 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -3.5527e-15 | -5.1969 | 3.6901 | 3.5527e-15 | 5.9503 | -2.9367 | 2.3685e-15 | 1.8804 | -2.7709 | -4.737e-15 | -1.4352 | 3.2161 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.55098 | 0.46005 | 1 | 0.61023 | 0.43419 | 3.6905e-13 | -172.2653 | 170.7242 | 3.8166e-13 | -165.934 | 160.0269
Line_3 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | 4.737e-15 | -4.4435 | 4.4435 | 3.0511e-29 | 5.1969 | -3.6901 | 4.737e-15 | 2.3257 | -2.3257 | -4.737e-15 | -1.8804 | 2.7709 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.55098 | 0.46005 | 3.6606e-13 | -180 | 180 | 3.6905e-13 | -172.2653 | 170.7242

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3721 | 1.3721 | 0 | 1.3721 | 1.3721 | 0 | 15.8432 | 15.8432 | 0 | 15.8432 | 15.8432 | 1.1842e-15 | 14.2512 | 1.4266 | -2.3685e-15 | -12.3717 | 0.45296 | -1.6579e-14 | 1.9064 | 11.2087 | 1.6579e-14 | -0.79565 | -10.098 | 0 | -144.0449 | 35.9551 | 0 | 35.9551 | -144.0449 | 1 | 0.90753 | 0.71319 | 1 | 0.7825 | 0.63801 | 2.0589e-13 | -136.4258 | 118.7019 | 1.8912e-13 | -140.3651 | 128.5235
Line_1 | 0 | 0.9147 | 0.9147 | 0 | 0.9147 | 0.9147 | 0 | 10.5621 | 10.5621 | 0 | 10.5621 | 10.5621 | -2.9606e-15 | -7.4125 | 1.1373 | 2.9606e-15 | 8.2478 | -0.30197 | 4.737e-15 | -0.036791 | -6.2383 | -4.737e-15 | 0.53044 | 6.732 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.7825 | 0.63801 | 1.8122e-13 | -143.7605 | 136.2873 | 1.8912e-13 | -140.3651 | 128.5235
Line_2 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -5.3291e-15 | -3.9151 | 0.35982 | 2.3685e-15 | 4.1239 | -0.15099 | 2.3685e-15 | -0.14181 | -3.2426 | -2.3685e-15 | 0.26522 | 3.366 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.74183 | 0.61777 | 1 | 0.7825 | 0.63801 | 1.8205e-13 | -141.9705 | 132.2872 | 1.8912e-13 | -140.3651 | 128.5235
Line_3 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | 1.7764e-15 | -3.7062 | 0.56866 | -2.3685e-15 | 3.9151 | -0.35982 | 2.3685e-15 | -0.018396 | -3.1192 | -2.3685e-15 | 0.14181 | 3.2426 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.74183 | 0.61777 | 1.8122e-13 | -143.7605 | 136.2873 | 1.8205e-13 | -141.9705 | 132.2872

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3721 | 1.3721 | 0 | 1.3721 | 1.3721 | 0 | 15.8432 | 15.8432 | 0 | 15.8432 | 15.8432 | 1.1842e-15 | 14.2512 | 1.4266 | -2.3685e-15 | -12.3717 | 0.45296 | -1.6579e-14 | 1.9064 | 11.2087 | 1.6579e-14 | -0.79565 | -10.098 | 0 | -144.0449 | 35.9551 | 0 | 35.9551 | -144.0449 | 1 | 0.90753 | 0.71319 | 1 | 0.7825 | 0.63801 | 2.0589e-13 | -136.4258 | 118.7019 | 1.8912e-13 | -140.3651 | 128.5235
Line_1 | 0 | 0.9147 | 0.9147 | 0 | 0.9147 | 0.9147 | 0 | 10.5621 | 10.5621 | 0 | 10.5621 | 10.5621 | -2.9606e-15 | -7.4125 | 1.1373 | 2.9606e-15 | 8.2478 | -0.30197 | 4.737e-15 | -0.036791 | -6.2383 | -4.737e-15 | 0.53044 | 6.732 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.7825 | 0.63801 | 1.8122e-13 | -143.7605 | 136.2873 | 1.8912e-13 | -140.3651 | 128.5235
Line_2 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -5.3291e-15 | -3.9151 | 0.35982 | 2.3685e-15 | 4.1239 | -0.15099 | 2.3685e-15 | -0.14181 | -3.2426 | -2.3685e-15 | 0.26522 | 3.366 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.74183 | 0.61777 | 1 | 0.7825 | 0.63801 | 1.8205e-13 | -141.9705 | 132.2872 | 1.8912e-13 | -140.3651 | 128.5235
Line_3 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | 1.7764e-15 | -3.7062 | 0.56866 | -2.3685e-15 | 3.9151 | -0.35982 | 2.3685e-15 | -0.018396 | -3.1192 | -2.3685e-15 | 0.14181 | 3.2426 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.74183 | 0.61777 | 1.8122e-13 | -143.7605 | 136.2873 | 1.8205e-13 | -141.9705 | 132.2872

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 3.054 | 0.0081637 | 0.0081637 | 3.0535 | 0.0072053 | 0.0072053 | 35.2644 | 0.094266 | 0.094266 | 35.2584 | 0.0832 | 0.0832 | 24.5703 | 0.089592 | -0.076139 | -9.8136 | -0.074577 | 0.070831 | 13.684 | -0.0056166 | -0.074822 | -5.4827 | 0.027681 | 0.090803 | -49.4622 | -112.6643 | -112.6643 | 130.553 | 66.5343 | 66.5343 | 0.79751 | 0.95228 | 1.1324 | 0.31882 | 0.95611 | 1.3842 | -20.3474 | -116.2516 | 111.8358 | -20.2556 | -133.8293 | 118.578
Line_1 | 2.0341 | 0.0012972 | 0.0012972 | 2.0352 | 0.0036987 | 0.0036987 | 23.4878 | 0.014979 | 0.014979 | 23.4999 | 0.042709 | 0.042709 | 8.2792e-11 | -0.012938 | 0.013173 | 6.5426 | 0.03831 | -0.036271 | -1.3196e-10 | 0.007762 | 0.019281 | 3.6511 | -0.014136 | -0.046681 | 130.6417 | 66.195 | 66.195 | -49.4191 | -113.5749 | -113.5749 | 0 | 1.0073 | 1.5589 | 0.31882 | 0.95611 | 1.3842 | 0 | -144.7665 | 121.8536 | -20.2556 | -133.8293 | 118.578
Line_2 | 1.0174 | 0.0013933 | 0.0013933 | 1.0183 | 0.0035066 | 0.0035066 | 11.7476 | 0.016089 | 0.016089 | 11.7585 | 0.040491 | 0.040491 | -1.6321 | -0.0142 | 0.013788 | 3.271 | 0.036267 | -0.03456 | -0.9152 | 0.0067388 | 0.019241 | 1.8316 | -0.013544 | -0.044121 | 130.6037 | 65.9287 | 65.9287 | -49.5027 | -113.3506 | -113.3506 | 0.15928 | 0.97693 | 1.4713 | 0.31882 | 0.95611 | 1.3842 | -20.1144 | -139.4587 | 120.3045 | -20.2556 | -133.8293 | 118.578
Line_3 | 1.0162 | 0.0012972 | 0.0012972 | 1.0174 | 0.0013933 | 0.0013933 | 11.7342 | 0.014979 | 0.014979 | 11.7476 | 0.016089 | 0.016089 | 4.1248e-11 | 0.012938 | -0.013173 | 1.6321 | 0.0142 | -0.013788 | -6.5995e-11 | -0.007762 | -0.019281 | 0.9152 | -0.0067388 | -0.019241 | 130.7406 | -113.805 | -113.805 | -49.3963 | -114.0713 | -114.0713 | 0 | 1.0073 | 1.5589 | 0.15928 | 0.97693 | 1.4713 | 0 | -144.7665 | 121.8536 | -20.1144 | -139.4587 | 120.3045

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 3.054 | 0.0081637 | 0.0081637 | 3.0535 | 0.0072053 | 0.0072053 | 35.2644 | 0.094266 | 0.094266 | 35.2584 | 0.0832 | 0.0832 | 24.5703 | 0.089592 | -0.076139 | -9.8136 | -0.074577 | 0.070831 | 13.684 | -0.0056166 | -0.074822 | -5.4827 | 0.027681 | 0.090803 | -49.4622 | -112.6643 | -112.6643 | 130.553 | 66.5343 | 66.5343 | 0.79751 | 0.95228 | 1.1324 | 0.31882 | 0.95611 | 1.3842 | -20.3474 | -116.2516 | 111.8358 | -20.2556 | -133.8293 | 118.578
Line_1 | 2.0341 | 0.0012972 | 0.0012972 | 2.0352 | 0.0036987 | 0.0036987 | 23.4878 | 0.014979 | 0.014979 | 23.4999 | 0.042709 | 0.042709 | 8.2792e-11 | -0.012938 | 0.013173 | 6.5426 | 0.03831 | -0.036271 | -1.3196e-10 | 0.007762 | 0.019281 | 3.6511 | -0.014136 | -0.046681 | 130.6417 | 66.195 | 66.195 | -49.4191 | -113.5749 | -113.5749 | 0 | 1.0073 | 1.5589 | 0.31882 | 0.95611 | 1.3842 | 0 | -144.7665 | 121.8536 | -20.2556 | -133.8293 | 118.578
Line_2 | 1.0174 | 0.0013933 | 0.0013933 | 1.0183 | 0.0035066 | 0.0035066 | 11.7476 | 0.016089 | 0.016089 | 11.7585 | 0.040491 | 0.040491 | -1.6321 | -0.0142 | 0.013788 | 3.271 | 0.036267 | -0.03456 | -0.9152 | 0.0067388 | 0.019241 | 1.8316 | -0.013544 | -0.044121 | 130.6037 | 65.9287 | 65.9287 | -49.5027 | -113.3506 | -113.3506 | 0.15928 | 0.97693 | 1.4713 | 0.31882 | 0.95611 | 1.3842 | -20.1144 | -139.4587 | 120.3045 | -20.2556 | -133.8293 | 118.578
Line_3 | 1.0162 | 0.0012972 | 0.0012972 | 1.0174 | 0.0013933 | 0.0013933 | 11.7342 | 0.014979 | 0.014979 | 11.7476 | 0.016089 | 0.016089 | 4.1248e-11 | 0.012938 | -0.013173 | 1.6321 | 0.0142 | -0.013788 | -6.5995e-11 | -0.007762 | -0.019281 | 0.9152 | -0.0067388 | -0.019241 | 130.7406 | -113.805 | -113.805 | -49.3963 | -114.0713 | -114.0713 | 0 | 1.0073 | 1.5589 | 0.15928 | 0.97693 | 1.4713 | 0 | -144.7665 | 121.8536 | -20.1144 | -139.4587 | 120.3045

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1326 | 0.0030277 | 0.0030277 | 1.1325 | 0.0026723 | 0.0026723 | 13.0787 | 0.034961 | 0.034961 | 13.0765 | 0.030857 | 0.030857 | 9.771 | 0.036043 | -0.026572 | -7.7419 | -0.031252 | 0.023728 | 8.3042 | -0.0056679 | -0.028386 | -7.1734 | 0.0078349 | 0.028657 | -46.7397 | -109.9418 | -109.9418 | 133.2755 | 69.2568 | 69.2568 | 0.98046 | 1.0436 | 1.1122 | 0.80712 | 1.0441 | 1.2057 | -6.3791 | -118.8786 | 116.9484 | -3.9073 | -124.8174 | 119.6328
Line_1 | 0.7544 | 0.00048111 | 0.00048111 | 0.75479 | 0.0013718 | 0.0013718 | 8.711 | 0.0055553 | 0.0055553 | 8.7155 | 0.01584 | 0.01584 | -4.2647 | -0.0055634 | 0.0043124 | 5.1623 | 0.01605 | -0.012152 | -4.2697 | 0.0017703 | 0.0055777 | 4.7786 | -0.0039913 | -0.014734 | 133.3642 | 68.9175 | 68.9175 | -46.6966 | -110.8524 | -110.8524 | 0.69277 | 1.0509 | 1.2691 | 0.80712 | 1.0441 | 1.2057 | -1.6029 | -128.7341 | 121.2078 | -3.9073 | -124.8174 | 119.6328
Line_2 | 0.37732 | 0.00051675 | 0.00051675 | 0.37767 | 0.0013005 | 0.0013005 | 4.3569 | 0.0059669 | 0.0059669 | 4.3609 | 0.015017 | 0.015017 | -2.3561 | -0.0060208 | 0.0045676 | 2.5795 | 0.015202 | -0.011575 | -2.2628 | 0.0016628 | 0.0058014 | 2.3948 | -0.0038436 | -0.013923 | 133.3262 | 68.6512 | 68.6512 | -46.7802 | -110.6281 | -110.6281 | 0.74979 | 1.0468 | 1.2374 | 0.80712 | 1.0441 | 1.2057 | -2.8312 | -126.7872 | 120.437 | -3.9073 | -124.8174 | 119.6328
Line_3 | 0.37689 | 0.00048111 | 0.00048111 | 0.37732 | 0.00051675 | 0.00051675 | 4.3519 | 0.0055553 | 0.0055553 | 4.3569 | 0.0059669 | 0.0059669 | -2.1343 | 0.0055634 | -0.0043124 | 2.3561 | 0.0060208 | -0.0045676 | -2.1294 | -0.0017703 | -0.0055777 | 2.2628 | -0.0016628 | -0.0058014 | 133.4631 | -111.0825 | -111.0825 | -46.6738 | -111.3488 | -111.3488 | 0.69277 | 1.0509 | 1.2691 | 0.74979 | 1.0468 | 1.2374 | -1.6029 | -128.7341 | 121.2078 | -2.8312 | -126.7872 | 120.437

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1326 | 0.0030277 | 0.0030277 | 1.1325 | 0.0026723 | 0.0026723 | 13.0787 | 0.034961 | 0.034961 | 13.0765 | 0.030857 | 0.030857 | 9.771 | 0.036043 | -0.026572 | -7.7419 | -0.031252 | 0.023728 | 8.3042 | -0.0056679 | -0.028386 | -7.1734 | 0.0078349 | 0.028657 | -46.7397 | -109.9418 | -109.9418 | 133.2755 | 69.2568 | 69.2568 | 0.98046 | 1.0436 | 1.1122 | 0.80712 | 1.0441 | 1.2057 | -6.3791 | -118.8786 | 116.9484 | -3.9073 | -124.8174 | 119.6328
Line_1 | 0.7544 | 0.00048111 | 0.00048111 | 0.75479 | 0.0013718 | 0.0013718 | 8.711 | 0.0055553 | 0.0055553 | 8.7155 | 0.01584 | 0.01584 | -4.2647 | -0.0055634 | 0.0043124 | 5.1623 | 0.01605 | -0.012152 | -4.2697 | 0.0017703 | 0.0055777 | 4.7786 | -0.0039913 | -0.014734 | 133.3642 | 68.9175 | 68.9175 | -46.6966 | -110.8524 | -110.8524 | 0.69277 | 1.0509 | 1.2691 | 0.80712 | 1.0441 | 1.2057 | -1.6029 | -128.7341 | 121.2078 | -3.9073 | -124.8174 | 119.6328
Line_2 | 0.37732 | 0.00051675 | 0.00051675 | 0.37767 | 0.0013005 | 0.0013005 | 4.3569 | 0.0059669 | 0.0059669 | 4.3609 | 0.015017 | 0.015017 | -2.3561 | -0.0060208 | 0.0045676 | 2.5795 | 0.015202 | -0.011575 | -2.2628 | 0.0016628 | 0.0058014 | 2.3948 | -0.0038436 | -0.013923 | 133.3262 | 68.6512 | 68.6512 | -46.7802 | -110.6281 | -110.6281 | 0.74979 | 1.0468 | 1.2374 | 0.80712 | 1.0441 | 1.2057 | -2.8312 | -126.7872 | 120.437 | -3.9073 | -124.8174 | 119.6328
Line_3 | 0.37689 | 0.00048111 | 0.00048111 | 0.37732 | 0.00051675 | 0.00051675 | 4.3519 | 0.0055553 | 0.0055553 | 4.3569 | 0.0059669 | 0.0059669 | -2.1343 | 0.0055634 | -0.0043124 | 2.3561 | 0.0060208 | -0.0045676 | -2.1294 | -0.0017703 | -0.0055777 | 2.2628 | -0.0016628 | -0.0058014 | 133.4631 | -111.0825 | -111.0825 | -46.6738 | -111.3488 | -111.3488 | 0.69277 | 1.0509 | 1.2691 | 0.74979 | 1.0468 | 1.2374 | -1.6029 | -128.7341 | 121.2078 | -2.8312 | -126.7872 | 120.437

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.9064 | 0.009021 | 0.009021 | 1.9061 | 0.0079999 | 0.0079999 | 22.0137 | 0.10417 | 0.10417 | 22.01 | 0.092374 | 0.092374 | 18.3831 | 0.091164 | -0.080777 | -7.3424 | -0.077464 | 0.074589 | 5.2779 | -0.018978 | -0.073635 | -2.1286 | 0.047365 | 0.097155 | -32.137 | -107.6345 | -107.6345 | 147.8922 | 71.8691 | 71.8691 | 0.86881 | 0.89395 | 1.0493 | 0.34733 | 0.98292 | 1.326 | -16.118 | -119.3942 | 114.7173 | -15.9409 | -139.5747 | 124.3542
Line_1 | 1.2698 | 0.0014431 | 0.0014431 | 1.2705 | 0.0041094 | 0.0041094 | 14.6625 | 0.016663 | 0.016663 | 14.6699 | 0.047451 | 0.047451 | -2.3443e-11 | -0.013625 | 0.01377 | 4.8951 | 0.039815 | -0.038267 | 6.7148e-12 | 0.012244 | 0.021327 | 1.4142 | -0.024292 | -0.049944 | 148.0625 | 71.6564 | 71.6564 | -32.0543 | -108.1867 | -108.1867 | 0 | 1.0993 | 1.5235 | 0.34733 | 0.98292 | 1.326 | 0 | -150.2873 | 128.8071 | -15.9409 | -139.5747 | 124.3542
Line_2 | 0.6351 | 0.0015526 | 0.0015526 | 0.63568 | 0.0038905 | 0.0038905 | 7.3335 | 0.017927 | 0.017927 | 7.3401 | 0.044923 | 0.044923 | -1.2212 | -0.014874 | 0.014576 | 2.4473 | 0.037648 | -0.036323 | -0.35807 | 0.011123 | 0.020964 | 0.71443 | -0.023073 | -0.04721 | 147.9895 | 71.5236 | 71.5236 | -32.2148 | -108.0719 | -108.0719 | 0.17353 | 1.036 | 1.4243 | 0.34733 | 0.98292 | 1.326 | -15.6684 | -145.266 | 126.712 | -15.9409 | -139.5747 | 124.3542
Line_3 | 0.6344 | 0.0014431 | 0.0014431 | 0.6351 | 0.0015526 | 0.0015526 | 7.3254 | 0.016663 | 0.016663 | 7.3335 | 0.017927 | 0.017927 | -1.1701e-11 | 0.013625 | -0.01377 | 1.2212 | 0.014874 | -0.014576 | 3.3936e-12 | -0.012244 | -0.021327 | 0.35807 | -0.011123 | -0.020964 | 148.2525 | -108.3436 | -108.3436 | -32.0105 | -108.4764 | -108.4764 | 0 | 1.0993 | 1.5235 | 0.17353 | 1.036 | 1.4243 | 0 | -150.2873 | 128.8071 | -15.6684 | -145.266 | 126.712

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.9064 | 0.009021 | 0.009021 | 1.9061 | 0.0079999 | 0.0079999 | 22.0137 | 0.10417 | 0.10417 | 22.01 | 0.092374 | 0.092374 | 18.3831 | 0.091164 | -0.080777 | -7.3424 | -0.077464 | 0.074589 | 5.2779 | -0.018978 | -0.073635 | -2.1286 | 0.047365 | 0.097155 | -32.137 | -107.6345 | -107.6345 | 147.8922 | 71.8691 | 71.8691 | 0.86881 | 0.89395 | 1.0493 | 0.34733 | 0.98292 | 1.326 | -16.118 | -119.3942 | 114.7173 | -15.9409 | -139.5747 | 124.3542
Line_1 | 1.2698 | 0.0014431 | 0.0014431 | 1.2705 | 0.0041094 | 0.0041094 | 14.6625 | 0.016663 | 0.016663 | 14.6699 | 0.047451 | 0.047451 | -2.3443e-11 | -0.013625 | 0.01377 | 4.8951 | 0.039815 | -0.038267 | 6.7148e-12 | 0.012244 | 0.021327 | 1.4142 | -0.024292 | -0.049944 | 148.0625 | 71.6564 | 71.6564 | -32.0543 | -108.1867 | -108.1867 | 0 | 1.0993 | 1.5235 | 0.34733 | 0.98292 | 1.326 | 0 | -150.2873 | 128.8071 | -15.9409 | -139.5747 | 124.3542
Line_2 | 0.6351 | 0.0015526 | 0.0015526 | 0.63568 | 0.0038905 | 0.0038905 | 7.3335 | 0.017927 | 0.017927 | 7.3401 | 0.044923 | 0.044923 | -1.2212 | -0.014874 | 0.014576 | 2.4473 | 0.037648 | -0.036323 | -0.35807 | 0.011123 | 0.020964 | 0.71443 | -0.023073 | -0.04721 | 147.9895 | 71.5236 | 71.5236 | -32.2148 | -108.0719 | -108.0719 | 0.17353 | 1.036 | 1.4243 | 0.34733 | 0.98292 | 1.326 | -15.6684 | -145.266 | 126.712 | -15.9409 | -139.5747 | 124.3542
Line_3 | 0.6344 | 0.0014431 | 0.0014431 | 0.6351 | 0.0015526 | 0.0015526 | 7.3254 | 0.016663 | 0.016663 | 7.3335 | 0.017927 | 0.017927 | -1.1701e-11 | 0.013625 | -0.01377 | 1.2212 | 0.014874 | -0.014576 | 3.3936e-12 | -0.012244 | -0.021327 | 0.35807 | -0.011123 | -0.020964 | 148.2525 | -108.3436 | -108.3436 | -32.0105 | -108.4764 | -108.4764 | 0 | 1.0993 | 1.5235 | 0.17353 | 1.036 | 1.4243 | 0 | -150.2873 | 128.8071 | -15.6684 | -145.266 | 126.712

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.88591 | 0.004192 | 0.004192 | 0.88576 | 0.0037174 | 0.0037174 | 10.2296 | 0.048405 | 0.048405 | 10.2278 | 0.042925 | 0.042925 | 7.8711 | 0.045912 | -0.030255 | -5.4884 | -0.039981 | 0.027292 | 5.0772 | -0.0037501 | -0.038787 | -4.3945 | 0.0097178 | 0.041373 | -39.2053 | -114.7028 | -114.7028 | 140.8239 | 64.8008 | 64.8008 | 0.91563 | 0.95167 | 1.0163 | 0.68743 | 0.95854 | 1.1547 | -6.3817 | -119.3723 | 117.3426 | -0.49235 | -128.8604 | 121.3898
Line_1 | 0.59007 | 0.00067058 | 0.00067058 | 0.59037 | 0.0019096 | 0.0019096 | 6.8135 | 0.0077432 | 0.0077432 | 6.8169 | 0.02205 | 0.02205 | -2.6078 | -0.0071365 | 0.0049775 | 3.6608 | 0.020543 | -0.013999 | -2.6135 | 0.0025362 | 0.0082914 | 2.9255 | -0.0049719 | -0.021266 | 140.9942 | 64.5881 | 64.5881 | -39.1226 | -115.255 | -115.255 | 0.54187 | 0.97812 | 1.2489 | 0.68743 | 0.95854 | 1.1547 | 6.0575 | -134.9766 | 123.6111 | -0.49235 | -128.8604 | 121.3898
Line_2 | 0.29512 | 0.00072146 | 0.00072146 | 0.29539 | 0.0018079 | 0.0018079 | 3.4078 | 0.0083306 | 0.0083306 | 3.4109 | 0.020875 | 0.020875 | -1.5663 | -0.0077242 | 0.0052944 | 1.8276 | 0.019439 | -0.013293 | -1.3861 | 0.0022757 | 0.0084977 | 1.4689 | -0.0047459 | -0.020107 | 140.9212 | 64.4553 | 64.4553 | -39.2831 | -115.1402 | -115.1402 | 0.61376 | 0.96661 | 1.2018 | 0.68743 | 0.95854 | 1.1547 | 2.4293 | -131.9604 | 122.5306 | -0.49235 | -128.8604 | 121.3898
Line_3 | 0.2948 | 0.00067058 | 0.00067058 | 0.29512 | 0.00072146 | 0.00072146 | 3.404 | 0.0077432 | 0.0077432 | 3.4078 | 0.0083306 | 0.0083306 | -1.3072 | 0.0071365 | -0.0049775 | 1.5663 | 0.0077242 | -0.0052944 | -1.3014 | -0.0025362 | -0.0082914 | 1.3861 | -0.0022757 | -0.0084977 | 141.1842 | -115.4119 | -115.4119 | -39.0788 | -115.5447 | -115.5447 | 0.54187 | 0.97812 | 1.2489 | 0.61376 | 0.96661 | 1.2018 | 6.0575 | -134.9766 | 123.6111 | 2.4293 | -131.9604 | 122.5306

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.88591 | 0.004192 | 0.004192 | 0.88576 | 0.0037174 | 0.0037174 | 10.2296 | 0.048405 | 0.048405 | 10.2278 | 0.042925 | 0.042925 | 7.8711 | 0.045912 | -0.030255 | -5.4884 | -0.039981 | 0.027292 | 5.0772 | -0.0037501 | -0.038787 | -4.3945 | 0.0097178 | 0.041373 | -39.2053 | -114.7028 | -114.7028 | 140.8239 | 64.8008 | 64.8008 | 0.91563 | 0.95167 | 1.0163 | 0.68743 | 0.95854 | 1.1547 | -6.3817 | -119.3723 | 117.3426 | -0.49235 | -128.8604 | 121.3898
Line_1 | 0.59007 | 0.00067058 | 0.00067058 | 0.59037 | 0.0019096 | 0.0019096 | 6.8135 | 0.0077432 | 0.0077432 | 6.8169 | 0.02205 | 0.02205 | -2.6078 | -0.0071365 | 0.0049775 | 3.6608 | 0.020543 | -0.013999 | -2.6135 | 0.0025362 | 0.0082914 | 2.9255 | -0.0049719 | -0.021266 | 140.9942 | 64.5881 | 64.5881 | -39.1226 | -115.255 | -115.255 | 0.54187 | 0.97812 | 1.2489 | 0.68743 | 0.95854 | 1.1547 | 6.0575 | -134.9766 | 123.6111 | -0.49235 | -128.8604 | 121.3898
Line_2 | 0.29512 | 0.00072146 | 0.00072146 | 0.29539 | 0.0018079 | 0.0018079 | 3.4078 | 0.0083306 | 0.0083306 | 3.4109 | 0.020875 | 0.020875 | -1.5663 | -0.0077242 | 0.0052944 | 1.8276 | 0.019439 | -0.013293 | -1.3861 | 0.0022757 | 0.0084977 | 1.4689 | -0.0047459 | -0.020107 | 140.9212 | 64.4553 | 64.4553 | -39.2831 | -115.1402 | -115.1402 | 0.61376 | 0.96661 | 1.2018 | 0.68743 | 0.95854 | 1.1547 | 2.4293 | -131.9604 | 122.5306 | -0.49235 | -128.8604 | 121.3898
Line_3 | 0.2948 | 0.00067058 | 0.00067058 | 0.29512 | 0.00072146 | 0.00072146 | 3.404 | 0.0077432 | 0.0077432 | 3.4078 | 0.0083306 | 0.0083306 | -1.3072 | 0.0071365 | -0.0049775 | 1.5663 | 0.0077242 | -0.0052944 | -1.3014 | -0.0025362 | -0.0082914 | 1.3861 | -0.0022757 | -0.0084977 | 141.1842 | -115.4119 | -115.4119 | -39.0788 | -115.5447 | -115.5447 | 0.54187 | 0.97812 | 1.2489 | 0.61376 | 0.96661 | 1.2018 | 6.0575 | -134.9766 | 123.6111 | 2.4293 | -131.9604 | 122.5306

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0063145 | 4.0547 | 2.625 | 0.0055733 | 4.0548 | 2.6245 | 0.072914 | 46.8195 | 30.3107 | 0.064355 | 46.8202 | 30.3053 | 0.002568 | 30.4767 | -0.38697 | -0.0004635 | -12.1878 | 0.16109 | -0.074955 | 9.4742 | 16.1946 | 0.080375 | -3.8068 | -6.4649 | 82.4802 | -176.6002 | 36.9657 | -98.3213 | 3.4103 | -143.047 | 1.0286 | 0.68167 | 0.53444 | 1.249 | 0.27271 | 0.21339 | -5.5576 | -159.3314 | 128.3346 | -7.9908 | -159.2438 | 128.3804
Line_1 | 0.0010034 | 2.7037 | 1.7478 | 0.0028609 | 2.7033 | 1.7491 | 0.011586 | 31.2198 | 20.1814 | 0.033035 | 31.2154 | 20.1966 | 0.00014073 | 9.2868e-11 | 7.1857e-11 | 0.00031653 | 8.1265 | -0.10885 | 0.01618 | -6.5334e-11 | -1.0967e-11 | -0.041258 | 2.5355 | 4.3084 | -98.6605 | 3.4666 | -143.1097 | 81.5696 | -176.572 | 36.9332 | 1.3965 | 0 | 0 | 1.249 | 0.27271 | 0.21339 | -9.1588 | 0 | 0 | -7.9908 | -159.2438 | 128.3804
Line_2 | 0.0010777 | 1.3517 | 0.87429 | 0.0027123 | 1.3514 | 0.87544 | 0.012445 | 15.6084 | 10.0955 | 0.031319 | 15.6048 | 10.1088 | -8.8084e-05 | -2.031 | 0.02881 | 0.00014697 | 4.0613 | -0.052244 | 0.016461 | -0.63831 | -1.0738 | -0.039116 | 1.2713 | 2.1565 | -98.9269 | 3.4428 | -143.0835 | 81.7939 | -176.6252 | 36.9926 | 1.3228 | 0.1364 | 0.10641 | 1.249 | 0.27271 | 0.21339 | -8.6203 | -159.1105 | 128.4533 | -7.9908 | -159.2438 | 128.3804
Line_3 | 0.0010034 | 1.3522 | 0.87281 | 0.0010777 | 1.3517 | 0.87429 | 0.011586 | 15.6136 | 10.0783 | 0.012445 | 15.6084 | 10.0955 | -0.00014073 | 4.6409e-11 | 3.5891e-11 | 8.8083e-05 | 2.031 | -0.02881 | -0.01618 | -3.2725e-11 | -5.4333e-12 | -0.016461 | 0.63831 | 1.0738 | 81.3395 | 3.5289 | -143.1789 | 81.0731 | -176.5572 | 36.9165 | 1.3965 | 0 | 0 | 1.3228 | 0.1364 | 0.10641 | -9.1588 | 0 | 0 | -8.6203 | -159.1105 | 128.4533

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0063145 | 4.0547 | 2.625 | 0.0055733 | 4.0548 | 2.6245 | 0.072914 | 46.8195 | 30.3107 | 0.064355 | 46.8202 | 30.3053 | 0.002568 | 30.4767 | -0.38697 | -0.0004635 | -12.1878 | 0.16109 | -0.074955 | 9.4742 | 16.1946 | 0.080375 | -3.8068 | -6.4649 | 82.4802 | -176.6002 | 36.9657 | -98.3213 | 3.4103 | -143.047 | 1.0286 | 0.68167 | 0.53444 | 1.249 | 0.27271 | 0.21339 | -5.5576 | -159.3314 | 128.3346 | -7.9908 | -159.2438 | 128.3804
Line_1 | 0.0010034 | 2.7037 | 1.7478 | 0.0028609 | 2.7033 | 1.7491 | 0.011586 | 31.2198 | 20.1814 | 0.033035 | 31.2154 | 20.1966 | 0.00014073 | 9.2868e-11 | 7.1857e-11 | 0.00031653 | 8.1265 | -0.10885 | 0.01618 | -6.5334e-11 | -1.0967e-11 | -0.041258 | 2.5355 | 4.3084 | -98.6605 | 3.4666 | -143.1097 | 81.5696 | -176.572 | 36.9332 | 1.3965 | 0 | 0 | 1.249 | 0.27271 | 0.21339 | -9.1588 | 0 | 0 | -7.9908 | -159.2438 | 128.3804
Line_2 | 0.0010777 | 1.3517 | 0.87429 | 0.0027123 | 1.3514 | 0.87544 | 0.012445 | 15.6084 | 10.0955 | 0.031319 | 15.6048 | 10.1088 | -8.8084e-05 | -2.031 | 0.02881 | 0.00014697 | 4.0613 | -0.052244 | 0.016461 | -0.63831 | -1.0738 | -0.039116 | 1.2713 | 2.1565 | -98.9269 | 3.4428 | -143.0835 | 81.7939 | -176.6252 | 36.9926 | 1.3228 | 0.1364 | 0.10641 | 1.249 | 0.27271 | 0.21339 | -8.6203 | -159.1105 | 128.4533 | -7.9908 | -159.2438 | 128.3804
Line_3 | 0.0010034 | 1.3522 | 0.87281 | 0.0010777 | 1.3517 | 0.87429 | 0.011586 | 15.6136 | 10.0783 | 0.012445 | 15.6084 | 10.0955 | -0.00014073 | 4.6409e-11 | 3.5891e-11 | 8.8083e-05 | 2.031 | -0.02881 | -0.01618 | -3.2725e-11 | -5.4333e-12 | -0.016461 | 0.63831 | 1.0738 | 81.3395 | 3.5289 | -143.1789 | 81.0731 | -176.5572 | 36.9165 | 1.3965 | 0 | 0 | 1.3228 | 0.1364 | 0.10641 | -9.1588 | 0 | 0 | -8.6203 | -159.1105 | 128.4533

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0027414 | 1.2971 | 1.0778 | 0.0024196 | 1.2972 | 1.0775 | 0.031655 | 14.9775 | 12.4455 | 0.027939 | 14.9789 | 12.4419 | 0.0067316 | 11.7756 | 6.7512 | -0.0058337 | -9.756 | -6.1746 | -0.032976 | 8.5793 | 8.9581 | 0.031706 | -8.4946 | -7.0549 | 76.3355 | -166.8494 | 63.3496 | -104.466 | 13.164 | -116.656 | 1.0632 | 0.97276 | 0.90131 | 1.1539 | 0.86361 | 0.75353 | -2.1268 | -130.7735 | 116.3462 | -4.0405 | -125.7896 | 112.1512
Line_1 | 0.00043562 | 0.86535 | 0.71719 | 0.0012421 | 0.86497 | 0.71797 | 0.0050301 | 9.9922 | 8.2813 | 0.014342 | 9.9879 | 8.2904 | -0.0010256 | -5.6151 | -3.8559 | 0.0030256 | 6.5074 | 4.1138 | 0.0060242 | -5.62 | -3.8549 | -0.01627 | 5.6617 | 4.7014 | -104.8052 | 13.2332 | -116.6761 | 75.4249 | -166.8142 | 63.3375 | 1.2149 | 0.79506 | 0.65839 | 1.1539 | 0.86361 | 0.75353 | -5.143 | -121.7414 | 108.3167 | -4.0405 | -125.7896 | 112.1512
Line_2 | 0.00046789 | 0.43256 | 0.35884 | 0.0011776 | 0.43223 | 0.35953 | 0.0054028 | 4.9947 | 4.1435 | 0.013597 | 4.991 | 4.1515 | -0.0011616 | -3.0303 | -1.9922 | 0.0028081 | 3.2485 | 2.0608 | 0.0062924 | -2.8212 | -2.1389 | -0.015436 | 2.8329 | 2.3536 | -105.0716 | 13.2041 | -116.6682 | 75.6492 | -166.8797 | 63.3568 | 1.1843 | 0.82892 | 0.70543 | 1.1539 | 0.86361 | 0.75353 | -4.6125 | -123.8429 | 110.3658 | -4.0405 | -125.7896 | 112.1512
Line_3 | 0.00043562 | 0.43298 | 0.35795 | 0.00046789 | 0.43256 | 0.35884 | 0.0050301 | 4.9996 | 4.1333 | 0.0054028 | 4.9947 | 4.1435 | 0.0010256 | -2.8133 | -1.9238 | 0.0011616 | 3.0303 | 1.9922 | -0.0060242 | -2.8083 | -1.9247 | -0.0062924 | 2.8212 | 2.1389 | 75.1948 | 13.3095 | -116.6976 | 74.9284 | -166.7959 | 63.3318 | 1.2149 | 0.79506 | 0.65839 | 1.1843 | 0.82892 | 0.70543 | -5.143 | -121.7414 | 108.3167 | -4.6125 | -123.8429 | 110.3658

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0027414 | 1.2971 | 1.0778 | 0.0024196 | 1.2972 | 1.0775 | 0.031655 | 14.9775 | 12.4455 | 0.027939 | 14.9789 | 12.4419 | 0.0067316 | 11.7756 | 6.7512 | -0.0058337 | -9.756 | -6.1746 | -0.032976 | 8.5793 | 8.9581 | 0.031706 | -8.4946 | -7.0549 | 76.3355 | -166.8494 | 63.3496 | -104.466 | 13.164 | -116.656 | 1.0632 | 0.97276 | 0.90131 | 1.1539 | 0.86361 | 0.75353 | -2.1268 | -130.7735 | 116.3462 | -4.0405 | -125.7896 | 112.1512
Line_1 | 0.00043562 | 0.86535 | 0.71719 | 0.0012421 | 0.86497 | 0.71797 | 0.0050301 | 9.9922 | 8.2813 | 0.014342 | 9.9879 | 8.2904 | -0.0010256 | -5.6151 | -3.8559 | 0.0030256 | 6.5074 | 4.1138 | 0.0060242 | -5.62 | -3.8549 | -0.01627 | 5.6617 | 4.7014 | -104.8052 | 13.2332 | -116.6761 | 75.4249 | -166.8142 | 63.3375 | 1.2149 | 0.79506 | 0.65839 | 1.1539 | 0.86361 | 0.75353 | -5.143 | -121.7414 | 108.3167 | -4.0405 | -125.7896 | 112.1512
Line_2 | 0.00046789 | 0.43256 | 0.35884 | 0.0011776 | 0.43223 | 0.35953 | 0.0054028 | 4.9947 | 4.1435 | 0.013597 | 4.991 | 4.1515 | -0.0011616 | -3.0303 | -1.9922 | 0.0028081 | 3.2485 | 2.0608 | 0.0062924 | -2.8212 | -2.1389 | -0.015436 | 2.8329 | 2.3536 | -105.0716 | 13.2041 | -116.6682 | 75.6492 | -166.8797 | 63.3568 | 1.1843 | 0.82892 | 0.70543 | 1.1539 | 0.86361 | 0.75353 | -4.6125 | -123.8429 | 110.3658 | -4.0405 | -125.7896 | 112.1512
Line_3 | 0.00043562 | 0.43298 | 0.35795 | 0.00046789 | 0.43256 | 0.35884 | 0.0050301 | 4.9996 | 4.1333 | 0.0054028 | 4.9947 | 4.1435 | 0.0010256 | -2.8133 | -1.9238 | 0.0011616 | 3.0303 | 1.9922 | -0.0060242 | -2.8083 | -1.9247 | -0.0062924 | 2.8212 | 2.1389 | 75.1948 | 13.3095 | -116.6976 | 74.9284 | -166.7959 | 63.3318 | 1.2149 | 0.79506 | 0.65839 | 1.1843 | 0.82892 | 0.70543 | -5.143 | -121.7414 | 108.3167 | -4.6125 | -123.8429 | 110.3658

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0060552 | 3.0748 | 2.2247 | 0.0053698 | 3.075 | 2.2243 | 0.069919 | 35.5046 | 25.6891 | 0.062005 | 35.5073 | 25.6838 | 0.0015502 | 27.3351 | 2.1935 | -0.00031032 | -10.9406 | -0.86575 | -0.068134 | 2.4338 | 12.524 | 0.074481 | -0.99672 | -4.993 | 84.8147 | -161.2201 | 39.8988 | -95.6818 | 18.7919 | -140.1145 | 0.97471 | 0.77295 | 0.49494 | 1.2012 | 0.3094 | 0.1973 | -3.8819 | -156.1321 | 119.9643 | -5.443 | -156.0026 | 120.0487
Line_1 | 0.00096864 | 2.0511 | 1.481 | 0.0027584 | 2.0504 | 1.4823 | 0.011185 | 23.684 | 17.1011 | 0.031851 | 23.6754 | 17.1158 | 6.549e-05 | -1.0598e-10 | -1.6108e-11 | 0.00019669 | 7.2952 | 0.57564 | 0.015125 | -9.6729e-11 | -1.0235e-10 | -0.038259 | 0.66193 | 3.3276 | -95.8944 | 18.8583 | -140.1853 | 84.2624 | -161.1872 | 39.8632 | 1.3523 | 0 | 0 | 1.2012 | 0.3094 | 0.1973 | -6.1425 | 0 | 0 | -5.443 | -156.0026 | 120.0487
Line_2 | 0.0010421 | 1.0253 | 0.7409 | 0.0026114 | 1.0247 | 0.74201 | 0.012033 | 11.8393 | 8.5552 | 0.030154 | 11.8319 | 8.568 | -5.0707e-05 | -1.8256 | -0.14092 | 0.00011363 | 3.6454 | 0.29011 | 0.015365 | -0.17144 | -0.82769 | -0.036221 | 0.3348 | 1.6654 | -96.0272 | 18.8301 | -140.1553 | 84.3772 | -161.25 | 39.9301 | 1.2769 | 0.15487 | 0.09814 | 1.2012 | 0.3094 | 0.1973 | -5.8381 | -155.8051 | 120.1825 | -5.443 | -156.0026 | 120.0487
Line_3 | 0.00096864 | 1.0262 | 0.73946 | 0.0010421 | 1.0253 | 0.7409 | 0.011185 | 11.849 | 8.5385 | 0.012033 | 11.8393 | 8.5552 | -6.5492e-05 | -5.3084e-11 | -7.9728e-12 | 5.0706e-05 | 1.8256 | 0.14092 | -0.015125 | -4.8325e-11 | -5.1116e-11 | -0.015365 | 0.17144 | 0.82769 | 84.1056 | 18.932 | -140.2639 | 83.9728 | -161.1699 | 39.8447 | 1.3523 | 0 | 0 | 1.2769 | 0.15487 | 0.09814 | -6.1425 | 0 | 0 | -5.8381 | -155.8051 | 120.1825

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0060552 | 3.0748 | 2.2247 | 0.0053698 | 3.075 | 2.2243 | 0.069919 | 35.5046 | 25.6891 | 0.062005 | 35.5073 | 25.6838 | 0.0015502 | 27.3351 | 2.1935 | -0.00031032 | -10.9406 | -0.86575 | -0.068134 | 2.4338 | 12.524 | 0.074481 | -0.99672 | -4.993 | 84.8147 | -161.2201 | 39.8988 | -95.6818 | 18.7919 | -140.1145 | 0.97471 | 0.77295 | 0.49494 | 1.2012 | 0.3094 | 0.1973 | -3.8819 | -156.1321 | 119.9643 | -5.443 | -156.0026 | 120.0487
Line_1 | 0.00096864 | 2.0511 | 1.481 | 0.0027584 | 2.0504 | 1.4823 | 0.011185 | 23.684 | 17.1011 | 0.031851 | 23.6754 | 17.1158 | 6.549e-05 | -1.0598e-10 | -1.6108e-11 | 0.00019669 | 7.2952 | 0.57564 | 0.015125 | -9.6729e-11 | -1.0235e-10 | -0.038259 | 0.66193 | 3.3276 | -95.8944 | 18.8583 | -140.1853 | 84.2624 | -161.1872 | 39.8632 | 1.3523 | 0 | 0 | 1.2012 | 0.3094 | 0.1973 | -6.1425 | 0 | 0 | -5.443 | -156.0026 | 120.0487
Line_2 | 0.0010421 | 1.0253 | 0.7409 | 0.0026114 | 1.0247 | 0.74201 | 0.012033 | 11.8393 | 8.5552 | 0.030154 | 11.8319 | 8.568 | -5.0707e-05 | -1.8256 | -0.14092 | 0.00011363 | 3.6454 | 0.29011 | 0.015365 | -0.17144 | -0.82769 | -0.036221 | 0.3348 | 1.6654 | -96.0272 | 18.8301 | -140.1553 | 84.3772 | -161.25 | 39.9301 | 1.2769 | 0.15487 | 0.09814 | 1.2012 | 0.3094 | 0.1973 | -5.8381 | -155.8051 | 120.1825 | -5.443 | -156.0026 | 120.0487
Line_3 | 0.00096864 | 1.0262 | 0.73946 | 0.0010421 | 1.0253 | 0.7409 | 0.011185 | 11.849 | 8.5385 | 0.012033 | 11.8393 | 8.5552 | -6.5492e-05 | -5.3084e-11 | -7.9728e-12 | 5.0706e-05 | 1.8256 | 0.14092 | -0.015125 | -4.8325e-11 | -5.1116e-11 | -0.015365 | 0.17144 | 0.82769 | 84.1056 | 18.932 | -140.2639 | 83.9728 | -161.1699 | 39.8447 | 1.3523 | 0 | 0 | 1.2769 | 0.15487 | 0.09814 | -6.1425 | 0 | 0 | -5.8381 | -155.8051 | 120.1825

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0034817 | 1.1076 | 0.87246 | 0.0030876 | 1.1078 | 0.87207 | 0.040203 | 12.789 | 10.0743 | 0.035652 | 12.7915 | 10.0698 | 0.0097663 | 10.1889 | 4.881 | -0.0084281 | -7.7589 | -4.2224 | -0.038074 | 5.4371 | 6.7286 | 0.038341 | -5.8748 | -4.9609 | 73.6118 | -159.3111 | 62.2897 | -106.8846 | 20.706 | -117.7171 | 0.9777 | 0.90304 | 0.82512 | 1.1011 | 0.76083 | 0.64694 | -2.0014 | -131.2253 | 116.3321 | -4.487 | -122.1622 | 111.8803
Line_1 | 0.00055695 | 0.73943 | 0.57991 | 0.001586 | 0.7388 | 0.58092 | 0.0064312 | 8.5382 | 6.6962 | 0.018314 | 8.531 | 6.7079 | -0.0014893 | -4.1001 | -2.5203 | 0.0043486 | 5.1766 | 2.8122 | 0.0074692 | -4.105 | -2.5194 | -0.019691 | 3.9154 | 3.3051 | -107.0973 | 20.7983 | -117.7452 | 73.0595 | -159.2649 | 62.274 | 1.1843 | 0.67953 | 0.53218 | 1.1011 | 0.76083 | 0.64694 | -5.8207 | -114.1677 | 107.2446 | -4.487 | -122.1622 | 111.8803
Line_2 | 0.00059921 | 0.36952 | 0.29027 | 0.0015015 | 0.36897 | 0.29116 | 0.0069191 | 4.2668 | 3.3517 | 0.017338 | 4.2605 | 3.362 | -0.0016485 | -2.3194 | -1.3324 | 0.0040795 | 2.5823 | 1.4102 | 0.007732 | -2.0063 | -1.4558 | -0.01865 | 1.9594 | 1.6558 | -107.2301 | 20.7592 | -117.7338 | 73.1743 | -159.3523 | 62.3006 | 1.1426 | 0.71873 | 0.58879 | 1.1011 | 0.76083 | 0.64694 | -5.1943 | -118.3808 | 109.8015 | -4.487 | -122.1622 | 111.8803
Line_3 | 0.00055695 | 0.37023 | 0.28913 | 0.00059921 | 0.36952 | 0.29027 | 0.0064312 | 4.275 | 3.3386 | 0.0069191 | 4.2668 | 3.3517 | 0.0014893 | -2.0566 | -1.2559 | 0.0016485 | 2.3194 | 1.3324 | -0.0074692 | -2.0517 | -1.2568 | -0.007732 | 2.0063 | 1.4558 | 72.9027 | 20.9003 | -117.7758 | 72.7699 | -159.2408 | 62.2662 | 1.1843 | 0.67953 | 0.53218 | 1.1426 | 0.71873 | 0.58879 | -5.8207 | -114.1677 | 107.2446 | -5.1943 | -118.3808 | 109.8015

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0034817 | 1.1076 | 0.87246 | 0.0030876 | 1.1078 | 0.87207 | 0.040203 | 12.789 | 10.0743 | 0.035652 | 12.7915 | 10.0698 | 0.0097663 | 10.1889 | 4.881 | -0.0084281 | -7.7589 | -4.2224 | -0.038074 | 5.4371 | 6.7286 | 0.038341 | -5.8748 | -4.9609 | 73.6118 | -159.3111 | 62.2897 | -106.8846 | 20.706 | -117.7171 | 0.9777 | 0.90304 | 0.82512 | 1.1011 | 0.76083 | 0.64694 | -2.0014 | -131.2253 | 116.3321 | -4.487 | -122.1622 | 111.8803
Line_1 | 0.00055695 | 0.73943 | 0.57991 | 0.001586 | 0.7388 | 0.58092 | 0.0064312 | 8.5382 | 6.6962 | 0.018314 | 8.531 | 6.7079 | -0.0014893 | -4.1001 | -2.5203 | 0.0043486 | 5.1766 | 2.8122 | 0.0074692 | -4.105 | -2.5194 | -0.019691 | 3.9154 | 3.3051 | -107.0973 | 20.7983 | -117.7452 | 73.0595 | -159.2649 | 62.274 | 1.1843 | 0.67953 | 0.53218 | 1.1011 | 0.76083 | 0.64694 | -5.8207 | -114.1677 | 107.2446 | -4.487 | -122.1622 | 111.8803
Line_2 | 0.00059921 | 0.36952 | 0.29027 | 0.0015015 | 0.36897 | 0.29116 | 0.0069191 | 4.2668 | 3.3517 | 0.017338 | 4.2605 | 3.362 | -0.0016485 | -2.3194 | -1.3324 | 0.0040795 | 2.5823 | 1.4102 | 0.007732 | -2.0063 | -1.4558 | -0.01865 | 1.9594 | 1.6558 | -107.2301 | 20.7592 | -117.7338 | 73.1743 | -159.3523 | 62.3006 | 1.1426 | 0.71873 | 0.58879 | 1.1011 | 0.76083 | 0.64694 | -5.1943 | -118.3808 | 109.8015 | -4.487 | -122.1622 | 111.8803
Line_3 | 0.00055695 | 0.37023 | 0.28913 | 0.00059921 | 0.36952 | 0.29027 | 0.0064312 | 4.275 | 3.3386 | 0.0069191 | 4.2668 | 3.3517 | 0.0014893 | -2.0566 | -1.2559 | 0.0016485 | 2.3194 | 1.3324 | -0.0074692 | -2.0517 | -1.2568 | -0.007732 | 2.0063 | 1.4558 | 72.9027 | 20.9003 | -117.7758 | 72.7699 | -159.2408 | 62.2662 | 1.1843 | 0.67953 | 0.53218 | 1.1426 | 0.71873 | 0.58879 | -5.8207 | -114.1677 | 107.2446 | -5.1943 | -118.3808 | 109.8015