## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.2528e-14 | 1.8237e-14 | 4.1685e-14 | 5.2106e-14 | -1.5631e-14 | -5.2106e-14 | -3.1264e-14 | 5.7634e-09 | -5.7634e-09 | 2.6053e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.2052e-12 | -180 | 180 | 1.244e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5632e-14 | -1.3026e-14 | -2.0842e-14 | -2.6053e-14 | 2.6053e-14 | 1.0421e-14 | 3.4397e-28 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.2608e-12 | -180 | 180 | 1.244e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | -2.3448e-14 | -2.0842e-14 | -2.0843e-14 | 2.6053e-14 | 1.0421e-14 | 1.0421e-14 | -1.9211e-09 | 1.9211e-09 | -1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.257e-12 | -180 | 180 | 1.244e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 1.0421e-14 | -5.2106e-15 | -1.5632e-14 | 5.2106e-15 | 1.1132e-24 | -5.2106e-15 | -1.3027e-14 | 1.0421e-14 | 1.0421e-14 | 5.2106e-15 | 1.0421e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.2608e-12 | -180 | 180 | 1.257e-12 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.2528e-14 | 1.8237e-14 | 4.1685e-14 | 5.2106e-14 | -1.5631e-14 | -5.2106e-14 | -3.1264e-14 | 5.7634e-09 | -5.7634e-09 | 2.6053e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.2052e-12 | -180 | 180 | 1.244e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5632e-14 | -1.3026e-14 | -2.0842e-14 | -2.6053e-14 | 2.6053e-14 | 1.0421e-14 | 3.4397e-28 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.2608e-12 | -180 | 180 | 1.244e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | -2.3448e-14 | -2.0842e-14 | -2.0843e-14 | 2.6053e-14 | 1.0421e-14 | 1.0421e-14 | -1.9211e-09 | 1.9211e-09 | -1.0421e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.257e-12 | -180 | 180 | 1.244e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 1.0421e-14 | -5.2106e-15 | -1.5632e-14 | 5.2106e-15 | 1.1132e-24 | -5.2106e-15 | -1.3027e-14 | 1.0421e-14 | 1.0421e-14 | 5.2106e-15 | 1.0421e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.2608e-12 | -180 | 180 | 1.257e-12 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.7317e-14 | -7.3074e-10 | -2.0393e-09 | 5.7317e-14 | 7.3074e-10 | 2.0393e-09 | -2.6053e-14 | 5.8225e-09 | -3.5561e-09 | 2.0843e-14 | -5.8225e-09 | 3.5561e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 1.0085e-12 | -164.9034 | 158.1097 | 1.0403e-12 | -164.9034 | 158.1097
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 2.4358e-10 | 6.7976e-10 | -1.5632e-14 | -2.4357e-10 | -6.7977e-10 | 5.2106e-15 | -1.9408e-09 | 1.1854e-09 | -5.2106e-15 | 1.9408e-09 | -1.1854e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 1.0535e-12 | -164.9034 | 158.1097 | 1.0403e-12 | -164.9034 | 158.1097
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5632e-14 | 2.4359e-10 | 6.7976e-10 | -2.6053e-14 | -2.4359e-10 | -6.7976e-10 | 5.2106e-15 | -1.9409e-09 | 1.1854e-09 | -5.2106e-15 | 1.9409e-09 | -1.1854e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 1.0506e-12 | -164.9034 | 158.1097 | 1.0403e-12 | -164.9034 | 158.1097
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -1.2963e-14 | 1.682e-15 | -5.2106e-15 | 3.0828e-14 | -1.1736e-14 | -2.8742e-28 | 2.3259e-14 | 4.1861e-15 | -9.5549e-29 | -1.5095e-14 | -5.0083e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 1.0535e-12 | -164.9034 | 158.1097 | 1.0506e-12 | -164.9034 | 158.1097

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.7317e-14 | -7.3074e-10 | -2.0393e-09 | 5.7317e-14 | 7.3074e-10 | 2.0393e-09 | -2.6053e-14 | 5.8225e-09 | -3.5561e-09 | 2.0843e-14 | -5.8225e-09 | 3.5561e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 1.0085e-12 | -164.9034 | 158.1097 | 1.0403e-12 | -164.9034 | 158.1097
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 2.4358e-10 | 6.7976e-10 | -1.5632e-14 | -2.4357e-10 | -6.7977e-10 | 5.2106e-15 | -1.9408e-09 | 1.1854e-09 | -5.2106e-15 | 1.9408e-09 | -1.1854e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 1.0535e-12 | -164.9034 | 158.1097 | 1.0403e-12 | -164.9034 | 158.1097
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5632e-14 | 2.4359e-10 | 6.7976e-10 | -2.6053e-14 | -2.4359e-10 | -6.7976e-10 | 5.2106e-15 | -1.9409e-09 | 1.1854e-09 | -5.2106e-15 | 1.9409e-09 | -1.1854e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 1.0506e-12 | -164.9034 | 158.1097 | 1.0403e-12 | -164.9034 | 158.1097
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -1.2963e-14 | 1.682e-15 | -5.2106e-15 | 3.0828e-14 | -1.1736e-14 | -2.8742e-28 | 2.3259e-14 | 4.1861e-15 | -9.5549e-29 | -1.5095e-14 | -5.0083e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 1.0535e-12 | -164.9034 | 158.1097 | 1.0506e-12 | -164.9034 | 158.1097

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 4.5001e-14 | -2.3686e-15 | 4.737e-15 | -4.0263e-14 | 2.3693e-15 | 3.7896e-14 | 4.7631e-09 | -4.7631e-09 | -4.2633e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.565e-13 | -180 | 180 | 9.1555e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | -1.1842e-14 | 2.3688e-15 | -2.3685e-15 | 1.1842e-14 | -2.3687e-15 | -9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.2517e-13 | -180 | 180 | 9.1555e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.1842e-14 | -2.3681e-15 | 4.737e-15 | 1.1842e-14 | 7.1052e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.3325e-13 | -180 | 180 | 9.1555e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | 3.5527e-15 | -1.0034e-24 | -9.4739e-15 | -3.5527e-15 | 0 | -9.4739e-15 | -1.4211e-14 | -4.737e-15 | 9.4739e-15 | 7.1054e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.2517e-13 | -180 | 180 | 9.3325e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 4.5001e-14 | -2.3686e-15 | 4.737e-15 | -4.0263e-14 | 2.3693e-15 | 3.7896e-14 | 4.7631e-09 | -4.7631e-09 | -4.2633e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 8.565e-13 | -180 | 180 | 9.1555e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | -1.1842e-14 | 2.3688e-15 | -2.3685e-15 | 1.1842e-14 | -2.3687e-15 | -9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.2517e-13 | -180 | 180 | 9.1555e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.1842e-14 | -2.3681e-15 | 4.737e-15 | 1.1842e-14 | 7.1052e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.3325e-13 | -180 | 180 | 9.1555e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | 3.5527e-15 | -1.0034e-24 | -9.4739e-15 | -3.5527e-15 | 0 | -9.4739e-15 | -1.4211e-14 | -4.737e-15 | 9.4739e-15 | 7.1054e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.2517e-13 | -180 | 180 | 9.3325e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -5.5592e-10 | -1.5515e-09 | 4.737e-15 | 5.5593e-10 | 1.5515e-09 | 2.6053e-14 | 4.8331e-09 | -3.1089e-09 | -3.079e-14 | -4.8332e-09 | 3.1089e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 6.3556e-13 | -166.2936 | 160.6236 | 6.7925e-13 | -166.2936 | 160.6236
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 1.8532e-10 | 5.1715e-10 | 2.3685e-15 | -1.8531e-10 | -5.1715e-10 | -7.1054e-15 | -1.6111e-09 | 1.0363e-09 | 7.1054e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 6.8469e-13 | -166.2936 | 160.6236 | 6.7925e-13 | -166.2936 | 160.6236
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 1.8532e-10 | 5.1715e-10 | 2.3685e-15 | -1.8531e-10 | -5.1715e-10 | -9.4739e-15 | -1.6111e-09 | 1.0363e-09 | 9.4739e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 6.9223e-13 | -166.2936 | 160.6236 | 6.7925e-13 | -166.2936 | 160.6236
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.6607e-29 | 3.1041e-15 | 7.8905e-16 | 0 | 1.4328e-15 | 5.7536e-16 | 4.737e-15 | -6.6518e-15 | 8.4413e-15 | 0 | 6.2765e-15 | -4.5618e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 6.8469e-13 | -166.2936 | 160.6236 | 6.9223e-13 | -166.2936 | 160.6236

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -5.5592e-10 | -1.5515e-09 | 4.737e-15 | 5.5593e-10 | 1.5515e-09 | 2.6053e-14 | 4.8331e-09 | -3.1089e-09 | -3.079e-14 | -4.8332e-09 | 3.1089e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 6.3556e-13 | -166.2936 | 160.6236 | 6.7925e-13 | -166.2936 | 160.6236
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 1.8532e-10 | 5.1715e-10 | 2.3685e-15 | -1.8531e-10 | -5.1715e-10 | -7.1054e-15 | -1.6111e-09 | 1.0363e-09 | 7.1054e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 6.8469e-13 | -166.2936 | 160.6236 | 6.7925e-13 | -166.2936 | 160.6236
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 1.8532e-10 | 5.1715e-10 | 2.3685e-15 | -1.8531e-10 | -5.1715e-10 | -9.4739e-15 | -1.6111e-09 | 1.0363e-09 | 9.4739e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 6.9223e-13 | -166.2936 | 160.6236 | 6.7925e-13 | -166.2936 | 160.6236
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.6607e-29 | 3.1041e-15 | 7.8905e-16 | 0 | 1.4328e-15 | 5.7536e-16 | 4.737e-15 | -6.6518e-15 | 8.4413e-15 | 0 | 6.2765e-15 | -4.5618e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 6.8469e-13 | -166.2936 | 160.6236 | 6.9223e-13 | -166.2936 | 160.6236

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0073652 | 0.0073652 | 0.0073652 | 0.005526 | 0.005526 | 0.005526 | 0.085046 | 0.085046 | 0.085046 | 0.063809 | 0.063809 | 0.063809 | -0.0008224 | 0.081655 | -0.080297 | 0.00074824 | -0.061165 | 0.060342 | -0.00056929 | -0.044491 | -0.049635 | 0.00048011 | 0.033375 | 0.037351 | -91.8192 | -91.8192 | -91.8192 | 88.1259 | 88.1259 | 88.1259 | 0.011761 | 1.0934 | 1.11 | 0.013933 | 1.092 | 1.1122 | 122.8731 | -120.4037 | 119.9029 | 120.812 | -120.4933 | 119.8829
Line_1 | 0.00092119 | 0.00092119 | 0.00092119 | 0.002763 | 0.002763 | 0.002763 | 0.010637 | 0.010637 | 0.010637 | 0.031904 | 0.031904 | 0.031904 | 0.00013096 | -0.010193 | 0.010062 | -0.00037412 | 0.030583 | -0.030171 | 8.2596e-05 | 0.0055608 | 0.0062342 | -0.00024005 | -0.016687 | -0.018675 | 88.0956 | 88.0957 | 88.0957 | -91.8741 | -91.8741 | -91.8741 | 0.014556 | 1.0916 | 1.1128 | 0.013933 | 1.092 | 1.1122 | 120.3345 | -120.5189 | 119.8772 | 120.812 | -120.4933 | 119.8829
Line_2 | 0.00092119 | 0.00092119 | 0.00092119 | 0.002763 | 0.002763 | 0.002763 | 0.010637 | 0.010637 | 0.010637 | 0.031904 | 0.031904 | 0.031904 | 0.00013096 | -0.010193 | 0.010062 | -0.00037412 | 0.030583 | -0.030171 | 8.2596e-05 | 0.0055608 | 0.0062342 | -0.00024005 | -0.016687 | -0.018675 | 88.0956 | 88.0957 | 88.0957 | -91.8741 | -91.8741 | -91.8741 | 0.014556 | 1.0916 | 1.1128 | 0.013933 | 1.092 | 1.1122 | 120.3345 | -120.5189 | 119.8772 | 120.812 | -120.4933 | 119.8829
Line_3 | 0.00092119 | 0.00092119 | 0.00092119 | 0.00092119 | 0.00092119 | 0.00092119 | 0.010637 | 0.010637 | 0.010637 | 0.010637 | 0.010637 | 0.010637 | -0.00013096 | 0.010193 | -0.010062 | -0.00013096 | 0.010193 | -0.010062 | -8.2596e-05 | -0.0055608 | -0.0062342 | -8.2596e-05 | -0.0055608 | -0.0062342 | -91.9043 | -91.9043 | -91.9043 | -91.9043 | -91.9043 | -91.9043 | 0.014556 | 1.0916 | 1.1128 | 0.014556 | 1.0916 | 1.1128 | 120.3345 | -120.5189 | 119.8772 | 120.3345 | -120.5189 | 119.8772

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0073652 | 0.0073652 | 0.0073652 | 0.005526 | 0.005526 | 0.005526 | 0.085046 | 0.085046 | 0.085046 | 0.063809 | 0.063809 | 0.063809 | -0.0008224 | 0.081655 | -0.080297 | 0.00074824 | -0.061165 | 0.060342 | -0.00056929 | -0.044491 | -0.049635 | 0.00048011 | 0.033375 | 0.037351 | -91.8192 | -91.8192 | -91.8192 | 88.1259 | 88.1259 | 88.1259 | 0.011761 | 1.0934 | 1.11 | 0.013933 | 1.092 | 1.1122 | 122.8731 | -120.4037 | 119.9029 | 120.812 | -120.4933 | 119.8829
Line_1 | 0.00092119 | 0.00092119 | 0.00092119 | 0.002763 | 0.002763 | 0.002763 | 0.010637 | 0.010637 | 0.010637 | 0.031904 | 0.031904 | 0.031904 | 0.00013096 | -0.010193 | 0.010062 | -0.00037412 | 0.030583 | -0.030171 | 8.2596e-05 | 0.0055608 | 0.0062342 | -0.00024005 | -0.016687 | -0.018675 | 88.0956 | 88.0957 | 88.0957 | -91.8741 | -91.8741 | -91.8741 | 0.014556 | 1.0916 | 1.1128 | 0.013933 | 1.092 | 1.1122 | 120.3345 | -120.5189 | 119.8772 | 120.812 | -120.4933 | 119.8829
Line_2 | 0.00092119 | 0.00092119 | 0.00092119 | 0.002763 | 0.002763 | 0.002763 | 0.010637 | 0.010637 | 0.010637 | 0.031904 | 0.031904 | 0.031904 | 0.00013096 | -0.010193 | 0.010062 | -0.00037412 | 0.030583 | -0.030171 | 8.2596e-05 | 0.0055608 | 0.0062342 | -0.00024005 | -0.016687 | -0.018675 | 88.0956 | 88.0957 | 88.0957 | -91.8741 | -91.8741 | -91.8741 | 0.014556 | 1.0916 | 1.1128 | 0.013933 | 1.092 | 1.1122 | 120.3345 | -120.5189 | 119.8772 | 120.812 | -120.4933 | 119.8829
Line_3 | 0.00092119 | 0.00092119 | 0.00092119 | 0.00092119 | 0.00092119 | 0.00092119 | 0.010637 | 0.010637 | 0.010637 | 0.010637 | 0.010637 | 0.010637 | -0.00013096 | 0.010193 | -0.010062 | -0.00013096 | 0.010193 | -0.010062 | -8.2596e-05 | -0.0055608 | -0.0062342 | -8.2596e-05 | -0.0055608 | -0.0062342 | -91.9043 | -91.9043 | -91.9043 | -91.9043 | -91.9043 | -91.9043 | 0.014556 | 1.0916 | 1.1128 | 0.014556 | 1.0916 | 1.1128 | 120.3345 | -120.5189 | 119.8772 | 120.3345 | -120.5189 | 119.8772

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0050725 | 0.0050725 | 0.0050725 | 0.0038059 | 0.0038059 | 0.0038059 | 0.058573 | 0.058573 | 0.058573 | 0.043946 | 0.043946 | 0.043946 | 0.013996 | 0.047784 | -0.061525 | -0.010425 | -0.03582 | 0.046209 | 0.018488 | -0.042941 | -0.020464 | -0.013856 | 0.032209 | 0.015423 | -78.3805 | -78.3805 | -78.3805 | 101.5647 | 101.5647 | 101.5647 | 0.39588 | 1.0968 | 1.107 | 0.39457 | 1.0961 | 1.1085 | -25.507 | -120.325 | 120.0175 | -25.3919 | -120.3966 | 120.022
Line_1 | 0.00063444 | 0.00063444 | 0.00063444 | 0.0019029 | 0.0019029 | 0.0019029 | 0.0073259 | 0.0073259 | 0.0073259 | 0.021973 | 0.021973 | 0.021973 | -0.0017337 | -0.0059711 | 0.0077048 | 0.0052125 | 0.01791 | -0.023105 | -0.0023096 | 0.0053672 | 0.0025763 | 0.0069281 | -0.016104 | -0.0077115 | 101.5344 | 101.5344 | 101.5344 | -78.4353 | -78.4353 | -78.4353 | 0.3942 | 1.0959 | 1.109 | 0.39457 | 1.0961 | 1.1085 | -25.3588 | -120.417 | 120.0232 | -25.3919 | -120.3966 | 120.022
Line_2 | 0.00063444 | 0.00063444 | 0.00063444 | 0.0019029 | 0.0019029 | 0.0019029 | 0.0073259 | 0.0073259 | 0.0073259 | 0.021973 | 0.021973 | 0.021973 | -0.0017337 | -0.0059711 | 0.0077048 | 0.0052125 | 0.01791 | -0.023105 | -0.0023096 | 0.0053672 | 0.0025763 | 0.0069281 | -0.016104 | -0.0077115 | 101.5344 | 101.5344 | 101.5344 | -78.4353 | -78.4353 | -78.4353 | 0.3942 | 1.0959 | 1.109 | 0.39457 | 1.0961 | 1.1085 | -25.3588 | -120.417 | 120.0232 | -25.3919 | -120.3966 | 120.022
Line_3 | 0.00063444 | 0.00063444 | 0.00063444 | 0.00063444 | 0.00063444 | 0.00063444 | 0.0073259 | 0.0073259 | 0.0073259 | 0.0073259 | 0.0073259 | 0.0073259 | 0.0017337 | 0.0059711 | -0.0077048 | 0.0017337 | 0.0059711 | -0.0077048 | 0.0023096 | -0.0053672 | -0.0025763 | 0.0023096 | -0.0053672 | -0.0025763 | -78.4656 | -78.4656 | -78.4656 | -78.4656 | -78.4656 | -78.4656 | 0.3942 | 1.0959 | 1.109 | 0.3942 | 1.0959 | 1.109 | -25.3588 | -120.417 | 120.0232 | -25.3588 | -120.417 | 120.0232

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0050725 | 0.0050725 | 0.0050725 | 0.0038059 | 0.0038059 | 0.0038059 | 0.058573 | 0.058573 | 0.058573 | 0.043946 | 0.043946 | 0.043946 | 0.013996 | 0.047784 | -0.061525 | -0.010425 | -0.03582 | 0.046209 | 0.018488 | -0.042941 | -0.020464 | -0.013856 | 0.032209 | 0.015423 | -78.3805 | -78.3805 | -78.3805 | 101.5647 | 101.5647 | 101.5647 | 0.39588 | 1.0968 | 1.107 | 0.39457 | 1.0961 | 1.1085 | -25.507 | -120.325 | 120.0175 | -25.3919 | -120.3966 | 120.022
Line_1 | 0.00063444 | 0.00063444 | 0.00063444 | 0.0019029 | 0.0019029 | 0.0019029 | 0.0073259 | 0.0073259 | 0.0073259 | 0.021973 | 0.021973 | 0.021973 | -0.0017337 | -0.0059711 | 0.0077048 | 0.0052125 | 0.01791 | -0.023105 | -0.0023096 | 0.0053672 | 0.0025763 | 0.0069281 | -0.016104 | -0.0077115 | 101.5344 | 101.5344 | 101.5344 | -78.4353 | -78.4353 | -78.4353 | 0.3942 | 1.0959 | 1.109 | 0.39457 | 1.0961 | 1.1085 | -25.3588 | -120.417 | 120.0232 | -25.3919 | -120.3966 | 120.022
Line_2 | 0.00063444 | 0.00063444 | 0.00063444 | 0.0019029 | 0.0019029 | 0.0019029 | 0.0073259 | 0.0073259 | 0.0073259 | 0.021973 | 0.021973 | 0.021973 | -0.0017337 | -0.0059711 | 0.0077048 | 0.0052125 | 0.01791 | -0.023105 | -0.0023096 | 0.0053672 | 0.0025763 | 0.0069281 | -0.016104 | -0.0077115 | 101.5344 | 101.5344 | 101.5344 | -78.4353 | -78.4353 | -78.4353 | 0.3942 | 1.0959 | 1.109 | 0.39457 | 1.0961 | 1.1085 | -25.3588 | -120.417 | 120.0232 | -25.3919 | -120.3966 | 120.022
Line_3 | 0.00063444 | 0.00063444 | 0.00063444 | 0.00063444 | 0.00063444 | 0.00063444 | 0.0073259 | 0.0073259 | 0.0073259 | 0.0073259 | 0.0073259 | 0.0073259 | 0.0017337 | 0.0059711 | -0.0077048 | 0.0017337 | 0.0059711 | -0.0077048 | 0.0023096 | -0.0053672 | -0.0025763 | 0.0023096 | -0.0053672 | -0.0025763 | -78.4656 | -78.4656 | -78.4656 | -78.4656 | -78.4656 | -78.4656 | 0.3942 | 1.0959 | 1.109 | 0.3942 | 1.0959 | 1.109 | -25.3588 | -120.417 | 120.0232 | -25.3588 | -120.417 | 120.0232

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0066879 | 0.0066879 | 0.0066879 | 0.0050178 | 0.0050178 | 0.0050178 | 0.077225 | 0.077225 | 0.077225 | 0.057941 | 0.057941 | 0.057941 | -0.00067951 | 0.067597 | -0.066069 | 0.00071756 | -0.050559 | 0.049722 | -0.0004642 | -0.036333 | -0.041285 | 0.00039246 | 0.02721 | 0.031109 | -92.1214 | -92.1214 | -92.1214 | 87.7733 | 87.7733 | 87.7733 | 0.010656 | 0.99375 | 1.0088 | 0.014116 | 0.99094 | 1.0123 | 122.2175 | -120.3792 | 119.8785 | 116.4494 | -120.5154 | 119.8061
Line_1 | 0.00083648 | 0.00083648 | 0.00083648 | 0.0025089 | 0.0025089 | 0.0025089 | 0.0096589 | 0.0096589 | 0.0096589 | 0.02897 | 0.02897 | 0.02897 | 0.00012948 | -0.0084229 | 0.0082934 | -0.00035878 | 0.025279 | -0.024861 | 6.7602e-05 | 0.0045295 | 0.0051965 | -0.00019623 | -0.013605 | -0.015555 | 87.7152 | 87.7152 | 87.7152 | -92.2267 | -92.2267 | -92.2267 | 0.015122 | 0.99013 | 1.0133 | 0.014116 | 0.99094 | 1.0123 | 115.2846 | -120.5544 | 119.7854 | 116.4494 | -120.5154 | 119.8061
Line_2 | 0.00083648 | 0.00083648 | 0.00083648 | 0.0025089 | 0.0025089 | 0.0025089 | 0.0096589 | 0.0096589 | 0.0096589 | 0.02897 | 0.02897 | 0.02897 | 0.00012948 | -0.0084229 | 0.0082934 | -0.00035878 | 0.025279 | -0.024861 | 6.7602e-05 | 0.0045295 | 0.0051965 | -0.00019623 | -0.013605 | -0.015555 | 87.7152 | 87.7152 | 87.7152 | -92.2267 | -92.2267 | -92.2267 | 0.015122 | 0.99013 | 1.0133 | 0.014116 | 0.99094 | 1.0123 | 115.2846 | -120.5544 | 119.7854 | 116.4494 | -120.5154 | 119.8061
Line_3 | 0.00083648 | 0.00083648 | 0.00083648 | 0.00083648 | 0.00083648 | 0.00083648 | 0.0096589 | 0.0096589 | 0.0096589 | 0.0096589 | 0.0096589 | 0.0096589 | -0.00012948 | 0.0084229 | -0.0082934 | -0.00012948 | 0.0084229 | -0.0082934 | -6.7602e-05 | -0.0045295 | -0.0051965 | -6.7602e-05 | -0.0045295 | -0.0051965 | -92.2848 | -92.2848 | -92.2848 | -92.2848 | -92.2848 | -92.2848 | 0.015122 | 0.99013 | 1.0133 | 0.015122 | 0.99013 | 1.0133 | 115.2846 | -120.5544 | 119.7854 | 115.2846 | -120.5544 | 119.7854

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0066879 | 0.0066879 | 0.0066879 | 0.0050178 | 0.0050178 | 0.0050178 | 0.077225 | 0.077225 | 0.077225 | 0.057941 | 0.057941 | 0.057941 | -0.00067951 | 0.067597 | -0.066069 | 0.00071756 | -0.050559 | 0.049722 | -0.0004642 | -0.036333 | -0.041285 | 0.00039246 | 0.02721 | 0.031109 | -92.1214 | -92.1214 | -92.1214 | 87.7733 | 87.7733 | 87.7733 | 0.010656 | 0.99375 | 1.0088 | 0.014116 | 0.99094 | 1.0123 | 122.2175 | -120.3792 | 119.8785 | 116.4494 | -120.5154 | 119.8061
Line_1 | 0.00083648 | 0.00083648 | 0.00083648 | 0.0025089 | 0.0025089 | 0.0025089 | 0.0096589 | 0.0096589 | 0.0096589 | 0.02897 | 0.02897 | 0.02897 | 0.00012948 | -0.0084229 | 0.0082934 | -0.00035878 | 0.025279 | -0.024861 | 6.7602e-05 | 0.0045295 | 0.0051965 | -0.00019623 | -0.013605 | -0.015555 | 87.7152 | 87.7152 | 87.7152 | -92.2267 | -92.2267 | -92.2267 | 0.015122 | 0.99013 | 1.0133 | 0.014116 | 0.99094 | 1.0123 | 115.2846 | -120.5544 | 119.7854 | 116.4494 | -120.5154 | 119.8061
Line_2 | 0.00083648 | 0.00083648 | 0.00083648 | 0.0025089 | 0.0025089 | 0.0025089 | 0.0096589 | 0.0096589 | 0.0096589 | 0.02897 | 0.02897 | 0.02897 | 0.00012948 | -0.0084229 | 0.0082934 | -0.00035878 | 0.025279 | -0.024861 | 6.7602e-05 | 0.0045295 | 0.0051965 | -0.00019623 | -0.013605 | -0.015555 | 87.7152 | 87.7152 | 87.7152 | -92.2267 | -92.2267 | -92.2267 | 0.015122 | 0.99013 | 1.0133 | 0.014116 | 0.99094 | 1.0123 | 115.2846 | -120.5544 | 119.7854 | 116.4494 | -120.5154 | 119.8061
Line_3 | 0.00083648 | 0.00083648 | 0.00083648 | 0.00083648 | 0.00083648 | 0.00083648 | 0.0096589 | 0.0096589 | 0.0096589 | 0.0096589 | 0.0096589 | 0.0096589 | -0.00012948 | 0.0084229 | -0.0082934 | -0.00012948 | 0.0084229 | -0.0082934 | -6.7602e-05 | -0.0045295 | -0.0051965 | -6.7602e-05 | -0.0045295 | -0.0051965 | -92.2848 | -92.2848 | -92.2848 | -92.2848 | -92.2848 | -92.2848 | 0.015122 | 0.99013 | 1.0133 | 0.015122 | 0.99013 | 1.0133 | 115.2846 | -120.5544 | 119.7854 | 115.2846 | -120.5544 | 119.7854

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0047946 | 0.0047946 | 0.0047946 | 0.0035973 | 0.0035973 | 0.0035973 | 0.055364 | 0.055364 | 0.055364 | 0.041539 | 0.041539 | 0.041539 | 0.010901 | 0.04196 | -0.052425 | -0.0080514 | -0.031424 | 0.039414 | 0.014591 | -0.035831 | -0.018891 | -0.01094 | 0.026848 | 0.014268 | -79.8245 | -79.8245 | -79.8245 | 100.0701 | 100.0702 | 100.0702 | 0.32897 | 0.99663 | 1.0065 | 0.32701 | 0.99501 | 1.0091 | -26.588 | -120.3199 | 119.9915 | -26.2815 | -120.4395 | 119.9701
Line_1 | 0.00059968 | 0.00059968 | 0.00059968 | 0.0017987 | 0.0017987 | 0.0017987 | 0.0069245 | 0.0069245 | 0.0069245 | 0.020769 | 0.020769 | 0.020769 | -0.0013352 | -0.0052379 | 0.0065731 | 0.0040257 | 0.015712 | -0.019707 | -0.001824 | 0.0044713 | 0.0023862 | 0.00547 | -0.013424 | -0.0071339 | 100.012 | 100.0121 | 100.0121 | -79.9299 | -79.9298 | -79.9298 | 0.32645 | 0.99455 | 1.0099 | 0.32701 | 0.99501 | 1.0091 | -26.1932 | -120.4738 | 119.964 | -26.2815 | -120.4395 | 119.9701
Line_2 | 0.00059968 | 0.00059968 | 0.00059968 | 0.0017987 | 0.0017987 | 0.0017987 | 0.0069245 | 0.0069245 | 0.0069245 | 0.020769 | 0.020769 | 0.020769 | -0.0013352 | -0.0052379 | 0.0065731 | 0.0040257 | 0.015712 | -0.019707 | -0.001824 | 0.0044713 | 0.0023862 | 0.00547 | -0.013424 | -0.0071339 | 100.012 | 100.0121 | 100.0121 | -79.9299 | -79.9298 | -79.9298 | 0.32645 | 0.99455 | 1.0099 | 0.32701 | 0.99501 | 1.0091 | -26.1932 | -120.4738 | 119.964 | -26.2815 | -120.4395 | 119.9701
Line_3 | 0.00059968 | 0.00059968 | 0.00059968 | 0.00059968 | 0.00059968 | 0.00059968 | 0.0069245 | 0.0069245 | 0.0069245 | 0.0069245 | 0.0069245 | 0.0069245 | 0.0013352 | 0.0052379 | -0.0065731 | 0.0013352 | 0.0052379 | -0.0065731 | 0.001824 | -0.0044713 | -0.0023862 | 0.001824 | -0.0044713 | -0.0023862 | -79.9879 | -79.9879 | -79.9879 | -79.9879 | -79.9879 | -79.9879 | 0.32645 | 0.99455 | 1.0099 | 0.32645 | 0.99455 | 1.0099 | -26.1932 | -120.4738 | 119.964 | -26.1932 | -120.4738 | 119.964

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0047946 | 0.0047946 | 0.0047946 | 0.0035973 | 0.0035973 | 0.0035973 | 0.055364 | 0.055364 | 0.055364 | 0.041539 | 0.041539 | 0.041539 | 0.010901 | 0.04196 | -0.052425 | -0.0080514 | -0.031424 | 0.039414 | 0.014591 | -0.035831 | -0.018891 | -0.01094 | 0.026848 | 0.014268 | -79.8245 | -79.8245 | -79.8245 | 100.0701 | 100.0702 | 100.0702 | 0.32897 | 0.99663 | 1.0065 | 0.32701 | 0.99501 | 1.0091 | -26.588 | -120.3199 | 119.9915 | -26.2815 | -120.4395 | 119.9701
Line_1 | 0.00059968 | 0.00059968 | 0.00059968 | 0.0017987 | 0.0017987 | 0.0017987 | 0.0069245 | 0.0069245 | 0.0069245 | 0.020769 | 0.020769 | 0.020769 | -0.0013352 | -0.0052379 | 0.0065731 | 0.0040257 | 0.015712 | -0.019707 | -0.001824 | 0.0044713 | 0.0023862 | 0.00547 | -0.013424 | -0.0071339 | 100.012 | 100.0121 | 100.0121 | -79.9299 | -79.9298 | -79.9298 | 0.32645 | 0.99455 | 1.0099 | 0.32701 | 0.99501 | 1.0091 | -26.1932 | -120.4738 | 119.964 | -26.2815 | -120.4395 | 119.9701
Line_2 | 0.00059968 | 0.00059968 | 0.00059968 | 0.0017987 | 0.0017987 | 0.0017987 | 0.0069245 | 0.0069245 | 0.0069245 | 0.020769 | 0.020769 | 0.020769 | -0.0013352 | -0.0052379 | 0.0065731 | 0.0040257 | 0.015712 | -0.019707 | -0.001824 | 0.0044713 | 0.0023862 | 0.00547 | -0.013424 | -0.0071339 | 100.012 | 100.0121 | 100.0121 | -79.9299 | -79.9298 | -79.9298 | 0.32645 | 0.99455 | 1.0099 | 0.32701 | 0.99501 | 1.0091 | -26.1932 | -120.4738 | 119.964 | -26.2815 | -120.4395 | 119.9701
Line_3 | 0.00059968 | 0.00059968 | 0.00059968 | 0.00059968 | 0.00059968 | 0.00059968 | 0.0069245 | 0.0069245 | 0.0069245 | 0.0069245 | 0.0069245 | 0.0069245 | 0.0013352 | 0.0052379 | -0.0065731 | 0.0013352 | 0.0052379 | -0.0065731 | 0.001824 | -0.0044713 | -0.0023862 | 0.001824 | -0.0044713 | -0.0023862 | -79.9879 | -79.9879 | -79.9879 | -79.9879 | -79.9879 | -79.9879 | 0.32645 | 0.99455 | 1.0099 | 0.32645 | 0.99455 | 1.0099 | -26.1932 | -120.4738 | 119.964 | -26.1932 | -120.4738 | 119.964

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0073855 | 0.0073855 | 0.0073855 | 0.0055412 | 0.0055412 | 0.0055412 | 0.08528 | 0.08528 | 0.08528 | 0.063984 | 0.063984 | 0.063984 | 0.0021928 | -0.00082693 | -0.00082693 | -0.0015804 | 0.00075237 | 0.00075237 | -0.094073 | -0.00057243 | -0.00057243 | 0.070633 | 0.00048276 | 0.00048276 | 88.1655 | 88.1655 | 88.1655 | -91.8893 | -91.8893 | -91.8893 | 1.1034 | 0.011793 | 0.011793 | 1.1042 | 0.013971 | 0.013971 | -0.4992 | -57.1421 | -57.1422 | -0.60753 | -59.2032 | -59.2032
Line_1 | 0.00092373 | 0.00092373 | 0.00092373 | 0.0027706 | 0.0027706 | 0.0027706 | 0.010666 | 0.010666 | 0.010666 | 0.031992 | 0.031992 | 0.031992 | -0.00026337 | 0.00013168 | 0.00013168 | 0.00079021 | -0.00037619 | -0.00037619 | 0.011777 | 8.3051e-05 | 8.3051e-05 | -0.035316 | -0.00024138 | -0.00024138 | -91.9196 | -91.9196 | -91.9196 | 88.1107 | 88.1107 | 88.1107 | 1.1044 | 0.014596 | 0.014596 | 1.1042 | 0.013971 | 0.013971 | -0.63847 | -59.6807 | -59.6807 | -0.60753 | -59.2032 | -59.2032
Line_2 | 0.00092373 | 0.00092373 | 0.00092373 | 0.0027706 | 0.0027706 | 0.0027706 | 0.010666 | 0.010666 | 0.010666 | 0.031992 | 0.031992 | 0.031992 | -0.00026337 | 0.00013168 | 0.00013168 | 0.00079021 | -0.00037619 | -0.00037619 | 0.011777 | 8.3051e-05 | 8.3051e-05 | -0.035316 | -0.00024138 | -0.00024138 | -91.9196 | -91.9196 | -91.9196 | 88.1107 | 88.1107 | 88.1107 | 1.1044 | 0.014596 | 0.014596 | 1.1042 | 0.013971 | 0.013971 | -0.63847 | -59.6807 | -59.6807 | -0.60753 | -59.2032 | -59.2032
Line_3 | 0.00092373 | 0.00092373 | 0.00092373 | 0.00092373 | 0.00092373 | 0.00092373 | 0.010666 | 0.010666 | 0.010666 | 0.010666 | 0.010666 | 0.010666 | 0.00026337 | -0.00013168 | -0.00013168 | 0.00026337 | -0.00013168 | -0.00013168 | -0.011777 | -8.3051e-05 | -8.3051e-05 | -0.011777 | -8.3051e-05 | -8.3051e-05 | 88.0804 | 88.0804 | 88.0804 | 88.0804 | 88.0804 | 88.0804 | 1.1044 | 0.014596 | 0.014596 | 1.1044 | 0.014596 | 0.014596 | -0.63847 | -59.6807 | -59.6807 | -0.63847 | -59.6807 | -59.6807

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0073855 | 0.0073855 | 0.0073855 | 0.0055412 | 0.0055412 | 0.0055412 | 0.08528 | 0.08528 | 0.08528 | 0.063984 | 0.063984 | 0.063984 | 0.0021928 | -0.00082693 | -0.00082693 | -0.0015804 | 0.00075237 | 0.00075237 | -0.094073 | -0.00057243 | -0.00057243 | 0.070633 | 0.00048276 | 0.00048276 | 88.1655 | 88.1655 | 88.1655 | -91.8893 | -91.8893 | -91.8893 | 1.1034 | 0.011793 | 0.011793 | 1.1042 | 0.013971 | 0.013971 | -0.4992 | -57.1421 | -57.1422 | -0.60753 | -59.2032 | -59.2032
Line_1 | 0.00092373 | 0.00092373 | 0.00092373 | 0.0027706 | 0.0027706 | 0.0027706 | 0.010666 | 0.010666 | 0.010666 | 0.031992 | 0.031992 | 0.031992 | -0.00026337 | 0.00013168 | 0.00013168 | 0.00079021 | -0.00037619 | -0.00037619 | 0.011777 | 8.3051e-05 | 8.3051e-05 | -0.035316 | -0.00024138 | -0.00024138 | -91.9196 | -91.9196 | -91.9196 | 88.1107 | 88.1107 | 88.1107 | 1.1044 | 0.014596 | 0.014596 | 1.1042 | 0.013971 | 0.013971 | -0.63847 | -59.6807 | -59.6807 | -0.60753 | -59.2032 | -59.2032
Line_2 | 0.00092373 | 0.00092373 | 0.00092373 | 0.0027706 | 0.0027706 | 0.0027706 | 0.010666 | 0.010666 | 0.010666 | 0.031992 | 0.031992 | 0.031992 | -0.00026337 | 0.00013168 | 0.00013168 | 0.00079021 | -0.00037619 | -0.00037619 | 0.011777 | 8.3051e-05 | 8.3051e-05 | -0.035316 | -0.00024138 | -0.00024138 | -91.9196 | -91.9196 | -91.9196 | 88.1107 | 88.1107 | 88.1107 | 1.1044 | 0.014596 | 0.014596 | 1.1042 | 0.013971 | 0.013971 | -0.63847 | -59.6807 | -59.6807 | -0.60753 | -59.2032 | -59.2032
Line_3 | 0.00092373 | 0.00092373 | 0.00092373 | 0.00092373 | 0.00092373 | 0.00092373 | 0.010666 | 0.010666 | 0.010666 | 0.010666 | 0.010666 | 0.010666 | 0.00026337 | -0.00013168 | -0.00013168 | 0.00026337 | -0.00013168 | -0.00013168 | -0.011777 | -8.3051e-05 | -8.3051e-05 | -0.011777 | -8.3051e-05 | -8.3051e-05 | 88.0804 | 88.0804 | 88.0804 | 88.0804 | 88.0804 | 88.0804 | 1.1044 | 0.014596 | 0.014596 | 1.1044 | 0.014596 | 0.014596 | -0.63847 | -59.6807 | -59.6807 | -0.63847 | -59.6807 | -59.6807

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0050821 | 0.0050821 | 0.0050821 | 0.003813 | 0.003813 | 0.003813 | 0.058683 | 0.058683 | 0.058683 | 0.044029 | 0.044029 | 0.044029 | -0.013402 | -0.0094098 | 0.023067 | 0.010072 | 0.0071382 | -0.017246 | -0.063374 | 0.02161 | -0.0033237 | 0.047583 | -0.016182 | 0.0025021 | 101.6346 | 101.6346 | 101.6346 | -78.4203 | -78.4203 | -78.4203 | 1.1038 | 0.40165 | 0.39713 | 1.1047 | 0.4017 | 0.3958 | -0.30591 | -144.8355 | 93.4352 | -0.3721 | -144.6171 | 93.3248
Line_1 | 0.00063564 | 0.00063564 | 0.00063564 | 0.0019065 | 0.0019065 | 0.0019065 | 0.0073397 | 0.0073397 | 0.0073397 | 0.022015 | 0.022015 | 0.022015 | 0.0016779 | 0.0011944 | -0.0028722 | -0.0050361 | -0.0035691 | 0.0086231 | 0.0079342 | -0.0026958 | 0.00041677 | -0.023791 | 0.008091 | -0.001251 | -78.4505 | -78.4505 | -78.4505 | 101.5797 | 101.5797 | 101.5797 | 1.1049 | 0.40172 | 0.39542 | 1.1047 | 0.4017 | 0.3958 | -0.39101 | -144.5547 | 93.2932 | -0.3721 | -144.6171 | 93.3248
Line_2 | 0.00063564 | 0.00063564 | 0.00063564 | 0.0019065 | 0.0019065 | 0.0019065 | 0.0073397 | 0.0073397 | 0.0073397 | 0.022015 | 0.022015 | 0.022015 | 0.0016779 | 0.0011944 | -0.0028722 | -0.0050361 | -0.0035691 | 0.0086231 | 0.0079342 | -0.0026958 | 0.00041677 | -0.023791 | 0.008091 | -0.001251 | -78.4505 | -78.4505 | -78.4505 | 101.5797 | 101.5797 | 101.5797 | 1.1049 | 0.40172 | 0.39542 | 1.1047 | 0.4017 | 0.3958 | -0.39101 | -144.5547 | 93.2932 | -0.3721 | -144.6171 | 93.3248
Line_3 | 0.00063564 | 0.00063564 | 0.00063564 | 0.00063564 | 0.00063564 | 0.00063564 | 0.0073397 | 0.0073397 | 0.0073397 | 0.0073397 | 0.0073397 | 0.0073397 | -0.0016779 | -0.0011944 | 0.0028722 | -0.0016779 | -0.0011944 | 0.0028722 | -0.0079342 | 0.0026958 | -0.00041677 | -0.0079342 | 0.0026958 | -0.00041677 | 101.5495 | 101.5495 | 101.5495 | 101.5495 | 101.5495 | 101.5495 | 1.1049 | 0.40172 | 0.39542 | 1.1049 | 0.40172 | 0.39542 | -0.39101 | -144.5547 | 93.2932 | -0.39101 | -144.5547 | 93.2932

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0050821 | 0.0050821 | 0.0050821 | 0.003813 | 0.003813 | 0.003813 | 0.058683 | 0.058683 | 0.058683 | 0.044029 | 0.044029 | 0.044029 | -0.013402 | -0.0094098 | 0.023067 | 0.010072 | 0.0071382 | -0.017246 | -0.063374 | 0.02161 | -0.0033237 | 0.047583 | -0.016182 | 0.0025021 | 101.6346 | 101.6346 | 101.6346 | -78.4203 | -78.4203 | -78.4203 | 1.1038 | 0.40165 | 0.39713 | 1.1047 | 0.4017 | 0.3958 | -0.30591 | -144.8355 | 93.4352 | -0.3721 | -144.6171 | 93.3248
Line_1 | 0.00063564 | 0.00063564 | 0.00063564 | 0.0019065 | 0.0019065 | 0.0019065 | 0.0073397 | 0.0073397 | 0.0073397 | 0.022015 | 0.022015 | 0.022015 | 0.0016779 | 0.0011944 | -0.0028722 | -0.0050361 | -0.0035691 | 0.0086231 | 0.0079342 | -0.0026958 | 0.00041677 | -0.023791 | 0.008091 | -0.001251 | -78.4505 | -78.4505 | -78.4505 | 101.5797 | 101.5797 | 101.5797 | 1.1049 | 0.40172 | 0.39542 | 1.1047 | 0.4017 | 0.3958 | -0.39101 | -144.5547 | 93.2932 | -0.3721 | -144.6171 | 93.3248
Line_2 | 0.00063564 | 0.00063564 | 0.00063564 | 0.0019065 | 0.0019065 | 0.0019065 | 0.0073397 | 0.0073397 | 0.0073397 | 0.022015 | 0.022015 | 0.022015 | 0.0016779 | 0.0011944 | -0.0028722 | -0.0050361 | -0.0035691 | 0.0086231 | 0.0079342 | -0.0026958 | 0.00041677 | -0.023791 | 0.008091 | -0.001251 | -78.4505 | -78.4505 | -78.4505 | 101.5797 | 101.5797 | 101.5797 | 1.1049 | 0.40172 | 0.39542 | 1.1047 | 0.4017 | 0.3958 | -0.39101 | -144.5547 | 93.2932 | -0.3721 | -144.6171 | 93.3248
Line_3 | 0.00063564 | 0.00063564 | 0.00063564 | 0.00063564 | 0.00063564 | 0.00063564 | 0.0073397 | 0.0073397 | 0.0073397 | 0.0073397 | 0.0073397 | 0.0073397 | -0.0016779 | -0.0011944 | 0.0028722 | -0.0016779 | -0.0011944 | 0.0028722 | -0.0079342 | 0.0026958 | -0.00041677 | -0.0079342 | 0.0026958 | -0.00041677 | 101.5495 | 101.5495 | 101.5495 | 101.5495 | 101.5495 | 101.5495 | 1.1049 | 0.40172 | 0.39542 | 1.1049 | 0.40172 | 0.39542 | -0.39101 | -144.5547 | 93.2932 | -0.39101 | -144.5547 | 93.2932

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0067088 | 0.0067088 | 0.0067088 | 0.0050335 | 0.0050335 | 0.0050335 | 0.077467 | 0.077467 | 0.077467 | 0.058122 | 0.058122 | 0.058122 | 0.0022213 | -0.00068376 | -0.00068376 | -0.001564 | 0.00072205 | 0.00072205 | -0.077637 | -0.00046711 | -0.00046711 | 0.05829 | 0.00039492 | 0.00039492 | 87.8614 | 87.8614 | 87.8614 | -92.2439 | -92.2439 | -92.2439 | 1.0026 | 0.01069 | 0.01069 | 1.0033 | 0.01416 | 0.01416 | -0.49972 | -57.7997 | -57.7997 | -0.70696 | -63.5678 | -63.5678
Line_1 | 0.0008391 | 0.0008391 | 0.0008391 | 0.0025168 | 0.0025168 | 0.0025168 | 0.0096891 | 0.0096891 | 0.0096891 | 0.029061 | 0.029061 | 0.029061 | -0.00026058 | 0.00013029 | 0.00013029 | 0.00078199 | -0.00036103 | -0.00036103 | 0.0097189 | 6.8026e-05 | 6.8026e-05 | -0.029145 | -0.00019746 | -0.00019746 | -92.302 | -92.302 | -92.302 | 87.7561 | 87.7561 | 87.7561 | 1.0034 | 0.01517 | 0.01517 | 1.0033 | 0.01416 | 0.01416 | -0.76615 | -64.7325 | -64.7326 | -0.70696 | -63.5678 | -63.5678
Line_2 | 0.0008391 | 0.0008391 | 0.0008391 | 0.0025168 | 0.0025168 | 0.0025168 | 0.0096891 | 0.0096891 | 0.0096891 | 0.029061 | 0.029061 | 0.029061 | -0.00026058 | 0.00013029 | 0.00013029 | 0.00078199 | -0.00036103 | -0.00036103 | 0.0097189 | 6.8026e-05 | 6.8026e-05 | -0.029145 | -0.00019746 | -0.00019746 | -92.302 | -92.302 | -92.302 | 87.7561 | 87.7561 | 87.7561 | 1.0034 | 0.01517 | 0.01517 | 1.0033 | 0.01416 | 0.01416 | -0.76615 | -64.7325 | -64.7326 | -0.70696 | -63.5678 | -63.5678
Line_3 | 0.0008391 | 0.0008391 | 0.0008391 | 0.0008391 | 0.0008391 | 0.0008391 | 0.0096891 | 0.0096891 | 0.0096891 | 0.0096891 | 0.0096891 | 0.0096891 | 0.00026058 | -0.00013029 | -0.00013029 | 0.00026058 | -0.00013029 | -0.00013029 | -0.0097189 | -6.8026e-05 | -6.8026e-05 | -0.0097189 | -6.8026e-05 | -6.8026e-05 | 87.698 | 87.698 | 87.698 | 87.698 | 87.698 | 87.698 | 1.0034 | 0.01517 | 0.01517 | 1.0034 | 0.01517 | 0.01517 | -0.76615 | -64.7325 | -64.7326 | -0.76615 | -64.7325 | -64.7326

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0067088 | 0.0067088 | 0.0067088 | 0.0050335 | 0.0050335 | 0.0050335 | 0.077467 | 0.077467 | 0.077467 | 0.058122 | 0.058122 | 0.058122 | 0.0022213 | -0.00068376 | -0.00068376 | -0.001564 | 0.00072205 | 0.00072205 | -0.077637 | -0.00046711 | -0.00046711 | 0.05829 | 0.00039492 | 0.00039492 | 87.8614 | 87.8614 | 87.8614 | -92.2439 | -92.2439 | -92.2439 | 1.0026 | 0.01069 | 0.01069 | 1.0033 | 0.01416 | 0.01416 | -0.49972 | -57.7997 | -57.7997 | -0.70696 | -63.5678 | -63.5678
Line_1 | 0.0008391 | 0.0008391 | 0.0008391 | 0.0025168 | 0.0025168 | 0.0025168 | 0.0096891 | 0.0096891 | 0.0096891 | 0.029061 | 0.029061 | 0.029061 | -0.00026058 | 0.00013029 | 0.00013029 | 0.00078199 | -0.00036103 | -0.00036103 | 0.0097189 | 6.8026e-05 | 6.8026e-05 | -0.029145 | -0.00019746 | -0.00019746 | -92.302 | -92.302 | -92.302 | 87.7561 | 87.7561 | 87.7561 | 1.0034 | 0.01517 | 0.01517 | 1.0033 | 0.01416 | 0.01416 | -0.76615 | -64.7325 | -64.7326 | -0.70696 | -63.5678 | -63.5678
Line_2 | 0.0008391 | 0.0008391 | 0.0008391 | 0.0025168 | 0.0025168 | 0.0025168 | 0.0096891 | 0.0096891 | 0.0096891 | 0.029061 | 0.029061 | 0.029061 | -0.00026058 | 0.00013029 | 0.00013029 | 0.00078199 | -0.00036103 | -0.00036103 | 0.0097189 | 6.8026e-05 | 6.8026e-05 | -0.029145 | -0.00019746 | -0.00019746 | -92.302 | -92.302 | -92.302 | 87.7561 | 87.7561 | 87.7561 | 1.0034 | 0.01517 | 0.01517 | 1.0033 | 0.01416 | 0.01416 | -0.76615 | -64.7325 | -64.7326 | -0.70696 | -63.5678 | -63.5678
Line_3 | 0.0008391 | 0.0008391 | 0.0008391 | 0.0008391 | 0.0008391 | 0.0008391 | 0.0096891 | 0.0096891 | 0.0096891 | 0.0096891 | 0.0096891 | 0.0096891 | 0.00026058 | -0.00013029 | -0.00013029 | 0.00026058 | -0.00013029 | -0.00013029 | -0.0097189 | -6.8026e-05 | -6.8026e-05 | -0.0097189 | -6.8026e-05 | -6.8026e-05 | 87.698 | 87.698 | 87.698 | 87.698 | 87.698 | 87.698 | 1.0034 | 0.01517 | 0.01517 | 1.0034 | 0.01517 | 0.01517 | -0.76615 | -64.7325 | -64.7326 | -0.76615 | -64.7325 | -64.7326

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0048054 | 0.0048054 | 0.0048054 | 0.0036054 | 0.0036054 | 0.0036054 | 0.055487 | 0.055487 | 0.055487 | 0.041631 | 0.041631 | 0.041631 | -0.010161 | -0.007538 | 0.018137 | 0.0076555 | 0.0057866 | -0.013504 | -0.054727 | 0.016958 | -0.0025415 | 0.041097 | -0.01269 | 0.0019041 | 100.1908 | 100.1908 | 100.1908 | -79.9145 | -79.9145 | -79.9145 | 1.0032 | 0.33445 | 0.33006 | 1.0041 | 0.33502 | 0.32757 | -0.32706 | -145.8432 | 92.2139 | -0.46654 | -145.4023 | 92.0591
Line_1 | 0.00060102 | 0.00060102 | 0.00060102 | 0.0018027 | 0.0018027 | 0.0018027 | 0.00694 | 0.00694 | 0.00694 | 0.020816 | 0.020816 | 0.020816 | 0.0012744 | 0.00097191 | -0.0022463 | -0.0038277 | -0.0028933 | 0.0067518 | 0.0068533 | -0.0021135 | 0.0003162 | -0.020549 | 0.0063452 | -0.00095207 | -79.9726 | -79.9726 | -79.9726 | 100.0855 | 100.0855 | 100.0855 | 1.0044 | 0.33519 | 0.32686 | 1.0041 | 0.33502 | 0.32757 | -0.50637 | -145.2767 | 92.0146 | -0.46654 | -145.4023 | 92.0591
Line_2 | 0.00060102 | 0.00060102 | 0.00060102 | 0.0018027 | 0.0018027 | 0.0018027 | 0.00694 | 0.00694 | 0.00694 | 0.020816 | 0.020816 | 0.020816 | 0.0012744 | 0.00097191 | -0.0022463 | -0.0038277 | -0.0028933 | 0.0067518 | 0.0068533 | -0.0021135 | 0.0003162 | -0.020549 | 0.0063452 | -0.00095207 | -79.9726 | -79.9726 | -79.9726 | 100.0855 | 100.0855 | 100.0855 | 1.0044 | 0.33519 | 0.32686 | 1.0041 | 0.33502 | 0.32757 | -0.50637 | -145.2767 | 92.0146 | -0.46654 | -145.4023 | 92.0591
Line_3 | 0.00060102 | 0.00060102 | 0.00060102 | 0.00060102 | 0.00060102 | 0.00060102 | 0.00694 | 0.00694 | 0.00694 | 0.00694 | 0.00694 | 0.00694 | -0.0012744 | -0.00097191 | 0.0022463 | -0.0012744 | -0.00097191 | 0.0022463 | -0.0068533 | 0.0021135 | -0.0003162 | -0.0068533 | 0.0021135 | -0.0003162 | 100.0274 | 100.0274 | 100.0274 | 100.0274 | 100.0274 | 100.0274 | 1.0044 | 0.33519 | 0.32686 | 1.0044 | 0.33519 | 0.32686 | -0.50637 | -145.2767 | 92.0146 | -0.50637 | -145.2767 | 92.0146

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0048054 | 0.0048054 | 0.0048054 | 0.0036054 | 0.0036054 | 0.0036054 | 0.055487 | 0.055487 | 0.055487 | 0.041631 | 0.041631 | 0.041631 | -0.010161 | -0.007538 | 0.018137 | 0.0076555 | 0.0057866 | -0.013504 | -0.054727 | 0.016958 | -0.0025415 | 0.041097 | -0.01269 | 0.0019041 | 100.1908 | 100.1908 | 100.1908 | -79.9145 | -79.9145 | -79.9145 | 1.0032 | 0.33445 | 0.33006 | 1.0041 | 0.33502 | 0.32757 | -0.32706 | -145.8432 | 92.2139 | -0.46654 | -145.4023 | 92.0591
Line_1 | 0.00060102 | 0.00060102 | 0.00060102 | 0.0018027 | 0.0018027 | 0.0018027 | 0.00694 | 0.00694 | 0.00694 | 0.020816 | 0.020816 | 0.020816 | 0.0012744 | 0.00097191 | -0.0022463 | -0.0038277 | -0.0028933 | 0.0067518 | 0.0068533 | -0.0021135 | 0.0003162 | -0.020549 | 0.0063452 | -0.00095207 | -79.9726 | -79.9726 | -79.9726 | 100.0855 | 100.0855 | 100.0855 | 1.0044 | 0.33519 | 0.32686 | 1.0041 | 0.33502 | 0.32757 | -0.50637 | -145.2767 | 92.0146 | -0.46654 | -145.4023 | 92.0591
Line_2 | 0.00060102 | 0.00060102 | 0.00060102 | 0.0018027 | 0.0018027 | 0.0018027 | 0.00694 | 0.00694 | 0.00694 | 0.020816 | 0.020816 | 0.020816 | 0.0012744 | 0.00097191 | -0.0022463 | -0.0038277 | -0.0028933 | 0.0067518 | 0.0068533 | -0.0021135 | 0.0003162 | -0.020549 | 0.0063452 | -0.00095207 | -79.9726 | -79.9726 | -79.9726 | 100.0855 | 100.0855 | 100.0855 | 1.0044 | 0.33519 | 0.32686 | 1.0041 | 0.33502 | 0.32757 | -0.50637 | -145.2767 | 92.0146 | -0.46654 | -145.4023 | 92.0591
Line_3 | 0.00060102 | 0.00060102 | 0.00060102 | 0.00060102 | 0.00060102 | 0.00060102 | 0.00694 | 0.00694 | 0.00694 | 0.00694 | 0.00694 | 0.00694 | -0.0012744 | -0.00097191 | 0.0022463 | -0.0012744 | -0.00097191 | 0.0022463 | -0.0068533 | 0.0021135 | -0.0003162 | -0.0068533 | 0.0021135 | -0.0003162 | 100.0274 | 100.0274 | 100.0274 | 100.0274 | 100.0274 | 100.0274 | 1.0044 | 0.33519 | 0.32686 | 1.0044 | 0.33519 | 0.32686 | -0.50637 | -145.2767 | 92.0146 | -0.50637 | -145.2767 | 92.0146